## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1367-14_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1367-14_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1367-14_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1367-14_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1367-14_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1367-14_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1367-14_0_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_1367-14_0_3_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_1367-14_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1367-14_0_3_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_1367-14_0_3_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_1367-14_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_1367-14_0_3_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_1367-14_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1367-14_0_3_node_38 | 0.4 | n |  | TRUE
15 | bus_LV_1367-14_0_3_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_1367-14_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1367-14_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1367-14_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1367-14_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1367-14_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1367-14_0_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_1367-14_0_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_1367-14_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1367-14_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1367-14_0_3_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_1367-14_0_3_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_1367-14_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_1367-14_0_3_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_1367-14_0_3_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_1367-14_0_3_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_1367-14_0_3_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_1367-14_0_3_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_1367-14_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_1367-14_0_3_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_1367-14_0_3_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_1367-14_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_1367-14_0_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_1367-14_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_1367-14_0_3_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_1367-14_0_3_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_1367-14_0_3_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_1367-14_0_3_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_1367-14_0_3_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_1367-14_0_3_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_1367-14_0_3_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_1367-14_0_3_node_42 | 0.4 | n |  | TRUE
47 | bus_MV_0_node_2 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1367-14_0_3_load_0 | 0 | 0.00047628 | 0.00011937 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1367-14_0_3_load_9 | 6 | 0.00043936 | 0.00011011 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1367-14_0_3_load_8 | 7 | 0.00028904 | 7.2439e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1367-14_0_3_load_6 | 8 | 0.001163 | 0.00029147 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1367-14_0_3_load_24 | 10 | 0.00018534 | 4.645e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1367-14_0_3_load_10 | 11 | 0.0020845 | 0.00052243 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1367-14_0_3_load_12 | 12 | 0.00031416 | 7.8735e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1367-14_0_3_load_7 | 13 | 0.00052242 | 0.00013093 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1367-14_0_3_load_38 | 14 | 0.00063885 | 0.00016011 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1367-14_0_3_load_37 | 15 | 0.00031851 | 7.9827e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1367-14_0_3_load_11 | 16 | 0.00070181 | 0.00017589 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1367-14_0_3_load_13 | 17 | 0.00082608 | 0.00020703 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1367-14_0_3_load_15 | 19 | 0.00091749 | 0.00022995 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1367-14_0_3_load_16 | 20 | 0.00067985 | 0.00017039 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1367-14_0_3_load_17 | 23 | 0.00094101 | 0.00023584 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1367-14_0_3_load_19 | 24 | 0.00036204 | 9.0735e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1367-14_0_3_load_23 | 25 | 0.00020465 | 5.1291e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1367-14_0_3_load_22 | 26 | 0.00044327 | 0.0001111 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1367-14_0_3_load_21 | 27 | 0.0018295 | 0.00045851 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1367-14_0_3_load_26 | 29 | 0.00033366 | 8.3624e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1367-14_0_3_load_27 | 30 | 0.00037091 | 9.2958e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1367-14_0_3_load_29 | 32 | 0.0003141 | 7.8721e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1367-14_0_3_load_35 | 35 | 0.00049656 | 0.00012445 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1367-14_0_3_load_32 | 36 | 0.00054823 | 0.0001374 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1367-14_0_3_load_33 | 37 | 0.000242 | 6.0651e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1367-14_0_3_load_46 | 40 | 0.00072854 | 0.00018259 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1367-14_0_3_load_45 | 42 | 0.00059371 | 0.0001488 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1367-14_0_3_load_43 | 43 | 0.00021009 | 5.2655e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1367-14_0_3_load_40 | 44 | 0.00016848 | 4.2226e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1367-14_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.060019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1367-14_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 1.434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_1367-14_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.24949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1367-14_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.73437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1367-14_0_3_line_4 | NAYY 4x150 SE | 3 | 7 | 0.33573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1367-14_0_3_line_5 | NAYY 4x150 SE | 3 | 8 | 0.021399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1367-14_0_3_line_6 | NAYY 4x150 SE | 3 | 5 | 0.092482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1367-14_0_3_line_7 | NAYY 4x150 SE | 4 | 9 | 0.40343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1367-14_0_3_line_8 | NAYY 4x150 SE | 4 | 10 | 0.09953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1367-14_0_3_line_9 | NAYY 4x150 SE | 5 | 6 | 0.17352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1367-14_0_3_line_10 | NAYY 4x150 SE | 6 | 11 | 0.0089303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1367-14_0_3_line_11 | NAYY 4x150 SE | 7 | 12 | 0.0041954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1367-14_0_3_line_12 | NAYY 4x150 SE | 8 | 13 | 0.048206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1367-14_0_3_line_13 | NAYY 4x150 SE | 9 | 14 | 0.73915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1367-14_0_3_line_14 | NAYY 4x150 SE | 9 | 15 | 1.3351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1367-14_0_3_line_15 | NAYY 4x150 SE | 12 | 16 | 0.012638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1367-14_0_3_line_16 | NAYY 4x150 SE | 15 | 28 | 0.46297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1367-14_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.18397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1367-14_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.27861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1367-14_0_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.058614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1367-14_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.018262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1367-14_0_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.06248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1367-14_0_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.46137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1367-14_0_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.30712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1367-14_0_3_line_24 | NAYY 4x150 SE | 22 | 25 | 0.010216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1367-14_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.028214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1367-14_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.0066529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1367-14_0_3_line_27 | NAYY 4x150 SE | 26 | 27 | 0.026966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1367-14_0_3_line_28 | NAYY 4x150 SE | 28 | 39 | 0.6076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1367-14_0_3_line_29 | NAYY 4x150 SE | 28 | 38 | 0.95863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1367-14_0_3_line_30 | NAYY 4x150 SE | 29 | 30 | 0.48216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1367-14_0_3_line_31 | NAYY 4x150 SE | 30 | 31 | 0.4774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1367-14_0_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.042528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1367-14_0_3_line_33 | NAYY 4x150 SE | 32 | 33 | 0.23282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1367-14_0_3_line_34 | NAYY 4x150 SE | 33 | 34 | 0.38977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1367-14_0_3_line_35 | NAYY 4x150 SE | 34 | 35 | 0.81101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1367-14_0_3_line_36 | NAYY 4x150 SE | 34 | 36 | 0.04882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1367-14_0_3_line_37 | NAYY 4x150 SE | 36 | 37 | 0.013267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1367-14_0_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.35768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1367-14_0_3_line_39 | NAYY 4x150 SE | 39 | 40 | 0.53695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1367-14_0_3_line_40 | NAYY 4x150 SE | 39 | 41 | 0.84209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1367-14_0_3_line_41 | NAYY 4x150 SE | 41 | 42 | 0.70064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1367-14_0_3_line_42 | NAYY 4x150 SE | 41 | 43 | 0.48643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1367-14_0_3_line_43 | NAYY 4x150 SE | 42 | 46 | 0.64603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1367-14_0_3_line_44 | NAYY 4x150 SE | 44 | 45 | 0.16655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1367-14_0_3_line_45 | NAYY 4x150 SE | 45 | 46 | 0.25764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1367-14_0_3_trafo_2 | 0.25 MVA 20/0.4 kV | 47 | 2 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59 | x60 | y60 | x61 | y61 | x62 | y62 | x63 | y63 | x64 | y64 | x65 | y65 | x66 | y66 | x67 | y67 | x68 | y68 | x69 | y69 | x70 | y70 | x71 | y71 | x72 | y72 | x73 | y73 | x74 | y74 | x75 | y75 | x76 | y76 | x77 | y77 | x78 | y78 | x79 | y79 | x80 | y80 | x81 | y81 | x82 | y82 | x83 | y83 | x84 | y84 | x85 | y85 | x86 | y86 | x87 | y87 | x88 | y88 | x89 | y89 | x90 | y90 | x91 | y91 | x92 | y92 | x93 | y93 | x94 | y94 | x95 | y95 | x96 | y96 | x97 | y97 | x98 | y98 | x99 | y99 | x100 | y100
0 | 2705452.2914 | 1201440.0924 | 2705442.8449 | 1201434.4106 | 2705434.8392 | 1201431.2005 | 2705427.0197 | 1201428.6608 | 2705412.7508 | 1201424.8842 | 2705402.4582 | 1201423.5684 | 2705395.4514 | 1201423.2891
1 | 2704159.3001 | 1201940.493 | 2704190.756 | 1201922.0954 | 2704209.6193 | 1201911.6505 | 2704215.3544 | 1201905.3795 | 2704219.1388 | 1201897.907 | 2704226.8752 | 1201884.2659 | 2704232.7245 | 1201878.4306 | 2704238.0629 | 1201875.6996 | 2704242.8716 | 1201874.0935 | 2704247.8184 | 1201873.7351 | 2704253.8794 | 1201875.8312 | 2704260.954 | 1201880.48 | 2704278.1428 | 1201890.5203 | 2704284.1367 | 1201892.1037 | 2704288.6559 | 1201891.8157 | 2704292.845 | 1201889.5095 | 2704298.254 | 1201884.4782 | 2704303.4675 | 1201877.1308 | 2704308.7532 | 1201865.2149 | 2704312.3136 | 1201852.7128 | 2704314.2814 | 1201847.6993 | 2704317.4907 | 1201843.9638 | 2704323.0298 | 1201839.3351 | 2704333.2213 | 1201828.1053 | 2704350.7277 | 1201809.954 | 2704356.1231 | 1201805.2784 | 2704363.0229 | 1201801.1961 | 2704367.6231 | 1201799.7643 | 2704373.2885 | 1201799.2407 | 2704378.0726 | 1201799.48 | 2704390.7573 | 1201802.8483 | 2704397.7635 | 1201804.0049 | 2704403.0694 | 1201803.5751 | 2704409.6366 | 1201801.9776 | 2704459.1215 | 1201784.8418 | 2704466.0923 | 1201784.1076 | 2704475.0138 | 1201784.1414 | 2704492.3617 | 1201785.5234 | 2704503.5152 | 1201784.5956 | 2704511.0475 | 1201782.2257 | 2704519.2161 | 1201776.9983 | 2704543.1539 | 1201762.0068 | 2704632.4679 | 1201682.8265 | 2704641.0378 | 1201677.2949 | 2704664.2518 | 1201667.1612 | 2704678.0404 | 1201658.3744 | 2704684.9876 | 1201651.18 | 2704696.8034 | 1201634.2087 | 2704701.6627 | 1201629.7352 | 2704707.8759 | 1201626.6308 | 2704717.824 | 1201625.004 | 2704731.1625 | 1201624.0927 | 2704753.6395 | 1201621.2736 | 2704947.614 | 1201573.2774 | 2704973.9366 | 1201563.0549 | 2705014.8115 | 1201547.4179 | 2705038.1512 | 1201534.9639 | 2705053.1292 | 1201527.8557 | 2705068.1414 | 1201524.4283 | 2705088.3371 | 1201520.6253 | 2705112.5774 | 1201518.0054 | 2705122.0197 | 1201514.4246 | 2705133.4195 | 1201506.0304 | 2705152.5706 | 1201485.8979 | 2705160.0996 | 1201471.6539 | 2705167.4175 | 1201461.6091 | 2705178.3395 | 1201451.3942 | 2705213.6066 | 1201420.9718 | 2705222.179 | 1201416.2194 | 2705228.6129 | 1201414.8763 | 2705239.2489 | 1201415.2861 | 2705328.3534 | 1201426.9307 | 2705340.5895 | 1201427.6914 | 2705350.4471 | 1201427.3427 | 2705383.6115 | 1201424.2365 | 2705395.4514 | 1201423.2891
2 | 2705251.5201 | 1201584.6639 | 2705257.3901 | 1201581.6208 | 2705286.5877 | 1201561.6435 | 2705398.5478 | 1201492.4249 | 2705414.3712 | 1201482.7418 | 2705421.6603 | 1201476.9441 | 2705428.6974 | 1201470.3304 | 2705452.2914 | 1201440.0924
3 | 2703570.8678 | 1202280.5651 | 2703576.9947 | 1202284.1182 | 2703583.866 | 1202286.8837 | 2703595.5875 | 1202290.8897 | 2703643.1843 | 1202304.0909 | 2703650.4097 | 1202304.8723 | 2703656.9667 | 1202304.2523 | 2703665.8113 | 1202302.5268 | 2703673.247 | 1202301.7219 | 2703686.4554 | 1202302.0625 | 2703694.1418 | 1202300.4059 | 2703713.9765 | 1202293.512 | 2703723.1581 | 1202291.6702 | 2703733.4846 | 1202290.5264 | 2703741.804 | 1202287.9246 | 2703746.4294 | 1202285.0141 | 2703779.9952 | 1202255.8435 | 2703793.5669 | 1202241.4249 | 2703802.3459 | 1202233.85 | 2703831.1585 | 1202213.6589 | 2703848.216 | 1202202.7812 | 2703857.4692 | 1202193.7692 | 2703864.4369 | 1202185.3067 | 2703871.4887 | 1202175.945 | 2703876.3426 | 1202171.2818 | 2703881.0603 | 1202168.3284 | 2703887.0836 | 1202166.4541 | 2703898.0113 | 1202162.2745 | 2703902.9317 | 1202158.602 | 2703910.3373 | 1202149.9137 | 2703929.7079 | 1202131.6825 | 2703976.592 | 1202090.1139 | 2703987.086 | 1202083.7477 | 2703998.6597 | 1202077.8896 | 2704009.1601 | 1202072.9022 | 2704014.0278 | 1202069.2067 | 2704017.5592 | 1202065.7546 | 2704030.5488 | 1202048.5356 | 2704034.8901 | 1202044.475 | 2704039.678 | 1202041.8677 | 2704091.7513 | 1202016.2459 | 2704106.2358 | 1202010.6722 | 2704115.6182 | 1202007.3889 | 2704121.5395 | 1202003.5228 | 2704125.1904 | 1201999.328 | 2704133.5691 | 1201983.7632 | 2704135.5012 | 1201976.4252 | 2704136.1296 | 1201968.7642 | 2704136.9161 | 1201961.206 | 2704138.9994 | 1201955.6718 | 2704143.5018 | 1201950.2354 | 2704151.6784 | 1201944.9521 | 2704159.3001 | 1201940.493
4 | 2705251.5201 | 1201584.6639 | 2705237.7593 | 1201591.8154 | 2705207.4578 | 1201606.6254 | 2705170.947 | 1201624.306 | 2705150.7248 | 1201631.355 | 2705129.2708 | 1201637.8932 | 2705099.1243 | 1201645.2235 | 2705071.6897 | 1201651.1562 | 2705060.1415 | 1201655.0225 | 2705055.6952 | 1201657.2125 | 2705048.4083 | 1201661.6208 | 2705039.6589 | 1201668.6719 | 2705032.7817 | 1201675.7559 | 2705020.9261 | 1201691.047 | 2705008.6577 | 1201706.8645 | 2704998.911 | 1201718.2567 | 2704969.7406 | 1201748.2937
5 | 2705251.5201 | 1201584.6639 | 2705243.3717 | 1201571.4223 | 2705241.297 | 1201569.4845 | 2705238.5541 | 1201568.2389
6 | 2705308.8219 | 1201647.3058 | 2705310.1217 | 1201644.827 | 2705310.2795 | 1201642.7839 | 2705309.3428 | 1201640.6437 | 2705308.1854 | 1201638.9332 | 2705297.9778 | 1201625.911 | 2705257.3901 | 1201581.6208 | 2705251.5201 | 1201584.6639
7 | 2703570.8678 | 1202280.5651 | 2703560.2278 | 1202282.671 | 2703543.7485 | 1202289.6569 | 2703536.5682 | 1202292.4232 | 2703529.537 | 1202294.047 | 2703489.3985 | 1202294.9633 | 2703411.9846 | 1202299.8152 | 2703406.2341 | 1202299.1374 | 2703401.0456 | 1202298.0913 | 2703358.8831 | 1202284.8971 | 2703353.6639 | 1202284.3065 | 2703348.2481 | 1202284.524 | 2703322.5292 | 1202293.2074 | 2703313.9952 | 1202295.9061 | 2703304.5912 | 1202296.5329 | 2703267.4175 | 1202292.3985 | 2703257.2713 | 1202291.0444 | 2703243.0953 | 1202290.3101 | 2703223.3559 | 1202288.6456 | 2703204.3284 | 1202284.9811 | 2703184.9167 | 1202280.2092 | 2703174.1952 | 1202279.9906
8 | 2703570.8678 | 1202280.5651 | 2703571.7646 | 1202276.7002 | 2703574.437 | 1202274.0336 | 2703579.4949 | 1202272.5091 | 2703588.005 | 1202272.0786 | 2703595.0996 | 1202273.3802 | 2703604.6854 | 1202278.0719 | 2703608.0959 | 1202278.9316 | 2703612.449 | 1202278.5513 | 2703619.1748 | 1202275.2212 | 2703628.1355 | 1202270.3177 | 2703631.8727 | 1202269.4597 | 2703637.793 | 1202269.5625 | 2703648.3099 | 1202269.2892 | 2703652.4724 | 1202268.0494 | 2703661.1697 | 1202263.378
9 | 2705308.8219 | 1201647.3058 | 2705305.5478 | 1201649.9277 | 2705262.3376 | 1201667.6119 | 2705252.8498 | 1201672.9151 | 2705241.4672 | 1201680.342 | 2705230.2002 | 1201688.5493 | 2705223.2655 | 1201692.4076 | 2705205.832 | 1201696.737 | 2705190.1904 | 1201703.066 | 2705165.5674 | 1201716.6531 | 2705154.905 | 1201719.9344 | 2705152.7491 | 1201720.263
10 | 2705143.9208 | 1201721.6089 | 2705152.7491 | 1201720.263
11 | 2704969.7406 | 1201748.2937 | 2704969.5345 | 1201748.5059 | 2704966.8119 | 1201751.2977
12 | 2705191.0041 | 1201574.7692 | 2705204.0287 | 1201572.2412 | 2705211.7365 | 1201572.0435 | 2705218.2018 | 1201571.5014 | 2705226.5408 | 1201569.6136 | 2705233.9443 | 1201568.1096 | 2705238.2911 | 1201568.1195 | 2705238.5541 | 1201568.2389
13 | 2703174.1952 | 1202279.9906 | 2703164.0424 | 1202286.5086 | 2703157.1587 | 1202287.5349 | 2703149.5673 | 1202288.549 | 2703143.2949 | 1202288.1182 | 2703135.2191 | 1202285.8884 | 2703129.5536 | 1202283.8114 | 2703119.0058 | 1202281.4721 | 2703112.565 | 1202278.4478 | 2703105.1216 | 1202273.0934 | 2703101.1005 | 1202271.4451 | 2703096.9561 | 1202271.2068 | 2703093.2553 | 1202272.6106 | 2703090.2975 | 1202275.506 | 2703082.4873 | 1202289.6365 | 2703078.9712 | 1202293.5674 | 2703073.0406 | 1202297.1453 | 2703063.2263 | 1202302.1461 | 2703047.4505 | 1202311.1913 | 2703039.8645 | 1202314.0958 | 2703032.6821 | 1202316.9962 | 2703027.6306 | 1202320.367 | 2703010.8286 | 1202335.5099 | 2703002.6331 | 1202341.9842 | 2702987.3091 | 1202351.3264 | 2702975.4298 | 1202358.2264 | 2702967.1845 | 1202364.4997 | 2702953.2775 | 1202379.0812 | 2702944.9661 | 1202386.0984 | 2702923.982 | 1202397.0444 | 2702883.8192 | 1202421.9475 | 2702846.6392 | 1202443.3999 | 2702818.6039 | 1202458.0608 | 2702780.5939 | 1202474.2512 | 2702740.3865 | 1202494.7404 | 2702716.3656 | 1202507.4806 | 2702711.9651 | 1202509.3062 | 2702702.4055 | 1202510.1535 | 2702694.7109 | 1202510.5549 | 2702685.6883 | 1202512.0453 | 2702676.7444 | 1202514.2709 | 2702665.8947 | 1202518.4317 | 2702647.2271 | 1202526.183 | 2702631.4335 | 1202530.5813 | 2702622.4207 | 1202532.3944 | 2702615.8956 | 1202535.6068 | 2702612.9521 | 1202538.1357 | 2702612.5378 | 1202540.0966 | 2702614.8428 | 1202541.0591 | 2702621.1905 | 1202541.0792 | 2702629.487 | 1202541.0884 | 2702635.6601 | 1202541.9728 | 2702648.7321 | 1202544.8994 | 2702659.8769 | 1202548.8047 | 2702668.4767 | 1202550.209 | 2702676.7903 | 1202551.8753 | 2702683.7281 | 1202554.7631 | 2702691.646 | 1202559.08 | 2702696.0972 | 1202560.5019 | 2702698.8068 | 1202560.9488 | 2702703.0369 | 1202560.6213
14 | 2703174.1952 | 1202279.9906 | 2703161.6702 | 1202278.8624 | 2703156.8347 | 1202277.2111 | 2703155.4408 | 1202274.6186 | 2703155.9327 | 1202271.7029 | 2703158.9306 | 1202269.1306 | 2703162.6675 | 1202267.8387 | 2703217.7285 | 1202261.9078 | 2703225.6902 | 1202259.7327 | 2703234.9121 | 1202255.5559 | 2703242.4923 | 1202252.5514 | 2703251.071 | 1202251.2321 | 2703281.3884 | 1202249.9775 | 2703294.0263 | 1202247.2274 | 2703302.8516 | 1202243.533 | 2703311.4858 | 1202238.5677 | 2703320.6139 | 1202231.454 | 2703327.9889 | 1202222.72 | 2703335.5494 | 1202214.7008 | 2703346.9056 | 1202204.6458 | 2703357.55 | 1202197.892 | 2703366.6128 | 1202193.6792 | 2703383.6604 | 1202189.4824 | 2703401.8417 | 1202182.2365 | 2703413.0528 | 1202176.1708 | 2703426.5502 | 1202166.8758 | 2703437.534 | 1202157.2371 | 2703452.9173 | 1202138.8352 | 2703459.8566 | 1202131.5392 | 2703467.1174 | 1202125.4607 | 2703477.8061 | 1202119.2416 | 2703500.9597 | 1202108.4129 | 2703505.4076 | 1202107.4004 | 2703532.7533 | 1202104.1719 | 2703540.1988 | 1202104.1231 | 2703548.4309 | 1202105.6891 | 2703557.8556 | 1202108.2765 | 2703571.4602 | 1202113.4492 | 2703577.804 | 1202117.6731 | 2703583.9292 | 1202123.0942 | 2703596.0942 | 1202136.6478 | 2703600.1857 | 1202139.0648 | 2703604.3589 | 1202139.4041 | 2703607.5571 | 1202138.0252 | 2703609.6374 | 1202134.8258 | 2703610.5215 | 1202130.8161 | 2703609.7102 | 1202127.1217 | 2703607.4913 | 1202123.3918 | 2703603.5922 | 1202119.9774 | 2703594.9591 | 1202114.3238 | 2703583.7008 | 1202105.5448 | 2703560.5079 | 1202084.8285 | 2703547.6162 | 1202075.8544 | 2703536.8155 | 1202068.3288 | 2703530.9008 | 1202066.1359 | 2703525.6171 | 1202065.2993 | 2703518.5992 | 1202066.145 | 2703508.2232 | 1202067.0547 | 2703502.3503 | 1202066.397 | 2703498.0953 | 1202065.0668 | 2703490.5698 | 1202061.3783 | 2703485.0481 | 1202058.0248 | 2703479.3099 | 1202056.6245 | 2703471.3364 | 1202056.3863 | 2703461.5945 | 1202058.0409 | 2703442.2463 | 1202064.944 | 2703406.6269 | 1202087.8988 | 2703394.9139 | 1202093.4888 | 2703379.5281 | 1202098.4149 | 2703336.8626 | 1202115.0772 | 2703327.7622 | 1202117.0545 | 2703316.3856 | 1202117.2913 | 2703308.7342 | 1202116.0359 | 2703306.2207 | 1202113.9243 | 2703304.959 | 1202110.2889 | 2703305.9593 | 1202106.5925 | 2703310 | 1202104.472 | 2703316.7364 | 1202104.0549 | 2703328.7032 | 1202104.0285 | 2703333.901 | 1202103.2289 | 2703337.8895 | 1202101.4856 | 2703346.7812 | 1202096.1691 | 2703375.067 | 1202072.9313 | 2703389.6452 | 1202058.8183 | 2703398.9015 | 1202045.2024 | 2703408.2837 | 1202033.112 | 2703417.6554 | 1202024.2681 | 2703432.4782 | 1202011.427 | 2703446.0624 | 1201996.7076 | 2703455.0516 | 1201991.0482 | 2703501.1545 | 1201969.8209 | 2703520.685 | 1201957.6953 | 2703608.1058 | 1201904.1626 | 2703614.3493 | 1201902.3363 | 2703618.3836 | 1201902.3507 | 2703622.5652 | 1201903.5352 | 2703630.2743 | 1201907.6161 | 2703650.9254 | 1201919.1044 | 2703657.1345 | 1201921.4471 | 2703664.8618 | 1201921.8481 | 2703668.1709 | 1201921.3199
15 | 2704957.9881 | 1201760.3454 | 2704966.8119 | 1201751.2977
16 | 2703718.4257 | 1201736.3054 | 2703719.5554 | 1201740.0721 | 2703718.8901 | 1201744.6303 | 2703715.7823 | 1201749.5576 | 2703707.2307 | 1201757.5925 | 2703692.9467 | 1201769.5861 | 2703680.1101 | 1201778.892 | 2703661.0454 | 1201788.6902 | 2703645.4811 | 1201795.0691 | 2703632.5044 | 1201801.0481 | 2703625.8325 | 1201805.6244 | 2703619.3007 | 1201810.9037 | 2703612.1209 | 1201817.984 | 2703601.5847 | 1201829.854 | 2703595.7654 | 1201836.1908 | 2703592.8969 | 1201839.1764 | 2703587.2981 | 1201842.0146 | 2703570.5511 | 1201848.1285 | 2703545.1164 | 1201856.1043 | 2703540.9341 | 1201858.0332 | 2703538.8098 | 1201860.2534 | 2703537.8483 | 1201863.0165 | 2703538.2305 | 1201866.8813 | 2703540.4411 | 1201869.3435 | 2703543.5917 | 1201870.2765 | 2703548.5717 | 1201869.3177 | 2703559.8625 | 1201865.7221 | 2703571.3578 | 1201863.0639 | 2703581.536 | 1201861.2947 | 2703588.2912 | 1201861.1228 | 2703617.3625 | 1201862.9281 | 2703625.1393 | 1201863.5523 | 2703630.0133 | 1201865.1935 | 2703635.0317 | 1201868.1603 | 2703640.7432 | 1201871.5506 | 2703656.5292 | 1201882.6432 | 2703662.4484 | 1201885.9037 | 2703667.8609 | 1201888.0991 | 2703674.7948 | 1201889.9096 | 2703696.9199 | 1201893.6739 | 2703702.2899 | 1201895.6796 | 2703705.6541 | 1201897.4614 | 2703707.0364 | 1201900.7098 | 2703707.2434 | 1201904.5716 | 2703705.8465 | 1201907.8608 | 2703703.6544 | 1201910.0353 | 2703699.5217 | 1201912.1762 | 2703689.0441 | 1201915.4077 | 2703680.066 | 1201917.7758 | 2703670.5793 | 1201920.9356 | 2703668.1709 | 1201921.3199
17 | 2704957.9881 | 1201760.3454 | 2704952.5412 | 1201765.9306 | 2704937.6633 | 1201779.0784 | 2704920.6546 | 1201792.1888 | 2704808.911 | 1201867.6483
18 | 2704639.7313 | 1202082.4188 | 2704672.7375 | 1202015.1504 | 2704684.8512 | 1201992.8694 | 2704700.6548 | 1201969.8415 | 2704724.0665 | 1201938.8303 | 2704732.3514 | 1201928.2683 | 2704744.9351 | 1201914.3681 | 2704755.8247 | 1201904.1742 | 2704768.8253 | 1201894.7178 | 2704808.911 | 1201867.6483
19 | 2704639.7313 | 1202082.4188 | 2704624.1601 | 1202078.7436 | 2704608.293 | 1202075.0076 | 2704598.315 | 1202073.6097 | 2704583.4276 | 1202067.1248
20 | 2704639.7313 | 1202082.4188 | 2704635.6967 | 1202091.1097 | 2704632.1936 | 1202099.0519
21 | 2704611.8542 | 1202158.0718 | 2704615.0966 | 1202148.0995 | 2704621.4355 | 1202127.3628 | 2704627.7299 | 1202109.1716 | 2704632.1936 | 1202099.0519
22 | 2704271.4093 | 1202399.8656 | 2704267.9102 | 1202392.3216 | 2704249.4351 | 1202363.6127 | 2704252.3002 | 1202361.261 | 2704279.1389 | 1202340.8264 | 2704289.1217 | 1202333.6513 | 2704299.3783 | 1202326.9256 | 2704307.7532 | 1202322.4688 | 2704340.5686 | 1202307.6426 | 2704568.9115 | 1202187.7629 | 2704594.7594 | 1202174.8953 | 2704600.8268 | 1202171.388 | 2704605.1756 | 1202168.2175 | 2704608.3184 | 1202164.8035 | 2704610.0344 | 1202162.0094 | 2704611.8542 | 1202158.0718
23 | 2704611.8542 | 1202158.0718 | 2704622.1213 | 1202155.9946 | 2704639.6124 | 1202152.6208 | 2704648.7663 | 1202149.3455 | 2704657.9441 | 1202144.7142 | 2704663.6167 | 1202140.7219 | 2704667.3926 | 1202137.2301 | 2704670.8917 | 1202132.5993 | 2704673.557 | 1202126.464 | 2704680.7962 | 1202103.019 | 2704682.7061 | 1202097.8489 | 2704684.5205 | 1202094.2226 | 2704687.1234 | 1202090.7769 | 2704690.5627 | 1202086.9568 | 2704710.1768 | 1202066.7087 | 2704758.5449 | 1202022.4815 | 2704781.5832 | 1201997.1346 | 2704794.848 | 1201982.5905 | 2704804.1034 | 1201974.8586 | 2704813.8488 | 1201967.8358 | 2704816.741 | 1201966.5634 | 2704820.7023 | 1201965.9658 | 2704824.179 | 1201966.0936 | 2704827.048 | 1201967.0112 | 2704831.9319 | 1201969.0585
24 | 2704271.4093 | 1202399.8656 | 2704272.85 | 1202405.4168 | 2704272.1775 | 1202408.6184 | 2704271.7742 | 1202409.7591
25 | 2704856.2062 | 1201959.9291 | 2704844.5449 | 1201968.9751 | 2704840.8814 | 1201970.8232 | 2704838.2488 | 1201971.1773 | 2704835.9348 | 1201970.7364 | 2704831.9319 | 1201969.0585
26 | 2704271.7742 | 1202409.7591 | 2704270.56 | 1202413.1934 | 2704268.7471 | 1202415.5965
27 | 2704262.4003 | 1202439.3357 | 2704262.9051 | 1202437.4543 | 2704260.7766 | 1202426.8321 | 2704261.452 | 1202423.4637 | 2704263.8031 | 1202420.903 | 2704267.2483 | 1202417.583 | 2704268.7471 | 1202415.5965
28 | 2703174.478 | 1201937.6379 | 2703186.2982 | 1201939.0652 | 2703194.6883 | 1201925.7787 | 2703212.3715 | 1201918.7571 | 2703225.7289 | 1201925.5036 | 2703244.4263 | 1201930.708 | 2703256.7485 | 1201926.4402 | 2703264.5139 | 1201918.0353 | 2703275.2544 | 1201911.0272 | 2703287.2717 | 1201908.9891 | 2703306.3192 | 1201909.7967 | 2703312.1277 | 1201910.6644 | 2703316.3358 | 1201909.4363 | 2703322.5037 | 1201903.172 | 2703331.245 | 1201893.8056 | 2703366.9029 | 1201869.9949 | 2703401.407 | 1201849.967 | 2703457.6885 | 1201812.938 | 2703469.7224 | 1201804.2404 | 2703475.8126 | 1201800.7212 | 2703485.2289 | 1201796.7927 | 2703497.4491 | 1201793.6021 | 2703517.5772 | 1201789.1922 | 2703535.6879 | 1201783.9024 | 2703572.7514 | 1201769.1123 | 2703610.8107 | 1201753.9839 | 2703637.8908 | 1201744.6583 | 2703645.2484 | 1201743.1293 | 2703652.6938 | 1201742.6803 | 2703666.1142 | 1201743.1579 | 2703673.9105 | 1201743.1043 | 2703681.0416 | 1201741.905 | 2703707.3627 | 1201732.9 | 2703712.3853 | 1201732.5647 | 2703716.3687 | 1201733.768 | 2703718.4257 | 1201736.3054
29 | 2703718.4257 | 1201736.3054 | 2703733.4995 | 1201716.5424 | 2703745.0385 | 1201702.6332 | 2703759.67 | 1201690.8124 | 2703774.7594 | 1201683.7474 | 2703781.5227 | 1201678.3055 | 2703784.3739 | 1201670.6275 | 2703786.8251 | 1201608.0048 | 2703789.5734 | 1201591.7969 | 2703864.6695 | 1201431.8805 | 2703892.9836 | 1201403.3754 | 2703969.8554 | 1201308.358 | 2704001.8698 | 1201265.0409 | 2704075.021 | 1201017.1883 | 2704078.5005 | 1200989.6632 | 2704100.8583 | 1200975.8876 | 2704107.4624 | 1200958.6797 | 2704048.4906 | 1200972.0063
30 | 2702726.5735 | 1201078.0657 | 2702753.2027 | 1201065.0694 | 2702763.2457 | 1201068.1219 | 2702763.183 | 1201092.5598 | 2702752.0523 | 1201110.6919 | 2702726.1545 | 1201128.2143 | 2702709.2741 | 1201208.4235 | 2702683.8399 | 1201261.8896 | 2702684.1921 | 1201283.466 | 2702693.0739 | 1201291.1572 | 2702756.3798 | 1201299.44 | 2702787.5129 | 1201312.5511 | 2702880.3868 | 1201309.526
31 | 2703232.2299 | 1201112.1463 | 2703222.2059 | 1201108.0148 | 2703173.0562 | 1201156.7661 | 2703132.3861 | 1201215.3598 | 2703090.1295 | 1201282.5546 | 2703028.5926 | 1201338.9876 | 2702983.519 | 1201339.6444 | 2702954.8452 | 1201309.3295 | 2702923.877 | 1201306.9944 | 2702906.6578 | 1201302.0278 | 2702881.299 | 1201309.4963 | 2702880.3868 | 1201309.526
32 | 2703232.2299 | 1201112.1463 | 2703235.1109 | 1201080.252 | 2703234.0666 | 1201071.9616 | 2703234.7104 | 1201069.913
33 | 2703374.8691 | 1201075.5759 | 2703347.3302 | 1201080.0248 | 2703317.5677 | 1201087.5821 | 2703299.6993 | 1201092.3987 | 2703293.8701 | 1201098.402 | 2703289.5037 | 1201099.5051 | 2703283.9056 | 1201103.1553 | 2703280.2797 | 1201107.2288 | 2703277.121 | 1201107.1741 | 2703273.9966 | 1201105.141 | 2703271.2571 | 1201092.2959 | 2703276.3632 | 1201071.3142 | 2703278.8119 | 1201066.6311 | 2703283.6831 | 1201059.2324 | 2703283.9525 | 1201055.1009 | 2703282.2534 | 1201050.3349 | 2703275.0656 | 1201043.3281 | 2703268.3968 | 1201040.6444 | 2703262.8702 | 1201040.1597 | 2703254.1168 | 1201043.5552 | 2703243.8974 | 1201052.04 | 2703237.2086 | 1201061.9646 | 2703234.7104 | 1201069.913
34 | 2703374.8691 | 1201075.5759 | 2703403.8204 | 1201069.5838 | 2703452.9215 | 1201063.3404 | 2703489.7838 | 1201068.3154 | 2703518.1648 | 1201060.5349 | 2703542.4908 | 1201047.7587 | 2703564.0136 | 1201011.7959 | 2703600.3188 | 1200990.5216 | 2703611.1137 | 1200971.2845 | 2703658.6748 | 1200956.8883 | 2703676.7285 | 1200946.7055 | 2703696.317 | 1200939.774 | 2703711.3228 | 1200927.5482
35 | 2703711.3228 | 1200927.5482 | 2703705.0379 | 1200913.2849 | 2703702.8928 | 1200903.9635 | 2703703.2676 | 1200900.3564 | 2703705.1409 | 1200898.1429 | 2703717.8635 | 1200892.8823 | 2703762.6686 | 1200885.0992 | 2703772.4504 | 1200882.1448 | 2703777.3971 | 1200879.2065 | 2703779.9254 | 1200874.7918 | 2703781.8979 | 1200868.1882 | 2703781.6784 | 1200861.9801 | 2703778.6816 | 1200856.1129 | 2703757.4412 | 1200812.6031 | 2703704.0389 | 1200782.2776 | 2703683.9566 | 1200754.4656 | 2703649.6729 | 1200717.5122 | 2703636.4886 | 1200716.8942 | 2703619.7117 | 1200699.9695 | 2703626.7933 | 1200671.8507 | 2703612.8141 | 1200650.338 | 2703586.5859 | 1200640.9881 | 2703576.9691 | 1200636.1737 | 2703592.0362 | 1200614.7312 | 2703587.8283 | 1200604.9182 | 2703583.9911 | 1200589.9748 | 2703583.0884 | 1200582.7542 | 2703584.2709 | 1200577.7935 | 2703593.7975 | 1200561.036 | 2703634.0887 | 1200519.9619 | 2703641.8923 | 1200517.3843 | 2703639.8316 | 1200553.2065 | 2703640.9073 | 1200559.2293 | 2703644.7401 | 1200566.523 | 2703652.4784 | 1200578.2319 | 2703654.5136 | 1200582.4923 | 2703658.1194 | 1200596.7202 | 2703660.8114 | 1200603.9385 | 2703666.0672 | 1200611.7128 | 2703674.4373 | 1200619.9192 | 2703678.9336 | 1200621.8874 | 2703684.4281 | 1200622.0495 | 2703688.2129 | 1200620.7031 | 2703696.0985 | 1200616.0256 | 2703701.3149 | 1200614.6708 | 2703704.8359 | 1200616.233 | 2703712.9957 | 1200623.8353 | 2703717.5624 | 1200625.2489 | 2703731.7203 | 1200624.1828 | 2703747.9308 | 1200619.7945 | 2703752.8073 | 1200619.1565 | 2703757.9305 | 1200618.7785 | 2703760.362 | 1200619.3722
36 | 2703711.3228 | 1200927.5482 | 2703733.2216 | 1200911.6618 | 2703748.1016 | 1200905.805 | 2703753.5316 | 1200907.7704
37 | 2703753.5316 | 1200907.7704 | 2703766.0066 | 1200912.2857
38 | 2704048.4906 | 1200972.0063 | 2704043.7284 | 1200968.7211 | 2704040.4163 | 1200966.1061 | 2704034.4981 | 1200965.8029 | 2704028.2647 | 1200971.7985 | 2704020.0359 | 1200979.1381 | 2704014.0833 | 1200980.8134 | 2704001.076 | 1200978.8079 | 2703983.7026 | 1200978.3163 | 2703973.3553 | 1200982.2723 | 2703964.3564 | 1200988.8092 | 2703957.4069 | 1200990.4561 | 2703945.8969 | 1200993.4134 | 2703942.1583 | 1200992.5589 | 2703940.8081 | 1200990.9566 | 2703940.6787 | 1200987.0183 | 2703950.2456 | 1200959.2211 | 2703949.6023 | 1200951.1266 | 2703944.7617 | 1200945.3384 | 2703924.9597 | 1200936.5213 | 2703918.0383 | 1200936.9901 | 2703911.4913 | 1200938.2549 | 2703907.3568 | 1200937.3936 | 2703904.0687 | 1200933.4003 | 2703899.587 | 1200930.1757 | 2703893.6612 | 1200929.8725 | 2703880.3393 | 1200934.5664 | 2703875.4038 | 1200934.6695 | 2703861.0589 | 1200929.8947 | 2703852.6441 | 1200925.6122 | 2703839.2646 | 1200922.2329 | 2703826.2093 | 1200922.9844 | 2703813.5469 | 1200924.3431 | 2703785.1441 | 1200921.4812 | 2703772.109 | 1200914.4945 | 2703766.0066 | 1200912.2857
39 | 2702838.0777 | 1202074.7216 | 2702824.524 | 1202079.3693 | 2702804.0995 | 1202079.429 | 2702799.5385 | 1202069.3325 | 2702806.1285 | 1202050.8887 | 2702812.1185 | 1202045.1879 | 2702835.8657 | 1202036.9687 | 2702861.2576 | 1202035.7938 | 2702877.008 | 1202042.8254 | 2702899.3057 | 1202032.5801 | 2702922.4021 | 1202017.5231 | 2702949.4058 | 1202006.314 | 2702967.0078 | 1201984.5468 | 2702985.047 | 1201982.4562 | 2702998.2753 | 1201976.3912 | 2703017.9159 | 1201974.5841 | 2703057.0872 | 1201905.4454 | 2703067.3285 | 1201899.5625 | 2703076.2242 | 1201904.5972 | 2703081.1632 | 1201925.8525 | 2703089.1461 | 1201936.5754 | 2703109.3669 | 1201947.9099 | 2703124.5501 | 1201943.7023 | 2703147.1552 | 1201935.5425 | 2703161.3691 | 1201939.8575 | 2703165.3926 | 1201943.5851 | 2703172.3119 | 1201944.9277 | 2703174.478 | 1201937.6379
40 | 2702556.5193 | 1201980.2174 | 2702609.9188 | 1201983.8144 | 2702619.2534 | 1201972.189 | 2702632.791 | 1201966.2619 | 2702647.2682 | 1201968.123 | 2702697.0505 | 1201916.4763 | 2702715.8098 | 1201903.9457 | 2702730.1453 | 1201868.0342 | 2702753.4174 | 1201847.1978 | 2702805.0616 | 1201819.7229 | 2702842.2744 | 1201807.188 | 2702895.7003 | 1201784.1586 | 2702948.3067 | 1201742.4472 | 2702965.7805 | 1201735.6659 | 2702978.8142 | 1201736.0574 | 2702996.1504 | 1201740.7817 | 2703005.4677 | 1201751.8499 | 2703013.8265 | 1201777.8785 | 2703026.9934 | 1201806.7254 | 2703065.8966 | 1201810.0763 | 2703074.3731 | 1201816.9161 | 2703088.2865 | 1201851.4465 | 2703110.8356 | 1201862.8546 | 2703114.2864 | 1201875.9453 | 2703108.3181 | 1201890.4968 | 2703109.9922 | 1201911.6958 | 2703124.9156 | 1201922.5386 | 2703155.0436 | 1201927.9401 | 2703174.478 | 1201937.6379
41 | 2702251.9137 | 1202149.0792 | 2702249.462 | 1202166.4491 | 2702267.6418 | 1202187.6526 | 2702327.1043 | 1202213.5773 | 2702336.694 | 1202234.0889 | 2702351.6375 | 1202240.238 | 2702384.0759 | 1202228.4746 | 2702425.5129 | 1202224.6377 | 2702439.8701 | 1202217.9237 | 2702462.8878 | 1202222.8662 | 2702470.997 | 1202220.0589 | 2702472.5155 | 1202209.6445 | 2702470.2796 | 1202183.3548 | 2702474.1907 | 1202159.0497 | 2702481.0939 | 1202148.4608 | 2702520.3571 | 1202151.1251 | 2702564.4847 | 1202164.4026 | 2702577.4517 | 1202160.6449 | 2702587.0088 | 1202150.6688 | 2702593.0422 | 1202134.4501 | 2702588.7476 | 1202108.8366 | 2702588.9175 | 1202090.527 | 2702585.0644 | 1202081.7437 | 2702569.3591 | 1202077.3933 | 2702540.0974 | 1202076.0902 | 2702536.7193 | 1202069.3387 | 2702538.4798 | 1202060.7964 | 2702579.0911 | 1202026.67 | 2702578.4991 | 1202014.6072 | 2702555.5471 | 1201989.8406 | 2702556.5193 | 1201980.2174
42 | 2702556.5193 | 1201980.2174 | 2702523.1143 | 1201963.0546 | 2702501.8141 | 1201943.1533 | 2702471.8953 | 1201925.5391 | 2702459.4018 | 1201892.3577 | 2702443.5174 | 1201866.0229 | 2702441.757 | 1201849.7149 | 2702452.7009 | 1201831.6902 | 2702469.7115 | 1201819.4624 | 2702481.835 | 1201822.3167 | 2702491.0654 | 1201831.8371 | 2702500.8739 | 1201831.1827 | 2702503.1096 | 1201820.2357 | 2702498.4461 | 1201806.3129 | 2702479.8036 | 1201797.854 | 2702465.4191 | 1201789.2347 | 2702456.739 | 1201767.1596 | 2702460.0781 | 1201733.605 | 2702445.2863 | 1201715.439 | 2702431.9061 | 1201709.5055 | 2702429.2337 | 1201698.8747 | 2702430.4599 | 1201674.8792 | 2702420.373 | 1201667.7793 | 2702406.3779 | 1201655.0937
43 | 2702251.9137 | 1202149.0792 | 2701621.7167 | 1202006.9082
44 | 2701624.9948 | 1201752.5681 | 2701623.0757 | 1201736.5134 | 2701625.2974 | 1201716.0039 | 2701634.1333 | 1201696.9078 | 2701634.1966 | 1201680.2197 | 2701625.3043 | 1201660.1325 | 2701616.5591 | 1201646.1632 | 2701606.0279 | 1201623.9578 | 2701592.5577 | 1201602.2251 | 2701590.4759 | 1201599.4996
45 | 2701624.9948 | 1201752.5681 | 2701614.3934 | 1201801.6102 | 2701608.4421 | 1201864.5853 | 2701606.2633 | 1201895.1024 | 2701606.7085 | 1201931.5682 | 2701610.4671 | 1201967.4677 | 2701621.7167 | 1202006.9082

## bus_geodata
| x | y | coords
0 | 2705395.4514 | 1201423.2891
1 | 2705452.2914 | 1201440.0924
2 | 2704159.3001 | 1201940.493
3 | 2705251.5201 | 1201584.6639
4 | 2703570.8678 | 1202280.5651
5 | 2705308.8219 | 1201647.3058
6 | 2705152.7491 | 1201720.263
7 | 2704969.7406 | 1201748.2937
8 | 2705238.5541 | 1201568.2389
9 | 2703174.1952 | 1202279.9906
10 | 2703661.1697 | 1202263.378
11 | 2705143.9208 | 1201721.6089
12 | 2704966.8118 | 1201751.2977
13 | 2705191.0041 | 1201574.7692
14 | 2702703.0369 | 1202560.6213
15 | 2703668.1709 | 1201921.3199
16 | 2704957.9881 | 1201760.3454
17 | 2704808.911 | 1201867.6483
18 | 2704639.7313 | 1202082.4188
19 | 2704583.4276 | 1202067.1248
20 | 2704632.1936 | 1202099.0519
21 | 2704611.8542 | 1202158.0718
22 | 2704271.4093 | 1202399.8656
23 | 2704831.9319 | 1201969.0585
24 | 2704856.2062 | 1201959.9291
25 | 2704271.7742 | 1202409.7591
26 | 2704268.7471 | 1202415.5965
27 | 2704262.4003 | 1202439.3357
28 | 2703718.4257 | 1201736.3054
29 | 2702726.5735 | 1201078.0657
30 | 2702880.3868 | 1201309.526
31 | 2703232.2299 | 1201112.1463
32 | 2703234.7104 | 1201069.913
33 | 2703374.8691 | 1201075.5759
34 | 2703711.3228 | 1200927.5482
35 | 2703760.362 | 1200619.3722
36 | 2703753.5316 | 1200907.7704
37 | 2703766.0066 | 1200912.2857
38 | 2704048.4906 | 1200972.0063
39 | 2703174.478 | 1201937.6379
40 | 2702838.0777 | 1202074.7216
41 | 2702556.5193 | 1201980.2174
42 | 2702251.9137 | 1202149.0792
43 | 2702406.3779 | 1201655.0937
44 | 2701590.4759 | 1201599.4996
45 | 2701624.9948 | 1201752.5681
46 | 2701621.7167 | 1202006.9082
47 | 2704159.3001 | 1201940.493

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98726 | -0.091043 | 0.00047628 | 0.00011937
1 | 0.98624 | -0.098391 | 0 | 0
2 | 1 | 0 | -0.018525 | -0.004276
3 | 0.98197 | -0.12906 | 0 | 0
4 | 0.99455 | -0.045904 | 0 | 0
5 | 0.98163 | -0.1315 | 0 | 0
6 | 0.981 | -0.13606 | 0.00043936 | 0.00011011
7 | 0.97829 | -0.15578 | 0.00028904 | 7.2439e-05
8 | 0.98192 | -0.12944 | 0.001163 | 0.00029147
9 | 0.99166 | -0.070313 | 0 | 0
10 | 0.99452 | -0.046095 | 0.00018534 | 4.645e-05
11 | 0.98097 | -0.13625 | 0.0020845 | 0.00052243
12 | 0.97824 | -0.1561 | 0.00031416 | 7.8735e-05
13 | 0.98188 | -0.1297 | 0.00052242 | 0.00013093
14 | 0.99098 | -0.075376 | 0.00063885 | 0.00016011
15 | 0.98331 | -0.14117 | 0.00031851 | 7.9827e-05
16 | 0.97812 | -0.15703 | 0.00070181 | 0.00017589
17 | 0.97645 | -0.1692 | 0.00082608 | 0.00020703
18 | 0.97425 | -0.18522 | 0 | 0
19 | 0.97417 | -0.18579 | 0.00091749 | 0.00022995
20 | 0.97413 | -0.1861 | 0.00067985 | 0.00017039
21 | 0.97379 | -0.18863 | 0 | 0
22 | 0.97211 | -0.20081 | 0 | 0
23 | 0.9732 | -0.1929 | 0.00094101 | 0.00023584
24 | 0.97319 | -0.19301 | 0.00036204 | 9.0735e-05
25 | 0.97208 | -0.20108 | 0.00020465 | 5.1291e-05
26 | 0.97205 | -0.20123 | 0.00044327 | 0.0001111
27 | 0.97198 | -0.20176 | 0.0018295 | 0.00045851
28 | 0.98063 | -0.16409 | 0 | 0
29 | 0.97438 | -0.21445 | 0.00033366 | 8.3624e-05
30 | 0.97462 | -0.21264 | 0.00037091 | 9.2958e-05
31 | 0.97511 | -0.20877 | 0 | 0
32 | 0.97515 | -0.20842 | 0.0003141 | 7.8721e-05
33 | 0.9755 | -0.20568 | 0 | 0
34 | 0.97607 | -0.20097 | 0 | 0
35 | 0.97549 | -0.20551 | 0.00049656 | 0.00012445
36 | 0.97618 | -0.20008 | 0.00054823 | 0.0001374
37 | 0.97622 | -0.19976 | 0.000242 | 6.0651e-05
38 | 0.97742 | -0.1902 | 0 | 0
39 | 0.97914 | -0.17716 | 0 | 0
40 | 0.97857 | -0.18137 | 0.00072854 | 0.00018259
41 | 0.97796 | -0.18789 | 0 | 0
42 | 0.97719 | -0.19444 | 0.00059371 | 0.0001488
43 | 0.97781 | -0.18907 | 0.00021009 | 5.2655e-05
44 | 0.97693 | -0.19688 | 0.00016848 | 4.2226e-05
45 | 0.97697 | -0.19658 | 0 | 0
46 | 0.97703 | -0.19605 | 0 | 0
47 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.01184 | 0.002953 | -0.011828 | -0.0029492 | 1.1921e-05 | 3.8181e-06 | 0.01784 | 0.017841 | 0.017841 | 0.98726 | -0.091043 | 0.98624 | -0.098391 | 6.6077
1 | -0.012316 | -0.0030724 | 0.01247 | 0.0030945 | 0.00015399 | 2.2076e-05 | 0.018558 | 0.018545 | 0.018558 | 0.98726 | -0.091043 | 1 | 0 | 3.4367
2 | 0.011828 | 0.0029492 | -0.011779 | -0.0029333 | 4.9556e-05 | 1.589e-05 | 0.017841 | 0.017842 | 0.017842 | 0.98624 | -0.098391 | 0.98197 | -0.12906 | 6.6081
3 | 0.0052544 | 0.0011814 | -0.0052267 | -0.0011804 | 2.77e-05 | 1.072e-06 | 0.0077734 | 0.0077764 | 0.0077764 | 1 | 0 | 0.99455 | -0.045904 | 2.8802
4 | 0.0075667 | 0.0018817 | -0.0075392 | -0.0018754 | 2.7521e-05 | 6.3538e-06 | 0.011461 | 0.011462 | 0.011462 | 0.98197 | -0.12906 | 0.97829 | -0.15578 | 4.2453
5 | 0.0016855 | 0.00042156 | -0.0016854 | -0.0004218 | 8.7091e-08 | -2.372e-07 | 0.0025538 | 0.0025539 | 0.0025539 | 0.98197 | -0.12906 | 0.98192 | -0.12944 | 0.94589
6 | 0.0025264 | 0.00063003 | -0.0025255 | -0.00063087 | 8.4538e-07 | -8.444e-07 | 0.0038272 | 0.0038276 | 0.0038276 | 0.98197 | -0.12906 | 0.98163 | -0.1315 | 1.4176
7 | 0.0050413 | 0.0011352 | -0.0050272 | -0.001135 | 1.4162e-05 | 2.2695e-07 | 0.0074996 | 0.0075013 | 0.0075013 | 0.99455 | -0.045904 | 0.99166 | -0.070313 | 2.7782
8 | 0.00018534 | 4.5161e-05 | -0.00018534 | -4.645e-05 | 4.7682e-09 | -1.2897e-06 | 0.00027686 | 0.00027731 | 0.00027731 | 0.99455 | -0.045904 | 0.99452 | -0.046095 | 0.10271
9 | 0.0025255 | 0.00063087 | -0.0025239 | -0.00063245 | 1.5866e-06 | -1.5819e-06 | 0.0038276 | 0.0038284 | 0.0038284 | 0.98163 | -0.1315 | 0.981 | -0.13606 | 1.4179
10 | 0.0020846 | 0.00052234 | -0.0020845 | -0.00052243 | 5.5714e-08 | -9.1318e-08 | 0.0031619 | 0.003162 | 0.003162 | 0.981 | -0.13606 | 0.98097 | -0.13625 | 1.1711
11 | 0.0072502 | 0.001803 | -0.0072498 | -0.0018029 | 3.1808e-07 | 6.9664e-08 | 0.011023 | 0.011023 | 0.011023 | 0.97829 | -0.15578 | 0.97824 | -0.1561 | 4.0825
12 | 0.00052244 | 0.00013033 | -0.00052242 | -0.00013093 | 1.885e-08 | -6.025e-07 | 0.0007915 | 0.00079171 | 0.00079171 | 0.98192 | -0.12944 | 0.98188 | -0.1297 | 0.29323
13 | 0.00063927 | 0.00015074 | -0.00063885 | -0.00016011 | 4.2295e-07 | -9.3668e-06 | 0.00095599 | 0.00095927 | 0.00095927 | 0.99166 | -0.070313 | 0.99098 | -0.075376 | 0.35529
14 | 0.0043879 | 0.00098424 | -0.0043522 | -0.00098759 | 3.5722e-05 | -3.3414e-06 | 0.0065453 | 0.0065508 | 0.0065508 | 0.99166 | -0.070313 | 0.98331 | -0.14117 | 2.4262
15 | 0.0069357 | 0.0017242 | -0.0069348 | -0.001724 | 8.769e-07 | 1.7862e-07 | 0.010545 | 0.010545 | 0.010545 | 0.97824 | -0.1561 | 0.97812 | -0.15703 | 3.9055
16 | 0.0040336 | 0.00090776 | -0.004023 | -0.00090952 | 1.0644e-05 | -1.763e-06 | 0.006069 | 0.0060708 | 0.0060708 | 0.98331 | -0.14117 | 0.98063 | -0.16409 | 2.2485
17 | 0.006233 | 0.0015481 | -0.0062227 | -0.0015464 | 1.0312e-05 | 1.661e-06 | 0.0094773 | 0.0094781 | 0.0094781 | 0.97812 | -0.15703 | 0.97645 | -0.1692 | 3.5104
18 | 0.0053966 | 0.0013394 | -0.0053849 | -0.0013383 | 1.1747e-05 | 1.0407e-06 | 0.0082193 | 0.0082205 | 0.0082205 | 0.97645 | -0.1692 | 0.97425 | -0.18522 | 3.0446
19 | 0.00091757 | 0.00022924 | -0.00091749 | -0.00022995 | 7.1821e-08 | -7.022e-07 | 0.0014012 | 0.0014014 | 0.0014014 | 0.97425 | -0.18522 | 0.97417 | -0.18579 | 0.51905
20 | 0.0044673 | 0.0011091 | -0.0044668 | -0.0011091 | 5.2994e-07 | -2.3558e-08 | 0.0068193 | 0.0068194 | 0.0068194 | 0.97425 | -0.18522 | 0.97413 | -0.1861 | 2.5257
21 | 0.0037869 | 0.00093874 | -0.0037856 | -0.00093902 | 1.303e-06 | -2.7641e-07 | 0.0057809 | 0.0057812 | 0.0057812 | 0.97413 | -0.1861 | 0.97379 | -0.18863 | 2.1412
22 | 0.0024818 | 0.00061632 | -0.0024777 | -0.00062046 | 4.1383e-06 | -4.1382e-06 | 0.0037903 | 0.0037924 | 0.0037924 | 0.97379 | -0.18863 | 0.97211 | -0.20081 | 1.4046
23 | 0.0013038 | 0.0003227 | -0.0013031 | -0.00032623 | 7.601e-07 | -3.5261e-06 | 0.0019909 | 0.0019922 | 0.0019922 | 0.97379 | -0.18863 | 0.9732 | -0.1929 | 0.73786
24 | 0.0024777 | 0.00062046 | -0.0024776 | -0.00062055 | 9.1689e-08 | -9.1391e-08 | 0.0037924 | 0.0037924 | 0.0037924 | 0.97211 | -0.20081 | 0.97208 | -0.20108 | 1.4046
25 | 0.00036204 | 9.0387e-05 | -0.00036204 | -9.0735e-05 | 5.3936e-09 | -3.485e-07 | 0.00055343 | 0.00055356 | 0.00055356 | 0.9732 | -0.1929 | 0.97319 | -0.19301 | 0.20502
26 | 0.0022729 | 0.00056926 | -0.0022729 | -0.00056932 | 5.0252e-08 | -6.3145e-08 | 0.0034792 | 0.0034792 | 0.0034792 | 0.97208 | -0.20108 | 0.97205 | -0.20123 | 1.2886
27 | 0.0018296 | 0.00045822 | -0.0018295 | -0.00045851 | 1.3199e-07 | -2.8349e-07 | 0.0028006 | 0.0028008 | 0.0028008 | 0.97205 | -0.20123 | 0.97198 | -0.20176 | 1.0373
28 | 0.0017055 | 0.00037481 | -0.001703 | -0.0003815 | 2.5071e-06 | -6.6895e-06 | 0.0025703 | 0.0025727 | 0.0025727 | 0.98063 | -0.16409 | 0.97914 | -0.17716 | 0.95285
29 | 0.0023175 | 0.00053472 | -0.0023101 | -0.00054395 | 7.339e-06 | -9.2318e-06 | 0.0035007 | 0.0035047 | 0.0035047 | 0.98063 | -0.16409 | 0.97742 | -0.1902 | 1.298
30 | -0.00033366 | -8.3624e-05 | 0.00033374 | 7.7646e-05 | 7.7792e-08 | -5.9772e-06 | 0.00050955 | 0.00050746 | 0.00050955 | 0.97438 | -0.21445 | 0.97462 | -0.21264 | 0.18872
31 | -0.00070465 | -0.0001706 | 0.00070499 | 0.00016478 | 3.4277e-07 | -5.8204e-06 | 0.0010737 | 0.0010717 | 0.0010737 | 0.97462 | -0.21264 | 0.97511 | -0.20877 | 0.39767
32 | -0.00070499 | -0.00016478 | 0.00070502 | 0.00016427 | 3.0472e-08 | -5.188e-07 | 0.0010717 | 0.0010715 | 0.0010717 | 0.97511 | -0.20877 | 0.97515 | -0.20842 | 0.39691
33 | -0.0010191 | -0.00024299 | 0.0010195 | 0.00024021 | 3.4914e-07 | -2.7713e-06 | 0.0015507 | 0.0015497 | 0.0015507 | 0.97515 | -0.20842 | 0.9755 | -0.20568 | 0.57435
34 | -0.0010195 | -0.00024021 | 0.0010201 | 0.00023557 | 5.8351e-07 | -4.6444e-06 | 0.0015497 | 0.0015481 | 0.0015497 | 0.9755 | -0.20568 | 0.97607 | -0.20097 | 0.57398
35 | 0.00049685 | 0.00011443 | -0.00049656 | -0.00012445 | 2.8899e-07 | -1.002e-05 | 0.00075396 | 0.00075746 | 0.00075746 | 0.97607 | -0.20097 | 0.97549 | -0.20551 | 0.28054
36 | -0.0015169 | -0.00035 | 0.0015171 | 0.00034945 | 1.6143e-07 | -5.4818e-07 | 0.0023021 | 0.0023019 | 0.0023021 | 0.97607 | -0.20097 | 0.97618 | -0.20008 | 0.85262
37 | -0.0020653 | -0.00048685 | 0.0020654 | 0.00048672 | 8.149e-08 | -1.3453e-07 | 0.0031374 | 0.0031374 | 0.0031374 | 0.97618 | -0.20008 | 0.97622 | -0.19976 | 1.162
38 | -0.0023074 | -0.00054737 | 0.0023101 | 0.00054395 | 2.7427e-06 | -3.4227e-06 | 0.0035062 | 0.0035047 | 0.0035062 | 0.97622 | -0.19976 | 0.97742 | -0.1902 | 1.2986
39 | 0.00072895 | 0.000176 | -0.00072854 | -0.00018259 | 4.1031e-07 | -6.5918e-06 | 0.0011054 | 0.0011078 | 0.0011078 | 0.97914 | -0.17716 | 0.97857 | -0.18137 | 0.4103
40 | 0.00097408 | 0.0002055 | -0.00097294 | -0.00021564 | 1.1342e-06 | -1.0143e-05 | 0.0014675 | 0.0014708 | 0.0014708 | 0.97914 | -0.17716 | 0.97796 | -0.18789 | 0.54475
41 | 0.00076282 | 0.00016908 | -0.00076224 | -0.00017764 | 5.8283e-07 | -8.5601e-06 | 0.0011532 | 0.001156 | 0.001156 | 0.97796 | -0.18789 | 0.97719 | -0.19444 | 0.42817
42 | 0.00021013 | 4.6564e-05 | -0.00021009 | -5.2655e-05 | 3.0821e-08 | -6.0907e-06 | 0.00031765 | 0.00031972 | 0.00031972 | 0.97796 | -0.18789 | 0.97781 | -0.18907 | 0.11841
43 | 0.00016853 | 2.8838e-05 | -0.0001685 | -3.692e-05 | 2.593e-08 | -8.0819e-06 | 0.00025254 | 0.00025483 | 0.00025483 | 0.97719 | -0.19444 | 0.97703 | -0.19605 | 0.094382
44 | -0.00016848 | -4.2226e-05 | 0.00016849 | 4.0143e-05 | 6.8246e-09 | -2.0828e-06 | 0.00025663 | 0.00025589 | 0.00025663 | 0.97693 | -0.19688 | 0.97697 | -0.19658 | 0.095046
45 | -0.00016849 | -4.0143e-05 | 0.0001685 | 3.692e-05 | 1.0483e-08 | -3.2223e-06 | 0.00025589 | 0.00025483 | 0.00025589 | 0.97697 | -0.19658 | 0.97703 | -0.19605 | 0.094775

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.018525 | 0.004276

## res_load
| p_mw | q_mvar
0 | 0.00047628 | 0.00011937
1 | 0.00043936 | 0.00011011
2 | 0.00028904 | 7.2439e-05
3 | 0.001163 | 0.00029147
4 | 0.00018534 | 4.645e-05
5 | 0.0020845 | 0.00052243
6 | 0.00031416 | 7.8735e-05
7 | 0.00052242 | 0.00013093
8 | 0.00063885 | 0.00016011
9 | 0.00031851 | 7.9827e-05
10 | 0.00070181 | 0.00017589
11 | 0.00082608 | 0.00020703
12 | 0.00091749 | 0.00022995
13 | 0.00067985 | 0.00017039
14 | 0.00094101 | 0.00023584
15 | 0.00036204 | 9.0735e-05
16 | 0.00020465 | 5.1291e-05
17 | 0.00044327 | 0.0001111
18 | 0.0018295 | 0.00045851
19 | 0.00033366 | 8.3624e-05
20 | 0.00037091 | 9.2958e-05
21 | 0.0003141 | 7.8721e-05
22 | 0.00049656 | 0.00012445
23 | 0.00054823 | 0.0001374
24 | 0.000242 | 6.0651e-05
25 | 0.00072854 | 0.00018259
26 | 0.00059371 | 0.0001488
27 | 0.00021009 | 5.2655e-05
28 | 0.00016848 | 4.2226e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1