## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1367-17_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1367-17_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1367-17_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1367-17_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1367-17_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1367-17_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1367-17_0_3_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_1367-17_0_3_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_1367-17_0_3_node_43 | 0.4 | n |  | TRUE
9 | bus_LV_1367-17_0_3_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_1367-17_0_3_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_1367-17_0_3_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_1367-17_0_3_node_42 | 0.4 | n |  | TRUE
13 | bus_LV_1367-17_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_1367-17_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_1367-17_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1367-17_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1367-17_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1367-17_0_3_node_51 | 0.4 | n |  | TRUE
19 | bus_LV_1367-17_0_3_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_1367-17_0_3_node_50 | 0.4 | n |  | TRUE
21 | bus_LV_1367-17_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_1367-17_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1367-17_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_1367-17_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_1367-17_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_1367-17_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1367-17_0_3_node_53 | 0.4 | n |  | TRUE
28 | bus_LV_1367-17_0_3_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_1367-17_0_3_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_1367-17_0_3_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_1367-17_0_3_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_1367-17_0_3_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_1367-17_0_3_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_1367-17_0_3_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_1367-17_0_3_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_1367-17_0_3_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_1367-17_0_3_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_1367-17_0_3_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_1367-17_0_3_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_1367-17_0_3_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_1367-17_0_3_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_1367-17_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_1367-17_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_1367-17_0_3_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_1367-17_0_3_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_1367-17_0_3_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_1367-17_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_1367-17_0_3_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_1367-17_0_3_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_1367-17_0_3_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_1367-17_0_3_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_1367-17_0_3_node_52 | 0.4 | n |  | TRUE
53 | bus_MV_134_0_node_26 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1367-17_0_3_load_0 | 0 | 0.0030395 | 0.00076176 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1367-17_0_3_load_1 | 1 | 0.0014375 | 0.00036026 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1367-17_0_3_load_3 | 3 | 0.0024862 | 0.00062311 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1367-17_0_3_load_4 | 4 | 0.0070774 | 0.0017738 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1367-17_0_3_load_5 | 5 | 0.003624 | 0.00090827 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1367-17_0_3_load_31 | 6 | 0.0015983 | 0.00040058 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1367-17_0_3_load_30 | 9 | 0.0024726 | 0.0006197 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1367-17_0_3_load_24 | 10 | 0.0034449 | 0.00086336 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1367-17_0_3_load_20 | 11 | 0.0015037 | 0.00037686 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1367-17_0_3_load_42 | 12 | 0.0041597 | 0.0010425 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1367-17_0_3_load_6 | 13 | 0.0033617 | 0.00084253 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1367-17_0_3_load_7 | 14 | 0.0024728 | 0.00061974 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1367-17_0_3_load_8 | 15 | 0.0011334 | 0.00028406 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1367-17_0_3_load_9 | 16 | 0.0019574 | 0.00049057 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1367-17_0_3_load_10 | 17 | 0.0024712 | 0.00061935 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1367-17_0_3_load_51 | 18 | 0.0039485 | 0.00098959 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1367-17_0_3_load_32 | 19 | 0.013899 | 0.0034834 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1367-17_0_3_load_50 | 20 | 0.0024726 | 0.0006197 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1367-17_0_3_load_11 | 21 | 0.0069967 | 0.0017535 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1367-17_0_3_load_12 | 22 | 0.0077261 | 0.0019363 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1367-17_0_3_load_14 | 24 | 0.0089663 | 0.0022472 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1367-17_0_3_load_15 | 25 | 0.0053262 | 0.0013349 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1367-17_0_3_load_16 | 26 | 0.013637 | 0.0034177 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1367-17_0_3_load_53 | 27 | 0.0035022 | 0.00087774 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1367-17_0_3_load_48 | 28 | 0.0021535 | 0.00053971 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1367-17_0_3_load_28 | 29 | 0.002274 | 0.00056991 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1367-17_0_3_load_49 | 31 | 0.0046669 | 0.0011696 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1367-17_0_3_load_26 | 32 | 0.0025676 | 0.00064349 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1367-17_0_3_load_17 | 33 | 0.0018724 | 0.00046927 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1367-17_0_3_load_18 | 34 | 0.0025831 | 0.0006474 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1367-17_0_3_load_19 | 35 | 0.0029611 | 0.00074213 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1367-17_0_3_load_29 | 37 | 0.0022939 | 0.00057491 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1367-17_0_3_load_25 | 38 | 0.0023642 | 0.00059252 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1367-17_0_3_load_21 | 39 | 0.0042331 | 0.0010609 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1367-17_0_3_load_23 | 40 | 0.0040586 | 0.0010172 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1367-17_0_3_load_39 | 41 | 0.0019141 | 0.00047972 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1367-17_0_3_load_34 | 42 | 0.0052897 | 0.0013257 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1367-17_0_3_load_37 | 43 | 0.0034425 | 0.00086277 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1367-17_0_3_load_41 | 44 | 0.0069406 | 0.0017395 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1367-17_0_3_load_33 | 45 | 0.0022494 | 0.00056376 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1367-17_0_3_load_35 | 46 | 0.0057326 | 0.0014367 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1367-17_0_3_load_38 | 47 | 0.002773 | 0.00069499 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1367-17_0_3_load_40 | 48 | 0.0063053 | 0.0015802 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1367-17_0_3_load_45 | 49 | 0.0031612 | 0.00079227 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1367-17_0_3_load_46 | 50 | 0.0030368 | 0.00076109 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1367-17_0_3_load_44 | 51 | 0.0018185 | 0.00045577 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1367-17_0_3_load_52 | 52 | 0.00096347 | 0.00024147 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1367-17_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0011798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1367-17_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.015919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1367-17_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0086263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1367-17_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.024613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1367-17_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.012707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1367-17_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0097386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1367-17_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.041332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1367-17_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.023246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1367-17_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.019059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1367-17_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.026849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_1367-17_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.015778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1367-17_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.038681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1367-17_0_3_line_12 | NAYY 4x150 SE | 9 | 19 | 0.0048552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1367-17_0_3_line_13 | NAYY 4x150 SE | 10 | 41 | 0.0059764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1367-17_0_3_line_14 | NAYY 4x150 SE | 11 | 39 | 0.0033269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1367-17_0_3_line_15 | NAYY 4x150 SE | 12 | 51 | 0.044596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1367-17_0_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.012345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1367-17_0_3_line_17 | NAYY 4x150 SE | 13 | 15 | 0.0025876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1367-17_0_3_line_18 | NAYY 4x150 SE | 14 | 16 | 0.0038303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1367-17_0_3_line_19 | NAYY 4x150 SE | 15 | 17 | 0.0026833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1367-17_0_3_line_20 | NAYY 4x150 SE | 16 | 18 | 0.0017289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1367-17_0_3_line_21 | NAYY 4x150 SE | 17 | 19 | 0.016972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1367-17_0_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.012494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1367-17_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.014393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1367-17_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.029133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1367-17_0_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.011011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1367-17_0_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.012125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1367-17_0_3_line_27 | NAYY 4x150 SE | 23 | 26 | 0.0042403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1367-17_0_3_line_28 | NAYY 4x150 SE | 24 | 27 | 0.00046589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1367-17_0_3_line_29 | NAYY 4x150 SE | 25 | 28 | 0.024577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1367-17_0_3_line_30 | NAYY 4x150 SE | 26 | 29 | 0.0076958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1367-17_0_3_line_31 | NAYY 4x150 SE | 27 | 30 | 0.020541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1367-17_0_3_line_32 | NAYY 4x150 SE | 28 | 31 | 0.0019379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1367-17_0_3_line_33 | NAYY 4x150 SE | 29 | 32 | 0.020539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1367-17_0_3_line_34 | NAYY 4x150 SE | 30 | 42 | 0.016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1367-17_0_3_line_35 | NAYY 4x150 SE | 30 | 40 | 0.003736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1367-17_0_3_line_36 | NAYY 4x150 SE | 32 | 38 | 0.0012538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1367-17_0_3_line_37 | NAYY 4x150 SE | 33 | 34 | 0.0044028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1367-17_0_3_line_38 | NAYY 4x150 SE | 34 | 35 | 0.023243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1367-17_0_3_line_39 | NAYY 4x150 SE | 35 | 36 | 0.015429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1367-17_0_3_line_40 | NAYY 4x150 SE | 36 | 37 | 0.013233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1367-17_0_3_line_41 | NAYY 4x150 SE | 36 | 38 | 0.010866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1367-17_0_3_line_42 | NAYY 4x150 SE | 37 | 44 | 0.024195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1367-17_0_3_line_43 | NAYY 4x150 SE | 39 | 40 | 0.024171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1367-17_0_3_line_44 | NAYY 4x150 SE | 41 | 43 | 0.01046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1367-17_0_3_line_45 | NAYY 4x150 SE | 42 | 45 | 0.030597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1367-17_0_3_line_46 | NAYY 4x150 SE | 43 | 47 | 0.010463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1367-17_0_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.0079325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1367-17_0_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.0091476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1367-17_0_3_line_49 | NAYY 4x150 SE | 48 | 49 | 0.014771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1367-17_0_3_line_50 | NAYY 4x150 SE | 49 | 50 | 0.020849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1367-17_0_3_line_51 | NAYY 4x150 SE | 51 | 52 | 0.23414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1367-17_0_3_trafo_24 | 0.25 MVA 20/0.4 kV | 53 | 10 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2701032.0893 | 1203226.9005 | 2701030.91 | 1203226.9369
1 | 2701048.0006 | 1203226.4103 | 2701032.0893 | 1203226.9005
2 | 2701022.2878 | 1203227.2026 | 2701030.91 | 1203226.9369
3 | 2701048.0006 | 1203226.4103 | 2701048.3979 | 1203242.5058 | 2701046.9265 | 1203250.8906
4 | 2701048.0006 | 1203226.4103 | 2701060.7044 | 1203226.1236
5 | 2701022.2878 | 1203227.2026 | 2701012.5539 | 1203227.5025
6 | 2701021.3811 | 1203280.2302 | 2701029.9155 | 1203276.9055 | 2701039.7642 | 1203268.7777 | 2701046.0984 | 1203255.6091 | 2701046.9265 | 1203250.8906
7 | 2701083.9444 | 1203225.5956 | 2701074.4654 | 1203225.8131 | 2701060.7044 | 1203226.1236
8 | 2701012.5539 | 1203227.5025 | 2700993.5043 | 1203228.0895
9 | 2701021.3811 | 1203280.2302 | 2700996.3562 | 1203289.9567
10 | 2701021.3811 | 1203280.2302 | 2701027.032 | 1203294.9612
11 | 2701083.9444 | 1203225.5956 | 2701081.711 | 1203186.9794
12 | 2700988.6514 | 1203228.239 | 2700993.5043 | 1203228.0895
13 | 2700996.3562 | 1203289.9567 | 2700990.7858 | 1203292.1218
14 | 2701027.032 | 1203294.9612 | 2701028.2236 | 1203298.0674
15 | 2701081.711 | 1203186.9794 | 2701077.9885 | 1203142.5392
16 | 2700966.4191 | 1203228.9241 | 2700954.0799 | 1203229.3043
17 | 2700966.4191 | 1203228.9241 | 2700969.0055 | 1203228.8444
18 | 2700950.2515 | 1203229.4223 | 2700954.0799 | 1203229.3043
19 | 2700969.0055 | 1203228.8444 | 2700971.6875 | 1203228.7618
20 | 2700948.5234 | 1203229.4755 | 2700950.2515 | 1203229.4223
21 | 2700988.6514 | 1203228.239 | 2700971.6875 | 1203228.7618
22 | 2700936.0349 | 1203229.8603 | 2700948.5234 | 1203229.4755
23 | 2701034.296 | 1203361.8898 | 2701042.4468 | 1203358.9402 | 2701046.2709 | 1203354.6798 | 2701046.2709 | 1203354.6798
24 | 2701006.9012 | 1203371.8034 | 2701034.296 | 1203361.8898
25 | 2701045.1011 | 1203343.97 | 2701046.7666 | 1203348.773 | 2701046.2709 | 1203354.6798
26 | 2701006.9012 | 1203371.8034 | 2701002.33 | 1203360.5734
27 | 2701006.9012 | 1203371.8034 | 2701002.9141 | 1203373.2468
28 | 2701045.1011 | 1203343.97 | 2701044.9484 | 1203343.5298
29 | 2700993.0639 | 1203337.8096 | 2701002.33 | 1203360.5734
30 | 2701002.9141 | 1203373.2468 | 2700995.6779 | 1203375.8663
31 | 2701038.2186 | 1203324.1227 | 2701044.9484 | 1203343.5298
32 | 2700993.0639 | 1203337.8096 | 2700992.3332 | 1203336.0147
33 | 2700976.3652 | 1203382.8575 | 2700995.6779 | 1203375.8663
34 | 2701038.2186 | 1203324.1227 | 2701054.0324 | 1203321.6857
35 | 2701038.2186 | 1203324.1227 | 2701036.8806 | 1203320.6346
36 | 2700976.3652 | 1203382.8575 | 2700975.1863 | 1203383.2843
37 | 2700928.0781 | 1203398.5226 | 2700923.8505 | 1203399.7526
38 | 2700928.0781 | 1203398.5226 | 2700950.3952 | 1203392.0294
39 | 2700964.9696 | 1203386.9827 | 2700953.5755 | 1203391.1041 | 2700950.3952 | 1203392.0294
40 | 2700964.9696 | 1203386.9827 | 2700959.7776 | 1203374.8103
41 | 2700964.9696 | 1203386.9827 | 2700975.1863 | 1203383.2843
42 | 2700950.2852 | 1203352.5555 | 2700959.7776 | 1203374.8103
43 | 2701036.8806 | 1203320.6346 | 2701028.2236 | 1203298.0674
44 | 2700981.0363 | 1203295.9112 | 2700990.7858 | 1203292.1218
45 | 2701054.0324 | 1203321.6857 | 2701084.2725 | 1203317.0255
46 | 2700981.0363 | 1203295.9112 | 2700971.2845 | 1203299.7015
47 | 2701092.1124 | 1203315.8173 | 2701084.2725 | 1203317.0255
48 | 2700962.7583 | 1203303.0155 | 2700971.2845 | 1203299.7015
49 | 2700948.9902 | 1203308.3668 | 2700962.7583 | 1203303.0155
50 | 2700948.9902 | 1203308.3668 | 2700929.5577 | 1203315.9198
51 | 2701077.9885 | 1203142.5392 | 2701046.7264 | 1202910.4952

## bus_geodata
| x | y | coords
0 | 2701032.0893 | 1203226.9005
1 | 2701030.91 | 1203226.9369
2 | 2701048.0006 | 1203226.4103
3 | 2701022.2878 | 1203227.2026
4 | 2701046.9265 | 1203250.8906
5 | 2701060.7044 | 1203226.1236
6 | 2701012.5539 | 1203227.5025
7 | 2701021.3811 | 1203280.2302
8 | 2701083.9444 | 1203225.5956
9 | 2700993.5043 | 1203228.0895
10 | 2700996.3562 | 1203289.9567
11 | 2701027.032 | 1203294.9612
12 | 2701081.711 | 1203186.9794
13 | 2700966.4191 | 1203228.9241
14 | 2700954.0799 | 1203229.3043
15 | 2700969.0055 | 1203228.8444
16 | 2700950.2515 | 1203229.4223
17 | 2700971.6875 | 1203228.7618
18 | 2700948.5234 | 1203229.4755
19 | 2700988.6514 | 1203228.239
20 | 2700936.0349 | 1203229.8603
21 | 2701034.296 | 1203361.8898
22 | 2701046.2709 | 1203354.6798
23 | 2701006.9012 | 1203371.8034
24 | 2701045.1011 | 1203343.97
25 | 2701002.33 | 1203360.5734
26 | 2701002.9141 | 1203373.2468
27 | 2701044.9484 | 1203343.5298
28 | 2700993.0639 | 1203337.8096
29 | 2700995.6779 | 1203375.8663
30 | 2701038.2186 | 1203324.1227
31 | 2700992.3332 | 1203336.0147
32 | 2700976.3652 | 1203382.8575
33 | 2700923.8505 | 1203399.7526
34 | 2700928.0781 | 1203398.5226
35 | 2700950.3952 | 1203392.0294
36 | 2700964.9696 | 1203386.9827
37 | 2700959.7776 | 1203374.8103
38 | 2700975.1863 | 1203383.2843
39 | 2701028.2236 | 1203298.0674
40 | 2701036.8806 | 1203320.6346
41 | 2700990.7858 | 1203292.1218
42 | 2701054.0324 | 1203321.6857
43 | 2700981.0363 | 1203295.9112
44 | 2700950.2852 | 1203352.5555
45 | 2701084.2725 | 1203317.0255
46 | 2701092.1124 | 1203315.8173
47 | 2700971.2845 | 1203299.7015
48 | 2700962.7583 | 1203303.0155
49 | 2700948.9902 | 1203308.3668
50 | 2700929.5577 | 1203315.9198
51 | 2701077.9885 | 1203142.5392
52 | 2701046.7264 | 1202910.4952
53 | 2701021.3811 | 1203280.2302

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99042 | -0.066964 | 0.0030395 | 0.00076176
1 | 0.99036 | -0.067441 | 0.0014375 | 0.00036026
2 | 0.9914 | -0.060045 | 0 | 0
3 | 0.98988 | -0.070803 | 0.0024862 | 0.00062311
4 | 0.9933 | -0.046734 | 0.0070774 | 0.0017738
5 | 0.99121 | -0.061413 | 0.003624 | 0.00090827
6 | 0.98938 | -0.074355 | 0.0015983 | 0.00040058
7 | 0.99689 | -0.021554 | 0 | 0
8 | 0.99098 | -0.06306 | 0 | 0
9 | 0.98844 | -0.081007 | 0.0024726 | 0.0006197
10 | 1 | 0 | -0.18376 | -0.046112
11 | 0.99461 | -0.037425 | 0.0015037 | 0.00037686
12 | 0.99059 | -0.065801 | 0.0041597 | 0.0010425
13 | 0.98767 | -0.086471 | 0.0033617 | 0.00084253
14 | 0.98747 | -0.087842 | 0.0024728 | 0.00061974
15 | 0.98772 | -0.086094 | 0.0011334 | 0.00028406
16 | 0.98743 | -0.08817 | 0.0019574 | 0.00049057
17 | 0.98778 | -0.085673 | 0.0024712 | 0.00061935
18 | 0.98741 | -0.088284 | 0.0039485 | 0.00098959
19 | 0.98821 | -0.08258 | 0.013899 | 0.0034834
20 | 0.98736 | -0.0886 | 0.0024726 | 0.0006197
21 | 0.98582 | -0.099291 | 0.0069967 | 0.0017535
22 | 0.987 | -0.090926 | 0.0077261 | 0.0019363
23 | 0.98372 | -0.11418 | 0 | 0
24 | 0.98803 | -0.083671 | 0.0089663 | 0.0022472
25 | 0.98351 | -0.1157 | 0.0053262 | 0.0013349
26 | 0.98349 | -0.11582 | 0.013637 | 0.0034177
27 | 0.98808 | -0.083322 | 0.0035022 | 0.00087774
28 | 0.98326 | -0.11743 | 0.0021535 | 0.00053971
29 | 0.98322 | -0.11772 | 0.002274 | 0.00056991
30 | 0.99036 | -0.067221 | 0 | 0
31 | 0.98325 | -0.11752 | 0.0046669 | 0.0011696
32 | 0.98258 | -0.1223 | 0.0025676 | 0.00064349
33 | 0.98195 | -0.12676 | 0.0018724 | 0.00046927
34 | 0.98197 | -0.12667 | 0.0025831 | 0.0006474
35 | 0.98212 | -0.1256 | 0.0029611 | 0.00074213
36 | 0.98228 | -0.12442 | 0 | 0
37 | 0.98211 | -0.12568 | 0.0022939 | 0.00057491
38 | 0.98255 | -0.12254 | 0.0023642 | 0.00059252
39 | 0.99414 | -0.04073 | 0.0042331 | 0.0010609
40 | 0.99085 | -0.063796 | 0.0040586 | 0.0010172
41 | 0.99982 | -0.0012313 | 0.0019141 | 0.00047972
42 | 0.99006 | -0.069383 | 0.0052897 | 0.0013257
43 | 0.99954 | -0.0031873 | 0.0034425 | 0.00086277
44 | 0.98186 | -0.12742 | 0.0069406 | 0.0017395
45 | 0.9897 | -0.071872 | 0.0022494 | 0.00056376
46 | 0.98964 | -0.072335 | 0.0057326 | 0.0014367
47 | 0.99932 | -0.0047847 | 0.002773 | 0.00069499
48 | 0.99915 | -0.0059283 | 0.0063053 | 0.0015802
49 | 0.99902 | -0.0068441 | 0.0031612 | 0.00079227
50 | 0.99893 | -0.0074775 | 0.0030368 | 0.00076109
51 | 0.99041 | -0.067075 | 0.0018185 | 0.00045577
52 | 0.99009 | -0.069397 | 0.00096347 | 0.00024147
53 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0398 | 0.0099854 | -0.039797 | -0.0099845 | 2.6327e-06 | 9.974e-07 | 0.059799 | 0.059799 | 0.059799 | 0.99042 | -0.066964 | 0.99036 | -0.067441 | 22.1479
1 | -0.042839 | -0.010747 | 0.042881 | 0.010763 | 4.1154e-05 | 1.5623e-05 | 0.064366 | 0.064366 | 0.064366 | 0.99042 | -0.066964 | 0.9914 | -0.060045 | 23.8392
2 | 0.03836 | 0.0096242 | -0.038342 | -0.0096174 | 1.7883e-05 | 6.7673e-06 | 0.05764 | 0.05764 | 0.05764 | 0.99036 | -0.067441 | 0.98988 | -0.070803 | 21.348
3 | -0.053453 | -0.013409 | 0.053552 | 0.013447 | 9.8871e-05 | 3.7709e-05 | 0.080233 | 0.080233 | 0.080233 | 0.9914 | -0.060045 | 0.9933 | -0.046734 | 29.7161
4 | 0.010573 | 0.0026462 | -0.010571 | -0.0026456 | 1.9964e-06 | 6.0403e-07 | 0.015868 | 0.015868 | 0.015868 | 0.9914 | -0.060045 | 0.99121 | -0.061413 | 5.8769
5 | 0.035856 | 0.0089943 | -0.035838 | -0.0089877 | 1.7656e-05 | 6.6657e-06 | 0.053902 | 0.053902 | 0.053902 | 0.98988 | -0.070803 | 0.98938 | -0.074355 | 19.9638
6 | -0.06063 | -0.01522 | 0.060842 | 0.015302 | 0.00021281 | 8.1311e-05 | 0.090836 | 0.090836 | 0.090836 | 0.9933 | -0.046734 | 0.99689 | -0.021554 | 33.6429
7 | 0.0069467 | 0.0017373 | -0.0069452 | -0.001737 | 1.5771e-06 | 3.0703e-07 | 0.010427 | 0.010427 | 0.010427 | 0.99121 | -0.061413 | 0.99098 | -0.06306 | 3.862
8 | 0.03424 | 0.0085871 | -0.034208 | -0.0085752 | 3.154e-05 | 1.1886e-05 | 0.051498 | 0.051499 | 0.051499 | 0.98938 | -0.074355 | 0.98844 | -0.081007 | 19.0736
9 | -0.16182 | -0.040749 | 0.16231 | 0.040936 | 0.00048899 | 0.00018737 | 0.24161 | 0.24161 | 0.24161 | 0.99689 | -0.021554 | 1 | 0 | 44.7422
10 | 0.10098 | 0.025447 | -0.10075 | -0.025361 | 0.00022381 | 8.5874e-05 | 0.15077 | 0.15077 | 0.15077 | 0.99689 | -0.021554 | 0.99461 | -0.037425 | 55.8416
11 | 0.0069452 | 0.001737 | -0.0069425 | -0.0017365 | 2.6244e-06 | 5.1123e-07 | 0.010427 | 0.010427 | 0.010427 | 0.99098 | -0.06306 | 0.99059 | -0.065801 | 3.862
12 | 0.031736 | 0.0079555 | -0.031729 | -0.0079529 | 6.9153e-06 | 2.5975e-06 | 0.047776 | 0.047776 | 0.047776 | 0.98844 | -0.081007 | 0.98821 | -0.08258 | 17.6949
13 | 0.020648 | 0.0051759 | -0.020644 | -0.0051746 | 3.5205e-06 | 1.2756e-06 | 0.030725 | 0.030725 | 0.030725 | 1 | 0 | 0.99982 | -0.0012313 | 11.3795
14 | 0.099249 | 0.024984 | -0.099203 | -0.024967 | 4.5794e-05 | 1.757e-05 | 0.14852 | 0.14852 | 0.14852 | 0.99461 | -0.037425 | 0.99414 | -0.04073 | 55.0084
15 | 0.0027828 | 0.00069395 | -0.0027823 | -0.00069434 | 4.86e-07 | -3.8709e-07 | 0.0041789 | 0.0041791 | 0.0041791 | 0.99059 | -0.065801 | 0.99041 | -0.067075 | 1.5478
16 | 0.010854 | 0.0027202 | -0.010852 | -0.0027196 | 2.0599e-06 | 6.3432e-07 | 0.016353 | 0.016353 | 0.016353 | 0.98767 | -0.086471 | 0.98747 | -0.087842 | 6.0565
17 | -0.014216 | -0.0035628 | 0.014216 | 0.003563 | 7.4066e-07 | 2.5175e-07 | 0.021417 | 0.021417 | 0.021417 | 0.98767 | -0.086471 | 0.98772 | -0.086094 | 7.9324
18 | 0.0083791 | 0.0020999 | -0.0083787 | -0.0020998 | 3.8104e-07 | 9.7558e-08 | 0.012626 | 0.012626 | 0.012626 | 0.98747 | -0.087842 | 0.98743 | -0.08817 | 4.6764
19 | -0.01535 | -0.0038471 | 0.015351 | 0.0038474 | 8.954e-07 | 3.1004e-07 | 0.023125 | 0.023125 | 0.023125 | 0.98772 | -0.086094 | 0.98778 | -0.085673 | 8.5648
20 | 0.0064213 | 0.0016092 | -0.0064212 | -0.0016092 | 1.0102e-07 | 1.6739e-08 | 0.0096767 | 0.0096767 | 0.0096767 | 0.98743 | -0.08817 | 0.98741 | -0.088284 | 3.584
21 | -0.017822 | -0.0044667 | 0.01783 | 0.0044694 | 7.6335e-06 | 2.7186e-06 | 0.026848 | 0.026847 | 0.026848 | 0.98778 | -0.085673 | 0.98821 | -0.08258 | 9.9435
22 | 0.0024727 | 0.00061958 | -0.0024726 | -0.0006197 | 1.0826e-07 | -1.1817e-07 | 0.0037263 | 0.0037264 | 0.0037264 | 0.98741 | -0.088284 | 0.98736 | -0.0886 | 1.3802
23 | -0.056782 | -0.014248 | 0.056848 | 0.014273 | 6.5985e-05 | 2.5195e-05 | 0.085715 | 0.085715 | 0.085715 | 0.98582 | -0.099291 | 0.987 | -0.090926 | 31.7462
24 | 0.049786 | 0.012495 | -0.049683 | -0.012455 | 0.00010268 | 3.9121e-05 | 0.075154 | 0.075154 | 0.075154 | 0.98582 | -0.099291 | 0.98372 | -0.11418 | 27.8348
25 | -0.064574 | -0.01621 | 0.06464 | 0.016235 | 6.5133e-05 | 2.491e-05 | 0.097363 | 0.097363 | 0.097363 | 0.987 | -0.090926 | 0.98803 | -0.083671 | 36.0602
26 | 0.012151 | 0.0030454 | -0.012148 | -0.0030445 | 2.5559e-06 | 8.2914e-07 | 0.01838 | 0.01838 | 0.01838 | 0.98372 | -0.11418 | 0.98351 | -0.1157 | 6.8074
27 | 0.037532 | 0.00941 | -0.037524 | -0.0094068 | 8.5287e-06 | 3.2265e-06 | 0.056774 | 0.056774 | 0.056774 | 0.98372 | -0.11418 | 0.98349 | -0.11582 | 21.0274
28 | -0.073606 | -0.018482 | 0.073609 | 0.018483 | 3.5733e-06 | 1.3684e-06 | 0.11087 | 0.11087 | 0.11087 | 0.98803 | -0.083671 | 0.98808 | -0.083322 | 41.0616
29 | 0.0068221 | 0.0017097 | -0.0068204 | -0.0017093 | 1.6339e-06 | 3.166e-07 | 0.010322 | 0.010322 | 0.010322 | 0.98351 | -0.1157 | 0.98326 | -0.11743 | 3.8228
30 | 0.023887 | 0.0059892 | -0.023881 | -0.0059868 | 6.2727e-06 | 2.315e-06 | 0.036142 | 0.036142 | 0.036142 | 0.98349 | -0.11582 | 0.98322 | -0.11772 | 13.3859
31 | -0.077112 | -0.019361 | 0.077285 | 0.019427 | 0.00017289 | 6.6232e-05 | 0.11614 | 0.11614 | 0.11614 | 0.98808 | -0.083322 | 0.99036 | -0.067221 | 43.015
32 | 0.004667 | 0.0011696 | -0.0046669 | -0.0011696 | 6.0321e-08 | -1.3797e-09 | 0.0070627 | 0.0070627 | 0.0070627 | 0.98326 | -0.11743 | 0.98325 | -0.11752 | 2.6158
33 | 0.021607 | 0.0054169 | -0.021593 | -0.0054119 | 1.3705e-05 | 5.0108e-06 | 0.0327 | 0.032701 | 0.032701 | 0.98322 | -0.11772 | 0.98258 | -0.1223 | 12.1113
34 | 0.013279 | 0.0033282 | -0.013275 | -0.0033269 | 3.9744e-06 | 1.3228e-06 | 0.019951 | 0.019952 | 0.019952 | 0.99036 | -0.067221 | 0.99006 | -0.069383 | 7.3894
35 | -0.090563 | -0.022755 | 0.090606 | 0.022772 | 4.3177e-05 | 1.6558e-05 | 0.13609 | 0.13609 | 0.13609 | 0.99036 | -0.067221 | 0.99085 | -0.063796 | 50.4044
36 | 0.019026 | 0.0047684 | -0.019025 | -0.0047682 | 6.495e-07 | 2.3393e-07 | 0.028812 | 0.028812 | 0.028812 | 0.98258 | -0.1223 | 0.98255 | -0.12254 | 10.6712
37 | -0.0018724 | -0.00046927 | 0.0018724 | 0.00046923 | 2.2119e-08 | -4.719e-08 | 0.0028374 | 0.0028374 | 0.0028374 | 0.98195 | -0.12676 | 0.98197 | -0.12667 | 1.0509
38 | -0.0044556 | -0.0011166 | 0.0044563 | 0.0011166 | 6.6114e-07 | -3.9788e-08 | 0.0067517 | 0.0067516 | 0.0067517 | 0.98197 | -0.12667 | 0.98212 | -0.1256 | 2.5006
39 | -0.0074174 | -0.0018587 | 0.0074186 | 0.001859 | 1.2159e-06 | 2.7238e-07 | 0.011238 | 0.011238 | 0.011238 | 0.98212 | -0.1256 | 0.98228 | -0.12442 | 4.1622
40 | 0.0092378 | 0.0023152 | -0.0092362 | -0.0023147 | 1.6171e-06 | 4.5447e-07 | 0.013994 | 0.013994 | 0.013994 | 0.98228 | -0.12442 | 0.98211 | -0.12568 | 5.1829
41 | -0.016656 | -0.0041742 | 0.016661 | 0.0041757 | 4.3165e-06 | 1.5226e-06 | 0.025232 | 0.025232 | 0.025232 | 0.98228 | -0.12442 | 0.98255 | -0.12254 | 9.3451
42 | 0.0069422 | 0.0017398 | -0.0069406 | -0.0017395 | 1.6703e-06 | 3.3636e-07 | 0.010518 | 0.010518 | 0.010518 | 0.98211 | -0.12568 | 0.98186 | -0.12742 | 3.8957
43 | 0.09497 | 0.023906 | -0.094665 | -0.023789 | 0.00030492 | 0.00011697 | 0.14219 | 0.14219 | 0.14219 | 0.99414 | -0.04073 | 0.99085 | -0.063796 | 52.6618
44 | 0.01873 | 0.0046949 | -0.018725 | -0.0046931 | 5.072e-06 | 1.8136e-06 | 0.027876 | 0.027876 | 0.027876 | 0.99982 | -0.0012313 | 0.99954 | -0.0031873 | 10.3245
45 | 0.0079851 | 0.0020012 | -0.0079824 | -0.0020005 | 2.75e-06 | 6.6435e-07 | 0.012001 | 0.012001 | 0.012001 | 0.99006 | -0.069383 | 0.9897 | -0.071872 | 4.445
46 | 0.015283 | 0.0038303 | -0.015279 | -0.0038292 | 3.3794e-06 | 1.1626e-06 | 0.022751 | 0.022751 | 0.022751 | 0.99954 | -0.0031873 | 0.99932 | -0.0047847 | 8.4264
47 | 0.005733 | 0.0014368 | -0.0057326 | -0.0014367 | 3.6775e-07 | 3.9514e-08 | 0.0086195 | 0.0086195 | 0.0086195 | 0.9897 | -0.071872 | 0.98964 | -0.072335 | 3.1924
48 | 0.012506 | 0.0031342 | -0.012504 | -0.0031335 | 1.9795e-06 | 6.4152e-07 | 0.018622 | 0.018622 | 0.018622 | 0.99932 | -0.0047847 | 0.99915 | -0.0059283 | 6.8971
49 | 0.006199 | 0.0015533 | -0.0061982 | -0.0015532 | 7.8559e-07 | 1.0871e-07 | 0.0092319 | 0.009232 | 0.009232 | 0.99915 | -0.0059283 | 0.99902 | -0.0068441 | 3.4193
50 | 0.003037 | 0.00076092 | -0.0030368 | -0.00076109 | 2.6621e-07 | -1.7057e-07 | 0.0045235 | 0.0045236 | 0.0045236 | 0.99902 | -0.0068441 | 0.99893 | -0.0074775 | 1.6754
51 | 0.00096378 | 0.00023857 | -0.00096347 | -0.00024147 | 3.0612e-07 | -2.8944e-06 | 0.001447 | 0.001448 | 0.001448 | 0.99041 | -0.067075 | 0.99009 | -0.069397 | 0.5363

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.1872 | 0.046976

## res_load
| p_mw | q_mvar
0 | 0.0030395 | 0.00076176
1 | 0.0014375 | 0.00036026
2 | 0.0024862 | 0.00062311
3 | 0.0070774 | 0.0017738
4 | 0.003624 | 0.00090827
5 | 0.0015983 | 0.00040058
6 | 0.0024726 | 0.0006197
7 | 0.0034449 | 0.00086336
8 | 0.0015037 | 0.00037686
9 | 0.0041597 | 0.0010425
10 | 0.0033617 | 0.00084253
11 | 0.0024728 | 0.00061974
12 | 0.0011334 | 0.00028406
13 | 0.0019574 | 0.00049057
14 | 0.0024712 | 0.00061935
15 | 0.0039485 | 0.00098959
16 | 0.013899 | 0.0034834
17 | 0.0024726 | 0.0006197
18 | 0.0069967 | 0.0017535
19 | 0.0077261 | 0.0019363
20 | 0.0089663 | 0.0022472
21 | 0.0053262 | 0.0013349
22 | 0.013637 | 0.0034177
23 | 0.0035022 | 0.00087774
24 | 0.0021535 | 0.00053971
25 | 0.002274 | 0.00056991
26 | 0.0046669 | 0.0011696
27 | 0.0025676 | 0.00064349
28 | 0.0018724 | 0.00046927
29 | 0.0025831 | 0.0006474
30 | 0.0029611 | 0.00074213
31 | 0.0022939 | 0.00057491
32 | 0.0023642 | 0.00059252
33 | 0.0042331 | 0.0010609
34 | 0.0040586 | 0.0010172
35 | 0.0019141 | 0.00047972
36 | 0.0052897 | 0.0013257
37 | 0.0034425 | 0.00086277
38 | 0.0069406 | 0.0017395
39 | 0.0022494 | 0.00056376
40 | 0.0057326 | 0.0014367
41 | 0.002773 | 0.00069499
42 | 0.0063053 | 0.0015802
43 | 0.0031612 | 0.00079227
44 | 0.0030368 | 0.00076109
45 | 0.0018185 | 0.00045577
46 | 0.00096347 | 0.00024147

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1