## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1367-22_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1367-22_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1367-22_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1367-22_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1367-22_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1367-22_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1367-22_0_3_node_43 | 0.4 | n |  | TRUE
7 | bus_LV_1367-22_0_3_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_1367-22_0_3_node_44 | 0.4 | n |  | TRUE
9 | bus_LV_1367-22_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1367-22_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1367-22_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1367-22_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1367-22_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1367-22_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_1367-22_0_3_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_1367-22_0_3_node_45 | 0.4 | n |  | TRUE
17 | bus_LV_1367-22_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1367-22_0_3_node_51 | 0.4 | n |  | TRUE
19 | bus_LV_1367-22_0_3_node_50 | 0.4 | n |  | TRUE
20 | bus_LV_1367-22_0_3_node_46 | 0.4 | n |  | TRUE
21 | bus_LV_1367-22_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1367-22_0_3_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_1367-22_0_3_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_1367-22_0_3_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_1367-22_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1367-22_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1367-22_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1367-22_0_3_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_1367-22_0_3_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_1367-22_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_1367-22_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1367-22_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_1367-22_0_3_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_1367-22_0_3_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1367-22_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_1367-22_0_3_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_1367-22_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_1367-22_0_3_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_1367-22_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_1367-22_0_3_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_1367-22_0_3_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_1367-22_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_1367-22_0_3_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_1367-22_0_3_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_1367-22_0_3_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_1367-22_0_3_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_1367-22_0_3_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_1367-22_0_3_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_1367-22_0_3_node_49 | 0.4 | n |  | TRUE
50 | bus_MV_134_0_node_42 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1367-22_0_3_load_0 | 0 | 0.0025789 | 0.00064633 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1367-22_0_3_load_1 | 1 | 0.0031627 | 0.00079263 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1367-22_0_3_load_3 | 3 | 0.003906 | 0.00097893 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1367-22_0_3_load_4 | 4 | 0.00048138 | 0.00012064 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1367-22_0_3_load_5 | 5 | 0.0019164 | 0.00048028 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1367-22_0_3_load_43 | 6 | 0.0021619 | 0.00054183 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1367-22_0_3_load_12 | 7 | 0.002648 | 0.00066365 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1367-22_0_3_load_44 | 8 | 0.014424 | 0.0036149 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1367-22_0_3_load_6 | 10 | 0.0018487 | 0.00046332 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1367-22_0_3_load_13 | 14 | 0.0018419 | 0.00046163 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1367-22_0_3_load_48 | 15 | 0.00052384 | 0.00013129 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1367-22_0_3_load_45 | 16 | 0.0012483 | 0.00031285 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1367-22_0_3_load_14 | 17 | 0.0057675 | 0.0014455 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1367-22_0_3_load_51 | 18 | 0.0036152 | 0.00090604 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1367-22_0_3_load_50 | 19 | 0.0036522 | 0.00091534 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1367-22_0_3_load_46 | 20 | 0.001356 | 0.00033983 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1367-22_0_3_load_15 | 21 | 0.012577 | 0.0031521 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1367-22_0_3_load_39 | 23 | 0.013947 | 0.0034954 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1367-22_0_3_load_38 | 24 | 0.06832 | 0.017123 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1367-22_0_3_load_16 | 25 | 0.00043602 | 0.00010928 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1367-22_0_3_load_54 | 28 | 0.00033117 | 8.2999e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1367-22_0_3_load_20 | 29 | 0.00014948 | 3.7464e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1367-22_0_3_load_22 | 31 | 0.00029506 | 7.3949e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1367-22_0_3_load_52 | 33 | 0.00030987 | 7.7661e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1367-22_0_3_load_26 | 34 | 0.00026294 | 6.5899e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1367-22_0_3_load_28 | 36 | 0.00014763 | 3.7e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1367-22_0_3_load_29 | 38 | 0.00018335 | 4.5951e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1367-22_0_3_load_33 | 39 | 0.00037969 | 9.516e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1367-22_0_3_load_30 | 40 | 0.00020596 | 5.1617e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1367-22_0_3_load_31 | 41 | 0.00019232 | 4.82e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1367-22_0_3_load_32 | 42 | 0.00044895 | 0.00011252 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1367-22_0_3_load_35 | 44 | 0.00025267 | 6.3325e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1367-22_0_3_load_40 | 45 | 0.04817 | 0.012072 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1367-22_0_3_load_41 | 46 | 0.0076748 | 0.0019235 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1367-22_0_3_load_42 | 47 | 0.0056288 | 0.0014107 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1367-22_0_3_load_47 | 48 | 0.0010747 | 0.00026935 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1367-22_0_3_load_49 | 49 | 0.0010514 | 0.00026351 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1367-22_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.01792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1367-22_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.026522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1367-22_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0065639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1367-22_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.023186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1367-22_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.010754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1367-22_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.013316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1367-22_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.014939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1367-22_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0051609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1367-22_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.0035097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1367-22_0_3_line_9 | NAYY 4x150 SE | 8 | 47 | 0.008735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1367-22_0_3_line_10 | NAYY 4x150 SE | 9 | 14 | 0.015589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1367-22_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.006633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1367-22_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.024429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1367-22_0_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.082096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1367-22_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.077412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1367-22_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.079432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1367-22_0_3_line_16 | NAYY 4x150 SE | 13 | 16 | 0.083988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1367-22_0_3_line_17 | NAYY 4x150 SE | 14 | 17 | 0.0047617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1367-22_0_3_line_18 | NAYY 4x150 SE | 15 | 19 | 0.033673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1367-22_0_3_line_19 | NAYY 4x150 SE | 16 | 20 | 0.015931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1367-22_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.017966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1367-22_0_3_line_21 | NAYY 4x150 SE | 20 | 48 | 0.010488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1367-22_0_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.015019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1367-22_0_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.017719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1367-22_0_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.017608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1367-22_0_3_line_25 | NAYY 4x150 SE | 23 | 45 | 0.0021603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_1367-22_0_3_line_26 | NAYY 4x150 SE | 24 | 39 | 0.2273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1367-22_0_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.012919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1367-22_0_3_line_28 | NAYY 4x150 SE | 25 | 27 | 0.017471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1367-22_0_3_line_29 | NAYY 4x150 SE | 26 | 28 | 0.25384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1367-22_0_3_line_30 | NAYY 4x150 SE | 27 | 29 | 0.028213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1367-22_0_3_line_31 | NAYY 4x150 SE | 28 | 30 | 0.64849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1367-22_0_3_line_32 | NAYY 4x150 SE | 30 | 37 | 0.31843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1367-22_0_3_line_33 | NAYY 4x150 SE | 31 | 32 | 0.12283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1367-22_0_3_line_34 | NAYY 4x150 SE | 31 | 33 | 0.1729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1367-22_0_3_line_35 | NAYY 4x150 SE | 32 | 34 | 0.058164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1367-22_0_3_line_36 | NAYY 4x150 SE | 32 | 35 | 0.037051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1367-22_0_3_line_37 | NAYY 4x150 SE | 32 | 36 | 0.0084212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1367-22_0_3_line_38 | NAYY 4x150 SE | 33 | 37 | 0.26242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1367-22_0_3_line_39 | NAYY 4x150 SE | 34 | 38 | 0.0015544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1367-22_0_3_line_40 | NAYY 4x150 SE | 35 | 39 | 0.18821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1367-22_0_3_line_41 | NAYY 4x150 SE | 35 | 40 | 0.11143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1367-22_0_3_line_42 | NAYY 4x150 SE | 40 | 41 | 0.0027028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1367-22_0_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.013567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1367-22_0_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.10818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1367-22_0_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.088018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1367-22_0_3_line_46 | NAYY 4x150 SE | 45 | 46 | 0.016576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1367-22_0_3_line_47 | NAYY 4x150 SE | 46 | 47 | 0.013644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1367-22_0_3_line_48 | NAYY 4x150 SE | 48 | 49 | 0.0050648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1367-22_0_3_trafo_39 | 0.25 MVA 20/0.4 kV | 50 | 23 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29
0 | 2701413.5582 | 1203220.3037 | 2701418.5627 | 1203221.5643 | 2701430.318 | 1203226.5253
1 | 2701387.3775 | 1203216.8873 | 2701403.3683 | 1203217.737 | 2701413.5582 | 1203220.3037
2 | 2701430.318 | 1203226.5253 | 2701436.3654 | 1203229.0775
3 | 2701387.3775 | 1203216.8873 | 2701387.4014 | 1203209.2046 | 2701389.5518 | 1203205.3719 | 2701400.1273 | 1203201.9714
4 | 2701436.3654 | 1203229.0775 | 2701439.3431 | 1203230.3342 | 2701446.0389 | 1203233.7618
5 | 2701400.1273 | 1203201.9714 | 2701407.5505 | 1203199.5845 | 2701412.7364 | 1203197.6981
6 | 2701446.0389 | 1203233.7618 | 2701459.3369 | 1203240.569
7 | 2701412.7364 | 1203197.6981 | 2701417.5864 | 1203195.9339
8 | 2701462.4611 | 1203242.1682 | 2701459.3369 | 1203240.569
9 | 2701425.7952 | 1203192.9479 | 2701417.5864 | 1203195.9339
10 | 2701462.4611 | 1203242.1682 | 2701466.4946 | 1203231.4294 | 2701466.8036 | 1203227.3232
11 | 2701462.4611 | 1203242.1682 | 2701468.2191 | 1203245.4905
12 | 2701468.2191 | 1203245.4905 | 2701471.1901 | 1203247.1199 | 2701484.7668 | 1203254.7669 | 2701487.5117 | 1203256.259 | 2701489.5636 | 1203257.3724
13 | 2701557.181 | 1203301.8075 | 2701555.4012 | 1203298.1636 | 2701553.6152 | 1203295.3313 | 2701551.5168 | 1203292.9718 | 2701548.454 | 1203290.4847 | 2701536.3625 | 1203282.7739 | 2701522.5399 | 1203275.2672 | 2701489.5636 | 1203257.3724
14 | 2701527.8961 | 1203332.1972 | 2701548.5664 | 1203339.3534 | 2701564.1332 | 1203340.9525 | 2701563.0691 | 1203338.1881 | 2701562.4143 | 1203335.5195 | 2701562.1118 | 1203334.069 | 2701558.8941 | 1203308.0298 | 2701558.1574 | 1203304.8039 | 2701557.181 | 1203301.8075
15 | 2701527.8961 | 1203332.1972 | 2701526.754 | 1203323.7275 | 2701524.371 | 1203319.3062 | 2701508.5398 | 1203311.3206 | 2701464.8377 | 1203291.151
16 | 2701527.8961 | 1203332.1972 | 2701512.9893 | 1203332.066 | 2701503.6935 | 1203334.0538 | 2701461.6187 | 1203331.5818 | 2701444.194 | 1203331.2684
17 | 2701467.161 | 1203222.575 | 2701466.8036 | 1203227.3232
18 | 2701464.8377 | 1203291.151 | 2701460.4906 | 1203289.1447 | 2701439.7233 | 1203282.3096 | 2701432.8057 | 1203281.1048
19 | 2701444.194 | 1203331.2684 | 2701428.266 | 1203330.9819
20 | 2701432.8057 | 1203281.1048 | 2701415.1059 | 1203278.0222
21 | 2701428.266 | 1203330.9819 | 2701417.7795 | 1203330.7933
22 | 2701472.2139 | 1203180.614 | 2701472.3942 | 1203184.7866 | 2701470.3679 | 1203195.4383
23 | 2701472.2139 | 1203180.614 | 2701469.4213 | 1203177.898 | 2701464.6413 | 1203178.8175 | 2701456.2249 | 1203181.879
24 | 2701472.2139 | 1203180.614 | 2701475.2341 | 1203173.5271 | 2701472.9544 | 1203163.8888
25 | 2701454.1948 | 1203182.6175 | 2701456.2249 | 1203181.879
26 | 2701472.9544 | 1203163.8888 | 2701472.8128 | 1203163.2901 | 2701470.1062 | 1203155.9613 | 2701468.3086 | 1203152.017 | 2701465.0624 | 1203150.4608 | 2701458.5562 | 1203150.8505 | 2701451.6249 | 1203151.6222 | 2701447.0944 | 1203153.5355 | 2701444.198 | 1203154.6871 | 2701445.326 | 1203150.559 | 2701442.5818 | 1203149.0224 | 2701446.936 | 1203142.7032 | 2701449.7026 | 1203136.2013 | 2701449.7684 | 1203129.6423 | 2701458.2572 | 1203115.5991 | 2701460.954 | 1203103.3588 | 2701470.1806 | 1203093.8201 | 2701474.3383 | 1203086.9749 | 2701476.159 | 1203076.1317 | 2701474.0932 | 1203071.3934 | 2701469.0538 | 1203066.5267 | 2701469.9018 | 1203060.9706 | 2701469.4515 | 1203057.9053 | 2701471.2354 | 1203053.2547 | 2701482.5032 | 1203044.0842 | 2701490.9704 | 1203035.8002 | 2701509.3599 | 1203008.405 | 2701511.6502 | 1203002.173 | 2701516.975 | 1202997.8716 | 2701517.6452 | 1202997.5516
27 | 2701650.9255 | 1202361.8809 | 2701656.0555 | 1202350.0242
28 | 2701662.9932 | 1202333.9894 | 2701656.0555 | 1202350.0242
29 | 2701650.9255 | 1202361.8809 | 2701397.6972 | 1202344.2815
30 | 2701662.9932 | 1202333.9894 | 2701686.9605 | 1202348.8741
31 | 2701397.6972 | 1202344.2815 | 2700872.4977 | 1202724.6796
32 | 2700872.4977 | 1202724.6796 | 2700871.7572 | 1202717.1509 | 2700877.3807 | 1202712.7206 | 2700925.8669 | 1202717.098 | 2701030.5877 | 1202699.745 | 2701056.1704 | 1202699.2329 | 2701076.3568 | 1202704.1111 | 2701092.5812 | 1202705.1863 | 2701120.1286 | 1202702.3728 | 2701139.9231 | 1202697.5824 | 2701153.4816 | 1202695.1769 | 2701167.4569 | 1202691.0774 | 2701177.9747 | 1202688.8985
33 | 2701629.3679 | 1202828.3221 | 2701620.4146 | 1202824.0001 | 2701612.7882 | 1202820.8683 | 2701606.6847 | 1202817.6956 | 2701595.508 | 1202815.215 | 2701583.0328 | 1202818.3717 | 2701575.9841 | 1202822.4435 | 2701567.6395 | 1202834.2319 | 2701562.6102 | 1202838.1602 | 2701528.8481 | 1202850.6282 | 2701521.5739 | 1202855.0179
34 | 2701521.5739 | 1202855.0179 | 2701414.9854 | 1202718.8764
35 | 2701629.3679 | 1202828.3221 | 2701656.8961 | 1202835.562 | 2701685.5698 | 1202843.3005
36 | 2701611.8639 | 1202853.7084 | 2701618.7602 | 1202852.7806 | 2701626.3828 | 1202848.5296 | 2701629.4371 | 1202844.3787 | 2701630.6516 | 1202837.4168 | 2701629.3679 | 1202828.3221
37 | 2701629.3679 | 1202828.3221 | 2701637.7876 | 1202828.1634
38 | 2701177.9747 | 1202688.8985 | 2701193.5784 | 1202684.3819 | 2701217.2594 | 1202679.3241 | 2701239.4603 | 1202676.2648 | 2701274.9996 | 1202681.0927 | 2701294.7467 | 1202687.1872 | 2701306.4853 | 1202693.3571 | 2701325.5694 | 1202715.1845 | 2701338.7116 | 1202727.8939 | 2701362.0219 | 1202737.9406 | 2701377.8007 | 1202736.563 | 2701389.2425 | 1202732.4098 | 2701414.9854 | 1202718.8764
39 | 2701687.0705 | 1202843.7056 | 2701685.5698 | 1202843.3005
40 | 2701611.8639 | 1202853.7084 | 2701609.6672 | 1202853.5376 | 2701598.8721 | 1202854.5769 | 2701594.3393 | 1202857.0571 | 2701586.6827 | 1202871.3589 | 2701587.6668 | 1202872.5653 | 2701587.4155 | 1202875.7076 | 2701585.3268 | 1202879.03 | 2701579.399 | 1202887.9019 | 2701579.3839 | 1202893.7056 | 2701577.6272 | 1202900.7806 | 2701574.5561 | 1202903.6859 | 2701568.0997 | 1202907.8457 | 2701561.0049 | 1202908.8146 | 2701558.0001 | 1202910.9539 | 2701555.7581 | 1202913.8955 | 2701549.44 | 1202922.4495 | 2701541.3609 | 1202934.3092 | 2701536.4056 | 1202945.0768 | 2701529.524 | 1202961.7046 | 2701524.644 | 1202976.554 | 2701524.2013 | 1202982.8953 | 2701524.4374 | 1202990.4934 | 2701522.4844 | 1202995.2412 | 2701517.6452 | 1202997.5516
41 | 2701611.8639 | 1202853.7084 | 2701618.8347 | 1202860.0313 | 2701625.3059 | 1202864.3999 | 2701627.8866 | 1202867.5015 | 2701628.0896 | 1202878.379 | 2701630.6151 | 1202886.5053 | 2701640.23 | 1202891.7503 | 2701666.1156 | 1202918.1088 | 2701680.3045 | 1202936.0721
42 | 2701680.3045 | 1202936.0721 | 2701681.9799 | 1202938.1931
43 | 2701690.3893 | 1202948.8395 | 2701681.9799 | 1202938.1931
44 | 2701767.1239 | 1203007.3118 | 2701746.5342 | 1202971.2587 | 2701737.7646 | 1202959.3011 | 2701726.5206 | 1202956.3187 | 2701696.9975 | 1202957.2056 | 2701690.3893 | 1202948.8395
45 | 2701767.1239 | 1203007.3118 | 2701709.4699 | 1203019.4272 | 2701700.1007 | 1203022.5587 | 2701692.1255 | 1203028.3047 | 2701688.2708 | 1203036.8748
46 | 2701454.1948 | 1203182.6175 | 2701438.6173 | 1203188.2838
47 | 2701425.7952 | 1203192.9479 | 2701438.6173 | 1203188.2838
48 | 2701412.7155 | 1203330.7022 | 2701417.7795 | 1203330.7933

## bus_geodata
| x | y | coords
0 | 2701413.5582 | 1203220.3037
1 | 2701430.318 | 1203226.5253
2 | 2701387.3775 | 1203216.8873
3 | 2701436.3654 | 1203229.0775
4 | 2701400.1273 | 1203201.9714
5 | 2701446.0389 | 1203233.7618
6 | 2701412.7364 | 1203197.6981
7 | 2701459.3369 | 1203240.569
8 | 2701417.5864 | 1203195.9339
9 | 2701462.4611 | 1203242.1682
10 | 2701489.5636 | 1203257.3724
11 | 2701468.2191 | 1203245.4905
12 | 2701557.181 | 1203301.8075
13 | 2701527.8961 | 1203332.1972
14 | 2701466.8036 | 1203227.3232
15 | 2701464.8377 | 1203291.151
16 | 2701444.194 | 1203331.2684
17 | 2701467.161 | 1203222.575
18 | 2701415.1059 | 1203278.0222
19 | 2701432.8057 | 1203281.1048
20 | 2701428.266 | 1203330.9819
21 | 2701470.3679 | 1203195.4383
22 | 2701472.2139 | 1203180.614
23 | 2701456.2249 | 1203181.879
24 | 2701472.9544 | 1203163.8888
25 | 2701656.0555 | 1202350.0242
26 | 2701650.9255 | 1202361.8809
27 | 2701662.9932 | 1202333.9894
28 | 2701397.6972 | 1202344.2815
29 | 2701686.9605 | 1202348.8741
30 | 2700872.4977 | 1202724.6796
31 | 2701521.5739 | 1202855.0179
32 | 2701629.3679 | 1202828.3221
33 | 2701414.9854 | 1202718.8764
34 | 2701685.5698 | 1202843.3005
35 | 2701611.8639 | 1202853.7084
36 | 2701637.7876 | 1202828.1634
37 | 2701177.9747 | 1202688.8985
38 | 2701687.0705 | 1202843.7056
39 | 2701517.6452 | 1202997.5516
40 | 2701680.3045 | 1202936.0721
41 | 2701681.9799 | 1202938.1931
42 | 2701690.3893 | 1202948.8395
43 | 2701767.1239 | 1203007.3118
44 | 2701688.2708 | 1203036.8748
45 | 2701454.1948 | 1203182.6175
46 | 2701438.6173 | 1203188.2838
47 | 2701425.7952 | 1203192.9479
48 | 2701417.7795 | 1203330.7933
49 | 2701412.7155 | 1203330.7022
50 | 2701472.2139 | 1203180.614

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99283 | -0.050157 | 0.0025789 | 0.00064633
1 | 0.99196 | -0.056269 | 0.0031627 | 0.00079263
2 | 0.99421 | -0.040438 | 0 | 0
3 | 0.99168 | -0.0583 | 0.003906 | 0.00097893
4 | 0.99542 | -0.031963 | 0.00048138 | 0.00012064
5 | 0.99126 | -0.061204 | 0.0019164 | 0.00048028
6 | 0.99613 | -0.027041 | 0.0021619 | 0.00054183
7 | 0.99073 | -0.064949 | 0.002648 | 0.00066365
8 | 0.99642 | -0.025023 | 0.014424 | 0.0036149
9 | 0.99062 | -0.065735 | 0 | 0
10 | 0.98998 | -0.070291 | 0.0018487 | 0.00046332
11 | 0.99048 | -0.066708 | 0 | 0
12 | 0.98849 | -0.080804 | 0 | 0
13 | 0.98709 | -0.09074 | 0 | 0
14 | 0.99045 | -0.066942 | 0.0018419 | 0.00046163
15 | 0.9862 | -0.097093 | 0.00052384 | 0.00013129
16 | 0.98652 | -0.094818 | 0.0012483 | 0.00031285
17 | 0.99041 | -0.067222 | 0.0057675 | 0.0014455
18 | 0.98575 | -0.10027 | 0.0036152 | 0.00090604
19 | 0.98584 | -0.099606 | 0.0036522 | 0.00091534
20 | 0.98644 | -0.095388 | 0.001356 | 0.00033983
21 | 0.99759 | -0.016914 | 0.012577 | 0.0031521
22 | 0.99786 | -0.01502 | 0 | 0
23 | 1 | 0 | -0.20081 | -0.050191
24 | 0.99605 | -0.027781 | 0.06832 | 0.017123
25 | 0.99149 | -0.062662 | 0.00043602 | 0.00010928
26 | 0.9915 | -0.062585 | 0 | 0
27 | 0.99149 | -0.06269 | 0 | 0
28 | 0.99172 | -0.06103 | 0.00033117 | 8.2999e-05
29 | 0.99148 | -0.062733 | 0.00014948 | 3.7464e-05
30 | 0.99257 | -0.0546 | 0 | 0
31 | 0.99363 | -0.046082 | 0.00029506 | 7.3949e-05
32 | 0.9939 | -0.043981 | 0 | 0
33 | 0.99333 | -0.048501 | 0.00030987 | 7.7661e-05
34 | 0.99386 | -0.044245 | 0.00026294 | 6.5899e-05
35 | 0.99401 | -0.04312 | 0 | 0
36 | 0.9939 | -0.043993 | 0.00014763 | 3.7e-05
37 | 0.99299 | -0.051296 | 0 | 0
38 | 0.99386 | -0.044248 | 0.00018335 | 4.5951e-05
39 | 0.99488 | -0.036579 | 0.00037969 | 9.516e-05
40 | 0.99384 | -0.044387 | 0.00020596 | 5.1617e-05
41 | 0.99383 | -0.044412 | 0.00019232 | 4.82e-05
42 | 0.99382 | -0.044511 | 0.00044895 | 0.00011252
43 | 0.99378 | -0.044802 | 0 | 0
44 | 0.99375 | -0.045031 | 0.00025267 | 6.3325e-05
45 | 0.99982 | -0.0012377 | 0.04817 | 0.012072
46 | 0.99824 | -0.01228 | 0.0076748 | 0.0019235
47 | 0.99708 | -0.020345 | 0.0056288 | 0.0014107
48 | 0.9864 | -0.095617 | 0.0010747 | 0.00026935
49 | 0.9864 | -0.095671 | 0.0010514 | 0.00026351
50 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.033735 | 0.0084645 | -0.033706 | -0.0084537 | 2.8589e-05 | 1.0764e-05 | 0.050564 | 0.050564 | 0.050564 | 0.99283 | -0.050157 | 0.99196 | -0.056269 | 18.7273
1 | -0.036314 | -0.0091108 | 0.036363 | 0.0091293 | 4.9028e-05 | 1.8513e-05 | 0.054429 | 0.054429 | 0.054429 | 0.99283 | -0.050157 | 0.99421 | -0.040438 | 20.1588
2 | 0.030543 | 0.0076611 | -0.030535 | -0.0076579 | 8.599e-06 | 3.2226e-06 | 0.04582 | 0.04582 | 0.04582 | 0.99196 | -0.056269 | 0.99168 | -0.0583 | 16.9702
3 | -0.036363 | -0.0091293 | 0.036405 | 0.0091455 | 4.2862e-05 | 1.6184e-05 | 0.054429 | 0.054429 | 0.054429 | 0.99421 | -0.040438 | 0.99542 | -0.031963 | 20.1588
4 | 0.026629 | 0.0066789 | -0.026618 | -0.006675 | 1.0715e-05 | 3.9824e-06 | 0.039959 | 0.039959 | 0.039959 | 0.99168 | -0.0583 | 0.99126 | -0.061204 | 14.7995
5 | -0.036887 | -0.0092662 | 0.036912 | 0.0092757 | 2.5271e-05 | 9.5463e-06 | 0.055148 | 0.055148 | 0.055148 | 0.99542 | -0.031963 | 0.99613 | -0.027041 | 20.4252
6 | 0.024702 | 0.0061947 | -0.024689 | -0.0061899 | 1.2818e-05 | 4.7377e-06 | 0.037082 | 0.037082 | 0.037082 | 0.99126 | -0.061204 | 0.99073 | -0.064949 | 13.7341
7 | -0.039074 | -0.0098175 | 0.039085 | 0.0098217 | 1.0975e-05 | 4.1539e-06 | 0.058378 | 0.058378 | 0.058378 | 0.99613 | -0.027041 | 0.99642 | -0.025023 | 21.6213
8 | 0.022041 | 0.0055263 | -0.022039 | -0.0055254 | 2.4002e-06 | 8.7796e-07 | 0.033105 | 0.033105 | 0.033105 | 0.99073 | -0.064949 | 0.99062 | -0.065735 | 12.2611
9 | -0.053509 | -0.013437 | 0.053543 | 0.01345 | 3.4812e-05 | 1.3275e-05 | 0.079917 | 0.079917 | 0.079917 | 0.99642 | -0.025023 | 0.99708 | -0.020345 | 29.5989
10 | 0.007611 | 0.0019074 | -0.0076097 | -0.0019071 | 1.2714e-06 | 2.8834e-07 | 0.011432 | 0.011432 | 0.011432 | 0.99062 | -0.065735 | 0.99045 | -0.066942 | 4.2343
11 | 0.014428 | 0.003618 | -0.014426 | -0.0036173 | 1.9441e-06 | 6.6234e-07 | 0.021673 | 0.021673 | 0.021673 | 0.99062 | -0.065735 | 0.99048 | -0.066708 | 8.0269
12 | -0.014419 | -0.0036149 | 0.014426 | 0.0036173 | 7.1601e-06 | 2.4396e-06 | 0.021673 | 0.021673 | 0.021673 | 0.98998 | -0.070291 | 0.99048 | -0.066708 | 8.0269
13 | 0.01257 | 0.0031516 | -0.012552 | -0.0031456 | 1.8288e-05 | 5.9798e-06 | 0.018894 | 0.018894 | 0.018894 | 0.98998 | -0.070291 | 0.98849 | -0.080804 | 6.9979
14 | 0.012552 | 0.0031456 | -0.012534 | -0.0031399 | 1.7245e-05 | 5.6418e-06 | 0.018894 | 0.018895 | 0.018895 | 0.98849 | -0.080804 | 0.98709 | -0.09074 | 6.998
15 | 0.0078009 | 0.0019547 | -0.0077941 | -0.0019531 | 6.8545e-06 | 1.6219e-06 | 0.01176 | 0.01176 | 0.01176 | 0.98709 | -0.09074 | 0.9862 | -0.097093 | 4.3555
16 | 0.0047334 | 0.0011852 | -0.0047307 | -0.0011853 | 2.6683e-06 | -4.6725e-08 | 0.0071351 | 0.0071355 | 0.0071355 | 0.98709 | -0.09074 | 0.98652 | -0.094818 | 2.6428
17 | 0.0057678 | 0.0014455 | -0.0057675 | -0.0014455 | 2.231e-07 | 2.4529e-08 | 0.0086653 | 0.0086653 | 0.0086653 | 0.99045 | -0.066942 | 0.99041 | -0.067222 | 3.2094
18 | 0.0072702 | 0.0018218 | -0.0072677 | -0.0018213 | 2.5284e-06 | 5.4297e-07 | 0.01097 | 0.01097 | 0.01097 | 0.9862 | -0.097093 | 0.98584 | -0.099606 | 4.0629
19 | 0.0034825 | 0.00087242 | -0.0034822 | -0.00087252 | 2.7427e-07 | -9.7895e-08 | 0.0052526 | 0.0052527 | 0.0052527 | 0.98652 | -0.094818 | 0.98644 | -0.095388 | 1.9454
20 | -0.0036151 | -0.00090603 | 0.0036155 | 0.00090593 | 3.3386e-07 | -1.0065e-07 | 0.0054572 | 0.0054571 | 0.0054572 | 0.98575 | -0.10027 | 0.98584 | -0.099606 | 2.0212
21 | 0.0021262 | 0.00053269 | -0.0021262 | -0.0005328 | 6.7323e-08 | -1.0799e-07 | 0.0032073 | 0.0032073 | 0.0032073 | 0.98644 | -0.095388 | 0.9864 | -0.095617 | 1.1879
22 | -0.012577 | -0.0031521 | 0.01258 | 0.0031531 | 3.2983e-06 | 1.0724e-06 | 0.01876 | 0.01876 | 0.01876 | 0.99759 | -0.016914 | 0.99786 | -0.01502 | 6.9481
23 | -0.084632 | -0.021194 | 0.084808 | 0.021262 | 0.00017609 | 6.7494e-05 | 0.1262 | 0.1262 | 0.1262 | 0.99786 | -0.01502 | 1 | 0 | 46.7399
24 | 0.072051 | 0.018041 | -0.071925 | -0.017993 | 0.00012683 | 4.8549e-05 | 0.10744 | 0.10744 | 0.10744 | 0.99786 | -0.01502 | 0.99605 | -0.027781 | 39.7919
25 | 0.11521 | 0.028929 | -0.11519 | -0.028921 | 1.9812e-05 | 7.5635e-06 | 0.17145 | 0.17145 | 0.17145 | 1 | 0 | 0.99982 | -0.0012377 | 31.7495
26 | 0.0036047 | 0.00087001 | -0.0036006 | -0.00087139 | 4.0964e-06 | -1.3795e-06 | 0.0053736 | 0.0053746 | 0.0053746 | 0.99605 | -0.027781 | 0.99488 | -0.036579 | 1.9906
27 | -0.00058551 | -0.00014615 | 0.00058551 | 0.00014599 | 6.2213e-09 | -1.6423e-07 | 0.00087851 | 0.00087845 | 0.00087851 | 0.99149 | -0.062662 | 0.9915 | -0.062585 | 0.32538
28 | 0.00014948 | 3.6875e-05 | -0.00014948 | -3.71e-05 | 5.4788e-10 | -2.2512e-07 | 0.00022414 | 0.00022422 | 0.00022422 | 0.99149 | -0.062662 | 0.99149 | -0.06269 | 0.083043
29 | -0.00058551 | -0.00014599 | 0.00058564 | 0.00014276 | 1.2207e-07 | -3.2276e-06 | 0.00087845 | 0.00087731 | 0.00087845 | 0.9915 | -0.062585 | 0.99172 | -0.06103 | 0.32535
30 | 0.00014948 | 3.71e-05 | -0.00014948 | -3.7464e-05 | 8.8555e-10 | -3.6352e-07 | 0.00022422 | 0.00022434 | 0.00022434 | 0.99149 | -0.06269 | 0.99148 | -0.062733 | 0.08309
31 | -0.0009168 | -0.00022576 | 0.00091757 | 0.00021768 | 7.6257e-07 | -8.0813e-06 | 0.0013742 | 0.0013713 | 0.0013742 | 0.99172 | -0.06103 | 0.99257 | -0.0546 | 0.50897
32 | -0.00091757 | -0.00021768 | 0.00091794 | 0.0002137 | 3.733e-07 | -3.9739e-06 | 0.0013713 | 0.00137 | 0.0013713 | 0.99257 | -0.0546 | 0.99299 | -0.051296 | 0.5079
33 | -0.0015235 | -0.00035994 | 0.0015239 | 0.0003585 | 3.9628e-07 | -1.439e-06 | 0.0022741 | 0.0022735 | 0.0022741 | 0.99363 | -0.046082 | 0.9939 | -0.043981 | 0.84224
34 | 0.0012285 | 0.00028599 | -0.0012281 | -0.00028809 | 3.6235e-07 | -2.0995e-06 | 0.0018322 | 0.001833 | 0.001833 | 0.99363 | -0.046082 | 0.99333 | -0.048501 | 0.67888
35 | 0.0004463 | 0.00011108 | -0.00044629 | -0.00011183 | 1.6198e-08 | -7.4753e-07 | 0.00066791 | 0.00066818 | 0.00066818 | 0.9939 | -0.043981 | 0.99386 | -0.044245 | 0.24747
36 | -0.0021179 | -0.00050647 | 0.0021181 | 0.00050608 | 2.312e-07 | -3.913e-07 | 0.0031624 | 0.0031622 | 0.0031624 | 0.9939 | -0.043981 | 0.99401 | -0.04312 | 1.1712
37 | 0.00014763 | 3.6891e-05 | -0.00014763 | -3.7e-05 | 2.5665e-10 | -1.0904e-07 | 0.00022099 | 0.00022102 | 0.00022102 | 0.9939 | -0.043981 | 0.9939 | -0.043993 | 0.081861
38 | 0.00091825 | 0.00021043 | -0.00091794 | -0.0002137 | 3.0708e-07 | -3.2777e-06 | 0.0013689 | 0.00137 | 0.00137 | 0.99333 | -0.048501 | 0.99299 | -0.051296 | 0.5074
39 | 0.00018335 | 4.5931e-05 | -0.00018335 | -4.5951e-05 | 7.3124e-11 | -2.0115e-08 | 0.0002745 | 0.00027451 | 0.00027451 | 0.99386 | -0.044245 | 0.99386 | -0.044248 | 0.10167
40 | -0.0032182 | -0.00077763 | 0.0032209 | 0.00077623 | 2.7139e-06 | -1.398e-06 | 0.0048076 | 0.0048067 | 0.0048076 | 0.99401 | -0.04312 | 0.99488 | -0.036579 | 1.7806
41 | 0.0011001 | 0.00027155 | -0.0010999 | -0.00027292 | 1.883e-07 | -1.3718e-06 | 0.0016454 | 0.0016459 | 0.0016459 | 0.99401 | -0.04312 | 0.99384 | -0.044387 | 0.60959
42 | 0.00089397 | 0.0002213 | -0.00089396 | -0.00022133 | 3.0173e-09 | -3.3863e-08 | 0.0013375 | 0.0013375 | 0.0013375 | 0.99384 | -0.044387 | 0.99383 | -0.044412 | 0.49538
43 | 0.00070165 | 0.00017313 | -0.00070164 | -0.00017331 | 9.3268e-09 | -1.7221e-07 | 0.0010496 | 0.0010496 | 0.0010496 | 0.99383 | -0.044412 | 0.99382 | -0.044511 | 0.38876
44 | 0.00025269 | 6.079e-05 | -0.00025268 | -6.2188e-05 | 9.6298e-09 | -1.398e-06 | 0.00037746 | 0.00037794 | 0.00037794 | 0.99382 | -0.044511 | 0.99378 | -0.044802 | 0.13998
45 | 0.00025268 | 6.2188e-05 | -0.00025267 | -6.3325e-05 | 7.8536e-09 | -1.1374e-06 | 0.00037794 | 0.00037834 | 0.00037834 | 0.99378 | -0.044802 | 0.99375 | -0.045031 | 0.14013
46 | 0.067016 | 0.016849 | -0.066913 | -0.016809 | 0.00010293 | 3.9373e-05 | 0.099758 | 0.099758 | 0.099758 | 0.99982 | -0.0012377 | 0.99824 | -0.01228 | 36.9473
47 | 0.059239 | 0.014886 | -0.059172 | -0.014861 | 6.6408e-05 | 2.5363e-05 | 0.088317 | 0.088317 | 0.088317 | 0.99824 | -0.01228 | 0.99708 | -0.020345 | 32.7101
48 | 0.0010514 | 0.00026345 | -0.0010514 | -0.00026351 | 7.9507e-09 | -6.1594e-08 | 0.0015861 | 0.0015861 | 0.0015861 | 0.9864 | -0.095617 | 0.9864 | -0.095671 | 0.58744

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.21476 | 0.053686

## res_load
| p_mw | q_mvar
0 | 0.0025789 | 0.00064633
1 | 0.0031627 | 0.00079263
2 | 0.003906 | 0.00097893
3 | 0.00048138 | 0.00012064
4 | 0.0019164 | 0.00048028
5 | 0.0021619 | 0.00054183
6 | 0.002648 | 0.00066365
7 | 0.014424 | 0.0036149
8 | 0.0018487 | 0.00046332
9 | 0.0018419 | 0.00046163
10 | 0.00052384 | 0.00013129
11 | 0.0012483 | 0.00031285
12 | 0.0057675 | 0.0014455
13 | 0.0036152 | 0.00090604
14 | 0.0036522 | 0.00091534
15 | 0.001356 | 0.00033983
16 | 0.012577 | 0.0031521
17 | 0.013947 | 0.0034954
18 | 0.06832 | 0.017123
19 | 0.00043602 | 0.00010928
20 | 0.00033117 | 8.2999e-05
21 | 0.00014948 | 3.7464e-05
22 | 0.00029506 | 7.3949e-05
23 | 0.00030987 | 7.7661e-05
24 | 0.00026294 | 6.5899e-05
25 | 0.00014763 | 3.7e-05
26 | 0.00018335 | 4.5951e-05
27 | 0.00037969 | 9.516e-05
28 | 0.00020596 | 5.1617e-05
29 | 0.00019232 | 4.82e-05
30 | 0.00044895 | 0.00011252
31 | 0.00025267 | 6.3325e-05
32 | 0.04817 | 0.012072
33 | 0.0076748 | 0.0019235
34 | 0.0056288 | 0.0014107
35 | 0.0010747 | 0.00026935
36 | 0.0010514 | 0.00026351

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1