## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1367-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1367-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1367-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1367-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1367-5_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1367-5_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_1367-5_0_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_1367-5_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1367-5_0_3_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_1367-5_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1367-5_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1367-5_0_3_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_1367-5_0_3_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_1367-5_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1367-5_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1367-5_0_3_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_1367-5_0_3_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_1367-5_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1367-5_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1367-5_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1367-5_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1367-5_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1367-5_0_3_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_1367-5_0_3_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_1367-5_0_3_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_1367-5_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1367-5_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_1367-5_0_3_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1367-5_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1367-5_0_3_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_1367-5_0_3_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_1367-5_0_3_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_1367-5_0_3_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_1367-5_0_3_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_1367-5_0_3_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_1367-5_0_3_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_1367-5_0_3_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_1367-5_0_3_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_1367-5_0_3_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_1367-5_0_3_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_1367-5_0_3_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_1367-5_0_3_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_1367-5_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_1367-5_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_1367-5_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_1367-5_0_3_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_1367-5_0_3_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_1367-5_0_3_node_46 | 0.4 | n |  | TRUE
48 | bus_MV_134_0_node_41 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1367-5_0_3_load_0 | 0 | 0.0018083 | 0.0004532 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1367-5_0_3_load_1 | 1 | 0.011342 | 0.0028425 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1367-5_0_3_load_2 | 2 | 0.015547 | 0.0038965 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1367-5_0_3_load_3 | 3 | 0.012029 | 0.0030147 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1367-5_0_3_load_4 | 4 | 0.0032455 | 0.00081341 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1367-5_0_3_load_5 | 7 | 0.0017685 | 0.00044324 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1367-5_0_3_load_10 | 8 | 0.010533 | 0.0026398 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1367-5_0_3_load_8 | 10 | 0.0013661 | 0.00034239 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1367-5_0_3_load_23 | 11 | 0.0017852 | 0.00044743 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1367-5_0_3_load_24 | 12 | 0.0013596 | 0.00034074 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1367-5_0_3_load_11 | 13 | 0.032687 | 0.0081922 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1367-5_0_3_load_37 | 15 | 0.014432 | 0.003617 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1367-5_0_3_load_35 | 16 | 0.0076954 | 0.0019287 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1367-5_0_3_load_13 | 17 | 0.0016808 | 0.00042126 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1367-5_0_3_load_14 | 18 | 0.00156 | 0.00039097 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1367-5_0_3_load_15 | 19 | 0.0015083 | 0.000378 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1367-5_0_3_load_16 | 20 | 0.0017404 | 0.00043617 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1367-5_0_3_load_17 | 21 | 0.001813 | 0.00045438 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1367-5_0_3_load_45 | 22 | 0.0025312 | 0.00063439 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1367-5_0_3_load_25 | 24 | 0.0021102 | 0.00052887 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1367-5_0_3_load_20 | 25 | 0.0019451 | 0.00048748 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1367-5_0_3_load_18 | 26 | 0.0016335 | 0.00040938 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1367-5_0_3_load_19 | 27 | 0.0017152 | 0.00042986 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1367-5_0_3_load_40 | 29 | 0.0017838 | 0.00044705 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1367-5_0_3_load_33 | 31 | 0.0017495 | 0.00043846 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1367-5_0_3_load_34 | 32 | 0.002116 | 0.00053032 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1367-5_0_3_load_32 | 33 | 0.0015844 | 0.00039709 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1367-5_0_3_load_31 | 34 | 0.0020353 | 0.00051009 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1367-5_0_3_load_26 | 35 | 0.0022725 | 0.00056955 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1367-5_0_3_load_27 | 36 | 0.0024916 | 0.00062445 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1367-5_0_3_load_29 | 38 | 0.0031101 | 0.00077946 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1367-5_0_3_load_30 | 39 | 0.003126 | 0.00078344 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1367-5_0_3_load_43 | 40 | 0.0023603 | 0.00059155 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1367-5_0_3_load_44 | 41 | 0.0040121 | 0.0010055 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1367-5_0_3_load_36 | 42 | 0.0044968 | 0.001127 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1367-5_0_3_load_38 | 43 | 0.0081182 | 0.0020346 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1367-5_0_3_load_39 | 44 | 0.0018787 | 0.00047085 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1367-5_0_3_load_42 | 45 | 0.01121 | 0.0028096 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1367-5_0_3_load_47 | 46 | 0.00072477 | 0.00018164 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1367-5_0_3_load_46 | 47 | 0.00066088 | 0.00016563 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1367-5_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0084934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1367-5_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.031665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1367-5_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0044271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1367-5_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.00175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1367-5_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0070931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1367-5_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.015205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1367-5_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.033896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1367-5_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.016848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1367-5_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.013265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1367-5_0_3_line_9 | NAYY 4x150 SE | 8 | 13 | 0.018683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1367-5_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.020023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1367-5_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.014195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1367-5_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.0091158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1367-5_0_3_line_13 | NAYY 4x150 SE | 12 | 32 | 0.01724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1367-5_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.0019064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_1367-5_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.00085427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_1367-5_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.023635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_1367-5_0_3_line_17 | NAYY 4x150 SE | 16 | 42 | 0.004392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1367-5_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.018372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1367-5_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.0030521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1367-5_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.0012593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1367-5_0_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.018543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1367-5_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.00098281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1367-5_0_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.015497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1367-5_0_3_line_24 | NAYY 4x150 SE | 23 | 24 | 0.0020711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1367-5_0_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.017047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1367-5_0_3_line_26 | NAYY 4x150 SE | 24 | 31 | 0.021789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1367-5_0_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.0025072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1367-5_0_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.019742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1367-5_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.013701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1367-5_0_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.014679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1367-5_0_3_line_31 | NAYY 4x150 SE | 29 | 30 | 0.021768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1367-5_0_3_line_32 | NAYY 4x150 SE | 30 | 45 | 0.039487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1367-5_0_3_line_33 | NAYY 4x150 SE | 31 | 34 | 0.019299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1367-5_0_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.0046654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1367-5_0_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.0021239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1367-5_0_3_line_36 | NAYY 4x150 SE | 35 | 36 | 0.015661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1367-5_0_3_line_37 | NAYY 4x150 SE | 35 | 37 | 0.015298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1367-5_0_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.018511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1367-5_0_3_line_39 | NAYY 4x150 SE | 37 | 39 | 0.0046352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1367-5_0_3_line_40 | NAYY 4x150 SE | 38 | 40 | 0.00014631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1367-5_0_3_line_41 | NAYY 4x150 SE | 40 | 41 | 0.016345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1367-5_0_3_line_42 | NAYY 4x150 SE | 41 | 44 | 0.0089361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1367-5_0_3_line_43 | NAYY 4x150 SE | 42 | 43 | 0.0088485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1367-5_0_3_line_44 | NAYY 4x150 SE | 43 | 44 | 0.00246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1367-5_0_3_line_45 | NAYY 4x150 SE | 45 | 46 | 0.039109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1367-5_0_3_line_46 | NAYY 4x150 SE | 46 | 47 | 0.032032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1367-5_0_3_trafo_35 | 0.25 MVA 20/0.4 kV | 48 | 16 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2699918.5838 | 1203617.8989 | 2699921.2101 | 1203624.5612 | 2699921.2998 | 1203625.8903
1 | 2699918.5838 | 1203617.8989 | 2699908.1282 | 1203591.3754 | 2699907.5532 | 1203588.2737
2 | 2699921.5981 | 1203630.3074 | 2699921.2998 | 1203625.8903
3 | 2699907.2342 | 1203586.553 | 2699907.5532 | 1203588.2737
4 | 2699922.0761 | 1203637.3844 | 2699921.5981 | 1203630.3074
5 | 2699905.7982 | 1203571.445 | 2699906.3273 | 1203581.6608 | 2699907.2342 | 1203586.553
6 | 2699922.0761 | 1203637.3844 | 2699924.2891 | 1203657.4796 | 2699927.2529 | 1203670.8339
7 | 2699905.7982 | 1203571.445 | 2699914.4049 | 1203571.4668 | 2699922.6448 | 1203571.6111
8 | 2699930.127 | 1203683.784 | 2699927.2529 | 1203670.8339
9 | 2699922.6448 | 1203571.6111 | 2699941.3253 | 1203571.9382
10 | 2699930.127 | 1203683.784 | 2699950.0161 | 1203681.4723
11 | 2699964.116 | 1203679.8335 | 2699950.0161 | 1203681.4723
12 | 2699973.1708 | 1203678.7811 | 2699964.116 | 1203679.8335
13 | 2699973.1708 | 1203678.7811 | 2699990.2957 | 1203676.7907
14 | 2699943.2314 | 1203571.9716 | 2699941.3253 | 1203571.9382
15 | 2699944.0856 | 1203571.9802 | 2699943.2314 | 1203571.9716
16 | 2699967.7195 | 1203572.2189 | 2699944.0856 | 1203571.9802
17 | 2699967.7195 | 1203572.2189 | 2699971.6734 | 1203572.2588 | 2699972.1112 | 1203572.2528
18 | 2700033.1745 | 1203615.9709 | 2700035.4056 | 1203634.2069
19 | 2700035.7763 | 1203637.2364 | 2700035.4056 | 1203634.2069
20 | 2700033.0216 | 1203614.721 | 2700033.1745 | 1203615.9709
21 | 2700035.7763 | 1203637.2364 | 2700038.0282 | 1203655.642
22 | 2700032.9022 | 1203613.7454 | 2700033.0216 | 1203614.721
23 | 2700039.9101 | 1203671.024 | 2700038.0282 | 1203655.642
24 | 2700039.9101 | 1203671.024 | 2700037.8528 | 1203671.2631
25 | 2700039.9101 | 1203671.024 | 2700056.8172 | 1203668.8433
26 | 2700016.2092 | 1203673.7788 | 2700037.8528 | 1203671.2631
27 | 2700056.8172 | 1203668.8433 | 2700059.3039 | 1203668.5225
28 | 2700078.8835 | 1203665.9971 | 2700059.3039 | 1203668.5225
29 | 2700092.4723 | 1203664.2444 | 2700078.8835 | 1203665.9971
30 | 2700092.4723 | 1203664.2444 | 2700094.4105 | 1203678.7947
31 | 2700097.2848 | 1203700.3718 | 2700094.4105 | 1203678.7947
32 | 2700097.2848 | 1203700.3718 | 2700058.1183 | 1203705.3907
33 | 2700016.2092 | 1203673.7788 | 2699997.0395 | 1203676.0068
34 | 2699994.9298 | 1203676.252 | 2699990.2957 | 1203676.7907
35 | 2699994.9298 | 1203676.252 | 2699997.0395 | 1203676.0068
36 | 2700051.5841 | 1203580.0957 | 2700048.918 | 1203579.9017 | 2700038.8735 | 1203577.1205 | 2700036.8366 | 1203575.5601
37 | 2700026.3988 | 1203564.503 | 2700032.9527 | 1203572.5849 | 2700036.8366 | 1203575.5601
38 | 2700026.3988 | 1203564.503 | 2700013.8684 | 1203568.8295 | 2700008.6965 | 1203569.7583
39 | 2700026.3988 | 1203564.503 | 2700030.5886 | 1203562.5204
40 | 2700008.6965 | 1203569.7583 | 2700008.5525 | 1203569.7842
41 | 2700008.5525 | 1203569.7842 | 2700002.3729 | 1203570.894 | 2699992.3429 | 1203571.7536
42 | 2699983.4187 | 1203572.0987 | 2699989.2417 | 1203572.0194 | 2699992.3429 | 1203571.7536
43 | 2699972.1112 | 1203572.2528 | 2699980.9589 | 1203572.1323
44 | 2699983.4187 | 1203572.0987 | 2699980.9589 | 1203572.1323
45 | 2700019.3264 | 1203710.3615 | 2700058.1183 | 1203705.3907
46 | 2699987.5539 | 1203714.4329 | 2700019.3264 | 1203710.3615

## bus_geodata
| x | y | coords
0 | 2699918.5838 | 1203617.8989
1 | 2699921.2998 | 1203625.8903
2 | 2699907.5532 | 1203588.2737
3 | 2699921.5981 | 1203630.3074
4 | 2699907.2342 | 1203586.553
5 | 2699922.0761 | 1203637.3844
6 | 2699905.7982 | 1203571.445
7 | 2699927.2529 | 1203670.8339
8 | 2699922.6448 | 1203571.6111
9 | 2699930.127 | 1203683.784
10 | 2699950.0161 | 1203681.4723
11 | 2699964.116 | 1203679.8335
12 | 2699973.1708 | 1203678.7811
13 | 2699941.3253 | 1203571.9382
14 | 2699943.2314 | 1203571.9716
15 | 2699944.0856 | 1203571.9802
16 | 2699967.7195 | 1203572.2189
17 | 2700035.4056 | 1203634.2069
18 | 2700033.1745 | 1203615.9709
19 | 2700035.7763 | 1203637.2364
20 | 2700033.0216 | 1203614.721
21 | 2700038.0282 | 1203655.642
22 | 2700032.9022 | 1203613.7454
23 | 2700039.9101 | 1203671.024
24 | 2700037.8528 | 1203671.2631
25 | 2700056.8172 | 1203668.8433
26 | 2700059.3039 | 1203668.5225
27 | 2700078.8835 | 1203665.9971
28 | 2700092.4723 | 1203664.2444
29 | 2700094.4105 | 1203678.7947
30 | 2700097.2848 | 1203700.3718
31 | 2700016.2092 | 1203673.7788
32 | 2699990.2957 | 1203676.7907
33 | 2699994.9298 | 1203676.252
34 | 2699997.0395 | 1203676.0068
35 | 2700036.8366 | 1203575.5601
36 | 2700051.5841 | 1203580.0957
37 | 2700026.3988 | 1203564.503
38 | 2700008.6965 | 1203569.7583
39 | 2700030.5886 | 1203562.5204
40 | 2700008.5525 | 1203569.7842
41 | 2699992.3429 | 1203571.7536
42 | 2699972.1112 | 1203572.2528
43 | 2699980.9589 | 1203572.1323
44 | 2699983.4187 | 1203572.0987
45 | 2700058.1183 | 1203705.3907
46 | 2700019.3264 | 1203710.3615
47 | 2699987.5539 | 1203714.4329
48 | 2699943.2314 | 1203571.9716

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98675 | -0.092416 | 0.0018083 | 0.0004532
1 | 0.98588 | -0.098497 | 0.011342 | 0.0028425
2 | 0.99005 | -0.069253 | 0.015547 | 0.0038965
3 | 0.98551 | -0.10116 | 0.012029 | 0.0030147
4 | 0.99027 | -0.067701 | 0.0032455 | 0.00081341
5 | 0.98503 | -0.10454 | 0 | 0
6 | 0.99226 | -0.05374 | 0 | 0
7 | 0.98273 | -0.12076 | 0.0017685 | 0.00044324
8 | 0.99447 | -0.038336 | 0.010533 | 0.0026398
9 | 0.98186 | -0.12689 | 0 | 0
10 | 0.98056 | -0.13616 | 0.0013661 | 0.00034239
11 | 0.97966 | -0.14254 | 0.0017852 | 0.00044743
12 | 0.97911 | -0.14647 | 0.0013596 | 0.00034074
13 | 0.99721 | -0.019357 | 0.032687 | 0.0081922
14 | 0.99739 | -0.018079 | 0 | 0
15 | 0.99747 | -0.017507 | 0.014432 | 0.003617
16 | 1 | 0 | -0.18254 | -0.04579
17 | 0.9751 | -0.17515 | 0.0016808 | 0.00042126
18 | 0.97494 | -0.17627 | 0.00156 | 0.00039097
19 | 0.97513 | -0.17491 | 0.0015083 | 0.000378
20 | 0.97494 | -0.17633 | 0.0017404 | 0.00043617
21 | 0.97538 | -0.17315 | 0.001813 | 0.00045438
22 | 0.97493 | -0.17636 | 0.0025312 | 0.00063439
23 | 0.97562 | -0.17139 | 0 | 0
24 | 0.97572 | -0.17073 | 0.0021102 | 0.00052887
25 | 0.97513 | -0.17491 | 0.0019451 | 0.00048748
26 | 0.97507 | -0.17538 | 0.0016335 | 0.00040938
27 | 0.9746 | -0.17872 | 0.0017152 | 0.00042986
28 | 0.97431 | -0.18079 | 0 | 0
29 | 0.974 | -0.18301 | 0.0017838 | 0.00044705
30 | 0.9736 | -0.1859 | 0 | 0
31 | 0.97676 | -0.16328 | 0.0017495 | 0.00043846
32 | 0.9781 | -0.15368 | 0.002116 | 0.00053032
33 | 0.97784 | -0.15553 | 0.0015844 | 0.00039709
34 | 0.97773 | -0.15634 | 0.0020353 | 0.00051009
35 | 0.99854 | -0.010236 | 0.0022725 | 0.00056955
36 | 0.99848 | -0.010626 | 0.0024916 | 0.00062445
37 | 0.99864 | -0.0095057 | 0 | 0
38 | 0.99885 | -0.0080436 | 0.0031101 | 0.00077946
39 | 0.99862 | -0.0096508 | 0.003126 | 0.00078344
40 | 0.99885 | -0.0080275 | 0.0023603 | 0.00059155
41 | 0.99917 | -0.0058427 | 0.0040121 | 0.0010055
42 | 0.9998 | -0.0013975 | 0.0044968 | 0.001127
43 | 0.99945 | -0.003817 | 0.0081182 | 0.0020346
44 | 0.99939 | -0.0042904 | 0.0018787 | 0.00047085
45 | 0.97287 | -0.19115 | 0.01121 | 0.0028096
46 | 0.97279 | -0.19172 | 0.00072477 | 0.00018164
47 | 0.97276 | -0.19194 | 0.00066088 | 0.00016563
48 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.070291 | 0.017683 | -0.070231 | -0.01766 | 5.9574e-05 | 2.2805e-05 | 0.10602 | 0.10602 | 0.10602 | 0.98675 | -0.092416 | 0.98588 | -0.098497 | 39.2674
1 | -0.072099 | -0.018136 | 0.072332 | 0.018226 | 0.00023367 | 8.9468e-05 | 0.10875 | 0.10875 | 0.10875 | 0.98675 | -0.092416 | 0.99005 | -0.069253 | 40.2774
2 | 0.058889 | 0.014818 | -0.058867 | -0.014809 | 2.1835e-05 | 8.3415e-06 | 0.088904 | 0.088904 | 0.088904 | 0.98588 | -0.098497 | 0.98551 | -0.10116 | 32.9273
3 | -0.08788 | -0.022122 | 0.087899 | 0.02213 | 1.906e-05 | 7.3083e-06 | 0.13212 | 0.13212 | 0.13212 | 0.99005 | -0.069253 | 0.99027 | -0.067701 | 48.9318
4 | 0.046839 | 0.011795 | -0.046816 | -0.011786 | 2.215e-05 | 8.4288e-06 | 0.070741 | 0.070741 | 0.070741 | 0.98551 | -0.10116 | 0.98503 | -0.10454 | 26.2006
5 | -0.091144 | -0.022943 | 0.091322 | 0.023011 | 0.00017806 | 6.8289e-05 | 0.13699 | 0.13699 | 0.13699 | 0.99027 | -0.067701 | 0.99226 | -0.05374 | 50.7381
6 | 0.046816 | 0.011786 | -0.046711 | -0.011746 | 0.00010585 | 4.028e-05 | 0.070741 | 0.070742 | 0.070742 | 0.98503 | -0.10454 | 0.98273 | -0.12076 | 26.2006
7 | -0.091322 | -0.023011 | 0.09152 | 0.023087 | 0.0001973 | 7.5666e-05 | 0.13699 | 0.13699 | 0.13699 | 0.99226 | -0.05374 | 0.99447 | -0.038336 | 50.7381
8 | 0.044942 | 0.011303 | -0.044904 | -0.011288 | 3.8347e-05 | 1.4581e-05 | 0.068064 | 0.068064 | 0.068064 | 0.98273 | -0.12076 | 0.98186 | -0.12689 | 25.2088
9 | -0.10205 | -0.025727 | 0.10232 | 0.025831 | 0.00027203 | 0.00010438 | 0.15275 | 0.15275 | 0.15275 | 0.99447 | -0.038336 | 0.99721 | -0.019357 | 56.5752
10 | 0.044904 | 0.011288 | -0.044846 | -0.011266 | 5.7883e-05 | 2.201e-05 | 0.068064 | 0.068064 | 0.068064 | 0.98186 | -0.12689 | 0.98056 | -0.13616 | 25.2089
11 | 0.04348 | 0.010924 | -0.043441 | -0.010909 | 3.8573e-05 | 1.4657e-05 | 0.065991 | 0.065991 | 0.065991 | 0.98056 | -0.13616 | 0.97966 | -0.14254 | 24.4411
12 | 0.041656 | 0.010462 | -0.041633 | -0.010453 | 2.2777e-05 | 8.6458e-06 | 0.063279 | 0.063279 | 0.063279 | 0.97966 | -0.14254 | 0.97911 | -0.14647 | 23.4368
13 | 0.040274 | 0.010112 | -0.040233 | -0.010097 | 4.031e-05 | 1.5287e-05 | 0.061213 | 0.061213 | 0.061213 | 0.97911 | -0.14647 | 0.9781 | -0.15368 | 22.6715
14 | -0.13501 | -0.034023 | 0.13504 | 0.034033 | 2.4157e-05 | 9.2414e-06 | 0.20153 | 0.20153 | 0.20153 | 0.99721 | -0.019357 | 0.99739 | -0.018079 | 37.32
15 | -0.13504 | -0.034033 | 0.13505 | 0.034037 | 1.0825e-05 | 4.1411e-06 | 0.20153 | 0.20153 | 0.20153 | 0.99739 | -0.018079 | 0.99747 | -0.017507 | 37.32
16 | -0.14948 | -0.037654 | 0.14985 | 0.037794 | 0.0003669 | 0.0001405 | 0.22306 | 0.22306 | 0.22306 | 0.99747 | -0.017507 | 1 | 0 | 41.307
17 | 0.031893 | 0.0079954 | -0.031887 | -0.0079931 | 6.1725e-06 | 2.3164e-06 | 0.047458 | 0.047458 | 0.047458 | 1 | 0 | 0.9998 | -0.0013975 | 17.577
18 | 0.0058325 | 0.0014616 | -0.0058316 | -0.0014615 | 9.0817e-07 | 1.2016e-07 | 0.0089004 | 0.0089005 | 0.0089005 | 0.9751 | -0.17515 | 0.97494 | -0.17627 | 3.2965
19 | -0.0075134 | -0.0018829 | 0.0075136 | 0.001883 | 2.5036e-07 | 5.8219e-08 | 0.011465 | 0.011465 | 0.011465 | 0.9751 | -0.17515 | 0.97513 | -0.17491 | 4.2465
20 | 0.0042716 | 0.0010705 | -0.0042716 | -0.0010705 | 3.34e-08 | -2.857e-09 | 0.0065196 | 0.0065196 | 0.0065196 | 0.97494 | -0.17627 | 0.97494 | -0.17633 | 2.4147
21 | -0.0090219 | -0.002261 | 0.0090241 | 0.0022616 | 2.193e-06 | 6.1207e-07 | 0.013767 | 0.013767 | 0.013767 | 0.97513 | -0.17491 | 0.97538 | -0.17315 | 5.0989
22 | 0.0025312 | 0.00063438 | -0.0025312 | -0.00063439 | 9.1533e-09 | -8.7349e-09 | 0.0038633 | 0.0038634 | 0.0038634 | 0.97494 | -0.17633 | 0.97493 | -0.17636 | 1.4309
23 | -0.010837 | -0.002716 | 0.01084 | 0.0027168 | 2.6431e-06 | 8.2311e-07 | 0.016533 | 0.016533 | 0.016533 | 0.97538 | -0.17315 | 0.97562 | -0.17139 | 6.1232
24 | -0.030554 | -0.0076607 | 0.030557 | 0.0076618 | 2.8068e-06 | 1.0537e-06 | 0.046602 | 0.046602 | 0.046602 | 0.97562 | -0.17139 | 0.97572 | -0.17073 | 17.2601
25 | 0.019715 | 0.0049439 | -0.019705 | -0.0049405 | 9.6182e-06 | 3.4865e-06 | 0.03007 | 0.03007 | 0.03007 | 0.97562 | -0.17139 | 0.97513 | -0.17491 | 11.1369
26 | -0.032667 | -0.0081906 | 0.032701 | 0.0082034 | 3.3748e-05 | 1.2707e-05 | 0.04982 | 0.04982 | 0.04982 | 0.97572 | -0.17073 | 0.97676 | -0.16328 | 18.452
27 | 0.01776 | 0.004453 | -0.017759 | -0.0044526 | 1.1491e-06 | 4.1069e-07 | 0.027102 | 0.027102 | 0.027102 | 0.97513 | -0.17491 | 0.97507 | -0.17538 | 10.0376
28 | 0.016125 | 0.0040432 | -0.016118 | -0.0040406 | 7.4603e-06 | 2.6232e-06 | 0.024609 | 0.024609 | 0.024609 | 0.97507 | -0.17538 | 0.9746 | -0.17872 | 9.1144
29 | 0.014403 | 0.0036107 | -0.014398 | -0.0036093 | 4.1343e-06 | 1.4194e-06 | 0.02199 | 0.02199 | 0.02199 | 0.9746 | -0.17872 | 0.97431 | -0.18079 | 8.1445
30 | 0.014398 | 0.0036093 | -0.014394 | -0.0036078 | 4.4293e-06 | 1.5208e-06 | 0.02199 | 0.02199 | 0.02199 | 0.97431 | -0.18079 | 0.974 | -0.18301 | 8.1446
31 | 0.01261 | 0.0031607 | -0.012605 | -0.003159 | 5.0413e-06 | 1.6682e-06 | 0.019265 | 0.019265 | 0.019265 | 0.974 | -0.18301 | 0.9736 | -0.1859 | 7.1353
32 | 0.012605 | 0.003159 | -0.012596 | -0.003156 | 9.1451e-06 | 3.0267e-06 | 0.019265 | 0.019265 | 0.019265 | 0.9736 | -0.1859 | 0.97287 | -0.19115 | 7.1354
33 | -0.03445 | -0.0086418 | 0.034484 | 0.0086543 | 3.3174e-05 | 1.2517e-05 | 0.052486 | 0.052485 | 0.052486 | 0.97676 | -0.16328 | 0.97773 | -0.15634 | 19.4391
34 | 0.038117 | 0.0095668 | -0.038107 | -0.0095631 | 9.7913e-06 | 3.7073e-06 | 0.057994 | 0.057994 | 0.057994 | 0.9781 | -0.15368 | 0.97784 | -0.15553 | 21.4793
35 | 0.036523 | 0.009166 | -0.036519 | -0.0091644 | 4.0945e-06 | 1.5482e-06 | 0.055583 | 0.055583 | 0.055583 | 0.97784 | -0.15553 | 0.97773 | -0.15634 | 20.5863
36 | 0.0024917 | 0.0006243 | -0.0024916 | -0.00062445 | 1.3474e-07 | -1.5303e-07 | 0.0037131 | 0.0037131 | 0.0037131 | 0.99854 | -0.010236 | 0.99848 | -0.010626 | 1.3752
37 | -0.0047642 | -0.0011938 | 0.0047647 | 0.0011938 | 4.8114e-07 | -1.5077e-08 | 0.0070996 | 0.0070995 | 0.0070996 | 0.99854 | -0.010236 | 0.99864 | -0.0095057 | 2.6295
38 | -0.0078907 | -0.0019772 | 0.0078923 | 0.0019776 | 1.5967e-06 | 3.7188e-07 | 0.011757 | 0.011757 | 0.011757 | 0.99864 | -0.0095057 | 0.99885 | -0.0080436 | 4.3546
39 | 0.003126 | 0.0007834 | -0.003126 | -0.00078344 | 6.2753e-08 | -3.6509e-08 | 0.0046579 | 0.0046579 | 0.0046579 | 0.99864 | -0.0095057 | 0.99862 | -0.0096508 | 1.7251
40 | -0.011002 | -0.0027571 | 0.011002 | 0.0027571 | 2.4527e-08 | 7.5185e-09 | 0.01639 | 0.01639 | 0.01639 | 0.99885 | -0.0080436 | 0.99885 | -0.0080275 | 6.0705
41 | -0.013363 | -0.0033486 | 0.013367 | 0.00335 | 4.0418e-06 | 1.3405e-06 | 0.019907 | 0.019907 | 0.019907 | 0.99885 | -0.0080275 | 0.99917 | -0.0058427 | 7.3728
42 | -0.017379 | -0.0043555 | 0.017383 | 0.0043568 | 3.7352e-06 | 1.3196e-06 | 0.025882 | 0.025882 | 0.025882 | 0.99917 | -0.0058427 | 0.99939 | -0.0042904 | 9.5858
43 | 0.02739 | 0.0068661 | -0.027381 | -0.0068627 | 9.1756e-06 | 3.4131e-06 | 0.040765 | 0.040765 | 0.040765 | 0.9998 | -0.0013975 | 0.99945 | -0.003817 | 15.0983
44 | 0.019263 | 0.0048281 | -0.019261 | -0.0048276 | 1.2625e-06 | 4.5335e-07 | 0.028679 | 0.028679 | 0.028679 | 0.99945 | -0.003817 | 0.99939 | -0.0042904 | 10.6218
45 | 0.0013858 | 0.00034644 | -0.0013857 | -0.00034689 | 1.0961e-07 | -4.4343e-07 | 0.0021192 | 0.0021194 | 0.0021194 | 0.97287 | -0.19115 | 0.97279 | -0.19172 | 0.78497
46 | 0.0006609 | 0.00016524 | -0.00066088 | -0.00016563 | 2.0425e-08 | -3.8982e-07 | 0.0010108 | 0.0010109 | 0.0010109 | 0.97279 | -0.19172 | 0.97276 | -0.19194 | 0.37442

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.19023 | 0.047718

## res_load
| p_mw | q_mvar
0 | 0.0018083 | 0.0004532
1 | 0.011342 | 0.0028425
2 | 0.015547 | 0.0038965
3 | 0.012029 | 0.0030147
4 | 0.0032455 | 0.00081341
5 | 0.0017685 | 0.00044324
6 | 0.010533 | 0.0026398
7 | 0.0013661 | 0.00034239
8 | 0.0017852 | 0.00044743
9 | 0.0013596 | 0.00034074
10 | 0.032687 | 0.0081922
11 | 0.014432 | 0.003617
12 | 0.0076954 | 0.0019287
13 | 0.0016808 | 0.00042126
14 | 0.00156 | 0.00039097
15 | 0.0015083 | 0.000378
16 | 0.0017404 | 0.00043617
17 | 0.001813 | 0.00045438
18 | 0.0025312 | 0.00063439
19 | 0.0021102 | 0.00052887
20 | 0.0019451 | 0.00048748
21 | 0.0016335 | 0.00040938
22 | 0.0017152 | 0.00042986
23 | 0.0017838 | 0.00044705
24 | 0.0017495 | 0.00043846
25 | 0.002116 | 0.00053032
26 | 0.0015844 | 0.00039709
27 | 0.0020353 | 0.00051009
28 | 0.0022725 | 0.00056955
29 | 0.0024916 | 0.00062445
30 | 0.0031101 | 0.00077946
31 | 0.003126 | 0.00078344
32 | 0.0023603 | 0.00059155
33 | 0.0040121 | 0.0010055
34 | 0.0044968 | 0.001127
35 | 0.0081182 | 0.0020346
36 | 0.0018787 | 0.00047085
37 | 0.01121 | 0.0028096
38 | 0.00072477 | 0.00018164
39 | 0.00066088 | 0.00016563

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1