## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1368-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1368-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1368-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1368-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1368-4_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1368-4_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1368-4_0_3_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_1368-4_0_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_1368-4_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1368-4_0_3_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_1368-4_0_3_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_1368-4_0_3_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_1368-4_0_3_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_1368-4_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1368-4_0_3_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_1368-4_0_3_node_34 | 0.4 | n |  | TRUE
16 | bus_LV_1368-4_0_3_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_1368-4_0_3_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_1368-4_0_3_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_1368-4_0_3_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_1368-4_0_3_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_1368-4_0_3_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_1368-4_0_3_node_36 | 0.4 | n |  | TRUE
23 | bus_LV_1368-4_0_3_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_1368-4_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_1368-4_0_3_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_1368-4_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1368-4_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1368-4_0_3_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_1368-4_0_3_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_1368-4_0_3_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_1368-4_0_3_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_1368-4_0_3_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_1368-4_0_3_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_1368-4_0_3_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_1368-4_0_3_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_1368-4_0_3_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_1368-4_0_3_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_1368-4_0_3_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_1368-4_0_3_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_1368-4_0_3_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_1368-4_0_3_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_1368-4_0_3_node_40 | 0.4 | n |  | TRUE
43 | bus_MV_135_0_node_10 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1368-4_0_3_load_0 | 0 | 0.0050034 | 0.001254 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1368-4_0_3_load_1 | 1 | 0.0020614 | 0.00051663 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1368-4_0_3_load_3 | 3 | 0.0055352 | 0.0013873 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1368-4_0_3_load_5 | 5 | 0.010409 | 0.0026087 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1368-4_0_3_load_10 | 6 | 0.0073625 | 0.0018452 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1368-4_0_3_load_6 | 8 | 0.0025946 | 0.00065027 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1368-4_0_3_load_27 | 9 | 0.00062151 | 0.00015577 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1368-4_0_3_load_11 | 10 | 0.0024074 | 0.00060336 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1368-4_0_3_load_21 | 11 | 0.0092394 | 0.0023156 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1368-4_0_3_load_19 | 12 | 0.0039088 | 0.00097964 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1368-4_0_3_load_7 | 13 | 0.010029 | 0.0025135 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1368-4_0_3_load_28 | 14 | 0.0007695 | 0.00019286 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1368-4_0_3_load_34 | 15 | 0.0012769 | 0.00032002 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1368-4_0_3_load_30 | 16 | 0.0016164 | 0.0004051 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1368-4_0_3_load_33 | 19 | 0.0014473 | 0.00036274 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1368-4_0_3_load_8 | 20 | 0.0020699 | 0.00051876 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1368-4_0_3_load_23 | 21 | 0.0072819 | 0.001825 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1368-4_0_3_load_36 | 22 | 0.0033495 | 0.00083946 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1368-4_0_3_load_41 | 23 | 0.0039034 | 0.00097828 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1368-4_0_3_load_12 | 25 | 0.0013969 | 0.00035009 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1368-4_0_3_load_17 | 26 | 0.0027791 | 0.00069652 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1368-4_0_3_load_18 | 27 | 0.002295 | 0.00057519 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1368-4_0_3_load_13 | 28 | 0.0042137 | 0.0010561 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1368-4_0_3_load_15 | 30 | 0.013869 | 0.003476 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1368-4_0_3_load_29 | 33 | 0.0024848 | 0.00062276 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1368-4_0_3_load_22 | 34 | 0.0063083 | 0.001581 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1368-4_0_3_load_39 | 35 | 0.0061145 | 0.0015324 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1368-4_0_3_load_42 | 36 | 0.0072657 | 0.0018209 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1368-4_0_3_load_38 | 37 | 0.0082821 | 0.0020757 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1368-4_0_3_load_37 | 38 | 0.012307 | 0.0030844 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1368-4_0_3_load_24 | 39 | 0.0056638 | 0.0014195 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1368-4_0_3_load_25 | 40 | 0.0019972 | 0.00050056 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1368-4_0_3_load_26 | 41 | 0.002086 | 0.0005228 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1368-4_0_3_load_40 | 42 | 0.0036587 | 0.00091696 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1368-4_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.021798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1368-4_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.044733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1368-4_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0074192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1368-4_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.003718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1368-4_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.076856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1368-4_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0085045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1368-4_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1368-4_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.0092059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_1368-4_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.15267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1368-4_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.0060163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1368-4_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.018605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1368-4_0_3_line_11 | NAYY 4x150 SE | 7 | 12 | 0.01579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1368-4_0_3_line_12 | NAYY 4x150 SE | 8 | 13 | 0.037081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1368-4_0_3_line_13 | NAYY 4x150 SE | 9 | 14 | 0.0070125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1368-4_0_3_line_14 | NAYY 4x150 SE | 10 | 25 | 0.019722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1368-4_0_3_line_15 | NAYY 4x150 SE | 11 | 23 | 0.0072799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1368-4_0_3_line_16 | NAYY 4x150 SE | 12 | 24 | 0.029987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1368-4_0_3_line_17 | NAYY 4x150 SE | 13 | 20 | 0.029562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1368-4_0_3_line_18 | NAYY 4x150 SE | 14 | 15 | 0.0053073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1368-4_0_3_line_19 | NAYY 4x150 SE | 15 | 18 | 0.12208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1368-4_0_3_line_20 | NAYY 4x150 SE | 16 | 17 | 0.027763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1368-4_0_3_line_21 | NAYY 4x150 SE | 16 | 18 | 0.015967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1368-4_0_3_line_22 | NAYY 4x150 SE | 17 | 19 | 0.009866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1368-4_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.0012288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1368-4_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.014534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1368-4_0_3_line_25 | NAYY 4x150 SE | 22 | 38 | 0.0079349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1368-4_0_3_line_26 | NAYY 4x150 SE | 23 | 36 | 0.0098438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1368-4_0_3_line_27 | NAYY 4x150 SE | 24 | 34 | 0.013858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1368-4_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.00033456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1368-4_0_3_line_29 | NAYY 4x150 SE | 26 | 27 | 0.017028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1368-4_0_3_line_30 | NAYY 4x150 SE | 27 | 31 | 0.0027729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1368-4_0_3_line_31 | NAYY 4x150 SE | 28 | 29 | 0.048348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1368-4_0_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.0012623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1368-4_0_3_line_33 | NAYY 4x150 SE | 29 | 31 | 0.045198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1368-4_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.026184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1368-4_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.053678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1368-4_0_3_line_36 | NAYY 4x150 SE | 33 | 41 | 0.036185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1368-4_0_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.034682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1368-4_0_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.021394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1368-4_0_3_line_39 | NAYY 4x150 SE | 37 | 42 | 0.010005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1368-4_0_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.014138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1368-4_0_3_line_41 | NAYY 4x150 SE | 40 | 41 | 0.011308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1368-4_0_3_trafo_6 | 0.25 MVA 20/0.4 kV | 43 | 8 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2701954.908 | 1210557.7554 | 2701950.993 | 1210554.9484 | 2701939.671 | 1210549.818 | 2701935.343 | 1210548.4125
1 | 2701984.7739 | 1210590.4728 | 2701975.8846 | 1210576.8891 | 2701963.0829 | 1210563.6166 | 2701954.908 | 1210557.7554
2 | 2701928.2866 | 1210546.121 | 2701935.343 | 1210548.4125
3 | 2701984.7739 | 1210590.4728 | 2701986.8417 | 1210593.5658
4 | 2701984.7739 | 1210590.4728 | 2701996.8921 | 1210580.5952 | 2702002.8474 | 1210579.0626 | 2702010.4664 | 1210581.1388 | 2702022.1521 | 1210588.9885 | 2702026.4355 | 1210590.9854 | 2702033.9822 | 1210589.7358 | 2702049.0809 | 1210575.5408
5 | 2701928.2866 | 1210546.121 | 2701928.2866 | 1210546.121 | 2701919.9716 | 1210544.3355
6 | 2701986.8417 | 1210593.5658 | 2701998.1603 | 1210610.4378
7 | 2701986.8417 | 1210593.5658 | 2701979.7563 | 1210599.4434
8 | 2702049.0809 | 1210575.5408 | 2702095.9378 | 1210430.2378
9 | 2701919.9716 | 1210544.3355 | 2701914.0894 | 1210543.0725
10 | 2701998.1603 | 1210610.4378 | 2701982.7663 | 1210620.8858
11 | 2701998.1603 | 1210610.4378 | 2702000.3024 | 1210613.6322 | 2702007.0143 | 1210623.5113
12 | 2701979.7563 | 1210599.4434 | 2701951.2167 | 1210623.1176
13 | 2702102.2665 | 1210427.2173 | 2702095.9378 | 1210430.2378
14 | 2701914.0894 | 1210543.0725 | 2701894.8069 | 1210538.9322
15 | 2701976.7428 | 1210624.974 | 2701982.7663 | 1210620.8858
16 | 2702023.8658 | 1210648.3149 | 2702007.0143 | 1210623.5113
17 | 2701930.7208 | 1210644.1417 | 2701938.7349 | 1210633.4716 | 2701951.2167 | 1210623.1176
18 | 2702102.2665 | 1210427.2173 | 2702103.7832 | 1210426.4935 | 2702106.2394 | 1210423.8251
19 | 2702186.0191 | 1210331.4237 | 2702106.2394 | 1210423.8251
20 | 2702210.002 | 1210307.9403 | 2702211.2395 | 1210323.5501 | 2702208.756 | 1210327.8551 | 2702201.8185 | 1210329.5169
21 | 2702186.0191 | 1210331.4237 | 2702196.6272 | 1210330.7605 | 2702201.8185 | 1210329.5169
22 | 2702210.002 | 1210307.9403 | 2702210.5053 | 1210302.9676 | 2702214.3722 | 1210299.9985
23 | 2701929.9828 | 1210645.1242 | 2701930.7208 | 1210644.1417
24 | 2701929.9828 | 1210645.1242 | 2701921.2544 | 1210656.7454
25 | 2701916.489 | 1210663.0901 | 2701921.2544 | 1210656.7454
26 | 2701968.5978 | 1210630.5021 | 2701976.7428 | 1210624.974
27 | 2702023.8658 | 1210648.3149 | 2702011.8392 | 1210655.1989
28 | 2701894.8069 | 1210538.9322 | 2701894.4798 | 1210538.8619
29 | 2701877.8311 | 1210535.2871 | 2701894.4798 | 1210538.8619
30 | 2701875.12 | 1210534.705 | 2701877.8311 | 1210535.2871
31 | 2701851.6295 | 1210572.6638 | 2701859.0327 | 1210573.5797 | 2701864.4876 | 1210575.085 | 2701893.6426 | 1210594.8619
32 | 2701894.6872 | 1210595.5705 | 2701893.6426 | 1210594.8619
33 | 2701851.6295 | 1210572.6638 | 2701853.1377 | 1210569.365 | 2701868.2391 | 1210550.821 | 2701871.4431 | 1210546.1502 | 2701875.12 | 1210534.705
34 | 2701850.3752 | 1210525.9431 | 2701861.5166 | 1210530.0806 | 2701875.12 | 1210534.705
35 | 2701850.3752 | 1210525.9431 | 2701875.1231 | 1210504.7174 | 2701888.6145 | 1210488.528
36 | 2701888.6145 | 1210488.528 | 2701895.4868 | 1210480.2814 | 2701908.9072 | 1210458.6569
37 | 2701981.7389 | 1210672.4283 | 2702011.8392 | 1210655.1989
38 | 2701966.6222 | 1210686.4065 | 2701970.7145 | 1210678.7386 | 2701981.7389 | 1210672.4283
39 | 2701961.9115 | 1210695.233 | 2701966.6222 | 1210686.4065
40 | 2701915.7296 | 1210449.7184 | 2701925.5561 | 1210439.553
41 | 2701915.7296 | 1210449.7184 | 2701912.1677 | 1210453.4031 | 2701908.9072 | 1210458.6569

## bus_geodata
| x | y | coords
0 | 2701954.908 | 1210557.7554
1 | 2701935.343 | 1210548.4125
2 | 2701984.7739 | 1210590.4728
3 | 2701928.2866 | 1210546.121
4 | 2701986.8417 | 1210593.5658
5 | 2702049.0809 | 1210575.5408
6 | 2701919.9716 | 1210544.3355
7 | 2701998.1603 | 1210610.4378
8 | 2701979.7563 | 1210599.4434
9 | 2702095.9378 | 1210430.2378
10 | 2701914.0894 | 1210543.0725
11 | 2701982.7663 | 1210620.8858
12 | 2702007.0143 | 1210623.5113
13 | 2701951.2167 | 1210623.1176
14 | 2702102.2665 | 1210427.2173
15 | 2702106.2394 | 1210423.8251
16 | 2702201.8185 | 1210329.5169
17 | 2702210.002 | 1210307.9403
18 | 2702186.0191 | 1210331.4237
19 | 2702214.3722 | 1210299.9985
20 | 2701930.7208 | 1210644.1417
21 | 2701929.9828 | 1210645.1242
22 | 2701921.2544 | 1210656.7454
23 | 2701976.7428 | 1210624.974
24 | 2702023.8658 | 1210648.3149
25 | 2701894.8069 | 1210538.9322
26 | 2701894.4798 | 1210538.8619
27 | 2701877.8311 | 1210535.2871
28 | 2701893.6426 | 1210594.8619
29 | 2701851.6295 | 1210572.6638
30 | 2701894.6872 | 1210595.5705
31 | 2701875.12 | 1210534.705
32 | 2701850.3752 | 1210525.9431
33 | 2701888.6145 | 1210488.528
34 | 2702011.8392 | 1210655.1989
35 | 2701981.7389 | 1210672.4283
36 | 2701968.5978 | 1210630.5021
37 | 2701966.6222 | 1210686.4065
38 | 2701916.489 | 1210663.0901
39 | 2701925.5561 | 1210439.553
40 | 2701915.7296 | 1210449.7184
41 | 2701908.9072 | 1210458.6569
42 | 2701961.9115 | 1210695.2331
43 | 2701986.8417 | 1210593.5658

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99497 | -0.035098 | 0.0050034 | 0.001254
1 | 0.99327 | -0.047025 | 0.0020614 | 0.00051663
2 | 0.99878 | -0.0085069 | 0 | 0
3 | 0.99271 | -0.050939 | 0.0055352 | 0.0013873
4 | 0.99918 | -0.0057044 | 0 | 0
5 | 0.997 | -0.020968 | 0.010409 | 0.0026087
6 | 0.99214 | -0.054954 | 0.0073625 | 0.0018452
7 | 0.99777 | -0.015601 | 0 | 0
8 | 1 | 0 | -0.16074 | -0.040196
9 | 0.99575 | -0.029805 | 0.00062151 | 0.00015577
10 | 0.9918 | -0.057347 | 0.0024074 | 0.00060336
11 | 0.99722 | -0.01941 | 0.0092394 | 0.0023156
12 | 0.99713 | -0.020081 | 0.0039088 | 0.00097964
13 | 0.99814 | -0.012993 | 0.010029 | 0.0025135
14 | 0.9957 | -0.030167 | 0.0007695 | 0.00019286
15 | 0.99567 | -0.030399 | 0.0012769 | 0.00032002
16 | 0.99506 | -0.034674 | 0.0016164 | 0.0004051
17 | 0.995 | -0.03508 | 0 | 0
18 | 0.99513 | -0.03418 | 0 | 0
19 | 0.99498 | -0.035224 | 0.0014473 | 0.00036274
20 | 0.99709 | -0.020408 | 0.0020699 | 0.00051876
21 | 0.99705 | -0.020691 | 0.0072819 | 0.001825
22 | 0.99672 | -0.022976 | 0.0033495 | 0.00083946
23 | 0.99711 | -0.020226 | 0.0039034 | 0.00097828
24 | 0.99608 | -0.027425 | 0 | 0
25 | 0.99075 | -0.064721 | 0.0013969 | 0.00035009
26 | 0.99074 | -0.064841 | 0.0027791 | 0.00069652
27 | 0.98994 | -0.070496 | 0.002295 | 0.00057519
28 | 0.98737 | -0.088632 | 0.0042137 | 0.0010561
29 | 0.98863 | -0.079692 | 0 | 0
30 | 0.98735 | -0.088811 | 0.013869 | 0.003476
31 | 0.98981 | -0.071353 | 0 | 0
32 | 0.98935 | -0.07462 | 0 | 0
33 | 0.9884 | -0.081326 | 0.0024848 | 0.00062276
34 | 0.9956 | -0.030823 | 0.0063083 | 0.001581
35 | 0.9947 | -0.037136 | 0.0061145 | 0.0015324
36 | 0.99701 | -0.020944 | 0.0072657 | 0.0018209
37 | 0.99433 | -0.039714 | 0.0082821 | 0.0020757
38 | 0.99658 | -0.023958 | 0.012307 | 0.0030844
39 | 0.98765 | -0.086638 | 0.0056638 | 0.0014195
40 | 0.98777 | -0.085818 | 0.0019972 | 0.00050056
41 | 0.9879 | -0.084932 | 0.002086 | 0.0005228
42 | 0.99428 | -0.040084 | 0.0036587 | 0.00091696
43 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.054445 | 0.01368 | -0.054355 | -0.013646 | 9.0208e-05 | 3.4413e-05 | 0.081437 | 0.081437 | 0.081437 | 0.99497 | -0.035098 | 0.99327 | -0.047025 | 30.162
1 | -0.059448 | -0.014934 | 0.059669 | 0.015019 | 0.0002207 | 8.4303e-05 | 0.08892 | 0.08892 | 0.08892 | 0.99497 | -0.035098 | 0.99878 | -0.0085069 | 32.9333
2 | 0.052293 | 0.013129 | -0.052265 | -0.013118 | 2.8419e-05 | 1.0834e-05 | 0.078349 | 0.078349 | 0.078349 | 0.99327 | -0.047025 | 0.99271 | -0.050939 | 29.0182
3 | -0.075847 | -0.019073 | 0.075876 | 0.019084 | 2.9636e-05 | 1.135e-05 | 0.11302 | 0.11302 | 0.11302 | 0.99878 | -0.0085069 | 0.99918 | -0.0057044 | 41.8598
4 | 0.016178 | 0.004054 | -0.01615 | -0.0040443 | 2.7859e-05 | 9.711e-06 | 0.024102 | 0.024102 | 0.024102 | 0.99878 | -0.0085069 | 0.997 | -0.020968 | 8.9267
5 | 0.04673 | 0.011731 | -0.046704 | -0.011721 | 2.6042e-05 | 9.9064e-06 | 0.070052 | 0.070052 | 0.070052 | 0.99271 | -0.050939 | 0.99214 | -0.054954 | 25.9453
6 | 0.048835 | 0.012257 | -0.048768 | -0.012232 | 6.7011e-05 | 2.5508e-05 | 0.072733 | 0.072733 | 0.072733 | 0.99918 | -0.0057044 | 0.99777 | -0.015601 | 26.9382
7 | -0.12471 | -0.031341 | 0.12481 | 0.031379 | 9.9106e-05 | 3.7876e-05 | 0.18575 | 0.18575 | 0.18575 | 0.99918 | -0.0057044 | 1 | 0 | 34.399
8 | 0.005741 | 0.0014356 | -0.005734 | -0.0014349 | 6.9929e-06 | 7.0111e-07 | 0.0085672 | 0.0085679 | 0.0085679 | 0.997 | -0.020968 | 0.99575 | -0.029805 | 3.1733
9 | 0.039341 | 0.009876 | -0.039328 | -0.0098711 | 1.3073e-05 | 4.9503e-06 | 0.05901 | 0.05901 | 0.05901 | 0.99214 | -0.054954 | 0.9918 | -0.057347 | 21.8555
10 | 0.020421 | 0.0051193 | -0.02041 | -0.0051154 | 1.0768e-05 | 3.8987e-06 | 0.030456 | 0.030456 | 0.030456 | 0.99777 | -0.015601 | 0.99722 | -0.01941 | 11.2799
11 | 0.028347 | 0.0071126 | -0.028329 | -0.0071061 | 1.7611e-05 | 6.5673e-06 | 0.042278 | 0.042278 | 0.042278 | 0.99777 | -0.015601 | 0.99713 | -0.020081 | 15.6584
12 | 0.035134 | 0.0088171 | -0.03507 | -0.0087932 | 6.325e-05 | 2.3842e-05 | 0.052284 | 0.052284 | 0.052284 | 1 | 0 | 0.99814 | -0.012993 | 19.3643
13 | 0.0051125 | 0.0012792 | -0.0051122 | -0.0012792 | 2.5536e-07 | 6.9998e-09 | 0.0076391 | 0.0076392 | 0.0076392 | 0.99575 | -0.029805 | 0.9957 | -0.030167 | 2.8293
14 | 0.036921 | 0.0092677 | -0.036883 | -0.0092534 | 3.7768e-05 | 1.4272e-05 | 0.055398 | 0.055398 | 0.055398 | 0.9918 | -0.057347 | 0.99075 | -0.064721 | 20.5178
15 | 0.011171 | 0.0027998 | -0.01117 | -0.0027994 | 1.2622e-06 | 3.9049e-07 | 0.016669 | 0.016669 | 0.016669 | 0.99722 | -0.01941 | 0.99711 | -0.020226 | 6.1737
16 | 0.02442 | 0.0061264 | -0.024395 | -0.0061173 | 2.4853e-05 | 9.1681e-06 | 0.036445 | 0.036445 | 0.036445 | 0.99713 | -0.020081 | 0.99608 | -0.027425 | 13.498
17 | 0.025042 | 0.0062798 | -0.025016 | -0.0062703 | 2.571e-05 | 9.5024e-06 | 0.037333 | 0.037333 | 0.037333 | 0.99814 | -0.012993 | 0.99709 | -0.020408 | 13.8271
18 | 0.0043427 | 0.0010863 | -0.0043426 | -0.0010863 | 1.3946e-07 | -1.5391e-08 | 0.0064892 | 0.0064892 | 0.0064892 | 0.9957 | -0.030167 | 0.99567 | -0.030399 | 2.4034
19 | 0.0030656 | 0.0007663 | -0.003064 | -0.00076727 | 1.5987e-06 | -9.7198e-07 | 0.0045809 | 0.0045814 | 0.0045814 | 0.99567 | -0.030399 | 0.99513 | -0.03418 | 1.6968
20 | 0.0014475 | 0.00036229 | -0.0014474 | -0.00036262 | 8.1158e-08 | -3.294e-07 | 0.0021644 | 0.0021645 | 0.0021645 | 0.99506 | -0.034674 | 0.995 | -0.03508 | 0.80166
21 | -0.0030638 | -0.0007674 | 0.003064 | 0.00076727 | 2.0913e-07 | -1.2699e-07 | 0.0045815 | 0.0045814 | 0.0045815 | 0.99506 | -0.034674 | 0.99513 | -0.03418 | 1.6969
22 | 0.0014474 | 0.00036262 | -0.0014473 | -0.00036274 | 2.8843e-08 | -1.1705e-07 | 0.0021645 | 0.0021645 | 0.0021645 | 0.995 | -0.03508 | 0.99498 | -0.035224 | 0.80168
23 | 0.022946 | 0.0057515 | -0.022945 | -0.0057512 | 8.9918e-07 | 3.2981e-07 | 0.034244 | 0.034244 | 0.034244 | 0.99709 | -0.020408 | 0.99705 | -0.020691 | 12.683
24 | 0.015663 | 0.0039262 | -0.015658 | -0.0039244 | 4.9559e-06 | 1.7166e-06 | 0.023376 | 0.023376 | 0.023376 | 0.99705 | -0.020691 | 0.99672 | -0.022976 | 8.6579
25 | 0.012309 | 0.003085 | -0.012307 | -0.0030844 | 1.672e-06 | 5.3966e-07 | 0.018376 | 0.018376 | 0.018376 | 0.99672 | -0.022976 | 0.99658 | -0.023958 | 6.8059
26 | 0.0072664 | 0.0018211 | -0.0072657 | -0.0018209 | 7.223e-07 | 1.4942e-07 | 0.010844 | 0.010844 | 0.010844 | 0.99711 | -0.020226 | 0.99701 | -0.020944 | 4.0163
27 | 0.024395 | 0.0061173 | -0.024384 | -0.006113 | 1.1485e-05 | 4.2371e-06 | 0.036445 | 0.036445 | 0.036445 | 0.99608 | -0.027425 | 0.9956 | -0.030823 | 13.498
28 | 0.035486 | 0.0089033 | -0.035485 | -0.0089031 | 5.9308e-07 | 2.238e-07 | 0.0533 | 0.0533 | 0.0533 | 0.99075 | -0.064721 | 0.99074 | -0.064841 | 19.7408
29 | 0.032706 | 0.0082066 | -0.032681 | -0.008197 | 2.5643e-05 | 9.6438e-06 | 0.049126 | 0.049126 | 0.049126 | 0.99074 | -0.064841 | 0.98994 | -0.070496 | 18.1949
30 | 0.030386 | 0.0076218 | -0.030382 | -0.0076204 | 3.6099e-06 | 1.3528e-06 | 0.045676 | 0.045676 | 0.045676 | 0.98994 | -0.070496 | 0.98981 | -0.071353 | 16.9172
31 | -0.018084 | -0.0045322 | 0.018106 | 0.0045402 | 2.2407e-05 | 7.9989e-06 | 0.027253 | 0.027253 | 0.027253 | 0.98737 | -0.088632 | 0.98863 | -0.079692 | 10.0936
32 | 0.01387 | 0.0034761 | -0.013869 | -0.003476 | 3.4415e-07 | 1.1622e-07 | 0.020903 | 0.020903 | 0.020903 | 0.98737 | -0.088632 | 0.98735 | -0.088811 | 7.7417
33 | -0.018106 | -0.0045402 | 0.018127 | 0.0045477 | 2.0947e-05 | 7.4761e-06 | 0.027253 | 0.027252 | 0.027253 | 0.98863 | -0.079692 | 0.98981 | -0.071353 | 10.0935
34 | 0.012255 | 0.0030728 | -0.01225 | -0.003071 | 5.5462e-06 | 1.7968e-06 | 0.018424 | 0.018424 | 0.018424 | 0.98981 | -0.071353 | 0.98935 | -0.07462 | 6.8238
35 | 0.01225 | 0.003071 | -0.012238 | -0.0030673 | 1.137e-05 | 3.6844e-06 | 0.018424 | 0.018424 | 0.018424 | 0.98935 | -0.07462 | 0.9884 | -0.081326 | 6.8239
36 | 0.0097535 | 0.0024445 | -0.0097486 | -0.0024431 | 4.8684e-06 | 1.4089e-06 | 0.014684 | 0.014684 | 0.014684 | 0.9884 | -0.081326 | 0.9879 | -0.084932 | 5.4384
37 | 0.018076 | 0.004532 | -0.01806 | -0.0045264 | 1.5796e-05 | 5.6248e-06 | 0.027016 | 0.027017 | 0.027017 | 0.9956 | -0.030823 | 0.9947 | -0.037136 | 10.0061
38 | 0.011945 | 0.002994 | -0.011941 | -0.0029926 | 4.263e-06 | 1.362e-06 | 0.01787 | 0.01787 | 0.01787 | 0.9947 | -0.037136 | 0.99433 | -0.039714 | 6.6184
39 | 0.0036589 | 0.0009169 | -0.0036587 | -0.00091696 | 1.8717e-07 | -5.7777e-08 | 0.0054755 | 0.0054755 | 0.0054755 | 0.99433 | -0.039714 | 0.99428 | -0.040084 | 2.028
40 | -0.0056638 | -0.0014195 | 0.0056644 | 0.0014195 | 6.4239e-07 | 6.6118e-08 | 0.0085331 | 0.0085331 | 0.0085331 | 0.98765 | -0.086638 | 0.98777 | -0.085818 | 3.1604
41 | -0.0076617 | -0.0019201 | 0.0076626 | 0.0019203 | 9.3999e-07 | 2.1677e-07 | 0.011542 | 0.011542 | 0.011542 | 0.98777 | -0.085818 | 0.9879 | -0.084932 | 4.2747

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.16334 | 0.040847

## res_load
| p_mw | q_mvar
0 | 0.0050034 | 0.001254
1 | 0.0020614 | 0.00051663
2 | 0.0055352 | 0.0013873
3 | 0.010409 | 0.0026087
4 | 0.0073625 | 0.0018452
5 | 0.0025946 | 0.00065027
6 | 0.00062151 | 0.00015577
7 | 0.0024074 | 0.00060336
8 | 0.0092394 | 0.0023156
9 | 0.0039088 | 0.00097964
10 | 0.010029 | 0.0025135
11 | 0.0007695 | 0.00019286
12 | 0.0012769 | 0.00032002
13 | 0.0016164 | 0.0004051
14 | 0.0014473 | 0.00036274
15 | 0.0020699 | 0.00051876
16 | 0.0072819 | 0.001825
17 | 0.0033495 | 0.00083946
18 | 0.0039034 | 0.00097828
19 | 0.0013969 | 0.00035009
20 | 0.0027791 | 0.00069652
21 | 0.002295 | 0.00057519
22 | 0.0042137 | 0.0010561
23 | 0.013869 | 0.003476
24 | 0.0024848 | 0.00062276
25 | 0.0063083 | 0.001581
26 | 0.0061145 | 0.0015324
27 | 0.0072657 | 0.0018209
28 | 0.0082821 | 0.0020757
29 | 0.012307 | 0.0030844
30 | 0.0056638 | 0.0014195
31 | 0.0019972 | 0.00050056
32 | 0.002086 | 0.0005228
33 | 0.0036587 | 0.00091696

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1