## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1368-7_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1368-7_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1368-7_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1368-7_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1368-7_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1368-7_0_7_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1368-7_0_7_node_41 | 0.4 | n |  | TRUE
7 | bus_LV_1368-7_0_7_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_1368-7_0_7_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1368-7_0_7_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_1368-7_0_7_node_38 | 0.4 | n |  | TRUE
11 | bus_LV_1368-7_0_7_node_60 | 0.4 | n |  | TRUE
12 | bus_LV_1368-7_0_7_node_52 | 0.4 | n |  | TRUE
13 | bus_LV_1368-7_0_7_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_1368-7_0_7_node_40 | 0.4 | n |  | TRUE
15 | bus_LV_1368-7_0_7_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_1368-7_0_7_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_1368-7_0_7_node_45 | 0.4 | n |  | TRUE
18 | bus_LV_1368-7_0_7_node_54 | 0.4 | n |  | TRUE
19 | bus_LV_1368-7_0_7_node_43 | 0.4 | n |  | TRUE
20 | bus_LV_1368-7_0_7_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_1368-7_0_7_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_1368-7_0_7_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1368-7_0_7_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_1368-7_0_7_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_1368-7_0_7_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_1368-7_0_7_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_1368-7_0_7_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_1368-7_0_7_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_1368-7_0_7_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_1368-7_0_7_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_1368-7_0_7_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_1368-7_0_7_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_1368-7_0_7_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_1368-7_0_7_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_1368-7_0_7_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_1368-7_0_7_node_47 | 0.4 | n |  | TRUE
37 | bus_LV_1368-7_0_7_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_1368-7_0_7_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_1368-7_0_7_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_1368-7_0_7_node_58 | 0.4 | n |  | TRUE
41 | bus_LV_1368-7_0_7_node_59 | 0.4 | n |  | TRUE
42 | bus_LV_1368-7_0_7_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_1368-7_0_7_node_56 | 0.4 | n |  | TRUE
44 | bus_MV_134_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1368-7_0_7_load_0 | 0 | 0.0047726 | 0.0011961 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1368-7_0_7_load_4 | 4 | 0.004088 | 0.0010246 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1368-7_0_7_load_41 | 6 | 0.0021894 | 0.00054871 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1368-7_0_7_load_27 | 7 | 0.0030671 | 0.0007687 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1368-7_0_7_load_30 | 9 | 0.0032808 | 0.00082224 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1368-7_0_7_load_60 | 11 | 0.0015274 | 0.0003828 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1368-7_0_7_load_52 | 12 | 0.00072702 | 0.00018221 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1368-7_0_7_load_36 | 16 | 0.0030919 | 0.0007749 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1368-7_0_7_load_54 | 18 | 0.004854 | 0.0012165 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1368-7_0_7_load_10 | 20 | 0.011909 | 0.0029847 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1368-7_0_7_load_11 | 21 | 0.030773 | 0.0077124 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1368-7_0_7_load_53 | 25 | 0.0074482 | 0.0018667 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1368-7_0_7_load_35 | 26 | 0.0099267 | 0.0024879 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1368-7_0_7_load_33 | 28 | 0.0027086 | 0.00067884 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1368-7_0_7_load_31 | 29 | 0.0057879 | 0.0014506 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1368-7_0_7_load_29 | 30 | 0.0063038 | 0.0015799 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1368-7_0_7_load_39 | 31 | 0.0055841 | 0.0013995 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1368-7_0_7_load_37 | 32 | 0.003288 | 0.00082405 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1368-7_0_7_load_42 | 33 | 0.0038083 | 0.00095445 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1368-7_0_7_load_46 | 35 | 0.0013037 | 0.00032674 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1368-7_0_7_load_47 | 36 | 0.0024005 | 0.00060162 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1368-7_0_7_load_50 | 38 | 0.0011713 | 0.00029355 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1368-7_0_7_load_58 | 40 | 0.0020739 | 0.00051976 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1368-7_0_7_load_55 | 42 | 0.00086875 | 0.00021773 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1368-7_0_7_line_0 | NAYY 4x150 SE | 0 | 1 | 0.033235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1368-7_0_7_line_1 | NAYY 4x150 SE | 0 | 2 | 0.041799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1368-7_0_7_line_2 | NAYY 4x150 SE | 1 | 3 | 0.41127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_1368-7_0_7_line_3 | NAYY 4x150 SE | 1 | 4 | 0.020267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_1368-7_0_7_line_4 | NAYY 4x150 SE | 2 | 5 | 0.042585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1368-7_0_7_line_5 | NAYY 4x150 SE | 3 | 6 | 0.046169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_1368-7_0_7_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0042144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_1368-7_0_7_line_7 | NAYY 4x150 SE | 5 | 11 | 0.049027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1368-7_0_7_line_8 | NAYY 4x150 SE | 6 | 14 | 0.031992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_1368-7_0_7_line_9 | NAYY 4x150 SE | 7 | 15 | 0.012674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_1368-7_0_7_line_10 | NAYY 4x150 SE | 8 | 9 | 0.015692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1368-7_0_7_line_11 | NAYY 4x150 SE | 8 | 10 | 0.11916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1368-7_0_7_line_12 | NAYY 4x150 SE | 9 | 15 | 0.027077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1368-7_0_7_line_13 | NAYY 4x150 SE | 10 | 16 | 0.032434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1368-7_0_7_line_14 | NAYY 4x150 SE | 12 | 13 | 0.25715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1368-7_0_7_line_15 | NAYY 4x150 SE | 13 | 14 | 0.37035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_1368-7_0_7_line_16 | NAYY 4x150 SE | 13 | 27 | 0.21685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1368-7_0_7_line_17 | NAYY 4x150 SE | 13 | 24 | 0.35682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_1368-7_0_7_line_18 | NAYY 4x150 SE | 15 | 30 | 0.027542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_1368-7_0_7_line_19 | NAYY 4x150 SE | 16 | 32 | 0.013109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1368-7_0_7_line_20 | NAYY 4x150 SE | 17 | 18 | 0.037771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_1368-7_0_7_line_21 | NAYY 4x150 SE | 17 | 19 | 0.20161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_1368-7_0_7_line_22 | NAYY 4x150 SE | 18 | 30 | 0.0082173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_1368-7_0_7_line_23 | NAYY 4x150 SE | 19 | 34 | 0.40143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_1368-7_0_7_line_24 | NAYY 4x150 SE | 19 | 33 | 0.16398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1368-7_0_7_line_25 | NAYY 4x150 SE | 20 | 21 | 0.0067991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1368-7_0_7_line_26 | NAYY 4x150 SE | 20 | 22 | 0.010904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1368-7_0_7_line_27 | NAYY 4x150 SE | 22 | 23 | 0.091866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1368-7_0_7_line_28 | NAYY 4x150 SE | 22 | 24 | 0.091657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1368-7_0_7_line_29 | NAYY 4x150 SE | 23 | 25 | 0.024566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1368-7_0_7_line_30 | NAYY 4x150 SE | 24 | 26 | 0.053017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1368-7_0_7_line_31 | NAYY 4x150 SE | 27 | 28 | 0.029822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1368-7_0_7_line_32 | NAYY 4x150 SE | 27 | 29 | 0.14232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1368-7_0_7_line_33 | NAYY 4x150 SE | 28 | 31 | 0.054456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1368-7_0_7_line_34 | NAYY 4x150 SE | 34 | 35 | 0.041048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_1368-7_0_7_line_35 | NAYY 4x150 SE | 35 | 36 | 0.0036139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_1368-7_0_7_line_36 | NAYY 4x150 SE | 36 | 37 | 0.01428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_1368-7_0_7_line_37 | NAYY 4x150 SE | 37 | 38 | 0.055658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1368-7_0_7_line_38 | NAYY 4x150 SE | 37 | 39 | 0.50427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_1368-7_0_7_line_39 | NAYY 4x150 SE | 39 | 40 | 0.068122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_1368-7_0_7_line_40 | NAYY 4x150 SE | 40 | 41 | 0.33328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_1368-7_0_7_line_41 | NAYY 4x150 SE | 41 | 43 | 0.39302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1368-7_0_7_line_42 | NAYY 4x150 SE | 42 | 43 | 0.092692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1368-7_0_7_trafo_34 | 0.25 MVA 20/0.4 kV | 44 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52
0 | 2702276.0648 | 1207764.5549 | 2702273.4882 | 1207757.8172 | 2702269.9118 | 1207751.2847 | 2702267.6195 | 1207747.9209 | 2702264.9841 | 1207745.0515 | 2702261.1546 | 1207742.6398 | 2702255.5914 | 1207740.1829
1 | 2702216.8487 | 1207743.4926 | 2702236.8157 | 1207734.8286 | 2702239.5134 | 1207734.0631 | 2702241.8614 | 1207734.6148 | 2702253.6369 | 1207739.3198 | 2702255.5914 | 1207740.1829
2 | 2702276.0648 | 1207764.5549 | 2702279.6741 | 1207770.0539 | 2702294.7262 | 1207783.6879 | 2702302.0325 | 1207788.6833 | 2702305.615 | 1207790.4237 | 2702309.307 | 1207791.0985 | 2702337.009 | 1207788.5939 | 2702343.0205 | 1207783.0597 | 2702340.9347 | 1207773.8732 | 2702341.7452 | 1207762.09 | 2702366.1291 | 1207739.3478 | 2702369.0925 | 1207740.3771 | 2702371.0038 | 1207745.1132 | 2702361.371 | 1207759.5803 | 2702358.8804 | 1207773.9809 | 2702383.9553 | 1207794.2806 | 2702406.5208 | 1207810.5679 | 2702411.2366 | 1207830.4515 | 2702420.6664 | 1207846.4133 | 2702451.8184 | 1207864.416 | 2702483.2004 | 1207853.9696 | 2702503.545 | 1207854.7528 | 2702527.3753 | 1207859.3653 | 2702551.3241 | 1207866.3704
3 | 2702276.0648 | 1207764.5549 | 2702260.8193 | 1207777.9094
4 | 2702216.8487 | 1207743.4926 | 2702218.746 | 1207726.858 | 2702218.8683 | 1207717.9428 | 2702217.804 | 1207701.0573
5 | 2702551.3241 | 1207866.3704 | 2702538.703 | 1207854.7011 | 2702534.672 | 1207841.9007 | 2702537.9172 | 1207826.6831
6 | 2702257.6491 | 1207780.6863 | 2702260.8193 | 1207777.9094
7 | 2702217.804 | 1207701.0573 | 2702213.2835 | 1207692.8075 | 2702210.3717 | 1207683.8737 | 2702206.8506 | 1207676.3304 | 2702205.1554 | 1207673.6217 | 2702203.0453 | 1207671.1616 | 2702198.7584 | 1207667.4745 | 2702194.7725 | 1207664.86 | 2702190.2003 | 1207662.7359
8 | 2702544.5896 | 1207795.3943 | 2702537.9172 | 1207826.6831
9 | 2702248.1153 | 1207789.0375 | 2702257.6491 | 1207780.6863
10 | 2702207.2872 | 1207789.3274 | 2702222.4641 | 1207785.3415
11 | 2702207.2872 | 1207789.3274 | 2702183.5517 | 1207779.1584 | 2702176.0093 | 1207776.3941 | 2702170.8304 | 1207775.5048 | 2702167.6568 | 1207775.6395 | 2702162.7303 | 1207776.8894 | 2702159.1837 | 1207778.8189 | 2702155.5414 | 1207781.9032 | 2702120.9206 | 1207834.514
12 | 2702248.1153 | 1207789.0375 | 2702245.7667 | 1207787.6297 | 2702240.6743 | 1207785.2408 | 2702235.2647 | 1207783.6137 | 2702230.0599 | 1207783.3466 | 2702222.4641 | 1207785.3415
13 | 2702120.9206 | 1207834.514 | 2702103.2757 | 1207861.7284
14 | 2702590.2081 | 1207567.4084 | 2702612.0536 | 1207580.9155 | 2702636.2996 | 1207602.981 | 2702660.0651 | 1207620.6909 | 2702771.8278 | 1207685.7148 | 2702789.0227 | 1207698.9645 | 2702792.0354 | 1207716.7417
15 | 2702590.2081 | 1207567.4084 | 2702591.5667 | 1207604.7133 | 2702576.0059 | 1207609.6159 | 2702567.1698 | 1207614.423 | 2702553.6015 | 1207625.9646 | 2702551.7087 | 1207629.012 | 2702550.8814 | 1207632.0109 | 2702551.2808 | 1207635.3201 | 2702552.7063 | 1207638.6691 | 2702554.7881 | 1207640.5507 | 2702558.2992 | 1207642.0231 | 2702570.7748 | 1207644.9284 | 2702573.378 | 1207645.6847 | 2702575.9018 | 1207647.5183 | 2702577.8037 | 1207650.1306 | 2702578.9456 | 1207653.1634 | 2702578.7621 | 1207656.318 | 2702577.5052 | 1207659.532 | 2702574.6122 | 1207662.8067 | 2702569.7843 | 1207665.3811 | 2702563.9751 | 1207666.6489 | 2702554.467 | 1207666.7523 | 2702541.3326 | 1207665.4479 | 2702533.6312 | 1207664.8597 | 2702527.4803 | 1207665.2098 | 2702522.9681 | 1207666.2331 | 2702516.0782 | 1207668.8721 | 2702511.0014 | 1207671.3311 | 2702506.301 | 1207674.8973 | 2702503.5529 | 1207678.1524 | 2702501.8384 | 1207681.0027 | 2702499.9934 | 1207685.6965 | 2702498.7264 | 1207690.3891 | 2702495.7061 | 1207702.8459 | 2702495.3671 | 1207708.8554 | 2702496.1152 | 1207713.5604 | 2702497.8767 | 1207718.1494 | 2702500.0057 | 1207722.6001 | 2702503.2126 | 1207726.7247 | 2702507.1785 | 1207730.0507 | 2702513.5844 | 1207734.3304 | 2702519.4894 | 1207737.2227 | 2702525.6257 | 1207739.4852 | 2702546.7028 | 1207745.4625 | 2702555.7853 | 1207762.586 | 2702557.4492 | 1207766.6619 | 2702558.2485 | 1207770.1558 | 2702558.0643 | 1207774.2333 | 2702557.0211 | 1207777.8512 | 2702555.765 | 1207781.0207 | 2702544.5896 | 1207795.3943
16 | 2702590.2081 | 1207567.4084 | 2702577.6059 | 1207531.1667 | 2702574.4399 | 1207525.5417 | 2702570.7324 | 1207520.4522 | 2702565.3357 | 1207513.1989 | 2702553.3368 | 1207501.1288 | 2702546.8805 | 1207494.4577 | 2702544.8494 | 1207489.1747 | 2702536.8879 | 1207482.9114 | 2702529.5521 | 1207478.2933 | 2702517.3699 | 1207471.1235 | 2702506.8445 | 1207463.582 | 2702493.1532 | 1207451.7275 | 2702447.7888 | 1207411.343
17 | 2702590.2081 | 1207567.4084 | 2702577.6059 | 1207531.1667 | 2702574.4399 | 1207525.5417 | 2702570.7324 | 1207520.4522 | 2702565.3357 | 1207513.1989 | 2702553.3368 | 1207501.1288 | 2702546.8805 | 1207494.4577 | 2702544.8494 | 1207489.1747 | 2702561.0469 | 1207492.3774 | 2702568.7563 | 1207494.7226 | 2702575.5952 | 1207497.72 | 2702587.2178 | 1207505.136 | 2702618.6739 | 1207528.971 | 2702621.176 | 1207531.6269 | 2702622.7149 | 1207535.0113 | 2702624.3025 | 1207540.8649 | 2702626.581 | 1207547.6755 | 2702628.9896 | 1207551.3416 | 2702631.5016 | 1207553.8644 | 2702634.5205 | 1207555.6508 | 2702644.3024 | 1207560.4223 | 2702648.4985 | 1207563.6301 | 2702651.4694 | 1207566.8834 | 2702659.8958 | 1207578.3808 | 2702662.203 | 1207580.8666 | 2702665.0026 | 1207583.0274 | 2702682.0606 | 1207592.772 | 2702690.137 | 1207598.9708 | 2702697.8189 | 1207606.4415 | 2702700.6314 | 1207608.2911 | 2702705.3596 | 1207610.1849 | 2702718.47 | 1207612.0006 | 2702725.6784 | 1207613.4034 | 2702728.7909 | 1207603.1276 | 2702728.8941 | 1207600.2274 | 2702728.0931 | 1207597.2782 | 2702724.4571 | 1207592.0231 | 2702715.8388 | 1207582.4014
18 | 2702248.1153 | 1207789.0375 | 2702247.9367 | 1207792.359 | 2702248.0533 | 1207794.4291 | 2702248.6447 | 1207796.3072 | 2702256.3779 | 1207810.5607 | 2702256.9771 | 1207812.4278 | 2702257.2093 | 1207814.4109 | 2702257.2093 | 1207814.4109
19 | 2702096.144 | 1207872.7278 | 2702103.2757 | 1207861.7284
20 | 2702272.8789 | 1207855.0076 | 2702270.9122 | 1207849.9593 | 2702268.1177 | 1207844.3964 | 2702265.5062 | 1207839.6929 | 2702257.0533 | 1207829.7189 | 2702255.4261 | 1207826.6 | 2702255.4852 | 1207823.1541 | 2702255.6571 | 1207822.4655
21 | 2702272.8789 | 1207855.0076 | 2702280.4214 | 1207855.9819 | 2702283.684 | 1207857.3054 | 2702285.4625 | 1207859.1372 | 2702288.9281 | 1207863.6997 | 2702292.9857 | 1207872.3197 | 2702295.3358 | 1207885.1689 | 2702296.5929 | 1207899.6672 | 2702297.3187 | 1207913.2224 | 2702301.713 | 1207922.1595 | 2702314.2259 | 1207930.8466 | 2702322.871 | 1207941.5689 | 2702339.5869 | 1207959.7014 | 2702362.1976 | 1207979.5251 | 2702374.1287 | 1207985.7674 | 2702383.36 | 1207984.9252 | 2702393.2485 | 1207980.7919 | 2702397.1755 | 1207978.4021
22 | 2702255.6571 | 1207822.4655 | 2702256.7427 | 1207818.1166 | 2702257.2093 | 1207814.4109
23 | 2702752.4391 | 1208148.5811 | 2702733.6756 | 1208133.7589 | 2702715.9158 | 1208121.5892 | 2702688.5395 | 1208100.8371 | 2702671.7659 | 1208091.442 | 2702661.4219 | 1208087.5725 | 2702651.8014 | 1208082.3145 | 2702643.782 | 1208074.6045 | 2702632.2844 | 1208066.1787 | 2702610.7356 | 1208053.6551 | 2702592.8743 | 1208047.7996 | 2702583.2163 | 1208046.4882 | 2702571.7598 | 1208047.6032 | 2702559.9628 | 1208044.6429 | 2702548.2882 | 1208040.306 | 2702538.4213 | 1208034.3323 | 2702525.1364 | 1208027.2325 | 2702507.0741 | 1208018.9054 | 2702491.5031 | 1208014.7351 | 2702471.2297 | 1208010.7176 | 2702453.0873 | 1208009.7055 | 2702445.8908 | 1208005.8682 | 2702438.7419 | 1207999.6967 | 2702427.972 | 1207992.2734 | 2702419.2154 | 1207986.2857 | 2702410.5288 | 1207981.5333 | 2702397.1755 | 1207978.4021
24 | 2702397.1755 | 1207978.4021 | 2702402.7124 | 1207986.3359 | 2702402.0282 | 1207994.7411 | 2702391.1718 | 1208016.7146 | 2702384.2732 | 1208039.8235 | 2702383.7678 | 1208069.2686 | 2702383.2477 | 1208085.3931 | 2702387.1012 | 1208089.4954 | 2702402.1639 | 1208090.4878 | 2702416.6542 | 1208089.3912 | 2702426.0551 | 1208084.4157 | 2702431.3309 | 1208082.0625
25 | 2702769.6795 | 1207557.4663 | 2702771.8716 | 1207553.8348 | 2702772.4469 | 1207551.343
26 | 2702767.4478 | 1207541.7725 | 2702771.6909 | 1207548.428 | 2702772.4469 | 1207551.343
27 | 2702713.5573 | 1207468.4385 | 2702724.1076 | 1207475.4026 | 2702726.6515 | 1207478.2817 | 2702737.91 | 1207496.2324 | 2702767.4478 | 1207541.7725
28 | 2702715.8388 | 1207582.4014 | 2702725.6985 | 1207567.6275 | 2702732.5613 | 1207555.0924 | 2702734.5284 | 1207550.8344 | 2702736.3132 | 1207544.3495 | 2702737.4838 | 1207538.6435 | 2702737.4492 | 1207535.7965 | 2702736.4107 | 1207533.8328 | 2702734.9645 | 1207531.2505 | 2702737.2102 | 1207532.0119 | 2702745.3211 | 1207533.119 | 2702754.9465 | 1207536.3758 | 2702767.4478 | 1207541.7725
29 | 2702713.5573 | 1207468.4385 | 2702716.1365 | 1207466.1702 | 2702718.2647 | 1207463.5939 | 2702728.02 | 1207448.7181
30 | 2702715.8388 | 1207582.4014 | 2702704.587 | 1207577.7602 | 2702698.7906 | 1207574.7361 | 2702684.1511 | 1207563.2207 | 2702677.7875 | 1207557.3627 | 2702675.048 | 1207553.9243 | 2702673.6213 | 1207551.7072
31 | 2702447.7888 | 1207411.343 | 2702433.6633 | 1207437.6078
32 | 2702447.7888 | 1207411.343 | 2702433.1633 | 1207398.5165 | 2702405.7382 | 1207345.3535 | 2702374.9496 | 1207302.9071 | 2702366.099 | 1207297.0482
33 | 2702434.5721 | 1207490.9827 | 2702434.5721 | 1207490.9827 | 2702438.0586 | 1207447.39 | 2702433.6633 | 1207437.6078
34 | 2702752.4391 | 1208148.5811 | 2702754.5451 | 1208152.5757 | 2702766.2455 | 1208162.8954 | 2702774.6916 | 1208172.7477 | 2702777.1242 | 1208178.0933 | 2702777.533 | 1208180.1335
35 | 2702777.533 | 1208180.1335 | 2702778.2375 | 1208183.6497 | 2702778.2323 | 1208183.6771
36 | 2702775.5468 | 1208197.702 | 2702778.2323 | 1208183.6771
37 | 2702775.5468 | 1208197.702 | 2702788.5503 | 1208202.9963 | 2702799.6443 | 1208210.1034 | 2702804.1631 | 1208220.1438 | 2702799.1659 | 1208225.9507 | 2702793.9288 | 1208234.1996
38 | 2702662.5976 | 1208648.8283 | 2702663.1903 | 1208642.2228 | 2702669.9876 | 1208631.6546 | 2702672.5321 | 1208622.9812 | 2702681.154 | 1208610.2206 | 2702683.3865 | 1208600.6857 | 2702687.9102 | 1208595.8602 | 2702691.2776 | 1208592.3935 | 2702691.0188 | 1208582.6933 | 2702694.2685 | 1208577.668 | 2702700.5239 | 1208571.6381 | 2702703.7552 | 1208567.2462 | 2702702.8961 | 1208561.494 | 2702704.9536 | 1208554.6135 | 2702704.5799 | 1208544.0775 | 2702705.579 | 1208530.2184 | 2702702.6238 | 1208513.278 | 2702715.5822 | 1208494.6657 | 2702719.3433 | 1208486.0022 | 2702721.4031 | 1208469.7152 | 2702727.3288 | 1208458.1091 | 2702724.6135 | 1208447.1102 | 2702721.258 | 1208429.1288 | 2702712.7457 | 1208409.0128 | 2702705.3044 | 1208399.1111 | 2702702.2794 | 1208383.5705 | 2702698.3391 | 1208368.6367 | 2702697.9884 | 1208352.7863 | 2702700.747 | 1208344.4947 | 2702709.3495 | 1208339.517 | 2702713.363 | 1208334.3046 | 2702721.0713 | 1208315.0127 | 2702724.266 | 1208312.755 | 2702725.6766 | 1208310.7668 | 2702728.9881 | 1208301.2839 | 2702729.2125 | 1208292.2259 | 2702729.0701 | 1208273.1212 | 2702731.2165 | 1208264.1741 | 2702734.6308 | 1208254.0258 | 2702743.4946 | 1208234.765 | 2702748.1681 | 1208223.4709 | 2702755.7986 | 1208210.9157 | 2702766.7872 | 1208203.3996 | 2702775.5468 | 1208197.702
39 | 2702662.5976 | 1208648.8283 | 2702666.1213 | 1208651.7354 | 2702673.6954 | 1208649.9311 | 2702687.4089 | 1208641.3166 | 2702700.6772 | 1208632.5054 | 2702707.6759 | 1208629.2346 | 2702717.8281 | 1208628.7312 | 2702723.332 | 1208630.4145
40 | 2702551.7027 | 1208757.2197 | 2702557.5103 | 1208749.3584 | 2702562.9178 | 1208745.3041 | 2702563.9682 | 1208742.5869 | 2702565.3202 | 1208741.3426 | 2702567.7806 | 1208741.5294 | 2702571.2833 | 1208741.6786 | 2702576.0773 | 1208741.0272 | 2702578.2038 | 1208742.4981 | 2702579.8785 | 1208743.2719 | 2702581.4658 | 1208742.9434 | 2702581.782 | 1208740.9141 | 2702581.284 | 1208738.4816 | 2702580.163 | 1208736.4609 | 2702580.2676 | 1208735.2397 | 2702581.8195 | 1208734.7549 | 2702587.2494 | 1208738.2395 | 2702590.2352 | 1208741.0373 | 2702594.7633 | 1208742.1381 | 2702598.0753 | 1208743.2069 | 2702603.867 | 1208746.8757 | 2702608.605 | 1208747.2685 | 2702614.4539 | 1208747.6137 | 2702619.356 | 1208749.9552 | 2702622.7838 | 1208750.0364 | 2702626.4773 | 1208748.8213 | 2702632.728 | 1208749.2402 | 2702639.3038 | 1208750.6431 | 2702644.978 | 1208751.4191 | 2702652.0584 | 1208750.0176 | 2702654.1953 | 1208748.2309 | 2702658.2186 | 1208746.8547 | 2702668.5475 | 1208743.1409 | 2702679.2799 | 1208739.4007 | 2702690.266 | 1208735.0533 | 2702694.3147 | 1208734.4114 | 2702701.1438 | 1208731.7048 | 2702706.2146 | 1208726.8999 | 2702719.7836 | 1208716.0703 | 2702734.2209 | 1208710.4593 | 2702739.4589 | 1208707.4251 | 2702752.7911 | 1208702.8514 | 2702763.0207 | 1208695.2 | 2702764.6402 | 1208689.4683 | 2702763.1743 | 1208679.2248 | 2702763.2107 | 1208668.2845 | 2702761.536 | 1208661.7733 | 2702755.5606 | 1208653.3201 | 2702749.0955 | 1208648.5722 | 2702733.5811 | 1208640.7774 | 2702731.1558 | 1208637.6668 | 2702728.1529 | 1208631.8889 | 2702723.332 | 1208630.4145
41 | 2702551.7027 | 1208757.2197 | 2702243.5489 | 1209001.1583
42 | 2702243.5489 | 1209001.1583 | 2702243.5156 | 1209006.6504 | 2702253.7591 | 1209035.8129 | 2702261.8088 | 1209077.6244 | 2702266.4843 | 1209090.5135

## bus_geodata
| x | y | coords
0 | 2702255.5914 | 1207740.1829
1 | 2702276.0648 | 1207764.5549
2 | 2702216.8487 | 1207743.4926
3 | 2702551.3241 | 1207866.3704
4 | 2702260.8193 | 1207777.9094
5 | 2702217.804 | 1207701.0573
6 | 2702537.9172 | 1207826.6831
7 | 2702257.6491 | 1207780.6863
8 | 2702207.2872 | 1207789.3274
9 | 2702222.4641 | 1207785.3415
10 | 2702120.9206 | 1207834.514
11 | 2702190.2003 | 1207662.7359
12 | 2702792.0354 | 1207716.7417
13 | 2702590.2081 | 1207567.4084
14 | 2702544.5896 | 1207795.3943
15 | 2702248.1153 | 1207789.0375
16 | 2702103.2757 | 1207861.7284
17 | 2702272.8789 | 1207855.0076
18 | 2702255.6571 | 1207822.4655
19 | 2702397.1755 | 1207978.4021
20 | 2702772.4469 | 1207551.343
21 | 2702769.6795 | 1207557.4663
22 | 2702767.4478 | 1207541.7725
23 | 2702713.5573 | 1207468.4385
24 | 2702715.8388 | 1207582.4014
25 | 2702728.02 | 1207448.7181
26 | 2702673.6213 | 1207551.7072
27 | 2702447.7888 | 1207411.343
28 | 2702433.6633 | 1207437.6078
29 | 2702366.099 | 1207297.0482
30 | 2702257.2093 | 1207814.4109
31 | 2702434.5721 | 1207490.9827
32 | 2702096.144 | 1207872.7278
33 | 2702431.3309 | 1208082.0625
34 | 2702752.4391 | 1208148.5811
35 | 2702777.533 | 1208180.1335
36 | 2702778.2323 | 1208183.6771
37 | 2702775.5468 | 1208197.702
38 | 2702793.9288 | 1208234.1996
39 | 2702662.5976 | 1208648.8283
40 | 2702723.332 | 1208630.4145
41 | 2702551.7027 | 1208757.2197
42 | 2702266.4843 | 1209090.5135
43 | 2702243.5489 | 1209001.1583
44 | 2702591.5667 | 1207604.7133

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98012 | -0.1411 | 0.0047726 | 0.0011961
1 | 0.98043 | -0.13892 | 0 | 0
2 | 0.98003 | -0.14177 | 0 | 0
3 | 0.98959 | -0.073305 | 0 | 0
4 | 0.98004 | -0.14174 | 0.004088 | 0.0010246
5 | 0.97994 | -0.14245 | 0 | 0
6 | 0.99062 | -0.066004 | 0.0021894 | 0.00054871
7 | 0.97997 | -0.14226 | 0.0030671 | 0.0007687
8 | 0.97924 | -0.14748 | 0 | 0
9 | 0.97939 | -0.14644 | 0.0032808 | 0.00082224
10 | 0.97813 | -0.15542 | 0 | 0
11 | 0.97983 | -0.14323 | 0.0015274 | 0.0003828
12 | 0.99973 | -0.0018986 | 0.00072702 | 0.00018221
13 | 1 | 0 | -0.12614 | -0.0316
14 | 0.99136 | -0.060716 | 0 | 0
15 | 0.97977 | -0.14371 | 0 | 0
16 | 0.97783 | -0.15758 | 0.0030919 | 0.0007749
17 | 0.97918 | -0.14801 | 0 | 0
18 | 0.9794 | -0.14642 | 0.004854 | 0.0012165
19 | 0.97804 | -0.15649 | 0 | 0
20 | 0.97699 | -0.16127 | 0.011909 | 0.0029847
21 | 0.97669 | -0.16346 | 0.030773 | 0.0077124
22 | 0.97767 | -0.15641 | 0 | 0
23 | 0.97668 | -0.16357 | 0 | 0
24 | 0.98438 | -0.10874 | 0 | 0
25 | 0.97641 | -0.16548 | 0.0074482 | 0.0018667
26 | 0.98362 | -0.11417 | 0.0099267 | 0.0024879
27 | 0.99563 | -0.030679 | 0 | 0
28 | 0.99527 | -0.033172 | 0.0027086 | 0.00067884
29 | 0.99444 | -0.038992 | 0.0057879 | 0.0014506
30 | 0.97946 | -0.14594 | 0.0063038 | 0.0015799
31 | 0.99484 | -0.036238 | 0.0055841 | 0.0013995
32 | 0.97777 | -0.15803 | 0.003288 | 0.00082405
33 | 0.97713 | -0.16302 | 0.0038083 | 0.00095445
34 | 0.97652 | -0.16795 | 0 | 0
35 | 0.97636 | -0.16911 | 0.0013037 | 0.00032674
36 | 0.97635 | -0.1692 | 0.0024005 | 0.00060162
37 | 0.97632 | -0.16942 | 0 | 0
38 | 0.97623 | -0.1701 | 0.0011713 | 0.00029355
39 | 0.9756 | -0.175 | 0 | 0
40 | 0.97551 | -0.17574 | 0.0020739 | 0.00051976
41 | 0.97537 | -0.17686 | 0 | 0
42 | 0.97475 | -0.1814 | 0.00086875 | 0.00021773
43 | 0.97487 | -0.18055 | 0 | 0
44 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0063005 | -0.0015774 | 0.0063024 | 0.0015777 | 1.8972e-06 | 3.1072e-07 | 0.0095648 | 0.0095646 | 0.0095648 | 0.98012 | -0.1411 | 0.98043 | -0.13892 | 3.5425
1 | 0.0015278 | 0.00038129 | -0.0015277 | -0.00038176 | 1.4027e-07 | -4.7279e-07 | 0.002319 | 0.0023192 | 0.0023192 | 0.98012 | -0.1411 | 0.98003 | -0.14177 | 0.85895
2 | -0.045984 | -0.011459 | 0.0464 | 0.011604 | 0.00041635 | 0.00014443 | 0.069767 | 0.069761 | 0.069767 | 0.98043 | -0.13892 | 0.98959 | -0.073305 | 8.6132
3 | 0.039681 | 0.0098815 | -0.039666 | -0.0098764 | 1.5279e-05 | 5.11e-06 | 0.060202 | 0.060203 | 0.060203 | 0.98043 | -0.13892 | 0.98004 | -0.14174 | 7.4324
4 | 0.0015277 | 0.00038176 | -0.0015276 | -0.00038225 | 1.4294e-07 | -4.8157e-07 | 0.0023192 | 0.0023194 | 0.0023194 | 0.98003 | -0.14177 | 0.97994 | -0.14245 | 0.85902
5 | -0.0464 | -0.011604 | 0.046447 | 0.01162 | 4.6735e-05 | 1.6194e-05 | 0.069761 | 0.069761 | 0.069761 | 0.98959 | -0.073305 | 0.99062 | -0.066004 | 8.6125
6 | 0.035578 | 0.0088518 | -0.035575 | -0.008851 | 2.5558e-06 | 8.2368e-07 | 0.053996 | 0.053996 | 0.053996 | 0.98004 | -0.14174 | 0.97997 | -0.14226 | 6.6661
7 | 0.0015276 | 0.00038225 | -0.0015274 | -0.0003828 | 1.6459e-07 | -5.5428e-07 | 0.0023194 | 0.0023196 | 0.0023196 | 0.97994 | -0.14245 | 0.97983 | -0.14323 | 0.8591
8 | -0.048636 | -0.012169 | 0.048672 | 0.012181 | 3.5509e-05 | 1.2421e-05 | 0.07305 | 0.073049 | 0.07305 | 0.99062 | -0.066004 | 0.99136 | -0.060716 | 9.0185
9 | 0.032508 | 0.0080823 | -0.032502 | -0.0080803 | 6.4174e-06 | 1.9893e-06 | 0.049339 | 0.049339 | 0.049339 | 0.97997 | -0.14226 | 0.97977 | -0.14371 | 6.0912
10 | -0.006389 | -0.0016004 | 0.0063899 | 0.0016005 | 9.2283e-07 | 1.575e-07 | 0.0097082 | 0.0097081 | 0.0097082 | 0.97924 | -0.14748 | 0.97939 | -0.14644 | 3.5956
11 | 0.006389 | 0.0016004 | -0.006382 | -0.0015992 | 7.0083e-06 | 1.1981e-06 | 0.0097082 | 0.0097087 | 0.0097087 | 0.97924 | -0.14748 | 0.97813 | -0.15542 | 3.5958
12 | -0.0096707 | -0.0024228 | 0.0096743 | 0.0024238 | 3.6474e-06 | 1.062e-06 | 0.014693 | 0.014693 | 0.014693 | 0.97939 | -0.14644 | 0.97977 | -0.14371 | 5.4417
13 | 0.006382 | 0.0015992 | -0.0063801 | -0.0015989 | 1.9077e-06 | 3.2676e-07 | 0.0097087 | 0.0097088 | 0.0097088 | 0.97813 | -0.15542 | 0.97783 | -0.15758 | 3.5959
14 | -0.00072702 | -0.00018221 | 0.00072721 | 0.00017891 | 1.8769e-07 | -3.3005e-06 | 0.0010821 | 0.0010809 | 0.0010821 | 0.99973 | -0.0018986 | 1 | 0 | 0.40078
15 | 0.049083 | 0.012325 | -0.048672 | -0.012181 | 0.00041103 | 0.00014364 | 0.073044 | 0.073049 | 0.073049 | 1 | 0 | 0.99136 | -0.060716 | 9.0184
16 | 0.014153 | 0.0035508 | -0.014093 | -0.0035306 | 6.0022e-05 | 2.0253e-05 | 0.021061 | 0.021062 | 0.021062 | 1 | 0 | 0.99563 | -0.030679 | 7.8006
17 | 0.061375 | 0.015546 | -0.060446 | -0.015198 | 0.00092976 | 0.00034838 | 0.091385 | 0.091389 | 0.091389 | 1 | 0 | 0.98438 | -0.10874 | 16.9238
18 | 0.022828 | 0.0056565 | -0.022821 | -0.0056549 | 6.8767e-06 | 1.6046e-06 | 0.034646 | 0.034647 | 0.034647 | 0.97977 | -0.14371 | 0.97946 | -0.14594 | 4.2774
19 | 0.0032882 | 0.00082396 | -0.003288 | -0.00082405 | 2.0481e-07 | -8.5656e-08 | 0.0050038 | 0.0050038 | 0.0050038 | 0.97783 | -0.15758 | 0.97777 | -0.15803 | 1.8533
20 | -0.011659 | -0.0028589 | 0.011662 | 0.0028584 | 2.4601e-06 | -4.7947e-07 | 0.017696 | 0.017695 | 0.017696 | 0.97918 | -0.14801 | 0.9794 | -0.14642 | 2.1847
21 | 0.011659 | 0.0028589 | -0.011646 | -0.0028614 | 1.3134e-05 | -2.5479e-06 | 0.017696 | 0.017698 | 0.017698 | 0.97918 | -0.14801 | 0.97804 | -0.15649 | 2.185
22 | -0.016516 | -0.0040749 | 0.016517 | 0.004075 | 1.0742e-06 | 1.0292e-07 | 0.02507 | 0.02507 | 0.02507 | 0.9794 | -0.14642 | 0.97946 | -0.14594 | 3.0951
23 | 0.0078345 | 0.0019077 | -0.0078226 | -0.0019182 | 1.1829e-05 | -1.054e-05 | 0.0119 | 0.011905 | 0.011905 | 0.97804 | -0.15649 | 0.97652 | -0.16795 | 1.4698
24 | 0.0038118 | 0.00095372 | -0.0038083 | -0.00095445 | 3.4412e-06 | -7.3248e-07 | 0.0057987 | 0.0057995 | 0.0057995 | 0.97804 | -0.15649 | 0.97713 | -0.16302 | 2.1479
25 | 0.030782 | 0.0077159 | -0.030773 | -0.0077124 | 9.3257e-06 | 3.5017e-06 | 0.046884 | 0.046884 | 0.046884 | 0.97699 | -0.16127 | 0.97669 | -0.16346 | 17.3643
26 | -0.042692 | -0.010701 | 0.04272 | 0.010712 | 2.8768e-05 | 1.0928e-05 | 0.065022 | 0.065022 | 0.065022 | 0.97699 | -0.16127 | 0.97767 | -0.15641 | 24.0822
27 | 0.0074575 | 0.0018688 | -0.0074501 | -0.0018671 | 7.3852e-06 | 1.6897e-06 | 0.01135 | 0.011351 | 0.011351 | 0.97767 | -0.15641 | 0.97668 | -0.16357 | 4.2039
28 | -0.050178 | -0.01258 | 0.050511 | 0.012708 | 0.0003336 | 0.00012715 | 0.076372 | 0.076372 | 0.076372 | 0.97767 | -0.15641 | 0.98438 | -0.10874 | 28.286
29 | 0.0074501 | 0.0018671 | -0.0074482 | -0.0018667 | 1.975e-06 | 4.5226e-07 | 0.011351 | 0.011351 | 0.011351 | 0.97668 | -0.16357 | 0.97641 | -0.16548 | 4.204
30 | 0.0099342 | 0.0024901 | -0.0099267 | -0.0024879 | 7.4605e-06 | 2.196e-06 | 0.015017 | 0.015017 | 0.015017 | 0.98438 | -0.10874 | 0.98362 | -0.11417 | 5.5619
31 | 0.0082979 | 0.0020793 | -0.008295 | -0.0020785 | 2.8621e-06 | 7.131e-07 | 0.012402 | 0.012402 | 0.012402 | 0.99563 | -0.030679 | 0.99527 | -0.033172 | 4.5932
32 | 0.0057946 | 0.0014513 | -0.0057879 | -0.0014506 | 6.6609e-06 | 7.1319e-07 | 0.00866 | 0.0086607 | 0.0086607 | 0.99563 | -0.030679 | 0.99444 | -0.038992 | 3.2077
33 | 0.0055865 | 0.0013997 | -0.0055841 | -0.0013995 | 2.3705e-06 | 2.0434e-07 | 0.0083521 | 0.0083523 | 0.0083523 | 0.99527 | -0.033172 | 0.99484 | -0.036238 | 3.0935
34 | 0.0078226 | 0.0019182 | -0.0078214 | -0.0019193 | 1.2101e-06 | -1.0749e-06 | 0.011905 | 0.011906 | 0.011906 | 0.97652 | -0.16795 | 0.97636 | -0.16911 | 1.4698
35 | 0.0065177 | 0.0015926 | -0.0065176 | -0.0015927 | 7.3954e-08 | -1.0715e-07 | 0.0099187 | 0.0099188 | 0.0099188 | 0.97636 | -0.16911 | 0.97635 | -0.1692 | 1.2245
36 | 0.0041172 | 0.00099107 | -0.0041171 | -0.00099156 | 1.1641e-07 | -4.9096e-07 | 0.0062604 | 0.0062606 | 0.0062606 | 0.97635 | -0.1692 | 0.97632 | -0.16942 | 0.77291
37 | 0.0011714 | 0.0002929 | -0.0011713 | -0.00029355 | 1.1068e-07 | -6.5338e-07 | 0.0017851 | 0.0017853 | 0.0017853 | 0.97632 | -0.16942 | 0.97623 | -0.1701 | 0.66123
38 | 0.0029457 | 0.00069866 | -0.0029436 | -0.00071676 | 2.1041e-06 | -1.8095e-05 | 0.0044756 | 0.0044821 | 0.0044821 | 0.97632 | -0.16942 | 0.9756 | -0.175 | 0.55335
39 | 0.0029436 | 0.00071676 | -0.0029433 | -0.0007192 | 2.8471e-07 | -2.4421e-06 | 0.0044821 | 0.004483 | 0.004483 | 0.9756 | -0.175 | 0.97551 | -0.17574 | 0.55346
40 | 0.0008694 | 0.00019944 | -0.00086928 | -0.00021188 | 1.2113e-07 | -1.2434e-05 | 0.0013198 | 0.001324 | 0.001324 | 0.97551 | -0.17574 | 0.97537 | -0.17686 | 0.16346
41 | 0.00086928 | 0.00021188 | -0.00086885 | -0.00021661 | 4.305e-07 | -4.7372e-06 | 0.001324 | 0.0013258 | 0.0013258 | 0.97537 | -0.17686 | 0.97487 | -0.18055 | 0.49103
42 | -0.00086875 | -0.00021773 | 0.00086885 | 0.00021661 | 1.017e-07 | -1.1164e-06 | 0.0013262 | 0.0013258 | 0.0013262 | 0.97475 | -0.1814 | 0.97487 | -0.18055 | 0.49119

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.12614 | 0.0316

## res_load
| p_mw | q_mvar
0 | 0.0047726 | 0.0011961
1 | 0.004088 | 0.0010246
2 | 0.0021894 | 0.00054871
3 | 0.0030671 | 0.0007687
4 | 0.0032808 | 0.00082224
5 | 0.0015274 | 0.0003828
6 | 0.00072702 | 0.00018221
7 | 0.0030919 | 0.0007749
8 | 0.004854 | 0.0012165
9 | 0.011909 | 0.0029847
10 | 0.030773 | 0.0077124
11 | 0.0074482 | 0.0018667
12 | 0.0099267 | 0.0024879
13 | 0.0027086 | 0.00067884
14 | 0.0057879 | 0.0014506
15 | 0.0063038 | 0.0015799
16 | 0.0055841 | 0.0013995
17 | 0.003288 | 0.00082405
18 | 0.0038083 | 0.00095445
19 | 0.0013037 | 0.00032674
20 | 0.0024005 | 0.00060162
21 | 0.0011713 | 0.00029355
22 | 0.0020739 | 0.00051976
23 | 0.00086875 | 0.00021773

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1