## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1368-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1368-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1368-8_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1368-8_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1368-8_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1368-8_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1368-8_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1368-8_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1368-8_0_3_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_1368-8_0_3_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_1368-8_0_3_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_1368-8_0_3_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_1368-8_0_3_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_1368-8_0_3_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_1368-8_0_3_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_1368-8_0_3_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_1368-8_0_3_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_1368-8_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1368-8_0_3_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_1368-8_0_3_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_1368-8_0_3_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_1368-8_0_3_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_1368-8_0_3_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_1368-8_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_1368-8_0_3_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_1368-8_0_3_node_81 | 0.4 | n |  | TRUE
26 | bus_LV_1368-8_0_3_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_1368-8_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_1368-8_0_3_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_1368-8_0_3_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_1368-8_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_1368-8_0_3_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_1368-8_0_3_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_1368-8_0_3_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_1368-8_0_3_node_72 | 0.4 | n |  | TRUE
35 | bus_LV_1368-8_0_3_node_73 | 0.4 | n |  | TRUE
36 | bus_LV_1368-8_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_1368-8_0_3_node_79 | 0.4 | n |  | TRUE
38 | bus_LV_1368-8_0_3_node_77 | 0.4 | n |  | TRUE
39 | bus_LV_1368-8_0_3_node_78 | 0.4 | n |  | TRUE
40 | bus_LV_1368-8_0_3_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_1368-8_0_3_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_1368-8_0_3_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_1368-8_0_3_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_1368-8_0_3_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_1368-8_0_3_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_1368-8_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_1368-8_0_3_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_1368-8_0_3_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_1368-8_0_3_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_1368-8_0_3_node_61 | 0.4 | n |  | TRUE
51 | bus_LV_1368-8_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_1368-8_0_3_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_1368-8_0_3_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_1368-8_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_1368-8_0_3_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_1368-8_0_3_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_1368-8_0_3_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_1368-8_0_3_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_1368-8_0_3_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_1368-8_0_3_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_1368-8_0_3_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_1368-8_0_3_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_1368-8_0_3_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_1368-8_0_3_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_1368-8_0_3_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_1368-8_0_3_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_1368-8_0_3_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_1368-8_0_3_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_1368-8_0_3_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_1368-8_0_3_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_1368-8_0_3_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_1368-8_0_3_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_1368-8_0_3_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_1368-8_0_3_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_1368-8_0_3_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_1368-8_0_3_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_1368-8_0_3_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_1368-8_0_3_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_1368-8_0_3_node_80 | 0.4 | n |  | TRUE
80 | bus_MV_135_0_node_18 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1368-8_0_3_load_0 | 0 | 0.0022223 | 0.00055695 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1368-8_0_3_load_1 | 1 | 0.0018973 | 0.00047551 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1368-8_0_3_load_6 | 6 | 0.0023395 | 0.00058632 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1368-8_0_3_load_18 | 8 | 0.02191 | 0.0054913 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1368-8_0_3_load_12 | 10 | 0.0019055 | 0.00047757 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1368-8_0_3_load_27 | 11 | 0.0075515 | 0.0018926 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1368-8_0_3_load_35 | 12 | 0.0014017 | 0.0003513 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1368-8_0_3_load_39 | 13 | 0.0052395 | 0.0013132 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1368-8_0_3_load_17 | 15 | 0.0030712 | 0.00076972 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1368-8_0_3_load_14 | 17 | 0.014164 | 0.0035498 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1368-8_0_3_load_28 | 18 | 0.0084345 | 0.0021139 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1368-8_0_3_load_33 | 19 | 0.0021297 | 0.00053376 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1368-8_0_3_load_38 | 20 | 0.0052245 | 0.0013094 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1368-8_0_3_load_8 | 21 | 0.002726 | 0.00068321 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1368-8_0_3_load_9 | 22 | 0.0012998 | 0.00032577 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1368-8_0_3_load_45 | 24 | 0.00029037 | 7.2773e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1368-8_0_3_load_81 | 25 | 0.00040409 | 0.00010128 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1368-8_0_3_load_44 | 26 | 0.00018564 | 4.6527e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1368-8_0_3_load_19 | 28 | 0.0036418 | 0.00091271 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1368-8_0_3_load_20 | 29 | 0.0023807 | 0.00059666 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1368-8_0_3_load_26 | 30 | 0.0028172 | 0.00070606 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1368-8_0_3_load_23 | 31 | 0.017799 | 0.0044609 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1368-8_0_3_load_21 | 32 | 0.00163 | 0.00040851 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1368-8_0_3_load_22 | 33 | 0.0036363 | 0.00091133 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1368-8_0_3_load_72 | 34 | 0.0012244 | 0.00030686 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1368-8_0_3_load_73 | 35 | 0.0013163 | 0.00032988 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1368-8_0_3_load_24 | 36 | 0.0061198 | 0.0015338 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1368-8_0_3_load_79 | 37 | 0.0022144 | 0.00055498 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1368-8_0_3_load_78 | 39 | 0.0069153 | 0.0017331 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1368-8_0_3_load_29 | 40 | 0.0019093 | 0.00047851 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1368-8_0_3_load_30 | 41 | 0.0050062 | 0.0012547 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1368-8_0_3_load_32 | 43 | 0.0038963 | 0.00097651 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1368-8_0_3_load_34 | 44 | 0.0013574 | 0.0003402 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1368-8_0_3_load_36 | 45 | 0.0019663 | 0.00049281 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1368-8_0_3_load_48 | 47 | 0.00017513 | 4.3891e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1368-8_0_3_load_60 | 48 | 0.0028325 | 0.00070989 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1368-8_0_3_load_61 | 50 | 0.0027031 | 0.00067747 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1368-8_0_3_load_40 | 51 | 0.0004036 | 0.00010115 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1368-8_0_3_load_41 | 52 | 0.00033159 | 8.3105e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1368-8_0_3_load_42 | 53 | 0.00047568 | 0.00011922 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1368-8_0_3_load_46 | 54 | 0.0027739 | 0.00069519 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1368-8_0_3_load_47 | 55 | 0.0042174 | 0.001057 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1368-8_0_3_load_49 | 56 | 0.002718 | 0.00068119 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1368-8_0_3_load_53 | 57 | 0.0030216 | 0.00075728 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1368-8_0_3_load_54 | 58 | 0.0017443 | 0.00043717 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1368-8_0_3_load_51 | 61 | 0.0034003 | 0.0008522 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1368-8_0_3_load_52 | 62 | 0.0023239 | 0.00058242 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1368-8_0_3_load_66 | 64 | 0.0024991 | 0.00062633 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1368-8_0_3_load_59 | 65 | 0.002425 | 0.00060776 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1368-8_0_3_load_63 | 66 | 0.0010304 | 0.00025824 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1368-8_0_3_load_55 | 67 | 0.0048932 | 0.0012264 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1368-8_0_3_load_56 | 68 | 0.0023168 | 0.00058065 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1368-8_0_3_load_57 | 69 | 0.0049553 | 0.0012419 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1368-8_0_3_load_58 | 70 | 0.0026828 | 0.00067239 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1368-8_0_3_load_67 | 73 | 0.0019311 | 0.00048397 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1368-8_0_3_load_68 | 74 | 0.0013389 | 0.00033556 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1368-8_0_3_load_69 | 75 | 0.002558 | 0.00064109 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1368-8_0_3_load_74 | 76 | 0.00262 | 0.00065663 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1368-8_0_3_load_75 | 77 | 0.0030844 | 0.00077303 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1368-8_0_3_load_76 | 78 | 0.0051425 | 0.0012888 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1368-8_0_3_load_80 | 79 | 0.0062252 | 0.0015602 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1368-8_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_1368-8_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.029561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_1368-8_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.052252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_1368-8_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.028932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1368-8_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.013757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1368-8_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.012828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_1368-8_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.012824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1368-8_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.078187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1368-8_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.026184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1368-8_0_3_line_9 | NAYY 4x150 SE | 5 | 10 | 0.035607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1368-8_0_3_line_10 | NAYY 4x150 SE | 6 | 11 | 0.058667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1368-8_0_3_line_11 | NAYY 4x150 SE | 7 | 12 | 0.019877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1368-8_0_3_line_12 | NAYY 4x150 SE | 7 | 13 | 0.046807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1368-8_0_3_line_13 | NAYY 4x150 SE | 8 | 14 | 0.010388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1368-8_0_3_line_14 | NAYY 4x150 SE | 9 | 17 | 0.031292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1368-8_0_3_line_15 | NAYY 4x150 SE | 11 | 18 | 0.0087936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1368-8_0_3_line_16 | NAYY 4x150 SE | 12 | 19 | 0.0084397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1368-8_0_3_line_17 | NAYY 4x150 SE | 13 | 20 | 0.0064615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1368-8_0_3_line_18 | NAYY 4x150 SE | 14 | 30 | 0.027208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1368-8_0_3_line_19 | NAYY 4x150 SE | 14 | 31 | 0.032272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1368-8_0_3_line_20 | NAYY 4x150 SE | 15 | 16 | 0.02099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1368-8_0_3_line_21 | NAYY 4x150 SE | 16 | 28 | 0.019427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1368-8_0_3_line_22 | NAYY 4x150 SE | 16 | 27 | 0.010265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1368-8_0_3_line_23 | NAYY 4x150 SE | 17 | 27 | 0.013936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1368-8_0_3_line_24 | NAYY 4x150 SE | 18 | 40 | 0.027776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1368-8_0_3_line_25 | NAYY 4x150 SE | 19 | 44 | 0.0054087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1368-8_0_3_line_26 | NAYY 4x150 SE | 20 | 51 | 0.013039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1368-8_0_3_line_27 | NAYY 4x150 SE | 21 | 22 | 0.014117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1368-8_0_3_line_28 | NAYY 4x150 SE | 21 | 23 | 0.076351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1368-8_0_3_line_29 | NAYY 4x150 SE | 22 | 24 | 0.21972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1368-8_0_3_line_30 | NAYY 4x150 SE | 23 | 25 | 0.048818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1368-8_0_3_line_31 | NAYY 4x150 SE | 24 | 26 | 0.053192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1368-8_0_3_line_32 | NAYY 4x150 SE | 26 | 58 | 0.12793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1368-8_0_3_line_33 | NAYY 4x150 SE | 28 | 29 | 0.021671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1368-8_0_3_line_34 | NAYY 4x150 SE | 29 | 32 | 0.028116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1368-8_0_3_line_35 | NAYY 4x150 SE | 30 | 38 | 0.093148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1368-8_0_3_line_36 | NAYY 4x150 SE | 31 | 36 | 0.0222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1368-8_0_3_line_37 | NAYY 4x150 SE | 32 | 33 | 0.0020032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1368-8_0_3_line_38 | NAYY 4x150 SE | 33 | 34 | 0.019971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1368-8_0_3_line_39 | NAYY 4x150 SE | 34 | 35 | 0.00031368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1368-8_0_3_line_40 | NAYY 4x150 SE | 35 | 76 | 0.00058674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1368-8_0_3_line_41 | NAYY 4x150 SE | 37 | 38 | 0.034528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1368-8_0_3_line_42 | NAYY 4x150 SE | 38 | 39 | 0.026936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1368-8_0_3_line_43 | NAYY 4x150 SE | 40 | 41 | 0.016099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1368-8_0_3_line_44 | NAYY 4x150 SE | 41 | 42 | 0.03867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1368-8_0_3_line_45 | NAYY 4x150 SE | 42 | 43 | 0.013698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1368-8_0_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.015778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1368-8_0_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.0074017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1368-8_0_3_line_48 | NAYY 4x150 SE | 46 | 47 | 0.028091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1368-8_0_3_line_49 | NAYY 4x150 SE | 46 | 48 | 0.024022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1368-8_0_3_line_50 | NAYY 4x150 SE | 47 | 49 | 0.01685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1368-8_0_3_line_51 | NAYY 4x150 SE | 48 | 50 | 0.027101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1368-8_0_3_line_52 | NAYY 4x150 SE | 49 | 54 | 0.013527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1368-8_0_3_line_53 | NAYY 4x150 SE | 49 | 55 | 0.036973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1368-8_0_3_line_54 | NAYY 4x150 SE | 49 | 53 | 0.022708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1368-8_0_3_line_55 | NAYY 4x150 SE | 50 | 61 | 0.021433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1368-8_0_3_line_56 | NAYY 4x150 SE | 51 | 52 | 0.043874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1368-8_0_3_line_57 | NAYY 4x150 SE | 54 | 56 | 0.0091992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1368-8_0_3_line_58 | NAYY 4x150 SE | 55 | 57 | 0.017357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1368-8_0_3_line_59 | NAYY 4x150 SE | 58 | 59 | 0.086815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1368-8_0_3_line_60 | NAYY 4x150 SE | 59 | 66 | 0.039926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1368-8_0_3_line_61 | NAYY 4x150 SE | 60 | 61 | 0.008922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1368-8_0_3_line_62 | NAYY 4x150 SE | 60 | 62 | 0.0048704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1368-8_0_3_line_63 | NAYY 4x150 SE | 62 | 63 | 0.0095144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1368-8_0_3_line_64 | NAYY 4x150 SE | 63 | 64 | 0.006495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1368-8_0_3_line_65 | NAYY 4x150 SE | 63 | 65 | 0.017176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1368-8_0_3_line_66 | NAYY 4x150 SE | 64 | 73 | 0.010151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1368-8_0_3_line_67 | NAYY 4x150 SE | 65 | 69 | 0.035407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1368-8_0_3_line_68 | NAYY 4x150 SE | 66 | 71 | 0.043154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1368-8_0_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.0039331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_1368-8_0_3_line_70 | NAYY 4x150 SE | 67 | 69 | 0.0013061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_1368-8_0_3_line_71 | NAYY 4x150 SE | 68 | 70 | 0.01022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_1368-8_0_3_line_72 | NAYY 4x150 SE | 71 | 72 | 0.009438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_1368-8_0_3_line_73 | NAYY 4x150 SE | 72 | 75 | 0.0036542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_1368-8_0_3_line_74 | NAYY 4x150 SE | 73 | 74 | 0.017343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_1368-8_0_3_line_75 | NAYY 4x150 SE | 74 | 75 | 0.032049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_1368-8_0_3_line_76 | NAYY 4x150 SE | 76 | 77 | 0.020003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_1368-8_0_3_line_77 | NAYY 4x150 SE | 77 | 78 | 0.0057053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_1368-8_0_3_line_78 | NAYY 4x150 SE | 78 | 79 | 0.068749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1368-8_0_3_trafo_6 | 0.25 MVA 20/0.4 kV | 80 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2701812.8661 | 1210504.4374 | 2701804.3025 | 1210497.4925 | 2701799.4299 | 1210493.8963
1 | 2701837.9188 | 1210520.0263 | 2701817.2433 | 1210507.9873 | 2701812.8661 | 1210504.4374
2 | 2701757.0805 | 1210463.3075 | 2701768.8793 | 1210471.2476 | 2701779.9352 | 1210479.5086 | 2701799.4299 | 1210493.8963
3 | 2701837.9188 | 1210520.0263 | 2701827.8988 | 1210527.227 | 2701812.278 | 1210533.0089
4 | 2701850.3752 | 1210525.9431 | 2701837.9188 | 1210520.0263
5 | 2701757.0805 | 1210463.3075 | 2701750.3574 | 1210468.8523 | 2701746.4924 | 1210470.2613
6 | 2701746.798 | 1210455.6046 | 2701757.0805 | 1210463.3075
7 | 2701812.278 | 1210533.0089 | 2701790.4903 | 1210543.8225 | 2701770.8132 | 1210552.1149 | 2701740.9663 | 1210565.0035
8 | 2701850.3752 | 1210525.9431 | 2701861.5166 | 1210530.0806 | 2701875.12 | 1210534.705
9 | 2701850.3752 | 1210525.9431 | 2701875.1231 | 1210504.7174 | 2701877.0457 | 1210502.4104
10 | 2701689.0711 | 1210465.2289 | 2701710.2439 | 1210469.7801 | 2701727.6702 | 1210473.124 | 2701732.4458 | 1210473.4612 | 2701736.5946 | 1210473.1095 | 2701742.7237 | 1210471.6352 | 2701746.4924 | 1210470.2613
11 | 2701746.798 | 1210455.6046 | 2701743.9341 | 1210453.71 | 2701736.887 | 1210448.842 | 2701732.2874 | 1210444.8719 | 2701731.0904 | 1210443.5244
12 | 2701746.798 | 1210455.6046 | 2701750.6176 | 1210438.013 | 2701739.2301 | 1210411.5534
13 | 2701731.4293 | 1210569.1218 | 2701740.9663 | 1210565.0035
14 | 2701875.12 | 1210534.705 | 2701871.4431 | 1210546.1502 | 2701868.2391 | 1210550.821 | 2701859.647 | 1210561.3718
15 | 2701689.0711 | 1210465.2289 | 2701680.4739 | 1210463.3808
16 | 2701725.5935 | 1210437.1224 | 2701727.9243 | 1210439.9607 | 2701731.0904 | 1210443.5244
17 | 2701736.6758 | 1210405.6182 | 2701739.2301 | 1210411.5534
18 | 2701731.4293 | 1210569.1218 | 2701725.0952 | 1210572.8164 | 2701720.0907 | 1210577.4343 | 2701715.9158 | 1210583.3339 | 2701713.5496 | 1210588.6709
19 | 2701731.4293 | 1210569.1218 | 2701754.075 | 1210592.1138
20 | 2701841.5244 | 1210574.6149 | 2701827.9911 | 1210568.1127 | 2701824.9977 | 1210562.9408
21 | 2701841.5244 | 1210574.6149 | 2701840.5322 | 1210582.8593 | 2701836.3937 | 1210593.1834
22 | 2701841.5244 | 1210574.6149 | 2701847.2731 | 1210573.6012 | 2701851.6295 | 1210572.6638
23 | 2701851.6295 | 1210572.6638 | 2701853.1377 | 1210569.365 | 2701859.647 | 1210561.3718
24 | 2701653.318 | 1210457.5435 | 2701680.4739 | 1210463.3808
25 | 2701725.5935 | 1210437.1224 | 2701725.035 | 1210436.4423 | 2701722.5224 | 1210432.6746 | 2701722.5224 | 1210432.6746
26 | 2701736.6758 | 1210405.6182 | 2701731.5211 | 1210393.6411
27 | 2701983.9912 | 1210157.5791 | 2701998.084 | 1210156.7528
28 | 2702029.0319 | 1210086.9553 | 2701998.084 | 1210156.7528
29 | 2701764.2666 | 1210157.2842 | 2701983.9912 | 1210157.5791
30 | 2702029.0319 | 1210086.9553 | 2702049.4671 | 1210085.1146 | 2702064.2726 | 1210089.7377 | 2702074.3282 | 1210097.8376
31 | 2701757.7495 | 1210209.4762 | 2701758.8106 | 1210207.8142 | 2701760.2637 | 1210202.4019 | 2701762.2017 | 1210193.5176 | 2701765.2125 | 1210172.5544 | 2701765.2185 | 1210163.2925 | 2701764.2666 | 1210157.2842
32 | 2701631.6038 | 1210230.7568 | 2701757.7495 | 1210209.4762
33 | 2701836.3937 | 1210593.1834 | 2701828.3302 | 1210613.2987
34 | 2701828.6855 | 1210640.2042 | 2701827.4473 | 1210637.7854 | 2701824.8551 | 1210628.4458 | 2701825.6138 | 1210620.0751 | 2701828.3302 | 1210613.2987
35 | 2701713.5496 | 1210588.6709 | 2701703.55 | 1210681.2804
36 | 2701754.075 | 1210592.1138 | 2701762.1162 | 1210600.2779 | 2701767.4856 | 1210604.1166 | 2701771.188 | 1210605.9705
37 | 2701829.5983 | 1210641.9874 | 2701828.6855 | 1210640.2042
38 | 2701829.5983 | 1210641.9874 | 2701838.6988 | 1210659.7644
39 | 2701838.8418 | 1210660.0436 | 2701838.6988 | 1210659.7644
40 | 2701839.1092 | 1210660.5659 | 2701838.8418 | 1210660.0436
41 | 2701703.55 | 1210681.2804 | 2701707.9446 | 1210685.2247 | 2701712.1246 | 1210691.0556 | 2701716.0563 | 1210698.072 | 2701718.0642 | 1210704.6886 | 2701718.5462 | 1210708.5106 | 2701718.4562 | 1210711.1477
42 | 2701703.55 | 1210681.2804 | 2701695.8746 | 1210690.089 | 2701692.7207 | 1210693.1708 | 2701688.3923 | 1210696.0434 | 2701683.23 | 1210698.3348
43 | 2701653.318 | 1210457.5435 | 2701637.5785 | 1210454.1601
44 | 2701600.0839 | 1210444.7859 | 2701615.832 | 1210449.3684 | 2701632.7119 | 1210453.114 | 2701637.5785 | 1210454.1601
45 | 2701600.0839 | 1210444.7859 | 2701593.5077 | 1210456.8024
46 | 2701722.5224 | 1210432.6746 | 2701718.748 | 1210425.7833 | 2701715.2892 | 1210420.4428 | 2701714.2761 | 1210419.2585
47 | 2701708.9967 | 1210414.1089 | 2701712.0173 | 1210416.6177 | 2701714.2761 | 1210419.2585
48 | 2701708.9967 | 1210414.1089 | 2701711.2459 | 1210406.5864 | 2701708.1593 | 1210397.6943 | 2701703.2823 | 1210388.0279
49 | 2701708.9967 | 1210414.1089 | 2701706.8459 | 1210412.7491 | 2701703.1909 | 1210410.8855 | 2701699.076 | 1210409.6923 | 2701693.3851 | 1210408.6501 | 2701686.0865 | 1210408.3395
50 | 2701693.2045 | 1210374.6677 | 2701696.6178 | 1210377.7725 | 2701702.8799 | 1210387.2303 | 2701703.2823 | 1210388.0279
51 | 2701686.0865 | 1210408.3395 | 2701659.0099 | 1210407.187
52 | 2701693.2045 | 1210374.6677 | 2701686.6435 | 1210376.9464 | 2701683.0386 | 1210379.2755 | 2701681.0193 | 1210380.3546
53 | 2701693.2045 | 1210374.6677 | 2701691.4622 | 1210370.3017 | 2701687.3438 | 1210343.9019 | 2701685.7587 | 1210338.5795
54 | 2701693.2045 | 1210374.6677 | 2701700.4425 | 1210374.5911 | 2701703.2062 | 1210374.338 | 2701707.9153 | 1210372.7838 | 2701712.456 | 1210369.5145 | 2701713.9504 | 1210367.9824
55 | 2701659.0099 | 1210407.187 | 2701656.7722 | 1210407.0918 | 2701648.309 | 1210405.9134 | 2701638.0816 | 1210402.9502
56 | 2701742.2636 | 1210355.2755 | 2701726.4391 | 1210380.4272 | 2701731.1614 | 1210392.8052 | 2701731.5211 | 1210393.6411
57 | 2701681.0193 | 1210380.3546 | 2701672.9059 | 1210384.6902
58 | 2701677.9787 | 1210323.3985 | 2701683.26 | 1210330.1894 | 2701685.7587 | 1210338.5795
59 | 2701547.3993 | 1210251.8878 | 2701631.6038 | 1210230.7568
60 | 2701547.3993 | 1210251.8878 | 2701558.5349 | 1210290.2292
61 | 2701629.512 | 1210400.4672 | 2701638.0816 | 1210402.9502
62 | 2701629.512 | 1210400.4672 | 2701625.1136 | 1210398.3758
63 | 2701616.6928 | 1210393.9555 | 2701622.1149 | 1210396.9499 | 2701625.1136 | 1210398.3758
64 | 2701616.6928 | 1210393.9555 | 2701614.5015 | 1210392.7395 | 2701611.3635 | 1210390.2769
65 | 2701616.6928 | 1210393.9555 | 2701622.4328 | 1210387.6599 | 2701626.7793 | 1210380.1732
66 | 2701603.452 | 1210383.9279 | 2701604.0447 | 1210384.5335 | 2701611.3635 | 1210390.2769
67 | 2701638.5456 | 1210346.8082 | 2701636.6634 | 1210351.0657 | 2701632.5814 | 1210364.4388 | 2701626.7793 | 1210380.1732 | 2701626.7793 | 1210380.1732
68 | 2701570.571 | 1210331.6712 | 2701558.5349 | 1210290.2292
69 | 2701639.0737 | 1210345.6136 | 2701640.6641 | 1210342.0164
70 | 2701639.0737 | 1210345.6136 | 2701638.5456 | 1210346.8082
71 | 2701645.8691 | 1210333.2212 | 2701640.6641 | 1210342.0164
72 | 2701570.571 | 1210331.6712 | 2701573.5809 | 1210340.6175
73 | 2701573.5809 | 1210340.6175 | 2701575.1438 | 1210343.9206
74 | 2701603.452 | 1210383.9279 | 2701593.1214 | 1210373.3731 | 2701591.5838 | 1210371.3085
75 | 2701591.5838 | 1210371.3085 | 2701586.1432 | 1210364.0033 | 2701580.2212 | 1210354.6515 | 2701575.1438 | 1210343.9206
76 | 2701848.2242 | 1210678.3712 | 2701839.1092 | 1210660.5659
77 | 2701850.824 | 1210683.4497 | 2701848.2242 | 1210678.3712
78 | 2701850.824 | 1210683.4497 | 2701916.489 | 1210663.0901

## bus_geodata
| x | y | coords
0 | 2701812.8661 | 1210504.4374
1 | 2701799.4299 | 1210493.8963
2 | 2701837.9188 | 1210520.0263
3 | 2701757.0805 | 1210463.3075
4 | 2701812.278 | 1210533.0089
5 | 2701850.3752 | 1210525.9431
6 | 2701746.4924 | 1210470.2613
7 | 2701746.798 | 1210455.6046
8 | 2701740.9663 | 1210565.0035
9 | 2701875.12 | 1210534.705
10 | 2701877.0457 | 1210502.4104
11 | 2701689.0711 | 1210465.2289
12 | 2701731.0904 | 1210443.5244
13 | 2701739.2301 | 1210411.5534
14 | 2701731.4293 | 1210569.1218
15 | 2701824.9977 | 1210562.9408
16 | 2701841.5244 | 1210574.6149
17 | 2701859.647 | 1210561.3718
18 | 2701680.4739 | 1210463.3808
19 | 2701725.5935 | 1210437.1224
20 | 2701736.6758 | 1210405.6182
21 | 2701998.084 | 1210156.7528
22 | 2701983.9912 | 1210157.5791
23 | 2702029.0319 | 1210086.9553
24 | 2701764.2666 | 1210157.2842
25 | 2702074.3282 | 1210097.8376
26 | 2701757.7495 | 1210209.4762
27 | 2701851.6295 | 1210572.6638
28 | 2701836.3937 | 1210593.1834
29 | 2701828.3302 | 1210613.2987
30 | 2701713.5496 | 1210588.6709
31 | 2701754.075 | 1210592.1137
32 | 2701828.6855 | 1210640.2042
33 | 2701829.5983 | 1210641.9874
34 | 2701838.6988 | 1210659.7644
35 | 2701838.8418 | 1210660.0436
36 | 2701771.188 | 1210605.9705
37 | 2701718.4562 | 1210711.1477
38 | 2701703.55 | 1210681.2804
39 | 2701683.23 | 1210698.3348
40 | 2701653.318 | 1210457.5435
41 | 2701637.5785 | 1210454.1601
42 | 2701600.0839 | 1210444.7859
43 | 2701593.5077 | 1210456.8024
44 | 2701722.5224 | 1210432.6746
45 | 2701714.2761 | 1210419.2585
46 | 2701708.9967 | 1210414.1089
47 | 2701703.2823 | 1210388.0279
48 | 2701686.0865 | 1210408.3395
49 | 2701693.2045 | 1210374.6677
50 | 2701659.0099 | 1210407.187
51 | 2701731.5211 | 1210393.6411
52 | 2701742.2636 | 1210355.2755
53 | 2701713.9504 | 1210367.9824
54 | 2701681.0193 | 1210380.3546
55 | 2701685.7587 | 1210338.5795
56 | 2701672.9059 | 1210384.6902
57 | 2701677.9787 | 1210323.3985
58 | 2701631.6038 | 1210230.7568
59 | 2701547.3993 | 1210251.8878
60 | 2701629.512 | 1210400.4672
61 | 2701638.0816 | 1210402.9502
62 | 2701625.1136 | 1210398.3758
63 | 2701616.6928 | 1210393.9555
64 | 2701611.3635 | 1210390.2769
65 | 2701626.7793 | 1210380.1732
66 | 2701558.5349 | 1210290.2292
67 | 2701639.0737 | 1210345.6136
68 | 2701640.6641 | 1210342.0164
69 | 2701638.5456 | 1210346.8082
70 | 2701645.8691 | 1210333.2212
71 | 2701570.571 | 1210331.6712
72 | 2701573.5808 | 1210340.6175
73 | 2701603.452 | 1210383.9279
74 | 2701591.5838 | 1210371.3085
75 | 2701575.1438 | 1210343.9206
76 | 2701839.1092 | 1210660.5659
77 | 2701848.2242 | 1210678.3712
78 | 2701850.824 | 1210683.4497
79 | 2701916.489 | 1210663.0901
80 | 2701757.0805 | 1210463.3075

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99264 | -0.051012 | 0.0022223 | 0.00055695
1 | 0.99401 | -0.041499 | 0.0018973 | 0.00047551
2 | 0.99033 | -0.067201 | 0 | 0
3 | 0.99825 | -0.012064 | 0 | 0
4 | 0.9879 | -0.084263 | 0 | 0
5 | 0.98933 | -0.074218 | 0 | 0
6 | 1 | 0 | -0.21845 | -0.05491
7 | 0.99685 | -0.021851 | 0 | 0
8 | 0.98133 | -0.13079 | 0.02191 | 0.0054913
9 | 0.9875 | -0.087101 | 0 | 0
10 | 0.98923 | -0.074911 | 0.0019055 | 0.00047757
11 | 0.99775 | -0.015734 | 0.0075515 | 0.0018926
12 | 0.99499 | -0.034829 | 0.0014017 | 0.0003513
13 | 0.9961 | -0.027124 | 0.0052395 | 0.0013132
14 | 0.98079 | -0.13466 | 0 | 0
15 | 0.98403 | -0.11169 | 0.0030712 | 0.00076972
16 | 0.98412 | -0.11103 | 0 | 0
17 | 0.98532 | -0.10256 | 0.014164 | 0.0035498
18 | 0.99751 | -0.017432 | 0.0084345 | 0.0021139
19 | 0.99422 | -0.040234 | 0.0021297 | 0.00053376
20 | 0.99604 | -0.027512 | 0.0052245 | 0.0013094
21 | 0.98047 | -0.1378 | 0.002726 | 0.00068321
22 | 0.98054 | -0.13734 | 0.0012998 | 0.00032577
23 | 0.98043 | -0.13813 | 0 | 0
24 | 0.98195 | -0.1272 | 0.00029037 | 7.2773e-05
25 | 0.9804 | -0.13834 | 0.00040409 | 0.00010128
26 | 0.98232 | -0.12458 | 0.00018564 | 4.6527e-05
27 | 0.98463 | -0.10743 | 0 | 0
28 | 0.98325 | -0.11722 | 0.0036418 | 0.00091271
29 | 0.98239 | -0.12333 | 0.0023807 | 0.00059666
30 | 0.98031 | -0.13803 | 0.0028172 | 0.00070606
31 | 0.97966 | -0.14268 | 0.017799 | 0.0044609
32 | 0.98137 | -0.13057 | 0.00163 | 0.00040851
33 | 0.98131 | -0.13106 | 0.0036363 | 0.00091133
34 | 0.98074 | -0.13512 | 0.0012244 | 0.00030686
35 | 0.98073 | -0.13518 | 0.0013163 | 0.00032988
36 | 0.97947 | -0.14409 | 0.0061198 | 0.0015338
37 | 0.97896 | -0.14768 | 0.0022144 | 0.00055498
38 | 0.97907 | -0.14689 | 0 | 0
39 | 0.9788 | -0.14883 | 0.0069153 | 0.0017331
40 | 0.99708 | -0.020447 | 0.0019093 | 0.00047851
41 | 0.99688 | -0.021887 | 0.0050062 | 0.0012547
42 | 0.99666 | -0.023402 | 0 | 0
43 | 0.99659 | -0.023938 | 0.0038963 | 0.00097651
44 | 0.99374 | -0.043587 | 0.0013574 | 0.0003402
45 | 0.99238 | -0.053167 | 0.0019663 | 0.00049281
46 | 0.99176 | -0.057522 | 0 | 0
47 | 0.99122 | -0.061342 | 0.00017513 | 4.3891e-05
48 | 0.99021 | -0.068418 | 0.0028325 | 0.00070989
49 | 0.9909 | -0.063605 | 0 | 0
50 | 0.98857 | -0.079966 | 0.0027031 | 0.00067747
51 | 0.99603 | -0.027609 | 0.0004036 | 0.00010115
52 | 0.99601 | -0.027756 | 0.00033159 | 8.3105e-05
53 | 0.99088 | -0.063715 | 0.00047568 | 0.00011922
54 | 0.99079 | -0.06436 | 0.0027739 | 0.00069519
55 | 0.99051 | -0.066328 | 0.0042174 | 0.001057
56 | 0.99075 | -0.064615 | 0.002718 | 0.00068119
57 | 0.99043 | -0.066861 | 0.0030216 | 0.00075728
58 | 0.98323 | -0.11804 | 0.0017443 | 0.00043717
59 | 0.98407 | -0.11203 | 0 | 0
60 | 0.9869 | -0.091793 | 0 | 0
61 | 0.98736 | -0.088532 | 0.0034003 | 0.0008522
62 | 0.98665 | -0.093575 | 0.0023239 | 0.00058242
63 | 0.98619 | -0.096831 | 0 | 0
64 | 0.98604 | -0.097903 | 0.0024991 | 0.00062633
65 | 0.98576 | -0.099878 | 0.002425 | 0.00060776
66 | 0.98445 | -0.10927 | 0.0010304 | 0.00025824
67 | 0.98499 | -0.10542 | 0.0048932 | 0.0012264
68 | 0.98496 | -0.10562 | 0.0023168 | 0.00058065
69 | 0.985 | -0.10528 | 0.0049553 | 0.0012419
70 | 0.98492 | -0.1059 | 0.0026828 | 0.00067239
71 | 0.98493 | -0.10583 | 0 | 0
72 | 0.98504 | -0.10508 | 0 | 0
73 | 0.98584 | -0.099318 | 0.0019311 | 0.00048397
74 | 0.98555 | -0.10139 | 0.0013389 | 0.00033556
75 | 0.98508 | -0.10479 | 0.002558 | 0.00064109
76 | 0.98071 | -0.13528 | 0.00262 | 0.00065663
77 | 0.98029 | -0.13829 | 0.0030844 | 0.00077303
78 | 0.9802 | -0.13896 | 0.0051425 | 0.0012888
79 | 0.97958 | -0.14341 | 0.0062252 | 0.0015602
80 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.11125 | -0.028033 | 0.11139 | 0.02809 | 0.00014831 | 5.66e-05 | 0.16682 | 0.16682 | 0.16682 | 0.99264 | -0.051012 | 0.99401 | -0.041499 | 30.892
1 | 0.10902 | 0.027476 | -0.10878 | -0.027382 | 0.00024651 | 9.4049e-05 | 0.16349 | 0.16349 | 0.16349 | 0.99264 | -0.051012 | 0.99033 | -0.067201 | 30.2752
2 | -0.11329 | -0.028565 | 0.11376 | 0.028744 | 0.00046925 | 0.00017912 | 0.16966 | 0.16966 | 0.16966 | 0.99401 | -0.041499 | 0.99825 | -0.012064 | 31.418
3 | 0.058356 | 0.014699 | -0.058218 | -0.014646 | 0.00013889 | 5.3046e-05 | 0.087709 | 0.08771 | 0.08771 | 0.99033 | -0.067201 | 0.9879 | -0.084263 | 32.485
4 | 0.050421 | 0.012683 | -0.050372 | -0.012664 | 4.9292e-05 | 1.8782e-05 | 0.075777 | 0.075777 | 0.075777 | 0.99033 | -0.067201 | 0.98933 | -0.074218 | 28.0654
5 | -0.19046 | -0.048045 | 0.19078 | 0.048169 | 0.00032284 | 0.00012383 | 0.28401 | 0.28401 | 0.28401 | 0.99825 | -0.012064 | 1 | 0 | 52.5937
6 | 0.076694 | 0.019301 | -0.076589 | -0.019261 | 0.00010463 | 4.0077e-05 | 0.11435 | 0.11435 | 0.11435 | 0.99825 | -0.012064 | 0.99685 | -0.021851 | 42.3517
7 | 0.058218 | 0.014646 | -0.057842 | -0.014502 | 0.00037533 | 0.00014336 | 0.08771 | 0.08771 | 0.08771 | 0.9879 | -0.084263 | 0.98133 | -0.13079 | 32.4851
8 | 0.048466 | 0.012187 | -0.048379 | -0.012154 | 8.6856e-05 | 3.3071e-05 | 0.072911 | 0.072911 | 0.072911 | 0.98933 | -0.074218 | 0.9875 | -0.087101 | 27.004
9 | 0.0019057 | 0.00047718 | -0.0019055 | -0.00047757 | 1.8253e-07 | -3.8697e-07 | 0.0028661 | 0.0028663 | 0.0028663 | 0.98933 | -0.074218 | 0.98923 | -0.074911 | 1.0616
10 | 0.026868 | 0.0067411 | -0.02681 | -0.0067194 | 5.8524e-05 | 2.1741e-05 | 0.039983 | 0.039983 | 0.039983 | 1 | 0 | 0.99775 | -0.015734 | 14.8086
11 | 0.065382 | 0.016452 | -0.065263 | -0.016407 | 0.0001182 | 4.5202e-05 | 0.09762 | 0.09762 | 0.09762 | 0.99685 | -0.021851 | 0.99499 | -0.034829 | 36.1554
12 | 0.011208 | 0.0028086 | -0.0112 | -0.0028061 | 8.1751e-06 | 2.5345e-06 | 0.01673 | 0.01673 | 0.01673 | 0.99685 | -0.021851 | 0.9961 | -0.027124 | 6.1964
13 | 0.035932 | 0.0090111 | -0.035913 | -0.0090038 | 1.9244e-05 | 7.2705e-06 | 0.054487 | 0.054487 | 0.054487 | 0.98133 | -0.13079 | 0.98079 | -0.13466 | 20.1802
14 | 0.048379 | 0.012154 | -0.048275 | -0.012115 | 0.0001038 | 3.9524e-05 | 0.072911 | 0.072911 | 0.072911 | 0.9875 | -0.087101 | 0.98532 | -0.10256 | 27.004
15 | 0.019258 | 0.0048268 | -0.019254 | -0.0048252 | 4.5264e-06 | 1.6261e-06 | 0.028721 | 0.028721 | 0.028721 | 0.99775 | -0.015734 | 0.99751 | -0.017432 | 10.6375
16 | 0.063862 | 0.016056 | -0.063814 | -0.016038 | 4.8054e-05 | 1.8373e-05 | 0.095523 | 0.095523 | 0.095523 | 0.99499 | -0.034829 | 0.99422 | -0.040234 | 35.3791
17 | 0.0059601 | 0.001493 | -0.0059597 | -0.0014929 | 3.196e-07 | 3.8817e-08 | 0.0089031 | 0.0089032 | 0.0089032 | 0.9961 | -0.027124 | 0.99604 | -0.027512 | 3.2975
18 | 0.011966 | 0.0029992 | -0.01196 | -0.0029974 | 5.5955e-06 | 1.8089e-06 | 0.018154 | 0.018154 | 0.018154 | 0.98079 | -0.13466 | 0.98031 | -0.13803 | 6.7239
19 | 0.023947 | 0.0060047 | -0.02392 | -0.0059948 | 2.6582e-05 | 9.8172e-06 | 0.036332 | 0.036332 | 0.036332 | 0.98079 | -0.13466 | 0.97966 | -0.14268 | 13.4565
20 | -0.0030712 | -0.00076972 | 0.0030715 | 0.00076956 | 2.8249e-07 | -1.5802e-07 | 0.0046442 | 0.0046441 | 0.0046442 | 0.98403 | -0.11169 | 0.98412 | -0.11103 | 1.7201
21 | 0.031 | 0.0077802 | -0.030974 | -0.0077702 | 2.6638e-05 | 9.9987e-06 | 0.046877 | 0.046877 | 0.046877 | 0.98412 | -0.11103 | 0.98325 | -0.11722 | 17.3619
22 | -0.034072 | -0.0085498 | 0.034089 | 0.0085562 | 1.7002e-05 | 6.4089e-06 | 0.051521 | 0.051521 | 0.051521 | 0.98412 | -0.11103 | 0.98463 | -0.10743 | 19.0819
23 | 0.034112 | 0.0085649 | -0.034089 | -0.0085562 | 2.3082e-05 | 8.7004e-06 | 0.051521 | 0.051521 | 0.051521 | 0.98532 | -0.10256 | 0.98463 | -0.10743 | 19.0819
24 | 0.010819 | 0.0027113 | -0.010815 | -0.0027099 | 4.5146e-06 | 1.374e-06 | 0.016139 | 0.016139 | 0.016139 | 0.99751 | -0.017432 | 0.99708 | -0.020447 | 5.9775
25 | 0.061684 | 0.015504 | -0.061655 | -0.015493 | 2.8775e-05 | 1.0997e-05 | 0.092336 | 0.092336 | 0.092336 | 0.99422 | -0.040234 | 0.99374 | -0.043587 | 34.1985
26 | 0.00073521 | 0.00018352 | -0.0007352 | -0.00018369 | 9.8116e-09 | -1.6594e-07 | 0.0010981 | 0.0010981 | 0.0010981 | 0.99604 | -0.027512 | 0.99603 | -0.027609 | 0.40672
27 | -0.0031302 | -0.00078292 | 0.0031304 | 0.00078282 | 1.9875e-07 | -1.0161e-07 | 0.0047499 | 0.0047499 | 0.0047499 | 0.98047 | -0.1378 | 0.98054 | -0.13734 | 1.7592
28 | 0.00040412 | 9.9709e-05 | -0.00040411 | -0.00010066 | 1.7899e-08 | -9.56e-07 | 0.00061276 | 0.0006131 | 0.0006131 | 0.98047 | -0.1378 | 0.98043 | -0.13813 | 0.22707
29 | -0.0044302 | -0.0011086 | 0.0044364 | 0.0011082 | 6.1951e-06 | -3.9276e-07 | 0.0067224 | 0.0067214 | 0.0067224 | 0.98054 | -0.13734 | 0.98195 | -0.1272 | 2.4898
30 | 0.00040411 | 0.00010066 | -0.00040409 | -0.00010128 | 1.1455e-08 | -6.1121e-07 | 0.0006131 | 0.00061332 | 0.00061332 | 0.98043 | -0.13813 | 0.9804 | -0.13834 | 0.22716
31 | -0.0047267 | -0.001181 | 0.0047284 | 0.0011809 | 1.7022e-06 | -1.8424e-08 | 0.0071614 | 0.0071612 | 0.0071614 | 0.98195 | -0.1272 | 0.98232 | -0.12458 | 2.6524
32 | -0.0049141 | -0.0012275 | 0.0049185 | 0.0012275 | 4.4212e-06 | 7.9488e-08 | 0.0074424 | 0.0074418 | 0.0074424 | 0.98232 | -0.12458 | 0.98323 | -0.11804 | 2.7565
33 | 0.027332 | 0.0068575 | -0.027309 | -0.0068489 | 2.3139e-05 | 8.6251e-06 | 0.041366 | 0.041366 | 0.041366 | 0.98325 | -0.11722 | 0.98239 | -0.12333 | 15.3207
34 | 0.024928 | 0.0062523 | -0.024903 | -0.006243 | 2.5014e-05 | 9.2653e-06 | 0.03776 | 0.03776 | 0.03776 | 0.98239 | -0.12333 | 0.98137 | -0.13057 | 13.9851
35 | 0.009143 | 0.0022913 | -0.0091319 | -0.0022882 | 1.1195e-05 | 3.133e-06 | 0.013878 | 0.013879 | 0.013879 | 0.98031 | -0.13803 | 0.97907 | -0.14689 | 5.1402
36 | 0.006121 | 0.0015339 | -0.0061198 | -0.0015338 | 1.1974e-06 | 1.8108e-07 | 0.0092972 | 0.0092973 | 0.0092973 | 0.97966 | -0.14268 | 0.97947 | -0.14409 | 3.4434
37 | 0.023273 | 0.0058345 | -0.023271 | -0.0058339 | 1.5566e-06 | 5.7339e-07 | 0.035288 | 0.035288 | 0.035288 | 0.98137 | -0.13057 | 0.98131 | -0.13106 | 13.0698
38 | 0.019635 | 0.0049226 | -0.019624 | -0.0049186 | 1.1048e-05 | 3.997e-06 | 0.029775 | 0.029775 | 0.029775 | 0.98131 | -0.13106 | 0.98074 | -0.13512 | 11.0277
39 | 0.0184 | 0.0046117 | -0.0184 | -0.0046117 | 1.5255e-07 | 5.4715e-08 | 0.027917 | 0.027917 | 0.027917 | 0.98074 | -0.13512 | 0.98073 | -0.13518 | 10.3396
40 | 0.017083 | 0.0042818 | -0.017083 | -0.0042817 | 2.4598e-07 | 8.7203e-08 | 0.02592 | 0.02592 | 0.02592 | 0.98073 | -0.13518 | 0.98071 | -0.13528 | 9.6
41 | -0.0022144 | -0.00055498 | 0.0022146 | 0.00055464 | 2.4408e-07 | -3.403e-07 | 0.0033659 | 0.0033657 | 0.0033659 | 0.97896 | -0.14768 | 0.97907 | -0.14689 | 1.2466
42 | 0.0069172 | 0.0017335 | -0.0069153 | -0.0017331 | 1.8577e-06 | 3.7583e-07 | 0.010513 | 0.010513 | 0.010513 | 0.97907 | -0.14689 | 0.9788 | -0.14883 | 3.8937
43 | 0.0089054 | 0.0022314 | -0.0089036 | -0.0022309 | 1.7743e-06 | 4.725e-07 | 0.01329 | 0.01329 | 0.01329 | 0.99708 | -0.020447 | 0.99688 | -0.021887 | 4.9222
44 | 0.0038974 | 0.00097625 | -0.0038966 | -0.00097644 | 8.1664e-07 | -1.8995e-07 | 0.0058174 | 0.0058176 | 0.0058176 | 0.99688 | -0.021887 | 0.99666 | -0.023402 | 2.1547
45 | 0.0038966 | 0.00097644 | -0.0038963 | -0.00097651 | 2.893e-07 | -6.7232e-08 | 0.0058176 | 0.0058177 | 0.0058177 | 0.99666 | -0.023402 | 0.99659 | -0.023938 | 2.1547
46 | 0.060298 | 0.015153 | -0.060217 | -0.015122 | 8.0289e-05 | 3.0676e-05 | 0.090303 | 0.090303 | 0.090303 | 0.99374 | -0.043587 | 0.99238 | -0.053167 | 33.4457
47 | 0.058251 | 0.014629 | -0.058216 | -0.014616 | 3.5244e-05 | 1.346e-05 | 0.087355 | 0.087355 | 0.087355 | 0.99238 | -0.053167 | 0.99176 | -0.057522 | 32.3537
48 | 0.013396 | 0.0033576 | -0.013389 | -0.0033552 | 7.0818e-06 | 2.3615e-06 | 0.0201 | 0.0201 | 0.0201 | 0.99176 | -0.057522 | 0.99122 | -0.061342 | 7.4444
49 | 0.044819 | 0.011258 | -0.044752 | -0.011232 | 6.7804e-05 | 2.5769e-05 | 0.067255 | 0.067255 | 0.067255 | 0.99176 | -0.057522 | 0.99021 | -0.068418 | 24.9094
50 | 0.013214 | 0.0033113 | -0.01321 | -0.00331 | 4.1377e-06 | 1.3743e-06 | 0.019837 | 0.019837 | 0.019837 | 0.99122 | -0.061342 | 0.9909 | -0.063605 | 7.3471
51 | 0.041919 | 0.010522 | -0.041852 | -0.010497 | 6.7118e-05 | 2.5467e-05 | 0.062999 | 0.062999 | 0.062999 | 0.99021 | -0.068418 | 0.98857 | -0.079966 | 23.333
52 | 0.0054925 | 0.0013763 | -0.0054919 | -0.0013763 | 5.7422e-07 | 4.6625e-08 | 0.0082479 | 0.008248 | 0.008248 | 0.9909 | -0.063605 | 0.99079 | -0.06436 | 3.0548
53 | 0.0072419 | 0.0018147 | -0.0072392 | -0.0018141 | 2.7286e-06 | 5.7338e-07 | 0.010875 | 0.010875 | 0.010875 | 0.9909 | -0.063605 | 0.99051 | -0.066328 | 4.0279
54 | 0.00047568 | 0.00011893 | -0.00047568 | -0.00011922 | 7.2293e-09 | -2.8973e-07 | 0.00071422 | 0.00071433 | 0.00071433 | 0.9909 | -0.063605 | 0.99088 | -0.063715 | 0.26457
55 | 0.039149 | 0.0098194 | -0.039102 | -0.0098018 | 4.6445e-05 | 1.7589e-05 | 0.05893 | 0.05893 | 0.05893 | 0.98857 | -0.079966 | 0.98736 | -0.088532 | 21.826
56 | 0.0003316 | 8.2536e-05 | -0.00033159 | -8.3105e-05 | 6.716e-09 | -5.6844e-07 | 0.00049519 | 0.00049539 | 0.00049539 | 0.99603 | -0.027609 | 0.99601 | -0.027756 | 0.18348
57 | 0.0027181 | 0.0006811 | -0.002718 | -0.00068119 | 9.5654e-08 | -8.1679e-08 | 0.0040821 | 0.0040821 | 0.0040821 | 0.99079 | -0.06436 | 0.99075 | -0.064615 | 1.5119
58 | 0.0030218 | 0.00075714 | -0.0030216 | -0.00075728 | 2.2319e-07 | -1.3755e-07 | 0.0045395 | 0.0045396 | 0.0045396 | 0.99051 | -0.066328 | 0.99043 | -0.066861 | 1.6813
59 | -0.0066628 | -0.0016647 | 0.0066683 | 0.0016657 | 5.5059e-06 | 1.0157e-06 | 0.010082 | 0.010081 | 0.010082 | 0.98323 | -0.11804 | 0.98407 | -0.11203 | 3.734
60 | -0.0066683 | -0.0016657 | 0.0066709 | 0.0016662 | 2.532e-06 | 4.6641e-07 | 0.010081 | 0.010081 | 0.010081 | 0.98407 | -0.11203 | 0.98445 | -0.10927 | 3.7338
61 | -0.035686 | -0.0089436 | 0.035702 | 0.0089497 | 1.6118e-05 | 6.0851e-06 | 0.053806 | 0.053806 | 0.053806 | 0.9869 | -0.091793 | 0.98736 | -0.088532 | 19.9281
62 | 0.035686 | 0.0089436 | -0.035677 | -0.0089402 | 8.7985e-06 | 3.3218e-06 | 0.053806 | 0.053806 | 0.053806 | 0.9869 | -0.091793 | 0.98665 | -0.093575 | 19.9281
63 | 0.033353 | 0.0083578 | -0.033338 | -0.0083522 | 1.5022e-05 | 5.6562e-06 | 0.050301 | 0.050301 | 0.050301 | 0.98665 | -0.093575 | 0.98619 | -0.096831 | 18.6301
64 | 0.016046 | 0.0040167 | -0.016044 | -0.0040159 | 2.3754e-06 | 8.3076e-07 | 0.02421 | 0.02421 | 0.02421 | 0.98619 | -0.096831 | 0.98604 | -0.097903 | 8.9665
65 | 0.017292 | 0.0043354 | -0.017285 | -0.0043329 | 7.2966e-06 | 2.5873e-06 | 0.026092 | 0.026092 | 0.026092 | 0.98619 | -0.096831 | 0.98576 | -0.099878 | 9.6636
66 | 0.013545 | 0.0033896 | -0.013542 | -0.0033887 | 2.6459e-06 | 8.8819e-07 | 0.020438 | 0.020438 | 0.020438 | 0.98604 | -0.097903 | 0.98584 | -0.099318 | 7.5697
67 | 0.01486 | 0.0037251 | -0.014849 | -0.0037213 | 1.1117e-05 | 3.8247e-06 | 0.022431 | 0.022431 | 0.022431 | 0.98576 | -0.099878 | 0.985 | -0.10528 | 8.3079
68 | -0.0077012 | -0.0019244 | 0.0077049 | 0.0019253 | 3.6475e-06 | 8.5395e-07 | 0.011639 | 0.011638 | 0.011639 | 0.98445 | -0.10927 | 0.98493 | -0.10583 | 4.3106
69 | 0.0049999 | 0.0012529 | -0.0049998 | -0.0012529 | 1.4002e-07 | 3.7942e-09 | 0.0075533 | 0.0075533 | 0.0075533 | 0.98499 | -0.10542 | 0.98496 | -0.10562 | 2.7975
70 | -0.0098931 | -0.0024793 | 0.0098933 | 0.0024794 | 1.8204e-07 | 5.3392e-08 | 0.014945 | 0.014945 | 0.014945 | 0.98499 | -0.10542 | 0.985 | -0.10528 | 5.5354
71 | 0.002683 | 0.0006723 | -0.0026828 | -0.00067239 | 1.0477e-07 | -8.9774e-08 | 0.0040532 | 0.0040533 | 0.0040533 | 0.98496 | -0.10562 | 0.98492 | -0.1059 | 1.5012
72 | -0.0077049 | -0.0019253 | 0.0077057 | 0.0019255 | 7.9771e-07 | 1.8668e-07 | 0.011638 | 0.011638 | 0.011638 | 0.98493 | -0.10583 | 0.98504 | -0.10508 | 4.3105
73 | -0.0077057 | -0.0019255 | 0.007706 | 0.0019255 | 3.0886e-07 | 7.2272e-08 | 0.011638 | 0.011638 | 0.011638 | 0.98504 | -0.10508 | 0.98508 | -0.10479 | 4.3105
74 | 0.011611 | 0.0029047 | -0.011608 | -0.0029036 | 3.3233e-06 | 1.0571e-06 | 0.017524 | 0.017524 | 0.017524 | 0.98584 | -0.099318 | 0.98555 | -0.10139 | 6.4902
75 | 0.010269 | 0.0025681 | -0.010264 | -0.0025666 | 4.8061e-06 | 1.4403e-06 | 0.015502 | 0.015502 | 0.015502 | 0.98555 | -0.10139 | 0.98508 | -0.10479 | 5.7416
76 | 0.014463 | 0.0036251 | -0.014457 | -0.003623 | 6.0108e-06 | 2.0596e-06 | 0.021945 | 0.021945 | 0.021945 | 0.98071 | -0.13528 | 0.98029 | -0.13829 | 8.1277
77 | 0.011373 | 0.00285 | -0.011372 | -0.0028496 | 1.0609e-06 | 3.3613e-07 | 0.017263 | 0.017263 | 0.017263 | 0.98029 | -0.13829 | 0.9802 | -0.13896 | 6.3936
78 | 0.006229 | 0.0015608 | -0.0062252 | -0.0015602 | 3.836e-06 | 6.0938e-07 | 0.009456 | 0.0094563 | 0.0094563 | 0.9802 | -0.13896 | 0.97958 | -0.14341 | 3.5024

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.22079 | 0.055497

## res_load
| p_mw | q_mvar
0 | 0.0022223 | 0.00055695
1 | 0.0018973 | 0.00047551
2 | 0.0023395 | 0.00058632
3 | 0.02191 | 0.0054913
4 | 0.0019055 | 0.00047757
5 | 0.0075515 | 0.0018926
6 | 0.0014017 | 0.0003513
7 | 0.0052395 | 0.0013132
8 | 0.0030712 | 0.00076972
9 | 0.014164 | 0.0035498
10 | 0.0084345 | 0.0021139
11 | 0.0021297 | 0.00053376
12 | 0.0052245 | 0.0013094
13 | 0.002726 | 0.00068321
14 | 0.0012998 | 0.00032577
15 | 0.00029037 | 7.2773e-05
16 | 0.00040409 | 0.00010128
17 | 0.00018564 | 4.6527e-05
18 | 0.0036418 | 0.00091271
19 | 0.0023807 | 0.00059666
20 | 0.0028172 | 0.00070606
21 | 0.017799 | 0.0044609
22 | 0.00163 | 0.00040851
23 | 0.0036363 | 0.00091133
24 | 0.0012244 | 0.00030686
25 | 0.0013163 | 0.00032988
26 | 0.0061198 | 0.0015338
27 | 0.0022144 | 0.00055498
28 | 0.0069153 | 0.0017331
29 | 0.0019093 | 0.00047851
30 | 0.0050062 | 0.0012547
31 | 0.0038963 | 0.00097651
32 | 0.0013574 | 0.0003402
33 | 0.0019663 | 0.00049281
34 | 0.00017513 | 4.3891e-05
35 | 0.0028325 | 0.00070989
36 | 0.0027031 | 0.00067747
37 | 0.0004036 | 0.00010115
38 | 0.00033159 | 8.3105e-05
39 | 0.00047568 | 0.00011922
40 | 0.0027739 | 0.00069519
41 | 0.0042174 | 0.001057
42 | 0.002718 | 0.00068119
43 | 0.0030216 | 0.00075728
44 | 0.0017443 | 0.00043717
45 | 0.0034003 | 0.0008522
46 | 0.0023239 | 0.00058242
47 | 0.0024991 | 0.00062633
48 | 0.002425 | 0.00060776
49 | 0.0010304 | 0.00025824
50 | 0.0048932 | 0.0012264
51 | 0.0023168 | 0.00058065
52 | 0.0049553 | 0.0012419
53 | 0.0026828 | 0.00067239
54 | 0.0019311 | 0.00048397
55 | 0.0013389 | 0.00033556
56 | 0.002558 | 0.00064109
57 | 0.00262 | 0.00065663
58 | 0.0030844 | 0.00077303
59 | 0.0051425 | 0.0012888
60 | 0.0062252 | 0.0015602

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1