## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1370-13_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1370-13_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1370-13_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1370-13_0_3_node_24 | 0.4 | n |  | TRUE
4 | bus_LV_1370-13_0_3_node_21 | 0.4 | n |  | TRUE
5 | bus_LV_1370-13_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1370-13_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1370-13_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1370-13_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1370-13_0_3_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_1370-13_0_3_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_1370-13_0_3_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_1370-13_0_3_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_1370-13_0_3_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_1370-13_0_3_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_1370-13_0_3_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_1370-13_0_3_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_1370-13_0_3_node_40 | 0.4 | n |  | TRUE
18 | bus_LV_1370-13_0_3_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_1370-13_0_3_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_1370-13_0_3_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_1370-13_0_3_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_1370-13_0_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_1370-13_0_3_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_1370-13_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_1370-13_0_3_node_7 | 0.4 | n |  | TRUE
26 | bus_LV_1370-13_0_3_node_8 | 0.4 | n |  | TRUE
27 | bus_LV_1370-13_0_3_node_9 | 0.4 | n |  | TRUE
28 | bus_LV_1370-13_0_3_node_10 | 0.4 | n |  | TRUE
29 | bus_LV_1370-13_0_3_node_11 | 0.4 | n |  | TRUE
30 | bus_LV_1370-13_0_3_node_12 | 0.4 | n |  | TRUE
31 | bus_LV_1370-13_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1370-13_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_1370-13_0_3_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_1370-13_0_3_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_1370-13_0_3_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_1370-13_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_1370-13_0_3_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_1370-13_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_1370-13_0_3_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_1370-13_0_3_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_1370-13_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_1370-13_0_3_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_1370-13_0_3_node_35 | 0.4 | n |  | TRUE
44 | bus_MV_22_0_node_27 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1370-13_0_3_load_0 | 0 | 0.0050548 | 0.0012668 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1370-13_0_3_load_1 | 1 | 0.0038528 | 0.0009656 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1370-13_0_3_load_2 | 2 | 0.0079459 | 0.0019914 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1370-13_0_3_load_3 | 5 | 0.019538 | 0.0048966 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1370-13_0_3_load_4 | 6 | 0.028908 | 0.007245 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1370-13_0_3_load_5 | 7 | 0.0015844 | 0.00039709 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1370-13_0_3_load_13 | 10 | 0.0010072 | 0.00025242 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1370-13_0_3_load_33 | 12 | 0.016322 | 0.0040908 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1370-13_0_3_load_15 | 15 | 0.0029146 | 0.00073046 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1370-13_0_3_load_40 | 17 | 0.0027631 | 0.0006925 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1370-13_0_3_load_43 | 18 | 0.0012586 | 0.00031544 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1370-13_0_3_load_42 | 19 | 0.0027369 | 0.00068594 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1370-13_0_3_load_41 | 21 | 0.018593 | 0.0046598 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1370-13_0_3_load_32 | 23 | 0.010037 | 0.0025154 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1370-13_0_3_load_14 | 24 | 0.00080272 | 0.00020118 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1370-13_0_3_load_7 | 25 | 0.003035 | 0.00076064 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1370-13_0_3_load_8 | 26 | 0.0039971 | 0.0010018 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1370-13_0_3_load_10 | 28 | 0.0041297 | 0.001035 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1370-13_0_3_load_11 | 29 | 0.0021957 | 0.0005503 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1370-13_0_3_load_12 | 30 | 0.0017572 | 0.00044039 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1370-13_0_3_load_22 | 31 | 0.0024879 | 0.00062352 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1370-13_0_3_load_23 | 32 | 0.0064339 | 0.0016125 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1370-13_0_3_load_39 | 34 | 0.0017829 | 0.00044684 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1370-13_0_3_load_44 | 35 | 0.0015253 | 0.00038228 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1370-13_0_3_load_31 | 36 | 0.0023456 | 0.00058787 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1370-13_0_3_load_28 | 37 | 0.0050754 | 0.001272 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1370-13_0_3_load_34 | 38 | 0.0016146 | 0.00040465 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1370-13_0_3_load_38 | 39 | 0.0019795 | 0.00049612 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1370-13_0_3_load_37 | 40 | 0.0015219 | 0.00038141 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1370-13_0_3_load_27 | 41 | 0.0012607 | 0.00031596 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1370-13_0_3_load_29 | 42 | 0.0018685 | 0.00046828 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1370-13_0_3_load_35 | 43 | 0.01013 | 0.0025388 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1370-13_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.015817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1370-13_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.035877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1370-13_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.035921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1370-13_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.036967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1370-13_0_3_line_4 | NAYY 4x150 SE | 4 | 23 | 0.016122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1370-13_0_3_line_5 | NAYY 4x150 SE | 4 | 28 | 0.017797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1370-13_0_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.018133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1370-13_0_3_line_7 | NAYY 4x150 SE | 5 | 7 | 0.0012987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1370-13_0_3_line_8 | NAYY 4x150 SE | 6 | 8 | 0.022908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_1370-13_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.043986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_1370-13_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.011052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1370-13_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.020711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1370-13_0_3_line_12 | NAYY 4x150 SE | 9 | 12 | 0.018527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1370-13_0_3_line_13 | NAYY 4x150 SE | 10 | 24 | 0.018533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1370-13_0_3_line_14 | NAYY 4x150 SE | 11 | 20 | 0.028195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1370-13_0_3_line_15 | NAYY 4x150 SE | 11 | 21 | 0.019306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1370-13_0_3_line_16 | NAYY 4x150 SE | 12 | 22 | 0.014206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1370-13_0_3_line_17 | NAYY 4x150 SE | 13 | 14 | 0.04053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1370-13_0_3_line_18 | NAYY 4x150 SE | 13 | 15 | 0.053845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1370-13_0_3_line_19 | NAYY 4x150 SE | 14 | 33 | 0.092477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1370-13_0_3_line_20 | NAYY 4x150 SE | 15 | 24 | 0.030206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1370-13_0_3_line_21 | NAYY 4x150 SE | 16 | 17 | 0.0171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1370-13_0_3_line_22 | NAYY 4x150 SE | 16 | 18 | 0.011848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1370-13_0_3_line_23 | NAYY 4x150 SE | 16 | 19 | 0.037454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1370-13_0_3_line_24 | NAYY 4x150 SE | 17 | 34 | 0.016583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1370-13_0_3_line_25 | NAYY 4x150 SE | 18 | 35 | 0.024745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1370-13_0_3_line_26 | NAYY 4x150 SE | 19 | 21 | 0.037956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1370-13_0_3_line_27 | NAYY 4x150 SE | 20 | 36 | 0.019726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1370-13_0_3_line_28 | NAYY 4x150 SE | 20 | 37 | 0.01636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1370-13_0_3_line_29 | NAYY 4x150 SE | 22 | 23 | 0.021801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1370-13_0_3_line_30 | NAYY 4x150 SE | 25 | 26 | 0.034347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1370-13_0_3_line_31 | NAYY 4x150 SE | 25 | 27 | 0.0036744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1370-13_0_3_line_32 | NAYY 4x150 SE | 26 | 28 | 0.028834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1370-13_0_3_line_33 | NAYY 4x150 SE | 27 | 29 | 0.015739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1370-13_0_3_line_34 | NAYY 4x150 SE | 27 | 30 | 0.022425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1370-13_0_3_line_35 | NAYY 4x150 SE | 29 | 31 | 0.0026459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1370-13_0_3_line_36 | NAYY 4x150 SE | 31 | 32 | 0.013058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1370-13_0_3_line_37 | NAYY 4x150 SE | 33 | 38 | 0.1513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1370-13_0_3_line_38 | NAYY 4x150 SE | 34 | 40 | 0.0070094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1370-13_0_3_line_39 | NAYY 4x150 SE | 37 | 41 | 0.02861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1370-13_0_3_line_40 | NAYY 4x150 SE | 38 | 43 | 0.050562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1370-13_0_3_line_41 | NAYY 4x150 SE | 39 | 40 | 0.027186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1370-13_0_3_line_42 | NAYY 4x150 SE | 41 | 42 | 0.021441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1370-13_0_3_trafo_4 | 0.25 MVA 20/0.4 kV | 44 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2694147.6966 | 1218252.4603 | 2694133.3927 | 1218245.71
1 | 2694101.2705 | 1218229.7672 | 2694110.957 | 1218235.1221 | 2694133.3927 | 1218245.71
2 | 2694069.438 | 1218216.5425 | 2694074.4131 | 1218214.9199 | 2694101.2705 | 1218229.7672
3 | 2694069.438 | 1218216.5425 | 2694083.5491 | 1218250.7223
4 | 2694083.5491 | 1218250.7223 | 2694070.8727 | 1218253.5464 | 2694067.8305 | 1218254.3024
5 | 2694083.5491 | 1218250.7223 | 2694089.8519 | 1218267.3657
6 | 2694074.1211 | 1218302.3979 | 2694069.6181 | 1218292.5981 | 2694062.8888 | 1218295.5484
7 | 2694074.1211 | 1218302.3979 | 2694074.6634 | 1218303.5781
8 | 2694041.9083 | 1218304.7469 | 2694062.8888 | 1218295.5484
9 | 2694023.2102 | 1218264.9131 | 2694041.9083 | 1218304.7469
10 | 2694041.9083 | 1218304.7469 | 2694046.6043 | 1218314.7519
11 | 2694010.3689 | 1218257.0273 | 2694013.7612 | 1218255.6465 | 2694019.1549 | 1218266.9395 | 2694023.2102 | 1218264.9131
12 | 2694023.2102 | 1218264.9131 | 2694039.7924 | 1218256.6509
13 | 2694054.4789 | 1218331.5292 | 2694046.6043 | 1218314.7519
14 | 2693984.6033 | 1218268.64 | 2694010.3689 | 1218257.0273
15 | 2694010.3689 | 1218257.0273 | 2694012.1551 | 1218261.2139 | 2694018.3252 | 1218274.616
16 | 2694050.6688 | 1218248.0125 | 2694048.1667 | 1218251.6644 | 2694044.5806 | 1218254.2652 | 2694039.7924 | 1218256.6509
17 | 2694075.6992 | 1218438.1616 | 2694080.8662 | 1218425.8235 | 2694090.8567 | 1218418.5651 | 2694087.9848 | 1218412.9603 | 2694084.0351 | 1218405.4261
18 | 2694084.0351 | 1218405.4261 | 2694088.2192 | 1218403.4129 | 2694076.704 | 1218378.8808 | 2694067.3132 | 1218358.8732
19 | 2694075.6992 | 1218438.1616 | 2694063.7196 | 1218480.5129 | 2694049.0304 | 1218526.702
20 | 2694067.3132 | 1218358.8732 | 2694054.4789 | 1218331.5292
21 | 2694049.9187 | 1218343.0888 | 2694034.3006 | 1218350.0512
22 | 2694049.9187 | 1218343.0888 | 2694054.8941 | 1218353.8412
23 | 2694049.9187 | 1218343.0888 | 2694035.6634 | 1218312.2758 | 2694034.1984 | 1218309.0936
24 | 2694034.3006 | 1218350.0512 | 2694028.5283 | 1218352.6245 | 2694029.6891 | 1218355.0667 | 2694032.9364 | 1218361.8926
25 | 2694065.2855 | 1218376.2986 | 2694054.8941 | 1218353.8412
26 | 2694018.3252 | 1218274.616 | 2694034.1984 | 1218309.0936
27 | 2693984.6033 | 1218268.64 | 2693966.37 | 1218276.2911
28 | 2693984.6033 | 1218268.64 | 2693991.867 | 1218283.2991
29 | 2694050.6688 | 1218248.0125 | 2694050.9022 | 1218249.0947 | 2694051.8303 | 1218251.8557 | 2694053.6544 | 1218254.1194 | 2694056.1507 | 1218255.6377 | 2694059.011 | 1218256.2165 | 2694061.8949 | 1218255.784 | 2694065.5303 | 1218254.8741 | 2694067.8305 | 1218254.3024
30 | 2694113.6719 | 1218325.8714 | 2694100.2325 | 1218294.263
31 | 2694115.1096 | 1218329.2529 | 2694113.6719 | 1218325.8714
32 | 2694089.8519 | 1218267.3657 | 2694098.4513 | 1218290.0738 | 2694100.2325 | 1218294.263
33 | 2694115.1096 | 1218329.2529 | 2694128.7129 | 1218321.3364
34 | 2694115.1096 | 1218329.2529 | 2694121.3068 | 1218343.9609 | 2694123.7897 | 1218349.9295
35 | 2694128.7129 | 1218321.3364 | 2694130.9997 | 1218320.0055
36 | 2694142.2853 | 1218313.4378 | 2694130.9997 | 1218320.0055
37 | 2694049.0304 | 1218526.702 | 2694039.7684 | 1218517.1603 | 2693991.9153 | 1218391.1736 | 2693990.4165 | 1218388.3046
38 | 2694035.9476 | 1218368.2222 | 2694032.9364 | 1218361.8926
39 | 2694004.5698 | 1218308.9349 | 2693991.867 | 1218283.2991
40 | 2693990.4165 | 1218388.3046 | 2693967.0042 | 1218343.4897
41 | 2694035.9476 | 1218368.2222 | 2694047.5648 | 1218392.6415 | 2694047.6264 | 1218392.7716
42 | 2694014.0893 | 1218328.1464 | 2694004.5698 | 1218308.9349

## bus_geodata
| x | y | coords
0 | 2694147.6966 | 1218252.4603
1 | 2694133.3927 | 1218245.71
2 | 2694101.2705 | 1218229.7672
3 | 2694069.438 | 1218216.5425
4 | 2694083.5491 | 1218250.7223
5 | 2694074.1211 | 1218302.3979
6 | 2694062.8888 | 1218295.5484
7 | 2694074.6634 | 1218303.5781
8 | 2694041.9083 | 1218304.7469
9 | 2694023.2102 | 1218264.9131
10 | 2694046.6043 | 1218314.7519
11 | 2694010.3689 | 1218257.0273
12 | 2694039.7924 | 1218256.6509
13 | 2694084.0351 | 1218405.4261
14 | 2694075.6992 | 1218438.1616
15 | 2694067.3132 | 1218358.8732
16 | 2694049.9187 | 1218343.0888
17 | 2694034.3006 | 1218350.0512
18 | 2694054.8941 | 1218353.8412
19 | 2694034.1984 | 1218309.0936
20 | 2693984.6033 | 1218268.64
21 | 2694018.3252 | 1218274.616
22 | 2694050.6688 | 1218248.0125
23 | 2694067.8305 | 1218254.3024
24 | 2694054.4789 | 1218331.5292
25 | 2694113.6718 | 1218325.8714
26 | 2694100.2325 | 1218294.263
27 | 2694115.1096 | 1218329.2529
28 | 2694089.8519 | 1218267.3657
29 | 2694128.7129 | 1218321.3364
30 | 2694123.7897 | 1218349.9295
31 | 2694130.9997 | 1218320.0055
32 | 2694142.2853 | 1218313.4378
33 | 2694049.0304 | 1218526.702
34 | 2694032.9364 | 1218361.8926
35 | 2694065.2855 | 1218376.2986
36 | 2693966.37 | 1218276.2911
37 | 2693991.867 | 1218283.2991
38 | 2693990.4165 | 1218388.3046
39 | 2694047.6264 | 1218392.7716
40 | 2694035.9476 | 1218368.2222
41 | 2694004.5698 | 1218308.9349
42 | 2694014.0893 | 1218328.1464
43 | 2693967.0042 | 1218343.4897
44 | 2694041.9083 | 1218304.7469

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98669 | -0.09345 | 0.0050548 | 0.0012668
1 | 0.9868 | -0.092631 | 0.0038528 | 0.0009656
2 | 0.98727 | -0.089356 | 0.0079459 | 0.0019914
3 | 0.98814 | -0.08316 | 0 | 0
4 | 0.98904 | -0.076794 | 0 | 0
5 | 0.99945 | -0.0038247 | 0.019538 | 0.0048966
6 | 1 | 0 | -0.14957 | -0.03743
7 | 0.99945 | -0.0038453 | 0.0015844 | 0.00039709
8 | 0.99792 | -0.014497 | 0 | 0
9 | 0.99443 | -0.038834 | 0 | 0
10 | 0.99765 | -0.016326 | 0.0010072 | 0.00025242
11 | 0.99316 | -0.047779 | 0 | 0
12 | 0.99264 | -0.051436 | 0.016322 | 0.0040908
13 | 0.9957 | -0.030046 | 0 | 0
14 | 0.99501 | -0.034854 | 0 | 0
15 | 0.99661 | -0.023667 | 0.0029146 | 0.00073046
16 | 0.99095 | -0.063426 | 0 | 0
17 | 0.99075 | -0.064826 | 0.0027631 | 0.0006925
18 | 0.9909 | -0.063761 | 0.0012586 | 0.00031544
19 | 0.99153 | -0.059301 | 0.0027369 | 0.00068594
20 | 0.99274 | -0.050793 | 0 | 0
21 | 0.99227 | -0.054071 | 0.018593 | 0.0046598
22 | 0.99159 | -0.058776 | 0 | 0
23 | 0.98999 | -0.07007 | 0.010037 | 0.0025154
24 | 0.99724 | -0.019208 | 0.00080272 | 0.00020118
25 | 0.9868 | -0.092633 | 0.003035 | 0.00076064
26 | 0.98759 | -0.087034 | 0.0039971 | 0.0010018
27 | 0.98673 | -0.093118 | 0 | 0
28 | 0.98842 | -0.081163 | 0.0041297 | 0.001035
29 | 0.98648 | -0.094913 | 0.0021957 | 0.0005503
30 | 0.98668 | -0.093522 | 0.0017572 | 0.00044039
31 | 0.98645 | -0.095155 | 0.0024879 | 0.00062352
32 | 0.98633 | -0.096017 | 0.0064339 | 0.0016125
33 | 0.99345 | -0.045842 | 0 | 0
34 | 0.99062 | -0.065717 | 0.0017829 | 0.00044684
35 | 0.99084 | -0.064145 | 0.0015253 | 0.00038228
36 | 0.99267 | -0.051262 | 0.0023456 | 0.00058787
37 | 0.99254 | -0.052153 | 0.0050754 | 0.001272
38 | 0.99089 | -0.063877 | 0.0016146 | 0.00040465
39 | 0.99051 | -0.066515 | 0.0019795 | 0.00049612
40 | 0.99059 | -0.065967 | 0.0015219 | 0.00038141
41 | 0.99241 | -0.053061 | 0.0012607 | 0.00031596
42 | 0.99236 | -0.053468 | 0.0018685 | 0.00046828
43 | 0.99015 | -0.069088 | 0.01013 | 0.0025388
44 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0050548 | -0.0012668 | 0.0050553 | 0.0012669 | 5.7353e-07 | 1.8548e-08 | 0.0076231 | 0.007623 | 0.0076231 | 0.98669 | -0.09345 | 0.9868 | -0.092631 | 2.8234
1 | -0.0089081 | -0.0022325 | 0.0089122 | 0.0022336 | 4.0394e-06 | 1.0951e-06 | 0.013433 | 0.013433 | 0.013433 | 0.9868 | -0.092631 | 0.98727 | -0.089356 | 4.9751
2 | -0.016858 | -0.004225 | 0.016873 | 0.0042301 | 1.4471e-05 | 5.106e-06 | 0.025409 | 0.025409 | 0.025409 | 0.98727 | -0.089356 | 0.98814 | -0.08316 | 9.4106
3 | -0.016873 | -0.0042301 | 0.016887 | 0.0042354 | 1.4892e-05 | 5.2537e-06 | 0.025409 | 0.025408 | 0.025409 | 0.98814 | -0.08316 | 0.98904 | -0.076794 | 9.4106
4 | -0.040972 | -0.010276 | 0.04101 | 0.010291 | 3.8229e-05 | 1.4496e-05 | 0.061645 | 0.061645 | 0.061645 | 0.98904 | -0.076794 | 0.98999 | -0.07007 | 22.8315
5 | 0.024084 | 0.0060408 | -0.02407 | -0.0060354 | 1.4582e-05 | 5.3803e-06 | 0.036237 | 0.036237 | 0.036237 | 0.98904 | -0.076794 | 0.98842 | -0.081163 | 13.421
6 | -0.021122 | -0.0052937 | 0.021133 | 0.0052978 | 1.1189e-05 | 4.0659e-06 | 0.031447 | 0.031447 | 0.031447 | 0.99945 | -0.0038247 | 1 | 0 | 11.6471
7 | 0.0015844 | 0.00039707 | -0.0015844 | -0.00039709 | 4.5095e-09 | -1.5285e-08 | 0.0023589 | 0.0023589 | 0.0023589 | 0.99945 | -0.0038247 | 0.99945 | -0.0038453 | 0.87367
8 | 0.12763 | 0.032133 | -0.12737 | -0.032034 | 0.00025794 | 9.8607e-05 | 0.18997 | 0.18997 | 0.18997 | 1 | 0 | 0.99792 | -0.014497 | 35.1795
9 | 0.11081 | 0.027877 | -0.11044 | -0.027734 | 0.00037486 | 0.00014303 | 0.16527 | 0.16527 | 0.16527 | 0.99792 | -0.014497 | 0.99443 | -0.038834 | 30.6059
10 | 0.016562 | 0.0041573 | -0.016557 | -0.0041559 | 4.2068e-06 | 1.4736e-06 | 0.024698 | 0.024698 | 0.024698 | 0.99792 | -0.014497 | 0.99765 | -0.016326 | 9.1473
11 | 0.042818 | 0.010741 | -0.042764 | -0.010721 | 5.3056e-05 | 2.0138e-05 | 0.064073 | 0.064073 | 0.064073 | 0.99443 | -0.038834 | 0.99316 | -0.047779 | 23.7309
12 | 0.06762 | 0.016993 | -0.067501 | -0.016947 | 0.00011839 | 4.5296e-05 | 0.1012 | 0.1012 | 0.1012 | 0.99443 | -0.038834 | 0.99264 | -0.051436 | 37.481
13 | 0.01555 | 0.0039034 | -0.015544 | -0.0039013 | 6.2223e-06 | 2.1513e-06 | 0.023196 | 0.023196 | 0.023196 | 0.99765 | -0.016326 | 0.99724 | -0.019208 | 8.591
14 | 0.010557 | 0.0026452 | -0.010552 | -0.0026439 | 4.4014e-06 | 1.3281e-06 | 0.015817 | 0.015817 | 0.015817 | 0.99316 | -0.047779 | 0.99274 | -0.050793 | 5.8581
15 | 0.032208 | 0.0080757 | -0.03218 | -0.0080652 | 2.8054e-05 | 1.054e-05 | 0.048257 | 0.048257 | 0.048257 | 0.99316 | -0.047779 | 0.99227 | -0.054071 | 17.8729
16 | 0.051179 | 0.012856 | -0.051127 | -0.012837 | 5.2192e-05 | 1.989e-05 | 0.076731 | 0.076731 | 0.076731 | 0.99264 | -0.051436 | 0.99159 | -0.058776 | 28.4188
17 | 0.011807 | 0.0029632 | -0.011799 | -0.0029607 | 7.8757e-06 | 2.5023e-06 | 0.017647 | 0.017647 | 0.017647 | 0.9957 | -0.030046 | 0.99501 | -0.034854 | 6.5359
18 | -0.011807 | -0.0029632 | 0.011818 | 0.0029665 | 1.0463e-05 | 3.3232e-06 | 0.017647 | 0.017646 | 0.017647 | 0.9957 | -0.030046 | 0.99661 | -0.023667 | 6.5358
19 | 0.011799 | 0.0029607 | -0.011781 | -0.002955 | 1.7971e-05 | 5.7125e-06 | 0.017647 | 0.017647 | 0.017647 | 0.99501 | -0.034854 | 0.99345 | -0.045842 | 6.536
20 | -0.014732 | -0.003697 | 0.014741 | 0.0037001 | 9.1211e-06 | 3.1143e-06 | 0.021998 | 0.021998 | 0.021998 | 0.99661 | -0.023667 | 0.99724 | -0.019208 | 8.1474
21 | 0.0080499 | 0.0020169 | -0.0080483 | -0.0020166 | 1.559e-06 | 3.7938e-07 | 0.012088 | 0.012088 | 0.012088 | 0.99095 | -0.063426 | 0.99075 | -0.064826 | 4.4769
22 | 0.0027841 | 0.00069732 | -0.002784 | -0.00069743 | 1.2921e-07 | -1.0293e-07 | 0.0041805 | 0.0041806 | 0.0041806 | 0.99095 | -0.063426 | 0.9909 | -0.063761 | 1.5484
23 | -0.010834 | -0.0027143 | 0.01084 | 0.0027162 | 6.1852e-06 | 1.8961e-06 | 0.016268 | 0.016268 | 0.016268 | 0.99095 | -0.063426 | 0.99153 | -0.059301 | 6.0252
24 | 0.0052852 | 0.0013241 | -0.0052846 | -0.001324 | 6.5199e-07 | 3.7245e-08 | 0.0079377 | 0.0079378 | 0.0079378 | 0.99075 | -0.064826 | 0.99062 | -0.065717 | 2.9399
25 | 0.0015254 | 0.00038199 | -0.0015253 | -0.00038228 | 8.1016e-08 | -2.8758e-07 | 0.0022905 | 0.0022907 | 0.0022907 | 0.9909 | -0.063761 | 0.99084 | -0.064145 | 0.84839
26 | -0.013577 | -0.0034021 | 0.013587 | 0.0034054 | 9.8326e-06 | 3.2919e-06 | 0.020375 | 0.020375 | 0.020375 | 0.99153 | -0.059301 | 0.99227 | -0.054071 | 7.5464
27 | 0.0023458 | 0.00058767 | -0.0023456 | -0.00058787 | 1.5217e-07 | -1.965e-07 | 0.003516 | 0.0035161 | 0.0035161 | 0.99274 | -0.050793 | 0.99267 | -0.051262 | 1.3023
28 | 0.0082066 | 0.0020562 | -0.0082051 | -0.0020558 | 1.5447e-06 | 3.8262e-07 | 0.012301 | 0.012301 | 0.012301 | 0.99274 | -0.050793 | 0.99254 | -0.052153 | 4.5559
29 | 0.051127 | 0.012837 | -0.051047 | -0.012806 | 8.0094e-05 | 3.0525e-05 | 0.076731 | 0.076731 | 0.076731 | 0.99159 | -0.058776 | 0.98999 | -0.07007 | 28.4188
30 | -0.015914 | -0.0039884 | 0.015927 | 0.0039927 | 1.2343e-05 | 4.308e-06 | 0.023998 | 0.023997 | 0.023998 | 0.9868 | -0.092633 | 0.98759 | -0.087034 | 8.888
31 | 0.012879 | 0.0032278 | -0.012879 | -0.0032275 | 8.6481e-07 | 2.8568e-07 | 0.019421 | 0.019421 | 0.019421 | 0.9868 | -0.092633 | 0.98673 | -0.093118 | 7.193
32 | -0.019924 | -0.0049945 | 0.01994 | 0.0050004 | 1.6215e-05 | 5.8671e-06 | 0.03002 | 0.03002 | 0.03002 | 0.98759 | -0.087034 | 0.98842 | -0.081163 | 11.1185
33 | 0.011121 | 0.0027874 | -0.011119 | -0.0027865 | 2.7625e-06 | 8.6149e-07 | 0.016771 | 0.016771 | 0.016771 | 0.98673 | -0.093118 | 0.98648 | -0.094913 | 6.2116
34 | 0.0017573 | 0.00044014 | -0.0017572 | -0.00044039 | 9.8262e-08 | -2.4863e-07 | 0.0026499 | 0.00265 | 0.00265 | 0.98673 | -0.093118 | 0.98668 | -0.093522 | 0.98148
35 | 0.0089228 | 0.0022362 | -0.0089225 | -0.0022361 | 2.9909e-07 | 8.1254e-08 | 0.013459 | 0.013459 | 0.013459 | 0.98648 | -0.094913 | 0.98645 | -0.095155 | 4.9849
36 | 0.0064346 | 0.0016126 | -0.0064339 | -0.0016125 | 7.6765e-07 | 1.2857e-07 | 0.0097063 | 0.0097064 | 0.0097064 | 0.98645 | -0.095155 | 0.98633 | -0.096017 | 3.595
37 | 0.011781 | 0.002955 | -0.011752 | -0.0029456 | 2.9404e-05 | 9.3551e-06 | 0.017647 | 0.017648 | 0.017648 | 0.99345 | -0.045842 | 0.99089 | -0.063877 | 6.5363
38 | 0.0035017 | 0.0008772 | -0.0035015 | -0.00087724 | 1.21e-07 | -4.3699e-08 | 0.0052597 | 0.0052598 | 0.0052598 | 0.99062 | -0.065717 | 0.99059 | -0.065967 | 1.9481
39 | 0.0031297 | 0.00078379 | -0.0031293 | -0.00078401 | 3.93e-07 | -2.1857e-07 | 0.0046918 | 0.0046919 | 0.0046919 | 0.99254 | -0.052153 | 0.99241 | -0.053061 | 1.7377
40 | 0.010137 | 0.002541 | -0.01013 | -0.0025388 | 7.3119e-06 | 2.1615e-06 | 0.015223 | 0.015224 | 0.015224 | 0.99089 | -0.063877 | 0.99015 | -0.069088 | 5.6383
41 | -0.0019795 | -0.00049612 | 0.0019797 | 0.00049583 | 1.5001e-07 | -2.9225e-07 | 0.0029738 | 0.0029737 | 0.0029738 | 0.99051 | -0.066515 | 0.99059 | -0.065967 | 1.1014
42 | 0.0018686 | 0.00046805 | -0.0018685 | -0.00046828 | 1.0502e-07 | -2.3663e-07 | 0.0028016 | 0.0028017 | 0.0028017 | 0.99241 | -0.053061 | 0.99236 | -0.053468 | 1.0377

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.17847 | 0.044675

## res_load
| p_mw | q_mvar
0 | 0.0050548 | 0.0012668
1 | 0.0038528 | 0.0009656
2 | 0.0079459 | 0.0019914
3 | 0.019538 | 0.0048966
4 | 0.028908 | 0.007245
5 | 0.0015844 | 0.00039709
6 | 0.0010072 | 0.00025242
7 | 0.016322 | 0.0040908
8 | 0.0029146 | 0.00073046
9 | 0.0027631 | 0.0006925
10 | 0.0012586 | 0.00031544
11 | 0.0027369 | 0.00068594
12 | 0.018593 | 0.0046598
13 | 0.010037 | 0.0025154
14 | 0.00080272 | 0.00020118
15 | 0.003035 | 0.00076064
16 | 0.0039971 | 0.0010018
17 | 0.0041297 | 0.001035
18 | 0.0021957 | 0.0005503
19 | 0.0017572 | 0.00044039
20 | 0.0024879 | 0.00062352
21 | 0.0064339 | 0.0016125
22 | 0.0017829 | 0.00044684
23 | 0.0015253 | 0.00038228
24 | 0.0023456 | 0.00058787
25 | 0.0050754 | 0.001272
26 | 0.0016146 | 0.00040465
27 | 0.0019795 | 0.00049612
28 | 0.0015219 | 0.00038141
29 | 0.0012607 | 0.00031596
30 | 0.0018685 | 0.00046828
31 | 0.01013 | 0.0025388

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1