## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1370-1_1_3_node_7 | 0.4 | n |  | TRUE
1 | bus_LV_1370-1_1_3_node_8 | 0.4 | n |  | TRUE
2 | bus_LV_1370-1_1_3_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_1370-1_1_3_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_1370-1_1_3_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_1370-1_1_3_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_1370-1_1_3_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_1370-1_1_3_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_1370-1_1_3_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_1370-1_1_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_1370-1_1_3_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_1370-1_1_3_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_1370-1_1_3_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_1370-1_1_3_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_1370-1_1_3_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_1370-1_1_3_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_1370-1_1_3_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_1370-1_1_3_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_1370-1_1_3_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_1370-1_1_3_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_1370-1_1_3_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_1370-1_1_3_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_1370-1_1_3_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_1370-1_1_3_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_1370-1_1_3_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_1370-1_1_3_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_1370-1_1_3_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_1370-1_1_3_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_1370-1_1_3_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_1370-1_1_3_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_1370-1_1_3_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_1370-1_1_3_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_1370-1_1_3_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_1370-1_1_3_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_1370-1_1_3_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_1370-1_1_3_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_1370-1_1_3_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_1370-1_1_3_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_1370-1_1_3_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_1370-1_1_3_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_1370-1_1_3_node_48 | 0.4 | n |  | TRUE
41 | bus_MV_22_0_node_208 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1370-1_1_3_load_7 | 0 | 0.0033753 | 0.00084593 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1370-1_1_3_load_8 | 1 | 0.0042142 | 0.0010562 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1370-1_1_3_load_10 | 3 | 0.00076694 | 0.00019221 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1370-1_1_3_load_11 | 4 | 0.0020523 | 0.00051434 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1370-1_1_3_load_16 | 5 | 0.002906 | 0.00072832 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1370-1_1_3_load_26 | 6 | 0.0046819 | 0.0011734 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1370-1_1_3_load_12 | 7 | 0.0014597 | 0.00036584 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1370-1_1_3_load_13 | 8 | 0.0047746 | 0.0011966 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1370-1_1_3_load_14 | 9 | 0.0018491 | 0.00046343 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1370-1_1_3_load_15 | 10 | 0.0019895 | 0.00049861 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1370-1_1_3_load_17 | 11 | 0.0031423 | 0.00078754 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1370-1_1_3_load_18 | 12 | 0.0016779 | 0.00042053 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1370-1_1_3_load_23 | 13 | 0.0030136 | 0.00075528 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1370-1_1_3_load_19 | 14 | 0.0033118 | 0.00083001 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1370-1_1_3_load_20 | 15 | 0.0027547 | 0.00069039 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1370-1_1_3_load_21 | 16 | 0.0030913 | 0.00077476 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1370-1_1_3_load_24 | 19 | 0.0033754 | 0.00084596 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1370-1_1_3_load_27 | 20 | 0.0055244 | 0.0013846 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1370-1_1_3_load_28 | 21 | 0.0019078 | 0.00047813 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1370-1_1_3_load_29 | 23 | 0.0059222 | 0.0014842 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1370-1_1_3_load_30 | 24 | 0.0054525 | 0.0013665 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1370-1_1_3_load_31 | 25 | 0.0010765 | 0.00026979 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1370-1_1_3_load_32 | 26 | 0.0056655 | 0.0014199 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1370-1_1_3_load_33 | 27 | 0.011217 | 0.0028112 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1370-1_1_3_load_34 | 28 | 0.0043943 | 0.0011013 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1370-1_1_3_load_41 | 29 | 0.0028351 | 0.00071054 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1370-1_1_3_load_43 | 31 | 0.0047154 | 0.0011818 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1370-1_1_3_load_44 | 34 | 0.0036574 | 0.00091663 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1370-1_1_3_load_38 | 35 | 0.0022972 | 0.00057574 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1370-1_1_3_load_42 | 37 | 0.0026545 | 0.00066528 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1370-1_1_3_load_47 | 38 | 0.0013731 | 0.00034413 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1370-1_1_3_load_46 | 39 | 0.00070821 | 0.00017749 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1370-1_1_3_load_48 | 40 | 0.0045972 | 0.0011522 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1370-1_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0053389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1370-1_1_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.023877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1370-1_1_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.040434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1370-1_1_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.016664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1370-1_1_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.014339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1370-1_1_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.016008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1370-1_1_3_line_6 | NAYY 4x150 SE | 5 | 9 | 0.0039241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1370-1_1_3_line_7 | NAYY 4x150 SE | 6 | 20 | 0.018041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1370-1_1_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.0068941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1370-1_1_3_line_9 | NAYY 4x150 SE | 7 | 9 | 0.019531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1370-1_1_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.0049279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1370-1_1_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.021235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1370-1_1_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.015099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1370-1_1_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.0096456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1370-1_1_3_line_14 | NAYY 4x150 SE | 13 | 19 | 0.024955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1370-1_1_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.022744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1370-1_1_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.0063556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1370-1_1_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.06232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1370-1_1_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.072399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1370-1_1_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.032222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1370-1_1_3_line_20 | NAYY 4x150 SE | 20 | 21 | 0.0012472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1370-1_1_3_line_21 | NAYY 4x150 SE | 21 | 22 | 0.037729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1370-1_1_3_line_22 | NAYY 4x150 SE | 22 | 30 | 0.02879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1370-1_1_3_line_23 | NAYY 4x150 SE | 23 | 24 | 0.027327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1370-1_1_3_line_24 | NAYY 4x150 SE | 23 | 25 | 0.0078413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1370-1_1_3_line_25 | NAYY 4x150 SE | 24 | 26 | 0.013521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1370-1_1_3_line_26 | NAYY 4x150 SE | 25 | 27 | 0.012923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1370-1_1_3_line_27 | NAYY 4x150 SE | 25 | 28 | 0.019793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1370-1_1_3_line_28 | NAYY 4x150 SE | 26 | 29 | 0.011242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1370-1_1_3_line_29 | NAYY 4x150 SE | 27 | 30 | 0.027242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1370-1_1_3_line_30 | NAYY 4x150 SE | 28 | 31 | 0.0022209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1370-1_1_3_line_31 | NAYY 4x150 SE | 29 | 36 | 0.02465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1370-1_1_3_line_32 | NAYY 4x150 SE | 31 | 34 | 0.024966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1370-1_1_3_line_33 | NAYY 4x150 SE | 32 | 33 | 0.073724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1370-1_1_3_line_34 | NAYY 4x150 SE | 32 | 34 | 0.071848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1370-1_1_3_line_35 | NAYY 4x150 SE | 33 | 38 | 0.030808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1370-1_1_3_line_36 | NAYY 4x150 SE | 35 | 36 | 0.0028459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1370-1_1_3_line_37 | NAYY 4x150 SE | 36 | 37 | 0.023554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1370-1_1_3_line_38 | NAYY 4x150 SE | 38 | 39 | 0.0010033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1370-1_1_3_line_39 | NAYY 4x150 SE | 39 | 40 | 0.021321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1370-1_1_3_trafo_31 | 0.25 MVA 20/0.4 kV | 41 | 25 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2693554.4225 | 1217865.9882 | 2693559.2486 | 1217863.7051
1 | 2693581.4514 | 1217855.0763 | 2693574.5292 | 1217857.4025 | 2693569.3811 | 1217858.9116 | 2693559.2486 | 1217863.7051
2 | 2693581.4514 | 1217855.0763 | 2693578.8132 | 1217851.9438 | 2693573.43 | 1217845.2213 | 2693564.1466 | 1217827.2632 | 2693563.5335 | 1217819.7775
3 | 2693581.4514 | 1217855.0763 | 2693597.4385 | 1217850.3759
4 | 2693562.363 | 1217805.4868 | 2693563.5335 | 1217819.7775
5 | 2693612.7968 | 1217845.8604 | 2693597.4385 | 1217850.3759
6 | 2693562.363 | 1217805.4868 | 2693562.363 | 1217805.4868 | 2693563.0699 | 1217801.6269
7 | 2693612.7968 | 1217845.8604 | 2693630.1056 | 1217840.7714
8 | 2693567.8302 | 1217775.6341 | 2693566.5883 | 1217782.4154
9 | 2693563.0699 | 1217801.6269 | 2693566.5883 | 1217782.4154
10 | 2693567.8302 | 1217775.6341 | 2693568.7179 | 1217770.7869
11 | 2693572.5432 | 1217749.8996 | 2693568.7179 | 1217770.7869
12 | 2693572.5432 | 1217749.8996 | 2693575.2632 | 1217735.0476
13 | 2693577.0008 | 1217725.5598 | 2693575.2632 | 1217735.0476
14 | 2693577.0008 | 1217725.5598 | 2693581.4962 | 1217701.0129
15 | 2693509.5529 | 1217759.2302 | 2693505.5646 | 1217781.6221
16 | 2693510.6674 | 1217752.9731 | 2693509.5529 | 1217759.2302
17 | 2693518.907 | 1217691.4371 | 2693519.4183 | 1217703.8426 | 2693510.6674 | 1217752.9731
18 | 2693518.907 | 1217691.4371 | 2693552.3298 | 1217685.9134 | 2693587.3009 | 1217669.3177
19 | 2693587.3009 | 1217669.3177 | 2693581.4962 | 1217701.0129
20 | 2693631.3021 | 1217840.4196 | 2693630.1056 | 1217840.7714
21 | 2693667.4989 | 1217829.7773 | 2693631.3021 | 1217840.4196
22 | 2693658.6679 | 1217802.3751 | 2693664.6615 | 1217820.9711 | 2693667.4989 | 1217829.7773
23 | 2693650.4602 | 1217755.7648 | 2693650.9458 | 1217751.7633 | 2693659.1747 | 1217729.9689
24 | 2693649.5155 | 1217763.5489 | 2693650.4602 | 1217755.7648
25 | 2693659.1747 | 1217729.9689 | 2693663.9506 | 1217717.3198
26 | 2693649.5155 | 1217763.5489 | 2693650.3071 | 1217776.4481
27 | 2693649.5155 | 1217763.5489 | 2693653.2366 | 1217764.4414 | 2693668.9028 | 1217761.3603
28 | 2693667.9215 | 1217706.8028 | 2693663.9506 | 1217717.3198
29 | 2693658.6679 | 1217802.3751 | 2693655.1499 | 1217791.4679 | 2693653.9409 | 1217787.7241 | 2693650.3071 | 1217776.4481
30 | 2693668.9028 | 1217761.3603 | 2693671.082 | 1217760.9317
31 | 2693676.6285 | 1217683.7422 | 2693667.9215 | 1217706.8028
32 | 2693695.5809 | 1217756.1253 | 2693695.2202 | 1217756.1844 | 2693671.082 | 1217760.9317
33 | 2693766.6024 | 1217745.3329 | 2693763.5936 | 1217712.6964 | 2693763.7978 | 1217671.7602
34 | 2693766.6024 | 1217745.3329 | 2693744.8698 | 1217748.0485 | 2693695.5809 | 1217756.1253
35 | 2693763.7978 | 1217671.7602 | 2693733.4821 | 1217677.2469
36 | 2693676.6285 | 1217683.7422 | 2693677.6341 | 1217681.0798
37 | 2693676.6285 | 1217683.7422 | 2693699.7832 | 1217679.4243
38 | 2693732.4948 | 1217677.4256 | 2693733.4821 | 1217677.2469
39 | 2693721.8435 | 1217692.5814 | 2693725.7601 | 1217678.6444 | 2693732.4948 | 1217677.4256

## bus_geodata
| x | y | coords
0 | 2693554.4225 | 1217865.9882
1 | 2693559.2486 | 1217863.7051
2 | 2693581.4514 | 1217855.0763
3 | 2693563.5335 | 1217819.7775
4 | 2693597.4385 | 1217850.3759
5 | 2693562.363 | 1217805.4868
6 | 2693612.7968 | 1217845.8604
7 | 2693566.5883 | 1217782.4154
8 | 2693567.8302 | 1217775.6341
9 | 2693563.0699 | 1217801.6269
10 | 2693568.7179 | 1217770.7869
11 | 2693572.5432 | 1217749.8996
12 | 2693575.2632 | 1217735.0476
13 | 2693577.0008 | 1217725.5598
14 | 2693509.5529 | 1217759.2302
15 | 2693505.5646 | 1217781.6221
16 | 2693510.6674 | 1217752.9731
17 | 2693518.907 | 1217691.4371
18 | 2693587.3009 | 1217669.3177
19 | 2693581.4962 | 1217701.0129
20 | 2693630.1056 | 1217840.7714
21 | 2693631.3021 | 1217840.4196
22 | 2693667.4989 | 1217829.7773
23 | 2693650.4602 | 1217755.7648
24 | 2693659.1747 | 1217729.9689
25 | 2693649.5155 | 1217763.5489
26 | 2693663.9506 | 1217717.3198
27 | 2693650.3071 | 1217776.4481
28 | 2693668.9028 | 1217761.3603
29 | 2693667.9215 | 1217706.8028
30 | 2693658.6679 | 1217802.3751
31 | 2693671.082 | 1217760.9317
32 | 2693766.6024 | 1217745.3329
33 | 2693763.7978 | 1217671.7602
34 | 2693695.5809 | 1217756.1253
35 | 2693677.6341 | 1217681.0798
36 | 2693676.6285 | 1217683.7422
37 | 2693699.7832 | 1217679.4243
38 | 2693733.4821 | 1217677.2469
39 | 2693732.4948 | 1217677.4256
40 | 2693721.8435 | 1217692.5814
41 | 2693658.6679 | 1217802.3751

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9875 | -0.087403 | 0.0033753 | 0.00084593
1 | 0.98752 | -0.087218 | 0.0042142 | 0.0010562
2 | 0.98778 | -0.085364 | 0 | 0
3 | 0.98578 | -0.099514 | 0.00076694 | 0.00019221
4 | 0.98879 | -0.078257 | 0.0020523 | 0.00051434
5 | 0.98509 | -0.10443 | 0.002906 | 0.00072832
6 | 0.98981 | -0.071108 | 0.0046819 | 0.0011734
7 | 0.98411 | -0.11142 | 0.0014597 | 0.00036584
8 | 0.98383 | -0.11335 | 0.0047746 | 0.0011966
9 | 0.98492 | -0.10566 | 0.0018491 | 0.00046343
10 | 0.98367 | -0.11449 | 0.0019895 | 0.00049861
11 | 0.98305 | -0.11895 | 0.0031423 | 0.00078754
12 | 0.98267 | -0.12164 | 0.0016779 | 0.00042053
13 | 0.98245 | -0.1232 | 0.0030136 | 0.00075528
14 | 0.97971 | -0.14272 | 0.0033118 | 0.00083001
15 | 0.97962 | -0.14337 | 0.0027547 | 0.00069039
16 | 0.97977 | -0.14231 | 0.0030913 | 0.00077476
17 | 0.9806 | -0.13638 | 0 | 0
18 | 0.98157 | -0.1295 | 0 | 0
19 | 0.98199 | -0.12644 | 0.0033754 | 0.00084596
20 | 0.99107 | -0.06221 | 0.0055244 | 0.0013846
21 | 0.99117 | -0.061525 | 0.0019078 | 0.00047813
22 | 0.99422 | -0.040161 | 0 | 0
23 | 0.99972 | -0.0019443 | 0.0059222 | 0.0014842
24 | 0.99898 | -0.0071093 | 0.0054525 | 0.0013665
25 | 1 | 0 | -0.11304 | -0.028237
26 | 0.99873 | -0.0089296 | 0.0056655 | 0.0014199
27 | 0.99875 | -0.0086701 | 0.011217 | 0.0028112
28 | 0.99945 | -0.0038479 | 0.0043943 | 0.0011013
29 | 0.9986 | -0.0098062 | 0.0028351 | 0.00071054
30 | 0.99655 | -0.023945 | 0 | 0
31 | 0.9994 | -0.0041824 | 0.0047154 | 0.0011818
32 | 0.99835 | -0.01158 | 0 | 0
33 | 0.99764 | -0.01652 | 0 | 0
34 | 0.99903 | -0.006767 | 0.0036574 | 0.00091663
35 | 0.99842 | -0.011094 | 0.0022972 | 0.00057574
36 | 0.99843 | -0.011029 | 0 | 0
37 | 0.99834 | -0.011655 | 0.0026545 | 0.00066528
38 | 0.99735 | -0.018585 | 0.0013731 | 0.00034413
39 | 0.99734 | -0.018639 | 0.00070821 | 0.00017749
40 | 0.9972 | -0.019622 | 0.0045972 | 0.0011522
41 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0033753 | -0.00084593 | 0.0033754 | 0.0008459 | 8.6181e-08 | -3.5158e-08 | 0.0050861 | 0.0050861 | 0.0050861 | 0.9875 | -0.087403 | 0.98752 | -0.087218 | 1.8837
1 | -0.0075896 | -0.0019021 | 0.0075915 | 0.0019025 | 1.9485e-06 | 4.4388e-07 | 0.011436 | 0.011436 | 0.011436 | 0.98752 | -0.087218 | 0.98778 | -0.085364 | 4.2356
2 | 0.034291 | 0.0086134 | -0.034223 | -0.008588 | 6.7344e-05 | 2.5385e-05 | 0.051663 | 0.051663 | 0.051663 | 0.98778 | -0.085364 | 0.98578 | -0.099514 | 19.1346
3 | -0.041882 | -0.010516 | 0.041924 | 0.010532 | 4.14e-05 | 1.571e-05 | 0.063099 | 0.063099 | 0.063099 | 0.98778 | -0.085364 | 0.98879 | -0.078257 | 23.3701
4 | 0.033457 | 0.0083958 | -0.033434 | -0.0083872 | 2.2823e-05 | 8.5953e-06 | 0.050506 | 0.050506 | 0.050506 | 0.98578 | -0.099514 | 0.98509 | -0.10443 | 18.7058
5 | -0.043976 | -0.011046 | 0.04402 | 0.011063 | 4.3761e-05 | 1.6625e-05 | 0.066187 | 0.066187 | 0.066187 | 0.98879 | -0.078257 | 0.98981 | -0.071108 | 24.5139
6 | 0.030528 | 0.0076589 | -0.030522 | -0.0076569 | 5.2075e-06 | 1.9529e-06 | 0.046116 | 0.046116 | 0.046116 | 0.98509 | -0.10443 | 0.98492 | -0.10566 | 17.08
7 | -0.048702 | -0.012236 | 0.048762 | 0.012259 | 6.0365e-05 | 2.2985e-05 | 0.073226 | 0.073226 | 0.073226 | 0.98981 | -0.071108 | 0.99107 | -0.06221 | 27.1207
8 | 0.027191 | 0.0068191 | -0.027183 | -0.0068164 | 7.2723e-06 | 2.7095e-06 | 0.041115 | 0.041115 | 0.041115 | 0.98411 | -0.11142 | 0.98383 | -0.11335 | 15.2279
9 | -0.02865 | -0.0071849 | 0.028673 | 0.0071935 | 2.2874e-05 | 8.5492e-06 | 0.043323 | 0.043322 | 0.043323 | 0.98411 | -0.11142 | 0.98492 | -0.10566 | 16.0454
10 | 0.022409 | 0.0056198 | -0.022405 | -0.0056185 | 3.5326e-06 | 1.2961e-06 | 0.033894 | 0.033894 | 0.033894 | 0.98383 | -0.11335 | 0.98367 | -0.11449 | 12.5533
11 | 0.020416 | 0.0051199 | -0.020403 | -0.0051153 | 1.2639e-05 | 4.5918e-06 | 0.030884 | 0.030885 | 0.030885 | 0.98367 | -0.11449 | 0.98305 | -0.11895 | 11.4387
12 | 0.017261 | 0.0043277 | -0.017254 | -0.0043254 | 6.432e-06 | 2.2825e-06 | 0.026128 | 0.026128 | 0.026128 | 0.98305 | -0.11895 | 0.98267 | -0.12164 | 9.6771
13 | 0.015577 | 0.0039049 | -0.015573 | -0.0039038 | 3.3487e-06 | 1.1658e-06 | 0.023587 | 0.023587 | 0.023587 | 0.98267 | -0.12164 | 0.98245 | -0.1232 | 8.7361
14 | 0.01256 | 0.0031485 | -0.012554 | -0.0031466 | 5.6351e-06 | 1.8515e-06 | 0.019023 | 0.019023 | 0.019023 | 0.98245 | -0.1232 | 0.98199 | -0.12644 | 7.0456
15 | 0.0027549 | 0.0006902 | -0.0027547 | -0.00069039 | 2.4848e-07 | -1.9081e-07 | 0.0041842 | 0.0041843 | 0.0041843 | 0.97971 | -0.14272 | 0.97962 | -0.14337 | 1.5497
16 | -0.0060667 | -0.0015202 | 0.006067 | 0.0015203 | 3.3671e-07 | 4.9466e-08 | 0.0092142 | 0.0092141 | 0.0092142 | 0.97971 | -0.14272 | 0.97977 | -0.14231 | 3.4127
17 | -0.0091584 | -0.002295 | 0.0091659 | 0.0022971 | 7.5231e-06 | 2.108e-06 | 0.013909 | 0.013909 | 0.013909 | 0.97977 | -0.14231 | 0.9806 | -0.13638 | 5.1515
18 | -0.0091659 | -0.0022971 | 0.0091746 | 0.0022996 | 8.7395e-06 | 2.4471e-06 | 0.013909 | 0.013908 | 0.013909 | 0.9806 | -0.13638 | 0.98157 | -0.1295 | 5.1514
19 | -0.0091746 | -0.0022996 | 0.0091785 | 0.0023007 | 3.8895e-06 | 1.0885e-06 | 0.013908 | 0.013908 | 0.013908 | 0.98157 | -0.1295 | 0.98199 | -0.12644 | 5.1513
20 | -0.054286 | -0.013644 | 0.054292 | 0.013645 | 5.172e-06 | 1.9732e-06 | 0.08152 | 0.08152 | 0.08152 | 0.99107 | -0.06221 | 0.99117 | -0.061525 | 30.1927
21 | -0.056199 | -0.014124 | 0.056367 | 0.014188 | 0.00016764 | 6.399e-05 | 0.084384 | 0.084384 | 0.084384 | 0.99117 | -0.061525 | 0.99422 | -0.040161 | 31.2535
22 | -0.056367 | -0.014188 | 0.056495 | 0.014236 | 0.00012792 | 4.8827e-05 | 0.084384 | 0.084384 | 0.084384 | 0.99422 | -0.040161 | 0.99655 | -0.023945 | 31.2534
23 | 0.018924 | 0.0047439 | -0.01891 | -0.0047391 | 1.3529e-05 | 4.8454e-06 | 0.028167 | 0.028167 | 0.028167 | 0.99972 | -0.0019443 | 0.99898 | -0.0071093 | 10.4323
24 | -0.024846 | -0.0062282 | 0.024853 | 0.0062307 | 6.6919e-06 | 2.471e-06 | 0.036982 | 0.036982 | 0.036982 | 0.99972 | -0.0019443 | 1 | 0 | 13.697
25 | 0.013458 | 0.0033726 | -0.013454 | -0.0033714 | 3.3902e-06 | 1.1269e-06 | 0.020046 | 0.020046 | 0.020046 | 0.99898 | -0.0071093 | 0.99873 | -0.0089296 | 7.4243
26 | 0.067915 | 0.017125 | -0.067833 | -0.017094 | 8.2418e-05 | 3.153e-05 | 0.1011 | 0.1011 | 0.1011 | 1 | 0 | 0.99875 | -0.0086701 | 37.4428
27 | 0.019472 | 0.0048805 | -0.019462 | -0.0048767 | 1.0369e-05 | 3.7285e-06 | 0.028975 | 0.028975 | 0.028975 | 1 | 0 | 0.99945 | -0.0038479 | 10.7314
28 | 0.0077889 | 0.0019515 | -0.0077879 | -0.0019513 | 9.4466e-07 | 2.1624e-07 | 0.011605 | 0.011605 | 0.011605 | 0.99873 | -0.0089296 | 0.9986 | -0.0098062 | 4.298
29 | 0.056616 | 0.014283 | -0.056495 | -0.014236 | 0.00012104 | 4.6199e-05 | 0.084384 | 0.084384 | 0.084384 | 0.99875 | -0.0086701 | 0.99655 | -0.023945 | 31.2534
30 | 0.015067 | 0.0037754 | -0.015067 | -0.0037752 | 6.9739e-07 | 2.3912e-07 | 0.022432 | 0.022432 | 0.022432 | 0.99945 | -0.0038479 | 0.9994 | -0.0041824 | 8.3083
31 | 0.0049528 | 0.0012408 | -0.004952 | -0.0012408 | 8.3776e-07 | -2.1005e-10 | 0.00738 | 0.0073802 | 0.0073802 | 0.9986 | -0.0098062 | 0.99843 | -0.011029 | 2.7334
32 | 0.010351 | 0.0025934 | -0.010348 | -0.0025923 | 3.7003e-06 | 1.0962e-06 | 0.015412 | 0.015412 | 0.015412 | 0.9994 | -0.0041824 | 0.99903 | -0.006767 | 5.7081
33 | 0.0066857 | 0.0016749 | -0.0066811 | -0.0016741 | 4.568e-06 | 7.936e-07 | 0.0099646 | 0.009965 | 0.009965 | 0.99835 | -0.01158 | 0.99764 | -0.01652 | 3.6907
34 | -0.0066857 | -0.0016749 | 0.0066901 | 0.0016757 | 4.4515e-06 | 7.7198e-07 | 0.0099646 | 0.0099643 | 0.0099646 | 0.99835 | -0.01158 | 0.99903 | -0.006767 | 3.6906
35 | 0.0066811 | 0.0016741 | -0.0066792 | -0.0016738 | 1.909e-06 | 3.3207e-07 | 0.009965 | 0.0099651 | 0.0099651 | 0.99764 | -0.01652 | 0.99735 | -0.018585 | 3.6908
36 | -0.0022972 | -0.00057574 | 0.0022973 | 0.00057571 | 2.0817e-08 | -2.9212e-08 | 0.0034238 | 0.0034237 | 0.0034238 | 0.99842 | -0.011094 | 0.99843 | -0.011029 | 1.2681
37 | 0.0026547 | 0.00066506 | -0.0026545 | -0.00066528 | 2.3007e-07 | -2.1952e-07 | 0.0039564 | 0.0039565 | 0.0039565 | 0.99843 | -0.011029 | 0.99834 | -0.011655 | 1.4654
38 | 0.0053061 | 0.0013296 | -0.0053061 | -0.0013296 | 3.9235e-08 | 1.9978e-09 | 0.0079165 | 0.0079165 | 0.0079165 | 0.99735 | -0.018585 | 0.99734 | -0.018639 | 2.932
39 | 0.0045979 | 0.0011521 | -0.0045972 | -0.0011522 | 6.2608e-07 | -3.7393e-08 | 0.0068599 | 0.00686 | 0.00686 | 0.99734 | -0.018639 | 0.9972 | -0.019622 | 2.5407

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.11412 | 0.028506

## res_load
| p_mw | q_mvar
0 | 0.0033753 | 0.00084593
1 | 0.0042142 | 0.0010562
2 | 0.00076694 | 0.00019221
3 | 0.0020523 | 0.00051434
4 | 0.002906 | 0.00072832
5 | 0.0046819 | 0.0011734
6 | 0.0014597 | 0.00036584
7 | 0.0047746 | 0.0011966
8 | 0.0018491 | 0.00046343
9 | 0.0019895 | 0.00049861
10 | 0.0031423 | 0.00078754
11 | 0.0016779 | 0.00042053
12 | 0.0030136 | 0.00075528
13 | 0.0033118 | 0.00083001
14 | 0.0027547 | 0.00069039
15 | 0.0030913 | 0.00077476
16 | 0.0033754 | 0.00084596
17 | 0.0055244 | 0.0013846
18 | 0.0019078 | 0.00047813
19 | 0.0059222 | 0.0014842
20 | 0.0054525 | 0.0013665
21 | 0.0010765 | 0.00026979
22 | 0.0056655 | 0.0014199
23 | 0.011217 | 0.0028112
24 | 0.0043943 | 0.0011013
25 | 0.0028351 | 0.00071054
26 | 0.0047154 | 0.0011818
27 | 0.0036574 | 0.00091663
28 | 0.0022972 | 0.00057574
29 | 0.0026545 | 0.00066528
30 | 0.0013731 | 0.00034413
31 | 0.00070821 | 0.00017749
32 | 0.0045972 | 0.0011522

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1