## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1370-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1370-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1370-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1370-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1370-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1370-2_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1370-2_0_3_node_29 | 0.4 | n |  | TRUE
7 | bus_LV_1370-2_0_3_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_1370-2_0_3_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_1370-2_0_3_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_1370-2_0_3_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_1370-2_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1370-2_0_3_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_1370-2_0_3_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_1370-2_0_3_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_1370-2_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1370-2_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1370-2_0_3_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_1370-2_0_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_1370-2_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1370-2_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1370-2_0_3_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_1370-2_0_3_node_41 | 0.4 | n |  | TRUE
23 | bus_LV_1370-2_0_3_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_1370-2_0_3_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_1370-2_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_1370-2_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_1370-2_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1370-2_0_3_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_1370-2_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_1370-2_0_3_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_1370-2_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_1370-2_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_1370-2_0_3_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_1370-2_0_3_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_1370-2_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_1370-2_0_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_1370-2_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_1370-2_0_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_1370-2_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_1370-2_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_1370-2_0_3_node_35 | 0.4 | n |  | TRUE
42 | bus_MV_22_0_node_209 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1370-2_0_3_load_0 | 0 | 0.0092009 | 0.002306 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1370-2_0_3_load_1 | 1 | 0.010071 | 0.002524 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1370-2_0_3_load_3 | 3 | 0.003714 | 0.00093083 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1370-2_0_3_load_5 | 5 | 0.0035187 | 0.00088188 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1370-2_0_3_load_29 | 6 | 0.0024566 | 0.00061567 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1370-2_0_3_load_11 | 7 | 0.004735 | 0.0011867 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1370-2_0_3_load_12 | 8 | 0.0137 | 0.0034336 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1370-2_0_3_load_22 | 9 | 0.0065804 | 0.0016492 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1370-2_0_3_load_7 | 11 | 0.0070025 | 0.001755 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1370-2_0_3_load_21 | 13 | 0.0048295 | 0.0012104 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1370-2_0_3_load_6 | 14 | 0.005431 | 0.0013611 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1370-2_0_3_load_10 | 15 | 0.0025854 | 0.00064795 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1370-2_0_3_load_19 | 17 | 0.0063517 | 0.0015919 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1370-2_0_3_load_16 | 18 | 0.013629 | 0.0034158 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1370-2_0_3_load_14 | 19 | 0.0062048 | 0.0015551 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1370-2_0_3_load_15 | 20 | 0.0093268 | 0.0023375 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1370-2_0_3_load_36 | 21 | 0.0033925 | 0.00085024 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1370-2_0_3_load_41 | 22 | 0.0059392 | 0.0014885 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1370-2_0_3_load_37 | 23 | 0.0018641 | 0.0004672 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1370-2_0_3_load_40 | 24 | 0.0055834 | 0.0013993 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1370-2_0_3_load_17 | 25 | 0.0037234 | 0.00093316 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1370-2_0_3_load_18 | 26 | 0.0021888 | 0.00054856 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1370-2_0_3_load_26 | 28 | 0.0055362 | 0.0013875 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1370-2_0_3_load_23 | 29 | 0.0077176 | 0.0019342 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1370-2_0_3_load_42 | 30 | 0.0018943 | 0.00047476 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1370-2_0_3_load_24 | 31 | 0.0054761 | 0.0013724 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1370-2_0_3_load_25 | 32 | 0.0014632 | 0.00036672 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1370-2_0_3_load_38 | 33 | 0.0027975 | 0.00070111 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1370-2_0_3_load_39 | 34 | 0.0038174 | 0.00095674 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1370-2_0_3_load_27 | 35 | 0.0061717 | 0.0015468 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1370-2_0_3_load_30 | 36 | 0.0012906 | 0.00032345 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1370-2_0_3_load_31 | 37 | 0.0008322 | 0.00020857 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1370-2_0_3_load_32 | 38 | 0.0060081 | 0.0015058 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1370-2_0_3_load_34 | 40 | 0.0013522 | 0.00033888 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1370-2_0_3_load_35 | 41 | 0.0027826 | 0.00069737 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1370-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0098504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1370-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.033519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1370-2_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.028669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1370-2_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.020419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1370-2_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.028465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1370-2_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.01069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1370-2_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.016271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1370-2_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.02944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1370-2_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.02388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1370-2_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.011181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1370-2_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.029435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1370-2_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.0094741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1370-2_0_3_line_12 | NAYY 4x150 SE | 9 | 13 | 0.0067133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1370-2_0_3_line_13 | NAYY 4x150 SE | 10 | 36 | 0.014032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1370-2_0_3_line_14 | NAYY 4x150 SE | 10 | 35 | 0.0026019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1370-2_0_3_line_15 | NAYY 4x150 SE | 11 | 15 | 0.025502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1370-2_0_3_line_16 | NAYY 4x150 SE | 11 | 14 | 0.016463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1370-2_0_3_line_17 | NAYY 4x150 SE | 12 | 19 | 0.022605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1370-2_0_3_line_18 | NAYY 4x150 SE | 12 | 20 | 0.048047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1370-2_0_3_line_19 | NAYY 4x150 SE | 13 | 17 | 0.013424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1370-2_0_3_line_20 | NAYY 4x150 SE | 16 | 17 | 0.032575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1370-2_0_3_line_21 | NAYY 4x150 SE | 16 | 18 | 0.026861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1370-2_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.027627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1370-2_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.021281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1370-2_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.0262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1370-2_0_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.029319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1370-2_0_3_line_26 | NAYY 4x150 SE | 23 | 41 | 0.021824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1370-2_0_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.014208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1370-2_0_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.022247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1370-2_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.043644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1370-2_0_3_line_30 | NAYY 4x150 SE | 27 | 29 | 0.021308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1370-2_0_3_line_31 | NAYY 4x150 SE | 28 | 30 | 0.022096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1370-2_0_3_line_32 | NAYY 4x150 SE | 29 | 31 | 0.032348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1370-2_0_3_line_33 | NAYY 4x150 SE | 31 | 32 | 0.005227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1370-2_0_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.027116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1370-2_0_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.0036582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1370-2_0_3_line_36 | NAYY 4x150 SE | 34 | 36 | 0.01593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1370-2_0_3_line_37 | NAYY 4x150 SE | 37 | 38 | 0.0094604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1370-2_0_3_line_38 | NAYY 4x150 SE | 37 | 39 | 0.052111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1370-2_0_3_line_39 | NAYY 4x150 SE | 38 | 40 | 0.010309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1370-2_0_3_line_40 | NAYY 4x150 SE | 39 | 41 | 0.037966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1370-2_0_3_trafo_2 | 0.25 MVA 20/0.4 kV | 42 | 2 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2693630.6946 | 1217493.4276 | 2693640.3035 | 1217491.2602
1 | 2693597.9966 | 1217500.8027 | 2693630.6946 | 1217493.4276
2 | 2693668.2467 | 1217484.8497 | 2693654.6462 | 1217487.9616 | 2693645.6012 | 1217490.0653 | 2693640.3035 | 1217491.2602
3 | 2693597.9966 | 1217500.8027 | 2693578.0977 | 1217505.6269
4 | 2693597.9966 | 1217500.8027 | 2693597.9278 | 1217529.2681
5 | 2693668.2467 | 1217484.8497 | 2693678.6674 | 1217482.4654
6 | 2693578.0977 | 1217505.6269 | 2693562.3546 | 1217509.7376
7 | 2693578.0977 | 1217505.6269 | 2693577.7504 | 1217476.1885
8 | 2693597.9278 | 1217529.2681 | 2693597.87 | 1217553.148
9 | 2693689.5668 | 1217479.9716 | 2693678.6674 | 1217482.4654
10 | 2693533.8743 | 1217517.174 | 2693562.3546 | 1217509.7376
11 | 2693577.6386 | 1217466.7151 | 2693577.7504 | 1217476.1885
12 | 2693597.8538 | 1217559.8612 | 2693597.87 | 1217553.148
13 | 2693689.5668 | 1217479.9716 | 2693691.4454 | 1217493.8772
14 | 2693689.5668 | 1217479.9716 | 2693692.0687 | 1217479.2573
15 | 2693533.8743 | 1217517.174 | 2693508.9572 | 1217522.6023
16 | 2693533.8743 | 1217517.174 | 2693533.8964 | 1217533.6374
17 | 2693577.6386 | 1217466.7151 | 2693577.9748 | 1217444.1127
18 | 2693577.6386 | 1217466.7151 | 2693529.5922 | 1217466.8723
19 | 2693597.8538 | 1217559.8612 | 2693597.8213 | 1217573.2848
20 | 2693597.7425 | 1217605.8601 | 2693597.8213 | 1217573.2848
21 | 2693597.7425 | 1217605.8601 | 2693624.5879 | 1217604.9489
22 | 2693577.9748 | 1217444.1127 | 2693578.3857 | 1217416.4892
23 | 2693509.0504 | 1217470.4832 | 2693517.3003 | 1217466.9126 | 2693529.5922 | 1217466.8723
24 | 2693578.7754 | 1217390.2918 | 2693578.3857 | 1217416.4892
25 | 2693482.1434 | 1217482.1288 | 2693509.0504 | 1217470.4832
26 | 2693578.7754 | 1217390.2918 | 2693579.1 | 1217368.4703
27 | 2693682.5367 | 1217603.6129 | 2693668.6879 | 1217606.7894
28 | 2693704.2203 | 1217598.6394 | 2693682.5367 | 1217603.6129
29 | 2693704.2203 | 1217598.6394 | 2693701.725 | 1217617.3019 | 2693692.9563 | 1217640.5161
30 | 2693704.2203 | 1217598.6394 | 2693703.4189 | 1217582.5045 | 2693702.7289 | 1217577.3976
31 | 2693685.1485 | 1217661.1863 | 2693692.9563 | 1217640.5161
32 | 2693698.3981 | 1217545.3405 | 2693702.7289 | 1217577.3976
33 | 2693697.6983 | 1217540.1606 | 2693698.3981 | 1217545.3405
34 | 2693694.0679 | 1217513.2889 | 2693697.6983 | 1217540.1606
35 | 2693694.0679 | 1217513.2889 | 2693693.5782 | 1217509.6636
36 | 2693693.5782 | 1217509.6636 | 2693691.4454 | 1217493.8772
37 | 2693547.2156 | 1217362.8547 | 2693543.9474 | 1217367.4288 | 2693540.2562 | 1217368.4827
38 | 2693579.6648 | 1217330.5085 | 2693557.9969 | 1217337.2285 | 2693551.0425 | 1217342.5341 | 2693547.2156 | 1217362.8547 | 2693547.2156 | 1217362.8547
39 | 2693533.8306 | 1217360.4208 | 2693540.2562 | 1217368.4827
40 | 2693579.6648 | 1217330.5085 | 2693579.1 | 1217368.4703

## bus_geodata
| x | y | coords
0 | 2693630.6946 | 1217493.4276
1 | 2693640.3035 | 1217491.2602
2 | 2693597.9966 | 1217500.8027
3 | 2693668.2467 | 1217484.8497
4 | 2693578.0977 | 1217505.6269
5 | 2693597.9278 | 1217529.2681
6 | 2693678.6674 | 1217482.4654
7 | 2693562.3546 | 1217509.7376
8 | 2693577.7504 | 1217476.1885
9 | 2693597.87 | 1217553.148
10 | 2693689.5668 | 1217479.9716
11 | 2693533.8743 | 1217517.174
12 | 2693577.6386 | 1217466.7151
13 | 2693597.8538 | 1217559.8612
14 | 2693533.8964 | 1217533.6374
15 | 2693508.9572 | 1217522.6023
16 | 2693597.7425 | 1217605.8601
17 | 2693597.8213 | 1217573.2848
18 | 2693624.5879 | 1217604.9489
19 | 2693577.9748 | 1217444.1127
20 | 2693529.5922 | 1217466.8723
21 | 2693578.3857 | 1217416.4892
22 | 2693509.0504 | 1217470.4832
23 | 2693578.7754 | 1217390.2918
24 | 2693482.1434 | 1217482.1288
25 | 2693668.6879 | 1217606.7894
26 | 2693682.5367 | 1217603.6129
27 | 2693704.2203 | 1217598.6394
28 | 2693692.9563 | 1217640.5161
29 | 2693702.7289 | 1217577.3976
30 | 2693685.1485 | 1217661.1863
31 | 2693698.3981 | 1217545.3405
32 | 2693697.6983 | 1217540.1606
33 | 2693694.0679 | 1217513.2889
34 | 2693693.5782 | 1217509.6636
35 | 2693692.0687 | 1217479.2573
36 | 2693691.4454 | 1217493.8772
37 | 2693547.2156 | 1217362.8547
38 | 2693540.2562 | 1217368.4827
39 | 2693579.6648 | 1217330.5085
40 | 2693533.8306 | 1217360.4208
41 | 2693579.1 | 1217368.4703
42 | 2693578.0977 | 1217505.6269

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99675 | -0.022671 | 0.0092009 | 0.002306
1 | 0.99592 | -0.028449 | 0.010071 | 0.002524
2 | 1 | 0 | -0.18104 | -0.045304
3 | 0.99393 | -0.042402 | 0.003714 | 0.00093083
4 | 0.99775 | -0.015683 | 0 | 0
5 | 0.99858 | -0.0099349 | 0.0035187 | 0.00088188
6 | 0.99324 | -0.047218 | 0.0024566 | 0.00061567
7 | 0.99729 | -0.018908 | 0.004735 | 0.0011867
8 | 0.99535 | -0.032552 | 0.0137 | 0.0034336
9 | 0.99751 | -0.017448 | 0.0065804 | 0.0016492
10 | 0.99257 | -0.051983 | 0 | 0
11 | 0.99666 | -0.023348 | 0.0070025 | 0.001755
12 | 0.99476 | -0.036689 | 0 | 0
13 | 0.99727 | -0.019119 | 0.0048295 | 0.0012104
14 | 0.99653 | -0.024247 | 0.005431 | 0.0013611
15 | 0.99657 | -0.024011 | 0.0025854 | 0.00064795
16 | 0.99625 | -0.026276 | 0 | 0
17 | 0.99688 | -0.021813 | 0.0063517 | 0.0015919
18 | 0.99573 | -0.029959 | 0.013629 | 0.0034158
19 | 0.99403 | -0.041812 | 0.0062048 | 0.0015551
20 | 0.99332 | -0.04681 | 0.0093268 | 0.0023375
21 | 0.99339 | -0.046349 | 0.0033925 | 0.00085024
22 | 0.99297 | -0.049292 | 0.0059392 | 0.0014885
23 | 0.9929 | -0.049756 | 0.0018641 | 0.0004672
24 | 0.99273 | -0.05095 | 0.0055834 | 0.0013993
25 | 0.98793 | -0.084733 | 0.0037234 | 0.00093316
26 | 0.98801 | -0.084192 | 0.0021888 | 0.00054856
27 | 0.9882 | -0.082847 | 0 | 0
28 | 0.98773 | -0.086165 | 0.0055362 | 0.0013875
29 | 0.98861 | -0.07994 | 0.0077176 | 0.0019342
30 | 0.98767 | -0.086593 | 0.0018943 | 0.00047476
31 | 0.98959 | -0.072985 | 0.0054761 | 0.0013724
32 | 0.98979 | -0.071571 | 0.0014632 | 0.00036672
33 | 0.99088 | -0.063841 | 0.0027975 | 0.00070111
34 | 0.99105 | -0.062695 | 0.0038174 | 0.00095674
35 | 0.99254 | -0.052145 | 0.0061717 | 0.0015468
36 | 0.99184 | -0.057093 | 0.0012906 | 0.00032345
37 | 0.9915 | -0.059674 | 0.0008322 | 0.00020857
38 | 0.9914 | -0.060381 | 0.0060081 | 0.0015058
39 | 0.99211 | -0.05534 | 0 | 0
40 | 0.99138 | -0.060523 | 0.0013522 | 0.00033888
41 | 0.99256 | -0.052185 | 0.0027826 | 0.00069737
42 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.05864 | 0.014736 | -0.058593 | -0.014718 | 4.7121e-05 | 1.7995e-05 | 0.087557 | 0.087557 | 0.087557 | 0.99675 | -0.022671 | 0.99592 | -0.028449 | 32.4284
1 | -0.067841 | -0.017042 | 0.068056 | 0.017124 | 0.0002146 | 8.2101e-05 | 0.10129 | 0.10129 | 0.10129 | 0.99675 | -0.022671 | 1 | 0 | 37.5157
2 | 0.048523 | 0.012194 | -0.048429 | -0.012158 | 9.4058e-05 | 3.5804e-05 | 0.07251 | 0.07251 | 0.07251 | 0.99592 | -0.028449 | 0.99393 | -0.042402 | 26.8556
3 | 0.077165 | 0.019391 | -0.076997 | -0.019326 | 0.00016804 | 6.4364e-05 | 0.11484 | 0.11484 | 0.11484 | 1 | 0 | 0.99775 | -0.015683 | 42.5338
4 | 0.035019 | 0.0087895 | -0.034971 | -0.0087714 | 4.824e-05 | 1.8181e-05 | 0.052113 | 0.052114 | 0.052114 | 1 | 0 | 0.99858 | -0.0099349 | 19.3013
5 | 0.044715 | 0.011228 | -0.044685 | -0.011216 | 2.9899e-05 | 1.1361e-05 | 0.06695 | 0.06695 | 0.06695 | 0.99393 | -0.042402 | 0.99324 | -0.047218 | 24.7962
6 | 0.019773 | 0.0049569 | -0.019764 | -0.0049538 | 8.8292e-06 | 3.1834e-06 | 0.029489 | 0.029489 | 0.029489 | 0.99775 | -0.015683 | 0.99729 | -0.018908 | 10.9219
7 | 0.057224 | 0.014369 | -0.057091 | -0.014318 | 0.00013383 | 5.109e-05 | 0.085352 | 0.085352 | 0.085352 | 0.99775 | -0.015683 | 0.99535 | -0.032552 | 31.612
8 | 0.031452 | 0.0078895 | -0.031419 | -0.0078772 | 3.2735e-05 | 1.2278e-05 | 0.04687 | 0.04687 | 0.04687 | 0.99858 | -0.0099349 | 0.99751 | -0.017448 | 17.3594
9 | 0.042228 | 0.010601 | -0.0422 | -0.01059 | 2.7929e-05 | 1.0597e-05 | 0.06327 | 0.06327 | 0.06327 | 0.99324 | -0.047218 | 0.99257 | -0.051983 | 23.4332
10 | 0.015029 | 0.0037671 | -0.01502 | -0.0037639 | 9.2361e-06 | 3.1685e-06 | 0.022424 | 0.022424 | 0.022424 | 0.99729 | -0.018908 | 0.99666 | -0.023348 | 8.3053
11 | 0.04339 | 0.010885 | -0.043365 | -0.010875 | 2.4878e-05 | 9.4456e-06 | 0.064871 | 0.064871 | 0.064871 | 0.99535 | -0.032552 | 0.99476 | -0.036689 | 24.0263
12 | 0.024839 | 0.006228 | -0.024833 | -0.0062259 | 5.7516e-06 | 2.1245e-06 | 0.037054 | 0.037054 | 0.037054 | 0.99751 | -0.017448 | 0.99727 | -0.019119 | 13.7238
13 | 0.036028 | 0.0090432 | -0.036003 | -0.0090335 | 2.5548e-05 | 9.6451e-06 | 0.054017 | 0.054017 | 0.054017 | 0.99257 | -0.051983 | 0.99184 | -0.057093 | 20.0063
14 | 0.0061719 | 0.0015468 | -0.0061717 | -0.0015468 | 1.39e-07 | 1.9832e-08 | 0.0092526 | 0.0092526 | 0.0092526 | 0.99257 | -0.051983 | 0.99254 | -0.052145 | 3.4269
15 | 0.0025856 | 0.00064771 | -0.0025854 | -0.00064795 | 2.3713e-07 | -2.411e-07 | 0.0038602 | 0.0038603 | 0.0038603 | 0.99666 | -0.023348 | 0.99657 | -0.024011 | 1.4297
16 | 0.0054317 | 0.0013612 | -0.005431 | -0.0013611 | 6.756e-07 | 4.5327e-08 | 0.0081095 | 0.0081095 | 0.0081095 | 0.99666 | -0.023348 | 0.99653 | -0.024247 | 3.0035
17 | 0.022482 | 0.0056378 | -0.022466 | -0.0056319 | 1.5953e-05 | 5.8427e-06 | 0.03363 | 0.03363 | 0.03363 | 0.99476 | -0.036689 | 0.99403 | -0.041812 | 12.4557
18 | 0.020884 | 0.0052373 | -0.020855 | -0.0052267 | 2.9261e-05 | 1.0631e-05 | 0.03124 | 0.031241 | 0.031241 | 0.99476 | -0.036689 | 0.99332 | -0.04681 | 11.5706
19 | 0.020004 | 0.0050155 | -0.019996 | -0.0050128 | 7.4625e-06 | 2.6951e-06 | 0.029848 | 0.029848 | 0.029848 | 0.99727 | -0.019119 | 0.99688 | -0.021813 | 11.0549
20 | -0.013636 | -0.0034181 | 0.013644 | 0.0034209 | 8.4321e-06 | 2.8187e-06 | 0.020367 | 0.020367 | 0.020367 | 0.99625 | -0.026276 | 0.99688 | -0.021813 | 7.5434
21 | 0.013636 | 0.0034181 | -0.013629 | -0.0034158 | 6.953e-06 | 2.3247e-06 | 0.020367 | 0.020367 | 0.020367 | 0.99625 | -0.026276 | 0.99573 | -0.029959 | 7.5435
22 | 0.016261 | 0.0040769 | -0.016251 | -0.0040733 | 1.0215e-05 | 3.5709e-06 | 0.024342 | 0.024342 | 0.024342 | 0.99403 | -0.041812 | 0.99339 | -0.046349 | 9.0157
23 | 0.011528 | 0.0028892 | -0.011524 | -0.0028879 | 3.9602e-06 | 1.2478e-06 | 0.017269 | 0.017269 | 0.017269 | 0.99332 | -0.04681 | 0.99297 | -0.049292 | 6.396
24 | 0.012858 | 0.0032231 | -0.012852 | -0.0032211 | 6.0651e-06 | 1.9937e-06 | 0.019261 | 0.019261 | 0.019261 | 0.99339 | -0.046349 | 0.9929 | -0.049756 | 7.1336
25 | 0.0055847 | 0.0013994 | -0.0055834 | -0.0013993 | 1.2814e-06 | 1.1367e-07 | 0.0083689 | 0.008369 | 0.008369 | 0.99297 | -0.049292 | 0.99273 | -0.05095 | 3.0996
26 | 0.010988 | 0.0027539 | -0.010984 | -0.0027527 | 3.6928e-06 | 1.1381e-06 | 0.016467 | 0.016467 | 0.016467 | 0.9929 | -0.049756 | 0.99256 | -0.052185 | 6.099
27 | -0.0037234 | -0.00093316 | 0.0037236 | 0.00093308 | 2.7884e-07 | -7.4698e-08 | 0.0056081 | 0.0056081 | 0.0056081 | 0.98793 | -0.084733 | 0.98801 | -0.084192 | 2.0771
28 | -0.0059124 | -0.0014816 | 0.0059135 | 0.0014818 | 1.1007e-06 | 1.3839e-07 | 0.0089045 | 0.0089044 | 0.0089045 | 0.98801 | -0.084192 | 0.9882 | -0.082847 | 3.298
29 | 0.007434 | 0.0018628 | -0.0074306 | -0.001862 | 3.4125e-06 | 7.5364e-07 | 0.011194 | 0.011194 | 0.011194 | 0.9882 | -0.082847 | 0.98773 | -0.086165 | 4.146
30 | -0.013348 | -0.0033445 | 0.013353 | 0.0033463 | 5.3709e-06 | 1.7926e-06 | 0.020098 | 0.020098 | 0.020098 | 0.9882 | -0.082847 | 0.98861 | -0.07994 | 7.4438
31 | 0.0018944 | 0.00047452 | -0.0018943 | -0.00047476 | 1.123e-07 | -2.396e-07 | 0.0028539 | 0.002854 | 0.002854 | 0.98773 | -0.086165 | 0.98767 | -0.086593 | 1.057
32 | -0.021071 | -0.0052805 | 0.021091 | 0.0052879 | 2.0303e-05 | 7.3935e-06 | 0.031715 | 0.031714 | 0.031715 | 0.98861 | -0.07994 | 0.98959 | -0.072985 | 11.7461
33 | -0.026567 | -0.0066604 | 0.026572 | 0.0066623 | 5.2052e-06 | 1.9348e-06 | 0.039949 | 0.039949 | 0.039949 | 0.98959 | -0.072985 | 0.98979 | -0.071571 | 14.7958
34 | -0.028035 | -0.007029 | 0.028065 | 0.0070402 | 3.0058e-05 | 1.1212e-05 | 0.042148 | 0.042148 | 0.042148 | 0.98979 | -0.071571 | 0.99088 | -0.063841 | 15.6105
35 | -0.030863 | -0.0077413 | 0.030868 | 0.0077432 | 4.9039e-06 | 1.839e-06 | 0.046349 | 0.046349 | 0.046349 | 0.99088 | -0.063841 | 0.99105 | -0.062695 | 17.1664
36 | -0.034685 | -0.0086999 | 0.034712 | 0.0087101 | 2.6962e-05 | 1.0165e-05 | 0.052081 | 0.052081 | 0.052081 | 0.99105 | -0.062695 | 0.99184 | -0.057093 | 19.2892
37 | 0.007361 | 0.0018447 | -0.0073603 | -0.0018445 | 7.2044e-07 | 1.5509e-07 | 0.011047 | 0.011047 | 0.011047 | 0.9915 | -0.059674 | 0.9914 | -0.060381 | 4.0915
38 | -0.0081932 | -0.0020532 | 0.0081981 | 0.0020545 | 4.9163e-06 | 1.2184e-06 | 0.012296 | 0.012296 | 0.012296 | 0.9915 | -0.059674 | 0.99211 | -0.05534 | 4.5541
39 | 0.0013522 | 0.00033876 | -0.0013522 | -0.00033888 | 2.6497e-08 | -1.2274e-07 | 0.0020295 | 0.0020295 | 0.0020295 | 0.9914 | -0.060381 | 0.99138 | -0.060523 | 0.75168
40 | -0.0081981 | -0.0020545 | 0.0082017 | 0.0020554 | 3.5817e-06 | 8.871e-07 | 0.012296 | 0.012296 | 0.012296 | 0.99211 | -0.05534 | 0.99256 | -0.052185 | 4.554

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.18104 | 0.045304

## res_load
| p_mw | q_mvar
0 | 0.0092009 | 0.002306
1 | 0.010071 | 0.002524
2 | 0.003714 | 0.00093083
3 | 0.0035187 | 0.00088188
4 | 0.0024566 | 0.00061567
5 | 0.004735 | 0.0011867
6 | 0.0137 | 0.0034336
7 | 0.0065804 | 0.0016492
8 | 0.0070025 | 0.001755
9 | 0.0048295 | 0.0012104
10 | 0.005431 | 0.0013611
11 | 0.0025854 | 0.00064795
12 | 0.0063517 | 0.0015919
13 | 0.013629 | 0.0034158
14 | 0.0062048 | 0.0015551
15 | 0.0093268 | 0.0023375
16 | 0.0033925 | 0.00085024
17 | 0.0059392 | 0.0014885
18 | 0.0018641 | 0.0004672
19 | 0.0055834 | 0.0013993
20 | 0.0037234 | 0.00093316
21 | 0.0021888 | 0.00054856
22 | 0.0055362 | 0.0013875
23 | 0.0077176 | 0.0019342
24 | 0.0018943 | 0.00047476
25 | 0.0054761 | 0.0013724
26 | 0.0014632 | 0.00036672
27 | 0.0027975 | 0.00070111
28 | 0.0038174 | 0.00095674
29 | 0.0061717 | 0.0015468
30 | 0.0012906 | 0.00032345
31 | 0.0008322 | 0.00020857
32 | 0.0060081 | 0.0015058
33 | 0.0013522 | 0.00033888
34 | 0.0027826 | 0.00069737

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1