## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1370-3_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1370-3_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1370-3_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1370-3_0_2_node_24 | 0.4 | n |  | TRUE
4 | bus_LV_1370-3_0_2_node_26 | 0.4 | n |  | TRUE
5 | bus_LV_1370-3_0_2_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_1370-3_0_2_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_1370-3_0_2_node_85 | 0.4 | n |  | TRUE
8 | bus_LV_1370-3_0_2_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_1370-3_0_2_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_1370-3_0_2_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_1370-3_0_2_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_1370-3_0_2_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_1370-3_0_2_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_1370-3_0_2_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_1370-3_0_2_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_1370-3_0_2_node_54 | 0.4 | n |  | TRUE
17 | bus_LV_1370-3_0_2_node_92 | 0.4 | n |  | TRUE
18 | bus_LV_1370-3_0_2_node_95 | 0.4 | n |  | TRUE
19 | bus_LV_1370-3_0_2_node_84 | 0.4 | n |  | TRUE
20 | bus_LV_1370-3_0_2_node_97 | 0.4 | n |  | TRUE
21 | bus_LV_1370-3_0_2_node_98 | 0.4 | n |  | TRUE
22 | bus_LV_1370-3_0_2_node_96 | 0.4 | n |  | TRUE
23 | bus_LV_1370-3_0_2_node_69 | 0.4 | n |  | TRUE
24 | bus_LV_1370-3_0_2_node_61 | 0.4 | n |  | TRUE
25 | bus_LV_1370-3_0_2_node_65 | 0.4 | n |  | TRUE
26 | bus_LV_1370-3_0_2_node_64 | 0.4 | n |  | TRUE
27 | bus_LV_1370-3_0_2_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_1370-3_0_2_node_59 | 0.4 | n |  | TRUE
29 | bus_LV_1370-3_0_2_node_70 | 0.4 | n |  | TRUE
30 | bus_LV_1370-3_0_2_node_91 | 0.4 | n |  | TRUE
31 | bus_LV_1370-3_0_2_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_1370-3_0_2_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_1370-3_0_2_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_1370-3_0_2_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_1370-3_0_2_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_1370-3_0_2_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_1370-3_0_2_node_79 | 0.4 | n |  | TRUE
38 | bus_LV_1370-3_0_2_node_67 | 0.4 | n |  | TRUE
39 | bus_LV_1370-3_0_2_node_78 | 0.4 | n |  | TRUE
40 | bus_LV_1370-3_0_2_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_1370-3_0_2_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_1370-3_0_2_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_1370-3_0_2_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_1370-3_0_2_node_63 | 0.4 | n |  | TRUE
45 | bus_LV_1370-3_0_2_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_1370-3_0_2_node_73 | 0.4 | n |  | TRUE
47 | bus_LV_1370-3_0_2_node_86 | 0.4 | n |  | TRUE
48 | bus_LV_1370-3_0_2_node_87 | 0.4 | n |  | TRUE
49 | bus_LV_1370-3_0_2_node_68 | 0.4 | n |  | TRUE
50 | bus_LV_1370-3_0_2_node_74 | 0.4 | n |  | TRUE
51 | bus_LV_1370-3_0_2_node_72 | 0.4 | n |  | TRUE
52 | bus_LV_1370-3_0_2_node_75 | 0.4 | n |  | TRUE
53 | bus_LV_1370-3_0_2_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_1370-3_0_2_node_76 | 0.4 | n |  | TRUE
55 | bus_LV_1370-3_0_2_node_77 | 0.4 | n |  | TRUE
56 | bus_LV_1370-3_0_2_node_80 | 0.4 | n |  | TRUE
57 | bus_LV_1370-3_0_2_node_81 | 0.4 | n |  | TRUE
58 | bus_LV_1370-3_0_2_node_82 | 0.4 | n |  | TRUE
59 | bus_LV_1370-3_0_2_node_83 | 0.4 | n |  | TRUE
60 | bus_LV_1370-3_0_2_node_88 | 0.4 | n |  | TRUE
61 | bus_LV_1370-3_0_2_node_89 | 0.4 | n |  | TRUE
62 | bus_LV_1370-3_0_2_node_93 | 0.4 | n |  | TRUE
63 | bus_LV_1370-3_0_2_node_90 | 0.4 | n |  | TRUE
64 | bus_LV_1370-3_0_2_node_94 | 0.4 | n |  | TRUE
65 | bus_LV_1370-3_0_2_node_99 | 0.4 | n |  | TRUE
66 | bus_LV_1370-3_0_2_node_100 | 0.4 | n |  | TRUE
67 | bus_LV_1370-3_0_2_node_101 | 0.4 | n |  | TRUE
68 | bus_MV_22_0_node_46 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1370-3_0_2_load_0 | 0 | 0.0017034 | 0.00042692 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1370-3_0_2_load_1 | 1 | 0.0086234 | 0.0021612 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1370-3_0_2_load_2 | 2 | 0.0022442 | 0.00056244 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1370-3_0_2_load_22 | 5 | 0.0042783 | 0.0010722 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1370-3_0_2_load_23 | 6 | 0.0032366 | 0.00081116 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1370-3_0_2_load_85 | 7 | 0.0025096 | 0.00062896 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1370-3_0_2_load_17 | 8 | 0.001091 | 0.00027344 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1370-3_0_2_load_18 | 9 | 0.0038807 | 0.00097261 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1370-3_0_2_load_21 | 12 | 0.00052233 | 0.00013091 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1370-3_0_2_load_28 | 13 | 0.001707 | 0.00042782 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1370-3_0_2_load_30 | 14 | 0.0016878 | 0.00042301 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1370-3_0_2_load_29 | 15 | 0.00068566 | 0.00017184 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1370-3_0_2_load_54 | 16 | 0.0025244 | 0.00063267 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1370-3_0_2_load_92 | 17 | 0.0058072 | 0.0014554 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1370-3_0_2_load_95 | 18 | 0.0037167 | 0.00093149 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1370-3_0_2_load_84 | 19 | 0.0021329 | 0.00053456 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1370-3_0_2_load_97 | 20 | 0.0025484 | 0.00063868 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1370-3_0_2_load_98 | 21 | 0.0024764 | 0.00062066 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1370-3_0_2_load_96 | 22 | 0.0026261 | 0.00065817 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1370-3_0_2_load_69 | 23 | 0.0021431 | 0.00053711 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1370-3_0_2_load_64 | 26 | 0.0028699 | 0.00071927 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1370-3_0_2_load_58 | 27 | 0.0019016 | 0.0004766 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1370-3_0_2_load_59 | 28 | 0.00090175 | 0.000226 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1370-3_0_2_load_70 | 29 | 0.0021176 | 0.00053071 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1370-3_0_2_load_91 | 30 | 0.0016108 | 0.00040371 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1370-3_0_2_load_31 | 31 | 0.0023115 | 0.00057931 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1370-3_0_2_load_32 | 32 | 0.0011413 | 0.00028604 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1370-3_0_2_load_33 | 33 | 0.0025778 | 0.00064606 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1370-3_0_2_load_34 | 34 | 0.0011082 | 0.00027773 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1370-3_0_2_load_35 | 35 | 0.0021559 | 0.00054031 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1370-3_0_2_load_66 | 36 | 0.0012096 | 0.00030315 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1370-3_0_2_load_79 | 37 | 0.0040198 | 0.0010075 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1370-3_0_2_load_67 | 38 | 0.0020257 | 0.00050768 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1370-3_0_2_load_78 | 39 | 0.0028163 | 0.00070584 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1370-3_0_2_load_55 | 40 | 0.0031537 | 0.00079039 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1370-3_0_2_load_56 | 41 | 0.0030563 | 0.00076598 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1370-3_0_2_load_57 | 42 | 0.0031396 | 0.00078686 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1370-3_0_2_load_60 | 45 | 0.0040271 | 0.0010093 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1370-3_0_2_load_73 | 46 | 0.0019787 | 0.00049591 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1370-3_0_2_load_86 | 47 | 0.0021493 | 0.00053867 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1370-3_0_2_load_87 | 48 | 0.0028051 | 0.00070302 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1370-3_0_2_load_74 | 50 | 0.0035363 | 0.00088628 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1370-3_0_2_load_72 | 51 | 0.0015435 | 0.00038684 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1370-3_0_2_load_75 | 52 | 0.0021714 | 0.00054421 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1370-3_0_2_load_71 | 53 | 0.0028652 | 0.00071809 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1370-3_0_2_load_76 | 54 | 0.0016895 | 0.00042344 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1370-3_0_2_load_77 | 55 | 0.0017754 | 0.00044495 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1370-3_0_2_load_80 | 56 | 0.0034724 | 0.00087026 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1370-3_0_2_load_81 | 57 | 0.0034361 | 0.00086117 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1370-3_0_2_load_82 | 58 | 0.0036263 | 0.00090883 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1370-3_0_2_load_83 | 59 | 0.0023471 | 0.00058823 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1370-3_0_2_load_88 | 60 | 0.003324 | 0.00083306 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1370-3_0_2_load_93 | 62 | 0.0036965 | 0.00092643 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1370-3_0_2_load_90 | 63 | 0.0018724 | 0.00046928 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1370-3_0_2_load_94 | 64 | 0.0026154 | 0.00065549 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1370-3_0_2_load_99 | 65 | 0.0019961 | 0.00050027 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1370-3_0_2_load_100 | 66 | 0.0034855 | 0.00087354 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1370-3_0_2_load_101 | 67 | 0.0039967 | 0.0010017 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1370-3_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.012146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1370-3_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.45396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1370-3_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.27324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1370-3_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.12163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1370-3_0_2_line_4 | NAYY 4x150 SE | 4 | 23 | 0.036025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1370-3_0_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.044922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1370-3_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.064334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1370-3_0_2_line_7 | NAYY 4x150 SE | 7 | 18 | 0.0015912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1370-3_0_2_line_8 | NAYY 4x150 SE | 7 | 19 | 0.021239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1370-3_0_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.027293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1370-3_0_2_line_10 | NAYY 4x150 SE | 8 | 10 | 0.034216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1370-3_0_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.039936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1370-3_0_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.015066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1370-3_0_2_line_13 | NAYY 4x150 SE | 10 | 13 | 0.24491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1370-3_0_2_line_14 | NAYY 4x150 SE | 11 | 14 | 0.19358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1370-3_0_2_line_15 | NAYY 4x150 SE | 11 | 15 | 0.080552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1370-3_0_2_line_16 | NAYY 4x150 SE | 12 | 16 | 0.013898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1370-3_0_2_line_17 | NAYY 4x150 SE | 14 | 17 | 0.023499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1370-3_0_2_line_18 | NAYY 4x150 SE | 17 | 30 | 0.044819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1370-3_0_2_line_19 | NAYY 4x150 SE | 18 | 22 | 0.023804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1370-3_0_2_line_20 | NAYY 4x150 SE | 19 | 59 | 0.0038485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1370-3_0_2_line_21 | NAYY 4x150 SE | 20 | 21 | 0.024893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1370-3_0_2_line_22 | NAYY 4x150 SE | 20 | 22 | 0.00056975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1370-3_0_2_line_23 | NAYY 4x150 SE | 21 | 65 | 0.00080933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1370-3_0_2_line_24 | NAYY 4x150 SE | 23 | 29 | 0.0077088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1370-3_0_2_line_25 | NAYY 4x150 SE | 24 | 25 | 0.008502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1370-3_0_2_line_26 | NAYY 4x150 SE | 24 | 26 | 0.0073444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1370-3_0_2_line_27 | NAYY 4x150 SE | 25 | 46 | 0.018864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1370-3_0_2_line_28 | NAYY 4x150 SE | 25 | 44 | 0.006295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1370-3_0_2_line_29 | NAYY 4x150 SE | 27 | 28 | 0.0075955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1370-3_0_2_line_30 | NAYY 4x150 SE | 28 | 45 | 0.0149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1370-3_0_2_line_31 | NAYY 4x150 SE | 29 | 53 | 0.0050403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1370-3_0_2_line_32 | NAYY 4x150 SE | 30 | 63 | 0.020681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1370-3_0_2_line_33 | NAYY 4x150 SE | 31 | 32 | 0.014565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1370-3_0_2_line_34 | NAYY 4x150 SE | 31 | 33 | 0.021021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1370-3_0_2_line_35 | NAYY 4x150 SE | 32 | 34 | 0.0085523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1370-3_0_2_line_36 | NAYY 4x150 SE | 33 | 35 | 0.006091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1370-3_0_2_line_37 | NAYY 4x150 SE | 34 | 36 | 0.0075491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1370-3_0_2_line_38 | NAYY 4x150 SE | 35 | 37 | 0.018077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1370-3_0_2_line_39 | NAYY 4x150 SE | 36 | 38 | 0.0086755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1370-3_0_2_line_40 | NAYY 4x150 SE | 37 | 39 | 0.0095953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1370-3_0_2_line_41 | NAYY 4x150 SE | 38 | 49 | 0.016531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1370-3_0_2_line_42 | NAYY 4x150 SE | 39 | 56 | 0.013682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1370-3_0_2_line_43 | NAYY 4x150 SE | 40 | 41 | 0.043614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1370-3_0_2_line_44 | NAYY 4x150 SE | 41 | 42 | 0.050885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1370-3_0_2_line_45 | NAYY 4x150 SE | 42 | 43 | 0.041597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1370-3_0_2_line_46 | NAYY 4x150 SE | 43 | 44 | 0.0257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1370-3_0_2_line_47 | NAYY 4x150 SE | 43 | 45 | 0.0073131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1370-3_0_2_line_48 | NAYY 4x150 SE | 44 | 47 | 0.015306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1370-3_0_2_line_49 | NAYY 4x150 SE | 46 | 49 | 0.038407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1370-3_0_2_line_50 | NAYY 4x150 SE | 47 | 48 | 0.024316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1370-3_0_2_line_51 | NAYY 4x150 SE | 48 | 60 | 0.005544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1370-3_0_2_line_52 | NAYY 4x150 SE | 49 | 50 | 0.039163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_1370-3_0_2_line_53 | NAYY 4x150 SE | 49 | 51 | 0.015571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1370-3_0_2_line_54 | NAYY 4x150 SE | 50 | 52 | 0.0022686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_1370-3_0_2_line_55 | NAYY 4x150 SE | 51 | 53 | 0.0018248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1370-3_0_2_line_56 | NAYY 4x150 SE | 52 | 54 | 0.02129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_1370-3_0_2_line_57 | NAYY 4x150 SE | 54 | 55 | 0.029447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_1370-3_0_2_line_58 | NAYY 4x150 SE | 56 | 57 | 0.019208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1370-3_0_2_line_59 | NAYY 4x150 SE | 57 | 58 | 0.0028409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1370-3_0_2_line_60 | NAYY 4x150 SE | 58 | 59 | 0.023014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1370-3_0_2_line_61 | NAYY 4x150 SE | 60 | 61 | 0.018736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1370-3_0_2_line_62 | NAYY 4x150 SE | 61 | 62 | 0.029987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1370-3_0_2_line_63 | NAYY 4x150 SE | 61 | 63 | 0.0051617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1370-3_0_2_line_64 | NAYY 4x150 SE | 62 | 64 | 0.031037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1370-3_0_2_line_65 | NAYY 4x150 SE | 65 | 66 | 0.020095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1370-3_0_2_line_66 | NAYY 4x150 SE | 66 | 67 | 0.00018075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1370-3_0_2_trafo_77 | 0.25 MVA 20/0.4 kV | 68 | 55 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2694305.7747 | 1218060.3222 | 2694302.3119 | 1218061.4268 | 2694293.8371 | 1218060.6365
1 | 2694305.7747 | 1218060.3222 | 2694735.9717 | 1218205.2603
2 | 2694069.438 | 1218216.5425 | 2694293.8371 | 1218060.6365
3 | 2694069.438 | 1218216.5425 | 2694083.5491 | 1218250.7223 | 2694098.4513 | 1218290.0738 | 2694115.1096 | 1218329.2529
4 | 2694115.1096 | 1218329.2529 | 2694121.3068 | 1218343.9609 | 2694129.0134 | 1218362.487
5 | 2694269.6362 | 1218494.0456 | 2694287.93 | 1218535.0735
6 | 2694205.3872 | 1218497.3587 | 2694269.6362 | 1218494.0456
7 | 2694205.3872 | 1218497.3587 | 2694205.376 | 1218498.9498
8 | 2694205.3872 | 1218497.3587 | 2694205.5361 | 1218476.12
9 | 2694247.9249 | 1218774.5675 | 2694265.1282 | 1218795.7557
10 | 2694286.6954 | 1218822.3185 | 2694265.1282 | 1218795.7557
11 | 2694224.1528 | 1218742.496 | 2694241.033 | 1218766.0793 | 2694247.9249 | 1218774.5675
12 | 2694286.6954 | 1218822.3185 | 2694280.9584 | 1218829.8997 | 2694280.9311 | 1218835.4586
13 | 2694286.6954 | 1218822.3185 | 2694522.5796 | 1218888.1904
14 | 2694224.1528 | 1218742.496 | 2694201.6237 | 1218706.0478 | 2694177.8052 | 1218655.1138 | 2694162.1341 | 1218612.1585 | 2694149.7311 | 1218566.5309 | 2694149.3088 | 1218565.1002
15 | 2694224.1528 | 1218742.496 | 2694217.8458 | 1218747.244 | 2694215.4753 | 1218752.1877 | 2694213.4719 | 1218769.9017 | 2694214.8585 | 1218782.5324 | 2694217.1167 | 1218789.0059 | 2694227.1609 | 1218817.0469
16 | 2694279.1423 | 1218846.3268 | 2694283.8696 | 1218843.066 | 2694280.9311 | 1218835.4586
17 | 2694142.46 | 1218542.623 | 2694145.0623 | 1218550.7128 | 2694149.3088 | 1218565.1002
18 | 2694127.7557 | 1218500.2967 | 2694135.8591 | 1218522.1032 | 2694142.46 | 1218542.623
19 | 2694205.209 | 1218522.7535 | 2694205.376 | 1218498.9498
20 | 2694205.5631 | 1218472.2716 | 2694205.5361 | 1218476.12
21 | 2694205.205 | 1218523.3232 | 2694205.0304 | 1218548.216
22 | 2694205.205 | 1218523.3232 | 2694205.209 | 1218522.7535
23 | 2694205.0247 | 1218549.0253 | 2694205.0304 | 1218548.216
24 | 2694129.0134 | 1218362.487 | 2694131.9743 | 1218369.6045
25 | 2694087.9848 | 1218412.9603 | 2694084.0351 | 1218405.4261
26 | 2694084.0351 | 1218405.4261 | 2694080.2707 | 1218407.3013 | 2694078.9283 | 1218404.464
27 | 2694087.9848 | 1218412.9603 | 2694105.3127 | 1218405.5029
28 | 2694087.9848 | 1218412.9603 | 2694090.8567 | 1218418.5651
29 | 2694058.2109 | 1218415.0244 | 2694061.4738 | 1218421.8833
30 | 2694069.3731 | 1218434.4925 | 2694069.3731 | 1218434.4925 | 2694062.5601 | 1218424.1667 | 2694061.4738 | 1218421.8833
31 | 2694133.9102 | 1218374.2582 | 2694131.9743 | 1218369.6045
32 | 2694120.3078 | 1218481.0088 | 2694122.3015 | 1218485.6193 | 2694127.7557 | 1218500.2967
33 | 2694188.7882 | 1218363.3553 | 2694186.143 | 1218363.1208 | 2694183.0255 | 1218363.9277 | 2694175.9026 | 1218368.9046
34 | 2694188.7882 | 1218363.3553 | 2694189.3495 | 1218363.4051 | 2694192.2735 | 1218364.7522 | 2694194.5683 | 1218367.0123 | 2694195.9069 | 1218369.7242 | 2694196.2608 | 1218372.3094 | 2694198.1257 | 1218380.4832
35 | 2694175.9026 | 1218368.9046 | 2694172.1641 | 1218371.5169 | 2694168.7346 | 1218373.5593
36 | 2694199.4805 | 1218386.4216 | 2694198.1257 | 1218380.4832
37 | 2694168.7346 | 1218373.5593 | 2694162.2487 | 1218377.422
38 | 2694199.4805 | 1218386.4216 | 2694203.5016 | 1218404.0458
39 | 2694162.2487 | 1218377.422 | 2694154.7949 | 1218381.8611
40 | 2694204.4262 | 1218413.5965 | 2694203.5016 | 1218404.0458 | 2694203.5016 | 1218404.0458
41 | 2694140.5916 | 1218390.3199 | 2694154.7949 | 1218381.8611
42 | 2694204.4262 | 1218413.5965 | 2694205.7446 | 1218427.2151
43 | 2694049.0304 | 1218526.702 | 2694042.8536 | 1218540.5029 | 2694035.3054 | 1218545.9765 | 2694033.0557 | 1218547.5977 | 2694017.6096 | 1218553.0992
44 | 2694049.0304 | 1218526.702 | 2694063.7196 | 1218480.5129 | 2694064.3773 | 1218478.1879
45 | 2694075.6992 | 1218438.1616 | 2694064.3773 | 1218478.1879
46 | 2694075.6992 | 1218438.1616 | 2694080.8662 | 1218425.8235 | 2694090.8567 | 1218418.5651
47 | 2694075.6992 | 1218438.1616 | 2694069.3731 | 1218434.4925
48 | 2694090.8567 | 1218418.5651 | 2694097.5354 | 1218431.624 | 2694097.8142 | 1218432.1977
49 | 2694140.5916 | 1218390.3199 | 2694105.3127 | 1218405.5029
50 | 2694097.8142 | 1218432.1977 | 2694108.4443 | 1218454.067
51 | 2694108.4443 | 1218454.067 | 2694110.269 | 1218457.8211 | 2694110.8134 | 1218459.0782
52 | 2694140.5916 | 1218390.3199 | 2694155.6575 | 1218426.4694
53 | 2694140.5916 | 1218390.3199 | 2694134.611 | 1218375.9431
54 | 2694156.5302 | 1218428.5634 | 2694155.6575 | 1218426.4694
55 | 2694134.611 | 1218375.9431 | 2694133.9102 | 1218374.2582
56 | 2694156.5302 | 1218428.5634 | 2694164.7204 | 1218448.2152
57 | 2694176.0484 | 1218475.3961 | 2694164.7204 | 1218448.2152
58 | 2694205.7446 | 1218427.2151 | 2694205.8701 | 1218428.5113 | 2694205.7445 | 1218446.4168
59 | 2694205.7246 | 1218449.2577 | 2694205.7445 | 1218446.4168
60 | 2694205.7246 | 1218449.2577 | 2694205.5631 | 1218472.2716
61 | 2694118.2591 | 1218476.2712 | 2694110.8134 | 1218459.0782
62 | 2694118.2591 | 1218476.2712 | 2694106.4919 | 1218481.6335 | 2694105.6157 | 1218486.6453 | 2694112.2425 | 1218496.6105
63 | 2694118.2591 | 1218476.2712 | 2694120.3078 | 1218481.0088
64 | 2694112.2425 | 1218496.6105 | 2694118.0649 | 1218505.366 | 2694125.0523 | 1218524.662
65 | 2694205.0247 | 1218549.0253 | 2694204.8838 | 1218569.1194
66 | 2694204.8825 | 1218569.3002 | 2694204.8838 | 1218569.1194

## bus_geodata
| x | y | coords
0 | 2694305.7747 | 1218060.3222
1 | 2694293.8371 | 1218060.6366
2 | 2694735.9717 | 1218205.2603
3 | 2694069.438 | 1218216.5425
4 | 2694115.1096 | 1218329.2529
5 | 2694269.6362 | 1218494.0456
6 | 2694287.93 | 1218535.0735
7 | 2694205.3872 | 1218497.3587
8 | 2694265.1282 | 1218795.7557
9 | 2694247.9249 | 1218774.5675
10 | 2694286.6954 | 1218822.3185
11 | 2694224.1528 | 1218742.496
12 | 2694280.9311 | 1218835.4587
13 | 2694522.5796 | 1218888.1904
14 | 2694149.3088 | 1218565.1002
15 | 2694227.1609 | 1218817.0469
16 | 2694279.1423 | 1218846.3268
17 | 2694142.46 | 1218542.623
18 | 2694205.376 | 1218498.9498
19 | 2694205.5361 | 1218476.12
20 | 2694205.205 | 1218523.3232
21 | 2694205.0304 | 1218548.216
22 | 2694205.209 | 1218522.7535
23 | 2694129.0134 | 1218362.487
24 | 2694084.0351 | 1218405.4261
25 | 2694087.9848 | 1218412.9603
26 | 2694078.9283 | 1218404.464
27 | 2694058.2109 | 1218415.0244
28 | 2694061.4738 | 1218421.8833
29 | 2694131.9743 | 1218369.6045
30 | 2694127.7557 | 1218500.2967
31 | 2694188.7882 | 1218363.3553
32 | 2694175.9026 | 1218368.9046
33 | 2694198.1257 | 1218380.4832
34 | 2694168.7347 | 1218373.5593
35 | 2694199.4805 | 1218386.4216
36 | 2694162.2487 | 1218377.422
37 | 2694203.5016 | 1218404.0458
38 | 2694154.7949 | 1218381.8611
39 | 2694204.4262 | 1218413.5965
40 | 2694017.6096 | 1218553.0992
41 | 2694049.0304 | 1218526.702
42 | 2694064.3773 | 1218478.1879
43 | 2694075.6992 | 1218438.1616
44 | 2694090.8567 | 1218418.5651
45 | 2694069.3731 | 1218434.4925
46 | 2694105.3127 | 1218405.5029
47 | 2694097.8142 | 1218432.1977
48 | 2694108.4443 | 1218454.067
49 | 2694140.5916 | 1218390.3199
50 | 2694155.6575 | 1218426.4694
51 | 2694134.611 | 1218375.9431
52 | 2694156.5302 | 1218428.5634
53 | 2694133.9102 | 1218374.2582
54 | 2694164.7204 | 1218448.2152
55 | 2694176.0484 | 1218475.3961
56 | 2694205.7446 | 1218427.2151
57 | 2694205.7445 | 1218446.4168
58 | 2694205.7246 | 1218449.2577
59 | 2694205.5631 | 1218472.2716
60 | 2694110.8134 | 1218459.0782
61 | 2694118.2591 | 1218476.2712
62 | 2694112.2425 | 1218496.6105
63 | 2694120.3078 | 1218481.0088
64 | 2694125.0523 | 1218524.662
65 | 2694205.0247 | 1218549.0253
66 | 2694204.8838 | 1218569.1194
67 | 2694204.8825 | 1218569.3002
68 | 2694178.8047 | 1218482.0095

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98138 | -0.13077 | 0.0017034 | 0.00042692
1 | 0.98145 | -0.13026 | 0.0086234 | 0.0021612
2 | 0.9799 | -0.14144 | 0.0022442 | 0.00056244
3 | 0.98644 | -0.094695 | 0 | 0
4 | 0.98866 | -0.078954 | 0 | 0
5 | 0.97543 | -0.17276 | 0.0042783 | 0.0010722
6 | 0.97522 | -0.17429 | 0.0032366 | 0.00081116
7 | 0.97614 | -0.16769 | 0.0025096 | 0.00062896
8 | 0.97589 | -0.16989 | 0.001091 | 0.00027344
9 | 0.97613 | -0.16821 | 0.0038807 | 0.00097261
10 | 0.97565 | -0.1716 | 0 | 0
11 | 0.97669 | -0.16413 | 0 | 0
12 | 0.97559 | -0.17208 | 0.00052233 | 0.00013091
13 | 0.97504 | -0.17602 | 0.001707 | 0.00042782
14 | 0.97964 | -0.143 | 0.0016878 | 0.00042301
15 | 0.97661 | -0.16471 | 0.00068566 | 0.00017184
16 | 0.97554 | -0.17245 | 0.0025244 | 0.00063267
17 | 0.98005 | -0.14003 | 0.0058072 | 0.0014554
18 | 0.97609 | -0.16804 | 0.0037167 | 0.00093149
19 | 0.97709 | -0.16082 | 0.0021329 | 0.00053456
20 | 0.97548 | -0.1724 | 0.0025484 | 0.00063868
21 | 0.97504 | -0.17552 | 0.0024764 | 0.00062066
22 | 0.97549 | -0.17231 | 0.0026261 | 0.00065817
23 | 0.98932 | -0.074303 | 0.0021431 | 0.00053711
24 | 0.98542 | -0.10185 | 0 | 0
25 | 0.98545 | -0.1016 | 0 | 0
26 | 0.98538 | -0.10206 | 0.0028699 | 0.00071927
27 | 0.98422 | -0.11036 | 0.0019016 | 0.0004766
28 | 0.98424 | -0.11021 | 0.00090175 | 0.000226
29 | 0.98948 | -0.073139 | 0.0021176 | 0.00053071
30 | 0.98122 | -0.13167 | 0.0016108 | 0.00040371
31 | 0.98506 | -0.10422 | 0.0023115 | 0.00057931
32 | 0.98633 | -0.095271 | 0.0011413 | 0.00028604
33 | 0.9833 | -0.11667 | 0.0025778 | 0.00064606
34 | 0.98709 | -0.089928 | 0.0011082 | 0.00027773
35 | 0.98281 | -0.12012 | 0.0021559 | 0.00054031
36 | 0.98777 | -0.085134 | 0.0012096 | 0.00030315
37 | 0.98142 | -0.12999 | 0.0040198 | 0.0010075
38 | 0.98857 | -0.079524 | 0.0020257 | 0.00050768
39 | 0.98074 | -0.13484 | 0.0028163 | 0.00070584
40 | 0.98315 | -0.11796 | 0.0031537 | 0.00079039
41 | 0.98335 | -0.11654 | 0.0030563 | 0.00076598
42 | 0.98381 | -0.11328 | 0.0031396 | 0.00078686
43 | 0.98437 | -0.10926 | 0 | 0
44 | 0.98497 | -0.10498 | 0 | 0
45 | 0.9843 | -0.10978 | 0.0040271 | 0.0010093
46 | 0.98696 | -0.090923 | 0.0019787 | 0.00049591
47 | 0.98417 | -0.11066 | 0.0021493 | 0.00053867
48 | 0.98298 | -0.11917 | 0.0028051 | 0.00070302
49 | 0.99014 | -0.06852 | 0 | 0
50 | 0.99422 | -0.039985 | 0.0035363 | 0.00088628
51 | 0.98966 | -0.071902 | 0.0015435 | 0.00038684
52 | 0.99446 | -0.038299 | 0.0021714 | 0.00054421
53 | 0.98961 | -0.07227 | 0.0028652 | 0.00071809
54 | 0.99677 | -0.022282 | 0.0016895 | 0.00042344
55 | 1 | 0 | -0.15448 | -0.038856
56 | 0.97982 | -0.14136 | 0.0034724 | 0.00087026
57 | 0.97863 | -0.14984 | 0.0034361 | 0.00086117
58 | 0.97847 | -0.151 | 0.0036263 | 0.00090883
59 | 0.97728 | -0.1595 | 0.0023471 | 0.00058823
60 | 0.98273 | -0.12095 | 0.003324 | 0.00083306
61 | 0.98197 | -0.12633 | 0 | 0
62 | 0.9817 | -0.12829 | 0.0036965 | 0.00092643
63 | 0.98181 | -0.12748 | 0.0018724 | 0.00046928
64 | 0.98158 | -0.12913 | 0.0026154 | 0.00065549
65 | 0.97503 | -0.1756 | 0.0019961 | 0.00050027
66 | 0.97481 | -0.17718 | 0.0034855 | 0.00087354
67 | 0.97481 | -0.17719 | 0.0039967 | 0.0010017
68 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0039509 | -0.00098489 | 0.0039511 | 0.00098484 | 2.7181e-07 | -4.8939e-08 | 0.0059886 | 0.0059885 | 0.0059886 | 0.98138 | -0.13077 | 0.98145 | -0.13026 | 2.218
1 | 0.0022474 | 0.00055798 | -0.0022442 | -0.00056244 | 3.2877e-06 | -4.4627e-06 | 0.0034058 | 0.0034078 | 0.0034078 | 0.98138 | -0.13077 | 0.9799 | -0.14144 | 1.2622
2 | -0.012575 | -0.0031461 | 0.012636 | 0.0031664 | 6.1955e-05 | 2.0358e-05 | 0.019063 | 0.019062 | 0.019063 | 0.98145 | -0.13026 | 0.98644 | -0.094695 | 7.0603
3 | -0.012636 | -0.0031664 | 0.012664 | 0.0031755 | 2.7576e-05 | 9.0499e-06 | 0.019062 | 0.019061 | 0.019062 | 0.98644 | -0.094695 | 0.98866 | -0.078954 | 7.0598
4 | -0.012664 | -0.0031755 | 0.012672 | 0.0031782 | 8.1673e-06 | 2.679e-06 | 0.019061 | 0.019061 | 0.019061 | 0.98866 | -0.078954 | 0.98932 | -0.074303 | 7.0596
5 | 0.0032372 | 0.00081086 | -0.0032366 | -0.00081116 | 6.836e-07 | -2.9769e-07 | 0.0049383 | 0.0049385 | 0.0049385 | 0.97543 | -0.17276 | 0.97522 | -0.17429 | 1.8291
6 | -0.0075155 | -0.0018831 | 0.0075208 | 0.0018843 | 5.2765e-06 | 1.2258e-06 | 0.011465 | 0.011464 | 0.011465 | 0.97543 | -0.17276 | 0.97614 | -0.16769 | 4.2462
7 | 0.020864 | 0.0052306 | -0.020863 | -0.0052302 | 1.0044e-06 | 3.6642e-07 | 0.031806 | 0.031806 | 0.031806 | 0.97614 | -0.16769 | 0.97609 | -0.16804 | 11.7799
8 | -0.030895 | -0.0077439 | 0.030924 | 0.0077549 | 2.9396e-05 | 1.104e-05 | 0.047096 | 0.047096 | 0.047096 | 0.97614 | -0.16769 | 0.97709 | -0.16082 | 17.4429
9 | -0.0058473 | -0.001462 | 0.0058486 | 0.0014621 | 1.3534e-06 | 1.7944e-07 | 0.0089145 | 0.0089144 | 0.0089145 | 0.97589 | -0.16989 | 0.97613 | -0.16821 | 3.3017
10 | 0.0047562 | 0.0011885 | -0.0047551 | -0.0011885 | 1.1226e-06 | 4.3495e-09 | 0.0072509 | 0.0072511 | 0.0072511 | 0.97589 | -0.16989 | 0.97565 | -0.1716 | 2.6856
11 | -0.0097294 | -0.0024347 | 0.0097348 | 0.0024363 | 5.4807e-06 | 1.6085e-06 | 0.01483 | 0.01483 | 0.01483 | 0.97613 | -0.16821 | 0.97669 | -0.16413 | 5.4927
12 | 0.003047 | 0.00076335 | -0.0030468 | -0.00076346 | 2.0303e-07 | -1.1005e-07 | 0.0046471 | 0.0046471 | 0.0046471 | 0.97565 | -0.1716 | 0.97559 | -0.17208 | 1.7212
13 | 0.0017081 | 0.00042516 | -0.001707 | -0.00042782 | 1.0367e-06 | -2.6579e-06 | 0.002604 | 0.0026051 | 0.0026051 | 0.97565 | -0.1716 | 0.97504 | -0.17602 | 0.96485
14 | -0.010421 | -0.0026072 | 0.010451 | 0.0026165 | 3.0437e-05 | 9.2768e-06 | 0.015874 | 0.015874 | 0.015874 | 0.97669 | -0.16413 | 0.97964 | -0.143 | 5.8794
15 | 0.00068571 | 0.00017086 | -0.00068566 | -0.00017184 | 5.484e-08 | -9.8693e-07 | 0.0010443 | 0.0010447 | 0.0010447 | 0.97669 | -0.16413 | 0.97661 | -0.16471 | 0.38693
16 | 0.0025245 | 0.00063255 | -0.0025244 | -0.00063267 | 1.2858e-07 | -1.2408e-07 | 0.0038505 | 0.0038505 | 0.0038505 | 0.97559 | -0.17208 | 0.97554 | -0.17245 | 1.4261
17 | -0.012139 | -0.0030395 | 0.012144 | 0.0030411 | 4.9845e-06 | 1.6211e-06 | 0.018437 | 0.018437 | 0.018437 | 0.97964 | -0.143 | 0.98005 | -0.14003 | 6.8286
18 | -0.017951 | -0.0044965 | 0.017972 | 0.004504 | 2.0774e-05 | 7.4244e-06 | 0.027254 | 0.027254 | 0.027254 | 0.98005 | -0.14003 | 0.98122 | -0.13167 | 10.0942
19 | 0.017146 | 0.0042987 | -0.017136 | -0.0042951 | 1.015e-05 | 3.6063e-06 | 0.02614 | 0.02614 | 0.02614 | 0.97609 | -0.16804 | 0.97549 | -0.17231 | 9.6815
20 | -0.033057 | -0.0082895 | 0.033063 | 0.0082918 | 6.0866e-06 | 2.2928e-06 | 0.050344 | 0.050344 | 0.050344 | 0.97709 | -0.16082 | 0.97728 | -0.1595 | 18.6459
21 | 0.011962 | 0.0029982 | -0.011956 | -0.0029966 | 5.1718e-06 | 1.6785e-06 | 0.018247 | 0.018247 | 0.018247 | 0.97548 | -0.1724 | 0.97504 | -0.17552 | 6.7581
22 | -0.01451 | -0.0036369 | 0.01451 | 0.003637 | 1.7418e-07 | 5.9879e-08 | 0.022134 | 0.022134 | 0.022134 | 0.97548 | -0.1724 | 0.97549 | -0.17231 | 8.1978
23 | 0.00948 | 0.0023759 | -0.0094799 | -0.0023759 | 1.0571e-07 | 3.0562e-08 | 0.014468 | 0.014468 | 0.014468 | 0.97504 | -0.17552 | 0.97503 | -0.1756 | 5.3583
24 | -0.014815 | -0.0037153 | 0.014818 | 0.0037161 | 2.3887e-06 | 8.1974e-07 | 0.022284 | 0.022284 | 0.022284 | 0.98932 | -0.074303 | 0.98948 | -0.073139 | 8.2534
25 | -0.00287 | -0.00071921 | 0.0028701 | 0.00071914 | 9.9641e-08 | -6.9991e-08 | 0.0043338 | 0.0043337 | 0.0043338 | 0.98542 | -0.10185 | 0.98545 | -0.1016 | 1.6051
26 | 0.00287 | 0.00071921 | -0.0028699 | -0.00071927 | 8.6075e-08 | -6.0454e-08 | 0.0043338 | 0.0043338 | 0.0043338 | 0.98542 | -0.10185 | 0.98538 | -0.10206 | 1.6051
27 | -0.055253 | -0.013864 | 0.055335 | 0.013895 | 8.1949e-05 | 3.1278e-05 | 0.083437 | 0.083437 | 0.083437 | 0.98545 | -0.1016 | 0.98696 | -0.090923 | 30.9025
28 | 0.052383 | 0.013145 | -0.052358 | -0.013135 | 2.4579e-05 | 9.3733e-06 | 0.079103 | 0.079103 | 0.079103 | 0.98545 | -0.1016 | 0.98497 | -0.10498 | 29.2974
29 | -0.0019016 | -0.0004766 | 0.0019017 | 0.00047652 | 3.9176e-08 | -8.1461e-08 | 0.0028751 | 0.002875 | 0.0028751 | 0.98422 | -0.11036 | 0.98424 | -0.11021 | 1.0648
30 | -0.0028034 | -0.00070251 | 0.0028036 | 0.00070239 | 1.6701e-07 | -1.2514e-07 | 0.0042383 | 0.0042383 | 0.0042383 | 0.98424 | -0.11021 | 0.9843 | -0.10978 | 1.5697
31 | -0.016935 | -0.0042468 | 0.016937 | 0.0042475 | 2.0401e-06 | 7.199e-07 | 0.025469 | 0.025469 | 0.025469 | 0.98948 | -0.073139 | 0.98961 | -0.07227 | 9.4328
32 | -0.019583 | -0.0049077 | 0.019594 | 0.0049118 | 1.1381e-05 | 4.1159e-06 | 0.029697 | 0.029697 | 0.029697 | 0.98122 | -0.13167 | 0.98181 | -0.12748 | 10.9989
33 | -0.060199 | -0.015141 | 0.060274 | 0.01517 | 7.5188e-05 | 2.8733e-05 | 0.090955 | 0.090955 | 0.090955 | 0.98506 | -0.10422 | 0.98633 | -0.095271 | 33.6869
34 | 0.057887 | 0.014562 | -0.057787 | -0.014523 | 0.00010034 | 3.8327e-05 | 0.087463 | 0.087463 | 0.087463 | 0.98506 | -0.10422 | 0.9833 | -0.11667 | 32.3937
35 | -0.061415 | -0.015456 | 0.061461 | 0.015473 | 4.5836e-05 | 1.752e-05 | 0.092676 | 0.092676 | 0.092676 | 0.98633 | -0.095271 | 0.98709 | -0.089928 | 34.3246
36 | 0.055209 | 0.013877 | -0.055182 | -0.013867 | 2.6539e-05 | 1.013e-05 | 0.083562 | 0.083562 | 0.083562 | 0.9833 | -0.11667 | 0.98281 | -0.12012 | 30.9489
37 | -0.062569 | -0.015751 | 0.062611 | 0.015767 | 4.1931e-05 | 1.6031e-05 | 0.094347 | 0.094347 | 0.094347 | 0.98709 | -0.089928 | 0.98777 | -0.085134 | 34.9433
38 | 0.053027 | 0.013327 | -0.052954 | -0.013299 | 7.2732e-05 | 2.7745e-05 | 0.080298 | 0.080298 | 0.080298 | 0.98281 | -0.12012 | 0.98142 | -0.12999 | 29.74
39 | -0.063821 | -0.01607 | 0.063871 | 0.016089 | 5.0067e-05 | 1.9145e-05 | 0.096169 | 0.096169 | 0.096169 | 0.98777 | -0.085134 | 0.98857 | -0.079524 | 35.6181
40 | 0.048934 | 0.012292 | -0.048901 | -0.012279 | 3.2968e-05 | 1.2559e-05 | 0.074203 | 0.074203 | 0.074203 | 0.98142 | -0.12999 | 0.98074 | -0.13484 | 27.4827
41 | -0.065896 | -0.016597 | 0.065998 | 0.016636 | 0.00010155 | 3.8845e-05 | 0.099218 | 0.099218 | 0.099218 | 0.98857 | -0.079524 | 0.99014 | -0.06852 | 36.7474
42 | 0.046085 | 0.011573 | -0.046043 | -0.011557 | 4.1752e-05 | 1.5886e-05 | 0.06993 | 0.06993 | 0.06993 | 0.98074 | -0.13484 | 0.97982 | -0.14136 | 25.9001
43 | -0.0031537 | -0.00079039 | 0.0031543 | 0.00079008 | 6.2002e-07 | -3.147e-07 | 0.0047732 | 0.004773 | 0.0047732 | 0.98315 | -0.11796 | 0.98335 | -0.11654 | 1.7679
44 | -0.0062106 | -0.0015561 | 0.0062134 | 0.0015565 | 2.8043e-06 | 4.3273e-07 | 0.0093978 | 0.0093976 | 0.0093978 | 0.98335 | -0.11654 | 0.98381 | -0.11328 | 3.4807
45 | -0.009353 | -0.0023434 | 0.0093582 | 0.0023448 | 5.1942e-06 | 1.4693e-06 | 0.014146 | 0.014146 | 0.014146 | 0.98381 | -0.11328 | 0.98437 | -0.10926 | 5.2394
46 | -0.016189 | -0.0040566 | 0.016199 | 0.00406 | 9.6042e-06 | 3.367e-06 | 0.024472 | 0.024472 | 0.024472 | 0.98437 | -0.10926 | 0.98497 | -0.10498 | 9.0638
47 | 0.0068312 | 0.0017118 | -0.0068307 | -0.0017117 | 4.8659e-07 | 9.4191e-08 | 0.010326 | 0.010326 | 0.010326 | 0.98437 | -0.10926 | 0.9843 | -0.10978 | 3.8245
48 | 0.036159 | 0.0090755 | -0.036131 | -0.0090647 | 2.8504e-05 | 1.0769e-05 | 0.054631 | 0.054631 | 0.054631 | 0.98497 | -0.10498 | 0.98417 | -0.11066 | 20.2337
49 | -0.057313 | -0.014391 | 0.057492 | 0.014459 | 0.00017899 | 6.8349e-05 | 0.08642 | 0.08642 | 0.08642 | 0.98696 | -0.090923 | 0.99014 | -0.06852 | 32.0074
50 | 0.033981 | 0.008526 | -0.033941 | -0.0085109 | 4.0058e-05 | 1.5098e-05 | 0.051381 | 0.051381 | 0.051381 | 0.98417 | -0.11066 | 0.98298 | -0.11917 | 19.0302
51 | 0.031136 | 0.0078079 | -0.031129 | -0.007805 | 7.6859e-06 | 2.8859e-06 | 0.047135 | 0.047135 | 0.047135 | 0.98298 | -0.11917 | 0.98273 | -0.12095 | 17.4575
52 | -0.14485 | -0.036452 | 0.14543 | 0.036674 | 0.00057928 | 0.00022179 | 0.21774 | 0.21773 | 0.21774 | 0.99014 | -0.06852 | 0.99422 | -0.039985 | 40.3213
53 | 0.021357 | 0.0053565 | -0.021347 | -0.0053528 | 1.001e-05 | 3.65e-06 | 0.032098 | 0.032098 | 0.032098 | 0.99014 | -0.06852 | 0.98966 | -0.071902 | 11.888
54 | -0.14896 | -0.03756 | 0.149 | 0.037573 | 3.5206e-05 | 1.3482e-05 | 0.22303 | 0.22303 | 0.22303 | 0.99422 | -0.039985 | 0.99446 | -0.038299 | 41.3014
55 | 0.019804 | 0.004966 | -0.019803 | -0.0049656 | 1.0096e-06 | 3.6487e-07 | 0.029777 | 0.029777 | 0.029777 | 0.98966 | -0.071902 | 0.98961 | -0.07227 | 11.0285
56 | -0.15117 | -0.038118 | 0.15151 | 0.038248 | 0.0003401 | 0.00013026 | 0.22628 | 0.22628 | 0.22628 | 0.99446 | -0.038299 | 0.99677 | -0.022282 | 41.9031
57 | -0.1532 | -0.038671 | 0.15368 | 0.038856 | 0.00048095 | 0.00018421 | 0.2288 | 0.2288 | 0.2288 | 0.99677 | -0.022282 | 1 | 0 | 42.3701
58 | 0.042571 | 0.010687 | -0.04252 | -0.010668 | 5.0107e-05 | 1.903e-05 | 0.064657 | 0.064657 | 0.064657 | 0.97982 | -0.14136 | 0.97863 | -0.14984 | 23.947
59 | 0.039084 | 0.009807 | -0.039078 | -0.0098046 | 6.2617e-06 | 2.3727e-06 | 0.059432 | 0.059432 | 0.059432 | 0.97863 | -0.14984 | 0.97847 | -0.151 | 22.012
60 | 0.035452 | 0.0088958 | -0.03541 | -0.00888 | 4.1749e-05 | 1.5769e-05 | 0.053918 | 0.053918 | 0.053918 | 0.97847 | -0.151 | 0.97728 | -0.1595 | 19.9695
61 | 0.027805 | 0.006972 | -0.027784 | -0.0069642 | 2.0724e-05 | 7.7335e-06 | 0.042102 | 0.042102 | 0.042102 | 0.98273 | -0.12095 | 0.98197 | -0.12633 | 15.5934
62 | 0.0063139 | 0.0015819 | -0.0063122 | -0.0015816 | 1.7129e-06 | 2.7956e-07 | 0.0095676 | 0.0095677 | 0.0095677 | 0.98197 | -0.12633 | 0.9817 | -0.12829 | 3.5436
63 | 0.02147 | 0.0053823 | -0.021466 | -0.0053811 | 3.4093e-06 | 1.246e-06 | 0.032535 | 0.032535 | 0.032535 | 0.98197 | -0.12633 | 0.98181 | -0.12748 | 12.0499
64 | 0.0026158 | 0.00065522 | -0.0026154 | -0.00065549 | 3.0444e-07 | -2.7527e-07 | 0.0039647 | 0.0039649 | 0.0039649 | 0.9817 | -0.12829 | 0.98158 | -0.12913 | 1.4685
65 | 0.0074838 | 0.0018756 | -0.0074822 | -0.0018752 | 1.6357e-06 | 3.7853e-07 | 0.011421 | 0.011421 | 0.011421 | 0.97503 | -0.1756 | 0.97481 | -0.17718 | 4.2301
66 | 0.0039967 | 0.0010017 | -0.0039967 | -0.0010017 | 4.1977e-09 | -6.3908e-10 | 0.0061009 | 0.0061009 | 0.0061009 | 0.97481 | -0.17718 | 0.97481 | -0.17719 | 2.2596

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.15626 | 0.039301

## res_load
| p_mw | q_mvar
0 | 0.0017034 | 0.00042692
1 | 0.0086234 | 0.0021612
2 | 0.0022442 | 0.00056244
3 | 0.0042783 | 0.0010722
4 | 0.0032366 | 0.00081116
5 | 0.0025096 | 0.00062896
6 | 0.001091 | 0.00027344
7 | 0.0038807 | 0.00097261
8 | 0.00052233 | 0.00013091
9 | 0.001707 | 0.00042782
10 | 0.0016878 | 0.00042301
11 | 0.00068566 | 0.00017184
12 | 0.0025244 | 0.00063267
13 | 0.0058072 | 0.0014554
14 | 0.0037167 | 0.00093149
15 | 0.0021329 | 0.00053456
16 | 0.0025484 | 0.00063868
17 | 0.0024764 | 0.00062066
18 | 0.0026261 | 0.00065817
19 | 0.0021431 | 0.00053711
20 | 0.0028699 | 0.00071927
21 | 0.0019016 | 0.0004766
22 | 0.00090175 | 0.000226
23 | 0.0021176 | 0.00053071
24 | 0.0016108 | 0.00040371
25 | 0.0023115 | 0.00057931
26 | 0.0011413 | 0.00028604
27 | 0.0025778 | 0.00064606
28 | 0.0011082 | 0.00027773
29 | 0.0021559 | 0.00054031
30 | 0.0012096 | 0.00030315
31 | 0.0040198 | 0.0010075
32 | 0.0020257 | 0.00050768
33 | 0.0028163 | 0.00070584
34 | 0.0031537 | 0.00079039
35 | 0.0030563 | 0.00076598
36 | 0.0031396 | 0.00078686
37 | 0.0040271 | 0.0010093
38 | 0.0019787 | 0.00049591
39 | 0.0021493 | 0.00053867
40 | 0.0028051 | 0.00070302
41 | 0.0035363 | 0.00088628
42 | 0.0015435 | 0.00038684
43 | 0.0021714 | 0.00054421
44 | 0.0028652 | 0.00071809
45 | 0.0016895 | 0.00042344
46 | 0.0017754 | 0.00044495
47 | 0.0034724 | 0.00087026
48 | 0.0034361 | 0.00086117
49 | 0.0036263 | 0.00090883
50 | 0.0023471 | 0.00058823
51 | 0.003324 | 0.00083306
52 | 0.0036965 | 0.00092643
53 | 0.0018724 | 0.00046928
54 | 0.0026154 | 0.00065549
55 | 0.0019961 | 0.00050027
56 | 0.0034855 | 0.00087354
57 | 0.0039967 | 0.0010017

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1