## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1370-8_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1370-8_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1370-8_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1370-8_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1370-8_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1370-8_0_2_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_1370-8_0_2_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_1370-8_0_2_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_1370-8_0_2_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_1370-8_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1370-8_0_2_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_1370-8_0_2_node_43 | 0.4 | n |  | TRUE
12 | bus_LV_1370-8_0_2_node_57 | 0.4 | n |  | TRUE
13 | bus_LV_1370-8_0_2_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_1370-8_0_2_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_1370-8_0_2_node_79 | 0.4 | n |  | TRUE
16 | bus_LV_1370-8_0_2_node_76 | 0.4 | n |  | TRUE
17 | bus_LV_1370-8_0_2_node_41 | 0.4 | n |  | TRUE
18 | bus_LV_1370-8_0_2_node_59 | 0.4 | n |  | TRUE
19 | bus_LV_1370-8_0_2_node_56 | 0.4 | n |  | TRUE
20 | bus_LV_1370-8_0_2_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_1370-8_0_2_node_68 | 0.4 | n |  | TRUE
22 | bus_LV_1370-8_0_2_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_1370-8_0_2_node_69 | 0.4 | n |  | TRUE
24 | bus_LV_1370-8_0_2_node_86 | 0.4 | n |  | TRUE
25 | bus_LV_1370-8_0_2_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_1370-8_0_2_node_64 | 0.4 | n |  | TRUE
27 | bus_LV_1370-8_0_2_node_67 | 0.4 | n |  | TRUE
28 | bus_LV_1370-8_0_2_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_1370-8_0_2_node_66 | 0.4 | n |  | TRUE
30 | bus_LV_1370-8_0_2_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_1370-8_0_2_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_1370-8_0_2_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_1370-8_0_2_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_1370-8_0_2_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_1370-8_0_2_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_1370-8_0_2_node_50 | 0.4 | n |  | TRUE
37 | bus_LV_1370-8_0_2_node_70 | 0.4 | n |  | TRUE
38 | bus_LV_1370-8_0_2_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_1370-8_0_2_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_1370-8_0_2_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_1370-8_0_2_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_1370-8_0_2_node_72 | 0.4 | n |  | TRUE
43 | bus_LV_1370-8_0_2_node_73 | 0.4 | n |  | TRUE
44 | bus_LV_1370-8_0_2_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_1370-8_0_2_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_1370-8_0_2_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_1370-8_0_2_node_83 | 0.4 | n |  | TRUE
48 | bus_LV_1370-8_0_2_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_1370-8_0_2_node_82 | 0.4 | n |  | TRUE
50 | bus_LV_1370-8_0_2_node_81 | 0.4 | n |  | TRUE
51 | bus_LV_1370-8_0_2_node_61 | 0.4 | n |  | TRUE
52 | bus_LV_1370-8_0_2_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_1370-8_0_2_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_1370-8_0_2_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_1370-8_0_2_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_1370-8_0_2_node_71 | 0.4 | n |  | TRUE
57 | bus_LV_1370-8_0_2_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_1370-8_0_2_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_1370-8_0_2_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_1370-8_0_2_node_74 | 0.4 | n |  | TRUE
61 | bus_LV_1370-8_0_2_node_75 | 0.4 | n |  | TRUE
62 | bus_LV_1370-8_0_2_node_77 | 0.4 | n |  | TRUE
63 | bus_LV_1370-8_0_2_node_78 | 0.4 | n |  | TRUE
64 | bus_MV_22_0_node_56 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1370-8_0_2_load_0 | 0 | 0.027182 | 0.0068125 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1370-8_0_2_load_1 | 1 | 0.0016399 | 0.00041101 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1370-8_0_2_load_3 | 3 | 0.0025262 | 0.00063312 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1370-8_0_2_load_4 | 4 | 0.0019864 | 0.00049784 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1370-8_0_2_load_11 | 7 | 0.0038461 | 0.00096393 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1370-8_0_2_load_12 | 8 | 0.0049185 | 0.0012327 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1370-8_0_2_load_43 | 11 | 0.0043038 | 0.0010786 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1370-8_0_2_load_6 | 13 | 0.0026729 | 0.00066989 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1370-8_0_2_load_7 | 14 | 0.0036795 | 0.00092218 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1370-8_0_2_load_79 | 15 | 0.0028185 | 0.00070639 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1370-8_0_2_load_41 | 17 | 0.0032874 | 0.0008239 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1370-8_0_2_load_56 | 19 | 0.0025301 | 0.0006341 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1370-8_0_2_load_31 | 20 | 0.0028112 | 0.00070455 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1370-8_0_2_load_68 | 21 | 0.0037219 | 0.0009328 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1370-8_0_2_load_32 | 22 | 0.0057481 | 0.0014406 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1370-8_0_2_load_69 | 23 | 0.0024206 | 0.00060666 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1370-8_0_2_load_86 | 24 | 0.00060309 | 0.00015115 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1370-8_0_2_load_64 | 26 | 0.0031117 | 0.00077987 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1370-8_0_2_load_67 | 27 | 0.0020613 | 0.00051662 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1370-8_0_2_load_66 | 29 | 0.0032814 | 0.0008224 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1370-8_0_2_load_35 | 30 | 0.0031197 | 0.00078187 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1370-8_0_2_load_36 | 31 | 0.0028562 | 0.00071582 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1370-8_0_2_load_37 | 32 | 0.0019302 | 0.00048376 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1370-8_0_2_load_38 | 33 | 0.0035284 | 0.0008843 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1370-8_0_2_load_39 | 34 | 0.0049933 | 0.0012514 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1370-8_0_2_load_65 | 35 | 0.0034573 | 0.00086648 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1370-8_0_2_load_50 | 36 | 0.0011328 | 0.0002839 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1370-8_0_2_load_70 | 37 | 0.0023965 | 0.00060061 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1370-8_0_2_load_49 | 38 | 0.0023901 | 0.00059903 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1370-8_0_2_load_40 | 39 | 0.0011523 | 0.00028879 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1370-8_0_2_load_42 | 40 | 0.0037399 | 0.0009373 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1370-8_0_2_load_44 | 41 | 0.0037372 | 0.00093663 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1370-8_0_2_load_72 | 42 | 0.00563 | 0.001411 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1370-8_0_2_load_73 | 43 | 0.0027134 | 0.00068005 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1370-8_0_2_load_45 | 44 | 0.0020671 | 0.00051807 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1370-8_0_2_load_46 | 45 | 0.0011472 | 0.00028752 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1370-8_0_2_load_83 | 47 | 0.0012264 | 0.00030736 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1370-8_0_2_load_62 | 48 | 0.0033745 | 0.00084574 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1370-8_0_2_load_81 | 50 | 0.00087582 | 0.0002195 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1370-8_0_2_load_61 | 51 | 0.003069 | 0.00076916 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1370-8_0_2_load_51 | 52 | 0.0035224 | 0.00088279 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1370-8_0_2_load_52 | 53 | 0.0027486 | 0.00068887 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1370-8_0_2_load_53 | 54 | 0.0023321 | 0.00058448 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1370-8_0_2_load_55 | 55 | 0.0023543 | 0.00059005 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1370-8_0_2_load_71 | 56 | 0.0052843 | 0.0013244 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1370-8_0_2_load_60 | 58 | 0.0032366 | 0.00081118 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1370-8_0_2_load_63 | 59 | 0.0022789 | 0.00057115 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1370-8_0_2_load_74 | 60 | 0.0021885 | 0.00054849 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1370-8_0_2_load_75 | 61 | 0.0032854 | 0.00082341 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1370-8_0_2_load_77 | 62 | 0.003961 | 0.00099271 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1370-8_0_2_load_78 | 63 | 0.0022086 | 0.00055353 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1370-8_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.010953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1370-8_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0084286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1370-8_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.028294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1370-8_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0070393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1370-8_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0061858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1370-8_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.031626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1370-8_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0064255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1370-8_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.030082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1370-8_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.007586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1370-8_0_2_line_9 | NAYY 4x150 SE | 7 | 20 | 0.025526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1370-8_0_2_line_10 | NAYY 4x150 SE | 8 | 21 | 0.010503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1370-8_0_2_line_11 | NAYY 4x150 SE | 9 | 15 | 0.015543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1370-8_0_2_line_12 | NAYY 4x150 SE | 9 | 14 | 0.01445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1370-8_0_2_line_13 | NAYY 4x150 SE | 10 | 11 | 0.045763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1370-8_0_2_line_14 | NAYY 4x150 SE | 10 | 12 | 0.039976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1370-8_0_2_line_15 | NAYY 4x150 SE | 11 | 17 | 0.0036878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1370-8_0_2_line_16 | NAYY 4x150 SE | 12 | 18 | 0.1324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1370-8_0_2_line_17 | NAYY 4x150 SE | 12 | 19 | 0.040043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1370-8_0_2_line_18 | NAYY 4x150 SE | 13 | 14 | 0.029607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1370-8_0_2_line_19 | NAYY 4x150 SE | 15 | 16 | 0.016762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1370-8_0_2_line_20 | NAYY 4x150 SE | 16 | 63 | 0.015497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1370-8_0_2_line_21 | NAYY 4x150 SE | 16 | 60 | 0.0058919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1370-8_0_2_line_22 | NAYY 4x150 SE | 17 | 39 | 0.01645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1370-8_0_2_line_23 | NAYY 4x150 SE | 18 | 24 | 0.10342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1370-8_0_2_line_24 | NAYY 4x150 SE | 19 | 57 | 0.018256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1370-8_0_2_line_25 | NAYY 4x150 SE | 20 | 22 | 0.034254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1370-8_0_2_line_26 | NAYY 4x150 SE | 21 | 23 | 0.0030293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1370-8_0_2_line_27 | NAYY 4x150 SE | 22 | 25 | 0.031071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1370-8_0_2_line_28 | NAYY 4x150 SE | 23 | 56 | 0.02476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1370-8_0_2_line_29 | NAYY 4x150 SE | 25 | 26 | 0.010041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_1370-8_0_2_line_30 | NAYY 4x150 SE | 25 | 27 | 0.042593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_1370-8_0_2_line_31 | NAYY 4x150 SE | 26 | 28 | 0.023442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_1370-8_0_2_line_32 | NAYY 4x150 SE | 27 | 29 | 0.00094745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_1370-8_0_2_line_33 | NAYY 4x150 SE | 28 | 48 | 0.011183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1370-8_0_2_line_34 | NAYY 4x150 SE | 28 | 45 | 0.018236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_1370-8_0_2_line_35 | NAYY 4x150 SE | 30 | 31 | 0.0010197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1370-8_0_2_line_36 | NAYY 4x150 SE | 30 | 32 | 0.048251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1370-8_0_2_line_37 | NAYY 4x150 SE | 31 | 33 | 0.016847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1370-8_0_2_line_38 | NAYY 4x150 SE | 32 | 34 | 0.014994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1370-8_0_2_line_39 | NAYY 4x150 SE | 33 | 35 | 0.014214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1370-8_0_2_line_40 | NAYY 4x150 SE | 34 | 36 | 0.00019478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1370-8_0_2_line_41 | NAYY 4x150 SE | 35 | 37 | 0.0041432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1370-8_0_2_line_42 | NAYY 4x150 SE | 36 | 38 | 0.018386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1370-8_0_2_line_43 | NAYY 4x150 SE | 37 | 58 | 0.025448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1370-8_0_2_line_44 | NAYY 4x150 SE | 38 | 46 | 0.019977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1370-8_0_2_line_45 | NAYY 4x150 SE | 39 | 40 | 0.0098374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1370-8_0_2_line_46 | NAYY 4x150 SE | 40 | 41 | 0.034681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1370-8_0_2_line_47 | NAYY 4x150 SE | 41 | 42 | 0.0023325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1370-8_0_2_line_48 | NAYY 4x150 SE | 42 | 43 | 0.019918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1370-8_0_2_line_49 | NAYY 4x150 SE | 44 | 45 | 0.0098513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1370-8_0_2_line_50 | NAYY 4x150 SE | 44 | 46 | 0.032098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1370-8_0_2_line_51 | NAYY 4x150 SE | 46 | 47 | 0.14344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1370-8_0_2_line_52 | NAYY 4x150 SE | 47 | 49 | 0.16228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1370-8_0_2_line_53 | NAYY 4x150 SE | 48 | 51 | 0.017908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1370-8_0_2_line_54 | NAYY 4x150 SE | 49 | 50 | 0.072939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1370-8_0_2_line_55 | NAYY 4x150 SE | 51 | 59 | 0.003167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1370-8_0_2_line_56 | NAYY 4x150 SE | 52 | 53 | 0.020828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1370-8_0_2_line_57 | NAYY 4x150 SE | 52 | 54 | 0.032285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1370-8_0_2_line_58 | NAYY 4x150 SE | 54 | 55 | 0.072518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1370-8_0_2_line_59 | NAYY 4x150 SE | 55 | 56 | 0.00034257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1370-8_0_2_line_60 | NAYY 4x150 SE | 57 | 58 | 0.0063127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1370-8_0_2_line_61 | NAYY 4x150 SE | 60 | 61 | 0.0049092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1370-8_0_2_line_62 | NAYY 4x150 SE | 61 | 62 | 0.016823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1370-8_0_2_trafo_66 | 0.25 MVA 20/0.4 kV | 64 | 29 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2694071.9638 | 1217889.5777 | 2694081.8672 | 1217894.2557
1 | 2694064.3427 | 1217885.9777 | 2694071.9638 | 1217889.5777
2 | 2694081.8672 | 1217894.2557 | 2694095.7579 | 1217900.8173 | 2694108.4432 | 1217903.3267
3 | 2694064.3427 | 1217885.9777 | 2694068.3523 | 1217880.6151 | 2694068.6556 | 1217880.4541
4 | 2694114.5114 | 1217904.5271 | 2694108.4432 | 1217903.3267
5 | 2694084.0541 | 1217856.4462 | 2694083.0687 | 1217864.0359 | 2694082.7653 | 1217866.4217 | 2694082.213 | 1217869.6708 | 2694079.7824 | 1217875.0361 | 2694073.4587 | 1217877.9049 | 2694068.6556 | 1217880.4541
6 | 2694114.5114 | 1217904.5271 | 2694119.6437 | 1217900.661
7 | 2694114.5114 | 1217904.5271 | 2694120.0997 | 1217906.3944 | 2694137.0113 | 1217923.6899
8 | 2694076.9454 | 1217853.7433 | 2694084.0541 | 1217856.4462
9 | 2694139.0476 | 1217885.8017 | 2694129.7836 | 1217897.4634 | 2694119.6437 | 1217900.661
10 | 2694137.0113 | 1217923.6899 | 2694137.2379 | 1217923.9217 | 2694147.363 | 1217922.8726
11 | 2694076.9454 | 1217853.7433 | 2694082.5455 | 1217839.2439
12 | 2694076.9454 | 1217853.7433 | 2694063.5741 | 1217848.2656
13 | 2694016.1519 | 1217750.7682 | 2694028.6421 | 1217755.9578 | 2694038.9062 | 1217758.8439 | 2694060.4765 | 1217759.2985
14 | 2694016.1519 | 1217750.7682 | 2694034.4971 | 1217720.748 | 2694036.788 | 1217716.5368
15 | 2694064.1634 | 1217759.3762 | 2694064.1634 | 1217759.3762 | 2694060.4765 | 1217759.2985
16 | 2694036.788 | 1217716.5368 | 2694056.1688 | 1217683.9312 | 2694057.141 | 1217682.9459 | 2694066.9833 | 1217672.6496 | 2694075.3022 | 1217666.043 | 2694081.1277 | 1217661.076 | 2694089.4318 | 1217652.0453 | 2694099.1768 | 1217639.2681 | 2694107.2702 | 1217626.7539 | 2694114.7597 | 1217611.1392
17 | 2694036.788 | 1217716.5368 | 2694046.0586 | 1217720.8083 | 2694061.8326 | 1217724.2929 | 2694068.6465 | 1217724.0448 | 2694074.8418 | 1217721.0926
18 | 2694039.0212 | 1217832.1993 | 2694039.4444 | 1217832.4589 | 2694048.2325 | 1217840.3475 | 2694057.8618 | 1217845.9255 | 2694063.5741 | 1217848.2656
19 | 2694087.3052 | 1217823.1745 | 2694082.8187 | 1217838.5366 | 2694082.5455 | 1217839.2439
20 | 2694087.3052 | 1217823.1745 | 2694102.7586 | 1217824.8308
21 | 2694087.3052 | 1217823.1745 | 2694086.5114 | 1217817.3364
22 | 2694080.3235 | 1217762.4536 | 2694064.1634 | 1217759.3762
23 | 2694163.4578 | 1217690.6745 | 2694159.2862 | 1217675.0533 | 2694150.6722 | 1217647.4982 | 2694141.7021 | 1217619.4149 | 2694138.2284 | 1217615.8353 | 2694130.7246 | 1217613.6152 | 2694122.7543 | 1217612.0883 | 2694114.7597 | 1217611.1392
24 | 2694092.038 | 1217715.8194 | 2694084.3432 | 1217716.5651 | 2694074.8418 | 1217721.0926
25 | 2694118.6078 | 1217865.3313 | 2694119.0683 | 1217868.8633 | 2694126.0309 | 1217870.2408 | 2694130.9819 | 1217870.1634 | 2694132.0852 | 1217870.4811 | 2694133.3461 | 1217870.9235 | 2694134.2978 | 1217871.7058 | 2694135.2223 | 1217873.2548 | 2694136.015 | 1217875.9358 | 2694136.6423 | 1217877.558 | 2694139.0476 | 1217885.8017
26 | 2694150.3762 | 1217922.5605 | 2694147.363 | 1217922.8726
27 | 2694148.862 | 1217859.494 | 2694131.6877 | 1217864.8932 | 2694125.107 | 1217865.7676 | 2694118.6078 | 1217865.3313
28 | 2694175.0043 | 1217920.0088 | 2694150.3762 | 1217922.5605
29 | 2694148.862 | 1217859.494 | 2694158.6027 | 1217857.0574
30 | 2694148.862 | 1217859.494 | 2694147.2912 | 1217840.7229 | 2694147.8917 | 1217829.6247 | 2694145.365 | 1217824.737 | 2694141.287 | 1217822.4154 | 2694138.933 | 1217821.7461
31 | 2694178.0299 | 1217844.0998 | 2694171.5275 | 1217849.6231 | 2694158.6027 | 1217857.0574
32 | 2694138.933 | 1217821.7461 | 2694138.0216 | 1217821.487
33 | 2694178.0299 | 1217844.0998 | 2694175.6946 | 1217841.0274 | 2694174.1189 | 1217833.8755
34 | 2694178.0299 | 1217844.0998 | 2694181.3587 | 1217840.0274 | 2694190.0742 | 1217830.414
35 | 2694156.0171 | 1217738.297 | 2694155.0682 | 1217737.9238
36 | 2694156.0171 | 1217738.297 | 2694168.458 | 1217743.1898 | 2694177.2135 | 1217748.821 | 2694192.6214 | 1217767.834
37 | 2694155.0682 | 1217737.9238 | 2694139.3905 | 1217731.7579
38 | 2694202.0616 | 1217779.4831 | 2694192.6214 | 1217767.834
39 | 2694126.1625 | 1217726.5554 | 2694139.3905 | 1217731.7579
40 | 2694202.1843 | 1217779.6344 | 2694202.0616 | 1217779.4831
41 | 2694126.1625 | 1217726.5554 | 2694122.3068 | 1217725.039
42 | 2694213.7602 | 1217793.9189 | 2694202.1843 | 1217779.6344
43 | 2694122.3068 | 1217725.039 | 2694106.2195 | 1217718.712 | 2694098.2233 | 1217717.0811
44 | 2694226.3379 | 1217809.4394 | 2694213.7602 | 1217793.9189
45 | 2694080.3235 | 1217762.4536 | 2694089.9873 | 1217764.2938
46 | 2694089.9873 | 1217764.2938 | 2694102.8111 | 1217766.7359 | 2694124.009 | 1217771.0223
47 | 2694124.009 | 1217771.0223 | 2694126.2953 | 1217771.4846
48 | 2694145.818 | 1217775.4322 | 2694126.2953 | 1217771.4846
49 | 2694198.1906 | 1217824.8307 | 2694190.0742 | 1217830.414 | 2694190.0742 | 1217830.414
50 | 2694226.3379 | 1217809.4394 | 2694217.1299 | 1217814.6641 | 2694200.0598 | 1217823.5449 | 2694198.1906 | 1217824.8307
51 | 2694226.3379 | 1217809.4394 | 2694364.1273 | 1217849.3027
52 | 2694364.1273 | 1217849.3027 | 2694367.9204 | 1217870.0772 | 2694372.2575 | 1217886.2237 | 2694381.1845 | 1217902.0872 | 2694390.2398 | 1217910.3252 | 2694397.7529 | 1217914.3248 | 2694414.7451 | 1217914.1938 | 2694424.7053 | 1217914.6742 | 2694469.8819 | 1217928.6443 | 2694473.3513 | 1217933.4248 | 2694470.0758 | 1217937.9538
53 | 2694172.6734 | 1217816.4221 | 2694171.395 | 1217821.5127 | 2694174.1189 | 1217833.8755
54 | 2694470.0758 | 1217937.9538 | 2694470.8544 | 1217939.6006 | 2694471.1046 | 1217947.2766 | 2694466.8757 | 1217954.4812 | 2694436.5268 | 1217973.9582 | 2694430.4967 | 1217980.8118 | 2694428.4832 | 1217990.4977
55 | 2694173.4448 | 1217813.3505 | 2694172.6734 | 1217816.4221
56 | 2694148.1824 | 1217966.5959 | 2694127.3547 | 1217966.4994
57 | 2694148.1824 | 1217966.5959 | 2694174.4966 | 1217966.7177 | 2694180.3983 | 1217965.8116
58 | 2694175.345 | 1217919.9735 | 2694183.699 | 1217919.108 | 2694191.809 | 1217920.893 | 2694196.2393 | 1217939.8094 | 2694196.4881 | 1217955.2796 | 2694190.1885 | 1217964.3085 | 2694180.3983 | 1217965.8116
59 | 2694175.345 | 1217919.9735 | 2694175.0043 | 1217920.0088
60 | 2694092.038 | 1217715.8194 | 2694098.2233 | 1217717.0811
61 | 2694086.5114 | 1217817.3364 | 2694085.85 | 1217812.472
62 | 2694085.85 | 1217812.472 | 2694085.0675 | 1217806.7167 | 2694074.5585 | 1217803.4181

## bus_geodata
| x | y | coords
0 | 2694071.9638 | 1217889.5777
1 | 2694081.8672 | 1217894.2557
2 | 2694064.3427 | 1217885.9777
3 | 2694108.4432 | 1217903.3267
4 | 2694068.6556 | 1217880.4541
5 | 2694114.5114 | 1217904.5271
6 | 2694084.0541 | 1217856.4462
7 | 2694119.6437 | 1217900.661
8 | 2694137.0113 | 1217923.6899
9 | 2694076.9454 | 1217853.7433
10 | 2694016.1519 | 1217750.7682
11 | 2694060.4765 | 1217759.2985
12 | 2694036.788 | 1217716.5368
13 | 2694039.0212 | 1217832.1993
14 | 2694063.5741 | 1217848.2656
15 | 2694082.5455 | 1217839.2439
16 | 2694087.3052 | 1217823.1745
17 | 2694064.1634 | 1217759.3762
18 | 2694114.7597 | 1217611.1392
19 | 2694074.8418 | 1217721.0926
20 | 2694139.0476 | 1217885.8017
21 | 2694147.363 | 1217922.8726
22 | 2694118.6078 | 1217865.3313
23 | 2694150.3762 | 1217922.5605
24 | 2694163.4578 | 1217690.6745
25 | 2694148.862 | 1217859.494
26 | 2694158.6027 | 1217857.0574
27 | 2694138.933 | 1217821.7461
28 | 2694178.0299 | 1217844.0998
29 | 2694138.0216 | 1217821.487
30 | 2694156.0171 | 1217738.297
31 | 2694155.0682 | 1217737.9238
32 | 2694192.6214 | 1217767.834
33 | 2694139.3905 | 1217731.7579
34 | 2694202.0616 | 1217779.4831
35 | 2694126.1625 | 1217726.5554
36 | 2694202.1843 | 1217779.6344
37 | 2694122.3068 | 1217725.039
38 | 2694213.7602 | 1217793.9189
39 | 2694080.3235 | 1217762.4536
40 | 2694089.9873 | 1217764.2938
41 | 2694124.009 | 1217771.0223
42 | 2694126.2953 | 1217771.4846
43 | 2694145.818 | 1217775.4322
44 | 2694198.1906 | 1217824.8307
45 | 2694190.0742 | 1217830.414
46 | 2694226.3379 | 1217809.4394
47 | 2694364.1273 | 1217849.3027
48 | 2694174.1189 | 1217833.8755
49 | 2694470.0758 | 1217937.9538
50 | 2694428.4832 | 1217990.4977
51 | 2694172.6734 | 1217816.4221
52 | 2694148.1824 | 1217966.5959
53 | 2694127.3547 | 1217966.4994
54 | 2694180.3983 | 1217965.8116
55 | 2694175.345 | 1217919.9735
56 | 2694175.0043 | 1217920.0088
57 | 2694092.038 | 1217715.8194
58 | 2694098.2233 | 1217717.0811
59 | 2694173.4448 | 1217813.3505
60 | 2694086.5114 | 1217817.3364
61 | 2694085.85 | 1217812.472
62 | 2694074.5585 | 1217803.4181
63 | 2694102.7586 | 1217824.8308
64 | 2694138.0216 | 1217821.487

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9787 | -0.14928 | 0.027182 | 0.0068125
1 | 0.9795 | -0.14358 | 0.0016399 | 0.00041101
2 | 0.97842 | -0.15129 | 0 | 0
3 | 0.98163 | -0.12842 | 0.0025262 | 0.00063312
4 | 0.97819 | -0.15296 | 0.0019864 | 0.00049784
5 | 0.98212 | -0.12495 | 0 | 0
6 | 0.97723 | -0.15984 | 0 | 0
7 | 0.98288 | -0.11953 | 0.0038461 | 0.00096393
8 | 0.98092 | -0.13346 | 0.0049185 | 0.0012327
9 | 0.97699 | -0.16149 | 0 | 0
10 | 0.97394 | -0.18313 | 0 | 0
11 | 0.97229 | -0.19498 | 0.0043038 | 0.0010786
12 | 0.97538 | -0.1728 | 0 | 0
13 | 0.97675 | -0.16328 | 0.0026729 | 0.00066989
14 | 0.97686 | -0.16245 | 0.0036795 | 0.00092218
15 | 0.97667 | -0.16384 | 0.0028185 | 0.00070639
16 | 0.97638 | -0.16589 | 0 | 0
17 | 0.97218 | -0.19577 | 0.0032874 | 0.0008239
18 | 0.97526 | -0.17366 | 0 | 0
19 | 0.97686 | -0.16223 | 0.0025301 | 0.0006341
20 | 0.98605 | -0.097102 | 0.0028112 | 0.00070455
21 | 0.98058 | -0.1359 | 0.0037219 | 0.0009328
22 | 0.99044 | -0.066245 | 0.0057481 | 0.0014406
23 | 0.9805 | -0.13649 | 0.0024206 | 0.00060666
24 | 0.97517 | -0.17432 | 0.00060309 | 0.00015115
25 | 0.99469 | -0.036688 | 0 | 0
26 | 0.99415 | -0.040437 | 0.0031117 | 0.00077987
27 | 0.99988 | -0.00080373 | 0.0020613 | 0.00051662
28 | 0.99294 | -0.048837 | 0 | 0
29 | 1 | 0 | -0.17392 | -0.043808
30 | 0.98104 | -0.13249 | 0.0031197 | 0.00078187
31 | 0.98097 | -0.13295 | 0.0028562 | 0.00071582
32 | 0.9843 | -0.10938 | 0.0019302 | 0.00048376
33 | 0.97998 | -0.14001 | 0.0035284 | 0.0008843
34 | 0.98536 | -0.10193 | 0.0049933 | 0.0012514
35 | 0.97921 | -0.14545 | 0.0034573 | 0.00086648
36 | 0.98537 | -0.10182 | 0.0011328 | 0.0002839
37 | 0.97901 | -0.14689 | 0.0023965 | 0.00060061
38 | 0.98683 | -0.091556 | 0.0023901 | 0.00059903
39 | 0.97177 | -0.19872 | 0.0011523 | 0.00028879
40 | 0.97154 | -0.20036 | 0.0037399 | 0.0009373
41 | 0.97093 | -0.2048 | 0.0037372 | 0.00093663
42 | 0.9709 | -0.205 | 0.00563 | 0.001411
43 | 0.97082 | -0.20558 | 0.0027134 | 0.00068005
44 | 0.99124 | -0.060678 | 0.0020671 | 0.00051807
45 | 0.99212 | -0.054579 | 0.0011472 | 0.00028752
46 | 0.98849 | -0.079947 | 0 | 0
47 | 0.98805 | -0.083072 | 0.0012264 | 0.00030736
48 | 0.9928 | -0.049825 | 0.0033745 | 0.00084574
49 | 0.98785 | -0.084549 | 0 | 0
50 | 0.98775 | -0.085205 | 0.00087582 | 0.0002195
51 | 0.99266 | -0.050795 | 0.003069 | 0.00076916
52 | 0.9787 | -0.14932 | 0.0035224 | 0.00088279
53 | 0.97862 | -0.14991 | 0.0027486 | 0.00068887
54 | 0.979 | -0.14721 | 0.0023321 | 0.00058448
55 | 0.97991 | -0.14071 | 0.0023543 | 0.00059005
56 | 0.97991 | -0.14067 | 0.0052843 | 0.0013244
57 | 0.9776 | -0.15694 | 0 | 0
58 | 0.97786 | -0.15511 | 0.0032366 | 0.00081118
59 | 0.99265 | -0.050868 | 0.0022789 | 0.00057115
60 | 0.9763 | -0.16647 | 0.0021885 | 0.00054849
61 | 0.97625 | -0.16684 | 0.0032854 | 0.00082341
62 | 0.97615 | -0.16754 | 0.003961 | 0.00099271
63 | 0.97633 | -0.16625 | 0.0022086 | 0.00055353
64 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.05003 | -0.012543 | 0.050069 | 0.012558 | 3.9546e-05 | 1.5072e-05 | 0.076067 | 0.076067 | 0.076067 | 0.9787 | -0.14928 | 0.9795 | -0.14358 | 28.173
1 | 0.022848 | 0.0057303 | -0.022842 | -0.005728 | 6.3472e-06 | 2.3354e-06 | 0.034739 | 0.034739 | 0.034739 | 0.9787 | -0.14928 | 0.97842 | -0.15129 | 12.8665
2 | -0.051709 | -0.012969 | 0.051818 | 0.01301 | 0.00010896 | 4.155e-05 | 0.078558 | 0.078558 | 0.078558 | 0.9795 | -0.14358 | 0.98163 | -0.12842 | 29.0956
3 | 0.022842 | 0.005728 | -0.022836 | -0.0057261 | 5.301e-06 | 1.9505e-06 | 0.034739 | 0.034739 | 0.034739 | 0.97842 | -0.15129 | 0.97819 | -0.15296 | 12.8665
4 | -0.054345 | -0.013644 | 0.054371 | 0.013654 | 2.62e-05 | 9.9987e-06 | 0.082387 | 0.082387 | 0.082387 | 0.98163 | -0.12842 | 0.98212 | -0.12495 | 30.5139
5 | 0.02085 | 0.0052282 | -0.02083 | -0.005221 | 1.9853e-05 | 7.2393e-06 | 0.031718 | 0.031718 | 0.031718 | 0.97819 | -0.15296 | 0.97723 | -0.15984 | 11.7474
6 | -0.081734 | -0.020517 | 0.081796 | 0.020541 | 6.1499e-05 | 2.3572e-05 | 0.12385 | 0.12385 | 0.12385 | 0.98212 | -0.12495 | 0.98288 | -0.11953 | 45.8696
7 | 0.027363 | 0.0068636 | -0.027331 | -0.0068516 | 3.2267e-05 | 1.203e-05 | 0.041461 | 0.041461 | 0.041461 | 0.98212 | -0.12495 | 0.98092 | -0.13346 | 15.3558
8 | 0.02083 | 0.005221 | -0.020825 | -0.0052192 | 4.7622e-06 | 1.7366e-06 | 0.031718 | 0.031718 | 0.031718 | 0.97723 | -0.15984 | 0.97699 | -0.16149 | 11.7474
9 | -0.085642 | -0.021505 | 0.08591 | 0.021607 | 0.00026782 | 0.00010268 | 0.12967 | 0.12967 | 0.12967 | 0.98288 | -0.11953 | 0.98605 | -0.097102 | 48.0262
10 | 0.022413 | 0.0056189 | -0.022405 | -0.0056161 | 7.5765e-06 | 2.7815e-06 | 0.034 | 0.034 | 0.034 | 0.98092 | -0.13346 | 0.98058 | -0.1359 | 12.5925
11 | 0.014472 | 0.0036273 | -0.014467 | -0.0036257 | 4.7119e-06 | 1.6177e-06 | 0.022041 | 0.022041 | 0.022041 | 0.97699 | -0.16149 | 0.97667 | -0.16384 | 8.1634
12 | 0.0063536 | 0.001592 | -0.0063527 | -0.0015918 | 8.4432e-07 | 1.4381e-07 | 0.0096767 | 0.0096768 | 0.0096768 | 0.97699 | -0.16149 | 0.97686 | -0.16245 | 3.584
13 | 0.024625 | 0.0061782 | -0.024585 | -0.0061632 | 4.0426e-05 | 1.498e-05 | 0.037625 | 0.037626 | 0.037626 | 0.97394 | -0.18313 | 0.97229 | -0.19498 | 13.9354
14 | -0.024625 | -0.0061782 | 0.02466 | 0.0061913 | 3.5313e-05 | 1.3084e-05 | 0.037625 | 0.037625 | 0.037625 | 0.97394 | -0.18313 | 0.97538 | -0.1728 | 13.9353
15 | 0.020281 | 0.0050845 | -0.020279 | -0.0050837 | 2.217e-06 | 8.0696e-07 | 0.031039 | 0.031039 | 0.031039 | 0.97229 | -0.19498 | 0.97218 | -0.19577 | 11.4959
16 | 0.00060321 | 0.00014825 | -0.00060314 | -0.00014988 | 6.9849e-08 | -1.6254e-06 | 0.0009192 | 0.00091979 | 0.00091979 | 0.97538 | -0.1728 | 0.97526 | -0.17366 | 0.34066
17 | -0.025264 | -0.0063395 | 0.025301 | 0.0063533 | 3.7122e-05 | 1.3777e-05 | 0.038544 | 0.038544 | 0.038544 | 0.97538 | -0.1728 | 0.97686 | -0.16223 | 14.2757
18 | -0.0026729 | -0.00066989 | 0.0026732 | 0.00066964 | 3.0632e-07 | -2.5279e-07 | 0.004072 | 0.0040719 | 0.004072 | 0.97675 | -0.16328 | 0.97686 | -0.16245 | 1.5081
19 | 0.011648 | 0.0029193 | -0.011645 | -0.0029182 | 3.2943e-06 | 1.0574e-06 | 0.017747 | 0.017747 | 0.017747 | 0.97667 | -0.16384 | 0.97638 | -0.16589 | 6.573
20 | 0.0022087 | 0.00055338 | -0.0022086 | -0.00055353 | 1.0957e-07 | -1.5167e-07 | 0.0033661 | 0.0033661 | 0.0033661 | 0.97638 | -0.16589 | 0.97633 | -0.16625 | 1.2467
21 | 0.0094364 | 0.0023648 | -0.0094356 | -0.0023646 | 7.6037e-07 | 2.1877e-07 | 0.014381 | 0.014381 | 0.014381 | 0.97638 | -0.16589 | 0.9763 | -0.16647 | 5.3264
22 | 0.016991 | 0.0042598 | -0.016984 | -0.0042574 | 6.9431e-06 | 2.4665e-06 | 0.026007 | 0.026007 | 0.026007 | 0.97218 | -0.19577 | 0.97177 | -0.19872 | 9.6323
23 | 0.00060314 | 0.00014988 | -0.00060309 | -0.00015115 | 5.4622e-08 | -1.2693e-06 | 0.00091979 | 0.00092025 | 0.00092025 | 0.97526 | -0.17366 | 0.97517 | -0.17432 | 0.34083
24 | -0.027831 | -0.0069874 | 0.027851 | 0.006995 | 2.0478e-05 | 7.6473e-06 | 0.042398 | 0.042398 | 0.042398 | 0.97686 | -0.16223 | 0.9776 | -0.15694 | 15.703
25 | -0.088721 | -0.022312 | 0.089104 | 0.022459 | 0.0003833 | 0.00014698 | 0.13391 | 0.13391 | 0.13391 | 0.98605 | -0.097102 | 0.99044 | -0.066245 | 49.5974
26 | 0.018683 | 0.0046833 | -0.018682 | -0.0046827 | 1.5194e-06 | 5.4618e-07 | 0.028352 | 0.028352 | 0.028352 | 0.98058 | -0.1359 | 0.9805 | -0.13649 | 10.5006
27 | -0.094852 | -0.023899 | 0.095246 | 0.024051 | 0.00039397 | 0.00015113 | 0.14255 | 0.14255 | 0.14255 | 0.99044 | -0.066245 | 0.99469 | -0.036688 | 52.7958
28 | 0.016261 | 0.0040761 | -0.016252 | -0.0040728 | 9.4095e-06 | 3.3069e-06 | 0.024678 | 0.024678 | 0.024678 | 0.9805 | -0.13649 | 0.97991 | -0.14067 | 9.1401
29 | 0.074928 | 0.018903 | -0.074888 | -0.018888 | 3.9391e-05 | 1.489e-05 | 0.11213 | 0.11213 | 0.11213 | 0.99469 | -0.036688 | 0.99415 | -0.040437 | 20.7654
30 | -0.17017 | -0.042953 | 0.17104 | 0.043284 | 0.00086197 | 0.00033041 | 0.25468 | 0.25468 | 0.25468 | 0.99469 | -0.036688 | 0.99988 | -0.00080373 | 47.1632
31 | 0.071777 | 0.018108 | -0.071692 | -0.018076 | 8.4483e-05 | 3.1886e-05 | 0.10748 | 0.10748 | 0.10748 | 0.99415 | -0.040437 | 0.99294 | -0.048837 | 19.9029
32 | -0.1731 | -0.0438 | 0.17312 | 0.043808 | 1.9638e-05 | 7.5283e-06 | 0.25775 | 0.25775 | 0.25775 | 0.99988 | -0.00080373 | 1 | 0 | 47.7313
33 | 0.0087243 | 0.0021864 | -0.0087231 | -0.0021861 | 1.1928e-06 | 3.1414e-07 | 0.013074 | 0.013074 | 0.013074 | 0.99294 | -0.048837 | 0.9928 | -0.049825 | 4.8423
34 | 0.062968 | 0.01589 | -0.062917 | -0.015871 | 5.0704e-05 | 1.903e-05 | 0.094402 | 0.094402 | 0.094402 | 0.99294 | -0.048837 | 0.99212 | -0.054579 | 17.4818
35 | 0.043446 | 0.010919 | -0.043443 | -0.010918 | 2.7641e-06 | 1.0502e-06 | 0.065909 | 0.065909 | 0.065909 | 0.98104 | -0.13249 | 0.98097 | -0.13295 | 24.4108
36 | -0.046566 | -0.011701 | 0.046716 | 0.011758 | 0.00015025 | 5.7176e-05 | 0.070641 | 0.070641 | 0.070641 | 0.98104 | -0.13249 | 0.9843 | -0.10938 | 26.1633
37 | 0.040587 | 0.010202 | -0.040547 | -0.010187 | 3.9859e-05 | 1.5118e-05 | 0.061577 | 0.061577 | 0.061577 | 0.98097 | -0.13295 | 0.97998 | -0.14001 | 22.8062
38 | -0.048646 | -0.012242 | 0.048697 | 0.012261 | 5.0625e-05 | 1.9281e-05 | 0.073559 | 0.073559 | 0.073559 | 0.9843 | -0.10938 | 0.98536 | -0.10193 | 27.244
39 | 0.037019 | 0.0093024 | -0.036991 | -0.0092918 | 2.8034e-05 | 1.0603e-05 | 0.056219 | 0.056219 | 0.056219 | 0.97998 | -0.14001 | 0.97921 | -0.14545 | 20.8219
40 | -0.05369 | -0.013512 | 0.053691 | 0.013513 | 7.994e-07 | 3.0498e-07 | 0.081099 | 0.081099 | 0.081099 | 0.98536 | -0.10193 | 0.98537 | -0.10182 | 30.0368
41 | 0.033534 | 0.0084253 | -0.033527 | -0.0084228 | 6.7154e-06 | 2.5307e-06 | 0.050966 | 0.050966 | 0.050966 | 0.97921 | -0.14545 | 0.97901 | -0.14689 | 18.8761
42 | -0.054824 | -0.013796 | 0.054903 | 0.013826 | 7.8675e-05 | 3.0025e-05 | 0.08281 | 0.08281 | 0.08281 | 0.98537 | -0.10182 | 0.98683 | -0.091556 | 30.6703
43 | 0.031131 | 0.0078222 | -0.031095 | -0.0078089 | 3.5561e-05 | 1.3358e-05 | 0.047323 | 0.047323 | 0.047323 | 0.97901 | -0.14689 | 0.97786 | -0.15511 | 17.5271
44 | -0.057293 | -0.014425 | 0.057386 | 0.014461 | 9.3086e-05 | 3.5547e-05 | 0.086414 | 0.086414 | 0.086414 | 0.98683 | -0.091556 | 0.98849 | -0.079947 | 32.0051
45 | 0.015832 | 0.0039686 | -0.015828 | -0.0039673 | 3.6077e-06 | 1.2657e-06 | 0.024243 | 0.024243 | 0.024243 | 0.97177 | -0.19872 | 0.97154 | -0.20036 | 8.9788
46 | 0.012089 | 0.00303 | -0.012081 | -0.0030276 | 7.4187e-06 | 2.4241e-06 | 0.018515 | 0.018515 | 0.018515 | 0.97154 | -0.20036 | 0.97093 | -0.2048 | 6.8574
47 | 0.0083439 | 0.002091 | -0.0083437 | -0.0020909 | 2.38e-07 | 6.2693e-08 | 0.012788 | 0.012788 | 0.012788 | 0.97093 | -0.2048 | 0.9709 | -0.205 | 4.7361
48 | 0.0027136 | 0.00067988 | -0.0027134 | -0.00068005 | 2.1498e-07 | -1.6362e-07 | 0.0041589 | 0.004159 | 0.004159 | 0.9709 | -0.205 | 0.97082 | -0.20558 | 1.5404
49 | -0.061717 | -0.015563 | 0.06177 | 0.015583 | 5.2803e-05 | 2.0182e-05 | 0.092681 | 0.092681 | 0.092681 | 0.99124 | -0.060678 | 0.99212 | -0.054579 | 34.3264
50 | 0.05965 | 0.015045 | -0.059489 | -0.014983 | 0.00016072 | 6.1402e-05 | 0.089578 | 0.089578 | 0.089578 | 0.99124 | -0.060678 | 0.98849 | -0.079947 | 33.1771
51 | 0.0021033 | 0.00052245 | -0.0021024 | -0.00052395 | 8.9657e-07 | -1.4931e-06 | 0.0031646 | 0.0031653 | 0.0031653 | 0.98849 | -0.079947 | 0.98805 | -0.083072 | 1.1723
52 | 0.00087607 | 0.00021659 | -0.0008759 | -0.0002186 | 1.7609e-07 | -2.0102e-06 | 0.0013183 | 0.0013191 | 0.0013191 | 0.98805 | -0.083072 | 0.98785 | -0.084549 | 0.48854
53 | 0.0053486 | 0.0013403 | -0.0053479 | -0.0013403 | 7.1813e-07 | 4.4668e-08 | 0.0080165 | 0.0080166 | 0.0080166 | 0.9928 | -0.049825 | 0.99266 | -0.050795 | 2.9691
54 | 0.0008759 | 0.0002186 | -0.00087582 | -0.0002195 | 7.921e-08 | -9.0323e-07 | 0.0013191 | 0.0013194 | 0.0013194 | 0.98785 | -0.084549 | 0.98775 | -0.085205 | 0.48866
55 | 0.0022789 | 0.00057112 | -0.0022789 | -0.00057115 | 2.3062e-08 | -3.207e-08 | 0.0034161 | 0.0034162 | 0.0034162 | 0.99266 | -0.050795 | 0.99265 | -0.050868 | 1.2652
56 | 0.0027489 | 0.0006887 | -0.0027486 | -0.00068887 | 2.2701e-07 | -1.744e-07 | 0.0041793 | 0.0041794 | 0.0041794 | 0.9787 | -0.14932 | 0.97862 | -0.14991 | 1.5479
57 | -0.0062712 | -0.0015715 | 0.006273 | 0.0015718 | 1.8314e-06 | 2.9857e-07 | 0.0095347 | 0.0095345 | 0.0095347 | 0.9787 | -0.14932 | 0.979 | -0.14721 | 3.5314
58 | -0.0086051 | -0.0021563 | 0.0086129 | 0.0021583 | 7.7406e-06 | 2.0645e-06 | 0.013079 | 0.013079 | 0.013079 | 0.979 | -0.14721 | 0.97991 | -0.14071 | 4.8441
59 | -0.010967 | -0.0027484 | 0.010967 | 0.0027484 | 5.9289e-08 | 1.8488e-08 | 0.016654 | 0.016654 | 0.016654 | 0.97991 | -0.14071 | 0.97991 | -0.14067 | 6.1681
60 | -0.027851 | -0.006995 | 0.027858 | 0.0069977 | 7.081e-06 | 2.6443e-06 | 0.042398 | 0.042398 | 0.042398 | 0.9776 | -0.15694 | 0.97786 | -0.15511 | 15.703
61 | 0.0072472 | 0.0018161 | -0.0072468 | -0.0018161 | 3.7374e-07 | 8.2362e-08 | 0.011046 | 0.011046 | 0.011046 | 0.9763 | -0.16647 | 0.97625 | -0.16684 | 4.091
62 | 0.0039614 | 0.00099265 | -0.003961 | -0.00099271 | 3.827e-07 | -6.3129e-08 | 0.0060379 | 0.006038 | 0.006038 | 0.97625 | -0.16684 | 0.97615 | -0.16754 | 2.2363

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.1772 | 0.04463

## res_load
| p_mw | q_mvar
0 | 0.027182 | 0.0068125
1 | 0.0016399 | 0.00041101
2 | 0.0025262 | 0.00063312
3 | 0.0019864 | 0.00049784
4 | 0.0038461 | 0.00096393
5 | 0.0049185 | 0.0012327
6 | 0.0043038 | 0.0010786
7 | 0.0026729 | 0.00066989
8 | 0.0036795 | 0.00092218
9 | 0.0028185 | 0.00070639
10 | 0.0032874 | 0.0008239
11 | 0.0025301 | 0.0006341
12 | 0.0028112 | 0.00070455
13 | 0.0037219 | 0.0009328
14 | 0.0057481 | 0.0014406
15 | 0.0024206 | 0.00060666
16 | 0.00060309 | 0.00015115
17 | 0.0031117 | 0.00077987
18 | 0.0020613 | 0.00051662
19 | 0.0032814 | 0.0008224
20 | 0.0031197 | 0.00078187
21 | 0.0028562 | 0.00071582
22 | 0.0019302 | 0.00048376
23 | 0.0035284 | 0.0008843
24 | 0.0049933 | 0.0012514
25 | 0.0034573 | 0.00086648
26 | 0.0011328 | 0.0002839
27 | 0.0023965 | 0.00060061
28 | 0.0023901 | 0.00059903
29 | 0.0011523 | 0.00028879
30 | 0.0037399 | 0.0009373
31 | 0.0037372 | 0.00093663
32 | 0.00563 | 0.001411
33 | 0.0027134 | 0.00068005
34 | 0.0020671 | 0.00051807
35 | 0.0011472 | 0.00028752
36 | 0.0012264 | 0.00030736
37 | 0.0033745 | 0.00084574
38 | 0.00087582 | 0.0002195
39 | 0.003069 | 0.00076916
40 | 0.0035224 | 0.00088279
41 | 0.0027486 | 0.00068887
42 | 0.0023321 | 0.00058448
43 | 0.0023543 | 0.00059005
44 | 0.0052843 | 0.0013244
45 | 0.0032366 | 0.00081118
46 | 0.0022789 | 0.00057115
47 | 0.0021885 | 0.00054849
48 | 0.0032854 | 0.00082341
49 | 0.003961 | 0.00099271
50 | 0.0022086 | 0.00055353

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1