## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1370-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1370-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1370-9_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1370-9_0_3_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_1370-9_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1370-9_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1370-9_0_3_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_1370-9_0_3_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_1370-9_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1370-9_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1370-9_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1370-9_0_3_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_1370-9_0_3_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_1370-9_0_3_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_1370-9_0_3_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1370-9_0_3_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_1370-9_0_3_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_1370-9_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_1370-9_0_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_1370-9_0_3_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_1370-9_0_3_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_1370-9_0_3_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_1370-9_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1370-9_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_1370-9_0_3_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_1370-9_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_1370-9_0_3_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_1370-9_0_3_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_1370-9_0_3_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_1370-9_0_3_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_1370-9_0_3_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_1370-9_0_3_node_32 | 0.4 | n |  | TRUE
32 | bus_MV_22_0_node_45 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1370-9_0_3_load_0 | 0 | 0.0082413 | 0.0020655 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1370-9_0_3_load_1 | 1 | 0.0011765 | 0.00029485 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1370-9_0_3_load_2 | 2 | 0.0063717 | 0.0015969 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1370-9_0_3_load_5 | 5 | 0.0027413 | 0.00068705 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1370-9_0_3_load_13 | 7 | 0.0039029 | 0.00097815 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1370-9_0_3_load_8 | 8 | 0.042718 | 0.010706 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1370-9_0_3_load_9 | 9 | 0.000629 | 0.00015764 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1370-9_0_3_load_10 | 10 | 0.00036206 | 9.0741e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1370-9_0_3_load_27 | 12 | 0.0032377 | 0.00081145 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1370-9_0_3_load_23 | 13 | 0.0055581 | 0.001393 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1370-9_0_3_load_21 | 15 | 0.0032651 | 0.0008183 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1370-9_0_3_load_22 | 16 | 0.0033561 | 0.00084111 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1370-9_0_3_load_29 | 19 | 0.034199 | 0.0085712 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1370-9_0_3_load_28 | 20 | 0.0031555 | 0.00079085 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1370-9_0_3_load_20 | 21 | 0.016231 | 0.0040678 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1370-9_0_3_load_18 | 23 | 0.044103 | 0.011053 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1370-9_0_3_load_19 | 25 | 0.0090215 | 0.002261 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1370-9_0_3_load_34 | 26 | 0.0049786 | 0.0012478 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1370-9_0_3_load_24 | 27 | 0.003162 | 0.00079247 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1370-9_0_3_load_26 | 28 | 0.0046661 | 0.0011694 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1370-9_0_3_load_30 | 29 | 0.003926 | 0.00098394 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1370-9_0_3_load_32 | 31 | 0.00035568 | 8.9141e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1370-9_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.044928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1370-9_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.055432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1370-9_0_3_line_2 | NAYY 4x150 SE | 0 | 3 | 0.070945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1370-9_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.1017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1370-9_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.025187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1370-9_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.071618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1370-9_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.046583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1370-9_0_3_line_7 | NAYY 4x150 SE | 7 | 14 | 0.045246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1370-9_0_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.010281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1370-9_0_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.006504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1370-9_0_3_line_10 | NAYY 4x150 SE | 10 | 11 | 0.031027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1370-9_0_3_line_11 | NAYY 4x150 SE | 11 | 12 | 0.0042795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1370-9_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.010274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1370-9_0_3_line_13 | NAYY 4x150 SE | 12 | 20 | 0.024393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1370-9_0_3_line_14 | NAYY 4x150 SE | 13 | 27 | 0.017161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1370-9_0_3_line_15 | NAYY 4x150 SE | 14 | 17 | 0.004168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1370-9_0_3_line_16 | NAYY 4x150 SE | 14 | 18 | 0.056293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1370-9_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.015387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1370-9_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.029171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1370-9_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.023425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1370-9_0_3_line_20 | NAYY 4x150 SE | 17 | 20 | 0.012115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1370-9_0_3_line_21 | NAYY 4x150 SE | 18 | 21 | 0.048905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1370-9_0_3_line_22 | NAYY 4x150 SE | 18 | 22 | 0.061894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1370-9_0_3_line_23 | NAYY 4x150 SE | 18 | 23 | 0.039559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1370-9_0_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.16443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1370-9_0_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.017098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1370-9_0_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.061392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1370-9_0_3_line_27 | NAYY 4x150 SE | 26 | 30 | 0.044219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1370-9_0_3_line_28 | NAYY 4x150 SE | 27 | 28 | 0.0024603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1370-9_0_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.015691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1370-9_0_3_line_30 | NAYY 4x150 SE | 30 | 31 | 0.066941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1370-9_0_3_trafo_28 | 0.25 MVA 20/0.4 kV | 32 | 20 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2693772.3293 | 1217618.4983 | 2693770.9466 | 1217629.021 | 2693765.2856 | 1217662.8654
1 | 2693772.3293 | 1217618.4983 | 2693775.9926 | 1217590.6183 | 2693779.6 | 1217563.5452 | 2693779.6 | 1217563.5452
2 | 2693772.3293 | 1217618.4983 | 2693704.2203 | 1217598.6394
3 | 2693770.1247 | 1217462.304 | 2693779.0522 | 1217551.0836 | 2693779.6 | 1217563.5452
4 | 2693704.2203 | 1217598.6394 | 2693701.725 | 1217617.3019 | 2693699.4781 | 1217623.2503
5 | 2693819.5859 | 1217497.6179 | 2693813.7598 | 1217499.2496 | 2693811.4105 | 1217492.23 | 2693809.7911 | 1217489.4804 | 2693807.4731 | 1217485.7746 | 2693803.8888 | 1217479.5584 | 2693801.2346 | 1217474.5465 | 2693798.8156 | 1217469.5383 | 2693796.9665 | 1217466.4293 | 2693794.2732 | 1217463.8962 | 2693791.9216 | 1217462.3248 | 2693789.6785 | 1217461.5779 | 2693786.832 | 1217461.055 | 2693784.4582 | 1217460.8953 | 2693780.773 | 1217461.0819 | 2693776.8491 | 1217461.4871 | 2693774.9771 | 1217461.7578 | 2693771.6062 | 1217462.2384 | 2693770.1247 | 1217462.304
6 | 2693819.5859 | 1217497.6179 | 2693823.3625 | 1217510.4196 | 2693829.7915 | 1217532.2025 | 2693831.7245 | 1217542.5476
7 | 2693840.035 | 1217587.0238 | 2693831.7245 | 1217542.5476
8 | 2693920.8992 | 1217570.7451 | 2693931.014 | 1217568.9012
9 | 2693914.5007 | 1217571.9115 | 2693920.8992 | 1217570.7451
10 | 2693883.9765 | 1217577.4759 | 2693914.5007 | 1217571.9115
11 | 2693883.9765 | 1217577.4759 | 2693879.7945 | 1217578.3842
12 | 2693883.9765 | 1217577.4759 | 2693882.4443 | 1217567.3164
13 | 2693855.9575 | 1217583.5609 | 2693879.7945 | 1217578.3842
14 | 2693882.4443 | 1217567.3164 | 2693881.4401 | 1217560.6577 | 2693878.2303 | 1217550.7369
15 | 2693840.035 | 1217587.0238 | 2693844.1184 | 1217586.132
16 | 2693840.035 | 1217587.0238 | 2693846.2908 | 1217615.4531 | 2693853.8558 | 1217636.9204 | 2693849.7749 | 1217638.624
17 | 2693835.4596 | 1217542.423 | 2693838.4627 | 1217557.5145
18 | 2693844.1184 | 1217586.132 | 2693842.4329 | 1217577.4661 | 2693838.4627 | 1217557.5145
19 | 2693844.1184 | 1217586.132 | 2693848.3597 | 1217607.9805 | 2693848.7096 | 1217609.0952
20 | 2693844.1184 | 1217586.132 | 2693855.9575 | 1217583.5609
21 | 2693849.7749 | 1217638.624 | 2693834.9797 | 1217644.7841 | 2693817.4681 | 1217644.108 | 2693812.8928 | 1217648.2722 | 2693812.1998 | 1217657.4131
22 | 2693849.7749 | 1217638.624 | 2693853.8558 | 1217636.9204 | 2693875.8358 | 1217685.489 | 2693879.7016 | 1217683.9488
23 | 2693849.7749 | 1217638.624 | 2693846.8764 | 1217632.2517 | 2693841.127 | 1217616.0166 | 2693837.7658 | 1217601.0539
24 | 2693879.7016 | 1217683.9488 | 2693909.566 | 1217672.0556 | 2693917.698 | 1217671.0274 | 2693929.8573 | 1217672.6646 | 2693947.8644 | 1217677.5407 | 2693958.5712 | 1217681.7346 | 2693959.9114 | 1217679.0762 | 2693965.3591 | 1217669.1774 | 2693987.0659 | 1217629.1587 | 2694000.1575 | 1217611.6531
25 | 2693834.0183 | 1217584.3717 | 2693837.7658 | 1217601.0539
26 | 2694000.1575 | 1217611.6531 | 2693986.5782 | 1217551.7817
27 | 2693976.7973 | 1217508.658 | 2693986.5782 | 1217551.7817
28 | 2693878.2303 | 1217550.7369 | 2693877.4729 | 1217548.3961
29 | 2693873.1261 | 1217533.332 | 2693874.5337 | 1217539.312 | 2693877.4729 | 1217548.3961
30 | 2693976.7973 | 1217508.658 | 2693944.5522 | 1217515.9547 | 2693911.3234 | 1217522.5689

## bus_geodata
| x | y | coords
0 | 2693772.3293 | 1217618.4983
1 | 2693765.2856 | 1217662.8654
2 | 2693779.6 | 1217563.5452
3 | 2693704.2203 | 1217598.6394
4 | 2693770.1247 | 1217462.304
5 | 2693699.4781 | 1217623.2503
6 | 2693819.5859 | 1217497.6179
7 | 2693831.7245 | 1217542.5476
8 | 2693931.014 | 1217568.9012
9 | 2693920.8992 | 1217570.7451
10 | 2693914.5007 | 1217571.9115
11 | 2693883.9765 | 1217577.4759
12 | 2693879.7945 | 1217578.3842
13 | 2693882.4443 | 1217567.3164
14 | 2693840.035 | 1217587.0238
15 | 2693835.4596 | 1217542.423
16 | 2693838.4627 | 1217557.5145
17 | 2693844.1184 | 1217586.132
18 | 2693849.7749 | 1217638.624
19 | 2693848.7096 | 1217609.0952
20 | 2693855.9575 | 1217583.5609
21 | 2693812.1998 | 1217657.4131
22 | 2693879.7016 | 1217683.9488
23 | 2693837.7658 | 1217601.0539
24 | 2694000.1575 | 1217611.6531
25 | 2693834.0183 | 1217584.3717
26 | 2693986.5782 | 1217551.7817
27 | 2693878.2303 | 1217550.7369
28 | 2693877.4729 | 1217548.3961
29 | 2693873.1261 | 1217533.332
30 | 2693976.7973 | 1217508.658
31 | 2693911.3234 | 1217522.5689
32 | 2693883.9765 | 1217577.4759

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98992 | -0.070722 | 0.0082413 | 0.0020655
1 | 0.98985 | -0.071261 | 0.0011765 | 0.00029485
2 | 0.99089 | -0.063855 | 0.0063717 | 0.0015969
3 | 0.98964 | -0.072707 | 0 | 0
4 | 0.9936 | -0.044727 | 0 | 0
5 | 0.98954 | -0.073411 | 0.0027413 | 0.00068705
6 | 0.99551 | -0.031313 | 0 | 0
7 | 0.99676 | -0.022613 | 0.0039029 | 0.00097815
8 | 0.9944 | -0.039206 | 0.042718 | 0.010706
9 | 0.99503 | -0.034776 | 0.000629 | 0.00015764
10 | 0.99544 | -0.031935 | 0.00036206 | 9.0741e-05
11 | 0.99738 | -0.018301 | 0 | 0
12 | 0.99776 | -0.015682 | 0.0032377 | 0.00081145
13 | 0.99713 | -0.020086 | 0.0055581 | 0.001393
14 | 0.99822 | -0.012412 | 0 | 0
15 | 0.99845 | -0.010793 | 0.0032651 | 0.0008183
16 | 0.99852 | -0.01029 | 0.0033561 | 0.00084111
17 | 0.9988 | -0.008356 | 0 | 0
18 | 0.99216 | -0.054811 | 0 | 0
19 | 0.99766 | -0.01638 | 0.034199 | 0.0085712
20 | 1 | 0 | -0.20434 | -0.051175
21 | 0.99102 | -0.062869 | 0.016231 | 0.0040678
22 | 0.99169 | -0.058182 | 0 | 0
23 | 0.98913 | -0.076184 | 0.044103 | 0.011053
24 | 0.99042 | -0.067135 | 0 | 0
25 | 0.98891 | -0.077758 | 0.0090215 | 0.002261
26 | 0.98995 | -0.070477 | 0.0049786 | 0.0012478
27 | 0.99684 | -0.022112 | 0.003162 | 0.00079247
28 | 0.99681 | -0.022325 | 0.0046661 | 0.0011694
29 | 0.99672 | -0.022943 | 0.003926 | 0.00098394
30 | 0.98993 | -0.070641 | 0 | 0
31 | 0.98989 | -0.070886 | 0.00035568 | 8.9141e-05
32 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0011766 | 0.00029431 | -0.0011765 | -0.00029485 | 8.768e-08 | -5.4383e-07 | 0.0017684 | 0.0017686 | 0.0017686 | 0.98992 | -0.070722 | 0.98985 | -0.071261 | 0.65503
1 | -0.01216 | -0.003046 | 0.012172 | 0.0030497 | 1.1556e-05 | 3.7313e-06 | 0.018278 | 0.018278 | 0.018278 | 0.98992 | -0.070722 | 0.99089 | -0.063855 | 6.7697
2 | 0.0027424 | 0.0006862 | -0.0027416 | -0.00068683 | 7.5218e-07 | -6.2252e-07 | 0.0041218 | 0.0041222 | 0.0041222 | 0.98992 | -0.070722 | 0.98964 | -0.072707 | 1.5267
3 | -0.018543 | -0.0046466 | 0.018593 | 0.0046642 | 4.9208e-05 | 1.7613e-05 | 0.027846 | 0.027846 | 0.027846 | 0.99089 | -0.063855 | 0.9936 | -0.044727 | 10.3134
4 | 0.0027416 | 0.00068683 | -0.0027413 | -0.00068705 | 2.6707e-07 | -2.2088e-07 | 0.0041222 | 0.0041223 | 0.0041223 | 0.98964 | -0.072707 | 0.98954 | -0.073411 | 1.5268
5 | -0.018593 | -0.0046642 | 0.018627 | 0.0046766 | 3.4651e-05 | 1.2398e-05 | 0.027846 | 0.027845 | 0.027846 | 0.9936 | -0.044727 | 0.99551 | -0.031313 | 10.3133
6 | -0.018627 | -0.0046766 | 0.01865 | 0.0046847 | 2.2538e-05 | 8.0621e-06 | 0.027845 | 0.027845 | 0.027845 | 0.99551 | -0.031313 | 0.99676 | -0.022613 | 10.3131
7 | -0.022553 | -0.0056628 | 0.022585 | 0.0056745 | 3.201e-05 | 1.1721e-05 | 0.033672 | 0.033671 | 0.033672 | 0.99676 | -0.022613 | 0.99822 | -0.012412 | 12.471
8 | -0.042718 | -0.010706 | 0.042745 | 0.010716 | 2.6216e-05 | 9.9494e-06 | 0.063924 | 0.063924 | 0.063924 | 0.9944 | -0.039206 | 0.99503 | -0.034776 | 23.6754
9 | -0.043374 | -0.010874 | 0.043391 | 0.01088 | 1.7076e-05 | 6.483e-06 | 0.064864 | 0.064864 | 0.064864 | 0.99503 | -0.034776 | 0.99544 | -0.031935 | 24.0238
10 | -0.043753 | -0.010971 | 0.043836 | 0.011003 | 8.2823e-05 | 3.1451e-05 | 0.065405 | 0.065405 | 0.065405 | 0.99544 | -0.031935 | 0.99738 | -0.018301 | 24.2242
11 | -0.061156 | -0.015344 | 0.061178 | 0.015352 | 2.2233e-05 | 8.4954e-06 | 0.091246 | 0.091246 | 0.091246 | 0.99738 | -0.018301 | 0.99776 | -0.015682 | 33.7948
12 | 0.01732 | 0.0043414 | -0.017316 | -0.0043399 | 4.2811e-06 | 1.5125e-06 | 0.025841 | 0.025841 | 0.025841 | 0.99738 | -0.018301 | 0.99713 | -0.020086 | 9.5707
13 | -0.064416 | -0.016164 | 0.064556 | 0.016218 | 0.00014049 | 5.3717e-05 | 0.096075 | 0.096075 | 0.096075 | 0.99776 | -0.015682 | 1 | 0 | 35.5832
14 | 0.011758 | 0.0029469 | -0.011755 | -0.0029458 | 3.297e-06 | 1.0443e-06 | 0.017546 | 0.017547 | 0.017547 | 0.99713 | -0.020086 | 0.99684 | -0.022112 | 6.4987
15 | -0.097907 | -0.02463 | 0.097962 | 0.024651 | 5.5424e-05 | 2.1262e-05 | 0.14598 | 0.14598 | 0.14598 | 0.99822 | -0.012412 | 0.9988 | -0.008356 | 54.0665
16 | 0.075322 | 0.018955 | -0.074879 | -0.018785 | 0.00044306 | 0.00016968 | 0.11231 | 0.11231 | 0.11231 | 0.99822 | -0.012412 | 0.99216 | -0.054811 | 41.5956
17 | -0.0032651 | -0.0008183 | 0.0032653 | 0.00081819 | 2.2735e-07 | -1.1382e-07 | 0.004866 | 0.0048659 | 0.004866 | 0.99845 | -0.010793 | 0.99852 | -0.01029 | 1.8022
18 | -0.0066214 | -0.0016593 | 0.0066231 | 0.0016596 | 1.7722e-06 | 2.9994e-07 | 0.0098672 | 0.0098671 | 0.0098672 | 0.99852 | -0.01029 | 0.9988 | -0.008356 | 3.6545
19 | 0.034237 | 0.0085855 | -0.034199 | -0.0085712 | 3.8032e-05 | 1.4322e-05 | 0.051009 | 0.051009 | 0.051009 | 0.9988 | -0.008356 | 0.99766 | -0.01638 | 18.8922
20 | -0.13882 | -0.034896 | 0.13898 | 0.034958 | 0.00016174 | 6.189e-05 | 0.20686 | 0.20686 | 0.20686 | 0.9988 | -0.008356 | 1 | 0 | 38.3065
21 | 0.016249 | 0.0040741 | -0.016231 | -0.0040678 | 1.8124e-05 | 6.3398e-06 | 0.02437 | 0.02437 | 0.02437 | 0.99216 | -0.054811 | 0.99102 | -0.062869 | 9.026
22 | 0.0053459 | 0.0013362 | -0.0053434 | -0.0013361 | 2.482e-06 | 1.5567e-07 | 0.0080163 | 0.0080166 | 0.0080166 | 0.99216 | -0.054811 | 0.99169 | -0.058182 | 2.9691
23 | 0.053284 | 0.013375 | -0.053127 | -0.013315 | 0.00015768 | 6.0135e-05 | 0.079922 | 0.079922 | 0.079922 | 0.99216 | -0.054811 | 0.98913 | -0.076184 | 29.6008
24 | 0.0053434 | 0.0013361 | -0.0053368 | -0.0013356 | 6.5945e-06 | 4.1759e-07 | 0.0080166 | 0.0080174 | 0.0080174 | 0.99169 | -0.058182 | 0.99042 | -0.067135 | 2.9694
25 | 0.0090235 | 0.0022615 | -0.0090215 | -0.002261 | 1.966e-06 | 5.3674e-07 | 0.013575 | 0.013575 | 0.013575 | 0.98913 | -0.076184 | 0.98891 | -0.077758 | 5.0277
26 | 0.0053368 | 0.0013356 | -0.0053343 | -0.0013355 | 2.4625e-06 | 1.5742e-07 | 0.0080174 | 0.0080176 | 0.0080176 | 0.99042 | -0.067135 | 0.98995 | -0.070477 | 2.9695
27 | 0.0003557 | 8.7719e-05 | -0.00035569 | -8.8285e-05 | 7.8756e-09 | -5.6548e-07 | 0.00053415 | 0.00053435 | 0.00053435 | 0.98995 | -0.070477 | 0.98993 | -0.070641 | 0.19791
28 | 0.0085927 | 0.0021534 | -0.0085924 | -0.0021533 | 2.5258e-07 | 6.5072e-08 | 0.012827 | 0.012827 | 0.012827 | 0.99684 | -0.022112 | 0.99681 | -0.022325 | 4.7506
29 | 0.0039263 | 0.00098386 | -0.003926 | -0.00098394 | 3.3635e-07 | -7.5161e-08 | 0.005861 | 0.0058611 | 0.0058611 | 0.99681 | -0.022325 | 0.99672 | -0.022943 | 2.1708
30 | 0.00035569 | 8.8285e-05 | -0.00035568 | -8.9141e-05 | 1.1934e-08 | -8.56e-07 | 0.00053435 | 0.00053465 | 0.00053465 | 0.98993 | -0.070641 | 0.98989 | -0.070886 | 0.19802

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.2075 | 0.051966

## res_load
| p_mw | q_mvar
0 | 0.0082413 | 0.0020655
1 | 0.0011765 | 0.00029485
2 | 0.0063717 | 0.0015969
3 | 0.0027413 | 0.00068705
4 | 0.0039029 | 0.00097815
5 | 0.042718 | 0.010706
6 | 0.000629 | 0.00015764
7 | 0.00036206 | 9.0741e-05
8 | 0.0032377 | 0.00081145
9 | 0.0055581 | 0.001393
10 | 0.0032651 | 0.0008183
11 | 0.0033561 | 0.00084111
12 | 0.034199 | 0.0085712
13 | 0.0031555 | 0.00079085
14 | 0.016231 | 0.0040678
15 | 0.044103 | 0.011053
16 | 0.0090215 | 0.002261
17 | 0.0049786 | 0.0012478
18 | 0.003162 | 0.00079247
19 | 0.0046661 | 0.0011694
20 | 0.003926 | 0.00098394
21 | 0.00035568 | 8.9141e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1