## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1373-11_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1373-11_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1373-11_0_4_node_55 | 0.4 | n |  | TRUE
3 | bus_LV_1373-11_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1373-11_0_4_node_53 | 0.4 | n |  | TRUE
5 | bus_LV_1373-11_0_4_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_1373-11_0_4_node_54 | 0.4 | n |  | TRUE
7 | bus_LV_1373-11_0_4_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_1373-11_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_1373-11_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1373-11_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1373-11_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1373-11_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1373-11_0_4_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_1373-11_0_4_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_1373-11_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1373-11_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1373-11_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1373-11_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1373-11_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1373-11_0_4_node_56 | 0.4 | n |  | TRUE
21 | bus_LV_1373-11_0_4_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_1373-11_0_4_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_1373-11_0_4_node_52 | 0.4 | n |  | TRUE
24 | bus_LV_1373-11_0_4_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_1373-11_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_1373-11_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1373-11_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1373-11_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_1373-11_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_1373-11_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1373-11_0_4_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_1373-11_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_1373-11_0_4_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_1373-11_0_4_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_1373-11_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_1373-11_0_4_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_1373-11_0_4_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_1373-11_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_1373-11_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_1373-11_0_4_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_1373-11_0_4_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_1373-11_0_4_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_1373-11_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_1373-11_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_1373-11_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_1373-11_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_1373-11_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_1373-11_0_4_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_1373-11_0_4_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_1373-11_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_1373-11_0_4_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_1373-11_0_4_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_1373-11_0_4_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_1373-11_0_4_node_50 | 0.4 | n |  | TRUE
55 | bus_MV_127_0_node_128 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1373-11_0_4_load_0 | 0 | 0.002087 | 0.00052305 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1373-11_0_4_load_3 | 3 | 0.0014935 | 0.00037432 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1373-11_0_4_load_53 | 4 | 0.0025295 | 0.00063394 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1373-11_0_4_load_33 | 5 | 0.0007624 | 0.00019108 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1373-11_0_4_load_4 | 8 | 0.0010464 | 0.00026226 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1373-11_0_4_load_5 | 9 | 0.0002306 | 5.7794e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1373-11_0_4_load_9 | 12 | 0.015643 | 0.0039204 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1373-11_0_4_load_15 | 13 | 0.015646 | 0.0039211 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1373-11_0_4_load_16 | 14 | 0.044865 | 0.011244 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1373-11_0_4_load_10 | 15 | 0.0047749 | 0.0011967 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1373-11_0_4_load_11 | 16 | 0.0037171 | 0.00093159 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1373-11_0_4_load_56 | 20 | 0.0020523 | 0.00051436 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1373-11_0_4_load_31 | 21 | 0.0015971 | 0.00040026 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1373-11_0_4_load_52 | 23 | 0.0016435 | 0.00041191 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1373-11_0_4_load_25 | 24 | 0.0029071 | 0.00072858 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1373-11_0_4_load_21 | 25 | 0.0035987 | 0.00090191 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1373-11_0_4_load_17 | 26 | 0.036674 | 0.0091914 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1373-11_0_4_load_19 | 28 | 0.0025949 | 0.00065035 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1373-11_0_4_load_23 | 30 | 0.0048744 | 0.0012216 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1373-11_0_4_load_26 | 32 | 0.0023257 | 0.00058286 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1373-11_0_4_load_43 | 33 | 0.0013481 | 0.00033788 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1373-11_0_4_load_27 | 35 | 0.0026929 | 0.00067489 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1373-11_0_4_load_30 | 36 | 0.0027305 | 0.00068432 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1373-11_0_4_load_48 | 37 | 0.005083 | 0.0012739 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1373-11_0_4_load_28 | 38 | 0.002931 | 0.00073459 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1373-11_0_4_load_29 | 39 | 0.0026899 | 0.00067415 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1373-11_0_4_load_47 | 40 | 0.004933 | 0.0012363 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1373-11_0_4_load_51 | 41 | 0.0023676 | 0.00059338 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1373-11_0_4_load_42 | 42 | 0.00061707 | 0.00015465 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1373-11_0_4_load_38 | 43 | 0.00063869 | 0.00016007 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1373-11_0_4_load_34 | 44 | 0.00045933 | 0.00011512 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1373-11_0_4_load_35 | 45 | 0.00080301 | 0.00020125 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1373-11_0_4_load_37 | 47 | 0.0005033 | 0.00012614 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1373-11_0_4_load_39 | 48 | 0.00048139 | 0.00012065 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1373-11_0_4_load_41 | 49 | 0.00049488 | 0.00012403 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1373-11_0_4_load_44 | 50 | 0.00046667 | 0.00011696 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1373-11_0_4_load_45 | 51 | 0.00048895 | 0.00012254 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1373-11_0_4_load_46 | 52 | 0.0011078 | 0.00027764 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1373-11_0_4_load_49 | 53 | 0.0029591 | 0.00074161 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1373-11_0_4_load_50 | 54 | 0.0017922 | 0.00044916 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1373-11_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.067507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1373-11_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.12038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1373-11_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.031257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1373-11_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.019841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1373-11_0_4_line_4 | NAYY 4x150 SE | 4 | 6 | 0.0035292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1373-11_0_4_line_5 | NAYY 4x150 SE | 5 | 6 | 0.0032146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1373-11_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.12353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1373-11_0_4_line_7 | NAYY 4x150 SE | 7 | 31 | 0.13468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1373-11_0_4_line_8 | NAYY 4x150 SE | 7 | 29 | 0.045293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1373-11_0_4_line_9 | NAYY 4x150 SE | 8 | 9 | 0.023408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1373-11_0_4_line_10 | NAYY 4x150 SE | 8 | 10 | 0.22939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1373-11_0_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.017686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1373-11_0_4_line_12 | NAYY 4x150 SE | 11 | 12 | 0.029507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1373-11_0_4_line_13 | NAYY 4x150 SE | 12 | 13 | 0.017183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1373-11_0_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.027754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1373-11_0_4_line_15 | NAYY 4x150 SE | 14 | 26 | 0.02367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1373-11_0_4_line_16 | NAYY 4x150 SE | 15 | 16 | 0.084338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1373-11_0_4_line_17 | NAYY 4x150 SE | 15 | 17 | 0.07587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1373-11_0_4_line_18 | NAYY 4x150 SE | 17 | 18 | 0.13343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1373-11_0_4_line_19 | NAYY 4x150 SE | 17 | 19 | 0.11321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1373-11_0_4_line_20 | NAYY 4x150 SE | 18 | 20 | 0.008676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1373-11_0_4_line_21 | NAYY 4x150 SE | 19 | 21 | 0.020416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1373-11_0_4_line_22 | NAYY 4x150 SE | 19 | 22 | 0.043357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1373-11_0_4_line_23 | NAYY 4x150 SE | 21 | 23 | 0.0085072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1373-11_0_4_line_24 | NAYY 4x150 SE | 22 | 24 | 0.01734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1373-11_0_4_line_25 | NAYY 4x150 SE | 22 | 25 | 0.027398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1373-11_0_4_line_26 | NAYY 4x150 SE | 23 | 41 | 0.018413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1373-11_0_4_line_27 | NAYY 4x150 SE | 24 | 36 | 0.0052162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1373-11_0_4_line_28 | NAYY 4x150 SE | 25 | 28 | 0.055949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1373-11_0_4_line_29 | NAYY 4x150 SE | 26 | 27 | 0.077529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_1373-11_0_4_line_30 | NAYY 4x150 SE | 27 | 28 | 0.029858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1373-11_0_4_line_31 | NAYY 4x150 SE | 27 | 29 | 0.060588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1373-11_0_4_line_32 | NAYY 4x150 SE | 29 | 30 | 0.030902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1373-11_0_4_line_33 | NAYY 4x150 SE | 30 | 32 | 0.015042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1373-11_0_4_line_34 | NAYY 4x150 SE | 31 | 33 | 0.020244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1373-11_0_4_line_35 | NAYY 4x150 SE | 31 | 34 | 0.014156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1373-11_0_4_line_36 | NAYY 4x150 SE | 32 | 35 | 0.014368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1373-11_0_4_line_37 | NAYY 4x150 SE | 34 | 42 | 0.031273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1373-11_0_4_line_38 | NAYY 4x150 SE | 34 | 43 | 0.012119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1373-11_0_4_line_39 | NAYY 4x150 SE | 35 | 38 | 0.0048675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1373-11_0_4_line_40 | NAYY 4x150 SE | 36 | 37 | 0.024189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1373-11_0_4_line_41 | NAYY 4x150 SE | 37 | 40 | 0.031461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1373-11_0_4_line_42 | NAYY 4x150 SE | 38 | 39 | 0.029471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1373-11_0_4_line_43 | NAYY 4x150 SE | 41 | 54 | 0.018806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1373-11_0_4_line_44 | NAYY 4x150 SE | 42 | 50 | 0.036654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1373-11_0_4_line_45 | NAYY 4x150 SE | 43 | 46 | 0.0089026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1373-11_0_4_line_46 | NAYY 4x150 SE | 44 | 45 | 0.011184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1373-11_0_4_line_47 | NAYY 4x150 SE | 44 | 46 | 0.037771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1373-11_0_4_line_48 | NAYY 4x150 SE | 46 | 47 | 0.0093229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1373-11_0_4_line_49 | NAYY 4x150 SE | 47 | 48 | 0.012278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1373-11_0_4_line_50 | NAYY 4x150 SE | 48 | 49 | 0.0053388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1373-11_0_4_line_51 | NAYY 4x150 SE | 50 | 51 | 0.016335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1373-11_0_4_line_52 | NAYY 4x150 SE | 51 | 52 | 0.0074448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1373-11_0_4_line_53 | NAYY 4x150 SE | 53 | 54 | 0.0014588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1373-11_0_4_trafo_18 | 0.25 MVA 20/0.4 kV | 55 | 27 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2688483.5262 | 1211539.8783 | 2688493.1721 | 1211540.2549 | 2688505.3356 | 1211539.9685 | 2688522.0337 | 1211538.304 | 2688550.7746 | 1211535.2185
1 | 2688605.9006 | 1211642.2293 | 2688550.7746 | 1211535.2185
2 | 2688483.5262 | 1211539.8783 | 2688483.3236 | 1211543.8001 | 2688484.9378 | 1211549.2277 | 2688490.4368 | 1211555.5801 | 2688501.0638 | 1211563.5764
3 | 2688605.9006 | 1211642.2293 | 2688590.165 | 1211654.3148
4 | 2688587.137 | 1211652.5019 | 2688590.165 | 1211654.3148
5 | 2688587.137 | 1211652.5019 | 2688584.4895 | 1211654.3252
6 | 2688478.6227 | 1211717.1791 | 2688491.7667 | 1211712.76 | 2688502.113 | 1211707.3988 | 2688513.2007 | 1211700.7255 | 2688565.2546 | 1211667.5871 | 2688578.7296 | 1211658.2921 | 2688584.4895 | 1211654.3252
7 | 2688345.2725 | 1211729.8113 | 2688348.3913 | 1211731.1472 | 2688356.4055 | 1211732.8893 | 2688373.154 | 1211732.4037 | 2688414.0602 | 1211728.8741 | 2688432.9795 | 1211726.5085 | 2688446.681 | 1211723.9544 | 2688478.6227 | 1211717.1791
8 | 2688478.6227 | 1211717.1791 | 2688459.936 | 1211735.6142 | 2688446.2944 | 1211748.9875
9 | 2688665.0207 | 1212045.0982 | 2688688.0614 | 1212049.2276
10 | 2688555.8576 | 1211843.3424 | 2688665.0207 | 1212045.0982
11 | 2688555.8576 | 1211843.3424 | 2688565.2407 | 1211834.776 | 2688568.4589 | 1211830.9434
12 | 2688568.4589 | 1211830.9434 | 2688575.2045 | 1211822.9271 | 2688577.9933 | 1211813.2176 | 2688576.2921 | 1211804.4532
13 | 2688576.2921 | 1211804.4532 | 2688576.2921 | 1211804.4532 | 2688568.4838 | 1211794.9976 | 2688566.1008 | 1211790.6927
14 | 2688573.4221 | 1211764.3839 | 2688572.9334 | 1211769.6579 | 2688567.4808 | 1211780.1506 | 2688566.1008 | 1211790.6927 | 2688566.1008 | 1211790.6927
15 | 2688552.1263 | 1211754.0525 | 2688573.4221 | 1211764.3839 | 2688573.4221 | 1211764.3839
16 | 2688202.0316 | 1211917.4054 | 2688233.1737 | 1211927.0835 | 2688253.4963 | 1211932.5433 | 2688267.4183 | 1211947.3925 | 2688277.0797 | 1211951.0447
17 | 2688341.7049 | 1211984.9282 | 2688338.1793 | 1211982.3409 | 2688321.5989 | 1211981.2725 | 2688310.7838 | 1211976.776 | 2688297.1118 | 1211963.0201 | 2688289.0607 | 1211955.5737 | 2688277.0797 | 1211951.0447
18 | 2688341.7049 | 1211984.9282 | 2688344.5504 | 1211981.1011 | 2688348.9736 | 1211977.9868 | 2688360.5125 | 1211980.8151 | 2688382.7712 | 1211973.0397 | 2688412.713 | 1211945.7652 | 2688455.0188 | 1211924.6338
19 | 2688341.7049 | 1211984.9282 | 2688344.5504 | 1211981.1011 | 2688348.9736 | 1211977.9868 | 2688365.3758 | 1211966.4665 | 2688370.7182 | 1211957.2172 | 2688371.0987 | 1211945.3928 | 2688364.9098 | 1211927.6671 | 2688365.6642 | 1211917.7828 | 2688370.4844 | 1211907.8809 | 2688382.266 | 1211890.7663
20 | 2688462.7971 | 1211920.7465 | 2688455.0188 | 1211924.6338
21 | 2688382.266 | 1211890.7663 | 2688373.3339 | 1211882.7731 | 2688365.2663 | 1211880.3305
22 | 2688382.266 | 1211890.7663 | 2688400.8965 | 1211872.9972 | 2688408.3484 | 1211861.9113 | 2688410.2598 | 1211858.0593
23 | 2688357.124 | 1211877.8653 | 2688365.2663 | 1211880.3305
24 | 2688410.2598 | 1211858.0593 | 2688393.3571 | 1211854.1908
25 | 2688410.2598 | 1211858.0593 | 2688417.5752 | 1211843.3691 | 2688425.2964 | 1211835.5522
26 | 2688339.501 | 1211872.5296 | 2688357.124 | 1211877.8653
27 | 2688388.2724 | 1211853.0271 | 2688393.3571 | 1211854.1908
28 | 2688470.8531 | 1211803.8506 | 2688461.3229 | 1211812.6861 | 2688431.5163 | 1211829.2552 | 2688425.2964 | 1211835.5522
29 | 2688485.5075 | 1211778.6332 | 2688496.8032 | 1211774.8315 | 2688515.0105 | 1211765.1397 | 2688522.08 | 1211760.8973 | 2688528.564 | 1211756.1681 | 2688538.0063 | 1211747.2023 | 2688552.1263 | 1211754.0525
30 | 2688485.5075 | 1211778.6332 | 2688483.1281 | 1211787.9041 | 2688476.3019 | 1211798.799 | 2688470.8531 | 1211803.8506
31 | 2688446.2944 | 1211748.9875 | 2688445.1263 | 1211753.451 | 2688445.4582 | 1211758.2257 | 2688447.107 | 1211762.8533 | 2688450.7553 | 1211768.9558 | 2688456.8581 | 1211775.573 | 2688461.2777 | 1211778.8629 | 2688466.4343 | 1211780.6183 | 2688471.414 | 1211780.9813 | 2688476.9997 | 1211780.4527 | 2688485.5075 | 1211778.6332
32 | 2688446.2944 | 1211748.9875 | 2688436.5039 | 1211749.6762 | 2688430.3685 | 1211756.0117 | 2688425.6334 | 1211767.3285
33 | 2688419.8275 | 1211781.2044 | 2688425.6334 | 1211767.3285
34 | 2688345.2725 | 1211729.8113 | 2688342.5615 | 1211728.6592 | 2688331.4475 | 1211722.246 | 2688327.023 | 1211721.6314
35 | 2688345.2725 | 1211729.8113 | 2688341.4523 | 1211734.2799 | 2688335.8446 | 1211740.3898
36 | 2688419.8275 | 1211781.2044 | 2688414.2818 | 1211794.4585
37 | 2688335.8446 | 1211740.3898 | 2688318.3553 | 1211757.0308 | 2688317.3241 | 1211759.4394 | 2688317.4288 | 1211762.1205 | 2688318.3677 | 1211763.6896
38 | 2688335.8446 | 1211740.3898 | 2688339.697 | 1211745.5503 | 2688344.0714 | 1211749.1716
39 | 2688412.403 | 1211798.9488 | 2688414.2818 | 1211794.4585
40 | 2688364.6931 | 1211847.6306 | 2688388.2724 | 1211853.0271
41 | 2688334.0252 | 1211840.6117 | 2688364.6931 | 1211847.6306
42 | 2688412.403 | 1211798.9488 | 2688411.8146 | 1211800.3551 | 2688407.3524 | 1211806.0928 | 2688391.7282 | 1211819.6377
43 | 2688321.5016 | 1211867.08 | 2688339.501 | 1211872.5296
44 | 2688334.8694 | 1211789.2857 | 2688337.124 | 1211788.4185 | 2688338.7389 | 1211786.619 | 2688339.165 | 1211784.535 | 2688337.9129 | 1211781.848 | 2688318.9861 | 1211764.723 | 2688318.3677 | 1211763.6896
45 | 2688349.6954 | 1211755.9608 | 2688346.521 | 1211751.1995 | 2688344.0714 | 1211749.1716
46 | 2688377.9207 | 1211792.2475 | 2688378.9417 | 1211790.5281 | 2688378.9872 | 1211787.4601 | 2688378.0793 | 1211784.6225 | 2688375.9998 | 1211782.2739
47 | 2688349.6954 | 1211755.9608 | 2688352.4355 | 1211761.305 | 2688357.7983 | 1211768.1222 | 2688364.5206 | 1211773.9701 | 2688375.6353 | 1211781.8623 | 2688375.9998 | 1211782.2739
48 | 2688349.6954 | 1211755.9608 | 2688359.0179 | 1211755.8732
49 | 2688371.2954 | 1211755.7577 | 2688359.0179 | 1211755.8732
50 | 2688376.6339 | 1211755.7075 | 2688371.2954 | 1211755.7577
51 | 2688318.764 | 1211786.5572 | 2688334.8694 | 1211789.2857 | 2688334.8694 | 1211789.2857
52 | 2688311.4238 | 1211785.3137 | 2688318.764 | 1211786.5572
53 | 2688320.1054 | 1211866.6573 | 2688321.5016 | 1211867.08

## bus_geodata
| x | y | coords
0 | 2688550.7746 | 1211535.2185
1 | 2688483.5262 | 1211539.8783
2 | 2688605.9006 | 1211642.2293
3 | 2688501.0638 | 1211563.5764
4 | 2688590.165 | 1211654.3148
5 | 2688584.4895 | 1211654.3252
6 | 2688587.137 | 1211652.5019
7 | 2688478.6227 | 1211717.1791
8 | 2688665.0207 | 1212045.0982
9 | 2688688.0614 | 1212049.2276
10 | 2688555.8576 | 1211843.3424
11 | 2688568.4589 | 1211830.9434
12 | 2688576.2921 | 1211804.4532
13 | 2688566.1008 | 1211790.6927
14 | 2688573.4221 | 1211764.3839
15 | 2688277.0797 | 1211951.0447
16 | 2688202.0316 | 1211917.4054
17 | 2688341.7049 | 1211984.9282
18 | 2688455.0188 | 1211924.6338
19 | 2688382.266 | 1211890.7663
20 | 2688462.7971 | 1211920.7465
21 | 2688365.2663 | 1211880.3305
22 | 2688410.2598 | 1211858.0593
23 | 2688357.124 | 1211877.8653
24 | 2688393.3571 | 1211854.1908
25 | 2688425.2964 | 1211835.5522
26 | 2688552.1263 | 1211754.0525
27 | 2688485.5075 | 1211778.6332
28 | 2688470.8531 | 1211803.8506
29 | 2688446.2944 | 1211748.9875
30 | 2688425.6334 | 1211767.3285
31 | 2688345.2725 | 1211729.8113
32 | 2688419.8275 | 1211781.2044
33 | 2688327.023 | 1211721.6314
34 | 2688335.8446 | 1211740.3898
35 | 2688414.2818 | 1211794.4585
36 | 2688388.2724 | 1211853.0271
37 | 2688364.6931 | 1211847.6306
38 | 2688412.403 | 1211798.9488
39 | 2688391.7282 | 1211819.6377
40 | 2688334.0252 | 1211840.6117
41 | 2688339.501 | 1211872.5296
42 | 2688318.3677 | 1211763.6896
43 | 2688344.0714 | 1211749.1716
44 | 2688375.9998 | 1211782.2739
45 | 2688377.9207 | 1211792.2475
46 | 2688349.6954 | 1211755.9608
47 | 2688359.0179 | 1211755.8732
48 | 2688371.2954 | 1211755.7577
49 | 2688376.6339 | 1211755.7075
50 | 2688334.8694 | 1211789.2857
51 | 2688318.764 | 1211786.5572
52 | 2688311.4238 | 1211785.3137
53 | 2688320.1054 | 1211866.6573
54 | 2688321.5016 | 1211867.08
55 | 2688446.2944 | 1211748.9875

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99449 | -0.038727 | 0.002087 | 0.00052305
1 | 0.99435 | -0.039749 | 0 | 0
2 | 0.99511 | -0.034362 | 0 | 0
3 | 0.99428 | -0.040221 | 0.0014935 | 0.00037432
4 | 0.99521 | -0.033642 | 0.0025295 | 0.00063394
5 | 0.99527 | -0.033225 | 0.0007624 | 0.00019108
6 | 0.99525 | -0.033424 | 0 | 0
7 | 0.99649 | -0.024645 | 0 | 0
8 | 0.98877 | -0.07885 | 0.0010464 | 0.00026226
9 | 0.98877 | -0.078905 | 0.0002306 | 5.7794e-05
10 | 0.9892 | -0.07583 | 0 | 0
11 | 0.98923 | -0.075595 | 0 | 0
12 | 0.98928 | -0.075202 | 0.015643 | 0.0039204
13 | 0.9897 | -0.072234 | 0.015646 | 0.0039211
14 | 0.991 | -0.063028 | 0.044865 | 0.011244
15 | 0.98955 | -0.073456 | 0.0047749 | 0.0011967
16 | 0.98909 | -0.076656 | 0.0037171 | 0.00093159
17 | 0.99047 | -0.066887 | 0 | 0
18 | 0.99008 | -0.069683 | 0 | 0
19 | 0.99219 | -0.054724 | 0 | 0
20 | 0.99005 | -0.069865 | 0.0020523 | 0.00051436
21 | 0.99189 | -0.05687 | 0.0015971 | 0.00040026
22 | 0.9935 | -0.045526 | 0 | 0
23 | 0.99178 | -0.057626 | 0.0016435 | 0.00041191
24 | 0.99311 | -0.048273 | 0.0029071 | 0.00072858
25 | 0.99494 | -0.035397 | 0.0035987 | 0.00090191
26 | 0.99364 | -0.044444 | 0.036674 | 0.0091914
27 | 1 | 0 | -0.18886 | -0.047294
28 | 0.99817 | -0.012783 | 0.0025949 | 0.00065035
29 | 0.99742 | -0.018116 | 0 | 0
30 | 0.99673 | -0.022931 | 0.0048744 | 0.0012216
31 | 0.99506 | -0.034727 | 0 | 0
32 | 0.9965 | -0.02454 | 0.0023257 | 0.00058286
33 | 0.99502 | -0.035002 | 0.0013481 | 0.00033788
34 | 0.99494 | -0.035594 | 0 | 0
35 | 0.99633 | -0.025742 | 0.0026929 | 0.00067489
36 | 0.99301 | -0.048946 | 0.0027305 | 0.00068432
37 | 0.99266 | -0.0514 | 0.005083 | 0.0012739
38 | 0.99629 | -0.026017 | 0.002931 | 0.00073459
39 | 0.99618 | -0.026815 | 0.0026899 | 0.00067415
40 | 0.99244 | -0.052973 | 0.004933 | 0.0012363
41 | 0.99159 | -0.058957 | 0.0023676 | 0.00059338
42 | 0.99482 | -0.036442 | 0.00061707 | 0.00015465
43 | 0.99488 | -0.036009 | 0.00063869 | 0.00016007
44 | 0.99478 | -0.036737 | 0.00045933 | 0.00011512
45 | 0.99476 | -0.036828 | 0.00080301 | 0.00020125
46 | 0.99484 | -0.036255 | 0 | 0
47 | 0.99482 | -0.036395 | 0.0005033 | 0.00012614
48 | 0.99481 | -0.036516 | 0.00048139 | 0.00012065
49 | 0.9948 | -0.036542 | 0.00049488 | 0.00012403
50 | 0.99471 | -0.037206 | 0.00046667 | 0.00011696
51 | 0.99467 | -0.03747 | 0.00048895 | 0.00012254
52 | 0.99466 | -0.037553 | 0.0011078 | 0.00027764
53 | 0.99146 | -0.059908 | 0.0029591 | 0.00074161
54 | 0.99147 | -0.059864 | 0.0017922 | 0.00044916
55 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0014938 | 0.00037315 | -0.0014936 | -0.00037395 | 2.104e-07 | -7.9487e-07 | 0.0022347 | 0.002235 | 0.002235 | 0.99449 | -0.038727 | 0.99435 | -0.039749 | 0.8278
1 | -0.0035808 | -0.0008962 | 0.003583 | 0.00089547 | 2.1557e-06 | -7.3376e-07 | 0.0053574 | 0.0053568 | 0.0053574 | 0.99449 | -0.038727 | 0.99511 | -0.034362 | 1.9842
2 | 0.0014936 | 0.00037395 | -0.0014935 | -0.00037432 | 9.7439e-08 | -3.6795e-07 | 0.002235 | 0.0022352 | 0.0022352 | 0.99435 | -0.039749 | 0.99428 | -0.040221 | 0.82785
3 | -0.003583 | -0.00089547 | 0.0035833 | 0.00089535 | 3.5527e-07 | -1.2115e-07 | 0.0053568 | 0.0053568 | 0.0053568 | 0.99511 | -0.034362 | 0.99521 | -0.033642 | 1.984
4 | -0.0061128 | -0.0015293 | 0.006113 | 0.0015293 | 1.8392e-07 | 2.4879e-08 | 0.0091387 | 0.0091387 | 0.0091387 | 0.99521 | -0.033642 | 0.99525 | -0.033424 | 3.3847
5 | 0.0061131 | 0.0015293 | -0.006113 | -0.0015293 | 1.6752e-07 | 2.2658e-08 | 0.0091387 | 0.0091387 | 0.0091387 | 0.99527 | -0.033225 | 0.99525 | -0.033424 | 3.3847
6 | -0.0068756 | -0.0017204 | 0.0068837 | 0.0017219 | 8.1433e-06 | 1.5247e-06 | 0.010279 | 0.010278 | 0.010279 | 0.99527 | -0.033225 | 0.99649 | -0.024645 | 3.8069
7 | 0.0074213 | 0.0018569 | -0.007411 | -0.0018547 | 1.032e-05 | 2.2171e-06 | 0.011081 | 0.011082 | 0.011082 | 0.99649 | -0.024645 | 0.99506 | -0.034727 | 4.1043
8 | -0.014305 | -0.0035789 | 0.014318 | 0.0035832 | 1.2893e-05 | 4.3684e-06 | 0.021359 | 0.021359 | 0.021359 | 0.99649 | -0.024645 | 0.99742 | -0.018116 | 7.9107
9 | 0.0002306 | 5.7494e-05 | -0.0002306 | -5.7794e-05 | 1.7586e-09 | -2.9956e-07 | 0.00034693 | 0.00034703 | 0.00034703 | 0.98877 | -0.07885 | 0.98877 | -0.078905 | 0.12853
10 | -0.001277 | -0.00031976 | 0.0012776 | 0.00031702 | 5.2834e-07 | -2.7404e-06 | 0.0019217 | 0.0019207 | 0.0019217 | 0.98877 | -0.07885 | 0.9892 | -0.07583 | 0.71175
11 | -0.0012776 | -0.00031702 | 0.0012776 | 0.0003168 | 4.0711e-08 | -2.1139e-07 | 0.0019207 | 0.0019206 | 0.0019207 | 0.9892 | -0.07583 | 0.98923 | -0.075595 | 0.71136
12 | -0.0012776 | -0.0003168 | 0.0012777 | 0.00031645 | 6.7913e-08 | -3.5271e-07 | 0.0019206 | 0.0019205 | 0.0019206 | 0.98923 | -0.075595 | 0.98928 | -0.075202 | 0.71133
13 | -0.01692 | -0.0042368 | 0.016927 | 0.0042393 | 6.9443e-06 | 2.4502e-06 | 0.025449 | 0.025449 | 0.025449 | 0.98928 | -0.075202 | 0.9897 | -0.072234 | 9.4256
14 | -0.032573 | -0.0081604 | 0.032614 | 0.0081761 | 4.1533e-05 | 1.5617e-05 | 0.048972 | 0.048972 | 0.048972 | 0.9897 | -0.072234 | 0.991 | -0.063028 | 18.1378
15 | -0.077479 | -0.01942 | 0.077679 | 0.019497 | 0.0001999 | 7.6579e-05 | 0.11634 | 0.11634 | 0.11634 | 0.991 | -0.063028 | 0.99364 | -0.044444 | 43.088
16 | 0.0037187 | 0.00093114 | -0.0037171 | -0.00093159 | 1.6456e-06 | -4.5003e-07 | 0.0055917 | 0.005592 | 0.005592 | 0.98955 | -0.073456 | 0.98909 | -0.076656 | 2.0711
17 | -0.0084936 | -0.0021278 | 0.0085013 | 0.0021298 | 7.7223e-06 | 1.9946e-06 | 0.012772 | 0.012771 | 0.012772 | 0.98955 | -0.073456 | 0.99047 | -0.066887 | 4.7303
18 | 0.0020532 | 0.00051285 | -0.0020524 | -0.00051427 | 7.9199e-07 | -1.412e-06 | 0.0030839 | 0.0030845 | 0.0030845 | 0.99047 | -0.066887 | 0.99008 | -0.069683 | 1.1424
19 | -0.010554 | -0.0026427 | 0.010572 | 0.0026481 | 1.7759e-05 | 5.3708e-06 | 0.015855 | 0.015855 | 0.015855 | 0.99047 | -0.066887 | 0.99219 | -0.054724 | 5.8724
20 | 0.0020524 | 0.00051427 | -0.0020523 | -0.00051436 | 5.1509e-08 | -9.1762e-08 | 0.0030845 | 0.0030846 | 0.0030846 | 0.99008 | -0.069683 | 0.99005 | -0.069865 | 1.1424
21 | 0.010365 | 0.0025977 | -0.010362 | -0.0025968 | 3.0785e-06 | 9.2045e-07 | 0.015545 | 0.015545 | 0.015545 | 0.99219 | -0.054724 | 0.99189 | -0.05687 | 5.7575
22 | -0.020938 | -0.0052458 | 0.020964 | 0.0052555 | 2.6675e-05 | 9.6988e-06 | 0.0314 | 0.0314 | 0.0314 | 0.99219 | -0.054724 | 0.9935 | -0.045526 | 11.6296
23 | 0.0087652 | 0.0021965 | -0.0087643 | -0.0021963 | 9.1787e-07 | 2.4323e-07 | 0.013149 | 0.013149 | 0.013149 | 0.99189 | -0.05687 | 0.99178 | -0.057626 | 4.8701
24 | 0.015665 | 0.0039266 | -0.015659 | -0.0039245 | 5.9564e-06 | 2.0665e-06 | 0.023463 | 0.023463 | 0.023463 | 0.9935 | -0.045526 | 0.99311 | -0.048273 | 8.6899
25 | -0.036629 | -0.0091821 | 0.036681 | 0.0092015 | 5.1458e-05 | 1.9436e-05 | 0.054862 | 0.054862 | 0.054862 | 0.9935 | -0.045526 | 0.99494 | -0.035397 | 20.3194
26 | 0.0071208 | 0.0017844 | -0.0071194 | -0.0017841 | 1.3114e-06 | 2.6683e-07 | 0.010684 | 0.010684 | 0.010684 | 0.99178 | -0.057626 | 0.99159 | -0.058957 | 3.9569
27 | 0.012752 | 0.0031959 | -0.012751 | -0.0031955 | 1.1883e-06 | 3.8954e-07 | 0.019107 | 0.019107 | 0.019107 | 0.99311 | -0.048273 | 0.99301 | -0.048946 | 7.0767
28 | -0.040279 | -0.010103 | 0.040406 | 0.010151 | 0.00012671 | 4.8005e-05 | 0.060244 | 0.060244 | 0.060244 | 0.99494 | -0.035397 | 0.99817 | -0.012783 | 22.3128
29 | -0.11435 | -0.028688 | 0.11506 | 0.028959 | 0.00070945 | 0.00027085 | 0.17126 | 0.17126 | 0.17126 | 0.99364 | -0.044444 | 1 | 0 | 31.7145
30 | 0.043078 | 0.010831 | -0.043001 | -0.010802 | 7.6584e-05 | 2.9064e-05 | 0.064112 | 0.064113 | 0.064113 | 1 | 0 | 0.99817 | -0.012783 | 23.7454
31 | 0.029921 | 0.0075038 | -0.029846 | -0.0074758 | 7.4952e-05 | 2.8035e-05 | 0.044525 | 0.044525 | 0.044525 | 1 | 0 | 0.99742 | -0.018116 | 16.4909
32 | 0.015528 | 0.0038925 | -0.015518 | -0.0038889 | 1.0349e-05 | 3.5773e-06 | 0.023167 | 0.023167 | 0.023167 | 0.99742 | -0.018116 | 0.99673 | -0.022931 | 8.5803
33 | 0.010644 | 0.0026673 | -0.010641 | -0.0026666 | 2.3699e-06 | 7.1548e-07 | 0.01589 | 0.01589 | 0.01589 | 0.99673 | -0.022931 | 0.9965 | -0.02454 | 5.8852
34 | 0.0013482 | 0.00033763 | -0.0013481 | -0.00033788 | 5.1344e-08 | -2.4321e-07 | 0.002016 | 0.0020161 | 0.0020161 | 0.99506 | -0.034727 | 0.99502 | -0.035002 | 0.7467
35 | 0.0060628 | 0.0015171 | -0.0060621 | -0.001517 | 7.2596e-07 | 9.5354e-08 | 0.0090655 | 0.0090656 | 0.0090656 | 0.99506 | -0.034727 | 0.99494 | -0.035594 | 3.3576
36 | 0.0083157 | 0.0020837 | -0.0083143 | -0.0020834 | 1.3823e-06 | 3.4453e-07 | 0.012417 | 0.012417 | 0.012417 | 0.9965 | -0.02454 | 0.99633 | -0.025742 | 4.599
37 | 0.0026811 | 0.00067083 | -0.0026808 | -0.00067112 | 3.1371e-07 | -2.8543e-07 | 0.0040094 | 0.0040095 | 0.0040095 | 0.99494 | -0.035594 | 0.99482 | -0.036442 | 1.485
38 | 0.003381 | 0.00084616 | -0.0033808 | -0.00084625 | 1.9333e-07 | -8.3016e-08 | 0.0050562 | 0.0050563 | 0.0050563 | 0.99494 | -0.035594 | 0.99488 | -0.036009 | 1.8727
39 | 0.0056214 | 0.0014085 | -0.0056212 | -0.0014085 | 2.1408e-07 | 1.8952e-08 | 0.0083955 | 0.0083955 | 0.0083955 | 0.99633 | -0.025742 | 0.99629 | -0.026017 | 3.1094
40 | 0.01002 | 0.0025112 | -0.010017 | -0.0025102 | 3.4031e-06 | 9.9609e-07 | 0.015015 | 0.015016 | 0.015016 | 0.99301 | -0.048946 | 0.99266 | -0.0514 | 5.5613
41 | 0.004934 | 0.0012363 | -0.004933 | -0.0012363 | 1.0739e-06 | 6.4243e-09 | 0.0073961 | 0.0073962 | 0.0073962 | 0.99266 | -0.0514 | 0.99244 | -0.052973 | 2.7394
42 | 0.0026902 | 0.00067388 | -0.0026899 | -0.00067415 | 2.9688e-07 | -2.6955e-07 | 0.0040178 | 0.004018 | 0.004018 | 0.99629 | -0.026017 | 0.99618 | -0.026815 | 1.4881
43 | 0.0047519 | 0.0011907 | -0.0047513 | -0.0011908 | 5.967e-07 | -1.3062e-08 | 0.0071307 | 0.0071308 | 0.0071308 | 0.99159 | -0.058957 | 0.99147 | -0.059864 | 2.641
44 | 0.0020637 | 0.00051647 | -0.0020635 | -0.00051686 | 2.1791e-07 | -3.9203e-07 | 0.0030865 | 0.0030867 | 0.0030867 | 0.99482 | -0.036442 | 0.99471 | -0.037206 | 1.1432
45 | 0.0027421 | 0.00068618 | -0.002742 | -0.00068626 | 9.3429e-08 | -7.9664e-08 | 0.004101 | 0.004101 | 0.004101 | 0.99488 | -0.036009 | 0.99484 | -0.036255 | 1.5189
46 | 0.00080302 | 0.00020111 | -0.00080301 | -0.00020125 | 1.0069e-08 | -1.4133e-07 | 0.0012011 | 0.0012012 | 0.0012012 | 0.99478 | -0.036737 | 0.99476 | -0.036828 | 0.44488
47 | -0.0012624 | -0.00031623 | 0.0012624 | 0.00031577 | 8.4025e-08 | -4.5808e-07 | 0.0018882 | 0.001888 | 0.0018882 | 0.99478 | -0.036737 | 0.99484 | -0.036255 | 0.69934
48 | 0.0014796 | 0.00037048 | -0.0014796 | -0.00037059 | 2.849e-08 | -1.1009e-07 | 0.002213 | 0.002213 | 0.002213 | 0.99484 | -0.036255 | 0.99482 | -0.036395 | 0.81964
49 | 0.00097628 | 0.00024445 | -0.00097627 | -0.00024461 | 1.6336e-08 | -1.5313e-07 | 0.0014602 | 0.0014603 | 0.0014603 | 0.99482 | -0.036395 | 0.99481 | -0.036516 | 0.54084
50 | 0.00049488 | 0.00012396 | -0.00049488 | -0.00012403 | 1.8253e-09 | -6.8613e-08 | 0.0007402 | 0.00074023 | 0.00074023 | 0.99481 | -0.036516 | 0.9948 | -0.036542 | 0.27416
51 | 0.0015968 | 0.0003999 | -0.0015968 | -0.00040009 | 5.8158e-08 | -1.8966e-07 | 0.0023886 | 0.0023887 | 0.0023887 | 0.99471 | -0.037206 | 0.99467 | -0.03747 | 0.8847
52 | 0.0011078 | 0.00027755 | -0.0011078 | -0.00027764 | 1.2759e-08 | -9.1724e-08 | 0.0016572 | 0.0016573 | 0.0016573 | 0.99467 | -0.03747 | 0.99466 | -0.037553 | 0.6138
53 | -0.0029591 | -0.00074161 | 0.0029591 | 0.0007416 | 1.7954e-08 | -1.1908e-08 | 0.0044411 | 0.0044411 | 0.0044411 | 0.99146 | -0.059908 | 0.99147 | -0.059864 | 1.6448

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.18886 | 0.047294

## res_load
| p_mw | q_mvar
0 | 0.002087 | 0.00052305
1 | 0.0014935 | 0.00037432
2 | 0.0025295 | 0.00063394
3 | 0.0007624 | 0.00019108
4 | 0.0010464 | 0.00026226
5 | 0.0002306 | 5.7794e-05
6 | 0.015643 | 0.0039204
7 | 0.015646 | 0.0039211
8 | 0.044865 | 0.011244
9 | 0.0047749 | 0.0011967
10 | 0.0037171 | 0.00093159
11 | 0.0020523 | 0.00051436
12 | 0.0015971 | 0.00040026
13 | 0.0016435 | 0.00041191
14 | 0.0029071 | 0.00072858
15 | 0.0035987 | 0.00090191
16 | 0.036674 | 0.0091914
17 | 0.0025949 | 0.00065035
18 | 0.0048744 | 0.0012216
19 | 0.0023257 | 0.00058286
20 | 0.0013481 | 0.00033788
21 | 0.0026929 | 0.00067489
22 | 0.0027305 | 0.00068432
23 | 0.005083 | 0.0012739
24 | 0.002931 | 0.00073459
25 | 0.0026899 | 0.00067415
26 | 0.004933 | 0.0012363
27 | 0.0023676 | 0.00059338
28 | 0.00061707 | 0.00015465
29 | 0.00063869 | 0.00016007
30 | 0.00045933 | 0.00011512
31 | 0.00080301 | 0.00020125
32 | 0.0005033 | 0.00012614
33 | 0.00048139 | 0.00012065
34 | 0.00049488 | 0.00012403
35 | 0.00046667 | 0.00011696
36 | 0.00048895 | 0.00012254
37 | 0.0011078 | 0.00027764
38 | 0.0029591 | 0.00074161
39 | 0.0017922 | 0.00044916

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1