## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1373-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1373-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1373-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1373-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1373-4_0_4_node_36 | 0.4 | n |  | TRUE
5 | bus_LV_1373-4_0_4_node_35 | 0.4 | n |  | TRUE
6 | bus_LV_1373-4_0_4_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_1373-4_0_4_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_1373-4_0_4_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_1373-4_0_4_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_1373-4_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_1373-4_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1373-4_0_4_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_1373-4_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1373-4_0_4_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1373-4_0_4_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_1373-4_0_4_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_1373-4_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1373-4_0_4_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_1373-4_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_1373-4_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1373-4_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_1373-4_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_1373-4_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1373-4_0_4_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_1373-4_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_1373-4_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_1373-4_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_1373-4_0_4_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_1373-4_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_1373-4_0_4_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_1373-4_0_4_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_1373-4_0_4_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_1373-4_0_4_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_1373-4_0_4_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_1373-4_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_1373-4_0_4_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_1373-4_0_4_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_1373-4_0_4_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_1373-4_0_4_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_1373-4_0_4_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_1373-4_0_4_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_1373-4_0_4_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_1373-4_0_4_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_1373-4_0_4_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_1373-4_0_4_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_1373-4_0_4_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_1373-4_0_4_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_1373-4_0_4_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_1373-4_0_4_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_1373-4_0_4_node_48 | 0.4 | n |  | TRUE
51 | bus_MV_127_0_node_89 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1373-4_0_4_load_0 | 0 | 0.0055642 | 0.0013945 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1373-4_0_4_load_1 | 1 | 0.0047014 | 0.0011783 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1373-4_0_4_load_2 | 2 | 0.011954 | 0.0029958 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1373-4_0_4_load_3 | 3 | 0.0081036 | 0.002031 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1373-4_0_4_load_35 | 5 | 0.0011436 | 0.00028662 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1373-4_0_4_load_34 | 6 | 0.0013839 | 0.00034684 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1373-4_0_4_load_37 | 7 | 0.005191 | 0.001301 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1373-4_0_4_load_38 | 8 | 0.0021096 | 0.00052872 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1373-4_0_4_load_4 | 9 | 0.0016243 | 0.00040709 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1373-4_0_4_load_5 | 10 | 0.000323 | 8.0951e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1373-4_0_4_load_7 | 11 | 0.0036289 | 0.00090949 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1373-4_0_4_load_8 | 13 | 0.0024523 | 0.00061459 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1373-4_0_4_load_22 | 16 | 0.0050087 | 0.0012553 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1373-4_0_4_load_9 | 18 | 0.034715 | 0.0087004 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1373-4_0_4_load_12 | 20 | 0.027421 | 0.0068723 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1373-4_0_4_load_13 | 21 | 0.0049469 | 0.0012398 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1373-4_0_4_load_15 | 22 | 0.011549 | 0.0028944 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1373-4_0_4_load_16 | 23 | 0.0050121 | 0.0012562 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1373-4_0_4_load_23 | 24 | 0.0009021 | 0.00022609 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1373-4_0_4_load_17 | 25 | 0.009837 | 0.0024654 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1373-4_0_4_load_18 | 26 | 0.0051744 | 0.0012968 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1373-4_0_4_load_24 | 27 | 0.0027861 | 0.00069825 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1373-4_0_4_load_25 | 28 | 0.0014761 | 0.00036994 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1373-4_0_4_load_26 | 29 | 0.0032006 | 0.00080214 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1373-4_0_4_load_27 | 30 | 0.0010687 | 0.00026784 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1373-4_0_4_load_28 | 31 | 0.0040163 | 0.0010066 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1373-4_0_4_load_52 | 32 | 0.0010501 | 0.00026319 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1373-4_0_4_load_50 | 33 | 0.0014901 | 0.00037346 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1373-4_0_4_load_29 | 34 | 0.0063167 | 0.0015831 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1373-4_0_4_load_30 | 35 | 0.0026229 | 0.00065735 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1373-4_0_4_load_32 | 37 | 0.0053673 | 0.0013452 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1373-4_0_4_load_33 | 38 | 0.0015459 | 0.00038743 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1373-4_0_4_load_51 | 39 | 0.0041147 | 0.0010312 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1373-4_0_4_load_49 | 40 | 0.0048136 | 0.0012064 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1373-4_0_4_load_39 | 41 | 0.0031593 | 0.00079181 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1373-4_0_4_load_45 | 42 | 0.0014834 | 0.00037178 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1373-4_0_4_load_40 | 43 | 0.0045615 | 0.0011432 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1373-4_0_4_load_46 | 44 | 0.0019153 | 0.00048003 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1373-4_0_4_load_44 | 45 | 0.00069834 | 0.00017502 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1373-4_0_4_load_43 | 46 | 0.0041203 | 0.0010327 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1373-4_0_4_load_41 | 47 | 0.0033126 | 0.00083022 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1373-4_0_4_load_42 | 48 | 0.010694 | 0.0026801 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1373-4_0_4_load_47 | 49 | 0.0057247 | 0.0014347 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1373-4_0_4_load_48 | 50 | 0.0032667 | 0.0008187 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1373-4_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.004158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1373-4_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.024053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1373-4_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.03394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1373-4_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.20603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1373-4_0_4_line_4 | NAYY 4x150 SE | 4 | 7 | 0.021999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1373-4_0_4_line_5 | NAYY 4x150 SE | 4 | 8 | 0.041489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1373-4_0_4_line_6 | NAYY 4x150 SE | 4 | 5 | 0.031054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1373-4_0_4_line_7 | NAYY 4x150 SE | 5 | 6 | 0.029462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1373-4_0_4_line_8 | NAYY 4x150 SE | 6 | 38 | 0.004214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1373-4_0_4_line_9 | NAYY 4x150 SE | 7 | 41 | 0.0029515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1373-4_0_4_line_10 | NAYY 4x150 SE | 8 | 42 | 0.020629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1373-4_0_4_line_11 | NAYY 4x150 SE | 9 | 10 | 0.0057478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1373-4_0_4_line_12 | NAYY 4x150 SE | 9 | 11 | 0.10999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1373-4_0_4_line_13 | NAYY 4x150 SE | 11 | 12 | 0.012702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1373-4_0_4_line_14 | NAYY 4x150 SE | 12 | 15 | 0.025122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1373-4_0_4_line_15 | NAYY 4x150 SE | 13 | 14 | 0.00914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1373-4_0_4_line_16 | NAYY 4x150 SE | 14 | 16 | 0.018165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_1373-4_0_4_line_17 | NAYY 4x150 SE | 14 | 17 | 0.029458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_1373-4_0_4_line_18 | NAYY 4x150 SE | 15 | 26 | 0.034794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1373-4_0_4_line_19 | NAYY 4x150 SE | 16 | 24 | 0.012063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_1373-4_0_4_line_20 | NAYY 4x150 SE | 17 | 21 | 0.037254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1373-4_0_4_line_21 | NAYY 4x150 SE | 17 | 18 | 0.03171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1373-4_0_4_line_22 | NAYY 4x150 SE | 18 | 19 | 0.043521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1373-4_0_4_line_23 | NAYY 4x150 SE | 19 | 20 | 0.040771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1373-4_0_4_line_24 | NAYY 4x150 SE | 21 | 22 | 0.0067032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1373-4_0_4_line_25 | NAYY 4x150 SE | 22 | 23 | 0.018824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1373-4_0_4_line_26 | NAYY 4x150 SE | 23 | 25 | 0.012307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1373-4_0_4_line_27 | NAYY 4x150 SE | 24 | 27 | 0.011203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_1373-4_0_4_line_28 | NAYY 4x150 SE | 25 | 26 | 0.013708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1373-4_0_4_line_29 | NAYY 4x150 SE | 27 | 28 | 0.0011257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_1373-4_0_4_line_30 | NAYY 4x150 SE | 28 | 29 | 0.0010415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_1373-4_0_4_line_31 | NAYY 4x150 SE | 29 | 30 | 0.0072222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_1373-4_0_4_line_32 | NAYY 4x150 SE | 30 | 31 | 0.0065292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_1373-4_0_4_line_33 | NAYY 4x150 SE | 31 | 32 | 0.00027938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_1373-4_0_4_line_34 | NAYY 4x150 SE | 32 | 33 | 0.0082905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_1373-4_0_4_line_35 | NAYY 4x150 SE | 33 | 50 | 0.00047259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_1373-4_0_4_line_36 | NAYY 4x150 SE | 34 | 35 | 0.015731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1373-4_0_4_line_37 | NAYY 4x150 SE | 34 | 36 | 0.010396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1373-4_0_4_line_38 | NAYY 4x150 SE | 35 | 37 | 0.014001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1373-4_0_4_line_39 | NAYY 4x150 SE | 36 | 38 | 0.027426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1373-4_0_4_line_40 | NAYY 4x150 SE | 37 | 39 | 0.0239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_1373-4_0_4_line_41 | NAYY 4x150 SE | 39 | 40 | 0.025299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_1373-4_0_4_line_42 | NAYY 4x150 SE | 40 | 50 | 0.028221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_1373-4_0_4_line_43 | NAYY 4x150 SE | 41 | 43 | 0.015689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1373-4_0_4_line_44 | NAYY 4x150 SE | 42 | 44 | 0.0010667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1373-4_0_4_line_45 | NAYY 4x150 SE | 43 | 45 | 0.0031073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1373-4_0_4_line_46 | NAYY 4x150 SE | 44 | 49 | 0.030804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1373-4_0_4_line_47 | NAYY 4x150 SE | 45 | 46 | 0.022982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1373-4_0_4_line_48 | NAYY 4x150 SE | 46 | 47 | 0.0081543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1373-4_0_4_line_49 | NAYY 4x150 SE | 47 | 48 | 9.9595e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1373-4_0_4_trafo_49 | 0.25 MVA 20/0.4 kV | 51 | 40 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2688759.404 | 1210853.4151 | 2688761.9055 | 1210850.0938
1 | 2688744.9341 | 1210872.6283 | 2688759.404 | 1210853.4151
2 | 2688788.5791 | 1210832.0929 | 2688776.9084 | 1210833.8782 | 2688765.5202 | 1210845.2942 | 2688761.9055 | 1210850.0938
3 | 2688648.22 | 1211054.5448 | 2688744.9341 | 1210872.6283
4 | 2688648.22 | 1211054.5448 | 2688638.2275 | 1211074.1435
5 | 2688648.22 | 1211054.5448 | 2688612.1763 | 1211033.9974
6 | 2688648.22 | 1211054.5448 | 2688651.3776 | 1211056.3485 | 2688676.5128 | 1211067.3015
7 | 2688676.5128 | 1211067.3015 | 2688682.4963 | 1211069.9089 | 2688701.0229 | 1211083.429
8 | 2688704.4269 | 1211085.9131 | 2688701.0229 | 1211083.429
9 | 2688638.2275 | 1211074.1435 | 2688636.8869 | 1211076.773
10 | 2688612.1763 | 1211033.9974 | 2688594.2547 | 1211023.7808
11 | 2688602.5083 | 1211376.5132 | 2688604.4741 | 1211371.112
12 | 2688711.2135 | 1211397.6434 | 2688604.4741 | 1211371.112
13 | 2688708.7549 | 1211410.1033 | 2688709.7166 | 1211405.7369 | 2688711.2135 | 1211397.6434
14 | 2688733.95 | 1211409.9667 | 2688708.7549 | 1211410.1033
15 | 2688732.9823 | 1211279.9214 | 2688731.3205 | 1211288.909
16 | 2688732.9823 | 1211279.9214 | 2688736.2805 | 1211262.0585
17 | 2688732.9823 | 1211279.9214 | 2688751.1288 | 1211282.1038 | 2688759.1909 | 1211289.8512
18 | 2688733.95 | 1211409.9667 | 2688740.8095 | 1211375.8554
19 | 2688736.2805 | 1211262.0585 | 2688736.2805 | 1211262.0585 | 2688738.9781 | 1211250.3006
20 | 2688759.1909 | 1211289.8512 | 2688754.8132 | 1211315.9034 | 2688752.5969 | 1211317.238 | 2688750.9706 | 1211325.3254
21 | 2688759.1909 | 1211289.8512 | 2688782.0475 | 1211311.8305
22 | 2688814.6366 | 1211339.5427 | 2688810.1254 | 1211338.8306 | 2688782.0475 | 1211311.8305
23 | 2688814.6366 | 1211339.5427 | 2688811.8995 | 1211351.8657 | 2688814.9721 | 1211354.2686 | 2688798.6755 | 1211372.2222
24 | 2688750.9706 | 1211325.3254 | 2688749.6491 | 1211331.8971
25 | 2688749.6491 | 1211331.8971 | 2688745.9382 | 1211350.3513
26 | 2688745.9382 | 1211350.3513 | 2688743.512 | 1211362.4164
27 | 2688738.9781 | 1211250.3006 | 2688741.4833 | 1211239.381
28 | 2688743.512 | 1211362.4164 | 2688740.8095 | 1211375.8554
29 | 2688741.4833 | 1211239.381 | 2688741.735 | 1211238.2838
30 | 2688741.9679 | 1211237.2686 | 2688741.735 | 1211238.2838
31 | 2688741.9679 | 1211237.2686 | 2688743.5829 | 1211230.2293
32 | 2688745.0429 | 1211223.8654 | 2688743.5829 | 1211230.2293
33 | 2688745.1054 | 1211223.5931 | 2688745.0429 | 1211223.8654
34 | 2688746.9593 | 1211215.5126 | 2688745.1054 | 1211223.5931
35 | 2688747.065 | 1211215.0519 | 2688746.9593 | 1211215.5126
36 | 2688730.5694 | 1211112.4823 | 2688734.3173 | 1211119.2344 | 2688737.7088 | 1211126.4894
37 | 2688725.5241 | 1211103.3931 | 2688730.5694 | 1211112.4823
38 | 2688743.638 | 1211139.1728 | 2688737.7088 | 1211126.4894
39 | 2688725.5241 | 1211103.3931 | 2688712.202 | 1211091.5871 | 2688704.4269 | 1211085.9131
40 | 2688743.638 | 1211139.1728 | 2688746.7062 | 1211145.7362 | 2688749.4336 | 1211162.1662
41 | 2688749.4336 | 1211162.1662 | 2688752.1255 | 1211178.383 | 2688751.266 | 1211187.2019
42 | 2688747.065 | 1211215.0519 | 2688749.6498 | 1211203.7853 | 2688751.266 | 1211187.2019
43 | 2688636.8869 | 1211076.773 | 2688629.7606 | 1211090.7502 | 2688629.7606 | 1211090.7502
44 | 2688593.328 | 1211023.2525 | 2688594.2547 | 1211023.7808
45 | 2688629.7606 | 1211090.7502 | 2688627.5164 | 1211092.8993
46 | 2688593.328 | 1211023.2525 | 2688578.2299 | 1211014.6455 | 2688566.716 | 1211007.7429
47 | 2688610.918 | 1211108.7942 | 2688627.5164 | 1211092.8993
48 | 2688605.0286 | 1211114.434 | 2688610.918 | 1211108.7942
49 | 2688604.9567 | 1211114.5029 | 2688605.0286 | 1211114.434

## bus_geodata
| x | y | coords
0 | 2688759.404 | 1210853.4151
1 | 2688761.9055 | 1210850.0938
2 | 2688744.9341 | 1210872.6283
3 | 2688788.5791 | 1210832.0929
4 | 2688648.22 | 1211054.5448
5 | 2688676.5128 | 1211067.3015
6 | 2688701.0229 | 1211083.429
7 | 2688638.2275 | 1211074.1435
8 | 2688612.1763 | 1211033.9974
9 | 2688604.4741 | 1211371.112
10 | 2688602.5083 | 1211376.5132
11 | 2688711.2135 | 1211397.6434
12 | 2688708.7549 | 1211410.1033
13 | 2688731.3205 | 1211288.909
14 | 2688732.9823 | 1211279.9214
15 | 2688733.95 | 1211409.9667
16 | 2688736.2805 | 1211262.0585
17 | 2688759.1909 | 1211289.8512
18 | 2688782.0475 | 1211311.8305
19 | 2688814.6366 | 1211339.5427
20 | 2688798.6755 | 1211372.2222
21 | 2688750.9706 | 1211325.3254
22 | 2688749.6491 | 1211331.8971
23 | 2688745.9382 | 1211350.3513
24 | 2688738.9781 | 1211250.3006
25 | 2688743.512 | 1211362.4164
26 | 2688740.8095 | 1211375.8554
27 | 2688741.4833 | 1211239.381
28 | 2688741.735 | 1211238.2838
29 | 2688741.9679 | 1211237.2686
30 | 2688743.5829 | 1211230.2293
31 | 2688745.0429 | 1211223.8654
32 | 2688745.1054 | 1211223.5931
33 | 2688746.9593 | 1211215.5126
34 | 2688730.5694 | 1211112.4823
35 | 2688737.7088 | 1211126.4894
36 | 2688725.5241 | 1211103.3931
37 | 2688743.638 | 1211139.1728
38 | 2688704.4269 | 1211085.9131
39 | 2688749.4336 | 1211162.1662
40 | 2688751.266 | 1211187.2019
41 | 2688636.8869 | 1211076.773
42 | 2688594.2547 | 1211023.7808
43 | 2688629.7606 | 1211090.7502
44 | 2688593.328 | 1211023.2525
45 | 2688627.5164 | 1211092.8993
46 | 2688610.918 | 1211108.7942
47 | 2688605.0286 | 1211114.434
48 | 2688604.9567 | 1211114.5029
49 | 2688566.716 | 1211007.7429
50 | 2688747.065 | 1211215.0519
51 | 2688725.5241 | 1211103.3931

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9719 | -0.19763 | 0.0055642 | 0.0013945
1 | 0.97182 | -0.1982 | 0.0047014 | 0.0011783
2 | 0.97255 | -0.19297 | 0.011954 | 0.0029958
3 | 0.97142 | -0.2011 | 0.0081036 | 0.002031
4 | 0.98171 | -0.12763 | 0 | 0
5 | 0.98503 | -0.10413 | 0.0011436 | 0.00028662
6 | 0.98823 | -0.081627 | 0.0013839 | 0.00034684
7 | 0.98069 | -0.13487 | 0.005191 | 0.001301
8 | 0.98103 | -0.13246 | 0.0021096 | 0.00052872
9 | 0.98482 | -0.10648 | 0.0016243 | 0.00040709
10 | 0.98482 | -0.1065 | 0.000323 | 8.0951e-05
11 | 0.98513 | -0.10428 | 0.0036289 | 0.00090949
12 | 0.98524 | -0.10355 | 0 | 0
13 | 0.99181 | -0.057071 | 0.0024523 | 0.00061459
14 | 0.99184 | -0.056844 | 0 | 0
15 | 0.98544 | -0.1021 | 0 | 0
16 | 0.99324 | -0.047023 | 0.0050087 | 0.0012553
17 | 0.98962 | -0.07246 | 0 | 0
18 | 0.98677 | -0.0926 | 0.034715 | 0.0087004
19 | 0.98504 | -0.10486 | 0 | 0
20 | 0.98342 | -0.11637 | 0.027421 | 0.0068723
21 | 0.98736 | -0.088488 | 0.0049469 | 0.0012398
22 | 0.987 | -0.091039 | 0.011549 | 0.0028944
23 | 0.9863 | -0.095984 | 0.0050121 | 0.0012562
24 | 0.99422 | -0.040212 | 0.0009021 | 0.00022609
25 | 0.98593 | -0.098587 | 0.009837 | 0.0024654
26 | 0.98572 | -0.1001 | 0.0051744 | 0.0012968
27 | 0.99513 | -0.033847 | 0.0027861 | 0.00069825
28 | 0.99522 | -0.033192 | 0.0014761 | 0.00036994
29 | 0.99531 | -0.032578 | 0.0032006 | 0.00080214
30 | 0.99594 | -0.028211 | 0.0010687 | 0.00026784
31 | 0.99651 | -0.024233 | 0.0040163 | 0.0010066
32 | 0.99653 | -0.024057 | 0.0010501 | 0.00026319
33 | 0.99729 | -0.018802 | 0.0014901 | 0.00037346
34 | 0.99297 | -0.048596 | 0.0063167 | 0.0015831
35 | 0.99488 | -0.035288 | 0.0026229 | 0.00065735
36 | 0.99179 | -0.056752 | 0 | 0
37 | 0.99664 | -0.023118 | 0.0053673 | 0.0013452
38 | 0.9887 | -0.078361 | 0.0015459 | 0.00038743
39 | 0.99824 | -0.012122 | 0.0041147 | 0.0010312
40 | 1 | 0 | -0.23096 | -0.058124
41 | 0.98058 | -0.13568 | 0.0031593 | 0.00079181
42 | 0.98076 | -0.13442 | 0.0014834 | 0.00037178
43 | 0.98005 | -0.13949 | 0.0045615 | 0.0011432
44 | 0.98075 | -0.1345 | 0.0019153 | 0.00048003
45 | 0.97996 | -0.1401 | 0.00069834 | 0.00017502
46 | 0.97935 | -0.14443 | 0.0041203 | 0.0010327
47 | 0.97919 | -0.14562 | 0.0033126 | 0.00083022
48 | 0.97919 | -0.14563 | 0.010694 | 0.0026801
49 | 0.98049 | -0.13633 | 0.0057247 | 0.0014347
50 | 0.99733 | -0.018499 | 0.0032667 | 0.0008187
51 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.012809 | 0.0032104 | -0.012808 | -0.0032101 | 9.979e-07 | 3.3228e-07 | 0.019611 | 0.019611 | 0.019611 | 0.9719 | -0.19763 | 0.97182 | -0.1982 | 7.2635
1 | -0.018373 | -0.0046049 | 0.018385 | 0.0046092 | 1.1877e-05 | 4.2697e-06 | 0.02813 | 0.02813 | 0.02813 | 0.9719 | -0.19763 | 0.97255 | -0.19297 | 10.4187
2 | 0.0081069 | 0.0020318 | -0.0081036 | -0.002031 | 3.2633e-06 | 8.3474e-07 | 0.012413 | 0.012413 | 0.012413 | 0.97182 | -0.1982 | 0.97142 | -0.2011 | 4.5974
3 | -0.030339 | -0.007605 | 0.030616 | 0.007709 | 0.00027701 | 0.00010396 | 0.046419 | 0.046419 | 0.046419 | 0.97255 | -0.19297 | 0.98171 | -0.12763 | 17.1924
4 | 0.031799 | 0.007977 | -0.031767 | -0.007965 | 3.1894e-05 | 1.1989e-05 | 0.048202 | 0.048202 | 0.048202 | 0.98171 | -0.12763 | 0.98069 | -0.13487 | 17.8525
5 | 0.011245 | 0.0028185 | -0.011237 | -0.0028162 | 7.5209e-06 | 2.3684e-06 | 0.017044 | 0.017044 | 0.017044 | 0.98171 | -0.12763 | 0.98103 | -0.13246 | 6.3127
6 | -0.07366 | -0.018504 | 0.073901 | 0.018597 | 0.00024162 | 9.2538e-05 | 0.11166 | 0.11166 | 0.11166 | 0.98171 | -0.12763 | 0.98503 | -0.10413 | 41.3571
7 | -0.075045 | -0.018884 | 0.075281 | 0.018974 | 0.00023638 | 9.054e-05 | 0.11339 | 0.11339 | 0.11339 | 0.98503 | -0.10413 | 0.98823 | -0.081627 | 41.9969
8 | -0.076665 | -0.019321 | 0.0767 | 0.019334 | 3.5064e-05 | 1.3432e-05 | 0.11548 | 0.11548 | 0.11548 | 0.98823 | -0.081627 | 0.9887 | -0.078361 | 42.7687
9 | 0.026576 | 0.006664 | -0.026573 | -0.0066629 | 2.9949e-06 | 1.1147e-06 | 0.040325 | 0.040325 | 0.040325 | 0.98069 | -0.13487 | 0.98058 | -0.13568 | 14.9353
10 | 0.0091275 | 0.0022874 | -0.009125 | -0.0022867 | 2.4673e-06 | 6.8855e-07 | 0.013844 | 0.013844 | 0.013844 | 0.98103 | -0.13246 | 0.98076 | -0.13442 | 5.1276
11 | 0.000323 | 8.0878e-05 | -0.000323 | -8.0951e-05 | 8.542e-10 | -7.2808e-08 | 0.000488 | 0.00048803 | 0.00048803 | 0.98482 | -0.10648 | 0.98482 | -0.1065 | 0.18075
12 | -0.0019473 | -0.00048797 | 0.0019479 | 0.0004868 | 5.9404e-07 | -1.1715e-06 | 0.0029423 | 0.0029418 | 0.0029423 | 0.98482 | -0.10648 | 0.98513 | -0.10428 | 1.0897
13 | -0.0055768 | -0.0013963 | 0.0055774 | 0.0013963 | 5.6233e-07 | 5.4543e-08 | 0.0084231 | 0.008423 | 0.0084231 | 0.98513 | -0.10428 | 0.98524 | -0.10355 | 3.1197
14 | -0.0055774 | -0.0013963 | 0.0055785 | 0.0013964 | 1.1122e-06 | 1.0777e-07 | 0.008423 | 0.0084229 | 0.008423 | 0.98524 | -0.10355 | 0.98544 | -0.1021 | 3.1196
15 | -0.0024523 | -0.00061459 | 0.0024523 | 0.00061451 | 7.72e-08 | -8.8266e-08 | 0.0036791 | 0.0036791 | 0.0036791 | 0.99181 | -0.057071 | 0.99184 | -0.056844 | 1.3626
16 | -0.10731 | -0.026974 | 0.10746 | 0.02703 | 0.00014695 | 5.6051e-05 | 0.16103 | 0.16103 | 0.16103 | 0.99184 | -0.056844 | 0.99324 | -0.047023 | 29.8197
17 | 0.10486 | 0.02636 | -0.10463 | -0.026273 | 0.00022755 | 8.6762e-05 | 0.15735 | 0.15735 | 0.15735 | 0.99184 | -0.056844 | 0.98962 | -0.07246 | 29.1384
18 | -0.0055785 | -0.0013964 | 0.00558 | 0.0013966 | 1.5403e-06 | 1.4902e-07 | 0.0084229 | 0.0084228 | 0.0084229 | 0.98544 | -0.1021 | 0.98572 | -0.1001 | 3.1196
19 | -0.11247 | -0.028285 | 0.11258 | 0.028326 | 0.0001069 | 4.0803e-05 | 0.16853 | 0.16853 | 0.16853 | 0.99324 | -0.047023 | 0.99422 | -0.040212 | 31.2092
20 | 0.042233 | 0.0106 | -0.04214 | -0.010564 | 9.376e-05 | 3.5584e-05 | 0.063508 | 0.063508 | 0.063508 | 0.98962 | -0.07246 | 0.98736 | -0.088488 | 23.5217
21 | 0.062401 | 0.015673 | -0.062227 | -0.015607 | 0.00017424 | 6.6609e-05 | 0.093839 | 0.093839 | 0.093839 | 0.98962 | -0.07246 | 0.98677 | -0.0926 | 34.7553
22 | 0.027512 | 0.0069061 | -0.027465 | -0.0068887 | 4.6749e-05 | 1.7425e-05 | 0.04149 | 0.04149 | 0.04149 | 0.98677 | -0.0926 | 0.98504 | -0.10486 | 15.3668
23 | 0.027465 | 0.0068887 | -0.027421 | -0.0068723 | 4.3796e-05 | 1.6326e-05 | 0.04149 | 0.041491 | 0.041491 | 0.98504 | -0.10486 | 0.98342 | -0.11637 | 15.3669
24 | 0.037193 | 0.0093242 | -0.03718 | -0.0093193 | 1.3142e-05 | 4.969e-06 | 0.056053 | 0.056053 | 0.056053 | 0.98736 | -0.088488 | 0.987 | -0.091039 | 20.7604
25 | 0.025631 | 0.0064249 | -0.025613 | -0.0064184 | 1.7539e-05 | 6.5054e-06 | 0.038642 | 0.038642 | 0.038642 | 0.987 | -0.091039 | 0.9863 | -0.095984 | 14.3118
26 | 0.020601 | 0.0051622 | -0.020594 | -0.0051595 | 7.4181e-06 | 2.6961e-06 | 0.03108 | 0.03108 | 0.03108 | 0.9863 | -0.095984 | 0.98593 | -0.098587 | 11.5112
27 | -0.11348 | -0.028552 | 0.11358 | 0.028591 | 0.00010088 | 3.8507e-05 | 0.16988 | 0.16988 | 0.16988 | 0.99422 | -0.040212 | 0.99513 | -0.033847 | 31.4592
28 | 0.010757 | 0.0026941 | -0.010754 | -0.0026934 | 2.2543e-06 | 6.9224e-07 | 0.016234 | 0.016234 | 0.016234 | 0.98593 | -0.098587 | 0.98572 | -0.1001 | 6.0126
29 | -0.11637 | -0.029289 | 0.11638 | 0.029293 | 1.0639e-05 | 4.0626e-06 | 0.17405 | 0.17405 | 0.17405 | 0.99513 | -0.033847 | 0.99522 | -0.033192 | 32.2307
30 | -0.11785 | -0.029663 | 0.11786 | 0.029667 | 1.0095e-05 | 3.8556e-06 | 0.17625 | 0.17625 | 0.17625 | 0.99522 | -0.033192 | 0.99531 | -0.032578 | 32.6394
31 | -0.12106 | -0.030469 | 0.12114 | 0.030497 | 7.3852e-05 | 2.8217e-05 | 0.18104 | 0.18104 | 0.18104 | 0.99531 | -0.032578 | 0.99594 | -0.028211 | 33.5255
32 | -0.12221 | -0.030765 | 0.12227 | 0.030791 | 6.7948e-05 | 2.5964e-05 | 0.18263 | 0.18263 | 0.18263 | 0.99594 | -0.028211 | 0.99651 | -0.024233 | 33.8211
33 | -0.12629 | -0.031798 | 0.12629 | 0.031799 | 3.1015e-06 | 1.1856e-06 | 0.18863 | 0.18863 | 0.18863 | 0.99651 | -0.024233 | 0.99653 | -0.024057 | 34.9317
34 | -0.12734 | -0.032062 | 0.12744 | 0.032098 | 9.3574e-05 | 3.5774e-05 | 0.1902 | 0.1902 | 0.1902 | 0.99653 | -0.024057 | 0.99729 | -0.018802 | 35.2221
35 | -0.12893 | -0.032471 | 0.12893 | 0.032473 | 5.4595e-06 | 2.0875e-06 | 0.19242 | 0.19242 | 0.19242 | 0.99729 | -0.018802 | 0.99733 | -0.018499 | 35.6338
36 | -0.08489 | -0.02143 | 0.085049 | 0.021491 | 0.00015899 | 6.0948e-05 | 0.12727 | 0.12727 | 0.12727 | 0.99297 | -0.048596 | 0.99488 | -0.035288 | 47.1362
37 | 0.078574 | 0.019847 | -0.078483 | -0.019813 | 9.002e-05 | 3.4489e-05 | 0.1178 | 0.1178 | 0.1178 | 0.99297 | -0.048596 | 0.99179 | -0.056752 | 43.6303
38 | -0.087672 | -0.022149 | 0.087822 | 0.022206 | 0.00015036 | 5.765e-05 | 0.13119 | 0.13119 | 0.13119 | 0.99488 | -0.035288 | 0.99664 | -0.023118 | 48.5891
39 | 0.078483 | 0.019813 | -0.078246 | -0.019722 | 0.00023749 | 9.099e-05 | 0.1178 | 0.1178 | 0.1178 | 0.99179 | -0.056752 | 0.9887 | -0.078361 | 43.6303
40 | -0.09319 | -0.023552 | 0.093334 | 0.023607 | 0.0001445 | 5.4951e-05 | 0.1392 | 0.1392 | 0.1392 | 0.99664 | -0.023118 | 0.99824 | -0.012122 | 25.7785
41 | -0.097449 | -0.024638 | 0.097616 | 0.024701 | 0.00016673 | 6.3465e-05 | 0.14534 | 0.14534 | 0.14534 | 0.99824 | -0.012122 | 1 | 0 | 26.9143
42 | 0.13254 | 0.033423 | -0.1322 | -0.033292 | 0.00034274 | 0.00013109 | 0.1973 | 0.1973 | 0.1973 | 1 | 0 | 0.99733 | -0.018499 | 36.5364
43 | 0.023414 | 0.0058711 | -0.023401 | -0.0058665 | 1.236e-05 | 4.5559e-06 | 0.035531 | 0.035531 | 0.035531 | 0.98058 | -0.13568 | 0.98005 | -0.13949 | 13.1597
44 | 0.0076416 | 0.001915 | -0.0076415 | -0.0019149 | 8.9468e-08 | 2.095e-08 | 0.011594 | 0.011594 | 0.011594 | 0.98076 | -0.13442 | 0.98075 | -0.1345 | 4.294
45 | 0.01884 | 0.0047233 | -0.018838 | -0.0047227 | 1.5866e-06 | 5.7107e-07 | 0.028605 | 0.028605 | 0.028605 | 0.98005 | -0.13949 | 0.97996 | -0.1401 | 10.5946
46 | 0.0057261 | 0.0014349 | -0.0057247 | -0.0014347 | 1.4508e-06 | 1.6939e-07 | 0.0086877 | 0.0086879 | 0.0086879 | 0.98075 | -0.1345 | 0.98049 | -0.13633 | 3.2177
47 | 0.01814 | 0.0045477 | -0.018129 | -0.0045438 | 1.0881e-05 | 3.8955e-06 | 0.027545 | 0.027545 | 0.027545 | 0.97996 | -0.1401 | 0.97935 | -0.14443 | 10.2019
48 | 0.014009 | 0.0035111 | -0.014006 | -0.0035104 | 2.3052e-06 | 7.8403e-07 | 0.021285 | 0.021285 | 0.021285 | 0.97935 | -0.14443 | 0.97919 | -0.14562 | 7.8833
49 | 0.010694 | 0.0026801 | -0.010694 | -0.0026801 | 1.6413e-08 | 5.059e-09 | 0.016251 | 0.016251 | 0.016251 | 0.97919 | -0.14562 | 0.97919 | -0.14563 | 6.0188

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23577 | 0.059331

## res_load
| p_mw | q_mvar
0 | 0.0055642 | 0.0013945
1 | 0.0047014 | 0.0011783
2 | 0.011954 | 0.0029958
3 | 0.0081036 | 0.002031
4 | 0.0011436 | 0.00028662
5 | 0.0013839 | 0.00034684
6 | 0.005191 | 0.001301
7 | 0.0021096 | 0.00052872
8 | 0.0016243 | 0.00040709
9 | 0.000323 | 8.0951e-05
10 | 0.0036289 | 0.00090949
11 | 0.0024523 | 0.00061459
12 | 0.0050087 | 0.0012553
13 | 0.034715 | 0.0087004
14 | 0.027421 | 0.0068723
15 | 0.0049469 | 0.0012398
16 | 0.011549 | 0.0028944
17 | 0.0050121 | 0.0012562
18 | 0.0009021 | 0.00022609
19 | 0.009837 | 0.0024654
20 | 0.0051744 | 0.0012968
21 | 0.0027861 | 0.00069825
22 | 0.0014761 | 0.00036994
23 | 0.0032006 | 0.00080214
24 | 0.0010687 | 0.00026784
25 | 0.0040163 | 0.0010066
26 | 0.0010501 | 0.00026319
27 | 0.0014901 | 0.00037346
28 | 0.0063167 | 0.0015831
29 | 0.0026229 | 0.00065735
30 | 0.0053673 | 0.0013452
31 | 0.0015459 | 0.00038743
32 | 0.0041147 | 0.0010312
33 | 0.0048136 | 0.0012064
34 | 0.0031593 | 0.00079181
35 | 0.0014834 | 0.00037178
36 | 0.0045615 | 0.0011432
37 | 0.0019153 | 0.00048003
38 | 0.00069834 | 0.00017502
39 | 0.0041203 | 0.0010327
40 | 0.0033126 | 0.00083022
41 | 0.010694 | 0.0026801
42 | 0.0057247 | 0.0014347
43 | 0.0032667 | 0.0008187

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1