## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1373-5_1_2_node_8 | 0.4 | n |  | TRUE
1 | bus_LV_1373-5_1_2_node_9 | 0.4 | n |  | TRUE
2 | bus_LV_1373-5_1_2_node_11 | 0.4 | n |  | TRUE
3 | bus_LV_1373-5_1_2_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_1373-5_1_2_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_1373-5_1_2_node_26 | 0.4 | n |  | TRUE
6 | bus_LV_1373-5_1_2_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_1373-5_1_2_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_1373-5_1_2_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_1373-5_1_2_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_1373-5_1_2_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_1373-5_1_2_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_1373-5_1_2_node_41 | 0.4 | n |  | TRUE
13 | bus_LV_1373-5_1_2_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_1373-5_1_2_node_38 | 0.4 | n |  | TRUE
15 | bus_LV_1373-5_1_2_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_1373-5_1_2_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_1373-5_1_2_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_1373-5_1_2_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_1373-5_1_2_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_1373-5_1_2_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1373-5_1_2_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1373-5_1_2_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1373-5_1_2_node_67 | 0.4 | n |  | TRUE
24 | bus_LV_1373-5_1_2_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_1373-5_1_2_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_1373-5_1_2_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_1373-5_1_2_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_1373-5_1_2_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_1373-5_1_2_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_1373-5_1_2_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_1373-5_1_2_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_1373-5_1_2_node_40 | 0.4 | n |  | TRUE
33 | bus_MV_127_0_node_102 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1373-5_1_2_load_8 | 0 | 0.010599 | 0.0026562 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1373-5_1_2_load_9 | 1 | 0.0068691 | 0.0017216 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1373-5_1_2_load_11 | 2 | 0.011607 | 0.0029089 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1373-5_1_2_load_14 | 3 | 0.0060373 | 0.0015131 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1373-5_1_2_load_26 | 5 | 0.0020083 | 0.00050334 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1373-5_1_2_load_25 | 7 | 0.012976 | 0.0032521 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1373-5_1_2_load_32 | 8 | 0.0024778 | 0.000621 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1373-5_1_2_load_27 | 10 | 0.0043449 | 0.0010889 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1373-5_1_2_load_41 | 12 | 0.0032862 | 0.00082361 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1373-5_1_2_load_34 | 13 | 0.0048706 | 0.0012207 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1373-5_1_2_load_31 | 16 | 0.0023602 | 0.00059153 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1373-5_1_2_load_24 | 18 | 0.0081235 | 0.0020359 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1373-5_1_2_load_33 | 19 | 0.0024247 | 0.00060769 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1373-5_1_2_load_15 | 20 | 0.0069162 | 0.0017334 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1373-5_1_2_load_16 | 21 | 0.011941 | 0.0029928 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1373-5_1_2_load_17 | 22 | 0.0019606 | 0.00049138 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1373-5_1_2_load_67 | 23 | 0.010424 | 0.0026124 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1373-5_1_2_load_42 | 24 | 0.0043768 | 0.0010969 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1373-5_1_2_load_30 | 25 | 0.0047242 | 0.001184 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1373-5_1_2_load_39 | 26 | 0.0031307 | 0.00078463 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1373-5_1_2_load_36 | 27 | 0.0037428 | 0.00093804 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1373-5_1_2_load_28 | 28 | 0.0035638 | 0.00089317 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1373-5_1_2_load_29 | 29 | 0.0035759 | 0.00089622 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1373-5_1_2_load_35 | 30 | 0.0031585 | 0.00079158 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1373-5_1_2_load_37 | 31 | 0.0031164 | 0.00078105 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1373-5_1_2_load_40 | 32 | 0.0048628 | 0.0012187 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1373-5_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.031827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1373-5_1_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0087472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1373-5_1_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.027422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1373-5_1_2_line_3 | NAYY 4x150 SE | 3 | 9 | 0.050083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1373-5_1_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.027683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1373-5_1_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.034726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1373-5_1_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.015561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1373-5_1_2_line_7 | NAYY 4x150 SE | 5 | 10 | 0.017176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1373-5_1_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.062573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1373-5_1_2_line_9 | NAYY 4x150 SE | 7 | 18 | 0.013739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1373-5_1_2_line_10 | NAYY 4x150 SE | 8 | 19 | 0.0079398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1373-5_1_2_line_11 | NAYY 4x150 SE | 9 | 17 | 0.042528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1373-5_1_2_line_12 | NAYY 4x150 SE | 10 | 28 | 0.021349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1373-5_1_2_line_13 | NAYY 4x150 SE | 11 | 12 | 0.013776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1373-5_1_2_line_14 | NAYY 4x150 SE | 11 | 13 | 0.012497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1373-5_1_2_line_15 | NAYY 4x150 SE | 11 | 14 | 0.020016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1373-5_1_2_line_16 | NAYY 4x150 SE | 12 | 24 | 0.020409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1373-5_1_2_line_17 | NAYY 4x150 SE | 13 | 19 | 0.01827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1373-5_1_2_line_18 | NAYY 4x150 SE | 14 | 26 | 0.010474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1373-5_1_2_line_19 | NAYY 4x150 SE | 14 | 27 | 0.0064148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1373-5_1_2_line_20 | NAYY 4x150 SE | 15 | 16 | 0.029322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1373-5_1_2_line_21 | NAYY 4x150 SE | 15 | 17 | 0.059287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1373-5_1_2_line_22 | NAYY 4x150 SE | 16 | 25 | 0.020086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1373-5_1_2_line_23 | NAYY 4x150 SE | 17 | 23 | 0.010873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1373-5_1_2_line_24 | NAYY 4x150 SE | 18 | 22 | 0.009878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1373-5_1_2_line_25 | NAYY 4x150 SE | 20 | 21 | 0.025566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1373-5_1_2_line_26 | NAYY 4x150 SE | 21 | 22 | 0.030025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1373-5_1_2_line_27 | NAYY 4x150 SE | 25 | 29 | 0.019588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1373-5_1_2_line_28 | NAYY 4x150 SE | 26 | 32 | 0.023982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1373-5_1_2_line_29 | NAYY 4x150 SE | 27 | 30 | 0.011286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1373-5_1_2_line_30 | NAYY 4x150 SE | 28 | 29 | 0.0039003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1373-5_1_2_line_31 | NAYY 4x150 SE | 30 | 31 | 0.012017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1373-5_1_2_trafo_27 | 0.25 MVA 20/0.4 kV | 33 | 10 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2688848.3139 | 1211600.321 | 2688854.4488 | 1211599.3196 | 2688879.9347 | 1211596.793
1 | 2688879.9347 | 1211596.793 | 2688888.6392 | 1211595.9301
2 | 2688888.6392 | 1211595.9301 | 2688894.5194 | 1211595.3472 | 2688915.9307 | 1211597.4325
3 | 2688964.9209 | 1211607.5826 | 2688963.9288 | 1211607.3565 | 2688923.6363 | 1211598.183 | 2688915.9307 | 1211597.4325
4 | 2688876.2773 | 1211465.5667 | 2688902.6729 | 1211473.9108
5 | 2688853.0969 | 1211449.8554 | 2688851.9412 | 1211453.4629 | 2688877.491 | 1211461.6378 | 2688876.2773 | 1211465.5667
6 | 2688876.2773 | 1211465.5667 | 2688871.8814 | 1211480.4943
7 | 2688902.6729 | 1211473.9108 | 2688907.0628 | 1211475.2986 | 2688915.5808 | 1211478.4387 | 2688918.7699 | 1211479.8646
8 | 2688853.0969 | 1211449.8554 | 2688895.9834 | 1211463.5145 | 2688912.6396 | 1211469.0872
9 | 2688871.8814 | 1211480.4943 | 2688868.0003 | 1211493.6733
10 | 2688912.6396 | 1211469.0872 | 2688914.4875 | 1211469.7055 | 2688920.069 | 1211471.883
11 | 2688964.9209 | 1211607.5826 | 2688971.4789 | 1211580.6179 | 2688971.887 | 1211576.1877 | 2688968.9782 | 1211574.0318 | 2688965.9092 | 1211573.4412 | 2688962.3623 | 1211572.7879
12 | 2688918.7699 | 1211479.8646 | 2688922.964 | 1211481.7399 | 2688934.0995 | 1211487.2095 | 2688937.8669 | 1211489.3807
13 | 2688947.3712 | 1211486.0065 | 2688953.4867 | 1211489.7224 | 2688959.0828 | 1211493.2596
14 | 2688947.3712 | 1211486.0065 | 2688944.8105 | 1211484.4562 | 2688937.2603 | 1211480.1185 | 2688936.5479 | 1211479.7635
15 | 2688947.3712 | 1211486.0065 | 2688957.4708 | 1211468.7123
16 | 2688959.0828 | 1211493.2596 | 2688976.3347 | 1211504.1643
17 | 2688936.5479 | 1211479.7635 | 2688926.9558 | 1211474.9837 | 2688920.5623 | 1211472.0754 | 2688920.069 | 1211471.883
18 | 2688957.4708 | 1211468.7123 | 2688966.132 | 1211474.6021
19 | 2688957.4708 | 1211468.7123 | 2688951.8949 | 1211465.5406
20 | 2688999.6211 | 1211528.1027 | 2688974.8526 | 1211512.4087
21 | 2688999.6211 | 1211528.1027 | 2688968.0948 | 1211560.9099 | 2688965.8084 | 1211562.3657 | 2688964.3588 | 1211564.2786 | 2688962.3623 | 1211572.7879
22 | 2688957.8856 | 1211501.658 | 2688974.8526 | 1211512.4087
23 | 2688951.7116 | 1211570.4942 | 2688955.7308 | 1211571.5771 | 2688962.3623 | 1211572.7879
24 | 2688860.8015 | 1211500.4372 | 2688868.0003 | 1211493.6733 | 2688868.0003 | 1211493.6733
25 | 2688835.4038 | 1211548.4062 | 2688845.4494 | 1211524.896
26 | 2688845.4494 | 1211524.896 | 2688854.2933 | 1211504.1983 | 2688860.8015 | 1211500.4372 | 2688860.8015 | 1211500.4372
27 | 2688941.2462 | 1211491.3283 | 2688944.9723 | 1211493.4757 | 2688957.8856 | 1211501.658
28 | 2688966.132 | 1211474.6021 | 2688966.8825 | 1211475.1124 | 2688986.1495 | 1211487.81
29 | 2688941.939 | 1211460.2326 | 2688942.8404 | 1211460.6332 | 2688950.6058 | 1211464.8073 | 2688951.8949 | 1211465.5406
30 | 2688937.8669 | 1211489.3807 | 2688941.2462 | 1211491.3283
31 | 2688930.9573 | 1211455.3525 | 2688941.939 | 1211460.2326

## bus_geodata
| x | y | coords
0 | 2688848.3139 | 1211600.321
1 | 2688879.9347 | 1211596.793
2 | 2688888.6392 | 1211595.9301
3 | 2688915.9307 | 1211597.4325
4 | 2688876.2773 | 1211465.5667
5 | 2688902.6729 | 1211473.9108
6 | 2688853.0969 | 1211449.8554
7 | 2688871.8814 | 1211480.4943
8 | 2688912.6396 | 1211469.0872
9 | 2688964.9209 | 1211607.5826
10 | 2688918.7699 | 1211479.8646
11 | 2688947.3712 | 1211486.0065
12 | 2688959.0828 | 1211493.2596
13 | 2688936.5479 | 1211479.7635
14 | 2688957.4708 | 1211468.7123
15 | 2688999.6211 | 1211528.1027
16 | 2688974.8526 | 1211512.4087
17 | 2688962.3623 | 1211572.7879
18 | 2688868.0003 | 1211493.6733
19 | 2688920.069 | 1211471.883
20 | 2688835.4038 | 1211548.4062
21 | 2688845.4494 | 1211524.896
22 | 2688860.8015 | 1211500.4372
23 | 2688951.7116 | 1211570.4942
24 | 2688976.3347 | 1211504.1643
25 | 2688957.8856 | 1211501.658
26 | 2688966.132 | 1211474.6021
27 | 2688951.8949 | 1211465.5406
28 | 2688937.8669 | 1211489.3807
29 | 2688941.2462 | 1211491.3283
30 | 2688941.939 | 1211460.2326
31 | 2688930.9573 | 1211455.3525
32 | 2688986.1495 | 1211487.81
33 | 2688918.7699 | 1211479.8646

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98254 | -0.12257 | 0.010599 | 0.0026562
1 | 0.98303 | -0.11908 | 0.0068691 | 0.0017216
2 | 0.98325 | -0.1175 | 0.011607 | 0.0029089
3 | 0.9844 | -0.10928 | 0.0060373 | 0.0015131
4 | 0.99496 | -0.035174 | 0 | 0
5 | 0.99804 | -0.013639 | 0.0020083 | 0.00050334
6 | 0.99318 | -0.047615 | 0 | 0
7 | 0.99402 | -0.041758 | 0.012976 | 0.0032521
8 | 0.98998 | -0.07014 | 0.0024778 | 0.000621
9 | 0.98695 | -0.091212 | 0 | 0
10 | 1 | 0 | -0.14137 | -0.035413
11 | 0.98834 | -0.081781 | 0 | 0
12 | 0.98819 | -0.08286 | 0.0032862 | 0.00082361
13 | 0.9888 | -0.078503 | 0.0048706 | 0.0012207
14 | 0.98782 | -0.085468 | 0 | 0
15 | 0.99303 | -0.048497 | 0 | 0
16 | 0.99496 | -0.035003 | 0.0023602 | 0.00059153
17 | 0.98912 | -0.07594 | 0 | 0
18 | 0.99345 | -0.045778 | 0.0081235 | 0.0020359
19 | 0.98961 | -0.072808 | 0.0024247 | 0.00060769
20 | 0.99209 | -0.055386 | 0.0069162 | 0.0017334
21 | 0.99234 | -0.053593 | 0.011941 | 0.0029928
22 | 0.99316 | -0.047858 | 0.0019606 | 0.00049138
23 | 0.98895 | -0.077096 | 0.010424 | 0.0026124
24 | 0.98806 | -0.083773 | 0.0043768 | 0.0010969
25 | 0.99635 | -0.025312 | 0.0047242 | 0.001184
26 | 0.9877 | -0.086324 | 0.0031307 | 0.00078463
27 | 0.98772 | -0.086125 | 0.0037428 | 0.00093804
28 | 0.99816 | -0.012763 | 0.0035638 | 0.00089317
29 | 0.99784 | -0.01496 | 0.0035759 | 0.00089622
30 | 0.98762 | -0.08685 | 0.0031585 | 0.00079158
31 | 0.98757 | -0.087233 | 0.0031164 | 0.00078105
32 | 0.98753 | -0.087518 | 0.0048628 | 0.0012187
33 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.010599 | -0.0026562 | 0.010604 | 0.0026578 | 5.1167e-06 | 1.5647e-06 | 0.016051 | 0.016051 | 0.016051 | 0.98254 | -0.12257 | 0.98303 | -0.11908 | 5.9449
1 | -0.017473 | -0.0043794 | 0.017477 | 0.0043807 | 3.8183e-06 | 1.3576e-06 | 0.026449 | 0.026449 | 0.026449 | 0.98303 | -0.11908 | 0.98325 | -0.1175 | 9.7959
2 | -0.029083 | -0.0072896 | 0.029116 | 0.007302 | 3.3148e-05 | 1.2401e-05 | 0.044014 | 0.044014 | 0.044014 | 0.98325 | -0.1175 | 0.9844 | -0.10928 | 16.3015
3 | -0.035154 | -0.0088151 | 0.035242 | 0.0088484 | 8.825e-05 | 3.3304e-05 | 0.05314 | 0.053139 | 0.05314 | 0.9844 | -0.10928 | 0.98695 | -0.091212 | 19.6814
4 | -0.077678 | -0.019505 | 0.077911 | 0.019595 | 0.00023318 | 8.9325e-05 | 0.11618 | 0.11618 | 0.11618 | 0.99496 | -0.035174 | 0.99804 | -0.013639 | 43.0314
5 | 0.035683 | 0.0089712 | -0.035621 | -0.0089479 | 6.1734e-05 | 2.3294e-05 | 0.053376 | 0.053376 | 0.053376 | 0.99496 | -0.035174 | 0.99318 | -0.047615 | 19.7688
6 | 0.041995 | 0.010534 | -0.041957 | -0.01052 | 3.8307e-05 | 1.4532e-05 | 0.062809 | 0.062809 | 0.062809 | 0.99496 | -0.035174 | 0.99402 | -0.041758 | 23.2627
7 | -0.079919 | -0.020098 | 0.080072 | 0.020156 | 0.00015223 | 5.8325e-05 | 0.11918 | 0.11918 | 0.11918 | 0.99804 | -0.013639 | 1 | 0 | 44.1404
8 | 0.035621 | 0.0089479 | -0.03551 | -0.0089059 | 0.00011124 | 4.1977e-05 | 0.053376 | 0.053376 | 0.053376 | 0.99318 | -0.047615 | 0.98998 | -0.07014 | 19.7689
9 | 0.028981 | 0.0072674 | -0.028964 | -0.0072614 | 1.6136e-05 | 6.0281e-06 | 0.043384 | 0.043384 | 0.043384 | 0.99402 | -0.041758 | 0.99345 | -0.045778 | 16.0683
10 | 0.033032 | 0.0082849 | -0.03302 | -0.0082803 | 1.2214e-05 | 4.5957e-06 | 0.049652 | 0.049652 | 0.049652 | 0.98998 | -0.07014 | 0.98961 | -0.072808 | 18.3895
11 | -0.035242 | -0.0088484 | 0.035317 | 0.0088767 | 7.4936e-05 | 2.8277e-05 | 0.053139 | 0.053139 | 0.053139 | 0.98695 | -0.091212 | 0.98912 | -0.07594 | 19.6813
12 | 0.060497 | 0.015256 | -0.060388 | -0.015215 | 0.00010803 | 4.1271e-05 | 0.090053 | 0.090053 | 0.090053 | 1 | 0 | 0.99816 | -0.012763 | 33.353
13 | 0.0076648 | 0.0019208 | -0.0076636 | -0.0019205 | 1.1448e-06 | 2.6378e-07 | 0.01154 | 0.01154 | 0.01154 | 0.98834 | -0.081781 | 0.98819 | -0.08286 | 4.274
14 | -0.025689 | -0.0064386 | 0.0257 | 0.0064429 | 1.1665e-05 | 4.3262e-06 | 0.038676 | 0.038676 | 0.038676 | 0.98834 | -0.081781 | 0.9888 | -0.078503 | 14.3246
15 | 0.018024 | 0.0045178 | -0.018015 | -0.0045145 | 9.1975e-06 | 3.2811e-06 | 0.027136 | 0.027137 | 0.027137 | 0.98834 | -0.081781 | 0.98782 | -0.085468 | 10.0506
16 | 0.0043774 | 0.0010969 | -0.0043768 | -0.0010969 | 5.5332e-07 | -4.8615e-08 | 0.0065914 | 0.0065915 | 0.0065915 | 0.98819 | -0.08286 | 0.98806 | -0.083773 | 2.4413
17 | -0.030571 | -0.0076636 | 0.030595 | 0.0076726 | 2.413e-05 | 9.0463e-06 | 0.046006 | 0.046006 | 0.046006 | 0.9888 | -0.078503 | 0.98961 | -0.072808 | 17.0392
18 | 0.0079952 | 0.0020036 | -0.0079943 | -0.0020034 | 9.4802e-07 | 2.3056e-07 | 0.012044 | 0.012044 | 0.012044 | 0.98782 | -0.085468 | 0.9877 | -0.086324 | 4.4606
19 | 0.010019 | 0.002511 | -0.010019 | -0.0025107 | 9.1183e-07 | 2.6859e-07 | 0.015093 | 0.015093 | 0.015093 | 0.98782 | -0.085468 | 0.98772 | -0.086125 | 5.59
20 | -0.045917 | -0.011556 | 0.046004 | 0.011589 | 8.6665e-05 | 3.2953e-05 | 0.068823 | 0.068823 | 0.068823 | 0.99303 | -0.048497 | 0.99496 | -0.035003 | 25.49
21 | 0.045917 | 0.011556 | -0.045742 | -0.01149 | 0.00017523 | 6.6633e-05 | 0.068823 | 0.068823 | 0.068823 | 0.99303 | -0.048497 | 0.98912 | -0.07594 | 25.4901
22 | -0.048364 | -0.012181 | 0.04843 | 0.012206 | 6.5613e-05 | 2.4975e-05 | 0.072353 | 0.072353 | 0.072353 | 0.99496 | -0.035003 | 0.99635 | -0.025312 | 26.7973
23 | 0.010425 | 0.0026129 | -0.010424 | -0.0026124 | 1.6689e-06 | 5.0237e-07 | 0.015684 | 0.015684 | 0.015684 | 0.98912 | -0.07594 | 0.98895 | -0.077096 | 5.8089
24 | 0.020841 | 0.0052254 | -0.020835 | -0.0052232 | 6.0066e-06 | 2.1824e-06 | 0.031217 | 0.031217 | 0.031217 | 0.99345 | -0.045778 | 0.99316 | -0.047858 | 11.5618
25 | -0.0069162 | -0.0017334 | 0.006918 | 0.0017337 | 1.7167e-06 | 3.3007e-07 | 0.010374 | 0.010373 | 0.010374 | 0.99209 | -0.055386 | 0.99234 | -0.053593 | 3.8421
26 | -0.018859 | -0.0047265 | 0.018874 | 0.0047318 | 1.4983e-05 | 5.3745e-06 | 0.028279 | 0.028279 | 0.028279 | 0.99234 | -0.053593 | 0.99316 | -0.047858 | 10.4739
27 | -0.053154 | -0.01339 | 0.053231 | 0.013419 | 7.7073e-05 | 2.9388e-05 | 0.079408 | 0.079408 | 0.079408 | 0.99635 | -0.025312 | 0.99784 | -0.01496 | 29.4103
28 | 0.0048636 | 0.0012187 | -0.0048628 | -0.0012187 | 8.0345e-07 | 2.1322e-09 | 0.0073272 | 0.0073273 | 0.0073273 | 0.9877 | -0.086324 | 0.98753 | -0.087518 | 2.7138
29 | 0.0062757 | 0.0015726 | -0.0062751 | -0.0015725 | 6.2947e-07 | 9.7671e-08 | 0.0094543 | 0.0094544 | 0.0094544 | 0.98772 | -0.086125 | 0.98762 | -0.08685 | 3.5016
30 | 0.056825 | 0.014322 | -0.056807 | -0.014315 | 1.7477e-05 | 6.6709e-06 | 0.08474 | 0.08474 | 0.08474 | 0.99816 | -0.012763 | 0.99784 | -0.01496 | 31.3853
31 | 0.0031166 | 0.00078096 | -0.0031164 | -0.00078105 | 1.6534e-07 | -9.0177e-08 | 0.0046956 | 0.0046957 | 0.0046957 | 0.98762 | -0.08685 | 0.98757 | -0.087233 | 1.7391

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.14571 | 0.036502

## res_load
| p_mw | q_mvar
0 | 0.010599 | 0.0026562
1 | 0.0068691 | 0.0017216
2 | 0.011607 | 0.0029089
3 | 0.0060373 | 0.0015131
4 | 0.0020083 | 0.00050334
5 | 0.012976 | 0.0032521
6 | 0.0024778 | 0.000621
7 | 0.0043449 | 0.0010889
8 | 0.0032862 | 0.00082361
9 | 0.0048706 | 0.0012207
10 | 0.0023602 | 0.00059153
11 | 0.0081235 | 0.0020359
12 | 0.0024247 | 0.00060769
13 | 0.0069162 | 0.0017334
14 | 0.011941 | 0.0029928
15 | 0.0019606 | 0.00049138
16 | 0.010424 | 0.0026124
17 | 0.0043768 | 0.0010969
18 | 0.0047242 | 0.001184
19 | 0.0031307 | 0.00078463
20 | 0.0037428 | 0.00093804
21 | 0.0035638 | 0.00089317
22 | 0.0035759 | 0.00089622
23 | 0.0031585 | 0.00079158
24 | 0.0031164 | 0.00078105
25 | 0.0048628 | 0.0012187

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1