## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1373-7_1_4_node_19 | 0.4 | n |  | TRUE
1 | bus_LV_1373-7_1_4_node_20 | 0.4 | n |  | TRUE
2 | bus_LV_1373-7_1_4_node_21 | 0.4 | n |  | TRUE
3 | bus_LV_1373-7_1_4_node_22 | 0.4 | n |  | TRUE
4 | bus_LV_1373-7_1_4_node_71 | 0.4 | n |  | TRUE
5 | bus_LV_1373-7_1_4_node_68 | 0.4 | n |  | TRUE
6 | bus_LV_1373-7_1_4_node_72 | 0.4 | n |  | TRUE
7 | bus_LV_1373-7_1_4_node_69 | 0.4 | n |  | TRUE
8 | bus_LV_1373-7_1_4_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_1373-7_1_4_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_1373-7_1_4_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_1373-7_1_4_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_1373-7_1_4_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_1373-7_1_4_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_1373-7_1_4_node_35 | 0.4 | n |  | TRUE
15 | bus_LV_1373-7_1_4_node_74 | 0.4 | n |  | TRUE
16 | bus_LV_1373-7_1_4_node_93 | 0.4 | n |  | TRUE
17 | bus_LV_1373-7_1_4_node_111 | 0.4 | n |  | TRUE
18 | bus_LV_1373-7_1_4_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_1373-7_1_4_node_46 | 0.4 | n |  | TRUE
20 | bus_LV_1373-7_1_4_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_1373-7_1_4_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_1373-7_1_4_node_73 | 0.4 | n |  | TRUE
23 | bus_LV_1373-7_1_4_node_112 | 0.4 | n |  | TRUE
24 | bus_LV_1373-7_1_4_node_57 | 0.4 | n |  | TRUE
25 | bus_LV_1373-7_1_4_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_1373-7_1_4_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_1373-7_1_4_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_1373-7_1_4_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_1373-7_1_4_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_1373-7_1_4_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_1373-7_1_4_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_1373-7_1_4_node_51 | 0.4 | n |  | TRUE
33 | bus_LV_1373-7_1_4_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_1373-7_1_4_node_55 | 0.4 | n |  | TRUE
35 | bus_LV_1373-7_1_4_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_1373-7_1_4_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_1373-7_1_4_node_54 | 0.4 | n |  | TRUE
38 | bus_LV_1373-7_1_4_node_117 | 0.4 | n |  | TRUE
39 | bus_LV_1373-7_1_4_node_97 | 0.4 | n |  | TRUE
40 | bus_LV_1373-7_1_4_node_116 | 0.4 | n |  | TRUE
41 | bus_LV_1373-7_1_4_node_59 | 0.4 | n |  | TRUE
42 | bus_LV_1373-7_1_4_node_60 | 0.4 | n |  | TRUE
43 | bus_LV_1373-7_1_4_node_61 | 0.4 | n |  | TRUE
44 | bus_LV_1373-7_1_4_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_1373-7_1_4_node_107 | 0.4 | n |  | TRUE
46 | bus_LV_1373-7_1_4_node_67 | 0.4 | n |  | TRUE
47 | bus_LV_1373-7_1_4_node_105 | 0.4 | n |  | TRUE
48 | bus_LV_1373-7_1_4_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_1373-7_1_4_node_63 | 0.4 | n |  | TRUE
50 | bus_LV_1373-7_1_4_node_64 | 0.4 | n |  | TRUE
51 | bus_LV_1373-7_1_4_node_65 | 0.4 | n |  | TRUE
52 | bus_LV_1373-7_1_4_node_70 | 0.4 | n |  | TRUE
53 | bus_LV_1373-7_1_4_node_75 | 0.4 | n |  | TRUE
54 | bus_LV_1373-7_1_4_node_76 | 0.4 | n |  | TRUE
55 | bus_LV_1373-7_1_4_node_77 | 0.4 | n |  | TRUE
56 | bus_LV_1373-7_1_4_node_78 | 0.4 | n |  | TRUE
57 | bus_LV_1373-7_1_4_node_79 | 0.4 | n |  | TRUE
58 | bus_LV_1373-7_1_4_node_80 | 0.4 | n |  | TRUE
59 | bus_LV_1373-7_1_4_node_94 | 0.4 | n |  | TRUE
60 | bus_LV_1373-7_1_4_node_95 | 0.4 | n |  | TRUE
61 | bus_LV_1373-7_1_4_node_96 | 0.4 | n |  | TRUE
62 | bus_LV_1373-7_1_4_node_103 | 0.4 | n |  | TRUE
63 | bus_LV_1373-7_1_4_node_104 | 0.4 | n |  | TRUE
64 | bus_LV_1373-7_1_4_node_113 | 0.4 | n |  | TRUE
65 | bus_LV_1373-7_1_4_node_114 | 0.4 | n |  | TRUE
66 | bus_LV_1373-7_1_4_node_115 | 0.4 | n |  | TRUE
67 | bus_MV_127_0_node_63 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1373-7_1_4_load_19 | 0 | 0.0021231 | 0.00053211 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1373-7_1_4_load_21 | 2 | 0.017938 | 0.0044957 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1373-7_1_4_load_71 | 4 | 0.0011839 | 0.00029671 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1373-7_1_4_load_68 | 5 | 0.002591 | 0.00064937 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1373-7_1_4_load_72 | 6 | 0.0022468 | 0.00056309 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1373-7_1_4_load_69 | 7 | 0.002868 | 0.00071879 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1373-7_1_4_load_25 | 8 | 0.0050597 | 0.0012681 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1373-7_1_4_load_35 | 14 | 0.0034037 | 0.00085305 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1373-7_1_4_load_74 | 15 | 0.0045162 | 0.0011319 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1373-7_1_4_load_93 | 16 | 0.0026598 | 0.00066662 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1373-7_1_4_load_111 | 17 | 0.016215 | 0.0040638 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1373-7_1_4_load_43 | 20 | 0.0088206 | 0.0022107 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1373-7_1_4_load_36 | 21 | 0.0012322 | 0.00030882 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1373-7_1_4_load_73 | 22 | 0.0030059 | 0.00075335 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1373-7_1_4_load_112 | 23 | 0.0060206 | 0.0015089 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1373-7_1_4_load_57 | 24 | 0.0025041 | 0.00062758 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1373-7_1_4_load_44 | 25 | 0.0015852 | 0.00039728 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1373-7_1_4_load_45 | 26 | 0.0019202 | 0.00048124 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1373-7_1_4_load_47 | 27 | 0.0017831 | 0.00044689 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1373-7_1_4_load_48 | 28 | 0.0041314 | 0.0010354 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1373-7_1_4_load_58 | 29 | 0.0011252 | 0.00028201 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1373-7_1_4_load_50 | 31 | 0.0015689 | 0.00039321 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1373-7_1_4_load_51 | 32 | 0.0014797 | 0.00037085 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1373-7_1_4_load_52 | 33 | 0.0014554 | 0.00036477 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1373-7_1_4_load_55 | 34 | 0.0016298 | 0.00040847 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1373-7_1_4_load_53 | 35 | 0.0014948 | 0.00037463 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1373-7_1_4_load_56 | 36 | 0.0021257 | 0.00053276 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1373-7_1_4_load_54 | 37 | 0.0011909 | 0.00029846 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1373-7_1_4_load_97 | 39 | 0.001392 | 0.00034888 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1373-7_1_4_load_59 | 41 | 0.0025472 | 0.00063839 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1373-7_1_4_load_62 | 44 | 0.0027256 | 0.00068311 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1373-7_1_4_load_107 | 45 | 0.0018297 | 0.00045856 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1373-7_1_4_load_67 | 46 | 0.0029002 | 0.00072685 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1373-7_1_4_load_105 | 47 | 0.0013373 | 0.00033517 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1373-7_1_4_load_66 | 48 | 0.003618 | 0.00090677 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1373-7_1_4_load_63 | 49 | 0.0014762 | 0.00036998 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1373-7_1_4_load_64 | 50 | 0.0019394 | 0.00048605 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1373-7_1_4_load_65 | 51 | 0.00071782 | 0.0001799 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1373-7_1_4_load_70 | 52 | 0.0026003 | 0.00065168 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1373-7_1_4_load_75 | 53 | 0.0056433 | 0.0014144 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1373-7_1_4_load_76 | 54 | 0.0026644 | 0.00066777 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1373-7_1_4_load_77 | 55 | 0.0011474 | 0.00028757 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1373-7_1_4_load_78 | 56 | 0.0029417 | 0.00073726 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1373-7_1_4_load_79 | 57 | 0.0036209 | 0.00090747 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1373-7_1_4_load_80 | 58 | 0.0030558 | 0.00076585 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1373-7_1_4_load_94 | 59 | 0.0014567 | 0.00036507 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1373-7_1_4_load_95 | 60 | 0.00069633 | 0.00017452 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1373-7_1_4_load_96 | 61 | 0.0014149 | 0.0003546 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1373-7_1_4_load_103 | 62 | 0.0018464 | 0.00046274 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1373-7_1_4_load_104 | 63 | 0.0016636 | 0.00041694 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1373-7_1_4_load_113 | 64 | 0.0026893 | 0.00067401 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1373-7_1_4_load_114 | 65 | 0.0021691 | 0.00054362 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1373-7_1_4_load_115 | 66 | 0.0056877 | 0.0014255 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1373-7_1_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1373-7_1_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.023587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1373-7_1_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.003908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1373-7_1_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.021123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1373-7_1_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.016435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1373-7_1_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.014507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1373-7_1_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0021909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1373-7_1_4_line_7 | NAYY 4x150 SE | 6 | 22 | 0.0024297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1373-7_1_4_line_8 | NAYY 4x150 SE | 7 | 52 | 0.024692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1373-7_1_4_line_9 | NAYY 4x150 SE | 8 | 9 | 0.014642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1373-7_1_4_line_10 | NAYY 4x150 SE | 8 | 10 | 0.05976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1373-7_1_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.0079197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1373-7_1_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.0085759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1373-7_1_4_line_13 | NAYY 4x150 SE | 11 | 15 | 0.011879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1373-7_1_4_line_14 | NAYY 4x150 SE | 11 | 16 | 0.0082854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1373-7_1_4_line_15 | NAYY 4x150 SE | 12 | 13 | 0.012222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1373-7_1_4_line_16 | NAYY 4x150 SE | 12 | 14 | 0.019783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1373-7_1_4_line_17 | NAYY 4x150 SE | 13 | 17 | 0.03635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1373-7_1_4_line_18 | NAYY 4x150 SE | 14 | 21 | 0.024248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1373-7_1_4_line_19 | NAYY 4x150 SE | 15 | 22 | 0.032438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1373-7_1_4_line_20 | NAYY 4x150 SE | 17 | 23 | 0.026498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1373-7_1_4_line_21 | NAYY 4x150 SE | 18 | 19 | 0.057998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1373-7_1_4_line_22 | NAYY 4x150 SE | 18 | 20 | 0.047073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1373-7_1_4_line_23 | NAYY 4x150 SE | 19 | 24 | 0.050292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1373-7_1_4_line_24 | NAYY 4x150 SE | 20 | 25 | 0.014869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1373-7_1_4_line_25 | NAYY 4x150 SE | 23 | 64 | 0.049999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_1373-7_1_4_line_26 | NAYY 4x150 SE | 24 | 29 | 0.030558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1373-7_1_4_line_27 | NAYY 4x150 SE | 25 | 26 | 0.013391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1373-7_1_4_line_28 | NAYY 4x150 SE | 26 | 27 | 0.0071045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1373-7_1_4_line_29 | NAYY 4x150 SE | 27 | 28 | 0.018424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1373-7_1_4_line_30 | NAYY 4x150 SE | 28 | 30 | 0.019089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1373-7_1_4_line_31 | NAYY 4x150 SE | 29 | 41 | 0.028371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1373-7_1_4_line_32 | NAYY 4x150 SE | 30 | 31 | 0.015149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1373-7_1_4_line_33 | NAYY 4x150 SE | 30 | 32 | 0.015973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1373-7_1_4_line_34 | NAYY 4x150 SE | 31 | 33 | 0.0030441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1373-7_1_4_line_35 | NAYY 4x150 SE | 32 | 34 | 0.027206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1373-7_1_4_line_36 | NAYY 4x150 SE | 33 | 35 | 0.022148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1373-7_1_4_line_37 | NAYY 4x150 SE | 34 | 36 | 0.0032619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1373-7_1_4_line_38 | NAYY 4x150 SE | 35 | 37 | 0.00034935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1373-7_1_4_line_39 | NAYY 4x150 SE | 37 | 38 | 0.015146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1373-7_1_4_line_40 | NAYY 4x150 SE | 38 | 39 | 0.0037492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1373-7_1_4_line_41 | NAYY 4x150 SE | 38 | 40 | 0.013734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1373-7_1_4_line_42 | NAYY 4x150 SE | 39 | 61 | 0.017188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1373-7_1_4_line_43 | NAYY 4x150 SE | 40 | 65 | 0.03023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1373-7_1_4_line_44 | NAYY 4x150 SE | 40 | 64 | 0.011595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_1373-7_1_4_line_45 | NAYY 4x150 SE | 41 | 42 | 0.038219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1373-7_1_4_line_46 | NAYY 4x150 SE | 42 | 43 | 0.050341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1373-7_1_4_line_47 | NAYY 4x150 SE | 42 | 44 | 0.011224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1373-7_1_4_line_48 | NAYY 4x150 SE | 43 | 45 | 0.0080765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1373-7_1_4_line_49 | NAYY 4x150 SE | 44 | 46 | 0.0087614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1373-7_1_4_line_50 | NAYY 4x150 SE | 45 | 47 | 0.010789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1373-7_1_4_line_51 | NAYY 4x150 SE | 46 | 48 | 0.025231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1373-7_1_4_line_52 | NAYY 4x150 SE | 47 | 62 | 0.016337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1373-7_1_4_line_53 | NAYY 4x150 SE | 48 | 50 | 0.0018891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1373-7_1_4_line_54 | NAYY 4x150 SE | 49 | 50 | 0.020803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1373-7_1_4_line_55 | NAYY 4x150 SE | 49 | 51 | 0.013111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1373-7_1_4_line_56 | NAYY 4x150 SE | 52 | 53 | 0.0045873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1373-7_1_4_line_57 | NAYY 4x150 SE | 53 | 54 | 0.00055169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1373-7_1_4_line_58 | NAYY 4x150 SE | 54 | 55 | 0.014798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1373-7_1_4_line_59 | NAYY 4x150 SE | 55 | 56 | 0.012884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1373-7_1_4_line_60 | NAYY 4x150 SE | 56 | 57 | 0.010222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1373-7_1_4_line_61 | NAYY 4x150 SE | 57 | 58 | 0.015181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1373-7_1_4_line_62 | NAYY 4x150 SE | 59 | 60 | 0.008057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1373-7_1_4_line_63 | NAYY 4x150 SE | 59 | 61 | 0.011706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1373-7_1_4_line_64 | NAYY 4x150 SE | 62 | 63 | 0.0078328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1373-7_1_4_line_65 | NAYY 4x150 SE | 65 | 66 | 0.001591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1373-7_1_4_trafo_116 | 0.25 MVA 20/0.4 kV | 67 | 40 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2689505.0237 | 1211490.205 | 2689522.2138 | 1211485.5504
1 | 2689505.0237 | 1211490.205 | 2689482.3452 | 1211496.6869
2 | 2689505.9165 | 1211494.0098 | 2689505.0237 | 1211490.205
3 | 2689505.9165 | 1211494.0098 | 2689496.0102 | 1211496.8075 | 2689485.5873 | 1211499.7447
4 | 2689505.9165 | 1211494.0098 | 2689506.9877 | 1211499.096 | 2689508.6714 | 1211510.2059
5 | 2689471.7447 | 1211504.0548 | 2689476.793 | 1211502.2229 | 2689485.5873 | 1211499.7447
6 | 2689508.6714 | 1211510.2059 | 2689508.9997 | 1211512.372
7 | 2689471.7447 | 1211504.0548 | 2689469.4608 | 1211504.8836
8 | 2689508.9997 | 1211512.372 | 2689510.2168 | 1211520.4031 | 2689514.2881 | 1211536.4647
9 | 2689425.0668 | 1211514.5889 | 2689412.0524 | 1211521.2989
10 | 2689361.4453 | 1211552.9501 | 2689369.8165 | 1211547.1049 | 2689378.8345 | 1211540.6913 | 2689395.3364 | 1211530.3428 | 2689411.4876 | 1211521.5901 | 2689412.0524 | 1211521.2989
11 | 2689425.0668 | 1211514.5889 | 2689426.8754 | 1211518.1406 | 2689428.5012 | 1211521.7229
12 | 2689361.4453 | 1211552.9501 | 2689364.4996 | 1211556.5538 | 2689367.1247 | 1211559.3728
13 | 2689428.5012 | 1211521.7229 | 2689439.334 | 1211516.8487
14 | 2689428.5012 | 1211521.7229 | 2689421.0829 | 1211525.4131
15 | 2689367.1247 | 1211559.3728 | 2689363.031 | 1211562.7582 | 2689357.3926 | 1211566.7875
16 | 2689367.1247 | 1211559.3728 | 2689381.0641 | 1211548.6078 | 2689382.9099 | 1211547.4661
17 | 2689357.3926 | 1211566.7875 | 2689360.6895 | 1211570.9286 | 2689364.7402 | 1211574.4694 | 2689375.9422 | 1211582.0534 | 2689384.9956 | 1211590.1541
18 | 2689382.9099 | 1211547.4661 | 2689394.5953 | 1211540.2383 | 2689403.6622 | 1211534.9262
19 | 2689469.4608 | 1211504.8836 | 2689451.1948 | 1211511.5119 | 2689439.334 | 1211516.8487
20 | 2689384.9956 | 1211590.1541 | 2689395.1769 | 1211599.2642 | 2689406.5357 | 1211605.2414
21 | 2689336.2271 | 1211629.7237 | 2689344.2426 | 1211638.9832 | 2689370.1957 | 1211661.7316 | 2689374.974 | 1211671.9878
22 | 2689336.2271 | 1211629.7237 | 2689346.209 | 1211630.4848 | 2689373.7023 | 1211632.1088 | 2689382.7437 | 1211635.0916
23 | 2689374.974 | 1211671.9878 | 2689381.432 | 1211687.2947 | 2689387.6376 | 1211695.1041 | 2689398.7648 | 1211700.5633 | 2689408.4578 | 1211706.3902
24 | 2689382.7437 | 1211635.0916 | 2689384.0472 | 1211635.5216 | 2689396.0388 | 1211641.7139
25 | 2689451.5587 | 1211617.9391 | 2689444.0047 | 1211622.0001 | 2689436.3905 | 1211620.9519 | 2689406.5357 | 1211605.2414
26 | 2689408.4578 | 1211706.3902 | 2689408.4578 | 1211706.3902 | 2689412.6514 | 1211712.5572 | 2689420.4553 | 1211722.2251 | 2689430.8124 | 1211724.8154
27 | 2689396.0388 | 1211641.7139 | 2689407.9367 | 1211647.8577
28 | 2689407.9367 | 1211647.8577 | 2689414.2493 | 1211651.1174
29 | 2689430.6195 | 1211659.5707 | 2689414.2493 | 1211651.1174
30 | 2689447.5805 | 1211668.3291 | 2689430.6195 | 1211659.5707
31 | 2689430.8124 | 1211724.8154 | 2689430.8124 | 1211724.8154 | 2689454.5407 | 1211740.3687
32 | 2689447.5805 | 1211668.3291 | 2689454.7066 | 1211654.9612
33 | 2689447.5805 | 1211668.3291 | 2689461.7735 | 1211675.6569
34 | 2689454.7066 | 1211654.9612 | 2689456.1386 | 1211652.2749
35 | 2689461.7735 | 1211675.6569 | 2689485.9476 | 1211688.1381
36 | 2689456.1386 | 1211652.2749 | 2689466.5571 | 1211632.7309
37 | 2689485.9476 | 1211688.1381 | 2689488.846 | 1211689.6346
38 | 2689466.7214 | 1211632.4226 | 2689466.5571 | 1211632.7309
39 | 2689473.8464 | 1211619.0567 | 2689466.7214 | 1211632.4226
40 | 2689473.8464 | 1211619.0567 | 2689477.1353 | 1211620.8565
41 | 2689473.8464 | 1211619.0567 | 2689461.7712 | 1211612.449
42 | 2689492.2133 | 1211629.108 | 2689477.1353 | 1211620.8565
43 | 2689461.7712 | 1211612.449 | 2689480.8254 | 1211588.9805
44 | 2689461.7712 | 1211612.449 | 2689451.5587 | 1211617.9391
45 | 2689484.2631 | 1211761.9862 | 2689481.3795 | 1211762.7212 | 2689476.9558 | 1211760.2532 | 2689464.699 | 1211747.0272 | 2689454.5407 | 1211740.3687
46 | 2689484.2631 | 1211761.9862 | 2689489.8405 | 1211777.7137 | 2689500.1382 | 1211792.3446 | 2689514.3197 | 1211799.3509
47 | 2689484.2631 | 1211761.9862 | 2689488.8112 | 1211758.1963 | 2689491.7404 | 1211753.7745
48 | 2689514.3197 | 1211799.3509 | 2689520.2954 | 1211795.627 | 2689520.7331 | 1211794.6887
49 | 2689496.579 | 1211746.4704 | 2689491.7404 | 1211753.7745
50 | 2689520.7331 | 1211794.6887 | 2689525.2946 | 1211784.9109
51 | 2689496.579 | 1211746.4704 | 2689510.5132 | 1211725.436
52 | 2689532.7648 | 1211770.4374 | 2689530.7465 | 1211773.2244 | 2689525.2946 | 1211784.9109
53 | 2689511.5565 | 1211723.8611 | 2689510.5132 | 1211725.436
54 | 2689523.0455 | 1211706.518 | 2689511.5565 | 1211723.8611
55 | 2689530.2861 | 1211695.5879 | 2689523.0455 | 1211706.518
56 | 2689514.2881 | 1211536.4647 | 2689515.4153 | 1211540.9114
57 | 2689515.5508 | 1211541.4462 | 2689515.4153 | 1211540.9114
58 | 2689515.5508 | 1211541.4462 | 2689519.1868 | 1211555.7903
59 | 2689519.1868 | 1211555.7903 | 2689520.3761 | 1211560.4823 | 2689523.539 | 1211567.8779
60 | 2689527.5584 | 1211577.276 | 2689523.539 | 1211567.8779
61 | 2689527.5584 | 1211577.276 | 2689532.6662 | 1211589.2192 | 2689533.7313 | 1211591.1344
62 | 2689502.4819 | 1211634.7275 | 2689509.5497 | 1211638.5954
63 | 2689502.4819 | 1211634.7275 | 2689492.2133 | 1211629.108
64 | 2689532.7648 | 1211770.4374 | 2689537.359 | 1211764.0935
65 | 2689480.8254 | 1211588.9805 | 2689481.8282 | 1211587.7454

## bus_geodata
| x | y | coords
0 | 2689522.2138 | 1211485.5504
1 | 2689505.0237 | 1211490.205
2 | 2689482.3452 | 1211496.6869
3 | 2689505.9165 | 1211494.0098
4 | 2689485.5873 | 1211499.7447
5 | 2689508.6714 | 1211510.2059
6 | 2689471.7447 | 1211504.0548
7 | 2689508.9997 | 1211512.372
8 | 2689412.0524 | 1211521.2989
9 | 2689425.0668 | 1211514.5889
10 | 2689361.4453 | 1211552.9501
11 | 2689428.5012 | 1211521.7229
12 | 2689367.1247 | 1211559.3728
13 | 2689357.3926 | 1211566.7875
14 | 2689382.9099 | 1211547.4661
15 | 2689439.334 | 1211516.8487
16 | 2689421.0829 | 1211525.4131
17 | 2689384.9956 | 1211590.1541
18 | 2689336.2271 | 1211629.7237
19 | 2689374.974 | 1211671.9878
20 | 2689382.7437 | 1211635.0916
21 | 2689403.6622 | 1211534.9262
22 | 2689469.4608 | 1211504.8836
23 | 2689406.5357 | 1211605.2414
24 | 2689408.4578 | 1211706.3902
25 | 2689396.0388 | 1211641.7139
26 | 2689407.9367 | 1211647.8577
27 | 2689414.2493 | 1211651.1174
28 | 2689430.6195 | 1211659.5707
29 | 2689430.8124 | 1211724.8154
30 | 2689447.5805 | 1211668.3291
31 | 2689454.7066 | 1211654.9612
32 | 2689461.7735 | 1211675.6569
33 | 2689456.1386 | 1211652.2749
34 | 2689485.9476 | 1211688.1381
35 | 2689466.5571 | 1211632.7309
36 | 2689488.846 | 1211689.6346
37 | 2689466.7214 | 1211632.4226
38 | 2689473.8464 | 1211619.0567
39 | 2689477.1353 | 1211620.8566
40 | 2689461.7712 | 1211612.449
41 | 2689454.5407 | 1211740.3687
42 | 2689484.2631 | 1211761.9862
43 | 2689514.3197 | 1211799.3509
44 | 2689491.7404 | 1211753.7745
45 | 2689520.7331 | 1211794.6887
46 | 2689496.579 | 1211746.4704
47 | 2689525.2946 | 1211784.9109
48 | 2689510.5132 | 1211725.436
49 | 2689523.0455 | 1211706.518
50 | 2689511.5565 | 1211723.8611
51 | 2689530.2861 | 1211695.5879
52 | 2689514.2881 | 1211536.4647
53 | 2689515.4153 | 1211540.9114
54 | 2689515.5508 | 1211541.4462
55 | 2689519.1868 | 1211555.7903
56 | 2689523.539 | 1211567.8779
57 | 2689527.5584 | 1211577.276
58 | 2689533.7313 | 1211591.1344
59 | 2689502.4819 | 1211634.7275
60 | 2689509.5497 | 1211638.5954
61 | 2689492.2133 | 1211629.108
62 | 2689532.7648 | 1211770.4374
63 | 2689537.359 | 1211764.0935
64 | 2689451.5587 | 1211617.9391
65 | 2689480.8254 | 1211588.9805
66 | 2689481.8282 | 1211587.7454
67 | 2689473.8464 | 1211619.0567

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97244 | -0.19338 | 0.0021231 | 0.00053211
1 | 0.9725 | -0.19298 | 0 | 0
2 | 0.97188 | -0.19745 | 0.017938 | 0.0044957
3 | 0.97261 | -0.19216 | 0 | 0
4 | 0.97408 | -0.18165 | 0.0011839 | 0.00029671
5 | 0.97196 | -0.19687 | 0.002591 | 0.00064937
6 | 0.97511 | -0.17427 | 0.0022468 | 0.00056309
7 | 0.97188 | -0.19743 | 0.002868 | 0.00071879
8 | 0.98086 | -0.1333 | 0.0050597 | 0.0012681
9 | 0.97956 | -0.14255 | 0 | 0
10 | 0.98663 | -0.09269 | 0 | 0
11 | 0.97885 | -0.14757 | 0 | 0
12 | 0.98745 | -0.086901 | 0 | 0
13 | 0.98872 | -0.078088 | 0 | 0
14 | 0.98732 | -0.087841 | 0.0034037 | 0.00085305
15 | 0.97784 | -0.15477 | 0.0045162 | 0.0011319
16 | 0.97882 | -0.1478 | 0.0026598 | 0.00066662
17 | 0.99247 | -0.052009 | 0.016215 | 0.0040638
18 | 0.98861 | -0.07961 | 0 | 0
19 | 0.9864 | -0.0952 | 0 | 0
20 | 0.9904 | -0.067005 | 0.0088206 | 0.0022107
21 | 0.98728 | -0.088147 | 0.0012322 | 0.00030882
22 | 0.97529 | -0.17298 | 0.0030059 | 0.00075335
23 | 0.99582 | -0.028795 | 0.0060206 | 0.0015089
24 | 0.98448 | -0.10877 | 0.0025041 | 0.00062758
25 | 0.99115 | -0.0617 | 0.0015852 | 0.00039728
26 | 0.99186 | -0.056714 | 0.0019202 | 0.00048124
27 | 0.99226 | -0.053933 | 0.0017831 | 0.00044689
28 | 0.99334 | -0.046399 | 0.0041314 | 0.0010354
29 | 0.98343 | -0.11625 | 0.0011252 | 0.00028201
30 | 0.99456 | -0.037815 | 0 | 0
31 | 0.99565 | -0.030218 | 0.0015689 | 0.00039321
32 | 0.99445 | -0.038659 | 0.0014797 | 0.00037085
33 | 0.99588 | -0.028645 | 0.0014554 | 0.00036477
34 | 0.9943 | -0.039691 | 0.0016298 | 0.00040847
35 | 0.99757 | -0.0169 | 0.0014948 | 0.00037463
36 | 0.99429 | -0.039761 | 0.0021257 | 0.00053276
37 | 0.99759 | -0.01671 | 0.0011909 | 0.00029846
38 | 0.9988 | -0.0082942 | 0 | 0
39 | 0.99878 | -0.0084804 | 0.001392 | 0.00034888
40 | 1 | 0 | -0.16711 | -0.042021
41 | 0.9825 | -0.12288 | 0.0025472 | 0.00063839
42 | 0.98138 | -0.13082 | 0 | 0
43 | 0.98089 | -0.13431 | 0 | 0
44 | 0.98116 | -0.13238 | 0.0027256 | 0.00068311
45 | 0.98081 | -0.13487 | 0.0018297 | 0.00045856
46 | 0.98103 | -0.13335 | 0.0029002 | 0.00072685
47 | 0.98074 | -0.13542 | 0.0013373 | 0.00033517
48 | 0.98074 | -0.13538 | 0.003618 | 0.00090677
49 | 0.98067 | -0.13593 | 0.0014762 | 0.00036998
50 | 0.98073 | -0.13546 | 0.0019394 | 0.00048605
51 | 0.98065 | -0.13603 | 0.00071782 | 0.0001799
52 | 0.97109 | -0.20309 | 0.0026003 | 0.00065168
53 | 0.97097 | -0.20402 | 0.0056433 | 0.0014144
54 | 0.97095 | -0.2041 | 0.0026644 | 0.00066777
55 | 0.97072 | -0.20579 | 0.0011474 | 0.00028757
56 | 0.97054 | -0.2071 | 0.0029417 | 0.00073726
57 | 0.97044 | -0.20782 | 0.0036209 | 0.00090747
58 | 0.97037 | -0.20832 | 0.0030558 | 0.00076585
59 | 0.99865 | -0.0093468 | 0.0014567 | 0.00036507
60 | 0.99865 | -0.009403 | 0.00069633 | 0.00017452
61 | 0.99869 | -0.0090944 | 0.0014149 | 0.0003546
62 | 0.98066 | -0.13601 | 0.0018464 | 0.00046274
63 | 0.98064 | -0.13615 | 0.0016636 | 0.00041694
64 | 0.99919 | -0.0055289 | 0.0026893 | 0.00067401
65 | 0.99966 | -0.0023717 | 0.0021691 | 0.00054362
66 | 0.99965 | -0.0024621 | 0.0056877 | 0.0014255
67 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0021231 | -0.00053211 | 0.0021232 | 0.00053193 | 1.1729e-07 | -1.7584e-07 | 0.0032488 | 0.0032487 | 0.0032488 | 0.97244 | -0.19338 | 0.9725 | -0.19298 | 1.2033
1 | 0.017949 | 0.0044997 | -0.017938 | -0.0044957 | 1.1102e-05 | 3.9774e-06 | 0.027464 | 0.027464 | 0.027464 | 0.9725 | -0.19298 | 0.97188 | -0.19745 | 10.172
2 | -0.020072 | -0.0050316 | 0.020075 | 0.0050324 | 2.3003e-06 | 8.3623e-07 | 0.030713 | 0.030713 | 0.030713 | 0.9725 | -0.19298 | 0.97261 | -0.19216 | 11.3752
3 | -0.047252 | -0.011848 | 0.047321 | 0.011875 | 6.8886e-05 | 2.6232e-05 | 0.072293 | 0.072293 | 0.072293 | 0.97261 | -0.19216 | 0.97408 | -0.18165 | 26.7754
4 | 0.027177 | 0.0068159 | -0.027159 | -0.0068093 | 1.7731e-05 | 6.6156e-06 | 0.041581 | 0.041581 | 0.041581 | 0.97261 | -0.19216 | 0.97196 | -0.19687 | 15.4002
5 | -0.048505 | -0.012171 | 0.048554 | 0.01219 | 4.9708e-05 | 1.8938e-05 | 0.074102 | 0.074102 | 0.074102 | 0.97408 | -0.18165 | 0.97511 | -0.17427 | 27.4452
6 | 0.024568 | 0.00616 | -0.024567 | -0.0061592 | 1.9342e-06 | 7.1678e-07 | 0.037614 | 0.037614 | 0.037614 | 0.97196 | -0.19687 | 0.97188 | -0.19743 | 13.9311
7 | -0.050801 | -0.012753 | 0.05081 | 0.012757 | 9.1133e-06 | 3.4748e-06 | 0.07753 | 0.07753 | 0.07753 | 0.97511 | -0.17427 | 0.97529 | -0.17298 | 28.715
8 | 0.021699 | 0.0054405 | -0.021682 | -0.0054342 | 1.7007e-05 | 6.2353e-06 | 0.033223 | 0.033223 | 0.033223 | 0.97188 | -0.19743 | 0.97109 | -0.20309 | 12.3048
9 | 0.061309 | 0.01543 | -0.06123 | -0.015399 | 7.9079e-05 | 3.0231e-05 | 0.093032 | 0.093032 | 0.093032 | 0.98086 | -0.1333 | 0.97956 | -0.14255 | 34.4564
10 | -0.066369 | -0.016698 | 0.066747 | 0.016842 | 0.0003782 | 0.0001447 | 0.10071 | 0.10071 | 0.10071 | 0.98086 | -0.1333 | 0.98663 | -0.09269 | 37.2993
11 | 0.06123 | 0.015399 | -0.061187 | -0.015383 | 4.2772e-05 | 1.6351e-05 | 0.093032 | 0.093032 | 0.093032 | 0.97956 | -0.14255 | 0.97885 | -0.14757 | 34.4564
12 | -0.066747 | -0.016842 | 0.066801 | 0.016863 | 5.4274e-05 | 2.0765e-05 | 0.10071 | 0.10071 | 0.10071 | 0.98663 | -0.09269 | 0.98745 | -0.086901 | 37.2992
13 | 0.058528 | 0.014717 | -0.058469 | -0.014694 | 5.87e-05 | 2.2428e-05 | 0.088989 | 0.088989 | 0.088989 | 0.97885 | -0.14757 | 0.97784 | -0.15477 | 32.9589
14 | 0.0026599 | 0.00066655 | -0.0026598 | -0.00066662 | 8.4531e-08 | -7.1634e-08 | 0.0040435 | 0.0040435 | 0.0040435 | 0.97885 | -0.14757 | 0.97882 | -0.1478 | 1.4976
15 | -0.071438 | -0.018025 | 0.071526 | 0.018059 | 8.8453e-05 | 3.3864e-05 | 0.10769 | 0.10769 | 0.10769 | 0.98745 | -0.086901 | 0.98872 | -0.078088 | 39.8869
16 | 0.0046366 | 0.0011616 | -0.004636 | -0.0011616 | 6.026e-07 | -2.126e-08 | 0.0069868 | 0.0069869 | 0.0069869 | 0.98745 | -0.086901 | 0.98732 | -0.087841 | 2.5877
17 | -0.071526 | -0.018059 | 0.07179 | 0.018159 | 0.00026307 | 0.00010071 | 0.10769 | 0.10769 | 0.10769 | 0.98872 | -0.078088 | 0.99247 | -0.052009 | 39.8868
18 | 0.0012323 | 0.00030853 | -0.0012322 | -0.00030882 | 5.2186e-08 | -2.9002e-07 | 0.0018571 | 0.0018572 | 0.0018572 | 0.98732 | -0.087841 | 0.98728 | -0.088147 | 0.68785
19 | 0.053953 | 0.013562 | -0.053816 | -0.01351 | 0.00013649 | 5.2089e-05 | 0.082116 | 0.082117 | 0.082117 | 0.97784 | -0.15477 | 0.97529 | -0.17298 | 30.4136
20 | -0.088004 | -0.022223 | 0.088293 | 0.022334 | 0.00028812 | 0.00011047 | 0.13201 | 0.13201 | 0.13201 | 0.99247 | -0.052009 | 0.99582 | -0.028795 | 48.8909
21 | 0.026416 | 0.0066406 | -0.026359 | -0.0066193 | 5.7236e-05 | 2.1272e-05 | 0.039768 | 0.039768 | 0.039768 | 0.98861 | -0.07961 | 0.9864 | -0.0952 | 14.729
22 | -0.026416 | -0.0066406 | 0.026463 | 0.0066578 | 4.6454e-05 | 1.7262e-05 | 0.039768 | 0.039768 | 0.039768 | 0.98861 | -0.07961 | 0.9904 | -0.067005 | 14.7289
23 | 0.026359 | 0.0066193 | -0.026309 | -0.0066009 | 4.9632e-05 | 1.8448e-05 | 0.039768 | 0.039768 | 0.039768 | 0.9864 | -0.0952 | 0.98448 | -0.10877 | 14.7291
24 | -0.035283 | -0.0088685 | 0.035309 | 0.0088783 | 2.6082e-05 | 9.84e-06 | 0.05302 | 0.05302 | 0.05302 | 0.9904 | -0.067005 | 0.99115 | -0.0617 | 19.6371
25 | -0.094313 | -0.023843 | 0.094623 | 0.023961 | 0.00031014 | 0.00011798 | 0.141 | 0.141 | 0.141 | 0.99582 | -0.028795 | 0.99919 | -0.0055289 | 26.1114
26 | 0.023805 | 0.0059733 | -0.023781 | -0.0059642 | 2.469e-05 | 9.1081e-06 | 0.035984 | 0.035984 | 0.035984 | 0.98448 | -0.10877 | 0.98343 | -0.11625 | 13.3273
27 | -0.036895 | -0.0092756 | 0.03692 | 0.0092853 | 2.5645e-05 | 9.6907e-06 | 0.0554 | 0.0554 | 0.0554 | 0.99115 | -0.0617 | 0.99186 | -0.056714 | 20.5185
28 | -0.03884 | -0.0097666 | 0.038855 | 0.0097723 | 1.5058e-05 | 5.6998e-06 | 0.058281 | 0.058281 | 0.058281 | 0.99186 | -0.056714 | 0.99226 | -0.053933 | 21.5854
29 | -0.040639 | -0.010219 | 0.040681 | 0.010235 | 4.2715e-05 | 1.6191e-05 | 0.060955 | 0.060954 | 0.060955 | 0.99226 | -0.053933 | 0.99334 | -0.046399 | 22.5758
30 | -0.044813 | -0.011271 | 0.044866 | 0.011291 | 5.3699e-05 | 2.0406e-05 | 0.067143 | 0.067143 | 0.067143 | 0.99334 | -0.046399 | 0.99456 | -0.037815 | 24.8679
31 | 0.022655 | 0.0056822 | -0.022635 | -0.0056745 | 2.0806e-05 | 7.6425e-06 | 0.034281 | 0.034281 | 0.034281 | 0.98343 | -0.11625 | 0.9825 | -0.12288 | 12.6968
32 | -0.050103 | -0.012603 | 0.050156 | 0.012623 | 5.314e-05 | 2.0242e-05 | 0.074977 | 0.074977 | 0.074977 | 0.99456 | -0.037815 | 0.99565 | -0.030218 | 27.7694
33 | 0.0052364 | 0.0013119 | -0.0052358 | -0.0013119 | 6.1175e-07 | 2.8031e-08 | 0.0078343 | 0.0078344 | 0.0078344 | 0.99456 | -0.037815 | 0.99445 | -0.038659 | 2.9016
34 | -0.051725 | -0.013017 | 0.051736 | 0.013021 | 1.1357e-05 | 4.3284e-06 | 0.077322 | 0.077322 | 0.077322 | 0.99565 | -0.030218 | 0.99588 | -0.028645 | 28.6378
35 | 0.0037561 | 0.00094105 | -0.0037556 | -0.00094119 | 5.3625e-07 | -1.4667e-07 | 0.0056202 | 0.0056204 | 0.0056204 | 0.99445 | -0.038659 | 0.9943 | -0.039691 | 2.0816
36 | -0.053192 | -0.013386 | 0.053279 | 0.013419 | 8.7339e-05 | 3.3303e-05 | 0.079497 | 0.079497 | 0.079497 | 0.99588 | -0.028645 | 0.99757 | -0.0169 | 29.4433
37 | 0.0021258 | 0.00053273 | -0.0021257 | -0.00053276 | 2.06e-08 | -3.4384e-08 | 0.0031813 | 0.0031813 | 0.0031813 | 0.9943 | -0.039691 | 0.99429 | -0.039761 | 1.1783
38 | -0.054774 | -0.013794 | 0.054775 | 0.013794 | 1.456e-06 | 5.5544e-07 | 0.081726 | 0.081726 | 0.081726 | 0.99757 | -0.0169 | 0.99759 | -0.01671 | 30.2691
39 | -0.055966 | -0.014093 | 0.056032 | 0.014118 | 6.5901e-05 | 2.5149e-05 | 0.083503 | 0.083503 | 0.083503 | 0.99759 | -0.01671 | 0.9988 | -0.0082942 | 30.9269
40 | 0.0049604 | 0.0012427 | -0.0049603 | -0.0012427 | 1.2776e-07 | 7.0443e-11 | 0.0073898 | 0.0073899 | 0.0073899 | 0.9988 | -0.0082942 | 0.99878 | -0.0084804 | 2.737
41 | -0.060992 | -0.01536 | 0.061063 | 0.015388 | 7.0801e-05 | 2.7051e-05 | 0.090893 | 0.090892 | 0.090893 | 0.9988 | -0.0082942 | 1 | 0 | 33.6639
42 | 0.0035683 | 0.00089386 | -0.0035679 | -0.00089396 | 3.031e-07 | -1.0835e-07 | 0.005316 | 0.005316 | 0.005316 | 0.99878 | -0.0084804 | 0.99869 | -0.0090944 | 1.9689
43 | 0.0078594 | 0.0019697 | -0.0078568 | -0.0019691 | 2.58e-06 | 5.9584e-07 | 0.011695 | 0.011695 | 0.011695 | 1 | 0 | 0.99966 | -0.0023717 | 4.3315
44 | 0.097389 | 0.024664 | -0.097313 | -0.024635 | 7.6066e-05 | 2.8952e-05 | 0.14501 | 0.14501 | 0.14501 | 1 | 0 | 0.99919 | -0.0055289 | 26.853
45 | 0.020087 | 0.0050361 | -0.020065 | -0.0050281 | 2.2075e-05 | 8.0067e-06 | 0.030424 | 0.030424 | 0.030424 | 0.9825 | -0.12288 | 0.98138 | -0.13082 | 11.268
46 | 0.0066814 | 0.0016739 | -0.0066782 | -0.0016733 | 3.2238e-06 | 6.0417e-07 | 0.01013 | 0.010131 | 0.010131 | 0.98138 | -0.13082 | 0.98089 | -0.13431 | 3.7521
47 | 0.013384 | 0.0033542 | -0.013381 | -0.0033532 | 2.8843e-06 | 9.6757e-07 | 0.020293 | 0.020293 | 0.020293 | 0.98138 | -0.13082 | 0.98116 | -0.13238 | 7.5161
48 | 0.0066782 | 0.0016733 | -0.0066776 | -0.0016732 | 5.1723e-07 | 9.6994e-08 | 0.010131 | 0.010131 | 0.010131 | 0.98089 | -0.13431 | 0.98081 | -0.13487 | 3.7521
49 | 0.010655 | 0.0026701 | -0.010654 | -0.0026697 | 1.4277e-06 | 4.3846e-07 | 0.01616 | 0.01616 | 0.01616 | 0.98116 | -0.13238 | 0.98103 | -0.13335 | 5.9851
50 | 0.004848 | 0.0012147 | -0.0048476 | -0.0012147 | 3.642e-07 | 3.9151e-09 | 0.0073549 | 0.0073549 | 0.0073549 | 0.98081 | -0.13487 | 0.98074 | -0.13542 | 2.724
51 | 0.0077538 | 0.0019428 | -0.0077516 | -0.0019423 | 2.1777e-06 | 5.191e-07 | 0.011761 | 0.011761 | 0.011761 | 0.98103 | -0.13335 | 0.98074 | -0.13538 | 4.3559
52 | 0.0035103 | 0.00087949 | -0.00351 | -0.00087959 | 2.8915e-07 | -9.4919e-08 | 0.0053258 | 0.0053259 | 0.0053259 | 0.98074 | -0.13542 | 0.98066 | -0.13601 | 1.9726
53 | 0.0041336 | 0.0010356 | -0.0041336 | -0.0010356 | 4.6364e-08 | -6.0058e-09 | 0.0062715 | 0.0062715 | 0.0062715 | 0.98074 | -0.13538 | 0.98073 | -0.13546 | 2.3228
54 | -0.002194 | -0.00054972 | 0.0021942 | 0.00054951 | 1.4387e-07 | -2.0716e-07 | 0.0033291 | 0.003329 | 0.0033291 | 0.98067 | -0.13593 | 0.98073 | -0.13546 | 1.233
55 | 0.00071783 | 0.00017974 | -0.00071782 | -0.0001799 | 9.7052e-09 | -1.6168e-07 | 0.0010891 | 0.0010892 | 0.0010892 | 0.98067 | -0.13593 | 0.98065 | -0.13603 | 0.40341
56 | 0.019081 | 0.0047825 | -0.019079 | -0.0047816 | 2.4471e-06 | 8.8445e-07 | 0.029239 | 0.029239 | 0.029239 | 0.97109 | -0.20309 | 0.97097 | -0.20402 | 10.8291
57 | 0.013435 | 0.0033673 | -0.013435 | -0.0033672 | 1.4595e-07 | 4.931e-08 | 0.02059 | 0.02059 | 0.02059 | 0.97097 | -0.20402 | 0.97095 | -0.2041 | 7.6259
58 | 0.010771 | 0.0026995 | -0.010768 | -0.0026987 | 2.516e-06 | 7.847e-07 | 0.016507 | 0.016507 | 0.016507 | 0.97095 | -0.2041 | 0.97072 | -0.20579 | 6.1136
59 | 0.009621 | 0.0024111 | -0.0096192 | -0.0024106 | 1.7486e-06 | 5.1331e-07 | 0.014748 | 0.014748 | 0.014748 | 0.97072 | -0.20579 | 0.97054 | -0.2071 | 5.4622
60 | 0.0066775 | 0.0016734 | -0.0066769 | -0.0016732 | 6.6853e-07 | 1.3082e-07 | 0.010238 | 0.010238 | 0.010238 | 0.97054 | -0.2071 | 0.97044 | -0.20782 | 3.7918
61 | 0.003056 | 0.00076575 | -0.0030558 | -0.00076585 | 2.08e-07 | -1.0755e-07 | 0.0046858 | 0.0046859 | 0.0046859 | 0.97044 | -0.20782 | 0.97037 | -0.20832 | 1.7355
62 | 0.00069634 | 0.00017441 | -0.00069633 | -0.00017452 | 5.4121e-09 | -1.0334e-07 | 0.0010375 | 0.0010376 | 0.0010376 | 0.99865 | -0.0093468 | 0.99865 | -0.009403 | 0.38428
63 | -0.002153 | -0.00053949 | 0.0021531 | 0.00053936 | 7.5169e-08 | -1.2425e-07 | 0.003208 | 0.0032079 | 0.003208 | 0.99865 | -0.0093468 | 0.99869 | -0.0090944 | 1.1881
64 | 0.0016636 | 0.00041685 | -0.0016636 | -0.00041694 | 3.1145e-08 | -8.6842e-08 | 0.0025243 | 0.0025243 | 0.0025243 | 0.98066 | -0.13601 | 0.98064 | -0.13615 | 0.93494
65 | 0.0056878 | 0.0014255 | -0.0056877 | -0.0014255 | 7.1163e-08 | 6.5116e-09 | 0.0084663 | 0.0084663 | 0.0084663 | 0.99966 | -0.0023717 | 0.99965 | -0.0024621 | 3.1357

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.16711 | 0.042021

## res_load
| p_mw | q_mvar
0 | 0.0021231 | 0.00053211
1 | 0.017938 | 0.0044957
2 | 0.0011839 | 0.00029671
3 | 0.002591 | 0.00064937
4 | 0.0022468 | 0.00056309
5 | 0.002868 | 0.00071879
6 | 0.0050597 | 0.0012681
7 | 0.0034037 | 0.00085305
8 | 0.0045162 | 0.0011319
9 | 0.0026598 | 0.00066662
10 | 0.016215 | 0.0040638
11 | 0.0088206 | 0.0022107
12 | 0.0012322 | 0.00030882
13 | 0.0030059 | 0.00075335
14 | 0.0060206 | 0.0015089
15 | 0.0025041 | 0.00062758
16 | 0.0015852 | 0.00039728
17 | 0.0019202 | 0.00048124
18 | 0.0017831 | 0.00044689
19 | 0.0041314 | 0.0010354
20 | 0.0011252 | 0.00028201
21 | 0.0015689 | 0.00039321
22 | 0.0014797 | 0.00037085
23 | 0.0014554 | 0.00036477
24 | 0.0016298 | 0.00040847
25 | 0.0014948 | 0.00037463
26 | 0.0021257 | 0.00053276
27 | 0.0011909 | 0.00029846
28 | 0.001392 | 0.00034888
29 | 0.0025472 | 0.00063839
30 | 0.0027256 | 0.00068311
31 | 0.0018297 | 0.00045856
32 | 0.0029002 | 0.00072685
33 | 0.0013373 | 0.00033517
34 | 0.003618 | 0.00090677
35 | 0.0014762 | 0.00036998
36 | 0.0019394 | 0.00048605
37 | 0.00071782 | 0.0001799
38 | 0.0026003 | 0.00065168
39 | 0.0056433 | 0.0014144
40 | 0.0026644 | 0.00066777
41 | 0.0011474 | 0.00028757
42 | 0.0029417 | 0.00073726
43 | 0.0036209 | 0.00090747
44 | 0.0030558 | 0.00076585
45 | 0.0014567 | 0.00036507
46 | 0.00069633 | 0.00017452
47 | 0.0014149 | 0.0003546
48 | 0.0018464 | 0.00046274
49 | 0.0016636 | 0.00041694
50 | 0.0026893 | 0.00067401
51 | 0.0021691 | 0.00054362
52 | 0.0056877 | 0.0014255

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1