## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1374-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1374-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1374-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1374-1_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1374-1_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1374-1_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1374-1_0_3_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_1374-1_0_3_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_1374-1_0_3_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_1374-1_0_3_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_1374-1_0_3_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_1374-1_0_3_node_40 | 0.4 | n |  | TRUE
12 | bus_LV_1374-1_0_3_node_39 | 0.4 | n |  | TRUE
13 | bus_LV_1374-1_0_3_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_1374-1_0_3_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_1374-1_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_1374-1_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_1374-1_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_1374-1_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1374-1_0_3_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_1374-1_0_3_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_1374-1_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_1374-1_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1374-1_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_1374-1_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1374-1_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_1374-1_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_1374-1_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_1374-1_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1374-1_0_3_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_1374-1_0_3_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_1374-1_0_3_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_1374-1_0_3_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_1374-1_0_3_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_1374-1_0_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_1374-1_0_3_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_1374-1_0_3_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_1374-1_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_1374-1_0_3_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_1374-1_0_3_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_1374-1_0_3_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_1374-1_0_3_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_1374-1_0_3_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_1374-1_0_3_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_1374-1_0_3_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_1374-1_0_3_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_1374-1_0_3_node_45 | 0.4 | n |  | TRUE
47 | bus_MV_1_0_node_60 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1374-1_0_3_load_0 | 0 | 0.0038577 | 0.00096682 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1374-1_0_3_load_1 | 1 | 0.0060499 | 0.0015162 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1374-1_0_3_load_3 | 3 | 0.0066703 | 0.0016717 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1374-1_0_3_load_5 | 5 | 0.0047745 | 0.0011966 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1374-1_0_3_load_20 | 6 | 0.00077266 | 0.00019365 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1374-1_0_3_load_38 | 7 | 0.013852 | 0.0034716 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1374-1_0_3_load_46 | 8 | 0.012697 | 0.0031822 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1374-1_0_3_load_19 | 9 | 0.0036273 | 0.00090909 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1374-1_0_3_load_37 | 10 | 0.012705 | 0.0031841 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1374-1_0_3_load_40 | 11 | 0.0047677 | 0.0011949 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1374-1_0_3_load_24 | 13 | 0.011735 | 0.0029412 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1374-1_0_3_load_6 | 14 | 0.012526 | 0.0031392 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1374-1_0_3_load_7 | 15 | 0.0055588 | 0.0013932 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1374-1_0_3_load_9 | 17 | 0.0095338 | 0.0023894 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1374-1_0_3_load_10 | 18 | 0.0038287 | 0.00095956 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1374-1_0_3_load_22 | 19 | 0.0095847 | 0.0024021 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1374-1_0_3_load_11 | 21 | 0.0030481 | 0.00076392 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1374-1_0_3_load_13 | 23 | 0.00088037 | 0.00022064 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1374-1_0_3_load_15 | 25 | 0.0010071 | 0.0002524 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1374-1_0_3_load_14 | 26 | 0.00097244 | 0.00024372 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1374-1_0_3_load_16 | 27 | 0.0036982 | 0.00092685 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1374-1_0_3_load_32 | 30 | 0.0014763 | 0.00037 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1374-1_0_3_load_29 | 31 | 0.0027458 | 0.00068815 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1374-1_0_3_load_33 | 33 | 0.0045886 | 0.00115 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1374-1_0_3_load_30 | 34 | 0.0012233 | 0.00030658 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1374-1_0_3_load_26 | 35 | 0.00085809 | 0.00021506 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1374-1_0_3_load_28 | 36 | 0.0053499 | 0.0013408 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1374-1_0_3_load_25 | 37 | 0.0074443 | 0.0018657 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1374-1_0_3_load_43 | 38 | 0.0098446 | 0.0024673 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1374-1_0_3_load_31 | 40 | 0.0021064 | 0.00052791 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1374-1_0_3_load_42 | 42 | 0.0013536 | 0.00033925 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1374-1_0_3_load_35 | 44 | 0.00062591 | 0.00015687 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1374-1_0_3_load_36 | 45 | 0.060186 | 0.015084 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1374-1_0_3_load_45 | 46 | 0.0062059 | 0.0015554 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1374-1_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.011081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1374-1_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0032698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1374-1_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.011803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1374-1_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.028399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1374-1_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.027008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1374-1_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.043279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1374-1_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.031054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_1374-1_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.014835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1374-1_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.068939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1374-1_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.016466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1374-1_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.023544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1374-1_0_3_line_11 | NAYY 4x150 SE | 9 | 24 | 0.0048339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1374-1_0_3_line_12 | NAYY 4x150 SE | 10 | 45 | 0.042338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1374-1_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.020986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1374-1_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.016583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1374-1_0_3_line_15 | NAYY 4x150 SE | 13 | 20 | 0.026062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1374-1_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.023435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1374-1_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.044286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1374-1_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.0062317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1374-1_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.015069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1374-1_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.019008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1374-1_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.015964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1374-1_0_3_line_22 | NAYY 4x150 SE | 20 | 37 | 0.0056517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1374-1_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.00367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1374-1_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.08592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1374-1_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.049918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1374-1_0_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.014304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1374-1_0_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.024381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1374-1_0_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.035058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1374-1_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.024283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1374-1_0_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.008925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1374-1_0_3_line_31 | NAYY 4x150 SE | 29 | 30 | 0.01856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1374-1_0_3_line_32 | NAYY 4x150 SE | 29 | 31 | 0.097505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1374-1_0_3_line_33 | NAYY 4x150 SE | 29 | 32 | 0.061251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1374-1_0_3_line_34 | NAYY 4x150 SE | 30 | 33 | 0.046804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1374-1_0_3_line_35 | NAYY 4x150 SE | 31 | 34 | 0.037172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1374-1_0_3_line_36 | NAYY 4x150 SE | 32 | 35 | 0.01154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1374-1_0_3_line_37 | NAYY 4x150 SE | 33 | 43 | 0.055461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1374-1_0_3_line_38 | NAYY 4x150 SE | 34 | 40 | 0.022053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1374-1_0_3_line_39 | NAYY 4x150 SE | 35 | 36 | 0.012074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1374-1_0_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.017281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1374-1_0_3_line_41 | NAYY 4x150 SE | 38 | 39 | 0.0021173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1374-1_0_3_line_42 | NAYY 4x150 SE | 39 | 46 | 0.039387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1374-1_0_3_line_43 | NAYY 4x150 SE | 40 | 41 | 0.015366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1374-1_0_3_line_44 | NAYY 4x150 SE | 41 | 42 | 0.012951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1374-1_0_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.086137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1374-1_0_3_trafo_38 | 0.25 MVA 20/0.4 kV | 47 | 7 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2686976.136 | 1211893.5384 | 2686970.9975 | 1211885.9886 | 2686969.5133 | 1211884.7267
1 | 2686977.9758 | 1211896.2416 | 2686976.136 | 1211893.5384
2 | 2686969.5133 | 1211884.7267 | 2686964.8501 | 1211880.7622 | 2686959.5611 | 1211878.6837
3 | 2686977.9758 | 1211896.2416 | 2686980.328 | 1211901.168 | 2686984.9438 | 1211915.5337 | 2686987.8694 | 1211922.8256
4 | 2686977.9758 | 1211896.2416 | 2686984.189 | 1211891.2288 | 2686989.7735 | 1211889.1978 | 2686996.4473 | 1211889.0728 | 2687002.4333 | 1211891.3583
5 | 2686935.8541 | 1211911.8935 | 2686939.7202 | 1211902.6326 | 2686945.4397 | 1211888.7401 | 2686948.0158 | 1211885.0974 | 2686950.7767 | 1211882.3247 | 2686953.2556 | 1211880.1261 | 2686956.4647 | 1211878.9276 | 2686959.5611 | 1211878.6837
6 | 2686987.8694 | 1211922.8256 | 2686991.7895 | 1211930.1877 | 2686999.0986 | 1211940.679 | 2687006.1407 | 1211947.6761
7 | 2686987.8694 | 1211922.8256 | 2687001.1728 | 1211916.2608
8 | 2686935.8541 | 1211911.8935 | 2686935.8541 | 1211911.8935 | 2686932.1553 | 1211918.0103 | 2686925.5251 | 1211925.0517 | 2686921.203 | 1211930.1477 | 2686912.853 | 1211938.9207 | 2686887.923 | 1211961.036
9 | 2687017.6162 | 1211959.4803 | 2687012.7835 | 1211954.2765 | 2687006.1407 | 1211947.6761
10 | 2687001.1728 | 1211916.2608 | 2687006.9741 | 1211913.398 | 2687022.4938 | 1211920.518 | 2687022.4938 | 1211920.518
11 | 2686884.3069 | 1211964.2439 | 2686887.923 | 1211961.036
12 | 2687042.085 | 1211993.9435 | 2687022.3821 | 1211964.6122 | 2687017.6162 | 1211959.4803
13 | 2687036.2213 | 1211904.6522 | 2687030.581 | 1211911.5411 | 2687022.4938 | 1211920.518
14 | 2687036.2213 | 1211904.6522 | 2687039.2046 | 1211905.3851 | 2687049.4917 | 1211905.0016 | 2687052.7048 | 1211904.8506
15 | 2687078.7376 | 1211903.6275 | 2687052.7048 | 1211904.8506
16 | 2687023.1574 | 1211874.9147 | 2687045.2985 | 1211882.5956
17 | 2687001.5603 | 1211845.9299 | 2686998.3097 | 1211859.8695 | 2687000.2572 | 1211863.8895 | 2687014.7745 | 1211872.0066 | 2687023.1574 | 1211874.9147
18 | 2687045.2985 | 1211882.5956 | 2687051.186 | 1211884.6381
19 | 2687001.5603 | 1211845.9299 | 2687005.6416 | 1211831.4243
20 | 2687069.144 | 1211890.8679 | 2687051.186 | 1211884.6381
21 | 2687078.7376 | 1211903.6275 | 2687069.144 | 1211890.8679
22 | 2687078.7376 | 1211903.6275 | 2687084.3683 | 1211904.1148
23 | 2686899.4505 | 1211832.9442 | 2686896.4498 | 1211830.8311
24 | 2686899.4505 | 1211832.9442 | 2686902.8528 | 1211839.3424 | 2686903.4136 | 1211848.3121 | 2686898.8917 | 1211873.8854 | 2686895.851 | 1211902.6379 | 2686895.136 | 1211917.4238
25 | 2686884.3069 | 1211964.2439 | 2686882.0182 | 1211957.0391 | 2686893.0298 | 1211934.5735 | 2686894.6653 | 1211927.1591 | 2686895.136 | 1211917.4238
26 | 2686884.3069 | 1211964.2439 | 2686873.4517 | 1211973.5595
27 | 2686854.9496 | 1211989.4375 | 2686873.4517 | 1211973.5595
28 | 2686854.9496 | 1211989.4375 | 2686837.7051 | 1212004.2363 | 2686827.8781 | 1212011.6908
29 | 2686806.8373 | 1212023.6221 | 2686811.3239 | 1212021.8306 | 2686817.3808 | 1212018.6611 | 2686824.0433 | 1212014.5998 | 2686827.8781 | 1212011.6908
30 | 2686806.8373 | 1212023.6221 | 2686799.7816 | 1212029.1119
31 | 2686799.7816 | 1212029.1119 | 2686801.4985 | 1212042.19 | 2686805.546 | 1212045.7182
32 | 2686799.7816 | 1212029.1119 | 2686762.1516 | 1212036.4472 | 2686729.3285 | 1212053.4144 | 2686727.9152 | 1212054.4501 | 2686708.5942 | 1212061.1991
33 | 2686799.7816 | 1212029.1119 | 2686744.0174 | 1212003.7729
34 | 2686805.546 | 1212045.7182 | 2686809.5798 | 1212049.2345 | 2686822.7701 | 1212055.5862 | 2686829.912 | 1212064.0068 | 2686830.7489 | 1212079.7556
35 | 2686708.5942 | 1212061.1991 | 2686695.9823 | 1212065.6045 | 2686673.5063 | 1212073.4716
36 | 2686744.0174 | 1212003.7729 | 2686748.7452 | 1211993.2458
37 | 2686808.4052 | 1212119.4639 | 2686805.4302 | 1212111.3819 | 2686818.4421 | 1212109.1031 | 2686828.4762 | 1212098.9313 | 2686830.8781 | 1212082.1885 | 2686830.7489 | 1212079.7556
38 | 2686673.5063 | 1212073.4716 | 2686652.6914 | 1212080.7573
39 | 2686749.4601 | 1211981.1927 | 2686748.7452 | 1211993.2458
40 | 2687084.3683 | 1211904.1148 | 2687090.6379 | 1211904.6574 | 2687101.2693 | 1211907.4323
41 | 2687103.3179 | 1211907.967 | 2687101.2693 | 1211907.4323
42 | 2687103.3179 | 1211907.967 | 2687098.427 | 1211890.6063 | 2687102.507 | 1211885.9739 | 2687109.4215 | 1211890.7002 | 2687115.5527 | 1211887.6655
43 | 2686638.1881 | 1212085.8338 | 2686652.6914 | 1212080.7573
44 | 2686638.1881 | 1212085.8338 | 2686625.2382 | 1212086.005
45 | 2686731.3466 | 1212141.3798 | 2686744.5293 | 1212145.6298 | 2686763.1467 | 1212126.7992 | 2686800.3097 | 1212122.2702 | 2686808.4052 | 1212119.4639

## bus_geodata
| x | y | coords
0 | 2686976.136 | 1211893.5384
1 | 2686969.5133 | 1211884.7267
2 | 2686977.9758 | 1211896.2416
3 | 2686959.5611 | 1211878.6837
4 | 2686987.8694 | 1211922.8256
5 | 2687002.4333 | 1211891.3583
6 | 2686935.8541 | 1211911.8935
7 | 2687006.1407 | 1211947.6761
8 | 2687001.1728 | 1211916.2608
9 | 2686887.923 | 1211961.036
10 | 2687017.6162 | 1211959.4803
11 | 2687022.4938 | 1211920.518
12 | 2687036.2213 | 1211904.6522
13 | 2687052.7048 | 1211904.8506
14 | 2687023.1574 | 1211874.9147
15 | 2687045.2985 | 1211882.5956
16 | 2687001.5603 | 1211845.9299
17 | 2687051.186 | 1211884.6381
18 | 2687005.6416 | 1211831.4243
19 | 2687069.144 | 1211890.8679
20 | 2687078.7376 | 1211903.6275
21 | 2686896.4498 | 1211830.8311
22 | 2686899.4505 | 1211832.9442
23 | 2686895.136 | 1211917.4238
24 | 2686884.3069 | 1211964.2439
25 | 2686873.4517 | 1211973.5595
26 | 2686854.9496 | 1211989.4375
27 | 2686827.8781 | 1212011.6908
28 | 2686806.8373 | 1212023.6221
29 | 2686799.7816 | 1212029.1119
30 | 2686805.546 | 1212045.7182
31 | 2686708.5942 | 1212061.1991
32 | 2686744.0174 | 1212003.7729
33 | 2686830.7489 | 1212079.7556
34 | 2686673.5063 | 1212073.4716
35 | 2686748.7452 | 1211993.2458
36 | 2686749.4601 | 1211981.1927
37 | 2687084.3683 | 1211904.1148
38 | 2687101.2693 | 1211907.4323
39 | 2687103.3179 | 1211907.967
40 | 2686652.6914 | 1212080.7573
41 | 2686638.1881 | 1212085.8338
42 | 2686625.2382 | 1212086.005
43 | 2686808.4052 | 1212119.4639
44 | 2686731.3466 | 1212141.3798
45 | 2687042.085 | 1211993.9435
46 | 2687115.5527 | 1211887.6655
47 | 2686987.8694 | 1211922.8256

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99413 | -0.040884 | 0.0038577 | 0.00096682
1 | 0.99337 | -0.046163 | 0.0060499 | 0.0015162
2 | 0.99437 | -0.039201 | 0 | 0
3 | 0.99267 | -0.051071 | 0.0066703 | 0.0016717
4 | 0.99665 | -0.02325 | 0 | 0
5 | 0.99418 | -0.040503 | 0.0047745 | 0.0011966
6 | 0.99052 | -0.066188 | 0.00077266 | 0.00019365
7 | 1 | 0 | -0.22539 | -0.056577
8 | 0.99464 | -0.037253 | 0.012697 | 0.0031822
9 | 0.98717 | -0.089854 | 0.0036273 | 0.00090909
10 | 0.99828 | -0.012 | 0.012705 | 0.0031841
11 | 0.99188 | -0.056558 | 0.0047677 | 0.0011949
12 | 0.98956 | -0.072837 | 0 | 0
13 | 0.98773 | -0.085753 | 0.011735 | 0.0029412
14 | 0.98272 | -0.12128 | 0.012526 | 0.0031392
15 | 0.98328 | -0.11732 | 0.0055588 | 0.0013932
16 | 0.98248 | -0.12304 | 0 | 0
17 | 0.98348 | -0.11591 | 0.0095338 | 0.0023894
18 | 0.98239 | -0.12363 | 0.0038287 | 0.00095956
19 | 0.98434 | -0.10975 | 0.0095847 | 0.0024021
20 | 0.98529 | -0.103 | 0 | 0
21 | 0.98628 | -0.096159 | 0.0030481 | 0.00076392
22 | 0.9863 | -0.096045 | 0 | 0
23 | 0.98667 | -0.093355 | 0.00088037 | 0.00022064
24 | 0.98696 | -0.091339 | 0 | 0
25 | 0.98642 | -0.095161 | 0.0010071 | 0.0002524
26 | 0.98554 | -0.10143 | 0.00097244 | 0.00024372
27 | 0.98431 | -0.11012 | 0.0036982 | 0.00092685
28 | 0.9836 | -0.11522 | 0 | 0
29 | 0.98333 | -0.11709 | 0 | 0
30 | 0.98315 | -0.11838 | 0.0014763 | 0.00037
31 | 0.98228 | -0.12459 | 0.0027458 | 0.00068815
32 | 0.98278 | -0.12102 | 0 | 0
33 | 0.9828 | -0.12091 | 0.0045886 | 0.00115
34 | 0.98203 | -0.12639 | 0.0012233 | 0.00030658
35 | 0.98268 | -0.12176 | 0.00085809 | 0.00021506
36 | 0.98259 | -0.12243 | 0.0053499 | 0.0013408
37 | 0.9851 | -0.10437 | 0.0074443 | 0.0018657
38 | 0.9847 | -0.10722 | 0.0098446 | 0.0024673
39 | 0.98468 | -0.10736 | 0 | 0
40 | 0.98192 | -0.12718 | 0.0021064 | 0.00052791
41 | 0.98189 | -0.1274 | 0 | 0
42 | 0.98186 | -0.12758 | 0.0013536 | 0.00033925
43 | 0.98275 | -0.12127 | 0 | 0
44 | 0.98267 | -0.12183 | 0.00062591 | 0.00015687
45 | 0.99463 | -0.037614 | 0.060186 | 0.015084
46 | 0.98433 | -0.10988 | 0.0062059 | 0.0015554
47 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.04741 | 0.011919 | -0.047376 | -0.011906 | 3.4833e-05 | 1.3254e-05 | 0.070977 | 0.070977 | 0.070977 | 0.99413 | -0.040884 | 0.99337 | -0.046163 | 26.288
1 | -0.051268 | -0.012886 | 0.05128 | 0.01289 | 1.2019e-05 | 4.5805e-06 | 0.076752 | 0.076752 | 0.076752 | 0.99413 | -0.040884 | 0.99437 | -0.039201 | 28.4265
2 | 0.041326 | 0.010389 | -0.041298 | -0.010379 | 2.8235e-05 | 1.0707e-05 | 0.061915 | 0.061915 | 0.061915 | 0.99337 | -0.046163 | 0.99267 | -0.051071 | 22.9315
3 | -0.056056 | -0.014087 | 0.05618 | 0.014135 | 0.00012473 | 4.7606e-05 | 0.083898 | 0.083898 | 0.083898 | 0.99437 | -0.039201 | 0.99665 | -0.02325 | 31.0732
4 | 0.0047754 | 0.0011966 | -0.0047745 | -0.0011966 | 8.6063e-07 | -1.9266e-08 | 0.0071461 | 0.0071462 | 0.0071462 | 0.99437 | -0.039201 | 0.99418 | -0.040503 | 2.6467
5 | 0.034627 | 0.008707 | -0.034554 | -0.0086796 | 7.279e-05 | 2.7438e-05 | 0.051916 | 0.051917 | 0.051917 | 0.99267 | -0.051071 | 0.99052 | -0.066188 | 19.2284
6 | -0.15087 | -0.037992 | 0.15136 | 0.03818 | 0.00049189 | 0.00018838 | 0.22532 | 0.22532 | 0.22532 | 0.99665 | -0.02325 | 1 | 0 | 41.7255
7 | 0.094691 | 0.023857 | -0.094506 | -0.023786 | 0.00018514 | 7.1014e-05 | 0.14142 | 0.14142 | 0.14142 | 0.99665 | -0.02325 | 0.99464 | -0.037253 | 52.3779
8 | 0.033782 | 0.0084859 | -0.033671 | -0.0084442 | 0.00011082 | 4.1739e-05 | 0.050756 | 0.050756 | 0.050756 | 0.99052 | -0.066188 | 0.98717 | -0.089854 | 18.7986
9 | 0.073227 | 0.018397 | -0.073105 | -0.01835 | 0.00012203 | 4.6718e-05 | 0.10898 | 0.10898 | 0.10898 | 1 | 0 | 0.99828 | -0.012 | 40.3624
10 | 0.081809 | 0.020604 | -0.081589 | -0.02052 | 0.0002202 | 8.4386e-05 | 0.12242 | 0.12242 | 0.12242 | 0.99464 | -0.037253 | 0.99188 | -0.056558 | 45.3426
11 | 0.030044 | 0.0075351 | -0.030037 | -0.0075328 | 6.1867e-06 | 2.3177e-06 | 0.045288 | 0.045288 | 0.045288 | 0.98717 | -0.089854 | 0.98696 | -0.091339 | 16.7735
12 | 0.0604 | 0.015166 | -0.060186 | -0.015084 | 0.00021419 | 8.1829e-05 | 0.090041 | 0.090041 | 0.090041 | 0.99828 | -0.012 | 0.99463 | -0.037614 | 33.3487
13 | 0.076821 | 0.019325 | -0.076647 | -0.019258 | 0.00017401 | 6.6655e-05 | 0.11527 | 0.11527 | 0.11527 | 0.99188 | -0.056558 | 0.98956 | -0.072837 | 42.6935
14 | 0.076647 | 0.019258 | -0.07651 | -0.019206 | 0.0001375 | 5.2671e-05 | 0.11527 | 0.11527 | 0.11527 | 0.98956 | -0.072837 | 0.98773 | -0.085753 | 42.6936
15 | 0.064774 | 0.016264 | -0.064619 | -0.016205 | 0.00015489 | 5.924e-05 | 0.097593 | 0.097593 | 0.097593 | 0.98773 | -0.085753 | 0.98529 | -0.103 | 36.1457
16 | -0.016355 | -0.0040985 | 0.016364 | 0.0041016 | 8.9687e-06 | 3.1524e-06 | 0.024765 | 0.024765 | 0.024765 | 0.98272 | -0.12128 | 0.98328 | -0.11732 | 9.1722
17 | 0.0038299 | 0.00095928 | -0.003829 | -0.00095949 | 9.2933e-07 | -2.0352e-07 | 0.005799 | 0.0057992 | 0.0057992 | 0.98272 | -0.12128 | 0.98248 | -0.12304 | 2.1478
18 | -0.021923 | -0.0054948 | 0.021928 | 0.0054964 | 4.2802e-06 | 1.5672e-06 | 0.033177 | 0.033177 | 0.033177 | 0.98328 | -0.11732 | 0.98348 | -0.11591 | 12.2878
19 | 0.003829 | 0.00095949 | -0.0038287 | -0.00095956 | 3.1623e-07 | -6.9182e-08 | 0.0057992 | 0.0057992 | 0.0057992 | 0.98248 | -0.12304 | 0.98239 | -0.12363 | 2.1479
20 | -0.031461 | -0.0078858 | 0.031488 | 0.0078959 | 2.6876e-05 | 1.0096e-05 | 0.047602 | 0.047602 | 0.047602 | 0.98348 | -0.11591 | 0.98434 | -0.10975 | 17.6303
21 | -0.041073 | -0.010298 | 0.041111 | 0.010313 | 3.8404e-05 | 1.4568e-05 | 0.062091 | 0.062091 | 0.062091 | 0.98434 | -0.10975 | 0.98529 | -0.103 | 22.9966
22 | 0.023508 | 0.0058926 | -0.023503 | -0.0058909 | 4.4451e-06 | 1.6377e-06 | 0.035503 | 0.035503 | 0.035503 | 0.98529 | -0.103 | 0.9851 | -0.10437 | 13.1491
23 | -0.0030481 | -0.00076392 | 0.0030481 | 0.00076389 | 4.843e-08 | -2.821e-08 | 0.0045987 | 0.0045987 | 0.0045987 | 0.98628 | -0.096159 | 0.9863 | -0.096045 | 1.7032
24 | -0.0030481 | -0.00076389 | 0.0030493 | 0.00076323 | 1.1337e-06 | -6.609e-07 | 0.0045987 | 0.0045983 | 0.0045987 | 0.9863 | -0.096045 | 0.98667 | -0.093355 | 1.7032
25 | -0.0039296 | -0.00098387 | 0.0039307 | 0.00098365 | 1.0938e-06 | -2.1704e-07 | 0.005926 | 0.0059257 | 0.005926 | 0.98667 | -0.093355 | 0.98696 | -0.091339 | 2.1948
26 | 0.026107 | 0.0065491 | -0.026093 | -0.006544 | 1.383e-05 | 5.1366e-06 | 0.039363 | 0.039363 | 0.039363 | 0.98696 | -0.091339 | 0.98642 | -0.095161 | 14.5788
27 | 0.025086 | 0.0062916 | -0.025064 | -0.0062835 | 2.1788e-05 | 8.0692e-06 | 0.037844 | 0.037844 | 0.037844 | 0.98642 | -0.095161 | 0.98554 | -0.10143 | 14.0162
28 | 0.024092 | 0.0060398 | -0.024063 | -0.0060291 | 2.8946e-05 | 1.0687e-05 | 0.036375 | 0.036376 | 0.036376 | 0.98554 | -0.10143 | 0.98431 | -0.11012 | 13.4725
29 | 0.020364 | 0.0051022 | -0.02035 | -0.005097 | 1.436e-05 | 5.2148e-06 | 0.030785 | 0.030785 | 0.030785 | 0.98431 | -0.11012 | 0.9836 | -0.11522 | 11.4019
30 | 0.02035 | 0.005097 | -0.020345 | -0.0050951 | 5.2781e-06 | 1.9168e-06 | 0.030785 | 0.030785 | 0.030785 | 0.9836 | -0.11522 | 0.98333 | -0.11709 | 11.4019
31 | 0.0066939 | 0.0016754 | -0.0066927 | -0.0016752 | 1.1881e-06 | 2.2157e-07 | 0.010129 | 0.010129 | 0.010129 | 0.98333 | -0.11709 | 0.98315 | -0.11838 | 3.7514
32 | 0.0074384 | 0.0018631 | -0.0074307 | -0.0018614 | 7.7085e-06 | 1.7292e-06 | 0.011256 | 0.011256 | 0.011256 | 0.98333 | -0.11709 | 0.98228 | -0.12459 | 4.1689
33 | 0.0062125 | 0.0015565 | -0.0062092 | -0.001556 | 3.3779e-06 | 5.2262e-07 | 0.0094009 | 0.0094011 | 0.0094011 | 0.98333 | -0.11709 | 0.98278 | -0.12102 | 3.4819
34 | 0.0052164 | 0.0013052 | -0.0052146 | -0.0013051 | 1.8202e-06 | 1.0676e-07 | 0.0078943 | 0.0078946 | 0.0078946 | 0.98315 | -0.11838 | 0.9828 | -0.12091 | 2.9239
35 | 0.0046849 | 0.0011733 | -0.0046837 | -0.0011733 | 1.1682e-06 | -2.1118e-08 | 0.0070966 | 0.0070968 | 0.0070968 | 0.98228 | -0.12459 | 0.98203 | -0.12639 | 2.6284
36 | 0.0062092 | 0.001556 | -0.0062085 | -0.0015559 | 6.3643e-07 | 9.8569e-08 | 0.0094011 | 0.0094012 | 0.0094012 | 0.98278 | -0.12102 | 0.98268 | -0.12176 | 3.4819
37 | 0.00062599 | 0.0001551 | -0.00062596 | -0.00015579 | 3.1054e-08 | -6.9081e-07 | 0.00094715 | 0.0009474 | 0.0009474 | 0.9828 | -0.12091 | 0.98275 | -0.12127 | 0.35089
38 | 0.0034605 | 0.0008667 | -0.0034601 | -0.00086683 | 3.7833e-07 | -1.3348e-07 | 0.0052432 | 0.0052433 | 0.0052433 | 0.98203 | -0.12639 | 0.98192 | -0.12718 | 1.942
39 | 0.0053504 | 0.0013409 | -0.0053499 | -0.0013408 | 4.9456e-07 | 3.7262e-08 | 0.0081018 | 0.0081019 | 0.0081019 | 0.98268 | -0.12176 | 0.98259 | -0.12243 | 3.0007
40 | 0.016059 | 0.0040252 | -0.016053 | -0.004023 | 6.3452e-06 | 2.2206e-06 | 0.024258 | 0.024258 | 0.024258 | 0.9851 | -0.10437 | 0.9847 | -0.10722 | 8.9844
41 | 0.0062082 | 0.0015557 | -0.0062081 | -0.0015557 | 1.1628e-07 | 1.7789e-08 | 0.0093814 | 0.0093814 | 0.0093814 | 0.9847 | -0.10722 | 0.98468 | -0.10736 | 3.4746
42 | 0.0062081 | 0.0015557 | -0.0062059 | -0.0015554 | 2.1631e-06 | 3.3113e-07 | 0.0093814 | 0.0093816 | 0.0093816 | 0.98468 | -0.10736 | 0.98433 | -0.10988 | 3.4747
43 | 0.0013537 | 0.00033892 | -0.0013537 | -0.0003391 | 4.0348e-08 | -1.7884e-07 | 0.0020513 | 0.0020514 | 0.0020514 | 0.98192 | -0.12718 | 0.98189 | -0.1274 | 0.75977
44 | 0.0013537 | 0.0003391 | -0.0013536 | -0.00033925 | 3.4009e-08 | -1.5073e-07 | 0.0020514 | 0.0020514 | 0.0020514 | 0.98189 | -0.1274 | 0.98186 | -0.12758 | 0.75979
45 | 0.00062596 | 0.00015579 | -0.00062591 | -0.00015687 | 4.8263e-08 | -1.0728e-06 | 0.0009474 | 0.00094779 | 0.00094779 | 0.98275 | -0.12127 | 0.98267 | -0.12183 | 0.35103

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23924 | 0.060049

## res_load
| p_mw | q_mvar
0 | 0.0038577 | 0.00096682
1 | 0.0060499 | 0.0015162
2 | 0.0066703 | 0.0016717
3 | 0.0047745 | 0.0011966
4 | 0.00077266 | 0.00019365
5 | 0.013852 | 0.0034716
6 | 0.012697 | 0.0031822
7 | 0.0036273 | 0.00090909
8 | 0.012705 | 0.0031841
9 | 0.0047677 | 0.0011949
10 | 0.011735 | 0.0029412
11 | 0.012526 | 0.0031392
12 | 0.0055588 | 0.0013932
13 | 0.0095338 | 0.0023894
14 | 0.0038287 | 0.00095956
15 | 0.0095847 | 0.0024021
16 | 0.0030481 | 0.00076392
17 | 0.00088037 | 0.00022064
18 | 0.0010071 | 0.0002524
19 | 0.00097244 | 0.00024372
20 | 0.0036982 | 0.00092685
21 | 0.0014763 | 0.00037
22 | 0.0027458 | 0.00068815
23 | 0.0045886 | 0.00115
24 | 0.0012233 | 0.00030658
25 | 0.00085809 | 0.00021506
26 | 0.0053499 | 0.0013408
27 | 0.0074443 | 0.0018657
28 | 0.0098446 | 0.0024673
29 | 0.0021064 | 0.00052791
30 | 0.0013536 | 0.00033925
31 | 0.00062591 | 0.00015687
32 | 0.060186 | 0.015084
33 | 0.0062059 | 0.0015554

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1