## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1374-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1374-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1374-2_0_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_1374-2_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_1374-2_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1374-2_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1374-2_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1374-2_0_3_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_1374-2_0_3_node_40 | 0.4 | n |  | TRUE
9 | bus_LV_1374-2_0_3_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_1374-2_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_1374-2_0_3_node_39 | 0.4 | n |  | TRUE
12 | bus_LV_1374-2_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1374-2_0_3_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_1374-2_0_3_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_1374-2_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1374-2_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1374-2_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1374-2_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1374-2_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1374-2_0_3_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_1374-2_0_3_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_1374-2_0_3_node_34 | 0.4 | n |  | TRUE
23 | bus_LV_1374-2_0_3_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_1374-2_0_3_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_1374-2_0_3_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_1374-2_0_3_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_1374-2_0_3_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_1374-2_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_1374-2_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_1374-2_0_3_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_1374-2_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_1374-2_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_1374-2_0_3_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_1374-2_0_3_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_1374-2_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_1374-2_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_1374-2_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_1374-2_0_3_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_1374-2_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_MV_1_0_node_65 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1374-2_0_3_load_0 | 0 | 0.0053151 | 0.0013321 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1374-2_0_3_load_4 | 2 | 0.0021061 | 0.00052785 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1374-2_0_3_load_2 | 3 | 0.0071441 | 0.0017905 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1374-2_0_3_load_3 | 4 | 0.0057148 | 0.0014323 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1374-2_0_3_load_6 | 5 | 0.00424 | 0.0010626 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1374-2_0_3_load_5 | 6 | 0.0018113 | 0.00045397 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1374-2_0_3_load_13 | 7 | 0.0076028 | 0.0019054 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1374-2_0_3_load_40 | 8 | 0.0045287 | 0.001135 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1374-2_0_3_load_11 | 9 | 0.0033369 | 0.00083632 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1374-2_0_3_load_9 | 10 | 0.015031 | 0.0037671 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1374-2_0_3_load_7 | 12 | 0.0024601 | 0.00061655 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1374-2_0_3_load_31 | 13 | 0.002357 | 0.00059072 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1374-2_0_3_load_30 | 14 | 0.0030486 | 0.00076406 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1374-2_0_3_load_8 | 15 | 0.0015039 | 0.00037692 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1374-2_0_3_load_10 | 16 | 0.0053608 | 0.0013436 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1374-2_0_3_load_15 | 19 | 0.0036408 | 0.00091247 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1374-2_0_3_load_32 | 20 | 0.0048938 | 0.0012265 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1374-2_0_3_load_28 | 21 | 0.012168 | 0.0030496 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1374-2_0_3_load_34 | 22 | 0.0076661 | 0.0019213 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1374-2_0_3_load_35 | 23 | 0.0024668 | 0.00061824 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1374-2_0_3_load_36 | 24 | 0.0013249 | 0.00033205 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1374-2_0_3_load_37 | 25 | 0.0062267 | 0.0015605 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1374-2_0_3_load_33 | 26 | 0.0084439 | 0.0021162 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1374-2_0_3_load_27 | 27 | 0.0076687 | 0.001922 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1374-2_0_3_load_16 | 28 | 0.0033877 | 0.00084904 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1374-2_0_3_load_17 | 29 | 0.0020735 | 0.00051966 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1374-2_0_3_load_19 | 31 | 0.0069838 | 0.0017503 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1374-2_0_3_load_20 | 32 | 0.0025271 | 0.00063335 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1374-2_0_3_load_22 | 34 | 0.00091474 | 0.00022926 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1374-2_0_3_load_23 | 35 | 0.0023976 | 0.0006009 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1374-2_0_3_load_24 | 36 | 0.0055842 | 0.0013995 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1374-2_0_3_load_25 | 37 | 0.0011412 | 0.00028601 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1374-2_0_3_load_26 | 38 | 0.0012856 | 0.0003222 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1374-2_0_3_load_29 | 39 | 0.001787 | 0.00044786 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1374-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0028276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1374-2_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.06769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1374-2_0_3_line_2 | NAYY 4x150 SE | 2 | 5 | 0.025176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1374-2_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.015652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1374-2_0_3_line_4 | NAYY 4x150 SE | 4 | 6 | 0.02764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1374-2_0_3_line_5 | NAYY 4x150 SE | 5 | 8 | 0.024918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1374-2_0_3_line_6 | NAYY 4x150 SE | 6 | 9 | 0.030843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_1374-2_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.045669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1374-2_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.025998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1374-2_0_3_line_9 | NAYY 4x150 SE | 8 | 11 | 0.066792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1374-2_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.0084498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1374-2_0_3_line_11 | NAYY 4x150 SE | 10 | 15 | 0.0004947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1374-2_0_3_line_12 | NAYY 4x150 SE | 11 | 25 | 0.014563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1374-2_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.12299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1374-2_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.030878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1374-2_0_3_line_15 | NAYY 4x150 SE | 14 | 39 | 0.0017383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1374-2_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.019089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1374-2_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.033137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1374-2_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.019552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1374-2_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.036228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1374-2_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.016341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1374-2_0_3_line_21 | NAYY 4x150 SE | 18 | 21 | 0.023661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1374-2_0_3_line_22 | NAYY 4x150 SE | 19 | 22 | 0.011462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1374-2_0_3_line_23 | NAYY 4x150 SE | 20 | 26 | 0.0028519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1374-2_0_3_line_24 | NAYY 4x150 SE | 21 | 27 | 0.032732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1374-2_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.012649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1374-2_0_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.020957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1374-2_0_3_line_27 | NAYY 4x150 SE | 27 | 38 | 0.0089493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1374-2_0_3_line_28 | NAYY 4x150 SE | 28 | 29 | 0.029831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1374-2_0_3_line_29 | NAYY 4x150 SE | 28 | 30 | 0.012578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1374-2_0_3_line_30 | NAYY 4x150 SE | 29 | 31 | 0.019299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1374-2_0_3_line_31 | NAYY 4x150 SE | 30 | 32 | 0.051391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1374-2_0_3_line_32 | NAYY 4x150 SE | 30 | 33 | 0.027384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1374-2_0_3_line_33 | NAYY 4x150 SE | 31 | 34 | 0.059114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1374-2_0_3_line_34 | NAYY 4x150 SE | 33 | 35 | 0.023672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1374-2_0_3_line_35 | NAYY 4x150 SE | 33 | 36 | 0.0096146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1374-2_0_3_line_36 | NAYY 4x150 SE | 34 | 37 | 0.0030246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1374-2_0_3_line_37 | NAYY 4x150 SE | 36 | 38 | 0.033813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1374-2_0_3_line_38 | NAYY 4x150 SE | 37 | 39 | 0.031354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1374-2_0_3_trafo_5 | 0.25 MVA 20/0.4 kV | 40 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2687461.8982 | 1212357.2337 | 2687459.1144 | 1212356.7381
1 | 2687461.8982 | 1212357.2337 | 2687457.8802 | 1212380.9461 | 2687453.3857 | 1212385.3498 | 2687416.1211 | 1212382.8604
2 | 2687391.0015 | 1212381.1823 | 2687416.1211 | 1212382.8604
3 | 2687347.3667 | 1212331.9822 | 2687344.9727 | 1212331.837 | 2687331.7195 | 1212331.8667
4 | 2687304.0798 | 1212331.9286 | 2687331.7195 | 1212331.8667
5 | 2687366.1387 | 1212379.5214 | 2687391.0015 | 1212381.1823
6 | 2687297.1023 | 1212361.9719 | 2687304.0798 | 1212331.9286
7 | 2687322.963 | 1212364.6395 | 2687366.1387 | 1212379.5214
8 | 2687322.963 | 1212364.6395 | 2687297.1023 | 1212361.9719
9 | 2687366.5548 | 1212429.151 | 2687350.6442 | 1212410.9726 | 2687349.5562 | 1212405.364 | 2687352.3651 | 1212383.7575 | 2687359.7735 | 1212379.0962 | 2687366.1387 | 1212379.5214
10 | 2687288.6971 | 1212361.1049 | 2687297.1023 | 1212361.9719
11 | 2687288.6971 | 1212361.1049 | 2687288.205 | 1212361.0541
12 | 2687366.5548 | 1212429.151 | 2687381.0994 | 1212429.8898
13 | 2687358.7911 | 1212173.3649 | 2687481.7305 | 1212176.776
14 | 2687334.3171 | 1212191.8878 | 2687341.6861 | 1212184.3021 | 2687358.7911 | 1212173.3649
15 | 2687334.3171 | 1212191.8878 | 2687333.1059 | 1212193.1347
16 | 2687288.205 | 1212361.0541 | 2687269.2163 | 1212359.0954
17 | 2687236.2538 | 1212355.6953 | 2687269.2163 | 1212359.0954
18 | 2687219.2153 | 1212346.0175 | 2687236.2538 | 1212355.6953
19 | 2687236.2538 | 1212355.6953 | 2687225.4577 | 1212373.7827 | 2687210.3173 | 1212372.9384
20 | 2687219.2153 | 1212346.0175 | 2687227.4022 | 1212331.8755
21 | 2687219.2153 | 1212346.0175 | 2687198.643 | 1212334.3279
22 | 2687210.3173 | 1212372.9384 | 2687198.8735 | 1212372.3002
23 | 2687227.4022 | 1212331.8755 | 2687228.831 | 1212329.4073
24 | 2687183.4079 | 1212309.1583 | 2687181.567 | 1212316.7699 | 2687192.2822 | 1212330.7136 | 2687198.643 | 1212334.3279
25 | 2687402.0292 | 1212430.9529 | 2687414.6623 | 1212431.5946
26 | 2687402.0292 | 1212430.9529 | 2687381.0994 | 1212429.8898
27 | 2687183.4079 | 1212309.1583 | 2687185.5117 | 1212300.4598
28 | 2687227.5018 | 1212236.6893 | 2687241.981 | 1212241.0919 | 2687256.3827 | 1212244.0247
29 | 2687215.7283 | 1212239.4958 | 2687223.1334 | 1212236.1018 | 2687226.2307 | 1212236.3028 | 2687227.5018 | 1212236.6893
30 | 2687275.2555 | 1212245.2258 | 2687269.2168 | 1212246.6384 | 2687256.3827 | 1212244.0247
31 | 2687215.7283 | 1212239.4958 | 2687222.7507 | 1212250.3168 | 2687230.8907 | 1212263.1665 | 2687235.1562 | 1212271.8124 | 2687240.6256 | 1212284.3066
32 | 2687195.7204 | 1212258.2491 | 2687215.7283 | 1212239.4958
33 | 2687309.1517 | 1212217.7935 | 2687307.2464 | 1212219.7548 | 2687300.3352 | 1212221.5882 | 2687288.3882 | 1212214.9756 | 2687283.8378 | 1212217.4885 | 2687281.3734 | 1212223.8789 | 2687280.4923 | 1212239.9433 | 2687275.2555 | 1212245.2258 | 2687275.2555 | 1212245.2258
34 | 2687195.7204 | 1212258.2491 | 2687190.9992 | 1212257.9021 | 2687186.4036 | 1212256.7564 | 2687182.0701 | 1212254.8362 | 2687178.1346 | 1212252.1992 | 2687174.7173 | 1212248.9359
35 | 2687195.7204 | 1212258.2491 | 2687193.4603 | 1212267.5943
36 | 2687309.1517 | 1212217.7935 | 2687311.2592 | 1212215.624
37 | 2687193.4603 | 1212267.5943 | 2687185.5117 | 1212300.4598
38 | 2687311.2592 | 1212215.624 | 2687333.1059 | 1212193.1347

## bus_geodata
| x | y | coords
0 | 2687459.1144 | 1212356.7381
1 | 2687461.8982 | 1212357.2337
2 | 2687416.1211 | 1212382.8604
3 | 2687347.3667 | 1212331.9822
4 | 2687331.7195 | 1212331.8667
5 | 2687391.0015 | 1212381.1823
6 | 2687304.0798 | 1212331.9286
7 | 2687322.963 | 1212364.6395
8 | 2687366.1387 | 1212379.5214
9 | 2687297.1023 | 1212361.9719
10 | 2687288.6971 | 1212361.1049
11 | 2687366.5548 | 1212429.151
12 | 2687481.7305 | 1212176.776
13 | 2687358.7911 | 1212173.3649
14 | 2687334.3171 | 1212191.8878
15 | 2687288.205 | 1212361.0541
16 | 2687269.2163 | 1212359.0954
17 | 2687236.2538 | 1212355.6953
18 | 2687219.2153 | 1212346.0175
19 | 2687210.3173 | 1212372.9384
20 | 2687227.4022 | 1212331.8755
21 | 2687198.643 | 1212334.3279
22 | 2687198.8735 | 1212372.3002
23 | 2687402.0292 | 1212430.9529
24 | 2687414.6623 | 1212431.5946
25 | 2687381.0994 | 1212429.8898
26 | 2687228.831 | 1212329.4073
27 | 2687183.4079 | 1212309.1583
28 | 2687227.5018 | 1212236.6893
29 | 2687256.3827 | 1212244.0247
30 | 2687215.7283 | 1212239.4958
31 | 2687275.2555 | 1212245.2258
32 | 2687240.6256 | 1212284.3066
33 | 2687195.7204 | 1212258.2491
34 | 2687309.1517 | 1212217.7935
35 | 2687174.7173 | 1212248.9359
36 | 2687193.4603 | 1212267.5943
37 | 2687311.2592 | 1212215.624
38 | 2687185.5117 | 1212300.4598
39 | 2687333.1059 | 1212193.1347
40 | 2687215.7283 | 1212239.4958

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99269 | -0.051105 | 0.0053151 | 0.0013321
1 | 0.99272 | -0.050952 | 0 | 0
2 | 0.99323 | -0.047308 | 0.0021061 | 0.00052785
3 | 0.99933 | -0.0046671 | 0.0071441 | 0.0017905
4 | 0.99949 | -0.0035497 | 0.0057148 | 0.0014323
5 | 0.9935 | -0.045417 | 0.00424 | 0.0010626
6 | 1 | 0 | -0.15482 | -0.038815
7 | 0.99563 | -0.030394 | 0.0076028 | 0.0019054
8 | 0.99392 | -0.042477 | 0.0045287 | 0.001135
9 | 0.9969 | -0.021548 | 0.0033369 | 0.00083632
10 | 0.99564 | -0.030247 | 0.015031 | 0.0037671
11 | 0.99296 | -0.049249 | 0 | 0
12 | 0.97568 | -0.17141 | 0.0024601 | 0.00061655
13 | 0.97613 | -0.16823 | 0.002357 | 0.00059072
14 | 0.97634 | -0.16667 | 0.0030486 | 0.00076406
15 | 0.99558 | -0.030683 | 0.0015039 | 0.00037692
16 | 0.99321 | -0.047224 | 0.0053608 | 0.0013436
17 | 0.98934 | -0.074314 | 0 | 0
18 | 0.98738 | -0.088132 | 0 | 0
19 | 0.98875 | -0.078494 | 0.0036408 | 0.00091247
20 | 0.98707 | -0.090364 | 0.0048938 | 0.0012265
21 | 0.98546 | -0.10168 | 0.012168 | 0.0030496
22 | 0.98863 | -0.079391 | 0.0076661 | 0.0019213
23 | 0.99263 | -0.051532 | 0.0024668 | 0.00061824
24 | 0.99261 | -0.051702 | 0.0013249 | 0.00033205
25 | 0.99275 | -0.050727 | 0.0062267 | 0.0015605
26 | 0.98703 | -0.090611 | 0.0084439 | 0.0021162
27 | 0.98339 | -0.1164 | 0.0076687 | 0.001922
28 | 0.97929 | -0.14554 | 0.0033877 | 0.00084904
29 | 0.97839 | -0.152 | 0.0020735 | 0.00051966
30 | 0.97974 | -0.14237 | 0 | 0
31 | 0.97786 | -0.15576 | 0.0069838 | 0.0017503
32 | 0.97955 | -0.14372 | 0.0025271 | 0.00063335
33 | 0.9808 | -0.13477 | 0 | 0
34 | 0.97685 | -0.16301 | 0.00091474 | 0.00022926
35 | 0.98072 | -0.13536 | 0.0023976 | 0.0006009
36 | 0.98121 | -0.13187 | 0.0055842 | 0.0013995
37 | 0.9768 | -0.16335 | 0.0011412 | 0.00028601
38 | 0.98292 | -0.11973 | 0.0012856 | 0.0003222
39 | 0.97636 | -0.16652 | 0.001787 | 0.00044786
40 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0053151 | -0.0013321 | 0.0053152 | 0.0013321 | 1.12e-07 | 6.5199e-09 | 0.0079672 | 0.0079672 | 0.0079672 | 0.99269 | -0.051105 | 0.99272 | -0.050952 | 2.9508
1 | -0.0053152 | -0.0013321 | 0.0053179 | 0.0013323 | 2.6811e-06 | 1.5556e-07 | 0.0079672 | 0.0079669 | 0.0079672 | 0.99272 | -0.050952 | 0.99323 | -0.047308 | 2.9508
2 | -0.0074241 | -0.0018601 | 0.007426 | 0.0018605 | 1.9433e-06 | 4.2151e-07 | 0.011122 | 0.011122 | 0.011122 | 0.99323 | -0.047308 | 0.9935 | -0.045417 | 4.1193
3 | -0.0071441 | -0.0017905 | 0.0071452 | 0.0017907 | 1.1052e-06 | 2.1997e-07 | 0.010638 | 0.010638 | 0.010638 | 0.99933 | -0.0046671 | 0.99949 | -0.0035497 | 3.9398
4 | -0.01286 | -0.0032229 | 0.012866 | 0.003225 | 6.3219e-06 | 2.0691e-06 | 0.019145 | 0.019145 | 0.019145 | 0.99949 | -0.0035497 | 1 | 0 | 7.0909
5 | -0.011666 | -0.0029232 | 0.011671 | 0.0029247 | 4.7469e-06 | 1.5029e-06 | 0.017473 | 0.017472 | 0.017473 | 0.9935 | -0.045417 | 0.99392 | -0.042477 | 6.4713
6 | 0.14116 | 0.03559 | -0.14073 | -0.035428 | 0.00042486 | 0.0001626 | 0.21012 | 0.21012 | 0.21012 | 1 | 0 | 0.9969 | -0.021548 | 38.9114
7 | 0.026274 | 0.0065899 | -0.02623 | -0.0065736 | 4.3944e-05 | 1.6309e-05 | 0.039269 | 0.039269 | 0.039269 | 0.99563 | -0.030394 | 0.99392 | -0.042477 | 14.5441
8 | -0.033876 | -0.0084954 | 0.033918 | 0.008511 | 4.1588e-05 | 1.5657e-05 | 0.050632 | 0.050631 | 0.050632 | 0.99563 | -0.030394 | 0.9969 | -0.021548 | 18.7524
9 | 0.01003 | 0.0025139 | -0.010021 | -0.0025112 | 9.3984e-06 | 2.75e-06 | 0.015017 | 0.015017 | 0.015017 | 0.99392 | -0.042477 | 0.99296 | -0.049249 | 5.5618
10 | 0.10348 | 0.02608 | -0.10335 | -0.026032 | 0.00012588 | 4.8304e-05 | 0.15451 | 0.15451 | 0.15451 | 0.9969 | -0.021548 | 0.99564 | -0.030247 | 57.2256
11 | 0.088322 | 0.022265 | -0.088317 | -0.022263 | 5.3823e-06 | 2.0637e-06 | 0.13205 | 0.13205 | 0.13205 | 0.99564 | -0.030247 | 0.99558 | -0.030683 | 48.9056
12 | 0.010021 | 0.0025112 | -0.010019 | -0.0025106 | 2.0493e-06 | 5.9985e-07 | 0.015017 | 0.015017 | 0.015017 | 0.99296 | -0.049249 | 0.99275 | -0.050727 | 5.5618
13 | -0.0024601 | -0.00061655 | 0.0024612 | 0.00061543 | 1.0801e-06 | -1.1212e-06 | 0.0037519 | 0.0037513 | 0.0037519 | 0.97568 | -0.17141 | 0.97613 | -0.16823 | 1.3896
14 | -0.0048182 | -0.0012062 | 0.0048192 | 0.0012062 | 1.0393e-06 | 1.3652e-08 | 0.0073444 | 0.0073442 | 0.0073444 | 0.97613 | -0.16823 | 0.97634 | -0.16667 | 2.7201
15 | -0.0078679 | -0.0019702 | 0.007868 | 0.0019703 | 1.5595e-07 | 3.8241e-08 | 0.011991 | 0.011991 | 0.011991 | 0.97634 | -0.16667 | 0.97636 | -0.16652 | 4.441
16 | 0.086813 | 0.021886 | -0.086612 | -0.021809 | 0.00020068 | 7.6938e-05 | 0.1298 | 0.1298 | 0.1298 | 0.99558 | -0.030683 | 0.99321 | -0.047224 | 48.0731
17 | 0.081251 | 0.020465 | -0.080945 | -0.020348 | 0.00030659 | 0.00011749 | 0.12177 | 0.12177 | 0.12177 | 0.99321 | -0.047224 | 0.98934 | -0.074314 | 45.0985
18 | 0.06963 | 0.017512 | -0.069496 | -0.017461 | 0.00013387 | 5.1236e-05 | 0.10475 | 0.10475 | 0.10475 | 0.98934 | -0.074314 | 0.98738 | -0.088132 | 38.7958
19 | 0.011314 | 0.0028361 | -0.011308 | -0.002834 | 6.5468e-06 | 2.0531e-06 | 0.017018 | 0.017018 | 0.017018 | 0.98934 | -0.074314 | 0.98875 | -0.078494 | 6.3028
20 | 0.013342 | 0.0033442 | -0.013338 | -0.0033428 | 4.1225e-06 | 1.3766e-06 | 0.020107 | 0.020107 | 0.020107 | 0.98738 | -0.088132 | 0.98707 | -0.090364 | 7.4471
21 | 0.056154 | 0.014116 | -0.056048 | -0.014076 | 0.00010578 | 4.0382e-05 | 0.084641 | 0.084642 | 0.084642 | 0.98738 | -0.088132 | 0.98546 | -0.10168 | 31.3487
22 | 0.0076671 | 0.0019215 | -0.0076661 | -0.0019213 | 9.522e-07 | 2.1925e-07 | 0.011538 | 0.011539 | 0.011539 | 0.98875 | -0.078494 | 0.98863 | -0.079391 | 4.2735
23 | 0.0084442 | 0.0021163 | -0.0084439 | -0.0021162 | 2.8838e-07 | 7.4462e-08 | 0.01273 | 0.01273 | 0.01273 | 0.98707 | -0.090364 | 0.98703 | -0.090611 | 4.7147
24 | 0.04388 | 0.011026 | -0.043791 | -0.010992 | 8.9695e-05 | 3.4082e-05 | 0.066268 | 0.066268 | 0.066268 | 0.98546 | -0.10168 | 0.98339 | -0.1164 | 24.5438
25 | 0.0013249 | 0.00033189 | -0.0013249 | -0.00033205 | 3.1135e-08 | -1.5154e-07 | 0.0019861 | 0.0019861 | 0.0019861 | 0.99263 | -0.051532 | 0.99261 | -0.051702 | 0.7356
26 | -0.0037917 | -0.00095013 | 0.0037921 | 0.00095003 | 4.2248e-07 | -1.0844e-07 | 0.005684 | 0.0056839 | 0.005684 | 0.99263 | -0.051532 | 0.99275 | -0.050727 | 2.1052
27 | 0.036122 | 0.0090704 | -0.036105 | -0.0090641 | 1.6687e-05 | 6.3046e-06 | 0.054664 | 0.054664 | 0.054664 | 0.98339 | -0.1164 | 0.98292 | -0.11973 | 20.246
28 | 0.020813 | 0.0052188 | -0.020794 | -0.0052121 | 1.8618e-05 | 6.786e-06 | 0.031626 | 0.031626 | 0.031626 | 0.97929 | -0.14554 | 0.97839 | -0.152 | 11.7134
29 | -0.024201 | -0.0060679 | 0.024211 | 0.0060718 | 1.0614e-05 | 3.9239e-06 | 0.036774 | 0.036774 | 0.036774 | 0.97929 | -0.14554 | 0.97974 | -0.14237 | 13.6198
30 | 0.018721 | 0.0046924 | -0.018711 | -0.0046889 | 9.763e-06 | 3.5128e-06 | 0.028473 | 0.028473 | 0.028473 | 0.97839 | -0.152 | 0.97786 | -0.15576 | 10.5455
31 | 0.0025276 | 0.00063289 | -0.0025271 | -0.00063335 | 4.7256e-07 | -4.6529e-07 | 0.0038387 | 0.0038389 | 0.0038389 | 0.97974 | -0.14237 | 0.97955 | -0.14372 | 1.4218
32 | -0.026739 | -0.0067047 | 0.026767 | 0.0067152 | 2.8183e-05 | 1.0495e-05 | 0.040612 | 0.040612 | 0.040612 | 0.97974 | -0.14237 | 0.9808 | -0.13477 | 15.0415
33 | 0.011727 | 0.0029386 | -0.011716 | -0.0029348 | 1.1747e-05 | 3.7773e-06 | 0.017845 | 0.017846 | 0.017846 | 0.97786 | -0.15576 | 0.97685 | -0.16301 | 6.6095
34 | 0.0023978 | 0.00060067 | -0.0023976 | -0.0006009 | 1.9548e-07 | -2.2355e-07 | 0.0036377 | 0.0036378 | 0.0036378 | 0.9808 | -0.13477 | 0.98072 | -0.13536 | 1.3473
35 | -0.029165 | -0.0073159 | 0.029177 | 0.0073203 | 1.1747e-05 | 4.3968e-06 | 0.04425 | 0.04425 | 0.04425 | 0.9808 | -0.13477 | 0.98121 | -0.13187 | 16.3888
36 | 0.010801 | 0.0027055 | -0.0108 | -0.0027054 | 5.1087e-07 | 1.5863e-07 | 0.016452 | 0.016452 | 0.016452 | 0.97685 | -0.16301 | 0.9768 | -0.16335 | 6.0935
37 | -0.034761 | -0.0087198 | 0.03482 | 0.0087419 | 5.8639e-05 | 2.2126e-05 | 0.052718 | 0.052718 | 0.052718 | 0.98121 | -0.13187 | 0.98292 | -0.11973 | 19.5253
38 | 0.0096592 | 0.0024194 | -0.009655 | -0.0024181 | 4.2358e-06 | 1.2368e-06 | 0.014714 | 0.014714 | 0.014714 | 0.9768 | -0.16335 | 0.97636 | -0.16652 | 5.4496

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.15664 | 0.039269

## res_load
| p_mw | q_mvar
0 | 0.0053151 | 0.0013321
1 | 0.0021061 | 0.00052785
2 | 0.0071441 | 0.0017905
3 | 0.0057148 | 0.0014323
4 | 0.00424 | 0.0010626
5 | 0.0018113 | 0.00045397
6 | 0.0076028 | 0.0019054
7 | 0.0045287 | 0.001135
8 | 0.0033369 | 0.00083632
9 | 0.015031 | 0.0037671
10 | 0.0024601 | 0.00061655
11 | 0.002357 | 0.00059072
12 | 0.0030486 | 0.00076406
13 | 0.0015039 | 0.00037692
14 | 0.0053608 | 0.0013436
15 | 0.0036408 | 0.00091247
16 | 0.0048938 | 0.0012265
17 | 0.012168 | 0.0030496
18 | 0.0076661 | 0.0019213
19 | 0.0024668 | 0.00061824
20 | 0.0013249 | 0.00033205
21 | 0.0062267 | 0.0015605
22 | 0.0084439 | 0.0021162
23 | 0.0076687 | 0.001922
24 | 0.0033877 | 0.00084904
25 | 0.0020735 | 0.00051966
26 | 0.0069838 | 0.0017503
27 | 0.0025271 | 0.00063335
28 | 0.00091474 | 0.00022926
29 | 0.0023976 | 0.0006009
30 | 0.0055842 | 0.0013995
31 | 0.0011412 | 0.00028601
32 | 0.0012856 | 0.0003222
33 | 0.001787 | 0.00044786

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1