## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1375-11_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1375-11_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1375-11_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1375-11_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1375-11_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1375-11_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1375-11_0_6_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_1375-11_0_6_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_1375-11_0_6_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_1375-11_0_6_node_69 | 0.4 | n |  | TRUE
10 | bus_LV_1375-11_0_6_node_70 | 0.4 | n |  | TRUE
11 | bus_LV_1375-11_0_6_node_30 | 0.4 | n |  | TRUE
12 | bus_LV_1375-11_0_6_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_1375-11_0_6_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_1375-11_0_6_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_1375-11_0_6_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_1375-11_0_6_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_1375-11_0_6_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1375-11_0_6_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_1375-11_0_6_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_1375-11_0_6_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_1375-11_0_6_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_1375-11_0_6_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1375-11_0_6_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_1375-11_0_6_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_1375-11_0_6_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1375-11_0_6_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_1375-11_0_6_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_1375-11_0_6_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_1375-11_0_6_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_1375-11_0_6_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_1375-11_0_6_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_1375-11_0_6_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_1375-11_0_6_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_1375-11_0_6_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_1375-11_0_6_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_1375-11_0_6_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_1375-11_0_6_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_1375-11_0_6_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_1375-11_0_6_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_1375-11_0_6_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_1375-11_0_6_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_1375-11_0_6_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_1375-11_0_6_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_1375-11_0_6_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_1375-11_0_6_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_1375-11_0_6_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_1375-11_0_6_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_1375-11_0_6_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_1375-11_0_6_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_1375-11_0_6_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_1375-11_0_6_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_1375-11_0_6_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_1375-11_0_6_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_1375-11_0_6_node_67 | 0.4 | n |  | TRUE
55 | bus_LV_1375-11_0_6_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_1375-11_0_6_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_1375-11_0_6_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_1375-11_0_6_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_1375-11_0_6_node_72 | 0.4 | n |  | TRUE
60 | bus_LV_1375-11_0_6_node_75 | 0.4 | n |  | TRUE
61 | bus_LV_1375-11_0_6_node_71 | 0.4 | n |  | TRUE
62 | bus_LV_1375-11_0_6_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_1375-11_0_6_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_1375-11_0_6_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_1375-11_0_6_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_1375-11_0_6_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_1375-11_0_6_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_1375-11_0_6_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_1375-11_0_6_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_1375-11_0_6_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_1375-11_0_6_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_1375-11_0_6_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_1375-11_0_6_node_76 | 0.4 | n |  | TRUE
74 | bus_LV_1375-11_0_6_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_1375-11_0_6_node_73 | 0.4 | n |  | TRUE
76 | bus_MV_135_0_node_19 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1375-11_0_6_load_0 | 0 | 0.0054576 | 0.0013678 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1375-11_0_6_load_1 | 1 | 0.0036258 | 0.00090872 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1375-11_0_6_load_3 | 3 | 0.0043847 | 0.0010989 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1375-11_0_6_load_5 | 5 | 0.0044196 | 0.0011077 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1375-11_0_6_load_13 | 6 | 0.0042295 | 0.00106 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1375-11_0_6_load_69 | 9 | 0.0037249 | 0.00093356 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1375-11_0_6_load_70 | 10 | 0.0011159 | 0.00027968 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1375-11_0_6_load_30 | 11 | 0.010102 | 0.0025319 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1375-11_0_6_load_17 | 12 | 0.0049861 | 0.0012496 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1375-11_0_6_load_18 | 13 | 0.0059985 | 0.0015034 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1375-11_0_6_load_25 | 14 | 0.004641 | 0.0011631 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1375-11_0_6_load_6 | 15 | 0.0046894 | 0.0011753 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1375-11_0_6_load_7 | 16 | 0.0026263 | 0.00065822 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1375-11_0_6_load_14 | 17 | 0.0049284 | 0.0012352 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1375-11_0_6_load_8 | 18 | 0.0041389 | 0.0010373 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1375-11_0_6_load_11 | 20 | 0.0052994 | 0.0013281 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1375-11_0_6_load_21 | 21 | 0.006563 | 0.0016449 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1375-11_0_6_load_12 | 22 | 0.011392 | 0.0028552 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1375-11_0_6_load_31 | 23 | 0.0041795 | 0.0010475 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1375-11_0_6_load_22 | 24 | 0.0025457 | 0.00063801 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1375-11_0_6_load_20 | 25 | 0.002351 | 0.00058922 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1375-11_0_6_load_29 | 26 | 0.003631 | 0.00091001 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1375-11_0_6_load_23 | 27 | 0.012057 | 0.0030217 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1375-11_0_6_load_19 | 28 | 0.0033442 | 0.00083813 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1375-11_0_6_load_26 | 29 | 0.0016891 | 0.00042333 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1375-11_0_6_load_27 | 30 | 0.0053388 | 0.001338 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1375-11_0_6_load_24 | 31 | 0.00396 | 0.00099246 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1375-11_0_6_load_28 | 32 | 0.003041 | 0.00076214 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1375-11_0_6_load_32 | 33 | 0.00077295 | 0.00019372 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1375-11_0_6_load_34 | 35 | 0.0040845 | 0.0010237 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1375-11_0_6_load_44 | 37 | 0.0020678 | 0.00051823 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1375-11_0_6_load_39 | 38 | 0.001433 | 0.00035916 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1375-11_0_6_load_45 | 39 | 0.004092 | 0.0010256 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1375-11_0_6_load_37 | 40 | 0.0011387 | 0.00028539 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1375-11_0_6_load_36 | 41 | 0.0042509 | 0.0010654 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1375-11_0_6_load_40 | 43 | 0.0020975 | 0.00052569 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1375-11_0_6_load_41 | 44 | 0.00093055 | 0.00023322 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1375-11_0_6_load_42 | 45 | 0.0014602 | 0.00036595 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1375-11_0_6_load_46 | 46 | 0.0019566 | 0.00049037 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1375-11_0_6_load_47 | 48 | 0.0039788 | 0.00099719 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1375-11_0_6_load_48 | 49 | 0.0020269 | 0.00050799 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1375-11_0_6_load_49 | 50 | 0.0024946 | 0.00062522 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1375-11_0_6_load_56 | 51 | 0.00086253 | 0.00021617 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1375-11_0_6_load_55 | 53 | 0.0022063 | 0.00055296 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1375-11_0_6_load_67 | 54 | 0.0063577 | 0.0015934 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1375-11_0_6_load_50 | 56 | 0.0074949 | 0.0018784 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1375-11_0_6_load_52 | 57 | 0.0035172 | 0.00088148 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1375-11_0_6_load_54 | 58 | 0.00090933 | 0.0002279 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1375-11_0_6_load_72 | 59 | 0.0038067 | 0.00095404 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1375-11_0_6_load_75 | 60 | 0.0032258 | 0.00080845 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1375-11_0_6_load_71 | 61 | 0.0043339 | 0.0010862 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1375-11_0_6_load_58 | 63 | 0.0025843 | 0.00064769 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1375-11_0_6_load_60 | 65 | 0.0024013 | 0.00060183 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1375-11_0_6_load_61 | 66 | 0.00094635 | 0.00023718 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1375-11_0_6_load_62 | 67 | 0.00085867 | 0.0002152 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1375-11_0_6_load_63 | 68 | 0.0046506 | 0.0011655 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1375-11_0_6_load_64 | 69 | 0.002494 | 0.00062505 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1375-11_0_6_load_65 | 70 | 0.0041725 | 0.0010457 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1375-11_0_6_load_66 | 71 | 0.0041013 | 0.0010279 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1375-11_0_6_load_68 | 72 | 0.0053403 | 0.0013384 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1375-11_0_6_load_76 | 73 | 0.0034886 | 0.00087432 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1375-11_0_6_load_73 | 75 | 0.0076779 | 0.0019243 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1375-11_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.013565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1375-11_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.011159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1375-11_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.01568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1375-11_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.033262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1375-11_0_6_line_4 | NAYY 4x150 SE | 2 | 5 | 0.01494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1375-11_0_6_line_5 | NAYY 4x150 SE | 4 | 14 | 0.017757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1375-11_0_6_line_6 | NAYY 4x150 SE | 5 | 15 | 0.029799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1375-11_0_6_line_7 | NAYY 4x150 SE | 5 | 8 | 0.060815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1375-11_0_6_line_8 | NAYY 4x150 SE | 6 | 7 | 0.030011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1375-11_0_6_line_9 | NAYY 4x150 SE | 6 | 8 | 0.02005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1375-11_0_6_line_10 | NAYY 4x150 SE | 7 | 12 | 0.026811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1375-11_0_6_line_11 | NAYY 4x150 SE | 7 | 13 | 0.0032541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1375-11_0_6_line_12 | NAYY 4x150 SE | 8 | 17 | 0.011816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1375-11_0_6_line_13 | NAYY 4x150 SE | 8 | 18 | 0.016036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1375-11_0_6_line_14 | NAYY 4x150 SE | 9 | 10 | 0.015385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_1375-11_0_6_line_15 | NAYY 4x150 SE | 9 | 11 | 0.2358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_1375-11_0_6_line_16 | NAYY 4x150 SE | 10 | 61 | 0.016714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_1375-11_0_6_line_17 | NAYY 4x150 SE | 11 | 32 | 0.0030969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_1375-11_0_6_line_18 | NAYY 4x150 SE | 12 | 29 | 0.007794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1375-11_0_6_line_19 | NAYY 4x150 SE | 15 | 16 | 0.017731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1375-11_0_6_line_20 | NAYY 4x150 SE | 17 | 24 | 0.022925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1375-11_0_6_line_21 | NAYY 4x150 SE | 18 | 19 | 0.020831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1375-11_0_6_line_22 | NAYY 4x150 SE | 19 | 22 | 0.031199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1375-11_0_6_line_23 | NAYY 4x150 SE | 19 | 20 | 0.0074583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1375-11_0_6_line_24 | NAYY 4x150 SE | 20 | 21 | 0.012328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1375-11_0_6_line_25 | NAYY 4x150 SE | 21 | 25 | 0.030661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1375-11_0_6_line_26 | NAYY 4x150 SE | 22 | 23 | 0.014983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_1375-11_0_6_line_27 | NAYY 4x150 SE | 23 | 26 | 0.023542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_1375-11_0_6_line_28 | NAYY 4x150 SE | 24 | 27 | 0.0023023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1375-11_0_6_line_29 | NAYY 4x150 SE | 25 | 28 | 0.0042534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1375-11_0_6_line_30 | NAYY 4x150 SE | 26 | 32 | 0.023127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_1375-11_0_6_line_31 | NAYY 4x150 SE | 27 | 31 | 0.0090611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1375-11_0_6_line_32 | NAYY 4x150 SE | 29 | 30 | 0.0094654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1375-11_0_6_line_33 | NAYY 4x150 SE | 33 | 34 | 0.029465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1375-11_0_6_line_34 | NAYY 4x150 SE | 34 | 35 | 0.053603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1375-11_0_6_line_35 | NAYY 4x150 SE | 34 | 36 | 0.008288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1375-11_0_6_line_36 | NAYY 4x150 SE | 36 | 37 | 0.018964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1375-11_0_6_line_37 | NAYY 4x150 SE | 36 | 38 | 0.015551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1375-11_0_6_line_38 | NAYY 4x150 SE | 37 | 39 | 0.013202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1375-11_0_6_line_39 | NAYY 4x150 SE | 38 | 40 | 0.004845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1375-11_0_6_line_40 | NAYY 4x150 SE | 40 | 41 | 0.014101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1375-11_0_6_line_41 | NAYY 4x150 SE | 41 | 42 | 0.021289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1375-11_0_6_line_42 | NAYY 4x150 SE | 42 | 43 | 0.0031899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1375-11_0_6_line_43 | NAYY 4x150 SE | 42 | 44 | 0.0092498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1375-11_0_6_line_44 | NAYY 4x150 SE | 43 | 45 | 0.018289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1375-11_0_6_line_45 | NAYY 4x150 SE | 44 | 46 | 0.0024832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1375-11_0_6_line_46 | NAYY 4x150 SE | 45 | 47 | 0.0029655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1375-11_0_6_line_47 | NAYY 4x150 SE | 46 | 48 | 0.021435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1375-11_0_6_line_48 | NAYY 4x150 SE | 47 | 49 | 0.014739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1375-11_0_6_line_49 | NAYY 4x150 SE | 47 | 50 | 0.021622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1375-11_0_6_line_50 | NAYY 4x150 SE | 49 | 51 | 0.022849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1375-11_0_6_line_51 | NAYY 4x150 SE | 50 | 52 | 0.021587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_1375-11_0_6_line_52 | NAYY 4x150 SE | 51 | 53 | 0.013042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1375-11_0_6_line_53 | NAYY 4x150 SE | 52 | 54 | 0.017317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1375-11_0_6_line_54 | NAYY 4x150 SE | 52 | 55 | 0.010674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_1375-11_0_6_line_55 | NAYY 4x150 SE | 53 | 62 | 0.013277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1375-11_0_6_line_56 | NAYY 4x150 SE | 54 | 60 | 0.035797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1375-11_0_6_line_57 | NAYY 4x150 SE | 55 | 57 | 0.030198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1375-11_0_6_line_58 | NAYY 4x150 SE | 55 | 58 | 0.017644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
59 | LV_1375-11_0_6_line_59 | NAYY 4x150 SE | 55 | 56 | 0.033362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1375-11_0_6_line_60 | NAYY 4x150 SE | 58 | 59 | 0.031469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_1375-11_0_6_line_61 | NAYY 4x150 SE | 59 | 61 | 0.015723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
62 | LV_1375-11_0_6_line_62 | NAYY 4x150 SE | 60 | 74 | 0.021738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1375-11_0_6_line_63 | NAYY 4x150 SE | 62 | 63 | 0.007772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1375-11_0_6_line_64 | NAYY 4x150 SE | 62 | 64 | 0.041835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1375-11_0_6_line_65 | NAYY 4x150 SE | 64 | 65 | 0.020158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1375-11_0_6_line_66 | NAYY 4x150 SE | 65 | 66 | 0.011661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1375-11_0_6_line_67 | NAYY 4x150 SE | 66 | 67 | 0.00922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1375-11_0_6_line_68 | NAYY 4x150 SE | 67 | 68 | 0.013275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1375-11_0_6_line_69 | NAYY 4x150 SE | 68 | 69 | 3.4934e-06 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_1375-11_0_6_line_70 | NAYY 4x150 SE | 69 | 70 | 0.022518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_1375-11_0_6_line_71 | NAYY 4x150 SE | 70 | 71 | 0.00050363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_1375-11_0_6_line_72 | NAYY 4x150 SE | 71 | 72 | 0.023619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_1375-11_0_6_line_73 | NAYY 4x150 SE | 72 | 73 | 0.0012717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_1375-11_0_6_line_74 | NAYY 4x150 SE | 74 | 75 | 0.047367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1375-11_0_6_trafo_30 | 0.25 MVA 20/0.4 kV | 76 | 11 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2703645.7207 | 1213376.6337 | 2703643.8468 | 1213390.069
1 | 2703647.2622 | 1213365.5816 | 2703645.7207 | 1213376.6337
2 | 2703641.6808 | 1213405.5982 | 2703643.8468 | 1213390.069
3 | 2703647.2622 | 1213365.5816 | 2703680.4891 | 1213368.5502
4 | 2703647.2622 | 1213365.5816 | 2703648.7335 | 1213350.7146
5 | 2703680.4891 | 1213368.5502 | 2703680.2579 | 1213361.7525 | 2703679.6939 | 1213358.7961 | 2703677.3997 | 1213351.1893
6 | 2703648.7335 | 1213350.7146 | 2703651.6683 | 1213321.06 | 2703651.6683 | 1213321.06
7 | 2703588.9111 | 1213339.7717 | 2703648.7335 | 1213350.7146
8 | 2703582.6761 | 1213389.4431 | 2703586.4139 | 1213359.6656
9 | 2703588.9111 | 1213339.7717 | 2703586.4139 | 1213359.6656
10 | 2703582.6761 | 1213389.4431 | 2703572.5484 | 1213388.5555 | 2703568.9896 | 1213388.7271 | 2703565.5363 | 1213389.3898 | 2703559.9818 | 1213391.6061 | 2703556.8208 | 1213393.2976
11 | 2703582.6761 | 1213389.4431 | 2703582.2505 | 1213392.6693
12 | 2703588.9111 | 1213339.7717 | 2703577.4796 | 1213338.2721 | 2703577.1933 | 1213338.2816
13 | 2703588.9111 | 1213339.7717 | 2703590.9095 | 1213323.8609
14 | 2703437.4096 | 1213054.8277 | 2703423.7184 | 1213047.8105
15 | 2703437.4096 | 1213054.8277 | 2703519.5782 | 1213275.8473
16 | 2703408.8445 | 1213040.1871 | 2703423.7184 | 1213047.8105
17 | 2703518.4718 | 1213278.7399 | 2703519.5782 | 1213275.8473
18 | 2703550.1499 | 1213397.3171 | 2703554.3066 | 1213394.643 | 2703556.8208 | 1213393.2976
19 | 2703659.6815 | 1213305.75 | 2703656.9168 | 1213308.4867 | 2703654.8009 | 1213311.3186 | 2703653.45 | 1213313.8525 | 2703652.4842 | 1213316.9601 | 2703651.6683 | 1213321.06
20 | 2703557.7581 | 1213346.6613 | 2703559.4671 | 1213343.3963 | 2703561.1893 | 1213341.3581 | 2703563.6761 | 1213339.9113 | 2703568.9042 | 1213338.5567 | 2703577.1933 | 1213338.2816
21 | 2703593.5054 | 1213303.1923 | 2703590.9095 | 1213323.8609
22 | 2703593.5054 | 1213303.1923 | 2703588.1973 | 1213304.779 | 2703582.893 | 1213306.1434 | 2703574.5562 | 1213306.6878 | 2703562.7524 | 1213305.9439
23 | 2703593.5054 | 1213303.1923 | 2703594.4341 | 1213295.792
24 | 2703594.4341 | 1213295.792 | 2703595.9691 | 1213283.5598
25 | 2703599.7956 | 1213253.1382 | 2703599.6439 | 1213254.2753 | 2703595.9691 | 1213283.5598
26 | 2703547.8911 | 1213304.1004 | 2703559.4529 | 1213305.736 | 2703562.7524 | 1213305.9439
27 | 2703547.8911 | 1213304.1004 | 2703533.1982 | 1213302.022 | 2703528.8113 | 1213300.8783 | 2703524.9886 | 1213299.2132
28 | 2703557.7581 | 1213346.6613 | 2703556.6905 | 1213348.7011
29 | 2703599.7956 | 1213253.1382 | 2703600.3579 | 1213248.9222
30 | 2703518.4718 | 1213278.7399 | 2703517.2894 | 1213281.8315 | 2703519.2384 | 1213292.5396 | 2703521.5069 | 1213296.226 | 2703524.6638 | 1213299.0717 | 2703524.9886 | 1213299.2132
31 | 2703552.4885 | 1213356.729 | 2703556.6905 | 1213348.7011
32 | 2703542.1895 | 1213402.4381 | 2703550.1499 | 1213397.3171
33 | 2703276.3843 | 1212980.8752 | 2703267.36 | 1212982.042 | 2703259.0966 | 1212983.1553 | 2703257.129 | 1212984.0107 | 2703253.9379 | 1212986.1903 | 2703249.4586 | 1212990.2087
34 | 2703276.3843 | 1212980.8752 | 2703277.329 | 1212987.3072 | 2703277.9714 | 1212989.6978 | 2703279.5153 | 1212992.2486 | 2703282.7738 | 1212995.385 | 2703287.9408 | 1212998.4433 | 2703295.0738 | 1213001.6136 | 2703300.1143 | 1213002.7683 | 2703305.5984 | 1213002.8745 | 2703318.3598 | 1213002.651
35 | 2703276.3843 | 1212980.8752 | 2703279.9236 | 1212980.9588 | 2703284.6629 | 1212981.519
36 | 2703284.6629 | 1212981.519 | 2703280.3419 | 1212973.483 | 2703278.7913 | 1212970.8876 | 2703277.1957 | 1212966.935 | 2703276.5513 | 1212964.4637
37 | 2703284.6629 | 1212981.519 | 2703291.835 | 1212981.9991 | 2703296.7942 | 1212981.707 | 2703300.1662 | 1212981.3147
38 | 2703273.22 | 1212951.6887 | 2703276.5513 | 1212964.4637
39 | 2703300.1662 | 1212981.3147 | 2703304.9787 | 1212980.7549
40 | 2703318.985 | 1212979.1254 | 2703304.9787 | 1212980.7549
41 | 2703340.1312 | 1212976.6653 | 2703318.985 | 1212979.1254
42 | 2703340.1312 | 1212976.6653 | 2703343.2997 | 1212976.2966
43 | 2703340.1312 | 1212976.6653 | 2703341.5094 | 1212985.8118
44 | 2703343.2997 | 1212976.2966 | 2703361.4657 | 1212974.1824
45 | 2703341.8794 | 1212988.2673 | 2703341.5094 | 1212985.8118
46 | 2703364.4113 | 1212973.8396 | 2703361.4657 | 1212974.1824
47 | 2703338.301 | 1213008.6007 | 2703342.0889 | 1213001.3612 | 2703342.839 | 1212998.4165 | 2703342.8978 | 1212995.0263 | 2703341.8794 | 1212988.2673
48 | 2703364.4113 | 1212973.8396 | 2703355.0402 | 1212962.4629
49 | 2703364.4113 | 1212973.8396 | 2703386.0333 | 1212973.7084
50 | 2703340.5129 | 1212944.8265 | 2703355.0402 | 1212962.4629
51 | 2703407.62 | 1212973.5773 | 2703386.0333 | 1212973.7084
52 | 2703332.2211 | 1212934.76 | 2703340.5129 | 1212944.8265
53 | 2703407.62 | 1212973.5773 | 2703424.9305 | 1212973.1122
54 | 2703407.62 | 1212973.5773 | 2703406.9191 | 1212979.814 | 2703405.9898 | 1212983.0113 | 2703405.6003 | 1212984.0053
55 | 2703323.7796 | 1212924.5118 | 2703332.2211 | 1212934.76
56 | 2703424.9305 | 1212973.1122 | 2703460.7142 | 1212972.1507
57 | 2703409.6249 | 1213013.9295 | 2703405.6003 | 1212984.0053
58 | 2703405.6003 | 1212984.0053 | 2703404.5272 | 1212986.733 | 2703402.954 | 1212992.0095 | 2703401.1121 | 1213001.0299
59 | 2703405.6003 | 1212984.0053 | 2703400.6436 | 1212987.6552 | 2703397.8954 | 1212989.709 | 2703393.4433 | 1212991.4331 | 2703374.8323 | 1212995.2646
60 | 2703395.7106 | 1213031.8792 | 2703395.4996 | 1213031.4526 | 2703395.419 | 1213030.406 | 2703395.522 | 1213028.4064 | 2703401.1121 | 1213001.0299
61 | 2703408.8445 | 1213040.1871 | 2703400.4527 | 1213035.8861 | 2703397.3427 | 1213033.8307 | 2703395.9767 | 1213032.4171 | 2703395.7106 | 1213031.8792
62 | 2703482.4439 | 1212971.6515 | 2703481.0314 | 1212971.6048 | 2703460.7142 | 1212972.1507
63 | 2703323.7796 | 1212924.5118 | 2703318.4834 | 1212930.213
64 | 2703351.0605 | 1212892.8065 | 2703346.3913 | 1212898.7186 | 2703323.7796 | 1212924.5118
65 | 2703351.0605 | 1212892.8065 | 2703368.0569 | 1212903.6452
66 | 2703368.0569 | 1212903.6452 | 2703377.8887 | 1212909.9151
67 | 2703377.8887 | 1212909.9151 | 2703385.6626 | 1212914.8726
68 | 2703385.6626 | 1212914.8726 | 2703389.7568 | 1212917.4835 | 2703396.937 | 1212921.8805
69 | 2703396.94 | 1212921.8823 | 2703396.937 | 1212921.8805
70 | 2703396.94 | 1212921.8823 | 2703416.1434 | 1212933.642
71 | 2703416.5729 | 1212933.905 | 2703416.1434 | 1212933.642
72 | 2703436.7155 | 1212946.2399 | 2703416.5729 | 1212933.905
73 | 2703437.8 | 1212946.904 | 2703436.7155 | 1212946.2399
74 | 2703482.4439 | 1212971.6515 | 2703480.9312 | 1212973.4377 | 2703479.5793 | 1212975.5935 | 2703479.1071 | 1212977.8425 | 2703479.2854 | 1212997.7708 | 2703478.8983 | 1212999.9323 | 2703478.1022 | 1213000.7079 | 2703476.3507 | 1213000.9332 | 2703461.1727 | 1213000.6261

## bus_geodata
| x | y | coords
0 | 2703645.7207 | 1213376.6337
1 | 2703643.8468 | 1213390.069
2 | 2703647.2622 | 1213365.5816
3 | 2703641.6808 | 1213405.5982
4 | 2703680.4891 | 1213368.5502
5 | 2703648.7335 | 1213350.7146
6 | 2703586.4139 | 1213359.6656
7 | 2703582.6761 | 1213389.4431
8 | 2703588.9111 | 1213339.7717
9 | 2703437.4096 | 1213054.8277
10 | 2703423.7184 | 1213047.8105
11 | 2703519.5782 | 1213275.8473
12 | 2703556.8208 | 1213393.2976
13 | 2703582.2505 | 1213392.6693
14 | 2703677.3997 | 1213351.1893
15 | 2703651.6683 | 1213321.06
16 | 2703659.6815 | 1213305.75
17 | 2703577.1933 | 1213338.2816
18 | 2703590.9095 | 1213323.8609
19 | 2703593.5054 | 1213303.1923
20 | 2703594.4341 | 1213295.792
21 | 2703595.9691 | 1213283.5598
22 | 2703562.7524 | 1213305.9439
23 | 2703547.8911 | 1213304.1004
24 | 2703557.7581 | 1213346.6613
25 | 2703599.7956 | 1213253.1382
26 | 2703524.9886 | 1213299.2132
27 | 2703556.6905 | 1213348.7011
28 | 2703600.3579 | 1213248.9222
29 | 2703550.1499 | 1213397.3171
30 | 2703542.1895 | 1213402.4381
31 | 2703552.4885 | 1213356.729
32 | 2703518.4718 | 1213278.7399
33 | 2703249.4586 | 1212990.2087
34 | 2703276.3843 | 1212980.8752
35 | 2703318.3598 | 1213002.651
36 | 2703284.6629 | 1212981.519
37 | 2703276.5513 | 1212964.4637
38 | 2703300.1662 | 1212981.3147
39 | 2703273.22 | 1212951.6887
40 | 2703304.9787 | 1212980.7549
41 | 2703318.985 | 1212979.1254
42 | 2703340.1312 | 1212976.6653
43 | 2703343.2997 | 1212976.2966
44 | 2703341.5094 | 1212985.8118
45 | 2703361.4657 | 1212974.1824
46 | 2703341.8794 | 1212988.2673
47 | 2703364.4113 | 1212973.8396
48 | 2703338.301 | 1213008.6007
49 | 2703355.0402 | 1212962.4629
50 | 2703386.0333 | 1212973.7084
51 | 2703340.5129 | 1212944.8265
52 | 2703407.62 | 1212973.5773
53 | 2703332.2211 | 1212934.76
54 | 2703424.9305 | 1212973.1122
55 | 2703405.6003 | 1212984.0053
56 | 2703374.8323 | 1212995.2646
57 | 2703409.6249 | 1213013.9295
58 | 2703401.1121 | 1213001.0299
59 | 2703395.7106 | 1213031.8792
60 | 2703460.7142 | 1212972.1507
61 | 2703408.8445 | 1213040.1871
62 | 2703323.7796 | 1212924.5118
63 | 2703318.4834 | 1212930.213
64 | 2703351.0605 | 1212892.8065
65 | 2703368.0569 | 1212903.6452
66 | 2703377.8887 | 1212909.9151
67 | 2703385.6626 | 1212914.8726
68 | 2703396.937 | 1212921.8805
69 | 2703396.94 | 1212921.8823
70 | 2703416.1434 | 1212933.642
71 | 2703416.5729 | 1212933.905
72 | 2703436.7155 | 1212946.2399
73 | 2703437.8 | 1212946.904
74 | 2703482.4439 | 1212971.6515
75 | 2703461.1727 | 1213000.6261
76 | 2703504.6608 | 1213269.6259

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9843 | -0.11021 | 0.0054576 | 0.0013678
1 | 0.98414 | -0.11133 | 0.0036258 | 0.00090872
2 | 0.98452 | -0.10866 | 0 | 0
3 | 0.98404 | -0.11204 | 0.0043847 | 0.0010989
4 | 0.98429 | -0.11025 | 0 | 0
5 | 0.98491 | -0.10587 | 0.0044196 | 0.0011077
6 | 0.98689 | -0.091808 | 0.0042295 | 0.00106
7 | 0.98611 | -0.097354 | 0 | 0
8 | 0.98754 | -0.087239 | 0 | 0
9 | 0.98751 | -0.086735 | 0.0037249 | 0.00093356
10 | 0.98672 | -0.092272 | 0.0011159 | 0.00027968
11 | 1 | 0 | -0.23305 | -0.058668
12 | 0.98564 | -0.10066 | 0.0049861 | 0.0012496
13 | 0.98608 | -0.097554 | 0.0059985 | 0.0015034
14 | 0.98417 | -0.1111 | 0.004641 | 0.0011631
15 | 0.98459 | -0.10812 | 0.0046894 | 0.0011753
16 | 0.98453 | -0.1086 | 0.0026263 | 0.00065822
17 | 0.98714 | -0.090082 | 0.0049284 | 0.0012352
18 | 0.98929 | -0.074853 | 0.0041389 | 0.0010373
19 | 0.99169 | -0.057952 | 0 | 0
20 | 0.9915 | -0.059282 | 0.0052994 | 0.0013281
21 | 0.99128 | -0.060817 | 0.006563 | 0.0016449
22 | 0.99607 | -0.027275 | 0.011392 | 0.0028552
23 | 0.99725 | -0.019093 | 0.0041795 | 0.0010475
24 | 0.98652 | -0.094443 | 0.0025457 | 0.00063801
25 | 0.99103 | -0.062592 | 0.002351 | 0.00058922
26 | 0.99853 | -0.010213 | 0.003631 | 0.00091001
27 | 0.98647 | -0.094822 | 0.012057 | 0.0030217
28 | 0.99101 | -0.062736 | 0.0033442 | 0.00083813
29 | 0.98556 | -0.10122 | 0.0016891 | 0.00042333
30 | 0.98549 | -0.10174 | 0.0053388 | 0.001338
31 | 0.98642 | -0.09519 | 0.00396 | 0.00099246
32 | 0.99982 | -0.0012322 | 0.003041 | 0.00076214
33 | 0.97708 | -0.16069 | 0.00077295 | 0.00019372
34 | 0.97712 | -0.16046 | 0 | 0
35 | 0.9768 | -0.16275 | 0.0040845 | 0.0010237
36 | 0.97718 | -0.16003 | 0 | 0
37 | 0.977 | -0.16126 | 0.0020678 | 0.00051823
38 | 0.97743 | -0.15824 | 0.001433 | 0.00035916
39 | 0.97693 | -0.16182 | 0.004092 | 0.0010256
40 | 0.97751 | -0.15761 | 0.0011387 | 0.00028539
41 | 0.97779 | -0.15561 | 0.0042509 | 0.0010654
42 | 0.97835 | -0.15164 | 0 | 0
43 | 0.97846 | -0.15082 | 0.0020975 | 0.00052569
44 | 0.97825 | -0.1523 | 0.00093055 | 0.00023322
45 | 0.97918 | -0.14571 | 0.0014602 | 0.00036595
46 | 0.97823 | -0.15246 | 0.0019566 | 0.00049037
47 | 0.9793 | -0.14484 | 0 | 0
48 | 0.97811 | -0.15335 | 0.0039788 | 0.00099719
49 | 0.97852 | -0.15039 | 0.0020269 | 0.00050799
50 | 0.98133 | -0.13037 | 0.0024946 | 0.00062522
51 | 0.97738 | -0.15852 | 0.00086253 | 0.00021617
52 | 0.98239 | -0.12289 | 0 | 0
53 | 0.97674 | -0.16306 | 0.0022063 | 0.00055296
54 | 0.98196 | -0.12598 | 0.0063577 | 0.0015934
55 | 0.98283 | -0.11979 | 0 | 0
56 | 0.98246 | -0.12237 | 0.0074949 | 0.0018784
57 | 0.98267 | -0.12089 | 0.0035172 | 0.00088148
58 | 0.98364 | -0.11401 | 0.00090933 | 0.0002279
59 | 0.98511 | -0.10362 | 0.0038067 | 0.00095404
60 | 0.98139 | -0.13003 | 0.0032258 | 0.00080845
61 | 0.98588 | -0.098234 | 0.0043339 | 0.0010862
62 | 0.97614 | -0.16737 | 0 | 0
63 | 0.97611 | -0.16758 | 0.0025843 | 0.00064769
64 | 0.97439 | -0.17987 | 0 | 0
65 | 0.97355 | -0.18591 | 0.0024013 | 0.00060183
66 | 0.9731 | -0.18911 | 0.00094635 | 0.00023718
67 | 0.97277 | -0.19155 | 0.00085867 | 0.0002152
68 | 0.97229 | -0.19495 | 0.0046506 | 0.0011655
69 | 0.97229 | -0.19495 | 0.002494 | 0.00062505
70 | 0.97173 | -0.19901 | 0.0041725 | 0.0010457
71 | 0.97172 | -0.19908 | 0.0041013 | 0.0010279
72 | 0.97141 | -0.20129 | 0.0053403 | 0.0013384
73 | 0.97141 | -0.20134 | 0.0034886 | 0.00087432
74 | 0.98115 | -0.13176 | 0 | 0
75 | 0.98062 | -0.13553 | 0.0076779 | 0.0019243
76 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0080122 | 0.0020079 | -0.008011 | -0.0020076 | 1.2419e-06 | 3.0525e-07 | 0.012112 | 0.012113 | 0.012113 | 0.9843 | -0.11021 | 0.98414 | -0.11133 | 4.4861
1 | -0.01347 | -0.0033757 | 0.013473 | 0.0033767 | 2.8873e-06 | 9.6863e-07 | 0.020363 | 0.020363 | 0.020363 | 0.9843 | -0.11021 | 0.98452 | -0.10866 | 7.5418
2 | 0.0043851 | 0.0010989 | -0.0043847 | -0.0010989 | 4.3011e-07 | -3.3783e-08 | 0.0066303 | 0.0066303 | 0.0066303 | 0.98414 | -0.11133 | 0.98404 | -0.11204 | 2.4557
3 | 0.0046426 | 0.0011631 | -0.0046415 | -0.0011631 | 1.0219e-06 | -2.983e-08 | 0.0070167 | 0.0070169 | 0.0070169 | 0.98452 | -0.10866 | 0.98429 | -0.11025 | 2.5988
4 | -0.018115 | -0.0045398 | 0.018122 | 0.0045423 | 6.9884e-06 | 2.4978e-06 | 0.02738 | 0.02738 | 0.02738 | 0.98452 | -0.10866 | 0.98491 | -0.10587 | 10.1406
5 | 0.0046415 | 0.0011631 | -0.004641 | -0.0011631 | 5.4555e-07 | -1.5839e-08 | 0.0070169 | 0.0070169 | 0.0070169 | 0.98429 | -0.11025 | 0.98417 | -0.1111 | 2.5989
6 | 0.0073182 | 0.0018338 | -0.0073159 | -0.0018333 | 2.2731e-06 | 4.9515e-07 | 0.011056 | 0.011056 | 0.011056 | 0.98491 | -0.10587 | 0.98459 | -0.10812 | 4.095
7 | -0.02986 | -0.0074837 | 0.029937 | 0.0075127 | 7.7232e-05 | 2.8929e-05 | 0.045113 | 0.045113 | 0.045113 | 0.98491 | -0.10587 | 0.98754 | -0.087239 | 16.7085
8 | 0.018033 | 0.0045212 | -0.018019 | -0.0045163 | 1.3845e-05 | 4.9419e-06 | 0.02719 | 0.027191 | 0.027191 | 0.98689 | -0.091808 | 0.98611 | -0.097354 | 10.0706
9 | -0.022262 | -0.0055813 | 0.022277 | 0.0055864 | 1.4097e-05 | 5.1657e-06 | 0.033568 | 0.033567 | 0.033568 | 0.98689 | -0.091808 | 0.98754 | -0.087239 | 12.4324
10 | 0.01202 | 0.0030129 | -0.012015 | -0.0030111 | 5.5045e-06 | 1.7752e-06 | 0.018139 | 0.018139 | 0.018139 | 0.98611 | -0.097354 | 0.98564 | -0.10066 | 6.7181
11 | 0.0059987 | 0.0015034 | -0.0059985 | -0.0015034 | 1.6638e-07 | 2.2478e-08 | 0.0090519 | 0.0090519 | 0.0090519 | 0.98611 | -0.097354 | 0.98608 | -0.097554 | 3.3525
12 | 0.023512 | 0.0058951 | -0.023503 | -0.0058917 | 9.255e-06 | 3.4085e-06 | 0.035429 | 0.035429 | 0.035429 | 0.98754 | -0.087239 | 0.98714 | -0.090082 | 13.122
13 | -0.075726 | -0.018994 | 0.075857 | 0.019044 | 0.00013029 | 4.9907e-05 | 0.11411 | 0.11411 | 0.11411 | 0.98754 | -0.087239 | 0.98929 | -0.074853 | 42.2628
14 | 0.10632 | 0.026767 | -0.10624 | -0.026736 | 8.2183e-05 | 3.1019e-05 | 0.16026 | 0.16026 | 0.16026 | 0.98751 | -0.086735 | 0.98672 | -0.092272 | 19.7847
15 | -0.11005 | -0.027701 | 0.1114 | 0.028211 | 0.0013494 | 0.00050982 | 0.16587 | 0.16587 | 0.16587 | 0.98751 | -0.086735 | 1 | 0 | 20.4776
16 | 0.10513 | 0.026457 | -0.10504 | -0.026424 | 8.7417e-05 | 3.2982e-05 | 0.15857 | 0.15857 | 0.15857 | 0.98672 | -0.092272 | 0.98588 | -0.098234 | 19.5769
17 | 0.12085 | 0.030457 | -0.12083 | -0.030449 | 2.0843e-05 | 7.8949e-06 | 0.17988 | 0.17988 | 0.17988 | 1 | 0 | 0.99982 | -0.0012322 | 22.2076
18 | 0.0070288 | 0.0017615 | -0.0070283 | -0.0017614 | 5.4763e-07 | 1.113e-07 | 0.010611 | 0.010611 | 0.010611 | 0.98564 | -0.10066 | 0.98556 | -0.10122 | 3.9301
19 | 0.0026265 | 0.00065806 | -0.0026263 | -0.00065822 | 1.7433e-07 | -1.5844e-07 | 0.0039694 | 0.0039695 | 0.0039695 | 0.98459 | -0.10812 | 0.98453 | -0.1086 | 1.4702
20 | 0.018575 | 0.0046565 | -0.018564 | -0.0046525 | 1.1215e-05 | 4.0207e-06 | 0.028 | 0.028 | 0.028 | 0.98714 | -0.090082 | 0.98652 | -0.094443 | 10.3705
21 | -0.079995 | -0.020081 | 0.080184 | 0.020154 | 0.00018823 | 7.2126e-05 | 0.12033 | 0.12033 | 0.12033 | 0.98929 | -0.074853 | 0.99169 | -0.057952 | 44.5685
22 | -0.097749 | -0.024556 | 0.098167 | 0.024717 | 0.00041892 | 0.00016072 | 0.14669 | 0.14669 | 0.14669 | 0.99169 | -0.057952 | 0.99607 | -0.027275 | 54.3299
23 | 0.017565 | 0.0044025 | -0.017562 | -0.0044013 | 3.2328e-06 | 1.1472e-06 | 0.026356 | 0.026356 | 0.026356 | 0.99169 | -0.057952 | 0.9915 | -0.059282 | 9.7615
24 | 0.012262 | 0.0030732 | -0.01226 | -0.0030723 | 2.6053e-06 | 8.4307e-07 | 0.018403 | 0.018403 | 0.018403 | 0.9915 | -0.059282 | 0.99128 | -0.060817 | 6.8159
25 | 0.0056967 | 0.0014275 | -0.0056953 | -0.0014273 | 1.3991e-06 | 1.4292e-07 | 0.0085512 | 0.0085513 | 0.0085513 | 0.99128 | -0.060817 | 0.99103 | -0.062592 | 3.1672
26 | -0.10956 | -0.027572 | 0.10969 | 0.02762 | 0.00012528 | 4.7796e-05 | 0.16371 | 0.16371 | 0.16371 | 0.99607 | -0.027275 | 0.99725 | -0.019093 | 30.3166
27 | -0.11386 | -0.028667 | 0.11401 | 0.028721 | 0.00014143 | 5.3472e-05 | 0.16995 | 0.16995 | 0.16995 | 0.99725 | -0.019093 | 0.99853 | -0.010213 | 20.9809
28 | 0.016018 | 0.0040144 | -0.016017 | -0.0040141 | 8.386e-07 | 2.9315e-07 | 0.02416 | 0.02416 | 0.02416 | 0.98652 | -0.094443 | 0.98647 | -0.094822 | 8.9483
29 | 0.0033443 | 0.00083811 | -0.0033442 | -0.00083813 | 6.692e-08 | -2.9065e-08 | 0.0050213 | 0.0050213 | 0.0050213 | 0.99103 | -0.062592 | 0.99101 | -0.062736 | 1.8598
30 | -0.11764 | -0.029631 | 0.11779 | 0.029687 | 0.00014792 | 5.5983e-05 | 0.17536 | 0.17536 | 0.17536 | 0.99853 | -0.010213 | 0.99982 | -0.0012322 | 21.6489
31 | 0.0039602 | 0.00099242 | -0.00396 | -0.00099246 | 2.0176e-07 | -3.8073e-08 | 0.0059736 | 0.0059736 | 0.0059736 | 0.98647 | -0.094822 | 0.98642 | -0.09519 | 2.2125
32 | 0.0053392 | 0.0013381 | -0.0053388 | -0.001338 | 3.8381e-07 | 2.7009e-08 | 0.0080611 | 0.0080612 | 0.0080612 | 0.98556 | -0.10122 | 0.98549 | -0.10174 | 2.9856
33 | -0.00077295 | -0.00019372 | 0.00077298 | 0.00019336 | 2.5474e-08 | -3.5926e-07 | 0.0011771 | 0.001177 | 0.0011771 | 0.97708 | -0.16069 | 0.97712 | -0.16046 | 0.43598
34 | 0.0040858 | 0.0010235 | -0.0040845 | -0.0010237 | 1.2949e-06 | -1.7316e-07 | 0.0062219 | 0.0062221 | 0.0062221 | 0.97712 | -0.16046 | 0.9768 | -0.16275 | 2.3045
35 | -0.0048587 | -0.0012169 | 0.004859 | 0.0012169 | 2.8312e-07 | 5.072e-09 | 0.0073989 | 0.0073989 | 0.0073989 | 0.97712 | -0.16046 | 0.97718 | -0.16003 | 2.7403
36 | 0.0061611 | 0.0015439 | -0.0061601 | -0.0015437 | 1.0416e-06 | 1.6309e-07 | 0.0093819 | 0.009382 | 0.009382 | 0.97718 | -0.16003 | 0.977 | -0.16126 | 3.4748
37 | -0.01102 | -0.0027608 | 0.011023 | 0.0027616 | 2.7325e-06 | 8.561e-07 | 0.016781 | 0.016781 | 0.016781 | 0.97718 | -0.16003 | 0.97743 | -0.15824 | 6.2151
38 | 0.0040923 | 0.0010255 | -0.004092 | -0.0010256 | 3.2003e-07 | -4.2227e-08 | 0.0062327 | 0.0062328 | 0.0062328 | 0.977 | -0.16126 | 0.97693 | -0.16182 | 2.3084
39 | -0.012456 | -0.0031208 | 0.012457 | 0.0031211 | 1.0871e-06 | 3.5738e-07 | 0.018962 | 0.018962 | 0.018962 | 0.97743 | -0.15824 | 0.97751 | -0.15761 | 7.0231
40 | -0.013596 | -0.0034065 | 0.0136 | 0.0034078 | 3.7687e-06 | 1.2727e-06 | 0.020696 | 0.020696 | 0.020696 | 0.97751 | -0.15761 | 0.97779 | -0.15561 | 7.6651
41 | -0.01785 | -0.0044732 | 0.01786 | 0.0044767 | 9.8028e-06 | 3.5031e-06 | 0.027165 | 0.027165 | 0.027165 | 0.97779 | -0.15561 | 0.97835 | -0.15164 | 10.0611
42 | -0.024727 | -0.0061975 | 0.02473 | 0.0061986 | 2.8155e-06 | 1.0428e-06 | 0.037609 | 0.037609 | 0.037609 | 0.97835 | -0.15164 | 0.97846 | -0.15082 | 13.9294
43 | 0.0068672 | 0.0017208 | -0.0068666 | -0.0017207 | 6.2965e-07 | 1.2603e-07 | 0.010445 | 0.010445 | 0.010445 | 0.97835 | -0.15164 | 0.97825 | -0.1523 | 3.8684
44 | -0.026828 | -0.0067243 | 0.026847 | 0.0067313 | 1.8996e-05 | 7.0763e-06 | 0.040799 | 0.040799 | 0.040799 | 0.97846 | -0.15082 | 0.97918 | -0.14571 | 15.1108
45 | 0.005936 | 0.0014875 | -0.0059359 | -0.0014875 | 1.2633e-07 | 1.7412e-08 | 0.0090292 | 0.0090292 | 0.0090292 | 0.97825 | -0.1523 | 0.97823 | -0.15246 | 3.3441
46 | -0.028307 | -0.0070973 | 0.02831 | 0.0070986 | 3.4244e-06 | 1.2798e-06 | 0.043018 | 0.043018 | 0.043018 | 0.97918 | -0.14571 | 0.9793 | -0.14484 | 15.9326
47 | 0.0039793 | 0.00099711 | -0.0039788 | -0.00099719 | 4.9007e-07 | -8.0583e-08 | 0.006053 | 0.0060531 | 0.0060531 | 0.97823 | -0.15246 | 0.97811 | -0.15335 | 2.2419
48 | 0.036358 | 0.0091395 | -0.03633 | -0.0091288 | 2.808e-05 | 1.0615e-05 | 0.055254 | 0.055255 | 0.055255 | 0.9793 | -0.14484 | 0.97852 | -0.15039 | 20.4646
49 | -0.064668 | -0.016238 | 0.064799 | 0.016288 | 0.0001303 | 4.9844e-05 | 0.098272 | 0.098272 | 0.098272 | 0.9793 | -0.14484 | 0.98133 | -0.13037 | 36.3972
50 | 0.034303 | 0.0086209 | -0.034264 | -0.0086062 | 3.8809e-05 | 1.464e-05 | 0.052172 | 0.052172 | 0.052172 | 0.97852 | -0.15039 | 0.97738 | -0.15852 | 19.3231
51 | -0.067293 | -0.016913 | 0.067363 | 0.01694 | 7.0148e-05 | 2.6434e-05 | 0.10206 | 0.10205 | 0.10206 | 0.98133 | -0.13037 | 0.98239 | -0.12289 | 18.8991
52 | 0.033401 | 0.00839 | -0.03338 | -0.0083821 | 2.105e-05 | 7.933e-06 | 0.050859 | 0.050859 | 0.050859 | 0.97738 | -0.15852 | 0.97674 | -0.16306 | 18.8368
53 | 0.017281 | 0.004332 | -0.017273 | -0.0043294 | 7.4035e-06 | 2.6283e-06 | 0.026175 | 0.026175 | 0.026175 | 0.98239 | -0.12289 | 0.98196 | -0.12598 | 9.6946
54 | -0.084644 | -0.021272 | 0.084681 | 0.021285 | 3.6507e-05 | 1.3635e-05 | 0.12823 | 0.12823 | 0.12823 | 0.98239 | -0.12289 | 0.98283 | -0.11979 | 15.8309
55 | 0.031174 | 0.0078292 | -0.031155 | -0.0078221 | 1.8692e-05 | 7.023e-06 | 0.047498 | 0.047498 | 0.047498 | 0.97674 | -0.16306 | 0.97614 | -0.16737 | 17.5919
56 | 0.010916 | 0.002736 | -0.01091 | -0.0027341 | 6.1118e-06 | 1.8981e-06 | 0.016541 | 0.016541 | 0.016541 | 0.98196 | -0.12598 | 0.98139 | -0.13003 | 6.1265
57 | 0.0035177 | 0.00088131 | -0.0035172 | -0.00088148 | 5.3448e-07 | -1.7706e-07 | 0.0053257 | 0.0053259 | 0.0053259 | 0.98283 | -0.11979 | 0.98267 | -0.12089 | 1.9725
58 | -0.095696 | -0.024045 | 0.095773 | 0.024074 | 7.7061e-05 | 2.8968e-05 | 0.14491 | 0.14491 | 0.14491 | 0.98283 | -0.11979 | 0.98364 | -0.11401 | 17.8898
59 | 0.0074976 | 0.001879 | -0.0074949 | -0.0018784 | 2.6826e-06 | 6.0913e-07 | 0.011352 | 0.011352 | 0.011352 | 0.98283 | -0.11979 | 0.98246 | -0.12237 | 4.2043
60 | -0.096682 | -0.024302 | 0.096822 | 0.024355 | 0.00014007 | 5.2672e-05 | 0.14628 | 0.14628 | 0.14628 | 0.98364 | -0.11401 | 0.98511 | -0.10362 | 18.0596
61 | -0.10063 | -0.025309 | 0.1007 | 0.025338 | 7.5593e-05 | 2.8473e-05 | 0.15203 | 0.15203 | 0.15203 | 0.98511 | -0.10362 | 0.98588 | -0.098234 | 18.7694
62 | 0.0076838 | 0.0019257 | -0.007682 | -0.0019252 | 1.8411e-06 | 4.3353e-07 | 0.01165 | 0.011651 | 0.011651 | 0.98139 | -0.13003 | 0.98115 | -0.13176 | 4.315
63 | 0.0025844 | 0.00064762 | -0.0025843 | -0.00064769 | 7.5271e-08 | -6.8202e-08 | 0.0039396 | 0.0039396 | 0.0039396 | 0.97614 | -0.16737 | 0.97611 | -0.16758 | 1.4591
64 | 0.028571 | 0.0071745 | -0.028522 | -0.007156 | 4.953e-05 | 1.8528e-05 | 0.043558 | 0.043559 | 0.043559 | 0.97614 | -0.16737 | 0.97439 | -0.17987 | 16.1328
65 | 0.028522 | 0.007156 | -0.028498 | -0.0071471 | 2.3866e-05 | 8.9285e-06 | 0.043559 | 0.043559 | 0.043559 | 0.97439 | -0.17987 | 0.97355 | -0.18591 | 16.1329
66 | 0.026096 | 0.0065452 | -0.026085 | -0.0065409 | 1.1577e-05 | 4.3079e-06 | 0.039888 | 0.039889 | 0.039889 | 0.97355 | -0.18591 | 0.9731 | -0.18911 | 14.7735
67 | 0.025138 | 0.0063037 | -0.02513 | -0.0063006 | 8.5019e-06 | 3.1555e-06 | 0.038441 | 0.038441 | 0.038441 | 0.9731 | -0.18911 | 0.97277 | -0.19155 | 14.2376
68 | 0.024271 | 0.0060854 | -0.02426 | -0.0060812 | 1.1419e-05 | 4.2273e-06 | 0.037128 | 0.037128 | 0.037128 | 0.97277 | -0.19155 | 0.97229 | -0.19495 | 13.7511
69 | 0.019609 | 0.0049156 | -0.019609 | -0.0049156 | 1.9631e-09 | 6.9853e-10 | 0.030011 | 0.030011 | 0.030011 | 0.97229 | -0.19495 | 0.97229 | -0.19495 | 11.1151
70 | 0.017115 | 0.0042905 | -0.017106 | -0.0042871 | 9.6408e-06 | 3.4289e-06 | 0.026194 | 0.026194 | 0.026194 | 0.97229 | -0.19495 | 0.97173 | -0.19901 | 9.7014
71 | 0.012933 | 0.0032414 | -0.012933 | -0.0032413 | 1.2326e-07 | 4.1169e-08 | 0.019804 | 0.019804 | 0.019804 | 0.97173 | -0.19901 | 0.97172 | -0.19908 | 7.335
72 | 0.0088316 | 0.0022135 | -0.0088289 | -0.0022127 | 2.6957e-06 | 7.443e-07 | 0.013524 | 0.013524 | 0.013524 | 0.97172 | -0.19908 | 0.97141 | -0.20129 | 5.0089
73 | 0.0034886 | 0.00087432 | -0.0034886 | -0.00087432 | 2.2662e-08 | -7.0278e-09 | 0.0053439 | 0.0053439 | 0.0053439 | 0.97141 | -0.20129 | 0.97141 | -0.20134 | 1.9792
74 | 0.007682 | 0.0019252 | -0.0076779 | -0.0019243 | 4.012e-06 | 9.4518e-07 | 0.011651 | 0.011651 | 0.011651 | 0.98115 | -0.13176 | 0.98062 | -0.13553 | 4.3151

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.24315 | 0.061199

## res_load
| p_mw | q_mvar
0 | 0.0054576 | 0.0013678
1 | 0.0036258 | 0.00090872
2 | 0.0043847 | 0.0010989
3 | 0.0044196 | 0.0011077
4 | 0.0042295 | 0.00106
5 | 0.0037249 | 0.00093356
6 | 0.0011159 | 0.00027968
7 | 0.010102 | 0.0025319
8 | 0.0049861 | 0.0012496
9 | 0.0059985 | 0.0015034
10 | 0.004641 | 0.0011631
11 | 0.0046894 | 0.0011753
12 | 0.0026263 | 0.00065822
13 | 0.0049284 | 0.0012352
14 | 0.0041389 | 0.0010373
15 | 0.0052994 | 0.0013281
16 | 0.006563 | 0.0016449
17 | 0.011392 | 0.0028552
18 | 0.0041795 | 0.0010475
19 | 0.0025457 | 0.00063801
20 | 0.002351 | 0.00058922
21 | 0.003631 | 0.00091001
22 | 0.012057 | 0.0030217
23 | 0.0033442 | 0.00083813
24 | 0.0016891 | 0.00042333
25 | 0.0053388 | 0.001338
26 | 0.00396 | 0.00099246
27 | 0.003041 | 0.00076214
28 | 0.00077295 | 0.00019372
29 | 0.0040845 | 0.0010237
30 | 0.0020678 | 0.00051823
31 | 0.001433 | 0.00035916
32 | 0.004092 | 0.0010256
33 | 0.0011387 | 0.00028539
34 | 0.0042509 | 0.0010654
35 | 0.0020975 | 0.00052569
36 | 0.00093055 | 0.00023322
37 | 0.0014602 | 0.00036595
38 | 0.0019566 | 0.00049037
39 | 0.0039788 | 0.00099719
40 | 0.0020269 | 0.00050799
41 | 0.0024946 | 0.00062522
42 | 0.00086253 | 0.00021617
43 | 0.0022063 | 0.00055296
44 | 0.0063577 | 0.0015934
45 | 0.0074949 | 0.0018784
46 | 0.0035172 | 0.00088148
47 | 0.00090933 | 0.0002279
48 | 0.0038067 | 0.00095404
49 | 0.0032258 | 0.00080845
50 | 0.0043339 | 0.0010862
51 | 0.0025843 | 0.00064769
52 | 0.0024013 | 0.00060183
53 | 0.00094635 | 0.00023718
54 | 0.00085867 | 0.0002152
55 | 0.0046506 | 0.0011655
56 | 0.002494 | 0.00062505
57 | 0.0041725 | 0.0010457
58 | 0.0041013 | 0.0010279
59 | 0.0053403 | 0.0013384
60 | 0.0034886 | 0.00087432
61 | 0.0076779 | 0.0019243

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1