## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1375-12_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1375-12_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1375-12_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1375-12_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1375-12_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1375-12_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1375-12_0_3_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_1375-12_0_3_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_1375-12_0_3_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_1375-12_0_3_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_1375-12_0_3_node_39 | 0.4 | n |  | TRUE
11 | bus_LV_1375-12_0_3_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_1375-12_0_3_node_34 | 0.4 | n |  | TRUE
13 | bus_LV_1375-12_0_3_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_1375-12_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1375-12_0_3_node_38 | 0.4 | n |  | TRUE
16 | bus_LV_1375-12_0_3_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_1375-12_0_3_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_1375-12_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_1375-12_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_1375-12_0_3_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_1375-12_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1375-12_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_1375-12_0_3_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_1375-12_0_3_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_1375-12_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1375-12_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1375-12_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1375-12_0_3_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_1375-12_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_1375-12_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1375-12_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_1375-12_0_3_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_1375-12_0_3_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_1375-12_0_3_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1375-12_0_3_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_1375-12_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_1375-12_0_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_1375-12_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_1375-12_0_3_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_1375-12_0_3_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_1375-12_0_3_node_40 | 0.4 | n |  | TRUE
42 | bus_MV_135_0_node_57 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1375-12_0_3_load_0 | 0 | 0.0050434 | 0.001264 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1375-12_0_3_load_1 | 1 | 0.0048926 | 0.0012262 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1375-12_0_3_load_5 | 5 | 0.0031755 | 0.00079584 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1375-12_0_3_load_12 | 7 | 0.0099959 | 0.0025052 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1375-12_0_3_load_20 | 8 | 0.0069793 | 0.0017492 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1375-12_0_3_load_11 | 9 | 0.002607 | 0.00065337 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1375-12_0_3_load_39 | 10 | 0.0069561 | 0.0017434 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1375-12_0_3_load_34 | 12 | 0.0060708 | 0.0015215 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1375-12_0_3_load_27 | 13 | 0.0048359 | 0.001212 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1375-12_0_3_load_38 | 15 | 0.0029522 | 0.00073989 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1375-12_0_3_load_6 | 16 | 0.0088438 | 0.0022165 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1375-12_0_3_load_7 | 17 | 0.0043546 | 0.0010914 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1375-12_0_3_load_10 | 19 | 0.0023688 | 0.00059368 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1375-12_0_3_load_42 | 20 | 0.0041775 | 0.001047 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1375-12_0_3_load_14 | 21 | 0.0025522 | 0.00063964 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1375-12_0_3_load_15 | 22 | 0.0046438 | 0.0011639 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1375-12_0_3_load_28 | 23 | 0.0034158 | 0.00085608 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1375-12_0_3_load_32 | 24 | 0.0021075 | 0.00052819 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1375-12_0_3_load_16 | 25 | 0.0026082 | 0.00065367 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1375-12_0_3_load_18 | 27 | 0.014938 | 0.0037437 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1375-12_0_3_load_25 | 29 | 0.010861 | 0.002722 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1375-12_0_3_load_24 | 31 | 0.003833 | 0.00096063 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1375-12_0_3_load_21 | 32 | 0.0036849 | 0.00092352 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1375-12_0_3_load_22 | 33 | 0.0039321 | 0.00098547 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1375-12_0_3_load_26 | 34 | 0.0048838 | 0.001224 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1375-12_0_3_load_30 | 35 | 0.0027219 | 0.00068217 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1375-12_0_3_load_31 | 36 | 0.0021803 | 0.00054644 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1375-12_0_3_load_33 | 37 | 0.0020764 | 0.00052039 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1375-12_0_3_load_35 | 38 | 0.0030011 | 0.00075213 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1375-12_0_3_load_36 | 39 | 0.0053011 | 0.0013286 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1375-12_0_3_load_37 | 40 | 0.0045275 | 0.0011347 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1375-12_0_3_load_40 | 41 | 0.0066955 | 0.001678 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1375-12_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.011071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1375-12_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.019397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1375-12_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.02158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1375-12_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.017193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1375-12_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.014693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1375-12_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.090755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1375-12_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.021032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1375-12_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.0059789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1375-12_0_3_line_8 | NAYY 4x150 SE | 4 | 9 | 0.01563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1375-12_0_3_line_9 | NAYY 4x150 SE | 5 | 10 | 0.0082306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1375-12_0_3_line_10 | NAYY 4x150 SE | 6 | 11 | 0.056123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1375-12_0_3_line_11 | NAYY 4x150 SE | 6 | 12 | 0.014373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1375-12_0_3_line_12 | NAYY 4x150 SE | 8 | 13 | 0.017545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1375-12_0_3_line_13 | NAYY 4x150 SE | 9 | 14 | 0.02022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1375-12_0_3_line_14 | NAYY 4x150 SE | 10 | 15 | 0.011331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1375-12_0_3_line_15 | NAYY 4x150 SE | 11 | 23 | 0.029308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1375-12_0_3_line_16 | NAYY 4x150 SE | 12 | 24 | 0.017883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1375-12_0_3_line_17 | NAYY 4x150 SE | 13 | 31 | 0.0046565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1375-12_0_3_line_18 | NAYY 4x150 SE | 14 | 19 | 0.010927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1375-12_0_3_line_19 | NAYY 4x150 SE | 14 | 16 | 0.018905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1375-12_0_3_line_20 | NAYY 4x150 SE | 15 | 41 | 0.013604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1375-12_0_3_line_21 | NAYY 4x150 SE | 16 | 17 | 0.012342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1375-12_0_3_line_22 | NAYY 4x150 SE | 17 | 18 | 0.036054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1375-12_0_3_line_23 | NAYY 4x150 SE | 18 | 20 | 0.039655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1375-12_0_3_line_24 | NAYY 4x150 SE | 19 | 21 | 0.0014976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1375-12_0_3_line_25 | NAYY 4x150 SE | 21 | 22 | 0.023028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1375-12_0_3_line_26 | NAYY 4x150 SE | 24 | 35 | 0.013893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1375-12_0_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.010724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1375-12_0_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.04589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1375-12_0_3_line_29 | NAYY 4x150 SE | 26 | 28 | 0.043424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1375-12_0_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.03493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1375-12_0_3_line_31 | NAYY 4x150 SE | 29 | 30 | 0.029741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1375-12_0_3_line_32 | NAYY 4x150 SE | 30 | 34 | 0.04227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1375-12_0_3_line_33 | NAYY 4x150 SE | 30 | 32 | 0.0061139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1375-12_0_3_line_34 | NAYY 4x150 SE | 31 | 33 | 0.014747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1375-12_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.0094013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1375-12_0_3_line_36 | NAYY 4x150 SE | 35 | 36 | 0.0093995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1375-12_0_3_line_37 | NAYY 4x150 SE | 36 | 37 | 0.011117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1375-12_0_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.0018736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1375-12_0_3_line_39 | NAYY 4x150 SE | 38 | 39 | 0.011074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1375-12_0_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.031188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1375-12_0_3_trafo_4 | 0.25 MVA 20/0.4 kV | 42 | 4 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2703601.6318 | 1213015.3972 | 2703597.9976 | 1213004.9391
1 | 2703607.9989 | 1213033.7197 | 2703601.6318 | 1213015.3972
2 | 2703590.914 | 1212984.5548 | 2703597.9976 | 1213004.9391
3 | 2703607.9989 | 1213033.7197 | 2703613.5209 | 1213050.005
4 | 2703607.9989 | 1213033.7197 | 2703594.0529 | 1213038.3451
5 | 2703538.3142 | 1212977.7922 | 2703553.4216 | 1212963.6889 | 2703577.6334 | 1212946.4416 | 2703581.2066 | 1212956.8221 | 2703583.9988 | 1212964.9208 | 2703590.914 | 1212984.5548
6 | 2703590.914 | 1212984.5548 | 2703611.0668 | 1212978.5373
7 | 2703613.5209 | 1213050.005 | 2703615.5452 | 1213055.6307
8 | 2703613.5209 | 1213050.005 | 2703628.1747 | 1213044.5686
9 | 2703594.0529 | 1213038.3451 | 2703586.2408 | 1213040.9361
10 | 2703538.3142 | 1212977.7922 | 2703500.1612 | 1212972.2038 | 2703482.4439 | 1212971.6515
11 | 2703538.3142 | 1212977.7922 | 2703533.8335 | 1212991.4487
12 | 2703621.4376 | 1213072.1566 | 2703620.1963 | 1213068.5563 | 2703615.5452 | 1213055.6307
13 | 2703647.132 | 1213037.5357 | 2703628.1747 | 1213044.5686
14 | 2703575.4858 | 1213044.5032 | 2703586.2408 | 1213040.9361
15 | 2703482.4439 | 1212971.6515 | 2703480.9312 | 1212973.4377 | 2703479.5793 | 1212975.5935 | 2703479.1071 | 1212977.8425 | 2703479.2854 | 1212997.7708 | 2703478.8983 | 1212999.9323
16 | 2703528.2584 | 1213008.4407 | 2703533.8335 | 1212991.4487
17 | 2703621.4376 | 1213072.1566 | 2703622.9553 | 1213076.5589
18 | 2703647.132 | 1213037.5357 | 2703643.7669 | 1213027.1403
19 | 2703647.132 | 1213037.5357 | 2703664.6069 | 1213030.3221
20 | 2703562.573 | 1213048.7859 | 2703575.4858 | 1213044.5032
21 | 2703664.6069 | 1213030.3221 | 2703676.0156 | 1213025.6126
22 | 2703710.1049 | 1213014.0471 | 2703702.2367 | 1213016.0228 | 2703688.383 | 1213020.5073 | 2703676.0156 | 1213025.6126
23 | 2703710.1049 | 1213014.0471 | 2703684.7171 | 1212983.5841
24 | 2703643.3057 | 1213025.7154 | 2703643.7669 | 1213027.1403
25 | 2703636.2135 | 1213003.8067 | 2703643.3057 | 1213025.7154
26 | 2703523.9274 | 1213021.6411 | 2703528.2584 | 1213008.4407
27 | 2703695.5037 | 1213154.9486 | 2703699.8235 | 1213155.1461 | 2703703.4674 | 1213154.8982 | 2703706.1741 | 1213154.4264
28 | 2703695.5037 | 1213154.9486 | 2703696.4508 | 1213150.2951 | 2703696.7169 | 1213147.6646 | 2703696.5297 | 1213144.4479 | 2703695.552 | 1213139.5052 | 2703686.3427 | 1213110.7024
29 | 2703653.8275 | 1213166.3322 | 2703684.3033 | 1213155.8657 | 2703686.9522 | 1213155.1557 | 2703690.1724 | 1213154.8003 | 2703695.5037 | 1213154.9486
30 | 2703653.8275 | 1213166.3322 | 2703642.4802 | 1213133.2963
31 | 2703632.8186 | 1213105.1682 | 2703642.4802 | 1213133.2963
32 | 2703632.8186 | 1213105.1682 | 2703629.4376 | 1213114.7718 | 2703625.7833 | 1213125.6716 | 2703620.203 | 1213145.4932
33 | 2703632.8186 | 1213105.1682 | 2703630.8259 | 1213099.3882
34 | 2703622.9553 | 1213076.5589 | 2703627.7617 | 1213090.5003
35 | 2703627.7617 | 1213090.5003 | 2703630.8259 | 1213099.3882
36 | 2703523.9274 | 1213021.6411 | 2703520.9971 | 1213030.5722
37 | 2703517.5315 | 1213041.1348 | 2703520.9971 | 1213030.5722
38 | 2703516.9474 | 1213042.915 | 2703517.5315 | 1213041.1348
39 | 2703516.9474 | 1213042.915 | 2703513.495 | 1213053.4375
40 | 2703513.495 | 1213053.4375 | 2703512.3597 | 1213056.8977 | 2703507.1552 | 1213067.3815 | 2703498.5898 | 1213080.7081

## bus_geodata
| x | y | coords
0 | 2703601.6318 | 1213015.3972
1 | 2703597.9976 | 1213004.9391
2 | 2703607.9989 | 1213033.7197
3 | 2703590.914 | 1212984.5548
4 | 2703613.5209 | 1213050.005
5 | 2703594.0529 | 1213038.3451
6 | 2703538.3142 | 1212977.7922
7 | 2703611.0668 | 1212978.5373
8 | 2703615.5452 | 1213055.6307
9 | 2703628.1747 | 1213044.5686
10 | 2703586.2408 | 1213040.9361
11 | 2703482.4439 | 1212971.6515
12 | 2703533.8335 | 1212991.4487
13 | 2703621.4376 | 1213072.1566
14 | 2703647.132 | 1213037.5357
15 | 2703575.4858 | 1213044.5032
16 | 2703664.6069 | 1213030.3221
17 | 2703676.0156 | 1213025.6126
18 | 2703710.1049 | 1213014.0471
19 | 2703643.7669 | 1213027.1403
20 | 2703684.7171 | 1212983.5841
21 | 2703643.3057 | 1213025.7154
22 | 2703636.2135 | 1213003.8067
23 | 2703478.8983 | 1212999.9323
24 | 2703528.2584 | 1213008.4407
25 | 2703706.1741 | 1213154.4264
26 | 2703695.5037 | 1213154.9486
27 | 2703686.3427 | 1213110.7024
28 | 2703653.8275 | 1213166.3322
29 | 2703642.4802 | 1213133.2963
30 | 2703632.8186 | 1213105.1682
31 | 2703622.9553 | 1213076.5589
32 | 2703630.8259 | 1213099.3882
33 | 2703627.7617 | 1213090.5003
34 | 2703620.203 | 1213145.4932
35 | 2703523.9274 | 1213021.6411
36 | 2703520.9971 | 1213030.5722
37 | 2703517.5315 | 1213041.1348
38 | 2703516.9474 | 1213042.915
39 | 2703513.495 | 1213053.4375
40 | 2703498.5898 | 1213080.7081
41 | 2703562.573 | 1213048.7859
42 | 2703607.9989 | 1213033.7197

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99681 | -0.022225 | 0.0050434 | 0.001264
1 | 0.99608 | -0.02738 | 0.0048926 | 0.0012262
2 | 0.99825 | -0.012231 | 0 | 0
3 | 0.99479 | -0.036384 | 0 | 0
4 | 1 | 0 | -0.15878 | -0.039686
5 | 0.99783 | -0.015143 | 0.0031755 | 0.00079584
6 | 0.99068 | -0.065267 | 0 | 0
7 | 0.99449 | -0.038506 | 0.0099959 | 0.0025052
8 | 0.99952 | -0.0033779 | 0.0069793 | 0.0017492
9 | 0.99934 | -0.0046148 | 0.002607 | 0.00065337
10 | 0.99763 | -0.016514 | 0.0069561 | 0.0017434
11 | 0.99041 | -0.06722 | 0 | 0
12 | 0.9901 | -0.069361 | 0.0060708 | 0.0015215
13 | 0.99827 | -0.012082 | 0.0048359 | 0.001212
14 | 0.99856 | -0.010066 | 0 | 0
15 | 0.99748 | -0.01761 | 0.0029522 | 0.00073989
16 | 0.99809 | -0.013357 | 0.0088438 | 0.0022165
17 | 0.99794 | -0.014413 | 0.0043546 | 0.0010914
18 | 0.99773 | -0.015925 | 0 | 0
19 | 0.99841 | -0.011112 | 0.0023688 | 0.00059368
20 | 0.99749 | -0.017587 | 0.0041775 | 0.001047
21 | 0.9984 | -0.01122 | 0.0025522 | 0.00063964
22 | 0.99825 | -0.012291 | 0.0046438 | 0.0011639
23 | 0.99026 | -0.068239 | 0.0034158 | 0.00085608
24 | 0.98954 | -0.073355 | 0.0021075 | 0.00052819
25 | 0.99309 | -0.048448 | 0.0026082 | 0.00065367
26 | 0.99313 | -0.048164 | 0 | 0
27 | 0.99214 | -0.055109 | 0.014938 | 0.0037437
28 | 0.99422 | -0.04046 | 0 | 0
29 | 0.9951 | -0.034273 | 0.010861 | 0.002722
30 | 0.99632 | -0.025765 | 0 | 0
31 | 0.99797 | -0.014171 | 0.003833 | 0.00096063
32 | 0.99661 | -0.023717 | 0.0036849 | 0.00092352
33 | 0.99711 | -0.020224 | 0.0039321 | 0.00098547
34 | 0.99602 | -0.027842 | 0.0048838 | 0.001224
35 | 0.98914 | -0.076162 | 0.0027219 | 0.00068217
36 | 0.98891 | -0.077801 | 0.0021803 | 0.00054644
37 | 0.98867 | -0.079493 | 0.0020764 | 0.00052039
38 | 0.98864 | -0.079738 | 0.0030011 | 0.00075213
39 | 0.98848 | -0.08085 | 0.0053011 | 0.0013286
40 | 0.98828 | -0.082293 | 0.0045275 | 0.0011347
41 | 0.99735 | -0.018524 | 0.0066955 | 0.001678
42 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.046553 | 0.011698 | -0.04652 | -0.011685 | 3.3374e-05 | 1.2692e-05 | 0.069504 | 0.069504 | 0.069504 | 0.99681 | -0.022225 | 0.99608 | -0.02738 | 25.7422
1 | -0.051596 | -0.012962 | 0.051668 | 0.012989 | 7.1825e-05 | 2.7372e-05 | 0.077032 | 0.077032 | 0.077032 | 0.99681 | -0.022225 | 0.99825 | -0.012231 | 28.5305
2 | 0.041627 | 0.010459 | -0.041575 | -0.010439 | 5.2089e-05 | 1.9754e-05 | 0.062195 | 0.062195 | 0.062195 | 0.99608 | -0.02738 | 0.99479 | -0.036384 | 23.0352
3 | -0.071461 | -0.017951 | 0.071583 | 0.017998 | 0.00012177 | 4.6608e-05 | 0.10654 | 0.10654 | 0.10654 | 0.99825 | -0.012231 | 1 | 0 | 39.4579
4 | 0.019793 | 0.0049617 | -0.019785 | -0.0049588 | 7.981e-06 | 2.8776e-06 | 0.029504 | 0.029504 | 0.029504 | 0.99825 | -0.012231 | 0.99783 | -0.015143 | 10.9274
5 | 0.031576 | 0.0079333 | -0.03145 | -0.0078859 | 0.00012637 | 4.7432e-05 | 0.047239 | 0.047239 | 0.047239 | 0.99479 | -0.036384 | 0.99068 | -0.065267 | 17.4959
6 | 0.0099989 | 0.0025061 | -0.0099959 | -0.0025052 | 2.9358e-06 | 8.5617e-07 | 0.014956 | 0.014957 | 0.014957 | 0.99479 | -0.036384 | 0.99449 | -0.038506 | 5.5394
7 | 0.056801 | 0.014265 | -0.056774 | -0.014255 | 2.6658e-05 | 1.0175e-05 | 0.08453 | 0.08453 | 0.08453 | 1 | 0 | 0.99952 | -0.0033779 | 31.3076
8 | 0.0296 | 0.0074232 | -0.029581 | -0.0074162 | 1.8922e-05 | 7.0729e-06 | 0.044047 | 0.044047 | 0.044047 | 1 | 0 | 0.99934 | -0.0046148 | 16.3138
9 | 0.016609 | 0.004163 | -0.016606 | -0.0041619 | 3.1508e-06 | 1.1044e-06 | 0.024769 | 0.024769 | 0.024769 | 0.99783 | -0.015143 | 0.99763 | -0.016514 | 9.1736
10 | 0.0034172 | 0.00085552 | -0.0034163 | -0.00085589 | 9.2253e-07 | -3.6762e-07 | 0.0051324 | 0.0051326 | 0.0051326 | 0.99068 | -0.065267 | 0.99041 | -0.06722 | 1.901
11 | 0.028032 | 0.0070303 | -0.028017 | -0.0070244 | 1.5901e-05 | 5.9309e-06 | 0.042107 | 0.042107 | 0.042107 | 0.99068 | -0.065267 | 0.9901 | -0.069361 | 15.5951
12 | 0.049795 | 0.012506 | -0.049734 | -0.012483 | 6.018e-05 | 2.2916e-05 | 0.07414 | 0.07414 | 0.07414 | 0.99952 | -0.0033779 | 0.99827 | -0.012082 | 27.4593
13 | 0.026974 | 0.0067628 | -0.026954 | -0.0067552 | 2.0355e-05 | 7.5641e-06 | 0.040166 | 0.040166 | 0.040166 | 0.99934 | -0.0046148 | 0.99856 | -0.010066 | 14.8762
14 | 0.00965 | 0.0024185 | -0.0096485 | -0.0024181 | 1.4648e-06 | 4.1546e-07 | 0.014393 | 0.014393 | 0.014393 | 0.99763 | -0.016514 | 0.99748 | -0.01761 | 5.3309
15 | 0.0034163 | 0.00085589 | -0.0034158 | -0.00085608 | 4.818e-07 | -1.918e-07 | 0.0051326 | 0.0051327 | 0.0051327 | 0.99041 | -0.06722 | 0.99026 | -0.068239 | 1.901
16 | 0.021946 | 0.0055029 | -0.021934 | -0.0054985 | 1.214e-05 | 4.4393e-06 | 0.032983 | 0.032983 | 0.032983 | 0.9901 | -0.069361 | 0.98954 | -0.073355 | 12.216
17 | 0.044898 | 0.011271 | -0.044885 | -0.011266 | 1.3017e-05 | 4.9457e-06 | 0.066932 | 0.066932 | 0.066932 | 0.99827 | -0.012082 | 0.99797 | -0.014171 | 24.7896
18 | 0.009567 | 0.0023976 | -0.0095657 | -0.0023972 | 1.3857e-06 | 3.9007e-07 | 0.014256 | 0.014256 | 0.014256 | 0.99856 | -0.010066 | 0.99841 | -0.011112 | 5.2801
19 | 0.017387 | 0.0043577 | -0.017379 | -0.0043549 | 7.9192e-06 | 2.7987e-06 | 0.025909 | 0.025909 | 0.025909 | 0.99856 | -0.010066 | 0.99809 | -0.013357 | 9.5961
20 | 0.0066963 | 0.0016782 | -0.0066955 | -0.001678 | 8.4712e-07 | 1.4826e-07 | 0.0099894 | 0.0099895 | 0.0099895 | 0.99748 | -0.01761 | 0.99735 | -0.018524 | 3.6998
21 | 0.0085352 | 0.0021384 | -0.008534 | -0.0021381 | 1.247e-06 | 3.1834e-07 | 0.012725 | 0.012725 | 0.012725 | 0.99809 | -0.013357 | 0.99794 | -0.014413 | 4.7128
22 | 0.0041793 | 0.0010467 | -0.0041785 | -0.0010468 | 8.7363e-07 | -1.3494e-07 | 0.0062315 | 0.0062316 | 0.0062316 | 0.99794 | -0.014413 | 0.99773 | -0.015925 | 2.308
23 | 0.0041785 | 0.0010468 | -0.0041775 | -0.001047 | 9.6095e-07 | -1.4817e-07 | 0.0062316 | 0.0062318 | 0.0062318 | 0.99773 | -0.015925 | 0.99749 | -0.017587 | 2.3081
24 | 0.0071968 | 0.0018035 | -0.0071967 | -0.0018035 | 1.0751e-07 | 2.1766e-08 | 0.010726 | 0.010726 | 0.010726 | 0.99841 | -0.011112 | 0.9984 | -0.01122 | 3.9726
25 | 0.0046445 | 0.0011638 | -0.0046438 | -0.0011639 | 6.8854e-07 | -3.6274e-08 | 0.0069222 | 0.0069223 | 0.0069223 | 0.9984 | -0.01122 | 0.99825 | -0.012291 | 2.5638
26 | 0.019826 | 0.0049703 | -0.019818 | -0.0049675 | 7.7057e-06 | 2.7853e-06 | 0.029814 | 0.029814 | 0.029814 | 0.98954 | -0.073355 | 0.98914 | -0.076162 | 11.0422
27 | -0.0026082 | -0.00065367 | 0.0026083 | 0.00065357 | 1.022e-07 | -9.9454e-08 | 0.003908 | 0.0039079 | 0.003908 | 0.99309 | -0.048448 | 0.99313 | -0.048164 | 1.4474
28 | 0.014952 | 0.0037486 | -0.014938 | -0.0037437 | 1.4372e-05 | 4.9345e-06 | 0.022403 | 0.022403 | 0.022403 | 0.99313 | -0.048164 | 0.99214 | -0.055109 | 8.2975
29 | -0.01756 | -0.0044022 | 0.017579 | 0.0044089 | 1.8758e-05 | 6.6521e-06 | 0.026311 | 0.026311 | 0.026311 | 0.99313 | -0.048164 | 0.99422 | -0.04046 | 9.7448
30 | -0.017579 | -0.0044089 | 0.017594 | 0.0044142 | 1.5089e-05 | 5.35e-06 | 0.026311 | 0.026311 | 0.026311 | 0.99422 | -0.04046 | 0.9951 | -0.034273 | 9.7448
31 | -0.028455 | -0.0071362 | 0.028488 | 0.0071487 | 3.3602e-05 | 1.2537e-05 | 0.042551 | 0.042551 | 0.042551 | 0.9951 | -0.034273 | 0.99632 | -0.025765 | 15.7597
32 | 0.0048852 | 0.001224 | -0.0048838 | -0.001224 | 1.4041e-06 | -1.0272e-08 | 0.007296 | 0.0072962 | 0.0072962 | 0.99632 | -0.025765 | 0.99602 | -0.027842 | 2.7023
33 | -0.033374 | -0.0083727 | 0.033383 | 0.0083763 | 9.4794e-06 | 3.5663e-06 | 0.049847 | 0.049847 | 0.049847 | 0.99632 | -0.025765 | 0.99661 | -0.023717 | 18.4619
34 | 0.041053 | 0.010305 | -0.041018 | -0.010292 | 3.4484e-05 | 1.3071e-05 | 0.061217 | 0.061217 | 0.061217 | 0.99797 | -0.014171 | 0.99711 | -0.020224 | 22.6729
35 | -0.037068 | -0.0092998 | 0.037086 | 0.0093066 | 1.7972e-05 | 6.7896e-06 | 0.055349 | 0.055349 | 0.055349 | 0.99661 | -0.023717 | 0.99711 | -0.020224 | 20.4996
36 | 0.017097 | 0.0042853 | -0.017093 | -0.004284 | 3.8798e-06 | 1.3716e-06 | 0.025719 | 0.025719 | 0.025719 | 0.98914 | -0.076162 | 0.98891 | -0.077801 | 9.5257
37 | 0.014912 | 0.0037375 | -0.014909 | -0.0037363 | 3.4926e-06 | 1.2007e-06 | 0.022439 | 0.022439 | 0.022439 | 0.98891 | -0.077801 | 0.98867 | -0.079493 | 8.3106
38 | 0.012832 | 0.0032159 | -0.012832 | -0.0032158 | 4.361e-07 | 1.4371e-07 | 0.019314 | 0.019314 | 0.019314 | 0.98867 | -0.079493 | 0.98864 | -0.079738 | 7.1532
39 | 0.009831 | 0.0024637 | -0.0098295 | -0.0024632 | 1.513e-06 | 4.3993e-07 | 0.014797 | 0.014797 | 0.014797 | 0.98864 | -0.079738 | 0.98848 | -0.08085 | 5.4803
40 | 0.0045284 | 0.0011346 | -0.0045275 | -0.0011347 | 9.0434e-07 | -5.1887e-08 | 0.0068167 | 0.0068169 | 0.0068169 | 0.98848 | -0.08085 | 0.98828 | -0.082293 | 2.5248

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.15878 | 0.039686

## res_load
| p_mw | q_mvar
0 | 0.0050434 | 0.001264
1 | 0.0048926 | 0.0012262
2 | 0.0031755 | 0.00079584
3 | 0.0099959 | 0.0025052
4 | 0.0069793 | 0.0017492
5 | 0.002607 | 0.00065337
6 | 0.0069561 | 0.0017434
7 | 0.0060708 | 0.0015215
8 | 0.0048359 | 0.001212
9 | 0.0029522 | 0.00073989
10 | 0.0088438 | 0.0022165
11 | 0.0043546 | 0.0010914
12 | 0.0023688 | 0.00059368
13 | 0.0041775 | 0.001047
14 | 0.0025522 | 0.00063964
15 | 0.0046438 | 0.0011639
16 | 0.0034158 | 0.00085608
17 | 0.0021075 | 0.00052819
18 | 0.0026082 | 0.00065367
19 | 0.014938 | 0.0037437
20 | 0.010861 | 0.002722
21 | 0.003833 | 0.00096063
22 | 0.0036849 | 0.00092352
23 | 0.0039321 | 0.00098547
24 | 0.0048838 | 0.001224
25 | 0.0027219 | 0.00068217
26 | 0.0021803 | 0.00054644
27 | 0.0020764 | 0.00052039
28 | 0.0030011 | 0.00075213
29 | 0.0053011 | 0.0013286
30 | 0.0045275 | 0.0011347
31 | 0.0066955 | 0.001678

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1