## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1375-13_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1375-13_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1375-13_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1375-13_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1375-13_0_3_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_1375-13_0_3_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_1375-13_0_3_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_1375-13_0_3_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_1375-13_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_1375-13_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1375-13_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1375-13_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1375-13_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1375-13_0_3_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_1375-13_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1375-13_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1375-13_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1375-13_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1375-13_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1375-13_0_3_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_1375-13_0_3_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_1375-13_0_3_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_1375-13_0_3_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_1375-13_0_3_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_1375-13_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1375-13_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_1375-13_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1375-13_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_1375-13_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_1375-13_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_1375-13_0_3_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_1375-13_0_3_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_1375-13_0_3_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_1375-13_0_3_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_1375-13_0_3_node_29 | 0.4 | n |  | TRUE
35 | bus_MV_135_0_node_23 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1375-13_0_3_load_0 | 0 | 0.033477 | 0.0083901 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1375-13_0_3_load_1 | 1 | 0.0047305 | 0.0011856 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1375-13_0_3_load_2 | 2 | 0.0018337 | 0.00045956 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1375-13_0_3_load_17 | 4 | 0.002906 | 0.00072832 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1375-13_0_3_load_14 | 5 | 0.0027872 | 0.00069855 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1375-13_0_3_load_24 | 6 | 0.0032731 | 0.00082033 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1375-13_0_3_load_15 | 7 | 0.0036739 | 0.00092077 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1375-13_0_3_load_4 | 8 | 0.0033616 | 0.00084249 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1375-13_0_3_load_5 | 9 | 0.0018363 | 0.00046023 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1375-13_0_3_load_7 | 11 | 0.0047731 | 0.0011962 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1375-13_0_3_load_31 | 13 | 0.026335 | 0.0066003 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1375-13_0_3_load_13 | 15 | 0.0082661 | 0.0020717 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1375-13_0_3_load_9 | 16 | 0.0096951 | 0.0024298 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1375-13_0_3_load_16 | 19 | 0.0037549 | 0.00094106 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1375-13_0_3_load_26 | 20 | 0.0053396 | 0.0013382 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1375-13_0_3_load_27 | 21 | 0.002066 | 0.00051778 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1375-13_0_3_load_30 | 22 | 0.0092859 | 0.0023273 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1375-13_0_3_load_18 | 24 | 0.0017201 | 0.0004311 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1375-13_0_3_load_19 | 25 | 0.0060419 | 0.0015143 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1375-13_0_3_load_20 | 26 | 0.0017878 | 0.00044806 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1375-13_0_3_load_23 | 28 | 0.0042117 | 0.0010556 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1375-13_0_3_load_32 | 30 | 0.0060815 | 0.0015242 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1375-13_0_3_load_34 | 32 | 0.0060792 | 0.0015236 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1375-13_0_3_load_29 | 34 | 0.0048229 | 0.0012087 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1375-13_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0072622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1375-13_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0092723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1375-13_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.038067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_1375-13_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.014107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1375-13_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.010821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1375-13_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.024738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1375-13_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1375-13_0_3_line_7 | NAYY 4x150 SE | 6 | 23 | 0.020369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1375-13_0_3_line_8 | NAYY 4x150 SE | 7 | 22 | 0.1032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1375-13_0_3_line_9 | NAYY 4x150 SE | 7 | 19 | 0.04 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1375-13_0_3_line_10 | NAYY 4x150 SE | 8 | 9 | 0.01454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1375-13_0_3_line_11 | NAYY 4x150 SE | 8 | 10 | 0.011473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1375-13_0_3_line_12 | NAYY 4x150 SE | 9 | 11 | 0.031637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1375-13_0_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.029377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1375-13_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.035191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1375-13_0_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.010976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1375-13_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.027198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1375-13_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.0055928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1375-13_0_3_line_18 | NAYY 4x150 SE | 15 | 20 | 0.00026598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1375-13_0_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.010905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1375-13_0_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.007808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1375-13_0_3_line_21 | NAYY 4x150 SE | 18 | 19 | 0.014998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1375-13_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.016683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1375-13_0_3_line_23 | NAYY 4x150 SE | 21 | 33 | 0.0062468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1375-13_0_3_line_24 | NAYY 4x150 SE | 23 | 29 | 0.027135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1375-13_0_3_line_25 | NAYY 4x150 SE | 23 | 26 | 0.0040813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1375-13_0_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.026962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1375-13_0_3_line_27 | NAYY 4x150 SE | 24 | 26 | 0.010902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1375-13_0_3_line_28 | NAYY 4x150 SE | 25 | 27 | 0.015316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1375-13_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.026539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1375-13_0_3_line_30 | NAYY 4x150 SE | 29 | 30 | 0.013726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1375-13_0_3_line_31 | NAYY 4x150 SE | 29 | 31 | 0.033432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1375-13_0_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.011243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1375-13_0_3_line_33 | NAYY 4x150 SE | 33 | 34 | 0.016476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1375-13_0_3_trafo_2 | 0.25 MVA 20/0.4 kV | 35 | 2 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2703674.6415 | 1212956.434 | 2703680.4928 | 1212960.7353
1 | 2703674.6415 | 1212956.434 | 2703667.9957 | 1212951.5485 | 2703667.2752 | 1212950.8208
2 | 2703657.5514 | 1212915.0856 | 2703660.7679 | 1212940.7263 | 2703662.0991 | 1212944.5744 | 2703664.053 | 1212947.566 | 2703667.2752 | 1212950.8208
3 | 2703657.5514 | 1212915.0856 | 2703671.6556 | 1212915.3707
4 | 2703657.5514 | 1212915.0856 | 2703646.7325 | 1212914.8649
5 | 2703696.3883 | 1212915.8707 | 2703671.6556 | 1212915.3707
6 | 2703623.2377 | 1212914.3857 | 2703646.7325 | 1212914.8649
7 | 2703716.7527 | 1212916.2823 | 2703696.3883 | 1212915.8707
8 | 2703623.2377 | 1212914.3857 | 2703621.9659 | 1212811.1937
9 | 2703583.9455 | 1212919.6605 | 2703602.8434 | 1212914.6125 | 2703605.7318 | 1212914.1178 | 2703609.5312 | 1212914.1061 | 2703623.2377 | 1212914.3857
10 | 2703601.9071 | 1212981.2723 | 2703615.8389 | 1212977.1124
11 | 2703590.914 | 1212984.5548 | 2703601.9071 | 1212981.2723
12 | 2703615.8389 | 1212977.1124 | 2703646.1538 | 1212968.0605
13 | 2703590.914 | 1212984.5548 | 2703583.9988 | 1212964.9208 | 2703581.2066 | 1212956.8221
14 | 2703581.2066 | 1212956.8221 | 2703614.7029 | 1212945.7405
15 | 2703577.6334 | 1212946.4416 | 2703581.2066 | 1212956.8221
16 | 2703577.6334 | 1212946.4416 | 2703555.481 | 1212962.2219
17 | 2703577.6334 | 1212946.4416 | 2703575.7259 | 1212941.1841
18 | 2703555.481 | 1212962.2219 | 2703555.2644 | 1212962.3762
19 | 2703572.0066 | 1212930.9329 | 2703575.7259 | 1212941.1841
20 | 2703572.0066 | 1212930.9329 | 2703569.4602 | 1212923.5501
21 | 2703569.4602 | 1212923.5501 | 2703574.079 | 1212922.2961 | 2703583.9455 | 1212919.6605
22 | 2703555.2644 | 1212962.3762 | 2703553.4216 | 1212963.6889 | 2703542.8805 | 1212973.5294
23 | 2703538.3142 | 1212977.7922 | 2703542.8805 | 1212973.5294
24 | 2703716.7527 | 1212916.2823 | 2703712.0609 | 1212942.2525 | 2703711.8056 | 1212942.9485
25 | 2703716.7527 | 1212916.2823 | 2703720.8332 | 1212916.3646
26 | 2703731.7331 | 1212916.5844 | 2703736.8739 | 1212916.6881 | 2703758.6852 | 1212916.0748
27 | 2703720.8332 | 1212916.3646 | 2703731.7331 | 1212916.5844
28 | 2703773.9952 | 1212915.6442 | 2703758.6852 | 1212916.0748
29 | 2703773.9952 | 1212915.6442 | 2703773.9411 | 1212937.0807 | 2703773.475 | 1212942.1614
30 | 2703711.8056 | 1212942.9485 | 2703722.1367 | 1212946.5974 | 2703723.0263 | 1212943.9443
31 | 2703711.8056 | 1212942.9485 | 2703705.5396 | 1212960.2629 | 2703704.3747 | 1212974.8085 | 2703704.3142 | 1212975.23
32 | 2703704.3142 | 1212975.23 | 2703713.2536 | 1212978.51 | 2703714.0254 | 1212976.9445
33 | 2703538.3142 | 1212977.7922 | 2703522.012 | 1212975.4044

## bus_geodata
| x | y | coords
0 | 2703674.6415 | 1212956.434
1 | 2703680.4928 | 1212960.7353
2 | 2703667.2752 | 1212950.8208
3 | 2703657.5514 | 1212915.0856
4 | 2703671.6556 | 1212915.3707
5 | 2703646.7325 | 1212914.8649
6 | 2703696.3883 | 1212915.8707
7 | 2703623.2377 | 1212914.3856
8 | 2703601.9071 | 1212981.2723
9 | 2703615.8389 | 1212977.1124
10 | 2703590.914 | 1212984.5548
11 | 2703646.1538 | 1212968.0605
12 | 2703581.2066 | 1212956.8221
13 | 2703614.7029 | 1212945.7405
14 | 2703577.6334 | 1212946.4416
15 | 2703555.481 | 1212962.2219
16 | 2703575.7259 | 1212941.1841
17 | 2703572.0066 | 1212930.9329
18 | 2703569.4602 | 1212923.5501
19 | 2703583.9455 | 1212919.6605
20 | 2703555.2644 | 1212962.3762
21 | 2703542.8805 | 1212973.5294
22 | 2703621.9659 | 1212811.1937
23 | 2703716.7527 | 1212916.2823
24 | 2703731.7331 | 1212916.5844
25 | 2703758.6852 | 1212916.0748
26 | 2703720.8332 | 1212916.3646
27 | 2703773.9952 | 1212915.6442
28 | 2703773.475 | 1212942.1614
29 | 2703711.8056 | 1212942.9485
30 | 2703723.0263 | 1212943.9443
31 | 2703704.3142 | 1212975.23
32 | 2703714.0254 | 1212976.9445
33 | 2703538.3142 | 1212977.7922
34 | 2703522.012 | 1212975.4044
35 | 2703657.5514 | 1212915.0856

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99949 | -0.0035376 | 0.033477 | 0.0083901
1 | 0.99945 | -0.0038809 | 0.0047305 | 0.0011856
2 | 1 | 0 | -0.15855 | -0.039719
3 | 0.99676 | -0.02252 | 0 | 0
4 | 0.99611 | -0.027075 | 0.002906 | 0.00072832
5 | 0.99541 | -0.031885 | 0.0027872 | 0.00069855
6 | 0.99507 | -0.034352 | 0.0032731 | 0.00082033
7 | 0.99258 | -0.051646 | 0.0036739 | 0.00092077
8 | 0.98363 | -0.11479 | 0.0033616 | 0.00084249
9 | 0.98349 | -0.11578 | 0.0018363 | 0.00046023
10 | 0.9838 | -0.11361 | 0 | 0
11 | 0.98327 | -0.11734 | 0.0047731 | 0.0011962
12 | 0.98422 | -0.11059 | 0 | 0
13 | 0.98288 | -0.12015 | 0.026335 | 0.0066003
14 | 0.9848 | -0.10649 | 0 | 0
15 | 0.98399 | -0.11223 | 0.0082661 | 0.0020717
16 | 0.98526 | -0.10322 | 0.0096951 | 0.0024298
17 | 0.98631 | -0.095768 | 0 | 0
18 | 0.98706 | -0.090444 | 0 | 0
19 | 0.98851 | -0.080239 | 0.0037549 | 0.00094106
20 | 0.98399 | -0.11226 | 0.0053396 | 0.0013382
21 | 0.98382 | -0.11345 | 0.002066 | 0.00051778
22 | 0.9912 | -0.061372 | 0.0092859 | 0.0023273
23 | 0.99431 | -0.039681 | 0 | 0
24 | 0.99405 | -0.041568 | 0.0017201 | 0.0004311
25 | 0.99365 | -0.044362 | 0.0060419 | 0.0015143
26 | 0.99423 | -0.040248 | 0.0017878 | 0.00044806
27 | 0.99356 | -0.045015 | 0 | 0
28 | 0.9934 | -0.046146 | 0.0042117 | 0.0010556
29 | 0.99384 | -0.043016 | 0 | 0
30 | 0.99372 | -0.043859 | 0.0060815 | 0.0015242
31 | 0.99355 | -0.045071 | 0 | 0
32 | 0.99345 | -0.045762 | 0.0060792 | 0.0015236
33 | 0.98378 | -0.11376 | 0 | 0
34 | 0.98366 | -0.11458 | 0.0048229 | 0.0012087
35 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0047307 | 0.0011856 | -0.0047305 | -0.0011856 | 2.2478e-07 | -8.7198e-09 | 0.0070429 | 0.0070429 | 0.0070429 | 0.99949 | -0.0035376 | 0.99945 | -0.0038809 | 2.6085
1 | -0.038207 | -0.0095756 | 0.038226 | 0.0095827 | 1.8721e-05 | 7.0787e-06 | 0.056882 | 0.056882 | 0.056882 | 0.99949 | -0.0035376 | 1 | 0 | 21.0674
2 | 0.11952 | 0.030136 | -0.11915 | -0.029992 | 0.00037594 | 0.0001436 | 0.17791 | 0.17791 | 0.17791 | 1 | 0 | 0.99676 | -0.02252 | 32.9469
3 | 0.032187 | 0.0080754 | -0.032167 | -0.0080678 | 2.0327e-05 | 7.6345e-06 | 0.048054 | 0.048054 | 0.048054 | 0.99676 | -0.02252 | 0.99611 | -0.027075 | 17.7979
4 | 0.086958 | 0.021917 | -0.086844 | -0.021873 | 0.00011387 | 4.3655e-05 | 0.12986 | 0.12986 | 0.12986 | 0.99676 | -0.02252 | 0.99541 | -0.031885 | 48.0961
5 | 0.029261 | 0.0073395 | -0.029231 | -0.0073285 | 2.9496e-05 | 1.1023e-05 | 0.043713 | 0.043713 | 0.043713 | 0.99611 | -0.027075 | 0.99507 | -0.034352 | 16.1901
6 | 0.084057 | 0.021175 | -0.083825 | -0.021086 | 0.00023167 | 8.8799e-05 | 0.12569 | 0.12569 | 0.12569 | 0.99541 | -0.031885 | 0.99258 | -0.051646 | 46.553
7 | 0.025958 | 0.0065081 | -0.025939 | -0.006501 | 1.9152e-05 | 7.1019e-06 | 0.038819 | 0.038819 | 0.038819 | 0.99507 | -0.034352 | 0.99431 | -0.039681 | 14.3773
8 | 0.0092985 | 0.0023308 | -0.0092859 | -0.0023273 | 1.2514e-05 | 3.481e-06 | 0.01394 | 0.01394 | 0.01394 | 0.99258 | -0.051646 | 0.9912 | -0.061372 | 5.1631
9 | 0.070853 | 0.017834 | -0.070571 | -0.017727 | 0.00028175 | 0.00010785 | 0.10625 | 0.10625 | 0.10625 | 0.99258 | -0.051646 | 0.98851 | -0.080239 | 39.3502
10 | 0.0066114 | 0.0016566 | -0.0066105 | -0.0016565 | 9.0754e-07 | 1.6452e-07 | 0.010001 | 0.010001 | 0.010001 | 0.98363 | -0.11479 | 0.98349 | -0.11578 | 3.7043
11 | -0.0099729 | -0.0024991 | 0.0099746 | 0.0024996 | 1.6294e-06 | 4.8106e-07 | 0.015087 | 0.015087 | 0.015087 | 0.98363 | -0.11479 | 0.9838 | -0.11361 | 5.5877
12 | 0.0047741 | 0.0011962 | -0.0047731 | -0.0011962 | 1.03e-06 | -5.2237e-09 | 0.0072231 | 0.0072232 | 0.0072232 | 0.98349 | -0.11578 | 0.98327 | -0.11734 | 2.6753
13 | -0.0099746 | -0.0024996 | 0.0099787 | 0.0025008 | 4.1723e-06 | 1.2315e-06 | 0.015087 | 0.015087 | 0.015087 | 0.9838 | -0.11361 | 0.98422 | -0.11059 | 5.5876
14 | 0.02637 | 0.0066132 | -0.026335 | -0.0066003 | 3.4907e-05 | 1.2979e-05 | 0.03987 | 0.03987 | 0.03987 | 0.98422 | -0.11059 | 0.98288 | -0.12015 | 14.7667
15 | -0.036349 | -0.0091141 | 0.03637 | 0.0091219 | 2.0685e-05 | 7.8164e-06 | 0.054956 | 0.054956 | 0.054956 | 0.98422 | -0.11059 | 0.9848 | -0.10649 | 20.3542
16 | 0.020513 | 0.0051426 | -0.020496 | -0.0051366 | 1.6305e-05 | 5.9252e-06 | 0.030995 | 0.030995 | 0.030995 | 0.9848 | -0.10649 | 0.98399 | -0.11223 | 11.4797
17 | -0.056882 | -0.014264 | 0.056908 | 0.014274 | 2.5782e-05 | 9.845e-06 | 0.085951 | 0.085951 | 0.085951 | 0.9848 | -0.10649 | 0.98526 | -0.10322 | 31.8338
18 | 0.01223 | 0.003065 | -0.01223 | -0.003065 | 5.6772e-08 | 1.8457e-08 | 0.018495 | 0.018495 | 0.018495 | 0.98399 | -0.11223 | 0.98399 | -0.11226 | 6.85
19 | -0.066603 | -0.016704 | 0.066672 | 0.01673 | 6.8858e-05 | 2.6345e-05 | 0.10059 | 0.10059 | 0.10059 | 0.98526 | -0.10322 | 0.98631 | -0.095768 | 37.2569
20 | -0.066672 | -0.01673 | 0.066721 | 0.016749 | 4.9302e-05 | 1.8863e-05 | 0.10059 | 0.10059 | 0.10059 | 0.98631 | -0.095768 | 0.98706 | -0.090444 | 37.2568
21 | -0.066721 | -0.016749 | 0.066816 | 0.016786 | 9.4704e-05 | 3.6233e-05 | 0.10059 | 0.10059 | 0.10059 | 0.98706 | -0.090444 | 0.98851 | -0.080239 | 37.2568
22 | 0.0068908 | 0.0017267 | -0.0068896 | -0.0017265 | 1.1304e-06 | 2.2288e-07 | 0.01042 | 0.01042 | 0.01042 | 0.98399 | -0.11226 | 0.98382 | -0.11345 | 3.8594
23 | 0.0048236 | 0.0012087 | -0.0048234 | -0.0012087 | 2.0748e-07 | 4.7887e-10 | 0.0072956 | 0.0072957 | 0.0072957 | 0.98382 | -0.11345 | 0.98378 | -0.11376 | 2.7021
24 | 0.012169 | 0.00305 | -0.012164 | -0.0030482 | 5.6159e-06 | 1.8082e-06 | 0.018212 | 0.018212 | 0.018212 | 0.99431 | -0.039681 | 0.99384 | -0.043016 | 6.7451
25 | 0.01377 | 0.0034511 | -0.013769 | -0.0034507 | 1.0814e-06 | 3.6301e-07 | 0.020607 | 0.020607 | 0.020607 | 0.99431 | -0.039681 | 0.99423 | -0.040248 | 7.6322
26 | 0.010259 | 0.0025708 | -0.010255 | -0.0025697 | 3.9675e-06 | 1.1766e-06 | 0.015356 | 0.015357 | 0.015357 | 0.99405 | -0.041568 | 0.99365 | -0.044362 | 5.6876
27 | -0.011979 | -0.0030019 | 0.011981 | 0.0030026 | 2.1874e-06 | 6.9993e-07 | 0.017931 | 0.017931 | 0.017931 | 0.99405 | -0.041568 | 0.99423 | -0.040248 | 6.6412
28 | 0.0042127 | 0.0010554 | -0.0042124 | -0.0010555 | 3.8036e-07 | -5.208e-08 | 0.0063086 | 0.0063086 | 0.0063086 | 0.99365 | -0.044362 | 0.99356 | -0.045015 | 2.3365
29 | 0.0042124 | 0.0010555 | -0.0042117 | -0.0010556 | 6.5908e-07 | -9.0146e-08 | 0.0063086 | 0.0063087 | 0.0063087 | 0.99356 | -0.045015 | 0.9934 | -0.046146 | 2.3366
30 | 0.0060822 | 0.0015243 | -0.0060815 | -0.0015242 | 7.1028e-07 | 9.5343e-08 | 0.0091065 | 0.0091065 | 0.0091065 | 0.99384 | -0.043016 | 0.99372 | -0.043859 | 3.3728
31 | 0.0060815 | 0.0015239 | -0.0060798 | -0.0015237 | 1.7296e-06 | 2.3216e-07 | 0.0091054 | 0.0091056 | 0.0091056 | 0.99384 | -0.043016 | 0.99355 | -0.045071 | 3.3724
32 | 0.0060798 | 0.0015237 | -0.0060792 | -0.0015236 | 5.8168e-07 | 7.8135e-08 | 0.0091056 | 0.0091056 | 0.0091056 | 0.99355 | -0.045071 | 0.99345 | -0.045762 | 3.3725
33 | 0.0048234 | 0.0012087 | -0.0048229 | -0.0012087 | 5.4723e-07 | 1.2998e-09 | 0.0072957 | 0.0072957 | 0.0072957 | 0.98378 | -0.11376 | 0.98366 | -0.11458 | 2.7021

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.16038 | 0.040178

## res_load
| p_mw | q_mvar
0 | 0.033477 | 0.0083901
1 | 0.0047305 | 0.0011856
2 | 0.0018337 | 0.00045956
3 | 0.002906 | 0.00072832
4 | 0.0027872 | 0.00069855
5 | 0.0032731 | 0.00082033
6 | 0.0036739 | 0.00092077
7 | 0.0033616 | 0.00084249
8 | 0.0018363 | 0.00046023
9 | 0.0047731 | 0.0011962
10 | 0.026335 | 0.0066003
11 | 0.0082661 | 0.0020717
12 | 0.0096951 | 0.0024298
13 | 0.0037549 | 0.00094106
14 | 0.0053396 | 0.0013382
15 | 0.002066 | 0.00051778
16 | 0.0092859 | 0.0023273
17 | 0.0017201 | 0.0004311
18 | 0.0060419 | 0.0015143
19 | 0.0017878 | 0.00044806
20 | 0.0042117 | 0.0010556
21 | 0.0060815 | 0.0015242
22 | 0.0060792 | 0.0015236
23 | 0.0048229 | 0.0012087

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1