## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1375-15_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1375-15_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1375-15_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1375-15_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1375-15_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1375-15_0_3_node_47 | 0.4 | n |  | TRUE
6 | bus_LV_1375-15_0_3_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_1375-15_0_3_node_46 | 0.4 | n |  | TRUE
8 | bus_LV_1375-15_0_3_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_1375-15_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1375-15_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1375-15_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1375-15_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1375-15_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1375-15_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1375-15_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1375-15_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1375-15_0_3_node_45 | 0.4 | n |  | TRUE
18 | bus_LV_1375-15_0_3_node_44 | 0.4 | n |  | TRUE
19 | bus_LV_1375-15_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1375-15_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1375-15_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1375-15_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1375-15_0_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1375-15_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_1375-15_0_3_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_1375-15_0_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_1375-15_0_3_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_1375-15_0_3_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_1375-15_0_3_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_1375-15_0_3_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_1375-15_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_1375-15_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_1375-15_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_1375-15_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_1375-15_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_1375-15_0_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_1375-15_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_1375-15_0_3_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_1375-15_0_3_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_1375-15_0_3_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_1375-15_0_3_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_1375-15_0_3_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_1375-15_0_3_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_1375-15_0_3_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_1375-15_0_3_node_43 | 0.4 | n |  | TRUE
46 | bus_MV_135_0_node_34 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1375-15_0_3_load_0 | 0 | 0.012933 | 0.0032413 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1375-15_0_3_load_1 | 1 | 0.024163 | 0.0060558 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1375-15_0_3_load_2 | 2 | 0.0043844 | 0.0010988 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1375-15_0_3_load_4 | 4 | 0.0019391 | 0.00048599 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1375-15_0_3_load_47 | 5 | 0.0054129 | 0.0013566 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1375-15_0_3_load_18 | 6 | 0.0023417 | 0.00058689 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1375-15_0_3_load_46 | 7 | 0.0090567 | 0.0022698 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1375-15_0_3_load_5 | 9 | 0.013189 | 0.0033054 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1375-15_0_3_load_6 | 10 | 0.013351 | 0.003346 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1375-15_0_3_load_7 | 11 | 0.0059074 | 0.0014805 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1375-15_0_3_load_8 | 12 | 0.010132 | 0.0025394 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1375-15_0_3_load_9 | 13 | 0.0061661 | 0.0015454 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1375-15_0_3_load_10 | 14 | 0.006476 | 0.001623 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1375-15_0_3_load_45 | 17 | 0.0043635 | 0.0010936 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1375-15_0_3_load_13 | 19 | 0.0025036 | 0.00062746 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1375-15_0_3_load_14 | 20 | 0.0037775 | 0.00094674 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1375-15_0_3_load_15 | 21 | 0.0037592 | 0.00094215 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1375-15_0_3_load_17 | 22 | 0.0033487 | 0.00083926 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1375-15_0_3_load_20 | 23 | 0.0032871 | 0.00082382 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1375-15_0_3_load_22 | 25 | 0.0032909 | 0.00082477 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1375-15_0_3_load_23 | 26 | 0.0030349 | 0.00076063 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1375-15_0_3_load_39 | 27 | 0.001282 | 0.00032129 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1375-15_0_3_load_40 | 29 | 0.0024479 | 0.00061351 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1375-15_0_3_load_36 | 30 | 0.0024539 | 0.000615 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1375-15_0_3_load_24 | 31 | 0.0032087 | 0.00080419 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1375-15_0_3_load_25 | 32 | 0.0053172 | 0.0013326 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1375-15_0_3_load_26 | 33 | 0.0090927 | 0.0022788 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1375-15_0_3_load_27 | 34 | 0.019701 | 0.0049375 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1375-15_0_3_load_28 | 35 | 0.0047347 | 0.0011866 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1375-15_0_3_load_29 | 38 | 0.0043415 | 0.0010881 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1375-15_0_3_load_31 | 39 | 0.0057048 | 0.0014298 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1375-15_0_3_load_35 | 40 | 0.0068746 | 0.0017229 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1375-15_0_3_load_33 | 41 | 0.0031168 | 0.00078113 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1375-15_0_3_load_34 | 43 | 0.0054289 | 0.0013606 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1375-15_0_3_load_42 | 44 | 0.0059265 | 0.0014853 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1375-15_0_3_load_43 | 45 | 0.0075543 | 0.0018933 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1375-15_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0022252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1375-15_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.01574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1375-15_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.014341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1375-15_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.013316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1375-15_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0050703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1375-15_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0016913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1375-15_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0011807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1375-15_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.026432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1375-15_0_3_line_8 | NAYY 4x150 SE | 7 | 12 | 0.011823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1375-15_0_3_line_9 | NAYY 4x150 SE | 8 | 20 | 0.024338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1375-15_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.011723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1375-15_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.014161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_1375-15_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.016608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1375-15_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.0033668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_1375-15_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.00021537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_1375-15_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.025435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_1375-15_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.007808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_1375-15_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.02829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_1375-15_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.023957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_1375-15_0_3_line_19 | NAYY 4x150 SE | 18 | 44 | 0.015181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1375-15_0_3_line_20 | NAYY 4x150 SE | 18 | 42 | 0.021698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1375-15_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.02583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1375-15_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.028748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1375-15_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.022814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1375-15_0_3_line_24 | NAYY 4x150 SE | 23 | 24 | 0.018203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1375-15_0_3_line_25 | NAYY 4x150 SE | 24 | 25 | 0.0086093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1375-15_0_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.018931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1375-15_0_3_line_27 | NAYY 4x150 SE | 24 | 27 | 0.04337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1375-15_0_3_line_28 | NAYY 4x150 SE | 25 | 29 | 0.023408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1375-15_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.031338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1375-15_0_3_line_30 | NAYY 4x150 SE | 28 | 30 | 0.015774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1375-15_0_3_line_31 | NAYY 4x150 SE | 28 | 42 | 0.019463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1375-15_0_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.012814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1375-15_0_3_line_33 | NAYY 4x150 SE | 31 | 33 | 0.017697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1375-15_0_3_line_34 | NAYY 4x150 SE | 32 | 34 | 0.0051304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1375-15_0_3_line_35 | NAYY 4x150 SE | 33 | 35 | 0.029821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1375-15_0_3_line_36 | NAYY 4x150 SE | 34 | 36 | 0.0064734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1375-15_0_3_line_37 | NAYY 4x150 SE | 36 | 37 | 0.01263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1375-15_0_3_line_38 | NAYY 4x150 SE | 36 | 38 | 0.013687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1375-15_0_3_line_39 | NAYY 4x150 SE | 37 | 40 | 0.0097839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1375-15_0_3_line_40 | NAYY 4x150 SE | 37 | 41 | 0.012215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1375-15_0_3_line_41 | NAYY 4x150 SE | 38 | 39 | 0.01237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1375-15_0_3_line_42 | NAYY 4x150 SE | 40 | 42 | 0.010844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_1375-15_0_3_line_43 | NAYY 4x150 SE | 41 | 43 | 0.0057338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1375-15_0_3_line_44 | NAYY 4x150 SE | 44 | 45 | 0.0077498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1375-15_0_3_trafo_35 | 0.25 MVA 20/0.4 kV | 46 | 40 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2703535.4333 | 1212823.0094 | 2703536.1335 | 1212825.1216
1 | 2703535.4333 | 1212823.0094 | 2703530.4804 | 1212808.0694
2 | 2703540.6464 | 1212838.7342 | 2703536.1335 | 1212825.1216
3 | 2703528.4203 | 1212794.9134 | 2703530.4804 | 1212808.0694 | 2703530.4804 | 1212808.0694
4 | 2703540.6464 | 1212838.7342 | 2703542.3034 | 1212843.5261
5 | 2703528.1586 | 1212793.2425 | 2703528.4203 | 1212794.9134
6 | 2703542.6893 | 1212844.642 | 2703542.3034 | 1212843.5261
7 | 2703532.6076 | 1212767.4109 | 2703531.1507 | 1212771.6664 | 2703529.731 | 1212777.279 | 2703527.7376 | 1212790.5538 | 2703528.1586 | 1212793.2425
8 | 2703546.553 | 1212855.8157 | 2703542.6893 | 1212844.642
9 | 2703532.6076 | 1212767.4109 | 2703522.4567 | 1212765.6112 | 2703517.1744 | 1212764.8078 | 2703511.9539 | 1212764.3836 | 2703508.5059 | 1212764.3723
10 | 2703555.8116 | 1212882.5907 | 2703551.9805 | 1212871.5114
11 | 2703555.8116 | 1212882.5907 | 2703560.4396 | 1212895.9746
12 | 2703551.9805 | 1212871.5114 | 2703546.553 | 1212855.8157
13 | 2703561.5399 | 1212899.1566 | 2703560.4396 | 1212895.9746
14 | 2703561.5399 | 1212899.1566 | 2703561.6103 | 1212899.3601
15 | 2703569.4602 | 1212923.5501 | 2703564.9341 | 1212908.9723 | 2703561.6103 | 1212899.3601
16 | 2703572.0066 | 1212930.9329 | 2703569.4602 | 1212923.5501
17 | 2703572.0066 | 1212930.9329 | 2703564.4703 | 1212929.9791 | 2703562.9896 | 1212929.4864 | 2703561.2186 | 1212928.6439 | 2703557.9766 | 1212926.753 | 2703549.6341 | 1212921.4711 | 2703546.6361 | 1212919.5805
18 | 2703526.3718 | 1212906.8013 | 2703546.6361 | 1212919.5805
19 | 2703526.3718 | 1212906.8013 | 2703517.6973 | 1212919.2598
20 | 2703507.847 | 1212895.4161 | 2703522.1932 | 1212904.1491 | 2703526.3718 | 1212906.8013
21 | 2703482.8015 | 1212766.6255 | 2703491.3497 | 1212765.5157 | 2703498.4375 | 1212764.7381 | 2703504.8496 | 1212764.3603 | 2703508.5059 | 1212764.3723
22 | 2703454.2081 | 1212769.1579 | 2703460.4448 | 1212769.0932 | 2703467.1981 | 1212768.7657 | 2703479.2634 | 1212767.0849 | 2703482.8015 | 1212766.6255
23 | 2703454.2081 | 1212769.1579 | 2703431.3952 | 1212769.3945
24 | 2703482.4439 | 1212971.6515 | 2703481.0314 | 1212971.6048 | 2703464.2481 | 1212972.0557
25 | 2703482.4439 | 1212971.6515 | 2703491.0491 | 1212971.9198
26 | 2703482.4439 | 1212971.6515 | 2703480.9312 | 1212973.4377 | 2703479.5793 | 1212975.5935 | 2703479.1071 | 1212977.8425 | 2703479.2122 | 1212989.5896
27 | 2703474.4625 | 1212929.0224 | 2703482.4439 | 1212971.6515
28 | 2703491.0491 | 1212971.9198 | 2703500.1612 | 1212972.2038 | 2703514.3016 | 1212974.275
29 | 2703497.9739 | 1212912.2011 | 2703492.276 | 1212912.1467 | 2703488.8526 | 1212912.3874 | 2703486.7067 | 1212913.4398 | 2703474.4625 | 1212929.0224
30 | 2703497.9739 | 1212912.2011 | 2703500.1061 | 1212920.6886 | 2703499.8742 | 1212922.6637 | 2703498.9461 | 1212924.9159 | 2703497.4393 | 1212927.0331
31 | 2703497.9739 | 1212912.2011 | 2703507.847 | 1212895.4161
32 | 2703458.6004 | 1212865.3421 | 2703469.5375 | 1212872.0198
33 | 2703458.6004 | 1212865.3421 | 2703443.4959 | 1212856.1201
34 | 2703473.9163 | 1212874.6932 | 2703469.5375 | 1212872.0198
35 | 2703443.4959 | 1212856.1201 | 2703418.0439 | 1212840.5804
36 | 2703479.4413 | 1212878.0665 | 2703473.9163 | 1212874.6932
37 | 2703490.2459 | 1212884.6587 | 2703479.4413 | 1212878.0665
38 | 2703479.4413 | 1212878.0665 | 2703472.2861 | 1212889.734
39 | 2703490.2459 | 1212884.6587 | 2703498.5941 | 1212889.7609
40 | 2703490.2459 | 1212884.6587 | 2703483.7965 | 1212895.0319
41 | 2703465.8192 | 1212900.2792 | 2703472.2861 | 1212889.734
42 | 2703507.847 | 1212895.4161 | 2703498.5941 | 1212889.7609
43 | 2703483.7965 | 1212895.0319 | 2703480.769 | 1212899.9014
44 | 2703517.6973 | 1212919.2598 | 2703516.4048 | 1212921.1162 | 2703513.0124 | 1212925.4298

## bus_geodata
| x | y | coords
0 | 2703535.4333 | 1212823.0094
1 | 2703536.1335 | 1212825.1216
2 | 2703530.4804 | 1212808.0694
3 | 2703540.6464 | 1212838.7342
4 | 2703528.4203 | 1212794.9134
5 | 2703542.3034 | 1212843.5261
6 | 2703528.1586 | 1212793.2425
7 | 2703542.6893 | 1212844.642
8 | 2703532.6076 | 1212767.4109
9 | 2703555.8116 | 1212882.5907
10 | 2703551.9805 | 1212871.5114
11 | 2703560.4396 | 1212895.9746
12 | 2703546.553 | 1212855.8157
13 | 2703561.5399 | 1212899.1566
14 | 2703561.6103 | 1212899.3601
15 | 2703569.4602 | 1212923.5501
16 | 2703572.0066 | 1212930.9329
17 | 2703546.6361 | 1212919.5805
18 | 2703526.3718 | 1212906.8013
19 | 2703482.8015 | 1212766.6255
20 | 2703508.5059 | 1212764.3723
21 | 2703454.2081 | 1212769.1579
22 | 2703431.3952 | 1212769.3945
23 | 2703464.2481 | 1212972.0557
24 | 2703482.4439 | 1212971.6515
25 | 2703491.0491 | 1212971.9198
26 | 2703479.2122 | 1212989.5896
27 | 2703474.4625 | 1212929.0224
28 | 2703497.9739 | 1212912.2011
29 | 2703514.3016 | 1212974.275
30 | 2703497.4393 | 1212927.0331
31 | 2703458.6004 | 1212865.3421
32 | 2703469.5375 | 1212872.0198
33 | 2703443.4959 | 1212856.1201
34 | 2703473.9163 | 1212874.6932
35 | 2703418.0439 | 1212840.5804
36 | 2703479.4413 | 1212878.0665
37 | 2703490.2459 | 1212884.6586
38 | 2703472.2861 | 1212889.734
39 | 2703465.8192 | 1212900.2792
40 | 2703498.5941 | 1212889.7609
41 | 2703483.7965 | 1212895.0319
42 | 2703507.847 | 1212895.4161
43 | 2703480.769 | 1212899.9014
44 | 2703517.6973 | 1212919.2598
45 | 2703513.0124 | 1212925.4298
46 | 2703490.2459 | 1212884.6586

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98008 | -0.13978 | 0.012933 | 0.0032413
1 | 0.9802 | -0.13897 | 0.024163 | 0.0060558
2 | 0.97958 | -0.14339 | 0.0043844 | 0.0010988
3 | 0.98143 | -0.13017 | 0 | 0
4 | 0.97923 | -0.14584 | 0.0019391 | 0.00048599
5 | 0.98187 | -0.12706 | 0.0054129 | 0.0013566
6 | 0.9792 | -0.14612 | 0.0023417 | 0.00058689
7 | 0.98198 | -0.12627 | 0.0090567 | 0.0022698
8 | 0.97868 | -0.14981 | 0 | 0
9 | 0.98692 | -0.091256 | 0.013189 | 0.0033054
10 | 0.98527 | -0.10294 | 0.013351 | 0.003346
11 | 0.98805 | -0.083262 | 0.0059074 | 0.0014805
12 | 0.98324 | -0.11728 | 0.010132 | 0.0025394
13 | 0.98834 | -0.081262 | 0.0061661 | 0.0015454
14 | 0.98836 | -0.081128 | 0.006476 | 0.001623
15 | 0.99073 | -0.064424 | 0 | 0
16 | 0.99146 | -0.059312 | 0 | 0
17 | 0.99411 | -0.040853 | 0.0043635 | 0.0010936
18 | 0.99642 | -0.024772 | 0 | 0
19 | 0.97784 | -0.1558 | 0.0025036 | 0.00062746
20 | 0.9782 | -0.15321 | 0.0037775 | 0.00094674
21 | 0.97754 | -0.15793 | 0.0037592 | 0.00094215
22 | 0.97743 | -0.15873 | 0.0033487 | 0.00083926
23 | 0.99685 | -0.021936 | 0.0032871 | 0.00082382
24 | 0.99694 | -0.021335 | 0 | 0
25 | 0.99687 | -0.021831 | 0.0032909 | 0.00082477
26 | 0.99686 | -0.021912 | 0.0030349 | 0.00076063
27 | 0.99769 | -0.016082 | 0.001282 | 0.00032129
28 | 0.99829 | -0.011888 | 0 | 0
29 | 0.99679 | -0.022407 | 0.0024479 | 0.00061351
30 | 0.99823 | -0.012276 | 0.0024539 | 0.000615
31 | 0.99735 | -0.018583 | 0.0032087 | 0.00080419
32 | 0.99766 | -0.016393 | 0.0053172 | 0.0013326
33 | 0.997 | -0.02104 | 0.0090927 | 0.0022788
34 | 0.99782 | -0.015242 | 0.019701 | 0.0049375
35 | 0.9968 | -0.022458 | 0.0047347 | 0.0011866
36 | 0.99821 | -0.012514 | 0 | 0
37 | 0.99915 | -0.0059282 | 0 | 0
38 | 0.99802 | -0.013892 | 0.0043415 | 0.0010881
39 | 0.99791 | -0.014599 | 0.0057048 | 0.0014298
40 | 1 | 0 | -0.22638 | -0.056854
41 | 0.999 | -0.0069721 | 0.0031168 | 0.00078113
42 | 0.99873 | -0.0088074 | 0 | 0
43 | 0.99896 | -0.0072834 | 0.0054289 | 0.0013606
44 | 0.99613 | -0.02683 | 0.0059265 | 0.0014853
45 | 0.99604 | -0.027419 | 0.0075543 | 0.0018933
46 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.035024 | -0.0087807 | 0.035028 | 0.0087822 | 3.9264e-06 | 1.4821e-06 | 0.053176 | 0.053176 | 0.053176 | 0.98008 | -0.13978 | 0.9802 | -0.13897 | 19.6949
1 | 0.022091 | 0.0055395 | -0.02208 | -0.0055354 | 1.1049e-05 | 4.0514e-06 | 0.033541 | 0.033541 | 0.033541 | 0.98008 | -0.13978 | 0.97958 | -0.14339 | 12.4226
2 | -0.059191 | -0.014838 | 0.059263 | 0.014866 | 7.2256e-05 | 2.761e-05 | 0.089857 | 0.089857 | 0.089857 | 0.9802 | -0.13897 | 0.98143 | -0.13017 | 33.2805
3 | 0.017696 | 0.0044366 | -0.01769 | -0.0044344 | 6.0042e-06 | 2.1417e-06 | 0.026881 | 0.026881 | 0.026881 | 0.97958 | -0.14339 | 0.97923 | -0.14584 | 9.9559
4 | -0.059263 | -0.014866 | 0.059288 | 0.014875 | 2.5546e-05 | 9.7613e-06 | 0.089857 | 0.089857 | 0.089857 | 0.98143 | -0.13017 | 0.98187 | -0.12706 | 33.2804
5 | 0.01575 | 0.0039484 | -0.01575 | -0.0039482 | 6.0455e-07 | 2.1124e-07 | 0.023934 | 0.023934 | 0.023934 | 0.97923 | -0.14584 | 0.9792 | -0.14612 | 8.8645
6 | -0.064701 | -0.016232 | 0.064708 | 0.016235 | 7.0844e-06 | 2.7098e-06 | 0.09806 | 0.09806 | 0.09806 | 0.98187 | -0.12706 | 0.98198 | -0.12627 | 36.3187
7 | 0.013408 | 0.0033613 | -0.013401 | -0.003359 | 6.8478e-06 | 2.3014e-06 | 0.020376 | 0.020376 | 0.020376 | 0.9792 | -0.14612 | 0.97868 | -0.14981 | 7.5466
8 | -0.073765 | -0.018504 | 0.073857 | 0.01854 | 9.2187e-05 | 3.5307e-05 | 0.11178 | 0.11178 | 0.11178 | 0.98198 | -0.12627 | 0.98324 | -0.11728 | 41.4015
9 | 0.013401 | 0.003359 | -0.013395 | -0.0033569 | 6.3052e-06 | 2.1194e-06 | 0.020376 | 0.020376 | 0.020376 | 0.97868 | -0.14981 | 0.9782 | -0.15321 | 7.5466
10 | 0.097666 | 0.02455 | -0.097508 | -0.024489 | 0.00015868 | 6.0881e-05 | 0.14728 | 0.14728 | 0.14728 | 0.98692 | -0.091256 | 0.98527 | -0.10294 | 54.5487
11 | -0.11086 | -0.027856 | 0.11098 | 0.027903 | 0.00012347 | 4.7126e-05 | 0.16717 | 0.16717 | 0.16717 | 0.98692 | -0.091256 | 0.98805 | -0.083262 | 30.9567
12 | 0.084157 | 0.021143 | -0.08399 | -0.021079 | 0.00016746 | 6.4196e-05 | 0.12712 | 0.12712 | 0.12712 | 0.98527 | -0.10294 | 0.98324 | -0.11728 | 47.0808
13 | -0.11689 | -0.029383 | 0.11692 | 0.029396 | 3.2562e-05 | 1.2438e-05 | 0.17606 | 0.17606 | 0.17606 | 0.98805 | -0.083262 | 0.98834 | -0.081262 | 32.6042
14 | -0.12308 | -0.030941 | 0.12309 | 0.030942 | 2.3084e-06 | 8.8231e-07 | 0.18535 | 0.18535 | 0.18535 | 0.98834 | -0.081262 | 0.98836 | -0.081128 | 34.3234
15 | -0.12956 | -0.032565 | 0.12987 | 0.032681 | 0.00030205 | 0.00011552 | 0.1951 | 0.1951 | 0.1951 | 0.98836 | -0.081128 | 0.99073 | -0.064424 | 36.1289
16 | -0.12987 | -0.032681 | 0.12996 | 0.032716 | 9.2724e-05 | 3.5462e-05 | 0.1951 | 0.1951 | 0.1951 | 0.99073 | -0.064424 | 0.99146 | -0.059312 | 36.1289
17 | -0.12996 | -0.032716 | 0.13029 | 0.032845 | 0.00033595 | 0.00012848 | 0.1951 | 0.1951 | 0.1951 | 0.99146 | -0.059312 | 0.99411 | -0.040853 | 36.1289
18 | -0.13466 | -0.033938 | 0.13496 | 0.034054 | 0.00030387 | 0.00011625 | 0.20163 | 0.20163 | 0.20163 | 0.99411 | -0.040853 | 0.99642 | -0.024772 | 37.3384
19 | 0.013485 | 0.00338 | -0.013481 | -0.0033787 | 3.8418e-06 | 1.2799e-06 | 0.020138 | 0.020138 | 0.020138 | 0.99642 | -0.024772 | 0.99613 | -0.02683 | 7.4587
20 | -0.14845 | -0.037434 | 0.14878 | 0.037562 | 0.00033294 | 0.00012749 | 0.22177 | 0.22177 | 0.22177 | 0.99642 | -0.024772 | 0.99873 | -0.0088074 | 41.0677
21 | -0.0096139 | -0.0024092 | 0.0096174 | 0.0024102 | 3.4497e-06 | 1.0027e-06 | 0.01463 | 0.01463 | 0.01463 | 0.97784 | -0.1558 | 0.9782 | -0.15321 | 5.4184
22 | 0.0071104 | 0.0017817 | -0.0071083 | -0.0017813 | 2.1001e-06 | 4.4723e-07 | 0.01082 | 0.01082 | 0.01082 | 0.97784 | -0.1558 | 0.97754 | -0.15793 | 4.0074
23 | 0.003349 | 0.00083911 | -0.0033487 | -0.00083926 | 3.6997e-07 | -1.4369e-07 | 0.0050978 | 0.0050979 | 0.0050979 | 0.97754 | -0.15793 | 0.97743 | -0.15873 | 1.8881
24 | -0.0032871 | -0.00082382 | 0.0032873 | 0.00082369 | 2.7345e-07 | -1.3215e-07 | 0.0049066 | 0.0049066 | 0.0049066 | 0.99685 | -0.021936 | 0.99694 | -0.021335 | 1.8173
25 | 0.0057394 | 0.0014381 | -0.005739 | -0.001438 | 3.9423e-07 | 3.9377e-08 | 0.0085664 | 0.0085664 | 0.0085664 | 0.99694 | -0.021335 | 0.99687 | -0.021831 | 3.1727
26 | 0.0030352 | 0.00076048 | -0.0030349 | -0.00076063 | 2.4244e-07 | -1.5358e-07 | 0.0045302 | 0.0045303 | 0.0045303 | 0.99694 | -0.021335 | 0.99686 | -0.021912 | 1.6779
27 | -0.012062 | -0.0030222 | 0.012071 | 0.0030251 | 8.7713e-06 | 2.8076e-06 | 0.018003 | 0.018003 | 0.018003 | 0.99694 | -0.021335 | 0.99769 | -0.016082 | 6.6678
28 | 0.0024481 | 0.00061328 | -0.0024479 | -0.00061351 | 1.9505e-07 | -2.3013e-07 | 0.0036542 | 0.0036543 | 0.0036543 | 0.99687 | -0.021831 | 0.99679 | -0.022407 | 1.3534
29 | -0.013353 | -0.0033463 | 0.01336 | 0.0033489 | 7.7554e-06 | 2.5734e-06 | 0.019915 | 0.019915 | 0.019915 | 0.99769 | -0.016082 | 0.99829 | -0.011888 | 7.3759
30 | 0.002454 | 0.00061484 | -0.0024539 | -0.000615 | 1.317e-07 | -1.5558e-07 | 0.0036578 | 0.0036579 | 0.0036579 | 0.99829 | -0.011888 | 0.99823 | -0.012276 | 1.3548
31 | -0.015814 | -0.0039638 | 0.015821 | 0.0039661 | 6.7485e-06 | 2.341e-06 | 0.023573 | 0.023572 | 0.023573 | 0.99829 | -0.011888 | 0.99873 | -0.0088074 | 8.7306
32 | -0.017042 | -0.0042712 | 0.017047 | 0.004273 | 5.1694e-06 | 1.821e-06 | 0.025426 | 0.025426 | 0.025426 | 0.99735 | -0.018583 | 0.99766 | -0.016393 | 9.417
33 | 0.013833 | 0.003467 | -0.013828 | -0.0034655 | 4.7039e-06 | 1.5783e-06 | 0.020639 | 0.020639 | 0.020639 | 0.99735 | -0.018583 | 0.997 | -0.02104 | 7.644
34 | -0.022364 | -0.0056057 | 0.022368 | 0.005607 | 3.5621e-06 | 1.303e-06 | 0.033357 | 0.033357 | 0.033357 | 0.99766 | -0.016393 | 0.99782 | -0.015242 | 12.3543
35 | 0.0047357 | 0.0011866 | -0.0047347 | -0.0011866 | 9.2959e-07 | -3.127e-08 | 0.0070679 | 0.007068 | 0.007068 | 0.997 | -0.02104 | 0.9968 | -0.022458 | 2.6178
36 | -0.042069 | -0.010545 | 0.042085 | 0.010551 | 1.5898e-05 | 6.0302e-06 | 0.062736 | 0.062736 | 0.062736 | 0.99782 | -0.015242 | 0.99821 | -0.012514 | 23.2356
37 | -0.052133 | -0.013069 | 0.052181 | 0.013087 | 4.76e-05 | 1.8142e-05 | 0.077715 | 0.077715 | 0.077715 | 0.99821 | -0.012514 | 0.99915 | -0.0059282 | 28.7835
38 | 0.010049 | 0.0025184 | -0.010047 | -0.0025179 | 1.9164e-06 | 5.5818e-07 | 0.014979 | 0.01498 | 0.01498 | 0.99821 | -0.012514 | 0.99802 | -0.013892 | 5.548
39 | -0.060728 | -0.015229 | 0.060778 | 0.015248 | 4.9942e-05 | 1.908e-05 | 0.090444 | 0.090444 | 0.090444 | 0.99915 | -0.0059282 | 1 | 0 | 33.4979
40 | 0.0085471 | 0.0021421 | -0.0085459 | -0.0021418 | 1.235e-06 | 3.1504e-07 | 0.012729 | 0.012729 | 0.012729 | 0.99915 | -0.0059282 | 0.999 | -0.0069721 | 4.7145
41 | 0.0057053 | 0.0014298 | -0.0057048 | -0.0014298 | 5.5856e-07 | 5.32e-08 | 0.0085065 | 0.0085066 | 0.0085066 | 0.99802 | -0.013892 | 0.99791 | -0.014599 | 3.1506
42 | 0.1648 | 0.041606 | -0.1646 | -0.041528 | 0.00020365 | 7.8043e-05 | 0.24534 | 0.24534 | 0.24534 | 1 | 0 | 0.99873 | -0.0088074 | 45.4329
43 | 0.0054291 | 0.0013606 | -0.0054289 | -0.0013606 | 2.3398e-07 | 1.492e-08 | 0.0080867 | 0.0080867 | 0.0080867 | 0.999 | -0.0069721 | 0.99896 | -0.0072834 | 2.9951
44 | 0.0075549 | 0.0018934 | -0.0075543 | -0.0018933 | 6.1591e-07 | 1.3601e-07 | 0.011285 | 0.011286 | 0.011286 | 0.99613 | -0.02683 | 0.99604 | -0.027419 | 4.1798

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23326 | 0.058577

## res_load
| p_mw | q_mvar
0 | 0.012933 | 0.0032413
1 | 0.024163 | 0.0060558
2 | 0.0043844 | 0.0010988
3 | 0.0019391 | 0.00048599
4 | 0.0054129 | 0.0013566
5 | 0.0023417 | 0.00058689
6 | 0.0090567 | 0.0022698
7 | 0.013189 | 0.0033054
8 | 0.013351 | 0.003346
9 | 0.0059074 | 0.0014805
10 | 0.010132 | 0.0025394
11 | 0.0061661 | 0.0015454
12 | 0.006476 | 0.001623
13 | 0.0043635 | 0.0010936
14 | 0.0025036 | 0.00062746
15 | 0.0037775 | 0.00094674
16 | 0.0037592 | 0.00094215
17 | 0.0033487 | 0.00083926
18 | 0.0032871 | 0.00082382
19 | 0.0032909 | 0.00082477
20 | 0.0030349 | 0.00076063
21 | 0.001282 | 0.00032129
22 | 0.0024479 | 0.00061351
23 | 0.0024539 | 0.000615
24 | 0.0032087 | 0.00080419
25 | 0.0053172 | 0.0013326
26 | 0.0090927 | 0.0022788
27 | 0.019701 | 0.0049375
28 | 0.0047347 | 0.0011866
29 | 0.0043415 | 0.0010881
30 | 0.0057048 | 0.0014298
31 | 0.0068746 | 0.0017229
32 | 0.0031168 | 0.00078113
33 | 0.0054289 | 0.0013606
34 | 0.0059265 | 0.0014853
35 | 0.0075543 | 0.0018933

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1