## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1375-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1375-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1375-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1375-2_0_3_node_104 | 0.4 | n |  | TRUE
4 | bus_LV_1375-2_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1375-2_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1375-2_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1375-2_0_3_node_117 | 0.4 | n |  | TRUE
8 | bus_LV_1375-2_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1375-2_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1375-2_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1375-2_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1375-2_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1375-2_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1375-2_0_3_node_85 | 0.4 | n |  | TRUE
15 | bus_LV_1375-2_0_3_node_82 | 0.4 | n |  | TRUE
16 | bus_LV_1375-2_0_3_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_1375-2_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1375-2_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1375-2_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1375-2_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1375-2_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1375-2_0_3_node_111 | 0.4 | n |  | TRUE
23 | bus_LV_1375-2_0_3_node_91 | 0.4 | n |  | TRUE
24 | bus_LV_1375-2_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1375-2_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1375-2_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1375-2_0_3_node_159 | 0.4 | n |  | TRUE
28 | bus_LV_1375-2_0_3_node_110 | 0.4 | n |  | TRUE
29 | bus_LV_1375-2_0_3_node_160 | 0.4 | n |  | TRUE
30 | bus_LV_1375-2_0_3_node_101 | 0.4 | n |  | TRUE
31 | bus_LV_1375-2_0_3_node_83 | 0.4 | n |  | TRUE
32 | bus_LV_1375-2_0_3_node_84 | 0.4 | n |  | TRUE
33 | bus_LV_1375-2_0_3_node_106 | 0.4 | n |  | TRUE
34 | bus_LV_1375-2_0_3_node_86 | 0.4 | n |  | TRUE
35 | bus_LV_1375-2_0_3_node_87 | 0.4 | n |  | TRUE
36 | bus_LV_1375-2_0_3_node_88 | 0.4 | n |  | TRUE
37 | bus_LV_1375-2_0_3_node_89 | 0.4 | n |  | TRUE
38 | bus_LV_1375-2_0_3_node_90 | 0.4 | n |  | TRUE
39 | bus_LV_1375-2_0_3_node_108 | 0.4 | n |  | TRUE
40 | bus_LV_1375-2_0_3_node_95 | 0.4 | n |  | TRUE
41 | bus_LV_1375-2_0_3_node_109 | 0.4 | n |  | TRUE
42 | bus_LV_1375-2_0_3_node_92 | 0.4 | n |  | TRUE
43 | bus_LV_1375-2_0_3_node_93 | 0.4 | n |  | TRUE
44 | bus_LV_1375-2_0_3_node_105 | 0.4 | n |  | TRUE
45 | bus_LV_1375-2_0_3_node_94 | 0.4 | n |  | TRUE
46 | bus_LV_1375-2_0_3_node_96 | 0.4 | n |  | TRUE
47 | bus_LV_1375-2_0_3_node_97 | 0.4 | n |  | TRUE
48 | bus_LV_1375-2_0_3_node_116 | 0.4 | n |  | TRUE
49 | bus_LV_1375-2_0_3_node_113 | 0.4 | n |  | TRUE
50 | bus_LV_1375-2_0_3_node_98 | 0.4 | n |  | TRUE
51 | bus_LV_1375-2_0_3_node_99 | 0.4 | n |  | TRUE
52 | bus_LV_1375-2_0_3_node_100 | 0.4 | n |  | TRUE
53 | bus_LV_1375-2_0_3_node_102 | 0.4 | n |  | TRUE
54 | bus_LV_1375-2_0_3_node_103 | 0.4 | n |  | TRUE
55 | bus_LV_1375-2_0_3_node_107 | 0.4 | n |  | TRUE
56 | bus_LV_1375-2_0_3_node_112 | 0.4 | n |  | TRUE
57 | bus_LV_1375-2_0_3_node_114 | 0.4 | n |  | TRUE
58 | bus_LV_1375-2_0_3_node_115 | 0.4 | n |  | TRUE
59 | bus_MV_0_node_16 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1375-2_0_3_load_0 | 0 | 0.00058511 | 0.00014664 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1375-2_0_3_load_1 | 1 | 0.00082052 | 0.00020564 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1375-2_0_3_load_2 | 2 | 0.0030562 | 0.00076596 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1375-2_0_3_load_104 | 3 | 0.00035397 | 8.8713e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1375-2_0_3_load_3 | 4 | 0.00033025 | 8.2768e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1375-2_0_3_load_5 | 6 | 0.00034029 | 8.5285e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1375-2_0_3_load_6 | 8 | 0.00031154 | 7.8078e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1375-2_0_3_load_7 | 9 | 0.0014238 | 0.00035685 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1375-2_0_3_load_9 | 11 | 0.0001775 | 4.4485e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1375-2_0_3_load_85 | 14 | 0.002701 | 0.00067692 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1375-2_0_3_load_82 | 15 | 0.00042495 | 0.0001065 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1375-2_0_3_load_20 | 16 | 0.00014931 | 3.742e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1375-2_0_3_load_12 | 17 | 0.00021294 | 5.3369e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1375-2_0_3_load_13 | 18 | 0.0046585 | 0.0011675 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1375-2_0_3_load_14 | 19 | 0.0025835 | 0.00064749 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1375-2_0_3_load_15 | 20 | 0.0022393 | 0.00056122 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1375-2_0_3_load_16 | 21 | 0.00034339 | 8.6063e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1375-2_0_3_load_111 | 22 | 0.0029067 | 0.00072848 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1375-2_0_3_load_17 | 24 | 0.0012167 | 0.00030493 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1375-2_0_3_load_18 | 25 | 0.0010123 | 0.0002537 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1375-2_0_3_load_19 | 26 | 0.0019356 | 0.00048512 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1375-2_0_3_load_159 | 27 | 0.00028081 | 7.0377e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1375-2_0_3_load_110 | 28 | 0.00013166 | 3.2996e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1375-2_0_3_load_160 | 29 | 0.00074737 | 0.00018731 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1375-2_0_3_load_83 | 31 | 0.00054894 | 0.00013758 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1375-2_0_3_load_106 | 33 | 0.00051291 | 0.00012855 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1375-2_0_3_load_86 | 34 | 0.0013528 | 0.00033905 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1375-2_0_3_load_88 | 36 | 0.0004687 | 0.00011747 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1375-2_0_3_load_89 | 37 | 0.0023895 | 0.00059887 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1375-2_0_3_load_108 | 39 | 0.00052945 | 0.00013269 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1375-2_0_3_load_109 | 41 | 0.00045538 | 0.00011413 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1375-2_0_3_load_92 | 42 | 0.00031474 | 7.8881e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1375-2_0_3_load_93 | 43 | 0.00049744 | 0.00012467 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1375-2_0_3_load_94 | 45 | 0.00039939 | 0.0001001 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1375-2_0_3_load_96 | 46 | 0.00068317 | 0.00017122 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1375-2_0_3_load_116 | 48 | 0.00082432 | 0.0002066 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1375-2_0_3_load_113 | 49 | 0.00056173 | 0.00014078 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1375-2_0_3_load_98 | 50 | 0.00029094 | 7.2916e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1375-2_0_3_load_102 | 53 | 0.00043826 | 0.00010984 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1375-2_0_3_load_103 | 54 | 0.00038031 | 9.5315e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1375-2_0_3_load_107 | 55 | 0.00040539 | 0.0001016 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1375-2_0_3_load_112 | 56 | 0.002133 | 0.00053458 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1375-2_0_3_load_115 | 58 | 0.00070183 | 0.0001759 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1375-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.040717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1375-2_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.028008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1375-2_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.012632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1375-2_0_3_line_3 | NAYY 4x150 SE | 3 | 44 | 0.017788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1375-2_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.09112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1375-2_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.54135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1375-2_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.26206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1375-2_0_3_line_7 | NAYY 4x150 SE | 7 | 58 | 0.020748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1375-2_0_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.018636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1375-2_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.0011389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1375-2_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.15677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1375-2_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.014886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1375-2_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.052104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1375-2_0_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.28692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1375-2_0_3_line_14 | NAYY 4x150 SE | 12 | 15 | 0.43408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1375-2_0_3_line_15 | NAYY 4x150 SE | 13 | 16 | 0.096824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1375-2_0_3_line_16 | NAYY 4x150 SE | 14 | 33 | 0.033212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1375-2_0_3_line_17 | NAYY 4x150 SE | 15 | 31 | 0.26411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1375-2_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.23426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1375-2_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.07275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1375-2_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.011098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1375-2_0_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.23325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_1375-2_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.017947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1375-2_0_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.032494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1375-2_0_3_line_24 | NAYY 4x150 SE | 22 | 56 | 0.014002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1375-2_0_3_line_25 | NAYY 4x150 SE | 23 | 42 | 0.1278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1375-2_0_3_line_26 | NAYY 4x150 SE | 23 | 43 | 0.21313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1375-2_0_3_line_27 | NAYY 4x150 SE | 23 | 26 | 0.016523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1375-2_0_3_line_28 | NAYY 4x150 SE | 24 | 25 | 0.32532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1375-2_0_3_line_29 | NAYY 4x150 SE | 25 | 26 | 0.011441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1375-2_0_3_line_30 | NAYY 4x150 SE | 27 | 28 | 0.11076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1375-2_0_3_line_31 | NAYY 4x150 SE | 28 | 32 | 0.13233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1375-2_0_3_line_32 | NAYY 4x150 SE | 29 | 30 | 0.020976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1375-2_0_3_line_33 | NAYY 4x150 SE | 30 | 51 | 0.17154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1375-2_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.10858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1375-2_0_3_line_35 | NAYY 4x150 SE | 33 | 44 | 0.18751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1375-2_0_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.091865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1375-2_0_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.023801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1375-2_0_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.3924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1375-2_0_3_line_39 | NAYY 4x150 SE | 35 | 38 | 0.11037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1375-2_0_3_line_40 | NAYY 4x150 SE | 37 | 39 | 0.067314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1375-2_0_3_line_41 | NAYY 4x150 SE | 38 | 40 | 0.07311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1375-2_0_3_line_42 | NAYY 4x150 SE | 38 | 41 | 0.049872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1375-2_0_3_line_43 | NAYY 4x150 SE | 39 | 55 | 0.11337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1375-2_0_3_line_44 | NAYY 4x150 SE | 40 | 47 | 0.21793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1375-2_0_3_line_45 | NAYY 4x150 SE | 40 | 45 | 0.019119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1375-2_0_3_line_46 | NAYY 4x150 SE | 43 | 44 | 0.078421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1375-2_0_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.32543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1375-2_0_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.042535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1375-2_0_3_line_49 | NAYY 4x150 SE | 47 | 49 | 0.10216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1375-2_0_3_line_50 | NAYY 4x150 SE | 49 | 57 | 0.017426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1375-2_0_3_line_51 | NAYY 4x150 SE | 50 | 51 | 0.024863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1375-2_0_3_line_52 | NAYY 4x150 SE | 50 | 52 | 0.2046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1375-2_0_3_line_53 | NAYY 4x150 SE | 52 | 53 | 0.049432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1375-2_0_3_line_54 | NAYY 4x150 SE | 52 | 54 | 0.14833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1375-2_0_3_line_55 | NAYY 4x150 SE | 53 | 55 | 0.0024418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1375-2_0_3_line_56 | NAYY 4x150 SE | 56 | 57 | 0.17253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1375-2_0_3_line_57 | NAYY 4x150 SE | 57 | 58 | 0.040979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1375-2_0_3_trafo_16 | 0.25 MVA 20/0.4 kV | 59 | 21 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54
0 | 2704257.267 | 1211946.1961 | 2704255.778 | 1211948.7719 | 2704251.8889 | 1211963.4365 | 2704249.826 | 1211970.5833 | 2704251.1335 | 1211981.8586 | 2704251.2823 | 1211985.6363
1 | 2704251.2823 | 1211985.6363 | 2704251.7388 | 1211997.2245 | 2704258.0372 | 1212010.7886 | 2704258.9195 | 1212011.9462
2 | 2704266.5393 | 1212022.0191 | 2704266.2835 | 1212021.6071 | 2704258.9195 | 1212011.9462
3 | 2704275.9218 | 1212037.131 | 2704266.5393 | 1212022.0191
4 | 2705028.6981 | 1211455.7139 | 2705023.9962 | 1211460.7346 | 2705019.4341 | 1211476.3765 | 2705017.8758 | 1211492.783 | 2705008.8943 | 1211532.3641 | 2705007.294 | 1211542.0984 | 2705007.3632 | 1211543.1113
5 | 2705028.6981 | 1211455.7139 | 2705032.4936 | 1211451.6667 | 2705044.9887 | 1211446.0494 | 2705062.8269 | 1211443.8842 | 2705073.1166 | 1211435.7597 | 2705083.934 | 1211423.1412 | 2705085.905 | 1211413.5136 | 2705088.2544 | 1211395.3532 | 2705083.2643 | 1211371.4483 | 2705080.0783 | 1211347.8088 | 2705074.902 | 1211334.4637 | 2705068.8992 | 1211329.6323 | 2705051.8401 | 1211325.5179 | 2705035.0368 | 1211319.8291 | 2705015.5798 | 1211311.614 | 2704988.1226 | 1211296.3088 | 2704962.2735 | 1211279.4531 | 2704947.6634 | 1211277.3946 | 2704936.3162 | 1211281.687 | 2704916.2513 | 1211295.0435 | 2704905.1482 | 1211297.9948 | 2704889.4334 | 1211294.794 | 2704871.6071 | 1211295.8258 | 2704858.4593 | 1211300.0866 | 2704852.2466 | 1211307.1713 | 2704843.6231 | 1211323.4202 | 2704828.709 | 1211338.6578 | 2704812.9591 | 1211340.4823 | 2704804.5811 | 1211340.1794 | 2704795.7205 | 1211340.0903 | 2704774.6768 | 1211342.5669 | 2704761.3782 | 1211345.4687 | 2704745.4585 | 1211343.5545 | 2704731.4793 | 1211342.7222
6 | 2704521.3047 | 1211453.7011 | 2704537.1125 | 1211442.0476 | 2704555.4786 | 1211431.0061 | 2704563.1225 | 1211425.058 | 2704568.0434 | 1211418.7954 | 2704575.0746 | 1211407.911 | 2704578.7832 | 1211401.0044 | 2704580.442 | 1211393.9618 | 2704581.1082 | 1211384.578 | 2704582.3564 | 1211373.6477 | 2704587.5581 | 1211368.7131 | 2704623.2125 | 1211360.4436 | 2704654.9868 | 1211353.2625 | 2704668.4085 | 1211351.5745 | 2704682.5051 | 1211352.1334 | 2704698.5042 | 1211352.5589 | 2704712.5134 | 1211345.5442 | 2704728.5043 | 1211342.545 | 2704731.4793 | 1211342.7222
7 | 2704521.3047 | 1211453.7011 | 2704500.5579 | 1211453.478
8 | 2704507.9552 | 1212386.2052 | 2704520.6198 | 1212399.8762
9 | 2704507.1812 | 1212385.3697 | 2704507.9552 | 1212386.2052
10 | 2704520.6198 | 1212399.8762 | 2704537.9228 | 1212418.5541 | 2704552.2208 | 1212437.3848 | 2704552.8384 | 1212440.2977 | 2704552.0678 | 1212444.376 | 2704549.0418 | 1212450.5273 | 2704543.4261 | 1212460.0578 | 2704541.8415 | 1212465.4895 | 2704541.9586 | 1212470.9398 | 2704543.294 | 1212477.1232 | 2704545.3476 | 1212481.7847 | 2704558.6572 | 1212500.6314 | 2704561.9398 | 1212504.1025 | 2704566.4688 | 1212506.2724 | 2704582.5895 | 1212509.9798 | 2704588.8328 | 1212512.758 | 2704591.5125 | 1212515.5069
11 | 2704500.0904 | 1212372.414 | 2704500.9897 | 1212375.2985 | 2704502.5061 | 1212378.5273 | 2704504.2831 | 1212381.6273 | 2704507.1812 | 1212385.3697
12 | 2704620.9369 | 1212555.2734 | 2704619.413 | 1212545.9845 | 2704615.1465 | 1212541.4176 | 2704606.2033 | 1212536.6129 | 2704602.602 | 1212533.9812 | 2704597.7714 | 1212529.0819 | 2704591.5125 | 1212515.5069
13 | 2704500.0904 | 1212372.414 | 2704496.9878 | 1212361.2629 | 2704491.7811 | 1212334.4637 | 2704489.973 | 1212328.7947 | 2704487.5327 | 1212324.0819 | 2704483.2602 | 1212318.5476 | 2704477.5795 | 1212312.7106 | 2704468.6046 | 1212306.2155 | 2704415.3182 | 1212280.2196 | 2704372.9176 | 1212250.9568 | 2704346.098 | 1212211.5485 | 2704325.1658 | 1212163.8415
14 | 2704500.0904 | 1212372.414 | 2704509.2149 | 1212371.6622 | 2704512.3532 | 1212370.8055 | 2704523.3194 | 1212365.1381 | 2704528.9498 | 1212363.0019 | 2704534.3272 | 1212361.862 | 2704538.8883 | 1212361.7752 | 2704542.6039 | 1212362.2295 | 2704553.9823 | 1212365.1199 | 2704559.5325 | 1212365.8288 | 2704574.1373 | 1212365.0065 | 2704578.1788 | 1212364.2101 | 2704581.1662 | 1212362.8615 | 2704583.1307 | 1212360.9057 | 2704584.4068 | 1212358.3374 | 2704588.3714 | 1212348.9335 | 2704590.9938 | 1212343.698 | 2704593.5583 | 1212340.0293 | 2704597.3732 | 1212335.6931 | 2704604.6564 | 1212329.0161 | 2704612.6337 | 1212322.6292 | 2704614.6505 | 1212320.2963 | 2704616.0437 | 1212317.5521 | 2704616.8309 | 1212313.8299 | 2704616.6444 | 1212310.1685 | 2704614.646 | 1212298.9032 | 2704613.8289 | 1212287.0027 | 2704613.9287 | 1212278.2871 | 2704614.5168 | 1212272.0597 | 2704615.5847 | 1212267.4974 | 2704617.2434 | 1212261.7557 | 2704617.9003 | 1212258.5316 | 2704618.0286 | 1212255.1203 | 2704617.3413 | 1212250.5495 | 2704613.7151 | 1212232.0061 | 2704612.6936 | 1212223.0929 | 2704612.0893 | 1212211.1961 | 2704611.1272 | 1212202.3619 | 2704608.3885 | 1212190.4053 | 2704603.1439 | 1212170.1101 | 2704602.3293 | 1212160.2332 | 2704602.5979 | 1212151.8542 | 2704603.7541 | 1212140.0995 | 2704605.0014 | 1212133.1164 | 2704606.5626 | 1212128.1625 | 2704608.897 | 1212123.3222 | 2704613.2149 | 1212115.8815 | 2704618.8341 | 1212107.0405 | 2704627.0644 | 1212091.0179 | 2704646.4954 | 1212060.337 | 2704651.512 | 1212053.3645 | 2704653.7871 | 1212051.4697 | 2704657.1416 | 1212049.5606 | 2704660.8224 | 1212048.5467 | 2704662.661 | 1212048.5445
15 | 2704620.9369 | 1212555.2734 | 2704636.6418 | 1212570.5375 | 2704646.2751 | 1212576.722 | 2704687.7918 | 1212596.3979 | 2704700.1683 | 1212600.4069 | 2704704.5351 | 1212601.5847
16 | 2704309.1976 | 1212134.7999 | 2704320.5278 | 1212153.271 | 2704325.1658 | 1212163.8415
17 | 2704662.661 | 1212048.5445 | 2704663.7863 | 1212048.5431 | 2704667.1096 | 1212049.2797 | 2704672.4473 | 1212051.2859 | 2704679.4966 | 1212054.4897 | 2704703.2926 | 1212065.6374 | 2704721.0969 | 1212071.7766 | 2704735.3647 | 1212075.4741 | 2704745.4167 | 1212077.7634 | 2704750.2925 | 1212078.3716 | 2704753.8815 | 1212078.2568 | 2704758.2388 | 1212077.6663 | 2704774.3217 | 1212074.5131 | 2704786.03 | 1212072.4952 | 2704794.2662 | 1212071.7282 | 2704818.6006 | 1212069.532 | 2704825.0614 | 1212068.1668 | 2704832.4478 | 1212066.0284 | 2704838.9781 | 1212063.7415 | 2704848.8033 | 1212059.4779 | 2704876.9104 | 1212046.7296 | 2704884.4993 | 1212043.8832 | 2704889.9261 | 1212042.5443 | 2704896.6262 | 1212041.4058 | 2704901.6396 | 1212041.1049 | 2704905.9816 | 1212041.3925 | 2704909.8728 | 1212042.2393 | 2704914.2234 | 1212043.7614 | 2704915.0072 | 1212044.0998
18 | 2704574.0683 | 1211601.7528 | 2704567.6564 | 1211596.4033 | 2704559.7616 | 1211595.8757 | 2704545.0695 | 1211602.0003 | 2704521.5071 | 1211611.2162 | 2704504.849 | 1211615.4718 | 2704490.2365 | 1211622.2651 | 2704482.1881 | 1211630.4966 | 2704477.5081 | 1211639.0763 | 2704468.2908 | 1211647.2206 | 2704456.3663 | 1211658.0639 | 2704448.0997 | 1211668.3487 | 2704440.4044 | 1211680.2891 | 2704432.6417 | 1211698.6884 | 2704431.4245 | 1211700.057 | 2704427.476 | 1211700.7217 | 2704422.4578 | 1211699.1105 | 2704420.4136 | 1211694.3268 | 2704419.9694 | 1211689.3155 | 2704423.8771 | 1211677.0975 | 2704427.8114 | 1211668.5603 | 2704428.4449 | 1211665.8004
19 | 2704574.0683 | 1211601.7528 | 2704574.0683 | 1211601.7528 | 2704576.4237 | 1211609.5886 | 2704575.5833 | 1211618.0687 | 2704572.9841 | 1211631.4994 | 2704564.9869 | 1211651.54 | 2704552.8343 | 1211668.4072
20 | 2704430.9277 | 1211654.9832 | 2704428.4449 | 1211665.8004
21 | 2704446.0481 | 1211841.8245 | 2704453.0212 | 1211834.219 | 2704466.4951 | 1211828.6177 | 2704479.5771 | 1211824.5661 | 2704489.3728 | 1211822.8587 | 2704496.5404 | 1211821.0719 | 2704503.1689 | 1211819.687 | 2704507.0567 | 1211817.2757 | 2704516.3955 | 1211806.5205 | 2704521.1639 | 1211797.2308 | 2704523.4632 | 1211788.3315 | 2704523.7134 | 1211777.5282 | 2704518.7608 | 1211746.1748 | 2704517.9742 | 1211733.8189 | 2704517.094 | 1211722.0396 | 2704518.8502 | 1211712.8972 | 2704526.4194 | 1211702.0888 | 2704538.597 | 1211686.3466 | 2704544.687 | 1211679.7153 | 2704552.8343 | 1211668.4072
22 | 2704430.9277 | 1211654.9832 | 2704434.9426 | 1211637.4912
23 | 2704428.7854 | 1211869.3529 | 2704439.3593 | 1211852.2926 | 2704446.0481 | 1211841.8245
24 | 2704438.3314 | 1211623.9072 | 2704436.3522 | 1211631.3501 | 2704434.9426 | 1211637.4912
25 | 2704428.7854 | 1211869.3529 | 2704424.1302 | 1211872.1957 | 2704420.6451 | 1211875.9151 | 2704415.7053 | 1211885.4576 | 2704404.3801 | 1211910.277 | 2704398.9635 | 1211918.8438 | 2704388.9838 | 1211929.7658 | 2704376.8115 | 1211940.0378 | 2704368.923 | 1211943.0797 | 2704360.4802 | 1211943.0542 | 2704354.5584 | 1211938.8032 | 2704346.6973 | 1211926.8238
26 | 2704428.7854 | 1211869.3529 | 2704425.4321 | 1211877.2665 | 2704422.7082 | 1211887.8597 | 2704420.3011 | 1211904.2291 | 2704420.6507 | 1211916.3772 | 2704424.2812 | 1211932.1186 | 2704424.8659 | 1211944.7266 | 2704418.2901 | 1211963.5026 | 2704408.8801 | 1211988.3221 | 2704403.811 | 1211993.5371 | 2704399.8121 | 1211994.9237 | 2704393.3714 | 1211997.7463 | 2704385.2628 | 1212001.2068 | 2704372.4533 | 1212009.2551 | 2704364.0158 | 1212020.6488 | 2704356.1213 | 1212040.9696 | 2704350.1326 | 1212046.1907 | 2704347.1903 | 1212047.6512
27 | 2704428.7854 | 1211869.3529 | 2704445.2216 | 1211871.0415
28 | 2704770.2205 | 1211822.718 | 2704754.2335 | 1211822.9707 | 2704735.7537 | 1211825.826 | 2704720.0448 | 1211828.4187 | 2704706.8739 | 1211832.3348 | 2704699.7716 | 1211836.4575 | 2704694.444 | 1211836.464 | 2704690.4148 | 1211835.2368 | 2704673.7005 | 1211840.992 | 2704639.9078 | 1211853.3302 | 2704601.6235 | 1211865.2561 | 2704580.0305 | 1211873.1608 | 2704566.1034 | 1211877.7422 | 2704551.8827 | 1211879.5609 | 2704529.3381 | 1211881.9341 | 2704520.5297 | 1211881.0792 | 2704507.454 | 1211876.5469 | 2704500.8943 | 1211875.7425 | 2704491.5434 | 1211875.9232 | 2704476.6555 | 1211876.3517 | 2704465.9008 | 1211877.7087 | 2704458.5203 | 1211874.2993 | 2704456.3206 | 1211873.6639
29 | 2704445.2216 | 1211871.0415 | 2704448.3577 | 1211871.3637 | 2704456.3206 | 1211873.6639
30 | 2705031.8374 | 1212153.587 | 2705033.0476 | 1212150.8953 | 2705035.6353 | 1212148.5169 | 2705039.2154 | 1212145.4556 | 2705041.5038 | 1212142.3826 | 2705042.1603 | 1212139.6255 | 2705041.6358 | 1212136.6141 | 2705039.8902 | 1212133.4701 | 2705037.2141 | 1212130.9434 | 2705034.0573 | 1212129.3867 | 2705030.1332 | 1212128.6837 | 2705026.2535 | 1212128.9045 | 2705022.5785 | 1212130.452 | 2705017.6594 | 1212133.6009 | 2705008.3696 | 1212141.9767 | 2705004.4327 | 1212145.0206 | 2705000.9252 | 1212146.9825 | 2704996.0315 | 1212148.6865 | 2704985.4016 | 1212150.7453 | 2704979.419 | 1212152.141 | 2704975.3915 | 1212153.8602 | 2704971.5366 | 1212155.6937 | 2704968.6269 | 1212156.5097 | 2704966.834 | 1212156.4782 | 2704964.8775 | 1212155.8099 | 2704963.223 | 1212154.3909
31 | 2705020.013 | 1212055.6536 | 2705025.2125 | 1212059.459 | 2705027.8388 | 1212061.3622 | 2705029.3027 | 1212063.6785 | 2705030.309 | 1212066.5204 | 2705030.1709 | 1212069.6091 | 2705025.1464 | 1212088.6564 | 2705023.577 | 1212092.3313 | 2705021.5917 | 1212094.5869 | 2705014.8586 | 1212099.7609 | 2705006.8324 | 1212108.448 | 2704991.7934 | 1212123.5273 | 2704987.5694 | 1212127.3335 | 2704978.5514 | 1212131.9336 | 2704974.3412 | 1212134.528 | 2704966.9831 | 1212141.5368 | 2704963.551 | 1212145.6905 | 2704962.4048 | 1212148.2054 | 2704962.0805 | 1212150.2234 | 2704962.4471 | 1212152.7094 | 2704963.223 | 1212154.3909
32 | 2704184.3765 | 1211063.932 | 2704191.1217 | 1211074.6129 | 2704186.5755 | 1211081.6273
33 | 2704091.3955 | 1211210.6571 | 2704113.9912 | 1211206.7931 | 2704116.6904 | 1211204.5608 | 2704121.0249 | 1211200.9561 | 2704122.8834 | 1211199.4208 | 2704124.2742 | 1211178.1078 | 2704151.5964 | 1211131.2405 | 2704167.7479 | 1211116.8901 | 2704182.529 | 1211087.8833 | 2704186.5755 | 1211081.6273
34 | 2705020.013 | 1212055.6536 | 2705017.681 | 1212056.4576 | 2705010.5954 | 1212057.9117 | 2704968.7705 | 1212059.4544 | 2704951.375 | 1212059.4594 | 2704946.9987 | 1212058.5373 | 2704942.1313 | 1212057.0173 | 2704935.7505 | 1212054.2697 | 2704920.9888 | 1212046.6825 | 2704915.0072 | 1212044.0998
35 | 2704275.9218 | 1212037.131 | 2704260.0439 | 1212050.7409 | 2704239.6575 | 1212068.3749 | 2704222.0192 | 1212084.8784 | 2704219.3704 | 1212092.5041 | 2704220.8484 | 1212098.3786 | 2704228.4654 | 1212103.0261 | 2704238.0572 | 1212104.6949 | 2704248.1308 | 1212104.4485 | 2704263.4722 | 1212103.6939 | 2704274.351 | 1212106.9419 | 2704284.1791 | 1212111.1723 | 2704294.8397 | 1212117.7744 | 2704301.9749 | 1212123.0251 | 2704309.1976 | 1212134.7999
36 | 2704159.6438 | 1211683.7938 | 2704159.1258 | 1211690.8231 | 2704155.3462 | 1211696.6168 | 2704141.9697 | 1211705.7786 | 2704126.7347 | 1211716.4869 | 2704115.9285 | 1211725.5714 | 2704108.5573 | 1211734.2266 | 2704097.7101 | 1211748.059
37 | 2704092.8909 | 1211769.2113 | 2704091.0577 | 1211762.3411 | 2704090.7811 | 1211756.8546 | 2704096.2915 | 1211749.8681 | 2704097.7101 | 1211748.059
38 | 2704159.6438 | 1211683.7938 | 2704145.2548 | 1211688.268 | 2704112.9884 | 1211687.2151 | 2704061.5997 | 1211674.8764 | 2704026.8907 | 1211675.2936 | 2704002.5348 | 1211667.3299 | 2703992.0492 | 1211664.5785 | 2703983.6521 | 1211666.7003 | 2703978.1527 | 1211671.3189 | 2703976.6563 | 1211691.7517 | 2703971.4395 | 1211697.1646 | 2703962.8356 | 1211696.3362 | 2703957.1845 | 1211687.4315 | 2703954.2449 | 1211666.4209 | 2703956.7268 | 1211642.2026 | 2703961.5716 | 1211630.2342 | 2703971.5255 | 1211624.6926 | 2703982.6129 | 1211621.2723 | 2703994.2232 | 1211620.552 | 2704004.0717 | 1211616.6987 | 2704015.6498 | 1211612.1641 | 2704021.8908 | 1211606.4244 | 2704039.3894 | 1211600.1473 | 2704053.626 | 1211596.0721
39 | 2704246.8133 | 1211627.888 | 2704244.6188 | 1211631.2521 | 2704239.6132 | 1211635.8679 | 2704229.9948 | 1211637.8568 | 2704215.4967 | 1211637.2586 | 2704204.1469 | 1211639.1617 | 2704196.2646 | 1211644.8725 | 2704179.0016 | 1211668.5433 | 2704168.0219 | 1211679.2814 | 2704159.6438 | 1211683.7938
40 | 2704085.5459 | 1211545.247 | 2704085.5459 | 1211545.247 | 2704084.2762 | 1211558.3341 | 2704082.591 | 1211569.5348 | 2704078.1476 | 1211583.7451 | 2704073.4891 | 1211588.5117 | 2704059.5621 | 1211594.3729 | 2704053.626 | 1211596.0721
41 | 2704289.8725 | 1211572.0122 | 2704279.2098 | 1211579.3755 | 2704268.1323 | 1211587.8656 | 2704257.8949 | 1211598.2941 | 2704250.055 | 1211618.527 | 2704248.3403 | 1211624.8793 | 2704246.8133 | 1211627.888
42 | 2704246.8133 | 1211627.888 | 2704244.7251 | 1211623.4373 | 2704244.2653 | 1211614.523 | 2704243.6074 | 1211603.0367 | 2704242.4565 | 1211591.9198 | 2704243.7908 | 1211585.5942 | 2704245.4864 | 1211578.9228
43 | 2704085.5459 | 1211545.247 | 2704091.4174 | 1211538.0443 | 2704102.2017 | 1211532.4063 | 2704104.4035 | 1211528.6198 | 2704108.8624 | 1211520.9255 | 2704110.5021 | 1211501.0179 | 2704092.246 | 1211476.2262 | 2704072.9059 | 1211456.1554
44 | 2704289.8725 | 1211572.0122 | 2704302.6967 | 1211561.8626 | 2704314.3409 | 1211554.8724 | 2704329.5877 | 1211549.1794 | 2704350.9162 | 1211537.7555 | 2704359.8387 | 1211520.8329 | 2704366.0926 | 1211503.9637 | 2704366.8671 | 1211484.9082 | 2704368.3758 | 1211479.0416 | 2704384.0027 | 1211471.1872 | 2704414.9784 | 1211450.9705 | 2704429.824 | 1211440.0004 | 2704436.3072 | 1211429.1507
45 | 2704289.8725 | 1211572.0122 | 2704292.3521 | 1211561.0367 | 2704294.4252 | 1211553.4475
46 | 2704275.9218 | 1212037.131 | 2704287.8503 | 1212032.9477 | 2704298.1557 | 1212032.0606 | 2704307.0081 | 1212032.9938 | 2704313.1013 | 1212036.5584 | 2704323.7449 | 1212046.307 | 2704329.9025 | 1212049.6727 | 2704335.9892 | 1212051.0023 | 2704343.1871 | 1212049.6383 | 2704347.1903 | 1212047.6512
47 | 2704233.3845 | 1211413.1237 | 2704238.9473 | 1211409.6851 | 2704255.6831 | 1211401.4384 | 2704262.1536 | 1211398.2492 | 2704293.7449 | 1211383.68 | 2704311.6709 | 1211373.0081 | 2704321.291 | 1211368.7845 | 2704327.0618 | 1211367.7958 | 2704329.9404 | 1211371.382 | 2704330.0834 | 1211377.1108 | 2704325.205 | 1211383.1297 | 2704320.333 | 1211388.7818 | 2704315.7746 | 1211397.3638 | 2704311.6589 | 1211408.8777 | 2704310.5577 | 1211412.739 | 2704305.1392 | 1211431.8244 | 2704299.1187 | 1211447.0855 | 2704297.7587 | 1211454.8783 | 2704299.4481 | 1211463.4473 | 2704302.4554 | 1211473.14 | 2704307.4358 | 1211482.1335 | 2704317.0398 | 1211493.1537 | 2704324.4624 | 1211502.4345 | 2704327.2884 | 1211508.5882 | 2704326.5078 | 1211518.4482 | 2704325.5446 | 1211531.3627 | 2704322.2555 | 1211537.7764 | 2704313.8078 | 1211544.9449 | 2704304.572 | 1211548.0745 | 2704294.8369 | 1211551.9404 | 2704294.4252 | 1211553.4475
48 | 2704436.3072 | 1211429.1507 | 2704437.2634 | 1211436.606 | 2704436.9935 | 1211445.9412 | 2704435.6859 | 1211459.4056 | 2704437.3325 | 1211471.4455
49 | 2704436.3072 | 1211429.1507 | 2704443.5497 | 1211417.0355 | 2704445.4818 | 1211413.478 | 2704451.4269 | 1211402.541 | 2704457.7675 | 1211395.4914 | 2704468.8182 | 1211393.339 | 2704472.6334 | 1211399.8548 | 2704460.8281 | 1211416.8824 | 2704458.8257 | 1211424.0191 | 2704458.1858 | 1211432.3471 | 2704458.6077 | 1211439.1094
50 | 2704459.693 | 1211456.5017 | 2704458.6077 | 1211439.1094
51 | 2704091.3955 | 1211210.6571 | 2704090.9597 | 1211217.3319 | 2704086.6099 | 1211222.2484 | 2704077.8433 | 1211229.8586
52 | 2704037.2929 | 1211418.4824 | 2704033.0029 | 1211412.5812 | 2704029.6371 | 1211404.2388 | 2704027.6513 | 1211389.5493 | 2704028.6082 | 1211383.0614 | 2704029.4694 | 1211377.2612 | 2704037.731 | 1211361.5831 | 2704053.8187 | 1211336.9018 | 2704059.7668 | 1211325.7533 | 2704064.1955 | 1211310.2195 | 2704064.4353 | 1211302.5739 | 2704062.7919 | 1211293.0941 | 2704060.3009 | 1211282.9657 | 2704059.8895 | 1211276.0536 | 2704066.1814 | 1211251.3126 | 2704069.3415 | 1211240.9604 | 2704074.4933 | 1211232.7667 | 2704077.8433 | 1211229.8586
53 | 2704037.2929 | 1211418.4824 | 2704039.3933 | 1211421.3766 | 2704071.2116 | 1211454.3971
54 | 2704142.8213 | 1211320.2987 | 2704133.3508 | 1211329.8846 | 2704116.8071 | 1211344.9732 | 2704094.127 | 1211361.5335 | 2704076.0764 | 1211371.9593 | 2704057.881 | 1211383.7169 | 2704048.1982 | 1211391.9872 | 2704044.5874 | 1211395.0708 | 2704041.9213 | 1211400.6394 | 2704039.17 | 1211411.0876 | 2704037.2929 | 1211418.4824
55 | 2704071.2116 | 1211454.3971 | 2704072.9059 | 1211456.1554
56 | 2704459.693 | 1211456.5017 | 2704458.6138 | 1211470.8151 | 2704457.741 | 1211481.1516 | 2704460.8689 | 1211490.8911 | 2704465.7408 | 1211503.0294 | 2704466.16 | 1211512.499 | 2704464.6685 | 1211522.58 | 2704458.8344 | 1211554.0779 | 2704444.3663 | 1211601.2136 | 2704438.3314 | 1211623.9072
57 | 2704459.693 | 1211456.5017 | 2704499.9898 | 1211453.4719 | 2704500.5579 | 1211453.478

## bus_geodata
| x | y | coords
0 | 2704257.267 | 1211946.1961
1 | 2704251.2823 | 1211985.6363
2 | 2704258.9195 | 1212011.9462
3 | 2704266.5393 | 1212022.0191
4 | 2705007.3632 | 1211543.1113
5 | 2705028.6981 | 1211455.7139
6 | 2704731.4793 | 1211342.7222
7 | 2704521.3047 | 1211453.7011
8 | 2704507.9552 | 1212386.2052
9 | 2704520.6198 | 1212399.8762
10 | 2704507.1812 | 1212385.3697
11 | 2704591.5125 | 1212515.5069
12 | 2704500.0904 | 1212372.414
13 | 2704620.9369 | 1212555.2734
14 | 2704325.1658 | 1212163.8415
15 | 2704662.661 | 1212048.5445
16 | 2704704.5351 | 1212601.5847
17 | 2704574.0683 | 1211601.7528
18 | 2704428.4449 | 1211665.8004
19 | 2704552.8343 | 1211668.4072
20 | 2704430.9277 | 1211654.9832
21 | 2704446.0481 | 1211841.8245
22 | 2704434.9426 | 1211637.4912
23 | 2704428.7854 | 1211869.3529
24 | 2704770.2205 | 1211822.718
25 | 2704456.3206 | 1211873.6639
26 | 2704445.2216 | 1211871.0415
27 | 2705031.8374 | 1212153.587
28 | 2704963.223 | 1212154.3909
29 | 2704184.3765 | 1211063.932
30 | 2704186.5755 | 1211081.6273
31 | 2704915.0072 | 1212044.0998
32 | 2705020.013 | 1212055.6536
33 | 2704309.1976 | 1212134.7999
34 | 2704097.7101 | 1211748.059
35 | 2704159.6438 | 1211683.7938
36 | 2704092.8909 | 1211769.2113
37 | 2704053.626 | 1211596.0721
38 | 2704246.8133 | 1211627.888
39 | 2704085.5459 | 1211545.247
40 | 2704289.8725 | 1211572.0122
41 | 2704245.4864 | 1211578.9228
42 | 2704346.6973 | 1211926.8238
43 | 2704347.1903 | 1212047.6512
44 | 2704275.9218 | 1212037.131
45 | 2704294.4252 | 1211553.4475
46 | 2704233.3845 | 1211413.1237
47 | 2704436.3072 | 1211429.1507
48 | 2704437.3325 | 1211471.4455
49 | 2704458.6077 | 1211439.1094
50 | 2704077.8433 | 1211229.8586
51 | 2704091.3955 | 1211210.6571
52 | 2704037.2929 | 1211418.4824
53 | 2704071.2116 | 1211454.3971
54 | 2704142.8213 | 1211320.2987
55 | 2704072.9059 | 1211456.1554
56 | 2704438.3314 | 1211623.9072
57 | 2704459.693 | 1211456.5017
58 | 2704500.5579 | 1211453.478
59 | 2704446.0481 | 1211841.8245

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99399 | -0.042791 | 0.00058511 | 0.00014664
1 | 0.99402 | -0.042549 | 0.00082052 | 0.00020564
2 | 0.99408 | -0.04215 | 0.0030562 | 0.00076596
3 | 0.99416 | -0.04158 | 0.00035397 | 8.8713e-05
4 | 0.9807 | -0.13774 | 0.00033025 | 8.2768e-05
5 | 0.98074 | -0.13743 | 0 | 0
6 | 0.981 | -0.13538 | 0.00034029 | 8.5285e-05
7 | 0.98125 | -0.13336 | 0 | 0
8 | 0.99072 | -0.066618 | 0.00031154 | 7.8078e-05
9 | 0.99068 | -0.066955 | 0.0014238 | 0.00035685
10 | 0.99073 | -0.066593 | 0 | 0
11 | 0.9906 | -0.067511 | 0.0001775 | 4.4485e-05
12 | 0.99077 | -0.066276 | 0 | 0
13 | 0.99059 | -0.067596 | 0 | 0
14 | 0.99219 | -0.055802 | 0.002701 | 0.00067692
15 | 0.98991 | -0.072753 | 0.00042495 | 0.0001065
16 | 0.99057 | -0.067748 | 0.00014931 | 3.742e-05
17 | 0.99311 | -0.048347 | 0.00021294 | 5.3369e-05
18 | 0.9852 | -0.10467 | 0.0046585 | 0.0011675
19 | 0.99559 | -0.030872 | 0.0025835 | 0.00064749
20 | 0.9849 | -0.10682 | 0.0022393 | 0.00056122
21 | 1 | 0 | -0.043852 | -0.010776
22 | 0.98447 | -0.1099 | 0.0029067 | 0.00072848
23 | 0.99923 | -0.0054277 | 0 | 0
24 | 0.99853 | -0.010391 | 0.0012167 | 0.00030493
25 | 0.9991 | -0.0063798 | 0.0010123 | 0.0002537
26 | 0.99914 | -0.0061211 | 0.0019356 | 0.00048512
27 | 0.98935 | -0.076855 | 0.00028081 | 7.0377e-05
28 | 0.9894 | -0.076532 | 0.00013166 | 3.2996e-05
29 | 0.97076 | -0.20994 | 0.00074737 | 0.00018731
30 | 0.97078 | -0.20978 | 0 | 0
31 | 0.98954 | -0.075465 | 0.00054894 | 0.00013758
32 | 0.98948 | -0.075953 | 0 | 0
33 | 0.99249 | -0.053677 | 0.00051291 | 0.00012855
34 | 0.9748 | -0.18022 | 0.0013528 | 0.00033905
35 | 0.97505 | -0.17845 | 0 | 0
36 | 0.97479 | -0.18034 | 0.0004687 | 0.00011747
37 | 0.97207 | -0.20024 | 0.0023895 | 0.00059887
38 | 0.97618 | -0.1702 | 0 | 0
39 | 0.97179 | -0.20228 | 0.00052945 | 0.00013269
40 | 0.97698 | -0.16439 | 0 | 0
41 | 0.97615 | -0.17044 | 0.00045538 | 0.00011413
42 | 0.99918 | -0.0058378 | 0.00031474 | 7.8881e-05
43 | 0.99557 | -0.031483 | 0.00049744 | 0.00012467
44 | 0.99428 | -0.040714 | 0 | 0
45 | 0.97695 | -0.16461 | 0.00039939 | 0.0001001
46 | 0.97662 | -0.16699 | 0.00068317 | 0.00017122
47 | 0.9797 | -0.14456 | 0 | 0
48 | 0.97965 | -0.14493 | 0.00082432 | 0.0002066
49 | 0.9811 | -0.13441 | 0.00056173 | 0.00014078
50 | 0.971 | -0.2082 | 0.00029094 | 7.2916e-05
51 | 0.97097 | -0.2084 | 0 | 0
52 | 0.97131 | -0.20589 | 0 | 0
53 | 0.97141 | -0.20512 | 0.00043826 | 0.00010984
54 | 0.97122 | -0.20649 | 0.00038031 | 9.5315e-05
55 | 0.97142 | -0.20507 | 0.00040539 | 0.0001016
56 | 0.9842 | -0.11188 | 0.002133 | 0.00053458
57 | 0.98135 | -0.13258 | 0 | 0
58 | 0.98127 | -0.1332 | 0.00070183 | 0.0001759
59 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00058511 | -0.00014664 | 0.00058513 | 0.00014612 | 1.949e-08 | -5.2029e-07 | 0.00087593 | 0.00087574 | 0.00087593 | 0.99399 | -0.042791 | 0.99402 | -0.042549 | 0.32442
1 | -0.0014056 | -0.00035176 | 0.0014057 | 0.00035143 | 7.7364e-08 | -3.3333e-07 | 0.002104 | 0.0021039 | 0.002104 | 0.99402 | -0.042549 | 0.99408 | -0.04215 | 0.77927
2 | -0.0044619 | -0.0011174 | 0.0044623 | 0.0011174 | 3.516e-07 | -2.8553e-08 | 0.0066787 | 0.0066786 | 0.0066787 | 0.99408 | -0.04215 | 0.99416 | -0.04158 | 2.4736
3 | -0.0048163 | -0.0012061 | 0.0048168 | 0.0012061 | 5.7674e-07 | -8.8467e-09 | 0.0072084 | 0.0072084 | 0.0072084 | 0.99416 | -0.04158 | 0.99428 | -0.040714 | 2.6698
4 | -0.00033025 | -8.2768e-05 | 0.00033026 | 8.1624e-05 | 1.4265e-08 | -1.1443e-06 | 0.00050109 | 0.00050068 | 0.00050109 | 0.9807 | -0.13774 | 0.98074 | -0.13743 | 0.18559
5 | -0.00033026 | -8.1624e-05 | 0.00033035 | 7.4823e-05 | 8.4281e-08 | -6.8006e-06 | 0.00050068 | 0.00049836 | 0.00050068 | 0.98074 | -0.13743 | 0.981 | -0.13538 | 0.18544
6 | -0.00067064 | -0.00016011 | 0.00067081 | 0.00015686 | 1.6811e-07 | -3.2449e-06 | 0.0010145 | 0.0010133 | 0.0010145 | 0.981 | -0.13538 | 0.98125 | -0.13336 | 0.37573
7 | -0.00067081 | -0.00015686 | 0.00067082 | 0.00015661 | 1.3293e-08 | -2.5698e-07 | 0.0010133 | 0.0010133 | 0.0010133 | 0.98125 | -0.13336 | 0.98127 | -0.1332 | 0.37531
8 | 0.0017508 | 0.00043462 | -0.0017507 | -0.00043483 | 8.032e-08 | -2.0907e-07 | 0.0026281 | 0.0026282 | 0.0026282 | 0.99072 | -0.066618 | 0.99068 | -0.066955 | 0.9734
9 | -0.0020623 | -0.0005127 | 0.0020623 | 0.00051269 | 6.812e-09 | -1.2046e-08 | 0.003096 | 0.003096 | 0.003096 | 0.99072 | -0.066618 | 0.99073 | -0.066593 | 1.1467
10 | 0.00032683 | 7.798e-05 | -0.00032681 | -7.9989e-05 | 2.3477e-08 | -2.0093e-06 | 0.00048955 | 0.00049024 | 0.00049024 | 0.99068 | -0.066955 | 0.9906 | -0.067511 | 0.18157
11 | -0.0020623 | -0.00051269 | 0.0020624 | 0.00051253 | 8.9033e-08 | -1.5745e-07 | 0.003096 | 0.0030959 | 0.003096 | 0.99073 | -0.066593 | 0.99077 | -0.066276 | 1.1467
12 | 0.00014931 | 3.5505e-05 | -0.00014931 | -3.6175e-05 | 1.6276e-09 | -6.7015e-07 | 0.00022363 | 0.00022385 | 0.00022385 | 0.9906 | -0.067511 | 0.99059 | -0.067596 | 0.082909
13 | -0.0034503 | -0.0008471 | 0.0034551 | 0.00084524 | 4.795e-06 | -1.8561e-06 | 0.0051758 | 0.0051745 | 0.0051758 | 0.99077 | -0.066276 | 0.99219 | -0.055802 | 1.917
14 | 0.0013879 | 0.00033457 | -0.0013868 | -0.0003397 | 1.1728e-06 | -5.1343e-06 | 0.0020799 | 0.0020818 | 0.0020818 | 0.99077 | -0.066276 | 0.98991 | -0.072753 | 0.77104
15 | 0.00014931 | 3.6175e-05 | -0.00014931 | -3.742e-05 | 3.0334e-09 | -1.2453e-06 | 0.00022385 | 0.00022429 | 0.00022429 | 0.99059 | -0.067596 | 0.99057 | -0.067748 | 0.08307
16 | -0.0061561 | -0.0015222 | 0.0061578 | 0.0015224 | 1.7637e-06 | 2.4928e-07 | 0.0092252 | 0.009225 | 0.0092252 | 0.99219 | -0.055802 | 0.99249 | -0.053677 | 3.4167
17 | 0.00096182 | 0.0002332 | -0.00096147 | -0.00023646 | 3.4346e-07 | -3.2619e-06 | 0.001443 | 0.0014442 | 0.0014442 | 0.98991 | -0.072753 | 0.98954 | -0.075465 | 0.5349
18 | 0.023538 | 0.0058934 | -0.023356 | -0.0058265 | 0.0001818 | 6.6916e-05 | 0.035265 | 0.035266 | 0.035266 | 0.99311 | -0.048347 | 0.9852 | -0.10467 | 13.0617
19 | -0.023751 | -0.0059468 | 0.023808 | 0.0059679 | 5.7482e-05 | 2.1165e-05 | 0.035584 | 0.035584 | 0.035584 | 0.99311 | -0.048347 | 0.99559 | -0.030872 | 13.1794
20 | 0.018697 | 0.004659 | -0.018692 | -0.004657 | 5.5193e-06 | 1.9815e-06 | 0.02823 | 0.02823 | 0.02823 | 0.9852 | -0.10467 | 0.9849 | -0.10682 | 10.4557
21 | -0.026392 | -0.0066154 | 0.026505 | 0.0066529 | 0.00011323 | 3.7455e-05 | 0.039445 | 0.039443 | 0.039445 | 0.99559 | -0.030872 | 1 | 0 | 7.3047
22 | 0.016453 | 0.0040958 | -0.016446 | -0.0040933 | 6.9141e-06 | 2.431e-06 | 0.024847 | 0.024847 | 0.024847 | 0.9849 | -0.10682 | 0.98447 | -0.1099 | 9.2027
23 | 0.016547 | 0.0041231 | -0.016534 | -0.0041188 | 1.2284e-05 | 4.2986e-06 | 0.024613 | 0.024614 | 0.024614 | 1 | 0 | 0.99923 | -0.0054277 | 9.1162
24 | 0.013539 | 0.0033648 | -0.013535 | -0.0033636 | 3.6555e-06 | 1.228e-06 | 0.020454 | 0.020454 | 0.020454 | 0.98447 | -0.1099 | 0.9842 | -0.11188 | 7.5756
25 | 0.00031476 | 7.7214e-05 | -0.00031474 | -7.8881e-05 | 1.7499e-08 | -1.6673e-06 | 0.00046814 | 0.00046872 | 0.00046872 | 0.99923 | -0.0054277 | 0.99918 | -0.0058378 | 0.1736
26 | 0.012054 | 0.003002 | -0.012011 | -0.0029883 | 4.2824e-05 | 1.3689e-05 | 0.017944 | 0.017945 | 0.017945 | 0.99923 | -0.0054277 | 0.99557 | -0.031483 | 6.6462
27 | 0.0041657 | 0.0010396 | -0.0041653 | -0.0010396 | 3.9656e-07 | -6.3888e-08 | 0.0062018 | 0.0062019 | 0.0062019 | 0.99923 | -0.0054277 | 0.99914 | -0.0061211 | 2.297
28 | -0.0012167 | -0.00030493 | 0.0012173 | 0.00030093 | 6.6676e-07 | -4.0014e-06 | 0.0018131 | 0.0018116 | 0.0018131 | 0.99853 | -0.010391 | 0.9991 | -0.0063798 | 0.67151
29 | -0.0022296 | -0.00055462 | 0.0022297 | 0.0005545 | 7.8653e-08 | -1.1958e-07 | 0.0033192 | 0.0033192 | 0.0033192 | 0.9991 | -0.0063798 | 0.99914 | -0.0061211 | 1.2293
30 | -0.00028081 | -7.0377e-05 | 0.00028082 | 6.8959e-05 | 1.2314e-08 | -1.4177e-06 | 0.00042234 | 0.00042184 | 0.00042234 | 0.98935 | -0.076855 | 0.9894 | -0.076532 | 0.15642
31 | -0.00041248 | -0.00010196 | 0.00041251 | 0.00010027 | 3.1694e-08 | -1.6874e-06 | 0.00061985 | 0.00061926 | 0.00061985 | 0.9894 | -0.076532 | 0.98948 | -0.075953 | 0.22957
32 | -0.00074737 | -0.00018731 | 0.00074739 | 0.00018706 | 1.7177e-08 | -2.5273e-07 | 0.0011456 | 0.0011455 | 0.0011456 | 0.97076 | -0.20994 | 0.97078 | -0.20978 | 0.4243
33 | -0.00074739 | -0.00018706 | 0.00074753 | 0.00018499 | 1.4036e-07 | -2.0673e-06 | 0.0011455 | 0.0011447 | 0.0011455 | 0.97078 | -0.20978 | 0.97097 | -0.2084 | 0.42426
34 | 0.00041253 | 9.8883e-05 | -0.00041251 | -0.00010027 | 2.5962e-08 | -1.3848e-06 | 0.00061878 | 0.00061926 | 0.00061926 | 0.98954 | -0.075465 | 0.98948 | -0.075953 | 0.22935
35 | -0.0066708 | -0.001651 | 0.0066824 | 0.001653 | 1.1686e-05 | 2.067e-06 | 0.009994 | 0.0099932 | 0.009994 | 0.99249 | -0.053677 | 0.99428 | -0.040714 | 3.7015
36 | -0.0018215 | -0.00045622 | 0.001822 | 0.00045524 | 4.4308e-07 | -9.7511e-07 | 0.0027804 | 0.00278 | 0.0027804 | 0.9748 | -0.18022 | 0.97505 | -0.17845 | 1.0298
37 | 0.00046871 | 0.00011717 | -0.0004687 | -0.00011747 | 7.6015e-09 | -2.9379e-07 | 0.00071536 | 0.00071547 | 0.00071547 | 0.9748 | -0.18022 | 0.97479 | -0.18034 | 0.26499
38 | 0.0051989 | 0.0012905 | -0.0051835 | -0.0012895 | 1.54e-05 | 1.0436e-06 | 0.0079296 | 0.0079314 | 0.0079314 | 0.97505 | -0.17845 | 0.97207 | -0.20024 | 2.9375
39 | -0.0070209 | -0.0017458 | 0.0070288 | 0.0017474 | 7.899e-06 | 1.6598e-06 | 0.01071 | 0.010709 | 0.01071 | 0.97505 | -0.17845 | 0.97618 | -0.1702 | 3.9665
40 | 0.002794 | 0.00069062 | -0.0027933 | -0.00069116 | 7.6718e-07 | -5.3916e-07 | 0.0042736 | 0.0042739 | 0.0042739 | 0.97207 | -0.20024 | 0.97179 | -0.20228 | 1.5829
41 | -0.0074842 | -0.0018609 | 0.0074901 | 0.0018623 | 5.9319e-06 | 1.3667e-06 | 0.011403 | 0.011403 | 0.011403 | 0.97618 | -0.1702 | 0.97698 | -0.16439 | 4.2234
42 | 0.0004554 | 0.00011351 | -0.00045538 | -0.00011413 | 1.4991e-08 | -6.177e-07 | 0.00069395 | 0.00069417 | 0.00069417 | 0.97618 | -0.1702 | 0.97615 | -0.17044 | 0.2571
43 | 0.0022638 | 0.00055847 | -0.002263 | -0.00055955 | 8.4859e-07 | -1.0777e-06 | 0.0034632 | 0.0034637 | 0.0034637 | 0.97179 | -0.20228 | 0.97142 | -0.20507 | 1.2828
44 | -0.0085729 | -0.0021294 | 0.0085961 | 0.0021356 | 2.3159e-05 | 6.1707e-06 | 0.01305 | 0.013049 | 0.01305 | 0.97698 | -0.16439 | 0.9797 | -0.14456 | 4.8335
45 | 0.0010828 | 0.0002671 | -0.0010828 | -0.00026733 | 3.2391e-08 | -2.2695e-07 | 0.0016477 | 0.0016478 | 0.0016478 | 0.97698 | -0.16439 | 0.97695 | -0.16461 | 0.61028
46 | 0.011514 | 0.0028636 | -0.011499 | -0.0028591 | 1.4479e-05 | 4.5505e-06 | 0.017201 | 0.017202 | 0.017202 | 0.99557 | -0.031483 | 0.99428 | -0.040714 | 6.3709
47 | 0.00068339 | 0.00016723 | -0.00068317 | -0.00017122 | 2.1971e-07 | -3.989e-06 | 0.0010395 | 0.0010409 | 0.0010409 | 0.97695 | -0.16461 | 0.97662 | -0.16699 | 0.38552
48 | 0.00082437 | 0.00020608 | -0.00082432 | -0.0002066 | 4.1604e-08 | -5.1958e-07 | 0.0012519 | 0.0012521 | 0.0012521 | 0.9797 | -0.14456 | 0.97965 | -0.14493 | 0.46374
49 | -0.0094205 | -0.0023417 | 0.0094335 | 0.0023454 | 1.3038e-05 | 3.7264e-06 | 0.014301 | 0.014301 | 0.014301 | 0.9797 | -0.14456 | 0.9811 | -0.13441 | 5.2968
50 | -0.0099952 | -0.0024862 | 0.0099977 | 0.0024869 | 2.4967e-06 | 7.4016e-07 | 0.015153 | 0.015153 | 0.015153 | 0.9811 | -0.13441 | 0.98135 | -0.13258 | 5.6122
51 | 0.00074755 | 0.00018469 | -0.00074753 | -0.00018499 | 2.0329e-08 | -2.997e-07 | 0.0011446 | 0.0011447 | 0.0011447 | 0.971 | -0.2082 | 0.97097 | -0.2084 | 0.42398
52 | -0.0010385 | -0.00025761 | 0.0010388 | 0.0002552 | 3.2278e-07 | -2.4074e-06 | 0.0015905 | 0.0015896 | 0.0015905 | 0.971 | -0.2082 | 0.97131 | -0.20589 | 0.58907
53 | -0.0014192 | -0.00034869 | 0.0014193 | 0.00034813 | 1.4545e-07 | -5.5595e-07 | 0.0021716 | 0.0021714 | 0.0021716 | 0.97131 | -0.20589 | 0.97141 | -0.20512 | 0.8043
54 | 0.00038034 | 9.3491e-05 | -0.00038031 | -9.5315e-05 | 3.139e-08 | -1.8237e-06 | 0.00058202 | 0.00058267 | 0.00058267 | 0.97131 | -0.20589 | 0.97122 | -0.20649 | 0.2158
55 | -0.0018576 | -0.00045797 | 0.0018576 | 0.00045795 | 1.2313e-08 | -2.5494e-08 | 0.0028427 | 0.0028427 | 0.0028427 | 0.97141 | -0.20512 | 0.97142 | -0.20507 | 1.0529
56 | 0.011402 | 0.002829 | -0.01137 | -0.0028189 | 3.1959e-05 | 1.0106e-05 | 0.017229 | 0.01723 | 0.01723 | 0.9842 | -0.11188 | 0.98135 | -0.13258 | 6.3815
57 | 0.0013728 | 0.00033203 | -0.0013727 | -0.0003325 | 1.1035e-07 | -4.7526e-07 | 0.0020773 | 0.0020775 | 0.0020775 | 0.98135 | -0.13258 | 0.98127 | -0.1332 | 0.76943

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.044195 | 0.010862

## res_load
| p_mw | q_mvar
0 | 0.00058511 | 0.00014664
1 | 0.00082052 | 0.00020564
2 | 0.0030562 | 0.00076596
3 | 0.00035397 | 8.8713e-05
4 | 0.00033025 | 8.2768e-05
5 | 0.00034029 | 8.5285e-05
6 | 0.00031154 | 7.8078e-05
7 | 0.0014238 | 0.00035685
8 | 0.0001775 | 4.4485e-05
9 | 0.002701 | 0.00067692
10 | 0.00042495 | 0.0001065
11 | 0.00014931 | 3.742e-05
12 | 0.00021294 | 5.3369e-05
13 | 0.0046585 | 0.0011675
14 | 0.0025835 | 0.00064749
15 | 0.0022393 | 0.00056122
16 | 0.00034339 | 8.6063e-05
17 | 0.0029067 | 0.00072848
18 | 0.0012167 | 0.00030493
19 | 0.0010123 | 0.0002537
20 | 0.0019356 | 0.00048512
21 | 0.00028081 | 7.0377e-05
22 | 0.00013166 | 3.2996e-05
23 | 0.00074737 | 0.00018731
24 | 0.00054894 | 0.00013758
25 | 0.00051291 | 0.00012855
26 | 0.0013528 | 0.00033905
27 | 0.0004687 | 0.00011747
28 | 0.0023895 | 0.00059887
29 | 0.00052945 | 0.00013269
30 | 0.00045538 | 0.00011413
31 | 0.00031474 | 7.8881e-05
32 | 0.00049744 | 0.00012467
33 | 0.00039939 | 0.0001001
34 | 0.00068317 | 0.00017122
35 | 0.00082432 | 0.0002066
36 | 0.00056173 | 0.00014078
37 | 0.00029094 | 7.2916e-05
38 | 0.00043826 | 0.00010984
39 | 0.00038031 | 9.5315e-05
40 | 0.00040539 | 0.0001016
41 | 0.002133 | 0.00053458
42 | 0.00070183 | 0.0001759

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1