## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1375-2_2_1_node_142 | 0.4 | n |  | TRUE
1 | bus_LV_1375-2_2_1_node_76 | 0.4 | n |  | TRUE
2 | bus_LV_1375-2_2_1_node_143 | 0.4 | n |  | TRUE
3 | bus_LV_1375-2_2_1_node_144 | 0.4 | n |  | TRUE
4 | bus_LV_1375-2_2_1_node_146 | 0.4 | n |  | TRUE
5 | bus_LV_1375-2_2_1_node_145 | 0.4 | n |  | TRUE
6 | bus_LV_1375-2_2_1_node_150 | 0.4 | n |  | TRUE
7 | bus_LV_1375-2_2_1_node_147 | 0.4 | n |  | TRUE
8 | bus_LV_1375-2_2_1_node_79 | 0.4 | n |  | TRUE
9 | bus_LV_1375-2_2_1_node_148 | 0.4 | n |  | TRUE
10 | bus_LV_1375-2_2_1_node_149 | 0.4 | n |  | TRUE
11 | bus_LV_1375-2_2_1_node_151 | 0.4 | n |  | TRUE
12 | bus_LV_1375-2_2_1_node_158 | 0.4 | n |  | TRUE
13 | bus_LV_1375-2_2_1_node_157 | 0.4 | n |  | TRUE
14 | bus_LV_1375-2_2_1_node_152 | 0.4 | n |  | TRUE
15 | bus_LV_1375-2_2_1_node_67 | 0.4 | n |  | TRUE
16 | bus_LV_1375-2_2_1_node_71 | 0.4 | n |  | TRUE
17 | bus_LV_1375-2_2_1_node_153 | 0.4 | n |  | TRUE
18 | bus_LV_1375-2_2_1_node_63 | 0.4 | n |  | TRUE
19 | bus_LV_1375-2_2_1_node_81 | 0.4 | n |  | TRUE
20 | bus_LV_1375-2_2_1_node_154 | 0.4 | n |  | TRUE
21 | bus_LV_1375-2_2_1_node_155 | 0.4 | n |  | TRUE
22 | bus_LV_1375-2_2_1_node_78 | 0.4 | n |  | TRUE
23 | bus_LV_1375-2_2_1_node_156 | 0.4 | n |  | TRUE
24 | bus_LV_1375-2_2_1_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_1375-2_2_1_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_1375-2_2_1_node_52 | 0.4 | n |  | TRUE
27 | bus_LV_1375-2_2_1_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_1375-2_2_1_node_44 | 0.4 | n |  | TRUE
29 | bus_LV_1375-2_2_1_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_1375-2_2_1_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_1375-2_2_1_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_1375-2_2_1_node_49 | 0.4 | n |  | TRUE
33 | bus_LV_1375-2_2_1_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_1375-2_2_1_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_1375-2_2_1_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_1375-2_2_1_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_1375-2_2_1_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_1375-2_2_1_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_1375-2_2_1_node_56 | 0.4 | n |  | TRUE
40 | bus_LV_1375-2_2_1_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_1375-2_2_1_node_58 | 0.4 | n |  | TRUE
42 | bus_LV_1375-2_2_1_node_59 | 0.4 | n |  | TRUE
43 | bus_LV_1375-2_2_1_node_64 | 0.4 | n |  | TRUE
44 | bus_LV_1375-2_2_1_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_1375-2_2_1_node_62 | 0.4 | n |  | TRUE
46 | bus_LV_1375-2_2_1_node_75 | 0.4 | n |  | TRUE
47 | bus_LV_1375-2_2_1_node_65 | 0.4 | n |  | TRUE
48 | bus_LV_1375-2_2_1_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_1375-2_2_1_node_80 | 0.4 | n |  | TRUE
50 | bus_LV_1375-2_2_1_node_68 | 0.4 | n |  | TRUE
51 | bus_LV_1375-2_2_1_node_69 | 0.4 | n |  | TRUE
52 | bus_LV_1375-2_2_1_node_70 | 0.4 | n |  | TRUE
53 | bus_LV_1375-2_2_1_node_72 | 0.4 | n |  | TRUE
54 | bus_LV_1375-2_2_1_node_73 | 0.4 | n |  | TRUE
55 | bus_LV_1375-2_2_1_node_74 | 0.4 | n |  | TRUE
56 | bus_MV_135_0_node_61 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1375-2_2_1_load_142 | 0 | 0.00069507 | 0.0001742 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1375-2_2_1_load_143 | 2 | 0.00097211 | 0.00024363 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1375-2_2_1_load_144 | 3 | 0.0025379 | 0.00063605 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1375-2_2_1_load_146 | 4 | 0.0010338 | 0.00025911 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1375-2_2_1_load_145 | 5 | 0.00043893 | 0.00011001 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1375-2_2_1_load_150 | 6 | 0.0013618 | 0.0003413 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1375-2_2_1_load_79 | 8 | 0.00016578 | 4.1549e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1375-2_2_1_load_148 | 9 | 0.002534 | 0.00063507 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1375-2_2_1_load_158 | 12 | 0.00036578 | 9.1672e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1375-2_2_1_load_157 | 13 | 0.0017538 | 0.00043954 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1375-2_2_1_load_152 | 14 | 0.00022165 | 5.555e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1375-2_2_1_load_67 | 15 | 0.0016509 | 0.00041375 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1375-2_2_1_load_71 | 16 | 0.00028945 | 7.2542e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1375-2_2_1_load_153 | 17 | 0.003286 | 0.00082355 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1375-2_2_1_load_154 | 20 | 0.0029047 | 0.00072799 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1375-2_2_1_load_156 | 23 | 0.00088116 | 0.00022084 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1375-2_2_1_load_52 | 26 | 0.0064041 | 0.001605 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1375-2_2_1_load_44 | 28 | 0.0017972 | 0.00045042 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1375-2_2_1_load_42 | 29 | 0.0047274 | 0.0011848 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1375-2_2_1_load_43 | 30 | 0.0031393 | 0.00078677 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1375-2_2_1_load_48 | 31 | 0.0039726 | 0.00099563 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1375-2_2_1_load_49 | 32 | 0.000157 | 3.9348e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1375-2_2_1_load_50 | 33 | 0.0082715 | 0.002073 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1375-2_2_1_load_51 | 34 | 0.00022813 | 5.7174e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1375-2_2_1_load_53 | 35 | 0.00047201 | 0.0001183 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1375-2_2_1_load_54 | 36 | 0.00017432 | 4.3688e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1375-2_2_1_load_60 | 37 | 0.00038998 | 9.7739e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1375-2_2_1_load_55 | 38 | 0.0051918 | 0.0013012 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1375-2_2_1_load_56 | 39 | 0.0017243 | 0.00043215 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1375-2_2_1_load_57 | 40 | 0.0003442 | 8.6264e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1375-2_2_1_load_58 | 41 | 0.00039899 | 9.9997e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1375-2_2_1_load_59 | 42 | 0.0044076 | 0.0011046 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1375-2_2_1_load_64 | 43 | 0.00036024 | 9.0284e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1375-2_2_1_load_61 | 44 | 0.00022087 | 5.5356e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1375-2_2_1_load_75 | 46 | 0.00095833 | 0.00024018 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1375-2_2_1_load_66 | 48 | 0.0043583 | 0.0010923 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1375-2_2_1_load_80 | 49 | 0.0011891 | 0.00029801 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1375-2_2_1_load_68 | 50 | 0.00037124 | 9.3042e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1375-2_2_1_load_69 | 51 | 0.00014154 | 3.5474e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1375-2_2_1_load_72 | 53 | 0.00030742 | 7.7047e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1375-2_2_1_load_73 | 54 | 0.0014767 | 0.00037009 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1375-2_2_1_load_74 | 55 | 0.0025181 | 0.00063109 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1375-2_2_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1375-2_2_1_line_1 | NAYY 4x150 SE | 0 | 2 | 0.049096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1375-2_2_1_line_2 | NAYY 4x150 SE | 1 | 5 | 0.03278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1375-2_2_1_line_3 | NAYY 4x150 SE | 2 | 3 | 0.010004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1375-2_2_1_line_4 | NAYY 4x150 SE | 3 | 4 | 0.026379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1375-2_2_1_line_5 | NAYY 4x150 SE | 5 | 6 | 0.01638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1375-2_2_1_line_6 | NAYY 4x150 SE | 6 | 10 | 0.017581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1375-2_2_1_line_7 | NAYY 4x150 SE | 7 | 8 | 0.014408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1375-2_2_1_line_8 | NAYY 4x150 SE | 7 | 9 | 0.054679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1375-2_2_1_line_9 | NAYY 4x150 SE | 8 | 45 | 0.016203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1375-2_2_1_line_10 | NAYY 4x150 SE | 10 | 11 | 0.034936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1375-2_2_1_line_11 | NAYY 4x150 SE | 11 | 12 | 0.03053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1375-2_2_1_line_12 | NAYY 4x150 SE | 11 | 13 | 0.03023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1375-2_2_1_line_13 | NAYY 4x150 SE | 13 | 23 | 0.009457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1375-2_2_1_line_14 | NAYY 4x150 SE | 14 | 15 | 0.029815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1375-2_2_1_line_15 | NAYY 4x150 SE | 14 | 16 | 0.00013498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1375-2_2_1_line_16 | NAYY 4x150 SE | 15 | 47 | 0.017084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1375-2_2_1_line_17 | NAYY 4x150 SE | 16 | 51 | 0.021111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1375-2_2_1_line_18 | NAYY 4x150 SE | 17 | 18 | 0.00094057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1375-2_2_1_line_19 | NAYY 4x150 SE | 17 | 19 | 0.0052335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1375-2_2_1_line_20 | NAYY 4x150 SE | 18 | 46 | 0.01826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1375-2_2_1_line_21 | NAYY 4x150 SE | 19 | 20 | 0.036438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1375-2_2_1_line_22 | NAYY 4x150 SE | 19 | 49 | 0.027675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1375-2_2_1_line_23 | NAYY 4x150 SE | 21 | 22 | 0.034029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1375-2_2_1_line_24 | NAYY 4x150 SE | 21 | 23 | 0.028851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1375-2_2_1_line_25 | NAYY 4x150 SE | 22 | 45 | 0.009892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1375-2_2_1_line_26 | NAYY 4x150 SE | 22 | 54 | 0.055032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1375-2_2_1_line_27 | NAYY 4x150 SE | 24 | 25 | 0.037023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1375-2_2_1_line_28 | NAYY 4x150 SE | 24 | 26 | 0.024559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1375-2_2_1_line_29 | NAYY 4x150 SE | 25 | 30 | 0.011364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1375-2_2_1_line_30 | NAYY 4x150 SE | 26 | 33 | 0.0318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1375-2_2_1_line_31 | NAYY 4x150 SE | 27 | 28 | 0.010392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1375-2_2_1_line_32 | NAYY 4x150 SE | 27 | 29 | 0.013405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1375-2_2_1_line_33 | NAYY 4x150 SE | 29 | 30 | 0.020908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1375-2_2_1_line_34 | NAYY 4x150 SE | 31 | 32 | 0.022656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1375-2_2_1_line_35 | NAYY 4x150 SE | 31 | 33 | 0.0068452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1375-2_2_1_line_36 | NAYY 4x150 SE | 32 | 34 | 0.00016338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1375-2_2_1_line_37 | NAYY 4x150 SE | 34 | 35 | 0.026684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1375-2_2_1_line_38 | NAYY 4x150 SE | 35 | 36 | 0.0011295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1375-2_2_1_line_39 | NAYY 4x150 SE | 36 | 37 | 0.031177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1375-2_2_1_line_40 | NAYY 4x150 SE | 37 | 44 | 0.047159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1375-2_2_1_line_41 | NAYY 4x150 SE | 38 | 39 | 0.014479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1375-2_2_1_line_42 | NAYY 4x150 SE | 38 | 40 | 0.0070686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1375-2_2_1_line_43 | NAYY 4x150 SE | 39 | 41 | 0.012175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1375-2_2_1_line_44 | NAYY 4x150 SE | 40 | 42 | 0.014589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1375-2_2_1_line_45 | NAYY 4x150 SE | 41 | 43 | 0.0088181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1375-2_2_1_line_46 | NAYY 4x150 SE | 43 | 47 | 0.013685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1375-2_2_1_line_47 | NAYY 4x150 SE | 44 | 45 | 0.029034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1375-2_2_1_line_48 | NAYY 4x150 SE | 46 | 55 | 0.017096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1375-2_2_1_line_49 | NAYY 4x150 SE | 47 | 48 | 0.022474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1375-2_2_1_line_50 | NAYY 4x150 SE | 48 | 49 | 1.9715e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1375-2_2_1_line_51 | NAYY 4x150 SE | 50 | 51 | 0.0023223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1375-2_2_1_line_52 | NAYY 4x150 SE | 50 | 52 | 0.021303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1375-2_2_1_line_53 | NAYY 4x150 SE | 52 | 53 | 0.026907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1375-2_2_1_line_54 | NAYY 4x150 SE | 52 | 54 | 0.012439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1375-2_2_1_trafo_59 | 0.25 MVA 20/0.4 kV | 56 | 42 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2703593.5021 | 1212209.9961 | 2703571.6686 | 1212214.3329
1 | 2703571.6686 | 1212214.3329 | 2703555.1528 | 1212217.6134 | 2703551.5123 | 1212217.6391 | 2703548.2951 | 1212216.4824 | 2703545.6439 | 1212213.8012 | 2703544.5995 | 1212210.4918 | 2703542.446 | 1212192.6643
2 | 2703593.5021 | 1212209.9961 | 2703599.9778 | 1212242.1303
3 | 2703541.2463 | 1212182.7327 | 2703542.446 | 1212192.6643
4 | 2703541.2463 | 1212182.7327 | 2703538.0828 | 1212156.5437
5 | 2703599.9778 | 1212242.1303 | 2703603.2137 | 1212258.1875
6 | 2703606.56 | 1212275.447 | 2703605.0104 | 1212267.103 | 2703603.2137 | 1212258.1875
7 | 2703616.2269 | 1212327.4294 | 2703618.8599 | 1212341.595
8 | 2703616.2269 | 1212327.4294 | 2703597.1797 | 1212330.7009 | 2703592.2534 | 1212330.3818 | 2703589.5667 | 1212329.7458 | 2703585.8504 | 1212327.5797 | 2703569.641 | 1212310.7675
9 | 2703621.821 | 1212357.5257 | 2703618.8599 | 1212341.595
10 | 2703606.56 | 1212275.447 | 2703640.9907 | 1212268.9739
11 | 2703635.5475 | 1212238.9358 | 2703640.9907 | 1212268.9739
12 | 2703640.9907 | 1212268.9739 | 2703646.3837 | 1212298.7193
13 | 2703648.0708 | 1212308.0247 | 2703646.3837 | 1212298.7193
14 | 2703700.8629 | 1212446.8524 | 2703719.0019 | 1212470.515
15 | 2703700.7807 | 1212446.7452 | 2703700.8629 | 1212446.8524
16 | 2703729.3958 | 1212484.0739 | 2703719.0019 | 1212470.515
17 | 2703700.7807 | 1212446.7452 | 2703687.9372 | 1212429.9907
18 | 2703762.8301 | 1212528.2496 | 2703763.3865 | 1212529.008
19 | 2703759.7344 | 1212524.0299 | 2703762.8301 | 1212528.2496
20 | 2703763.3865 | 1212529.008 | 2703774.3695 | 1212543.5956
21 | 2703734.1304 | 1212549.9807 | 2703747.531 | 1212535.3589 | 2703759.7344 | 1212524.0299
22 | 2703759.7344 | 1212524.0299 | 2703742.9986 | 1212501.9888
23 | 2703631.5655 | 1212358.6958 | 2703635.6664 | 1212351.4174 | 2703637.3889 | 1212349.3793 | 2703639.8786 | 1212347.3544 | 2703655.7848 | 1212335.4891
24 | 2703655.7848 | 1212335.4891 | 2703652.6963 | 1212330.4318 | 2703651.7349 | 1212328.0357 | 2703651.0314 | 1212324.3542 | 2703648.0708 | 1212308.0247
25 | 2703621.821 | 1212357.5257 | 2703625.1225 | 1212357.3273 | 2703629.0645 | 1212357.874 | 2703631.5655 | 1212358.6958
26 | 2703631.5655 | 1212358.6958 | 2703634.0244 | 1212360.1951 | 2703635.564 | 1212361.6785 | 2703665.9951 | 1212401.3688
27 | 2703643.7837 | 1212570.28 | 2703634.6746 | 1212571.0445 | 2703626.4777 | 1212572.2251 | 2703619.4077 | 1212574.1481 | 2703610.6143 | 1212577.2976 | 2703611.7781 | 1212574.6048
28 | 2703611.7781 | 1212574.6048 | 2703619.2661 | 1212555.6325 | 2703620.6365 | 1212551.7015
29 | 2703643.7837 | 1212570.28 | 2703655.1333 | 1212569.7128
30 | 2703629.2002 | 1212521.1081 | 2703629.0332 | 1212522.2675 | 2703627.6665 | 1212528.3258 | 2703625.2278 | 1212537.034 | 2703622.6411 | 1212545.951 | 2703620.6365 | 1212551.7015
31 | 2703689.4061 | 1212570.3507 | 2703694.248 | 1212570.7018 | 2703699.6843 | 1212571.7524
32 | 2703689.4061 | 1212570.3507 | 2703682.1887 | 1212569.8249 | 2703676.0271 | 1212569.5294
33 | 2703676.0271 | 1212569.5294 | 2703672.7284 | 1212569.3713 | 2703663.2613 | 1212569.3067 | 2703655.1333 | 1212569.7128
34 | 2703630.1762 | 1212514.3328 | 2703630.8912 | 1212509.3684 | 2703632.1635 | 1212497.3821 | 2703632.529 | 1212491.8073
35 | 2703630.1762 | 1212514.3328 | 2703629.2002 | 1212521.1081
36 | 2703632.5397 | 1212491.6442 | 2703632.529 | 1212491.8073
37 | 2703632.5397 | 1212491.6442 | 2703633.3424 | 1212479.4009 | 2703634.0223 | 1212465.0021
38 | 2703634.0755 | 1212463.8739 | 2703634.0223 | 1212465.0021
39 | 2703634.0755 | 1212463.8739 | 2703634.2085 | 1212461.0585 | 2703634.4071 | 1212449.1981 | 2703634.0057 | 1212435.1367 | 2703633.8024 | 1212432.7157
40 | 2703633.8024 | 1212432.7157 | 2703633.0803 | 1212424.1128 | 2703631.6975 | 1212412.7363 | 2703627.4928 | 1212385.9993
41 | 2703686.6411 | 1212505.2954 | 2703697.7729 | 1212504.8054 | 2703700.9948 | 1212503.9385
42 | 2703686.6411 | 1212505.2954 | 2703679.5794 | 1212505.6063
43 | 2703711.0998 | 1212497.1749 | 2703704.049 | 1212502.2238 | 2703700.9948 | 1212503.9385 | 2703700.9948 | 1212503.9385
44 | 2703665.004 | 1212506.2479 | 2703679.5794 | 1212505.6063
45 | 2703711.0998 | 1212497.1749 | 2703718.2693 | 1212492.0411
46 | 2703729.3958 | 1212484.0739 | 2703718.2693 | 1212492.0411
47 | 2703621.821 | 1212357.5257 | 2703627.3456 | 1212385.0633 | 2703627.4928 | 1212385.9993
48 | 2703774.3695 | 1212543.5956 | 2703784.6522 | 1212557.2531
49 | 2703729.3958 | 1212484.0739 | 2703742.9867 | 1212501.9731
50 | 2703742.9986 | 1212501.9888 | 2703742.9867 | 1212501.9731
51 | 2703687.9372 | 1212429.9907 | 2703686.5243 | 1212428.1476
52 | 2703673.5639 | 1212411.2406 | 2703686.5243 | 1212428.1476
53 | 2703673.5639 | 1212411.2406 | 2703647.0661 | 1212415.9146
54 | 2703673.5639 | 1212411.2406 | 2703665.9951 | 1212401.3688

## bus_geodata
| x | y | coords
0 | 2703571.6686 | 1212214.3329
1 | 2703593.5021 | 1212209.9961
2 | 2703542.446 | 1212192.6643
3 | 2703541.2463 | 1212182.7327
4 | 2703538.0828 | 1212156.5437
5 | 2703599.9778 | 1212242.1303
6 | 2703603.2137 | 1212258.1875
7 | 2703616.2269 | 1212327.4294
8 | 2703618.8599 | 1212341.595
9 | 2703569.641 | 1212310.7675
10 | 2703606.56 | 1212275.447
11 | 2703640.9907 | 1212268.9739
12 | 2703635.5475 | 1212238.9358
13 | 2703646.3837 | 1212298.7193
14 | 2703700.8629 | 1212446.8524
15 | 2703719.0019 | 1212470.515
16 | 2703700.7807 | 1212446.7452
17 | 2703762.8301 | 1212528.2496
18 | 2703763.3865 | 1212529.008
19 | 2703759.7345 | 1212524.0299
20 | 2703734.1304 | 1212549.9807
21 | 2703655.7848 | 1212335.4891
22 | 2703631.5655 | 1212358.6958
23 | 2703648.0708 | 1212308.0247
24 | 2703611.7781 | 1212574.6048
25 | 2703643.7837 | 1212570.28
26 | 2703620.6365 | 1212551.7015
27 | 2703689.4061 | 1212570.3507
28 | 2703699.6843 | 1212571.7524
29 | 2703676.0271 | 1212569.5294
30 | 2703655.1333 | 1212569.7128
31 | 2703630.1762 | 1212514.3328
32 | 2703632.529 | 1212491.8073
33 | 2703629.2002 | 1212521.1081
34 | 2703632.5397 | 1212491.6442
35 | 2703634.0223 | 1212465.0021
36 | 2703634.0755 | 1212463.8739
37 | 2703633.8024 | 1212432.7157
38 | 2703686.6411 | 1212505.2954
39 | 2703700.9948 | 1212503.9385
40 | 2703679.5794 | 1212505.6063
41 | 2703711.0998 | 1212497.1749
42 | 2703665.004 | 1212506.2479
43 | 2703718.2693 | 1212492.0411
44 | 2703627.4928 | 1212385.9993
45 | 2703621.821 | 1212357.5257
46 | 2703774.3695 | 1212543.5956
47 | 2703729.3958 | 1212484.0739
48 | 2703742.9867 | 1212501.9731
49 | 2703742.9986 | 1212501.9888
50 | 2703686.5243 | 1212428.1476
51 | 2703687.9372 | 1212429.9907
52 | 2703673.5639 | 1212411.2406
53 | 2703647.0661 | 1212415.9146
54 | 2703665.9951 | 1212401.3688
55 | 2703784.6522 | 1212557.2531
56 | 2703729.3958 | 1212484.0739

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9805 | -0.13662 | 0.00069507 | 0.0001742
1 | 0.98067 | -0.13541 | 0 | 0
2 | 0.98017 | -0.13894 | 0.00097211 | 0.00024363
3 | 0.98012 | -0.13932 | 0.0025379 | 0.00063605
4 | 0.98008 | -0.1396 | 0.0010338 | 0.00025911
5 | 0.98092 | -0.13363 | 0.00043893 | 0.00011001
6 | 0.98105 | -0.13266 | 0.0013618 | 0.0003413
7 | 0.98237 | -0.12322 | 0 | 0
8 | 0.98242 | -0.12284 | 0.00016578 | 4.1549e-05
9 | 0.98217 | -0.12466 | 0.002534 | 0.00063507
10 | 0.98123 | -0.13137 | 0 | 0
11 | 0.98159 | -0.12882 | 0 | 0
12 | 0.98157 | -0.12893 | 0.00036578 | 9.1672e-05
13 | 0.98192 | -0.12649 | 0.0017538 | 0.00043954
14 | 0.99012 | -0.068642 | 0.00022165 | 5.555e-05
15 | 0.9921 | -0.054832 | 0.0016509 | 0.00041375
16 | 0.99011 | -0.068705 | 0.00028945 | 7.2542e-05
17 | 0.99234 | -0.053195 | 0.003286 | 0.00082355
18 | 0.99234 | -0.053228 | 0 | 0
19 | 0.9924 | -0.052836 | 0 | 0
20 | 0.99224 | -0.05391 | 0.0029047 | 0.00072799
21 | 0.98246 | -0.12259 | 0 | 0
22 | 0.98296 | -0.11905 | 0 | 0
23 | 0.98204 | -0.12559 | 0.00088116 | 0.00022084
24 | 0.97438 | -0.18026 | 0 | 0
25 | 0.97385 | -0.18402 | 0 | 0
26 | 0.97472 | -0.17776 | 0.0064041 | 0.001605
27 | 0.97346 | -0.18687 | 0 | 0
28 | 0.97343 | -0.18707 | 0.0017972 | 0.00045042
29 | 0.97349 | -0.18662 | 0.0047274 | 0.0011848
30 | 0.97369 | -0.18518 | 0.0031393 | 0.00078677
31 | 0.97571 | -0.17064 | 0.0039726 | 0.00099563
32 | 0.97665 | -0.16392 | 0.000157 | 3.9348e-05
33 | 0.97547 | -0.17239 | 0.0082715 | 0.002073
34 | 0.97666 | -0.16387 | 0.00022813 | 5.7174e-05
35 | 0.97778 | -0.15587 | 0.00047201 | 0.0001183
36 | 0.97783 | -0.15552 | 0.00017432 | 4.3688e-05
37 | 0.97917 | -0.14598 | 0.00038998 | 9.7739e-05
38 | 0.99779 | -0.015247 | 0.0051918 | 0.0013012
39 | 0.99643 | -0.024688 | 0.0017243 | 0.00043215
40 | 0.99851 | -0.01028 | 0.0003442 | 8.6264e-05
41 | 0.99531 | -0.032435 | 0.00039899 | 9.9997e-05
42 | 1 | 0 | -0.072354 | -0.018075
43 | 0.99451 | -0.038021 | 0.00036024 | 9.0284e-05
44 | 0.98122 | -0.1314 | 0.00022087 | 5.5356e-05
45 | 0.98249 | -0.12239 | 0 | 0
46 | 0.99225 | -0.053872 | 0.00095833 | 0.00024018
47 | 0.99327 | -0.046658 | 0 | 0
48 | 0.99278 | -0.050121 | 0.0043583 | 0.0010923
49 | 0.99278 | -0.050124 | 0.0011891 | 0.00029801
50 | 0.98857 | -0.079471 | 0.00037124 | 9.3042e-05
51 | 0.98872 | -0.078406 | 0.00014154 | 3.5474e-05
52 | 0.98719 | -0.089179 | 0 | 0
53 | 0.98718 | -0.089264 | 0.00030742 | 7.7047e-05
54 | 0.98639 | -0.09482 | 0.0014767 | 0.00037009
55 | 0.99219 | -0.054309 | 0.0025181 | 0.00063109
56 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0052406 | -0.0013126 | 0.0052415 | 0.0013126 | 8.7852e-07 | 5.7088e-08 | 0.0079529 | 0.0079528 | 0.0079529 | 0.9805 | -0.13662 | 0.98067 | -0.13541 | 2.9455
1 | 0.0045455 | 0.0011384 | -0.0045441 | -0.0011384 | 1.4578e-06 | -5.8336e-08 | 0.006898 | 0.0068982 | 0.0068982 | 0.9805 | -0.13662 | 0.98017 | -0.13894 | 2.5549
2 | -0.0052415 | -0.0013126 | 0.0052428 | 0.0013127 | 1.2937e-06 | 8.3875e-08 | 0.0079528 | 0.0079526 | 0.0079528 | 0.98067 | -0.13541 | 0.98092 | -0.13363 | 2.9455
3 | 0.0035719 | 0.00089479 | -0.0035718 | -0.00089484 | 1.8355e-07 | -5.5489e-08 | 0.0054225 | 0.0054225 | 0.0054225 | 0.98017 | -0.13894 | 0.98012 | -0.13932 | 2.0083
4 | 0.0010339 | 0.00025879 | -0.0010338 | -0.00025911 | 4.0552e-08 | -3.1685e-07 | 0.0015695 | 0.0015696 | 0.0015696 | 0.98012 | -0.13932 | 0.98008 | -0.1396 | 0.58135
5 | -0.0056817 | -0.0014227 | 0.0056824 | 0.0014228 | 7.592e-07 | 8.5199e-08 | 0.0086185 | 0.0086184 | 0.0086185 | 0.98092 | -0.13363 | 0.98105 | -0.13266 | 3.192
6 | -0.0070443 | -0.0017641 | 0.0070455 | 0.0017644 | 1.2523e-06 | 2.596e-07 | 0.010684 | 0.010684 | 0.010684 | 0.98105 | -0.13266 | 0.98123 | -0.13137 | 3.957
7 | -0.0025345 | -0.00063457 | 0.0025346 | 0.00063444 | 1.3249e-07 | -1.3147e-07 | 0.0038388 | 0.0038387 | 0.0038388 | 0.98237 | -0.12322 | 0.98242 | -0.12284 | 1.4218
8 | 0.0025345 | 0.00063457 | -0.002534 | -0.00063507 | 5.0283e-07 | -4.9874e-07 | 0.0038388 | 0.003839 | 0.003839 | 0.98237 | -0.12322 | 0.98217 | -0.12466 | 1.4219
9 | -0.0027004 | -0.00067599 | 0.0027006 | 0.00067585 | 1.6912e-07 | -1.4014e-07 | 0.0040898 | 0.0040897 | 0.0040898 | 0.98242 | -0.12284 | 0.98249 | -0.12239 | 1.5147
10 | -0.0070455 | -0.0017644 | 0.007048 | 0.0017649 | 2.4883e-06 | 5.1559e-07 | 0.010684 | 0.010684 | 0.010684 | 0.98123 | -0.13137 | 0.98159 | -0.12882 | 3.957
11 | 0.00036578 | 9.1289e-05 | -0.00036578 | -9.1672e-05 | 5.8561e-09 | -3.8366e-07 | 0.00055436 | 0.0005545 | 0.0005545 | 0.98159 | -0.12882 | 0.98157 | -0.12893 | 0.20537
12 | -0.0074138 | -0.0018562 | 0.0074162 | 0.0018567 | 2.3823e-06 | 5.3403e-07 | 0.011238 | 0.011238 | 0.011238 | 0.98159 | -0.12882 | 0.98192 | -0.12649 | 4.1622
13 | -0.00917 | -0.0022962 | 0.0091711 | 0.0022966 | 1.1395e-06 | 3.1861e-07 | 0.013896 | 0.013896 | 0.013896 | 0.98192 | -0.12649 | 0.98204 | -0.12559 | 5.1465
14 | -0.046077 | -0.011614 | 0.046166 | 0.011648 | 8.9272e-05 | 3.3951e-05 | 0.06927 | 0.06927 | 0.06927 | 0.99012 | -0.068642 | 0.9921 | -0.054832 | 25.6557
15 | 0.045855 | 0.011558 | -0.045855 | -0.011558 | 4.0027e-07 | 1.5221e-07 | 0.068937 | 0.068937 | 0.068937 | 0.99012 | -0.068642 | 0.99011 | -0.068705 | 25.5323
16 | -0.047817 | -0.012061 | 0.047872 | 0.012082 | 5.4876e-05 | 2.0885e-05 | 0.071746 | 0.071746 | 0.071746 | 0.9921 | -0.054832 | 0.99327 | -0.046658 | 26.5727
17 | 0.045565 | 0.011485 | -0.045503 | -0.011462 | 6.1816e-05 | 2.3504e-05 | 0.068502 | 0.068502 | 0.068502 | 0.99011 | -0.068705 | 0.98872 | -0.078406 | 25.3713
18 | 0.0034769 | 0.00087099 | -0.0034769 | -0.000871 | 1.5952e-08 | -6.0158e-09 | 0.0052135 | 0.0052135 | 0.0052135 | 0.99234 | -0.053195 | 0.99234 | -0.053228 | 1.9309
19 | -0.0067629 | -0.0016945 | 0.0067632 | 0.0016946 | 3.3583e-07 | 6.1549e-08 | 0.010141 | 0.010141 | 0.010141 | 0.99234 | -0.053195 | 0.9924 | -0.052836 | 3.7558
20 | 0.0034769 | 0.000871 | -0.0034766 | -0.00087111 | 3.097e-07 | -1.1676e-07 | 0.0052135 | 0.0052136 | 0.0052136 | 0.99234 | -0.053228 | 0.99225 | -0.053872 | 1.9309
21 | 0.0029051 | 0.00072768 | -0.0029047 | -0.00072799 | 4.3143e-07 | -3.0479e-07 | 0.0043559 | 0.004356 | 0.004356 | 0.9924 | -0.052836 | 0.99224 | -0.05391 | 1.6133
22 | -0.0096684 | -0.0024223 | 0.009672 | 0.0024233 | 3.6291e-06 | 1.0381e-06 | 0.014497 | 0.014497 | 0.014497 | 0.9924 | -0.052836 | 0.99278 | -0.050124 | 5.3691
23 | -0.010056 | -0.0025186 | 0.010061 | 0.0025201 | 4.9257e-06 | 1.4634e-06 | 0.015231 | 0.01523 | 0.015231 | 0.98246 | -0.12259 | 0.98296 | -0.11905 | 5.641
24 | 0.010056 | 0.0025186 | -0.010052 | -0.0025174 | 4.1763e-06 | 1.2411e-06 | 0.015231 | 0.015231 | 0.015231 | 0.98246 | -0.12259 | 0.98204 | -0.12559 | 5.641
25 | 0.032897 | 0.0082721 | -0.032882 | -0.0082664 | 1.5314e-05 | 5.7648e-06 | 0.04981 | 0.04981 | 0.04981 | 0.98296 | -0.11905 | 0.98249 | -0.12239 | 18.448
26 | -0.042958 | -0.010792 | 0.043104 | 0.010847 | 0.00014526 | 5.5171e-05 | 0.06504 | 0.06504 | 0.06504 | 0.98296 | -0.11905 | 0.98639 | -0.09482 | 24.0889
27 | 0.0096718 | 0.0024239 | -0.0096668 | -0.0024224 | 5.0402e-06 | 1.4776e-06 | 0.01477 | 0.01477 | 0.01477 | 0.97438 | -0.18026 | 0.97385 | -0.18402 | 5.4705
28 | -0.0096718 | -0.0024239 | 0.0096752 | 0.0024249 | 3.3433e-06 | 9.7989e-07 | 0.01477 | 0.01477 | 0.01477 | 0.97438 | -0.18026 | 0.97472 | -0.17776 | 5.4705
29 | 0.0096668 | 0.0024224 | -0.0096653 | -0.002422 | 1.547e-06 | 4.5364e-07 | 0.01477 | 0.014771 | 0.014771 | 0.97385 | -0.18402 | 0.97369 | -0.18518 | 5.4706
30 | -0.016079 | -0.0040299 | 0.016091 | 0.0040341 | 1.1956e-05 | 4.2019e-06 | 0.024547 | 0.024547 | 0.024547 | 0.97472 | -0.17776 | 0.97547 | -0.17239 | 9.0914
31 | 0.0017972 | 0.00045031 | -0.0017972 | -0.00045042 | 4.8938e-08 | -1.1036e-07 | 0.0027472 | 0.0027472 | 0.0027472 | 0.97346 | -0.18687 | 0.97343 | -0.18707 | 1.0175
32 | -0.0017972 | -0.00045031 | 0.0017973 | 0.00045016 | 6.3128e-08 | -1.4238e-07 | 0.0027472 | 0.0027471 | 0.0027472 | 0.97346 | -0.18687 | 0.97349 | -0.18662 | 1.0175
33 | -0.0065247 | -0.001635 | 0.006526 | 0.0016352 | 1.2976e-06 | 2.3909e-07 | 0.0099731 | 0.0099731 | 0.0099731 | 0.97349 | -0.18662 | 0.97369 | -0.18518 | 3.6938
34 | -0.028341 | -0.007105 | 0.028368 | 0.0071148 | 2.6411e-05 | 9.875e-06 | 0.043223 | 0.043223 | 0.043223 | 0.97571 | -0.17064 | 0.97665 | -0.16392 | 16.0084
35 | 0.024369 | 0.0061093 | -0.024363 | -0.0061071 | 5.8996e-06 | 2.1836e-06 | 0.037164 | 0.037164 | 0.037164 | 0.97571 | -0.17064 | 0.97547 | -0.17239 | 13.7645
36 | -0.028525 | -0.0071542 | 0.028525 | 0.0071543 | 1.9258e-07 | 7.2024e-08 | 0.043462 | 0.043462 | 0.043462 | 0.97665 | -0.16392 | 0.97666 | -0.16387 | 16.0969
37 | -0.028753 | -0.0072114 | 0.028785 | 0.0072234 | 3.1958e-05 | 1.1957e-05 | 0.043809 | 0.043809 | 0.043809 | 0.97666 | -0.16387 | 0.97778 | -0.15587 | 16.2257
38 | -0.029257 | -0.0073417 | 0.029258 | 0.0073422 | 1.3975e-06 | 5.2332e-07 | 0.044528 | 0.044528 | 0.044528 | 0.97778 | -0.15587 | 0.97783 | -0.15552 | 16.4917
39 | -0.029433 | -0.0073859 | 0.029472 | 0.0074005 | 3.9033e-05 | 1.4621e-05 | 0.044793 | 0.044793 | 0.044793 | 0.97783 | -0.15552 | 0.97917 | -0.14598 | 16.5899
40 | -0.029862 | -0.0074983 | 0.029922 | 0.007521 | 6.0615e-05 | 2.2719e-05 | 0.045385 | 0.045385 | 0.045385 | 0.97917 | -0.14598 | 0.98122 | -0.1314 | 16.8094
41 | 0.065865 | 0.016629 | -0.065778 | -0.016596 | 8.7246e-05 | 3.3367e-05 | 0.098268 | 0.098268 | 0.098268 | 0.99779 | -0.015247 | 0.99643 | -0.024688 | 36.3954
42 | -0.071057 | -0.01793 | 0.071106 | 0.017949 | 4.9569e-05 | 1.8973e-05 | 0.10601 | 0.10601 | 0.10601 | 0.99779 | -0.015247 | 0.99851 | -0.01028 | 39.263
43 | 0.064053 | 0.016163 | -0.063984 | -0.016137 | 6.9567e-05 | 2.6598e-05 | 0.095693 | 0.095693 | 0.095693 | 0.99643 | -0.024688 | 0.99531 | -0.032435 | 35.4417
44 | -0.07145 | -0.018035 | 0.071554 | 0.018075 | 0.0001033 | 3.9541e-05 | 0.10652 | 0.10652 | 0.10652 | 0.99851 | -0.01028 | 1 | 0 | 39.453
45 | 0.063585 | 0.016037 | -0.063535 | -0.016018 | 4.9761e-05 | 1.9024e-05 | 0.095096 | 0.095096 | 0.095096 | 0.99531 | -0.032435 | 0.99451 | -0.038021 | 35.2208
46 | 0.063175 | 0.015927 | -0.063098 | -0.015898 | 7.6351e-05 | 2.9188e-05 | 0.094557 | 0.094557 | 0.094557 | 0.99451 | -0.038021 | 0.99327 | -0.046658 | 35.0212
47 | -0.030143 | -0.0075763 | 0.030181 | 0.0075905 | 3.787e-05 | 1.4198e-05 | 0.04572 | 0.04572 | 0.04572 | 0.98122 | -0.1314 | 0.98249 | -0.12239 | 16.9334
48 | 0.0025182 | 0.00063093 | -0.0025181 | -0.00063109 | 1.5214e-07 | -1.6229e-07 | 0.0037764 | 0.0037765 | 0.0037765 | 0.99225 | -0.053872 | 0.99219 | -0.054309 | 1.3987
49 | 0.015227 | 0.0038161 | -0.015219 | -0.0038136 | 7.2972e-06 | 2.5159e-06 | 0.022811 | 0.022811 | 0.022811 | 0.99327 | -0.046658 | 0.99278 | -0.050121 | 8.4485
50 | 0.010861 | 0.0027213 | -0.010861 | -0.0027213 | 3.2598e-09 | 9.9742e-10 | 0.016279 | 0.016279 | 0.016279 | 0.99278 | -0.050121 | 0.99278 | -0.050124 | 6.0292
51 | -0.045355 | -0.011424 | 0.045362 | 0.011426 | 6.7579e-06 | 2.5694e-06 | 0.068289 | 0.068289 | 0.068289 | 0.98857 | -0.079471 | 0.98872 | -0.078406 | 25.2924
52 | 0.044984 | 0.011331 | -0.044923 | -0.011308 | 6.0981e-05 | 2.3182e-05 | 0.067731 | 0.067731 | 0.067731 | 0.98857 | -0.079471 | 0.98719 | -0.089179 | 25.0854
53 | 0.00030742 | 7.6704e-05 | -0.00030742 | -7.7047e-05 | 3.6043e-09 | -3.4262e-07 | 0.00046327 | 0.00046339 | 0.00046339 | 0.98719 | -0.089179 | 0.98718 | -0.089264 | 0.17163
54 | 0.044615 | 0.011231 | -0.04458 | -0.011218 | 3.5123e-05 | 1.335e-05 | 0.067267 | 0.067268 | 0.067268 | 0.98719 | -0.089179 | 0.98639 | -0.09482 | 24.9139

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.076761 | 0.01918

## res_load
| p_mw | q_mvar
0 | 0.00069507 | 0.0001742
1 | 0.00097211 | 0.00024363
2 | 0.0025379 | 0.00063605
3 | 0.0010338 | 0.00025911
4 | 0.00043893 | 0.00011001
5 | 0.0013618 | 0.0003413
6 | 0.00016578 | 4.1549e-05
7 | 0.002534 | 0.00063507
8 | 0.00036578 | 9.1672e-05
9 | 0.0017538 | 0.00043954
10 | 0.00022165 | 5.555e-05
11 | 0.0016509 | 0.00041375
12 | 0.00028945 | 7.2542e-05
13 | 0.003286 | 0.00082355
14 | 0.0029047 | 0.00072799
15 | 0.00088116 | 0.00022084
16 | 0.0064041 | 0.001605
17 | 0.0017972 | 0.00045042
18 | 0.0047274 | 0.0011848
19 | 0.0031393 | 0.00078677
20 | 0.0039726 | 0.00099563
21 | 0.000157 | 3.9348e-05
22 | 0.0082715 | 0.002073
23 | 0.00022813 | 5.7174e-05
24 | 0.00047201 | 0.0001183
25 | 0.00017432 | 4.3688e-05
26 | 0.00038998 | 9.7739e-05
27 | 0.0051918 | 0.0013012
28 | 0.0017243 | 0.00043215
29 | 0.0003442 | 8.6264e-05
30 | 0.00039899 | 9.9997e-05
31 | 0.0044076 | 0.0011046
32 | 0.00036024 | 9.0284e-05
33 | 0.00022087 | 5.5356e-05
34 | 0.00095833 | 0.00024018
35 | 0.0043583 | 0.0010923
36 | 0.0011891 | 0.00029801
37 | 0.00037124 | 9.3042e-05
38 | 0.00014154 | 3.5474e-05
39 | 0.00030742 | 7.7047e-05
40 | 0.0014767 | 0.00037009
41 | 0.0025181 | 0.00063109

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1