## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1401-11_1_4_node_27 | 0.4 | n |  | TRUE
1 | bus_LV_1401-11_1_4_node_28 | 0.4 | n |  | TRUE
2 | bus_LV_1401-11_1_4_node_29 | 0.4 | n |  | TRUE
3 | bus_LV_1401-11_1_4_node_30 | 0.4 | n |  | TRUE
4 | bus_LV_1401-11_1_4_node_68 | 0.4 | n |  | TRUE
5 | bus_LV_1401-11_1_4_node_47 | 0.4 | n |  | TRUE
6 | bus_LV_1401-11_1_4_node_49 | 0.4 | n |  | TRUE
7 | bus_LV_1401-11_1_4_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_1401-11_1_4_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_1401-11_1_4_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_1401-11_1_4_node_32 | 0.4 | n |  | TRUE
11 | bus_LV_1401-11_1_4_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_1401-11_1_4_node_34 | 0.4 | n |  | TRUE
13 | bus_LV_1401-11_1_4_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_1401-11_1_4_node_59 | 0.4 | n |  | TRUE
15 | bus_LV_1401-11_1_4_node_61 | 0.4 | n |  | TRUE
16 | bus_LV_1401-11_1_4_node_57 | 0.4 | n |  | TRUE
17 | bus_LV_1401-11_1_4_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_1401-11_1_4_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_1401-11_1_4_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_1401-11_1_4_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_1401-11_1_4_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_1401-11_1_4_node_69 | 0.4 | n |  | TRUE
23 | bus_LV_1401-11_1_4_node_42 | 0.4 | n |  | TRUE
24 | bus_LV_1401-11_1_4_node_55 | 0.4 | n |  | TRUE
25 | bus_LV_1401-11_1_4_node_70 | 0.4 | n |  | TRUE
26 | bus_LV_1401-11_1_4_node_71 | 0.4 | n |  | TRUE
27 | bus_LV_1401-11_1_4_node_43 | 0.4 | n |  | TRUE
28 | bus_LV_1401-11_1_4_node_88 | 0.4 | n |  | TRUE
29 | bus_LV_1401-11_1_4_node_53 | 0.4 | n |  | TRUE
30 | bus_LV_1401-11_1_4_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_1401-11_1_4_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_1401-11_1_4_node_51 | 0.4 | n |  | TRUE
33 | bus_LV_1401-11_1_4_node_65 | 0.4 | n |  | TRUE
34 | bus_LV_1401-11_1_4_node_66 | 0.4 | n |  | TRUE
35 | bus_LV_1401-11_1_4_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_1401-11_1_4_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_1401-11_1_4_node_56 | 0.4 | n |  | TRUE
38 | bus_LV_1401-11_1_4_node_58 | 0.4 | n |  | TRUE
39 | bus_LV_1401-11_1_4_node_60 | 0.4 | n |  | TRUE
40 | bus_LV_1401-11_1_4_node_63 | 0.4 | n |  | TRUE
41 | bus_LV_1401-11_1_4_node_67 | 0.4 | n |  | TRUE
42 | bus_LV_1401-11_1_4_node_72 | 0.4 | n |  | TRUE
43 | bus_LV_1401-11_1_4_node_75 | 0.4 | n |  | TRUE
44 | bus_LV_1401-11_1_4_node_94 | 0.4 | n |  | TRUE
45 | bus_LV_1401-11_1_4_node_90 | 0.4 | n |  | TRUE
46 | bus_LV_1401-11_1_4_node_89 | 0.4 | n |  | TRUE
47 | bus_MV_0_node_47 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1401-11_1_4_load_27 | 0 | 0.0019437 | 0.00048714 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1401-11_1_4_load_28 | 1 | 0.0002419 | 6.0625e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1401-11_1_4_load_29 | 2 | 0.00024097 | 6.0394e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1401-11_1_4_load_30 | 3 | 0.00051152 | 0.0001282 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1401-11_1_4_load_68 | 4 | 0.00090312 | 0.00022634 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1401-11_1_4_load_49 | 6 | 0.0011605 | 0.00029084 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1401-11_1_4_load_31 | 9 | 0.0032923 | 0.00082514 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1401-11_1_4_load_32 | 10 | 0.00082831 | 0.00020759 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1401-11_1_4_load_33 | 11 | 0.00093838 | 0.00023518 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1401-11_1_4_load_34 | 12 | 0.00031767 | 7.9616e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1401-11_1_4_load_35 | 13 | 0.0016617 | 0.00041647 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1401-11_1_4_load_61 | 15 | 0.00078527 | 0.00019681 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1401-11_1_4_load_57 | 16 | 0.00033508 | 8.3979e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1401-11_1_4_load_36 | 17 | 0.0049701 | 0.0012456 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1401-11_1_4_load_37 | 18 | 0.00041557 | 0.00010415 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1401-11_1_4_load_40 | 20 | 0.00028679 | 7.1877e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1401-11_1_4_load_42 | 23 | 0.00058568 | 0.00014679 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1401-11_1_4_load_55 | 24 | 0.0022028 | 0.00055208 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1401-11_1_4_load_70 | 25 | 0.0015764 | 0.00039507 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1401-11_1_4_load_71 | 26 | 0.00020139 | 5.0473e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1401-11_1_4_load_43 | 27 | 0.00018188 | 4.5583e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1401-11_1_4_load_88 | 28 | 0.00028281 | 7.0879e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1401-11_1_4_load_53 | 29 | 0.0010435 | 0.00026152 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1401-11_1_4_load_48 | 30 | 0.0015117 | 0.00037886 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1401-11_1_4_load_50 | 31 | 0.0013048 | 0.00032701 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1401-11_1_4_load_65 | 33 | 0.0026345 | 0.00066027 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1401-11_1_4_load_66 | 34 | 0.0014808 | 0.00037112 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1401-11_1_4_load_52 | 35 | 0.0028952 | 0.00072559 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1401-11_1_4_load_54 | 36 | 0.0090208 | 0.0022608 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1401-11_1_4_load_56 | 37 | 0.0015112 | 0.00037873 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1401-11_1_4_load_58 | 38 | 0.00044223 | 0.00011083 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1401-11_1_4_load_63 | 40 | 0.00070924 | 0.00017775 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1401-11_1_4_load_67 | 41 | 0.0019869 | 0.00049797 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1401-11_1_4_load_72 | 42 | 0.00087112 | 0.00021832 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1401-11_1_4_load_75 | 43 | 0.0021201 | 0.00053135 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1401-11_1_4_load_94 | 44 | 0.0019231 | 0.00048198 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1401-11_1_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0040474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1401-11_1_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.098225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1401-11_1_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.028952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1401-11_1_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.15455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1401-11_1_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.022559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1401-11_1_4_line_5 | NAYY 4x150 SE | 4 | 42 | 0.013594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1401-11_1_4_line_6 | NAYY 4x150 SE | 4 | 41 | 0.036579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1401-11_1_4_line_7 | NAYY 4x150 SE | 5 | 6 | 0.21728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1401-11_1_4_line_8 | NAYY 4x150 SE | 5 | 7 | 0.0346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1401-11_1_4_line_9 | NAYY 4x150 SE | 5 | 8 | 0.17991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1401-11_1_4_line_10 | NAYY 4x150 SE | 6 | 30 | 0.024255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1401-11_1_4_line_11 | NAYY 4x150 SE | 7 | 21 | 0.10685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1401-11_1_4_line_12 | NAYY 4x150 SE | 7 | 18 | 0.11591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1401-11_1_4_line_13 | NAYY 4x150 SE | 8 | 24 | 0.024277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1401-11_1_4_line_14 | NAYY 4x150 SE | 9 | 10 | 0.016278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1401-11_1_4_line_15 | NAYY 4x150 SE | 9 | 11 | 0.0093236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1401-11_1_4_line_16 | NAYY 4x150 SE | 10 | 12 | 0.072163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1401-11_1_4_line_17 | NAYY 4x150 SE | 11 | 13 | 0.019066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1401-11_1_4_line_18 | NAYY 4x150 SE | 13 | 14 | 0.024669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1401-11_1_4_line_19 | NAYY 4x150 SE | 14 | 15 | 0.050132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1401-11_1_4_line_20 | NAYY 4x150 SE | 14 | 16 | 0.11851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1401-11_1_4_line_21 | NAYY 4x150 SE | 16 | 38 | 0.0011322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1401-11_1_4_line_22 | NAYY 4x150 SE | 17 | 18 | 0.029827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1401-11_1_4_line_23 | NAYY 4x150 SE | 17 | 19 | 0.034104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1401-11_1_4_line_24 | NAYY 4x150 SE | 19 | 20 | 0.026276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1401-11_1_4_line_25 | NAYY 4x150 SE | 20 | 22 | 0.028991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1401-11_1_4_line_26 | NAYY 4x150 SE | 21 | 23 | 0.091809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1401-11_1_4_line_27 | NAYY 4x150 SE | 22 | 25 | 0.042469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1401-11_1_4_line_28 | NAYY 4x150 SE | 22 | 26 | 0.022186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1401-11_1_4_line_29 | NAYY 4x150 SE | 23 | 27 | 0.021773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1401-11_1_4_line_30 | NAYY 4x150 SE | 24 | 29 | 0.016763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1401-11_1_4_line_31 | NAYY 4x150 SE | 26 | 40 | 0.10612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1401-11_1_4_line_32 | NAYY 4x150 SE | 27 | 28 | 0.24102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1401-11_1_4_line_33 | NAYY 4x150 SE | 28 | 46 | 0.021359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1401-11_1_4_line_34 | NAYY 4x150 SE | 29 | 35 | 0.011833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1401-11_1_4_line_35 | NAYY 4x150 SE | 30 | 31 | 0.031903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1401-11_1_4_line_36 | NAYY 4x150 SE | 31 | 32 | 0.042684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1401-11_1_4_line_37 | NAYY 4x150 SE | 32 | 33 | 0.013818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1401-11_1_4_line_38 | NAYY 4x150 SE | 33 | 34 | 0.022243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1401-11_1_4_line_39 | NAYY 4x150 SE | 35 | 36 | 0.0038627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1401-11_1_4_line_40 | NAYY 4x150 SE | 36 | 37 | 0.013709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1401-11_1_4_line_41 | NAYY 4x150 SE | 38 | 39 | 0.067849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1401-11_1_4_line_42 | NAYY 4x150 SE | 39 | 40 | 0.064118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1401-11_1_4_line_43 | NAYY 4x150 SE | 43 | 44 | 0.21226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1401-11_1_4_line_44 | NAYY 4x150 SE | 44 | 45 | 0.025812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1401-11_1_4_line_45 | NAYY 4x150 SE | 45 | 46 | 0.13729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1401-11_1_4_trafo_47 | 0.25 MVA 20/0.4 kV | 47 | 5 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2663591.3854 | 1199986.6952 | 2663595.3898 | 1199986.1065
1 | 2663498.7758 | 1200018.8895 | 2663565.834 | 1199993.2202 | 2663584.5914 | 1199987.6941 | 2663591.3854 | 1199986.6952
2 | 2663623.6061 | 1199979.8958 | 2663614.4582 | 1199982.7756 | 2663603.1364 | 1199984.9675 | 2663595.3898 | 1199986.1065
3 | 2663498.7758 | 1200018.8895 | 2663412.2907 | 1200146.9808
4 | 2663645.4202 | 1199974.389 | 2663636.9018 | 1199975.7102 | 2663623.6061 | 1199979.8958
5 | 2663412.2907 | 1200146.9808 | 2663423.3555 | 1200154.8787
6 | 2663412.2907 | 1200146.9808 | 2663412.2907 | 1200146.9808 | 2663383.3035 | 1200124.6699
7 | 2663645.4202 | 1199974.389 | 2663645.2212 | 1199976.6327 | 2663645.2364 | 1199978.7785 | 2663648.5442 | 1200023.4736 | 2663669.2058 | 1200156.4835 | 2663669.6121 | 1200159.0783 | 2663674.6913 | 1200189.4888
8 | 2663647.7582 | 1199945.0187 | 2663645.1163 | 1199947.1585 | 2663643.2739 | 1199950.0184 | 2663642.4243 | 1199953.3002 | 2663642.647 | 1199956.6935 | 2663643.9154 | 1199959.8422 | 2663646.1108 | 1199962.4448 | 2663649.0154 | 1199964.2213 | 2663646.9219 | 1199969.213 | 2663646.0469 | 1199972.0165 | 2663645.4202 | 1199974.389
9 | 2663772.7612 | 1200066.6228 | 2663707.3449 | 1200001.131 | 2663678.3119 | 1199971.393 | 2663668.9766 | 1199964.3561 | 2663662.3784 | 1199959.8165 | 2663660.4498 | 1199962.1862 | 2663657.9341 | 1199963.916 | 2663655.0308 | 1199964.8746 | 2663651.9767 | 1199964.9755 | 2663649.0154 | 1199964.2213 | 2663646.9219 | 1199969.213 | 2663646.0469 | 1199972.0165 | 2663645.4202 | 1199974.389
10 | 2663678.687 | 1200213.4129 | 2663674.6913 | 1200189.4888
11 | 2663749.4149 | 1199932.8056 | 2663740.457 | 1199933.933 | 2663734.7734 | 1199934.2949 | 2663729.947 | 1199934.9549 | 2663680.0081 | 1199943.6835 | 2663669.7248 | 1199946.2978 | 2663665.6568 | 1199947.9555 | 2663663.06 | 1199950.1513 | 2663661.1054 | 1199947.0954 | 2663658.2437 | 1199944.8636 | 2663654.7995 | 1199943.704 | 2663651.1672 | 1199943.7654 | 2663647.7582 | 1199945.0187
12 | 2663647.7582 | 1199945.0187 | 2663621.9315 | 1199907.2659 | 2663591.0971 | 1199847.836 | 2663589.731 | 1199844.9304
13 | 2663772.7612 | 1200066.6228 | 2663790.6413 | 1200083.045
14 | 2663292.2287 | 1199907.0972 | 2663287.4395 | 1199918.5116 | 2663286.6573 | 1199922.3322
15 | 2663292.2287 | 1199907.0972 | 2663295.8361 | 1199898.4997 | 2663295.8361 | 1199898.4997
16 | 2663249.6597 | 1199980.4929 | 2663286.115 | 1199939.3321 | 2663285.2476 | 1199929.2169 | 2663286.6573 | 1199922.3322
17 | 2663311.8148 | 1199889.8873 | 2663309.4974 | 1199889.628 | 2663300.5366 | 1199893.1908 | 2663295.8361 | 1199898.4997
18 | 2663336.2188 | 1199893.4466 | 2663320.3644 | 1199890.8438 | 2663311.8148 | 1199889.8873
19 | 2663336.2188 | 1199893.4466 | 2663336.1783 | 1199901.5732 | 2663338.9546 | 1199912.598 | 2663340.5036 | 1199927.3565 | 2663340.1605 | 1199936.7362 | 2663338.389 | 1199942.8974
20 | 2663336.2188 | 1199893.4466 | 2663346.6519 | 1199866.6301 | 2663364.7884 | 1199804.0853 | 2663371.6265 | 1199780.4441
21 | 2663371.6265 | 1199780.4441 | 2663371.9411 | 1199779.3565
22 | 2663577.0402 | 1199817.9374 | 2663589.731 | 1199844.9304
23 | 2663562.5298 | 1199787.0741 | 2663577.0402 | 1199817.9374
24 | 2663562.5298 | 1199787.0741 | 2663554.6087 | 1199790.2028 | 2663547.2827 | 1199795.3614 | 2663542.4523 | 1199801.4025 | 2663541.7823 | 1199802.2297
25 | 2663528.0666 | 1199826.7869 | 2663533.0412 | 1199821.5033 | 2663535.64 | 1199809.8129 | 2663541.7823 | 1199802.2297
26 | 2663749.4149 | 1199932.8056 | 2663748.4199 | 1199924.0231 | 2663748.1764 | 1199915.4488 | 2663747.2854 | 1199869.79 | 2663747.4311 | 1199865.4112 | 2663748.4611 | 1199860.9306 | 2663750.0646 | 1199857.6347 | 2663752.1264 | 1199854.9217 | 2663754.4976 | 1199853.1793 | 2663758.9849 | 1199850.7702 | 2663763.2607 | 1199848.9741
27 | 2663528.0666 | 1199826.7869 | 2663511.8903 | 1199840.8567 | 2663511.699 | 1199847.3919 | 2663521.7131 | 1199857.9378
28 | 2663528.0666 | 1199826.7869 | 2663516.1702 | 1199825.0039 | 2663512.9606 | 1199822.535 | 2663508.2364 | 1199818.5825
29 | 2663763.2607 | 1199848.9741 | 2663767.6577 | 1199847.1272 | 2663771.3707 | 1199844.4985 | 2663773.5071 | 1199841.9309 | 2663774.5406 | 1199839.2626 | 2663774.8333 | 1199836.0972 | 2663774.6905 | 1199833.0261
30 | 2663790.6413 | 1200083.045 | 2663802.9868 | 1200094.384 | 2663802.9868 | 1200094.384
31 | 2663508.2364 | 1199818.5825 | 2663410.5147 | 1199777.1965
32 | 2663774.6905 | 1199833.0261 | 2664015.6808 | 1199836.8305
33 | 2664026.2816 | 1199855.3737 | 2664015.6808 | 1199836.8305
34 | 2663810.4748 | 1200103.5461 | 2663802.9868 | 1200094.384
35 | 2663678.687 | 1200213.4129 | 2663683.9427 | 1200244.8804
36 | 2663690.9743 | 1200286.9816 | 2663683.9427 | 1200244.8804
37 | 2663690.9743 | 1200286.9816 | 2663704.5661 | 1200284.4895
38 | 2663726.4446 | 1200280.478 | 2663704.5661 | 1200284.4895
39 | 2663810.4748 | 1200103.5461 | 2663812.9192 | 1200106.537
40 | 2663821.5943 | 1200117.1516 | 2663812.9192 | 1200106.537
41 | 2663394.5693 | 1199715.4596 | 2663388.6806 | 1199729.4055 | 2663377.6632 | 1199759.5732 | 2663371.9411 | 1199779.3565
42 | 2663394.5693 | 1199715.4596 | 2663396.2344 | 1199719.9911 | 2663399.7413 | 1199746.833 | 2663403.7649 | 1199758.6938 | 2663410.5147 | 1199777.1965
43 | 2664089.3659 | 1200001.8253 | 2664077.0507 | 1200213.7259
44 | 2664091.315 | 1199976.2755 | 2664088.5993 | 1199992.3782 | 2664089.3659 | 1200001.8253
45 | 2664091.315 | 1199976.2755 | 2664084.4577 | 1199963.2609 | 2664053.3215 | 1199906.8605 | 2664026.2816 | 1199855.3737

## bus_geodata
| x | y | coords
0 | 2663591.3854 | 1199986.6952
1 | 2663595.3898 | 1199986.1065
2 | 2663498.7758 | 1200018.8895
3 | 2663623.6061 | 1199979.8958
4 | 2663412.2907 | 1200146.9808
5 | 2663645.4202 | 1199974.389
6 | 2663674.6913 | 1200189.4888
7 | 2663647.7582 | 1199945.0187
8 | 2663772.7612 | 1200066.6228
9 | 2663292.2287 | 1199907.0972
10 | 2663286.6573 | 1199922.3322
11 | 2663295.8361 | 1199898.4997
12 | 2663249.6597 | 1199980.4929
13 | 2663311.8148 | 1199889.8873
14 | 2663336.2188 | 1199893.4466
15 | 2663338.389 | 1199942.8974
16 | 2663371.6265 | 1199780.4441
17 | 2663577.0402 | 1199817.9374
18 | 2663589.731 | 1199844.9304
19 | 2663562.5298 | 1199787.0741
20 | 2663541.7823 | 1199802.2297
21 | 2663749.4149 | 1199932.8056
22 | 2663528.0666 | 1199826.7869
23 | 2663763.2607 | 1199848.9741
24 | 2663790.6413 | 1200083.045
25 | 2663521.7131 | 1199857.9378
26 | 2663508.2364 | 1199818.5825
27 | 2663774.6905 | 1199833.0261
28 | 2664015.6808 | 1199836.8305
29 | 2663802.9868 | 1200094.384
30 | 2663678.687 | 1200213.4129
31 | 2663683.9427 | 1200244.8804
32 | 2663690.9743 | 1200286.9816
33 | 2663704.5661 | 1200284.4895
34 | 2663726.4446 | 1200280.478
35 | 2663810.4748 | 1200103.5461
36 | 2663812.9192 | 1200106.537
37 | 2663821.5943 | 1200117.1516
38 | 2663371.9411 | 1199779.3565
39 | 2663394.5693 | 1199715.4596
40 | 2663410.5147 | 1199777.1965
41 | 2663383.3035 | 1200124.6699
42 | 2663423.3555 | 1200154.8787
43 | 2664077.0507 | 1200213.7259
44 | 2664089.3659 | 1200001.8253
45 | 2664091.315 | 1199976.2755
46 | 2664026.2816 | 1199855.3737
47 | 2663645.4202 | 1199974.389

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99949 | -0.0035562 | 0.0019437 | 0.00048714
1 | 0.99953 | -0.0033146 | 0.0002419 | 6.0625e-05
2 | 0.99893 | -0.00751 | 0.00024097 | 6.0394e-05
3 | 0.99978 | -0.0015163 | 0.00051152 | 0.0001282
4 | 0.9981 | -0.013348 | 0.00090312 | 0.00022634
5 | 1 | 0 | -0.054398 | -0.013435
6 | 0.99749 | -0.017644 | 0.0011605 | 0.00029084
7 | 0.99891 | -0.0076126 | 0 | 0
8 | 0.9957 | -0.030095 | 0 | 0
9 | 0.9888 | -0.078923 | 0.0032923 | 0.00082514
10 | 0.98877 | -0.079115 | 0.00082831 | 0.00020759
11 | 0.98886 | -0.0785 | 0.00093838 | 0.00023518
12 | 0.98874 | -0.079351 | 0.00031767 | 7.9616e-05
13 | 0.98901 | -0.077452 | 0.0016617 | 0.00041647
14 | 0.98926 | -0.075678 | 0 | 0
15 | 0.9892 | -0.07608 | 0.00078527 | 0.00019681
16 | 0.9906 | -0.066206 | 0.00033508 | 8.3979e-05
17 | 0.99542 | -0.032114 | 0.0049701 | 0.0012456
18 | 0.99612 | -0.027186 | 0.00041557 | 0.00010415
19 | 0.99486 | -0.036046 | 0 | 0
20 | 0.99443 | -0.039078 | 0.00028679 | 7.1877e-05
21 | 0.99814 | -0.013144 | 0 | 0
22 | 0.99397 | -0.042341 | 0 | 0
23 | 0.99747 | -0.017895 | 0.00058568 | 0.00014679
24 | 0.99512 | -0.034173 | 0.0022028 | 0.00055208
25 | 0.99388 | -0.043018 | 0.0015764 | 0.00039507
26 | 0.99367 | -0.044486 | 0.00020139 | 5.0473e-05
27 | 0.99733 | -0.018893 | 0.00018188 | 4.5583e-05
28 | 0.99583 | -0.029492 | 0.00028281 | 7.0879e-05
29 | 0.99477 | -0.03662 | 0.0010435 | 0.00026152
30 | 0.99725 | -0.019334 | 0.0015117 | 0.00037886
31 | 0.997 | -0.021072 | 0.0013048 | 0.00032701
32 | 0.99675 | -0.022839 | 0 | 0
33 | 0.99667 | -0.023411 | 0.0026345 | 0.00066027
34 | 0.99662 | -0.023742 | 0.0014808 | 0.00037112
35 | 0.99455 | -0.038223 | 0.0028952 | 0.00072559
36 | 0.99449 | -0.038633 | 0.0090208 | 0.0022608
37 | 0.99446 | -0.038842 | 0.0015112 | 0.00037873
38 | 0.99061 | -0.066112 | 0.00044223 | 0.00011083
39 | 0.99145 | -0.060159 | 0 | 0
40 | 0.99224 | -0.054538 | 0.00070924 | 0.00017775
41 | 0.998 | -0.014077 | 0.0019869 | 0.00049797
42 | 0.99809 | -0.013467 | 0.00087112 | 0.00021832
43 | 0.99412 | -0.041625 | 0.0021201 | 0.00053135
44 | 0.99476 | -0.037061 | 0.0019231 | 0.00048198
45 | 0.99491 | -0.036003 | 0 | 0
46 | 0.99571 | -0.03037 | 0 | 0
47 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0059513 | -0.0014883 | 0.0059515 | 0.0014883 | 1.9821e-07 | 2.3187e-08 | 0.0088589 | 0.0088589 | 0.0088589 | 0.99949 | -0.0035562 | 0.99953 | -0.0033146 | 3.2811
1 | 0.0040076 | 0.0010012 | -0.0040054 | -0.0010016 | 2.1812e-06 | -4.477e-07 | 0.0059652 | 0.0059657 | 0.0059657 | 0.99949 | -0.0035562 | 0.99893 | -0.00751 | 2.2095
2 | -0.0061934 | -0.0015489 | 0.0061949 | 0.0015492 | 1.5354e-06 | 2.1098e-07 | 0.009219 | 0.0092189 | 0.009219 | 0.99953 | -0.0033146 | 0.99978 | -0.0015163 | 3.4145
3 | 0.0037644 | 0.00094121 | -0.0037614 | -0.00094206 | 3.032e-06 | -8.5547e-07 | 0.0056067 | 0.0056074 | 0.0056074 | 0.99893 | -0.00751 | 0.9981 | -0.013348 | 2.0768
4 | -0.0067064 | -0.0016774 | 0.0067078 | 0.0016776 | 1.4021e-06 | 2.4338e-07 | 0.0099802 | 0.0099801 | 0.0099802 | 0.99978 | -0.0015163 | 1 | 0 | 3.6964
5 | 0.00087114 | 0.00021815 | -0.00087112 | -0.00021832 | 1.4307e-08 | -1.7217e-07 | 0.0012987 | 0.0012987 | 0.0012987 | 0.9981 | -0.013348 | 0.99809 | -0.013467 | 0.48101
6 | 0.0019871 | 0.00049757 | -0.0019869 | -0.00049797 | 2.0031e-07 | -4.0098e-07 | 0.0029623 | 0.0029625 | 0.0029625 | 0.9981 | -0.013348 | 0.998 | -0.014077 | 1.0972
7 | 0.0081163 | 0.0020328 | -0.0080966 | -0.002028 | 1.9776e-05 | 4.7628e-06 | 0.012077 | 0.012078 | 0.012078 | 1 | 0 | 0.99749 | -0.017644 | 4.4732
8 | 0.022013 | 0.0055156 | -0.02199 | -0.0055071 | 2.3164e-05 | 8.4559e-06 | 0.032755 | 0.032755 | 0.032755 | 1 | 0 | 0.99891 | -0.0076126 | 12.1315
9 | 0.016761 | 0.0042093 | -0.016691 | -0.0041847 | 6.9852e-05 | 2.4516e-05 | 0.024944 | 0.024945 | 0.024945 | 1 | 0 | 0.9957 | -0.030095 | 9.2388
10 | 0.0069361 | 0.0017372 | -0.0069345 | -0.0017369 | 1.6203e-06 | 3.0665e-07 | 0.010347 | 0.010347 | 0.010347 | 0.99749 | -0.017644 | 0.99725 | -0.019334 | 3.8321
11 | 0.0051132 | 0.001273 | -0.0051094 | -0.0012729 | 3.8654e-06 | 8.9035e-08 | 0.0076139 | 0.0076143 | 0.0076143 | 0.99891 | -0.0076126 | 0.99814 | -0.013144 | 2.8201
12 | 0.016876 | 0.0042342 | -0.016831 | -0.0042181 | 4.5716e-05 | 1.607e-05 | 0.025141 | 0.025142 | 0.025142 | 0.99891 | -0.0076126 | 0.99612 | -0.027186 | 9.3117
13 | 0.016691 | 0.0041847 | -0.016682 | -0.0041814 | 9.4264e-06 | 3.3099e-06 | 0.024945 | 0.024945 | 0.024945 | 0.9957 | -0.030095 | 0.99512 | -0.034173 | 9.2388
14 | 0.001146 | 0.00028609 | -0.001146 | -0.00028629 | 3.0199e-08 | -1.9718e-07 | 0.0017242 | 0.0017243 | 0.0017243 | 0.9888 | -0.078923 | 0.98877 | -0.079115 | 0.63862
15 | -0.0044384 | -0.0011112 | 0.0044386 | 0.0011112 | 2.5951e-07 | -1.979e-08 | 0.0066787 | 0.0066787 | 0.0066787 | 0.9888 | -0.078923 | 0.98886 | -0.0785 | 2.4736
16 | 0.00031768 | 7.8694e-05 | -0.00031767 | -7.9615e-05 | 1.0285e-08 | -9.2161e-07 | 0.00047775 | 0.00047808 | 0.00047808 | 0.98877 | -0.079115 | 0.98874 | -0.079351 | 0.17707
17 | -0.005377 | -0.0013464 | 0.0053778 | 0.0013464 | 7.7878e-07 | 5.4904e-08 | 0.0080907 | 0.0080907 | 0.0080907 | 0.98886 | -0.0785 | 0.98901 | -0.077452 | 2.9966
18 | -0.0070395 | -0.0017629 | 0.0070412 | 0.0017633 | 1.7266e-06 | 3.4744e-07 | 0.010591 | 0.010591 | 0.010591 | 0.98901 | -0.077452 | 0.98926 | -0.075678 | 3.9225
19 | 0.00078531 | 0.00019618 | -0.00078527 | -0.00019681 | 4.3641e-08 | -6.2682e-07 | 0.001181 | 0.0011812 | 0.0011812 | 0.98926 | -0.075678 | 0.9892 | -0.07608 | 0.4375
20 | -0.0078265 | -0.0019594 | 0.0078368 | 0.0019618 | 1.0247e-05 | 2.4175e-06 | 0.011772 | 0.011771 | 0.011772 | 0.98926 | -0.075678 | 0.9906 | -0.066206 | 4.3599
21 | -0.0081719 | -0.0020458 | 0.008172 | 0.0020459 | 1.0644e-07 | 2.6364e-08 | 0.012275 | 0.012275 | 0.012275 | 0.9906 | -0.066206 | 0.99061 | -0.066112 | 4.5461
22 | -0.016404 | -0.00411 | 0.016415 | 0.0041139 | 1.1191e-05 | 3.9163e-06 | 0.024521 | 0.024521 | 0.024521 | 0.99542 | -0.032114 | 0.99612 | -0.027186 | 9.0819
23 | 0.011434 | 0.0028644 | -0.011428 | -0.0028624 | 6.2166e-06 | 1.9479e-06 | 0.017091 | 0.017092 | 0.017092 | 0.99542 | -0.032114 | 0.99486 | -0.036046 | 6.3302
24 | 0.011428 | 0.0028624 | -0.011423 | -0.0028609 | 4.7897e-06 | 1.5012e-06 | 0.017092 | 0.017092 | 0.017092 | 0.99486 | -0.036046 | 0.99443 | -0.039078 | 6.3303
25 | 0.011136 | 0.0027891 | -0.011131 | -0.0027875 | 5.0227e-06 | 1.5559e-06 | 0.016663 | 0.016663 | 0.016663 | 0.99443 | -0.039078 | 0.99397 | -0.042341 | 6.1714
26 | 0.0051094 | 0.0012729 | -0.005106 | -0.0012728 | 3.3217e-06 | 7.8395e-08 | 0.0076143 | 0.0076148 | 0.0076148 | 0.99814 | -0.013144 | 0.99747 | -0.017895 | 2.8203
27 | 0.0015765 | 0.00039458 | -0.0015764 | -0.00039507 | 1.476e-07 | -4.9364e-07 | 0.0023599 | 0.0023601 | 0.0023601 | 0.99397 | -0.042341 | 0.99388 | -0.043018 | 0.87411
28 | 0.0095544 | 0.0023929 | -0.0095516 | -0.0023921 | 2.8321e-06 | 8.0179e-07 | 0.014303 | 0.014303 | 0.014303 | 0.99397 | -0.042341 | 0.99367 | -0.044486 | 5.2974
29 | 0.0045204 | 0.001126 | -0.0045197 | -0.0011261 | 6.1741e-07 | -4.6701e-08 | 0.006741 | 0.0067411 | 0.0067411 | 0.99747 | -0.017895 | 0.99733 | -0.018893 | 2.4967
30 | 0.014479 | 0.0036293 | -0.014474 | -0.0036277 | 4.9032e-06 | 1.6682e-06 | 0.021651 | 0.021651 | 0.021651 | 0.99512 | -0.034173 | 0.99477 | -0.03662 | 8.0189
31 | 0.0093502 | 0.0023417 | -0.0093372 | -0.002338 | 1.2982e-05 | 3.6205e-06 | 0.014001 | 0.014002 | 0.014002 | 0.99367 | -0.044486 | 0.99224 | -0.054538 | 5.1859
32 | 0.0043379 | 0.0010805 | -0.0043316 | -0.0010812 | 6.2964e-06 | -7.1873e-07 | 0.0064698 | 0.0064709 | 0.0064709 | 0.99733 | -0.018893 | 0.99583 | -0.029492 | 2.3966
33 | 0.0040488 | 0.0010103 | -0.0040483 | -0.0010104 | 4.8758e-07 | -9.0323e-08 | 0.0060483 | 0.0060484 | 0.0060484 | 0.99583 | -0.029492 | 0.99571 | -0.03037 | 2.2401
34 | 0.013431 | 0.0033662 | -0.013428 | -0.0033652 | 2.9802e-06 | 9.9263e-07 | 0.02009 | 0.02009 | 0.02009 | 0.99477 | -0.03662 | 0.99455 | -0.038223 | 7.4408
35 | 0.0054228 | 0.001358 | -0.0054215 | -0.0013579 | 1.3033e-06 | 8.5125e-08 | 0.0080911 | 0.0080913 | 0.0080913 | 0.99725 | -0.019334 | 0.997 | -0.021072 | 2.9968
36 | 0.0041167 | 0.0010309 | -0.0041157 | -0.0010311 | 1.0054e-06 | -1.6979e-07 | 0.0061438 | 0.006144 | 0.006144 | 0.997 | -0.021072 | 0.99675 | -0.022839 | 2.2756
37 | 0.0041157 | 0.0010311 | -0.0041154 | -0.0010311 | 3.255e-07 | -5.4902e-08 | 0.006144 | 0.0061441 | 0.0061441 | 0.99675 | -0.022839 | 0.99667 | -0.023411 | 2.2756
38 | 0.0014808 | 0.00037085 | -0.0014808 | -0.00037112 | 6.7841e-08 | -2.6377e-07 | 0.0022108 | 0.0022109 | 0.0022109 | 0.99667 | -0.023411 | 0.99662 | -0.023742 | 0.81884
39 | 0.010533 | 0.0026396 | -0.010532 | -0.0026394 | 5.9856e-07 | 1.8009e-07 | 0.015759 | 0.015759 | 0.015759 | 0.99455 | -0.038223 | 0.99449 | -0.038633 | 5.8365
40 | 0.0015112 | 0.00037857 | -0.0015112 | -0.00037873 | 4.3735e-08 | -1.6104e-07 | 0.0022611 | 0.0022611 | 0.0022611 | 0.99449 | -0.038633 | 0.99446 | -0.038842 | 0.83746
41 | -0.0086142 | -0.0021567 | 0.0086213 | 0.0021585 | 7.0877e-06 | 1.8518e-06 | 0.012939 | 0.012938 | 0.012939 | 0.99061 | -0.066112 | 0.99145 | -0.060159 | 4.7921
42 | -0.0086213 | -0.0021585 | 0.008628 | 0.0021603 | 6.6976e-06 | 1.7485e-06 | 0.012938 | 0.012938 | 0.012938 | 0.99145 | -0.060159 | 0.99224 | -0.054538 | 4.792
43 | -0.0021201 | -0.00053135 | 0.0021214 | 0.00052911 | 1.3334e-06 | -2.2409e-06 | 0.0031734 | 0.0031724 | 0.0031734 | 0.99412 | -0.041625 | 0.99476 | -0.037061 | 1.1753
44 | -0.0040446 | -0.0010111 | 0.0040451 | 0.001011 | 5.8937e-07 | -1.0847e-07 | 0.0060491 | 0.006049 | 0.0060491 | 0.99476 | -0.037061 | 0.99491 | -0.036003 | 2.2404
45 | -0.0040451 | -0.001011 | 0.0040483 | 0.0010104 | 3.1344e-06 | -5.7877e-07 | 0.006049 | 0.0060484 | 0.006049 | 0.99491 | -0.036003 | 0.99571 | -0.03037 | 2.2404

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.054398 | 0.013435

## res_load
| p_mw | q_mvar
0 | 0.0019437 | 0.00048714
1 | 0.0002419 | 6.0625e-05
2 | 0.00024097 | 6.0394e-05
3 | 0.00051152 | 0.0001282
4 | 0.00090312 | 0.00022634
5 | 0.0011605 | 0.00029084
6 | 0.0032923 | 0.00082514
7 | 0.00082831 | 0.00020759
8 | 0.00093838 | 0.00023518
9 | 0.00031767 | 7.9616e-05
10 | 0.0016617 | 0.00041647
11 | 0.00078527 | 0.00019681
12 | 0.00033508 | 8.3979e-05
13 | 0.0049701 | 0.0012456
14 | 0.00041557 | 0.00010415
15 | 0.00028679 | 7.1877e-05
16 | 0.00058568 | 0.00014679
17 | 0.0022028 | 0.00055208
18 | 0.0015764 | 0.00039507
19 | 0.00020139 | 5.0473e-05
20 | 0.00018188 | 4.5583e-05
21 | 0.00028281 | 7.0879e-05
22 | 0.0010435 | 0.00026152
23 | 0.0015117 | 0.00037886
24 | 0.0013048 | 0.00032701
25 | 0.0026345 | 0.00066027
26 | 0.0014808 | 0.00037112
27 | 0.0028952 | 0.00072559
28 | 0.0090208 | 0.0022608
29 | 0.0015112 | 0.00037873
30 | 0.00044223 | 0.00011083
31 | 0.00070924 | 0.00017775
32 | 0.0019869 | 0.00049797
33 | 0.00087112 | 0.00021832
34 | 0.0021201 | 0.00053135
35 | 0.0019231 | 0.00048198

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1