## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1401-13_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1401-13_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1401-13_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1401-13_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1401-13_0_3_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_1401-13_0_3_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_1401-13_0_3_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_1401-13_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1401-13_0_3_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_1401-13_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1401-13_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1401-13_0_3_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_1401-13_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1401-13_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1401-13_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1401-13_0_3_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_1401-13_0_3_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_1401-13_0_3_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_1401-13_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1401-13_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_1401-13_0_3_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_1401-13_0_3_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_1401-13_0_3_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_1401-13_0_3_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_1401-13_0_3_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_1401-13_0_3_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_1401-13_0_3_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_1401-13_0_3_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_1401-13_0_3_node_28 | 0.4 | n |  | TRUE
29 | bus_MV_136_0_node_12 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1401-13_0_3_load_0 | 0 | 0.0011885 | 0.00029785 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1401-13_0_3_load_1 | 1 | 0.00049985 | 0.00012527 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1401-13_0_3_load_3 | 3 | 0.00081673 | 0.00020469 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1401-13_0_3_load_12 | 4 | 0.00050501 | 0.00012657 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1401-13_0_3_load_13 | 5 | 0.0030248 | 0.00075808 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1401-13_0_3_load_18 | 6 | 0.0025003 | 0.00062664 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1401-13_0_3_load_5 | 7 | 0.01019 | 0.0025539 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1401-13_0_3_load_16 | 8 | 0.0013469 | 0.00033758 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1401-13_0_3_load_11 | 11 | 0.091056 | 0.022821 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1401-13_0_3_load_8 | 13 | 0.031093 | 0.0077926 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1401-13_0_3_load_14 | 15 | 0.0033359 | 0.00083606 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1401-13_0_3_load_15 | 18 | 0.0012477 | 0.0003127 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1401-13_0_3_load_19 | 20 | 0.021589 | 0.0054108 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1401-13_0_3_load_20 | 21 | 0.0029205 | 0.00073195 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1401-13_0_3_load_23 | 22 | 0.0022088 | 0.00055359 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1401-13_0_3_load_27 | 24 | 0.0035439 | 0.0008882 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1401-13_0_3_load_25 | 25 | 0.003488 | 0.00087419 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1401-13_0_3_load_29 | 26 | 0.0021701 | 0.00054389 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1401-13_0_3_load_30 | 27 | 0.0040423 | 0.0010131 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1401-13_0_3_load_28 | 28 | 0.0058668 | 0.0014704 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1401-13_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.024377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1401-13_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.046207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1401-13_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.020762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1401-13_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.0097371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1401-13_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.0036604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1401-13_0_3_line_5 | NAYY 4x150 SE | 5 | 15 | 0.01472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1401-13_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.042281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1401-13_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0091993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1401-13_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.078751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_1401-13_0_3_line_9 | NAYY 4x150 SE | 8 | 18 | 0.018822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1401-13_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.04866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_1401-13_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.037751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_1401-13_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.036119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1401-13_0_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.052861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1401-13_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.052235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1401-13_0_3_line_15 | NAYY 4x150 SE | 15 | 16 | 0.011359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1401-13_0_3_line_16 | NAYY 4x150 SE | 16 | 17 | 0.02128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1401-13_0_3_line_17 | NAYY 4x150 SE | 17 | 24 | 0.011974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1401-13_0_3_line_18 | NAYY 4x150 SE | 17 | 25 | 0.012365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1401-13_0_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.035354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1401-13_0_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.013056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1401-13_0_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.016321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1401-13_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.029451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1401-13_0_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.021454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1401-13_0_3_line_24 | NAYY 4x150 SE | 23 | 27 | 0.024851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1401-13_0_3_line_25 | NAYY 4x150 SE | 23 | 28 | 0.017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1401-13_0_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.0092354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1401-13_0_3_line_27 | NAYY 4x150 SE | 26 | 28 | 0.013978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1401-13_0_3_trafo_5 | 0.25 MVA 20/0.4 kV | 29 | 7 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2663566.357 | 1198839.6982 | 2663576.7194 | 1198838.2417 | 2663587.2509 | 1198829.1504
1 | 2663547.2167 | 1198869.9801 | 2663544.0067 | 1198856.7605 | 2663545.5766 | 1198846.6156 | 2663554.3666 | 1198841.3837 | 2663566.357 | 1198839.6982
2 | 2663547.2167 | 1198869.9801 | 2663550.6104 | 1198880.956 | 2663553.1243 | 1198889.8819
3 | 2663555.7639 | 1198899.2544 | 2663553.1243 | 1198889.8819
4 | 2663556.7562 | 1198902.7777 | 2663555.7639 | 1198899.2544
5 | 2663556.7562 | 1198902.7777 | 2663560.7465 | 1198916.9462
6 | 2663633.94 | 1198873.81 | 2663669.0162 | 1198850.2016
7 | 2663633.94 | 1198873.81 | 2663632.4308 | 1198874.6668 | 2663630.6409 | 1198876.8491 | 2663628.206 | 1198880.8005
8 | 2663710.0276 | 1198808.8541 | 2663664.2026 | 1198818.683 | 2663669.0162 | 1198850.2016
9 | 2663612.3487 | 1198888.4169 | 2663615.2041 | 1198887.0019 | 2663622.2074 | 1198886.5095 | 2663624.0504 | 1198885.7731 | 2663625.8289 | 1198884.658 | 2663628.206 | 1198880.8005
10 | 2663710.0276 | 1198808.8541 | 2663757.738 | 1198798.6232
11 | 2663764.828 | 1198835.6985 | 2663757.738 | 1198798.6232
12 | 2663764.828 | 1198835.6985 | 2663766.054 | 1198842.1154 | 2663770.5166 | 1198871.358
13 | 2663778.4877 | 1198923.6073 | 2663770.5166 | 1198871.358
14 | 2663778.4877 | 1198923.6073 | 2663726.9447 | 1198932.0834
15 | 2663563.8258 | 1198927.8798 | 2663560.7465 | 1198916.9462
16 | 2663567.8755 | 1198948.7685 | 2663563.8258 | 1198927.8798
17 | 2663567.8755 | 1198948.7685 | 2663570.9506 | 1198960.3413
18 | 2663567.8755 | 1198948.7685 | 2663555.6463 | 1198950.5945
19 | 2663612.9366 | 1198923.3215 | 2663611.6328 | 1198914.18 | 2663610.425 | 1198897.4462 | 2663611.26 | 1198890.5399 | 2663612.3487 | 1198888.4169 | 2663612.3487 | 1198888.4169
20 | 2663612.9366 | 1198923.3215 | 2663612.7043 | 1198936.3755
21 | 2663612.9366 | 1198923.3215 | 2663596.685 | 1198924.8299
22 | 2663612.7043 | 1198936.3755 | 2663612.5956 | 1198942.4848 | 2663611.3379 | 1198954.0449 | 2663607.7867 | 1198965.2065
23 | 2663600.9588 | 1198985.542 | 2663604.2238 | 1198976.4046 | 2663607.7867 | 1198965.2065
24 | 2663600.9588 | 1198985.542 | 2663609.0616 | 1198990.4866 | 2663621.7917 | 1198999.08
25 | 2663600.9588 | 1198985.542 | 2663586.4766 | 1198977.5721 | 2663586.0888 | 1198977.3081
26 | 2663570.9506 | 1198960.3413 | 2663570.9506 | 1198960.3413 | 2663572.9786 | 1198965.1213 | 2663575.5434 | 1198968.2466
27 | 2663586.0888 | 1198977.3081 | 2663581.0183 | 1198973.8564 | 2663576.3013 | 1198969.1701 | 2663575.5434 | 1198968.2466

## bus_geodata
| x | y | coords
0 | 2663566.357 | 1198839.6982
1 | 2663587.2509 | 1198829.1504
2 | 2663547.2167 | 1198869.9801
3 | 2663553.1243 | 1198889.8819
4 | 2663555.7639 | 1198899.2544
5 | 2663556.7562 | 1198902.7777
6 | 2663633.94 | 1198873.81
7 | 2663669.0162 | 1198850.2016
8 | 2663628.206 | 1198880.8005
9 | 2663710.0276 | 1198808.8541
10 | 2663757.738 | 1198798.6232
11 | 2663764.828 | 1198835.6985
12 | 2663770.5166 | 1198871.358
13 | 2663726.9447 | 1198932.0834
14 | 2663778.4877 | 1198923.6073
15 | 2663560.7465 | 1198916.9462
16 | 2663563.8258 | 1198927.8798
17 | 2663567.8755 | 1198948.7685
18 | 2663612.3487 | 1198888.4169
19 | 2663612.9366 | 1198923.3215
20 | 2663612.7043 | 1198936.3755
21 | 2663596.685 | 1198924.8299
22 | 2663607.7867 | 1198965.2065
23 | 2663600.9588 | 1198985.542
24 | 2663570.9506 | 1198960.3413
25 | 2663555.6463 | 1198950.5945
26 | 2663575.5434 | 1198968.2466
27 | 2663621.7917 | 1198999.08
28 | 2663586.0888 | 1198977.3081
29 | 2663710.0276 | 1198808.8541

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98584 | -0.099452 | 0.0011885 | 0.00029785
1 | 0.98582 | -0.099577 | 0.00049985 | 0.00012527
2 | 0.98595 | -0.098649 | 0 | 0
3 | 0.986 | -0.098287 | 0.00081673 | 0.00020469
4 | 0.98604 | -0.098036 | 0.00050501 | 0.00012657
5 | 0.98605 | -0.097923 | 0.0030248 | 0.00075808
6 | 0.99633 | -0.025554 | 0.0025003 | 0.00062664
7 | 1 | 0 | -0.18585 | -0.046714
8 | 0.99556 | -0.030907 | 0.0013469 | 0.00033758
9 | 0.99303 | -0.048354 | 0 | 0
10 | 0.98872 | -0.078569 | 0 | 0
11 | 0.98538 | -0.10219 | 0.091056 | 0.022821
12 | 0.98375 | -0.11376 | 0 | 0
13 | 0.97899 | -0.14763 | 0.031093 | 0.0077926
14 | 0.98136 | -0.13075 | 0 | 0
15 | 0.98618 | -0.097009 | 0.0033359 | 0.00083606
16 | 0.98634 | -0.095916 | 0 | 0
17 | 0.98662 | -0.093868 | 0 | 0
18 | 0.99403 | -0.041629 | 0.0012477 | 0.0003127
19 | 0.99121 | -0.061408 | 0 | 0
20 | 0.99023 | -0.068352 | 0.021589 | 0.0054108
21 | 0.99114 | -0.061892 | 0.0029205 | 0.00073195
22 | 0.98892 | -0.077572 | 0.0022088 | 0.00055359
23 | 0.98804 | -0.083819 | 0 | 0
24 | 0.98685 | -0.092287 | 0.0035439 | 0.0008882
25 | 0.98656 | -0.09431 | 0.003488 | 0.00087419
26 | 0.98707 | -0.090734 | 0.0021701 | 0.00054389
27 | 0.9879 | -0.084847 | 0.0040423 | 0.0010131
28 | 0.98744 | -0.088073 | 0.0058668 | 0.0014704
29 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.00049986 | 0.00012497 | -0.00049985 | -0.00012527 | 8.6577e-09 | -3.0748e-07 | 0.00075438 | 0.00075449 | 0.00075449 | 0.98584 | -0.099452 | 0.98582 | -0.099577 | 0.27944
1 | -0.0016883 | -0.00042282 | 0.0016885 | 0.0004223 | 1.8721e-07 | -5.1722e-07 | 0.0025482 | 0.002548 | 0.0025482 | 0.98584 | -0.099452 | 0.98595 | -0.098649 | 0.94378
2 | -0.0016885 | -0.0004223 | 0.0016886 | 0.00042207 | 8.4107e-08 | -2.3244e-07 | 0.002548 | 0.0025479 | 0.002548 | 0.98595 | -0.098649 | 0.986 | -0.098287 | 0.9437
3 | -0.0025053 | -0.00062676 | 0.0025054 | 0.00062667 | 8.6836e-08 | -9.0798e-08 | 0.0037805 | 0.0037804 | 0.0037805 | 0.986 | -0.098287 | 0.98604 | -0.098036 | 1.4002
4 | -0.0030104 | -0.00075324 | 0.0030105 | 0.00075321 | 4.7132e-08 | -2.8564e-08 | 0.0045425 | 0.0045425 | 0.0045425 | 0.98604 | -0.098036 | 0.98605 | -0.097923 | 1.6824
5 | -0.0060352 | -0.0015113 | 0.006036 | 0.0015114 | 7.6179e-07 | 1.0521e-07 | 0.0091071 | 0.009107 | 0.0091071 | 0.98605 | -0.097923 | 0.98618 | -0.097009 | 3.373
6 | -0.060724 | -0.015271 | 0.060941 | 0.015354 | 0.00021709 | 8.2945e-05 | 0.090711 | 0.09071 | 0.090711 | 0.99633 | -0.025554 | 1 | 0 | 33.5965
7 | 0.058224 | 0.014645 | -0.058181 | -0.014628 | 4.3425e-05 | 1.6582e-05 | 0.086976 | 0.086976 | 0.086976 | 0.99633 | -0.025554 | 0.99556 | -0.030907 | 32.2135
8 | 0.1241 | 0.03136 | -0.12327 | -0.031039 | 0.00083875 | 0.00032054 | 0.18476 | 0.18476 | 0.18476 | 1 | 0 | 0.99303 | -0.048354 | 34.215
9 | 0.056834 | 0.014291 | -0.056749 | -0.014258 | 8.4785e-05 | 3.2365e-05 | 0.084963 | 0.084963 | 0.084963 | 0.99556 | -0.030907 | 0.99403 | -0.041629 | 31.4679
10 | 0.12327 | 0.031039 | -0.12275 | -0.030841 | 0.00051826 | 0.00019808 | 0.18476 | 0.18476 | 0.18476 | 0.99303 | -0.048354 | 0.98872 | -0.078569 | 34.2151
11 | 0.12275 | 0.030841 | -0.12235 | -0.030687 | 0.00040207 | 0.00015368 | 0.18476 | 0.18476 | 0.18476 | 0.98872 | -0.078569 | 0.98538 | -0.10219 | 34.2151
12 | 0.031289 | 0.0078665 | -0.031239 | -0.0078476 | 5.0337e-05 | 1.8901e-05 | 0.047259 | 0.047259 | 0.047259 | 0.98538 | -0.10219 | 0.98375 | -0.11376 | 17.5033
13 | 0.031239 | 0.0078476 | -0.031165 | -0.0078199 | 7.367e-05 | 2.7665e-05 | 0.047259 | 0.047259 | 0.047259 | 0.98375 | -0.11376 | 0.98136 | -0.13075 | 17.5034
14 | -0.031093 | -0.0077926 | 0.031165 | 0.0078199 | 7.2798e-05 | 2.7341e-05 | 0.047259 | 0.047259 | 0.047259 | 0.97899 | -0.14763 | 0.98136 | -0.13075 | 17.5034
15 | -0.0093719 | -0.0023475 | 0.0093733 | 0.0023479 | 1.4173e-06 | 4.0015e-07 | 0.01414 | 0.01414 | 0.01414 | 0.98618 | -0.097009 | 0.98634 | -0.095916 | 5.2372
16 | -0.0093733 | -0.0023479 | 0.009376 | 0.0023486 | 2.6551e-06 | 7.4951e-07 | 0.01414 | 0.01414 | 0.01414 | 0.98634 | -0.095916 | 0.98662 | -0.093868 | 5.2372
17 | -0.012864 | -0.0032227 | 0.012867 | 0.0032237 | 2.8125e-06 | 9.2879e-07 | 0.019401 | 0.019401 | 0.019401 | 0.98662 | -0.093868 | 0.98685 | -0.092287 | 7.1857
18 | 0.0034883 | 0.00087411 | -0.003488 | -0.00087419 | 2.1355e-07 | -7.5763e-08 | 0.0052609 | 0.005261 | 0.005261 | 0.98662 | -0.093868 | 0.98656 | -0.09431 | 1.9485
19 | 0.055501 | 0.013946 | -0.055349 | -0.013888 | 0.00015233 | 5.813e-05 | 0.083096 | 0.083096 | 0.083096 | 0.99403 | -0.041629 | 0.99121 | -0.061408 | 30.7762
20 | 0.052428 | 0.013156 | -0.052378 | -0.013136 | 5.0474e-05 | 1.9245e-05 | 0.078711 | 0.078711 | 0.078711 | 0.99121 | -0.061408 | 0.99023 | -0.068352 | 29.1523
21 | 0.0029207 | 0.00073181 | -0.0029205 | -0.00073195 | 1.9579e-07 | -1.3506e-07 | 0.0043845 | 0.0043846 | 0.0043846 | 0.99121 | -0.061408 | 0.99114 | -0.061892 | 1.6239
22 | 0.030789 | 0.0077257 | -0.030749 | -0.0077109 | 3.9344e-05 | 1.4754e-05 | 0.046269 | 0.046269 | 0.046269 | 0.99023 | -0.068352 | 0.98892 | -0.077572 | 17.1368
23 | 0.02854 | 0.0071573 | -0.028516 | -0.0071481 | 2.4691e-05 | 9.2216e-06 | 0.042946 | 0.042946 | 0.042946 | 0.98892 | -0.077572 | 0.98804 | -0.083819 | 15.9059
24 | 0.0040429 | 0.001013 | -0.0040423 | -0.0010131 | 5.7488e-07 | -9.7127e-08 | 0.0060886 | 0.0060887 | 0.0060887 | 0.98804 | -0.083819 | 0.9879 | -0.084847 | 2.2551
25 | 0.024473 | 0.0061351 | -0.024458 | -0.0061298 | 1.441e-05 | 5.3248e-06 | 0.036857 | 0.036857 | 0.036857 | 0.98804 | -0.083819 | 0.98744 | -0.088073 | 13.6508
26 | -0.016411 | -0.0041118 | 0.016415 | 0.0041131 | 3.5287e-06 | 1.2392e-06 | 0.024745 | 0.024745 | 0.024745 | 0.98685 | -0.092287 | 0.98707 | -0.090734 | 9.1648
27 | -0.018585 | -0.004657 | 0.018592 | 0.0046594 | 6.8461e-06 | 2.4544e-06 | 0.028016 | 0.028016 | 0.028016 | 0.98707 | -0.090734 | 0.98744 | -0.088073 | 10.3765

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.19604 | 0.049268

## res_load
| p_mw | q_mvar
0 | 0.0011885 | 0.00029785
1 | 0.00049985 | 0.00012527
2 | 0.00081673 | 0.00020469
3 | 0.00050501 | 0.00012657
4 | 0.0030248 | 0.00075808
5 | 0.0025003 | 0.00062664
6 | 0.01019 | 0.0025539
7 | 0.0013469 | 0.00033758
8 | 0.091056 | 0.022821
9 | 0.031093 | 0.0077926
10 | 0.0033359 | 0.00083606
11 | 0.0012477 | 0.0003127
12 | 0.021589 | 0.0054108
13 | 0.0029205 | 0.00073195
14 | 0.0022088 | 0.00055359
15 | 0.0035439 | 0.0008882
16 | 0.003488 | 0.00087419
17 | 0.0021701 | 0.00054389
18 | 0.0040423 | 0.0010131
19 | 0.0058668 | 0.0014704

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1