## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1401-18_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1401-18_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1401-18_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1401-18_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1401-18_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1401-18_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1401-18_0_4_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_1401-18_0_4_node_48 | 0.4 | n |  | TRUE
8 | bus_LV_1401-18_0_4_node_43 | 0.4 | n |  | TRUE
9 | bus_LV_1401-18_0_4_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_1401-18_0_4_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_1401-18_0_4_node_50 | 0.4 | n |  | TRUE
12 | bus_LV_1401-18_0_4_node_53 | 0.4 | n |  | TRUE
13 | bus_LV_1401-18_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1401-18_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_1401-18_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_1401-18_0_4_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_1401-18_0_4_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_1401-18_0_4_node_6 | 0.4 | n |  | TRUE
19 | bus_LV_1401-18_0_4_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_1401-18_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_1401-18_0_4_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_1401-18_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_1401-18_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_1401-18_0_4_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_1401-18_0_4_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_1401-18_0_4_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_1401-18_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_1401-18_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1401-18_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_1401-18_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1401-18_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1401-18_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_1401-18_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_1401-18_0_4_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_1401-18_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_1401-18_0_4_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_1401-18_0_4_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_1401-18_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_1401-18_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_1401-18_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_1401-18_0_4_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_1401-18_0_4_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_1401-18_0_4_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_1401-18_0_4_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_1401-18_0_4_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_1401-18_0_4_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_1401-18_0_4_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_1401-18_0_4_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_1401-18_0_4_node_41 | 0.4 | n |  | TRUE
50 | bus_MV_136_0_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1401-18_0_4_load_0 | 0 | 0.0010583 | 0.00026524 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1401-18_0_4_load_1 | 1 | 0.0010741 | 0.0002692 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1401-18_0_4_load_4 | 4 | 0.0015985 | 0.00040062 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1401-18_0_4_load_5 | 5 | 0.0013712 | 0.00034365 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1401-18_0_4_load_11 | 6 | 0.0046613 | 0.0011682 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1401-18_0_4_load_38 | 9 | 0.0056014 | 0.0014038 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1401-18_0_4_load_16 | 10 | 0.0011956 | 0.00029965 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1401-18_0_4_load_50 | 11 | 0.0053455 | 0.0013397 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1401-18_0_4_load_53 | 12 | 0.00099261 | 0.00024877 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1401-18_0_4_load_7 | 15 | 0.0010746 | 0.00026931 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1401-18_0_4_load_37 | 16 | 0.019034 | 0.0047704 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1401-18_0_4_load_15 | 17 | 0.001104 | 0.0002767 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1401-18_0_4_load_6 | 18 | 0.0051951 | 0.001302 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1401-18_0_4_load_10 | 20 | 0.017605 | 0.0044123 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1401-18_0_4_load_12 | 23 | 0.0015144 | 0.00037954 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1401-18_0_4_load_40 | 24 | 0.017606 | 0.0044124 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1401-18_0_4_load_44 | 25 | 0.0024709 | 0.00061927 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1401-18_0_4_load_45 | 26 | 0.0013875 | 0.00034773 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1401-18_0_4_load_18 | 28 | 0.00092281 | 0.00023128 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1401-18_0_4_load_19 | 29 | 0.00090914 | 0.00022785 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1401-18_0_4_load_21 | 30 | 0.0030719 | 0.0007699 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1401-18_0_4_load_22 | 31 | 0.002623 | 0.00065739 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1401-18_0_4_load_23 | 32 | 0.0076652 | 0.0019211 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1401-18_0_4_load_25 | 33 | 0.0055389 | 0.0013882 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1401-18_0_4_load_28 | 34 | 0.0055389 | 0.0013882 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1401-18_0_4_load_27 | 35 | 0.0055389 | 0.0013882 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1401-18_0_4_load_42 | 37 | 0.00015863 | 3.9758e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1401-18_0_4_load_31 | 41 | 0.0074172 | 0.0018589 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1401-18_0_4_load_47 | 43 | 0.031471 | 0.0078875 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1401-18_0_4_load_52 | 44 | 0.02434 | 0.0061002 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1401-18_0_4_load_49 | 45 | 0.0076738 | 0.0019232 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1401-18_0_4_load_35 | 46 | 0.0022856 | 0.00057282 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1401-18_0_4_load_32 | 47 | 0.0054033 | 0.0013542 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1401-18_0_4_load_33 | 48 | 0.0034327 | 0.00086031 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1401-18_0_4_load_41 | 49 | 0.00060489 | 0.0001516 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1401-18_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1401-18_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.06778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1401-18_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.018221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1401-18_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.062705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1401-18_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.016111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1401-18_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.033044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1401-18_0_4_line_6 | NAYY 4x150 SE | 3 | 7 | 0.083515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1401-18_0_4_line_7 | NAYY 4x150 SE | 3 | 8 | 0.062837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1401-18_0_4_line_8 | NAYY 4x150 SE | 4 | 9 | 0.0040744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1401-18_0_4_line_9 | NAYY 4x150 SE | 5 | 10 | 0.025606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1401-18_0_4_line_10 | NAYY 4x150 SE | 7 | 11 | 0.028214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1401-18_0_4_line_11 | NAYY 4x150 SE | 8 | 12 | 0.052699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1401-18_0_4_line_12 | NAYY 4x150 SE | 9 | 16 | 0.018726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1401-18_0_4_line_13 | NAYY 4x150 SE | 10 | 17 | 0.0086384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1401-18_0_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.054245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_1401-18_0_4_line_15 | NAYY 4x150 SE | 13 | 15 | 0.074578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_1401-18_0_4_line_16 | NAYY 4x150 SE | 14 | 22 | 0.012161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_1401-18_0_4_line_17 | NAYY 4x150 SE | 14 | 23 | 0.040087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1401-18_0_4_line_18 | NAYY 4x150 SE | 15 | 18 | 0.027372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_1401-18_0_4_line_19 | NAYY 4x150 SE | 16 | 21 | 0.085907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1401-18_0_4_line_20 | NAYY 4x150 SE | 17 | 27 | 0.039516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1401-18_0_4_line_21 | NAYY 4x150 SE | 18 | 19 | 0.058562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_1401-18_0_4_line_22 | NAYY 4x150 SE | 19 | 20 | 0.010073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1401-18_0_4_line_23 | NAYY 4x150 SE | 20 | 21 | 0.040507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1401-18_0_4_line_24 | NAYY 4x150 SE | 21 | 24 | 0.0036711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1401-18_0_4_line_25 | NAYY 4x150 SE | 22 | 25 | 0.032828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_1401-18_0_4_line_26 | NAYY 4x150 SE | 25 | 26 | 0.022488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_1401-18_0_4_line_27 | NAYY 4x150 SE | 26 | 42 | 0.13776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_1401-18_0_4_line_28 | NAYY 4x150 SE | 27 | 28 | 0.019515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1401-18_0_4_line_29 | NAYY 4x150 SE | 28 | 29 | 0.0001744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1401-18_0_4_line_30 | NAYY 4x150 SE | 30 | 31 | 0.0027974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1401-18_0_4_line_31 | NAYY 4x150 SE | 30 | 32 | 0.0049362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1401-18_0_4_line_32 | NAYY 4x150 SE | 32 | 33 | 0.017886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1401-18_0_4_line_33 | NAYY 4x150 SE | 33 | 34 | 0.0062385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1401-18_0_4_line_34 | NAYY 4x150 SE | 34 | 35 | 0.004061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1401-18_0_4_line_35 | NAYY 4x150 SE | 35 | 39 | 0.0078281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1401-18_0_4_line_36 | NAYY 4x150 SE | 36 | 37 | 0.15605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1401-18_0_4_line_37 | NAYY 4x150 SE | 36 | 38 | 0.099137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1401-18_0_4_line_38 | NAYY 4x150 SE | 37 | 49 | 0.020445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1401-18_0_4_line_39 | NAYY 4x150 SE | 38 | 47 | 0.11981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1401-18_0_4_line_40 | NAYY 4x150 SE | 39 | 40 | 0.008124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_1401-18_0_4_line_41 | NAYY 4x150 SE | 39 | 41 | 0.013677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_1401-18_0_4_line_42 | NAYY 4x150 SE | 40 | 42 | 0.027886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_1401-18_0_4_line_43 | NAYY 4x150 SE | 40 | 43 | 0.014003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1401-18_0_4_line_44 | NAYY 4x150 SE | 41 | 44 | 0.019158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_1401-18_0_4_line_45 | NAYY 4x150 SE | 42 | 45 | 0.011389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1401-18_0_4_line_46 | NAYY 4x150 SE | 44 | 46 | 0.11034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_1401-18_0_4_line_47 | NAYY 4x150 SE | 46 | 48 | 0.027459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1401-18_0_4_line_48 | NAYY 4x150 SE | 47 | 48 | 0.061233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1401-18_0_4_trafo_8 | 0.25 MVA 20/0.4 kV | 50 | 19 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2663717.1713 | 1200442.441 | 2663720.6588 | 1200462.8954
1 | 2663705.7807 | 1200375.6253 | 2663715.7756 | 1200434.2555 | 2663717.1713 | 1200442.441
2 | 2663723.7213 | 1200480.8567 | 2663720.6588 | 1200462.8954
3 | 2663705.7807 | 1200375.6253 | 2663701.1721 | 1200375.8875 | 2663695.8959 | 1200377.3543 | 2663664.8783 | 1200391.1432 | 2663658.7393 | 1200392.134 | 2663652.6133 | 1200392.6246 | 2663646.6266 | 1200394.6004
4 | 2663705.7807 | 1200375.6253 | 2663703.1366 | 1200359.7325
5 | 2663723.7213 | 1200480.8567 | 2663691.1542 | 1200486.4535
6 | 2663663.4734 | 1200507.275 | 2663698.4899 | 1200501.7891 | 2663705.1994 | 1200502.2609 | 2663727.5446 | 1200499.2639 | 2663723.7213 | 1200480.8567
7 | 2663723.7213 | 1200480.8567 | 2663727.5446 | 1200499.2639 | 2663771.0058 | 1200492.1676
8 | 2663646.6266 | 1200394.6004 | 2663642.7574 | 1200395.8773
9 | 2663703.1366 | 1200359.7325 | 2663698.9343 | 1200334.4732
10 | 2663663.4734 | 1200507.275 | 2663683.6289 | 1200527.0184
11 | 2663761.632 | 1200440.3146 | 2663771.0058 | 1200492.1676
12 | 2663642.7574 | 1200395.8773 | 2663633.3915 | 1200398.9682 | 2663631.8192 | 1200400.0633 | 2663631.8038 | 1200401.5084 | 2663632.9112 | 1200406.8979
13 | 2663698.9343 | 1200334.4732 | 2663698.2041 | 1200330.0842 | 2663697.5111 | 1200325.9529
14 | 2663721.6659 | 1200600.0611 | 2663707.5668 | 1200596.5199 | 2663678.9279 | 1200587.943 | 2663673.7589 | 1200587.2319 | 2663669.4557 | 1200588.8426
15 | 2663721.6659 | 1200600.0611 | 2663684.8652 | 1200572.2858 | 2663667.6786 | 1200562.7304 | 2663660.4846 | 1200557.6486
16 | 2663661.6672 | 1200598.1986 | 2663669.4557 | 1200588.8426
17 | 2663669.4557 | 1200588.8426 | 2663634.0236 | 1200570.0934
18 | 2663638.3081 | 1200541.6089 | 2663646.3936 | 1200547.6949 | 2663660.4846 | 1200557.6486
19 | 2663572.9227 | 1200455.414 | 2663579.9428 | 1200451.0193 | 2663604.9399 | 1200435.6317 | 2663617.3521 | 1200430.3272 | 2663630.9951 | 1200425.2583 | 2663634.7132 | 1200421.4067 | 2663635.4232 | 1200417.6454 | 2663632.9691 | 1200407.1797 | 2663632.9112 | 1200406.8979
20 | 2663690.9743 | 1200286.9816 | 2663697.5111 | 1200325.9529
21 | 2663599.7508 | 1200498.2914 | 2663604.67 | 1200506.7488 | 2663610.4967 | 1200515.7717 | 2663618.042 | 1200524.257 | 2663637.1195 | 1200540.7142 | 2663638.3081 | 1200541.6089
22 | 2663599.7508 | 1200498.2914 | 2663594.3196 | 1200489.8081
23 | 2663572.9227 | 1200455.414 | 2663593.2435 | 1200488.1273 | 2663594.3196 | 1200489.8081
24 | 2663572.9227 | 1200455.414 | 2663570.9993 | 1200452.2871
25 | 2663661.6672 | 1200598.1986 | 2663640.2033 | 1200595.6908 | 2663632.3848 | 1200589.9931 | 2663631.1423 | 1200589.0772
26 | 2663631.1423 | 1200589.0772 | 2663620.0199 | 1200580.8783 | 2663615.1292 | 1200573.7189
27 | 2663524.8466 | 1200504.1763 | 2663544.5699 | 1200492.1454 | 2663557.3377 | 1200509.9361 | 2663562.9634 | 1200519.9686 | 2663573.7042 | 1200527.9208 | 2663579.0675 | 1200547.5895 | 2663594.2873 | 1200549.5526 | 2663605.1705 | 1200559.1407 | 2663615.1292 | 1200573.7189
28 | 2663690.9743 | 1200286.9816 | 2663710.1693 | 1200283.4621
29 | 2663710.1693 | 1200283.4621 | 2663710.3408 | 1200283.4307
30 | 2663503.0931 | 1200513.808 | 2663500.7975 | 1200512.2093
31 | 2663507.1439 | 1200516.6289 | 2663503.0931 | 1200513.808
32 | 2663507.1439 | 1200516.6289 | 2663507.1439 | 1200516.6289 | 2663512.3864 | 1200520.4647 | 2663518.5704 | 1200525.967 | 2663520.8216 | 1200528.1172
33 | 2663520.8216 | 1200528.1172 | 2663525.3328 | 1200532.4261
34 | 2663525.3328 | 1200532.4261 | 2663528.2695 | 1200535.2311
35 | 2663535.6092 | 1200535.8539 | 2663533.3795 | 1200536.4972 | 2663530.8119 | 1200536.6923 | 2663528.2695 | 1200535.2311 | 2663528.2695 | 1200535.2311
36 | 2663304.362 | 1200683.3104 | 2663310.8852 | 1200693.4411 | 2663318.5789 | 1200708.0535 | 2663327.1516 | 1200724.4762 | 2663335.0593 | 1200740.4361 | 2663339.2295 | 1200749.1966 | 2663348.5767 | 1200762.926 | 2663359.5876 | 1200774.8164 | 2663368.7246 | 1200784.6747 | 2663374.5353 | 1200793.0635 | 2663376.3822 | 1200797.6413 | 2663376.676 | 1200801.5245 | 2663375.8625 | 1200804.2953 | 2663371.0961 | 1200813.0055 | 2663368.4032 | 1200814.9781 | 2663368.4032 | 1200814.9781
37 | 2663304.362 | 1200683.3104 | 2663313.4649 | 1200687.0646 | 2663362.3759 | 1200714.3212 | 2663384.9551 | 1200730.0699 | 2663390.0295 | 1200733.2367
38 | 2663350.5761 | 1200805.3983 | 2663363.6273 | 1200813.8157 | 2663368.4032 | 1200814.9781
39 | 2663390.0295 | 1200733.2367 | 2663396.0317 | 1200733.6228 | 2663445.6223 | 1200750.5812 | 2663465.4687 | 1200751.2367 | 2663476.4497 | 1200745.8612 | 2663481.9898 | 1200733.8573 | 2663486.2749 | 1200723.8969 | 2663490.7092 | 1200721.1165
40 | 2663538.1388 | 1200528.4986 | 2663538.05 | 1200531.833 | 2663537.3044 | 1200533.9374 | 2663535.6092 | 1200535.8539
41 | 2663535.6092 | 1200535.8539 | 2663537.6171 | 1200541.045 | 2663541.4169 | 1200548.2107
42 | 2663524.8466 | 1200504.1763 | 2663537.667 | 1200525.6141 | 2663538.1388 | 1200528.4986
43 | 2663538.1388 | 1200528.4986 | 2663540.9727 | 1200529.0291 | 2663542.6296 | 1200529.9917 | 2663548.0431 | 1200537.4351
44 | 2663544.2065 | 1200564.9737 | 2663546.0674 | 1200563.2257 | 2663547.152 | 1200560.7358 | 2663546.7892 | 1200558.3416 | 2663541.4169 | 1200548.2107
45 | 2663524.8466 | 1200504.1763 | 2663518.4594 | 1200494.7467
46 | 2663544.2065 | 1200564.9737 | 2663500.825 | 1200666.4254
47 | 2663521.1375 | 1200684.6025 | 2663517.5434 | 1200679.8585 | 2663503.9554 | 1200669.7859 | 2663500.825 | 1200666.4254
48 | 2663521.1375 | 1200684.6025 | 2663523.3089 | 1200687.4687 | 2663529.1815 | 1200695.7471 | 2663529.3272 | 1200697.0828 | 2663528.6479 | 1200698.6876 | 2663526.9011 | 1200700.4479 | 2663522.5265 | 1200703.7812 | 2663513.3351 | 1200706.9298 | 2663490.7092 | 1200721.1165

## bus_geodata
| x | y | coords
0 | 2663717.1713 | 1200442.441
1 | 2663720.6588 | 1200462.8954
2 | 2663705.7807 | 1200375.6253
3 | 2663723.7213 | 1200480.8567
4 | 2663646.6266 | 1200394.6004
5 | 2663703.1366 | 1200359.7325
6 | 2663691.1542 | 1200486.4535
7 | 2663663.4734 | 1200507.275
8 | 2663771.0058 | 1200492.1676
9 | 2663642.7574 | 1200395.8773
10 | 2663698.9343 | 1200334.4732
11 | 2663683.6289 | 1200527.0184
12 | 2663761.632 | 1200440.3146
13 | 2663721.6659 | 1200600.0611
14 | 2663669.4557 | 1200588.8426
15 | 2663660.4846 | 1200557.6486
16 | 2663632.9112 | 1200406.8979
17 | 2663697.5111 | 1200325.9529
18 | 2663638.3081 | 1200541.6089
19 | 2663599.7508 | 1200498.2914
20 | 2663594.3196 | 1200489.8081
21 | 2663572.9227 | 1200455.414
22 | 2663661.6672 | 1200598.1986
23 | 2663634.0236 | 1200570.0934
24 | 2663570.9993 | 1200452.2871
25 | 2663631.1423 | 1200589.0772
26 | 2663615.1292 | 1200573.7189
27 | 2663690.9743 | 1200286.9816
28 | 2663710.1693 | 1200283.4621
29 | 2663710.3408 | 1200283.4307
30 | 2663503.0931 | 1200513.808
31 | 2663500.7975 | 1200512.2093
32 | 2663507.1439 | 1200516.6289
33 | 2663520.8216 | 1200528.1172
34 | 2663525.3328 | 1200532.4261
35 | 2663528.2695 | 1200535.2311
36 | 2663304.362 | 1200683.3104
37 | 2663368.4032 | 1200814.9781
38 | 2663390.0295 | 1200733.2367
39 | 2663535.6092 | 1200535.8539
40 | 2663538.1388 | 1200528.4986
41 | 2663541.4169 | 1200548.2107
42 | 2663524.8466 | 1200504.1763
43 | 2663548.0431 | 1200537.4351
44 | 2663544.2065 | 1200564.9737
45 | 2663518.4594 | 1200494.7467
46 | 2663500.825 | 1200666.4254
47 | 2663490.7092 | 1200721.1165
48 | 2663521.1375 | 1200684.6025
49 | 2663350.5761 | 1200805.3983
50 | 2663572.9227 | 1200455.414

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98584 | -0.099526 | 0.0010583 | 0.00026524
1 | 0.98548 | -0.10211 | 0.0010741 | 0.0002692
2 | 0.98713 | -0.090376 | 0 | 0
3 | 0.98519 | -0.10417 | 0 | 0
4 | 0.98882 | -0.078397 | 0.0015985 | 0.00040062
5 | 0.987 | -0.091286 | 0.0013712 | 0.00034365
6 | 0.98496 | -0.10576 | 0.0046613 | 0.0011682
7 | 0.98454 | -0.10877 | 0 | 0
8 | 0.9851 | -0.10482 | 0 | 0
9 | 0.98894 | -0.077554 | 0.0056014 | 0.0014038
10 | 0.98685 | -0.092372 | 0.0011956 | 0.00029965
11 | 0.98432 | -0.11032 | 0.0053455 | 0.0013397
12 | 0.98502 | -0.10536 | 0.00099261 | 0.00024877
13 | 0.99056 | -0.065125 | 0 | 0
14 | 0.98744 | -0.086953 | 0 | 0
15 | 0.99486 | -0.035335 | 0.0010746 | 0.00026931
16 | 0.98963 | -0.07261 | 0.019034 | 0.0047704
17 | 0.98681 | -0.092632 | 0.001104 | 0.0002767
18 | 0.99645 | -0.024366 | 0.0051951 | 0.001302
19 | 1 | 0 | -0.20897 | -0.052628
20 | 0.99884 | -0.0080666 | 0.017605 | 0.0044123
21 | 0.9952 | -0.033501 | 0 | 0
22 | 0.98674 | -0.091802 | 0 | 0
23 | 0.98735 | -0.087575 | 0.0015144 | 0.00037954
24 | 0.9951 | -0.034152 | 0.017606 | 0.0044124
25 | 0.98488 | -0.10492 | 0.0024709 | 0.00061927
26 | 0.98362 | -0.11375 | 0.0013875 | 0.00034773
27 | 0.9867 | -0.093376 | 0 | 0
28 | 0.98665 | -0.093742 | 0.00092281 | 0.00023128
29 | 0.98665 | -0.093744 | 0.00090914 | 0.00022785
30 | 0.97327 | -0.18756 | 0.0030719 | 0.0007699
31 | 0.97326 | -0.18764 | 0.002623 | 0.00065739
32 | 0.97331 | -0.18726 | 0.0076652 | 0.0019211
33 | 0.97366 | -0.18475 | 0.0055389 | 0.0013882
34 | 0.97383 | -0.18351 | 0.0055389 | 0.0013882
35 | 0.97398 | -0.18246 | 0.0055389 | 0.0013882
36 | 0.97187 | -0.19779 | 0 | 0
37 | 0.97169 | -0.19906 | 0.00015863 | 3.9758e-05
38 | 0.97198 | -0.19697 | 0 | 0
39 | 0.97432 | -0.17999 | 0 | 0
40 | 0.97462 | -0.1779 | 0 | 0
41 | 0.97403 | -0.18209 | 0.0074172 | 0.0018589
42 | 0.97605 | -0.16764 | 0 | 0
43 | 0.97397 | -0.18253 | 0.031471 | 0.0078875
44 | 0.97369 | -0.18453 | 0.02434 | 0.0061002
45 | 0.97592 | -0.16855 | 0.0076738 | 0.0019232
46 | 0.97305 | -0.18916 | 0.0022856 | 0.00057282
47 | 0.97211 | -0.19596 | 0.0054033 | 0.0013542
48 | 0.97267 | -0.19195 | 0.0034327 | 0.00086031
49 | 0.97168 | -0.19919 | 0.00060489 | 0.0001516
50 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.012087 | 0.0030272 | -0.012082 | -0.0030258 | 4.3091e-06 | 1.3929e-06 | 0.018243 | 0.018243 | 0.018243 | 0.98584 | -0.099526 | 0.98548 | -0.10211 | 6.7567
1 | -0.013145 | -0.0032924 | 0.013162 | 0.0032979 | 1.6648e-05 | 5.5379e-06 | 0.01984 | 0.01984 | 0.01984 | 0.98584 | -0.099526 | 0.98713 | -0.090376 | 7.3482
2 | 0.011008 | 0.0027566 | -0.011005 | -0.0027556 | 3.141e-06 | 9.7599e-07 | 0.016621 | 0.016621 | 0.016621 | 0.98548 | -0.10211 | 0.98519 | -0.10417 | 6.156
3 | -0.018666 | -0.0046763 | 0.018697 | 0.0046874 | 3.0977e-05 | 1.1111e-05 | 0.028137 | 0.028137 | 0.028137 | 0.98713 | -0.090376 | 0.98882 | -0.078397 | 10.4211
4 | 0.0055045 | 0.0013784 | -0.0055038 | -0.0013783 | 6.9211e-07 | 6.0261e-08 | 0.0082971 | 0.0082972 | 0.0082972 | 0.98713 | -0.090376 | 0.987 | -0.091286 | 3.073
5 | 0.0046624 | 0.0011682 | -0.0046613 | -0.0011682 | 1.0225e-06 | -2.74e-08 | 0.0070419 | 0.007042 | 0.007042 | 0.98519 | -0.10417 | 0.98496 | -0.10576 | 2.6082
6 | 0.00535 | 0.00134 | -0.0053466 | -0.0013398 | 3.4027e-06 | 2.46e-07 | 0.0080803 | 0.0080807 | 0.0080807 | 0.98519 | -0.10417 | 0.98454 | -0.10877 | 2.9929
7 | 0.00099277 | 0.00024736 | -0.00099268 | -0.00024813 | 8.8117e-08 | -7.6617e-07 | 0.001499 | 0.0014992 | 0.0014992 | 0.98519 | -0.10417 | 0.9851 | -0.10482 | 0.55527
8 | -0.020296 | -0.0050881 | 0.020298 | 0.0050889 | 2.3717e-06 | 8.5991e-07 | 0.030542 | 0.030542 | 0.030542 | 0.98882 | -0.078397 | 0.98894 | -0.077554 | 11.312
9 | 0.0041326 | 0.0010347 | -0.004132 | -0.0010348 | 6.2018e-07 | -8.8679e-08 | 0.00623 | 0.0062301 | 0.0062301 | 0.987 | -0.091286 | 0.98685 | -0.092372 | 2.3074
10 | 0.0053466 | 0.0013398 | -0.0053455 | -0.0013397 | 1.1496e-06 | 8.3451e-08 | 0.0080807 | 0.0080808 | 0.0080808 | 0.98454 | -0.10877 | 0.98432 | -0.11032 | 2.9929
11 | 0.00099268 | 0.00024813 | -0.00099261 | -0.00024877 | 7.3926e-08 | -6.4243e-07 | 0.0014992 | 0.0014995 | 0.0014995 | 0.9851 | -0.10482 | 0.98502 | -0.10536 | 0.55536
12 | -0.025899 | -0.0064928 | 0.025917 | 0.0064993 | 1.7746e-05 | 6.585e-06 | 0.03897 | 0.03897 | 0.03897 | 0.98894 | -0.077554 | 0.98963 | -0.07261 | 14.4335
13 | 0.0029364 | 0.00073511 | -0.0029363 | -0.00073518 | 1.0566e-07 | -6.9726e-08 | 0.0044273 | 0.0044274 | 0.0044274 | 0.98685 | -0.092372 | 0.98681 | -0.092632 | 1.6398
14 | 0.12005 | 0.030319 | -0.11968 | -0.03018 | 0.00036727 | 0.00013917 | 0.18042 | 0.18042 | 0.18042 | 0.99056 | -0.065125 | 0.98744 | -0.086953 | 22.274
15 | -0.12005 | -0.030319 | 0.12055 | 0.03051 | 0.00050493 | 0.00019131 | 0.18042 | 0.18042 | 0.18042 | 0.99056 | -0.065125 | 0.99486 | -0.035335 | 22.2739
16 | 0.11817 | 0.029801 | -0.11809 | -0.029771 | 8.0268e-05 | 3.0406e-05 | 0.17814 | 0.17814 | 0.17814 | 0.98744 | -0.086953 | 0.98674 | -0.091802 | 21.9923
17 | 0.0015145 | 0.00037908 | -0.0015144 | -0.00037954 | 1.3028e-07 | -4.6263e-07 | 0.0022821 | 0.0022823 | 0.0022823 | 0.98744 | -0.086953 | 0.98735 | -0.087575 | 0.84529
18 | -0.12163 | -0.03078 | 0.12182 | 0.030851 | 0.00018864 | 7.1485e-05 | 0.18202 | 0.18202 | 0.18202 | 0.99486 | -0.035335 | 0.99645 | -0.024366 | 22.4722
19 | -0.044951 | -0.01127 | 0.045196 | 0.011363 | 0.00024489 | 9.3079e-05 | 0.06759 | 0.06759 | 0.06759 | 0.98963 | -0.07261 | 0.9952 | -0.033501 | 25.0333
20 | 0.0018322 | 0.00045848 | -0.001832 | -0.00045891 | 1.882e-07 | -4.3239e-07 | 0.0027626 | 0.0027628 | 0.0027628 | 0.98681 | -0.092632 | 0.9867 | -0.093376 | 1.0232
21 | -0.12701 | -0.032153 | 0.12745 | 0.03232 | 0.00043872 | 0.00016644 | 0.18978 | 0.18978 | 0.18978 | 0.99645 | -0.024366 | 1 | 0 | 23.4299
22 | 0.080722 | 0.020308 | -0.080632 | -0.020273 | 9.0728e-05 | 3.4763e-05 | 0.12014 | 0.12014 | 0.12014 | 1 | 0 | 0.99884 | -0.0080666 | 44.4975
23 | 0.063026 | 0.015861 | -0.062803 | -0.015776 | 0.00022294 | 8.5219e-05 | 0.093916 | 0.093916 | 0.093916 | 0.99884 | -0.0080666 | 0.9952 | -0.033501 | 34.7838
24 | 0.017607 | 0.004413 | -0.017606 | -0.0044124 | 1.5877e-06 | 5.6296e-07 | 0.026327 | 0.026327 | 0.026327 | 0.9952 | -0.033501 | 0.9951 | -0.034152 | 9.7506
25 | 0.11809 | 0.029771 | -0.11787 | -0.029688 | 0.00021668 | 8.2083e-05 | 0.17814 | 0.17814 | 0.17814 | 0.98674 | -0.091802 | 0.98488 | -0.10492 | 21.9923
26 | 0.1154 | 0.029069 | -0.11526 | -0.029015 | 0.00014228 | 5.3864e-05 | 0.1744 | 0.1744 | 0.1744 | 0.98488 | -0.10492 | 0.98362 | -0.11375 | 21.5315
27 | 0.11387 | 0.028668 | -0.11302 | -0.028346 | 0.00085073 | 0.000322 | 0.17231 | 0.17231 | 0.17231 | 0.98362 | -0.11375 | 0.97605 | -0.16764 | 21.2726
28 | 0.001832 | 0.00045891 | -0.001832 | -0.00045913 | 9.2951e-08 | -2.135e-07 | 0.0027628 | 0.0027629 | 0.0027629 | 0.9867 | -0.093376 | 0.98665 | -0.093742 | 1.0233
29 | 0.00090914 | 0.00022785 | -0.00090914 | -0.00022785 | 2.0454e-10 | -2.1483e-09 | 0.0013711 | 0.0013711 | 0.0013711 | 0.98665 | -0.093742 | 0.98665 | -0.093744 | 0.50782
30 | 0.002623 | 0.00065737 | -0.002623 | -0.00065739 | 2.8074e-08 | -2.3967e-08 | 0.0040103 | 0.0040103 | 0.0040103 | 0.97327 | -0.18756 | 0.97326 | -0.18764 | 1.4853
31 | -0.005695 | -0.0014273 | 0.0056952 | 0.0014273 | 2.3351e-07 | 2.8465e-08 | 0.0087069 | 0.0087069 | 0.0087069 | 0.97327 | -0.18756 | 0.97331 | -0.18726 | 3.2248
32 | -0.01336 | -0.0033484 | 0.013365 | 0.0033499 | 4.6564e-06 | 1.5686e-06 | 0.020426 | 0.020425 | 0.020426 | 0.97331 | -0.18726 | 0.97366 | -0.18475 | 7.565
33 | -0.018904 | -0.0047381 | 0.018907 | 0.0047393 | 3.2491e-06 | 1.1721e-06 | 0.02889 | 0.02889 | 0.02889 | 0.97366 | -0.18475 | 0.97383 | -0.18351 | 10.7001
34 | -0.024446 | -0.0061275 | 0.02445 | 0.0061288 | 3.5358e-06 | 1.3094e-06 | 0.037354 | 0.037354 | 0.037354 | 0.97383 | -0.18351 | 0.97398 | -0.18246 | 13.8347
35 | -0.029988 | -0.0075169 | 0.029999 | 0.0075208 | 1.0253e-05 | 3.8462e-06 | 0.045816 | 0.045816 | 0.045816 | 0.97398 | -0.18246 | 0.97432 | -0.17999 | 16.9689
36 | 0.00076366 | 0.00018922 | -0.00076353 | -0.00019111 | 1.3302e-07 | -1.8822e-06 | 0.0011685 | 0.0011692 | 0.0011692 | 0.97187 | -0.19779 | 0.97169 | -0.19906 | 0.43302
37 | -0.00076366 | -0.00018922 | 0.00076375 | 0.00018803 | 8.4428e-08 | -1.1961e-06 | 0.0011685 | 0.001168 | 0.0011685 | 0.97187 | -0.19779 | 0.97198 | -0.19697 | 0.43276
38 | 0.0006049 | 0.00015135 | -0.00060489 | -0.0001516 | 1.0946e-08 | -2.4905e-07 | 0.00092623 | 0.00092632 | 0.00092632 | 0.97169 | -0.19906 | 0.97168 | -0.19919 | 0.34308
39 | -0.00076375 | -0.00018803 | 0.00076385 | 0.00018658 | 1.0195e-07 | -1.4459e-06 | 0.001168 | 0.0011675 | 0.001168 | 0.97198 | -0.19697 | 0.97211 | -0.19596 | 0.4326
40 | -0.073681 | -0.018463 | 0.073702 | 0.01847 | 2.1396e-05 | 7.9258e-06 | 0.11253 | 0.11253 | 0.11253 | 0.97432 | -0.17999 | 0.97462 | -0.1779 | 13.8921
41 | 0.043682 | 0.010942 | -0.043669 | -0.010937 | 1.266e-05 | 4.3584e-06 | 0.06671 | 0.066711 | 0.066711 | 0.97432 | -0.17999 | 0.97403 | -0.18209 | 8.2359
42 | -0.10519 | -0.026366 | 0.10534 | 0.026422 | 0.00014962 | 5.6501e-05 | 0.16061 | 0.16061 | 0.16061 | 0.97462 | -0.1779 | 0.97605 | -0.16764 | 19.8281
43 | 0.031492 | 0.0078951 | -0.031471 | -0.0078875 | 2.0201e-05 | 7.5952e-06 | 0.048082 | 0.048082 | 0.048082 | 0.97462 | -0.1779 | 0.97397 | -0.18253 | 17.808
44 | 0.036252 | 0.0090785 | -0.03624 | -0.0090745 | 1.2221e-05 | 3.9853e-06 | 0.05538 | 0.05538 | 0.05538 | 0.97403 | -0.18209 | 0.97369 | -0.18453 | 6.837
45 | 0.0076748 | 0.0019235 | -0.0076738 | -0.0019232 | 9.7294e-07 | 2.3188e-07 | 0.0117 | 0.011701 | 0.011701 | 0.97605 | -0.16764 | 0.97592 | -0.16855 | 4.3335
46 | 0.0119 | 0.0029743 | -0.011893 | -0.0029755 | 7.5885e-06 | -1.1958e-06 | 0.018183 | 0.018185 | 0.018185 | 0.97369 | -0.18453 | 0.97305 | -0.18916 | 2.245
47 | 0.0096069 | 0.0024027 | -0.0096032 | -0.0024016 | 3.6972e-06 | 1.081e-06 | 0.014689 | 0.014689 | 0.014689 | 0.97305 | -0.18916 | 0.97267 | -0.19195 | 5.4405
48 | -0.0061672 | -0.0015408 | 0.0061706 | 0.0015413 | 3.4037e-06 | 5.4953e-07 | 0.0094384 | 0.0094381 | 0.0094384 | 0.97211 | -0.19596 | 0.97267 | -0.19195 | 3.4957

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.20897 | 0.052628

## res_load
| p_mw | q_mvar
0 | 0.0010583 | 0.00026524
1 | 0.0010741 | 0.0002692
2 | 0.0015985 | 0.00040062
3 | 0.0013712 | 0.00034365
4 | 0.0046613 | 0.0011682
5 | 0.0056014 | 0.0014038
6 | 0.0011956 | 0.00029965
7 | 0.0053455 | 0.0013397
8 | 0.00099261 | 0.00024877
9 | 0.0010746 | 0.00026931
10 | 0.019034 | 0.0047704
11 | 0.001104 | 0.0002767
12 | 0.0051951 | 0.001302
13 | 0.017605 | 0.0044123
14 | 0.0015144 | 0.00037954
15 | 0.017606 | 0.0044124
16 | 0.0024709 | 0.00061927
17 | 0.0013875 | 0.00034773
18 | 0.00092281 | 0.00023128
19 | 0.00090914 | 0.00022785
20 | 0.0030719 | 0.0007699
21 | 0.002623 | 0.00065739
22 | 0.0076652 | 0.0019211
23 | 0.0055389 | 0.0013882
24 | 0.0055389 | 0.0013882
25 | 0.0055389 | 0.0013882
26 | 0.00015863 | 3.9758e-05
27 | 0.0074172 | 0.0018589
28 | 0.031471 | 0.0078875
29 | 0.02434 | 0.0061002
30 | 0.0076738 | 0.0019232
31 | 0.0022856 | 0.00057282
32 | 0.0054033 | 0.0013542
33 | 0.0034327 | 0.00086031
34 | 0.00060489 | 0.0001516

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1