## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1401-19_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1401-19_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1401-19_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1401-19_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1401-19_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1401-19_0_2_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_1401-19_0_2_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_1401-19_0_2_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_1401-19_0_2_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_1401-19_0_2_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_1401-19_0_2_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_1401-19_0_2_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_1401-19_0_2_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_1401-19_0_2_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_1401-19_0_2_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_1401-19_0_2_node_5 | 0.4 | n |  | TRUE
16 | bus_LV_1401-19_0_2_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_1401-19_0_2_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_1401-19_0_2_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_1401-19_0_2_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_1401-19_0_2_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_1401-19_0_2_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_1401-19_0_2_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_1401-19_0_2_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1401-19_0_2_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_1401-19_0_2_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_1401-19_0_2_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_1401-19_0_2_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_1401-19_0_2_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_1401-19_0_2_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_1401-19_0_2_node_10 | 0.4 | n |  | TRUE
31 | bus_LV_1401-19_0_2_node_11 | 0.4 | n |  | TRUE
32 | bus_LV_1401-19_0_2_node_12 | 0.4 | n |  | TRUE
33 | bus_LV_1401-19_0_2_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_1401-19_0_2_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_1401-19_0_2_node_17 | 0.4 | n |  | TRUE
36 | bus_MV_136_0_node_26 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1401-19_0_2_load_0 | 0 | 0.00083895 | 0.00021026 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1401-19_0_2_load_1 | 1 | 0.0081339 | 0.0020386 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1401-19_0_2_load_2 | 2 | 0.00068903 | 0.00017269 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1401-19_0_2_load_3 | 3 | 0.010735 | 0.0026905 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1401-19_0_2_load_4 | 4 | 0.00075159 | 0.00018837 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1401-19_0_2_load_19 | 5 | 0.0095463 | 0.0023925 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1401-19_0_2_load_16 | 6 | 0.005911 | 0.0014814 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1401-19_0_2_load_29 | 7 | 0.0015627 | 0.00039164 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1401-19_0_2_load_30 | 8 | 0.0010226 | 0.00025628 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1401-19_0_2_load_32 | 9 | 0.0013815 | 0.00034624 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1401-19_0_2_load_15 | 12 | 0.0063662 | 0.0015955 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1401-19_0_2_load_34 | 13 | 0.00048688 | 0.00012202 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1401-19_0_2_load_5 | 15 | 0.0035163 | 0.00088126 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1401-19_0_2_load_6 | 16 | 0.0045137 | 0.0011312 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1401-19_0_2_load_7 | 17 | 0.012253 | 0.0030709 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1401-19_0_2_load_18 | 22 | 0.0067522 | 0.0016923 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1401-19_0_2_load_20 | 23 | 0.00027294 | 6.8405e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1401-19_0_2_load_21 | 24 | 0.00085659 | 0.00021468 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1401-19_0_2_load_27 | 27 | 0.00041555 | 0.00010415 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1401-19_0_2_load_38 | 28 | 0.00031058 | 7.7838e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1401-19_0_2_load_36 | 29 | 0.00040916 | 0.00010254 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1401-19_0_2_load_10 | 30 | 0.00079381 | 0.00019895 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1401-19_0_2_load_11 | 31 | 0.00073833 | 0.00018504 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1401-19_0_2_load_12 | 32 | 0.0014869 | 0.00037265 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1401-19_0_2_load_14 | 33 | 0.0010391 | 0.00026043 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1401-19_0_2_load_25 | 34 | 0.0011358 | 0.00028466 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1401-19_0_2_load_17 | 35 | 0.0063671 | 0.0015957 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1401-19_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.036503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1401-19_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.022044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1401-19_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.015889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1401-19_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.048088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1401-19_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.028055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1401-19_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.018716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1401-19_0_2_line_6 | NAYY 4x150 SE | 5 | 11 | 0.01271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1401-19_0_2_line_7 | NAYY 4x150 SE | 6 | 12 | 0.041218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1401-19_0_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.042363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1401-19_0_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.15426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1401-19_0_2_line_10 | NAYY 4x150 SE | 8 | 10 | 0.041261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1401-19_0_2_line_11 | NAYY 4x150 SE | 10 | 13 | 0.075082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1401-19_0_2_line_12 | NAYY 4x150 SE | 10 | 14 | 0.092687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1401-19_0_2_line_13 | NAYY 4x150 SE | 11 | 31 | 0.052016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1401-19_0_2_line_14 | NAYY 4x150 SE | 12 | 35 | 0.0081864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1401-19_0_2_line_15 | NAYY 4x150 SE | 13 | 21 | 0.051545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1401-19_0_2_line_16 | NAYY 4x150 SE | 14 | 27 | 0.12561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1401-19_0_2_line_17 | NAYY 4x150 SE | 14 | 28 | 0.14733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1401-19_0_2_line_18 | NAYY 4x150 SE | 14 | 25 | 0.060431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1401-19_0_2_line_19 | NAYY 4x150 SE | 15 | 16 | 0.014828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1401-19_0_2_line_20 | NAYY 4x150 SE | 15 | 17 | 0.016664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1401-19_0_2_line_21 | NAYY 4x150 SE | 16 | 18 | 0.073844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1401-19_0_2_line_22 | NAYY 4x150 SE | 17 | 19 | 0.024185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1401-19_0_2_line_23 | NAYY 4x150 SE | 18 | 20 | 0.036028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1401-19_0_2_line_24 | NAYY 4x150 SE | 19 | 21 | 0.15362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1401-19_0_2_line_25 | NAYY 4x150 SE | 20 | 22 | 0.03666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1401-19_0_2_line_26 | NAYY 4x150 SE | 22 | 35 | 0.029788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1401-19_0_2_line_27 | NAYY 4x150 SE | 23 | 24 | 0.025141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1401-19_0_2_line_28 | NAYY 4x150 SE | 23 | 25 | 0.053952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1401-19_0_2_line_29 | NAYY 4x150 SE | 25 | 26 | 0.08775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1401-19_0_2_line_30 | NAYY 4x150 SE | 26 | 29 | 0.038044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1401-19_0_2_line_31 | NAYY 4x150 SE | 30 | 31 | 0.084008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1401-19_0_2_line_32 | NAYY 4x150 SE | 30 | 32 | 0.017217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1401-19_0_2_line_33 | NAYY 4x150 SE | 32 | 33 | 0.044282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1401-19_0_2_line_34 | NAYY 4x150 SE | 33 | 34 | 0.017073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1401-19_0_2_trafo_16 | 0.25 MVA 20/0.4 kV | 36 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2663456.2926 | 1200387.1617 | 2663459.6755 | 1200388.5712 | 2663478.7373 | 1200396.5449 | 2663483.2739 | 1200399.4837 | 2663488.3075 | 1200404.0115
1 | 2663456.2926 | 1200387.1617 | 2663437.5511 | 1200379.3531 | 2663435.8325 | 1200379.0751
2 | 2663488.3075 | 1200404.0115 | 2663493.6426 | 1200408.8105 | 2663499.6634 | 1200415.1093
3 | 2663432.6361 | 1200408.1639 | 2663424.8204 | 1200403.9104 | 2663421.1784 | 1200400.6031 | 2663419.1101 | 1200396.0785 | 2663418.6747 | 1200390.4706 | 2663420.003 | 1200385.8264 | 2663422.8883 | 1200381.5211 | 2663427.8726 | 1200378.8613 | 2663432.7708 | 1200378.5797 | 2663435.8325 | 1200379.0751
4 | 2663525.7628 | 1200419.3996 | 2663515.7296 | 1200420.8078 | 2663509.6089 | 1200420.7983 | 2663505.2192 | 1200419.8066 | 2663501.6838 | 1200417.2231 | 2663499.6634 | 1200415.1093
5 | 2663432.6361 | 1200408.1639 | 2663444.6971 | 1200414.7277 | 2663448.5948 | 1200417.8355
6 | 2663538.3928 | 1200418.7029 | 2663532.9605 | 1200418.3894 | 2663525.7628 | 1200419.3996
7 | 2663448.5948 | 1200417.8355 | 2663452.314 | 1200420.801 | 2663479.3177 | 1200445.2998
8 | 2663183.3677 | 1200322.4591 | 2663184.6244 | 1200331.9355 | 2663187.7853 | 1200356.9949 | 2663187.7407 | 1200364.5404
9 | 2663183.3677 | 1200322.4591 | 2663134.8534 | 1200176.0286
10 | 2663184.2106 | 1200405.6304 | 2663187.7083 | 1200370.0351 | 2663187.7407 | 1200364.5404
11 | 2663184.2106 | 1200405.6304 | 2663187.2079 | 1200405.8399 | 2663189.318 | 1200407.8746 | 2663198.0051 | 1200424.3539 | 2663207.6441 | 1200442.9669 | 2663216.1585 | 1200452.7404 | 2663224.082 | 1200460.073 | 2663228.9984 | 1200463.1476
12 | 2663190.7184 | 1200495.7303 | 2663191.8783 | 1200491.8625 | 2663191.817 | 1200486.87 | 2663189.8667 | 1200481.9576 | 2663182.9044 | 1200465.7966 | 2663180.9478 | 1200460.0503 | 2663180.0872 | 1200455.0383 | 2663180.237 | 1200446.6349 | 2663180.8362 | 1200436.0461 | 2663184.2106 | 1200405.6304
13 | 2663538.3928 | 1200418.7029 | 2663520.0051 | 1200370.0457
14 | 2663485.139 | 1200451.0495 | 2663481.54 | 1200447.3159 | 2663479.3177 | 1200445.2998
15 | 2663277.5269 | 1200479.9502 | 2663262.9167 | 1200474.3145 | 2663239.8223 | 1200468.2777 | 2663232.2196 | 1200465.1621 | 2663228.9984 | 1200463.1476
16 | 2663190.7184 | 1200495.7303 | 2663187.3537 | 1200498.5853 | 2663183.1109 | 1200499.541 | 2663178.9975 | 1200499.0528 | 2663175.8978 | 1200497.0189 | 2663170.2732 | 1200491.8564 | 2663161.7808 | 1200484.3289 | 2663154.1337 | 1200480.368 | 2663128.2835 | 1200471.4341 | 2663119.5561 | 1200465.2383 | 2663114.1723 | 1200458.1773 | 2663107.3392 | 1200440.5725 | 2663102.429 | 1200431.1929 | 2663099.1474 | 1200427.4251
17 | 2663190.7184 | 1200495.7303 | 2663089.2611 | 1200602.5554
18 | 2663225.1099 | 1200544.9453 | 2663199.209 | 1200504.1473 | 2663195.5864 | 1200499.0059 | 2663190.7184 | 1200495.7303
19 | 2663463.9213 | 1200486.5501 | 2663476.0945 | 1200495.0172
20 | 2663463.9213 | 1200486.5501 | 2663459.9961 | 1200483.8199 | 2663450.198 | 1200477.0972
21 | 2663535.6092 | 1200535.8539 | 2663533.3795 | 1200536.4972 | 2663530.8119 | 1200536.6923 | 2663528.2695 | 1200535.2311 | 2663518.5704 | 1200525.967 | 2663512.3864 | 1200520.4647 | 2663507.1439 | 1200516.6289 | 2663489.1812 | 1200504.1196 | 2663476.0945 | 1200495.0172
22 | 2663430.2562 | 1200463.4145 | 2663450.198 | 1200477.0972
23 | 2663524.8466 | 1200504.1763 | 2663537.667 | 1200525.6141 | 2663538.1388 | 1200528.4986 | 2663538.05 | 1200531.833 | 2663537.3044 | 1200533.9374 | 2663535.6092 | 1200535.8539
24 | 2663430.2562 | 1200463.4145 | 2663277.5269 | 1200479.9502
25 | 2663524.8466 | 1200504.1763 | 2663507.1729 | 1200478.0842 | 2663504.0804 | 1200473.9719
26 | 2663504.0804 | 1200473.9719 | 2663492.8875 | 1200459.0878 | 2663485.139 | 1200451.0495
27 | 2663291.0477 | 1200586.8184 | 2663280.0591 | 1200577.2681 | 2663271.2832 | 1200574.9627 | 2663270.0368 | 1200574.1132
28 | 2663225.1099 | 1200544.9453 | 2663227.1131 | 1200544.8553 | 2663232.4794 | 1200548.5142 | 2663270.0368 | 1200574.1132
29 | 2663225.1099 | 1200544.9453 | 2663235.3562 | 1200560.8186 | 2663246.6624 | 1200575.8027 | 2663261.852 | 1200592.8401 | 2663271.8447 | 1200606.0426 | 2663276.5303 | 1200615.7535
30 | 2663242.4094 | 1200599.2938 | 2663269.8612 | 1200614.3488 | 2663274.0828 | 1200615.3941 | 2663276.5303 | 1200615.7535
31 | 2663472.2868 | 1200301.4534 | 2663472.2868 | 1200301.4534 | 2663479.8763 | 1200315.8536 | 2663491.8125 | 1200334.5804 | 2663501.2033 | 1200347.1098 | 2663515.5223 | 1200362.2486 | 2663519.2963 | 1200368.17 | 2663520.0051 | 1200370.0457
32 | 2663467.2706 | 1200284.9859 | 2663468.5746 | 1200289.707 | 2663472.2868 | 1200301.4534
33 | 2663467.2706 | 1200284.9859 | 2663463.8533 | 1200272.6135 | 2663462.8825 | 1200264.3872 | 2663461.9187 | 1200255.4939 | 2663462.3915 | 1200242.5134 | 2663462.4578 | 1200241.2865
34 | 2663462.4578 | 1200241.2865 | 2663463.3792 | 1200224.2382

## bus_geodata
| x | y | coords
0 | 2663456.2926 | 1200387.1617
1 | 2663488.3075 | 1200404.0115
2 | 2663435.8325 | 1200379.0751
3 | 2663499.6634 | 1200415.1093
4 | 2663432.6361 | 1200408.1639
5 | 2663525.7628 | 1200419.3996
6 | 2663448.5948 | 1200417.8355
7 | 2663183.3677 | 1200322.4591
8 | 2663187.7407 | 1200364.5404
9 | 2663134.8534 | 1200176.0286
10 | 2663184.2106 | 1200405.6304
11 | 2663538.3928 | 1200418.7029
12 | 2663479.3177 | 1200445.2998
13 | 2663228.9984 | 1200463.1476
14 | 2663190.7184 | 1200495.7303
15 | 2663463.9213 | 1200486.5501
16 | 2663476.0945 | 1200495.0172
17 | 2663450.198 | 1200477.0972
18 | 2663535.6092 | 1200535.8539
19 | 2663430.2562 | 1200463.4145
20 | 2663524.8466 | 1200504.1763
21 | 2663277.5269 | 1200479.9502
22 | 2663504.0804 | 1200473.9719
23 | 2663270.0368 | 1200574.1132
24 | 2663291.0477 | 1200586.8184
25 | 2663225.1099 | 1200544.9453
26 | 2663276.5303 | 1200615.7535
27 | 2663099.1474 | 1200427.4251
28 | 2663089.2611 | 1200602.5554
29 | 2663242.4094 | 1200599.2938
30 | 2663472.2868 | 1200301.4534
31 | 2663520.0051 | 1200370.0457
32 | 2663467.2706 | 1200284.9859
33 | 2663462.4578 | 1200241.2865
34 | 2663463.3792 | 1200224.2382
35 | 2663485.139 | 1200451.0495
36 | 2663524.8466 | 1200504.1763

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99552 | -0.031317 | 0.00083895 | 0.00021026
1 | 0.99376 | -0.043704 | 0.0081339 | 0.0020386
2 | 0.99661 | -0.023671 | 0.00068903 | 0.00017269
3 | 0.99318 | -0.047801 | 0.010735 | 0.0026905
4 | 0.99904 | -0.0067174 | 0.00075159 | 0.00018837
5 | 0.99258 | -0.051994 | 0.0095463 | 0.0023925
6 | 1 | 0 | -0.0838 | -0.020862
7 | 0.98536 | -0.10348 | 0.0015627 | 0.00039164
8 | 0.98554 | -0.10219 | 0.0010226 | 0.00025628
9 | 0.98505 | -0.10568 | 0.0013815 | 0.00034624
10 | 0.98578 | -0.1005 | 0 | 0
11 | 0.99249 | -0.052666 | 0 | 0
12 | 0.99725 | -0.019231 | 0.0063662 | 0.0015955
13 | 0.98645 | -0.095631 | 0.00048688 | 0.00012202
14 | 0.98547 | -0.10271 | 0 | 0
15 | 0.98914 | -0.076381 | 0.0035163 | 0.00088126
16 | 0.98962 | -0.072964 | 0.0045137 | 0.0011312
17 | 0.98868 | -0.079627 | 0.012253 | 0.0030709
18 | 0.99249 | -0.052615 | 0 | 0
19 | 0.98845 | -0.081313 | 0 | 0
20 | 0.9939 | -0.042727 | 0 | 0
21 | 0.98695 | -0.092032 | 0 | 0
22 | 0.99533 | -0.032693 | 0.0067522 | 0.0016923
23 | 0.98525 | -0.10431 | 0.00027294 | 6.8405e-05
24 | 0.98522 | -0.10453 | 0.00085659 | 0.00021468
25 | 0.98534 | -0.10368 | 0 | 0
26 | 0.98529 | -0.10405 | 0 | 0
27 | 0.9854 | -0.10325 | 0.00041555 | 0.00010415
28 | 0.98541 | -0.10319 | 0.00031058 | 7.7838e-05
29 | 0.98527 | -0.10422 | 0.00040916 | 0.00010254
30 | 0.99156 | -0.059221 | 0.00079381 | 0.00019895
31 | 0.9921 | -0.055414 | 0.00073833 | 0.00018504
32 | 0.99147 | -0.059862 | 0.0014869 | 0.00037265
33 | 0.99133 | -0.060842 | 0.0010391 | 0.00026043
34 | 0.99131 | -0.061039 | 0.0011358 | 0.00028466
35 | 0.99677 | -0.02254 | 0.0063671 | 0.0015957
36 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.033696 | 0.0084525 | -0.033638 | -0.0084308 | 5.7786e-05 | 2.1752e-05 | 0.050368 | 0.050368 | 0.050368 | 0.99552 | -0.031317 | 0.99376 | -0.043704 | 18.6549
1 | -0.034535 | -0.0086628 | 0.034571 | 0.0086766 | 3.6656e-05 | 1.3812e-05 | 0.051622 | 0.051622 | 0.051622 | 0.99552 | -0.031317 | 0.99661 | -0.023671 | 19.1193
2 | 0.025504 | 0.0063922 | -0.02549 | -0.0063869 | 1.446e-05 | 5.3558e-06 | 0.038189 | 0.038189 | 0.038189 | 0.99376 | -0.043704 | 0.99318 | -0.047801 | 14.1441
3 | -0.03526 | -0.0088493 | 0.035344 | 0.0088807 | 8.3182e-05 | 3.1365e-05 | 0.052651 | 0.052651 | 0.052651 | 0.99661 | -0.023671 | 0.99904 | -0.0067174 | 19.5003
4 | 0.014754 | 0.0036964 | -0.014746 | -0.0036934 | 8.5542e-06 | 2.9272e-06 | 0.022105 | 0.022105 | 0.022105 | 0.99318 | -0.047801 | 0.99258 | -0.051994 | 8.187
5 | -0.036095 | -0.009069 | 0.036129 | 0.0090818 | 3.3767e-05 | 1.2742e-05 | 0.05377 | 0.05377 | 0.05377 | 0.99904 | -0.0067174 | 1 | 0 | 19.9148
6 | 0.0051994 | 0.0013009 | -0.0051989 | -0.0013009 | 4.8175e-07 | 2.1026e-08 | 0.0077938 | 0.0077939 | 0.0077939 | 0.99258 | -0.051994 | 0.99249 | -0.052666 | 2.8866
7 | 0.046871 | 0.01178 | -0.046746 | -0.011732 | 0.00012515 | 4.7595e-05 | 0.069756 | 0.069756 | 0.069756 | 1 | 0 | 0.99725 | -0.019231 | 25.8356
8 | -0.0029446 | -0.00073607 | 0.0029451 | 0.00073574 | 5.2251e-07 | -3.3875e-07 | 0.004446 | 0.0044458 | 0.004446 | 0.98536 | -0.10348 | 0.98554 | -0.10219 | 1.6467
9 | 0.0013819 | 0.00034443 | -0.0013815 | -0.00034624 | 4.1907e-07 | -1.8031e-06 | 0.0020862 | 0.0020869 | 0.0020869 | 0.98536 | -0.10348 | 0.98505 | -0.10568 | 0.77292
10 | -0.0039677 | -0.00099202 | 0.0039686 | 0.00099185 | 9.2371e-07 | -1.7063e-07 | 0.0059898 | 0.0059896 | 0.0059898 | 0.98554 | -0.10219 | 0.98578 | -0.1005 | 2.2184
11 | -0.0062345 | -0.0015518 | 0.0062387 | 0.0015525 | 4.1459e-06 | 6.3671e-07 | 0.0094071 | 0.0094068 | 0.0094071 | 0.98578 | -0.1005 | 0.98645 | -0.095631 | 3.4841
12 | 0.0022659 | 0.00056 | -0.0022652 | -0.00056092 | 6.7559e-07 | -9.2144e-07 | 0.0034175 | 0.003418 | 0.003418 | 0.98578 | -0.1005 | 0.98547 | -0.10271 | 1.2659
13 | 0.0051989 | 0.0013009 | -0.0051969 | -0.0013008 | 1.9717e-06 | 8.6409e-08 | 0.0077939 | 0.0077941 | 0.0077941 | 0.99249 | -0.052666 | 0.9921 | -0.055414 | 2.8867
14 | 0.040379 | 0.010137 | -0.040361 | -0.01013 | 1.8548e-05 | 7.027e-06 | 0.060257 | 0.060257 | 0.060257 | 0.99725 | -0.019231 | 0.99677 | -0.02254 | 22.3174
15 | -0.0067255 | -0.0016745 | 0.0067288 | 0.0016751 | 3.3078e-06 | 6.1387e-07 | 0.010141 | 0.010141 | 0.010141 | 0.98645 | -0.095631 | 0.98695 | -0.092032 | 3.756
16 | 0.00041559 | 0.00010256 | -0.00041555 | -0.00010415 | 3.0836e-08 | -1.5884e-06 | 0.00062695 | 0.00062751 | 0.00062751 | 0.98547 | -0.10271 | 0.9854 | -0.10325 | 0.23241
17 | 0.0003106 | 7.5969e-05 | -0.00031058 | -7.7838e-05 | 2.0192e-08 | -1.8692e-06 | 0.00046833 | 0.00046899 | 0.00046899 | 0.98547 | -0.10271 | 0.98541 | -0.10319 | 0.1737
18 | 0.001539 | 0.00038239 | -0.0015388 | -0.00038308 | 2.0346e-07 | -6.9159e-07 | 0.0023227 | 0.002323 | 0.002323 | 0.98547 | -0.10271 | 0.98534 | -0.10368 | 0.86036
19 | -0.022518 | -0.0056325 | 0.022529 | 0.0056364 | 1.0615e-05 | 3.8924e-06 | 0.033871 | 0.033871 | 0.033871 | 0.98914 | -0.076381 | 0.98962 | -0.072964 | 12.545
20 | 0.019002 | 0.0047512 | -0.018993 | -0.0047481 | 8.4945e-06 | 3.0533e-06 | 0.028582 | 0.028582 | 0.028582 | 0.98914 | -0.076381 | 0.98868 | -0.079627 | 10.5858
21 | -0.027042 | -0.0067676 | 0.027119 | 0.0067959 | 7.6172e-05 | 2.8345e-05 | 0.040658 | 0.040658 | 0.040658 | 0.98962 | -0.072964 | 0.99249 | -0.052615 | 15.0586
22 | 0.0067403 | 0.0016772 | -0.0067387 | -0.0016769 | 1.5517e-06 | 2.8675e-07 | 0.01014 | 0.01014 | 0.01014 | 0.98868 | -0.079627 | 0.98845 | -0.081313 | 3.7557
23 | -0.027119 | -0.0067959 | 0.027156 | 0.0068098 | 3.7164e-05 | 1.3827e-05 | 0.040658 | 0.040658 | 0.040658 | 0.99249 | -0.052615 | 0.9939 | -0.042727 | 15.0585
24 | 0.0067387 | 0.0016769 | -0.0067288 | -0.0016751 | 9.8575e-06 | 1.8252e-06 | 0.01014 | 0.010141 | 0.010141 | 0.98845 | -0.081313 | 0.98695 | -0.092032 | 3.7559
25 | -0.027156 | -0.0068098 | 0.027194 | 0.0068238 | 3.7815e-05 | 1.4068e-05 | 0.040658 | 0.040658 | 0.040658 | 0.9939 | -0.042727 | 0.99533 | -0.032693 | 15.0584
26 | -0.033946 | -0.0085161 | 0.033994 | 0.0085341 | 4.7878e-05 | 1.8027e-05 | 0.050752 | 0.050752 | 0.050752 | 0.99533 | -0.032693 | 0.99677 | -0.02254 | 18.7971
27 | 0.00085661 | 0.00021437 | -0.00085659 | -0.00021468 | 2.6255e-08 | -3.1006e-07 | 0.0012936 | 0.0012937 | 0.0012937 | 0.98525 | -0.10431 | 0.98522 | -0.10453 | 0.47916
28 | -0.0011296 | -0.00028278 | 0.0011296 | 0.00028213 | 9.795e-08 | -6.4948e-07 | 0.0017058 | 0.0017056 | 0.0017058 | 0.98525 | -0.10431 | 0.98534 | -0.10368 | 0.63179
29 | 0.00040919 | 0.00010095 | -0.00040917 | -0.00010206 | 2.0883e-08 | -1.1096e-06 | 0.00061737 | 0.00061777 | 0.00061777 | 0.98534 | -0.10368 | 0.98529 | -0.10405 | 0.2288
30 | 0.00040917 | 0.00010206 | -0.00040916 | -0.00010254 | 9.0623e-09 | -4.8104e-07 | 0.00061777 | 0.00061794 | 0.00061794 | 0.98529 | -0.10405 | 0.98527 | -0.10422 | 0.22887
31 | -0.0044563 | -0.0011159 | 0.0044586 | 0.0011157 | 2.344e-06 | -1.8266e-07 | 0.0066871 | 0.0066867 | 0.0066871 | 0.99156 | -0.059221 | 0.9921 | -0.055414 | 2.4767
32 | 0.0036625 | 0.00091698 | -0.0036621 | -0.00091707 | 3.245e-07 | -9.7249e-08 | 0.0054959 | 0.0054959 | 0.0054959 | 0.99156 | -0.059221 | 0.99147 | -0.059862 | 2.0355
33 | 0.0021752 | 0.00054442 | -0.002175 | -0.00054488 | 2.9447e-07 | -4.5775e-07 | 0.0032644 | 0.0032646 | 0.0032646 | 0.99147 | -0.059862 | 0.99133 | -0.060842 | 1.2091
34 | 0.0011358 | 0.00028445 | -0.0011358 | -0.00028466 | 3.0965e-08 | -2.0821e-07 | 0.0017048 | 0.0017049 | 0.0017049 | 0.99133 | -0.060842 | 0.99131 | -0.061039 | 0.63144

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.089711 | 0.022343

## res_load
| p_mw | q_mvar
0 | 0.00083895 | 0.00021026
1 | 0.0081339 | 0.0020386
2 | 0.00068903 | 0.00017269
3 | 0.010735 | 0.0026905
4 | 0.00075159 | 0.00018837
5 | 0.0095463 | 0.0023925
6 | 0.005911 | 0.0014814
7 | 0.0015627 | 0.00039164
8 | 0.0010226 | 0.00025628
9 | 0.0013815 | 0.00034624
10 | 0.0063662 | 0.0015955
11 | 0.00048688 | 0.00012202
12 | 0.0035163 | 0.00088126
13 | 0.0045137 | 0.0011312
14 | 0.012253 | 0.0030709
15 | 0.0067522 | 0.0016923
16 | 0.00027294 | 6.8405e-05
17 | 0.00085659 | 0.00021468
18 | 0.00041555 | 0.00010415
19 | 0.00031058 | 7.7838e-05
20 | 0.00040916 | 0.00010254
21 | 0.00079381 | 0.00019895
22 | 0.00073833 | 0.00018504
23 | 0.0014869 | 0.00037265
24 | 0.0010391 | 0.00026043
25 | 0.0011358 | 0.00028466
26 | 0.0063671 | 0.0015957

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1