## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1401-21_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1401-21_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1401-21_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1401-21_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1401-21_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1401-21_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1401-21_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_1401-21_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_1401-21_0_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_1401-21_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_1401-21_0_4_node_52 | 0.4 | n |  | TRUE
11 | bus_LV_1401-21_0_4_node_53 | 0.4 | n |  | TRUE
12 | bus_LV_1401-21_0_4_node_51 | 0.4 | n |  | TRUE
13 | bus_LV_1401-21_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1401-21_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1401-21_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1401-21_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_1401-21_0_4_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_1401-21_0_4_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_1401-21_0_4_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_1401-21_0_4_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_1401-21_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1401-21_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_1401-21_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_1401-21_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_1401-21_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_1401-21_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_1401-21_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_1401-21_0_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_1401-21_0_4_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_1401-21_0_4_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_1401-21_0_4_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_1401-21_0_4_node_59 | 0.4 | n |  | TRUE
33 | bus_LV_1401-21_0_4_node_58 | 0.4 | n |  | TRUE
34 | bus_LV_1401-21_0_4_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_1401-21_0_4_node_54 | 0.4 | n |  | TRUE
36 | bus_LV_1401-21_0_4_node_55 | 0.4 | n |  | TRUE
37 | bus_LV_1401-21_0_4_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_1401-21_0_4_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_1401-21_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_1401-21_0_4_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_1401-21_0_4_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_1401-21_0_4_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_1401-21_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_1401-21_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_1401-21_0_4_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_1401-21_0_4_node_62 | 0.4 | n |  | TRUE
47 | bus_LV_1401-21_0_4_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_1401-21_0_4_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_1401-21_0_4_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_1401-21_0_4_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_1401-21_0_4_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_1401-21_0_4_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_1401-21_0_4_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_1401-21_0_4_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_1401-21_0_4_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_1401-21_0_4_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_1401-21_0_4_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_1401-21_0_4_node_57 | 0.4 | n |  | TRUE
59 | bus_MV_136_0_node_229 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1401-21_0_4_load_0 | 0 | 0.00036865 | 9.2394e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1401-21_0_4_load_3 | 2 | 0.00035572 | 8.9153e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1401-21_0_4_load_4 | 3 | 0.00035628 | 8.9293e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1401-21_0_4_load_5 | 4 | 0.000509 | 0.00012757 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1401-21_0_4_load_6 | 5 | 0.00019667 | 4.929e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1401-21_0_4_load_8 | 7 | 0.0015849 | 0.0003972 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1401-21_0_4_load_9 | 8 | 0.0012625 | 0.00031642 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1401-21_0_4_load_10 | 9 | 0.0013827 | 0.00034655 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1401-21_0_4_load_53 | 11 | 0.0019919 | 0.00049922 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1401-21_0_4_load_51 | 12 | 0.010001 | 0.0025066 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1401-21_0_4_load_11 | 13 | 0.020571 | 0.0051555 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1401-21_0_4_load_12 | 14 | 0.0078124 | 0.001958 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1401-21_0_4_load_13 | 15 | 0.020571 | 0.0051555 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1401-21_0_4_load_14 | 16 | 0.0076647 | 0.001921 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1401-21_0_4_load_25 | 20 | 0.0079058 | 0.0019814 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1401-21_0_4_load_17 | 21 | 0.0031654 | 0.00079331 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1401-21_0_4_load_20 | 24 | 0.0032485 | 0.00081414 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1401-21_0_4_load_21 | 25 | 0.0047909 | 0.0012007 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1401-21_0_4_load_22 | 26 | 0.005015 | 0.0012569 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1401-21_0_4_load_23 | 27 | 0.0040984 | 0.0010272 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1401-21_0_4_load_24 | 28 | 0.0080042 | 0.002006 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1401-21_0_4_load_27 | 29 | 0.0041854 | 0.001049 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1401-21_0_4_load_30 | 30 | 0.003551 | 0.00088997 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1401-21_0_4_load_28 | 31 | 0.0077722 | 0.0019479 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1401-21_0_4_load_59 | 32 | 0.0072971 | 0.0018288 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1401-21_0_4_load_58 | 33 | 0.0029501 | 0.00073936 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1401-21_0_4_load_55 | 36 | 0.0016397 | 0.00041094 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1401-21_0_4_load_33 | 38 | 0.0062737 | 0.0015723 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1401-21_0_4_load_34 | 39 | 0.0073231 | 0.0018353 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1401-21_0_4_load_37 | 42 | 0.0025005 | 0.00062669 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1401-21_0_4_load_38 | 43 | 0.0060411 | 0.001514 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1401-21_0_4_load_41 | 45 | 0.0056773 | 0.0014229 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1401-21_0_4_load_62 | 46 | 0.0048191 | 0.0012078 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1401-21_0_4_load_42 | 47 | 0.0056006 | 0.0014037 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1401-21_0_4_load_44 | 48 | 0.0030027 | 0.00075254 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1401-21_0_4_load_43 | 50 | 0.0045352 | 0.0011366 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1401-21_0_4_load_48 | 51 | 0.0048418 | 0.0012135 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1401-21_0_4_load_49 | 52 | 0.0024634 | 0.00061739 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1401-21_0_4_load_46 | 53 | 0.0065462 | 0.0016406 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1401-21_0_4_load_50 | 54 | 0.0051051 | 0.0012795 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1401-21_0_4_load_60 | 55 | 0.0093296 | 0.0023382 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1401-21_0_4_load_61 | 56 | 0.013124 | 0.0032892 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1401-21_0_4_load_56 | 57 | 0.0091156 | 0.0022846 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1401-21_0_4_load_57 | 58 | 0.0014039 | 0.00035185 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1401-21_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.033701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1401-21_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.015439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1401-21_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.065149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1401-21_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.01758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1401-21_0_4_line_4 | NAYY 4x150 SE | 4 | 5 | 8.6399e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1401-21_0_4_line_5 | NAYY 4x150 SE | 5 | 6 | 0.027324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1401-21_0_4_line_6 | NAYY 4x150 SE | 6 | 7 | 0.01648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1401-21_0_4_line_7 | NAYY 4x150 SE | 7 | 8 | 0.13962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1401-21_0_4_line_8 | NAYY 4x150 SE | 8 | 9 | 0.023127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1401-21_0_4_line_9 | NAYY 4x150 SE | 9 | 10 | 0.015962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1401-21_0_4_line_10 | NAYY 4x150 SE | 10 | 11 | 0.030953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1401-21_0_4_line_11 | NAYY 4x150 SE | 10 | 12 | 0.038886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1401-21_0_4_line_12 | NAYY 4x150 SE | 11 | 35 | 0.016397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1401-21_0_4_line_13 | NAYY 4x150 SE | 13 | 14 | 0.015695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1401-21_0_4_line_14 | NAYY 4x150 SE | 13 | 15 | 0.00081591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1401-21_0_4_line_15 | NAYY 4x150 SE | 14 | 16 | 0.029799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1401-21_0_4_line_16 | NAYY 4x150 SE | 16 | 17 | 0.015896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1401-21_0_4_line_17 | NAYY 4x150 SE | 17 | 18 | 0.04396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1401-21_0_4_line_18 | NAYY 4x150 SE | 18 | 19 | 0.062254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_1401-21_0_4_line_19 | NAYY 4x150 SE | 18 | 20 | 0.016768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1401-21_0_4_line_20 | NAYY 4x150 SE | 19 | 32 | 0.016827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1401-21_0_4_line_21 | NAYY 4x150 SE | 20 | 28 | 0.0033782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1401-21_0_4_line_22 | NAYY 4x150 SE | 21 | 22 | 0.012315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1401-21_0_4_line_23 | NAYY 4x150 SE | 21 | 23 | 0.034476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1401-21_0_4_line_24 | NAYY 4x150 SE | 22 | 24 | 0.016247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1401-21_0_4_line_25 | NAYY 4x150 SE | 22 | 25 | 0.017246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1401-21_0_4_line_26 | NAYY 4x150 SE | 23 | 26 | 0.025744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1401-21_0_4_line_27 | NAYY 4x150 SE | 23 | 27 | 0.012992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1401-21_0_4_line_28 | NAYY 4x150 SE | 24 | 28 | 0.017585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1401-21_0_4_line_29 | NAYY 4x150 SE | 25 | 29 | 0.0011366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1401-21_0_4_line_30 | NAYY 4x150 SE | 27 | 30 | 0.00014161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1401-21_0_4_line_31 | NAYY 4x150 SE | 29 | 31 | 0.021301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1401-21_0_4_line_32 | NAYY 4x150 SE | 32 | 33 | 0.063062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_1401-21_0_4_line_33 | NAYY 4x150 SE | 33 | 34 | 0.085119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_1401-21_0_4_line_34 | NAYY 4x150 SE | 34 | 35 | 0.031482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_1401-21_0_4_line_35 | NAYY 4x150 SE | 35 | 36 | 0.020239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1401-21_0_4_line_36 | NAYY 4x150 SE | 35 | 37 | 0.063959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1401-21_0_4_line_37 | NAYY 4x150 SE | 36 | 57 | 0.026548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1401-21_0_4_line_38 | NAYY 4x150 SE | 37 | 55 | 0.017142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1401-21_0_4_line_39 | NAYY 4x150 SE | 37 | 49 | 0.030261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1401-21_0_4_line_40 | NAYY 4x150 SE | 38 | 39 | 0.012779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1401-21_0_4_line_41 | NAYY 4x150 SE | 38 | 40 | 0.0056789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1401-21_0_4_line_42 | NAYY 4x150 SE | 39 | 41 | 0.016635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1401-21_0_4_line_43 | NAYY 4x150 SE | 40 | 42 | 0.014834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1401-21_0_4_line_44 | NAYY 4x150 SE | 40 | 43 | 0.03043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1401-21_0_4_line_45 | NAYY 4x150 SE | 41 | 44 | 0.029301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1401-21_0_4_line_46 | NAYY 4x150 SE | 42 | 45 | 0.0060833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1401-21_0_4_line_47 | NAYY 4x150 SE | 44 | 46 | 0.016459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1401-21_0_4_line_48 | NAYY 4x150 SE | 45 | 47 | 0.012023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1401-21_0_4_line_49 | NAYY 4x150 SE | 47 | 50 | 0.014366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1401-21_0_4_line_50 | NAYY 4x150 SE | 48 | 49 | 0.053608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1401-21_0_4_line_51 | NAYY 4x150 SE | 49 | 53 | 0.030766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1401-21_0_4_line_52 | NAYY 4x150 SE | 50 | 51 | 0.0081961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1401-21_0_4_line_53 | NAYY 4x150 SE | 51 | 52 | 0.012265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1401-21_0_4_line_54 | NAYY 4x150 SE | 52 | 54 | 0.010486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1401-21_0_4_line_55 | NAYY 4x150 SE | 53 | 54 | 0.0097816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1401-21_0_4_line_56 | NAYY 4x150 SE | 55 | 56 | 0.012481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1401-21_0_4_line_57 | NAYY 4x150 SE | 57 | 58 | 0.037967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1401-21_0_4_trafo_32 | 0.25 MVA 20/0.4 kV | 59 | 34 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2663394.5693 | 1199715.4596 | 2663388.6806 | 1199729.4055 | 2663382.3129 | 1199746.8415
1 | 2663394.5693 | 1199715.4596 | 2663396.9559 | 1199709.3925 | 2663400.5352 | 1199706.4509 | 2663404.3805 | 1199704.5563
2 | 2663404.3805 | 1199704.5563 | 2663441.2002 | 1199686.4148 | 2663462.9156 | 1199675.9568
3 | 2663478.7543 | 1199668.3289 | 2663462.9156 | 1199675.9568
4 | 2663478.7543 | 1199668.3289 | 2663478.8321 | 1199668.2915
5 | 2663503.4498 | 1199656.4357 | 2663478.8321 | 1199668.2915
6 | 2663503.4498 | 1199656.4357 | 2663497.6086 | 1199641.0257
7 | 2663497.6086 | 1199641.0257 | 2663483.4824 | 1199603.7591 | 2663470.7424 | 1199562.3549 | 2663462.3388 | 1199527.723 | 2663458.6307 | 1199507.2505
8 | 2663454.5314 | 1199484.4893 | 2663456.1246 | 1199493.4146 | 2663458.6307 | 1199507.2505
9 | 2663451.7264 | 1199468.7755 | 2663454.5314 | 1199484.4893
10 | 2663451.7264 | 1199468.7755 | 2663447.4078 | 1199438.1251
11 | 2663451.7264 | 1199468.7755 | 2663413.1579 | 1199473.7336
12 | 2663445.1202 | 1199421.8888 | 2663447.4078 | 1199438.1251
13 | 2663591.0641 | 1199288.2147 | 2663591.8162 | 1199289.4244 | 2663593.8806 | 1199290.7693 | 2663605.5508 | 1199292.5629
14 | 2663590.6333 | 1199287.5218 | 2663591.0641 | 1199288.2147
15 | 2663626.563 | 1199310.5577 | 2663623.6943 | 1199309.7533 | 2663621.0588 | 1199308.4133 | 2663620.0123 | 1199306.5789 | 2663616.6831 | 1199298.8722 | 2663614.1945 | 1199295.8884 | 2663611.9444 | 1199294.1079 | 2663608.8032 | 1199293.0627 | 2663605.5508 | 1199292.5629
16 | 2663641.8687 | 1199314.8497 | 2663626.563 | 1199310.5577
17 | 2663626.6274 | 1199356.0896 | 2663641.8687 | 1199314.8497
18 | 2663602.6071 | 1199413.0678 | 2663604.5844 | 1199411.1433 | 2663608.3579 | 1199405.7135 | 2663612.123 | 1199396.0701 | 2663625.1682 | 1199360.121 | 2663626.6274 | 1199356.0896
19 | 2663626.6274 | 1199356.0896 | 2663610.2555 | 1199352.4687
20 | 2663602.6071 | 1199413.0678 | 2663595.4488 | 1199416.0156 | 2663588.509 | 1199416.3198 | 2663586.4015 | 1199415.9541
21 | 2663610.2555 | 1199352.4687 | 2663606.957 | 1199351.7392
22 | 2663573.9235 | 1199344.4333 | 2663561.8995 | 1199341.7714
23 | 2663528.2387 | 1199334.3196 | 2663561.8995 | 1199341.7714
24 | 2663573.9235 | 1199344.4333 | 2663589.7872 | 1199347.9418
25 | 2663573.9235 | 1199344.4333 | 2663570.6296 | 1199361.362
26 | 2663528.2387 | 1199334.3196 | 2663523.6011 | 1199359.6428
27 | 2663528.2387 | 1199334.3196 | 2663515.5527 | 1199331.5145
28 | 2663589.7872 | 1199347.9418 | 2663606.957 | 1199351.7392
29 | 2663570.4125 | 1199362.4777 | 2663570.6296 | 1199361.362
30 | 2663515.5527 | 1199331.5145 | 2663515.4145 | 1199331.4839
31 | 2663566.3441 | 1199383.3869 | 2663570.4125 | 1199362.4777
32 | 2663524.7173 | 1199402.908 | 2663571.515 | 1199413.3707 | 2663586.4015 | 1199415.9541
33 | 2663440.9284 | 1199390.7037 | 2663447.5333 | 1199389.6732 | 2663453.0162 | 1199389.6091 | 2663471.7084 | 1199393.2652 | 2663505.2082 | 1199398.5462 | 2663524.7173 | 1199402.908
34 | 2663445.1202 | 1199421.8888 | 2663444.3053 | 1199416.1657 | 2663441.6027 | 1199393.8905 | 2663440.9284 | 1199390.7037
35 | 2663445.1202 | 1199421.8888 | 2663464.9878 | 1199425.7489
36 | 2663381.8758 | 1199411.2007 | 2663445.1202 | 1199421.8888
37 | 2663464.9878 | 1199425.7489 | 2663491.0481 | 1199430.8121
38 | 2663381.8758 | 1199411.2007 | 2663379.1452 | 1199428.1239
39 | 2663381.8758 | 1199411.2007 | 2663352.146 | 1199405.1154
40 | 2663251.9718 | 1199436.0932 | 2663241.8378 | 1199434.7208 | 2663239.2934 | 1199434.5189
41 | 2663257.5994 | 1199436.8554 | 2663251.9718 | 1199436.0932
42 | 2663222.7031 | 1199433.3065 | 2663229.3839 | 1199433.7329 | 2663239.2934 | 1199434.5189
43 | 2663257.5994 | 1199436.8554 | 2663272.2999 | 1199438.8428
44 | 2663262.2425 | 1199406.7868 | 2663257.5994 | 1199436.8554
45 | 2663217.7812 | 1199404.8154 | 2663217.3088 | 1199408.4458 | 2663223.0122 | 1199429.2851 | 2663222.7031 | 1199433.3065
46 | 2663278.3284 | 1199439.6578 | 2663272.2999 | 1199438.8428
47 | 2663234.0621 | 1199407.5336 | 2663217.7812 | 1199404.8154
48 | 2663278.3284 | 1199439.6578 | 2663290.2429 | 1199441.2685
49 | 2663304.4795 | 1199443.1932 | 2663290.2429 | 1199441.2685
50 | 2663352.146 | 1199405.1154 | 2663299.7318 | 1199393.8629
51 | 2663352.146 | 1199405.1154 | 2663351.5089 | 1199408.4662 | 2663338.1277 | 1199432.3246
52 | 2663304.4795 | 1199443.1932 | 2663312.6017 | 1199444.2912
53 | 2663312.6017 | 1199444.2912 | 2663323.0028 | 1199445.6973 | 2663324.772 | 1199445.6854
54 | 2663324.772 | 1199445.6854 | 2663326.8482 | 1199445.6714 | 2663329.4839 | 1199444.8432 | 2663332.3862 | 1199442.5615 | 2663333.3428 | 1199440.8559
55 | 2663338.1277 | 1199432.3246 | 2663333.3428 | 1199440.8559
56 | 2663377.1571 | 1199440.4457 | 2663379.1452 | 1199428.1239
57 | 2663528.191 | 1199438.6599 | 2663508.013 | 1199434.1082 | 2663491.0481 | 1199430.8121

## bus_geodata
| x | y | coords
0 | 2663382.3129 | 1199746.8415
1 | 2663394.5693 | 1199715.4596
2 | 2663404.3805 | 1199704.5563
3 | 2663462.9156 | 1199675.9568
4 | 2663478.7543 | 1199668.3289
5 | 2663478.8321 | 1199668.2915
6 | 2663503.4498 | 1199656.4357
7 | 2663497.6086 | 1199641.0257
8 | 2663458.6307 | 1199507.2505
9 | 2663454.5314 | 1199484.4893
10 | 2663451.7264 | 1199468.7755
11 | 2663447.4078 | 1199438.1251
12 | 2663413.1579 | 1199473.7336
13 | 2663591.0641 | 1199288.2147
14 | 2663605.5508 | 1199292.5629
15 | 2663590.6333 | 1199287.5218
16 | 2663626.563 | 1199310.5577
17 | 2663641.8687 | 1199314.8497
18 | 2663626.6274 | 1199356.0896
19 | 2663602.6071 | 1199413.0678
20 | 2663610.2555 | 1199352.4687
21 | 2663561.8995 | 1199341.7714
22 | 2663573.9235 | 1199344.4333
23 | 2663528.2387 | 1199334.3196
24 | 2663589.7872 | 1199347.9418
25 | 2663570.6296 | 1199361.362
26 | 2663523.6011 | 1199359.6428
27 | 2663515.5527 | 1199331.5145
28 | 2663606.957 | 1199351.7392
29 | 2663570.4125 | 1199362.4777
30 | 2663515.4145 | 1199331.4839
31 | 2663566.3441 | 1199383.3869
32 | 2663586.4015 | 1199415.954
33 | 2663524.7173 | 1199402.908
34 | 2663440.9284 | 1199390.7037
35 | 2663445.1202 | 1199421.8888
36 | 2663464.9878 | 1199425.7489
37 | 2663381.8758 | 1199411.2007
38 | 2663251.9718 | 1199436.0932
39 | 2663239.2934 | 1199434.5189
40 | 2663257.5994 | 1199436.8554
41 | 2663222.7031 | 1199433.3065
42 | 2663272.2999 | 1199438.8428
43 | 2663262.2425 | 1199406.7868
44 | 2663217.7812 | 1199404.8154
45 | 2663278.3284 | 1199439.6578
46 | 2663234.0621 | 1199407.5336
47 | 2663290.2429 | 1199441.2685
48 | 2663299.7318 | 1199393.8629
49 | 2663352.146 | 1199405.1154
50 | 2663304.4795 | 1199443.1932
51 | 2663312.6017 | 1199444.2912
52 | 2663324.772 | 1199445.6854
53 | 2663338.1277 | 1199432.3246
54 | 2663333.3428 | 1199440.8559
55 | 2663379.1452 | 1199428.1239
56 | 2663377.1571 | 1199440.4457
57 | 2663491.0481 | 1199430.8121
58 | 2663528.191 | 1199438.6599
59 | 2663438.8517 | 1199384.7782

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.995 | -0.034951 | 0.00036865 | 9.2394e-05
1 | 0.99502 | -0.034825 | 0 | 0
2 | 0.99502 | -0.034767 | 0.00035572 | 8.9153e-05
3 | 0.99509 | -0.034286 | 0.00035628 | 8.9293e-05
4 | 0.99512 | -0.034092 | 0.000509 | 0.00012757
5 | 0.99512 | -0.034091 | 0.00019667 | 4.929e-05
6 | 0.99519 | -0.033595 | 0 | 0
7 | 0.99523 | -0.033296 | 0.0015849 | 0.0003972
8 | 0.99591 | -0.028523 | 0.0012625 | 0.00031642
9 | 0.99606 | -0.027437 | 0.0013827 | 0.00034655
10 | 0.9962 | -0.026466 | 0 | 0
11 | 0.99691 | -0.021471 | 0.0019919 | 0.00049922
12 | 0.99564 | -0.03038 | 0.010001 | 0.0025066
13 | 0.973 | -0.18953 | 0.020571 | 0.0051555
14 | 0.97395 | -0.18273 | 0.0078124 | 0.001958
15 | 0.97298 | -0.18971 | 0.020571 | 0.0051555
16 | 0.97609 | -0.16741 | 0.0076647 | 0.001921
17 | 0.9774 | -0.158 | 0 | 0
18 | 0.98105 | -0.13209 | 0 | 0
19 | 0.98598 | -0.097279 | 0 | 0
20 | 0.97978 | -0.1411 | 0.0079058 | 0.0019814
21 | 0.97759 | -0.15676 | 0.0031654 | 0.00079331
22 | 0.97788 | -0.15472 | 0 | 0
23 | 0.97696 | -0.16132 | 0 | 0
24 | 0.97865 | -0.1492 | 0.0032485 | 0.00081414
25 | 0.97746 | -0.15774 | 0.0047909 | 0.0012007
26 | 0.97677 | -0.16267 | 0.005015 | 0.0012569
27 | 0.97681 | -0.16236 | 0.0040984 | 0.0010272
28 | 0.97957 | -0.14264 | 0.0080042 | 0.002006
29 | 0.97744 | -0.15788 | 0.0041854 | 0.001049
30 | 0.97681 | -0.16237 | 0.003551 | 0.00088997
31 | 0.9772 | -0.15961 | 0.0077722 | 0.0019479
32 | 0.98731 | -0.087929 | 0.0072971 | 0.0018288
33 | 0.99263 | -0.050778 | 0.0029501 | 0.00073936
34 | 1 | 0 | -0.24111 | -0.06079
35 | 0.99733 | -0.0185 | 0 | 0
36 | 0.99698 | -0.020972 | 0.0016397 | 0.00041094
37 | 0.98924 | -0.074931 | 0 | 0
38 | 0.97843 | -0.15158 | 0.0062737 | 0.0015723
39 | 0.9782 | -0.15319 | 0.0073231 | 0.0018353
40 | 0.97858 | -0.15049 | 0 | 0
41 | 0.97808 | -0.15403 | 0 | 0
42 | 0.97911 | -0.1467 | 0.0025005 | 0.00062669
43 | 0.97831 | -0.1524 | 0.0060411 | 0.001514
44 | 0.97788 | -0.15551 | 0 | 0
45 | 0.97935 | -0.145 | 0.0056773 | 0.0014229
46 | 0.97776 | -0.15633 | 0.0048191 | 0.0012078
47 | 0.97992 | -0.14091 | 0.0056006 | 0.0014037
48 | 0.98616 | -0.096627 | 0.0030027 | 0.00075254
49 | 0.98639 | -0.094975 | 0 | 0
50 | 0.98072 | -0.13521 | 0.0045352 | 0.0011366
51 | 0.98123 | -0.13157 | 0.0048418 | 0.0012135
52 | 0.98208 | -0.12552 | 0.0024634 | 0.00061739
53 | 0.98363 | -0.11452 | 0.0065462 | 0.0016406
54 | 0.98284 | -0.12009 | 0.0051051 | 0.0012795
55 | 0.98868 | -0.078859 | 0.0093296 | 0.0023382
56 | 0.98845 | -0.080532 | 0.013124 | 0.0032892
57 | 0.99658 | -0.023778 | 0.0091156 | 0.0022846
58 | 0.9965 | -0.024315 | 0.0014039 | 0.00035185
59 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00036865 | -9.2394e-05 | 0.00036866 | 9.1958e-05 | 6.3901e-09 | -4.3527e-07 | 0.00055132 | 0.00055117 | 0.00055132 | 0.995 | -0.034951 | 0.99502 | -0.034825 | 0.20419
1 | -0.00036866 | -9.1958e-05 | 0.00036866 | 9.1759e-05 | 2.9263e-09 | -1.9942e-07 | 0.00055117 | 0.0005511 | 0.00055117 | 0.99502 | -0.034825 | 0.99502 | -0.034767 | 0.20414
2 | -0.00072439 | -0.00018091 | 0.00072443 | 0.00018008 | 4.7674e-08 | -8.2794e-07 | 0.0010831 | 0.0010828 | 0.0010831 | 0.99502 | -0.034767 | 0.99509 | -0.034286 | 0.40114
3 | -0.0010807 | -0.00026938 | 0.0010807 | 0.00026916 | 2.8629e-08 | -2.1737e-07 | 0.0016155 | 0.0016155 | 0.0016155 | 0.99509 | -0.034286 | 0.99512 | -0.034092 | 0.59835
4 | -0.0015897 | -0.00039673 | 0.0015897 | 0.00039673 | 3.0384e-10 | -1.0047e-09 | 0.0023766 | 0.0023766 | 0.0023766 | 0.99512 | -0.034092 | 0.99512 | -0.034091 | 0.88021
5 | -0.0017864 | -0.00044602 | 0.0017865 | 0.00044571 | 1.216e-07 | -3.0823e-07 | 0.0026707 | 0.0026705 | 0.0026707 | 0.99512 | -0.034091 | 0.99519 | -0.033595 | 0.98913
6 | -0.0017865 | -0.00044571 | 0.0017866 | 0.00044552 | 7.3337e-08 | -1.8593e-07 | 0.0026705 | 0.0026705 | 0.0026705 | 0.99519 | -0.033595 | 0.99523 | -0.033296 | 0.98908
7 | -0.0033715 | -0.00084273 | 0.0033737 | 0.00084176 | 2.2128e-06 | -9.6441e-07 | 0.0050401 | 0.0050394 | 0.0050401 | 0.99523 | -0.033296 | 0.99591 | -0.028523 | 1.8667
8 | -0.0046362 | -0.0011582 | 0.0046369 | 0.0011582 | 6.9223e-07 | -3.4741e-08 | 0.0069258 | 0.0069257 | 0.0069258 | 0.99591 | -0.028523 | 0.99606 | -0.027437 | 2.5651
9 | -0.0060197 | -0.0015047 | 0.0060205 | 0.0015048 | 8.0525e-07 | 1.0192e-07 | 0.0089914 | 0.0089913 | 0.0089914 | 0.99606 | -0.027437 | 0.9962 | -0.026466 | 3.3302
10 | -0.016027 | -0.0040129 | 0.016038 | 0.0040168 | 1.1068e-05 | 3.8537e-06 | 0.023938 | 0.023938 | 0.023938 | 0.9962 | -0.026466 | 0.99691 | -0.021471 | 8.8661
11 | 0.010007 | 0.0025081 | -0.010001 | -0.0025066 | 5.4212e-06 | 1.5791e-06 | 0.014947 | 0.014947 | 0.014947 | 0.9962 | -0.026466 | 0.99564 | -0.03038 | 5.536
12 | -0.01803 | -0.004516 | 0.018038 | 0.0045187 | 7.4099e-06 | 2.6361e-06 | 0.026912 | 0.026911 | 0.026912 | 0.99691 | -0.021471 | 0.99733 | -0.0185 | 9.9672
13 | -0.041142 | -0.010311 | 0.041181 | 0.010326 | 3.8772e-05 | 1.4717e-05 | 0.062918 | 0.062918 | 0.062918 | 0.973 | -0.18953 | 0.97395 | -0.18273 | 23.3031
14 | 0.020571 | 0.0051557 | -0.020571 | -0.0051555 | 5.0389e-07 | 1.8367e-07 | 0.03146 | 0.03146 | 0.03146 | 0.973 | -0.18953 | 0.97298 | -0.18971 | 11.6517
15 | -0.048993 | -0.012284 | 0.049097 | 0.012324 | 0.00010419 | 3.97e-05 | 0.074854 | 0.074854 | 0.074854 | 0.97395 | -0.18273 | 0.97609 | -0.16741 | 27.7238
16 | -0.056762 | -0.014245 | 0.056836 | 0.014273 | 7.4284e-05 | 2.8372e-05 | 0.086539 | 0.086539 | 0.086539 | 0.97609 | -0.16741 | 0.9774 | -0.158 | 32.0514
17 | -0.056836 | -0.014273 | 0.057042 | 0.014351 | 0.00020543 | 7.8458e-05 | 0.086539 | 0.086539 | 0.086539 | 0.9774 | -0.158 | 0.98105 | -0.13209 | 32.0514
18 | -0.10893 | -0.027375 | 0.10946 | 0.027578 | 0.00053042 | 0.00020243 | 0.16525 | 0.16525 | 0.16525 | 0.98105 | -0.13209 | 0.98598 | -0.097279 | 30.6025
19 | 0.051892 | 0.013024 | -0.051827 | -0.012999 | 6.4829e-05 | 2.4723e-05 | 0.078715 | 0.078715 | 0.078715 | 0.98105 | -0.13209 | 0.97978 | -0.1411 | 29.1537
20 | -0.10946 | -0.027578 | 0.10961 | 0.027633 | 0.00014337 | 5.4712e-05 | 0.16525 | 0.16525 | 0.16525 | 0.98598 | -0.097279 | 0.98731 | -0.087929 | 30.6024
21 | 0.043922 | 0.011018 | -0.043912 | -0.011014 | 9.3804e-06 | 3.5653e-06 | 0.066708 | 0.066708 | 0.066708 | 0.97978 | -0.1411 | 0.97957 | -0.14264 | 24.7067
22 | -0.01584 | -0.0039703 | 0.015844 | 0.0039718 | 4.4671e-06 | 1.5637e-06 | 0.02411 | 0.02411 | 0.02411 | 0.97759 | -0.15676 | 0.97788 | -0.15472 | 8.9298
23 | 0.012675 | 0.003177 | -0.012667 | -0.0031743 | 8.007e-06 | 2.6476e-06 | 0.019292 | 0.019292 | 0.019292 | 0.97759 | -0.15676 | 0.97696 | -0.16132 | 7.1454
24 | -0.032602 | -0.0081724 | 0.032627 | 0.0081818 | 2.4952e-05 | 9.3928e-06 | 0.04961 | 0.04961 | 0.04961 | 0.97788 | -0.15472 | 0.97865 | -0.1492 | 18.3742
25 | 0.016758 | 0.0042006 | -0.016751 | -0.0041981 | 6.9978e-06 | 2.4752e-06 | 0.0255 | 0.0255 | 0.0255 | 0.97788 | -0.15472 | 0.97746 | -0.15774 | 9.4445
26 | 0.005016 | 0.0012569 | -0.005015 | -0.0012569 | 9.3765e-07 | 3.8333e-08 | 0.0076398 | 0.0076399 | 0.0076399 | 0.97696 | -0.16132 | 0.97677 | -0.16267 | 2.8296
27 | 0.0076506 | 0.0019174 | -0.0076494 | -0.0019171 | 1.1008e-06 | 2.6074e-07 | 0.011653 | 0.011653 | 0.011653 | 0.97696 | -0.16132 | 0.97681 | -0.16236 | 4.3158
28 | -0.035875 | -0.0089959 | 0.035908 | 0.0090083 | 3.2651e-05 | 1.2337e-05 | 0.054549 | 0.054549 | 0.054549 | 0.97865 | -0.1492 | 0.97957 | -0.14264 | 20.2035
29 | 0.01196 | 0.0029974 | -0.011959 | -0.0029973 | 2.3509e-07 | 7.6175e-08 | 0.018207 | 0.018207 | 0.018207 | 0.97746 | -0.15774 | 0.97744 | -0.15788 | 6.7432
30 | 0.003551 | 0.00088997 | -0.003551 | -0.00088997 | 2.5859e-09 | -7.779e-10 | 0.0054094 | 0.0054094 | 0.0054094 | 0.97681 | -0.16236 | 0.97681 | -0.16237 | 2.0035
31 | 0.0077741 | 0.0019484 | -0.0077722 | -0.0019479 | 1.8618e-06 | 4.4915e-07 | 0.011835 | 0.011835 | 0.011835 | 0.97744 | -0.15788 | 0.9772 | -0.15961 | 4.3834
32 | -0.1169 | -0.029461 | 0.11752 | 0.029695 | 0.0006112 | 0.00023345 | 0.17625 | 0.17625 | 0.17625 | 0.98731 | -0.087929 | 0.99263 | -0.050778 | 32.6389
33 | -0.12047 | -0.030434 | 0.12133 | 0.030765 | 0.00086688 | 0.0003312 | 0.18067 | 0.18067 | 0.18067 | 0.99263 | -0.050778 | 1 | 0 | 33.4578
34 | 0.11898 | 0.030024 | -0.11867 | -0.029906 | 0.00030813 | 0.00011769 | 0.17712 | 0.17712 | 0.17712 | 1 | 0 | 0.99733 | -0.0185 | 32.7992
35 | 0.012168 | 0.0030495 | -0.012163 | -0.0030482 | 4.1622e-06 | 1.3368e-06 | 0.018154 | 0.018154 | 0.018154 | 0.99733 | -0.0185 | 0.99698 | -0.020972 | 6.7237
36 | 0.088466 | 0.022338 | -0.08777 | -0.022071 | 0.00069593 | 0.00026684 | 0.13205 | 0.13205 | 0.13205 | 0.99733 | -0.0185 | 0.98924 | -0.074931 | 48.9076
37 | 0.010524 | 0.0026372 | -0.01052 | -0.002636 | 4.0869e-06 | 1.2258e-06 | 0.015707 | 0.015707 | 0.015707 | 0.99698 | -0.020972 | 0.99658 | -0.023778 | 5.8174
38 | 0.022469 | 0.0056329 | -0.022457 | -0.0056284 | 1.2219e-05 | 4.4797e-06 | 0.033798 | 0.033798 | 0.033798 | 0.98924 | -0.074931 | 0.98868 | -0.078859 | 12.5179
39 | 0.065301 | 0.016439 | -0.065119 | -0.016369 | 0.00018229 | 6.9723e-05 | 0.098252 | 0.098252 | 0.098252 | 0.98924 | -0.074931 | 0.98639 | -0.094975 | 36.3898
40 | 0.012147 | 0.003044 | -0.012144 | -0.0030432 | 2.7213e-06 | 8.8619e-07 | 0.018473 | 0.018474 | 0.018474 | 0.97843 | -0.15158 | 0.9782 | -0.15319 | 6.842
41 | -0.018421 | -0.0046164 | 0.018424 | 0.0046174 | 2.7812e-06 | 9.9834e-07 | 0.028015 | 0.028015 | 0.028015 | 0.97843 | -0.15158 | 0.97858 | -0.15049 | 10.3758
42 | 0.0048212 | 0.0012078 | -0.0048207 | -0.0012078 | 5.583e-07 | 5.9256e-09 | 0.0073337 | 0.0073338 | 0.0073338 | 0.9782 | -0.15319 | 0.97808 | -0.15403 | 2.7162
43 | -0.024466 | -0.0061317 | 0.024479 | 0.0061364 | 1.2812e-05 | 4.7411e-06 | 0.037203 | 0.037203 | 0.037203 | 0.97858 | -0.15049 | 0.97911 | -0.1467 | 13.7789
44 | 0.0060427 | 0.0015143 | -0.0060411 | -0.001514 | 1.6031e-06 | 2.344e-07 | 0.0091884 | 0.0091885 | 0.0091885 | 0.97858 | -0.15049 | 0.97831 | -0.1524 | 3.4032
45 | 0.0048207 | 0.0012078 | -0.0048197 | -0.0012078 | 9.8341e-07 | 1.0569e-08 | 0.0073338 | 0.0073339 | 0.0073339 | 0.97808 | -0.15403 | 0.97788 | -0.15551 | 2.7163
46 | -0.02698 | -0.0067631 | 0.026986 | 0.0067655 | 6.382e-06 | 2.3781e-06 | 0.041003 | 0.041003 | 0.041003 | 0.97911 | -0.1467 | 0.97935 | -0.145 | 15.1864
47 | 0.0048197 | 0.0012078 | -0.0048191 | -0.0012078 | 5.5242e-07 | 6.0109e-09 | 0.0073339 | 0.007334 | 0.007334 | 0.97788 | -0.15551 | 0.97776 | -0.15633 | 2.7163
48 | -0.032663 | -0.0081883 | 0.032682 | 0.0081953 | 1.8479e-05 | 6.9558e-06 | 0.049629 | 0.049629 | 0.049629 | 0.97935 | -0.145 | 0.97992 | -0.14091 | 18.3812
49 | -0.038282 | -0.0095989 | 0.038313 | 0.0096104 | 3.0296e-05 | 1.1471e-05 | 0.058134 | 0.058134 | 0.058134 | 0.97992 | -0.14091 | 0.98072 | -0.13521 | 21.5311
50 | -0.0030027 | -0.00075254 | 0.0030034 | 0.00075212 | 6.8665e-07 | -4.2004e-07 | 0.0045307 | 0.0045305 | 0.0045307 | 0.98616 | -0.096627 | 0.98639 | -0.094975 | 1.6781
51 | 0.062116 | 0.015617 | -0.061947 | -0.015552 | 0.00016863 | 6.4466e-05 | 0.093722 | 0.093722 | 0.093722 | 0.98639 | -0.094975 | 0.98363 | -0.11452 | 34.7118
52 | -0.042848 | -0.010747 | 0.04287 | 0.010755 | 2.1618e-05 | 8.2112e-06 | 0.065015 | 0.065015 | 0.065015 | 0.98072 | -0.13521 | 0.98123 | -0.13157 | 24.0796
53 | -0.047711 | -0.011969 | 0.047751 | 0.011984 | 4.007e-05 | 1.5256e-05 | 0.072357 | 0.072357 | 0.072357 | 0.98123 | -0.13157 | 0.98208 | -0.12552 | 26.7991
54 | -0.050215 | -0.012601 | 0.050253 | 0.012616 | 3.7884e-05 | 1.4438e-05 | 0.07609 | 0.07609 | 0.07609 | 0.98208 | -0.12552 | 0.98284 | -0.12009 | 28.1814
55 | 0.055401 | 0.013912 | -0.055358 | -0.013895 | 4.2882e-05 | 1.6369e-05 | 0.083819 | 0.083819 | 0.083819 | 0.98363 | -0.11452 | 0.98284 | -0.12009 | 31.0441
56 | 0.013127 | 0.0032902 | -0.013124 | -0.0032892 | 3.04e-06 | 1.0092e-06 | 0.019757 | 0.019757 | 0.019757 | 0.98868 | -0.078859 | 0.98845 | -0.080532 | 7.3173
57 | 0.001404 | 0.00035139 | -0.0014039 | -0.00035185 | 1.0411e-07 | -4.5462e-07 | 0.0020962 | 0.0020963 | 0.0020963 | 0.99658 | -0.023778 | 0.9965 | -0.024315 | 0.77643

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.24111 | 0.06079

## res_load
| p_mw | q_mvar
0 | 0.00036865 | 9.2394e-05
1 | 0.00035572 | 8.9153e-05
2 | 0.00035628 | 8.9293e-05
3 | 0.000509 | 0.00012757
4 | 0.00019667 | 4.929e-05
5 | 0.0015849 | 0.0003972
6 | 0.0012625 | 0.00031642
7 | 0.0013827 | 0.00034655
8 | 0.0019919 | 0.00049922
9 | 0.010001 | 0.0025066
10 | 0.020571 | 0.0051555
11 | 0.0078124 | 0.001958
12 | 0.020571 | 0.0051555
13 | 0.0076647 | 0.001921
14 | 0.0079058 | 0.0019814
15 | 0.0031654 | 0.00079331
16 | 0.0032485 | 0.00081414
17 | 0.0047909 | 0.0012007
18 | 0.005015 | 0.0012569
19 | 0.0040984 | 0.0010272
20 | 0.0080042 | 0.002006
21 | 0.0041854 | 0.001049
22 | 0.003551 | 0.00088997
23 | 0.0077722 | 0.0019479
24 | 0.0072971 | 0.0018288
25 | 0.0029501 | 0.00073936
26 | 0.0016397 | 0.00041094
27 | 0.0062737 | 0.0015723
28 | 0.0073231 | 0.0018353
29 | 0.0025005 | 0.00062669
30 | 0.0060411 | 0.001514
31 | 0.0056773 | 0.0014229
32 | 0.0048191 | 0.0012078
33 | 0.0056006 | 0.0014037
34 | 0.0030027 | 0.00075254
35 | 0.0045352 | 0.0011366
36 | 0.0048418 | 0.0012135
37 | 0.0024634 | 0.00061739
38 | 0.0065462 | 0.0016406
39 | 0.0051051 | 0.0012795
40 | 0.0093296 | 0.0023382
41 | 0.013124 | 0.0032892
42 | 0.0091156 | 0.0022846
43 | 0.0014039 | 0.00035185

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1