## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1401-48_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1401-48_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1401-48_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1401-48_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1401-48_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1401-48_0_2_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_1401-48_0_2_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_1401-48_0_2_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_1401-48_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1401-48_0_2_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_1401-48_0_2_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_1401-48_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1401-48_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1401-48_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1401-48_0_2_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_1401-48_0_2_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_1401-48_0_2_node_49 | 0.4 | n |  | TRUE
17 | bus_LV_1401-48_0_2_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1401-48_0_2_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_1401-48_0_2_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_1401-48_0_2_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1401-48_0_2_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1401-48_0_2_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_1401-48_0_2_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1401-48_0_2_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1401-48_0_2_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_1401-48_0_2_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_1401-48_0_2_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1401-48_0_2_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_1401-48_0_2_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1401-48_0_2_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_1401-48_0_2_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_1401-48_0_2_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_1401-48_0_2_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_1401-48_0_2_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_1401-48_0_2_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_1401-48_0_2_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_1401-48_0_2_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_1401-48_0_2_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_1401-48_0_2_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_1401-48_0_2_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_1401-48_0_2_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_1401-48_0_2_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_1401-48_0_2_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_1401-48_0_2_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_1401-48_0_2_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_1401-48_0_2_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_1401-48_0_2_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_1401-48_0_2_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_1401-48_0_2_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_1401-48_0_2_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_1401-48_0_2_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_1401-48_0_2_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_1401-48_0_2_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_1401-48_0_2_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_1401-48_0_2_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_1401-48_0_2_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_1401-48_0_2_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_1401-48_0_2_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_1401-48_0_2_node_61 | 0.4 | n |  | TRUE
60 | bus_MV_136_0_node_252 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1401-48_0_2_load_0 | 0 | 0.0027587 | 0.00069139 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1401-48_0_2_load_2 | 2 | 0.0022264 | 0.00055798 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1401-48_0_2_load_28 | 5 | 0.0042356 | 0.0010615 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1401-48_0_2_load_27 | 6 | 0.0028263 | 0.00070834 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1401-48_0_2_load_6 | 8 | 0.0016191 | 0.00040578 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1401-48_0_2_load_14 | 9 | 0.0054349 | 0.0013621 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1401-48_0_2_load_11 | 10 | 0.0019425 | 0.00048683 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1401-48_0_2_load_9 | 12 | 0.0044858 | 0.0011242 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1401-48_0_2_load_10 | 13 | 0.0020951 | 0.00052508 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1401-48_0_2_load_23 | 14 | 0.0038117 | 0.0009553 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1401-48_0_2_load_25 | 15 | 0.0016363 | 0.00041009 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1401-48_0_2_load_49 | 16 | 0.0046855 | 0.0011743 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1401-48_0_2_load_12 | 17 | 0.0081841 | 0.0020511 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1401-48_0_2_load_26 | 19 | 0.0024367 | 0.0006107 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1401-48_0_2_load_13 | 20 | 0.0046566 | 0.0011671 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1401-48_0_2_load_15 | 21 | 0.0060687 | 0.001521 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1401-48_0_2_load_16 | 22 | 0.0047444 | 0.0011891 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1401-48_0_2_load_17 | 23 | 0.014757 | 0.0036984 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1401-48_0_2_load_18 | 24 | 0.0052825 | 0.0013239 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1401-48_0_2_load_37 | 25 | 0.0021872 | 0.00054816 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1401-48_0_2_load_19 | 27 | 0.0037794 | 0.0009472 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1401-48_0_2_load_20 | 28 | 0.0035635 | 0.0008931 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1401-48_0_2_load_24 | 30 | 0.0045198 | 0.0011328 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1401-48_0_2_load_39 | 31 | 0.0043677 | 0.0010946 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1401-48_0_2_load_29 | 32 | 0.0051398 | 0.0012882 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1401-48_0_2_load_40 | 33 | 0.0043682 | 0.0010948 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1401-48_0_2_load_30 | 34 | 0.0067164 | 0.0016833 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1401-48_0_2_load_32 | 35 | 0.002151 | 0.0005391 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1401-48_0_2_load_33 | 36 | 0.0035072 | 0.00087898 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1401-48_0_2_load_35 | 38 | 0.0032286 | 0.00080916 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1401-48_0_2_load_38 | 39 | 0.00173 | 0.00043359 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1401-48_0_2_load_52 | 41 | 0.0039003 | 0.00097751 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1401-48_0_2_load_50 | 42 | 0.0011691 | 0.00029299 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1401-48_0_2_load_48 | 43 | 0.0038549 | 0.00096612 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1401-48_0_2_load_42 | 44 | 0.0043901 | 0.0011003 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1401-48_0_2_load_41 | 45 | 0.0044427 | 0.0011134 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1401-48_0_2_load_43 | 46 | 0.0054111 | 0.0013561 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1401-48_0_2_load_45 | 47 | 0.0043251 | 0.001084 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1401-48_0_2_load_46 | 48 | 0.0021238 | 0.00053226 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1401-48_0_2_load_47 | 49 | 0.0024617 | 0.00061696 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1401-48_0_2_load_62 | 50 | 0.027345 | 0.0068533 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1401-48_0_2_load_51 | 52 | 0.00087867 | 0.00022022 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1401-48_0_2_load_58 | 55 | 0.00075643 | 0.00018958 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1401-48_0_2_load_57 | 56 | 0.0019304 | 0.00048381 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1401-48_0_2_load_59 | 57 | 0.0011639 | 0.0002917 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1401-48_0_2_load_60 | 58 | 0.00018897 | 4.736e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1401-48_0_2_load_61 | 59 | 0.00035724 | 8.9533e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1401-48_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.048846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1401-48_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.02428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1401-48_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.014856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1401-48_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.052601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1401-48_0_2_line_4 | NAYY 4x150 SE | 4 | 7 | 0.056469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_1401-48_0_2_line_5 | NAYY 4x150 SE | 4 | 8 | 0.023914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_1401-48_0_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.0019224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1401-48_0_2_line_7 | NAYY 4x150 SE | 6 | 19 | 0.02513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1401-48_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.031493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1401-48_0_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.010387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_1401-48_0_2_line_10 | NAYY 4x150 SE | 8 | 11 | 0.018564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_1401-48_0_2_line_11 | NAYY 4x150 SE | 9 | 16 | 0.012508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1401-48_0_2_line_12 | NAYY 4x150 SE | 10 | 17 | 0.013835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_1401-48_0_2_line_13 | NAYY 4x150 SE | 11 | 12 | 0.040284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_1401-48_0_2_line_14 | NAYY 4x150 SE | 11 | 13 | 0.012511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1401-48_0_2_line_15 | NAYY 4x150 SE | 12 | 14 | 0.033174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1401-48_0_2_line_16 | NAYY 4x150 SE | 13 | 15 | 0.006847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1401-48_0_2_line_17 | NAYY 4x150 SE | 14 | 18 | 0.0042654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1401-48_0_2_line_18 | NAYY 4x150 SE | 15 | 19 | 0.011527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1401-48_0_2_line_19 | NAYY 4x150 SE | 17 | 20 | 0.012485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_1401-48_0_2_line_20 | NAYY 4x150 SE | 18 | 30 | 0.017831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1401-48_0_2_line_21 | NAYY 4x150 SE | 18 | 27 | 0.0158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1401-48_0_2_line_22 | NAYY 4x150 SE | 20 | 21 | 0.021203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_1401-48_0_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.0014456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_1401-48_0_2_line_24 | NAYY 4x150 SE | 22 | 23 | 0.03522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_1401-48_0_2_line_25 | NAYY 4x150 SE | 23 | 24 | 0.0038306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_1401-48_0_2_line_26 | NAYY 4x150 SE | 24 | 25 | 0.030049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_1401-48_0_2_line_27 | NAYY 4x150 SE | 25 | 26 | 0.026877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_1401-48_0_2_line_28 | NAYY 4x150 SE | 26 | 39 | 0.035382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_1401-48_0_2_line_29 | NAYY 4x150 SE | 26 | 38 | 0.011661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1401-48_0_2_line_30 | NAYY 4x150 SE | 27 | 28 | 0.0073669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1401-48_0_2_line_31 | NAYY 4x150 SE | 28 | 29 | 0.011473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1401-48_0_2_line_32 | NAYY 4x150 SE | 29 | 31 | 0.0075579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1401-48_0_2_line_33 | NAYY 4x150 SE | 30 | 32 | 0.020157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1401-48_0_2_line_34 | NAYY 4x150 SE | 31 | 33 | 0.012302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1401-48_0_2_line_35 | NAYY 4x150 SE | 32 | 34 | 0.00035632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1401-48_0_2_line_36 | NAYY 4x150 SE | 35 | 36 | 0.015483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1401-48_0_2_line_37 | NAYY 4x150 SE | 35 | 37 | 0.026953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1401-48_0_2_line_38 | NAYY 4x150 SE | 37 | 38 | 0.023169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1401-48_0_2_line_39 | NAYY 4x150 SE | 39 | 40 | 0.027563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_1401-48_0_2_line_40 | NAYY 4x150 SE | 40 | 43 | 0.02866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_1401-48_0_2_line_41 | NAYY 4x150 SE | 40 | 44 | 0.014346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1401-48_0_2_line_42 | NAYY 4x150 SE | 41 | 42 | 0.07219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1401-48_0_2_line_43 | NAYY 4x150 SE | 42 | 52 | 0.0084566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1401-48_0_2_line_44 | NAYY 4x150 SE | 44 | 45 | 0.021582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1401-48_0_2_line_45 | NAYY 4x150 SE | 45 | 46 | 0.0017119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1401-48_0_2_line_46 | NAYY 4x150 SE | 46 | 47 | 0.00085093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1401-48_0_2_line_47 | NAYY 4x150 SE | 47 | 48 | 0.00069667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1401-48_0_2_line_48 | NAYY 4x150 SE | 48 | 49 | 0.018096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1401-48_0_2_line_49 | NAYY 4x150 SE | 49 | 50 | 0.011993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1401-48_0_2_line_50 | NAYY 4x150 SE | 49 | 51 | 0.10242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1401-48_0_2_line_51 | NAYY 4x150 SE | 51 | 56 | 0.024162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1401-48_0_2_line_52 | NAYY 4x150 SE | 52 | 53 | 0.016303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1401-48_0_2_line_53 | NAYY 4x150 SE | 53 | 54 | 0.020406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1401-48_0_2_line_54 | NAYY 4x150 SE | 54 | 55 | 0.010506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1401-48_0_2_line_55 | NAYY 4x150 SE | 54 | 56 | 0.011348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1401-48_0_2_line_56 | NAYY 4x150 SE | 55 | 57 | 0.49527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1401-48_0_2_line_57 | NAYY 4x150 SE | 57 | 58 | 0.012441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1401-48_0_2_line_58 | NAYY 4x150 SE | 58 | 59 | 0.097859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1401-48_0_2_trafo_48 | 0.25 MVA 20/0.4 kV | 60 | 43 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2662248.6996 | 1198586.7338 | 2662285.3357 | 1198579.4998 | 2662287.4675 | 1198580.2781 | 2662289.9066 | 1198582.2602 | 2662292.2095 | 1198587.8977
1 | 2662248.6996 | 1198586.7338 | 2662253.3129 | 1198610.5711
2 | 2662256.1355 | 1198625.156 | 2662253.3129 | 1198610.5711
3 | 2662256.1355 | 1198625.156 | 2662261.1049 | 1198653.2576 | 2662261.8201 | 1198662.8151 | 2662260.4364 | 1198677.2202
4 | 2662260.4364 | 1198677.2202 | 2662259.5089 | 1198685.1152 | 2662238.2652 | 1198693.6547 | 2662225.1703 | 1198695.5529 | 2662213.2578 | 1198692.138
5 | 2662260.4364 | 1198677.2202 | 2662240.3055 | 1198664.3111
6 | 2662217.503 | 1198599.2891 | 2662217.113 | 1198597.4067
7 | 2662217.503 | 1198599.2891 | 2662222.6023 | 1198623.8968
8 | 2662213.2578 | 1198692.138 | 2662207.7887 | 1198697.4065 | 2662213.0447 | 1198720.7202
9 | 2662213.2578 | 1198692.138 | 2662205.2699 | 1198689.1865 | 2662203.4676 | 1198688.683
10 | 2662224.6785 | 1198654.2902 | 2662240.3055 | 1198664.3111
11 | 2662215.7956 | 1198732.9218 | 2662213.0447 | 1198720.7202
12 | 2662190.2177 | 1198684.7114 | 2662196.0519 | 1198686.6114 | 2662203.4676 | 1198688.683
13 | 2662224.6785 | 1198654.2902 | 2662206.1569 | 1198647.8604 | 2662186.2926 | 1198642.1175
14 | 2662224.6785 | 1198654.2902 | 2662226.3306 | 1198641.8889
15 | 2662166.2032 | 1198617.6905 | 2662171.1615 | 1198629.1855 | 2662174.6928 | 1198635.248 | 2662179.4493 | 1198639.1997 | 2662184.6555 | 1198641.6442 | 2662186.2926 | 1198642.1175
16 | 2662226.3306 | 1198641.8889 | 2662226.3306 | 1198641.8889 | 2662224.9413 | 1198635.1844
17 | 2662164.5139 | 1198613.774 | 2662166.2032 | 1198617.6905
18 | 2662222.6023 | 1198623.8968 | 2662224.9413 | 1198635.1844
19 | 2662190.2177 | 1198684.7114 | 2662182.5808 | 1198682.2243 | 2662178.6691 | 1198680.0962
20 | 2662164.5139 | 1198613.774 | 2662157.5411 | 1198597.3623
21 | 2662164.5139 | 1198613.774 | 2662159.6959 | 1198615.7362 | 2662149.8088 | 1198619.5517
22 | 2662159.4259 | 1198671.2712 | 2662171.2678 | 1198676.0697 | 2662178.6691 | 1198680.0962
23 | 2662159.4259 | 1198671.2712 | 2662158.0861 | 1198670.7283
24 | 2662126.1521 | 1198655.8786 | 2662133.3887 | 1198659.3773 | 2662145.7791 | 1198665.1762 | 2662157.8077 | 1198670.6155 | 2662158.0861 | 1198670.7283
25 | 2662122.7034 | 1198654.2112 | 2662126.1521 | 1198655.8786
26 | 2662122.7034 | 1198654.2112 | 2662120.6516 | 1198653.2192 | 2662111.4153 | 1198652.4117 | 2662099.6595 | 1198654.413 | 2662093.383 | 1198656.3666
27 | 2662067.8328 | 1198659.8413 | 2662081.4449 | 1198661.6726 | 2662087.5275 | 1198658.1892 | 2662093.383 | 1198656.3666
28 | 2662067.8328 | 1198659.8413 | 2662083.3932 | 1198676.4459 | 2662094.7646 | 1198681.9324
29 | 2662067.8328 | 1198659.8413 | 2662063.0187 | 1198649.2204
30 | 2662142.936 | 1198622.204 | 2662149.8088 | 1198619.5517
31 | 2662132.232 | 1198626.3348 | 2662142.936 | 1198622.204
32 | 2662132.232 | 1198626.3348 | 2662129.6105 | 1198619.2461
33 | 2662149.6591 | 1198578.8108 | 2662157.5411 | 1198597.3623
34 | 2662125.3435 | 1198607.7078 | 2662129.6105 | 1198619.2461
35 | 2662149.6591 | 1198578.8108 | 2662149.5198 | 1198578.4828
36 | 2662082.1658 | 1198623.7911 | 2662084.7871 | 1198625.8306 | 2662087.8889 | 1198637.5899
37 | 2662056.14 | 1198627.1786 | 2662071.4487 | 1198623.3018 | 2662079.151 | 1198622.2478 | 2662082.1658 | 1198623.7911 | 2662082.1658 | 1198623.7911
38 | 2662056.14 | 1198627.1786 | 2662060.0458 | 1198642.6615 | 2662063.0187 | 1198649.2204
39 | 2662119.5891 | 1198693.9098 | 2662094.7646 | 1198681.9324
40 | 2662119.5891 | 1198693.9098 | 2662126.8002 | 1198692.4728 | 2662131.4693 | 1198691.643 | 2662147.9713 | 1198693.8269
41 | 2662119.5891 | 1198693.9098 | 2662121.4112 | 1198708.14
42 | 2661987.3462 | 1198801.4827 | 2661980.3027 | 1198799.5378 | 2661959.0609 | 1198792.5581 | 2661942.926 | 1198778.4826 | 2661931.4213 | 1198766.5787 | 2661929.6414 | 1198762.3837
43 | 2661987.3462 | 1198801.4827 | 2661995.4978 | 1198803.7335
44 | 2662124.1524 | 1198729.5472 | 2662121.4112 | 1198708.14
45 | 2662124.1524 | 1198729.5472 | 2662124.3698 | 1198731.2452
46 | 2662124.4779 | 1198732.0892 | 2662124.3698 | 1198731.2452
47 | 2662124.5664 | 1198732.7803 | 2662124.4779 | 1198732.0892
48 | 2662126.8648 | 1198750.7299 | 2662124.5664 | 1198732.7803
49 | 2662136.2835 | 1198758.1544 | 2662126.8648 | 1198750.7299
50 | 2662126.8648 | 1198750.7299 | 2662028.7232 | 1198780.0173
51 | 2662028.7232 | 1198780.0173 | 2662029.5555 | 1198804.1649
52 | 2662010.6365 | 1198808.7466 | 2662003.2798 | 1198808.081 | 2661995.5727 | 1198803.7541 | 2661995.4978 | 1198803.7335
53 | 2662029.9464 | 1198815.5064 | 2662010.6365 | 1198808.7466
54 | 2662029.9464 | 1198815.5064 | 2662036.6944 | 1198819.0562 | 2662039.366 | 1198820.1359
55 | 2662029.9464 | 1198815.5064 | 2662029.5555 | 1198804.1649
56 | 2662039.366 | 1198820.1359 | 2662012.9405 | 1199314.7014
57 | 2662012.9405 | 1199314.7014 | 2662007.5093 | 1199315.6457 | 2662001.4889 | 1199319.0741
58 | 2661911.066 | 1199351.7343 | 2661913.7302 | 1199352.5401 | 2661922.5659 | 1199350.7639 | 2661961.0016 | 1199342.0458 | 2661969.1292 | 1199338.8059 | 2662001.4889 | 1199319.0741

## bus_geodata
| x | y | coords
0 | 2662292.2095 | 1198587.8977
1 | 2662248.6996 | 1198586.7338
2 | 2662253.3129 | 1198610.5711
3 | 2662256.1355 | 1198625.156
4 | 2662260.4364 | 1198677.2202
5 | 2662217.113 | 1198597.4067
6 | 2662217.503 | 1198599.2891
7 | 2662213.2578 | 1198692.138
8 | 2662240.3055 | 1198664.3111
9 | 2662213.0447 | 1198720.7202
10 | 2662203.4676 | 1198688.683
11 | 2662224.6785 | 1198654.2902
12 | 2662186.2926 | 1198642.1175
13 | 2662226.3306 | 1198641.8889
14 | 2662166.2032 | 1198617.6905
15 | 2662224.9413 | 1198635.1844
16 | 2662215.7956 | 1198732.9218
17 | 2662190.2177 | 1198684.7114
18 | 2662164.5139 | 1198613.774
19 | 2662222.6023 | 1198623.8968
20 | 2662178.6691 | 1198680.0962
21 | 2662159.4259 | 1198671.2712
22 | 2662158.0861 | 1198670.7283
23 | 2662126.1521 | 1198655.8786
24 | 2662122.7034 | 1198654.2112
25 | 2662093.383 | 1198656.3666
26 | 2662067.8328 | 1198659.8413
27 | 2662149.8088 | 1198619.5517
28 | 2662142.936 | 1198622.204
29 | 2662132.232 | 1198626.3348
30 | 2662157.5411 | 1198597.3623
31 | 2662129.6105 | 1198619.2461
32 | 2662149.6591 | 1198578.8108
33 | 2662125.3435 | 1198607.7078
34 | 2662149.5198 | 1198578.4828
35 | 2662082.1658 | 1198623.7911
36 | 2662087.8889 | 1198637.5899
37 | 2662056.14 | 1198627.1786
38 | 2662063.0187 | 1198649.2204
39 | 2662094.7646 | 1198681.9324
40 | 2662119.5891 | 1198693.9098
41 | 2661929.6414 | 1198762.3837
42 | 2661987.3462 | 1198801.4827
43 | 2662147.9713 | 1198693.8269
44 | 2662121.4112 | 1198708.14
45 | 2662124.1524 | 1198729.5472
46 | 2662124.3698 | 1198731.2452
47 | 2662124.4779 | 1198732.0892
48 | 2662124.5664 | 1198732.7803
49 | 2662126.8648 | 1198750.7299
50 | 2662136.2835 | 1198758.1544
51 | 2662028.7232 | 1198780.0173
52 | 2661995.4978 | 1198803.7335
53 | 2662010.6365 | 1198808.7466
54 | 2662029.9464 | 1198815.5064
55 | 2662039.366 | 1198820.1359
56 | 2662029.5555 | 1198804.1649
57 | 2662012.9405 | 1199314.7014
58 | 2662001.4889 | 1199319.0741
59 | 2661911.066 | 1199351.7343
60 | 2662119.5891 | 1198693.9098

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97578 | -0.16994 | 0.0027587 | 0.00069139
1 | 0.97598 | -0.16853 | 0 | 0
2 | 0.97608 | -0.16782 | 0.0022264 | 0.00055798
3 | 0.97619 | -0.16705 | 0 | 0
4 | 0.97657 | -0.1643 | 0 | 0
5 | 0.97407 | -0.18217 | 0.0042356 | 0.0010615
6 | 0.97409 | -0.18208 | 0.0028263 | 0.00070834
7 | 0.97908 | -0.14642 | 0 | 0
8 | 0.97559 | -0.17126 | 0.0016191 | 0.00040578
9 | 0.97861 | -0.14975 | 0.0054349 | 0.0013621
10 | 0.97961 | -0.1426 | 0.0019425 | 0.00048683
11 | 0.97486 | -0.17652 | 0 | 0
12 | 0.97365 | -0.18516 | 0.0044858 | 0.0011242
13 | 0.97462 | -0.17826 | 0.0020951 | 0.00052508
14 | 0.97189 | -0.19785 | 0.0038117 | 0.0009553
15 | 0.9745 | -0.17907 | 0.0016363 | 0.00041009
16 | 0.97853 | -0.15036 | 0.0046855 | 0.0011743
17 | 0.98035 | -0.13737 | 0.0081841 | 0.0020511
18 | 0.97169 | -0.19932 | 0 | 0
19 | 0.97434 | -0.18022 | 0.0024367 | 0.0006107
20 | 0.98109 | -0.13213 | 0.0046566 | 0.0011671
21 | 0.98241 | -0.12274 | 0.0060687 | 0.001521
22 | 0.98251 | -0.12206 | 0.0047444 | 0.0011891
23 | 0.98499 | -0.10455 | 0.014757 | 0.0036984
24 | 0.9853 | -0.10236 | 0.0052825 | 0.0013239
25 | 0.98785 | -0.084427 | 0.0021872 | 0.00054816
26 | 0.99017 | -0.068163 | 0 | 0
27 | 0.97131 | -0.202 | 0.0037794 | 0.0009472
28 | 0.97118 | -0.20296 | 0.0035635 | 0.0008931
29 | 0.97103 | -0.20402 | 0 | 0
30 | 0.97126 | -0.2024 | 0.0045198 | 0.0011328
31 | 0.97094 | -0.20472 | 0.0043677 | 0.0010946
32 | 0.97091 | -0.20493 | 0.0051398 | 0.0012882
33 | 0.97086 | -0.20529 | 0.0043682 | 0.0010948
34 | 0.9709 | -0.20496 | 0.0067164 | 0.0016833
35 | 0.98961 | -0.072109 | 0.002151 | 0.0005391
36 | 0.98954 | -0.072663 | 0.0035072 | 0.00087898
37 | 0.98983 | -0.070555 | 0 | 0
38 | 0.99002 | -0.069219 | 0.0032286 | 0.00080916
39 | 0.99346 | -0.045275 | 0.00173 | 0.00043359
40 | 0.99605 | -0.027309 | 0 | 0
41 | 0.98897 | -0.07736 | 0.0039003 | 0.00097751
42 | 0.98937 | -0.074485 | 0.0011691 | 0.00029299
43 | 1 | 0 | -0.19406 | -0.048844
44 | 0.9948 | -0.036114 | 0.0043901 | 0.0011003
45 | 0.99304 | -0.048442 | 0.0044427 | 0.0011134
46 | 0.99292 | -0.049345 | 0.0054111 | 0.0013561
47 | 0.99286 | -0.049747 | 0.0043251 | 0.001084
48 | 0.99282 | -0.050046 | 0.0021238 | 0.00053226
49 | 0.99177 | -0.057426 | 0.0024617 | 0.00061696
50 | 0.9913 | -0.060755 | 0.027345 | 0.0068533
51 | 0.99025 | -0.068275 | 0 | 0
52 | 0.98943 | -0.074048 | 0.00087867 | 0.00022022
53 | 0.98957 | -0.073058 | 0 | 0
54 | 0.98975 | -0.071819 | 0 | 0
55 | 0.98971 | -0.072089 | 0.00075643 | 0.00018958
56 | 0.98989 | -0.070838 | 0.0019304 | 0.00048381
57 | 0.98849 | -0.080902 | 0.0011639 | 0.0002917
58 | 0.98848 | -0.080973 | 0.00018897 | 4.736e-05
59 | 0.98843 | -0.081335 | 0.00035724 | 8.9533e-05
60 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0027587 | -0.00069139 | 0.0027592 | 0.00069098 | 5.3938e-07 | -4.0283e-07 | 0.0042068 | 0.0042066 | 0.0042068 | 0.97578 | -0.16994 | 0.97598 | -0.16853 | 1.5581
1 | -0.0027592 | -0.00069098 | 0.0027595 | 0.00069078 | 2.6809e-07 | -2.0033e-07 | 0.0042066 | 0.0042065 | 0.0042066 | 0.97598 | -0.16853 | 0.97608 | -0.16782 | 1.558
2 | -0.0049858 | -0.0012488 | 0.0049864 | 0.0012488 | 5.355e-07 | 2.026e-08 | 0.0076006 | 0.0076005 | 0.0076006 | 0.97608 | -0.16782 | 0.97619 | -0.16705 | 2.815
3 | -0.0049864 | -0.0012488 | 0.0049883 | 0.0012489 | 1.896e-06 | 7.1379e-08 | 0.0076005 | 0.0076003 | 0.0076005 | 0.97619 | -0.16705 | 0.97657 | -0.1643 | 2.815
4 | -0.060832 | -0.015273 | 0.060983 | 0.015329 | 0.0001514 | 5.6814e-05 | 0.0927 | 0.0927 | 0.0927 | 0.97657 | -0.1643 | 0.97908 | -0.14642 | 17.1667
5 | 0.055844 | 0.014024 | -0.05579 | -0.014004 | 5.4035e-05 | 2.0185e-05 | 0.0851 | 0.0851 | 0.0851 | 0.97657 | -0.1643 | 0.97559 | -0.17126 | 15.7593
6 | -0.0042356 | -0.0010615 | 0.0042356 | 0.0010615 | 5.022e-08 | -4.6143e-09 | 0.0064703 | 0.0064703 | 0.0064703 | 0.97407 | -0.18217 | 0.97409 | -0.18208 | 2.3964
7 | -0.0070619 | -0.0017699 | 0.0070638 | 0.0017703 | 1.8249e-06 | 3.8899e-07 | 0.010788 | 0.010788 | 0.010788 | 0.97409 | -0.18208 | 0.97434 | -0.18022 | 3.9955
8 | 0.010125 | 0.0025378 | -0.010121 | -0.0025364 | 4.6539e-06 | 1.3941e-06 | 0.015389 | 0.015389 | 0.015389 | 0.97908 | -0.14642 | 0.97861 | -0.14975 | 5.6997
9 | -0.071109 | -0.017867 | 0.071147 | 0.017882 | 3.7863e-05 | 1.4301e-05 | 0.10809 | 0.10809 | 0.10809 | 0.97908 | -0.14642 | 0.97961 | -0.1426 | 20.0164
10 | 0.05417 | 0.013598 | -0.054131 | -0.013583 | 3.9547e-05 | 1.4747e-05 | 0.082631 | 0.082631 | 0.082631 | 0.97559 | -0.17126 | 0.97486 | -0.17652 | 15.302
11 | 0.0046859 | 0.0011743 | -0.0046855 | -0.0011743 | 3.9623e-07 | -4.7401e-09 | 0.007125 | 0.0071251 | 0.0071251 | 0.97861 | -0.14975 | 0.97853 | -0.15036 | 2.6389
12 | -0.073089 | -0.018368 | 0.073142 | 0.018388 | 5.3223e-05 | 2.0122e-05 | 0.11104 | 0.11104 | 0.11104 | 0.97961 | -0.1426 | 0.98035 | -0.13737 | 20.5628
13 | 0.040893 | 0.010265 | -0.040844 | -0.010247 | 4.8978e-05 | 1.7834e-05 | 0.062425 | 0.062425 | 0.062425 | 0.97486 | -0.17652 | 0.97365 | -0.18516 | 11.5602
14 | 0.013238 | 0.003318 | -0.013235 | -0.003317 | 3.1874e-06 | 1.07e-06 | 0.020206 | 0.020206 | 0.020206 | 0.97486 | -0.17652 | 0.97462 | -0.17826 | 7.4838
15 | 0.036358 | 0.0091229 | -0.036294 | -0.0090988 | 6.3924e-05 | 2.4174e-05 | 0.05557 | 0.05557 | 0.05557 | 0.97365 | -0.18516 | 0.97189 | -0.19785 | 20.5814
16 | 0.01114 | 0.0027919 | -0.011138 | -0.0027915 | 1.2359e-06 | 3.9001e-07 | 0.017008 | 0.017008 | 0.017008 | 0.97462 | -0.17826 | 0.9745 | -0.17907 | 6.2991
17 | 0.032483 | 0.0081435 | -0.032476 | -0.008141 | 6.5833e-06 | 2.4792e-06 | 0.049734 | 0.049734 | 0.049734 | 0.97189 | -0.19785 | 0.97169 | -0.19932 | 18.4199
18 | 0.009502 | 0.0023814 | -0.0095005 | -0.002381 | 1.5142e-06 | 4.3881e-07 | 0.014509 | 0.014509 | 0.014509 | 0.9745 | -0.17907 | 0.97434 | -0.18022 | 5.3737
19 | -0.081326 | -0.02044 | 0.081386 | 0.020462 | 5.9374e-05 | 2.2521e-05 | 0.12346 | 0.12346 | 0.12346 | 0.98035 | -0.13737 | 0.98109 | -0.13213 | 22.8632
20 | 0.016387 | 0.0041081 | -0.01638 | -0.0041056 | 7.0075e-06 | 2.4744e-06 | 0.025095 | 0.025095 | 0.025095 | 0.97169 | -0.19932 | 0.97126 | -0.2024 | 9.2946
21 | 0.016089 | 0.0040329 | -0.016083 | -0.0040308 | 5.9851e-06 | 2.1063e-06 | 0.024638 | 0.024639 | 0.024639 | 0.97169 | -0.19932 | 0.97131 | -0.202 | 9.1254
22 | -0.086042 | -0.021629 | 0.086155 | 0.021672 | 0.0001127 | 4.281e-05 | 0.13052 | 0.13052 | 0.13052 | 0.98109 | -0.13213 | 0.98241 | -0.12274 | 24.1711
23 | -0.092224 | -0.023193 | 0.092233 | 0.023196 | 8.8044e-06 | 3.3497e-06 | 0.13972 | 0.13972 | 0.13972 | 0.98241 | -0.12274 | 0.98251 | -0.12206 | 25.8733
24 | -0.096977 | -0.024385 | 0.097214 | 0.024476 | 0.00023713 | 9.0311e-05 | 0.1469 | 0.1469 | 0.1469 | 0.98251 | -0.12206 | 0.98499 | -0.10455 | 27.2039
25 | -0.11197 | -0.028174 | 0.11201 | 0.028187 | 3.4213e-05 | 1.3061e-05 | 0.16919 | 0.16919 | 0.16919 | 0.98499 | -0.10455 | 0.9853 | -0.10236 | 31.3322
26 | -0.11729 | -0.029511 | 0.11758 | 0.029623 | 0.00029429 | 0.00011242 | 0.17717 | 0.17717 | 0.17717 | 0.9853 | -0.10236 | 0.98785 | -0.084427 | 32.8095
27 | -0.11977 | -0.030172 | 0.12004 | 0.030276 | 0.0002731 | 0.00010435 | 0.18047 | 0.18047 | 0.18047 | 0.98785 | -0.084427 | 0.99017 | -0.068163 | 33.4196
28 | -0.12893 | -0.032504 | 0.12935 | 0.032662 | 0.00041472 | 0.0001586 | 0.19383 | 0.19383 | 0.19383 | 0.99017 | -0.068163 | 0.99346 | -0.045275 | 35.8937
29 | 0.0088906 | 0.0022277 | -0.0088893 | -0.0022274 | 1.2989e-06 | 3.496e-07 | 0.013361 | 0.013361 | 0.013361 | 0.99017 | -0.068163 | 0.99002 | -0.069219 | 4.9484
30 | 0.012304 | 0.0030836 | -0.012302 | -0.0030831 | 1.6332e-06 | 5.3697e-07 | 0.018849 | 0.018849 | 0.018849 | 0.97131 | -0.202 | 0.97118 | -0.20296 | 6.981
31 | 0.0087384 | 0.00219 | -0.0087371 | -0.0021896 | 1.2834e-06 | 3.5166e-07 | 0.013389 | 0.013389 | 0.013389 | 0.97118 | -0.20296 | 0.97103 | -0.20402 | 4.9588
32 | 0.0087371 | 0.0021896 | -0.0087363 | -0.0021894 | 8.4542e-07 | 2.3168e-07 | 0.013389 | 0.013389 | 0.013389 | 0.97103 | -0.20402 | 0.97094 | -0.20472 | 4.9588
33 | 0.01186 | 0.0029728 | -0.011856 | -0.0029715 | 4.1529e-06 | 1.3479e-06 | 0.018171 | 0.018171 | 0.018171 | 0.97126 | -0.2024 | 0.97091 | -0.20493 | 6.73
34 | 0.0043686 | 0.0010948 | -0.0043682 | -0.0010948 | 3.4409e-07 | -1.9793e-08 | 0.0066951 | 0.0066951 | 0.0066951 | 0.97094 | -0.20472 | 0.97086 | -0.20529 | 2.4797
35 | 0.0067165 | 0.0016833 | -0.0067164 | -0.0016833 | 2.356e-08 | 4.6548e-09 | 0.010294 | 0.010294 | 0.010294 | 0.97091 | -0.20493 | 0.9709 | -0.20496 | 3.8125
36 | 0.0035075 | 0.00087889 | -0.0035072 | -0.00087898 | 2.6872e-07 | -9.5557e-08 | 0.0052739 | 0.0052739 | 0.0052739 | 0.98961 | -0.072109 | 0.98954 | -0.072663 | 1.9533
37 | -0.0056585 | -0.001418 | 0.0056597 | 0.0014181 | 1.2175e-06 | 1.2189e-07 | 0.0085082 | 0.0085081 | 0.0085082 | 0.98961 | -0.072109 | 0.98983 | -0.070555 | 3.1512
38 | -0.0056597 | -0.0014181 | 0.0056607 | 0.0014182 | 1.0465e-06 | 1.0464e-07 | 0.0085081 | 0.008508 | 0.0085081 | 0.98983 | -0.070555 | 0.99002 | -0.069219 | 3.1511
39 | -0.13108 | -0.033096 | 0.13141 | 0.033223 | 0.00033177 | 0.00012689 | 0.19642 | 0.19642 | 0.19642 | 0.99346 | -0.045275 | 0.99605 | -0.027309 | 36.3735
40 | -0.19252 | -0.04856 | 0.19326 | 0.048844 | 0.0007402 | 0.00028394 | 0.28771 | 0.28771 | 0.28771 | 0.99605 | -0.027309 | 1 | 0 | 53.28
41 | 0.061106 | 0.015338 | -0.061032 | -0.015309 | 7.4615e-05 | 2.8512e-05 | 0.091296 | 0.091296 | 0.091296 | 0.99605 | -0.027309 | 0.9948 | -0.036114 | 33.8132
42 | -0.0039003 | -0.00097751 | 0.0039019 | 0.00097718 | 1.5513e-06 | -3.3003e-07 | 0.0058685 | 0.0058681 | 0.0058685 | 0.98897 | -0.07736 | 0.98937 | -0.074485 | 2.1735
43 | -0.0050709 | -0.0012702 | 0.0050712 | 0.0012702 | 3.0692e-07 | 9.4391e-09 | 0.0076264 | 0.0076264 | 0.0076264 | 0.98937 | -0.074485 | 0.98943 | -0.074048 | 2.8246
44 | 0.056641 | 0.014209 | -0.056545 | -0.014172 | 9.6681e-05 | 3.6905e-05 | 0.084729 | 0.084729 | 0.084729 | 0.9948 | -0.036114 | 0.99304 | -0.048442 | 31.3811
45 | 0.052102 | 0.013059 | -0.052096 | -0.013056 | 6.511e-06 | 2.4821e-06 | 0.078072 | 0.078072 | 0.078072 | 0.99304 | -0.048442 | 0.99292 | -0.049345 | 28.9156
46 | 0.046685 | 0.0117 | -0.046682 | -0.011699 | 2.599e-06 | 9.8862e-07 | 0.069963 | 0.069963 | 0.069963 | 0.99292 | -0.049345 | 0.99286 | -0.049747 | 25.9122
47 | 0.042357 | 0.010615 | -0.042355 | -0.010614 | 1.7518e-06 | 6.6477e-07 | 0.063481 | 0.063481 | 0.063481 | 0.99286 | -0.049747 | 0.99282 | -0.050046 | 23.5114
48 | 0.040231 | 0.010082 | -0.04019 | -0.010066 | 4.1056e-05 | 1.5557e-05 | 0.060298 | 0.060298 | 0.060298 | 0.99282 | -0.050046 | 0.99177 | -0.057426 | 22.3325
49 | 0.027357 | 0.006858 | -0.027345 | -0.0068533 | 1.2609e-05 | 4.6948e-06 | 0.041047 | 0.041047 | 0.041047 | 0.99177 | -0.057426 | 0.9913 | -0.060755 | 15.2025
50 | 0.010371 | 0.0025916 | -0.010356 | -0.0025869 | 1.5469e-05 | 4.6301e-06 | 0.015558 | 0.015558 | 0.015558 | 0.99177 | -0.057426 | 0.99025 | -0.068275 | 5.7623
51 | 0.010356 | 0.0025869 | -0.010352 | -0.0025858 | 3.6495e-06 | 1.0929e-06 | 0.015558 | 0.015558 | 0.015558 | 0.99025 | -0.068275 | 0.98989 | -0.070838 | 5.7623
52 | -0.0059499 | -0.0014904 | 0.0059507 | 0.0014905 | 8.1449e-07 | 1.0385e-07 | 0.0089478 | 0.0089477 | 0.0089478 | 0.98943 | -0.074048 | 0.98957 | -0.073058 | 3.314
53 | -0.0059507 | -0.0014905 | 0.0059517 | 0.0014906 | 1.0194e-06 | 1.2989e-07 | 0.0089477 | 0.0089476 | 0.0089477 | 0.98957 | -0.073058 | 0.98975 | -0.071819 | 3.314
54 | 0.0024687 | 0.00061109 | -0.0024686 | -0.0006112 | 9.0179e-08 | -1.0033e-07 | 0.0037088 | 0.0037089 | 0.0037089 | 0.98975 | -0.071819 | 0.98971 | -0.072089 | 1.3737
55 | -0.0084204 | -0.0021017 | 0.0084215 | 0.002102 | 1.1343e-06 | 2.9041e-07 | 0.012656 | 0.012656 | 0.012656 | 0.98975 | -0.071819 | 0.98989 | -0.070838 | 4.6876
56 | 0.0017122 | 0.00042162 | -0.0017101 | -0.00042719 | 2.0455e-06 | -5.57e-06 | 0.0025716 | 0.0025738 | 0.0025738 | 0.98971 | -0.072089 | 0.98849 | -0.080902 | 0.95327
57 | 0.00054623 | 0.00013549 | -0.00054623 | -0.00013565 | 5.2428e-09 | -1.5746e-07 | 0.00082177 | 0.00082183 | 0.00082183 | 0.98849 | -0.080902 | 0.98848 | -0.080973 | 0.30438
58 | 0.00035726 | 8.8286e-05 | -0.00035724 | -8.9533e-05 | 1.7647e-08 | -1.2476e-06 | 0.00053736 | 0.0005378 | 0.0005378 | 0.98848 | -0.080973 | 0.98843 | -0.081335 | 0.19919

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.19791 | 0.049811

## res_load
| p_mw | q_mvar
0 | 0.0027587 | 0.00069139
1 | 0.0022264 | 0.00055798
2 | 0.0042356 | 0.0010615
3 | 0.0028263 | 0.00070834
4 | 0.0016191 | 0.00040578
5 | 0.0054349 | 0.0013621
6 | 0.0019425 | 0.00048683
7 | 0.0044858 | 0.0011242
8 | 0.0020951 | 0.00052508
9 | 0.0038117 | 0.0009553
10 | 0.0016363 | 0.00041009
11 | 0.0046855 | 0.0011743
12 | 0.0081841 | 0.0020511
13 | 0.0024367 | 0.0006107
14 | 0.0046566 | 0.0011671
15 | 0.0060687 | 0.001521
16 | 0.0047444 | 0.0011891
17 | 0.014757 | 0.0036984
18 | 0.0052825 | 0.0013239
19 | 0.0021872 | 0.00054816
20 | 0.0037794 | 0.0009472
21 | 0.0035635 | 0.0008931
22 | 0.0045198 | 0.0011328
23 | 0.0043677 | 0.0010946
24 | 0.0051398 | 0.0012882
25 | 0.0043682 | 0.0010948
26 | 0.0067164 | 0.0016833
27 | 0.002151 | 0.0005391
28 | 0.0035072 | 0.00087898
29 | 0.0032286 | 0.00080916
30 | 0.00173 | 0.00043359
31 | 0.0039003 | 0.00097751
32 | 0.0011691 | 0.00029299
33 | 0.0038549 | 0.00096612
34 | 0.0043901 | 0.0011003
35 | 0.0044427 | 0.0011134
36 | 0.0054111 | 0.0013561
37 | 0.0043251 | 0.001084
38 | 0.0021238 | 0.00053226
39 | 0.0024617 | 0.00061696
40 | 0.027345 | 0.0068533
41 | 0.00087867 | 0.00022022
42 | 0.00075643 | 0.00018958
43 | 0.0019304 | 0.00048381
44 | 0.0011639 | 0.0002917
45 | 0.00018897 | 4.736e-05
46 | 0.00035724 | 8.9533e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1