## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1401-9_1_1_node_4 | 0.4 | n |  | TRUE
1 | bus_LV_1401-9_1_1_node_21 | 0.4 | n |  | TRUE
2 | bus_LV_1401-9_1_1_node_47 | 0.4 | n |  | TRUE
3 | bus_LV_1401-9_1_1_node_50 | 0.4 | n |  | TRUE
4 | bus_LV_1401-9_1_1_node_19 | 0.4 | n |  | TRUE
5 | bus_LV_1401-9_1_1_node_48 | 0.4 | n |  | TRUE
6 | bus_LV_1401-9_1_1_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1401-9_1_1_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_1401-9_1_1_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_1401-9_1_1_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_1401-9_1_1_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_1401-9_1_1_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_1401-9_1_1_node_53 | 0.4 | n |  | TRUE
13 | bus_LV_1401-9_1_1_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_1401-9_1_1_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1401-9_1_1_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_1401-9_1_1_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_1401-9_1_1_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_1401-9_1_1_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_1401-9_1_1_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_1401-9_1_1_node_54 | 0.4 | n |  | TRUE
21 | bus_LV_1401-9_1_1_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_1401-9_1_1_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_1401-9_1_1_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1401-9_1_1_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1401-9_1_1_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1401-9_1_1_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_1401-9_1_1_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_1401-9_1_1_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_1401-9_1_1_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_1401-9_1_1_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_1401-9_1_1_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1401-9_1_1_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_1401-9_1_1_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_1401-9_1_1_node_25 | 0.4 | n |  | TRUE
35 | bus_MV_0_node_24 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1401-9_1_1_load_47 | 2 | 0.00092391 | 0.00023155 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1401-9_1_1_load_19 | 4 | 0.0011648 | 0.00029192 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1401-9_1_1_load_48 | 5 | 0.0010255 | 0.00025701 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1401-9_1_1_load_8 | 6 | 0.0010047 | 0.00025179 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1401-9_1_1_load_9 | 7 | 0.0012786 | 0.00032044 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1401-9_1_1_load_11 | 9 | 0.004226 | 0.0010591 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1401-9_1_1_load_12 | 10 | 0.0015605 | 0.00039109 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1401-9_1_1_load_13 | 11 | 0.0019672 | 0.00049302 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1401-9_1_1_load_53 | 12 | 0.0033607 | 0.00084228 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1401-9_1_1_load_15 | 13 | 0.001347 | 0.0003376 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1401-9_1_1_load_51 | 15 | 0.0029363 | 0.00073591 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1401-9_1_1_load_16 | 16 | 0.00050651 | 0.00012694 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1401-9_1_1_load_28 | 17 | 0.0011187 | 0.00028036 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1401-9_1_1_load_29 | 18 | 0.0018277 | 0.00045807 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1401-9_1_1_load_49 | 19 | 0.00071226 | 0.00017851 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1401-9_1_1_load_54 | 20 | 0.00093645 | 0.0002347 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1401-9_1_1_load_27 | 22 | 0.0049062 | 0.0012296 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1401-9_1_1_load_17 | 23 | 0.00086734 | 0.00021737 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1401-9_1_1_load_18 | 24 | 0.0029221 | 0.00073235 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1401-9_1_1_load_20 | 25 | 0.0017067 | 0.00042774 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1401-9_1_1_load_44 | 26 | 0.00090825 | 0.00022763 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1401-9_1_1_load_42 | 27 | 0.0038058 | 0.00095381 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1401-9_1_1_load_43 | 28 | 0.00075434 | 0.00018906 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1401-9_1_1_load_46 | 30 | 0.0029518 | 0.00073978 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1401-9_1_1_load_22 | 31 | 0.0012274 | 0.00030761 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1401-9_1_1_load_23 | 32 | 0.0010228 | 0.00025634 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1401-9_1_1_load_24 | 33 | 0.0059959 | 0.0015027 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1401-9_1_1_load_25 | 34 | 0.0010763 | 0.00026975 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1401-9_1_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.033158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1401-9_1_1_line_1 | NAYY 4x150 SE | 0 | 2 | 0.04866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1401-9_1_1_line_2 | NAYY 4x150 SE | 1 | 3 | 0.056984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1401-9_1_1_line_3 | NAYY 4x150 SE | 1 | 4 | 0.13256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1401-9_1_1_line_4 | NAYY 4x150 SE | 2 | 5 | 0.0011675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1401-9_1_1_line_5 | NAYY 4x150 SE | 3 | 19 | 0.0062736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1401-9_1_1_line_6 | NAYY 4x150 SE | 4 | 23 | 0.0014663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1401-9_1_1_line_7 | NAYY 4x150 SE | 6 | 7 | 0.021036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1401-9_1_1_line_8 | NAYY 4x150 SE | 6 | 8 | 0.0017018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1401-9_1_1_line_9 | NAYY 4x150 SE | 8 | 9 | 0.15459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1401-9_1_1_line_10 | NAYY 4x150 SE | 8 | 10 | 0.033527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1401-9_1_1_line_11 | NAYY 4x150 SE | 9 | 11 | 0.02364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1401-9_1_1_line_12 | NAYY 4x150 SE | 9 | 12 | 0.16859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1401-9_1_1_line_13 | NAYY 4x150 SE | 10 | 13 | 0.016312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1401-9_1_1_line_14 | NAYY 4x150 SE | 11 | 14 | 0.0034071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1401-9_1_1_line_15 | NAYY 4x150 SE | 12 | 15 | 0.097808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1401-9_1_1_line_16 | NAYY 4x150 SE | 13 | 16 | 0.09492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1401-9_1_1_line_17 | NAYY 4x150 SE | 14 | 17 | 0.14967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1401-9_1_1_line_18 | NAYY 4x150 SE | 14 | 18 | 0.028117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1401-9_1_1_line_19 | NAYY 4x150 SE | 16 | 21 | 0.096888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1401-9_1_1_line_20 | NAYY 4x150 SE | 17 | 19 | 0.017939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1401-9_1_1_line_21 | NAYY 4x150 SE | 18 | 20 | 0.013271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1401-9_1_1_line_22 | NAYY 4x150 SE | 20 | 34 | 0.0147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1401-9_1_1_line_23 | NAYY 4x150 SE | 21 | 22 | 0.056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1401-9_1_1_line_24 | NAYY 4x150 SE | 23 | 24 | 0.052947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1401-9_1_1_line_25 | NAYY 4x150 SE | 24 | 25 | 0.071878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1401-9_1_1_line_26 | NAYY 4x150 SE | 25 | 26 | 0.13494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1401-9_1_1_line_27 | NAYY 4x150 SE | 26 | 27 | 0.0025982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1401-9_1_1_line_28 | NAYY 4x150 SE | 27 | 28 | 0.012267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1401-9_1_1_line_29 | NAYY 4x150 SE | 28 | 29 | 0.025375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1401-9_1_1_line_30 | NAYY 4x150 SE | 29 | 30 | 0.052238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1401-9_1_1_line_31 | NAYY 4x150 SE | 31 | 32 | 0.0096428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1401-9_1_1_line_32 | NAYY 4x150 SE | 31 | 33 | 0.0021041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1401-9_1_1_line_33 | NAYY 4x150 SE | 32 | 34 | 0.0067356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1401-9_1_1_trafo_24 | 0.25 MVA 20/0.4 kV | 35 | 33 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2663126.4452 | 1198007.1597 | 2663120.9719 | 1197974.4605
1 | 2663120.9719 | 1197974.4605 | 2663114.3516 | 1197976.0916 | 2663103.0889 | 1197976.6731 | 2663094.8384 | 1197977.62 | 2663091.9088 | 1197980.2573 | 2663091.6268 | 1197985.3351 | 2663090.8321 | 1197994.243 | 2663090.4219 | 1197998.5119
2 | 2663126.4452 | 1198007.1597 | 2663130.047 | 1198022.3511 | 2663139.217 | 1198062.6939
3 | 2663126.4452 | 1198007.1597 | 2663132.5666 | 1198006.6129 | 2663195.7522 | 1198001.9775 | 2663258.4926 | 1197995.6886
4 | 2663090.3102 | 1197999.674 | 2663090.4219 | 1197998.5119
5 | 2663139.217 | 1198062.6939 | 2663140.6074 | 1198068.8115
6 | 2663258.4926 | 1197995.6886 | 2663259.9516 | 1197995.5424
7 | 2663220.5674 | 1198410.5258 | 2663225.1233 | 1198431.0629
8 | 2663220.1988 | 1198408.8644 | 2663220.5674 | 1198410.5258
9 | 2663220.1988 | 1198408.8644 | 2663185.6767 | 1198258.1733
10 | 2663220.1988 | 1198408.8644 | 2663249.3156 | 1198392.242
11 | 2663180.3977 | 1198235.1303 | 2663185.6767 | 1198258.1733
12 | 2663185.6767 | 1198258.1733 | 2663019.3522 | 1198285.7054
13 | 2663264.479 | 1198387.0656 | 2663256.3547 | 1198388.2234 | 2663249.3156 | 1198392.242
14 | 2663179.6369 | 1198231.8092 | 2663180.3977 | 1198235.1303
15 | 2663019.3522 | 1198285.7054 | 2663018.7981 | 1198274.6931 | 2663001.41 | 1198274.8433 | 2662975.7094 | 1198269.5695 | 2662957.0864 | 1198259.7121 | 2662943.5026 | 1198247.8955 | 2662939.5916 | 1198246.7282
16 | 2663358.4493 | 1198373.6739 | 2663264.479 | 1198387.0656
17 | 2663179.6369 | 1198231.8092 | 2663145.1337 | 1198088.7272 | 2663144.5831 | 1198086.3046
18 | 2663179.6369 | 1198231.8092 | 2663207.7428 | 1198231.0166
19 | 2663454.3681 | 1198360.0044 | 2663358.4493 | 1198373.6739
20 | 2663140.6074 | 1198068.8115 | 2663144.5831 | 1198086.3046
21 | 2663221.009 | 1198230.6424 | 2663207.7428 | 1198231.0166
22 | 2663235.7036 | 1198230.228 | 2663221.009 | 1198230.6424
23 | 2663458.182 | 1198304.9124 | 2663458.6206 | 1198350.3994 | 2663454.3681 | 1198360.0044
24 | 2663311.5067 | 1197989.3337 | 2663307.1027 | 1197992.1938 | 2663297.2977 | 1197994.647 | 2663287.5173 | 1197994.788 | 2663280.9285 | 1197993.4397 | 2663259.9516 | 1197995.5424
25 | 2663311.5067 | 1197989.3337 | 2663317.8159 | 1197985.2364 | 2663361.5073 | 1197968.8784 | 2663368.7304 | 1197967.8654 | 2663379.11 | 1197968.6356
26 | 2663379.11 | 1197968.6356 | 2663459.1057 | 1198077.3103
27 | 2663459.1057 | 1198077.3103 | 2663461.5034 | 1198076.3092
28 | 2663461.5034 | 1198076.3092 | 2663472.8233 | 1198071.583
29 | 2663493.6442 | 1198075.8427 | 2663491.8587 | 1198071.1432 | 2663486.17 | 1198068.2366 | 2663480.0356 | 1198068.5717 | 2663472.8233 | 1198071.583
30 | 2663493.6442 | 1198075.8427 | 2663517.6365 | 1198048.4035 | 2663523.6498 | 1198040.118 | 2663525.5412 | 1198034.8461
31 | 2663252.0755 | 1198229.7663 | 2663242.4365 | 1198230.0381
32 | 2663254.1788 | 1198229.707 | 2663252.0755 | 1198229.7663
33 | 2663235.7036 | 1198230.228 | 2663242.4365 | 1198230.0381

## bus_geodata
| x | y | coords
0 | 2663120.9719 | 1197974.4605
1 | 2663126.4452 | 1198007.1597
2 | 2663090.4219 | 1197998.5119
3 | 2663139.217 | 1198062.6939
4 | 2663258.4926 | 1197995.6886
5 | 2663090.3102 | 1197999.674
6 | 2663220.5674 | 1198410.5258
7 | 2663225.1233 | 1198431.0629
8 | 2663220.1988 | 1198408.8644
9 | 2663185.6767 | 1198258.1733
10 | 2663249.3156 | 1198392.242
11 | 2663180.3977 | 1198235.1303
12 | 2663019.3522 | 1198285.7054
13 | 2663264.479 | 1198387.0656
14 | 2663179.6369 | 1198231.8092
15 | 2662939.5916 | 1198246.7282
16 | 2663358.4493 | 1198373.6739
17 | 2663144.5831 | 1198086.3046
18 | 2663207.7428 | 1198231.0166
19 | 2663140.6074 | 1198068.8115
20 | 2663221.009 | 1198230.6424
21 | 2663454.3681 | 1198360.0044
22 | 2663458.182 | 1198304.9124
23 | 2663259.9516 | 1197995.5424
24 | 2663311.5067 | 1197989.3337
25 | 2663379.11 | 1197968.6356
26 | 2663459.1057 | 1198077.3103
27 | 2663461.5034 | 1198076.3092
28 | 2663472.8233 | 1198071.583
29 | 2663493.6442 | 1198075.8427
30 | 2663525.5412 | 1198034.8461
31 | 2663252.0755 | 1198229.7663
32 | 2663242.4365 | 1198230.0381
33 | 2663254.1788 | 1198229.707
34 | 2663235.7036 | 1198230.228
35 | 2663254.1788 | 1198229.707

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98908 | -0.076577 | 0 | 0
1 | 0.98917 | -0.075915 | 0 | 0
2 | 0.98894 | -0.077546 | 0.00092391 | 0.00023155
3 | 0.99058 | -0.065997 | 0 | 0
4 | 0.98627 | -0.09642 | 0.0011648 | 0.00029192
5 | 0.98894 | -0.077558 | 0.0010255 | 0.00025701
6 | 0.99208 | -0.055529 | 0.0010047 | 0.00025179
7 | 0.99204 | -0.055802 | 0.0012786 | 0.00032044
8 | 0.99209 | -0.055489 | 0 | 0
9 | 0.99445 | -0.038847 | 0.004226 | 0.0010591
10 | 0.99169 | -0.058328 | 0.0015605 | 0.00039109
11 | 0.99516 | -0.033793 | 0.0019672 | 0.00049302
12 | 0.99292 | -0.049607 | 0.0033607 | 0.00084228
13 | 0.99153 | -0.059451 | 0.001347 | 0.0003376
14 | 0.99528 | -0.032997 | 0 | 0
15 | 0.99251 | -0.05252 | 0.0029363 | 0.00073591
16 | 0.99079 | -0.06469 | 0.00050651 | 0.00012694
17 | 0.99119 | -0.061661 | 0.0011187 | 0.00028036
18 | 0.99698 | -0.021089 | 0.0018277 | 0.00045807
19 | 0.99073 | -0.064907 | 0.00071226 | 0.00017851
20 | 0.99781 | -0.015239 | 0.00093645 | 0.0002347
21 | 0.9901 | -0.069536 | 0 | 0
22 | 0.98971 | -0.072335 | 0.0049062 | 0.0012296
23 | 0.98624 | -0.09663 | 0.00086734 | 0.00021737
24 | 0.98524 | -0.10374 | 0.0029221 | 0.00073235
25 | 0.98419 | -0.11125 | 0.0017067 | 0.00042774
26 | 0.98254 | -0.123 | 0.00090825 | 0.00022763
27 | 0.98251 | -0.1232 | 0.0038058 | 0.00095381
28 | 0.98244 | -0.12367 | 0.00075434 | 0.00018906
29 | 0.98234 | -0.12445 | 0 | 0
30 | 0.98211 | -0.12605 | 0.0029518 | 0.00073978
31 | 0.99985 | -0.0010124 | 0.0012274 | 0.00030761
32 | 0.9992 | -0.0055375 | 0.0010228 | 0.00025634
33 | 1 | 0 | -0.049308 | -0.012198
34 | 0.99876 | -0.0086328 | 0.0010763 | 0.00026975
35 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0019497 | -0.00048803 | 0.0019498 | 0.00048767 | 1.7798e-07 | -3.5715e-07 | 0.002933 | 0.0029328 | 0.002933 | 0.98908 | -0.076577 | 0.98917 | -0.075915 | 1.0863
1 | 0.0019497 | 0.00048803 | -0.0019494 | -0.00048855 | 2.6122e-07 | -5.2396e-07 | 0.002933 | 0.0029332 | 0.0029332 | 0.98908 | -0.076577 | 0.98894 | -0.077546 | 1.0864
2 | -0.017113 | -0.0042927 | 0.017136 | 0.004301 | 2.3567e-05 | 8.3316e-06 | 0.025744 | 0.025744 | 0.025744 | 0.98917 | -0.075915 | 0.99058 | -0.065997 | 9.5349
3 | 0.015163 | 0.003805 | -0.01512 | -0.0037902 | 4.3043e-05 | 1.4858e-05 | 0.022812 | 0.022812 | 0.022812 | 0.98917 | -0.075915 | 0.98627 | -0.09642 | 8.4489
4 | 0.0010255 | 0.000257 | -0.0010255 | -0.00025701 | 1.7346e-09 | -1.4313e-08 | 0.001543 | 0.001543 | 0.001543 | 0.98894 | -0.077546 | 0.98894 | -0.077558 | 0.57149
5 | -0.017136 | -0.004301 | 0.017139 | 0.0043019 | 2.5945e-06 | 9.1712e-07 | 0.025744 | 0.025744 | 0.025744 | 0.99058 | -0.065997 | 0.99073 | -0.064907 | 9.5348
6 | 0.013955 | 0.0034982 | -0.013955 | -0.0034981 | 4.0561e-07 | 1.3729e-07 | 0.021055 | 0.021055 | 0.021055 | 0.98627 | -0.09642 | 0.98624 | -0.09663 | 7.7981
7 | 0.0012786 | 0.00032019 | -0.0012786 | -0.00032044 | 4.8278e-08 | -2.5305e-07 | 0.0019177 | 0.0019178 | 0.0019178 | 0.99208 | -0.055529 | 0.99204 | -0.055802 | 0.7103
8 | -0.0022833 | -0.00057198 | 0.0022833 | 0.00057197 | 1.2454e-08 | -1.7184e-08 | 0.0034246 | 0.0034246 | 0.0034246 | 0.99208 | -0.055529 | 0.99209 | -0.055489 | 1.2684
9 | -0.010617 | -0.0026586 | 0.010641 | 0.002666 | 2.4459e-05 | 7.4063e-06 | 0.015923 | 0.015923 | 0.015923 | 0.99209 | -0.055489 | 0.99445 | -0.038847 | 5.8976
10 | 0.0083337 | 0.0020866 | -0.0083304 | -0.0020858 | 3.2684e-06 | 8.2432e-07 | 0.012499 | 0.012499 | 0.012499 | 0.99209 | -0.055489 | 0.99169 | -0.058328 | 4.6293
11 | -0.021175 | -0.0053039 | 0.02119 | 0.0053093 | 1.4808e-05 | 5.3886e-06 | 0.031684 | 0.031684 | 0.031684 | 0.99445 | -0.038847 | 0.99516 | -0.033793 | 11.7347
12 | 0.0063076 | 0.0015788 | -0.0062983 | -0.0015774 | 9.3706e-06 | 1.4202e-06 | 0.0094376 | 0.0094383 | 0.0094383 | 0.99445 | -0.038847 | 0.99292 | -0.049607 | 3.4957
13 | 0.0067699 | 0.0016947 | -0.0067689 | -0.0016945 | 1.0502e-06 | 1.9349e-07 | 0.010158 | 0.010158 | 0.010158 | 0.99169 | -0.058328 | 0.99153 | -0.059451 | 3.7621
14 | -0.023157 | -0.0058023 | 0.02316 | 0.0058032 | 2.5489e-06 | 9.3607e-07 | 0.034625 | 0.034625 | 0.034625 | 0.99516 | -0.033793 | 0.99528 | -0.032997 | 12.8241
15 | 0.0029375 | 0.0007351 | -0.0029363 | -0.00073591 | 1.1827e-06 | -8.0966e-07 | 0.0044018 | 0.0044023 | 0.0044023 | 0.99292 | -0.049607 | 0.99251 | -0.05252 | 1.6305
16 | 0.0054219 | 0.0013569 | -0.005418 | -0.0013566 | 3.921e-06 | 2.8471e-07 | 0.0081361 | 0.0081365 | 0.0081365 | 0.99153 | -0.059451 | 0.99079 | -0.06469 | 3.0135
17 | 0.019054 | 0.0047909 | -0.018978 | -0.0047637 | 7.582e-05 | 2.7224e-05 | 0.028492 | 0.028493 | 0.028493 | 0.99528 | -0.032997 | 0.99119 | -0.061661 | 10.553
18 | -0.042213 | -0.010594 | 0.042283 | 0.010621 | 6.9896e-05 | 2.6517e-05 | 0.063117 | 0.063117 | 0.063117 | 0.99528 | -0.032997 | 0.99698 | -0.021089 | 23.3768
19 | 0.0049114 | 0.0012297 | -0.0049081 | -0.0012296 | 3.2893e-06 | 1.8172e-08 | 0.0073758 | 0.0073762 | 0.0073762 | 0.99079 | -0.06469 | 0.9901 | -0.069536 | 2.7319
20 | 0.017859 | 0.0044833 | -0.017851 | -0.0044804 | 8.0483e-06 | 2.8644e-06 | 0.026814 | 0.026814 | 0.026814 | 0.99119 | -0.061661 | 0.99073 | -0.064907 | 9.931
21 | -0.044111 | -0.011079 | 0.044147 | 0.011092 | 3.5905e-05 | 1.3636e-05 | 0.065845 | 0.065845 | 0.065845 | 0.99698 | -0.021089 | 0.99781 | -0.015239 | 24.3872
22 | -0.045083 | -0.011327 | 0.045125 | 0.011343 | 4.1476e-05 | 1.576e-05 | 0.067242 | 0.067242 | 0.067242 | 0.99781 | -0.015239 | 0.99876 | -0.0086328 | 24.9044
23 | 0.0049081 | 0.0012296 | -0.0049062 | -0.0012296 | 1.9013e-06 | 1.1358e-08 | 0.0073762 | 0.0073765 | 0.0073765 | 0.9901 | -0.069536 | 0.98971 | -0.072335 | 2.732
24 | 0.013087 | 0.0032807 | -0.013075 | -0.0032764 | 1.2883e-05 | 4.2799e-06 | 0.019746 | 0.019746 | 0.019746 | 0.98624 | -0.09663 | 0.98524 | -0.10374 | 7.3135
25 | 0.010152 | 0.0025441 | -0.010142 | -0.002541 | 1.0545e-05 | 3.1415e-06 | 0.015333 | 0.015334 | 0.015334 | 0.98524 | -0.10374 | 0.98419 | -0.11125 | 5.6791
26 | 0.0084352 | 0.0021132 | -0.0084215 | -0.0021097 | 1.3696e-05 | 3.5557e-06 | 0.012753 | 0.012754 | 0.012754 | 0.98419 | -0.11125 | 0.98254 | -0.123 | 4.7236
27 | 0.0075133 | 0.001882 | -0.0075131 | -0.001882 | 2.099e-07 | 4.7825e-08 | 0.011378 | 0.011378 | 0.011378 | 0.98254 | -0.123 | 0.98251 | -0.1232 | 4.2142
28 | 0.0037073 | 0.00092816 | -0.0037071 | -0.00092823 | 2.4129e-07 | -6.2541e-08 | 0.0056144 | 0.0056144 | 0.0056144 | 0.98251 | -0.1232 | 0.98244 | -0.12367 | 2.0794
29 | 0.0029527 | 0.00073917 | -0.0029524 | -0.00073937 | 3.1665e-07 | -1.9949e-07 | 0.0044719 | 0.004472 | 0.004472 | 0.98244 | -0.12367 | 0.98234 | -0.12445 | 1.6563
30 | 0.0029524 | 0.00073937 | -0.0029518 | -0.00073978 | 6.5193e-07 | -4.1043e-07 | 0.004472 | 0.0044723 | 0.0044723 | 0.98234 | -0.12445 | 0.98211 | -0.12605 | 1.6564
31 | 0.047274 | 0.011888 | -0.047244 | -0.011876 | 2.9795e-05 | 1.1333e-05 | 0.070368 | 0.070368 | 0.070368 | 0.99985 | -0.0010124 | 0.9992 | -0.0055375 | 26.0624
32 | -0.048501 | -0.012195 | 0.048508 | 0.012198 | 6.8434e-06 | 2.6045e-06 | 0.072195 | 0.072195 | 0.072195 | 0.99985 | -0.0010124 | 1 | 0 | 26.7389
33 | 0.046221 | 0.01162 | -0.046201 | -0.011613 | 1.9921e-05 | 7.5737e-06 | 0.068845 | 0.068845 | 0.068845 | 0.9992 | -0.0055375 | 0.99876 | -0.0086328 | 25.4982

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.055304 | 0.013701

## res_load
| p_mw | q_mvar
0 | 0.00092391 | 0.00023155
1 | 0.0011648 | 0.00029192
2 | 0.0010255 | 0.00025701
3 | 0.0010047 | 0.00025179
4 | 0.0012786 | 0.00032044
5 | 0.004226 | 0.0010591
6 | 0.0015605 | 0.00039109
7 | 0.0019672 | 0.00049302
8 | 0.0033607 | 0.00084228
9 | 0.001347 | 0.0003376
10 | 0.0029363 | 0.00073591
11 | 0.00050651 | 0.00012694
12 | 0.0011187 | 0.00028036
13 | 0.0018277 | 0.00045807
14 | 0.00071226 | 0.00017851
15 | 0.00093645 | 0.0002347
16 | 0.0049062 | 0.0012296
17 | 0.00086734 | 0.00021737
18 | 0.0029221 | 0.00073235
19 | 0.0017067 | 0.00042774
20 | 0.00090825 | 0.00022763
21 | 0.0038058 | 0.00095381
22 | 0.00075434 | 0.00018906
23 | 0.0029518 | 0.00073978
24 | 0.0012274 | 0.00030761
25 | 0.0010228 | 0.00025634
26 | 0.0059959 | 0.0015027
27 | 0.0010763 | 0.00026975

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1