## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1402-10_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1402-10_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1402-10_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1402-10_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1402-10_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1402-10_0_2_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_1402-10_0_2_node_38 | 0.4 | n |  | TRUE
7 | bus_LV_1402-10_0_2_node_42 | 0.4 | n |  | TRUE
8 | bus_LV_1402-10_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1402-10_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1402-10_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1402-10_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1402-10_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1402-10_0_2_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1402-10_0_2_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_1402-10_0_2_node_43 | 0.4 | n |  | TRUE
16 | bus_LV_1402-10_0_2_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1402-10_0_2_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1402-10_0_2_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_1402-10_0_2_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_1402-10_0_2_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_1402-10_0_2_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_1402-10_0_2_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_1402-10_0_2_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_1402-10_0_2_node_98 | 0.4 | n |  | TRUE
25 | bus_LV_1402-10_0_2_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_1402-10_0_2_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_1402-10_0_2_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_1402-10_0_2_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_1402-10_0_2_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_1402-10_0_2_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_1402-10_0_2_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_1402-10_0_2_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_1402-10_0_2_node_96 | 0.4 | n |  | TRUE
34 | bus_LV_1402-10_0_2_node_97 | 0.4 | n |  | TRUE
35 | bus_LV_1402-10_0_2_node_99 | 0.4 | n |  | TRUE
36 | bus_LV_1402-10_0_2_node_102 | 0.4 | n |  | TRUE
37 | bus_LV_1402-10_0_2_node_100 | 0.4 | n |  | TRUE
38 | bus_MV_137_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1402-10_0_2_load_0 | 0 | 0.0063629 | 0.0015947 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1402-10_0_2_load_1 | 1 | 0.0061342 | 0.0015374 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1402-10_0_2_load_2 | 2 | 0.006099 | 0.0015285 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1402-10_0_2_load_3 | 3 | 0.0046959 | 0.0011769 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1402-10_0_2_load_19 | 5 | 0.0055455 | 0.0013898 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1402-10_0_2_load_42 | 7 | 0.003293 | 0.0008253 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1402-10_0_2_load_5 | 8 | 0.0067316 | 0.0016871 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1402-10_0_2_load_6 | 9 | 0.0052 | 0.0013032 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1402-10_0_2_load_7 | 10 | 0.007451 | 0.0018674 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1402-10_0_2_load_9 | 12 | 0.0074173 | 0.001859 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1402-10_0_2_load_11 | 13 | 0.0027422 | 0.00068726 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1402-10_0_2_load_10 | 16 | 0.0030118 | 0.00075482 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1402-10_0_2_load_12 | 17 | 0.0049129 | 0.0012313 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1402-10_0_2_load_20 | 18 | 0.0031393 | 0.00078679 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1402-10_0_2_load_26 | 19 | 0.0027039 | 0.00067765 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1402-10_0_2_load_21 | 20 | 0.0056109 | 0.0014062 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1402-10_0_2_load_25 | 21 | 0.014406 | 0.0036106 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1402-10_0_2_load_27 | 22 | 0.002725 | 0.00068296 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1402-10_0_2_load_29 | 25 | 0.0015811 | 0.00039627 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1402-10_0_2_load_30 | 26 | 0.0026199 | 0.00065661 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1402-10_0_2_load_48 | 27 | 0.002076 | 0.00052028 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1402-10_0_2_load_36 | 28 | 0.0028377 | 0.0007112 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1402-10_0_2_load_37 | 29 | 0.0027244 | 0.0006828 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1402-10_0_2_load_49 | 31 | 0.0015653 | 0.00039231 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1402-10_0_2_load_41 | 32 | 0.0075833 | 0.0019005 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1402-10_0_2_load_96 | 33 | 0.00086758 | 0.00021744 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1402-10_0_2_load_102 | 36 | 0.00030225 | 7.5751e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1402-10_0_2_load_100 | 37 | 0.00051573 | 0.00012925 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1402-10_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0089844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1402-10_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0092784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1402-10_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.017248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1402-10_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.03622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1402-10_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.026472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1402-10_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.046843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1402-10_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.018771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1402-10_0_2_line_7 | NAYY 4x150 SE | 5 | 18 | 0.029974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1402-10_0_2_line_8 | NAYY 4x150 SE | 6 | 28 | 0.046933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1402-10_0_2_line_9 | NAYY 4x150 SE | 7 | 32 | 0.043259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1402-10_0_2_line_10 | NAYY 4x150 SE | 8 | 9 | 0.024106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1402-10_0_2_line_11 | NAYY 4x150 SE | 8 | 10 | 0.015956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1402-10_0_2_line_12 | NAYY 4x150 SE | 9 | 11 | 0.021949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1402-10_0_2_line_13 | NAYY 4x150 SE | 10 | 12 | 0.0098521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1402-10_0_2_line_14 | NAYY 4x150 SE | 11 | 13 | 0.014081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1402-10_0_2_line_15 | NAYY 4x150 SE | 11 | 14 | 0.007108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1402-10_0_2_line_16 | NAYY 4x150 SE | 12 | 15 | 0.077487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1402-10_0_2_line_17 | NAYY 4x150 SE | 13 | 16 | 0.0028231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1402-10_0_2_line_18 | NAYY 4x150 SE | 14 | 21 | 0.038937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1402-10_0_2_line_19 | NAYY 4x150 SE | 14 | 20 | 0.055994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1402-10_0_2_line_20 | NAYY 4x150 SE | 15 | 19 | 0.045376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1402-10_0_2_line_21 | NAYY 4x150 SE | 16 | 17 | 0.034085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1402-10_0_2_line_22 | NAYY 4x150 SE | 18 | 19 | 0.0029384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1402-10_0_2_line_23 | NAYY 4x150 SE | 22 | 23 | 0.011032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1402-10_0_2_line_24 | NAYY 4x150 SE | 22 | 24 | 0.44916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1402-10_0_2_line_25 | NAYY 4x150 SE | 23 | 25 | 0.033352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1402-10_0_2_line_26 | NAYY 4x150 SE | 23 | 26 | 0.011942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1402-10_0_2_line_27 | NAYY 4x150 SE | 24 | 34 | 0.28353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1402-10_0_2_line_28 | NAYY 4x150 SE | 26 | 27 | 0.022036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1402-10_0_2_line_29 | NAYY 4x150 SE | 27 | 30 | 0.0098531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1402-10_0_2_line_30 | NAYY 4x150 SE | 28 | 29 | 0.031966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1402-10_0_2_line_31 | NAYY 4x150 SE | 29 | 30 | 0.015174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1402-10_0_2_line_32 | NAYY 4x150 SE | 30 | 31 | 0.047271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1402-10_0_2_line_33 | NAYY 4x150 SE | 33 | 34 | 0.094369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1402-10_0_2_line_34 | NAYY 4x150 SE | 34 | 35 | 0.11745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1402-10_0_2_line_35 | NAYY 4x150 SE | 35 | 36 | 0.059445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1402-10_0_2_line_36 | NAYY 4x150 SE | 35 | 37 | 0.029292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1402-10_0_2_trafo_3 | 0.25 MVA 20/0.4 kV | 38 | 3 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2674082.3704 | 1186179.6251 | 2674086.2429 | 1186177.5698 | 2674090.4955 | 1186175.8153
1 | 2674099.0726 | 1186172.2768 | 2674090.4955 | 1186175.8153
2 | 2674082.3704 | 1186179.6251 | 2674067.1351 | 1186187.7116
3 | 2674133.2685 | 1186162.0755 | 2674126.5962 | 1186161.6594 | 2674121.1976 | 1186163.1491 | 2674099.0726 | 1186172.2768
4 | 2674043.7527 | 1186200.1223 | 2674067.1351 | 1186187.7116
5 | 2674133.2685 | 1186162.0755 | 2674153.9597 | 1186164.344 | 2674158.0544 | 1186167.0852 | 2674157.9681 | 1186171.5868 | 2674145.0789 | 1186182.0446
6 | 2674133.2685 | 1186162.0755 | 2674132.2834 | 1186157.8164 | 2674125.2508 | 1186145.2507
7 | 2674043.7527 | 1186200.1223 | 2674042.2953 | 1186200.8959 | 2674017.7384 | 1186215.0108
8 | 2674145.0789 | 1186182.0446 | 2674118.2754 | 1186203.7926 | 2674108.4168 | 1186211.3405
9 | 2674104.1239 | 1186107.5018 | 2674125.2508 | 1186145.2507
10 | 2674041.3089 | 1186124.9688 | 2674029.42 | 1186145.9396
11 | 2674021.5505 | 1186159.8205 | 2674029.42 | 1186145.9396
12 | 2674029.22 | 1186109.7581 | 2674039.2747 | 1186114.9854 | 2674041.4907 | 1186119.0708 | 2674041.5762 | 1186124.4973 | 2674041.3089 | 1186124.9688
13 | 2674021.5505 | 1186159.8205 | 2674016.6917 | 1186168.3911
14 | 2674029.22 | 1186109.7581 | 2674023.6925 | 1186111.1796 | 2674018.2965 | 1186117.5824
15 | 2674030.2151 | 1186102.7218 | 2674029.22 | 1186109.7581
16 | 2673974.6684 | 1186230.9784 | 2673973.9484 | 1186226.2556 | 2673974.6019 | 1186222.7727 | 2673978.2516 | 1186215.8248 | 2673984.9163 | 1186207.5911 | 2673994.9027 | 1186195.485 | 2674010.3623 | 1186179.5554 | 2674016.6917 | 1186168.3911
17 | 2674018.2965 | 1186117.5824 | 2674016.4772 | 1186119.7411
18 | 2674030.2151 | 1186102.7218 | 2674032.6259 | 1186098.4602 | 2674044.3018 | 1186084.2849 | 2674058.6041 | 1186077.8667
19 | 2674030.2151 | 1186102.7218 | 2674013.6119 | 1186090.754 | 2674010.1545 | 1186095.1028 | 2673989.0057 | 1186087.2258 | 2673984.3261 | 1186086.1118 | 2673981.8719 | 1186085.2761
20 | 2673974.6684 | 1186230.9784 | 2673976.7094 | 1186232.5601 | 2673980.2603 | 1186232.982 | 2673985.8248 | 1186232.884 | 2673991.0836 | 1186230.3474 | 2674001.4521 | 1186224.3719 | 2674015.1908 | 1186216.4751
21 | 2673991.4513 | 1186142.2531 | 2674004.0433 | 1186134.4951 | 2674016.4772 | 1186119.7411
22 | 2674017.7384 | 1186215.0108 | 2674015.1908 | 1186216.4751
23 | 2674039.6548 | 1186270.0265 | 2674030.9601 | 1186276.8173
24 | 2674030.9601 | 1186276.8173 | 2673852.5194 | 1186689.0097
25 | 2674039.6548 | 1186270.0265 | 2674073.0559 | 1186268.2494
26 | 2674039.6548 | 1186270.0265 | 2674049.0955 | 1186262.7128
27 | 2673852.5194 | 1186689.0097 | 2673851.6617 | 1186701.0174 | 2673843.7489 | 1186729.4589 | 2673845.6292 | 1186752.0955 | 2673851.8146 | 1186775.8525 | 2673874.899 | 1186787.4551 | 2673887.4926 | 1186773.6022 | 2673900.5547 | 1186765.6919 | 2673924.2996 | 1186767.0635 | 2673937.169 | 1186774.7602 | 2673952.8855 | 1186770.6406 | 2673967.4987 | 1186768.1306 | 2673982.4939 | 1186778.5441 | 2673995.2701 | 1186793.7776 | 2674003.1929 | 1186808.4175 | 2674006.8778 | 1186818.3467
28 | 2674066.5155 | 1186249.2175 | 2674049.0955 | 1186262.7128
29 | 2674074.3047 | 1186243.1833 | 2674066.5155 | 1186249.2175
30 | 2674108.4168 | 1186211.3405 | 2674083.0358 | 1186230.7728
31 | 2674074.3047 | 1186243.1833 | 2674083.0358 | 1186230.7728
32 | 2674074.3047 | 1186243.1833 | 2674078.07 | 1186244.7863 | 2674081.7469 | 1186244.2759 | 2674103.1641 | 1186239.6603 | 2674120.0265 | 1186234.3323
33 | 2674006.8778 | 1186818.3467 | 2674003.9566 | 1186821.9461 | 2673966.4732 | 1186877.7052 | 2673958.7085 | 1186884.858 | 2673947.0219 | 1186887.5362
34 | 2674120.4878 | 1186809.2346 | 2674101.4711 | 1186807.4872 | 2674093.2593 | 1186811.9105 | 2674058.9838 | 1186822.9266 | 2674042.1325 | 1186816.9926 | 2674013.4307 | 1186816.6377 | 2674006.8778 | 1186818.3467
35 | 2674120.4878 | 1186809.2346 | 2674152.2669 | 1186805.1032 | 2674163.3048 | 1186807.2411 | 2674170.522 | 1186813.5119 | 2674175.5775 | 1186817.7461
36 | 2674120.4878 | 1186809.2346 | 2674111.5103 | 1186791.6687 | 2674102.57 | 1186788.2676

## bus_geodata
| x | y | coords
0 | 2674090.4955 | 1186175.8153
1 | 2674082.3704 | 1186179.6251
2 | 2674099.0726 | 1186172.2768
3 | 2674067.135 | 1186187.7116
4 | 2674133.2685 | 1186162.0755
5 | 2674043.7527 | 1186200.1223
6 | 2674145.0789 | 1186182.0446
7 | 2674125.2508 | 1186145.2507
8 | 2674029.42 | 1186145.9396
9 | 2674041.3089 | 1186124.9688
10 | 2674021.5505 | 1186159.8205
11 | 2674029.22 | 1186109.7581
12 | 2674016.6917 | 1186168.3911
13 | 2674018.2965 | 1186117.5824
14 | 2674030.2151 | 1186102.7218
15 | 2673974.6684 | 1186230.9784
16 | 2674016.4772 | 1186119.7411
17 | 2673991.4513 | 1186142.2531
18 | 2674017.7384 | 1186215.0108
19 | 2674015.1908 | 1186216.4751
20 | 2673981.8719 | 1186085.2761
21 | 2674058.6041 | 1186077.8667
22 | 2674030.9601 | 1186276.8173
23 | 2674039.6548 | 1186270.0265
24 | 2673852.5194 | 1186689.0097
25 | 2674073.0559 | 1186268.2494
26 | 2674049.0955 | 1186262.7128
27 | 2674066.5155 | 1186249.2175
28 | 2674108.4168 | 1186211.3405
29 | 2674083.0358 | 1186230.7728
30 | 2674074.3047 | 1186243.1833
31 | 2674120.0265 | 1186234.3323
32 | 2674104.1239 | 1186107.5018
33 | 2673947.0219 | 1186887.5362
34 | 2674006.8778 | 1186818.3467
35 | 2674120.4878 | 1186809.2346
36 | 2674175.5775 | 1186817.7461
37 | 2674102.57 | 1186788.2676
38 | 2674133.2685 | 1186162.0755

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9983 | -0.011887 | 0.0063629 | 0.0015947
1 | 0.99883 | -0.0081736 | 0.0061342 | 0.0015374
2 | 0.99784 | -0.015133 | 0.006099 | 0.0015285
3 | 1 | 0 | -0.11829 | -0.029598
4 | 0.99635 | -0.025614 | 0 | 0
5 | 0.99736 | -0.018254 | 0.0055455 | 0.0013898
6 | 0.99515 | -0.034072 | 0 | 0
7 | 0.99606 | -0.027668 | 0.003293 | 0.0008253
8 | 0.98238 | -0.12333 | 0.0067316 | 0.0016871
9 | 0.98112 | -0.1323 | 0.0052 | 0.0013032
10 | 0.98337 | -0.11631 | 0.007451 | 0.0018674
11 | 0.98014 | -0.13929 | 0 | 0
12 | 0.98408 | -0.11122 | 0.0074173 | 0.001859
13 | 0.97992 | -0.14085 | 0.0027422 | 0.00068726
14 | 0.97993 | -0.14077 | 0 | 0
15 | 0.99056 | -0.065592 | 0 | 0
16 | 0.97989 | -0.14108 | 0.0030118 | 0.00075482
17 | 0.97964 | -0.14283 | 0.0049129 | 0.0012313
18 | 0.9946 | -0.037363 | 0.0031393 | 0.00078679
19 | 0.99435 | -0.039148 | 0.0027039 | 0.00067765
20 | 0.97947 | -0.14404 | 0.0056109 | 0.0014062
21 | 0.97911 | -0.1466 | 0.014406 | 0.0036106
22 | 0.9924 | -0.053605 | 0.002725 | 0.00068296
23 | 0.99247 | -0.053101 | 0 | 0
24 | 0.99131 | -0.06164 | 0 | 0
25 | 0.9924 | -0.053636 | 0.0015811 | 0.00039627
26 | 0.99257 | -0.052363 | 0.0026199 | 0.00065661
27 | 0.99285 | -0.050418 | 0.002076 | 0.00052028
28 | 0.99395 | -0.042565 | 0.0028377 | 0.0007112
29 | 0.99327 | -0.047442 | 0.0027244 | 0.0006828
30 | 0.993 | -0.049341 | 0 | 0
31 | 0.99289 | -0.050091 | 0.0015653 | 0.00039231
32 | 0.99559 | -0.030971 | 0.0075833 | 0.0019005
33 | 0.99051 | -0.067456 | 0.00086758 | 0.00021744
34 | 0.99063 | -0.066619 | 0 | 0
35 | 0.99049 | -0.067613 | 0 | 0
36 | 0.99046 | -0.067798 | 0.00030225 | 7.5751e-05
37 | 0.99047 | -0.067767 | 0.00051573 | 0.00012925
38 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.04128 | -0.010345 | 0.041302 | 0.010353 | 2.1225e-05 | 8.0458e-06 | 0.06153 | 0.06153 | 0.06153 | 0.9983 | -0.011887 | 0.99883 | -0.0081736 | 22.7888
1 | 0.034917 | 0.0087498 | -0.034902 | -0.0087439 | 1.5683e-05 | 5.9106e-06 | 0.052045 | 0.052046 | 0.052046 | 0.9983 | -0.011887 | 0.99784 | -0.015133 | 19.2761
2 | -0.047436 | -0.01189 | 0.04749 | 0.01191 | 5.375e-05 | 2.0447e-05 | 0.070668 | 0.070668 | 0.070668 | 0.99883 | -0.0081736 | 1 | 0 | 26.1734
3 | 0.028803 | 0.0072154 | -0.028761 | -0.0071998 | 4.1693e-05 | 1.5563e-05 | 0.042951 | 0.042951 | 0.042951 | 0.99784 | -0.015133 | 0.99635 | -0.025614 | 15.9077
4 | 0.069996 | 0.017688 | -0.069817 | -0.017619 | 0.00017937 | 6.8644e-05 | 0.10421 | 0.10421 | 0.10421 | 1 | 0 | 0.99736 | -0.018254 | 38.5951
5 | 0.017878 | 0.0044723 | -0.017857 | -0.0044649 | 2.0834e-05 | 7.4038e-06 | 0.026698 | 0.026698 | 0.026698 | 0.99635 | -0.025614 | 0.99515 | -0.034072 | 9.8881
6 | 0.010883 | 0.0027276 | -0.01088 | -0.0027266 | 3.0943e-06 | 9.457e-07 | 0.016253 | 0.016253 | 0.016253 | 0.99635 | -0.025614 | 0.99606 | -0.027668 | 6.0197
7 | 0.064271 | 0.01623 | -0.064099 | -0.016164 | 0.00017214 | 6.5816e-05 | 0.095933 | 0.095933 | 0.095933 | 0.99736 | -0.018254 | 0.9946 | -0.037363 | 35.5308
8 | 0.017857 | 0.0044649 | -0.017837 | -0.0044574 | 2.0875e-05 | 7.4196e-06 | 0.026698 | 0.026698 | 0.026698 | 0.99515 | -0.034072 | 0.99395 | -0.042565 | 9.8881
9 | 0.0075867 | 0.0019013 | -0.0075833 | -0.0019005 | 3.4675e-06 | 7.7087e-07 | 0.011334 | 0.011334 | 0.011334 | 0.99606 | -0.027668 | 0.99559 | -0.030971 | 4.1978
10 | 0.035981 | 0.009028 | -0.035936 | -0.0090112 | 4.4686e-05 | 1.6882e-05 | 0.054504 | 0.054504 | 0.054504 | 0.98238 | -0.12333 | 0.98112 | -0.1323 | 20.1867
11 | -0.042712 | -0.010715 | 0.042754 | 0.010731 | 4.1681e-05 | 1.5829e-05 | 0.0647 | 0.0647 | 0.0647 | 0.98238 | -0.12333 | 0.98337 | -0.11631 | 23.9631
12 | 0.030736 | 0.0077079 | -0.030706 | -0.0076967 | 2.9765e-05 | 1.1171e-05 | 0.046618 | 0.046618 | 0.046618 | 0.98112 | -0.1323 | 0.98014 | -0.13929 | 17.2658
13 | -0.050205 | -0.012598 | 0.05024 | 0.012612 | 3.5486e-05 | 1.3523e-05 | 0.075975 | 0.075975 | 0.075975 | 0.98337 | -0.11631 | 0.98408 | -0.11122 | 28.1389
14 | 0.010671 | 0.0026742 | -0.010668 | -0.0026735 | 2.3058e-06 | 7.0944e-07 | 0.0162 | 0.0162 | 0.0162 | 0.98014 | -0.13929 | 0.97992 | -0.14085 | 5.9999
15 | 0.020036 | 0.0050226 | -0.020031 | -0.0050211 | 4.1038e-06 | 1.4888e-06 | 0.030418 | 0.030418 | 0.030418 | 0.98014 | -0.13929 | 0.97993 | -0.14077 | 11.2659
16 | -0.057658 | -0.014471 | 0.058025 | 0.014611 | 0.00036758 | 0.00014039 | 0.087191 | 0.08719 | 0.087191 | 0.98408 | -0.11122 | 0.99056 | -0.065592 | 32.2928
17 | 0.0079261 | 0.0019862 | -0.0079259 | -0.0019861 | 2.5518e-07 | 6.2585e-08 | 0.012036 | 0.012036 | 0.012036 | 0.97992 | -0.14085 | 0.97989 | -0.14108 | 4.4577
18 | 0.014418 | 0.0036146 | -0.014406 | -0.0036106 | 1.1647e-05 | 3.9894e-06 | 0.021894 | 0.021894 | 0.021894 | 0.97993 | -0.14077 | 0.97911 | -0.1466 | 8.1089
19 | 0.0056135 | 0.0014065 | -0.0056109 | -0.0014062 | 2.5387e-06 | 2.7134e-07 | 0.0085239 | 0.0085241 | 0.0085241 | 0.97993 | -0.14077 | 0.97947 | -0.14404 | 3.1571
20 | -0.058025 | -0.014611 | 0.058241 | 0.014693 | 0.00021525 | 8.2202e-05 | 0.08719 | 0.08719 | 0.08719 | 0.99056 | -0.065592 | 0.99435 | -0.039148 | 32.2927
21 | 0.0049141 | 0.0012313 | -0.0049129 | -0.0012313 | 1.1844e-06 | 2.6277e-08 | 0.0074622 | 0.0074624 | 0.0074624 | 0.97989 | -0.14108 | 0.97964 | -0.14283 | 2.7638
22 | 0.06096 | 0.015377 | -0.060944 | -0.015371 | 1.5263e-05 | 5.8322e-06 | 0.091236 | 0.091236 | 0.091236 | 0.9946 | -0.037363 | 0.99435 | -0.039148 | 33.7913
23 | -0.0044137 | -0.0010933 | 0.004414 | 0.0010933 | 3.011e-07 | -2.6749e-08 | 0.0066135 | 0.0066134 | 0.0066135 | 0.9924 | -0.053605 | 0.99247 | -0.053101 | 2.4494
24 | 0.0016887 | 0.00041033 | -0.0016869 | -0.00041544 | 1.792e-06 | -5.1079e-06 | 0.0025276 | 0.0025296 | 0.0025296 | 0.9924 | -0.053605 | 0.99131 | -0.06164 | 0.93688
25 | 0.0015813 | 0.00039589 | -0.0015811 | -0.00039627 | 1.1697e-07 | -3.8597e-07 | 0.0023706 | 0.0023708 | 0.0023708 | 0.99247 | -0.053101 | 0.9924 | -0.053636 | 0.87807
26 | -0.0059953 | -0.0014892 | 0.0059959 | 0.0014892 | 6.0147e-07 | 7.6994e-08 | 0.0089841 | 0.008984 | 0.0089841 | 0.99247 | -0.053101 | 0.99257 | -0.052363 | 3.3274
27 | 0.0016869 | 0.00041544 | -0.0016858 | -0.00041866 | 1.1326e-06 | -3.2172e-06 | 0.0025296 | 0.0025309 | 0.0025309 | 0.99131 | -0.06164 | 0.99063 | -0.066619 | 0.93735
28 | -0.0086158 | -0.0021458 | 0.0086181 | 0.0021464 | 2.2923e-06 | 5.9676e-07 | 0.012912 | 0.012912 | 0.012912 | 0.99257 | -0.052363 | 0.99285 | -0.050418 | 4.7821
29 | -0.010694 | -0.0026667 | 0.010696 | 0.0026672 | 1.5785e-06 | 4.7966e-07 | 0.016023 | 0.016023 | 0.016023 | 0.99285 | -0.050418 | 0.993 | -0.049341 | 5.9344
30 | 0.014999 | 0.0037462 | -0.014989 | -0.0037428 | 1.0053e-05 | 3.4525e-06 | 0.02245 | 0.02245 | 0.02245 | 0.99395 | -0.042565 | 0.99327 | -0.047442 | 8.3148
31 | 0.012264 | 0.00306 | -0.012261 | -0.003059 | 3.1947e-06 | 1.0324e-06 | 0.018368 | 0.018369 | 0.018369 | 0.99327 | -0.047442 | 0.993 | -0.049341 | 6.8031
32 | 0.0015655 | 0.00039176 | -0.0015653 | -0.00039231 | 1.6232e-07 | -5.4901e-07 | 0.0023457 | 0.0023459 | 0.0023459 | 0.993 | -0.049341 | 0.99289 | -0.050091 | 0.86886
33 | -0.00086758 | -0.00021744 | 0.00086768 | 0.00021626 | 9.9998e-08 | -1.1764e-06 | 0.0013033 | 0.0013029 | 0.0013033 | 0.99051 | -0.067456 | 0.99063 | -0.066619 | 0.48272
34 | 0.0008181 | 0.0002024 | -0.00081799 | -0.00020387 | 1.1056e-07 | -1.4694e-06 | 0.0012279 | 0.0012285 | 0.0012285 | 0.99063 | -0.066619 | 0.99049 | -0.067613 | 0.45499
35 | 0.00030226 | 7.4989e-05 | -0.00030225 | -7.5751e-05 | 7.6438e-09 | -7.6215e-07 | 0.00045381 | 0.00045408 | 0.00045408 | 0.99049 | -0.067613 | 0.99046 | -0.067798 | 0.16818
36 | 0.00051574 | 0.00012888 | -0.00051573 | -0.00012925 | 1.0971e-08 | -3.7279e-07 | 0.00077466 | 0.00077479 | 0.00077479 | 0.99049 | -0.067613 | 0.99047 | -0.067767 | 0.28696

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.12298 | 0.030775

## res_load
| p_mw | q_mvar
0 | 0.0063629 | 0.0015947
1 | 0.0061342 | 0.0015374
2 | 0.006099 | 0.0015285
3 | 0.0046959 | 0.0011769
4 | 0.0055455 | 0.0013898
5 | 0.003293 | 0.0008253
6 | 0.0067316 | 0.0016871
7 | 0.0052 | 0.0013032
8 | 0.007451 | 0.0018674
9 | 0.0074173 | 0.001859
10 | 0.0027422 | 0.00068726
11 | 0.0030118 | 0.00075482
12 | 0.0049129 | 0.0012313
13 | 0.0031393 | 0.00078679
14 | 0.0027039 | 0.00067765
15 | 0.0056109 | 0.0014062
16 | 0.014406 | 0.0036106
17 | 0.002725 | 0.00068296
18 | 0.0015811 | 0.00039627
19 | 0.0026199 | 0.00065661
20 | 0.002076 | 0.00052028
21 | 0.0028377 | 0.0007112
22 | 0.0027244 | 0.0006828
23 | 0.0015653 | 0.00039231
24 | 0.0075833 | 0.0019005
25 | 0.00086758 | 0.00021744
26 | 0.00030225 | 7.5751e-05
27 | 0.00051573 | 0.00012925

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1