## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1402-16_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1402-16_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1402-16_0_3_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_1402-16_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1402-16_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1402-16_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1402-16_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1402-16_0_3_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_1402-16_0_3_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_1402-16_0_3_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_1402-16_0_3_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_1402-16_0_3_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_1402-16_0_3_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_1402-16_0_3_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_1402-16_0_3_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_1402-16_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_1402-16_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_1402-16_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_1402-16_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1402-16_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1402-16_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1402-16_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1402-16_0_3_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_1402-16_0_3_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_1402-16_0_3_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_1402-16_0_3_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_1402-16_0_3_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_1402-16_0_3_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_1402-16_0_3_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_1402-16_0_3_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_1402-16_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1402-16_0_3_node_32 | 0.4 | n |  | TRUE
32 | bus_MV_137_0_node_152 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1402-16_0_3_load_0 | 0 | 0.016048 | 0.0040221 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1402-16_0_3_load_3 | 3 | 0.010434 | 0.0026149 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1402-16_0_3_load_25 | 7 | 0.018134 | 0.0045448 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1402-16_0_3_load_22 | 8 | 0.01323 | 0.0033158 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1402-16_0_3_load_20 | 9 | 0.0081113 | 0.0020329 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1402-16_0_3_load_18 | 10 | 0.0024972 | 0.00062585 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1402-16_0_3_load_17 | 11 | 0.0098247 | 0.0024623 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1402-16_0_3_load_15 | 14 | 0.011699 | 0.0029321 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1402-16_0_3_load_7 | 15 | 0.01078 | 0.0027017 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1402-16_0_3_load_10 | 18 | 0.0089561 | 0.0022446 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1402-16_0_3_load_12 | 19 | 0.0088922 | 0.0022286 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1402-16_0_3_load_13 | 20 | 0.0071932 | 0.0018028 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1402-16_0_3_load_31 | 24 | 0.00083472 | 0.0002092 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1402-16_0_3_load_29 | 25 | 0.022128 | 0.0055458 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1402-16_0_3_load_28 | 26 | 0.0078842 | 0.001976 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1402-16_0_3_load_26 | 28 | 0.0063682 | 0.001596 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1402-16_0_3_load_27 | 29 | 0.0089525 | 0.0022437 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1402-16_0_3_load_21 | 30 | 0.0065904 | 0.0016517 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1402-16_0_3_load_32 | 31 | 0.0031558 | 0.00079093 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1402-16_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0028474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1402-16_0_3_line_1 | NAYY 4x150 SE | 1 | 5 | 0.029289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1402-16_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.01935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1402-16_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.015833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1402-16_0_3_line_4 | NAYY 4x150 SE | 4 | 6 | 0.016992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1402-16_0_3_line_5 | NAYY 4x150 SE | 4 | 7 | 0.027836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1402-16_0_3_line_6 | NAYY 4x150 SE | 5 | 10 | 0.034116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1402-16_0_3_line_7 | NAYY 4x150 SE | 5 | 11 | 0.023104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1402-16_0_3_line_8 | NAYY 4x150 SE | 6 | 8 | 0.022774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1402-16_0_3_line_9 | NAYY 4x150 SE | 6 | 9 | 0.025167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1402-16_0_3_line_10 | NAYY 4x150 SE | 7 | 12 | 0.047604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1402-16_0_3_line_11 | NAYY 4x150 SE | 9 | 13 | 0.027579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1402-16_0_3_line_12 | NAYY 4x150 SE | 10 | 13 | 0.0043099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1402-16_0_3_line_13 | NAYY 4x150 SE | 11 | 14 | 0.0035289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1402-16_0_3_line_14 | NAYY 4x150 SE | 12 | 28 | 0.028118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1402-16_0_3_line_15 | NAYY 4x150 SE | 13 | 30 | 0.044633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1402-16_0_3_line_16 | NAYY 4x150 SE | 14 | 21 | 0.012058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_1402-16_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.014177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1402-16_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.010777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1402-16_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.025255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1402-16_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.017102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1402-16_0_3_line_21 | NAYY 4x150 SE | 17 | 20 | 0.013219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1402-16_0_3_line_22 | NAYY 4x150 SE | 18 | 21 | 0.01038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1402-16_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.010927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1402-16_0_3_line_24 | NAYY 4x150 SE | 22 | 27 | 0.003472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1402-16_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.010145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1402-16_0_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.016345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1402-16_0_3_line_27 | NAYY 4x150 SE | 24 | 27 | 0.015724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1402-16_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.0074185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1402-16_0_3_line_29 | NAYY 4x150 SE | 27 | 31 | 0.003234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1402-16_0_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.023803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1402-16_0_3_trafo_14 | 0.25 MVA 20/0.4 kV | 32 | 21 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2673304.7192 | 1185763.1016 | 2673306.5358 | 1185765.2942
1 | 2673312.7775 | 1185735.7507 | 2673311.9835 | 1185745.1243 | 2673309.1552 | 1185755.4624 | 2673308.291 | 1185759.3542 | 2673304.7192 | 1185763.1016
2 | 2673337.7437 | 1185800.3832 | 2673318.5211 | 1185797.7242
3 | 2673340.5689 | 1185814.604 | 2673342.2812 | 1185806.8982 | 2673337.7437 | 1185800.3832
4 | 2673340.5689 | 1185814.604 | 2673342.2812 | 1185806.8982 | 2673347.7658 | 1185799.6388
5 | 2673340.5689 | 1185814.604 | 2673312.7947 | 1185812.7572
6 | 2673312.7775 | 1185735.7507 | 2673331.8672 | 1185735.5619 | 2673344.042 | 1185744.3678
7 | 2673312.7775 | 1185735.7507 | 2673289.6752 | 1185735.4679
8 | 2673347.7658 | 1185799.6388 | 2673370.5388 | 1185799.4767
9 | 2673347.7658 | 1185799.6388 | 2673347.6553 | 1185774.4722
10 | 2673277.4538 | 1185794.0086 | 2673280.6149 | 1185807.6108 | 2673283.5978 | 1185810.8159 | 2673312.7947 | 1185812.7572
11 | 2673347.5342 | 1185746.8937 | 2673347.6553 | 1185774.4722
12 | 2673347.5342 | 1185746.8937 | 2673344.042 | 1185744.3678
13 | 2673289.6752 | 1185735.4679 | 2673286.1466 | 1185735.4247
14 | 2673277.4538 | 1185794.0086 | 2673250.2735 | 1185786.8085
15 | 2673347.5342 | 1185746.8937 | 2673360.4529 | 1185756.413 | 2673389.0389 | 1185756.2723
16 | 2673274.0883 | 1185735.3661 | 2673285.3677 | 1185735.4152 | 2673286.1466 | 1185735.4247
17 | 2673246.087 | 1185721.6157 | 2673231.9367 | 1185722.485
18 | 2673223.3944 | 1185727.464 | 2673227.2219 | 1185722.7747 | 2673231.9367 | 1185722.485
19 | 2673246.087 | 1185721.6157 | 2673247.9816 | 1185726.4528 | 2673251.0367 | 1185732.5048 | 2673256.5982 | 1185735.1744 | 2673263.7093 | 1185735.2523
20 | 2673223.3944 | 1185727.464 | 2673227.7634 | 1185727.1728 | 2673233.8023 | 1185730.1261 | 2673232.7452 | 1185736.0611
21 | 2673223.3944 | 1185727.464 | 2673219.5419 | 1185731.6972 | 2673212.0555 | 1185732.0637
22 | 2673274.0883 | 1185735.3661 | 2673263.7093 | 1185735.2523
23 | 2673201.1448 | 1185732.6619 | 2673205.3686 | 1185732.3911 | 2673212.0555 | 1185732.0637
24 | 2673197.6695 | 1185732.8862 | 2673201.1448 | 1185732.6619
25 | 2673191.2252 | 1185708.1485 | 2673191.8647 | 1185718.2734
26 | 2673191.2252 | 1185708.1485 | 2673194.9443 | 1185707.9605 | 2673207.5378 | 1185707.1212
27 | 2673197.6695 | 1185732.8862 | 2673191.8647 | 1185718.2734
28 | 2673214.94 | 1185706.628 | 2673207.5378 | 1185707.1212
29 | 2673197.6695 | 1185732.8862 | 2673199.4529 | 1185735.5874
30 | 2673250.2735 | 1185786.8085 | 2673227.2639 | 1185780.7133

## bus_geodata
| x | y | coords
0 | 2673306.5358 | 1185765.2942
1 | 2673304.7192 | 1185763.1016
2 | 2673337.7437 | 1185800.3832
3 | 2673318.5211 | 1185797.7242
4 | 2673340.5689 | 1185814.604
5 | 2673312.7775 | 1185735.7507
6 | 2673347.7658 | 1185799.6388
7 | 2673312.7947 | 1185812.7572
8 | 2673370.5388 | 1185799.4767
9 | 2673347.6553 | 1185774.4722
10 | 2673344.042 | 1185744.3678
11 | 2673289.6752 | 1185735.4679
12 | 2673277.4538 | 1185794.0086
13 | 2673347.5342 | 1185746.8937
14 | 2673286.1466 | 1185735.4247
15 | 2673231.9367 | 1185722.485
16 | 2673246.087 | 1185721.6157
17 | 2673223.3944 | 1185727.464
18 | 2673263.7093 | 1185735.2523
19 | 2673232.7452 | 1185736.0611
20 | 2673212.0555 | 1185732.0637
21 | 2673274.0883 | 1185735.3661
22 | 2673201.1448 | 1185732.6619
23 | 2673191.2252 | 1185708.1485
24 | 2673191.8647 | 1185718.2734
25 | 2673207.5378 | 1185707.1212
26 | 2673214.94 | 1185706.628
27 | 2673197.6695 | 1185732.8862
28 | 2673250.2735 | 1185786.8085
29 | 2673227.2639 | 1185780.7133
30 | 2673389.0389 | 1185756.2723
31 | 2673199.4529 | 1185735.5874
32 | 2673246.087 | 1185721.6157

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99476 | -0.036449 | 0.016048 | 0.0040221
1 | 0.99483 | -0.035988 | 0 | 0
2 | 0.98538 | -0.10242 | 0 | 0
3 | 0.98509 | -0.10449 | 0.010434 | 0.0026149
4 | 0.98562 | -0.10072 | 0 | 0
5 | 0.9955 | -0.031251 | 0 | 0
6 | 0.9867 | -0.093065 | 0 | 0
7 | 0.98427 | -0.1103 | 0.018134 | 0.0045448
8 | 0.98627 | -0.096155 | 0.01323 | 0.0033158
9 | 0.98879 | -0.078355 | 0.0081113 | 0.0020329
10 | 0.99184 | -0.05689 | 0.0024972 | 0.00062585
11 | 0.99852 | -0.01028 | 0.0098247 | 0.0024623
12 | 0.98322 | -0.11783 | 0 | 0
13 | 0.99139 | -0.060033 | 0 | 0
14 | 0.99903 | -0.0067417 | 0.011699 | 0.0029321
15 | 0.99552 | -0.031334 | 0.01078 | 0.0027017
16 | 0.99675 | -0.022653 | 0 | 0
17 | 0.99474 | -0.036776 | 0 | 0
18 | 0.99896 | -0.0072423 | 0.0089561 | 0.0022446
19 | 0.99452 | -0.03831 | 0.0088922 | 0.0022286
20 | 0.99396 | -0.042273 | 0.0071932 | 0.0018028
21 | 1 | 0 | -0.18409 | -0.046141
22 | 0.99342 | -0.04603 | 0 | 0
23 | 0.99212 | -0.055221 | 0 | 0
24 | 0.99256 | -0.052135 | 0.00083472 | 0.0002092
25 | 0.99141 | -0.060199 | 0.022128 | 0.0055458
26 | 0.99133 | -0.060793 | 0.0078842 | 0.001976
27 | 0.99325 | -0.047224 | 0 | 0
28 | 0.98259 | -0.12228 | 0.0063682 | 0.001596
29 | 0.98228 | -0.12448 | 0.0089525 | 0.0022437
30 | 0.99097 | -0.063022 | 0.0065904 | 0.0016517
31 | 0.99324 | -0.047327 | 0.0031558 | 0.00079093
32 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.016048 | -0.0040221 | 0.016049 | 0.0040225 | 1.0239e-06 | 3.5685e-07 | 0.024006 | 0.024006 | 0.024006 | 0.99476 | -0.036449 | 0.99483 | -0.035988 | 8.8911
1 | -0.016049 | -0.0040225 | 0.01606 | 0.0040262 | 1.0532e-05 | 3.6703e-06 | 0.024006 | 0.024006 | 0.024006 | 0.99483 | -0.035988 | 0.9955 | -0.031251 | 8.8911
2 | 0.010437 | 0.0026158 | -0.010434 | -0.0026149 | 2.9991e-06 | 9.0708e-07 | 0.01576 | 0.01576 | 0.01576 | 0.98538 | -0.10242 | 0.98509 | -0.10449 | 5.8371
3 | -0.010437 | -0.0026158 | 0.010439 | 0.0026165 | 2.454e-06 | 7.4209e-07 | 0.01576 | 0.01576 | 0.01576 | 0.98538 | -0.10242 | 0.98562 | -0.10072 | 5.8371
4 | -0.043967 | -0.011027 | 0.044013 | 0.011045 | 4.6721e-05 | 1.7753e-05 | 0.06638 | 0.06638 | 0.06638 | 0.98562 | -0.10072 | 0.9867 | -0.093065 | 24.5852
5 | 0.033528 | 0.0084109 | -0.033483 | -0.0083941 | 4.4507e-05 | 1.6764e-05 | 0.05062 | 0.05062 | 0.05062 | 0.98562 | -0.10072 | 0.98427 | -0.1103 | 18.7482
6 | 0.075035 | 0.018897 | -0.074767 | -0.018795 | 0.00026795 | 0.00010262 | 0.11219 | 0.11219 | 0.11219 | 0.9955 | -0.031251 | 0.99184 | -0.05689 | 41.5517
7 | -0.091095 | -0.022923 | 0.091362 | 0.023026 | 0.00026742 | 0.00010255 | 0.1362 | 0.1362 | 0.1362 | 0.9955 | -0.031251 | 0.99852 | -0.01028 | 50.4427
8 | 0.013236 | 0.0033177 | -0.01323 | -0.0033158 | 5.6621e-06 | 1.887e-06 | 0.019961 | 0.019961 | 0.019961 | 0.9867 | -0.093065 | 0.98627 | -0.096155 | 7.393
9 | -0.057249 | -0.014363 | 0.057366 | 0.014408 | 0.00011707 | 4.4705e-05 | 0.086341 | 0.086341 | 0.086341 | 0.9867 | -0.093065 | 0.98879 | -0.078355 | 31.9782
10 | 0.015349 | 0.0038493 | -0.015333 | -0.0038438 | 1.5996e-05 | 5.5479e-06 | 0.023205 | 0.023205 | 0.023205 | 0.98427 | -0.1103 | 0.98322 | -0.11783 | 8.5946
11 | -0.065478 | -0.016441 | 0.065645 | 0.016504 | 0.00016713 | 6.3926e-05 | 0.098548 | 0.098547 | 0.098548 | 0.98879 | -0.078355 | 0.99139 | -0.060033 | 36.4991
12 | 0.07227 | 0.018169 | -0.072238 | -0.018157 | 3.1627e-05 | 1.2109e-05 | 0.10844 | 0.10844 | 0.10844 | 0.99184 | -0.05689 | 0.99139 | -0.060033 | 40.1642
13 | -0.10119 | -0.025488 | 0.10124 | 0.025507 | 5.01e-05 | 1.9223e-05 | 0.15084 | 0.15084 | 0.15084 | 0.99852 | -0.01028 | 0.99903 | -0.0067417 | 55.8653
14 | 0.015333 | 0.0038438 | -0.015323 | -0.0038405 | 9.4482e-06 | 3.2775e-06 | 0.023205 | 0.023206 | 0.023206 | 0.98322 | -0.11783 | 0.98259 | -0.12228 | 8.5947
15 | 0.0065932 | 0.0016522 | -0.0065904 | -0.0016517 | 2.7275e-06 | 4.7376e-07 | 0.0098959 | 0.0098961 | 0.0098961 | 0.99139 | -0.060033 | 0.99097 | -0.063022 | 3.6652
16 | -0.11294 | -0.02844 | 0.11304 | 0.02848 | 0.00010652 | 4.0652e-05 | 0.16826 | 0.16826 | 0.16826 | 0.99903 | -0.0067417 | 1 | 0 | 31.1596
17 | -0.061018 | -0.015311 | 0.061092 | 0.015339 | 7.3598e-05 | 2.8123e-05 | 0.091212 | 0.091212 | 0.091212 | 0.99552 | -0.031334 | 0.99675 | -0.022653 | 33.7821
18 | 0.050238 | 0.01261 | -0.0502 | -0.012595 | 3.7926e-05 | 1.4447e-05 | 0.075098 | 0.075099 | 0.075099 | 0.99552 | -0.031334 | 0.99474 | -0.036776 | 27.8143
19 | -0.061092 | -0.015339 | 0.061223 | 0.015389 | 0.00013111 | 5.0096e-05 | 0.091212 | 0.091211 | 0.091212 | 0.99675 | -0.022653 | 0.99896 | -0.0072423 | 33.782
20 | 0.0088941 | 0.0022291 | -0.0088922 | -0.0022286 | 1.889e-06 | 5.0458e-07 | 0.013305 | 0.013305 | 0.013305 | 0.99474 | -0.036776 | 0.99452 | -0.03831 | 4.9276
21 | 0.041306 | 0.010366 | -0.041275 | -0.010354 | 3.1498e-05 | 1.1943e-05 | 0.061794 | 0.061794 | 0.061794 | 0.99474 | -0.036776 | 0.99396 | -0.042273 | 22.8867
22 | -0.070179 | -0.017634 | 0.07025 | 0.017661 | 7.0799e-05 | 2.7095e-05 | 0.10455 | 0.10455 | 0.10455 | 0.99896 | -0.0072423 | 1 | 0 | 38.723
23 | 0.034081 | 0.0085513 | -0.034064 | -0.0085446 | 1.7753e-05 | 6.6865e-06 | 0.051025 | 0.051025 | 0.051025 | 0.99396 | -0.042273 | 0.99342 | -0.04603 | 18.8983
24 | 0.034064 | 0.0085446 | -0.034058 | -0.0085425 | 5.6408e-06 | 2.1246e-06 | 0.051025 | 0.051025 | 0.051025 | 0.99342 | -0.04603 | 0.99325 | -0.047224 | 18.8983
25 | -0.030033 | -0.0075297 | 0.030046 | 0.0075345 | 1.2846e-05 | 4.8096e-06 | 0.045046 | 0.045046 | 0.045046 | 0.99212 | -0.055221 | 0.99256 | -0.052135 | 16.6838
26 | 0.030033 | 0.0075297 | -0.030013 | -0.0075219 | 2.0696e-05 | 7.7492e-06 | 0.045046 | 0.045046 | 0.045046 | 0.99212 | -0.055221 | 0.99141 | -0.060199 | 16.6838
27 | -0.030881 | -0.0077437 | 0.030902 | 0.0077516 | 2.1031e-05 | 7.8853e-06 | 0.046298 | 0.046298 | 0.046298 | 0.99256 | -0.052135 | 0.99325 | -0.047224 | 17.1473
28 | 0.0078849 | 0.0019761 | -0.0078842 | -0.001976 | 6.4834e-07 | 1.5371e-07 | 0.011834 | 0.011834 | 0.011834 | 0.99141 | -0.060199 | 0.99133 | -0.060793 | 4.3831
29 | 0.0031559 | 0.0007909 | -0.0031558 | -0.00079093 | 4.5109e-08 | -2.4507e-08 | 0.0047279 | 0.0047279 | 0.0047279 | 0.99325 | -0.047224 | 0.99324 | -0.047327 | 1.7511
30 | 0.0089552 | 0.0022445 | -0.0089525 | -0.0022437 | 2.7318e-06 | 7.4929e-07 | 0.013562 | 0.013562 | 0.013562 | 0.98259 | -0.12228 | 0.98228 | -0.12448 | 5.0229

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.18409 | 0.046141

## res_load
| p_mw | q_mvar
0 | 0.016048 | 0.0040221
1 | 0.010434 | 0.0026149
2 | 0.018134 | 0.0045448
3 | 0.01323 | 0.0033158
4 | 0.0081113 | 0.0020329
5 | 0.0024972 | 0.00062585
6 | 0.0098247 | 0.0024623
7 | 0.011699 | 0.0029321
8 | 0.01078 | 0.0027017
9 | 0.0089561 | 0.0022446
10 | 0.0088922 | 0.0022286
11 | 0.0071932 | 0.0018028
12 | 0.00083472 | 0.0002092
13 | 0.022128 | 0.0055458
14 | 0.0078842 | 0.001976
15 | 0.0063682 | 0.001596
16 | 0.0089525 | 0.0022437
17 | 0.0065904 | 0.0016517
18 | 0.0031558 | 0.00079093

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1