## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1402-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1402-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1402-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1402-1_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1402-1_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1402-1_0_3_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_1402-1_0_3_node_37 | 0.4 | n |  | TRUE
7 | bus_LV_1402-1_0_3_node_63 | 0.4 | n |  | TRUE
8 | bus_LV_1402-1_0_3_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_1402-1_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1402-1_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1402-1_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1402-1_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1402-1_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1402-1_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1402-1_0_3_node_44 | 0.4 | n |  | TRUE
16 | bus_LV_1402-1_0_3_node_49 | 0.4 | n |  | TRUE
17 | bus_LV_1402-1_0_3_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_1402-1_0_3_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_1402-1_0_3_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_1402-1_0_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_1402-1_0_3_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_1402-1_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1402-1_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1402-1_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_1402-1_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1402-1_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1402-1_0_3_node_61 | 0.4 | n |  | TRUE
28 | bus_LV_1402-1_0_3_node_68 | 0.4 | n |  | TRUE
29 | bus_LV_1402-1_0_3_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_1402-1_0_3_node_62 | 0.4 | n |  | TRUE
31 | bus_LV_1402-1_0_3_node_60 | 0.4 | n |  | TRUE
32 | bus_LV_1402-1_0_3_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_1402-1_0_3_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_1402-1_0_3_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_1402-1_0_3_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_1402-1_0_3_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_1402-1_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_1402-1_0_3_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_1402-1_0_3_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_1402-1_0_3_node_67 | 0.4 | n |  | TRUE
41 | bus_LV_1402-1_0_3_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_1402-1_0_3_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_1402-1_0_3_node_66 | 0.4 | n |  | TRUE
44 | bus_LV_1402-1_0_3_node_64 | 0.4 | n |  | TRUE
45 | bus_LV_1402-1_0_3_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_1402-1_0_3_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_1402-1_0_3_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_1402-1_0_3_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_1402-1_0_3_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_1402-1_0_3_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_1402-1_0_3_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_1402-1_0_3_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_1402-1_0_3_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_1402-1_0_3_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_1402-1_0_3_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_1402-1_0_3_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_1402-1_0_3_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_1402-1_0_3_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_1402-1_0_3_node_35 | 0.4 | n |  | TRUE
60 | bus_LV_1402-1_0_3_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_1402-1_0_3_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_1402-1_0_3_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_1402-1_0_3_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_1402-1_0_3_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_1402-1_0_3_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_1402-1_0_3_node_54 | 0.4 | n |  | TRUE
67 | bus_MV_137_0_node_40 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1402-1_0_3_load_0 | 0 | 0.015729 | 0.003942 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1402-1_0_3_load_1 | 1 | 0.0062538 | 0.0015673 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1402-1_0_3_load_5 | 4 | 0.0015504 | 0.00038858 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1402-1_0_3_load_37 | 6 | 0.0019351 | 0.00048497 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1402-1_0_3_load_63 | 7 | 0.0017569 | 0.00044031 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1402-1_0_3_load_36 | 8 | 0.010689 | 0.0026789 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1402-1_0_3_load_7 | 9 | 0.0020799 | 0.00052126 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1402-1_0_3_load_8 | 10 | 0.0037341 | 0.00093586 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1402-1_0_3_load_10 | 12 | 0.00134 | 0.00033583 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1402-1_0_3_load_11 | 13 | 0.0040174 | 0.0010068 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1402-1_0_3_load_12 | 14 | 0.0029816 | 0.00074727 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1402-1_0_3_load_44 | 15 | 0.0015511 | 0.00038873 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1402-1_0_3_load_49 | 16 | 0.0036152 | 0.00090604 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1402-1_0_3_load_18 | 20 | 0.0031101 | 0.00077947 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1402-1_0_3_load_48 | 21 | 0.0020588 | 0.00051599 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1402-1_0_3_load_13 | 22 | 0.0016153 | 0.00040484 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1402-1_0_3_load_14 | 23 | 0.0016161 | 0.00040504 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1402-1_0_3_load_15 | 24 | 0.0019534 | 0.00048957 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1402-1_0_3_load_17 | 26 | 0.0021151 | 0.0005301 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1402-1_0_3_load_68 | 28 | 0.0038906 | 0.00097507 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1402-1_0_3_load_62 | 30 | 0.0016151 | 0.00040478 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1402-1_0_3_load_60 | 31 | 0.0030072 | 0.00075367 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1402-1_0_3_load_28 | 32 | 0.0023814 | 0.00059683 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1402-1_0_3_load_24 | 33 | 0.0024847 | 0.00062273 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1402-1_0_3_load_19 | 34 | 0.0063885 | 0.0016011 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1402-1_0_3_load_42 | 35 | 0.0023044 | 0.00057754 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1402-1_0_3_load_43 | 36 | 0.0013108 | 0.00032852 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1402-1_0_3_load_25 | 37 | 0.0021784 | 0.00054596 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1402-1_0_3_load_27 | 38 | 0.007286 | 0.001826 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1402-1_0_3_load_51 | 39 | 0.0041927 | 0.0010508 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1402-1_0_3_load_67 | 40 | 0.0028025 | 0.00070237 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1402-1_0_3_load_38 | 41 | 0.0027462 | 0.00068825 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1402-1_0_3_load_50 | 42 | 0.0060776 | 0.0015232 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1402-1_0_3_load_64 | 44 | 0.0026256 | 0.00065805 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1402-1_0_3_load_39 | 45 | 0.0027184 | 0.0006813 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1402-1_0_3_load_29 | 46 | 0.003648 | 0.00091428 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1402-1_0_3_load_30 | 47 | 0.0060132 | 0.0015071 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1402-1_0_3_load_32 | 49 | 0.003682 | 0.00092281 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1402-1_0_3_load_34 | 51 | 0.0044663 | 0.0011194 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1402-1_0_3_load_45 | 52 | 0.0032013 | 0.00080232 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1402-1_0_3_load_56 | 53 | 0.0029767 | 0.00074602 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1402-1_0_3_load_55 | 54 | 0.0048871 | 0.0012248 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1402-1_0_3_load_40 | 55 | 0.0041648 | 0.0010438 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1402-1_0_3_load_46 | 56 | 0.0026422 | 0.00066219 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1402-1_0_3_load_58 | 57 | 0.0071564 | 0.0017936 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1402-1_0_3_load_41 | 58 | 0.0031396 | 0.00078687 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1402-1_0_3_load_35 | 59 | 0.0068907 | 0.001727 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1402-1_0_3_load_57 | 60 | 0.0017408 | 0.00043628 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1402-1_0_3_load_59 | 62 | 0.0027113 | 0.00067951 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1402-1_0_3_load_69 | 63 | 0.0062005 | 0.001554 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1402-1_0_3_load_54 | 66 | 0.0035441 | 0.00088824 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1402-1_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.039724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1402-1_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.056585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1402-1_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.03093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1402-1_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.032442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1402-1_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.001682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1402-1_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.018176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1402-1_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0034257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1402-1_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.022574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1402-1_0_3_line_8 | NAYY 4x150 SE | 7 | 19 | 0.058986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1402-1_0_3_line_9 | NAYY 4x150 SE | 8 | 59 | 0.014136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1402-1_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.0014916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_1402-1_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.030363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_1402-1_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.032365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_1402-1_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.023391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1402-1_0_3_line_14 | NAYY 4x150 SE | 11 | 14 | 0.043545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_1402-1_0_3_line_15 | NAYY 4x150 SE | 12 | 15 | 0.029736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_1402-1_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.007635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_1402-1_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.0091781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_1402-1_0_3_line_18 | NAYY 4x150 SE | 16 | 21 | 0.01405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_1402-1_0_3_line_19 | NAYY 4x150 SE | 17 | 35 | 0.050119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1402-1_0_3_line_20 | NAYY 4x150 SE | 17 | 34 | 0.047725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1402-1_0_3_line_21 | NAYY 4x150 SE | 18 | 19 | 0.054801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1402-1_0_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.039554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1402-1_0_3_line_23 | NAYY 4x150 SE | 20 | 34 | 0.028989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1402-1_0_3_line_24 | NAYY 4x150 SE | 21 | 58 | 0.0049057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_1402-1_0_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.008794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1402-1_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.032605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1402-1_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.0041582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1402-1_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.037657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1402-1_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.004306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1402-1_0_3_line_30 | NAYY 4x150 SE | 25 | 28 | 0.050877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1402-1_0_3_line_31 | NAYY 4x150 SE | 26 | 29 | 0.012553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1402-1_0_3_line_32 | NAYY 4x150 SE | 27 | 30 | 0.0037308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1402-1_0_3_line_33 | NAYY 4x150 SE | 27 | 31 | 0.0054042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1402-1_0_3_line_34 | NAYY 4x150 SE | 29 | 32 | 0.0106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1402-1_0_3_line_35 | NAYY 4x150 SE | 29 | 33 | 0.014981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1402-1_0_3_line_36 | NAYY 4x150 SE | 32 | 41 | 0.017105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1402-1_0_3_line_37 | NAYY 4x150 SE | 33 | 37 | 0.0056267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1402-1_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.055785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1402-1_0_3_line_39 | NAYY 4x150 SE | 37 | 38 | 0.02888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1402-1_0_3_line_40 | NAYY 4x150 SE | 38 | 39 | 0.0019293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1402-1_0_3_line_41 | NAYY 4x150 SE | 38 | 40 | 0.042274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1402-1_0_3_line_42 | NAYY 4x150 SE | 39 | 42 | 0.019258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1402-1_0_3_line_43 | NAYY 4x150 SE | 40 | 43 | 0.0027075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1402-1_0_3_line_44 | NAYY 4x150 SE | 41 | 45 | 0.0085639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1402-1_0_3_line_45 | NAYY 4x150 SE | 42 | 64 | 0.022348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1402-1_0_3_line_46 | NAYY 4x150 SE | 43 | 44 | 0.0097938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1402-1_0_3_line_47 | NAYY 4x150 SE | 45 | 60 | 0.021773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1402-1_0_3_line_48 | NAYY 4x150 SE | 46 | 47 | 0.035495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1402-1_0_3_line_49 | NAYY 4x150 SE | 46 | 48 | 0.0083895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1402-1_0_3_line_50 | NAYY 4x150 SE | 47 | 49 | 0.010301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1402-1_0_3_line_51 | NAYY 4x150 SE | 48 | 50 | 0.005162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1402-1_0_3_line_52 | NAYY 4x150 SE | 48 | 51 | 0.022005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1402-1_0_3_line_53 | NAYY 4x150 SE | 49 | 52 | 0.015324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1402-1_0_3_line_54 | NAYY 4x150 SE | 50 | 53 | 0.0087038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1402-1_0_3_line_55 | NAYY 4x150 SE | 50 | 54 | 0.022036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1402-1_0_3_line_56 | NAYY 4x150 SE | 51 | 55 | 0.035941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_1402-1_0_3_line_57 | NAYY 4x150 SE | 52 | 56 | 0.020456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1402-1_0_3_line_58 | NAYY 4x150 SE | 53 | 57 | 0.032156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1402-1_0_3_line_59 | NAYY 4x150 SE | 55 | 58 | 0.019784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_1402-1_0_3_line_60 | NAYY 4x150 SE | 56 | 61 | 0.0093972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1402-1_0_3_line_61 | NAYY 4x150 SE | 60 | 61 | 0.0065524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1402-1_0_3_line_62 | NAYY 4x150 SE | 61 | 62 | 0.012009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1402-1_0_3_line_63 | NAYY 4x150 SE | 62 | 63 | 0.015354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1402-1_0_3_line_64 | NAYY 4x150 SE | 64 | 65 | 0.008958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1402-1_0_3_line_65 | NAYY 4x150 SE | 65 | 66 | 0.00035983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1402-1_0_3_trafo_34 | 0.25 MVA 20/0.4 kV | 67 | 51 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2673419.7787 | 1186179.2223 | 2673412.9873 | 1186174.4368 | 2673411.3183 | 1186166.7785 | 2673403.0225 | 1186153.1243 | 2673397.7058 | 1186147.6922
1 | 2673468.9482 | 1186201.8056 | 2673454.8684 | 1186203.0448 | 2673449.4856 | 1186200.1549 | 2673419.7787 | 1186179.2223
2 | 2673468.9482 | 1186201.8056 | 2673475.8573 | 1186215.2649 | 2673477.9467 | 1186219.1261 | 2673484.1447 | 1186219.6358 | 2673488.2642 | 1186222.8549
3 | 2673468.9482 | 1186201.8056 | 2673474.1174 | 1186200.3347 | 2673483.6505 | 1186198.9619 | 2673489.8045 | 1186202.4395 | 2673492.2666 | 1186202.0472 | 2673491.9251 | 1186194.1803
4 | 2673489.9501 | 1186222.9089 | 2673488.2642 | 1186222.8549
5 | 2673488.2642 | 1186222.8549 | 2673480.2348 | 1186224.2017 | 2673471.0333 | 1186228.2042
6 | 2673489.9501 | 1186222.9089 | 2673493.374 | 1186223.0168
7 | 2673451.5266 | 1186239.458 | 2673465.4197 | 1186230.646 | 2673471.0333 | 1186228.2042
8 | 2673552.2766 | 1186222.7847 | 2673549.0505 | 1186223.2454 | 2673532.7147 | 1186224.2566 | 2673493.374 | 1186223.0168
9 | 2673451.5266 | 1186239.458 | 2673445.1459 | 1186243.5051 | 2673438.5664 | 1186243.6134
10 | 2673469.0044 | 1186322.7348 | 2673467.6751 | 1186322.0581
11 | 2673497.1712 | 1186334.0521 | 2673470.5455 | 1186323.5194 | 2673469.0044 | 1186322.7348
12 | 2673467.6751 | 1186322.0581 | 2673464.1903 | 1186320.284 | 2673459.6801 | 1186315.9372 | 2673456.986 | 1186311.6127 | 2673453.1896 | 1186300.7153 | 2673450.379 | 1186295.9225
13 | 2673497.1712 | 1186334.0521 | 2673502.3911 | 1186331.548 | 2673511.0861 | 1186316.2442
14 | 2673497.1712 | 1186334.0521 | 2673505.3091 | 1186337.5318 | 2673507.7899 | 1186339.3411 | 2673508.9179 | 1186342.568 | 2673508.7558 | 1186346.446 | 2673507.5503 | 1186349.5331 | 2673505.352 | 1186352.0632 | 2673502.6105 | 1186353.4637 | 2673499.157 | 1186353.8104 | 2673492.8246 | 1186353.0656 | 2673488.2393 | 1186351.8917
15 | 2673424.5414 | 1186282.7091 | 2673427.6752 | 1186284.7932 | 2673433.2636 | 1186285.8512 | 2673440.351 | 1186287.8837 | 2673445.7487 | 1186291.4186 | 2673450.379 | 1186295.9225 | 2673450.379 | 1186295.9225
16 | 2673480.8428 | 1186349.998 | 2673488.2393 | 1186351.8917
17 | 2673425.3809 | 1186273.992 | 2673423.5253 | 1186279.6948 | 2673424.5414 | 1186282.7091 | 2673424.5414 | 1186282.7091
18 | 2673480.8428 | 1186349.998 | 2673467.2315 | 1186346.5132
19 | 2673425.3809 | 1186273.992 | 2673415.5084 | 1186268.8235 | 2673381.2434 | 1186250.2494
20 | 2673425.3809 | 1186273.992 | 2673441.3406 | 1186278.746 | 2673462.8776 | 1186282.3454 | 2673472.1022 | 1186281.8664
21 | 2673540.3811 | 1186276.0814 | 2673542.1489 | 1186258.2814 | 2673552.2766 | 1186222.7847
22 | 2673540.3811 | 1186276.0814 | 2673504.6368 | 1186278.5331 | 2673500.9349 | 1186278.9578
23 | 2673472.1022 | 1186281.8664 | 2673478.4629 | 1186281.5361 | 2673500.9349 | 1186278.9578
24 | 2673462.4791 | 1186345.2965 | 2673467.2315 | 1186346.5132
25 | 2673464.2474 | 1186458.0856 | 2673471.2123 | 1186457.0065 | 2673472.849 | 1186456.3987
26 | 2673444.3273 | 1186438.0238 | 2673451.4065 | 1186455.4072 | 2673454.7198 | 1186457.7826 | 2673458.7118 | 1186458.9433 | 2673464.2474 | 1186458.0856
27 | 2673476.7471 | 1186454.951 | 2673472.849 | 1186456.3987
28 | 2673444.3273 | 1186438.0238 | 2673443.7393 | 1186436.5798 | 2673441.0096 | 1186432.6663 | 2673437.7108 | 1186429.7352 | 2673432.2662 | 1186428.7902 | 2673412.1453 | 1186427.9876 | 2673410.9216 | 1186427.7273
29 | 2673476.7471 | 1186454.951 | 2673479.8364 | 1186451.9426
30 | 2673476.7471 | 1186454.951 | 2673473.6169 | 1186466.2637 | 2673452.2806 | 1186473.7288 | 2673435.8495 | 1186476.3511
31 | 2673404.2758 | 1186419.4305 | 2673403.6607 | 1186421.6688 | 2673404.8449 | 1186424.6739 | 2673407.708 | 1186427.0438 | 2673410.9216 | 1186427.7273
32 | 2673479.8364 | 1186451.9426 | 2673481.5851 | 1186448.6471
33 | 2673479.8364 | 1186451.9426 | 2673483.7123 | 1186448.1766
34 | 2673404.2758 | 1186419.4305 | 2673407.1521 | 1186417.6091 | 2673414.3433 | 1186417.3709
35 | 2673404.2758 | 1186419.4305 | 2673399.6888 | 1186415.7499 | 2673392.8404 | 1186409.7574
36 | 2673430.3883 | 1186412.2866 | 2673421.743 | 1186416.3427 | 2673419.3973 | 1186417.2034 | 2673414.3433 | 1186417.3709
37 | 2673388.4373 | 1186406.2582 | 2673391.648 | 1186408.714 | 2673392.8404 | 1186409.7574
38 | 2673381.2434 | 1186250.2494 | 2673374.4427 | 1186246.5629 | 2673369.2191 | 1186244.3754 | 2673363.6975 | 1186243.4739 | 2673356.4465 | 1186243.5741 | 2673342.0883 | 1186245.1326 | 2673327.05 | 1186246.4631
39 | 2673388.4373 | 1186406.2582 | 2673371.4395 | 1186393.2573 | 2673366.1219 | 1186387.9967
40 | 2673364.7503 | 1186386.6398 | 2673366.1219 | 1186387.9967
41 | 2673366.1219 | 1186387.9967 | 2673339.053 | 1186420.4672
42 | 2673352.8076 | 1186371.7309 | 2673357.2497 | 1186379.2197 | 2673364.7503 | 1186386.6398
43 | 2673336.9242 | 1186418.7943 | 2673339.053 | 1186420.4672
44 | 2673438.1939 | 1186408.8596 | 2673437.6307 | 1186408.8886 | 2673430.3883 | 1186412.2866
45 | 2673341.4065 | 1186352.51 | 2673352.8076 | 1186371.7309
46 | 2673336.9242 | 1186418.7943 | 2673327.2754 | 1186417.1151
47 | 2673438.1939 | 1186408.8596 | 2673442.8613 | 1186408.6192 | 2673454.3848 | 1186412.3071 | 2673459.2709 | 1186413.3676
48 | 2673426.7651 | 1186370.6257 | 2673404.137 | 1186343.2787
49 | 2673398.5784 | 1186337.0009 | 2673401.539 | 1186340.139 | 2673404.137 | 1186343.2787
50 | 2673426.7651 | 1186370.6257 | 2673433.3324 | 1186378.5624 | 2673433.3324 | 1186378.5624
51 | 2673398.5784 | 1186337.0009 | 2673393.4171 | 1186336.593
52 | 2673398.5784 | 1186337.0009 | 2673397.6274 | 1186333.0313 | 2673400.2152 | 1186331.0952 | 2673408.1074 | 1186328.4792 | 2673414.3011 | 1186326.9623
53 | 2673444.5013 | 1186389.0515 | 2673440.4749 | 1186385.4207 | 2673433.3324 | 1186378.5624
54 | 2673393.4171 | 1186336.593 | 2673391.0504 | 1186334.1848 | 2673386.8321 | 1186330.9312
55 | 2673393.4171 | 1186336.593 | 2673383.1053 | 1186356.0671
56 | 2673446.578 | 1186334.5296 | 2673442.4942 | 1186329.668 | 2673438.6883 | 1186327.0087 | 2673433.4793 | 1186325.5106 | 2673424.3189 | 1186324.5089 | 2673414.3011 | 1186326.9623
57 | 2673444.5013 | 1186389.0515 | 2673459.693 | 1186402.7509
58 | 2673363.6623 | 1186308.6343 | 2673386.8321 | 1186330.9312
59 | 2673462.4791 | 1186345.2965 | 2673461.2165 | 1186344.9732 | 2673455.4546 | 1186343.1348 | 2673450.7225 | 1186339.4635 | 2673446.578 | 1186334.5296
60 | 2673464.5368 | 1186410.2192 | 2673463.9103 | 1186406.5538 | 2673459.693 | 1186402.7509
61 | 2673464.5368 | 1186410.2192 | 2673463.06 | 1186412.4135 | 2673459.2709 | 1186413.3676
62 | 2673464.5368 | 1186410.2192 | 2673476.2339 | 1186407.5013
63 | 2673490.8185 | 1186402.7371 | 2673478.5799 | 1186406.9562 | 2673476.2339 | 1186407.5013
64 | 2673341.4065 | 1186352.51 | 2673341.8671 | 1186343.5659
65 | 2673341.8671 | 1186343.5659 | 2673341.8861 | 1186343.2065

## bus_geodata
| x | y | coords
0 | 2673419.7787 | 1186179.2223
1 | 2673397.7058 | 1186147.6922
2 | 2673468.9482 | 1186201.8056
3 | 2673488.2642 | 1186222.8549
4 | 2673491.9251 | 1186194.1803
5 | 2673489.9501 | 1186222.9089
6 | 2673471.0333 | 1186228.2042
7 | 2673493.374 | 1186223.0168
8 | 2673451.5266 | 1186239.458
9 | 2673469.0044 | 1186322.7348
10 | 2673467.6751 | 1186322.0581
11 | 2673497.1712 | 1186334.0521
12 | 2673450.379 | 1186295.9225
13 | 2673511.0861 | 1186316.2442
14 | 2673488.2393 | 1186351.8917
15 | 2673424.5414 | 1186282.7091
16 | 2673480.8428 | 1186349.998
17 | 2673425.3809 | 1186273.992
18 | 2673540.3811 | 1186276.0814
19 | 2673552.2766 | 1186222.7847
20 | 2673500.9349 | 1186278.9578
21 | 2673467.2315 | 1186346.5132
22 | 2673464.2474 | 1186458.0856
23 | 2673472.8491 | 1186456.3987
24 | 2673444.3273 | 1186438.0238
25 | 2673476.7471 | 1186454.951
26 | 2673410.9216 | 1186427.7273
27 | 2673479.8364 | 1186451.9426
28 | 2673435.8495 | 1186476.3511
29 | 2673404.2758 | 1186419.4305
30 | 2673481.5851 | 1186448.6471
31 | 2673483.7123 | 1186448.1766
32 | 2673414.3433 | 1186417.3709
33 | 2673392.8404 | 1186409.7574
34 | 2673472.1022 | 1186281.8664
35 | 2673381.2434 | 1186250.2494
36 | 2673327.05 | 1186246.4631
37 | 2673388.4373 | 1186406.2582
38 | 2673366.1219 | 1186387.9967
39 | 2673364.7503 | 1186386.6398
40 | 2673339.053 | 1186420.4672
41 | 2673430.3883 | 1186412.2866
42 | 2673352.8076 | 1186371.7309
43 | 2673336.9242 | 1186418.7943
44 | 2673327.2754 | 1186417.1151
45 | 2673438.1939 | 1186408.8596
46 | 2673404.137 | 1186343.2787
47 | 2673426.7651 | 1186370.6257
48 | 2673398.5784 | 1186337.0009
49 | 2673433.3324 | 1186378.5624
50 | 2673393.4171 | 1186336.593
51 | 2673414.3011 | 1186326.9623
52 | 2673444.5013 | 1186389.0515
53 | 2673386.8321 | 1186330.9312
54 | 2673383.1053 | 1186356.0671
55 | 2673446.578 | 1186334.5296
56 | 2673459.693 | 1186402.7509
57 | 2673363.6623 | 1186308.6343
58 | 2673462.4791 | 1186345.2965
59 | 2673438.5664 | 1186243.6134
60 | 2673459.2709 | 1186413.3676
61 | 2673464.5368 | 1186410.2192
62 | 2673476.2339 | 1186407.5013
63 | 2673490.8185 | 1186402.7371
64 | 2673341.4065 | 1186352.51
65 | 2673341.8671 | 1186343.5659
66 | 2673341.8861 | 1186343.2065
67 | 2673398.5784 | 1186337.0009

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97094 | -0.20438 | 0.015729 | 0.003942
1 | 0.97057 | -0.20701 | 0.0062538 | 0.0015673
2 | 0.97277 | -0.19123 | 0 | 0
3 | 0.97383 | -0.18356 | 0 | 0
4 | 0.97269 | -0.19177 | 0.0015504 | 0.00038858
5 | 0.97394 | -0.1828 | 0 | 0
6 | 0.97331 | -0.1873 | 0.0019351 | 0.00048497
7 | 0.97416 | -0.18125 | 0.0017569 | 0.00044031
8 | 0.97273 | -0.19148 | 0.010689 | 0.0026789
9 | 0.99135 | -0.059862 | 0.0020799 | 0.00052126
10 | 0.99128 | -0.060351 | 0.0037341 | 0.00093586
11 | 0.99283 | -0.049595 | 0 | 0
12 | 0.98985 | -0.070372 | 0.00134 | 0.00033583
13 | 0.99269 | -0.050547 | 0.0040174 | 0.0010068
14 | 0.99507 | -0.034039 | 0.0029816 | 0.00074727
15 | 0.98855 | -0.079399 | 0.0015511 | 0.00038873
16 | 0.99548 | -0.031204 | 0.0036152 | 0.00090604
17 | 0.98816 | -0.082117 | 0 | 0
18 | 0.98163 | -0.12801 | 0 | 0
19 | 0.97803 | -0.15355 | 0 | 0
20 | 0.98423 | -0.10969 | 0.0031101 | 0.00077947
21 | 0.99627 | -0.025737 | 0.0020588 | 0.00051599
22 | 0.97951 | -0.14384 | 0.0016153 | 0.00040484
23 | 0.97938 | -0.14477 | 0.0016161 | 0.00040504
24 | 0.98007 | -0.13985 | 0.0019534 | 0.00048957
25 | 0.97933 | -0.14513 | 0 | 0
26 | 0.98082 | -0.13449 | 0.0021151 | 0.0005301
27 | 0.9793 | -0.14534 | 0 | 0
28 | 0.97904 | -0.1472 | 0.0038906 | 0.00097507
29 | 0.98111 | -0.13243 | 0 | 0
30 | 0.97929 | -0.1454 | 0.0016151 | 0.00040478
31 | 0.97928 | -0.14551 | 0.0030072 | 0.00075367
32 | 0.98183 | -0.12727 | 0.0023814 | 0.00059683
33 | 0.98043 | -0.13728 | 0.0024847 | 0.00062273
34 | 0.98627 | -0.095398 | 0.0063885 | 0.0016011
35 | 0.9879 | -0.083974 | 0.0023044 | 0.00057754
36 | 0.9878 | -0.084723 | 0.0013108 | 0.00032852
37 | 0.98019 | -0.13896 | 0.0021784 | 0.00054596
38 | 0.97908 | -0.14693 | 0.007286 | 0.001826
39 | 0.97904 | -0.14721 | 0.0041927 | 0.0010508
40 | 0.97874 | -0.14932 | 0.0028025 | 0.00070237
41 | 0.98306 | -0.11853 | 0.0027462 | 0.00068825
42 | 0.97877 | -0.14914 | 0.0060776 | 0.0015232
43 | 0.97873 | -0.1494 | 0 | 0
44 | 0.9787 | -0.14967 | 0.0026256 | 0.00065805
45 | 0.98371 | -0.11392 | 0.0027184 | 0.0006813
46 | 0.99579 | -0.029128 | 0.003648 | 0.00091428
47 | 0.99162 | -0.058218 | 0.0060132 | 0.0015071
48 | 0.99682 | -0.02198 | 0 | 0
49 | 0.9905 | -0.066076 | 0.003682 | 0.00092281
50 | 0.99671 | -0.022759 | 0 | 0
51 | 1 | 0 | -0.19018 | -0.047853
52 | 0.98891 | -0.077222 | 0.0032013 | 0.00080232
53 | 0.99659 | -0.023646 | 0.0029767 | 0.00074602
54 | 0.99656 | -0.023841 | 0.0048871 | 0.0012248
55 | 0.99774 | -0.015585 | 0.0041648 | 0.0010438
56 | 0.98688 | -0.091486 | 0.0026422 | 0.00066219
57 | 0.99626 | -0.025959 | 0.0071564 | 0.0017936
58 | 0.99655 | -0.02378 | 0.0031396 | 0.00078687
59 | 0.97259 | -0.19251 | 0.0068907 | 0.001727
60 | 0.98545 | -0.10161 | 0.0017408 | 0.00043628
61 | 0.98599 | -0.097804 | 0 | 0
62 | 0.98584 | -0.098903 | 0.0027113 | 0.00067951
63 | 0.9857 | -0.099881 | 0.0062005 | 0.001554
64 | 0.97865 | -0.14997 | 0 | 0
65 | 0.97861 | -0.1503 | 0 | 0
66 | 0.97861 | -0.15031 | 0.0035441 | 0.00088824
67 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0062561 | 0.0015677 | -0.0062538 | -0.0015673 | 2.2786e-06 | 3.8528e-07 | 0.0095877 | 0.0095879 | 0.0095879 | 0.97094 | -0.20438 | 0.97057 | -0.20701 | 3.5511
1 | -0.021985 | -0.0055097 | 0.022025 | 0.0055244 | 4.0082e-05 | 1.4715e-05 | 0.033693 | 0.033692 | 0.033693 | 0.97094 | -0.20438 | 0.97277 | -0.19123 | 12.4787
2 | -0.023575 | -0.0059126 | 0.0236 | 0.0059219 | 2.5102e-05 | 9.2703e-06 | 0.036064 | 0.036064 | 0.036064 | 0.97277 | -0.19123 | 0.97383 | -0.18356 | 13.3571
3 | 0.0015506 | 0.00038822 | -0.0015504 | -0.00038858 | 1.1388e-07 | -3.5892e-07 | 0.0023717 | 0.0023718 | 0.0023718 | 0.97277 | -0.19123 | 0.97269 | -0.19177 | 0.87846
4 | -0.043136 | -0.01082 | 0.043141 | 0.010822 | 4.5602e-06 | 1.733e-06 | 0.065916 | 0.065916 | 0.065916 | 0.97383 | -0.18356 | 0.97394 | -0.1828 | 24.4132
5 | 0.019536 | 0.0048984 | -0.019526 | -0.0048947 | 1.0107e-05 | 3.6613e-06 | 0.029852 | 0.029852 | 0.029852 | 0.97383 | -0.18356 | 0.97331 | -0.1873 | 11.0563
6 | -0.043141 | -0.010822 | 0.04315 | 0.010826 | 9.2877e-06 | 3.5295e-06 | 0.065916 | 0.065916 | 0.065916 | 0.97394 | -0.1828 | 0.97416 | -0.18125 | 24.4132
7 | 0.017591 | 0.0044097 | -0.017581 | -0.0044061 | 1.0188e-05 | 3.638e-06 | 0.026894 | 0.026894 | 0.026894 | 0.97331 | -0.1873 | 0.97273 | -0.19148 | 9.9606
8 | -0.044907 | -0.011266 | 0.04508 | 0.011332 | 0.00017321 | 6.5882e-05 | 0.068599 | 0.068599 | 0.068599 | 0.97416 | -0.18125 | 0.97803 | -0.15355 | 25.4071
9 | 0.0068917 | 0.0017272 | -0.0068907 | -0.001727 | 9.804e-07 | 2.0162e-07 | 0.010542 | 0.010542 | 0.010542 | 0.97273 | -0.19148 | 0.97259 | -0.19251 | 3.9046
10 | 0.065487 | 0.01653 | -0.065483 | -0.016528 | 4.5002e-06 | 1.6924e-06 | 0.098337 | 0.098337 | 0.098337 | 0.99135 | -0.059862 | 0.99128 | -0.060351 | 18.2106
11 | -0.067567 | -0.017051 | 0.067665 | 0.017088 | 9.7516e-05 | 3.6722e-05 | 0.10146 | 0.10146 | 0.10146 | 0.99135 | -0.059862 | 0.99283 | -0.049595 | 18.7887
12 | 0.061749 | 0.015592 | -0.061662 | -0.015559 | 8.6835e-05 | 3.2565e-05 | 0.092732 | 0.092732 | 0.092732 | 0.99128 | -0.060351 | 0.98985 | -0.070372 | 17.1727
13 | 0.0040179 | 0.0010067 | -0.0040174 | -0.0010068 | 5.2928e-07 | -9.8875e-08 | 0.0060218 | 0.0060219 | 0.0060219 | 0.99283 | -0.049595 | 0.99269 | -0.050547 | 2.2303
14 | -0.071682 | -0.018094 | 0.071839 | 0.018154 | 0.00015695 | 5.9236e-05 | 0.10748 | 0.10748 | 0.10748 | 0.99283 | -0.049595 | 0.99507 | -0.034039 | 19.9038
15 | 0.060322 | 0.015224 | -0.060245 | -0.015195 | 7.6353e-05 | 2.8603e-05 | 0.090718 | 0.090718 | 0.090718 | 0.98985 | -0.070372 | 0.98855 | -0.079399 | 16.7997
16 | -0.074821 | -0.018901 | 0.074851 | 0.018912 | 2.9849e-05 | 1.1282e-05 | 0.11194 | 0.11194 | 0.11194 | 0.99507 | -0.034039 | 0.99548 | -0.031204 | 20.7295
17 | 0.058694 | 0.014806 | -0.058672 | -0.014798 | 2.2369e-05 | 8.3683e-06 | 0.088384 | 0.088384 | 0.088384 | 0.98855 | -0.079399 | 0.98816 | -0.082117 | 16.3674
18 | -0.078466 | -0.019818 | 0.078526 | 0.019841 | 6.0361e-05 | 2.285e-05 | 0.11734 | 0.11734 | 0.11734 | 0.99548 | -0.031204 | 0.99627 | -0.025737 | 21.7301
19 | 0.0036163 | 0.00090511 | -0.0036154 | -0.0009054 | 9.273e-07 | -2.8523e-07 | 0.0054451 | 0.0054453 | 0.0054453 | 0.98816 | -0.082117 | 0.9879 | -0.083974 | 2.0168
20 | 0.055056 | 0.013893 | -0.054953 | -0.013855 | 0.00010243 | 3.8175e-05 | 0.082939 | 0.082939 | 0.082939 | 0.98816 | -0.082117 | 0.98627 | -0.095398 | 15.3591
21 | 0.045241 | 0.011393 | -0.04508 | -0.011332 | 0.00016092 | 6.1201e-05 | 0.068599 | 0.068599 | 0.068599 | 0.98163 | -0.12801 | 0.97803 | -0.15355 | 25.4071
22 | -0.045241 | -0.011393 | 0.045357 | 0.011437 | 0.00011615 | 4.4171e-05 | 0.068599 | 0.068599 | 0.068599 | 0.98163 | -0.12801 | 0.98423 | -0.10969 | 25.407
23 | -0.048468 | -0.012217 | 0.048565 | 0.012254 | 9.7192e-05 | 3.7012e-05 | 0.073301 | 0.073301 | 0.073301 | 0.98423 | -0.10969 | 0.98627 | -0.095398 | 27.1484
24 | -0.080585 | -0.020357 | 0.080607 | 0.020365 | 2.2194e-05 | 8.4083e-06 | 0.12042 | 0.12042 | 0.12042 | 0.99627 | -0.025737 | 0.99655 | -0.02378 | 22.2996
25 | 0.010132 | 0.0025388 | -0.010131 | -0.0025384 | 1.3e-06 | 3.8934e-07 | 0.015392 | 0.015392 | 0.015392 | 0.97951 | -0.14384 | 0.97938 | -0.14477 | 5.7007
26 | -0.011747 | -0.0029436 | 0.011754 | 0.0029457 | 6.4795e-06 | 2.0815e-06 | 0.017846 | 0.017846 | 0.017846 | 0.97951 | -0.14384 | 0.98007 | -0.13985 | 6.6095
27 | 0.0085146 | 0.0021333 | -0.0085142 | -0.0021332 | 4.3423e-07 | 1.1469e-07 | 0.012936 | 0.012936 | 0.012936 | 0.97938 | -0.14477 | 0.97933 | -0.14513 | 4.7913
28 | -0.013707 | -0.0034353 | 0.013717 | 0.0034387 | 1.0177e-05 | 3.4395e-06 | 0.020811 | 0.020811 | 0.020811 | 0.98007 | -0.13985 | 0.98082 | -0.13449 | 7.7079
29 | 0.0046225 | 0.0011584 | -0.0046224 | -0.0011584 | 1.3255e-07 | -3.1996e-09 | 0.0070235 | 0.0070235 | 0.0070235 | 0.97933 | -0.14513 | 0.9793 | -0.14534 | 2.6013
30 | 0.0038917 | 0.00097486 | -0.0038906 | -0.00097507 | 1.11e-06 | -2.1305e-07 | 0.0059129 | 0.0059132 | 0.0059132 | 0.97933 | -0.14513 | 0.97904 | -0.1472 | 2.1901
31 | -0.015833 | -0.0039688 | 0.015837 | 0.0039704 | 4.5195e-06 | 1.5798e-06 | 0.02402 | 0.02402 | 0.02402 | 0.98082 | -0.13449 | 0.98111 | -0.13243 | 8.8963
32 | 0.0016151 | 0.00040474 | -0.0016151 | -0.00040478 | 1.4021e-08 | -4.1547e-08 | 0.0024541 | 0.0024541 | 0.0024541 | 0.9793 | -0.14534 | 0.97929 | -0.1454 | 0.90893
33 | 0.0030073 | 0.00075363 | -0.0030072 | -0.00075367 | 7.0411e-08 | -4.0912e-08 | 0.0045694 | 0.0045694 | 0.0045694 | 0.9793 | -0.14534 | 0.97928 | -0.14551 | 1.6924
34 | -0.047091 | -0.01181 | 0.047125 | 0.011823 | 3.3742e-05 | 1.2844e-05 | 0.071425 | 0.071425 | 0.071425 | 0.98111 | -0.13243 | 0.98183 | -0.12727 | 26.4536
35 | 0.031254 | 0.0078395 | -0.031233 | -0.0078316 | 2.1007e-05 | 7.8907e-06 | 0.047405 | 0.047405 | 0.047405 | 0.98111 | -0.13243 | 0.98043 | -0.13728 | 17.5573
36 | -0.049506 | -0.01242 | 0.049567 | 0.012442 | 6.0092e-05 | 2.2896e-05 | 0.075034 | 0.075034 | 0.075034 | 0.98183 | -0.12727 | 0.98306 | -0.11853 | 27.7903
37 | 0.028749 | 0.0072088 | -0.028742 | -0.0072063 | 6.6846e-06 | 2.5001e-06 | 0.043634 | 0.043634 | 0.043634 | 0.98043 | -0.13728 | 0.98019 | -0.13896 | 16.1606
38 | 0.0013109 | 0.00032785 | -0.0013108 | -0.00032852 | 1.357e-07 | -6.6199e-07 | 0.0019743 | 0.0019746 | 0.0019746 | 0.9879 | -0.083974 | 0.9878 | -0.084723 | 0.73133
39 | 0.026563 | 0.0066604 | -0.026534 | -0.0066495 | 2.9306e-05 | 1.0908e-05 | 0.040327 | 0.040327 | 0.040327 | 0.98019 | -0.13896 | 0.97908 | -0.14693 | 14.9358
40 | 0.013818 | 0.003463 | -0.013818 | -0.0034628 | 5.3097e-07 | 1.7996e-07 | 0.021001 | 0.021001 | 0.021001 | 0.97908 | -0.14693 | 0.97904 | -0.14721 | 7.7781
41 | 0.00543 | 0.0013605 | -0.0054282 | -0.0013603 | 1.7965e-06 | 1.5952e-07 | 0.0082525 | 0.0082527 | 0.0082527 | 0.97908 | -0.14693 | 0.97874 | -0.14932 | 3.0566
42 | 0.0096249 | 0.002412 | -0.0096223 | -0.0024113 | 2.5716e-06 | 7.4696e-07 | 0.014629 | 0.014629 | 0.014629 | 0.97904 | -0.14721 | 0.97877 | -0.14914 | 5.418
43 | 0.0026258 | 0.00065794 | -0.0026257 | -0.00065796 | 2.6924e-08 | -2.3671e-08 | 0.003992 | 0.003992 | 0.003992 | 0.97874 | -0.14932 | 0.97873 | -0.1494 | 1.4785
44 | -0.052313 | -0.013131 | 0.052346 | 0.013143 | 3.3512e-05 | 1.2781e-05 | 0.07919 | 0.07919 | 0.07919 | 0.98306 | -0.11853 | 0.98371 | -0.11392 | 29.3298
45 | 0.0035447 | 0.00088806 | -0.0035443 | -0.00088819 | 4.0497e-07 | -1.2508e-07 | 0.0053889 | 0.005389 | 0.005389 | 0.97877 | -0.14914 | 0.97865 | -0.14997 | 1.9959
46 | 0.0026257 | 0.00065796 | -0.0026256 | -0.00065805 | 9.7391e-08 | -8.5618e-08 | 0.003992 | 0.003992 | 0.003992 | 0.97873 | -0.1494 | 0.9787 | -0.14967 | 1.4785
47 | -0.055065 | -0.013825 | 0.055159 | 0.013861 | 9.4278e-05 | 3.5984e-05 | 0.083302 | 0.083302 | 0.083302 | 0.98371 | -0.11392 | 0.98545 | -0.10161 | 30.8527
48 | 0.082106 | 0.020714 | -0.081772 | -0.020586 | 0.00033367 | 0.00012787 | 0.12274 | 0.12274 | 0.12274 | 0.99579 | -0.029128 | 0.99162 | -0.058218 | 45.4588
49 | -0.085754 | -0.021628 | 0.08584 | 0.021661 | 8.6026e-05 | 3.2978e-05 | 0.12819 | 0.12819 | 0.12819 | 0.99579 | -0.029128 | 0.99682 | -0.02198 | 47.4777
50 | 0.075759 | 0.019079 | -0.075676 | -0.019047 | 8.3123e-05 | 3.1838e-05 | 0.11372 | 0.11372 | 0.11372 | 0.99162 | -0.058218 | 0.9905 | -0.066076 | 42.1168
51 | 0.015026 | 0.0037658 | -0.015024 | -0.0037652 | 1.6206e-06 | 5.5601e-07 | 0.02243 | 0.02243 | 0.02243 | 0.99682 | -0.02198 | 0.99671 | -0.022759 | 8.3074
52 | -0.10087 | -0.025427 | 0.10118 | 0.025546 | 0.00031151 | 0.00011952 | 0.15062 | 0.15062 | 0.15062 | 0.99682 | -0.02198 | 1 | 0 | 55.7852
53 | 0.071994 | 0.018124 | -0.071882 | -0.018081 | 0.00011191 | 4.2846e-05 | 0.10818 | 0.10818 | 0.10818 | 0.9905 | -0.066076 | 0.98891 | -0.077222 | 40.0682
54 | 0.010137 | 0.0025404 | -0.010135 | -0.00254 | 1.2438e-06 | 3.6496e-07 | 0.015133 | 0.015133 | 0.015133 | 0.99671 | -0.022759 | 0.99659 | -0.023646 | 5.6049
55 | 0.0048878 | 0.0012248 | -0.0048871 | -0.0012248 | 7.3217e-07 | -5.5494e-09 | 0.007297 | 0.0072971 | 0.0072971 | 0.99671 | -0.022759 | 0.99656 | -0.023841 | 2.7026
56 | 0.088202 | 0.022306 | -0.088008 | -0.022233 | 0.00019337 | 7.3432e-05 | 0.13132 | 0.13132 | 0.13132 | 1 | 0 | 0.99774 | -0.015585 | 24.3179
57 | 0.06868 | 0.017279 | -0.068544 | -0.017227 | 0.00013639 | 5.2195e-05 | 0.10337 | 0.10337 | 0.10337 | 0.98891 | -0.077222 | 0.98688 | -0.091486 | 38.2841
58 | 0.0071586 | 0.001794 | -0.0071564 | -0.0017936 | 2.2924e-06 | 4.6285e-07 | 0.010689 | 0.010689 | 0.010689 | 0.99659 | -0.023646 | 0.99626 | -0.025959 | 3.9588
59 | 0.083844 | 0.021189 | -0.083747 | -0.021152 | 9.6611e-05 | 3.6642e-05 | 0.12511 | 0.12511 | 0.12511 | 0.99774 | -0.015585 | 0.99655 | -0.02378 | 23.1677
60 | 0.065902 | 0.016565 | -0.065844 | -0.016543 | 5.7918e-05 | 2.2156e-05 | 0.099383 | 0.099383 | 0.099383 | 0.98688 | -0.091486 | 0.98599 | -0.097804 | 36.8086
61 | -0.0569 | -0.014297 | 0.05693 | 0.014309 | 3.0191e-05 | 1.1528e-05 | 0.085931 | 0.085931 | 0.085931 | 0.98545 | -0.10161 | 0.98599 | -0.097804 | 31.8262
62 | 0.0089139 | 0.002234 | -0.0089126 | -0.0022336 | 1.3561e-06 | 3.6844e-07 | 0.013453 | 0.013453 | 0.013453 | 0.98599 | -0.097804 | 0.98584 | -0.098903 | 4.9824
63 | 0.0062013 | 0.0015541 | -0.0062005 | -0.001554 | 8.3941e-07 | 1.2711e-07 | 0.0093602 | 0.0093603 | 0.0093603 | 0.98584 | -0.098903 | 0.9857 | -0.099881 | 3.4668
64 | 0.0035443 | 0.00088819 | -0.0035441 | -0.00088824 | 1.6233e-07 | -5.0118e-08 | 0.005389 | 0.005389 | 0.005389 | 0.97865 | -0.14997 | 0.97861 | -0.1503 | 1.9959
65 | 0.0035441 | 0.00088824 | -0.0035441 | -0.00088824 | 6.5207e-09 | -2.0129e-09 | 0.005389 | 0.005389 | 0.005389 | 0.97861 | -0.1503 | 0.97861 | -0.15031 | 1.9959

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.19465 | 0.048972

## res_load
| p_mw | q_mvar
0 | 0.015729 | 0.003942
1 | 0.0062538 | 0.0015673
2 | 0.0015504 | 0.00038858
3 | 0.0019351 | 0.00048497
4 | 0.0017569 | 0.00044031
5 | 0.010689 | 0.0026789
6 | 0.0020799 | 0.00052126
7 | 0.0037341 | 0.00093586
8 | 0.00134 | 0.00033583
9 | 0.0040174 | 0.0010068
10 | 0.0029816 | 0.00074727
11 | 0.0015511 | 0.00038873
12 | 0.0036152 | 0.00090604
13 | 0.0031101 | 0.00077947
14 | 0.0020588 | 0.00051599
15 | 0.0016153 | 0.00040484
16 | 0.0016161 | 0.00040504
17 | 0.0019534 | 0.00048957
18 | 0.0021151 | 0.0005301
19 | 0.0038906 | 0.00097507
20 | 0.0016151 | 0.00040478
21 | 0.0030072 | 0.00075367
22 | 0.0023814 | 0.00059683
23 | 0.0024847 | 0.00062273
24 | 0.0063885 | 0.0016011
25 | 0.0023044 | 0.00057754
26 | 0.0013108 | 0.00032852
27 | 0.0021784 | 0.00054596
28 | 0.007286 | 0.001826
29 | 0.0041927 | 0.0010508
30 | 0.0028025 | 0.00070237
31 | 0.0027462 | 0.00068825
32 | 0.0060776 | 0.0015232
33 | 0.0026256 | 0.00065805
34 | 0.0027184 | 0.0006813
35 | 0.003648 | 0.00091428
36 | 0.0060132 | 0.0015071
37 | 0.003682 | 0.00092281
38 | 0.0044663 | 0.0011194
39 | 0.0032013 | 0.00080232
40 | 0.0029767 | 0.00074602
41 | 0.0048871 | 0.0012248
42 | 0.0041648 | 0.0010438
43 | 0.0026422 | 0.00066219
44 | 0.0071564 | 0.0017936
45 | 0.0031396 | 0.00078687
46 | 0.0068907 | 0.001727
47 | 0.0017408 | 0.00043628
48 | 0.0027113 | 0.00067951
49 | 0.0062005 | 0.001554
50 | 0.0035441 | 0.00088824

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1