## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1402-23_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1402-23_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1402-23_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1402-23_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1402-23_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1402-23_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1402-23_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1402-23_0_3_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_1402-23_0_3_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_1402-23_0_3_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_1402-23_0_3_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_1402-23_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1402-23_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1402-23_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1402-23_0_3_node_51 | 0.4 | n |  | TRUE
15 | bus_LV_1402-23_0_3_node_52 | 0.4 | n |  | TRUE
16 | bus_LV_1402-23_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1402-23_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1402-23_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1402-23_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1402-23_0_3_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_1402-23_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1402-23_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1402-23_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_1402-23_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1402-23_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1402-23_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_1402-23_0_3_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_1402-23_0_3_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_1402-23_0_3_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_1402-23_0_3_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_1402-23_0_3_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_1402-23_0_3_node_44 | 0.4 | n |  | TRUE
33 | bus_LV_1402-23_0_3_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_1402-23_0_3_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_1402-23_0_3_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_1402-23_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_1402-23_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_1402-23_0_3_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_1402-23_0_3_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_1402-23_0_3_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_1402-23_0_3_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_1402-23_0_3_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_1402-23_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_1402-23_0_3_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_1402-23_0_3_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_1402-23_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_1402-23_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_1402-23_0_3_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_1402-23_0_3_node_42 | 0.4 | n |  | TRUE
50 | bus_MV_137_0_node_53 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1402-23_0_3_load_0 | 0 | 0.010472 | 0.0026246 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1402-23_0_3_load_1 | 1 | 0.010472 | 0.0026246 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1402-23_0_3_load_2 | 2 | 0.012778 | 0.0032025 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1402-23_0_3_load_3 | 3 | 0.014561 | 0.0036495 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1402-23_0_3_load_5 | 5 | 0.0023795 | 0.00059635 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1402-23_0_3_load_25 | 7 | 0.0068913 | 0.0017271 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1402-23_0_3_load_23 | 8 | 0.0084108 | 0.002108 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1402-23_0_3_load_7 | 11 | 0.0031128 | 0.00078015 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1402-23_0_3_load_10 | 13 | 0.00057273 | 0.00014354 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1402-23_0_3_load_51 | 14 | 0.00062222 | 0.00015594 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1402-23_0_3_load_52 | 15 | 0.00066101 | 0.00016566 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1402-23_0_3_load_11 | 16 | 0.0028077 | 0.00070367 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1402-23_0_3_load_12 | 17 | 0.0024596 | 0.00061643 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1402-23_0_3_load_14 | 18 | 0.0025408 | 0.00063678 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1402-23_0_3_load_15 | 19 | 0.013315 | 0.003337 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1402-23_0_3_load_16 | 21 | 0.0070907 | 0.0017771 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1402-23_0_3_load_17 | 22 | 0.00096684 | 0.00024231 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1402-23_0_3_load_18 | 23 | 0.0043029 | 0.0010784 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1402-23_0_3_load_19 | 24 | 0.003811 | 0.00095513 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1402-23_0_3_load_20 | 25 | 0.005113 | 0.0012814 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1402-23_0_3_load_21 | 26 | 0.0052396 | 0.0013132 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1402-23_0_3_load_26 | 28 | 0.0096187 | 0.0024107 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1402-23_0_3_load_30 | 29 | 0.00082702 | 0.00020727 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1402-23_0_3_load_28 | 30 | 0.0040485 | 0.0010146 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1402-23_0_3_load_47 | 31 | 0.015054 | 0.0037728 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1402-23_0_3_load_44 | 32 | 0.0080081 | 0.002007 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1402-23_0_3_load_45 | 33 | 0.0019665 | 0.00049285 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1402-23_0_3_load_38 | 34 | 0.002485 | 0.00062279 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1402-23_0_3_load_46 | 35 | 0.0043235 | 0.0010836 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1402-23_0_3_load_31 | 36 | 0.00073802 | 0.00018496 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1402-23_0_3_load_32 | 37 | 0.0042187 | 0.0010573 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1402-23_0_3_load_33 | 38 | 0.0050337 | 0.0012616 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1402-23_0_3_load_34 | 39 | 0.015909 | 0.0039871 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1402-23_0_3_load_48 | 41 | 0.0087808 | 0.0022007 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1402-23_0_3_load_50 | 44 | 0.0050235 | 0.001259 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1402-23_0_3_load_41 | 45 | 0.0064936 | 0.0016275 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1402-23_0_3_load_40 | 46 | 0.0055909 | 0.0014012 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1402-23_0_3_load_43 | 47 | 0.009043 | 0.0022664 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1402-23_0_3_load_39 | 48 | 0.0037497 | 0.00093977 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1402-23_0_3_load_42 | 49 | 0.0071509 | 0.0017922 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1402-23_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.039369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1402-23_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.011472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1402-23_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0067533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1402-23_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.011952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1402-23_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.047295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1402-23_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.041358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1402-23_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.016068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_1402-23_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1402-23_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.037937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1402-23_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.0095057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1402-23_0_3_line_10 | NAYY 4x150 SE | 9 | 32 | 0.028547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1402-23_0_3_line_11 | NAYY 4x150 SE | 9 | 33 | 0.018598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1402-23_0_3_line_12 | NAYY 4x150 SE | 10 | 20 | 0.017035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1402-23_0_3_line_13 | NAYY 4x150 SE | 10 | 19 | 0.028172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1402-23_0_3_line_14 | NAYY 4x150 SE | 11 | 12 | 0.028136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1402-23_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.017096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1402-23_0_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.0010492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1402-23_0_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.027341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1402-23_0_3_line_18 | NAYY 4x150 SE | 15 | 36 | 0.0058849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1402-23_0_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.020562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1402-23_0_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.0078603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1402-23_0_3_line_21 | NAYY 4x150 SE | 18 | 19 | 0.045029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1402-23_0_3_line_22 | NAYY 4x150 SE | 20 | 28 | 0.0061549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1402-23_0_3_line_23 | NAYY 4x150 SE | 20 | 25 | 0.015457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1402-23_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.0063732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1402-23_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.0093737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1402-23_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.018323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1402-23_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.00517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1402-23_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.0027544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1402-23_0_3_line_29 | NAYY 4x150 SE | 26 | 27 | 0.040721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1402-23_0_3_line_30 | NAYY 4x150 SE | 27 | 29 | 0.028905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1402-23_0_3_line_31 | NAYY 4x150 SE | 27 | 30 | 0.018172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1402-23_0_3_line_32 | NAYY 4x150 SE | 28 | 31 | 0.019028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1402-23_0_3_line_33 | NAYY 4x150 SE | 29 | 36 | 0.0038665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1402-23_0_3_line_34 | NAYY 4x150 SE | 32 | 34 | 0.01028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1402-23_0_3_line_35 | NAYY 4x150 SE | 33 | 35 | 0.0079378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1402-23_0_3_line_36 | NAYY 4x150 SE | 34 | 44 | 0.043332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1402-23_0_3_line_37 | NAYY 4x150 SE | 34 | 42 | 0.028471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1402-23_0_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.026383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1402-23_0_3_line_39 | NAYY 4x150 SE | 37 | 39 | 0.023788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1402-23_0_3_line_40 | NAYY 4x150 SE | 37 | 40 | 0.024936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1402-23_0_3_line_41 | NAYY 4x150 SE | 40 | 41 | 0.016046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1402-23_0_3_line_42 | NAYY 4x150 SE | 41 | 44 | 0.0067062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1402-23_0_3_line_43 | NAYY 4x150 SE | 42 | 43 | 0.034743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1402-23_0_3_line_44 | NAYY 4x150 SE | 43 | 45 | 0.0033382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1402-23_0_3_line_45 | NAYY 4x150 SE | 43 | 46 | 0.0044075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1402-23_0_3_line_46 | NAYY 4x150 SE | 45 | 47 | 0.014579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1402-23_0_3_line_47 | NAYY 4x150 SE | 46 | 48 | 0.040087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1402-23_0_3_line_48 | NAYY 4x150 SE | 47 | 49 | 0.049155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1402-23_0_3_trafo_25 | 0.25 MVA 20/0.4 kV | 50 | 7 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2673344.131 | 1185976.5558 | 2673369.5578 | 1185985.6488 | 2673381.6531 | 1185988.2198
1 | 2673344.131 | 1185976.5558 | 2673333.329 | 1185972.6929
2 | 2673381.6531 | 1185988.2198 | 2673388.2588 | 1185989.6239
3 | 2673324.0311 | 1185965.4129 | 2673331.1861 | 1185971.9266 | 2673333.329 | 1185972.6929
4 | 2673324.0311 | 1185965.4129 | 2673306.3029 | 1185979.7489 | 2673299.8233 | 1185990.3759 | 2673298.371 | 1185998.0405 | 2673300.2859 | 1186001.8328
5 | 2673311.8486 | 1186031.6919 | 2673313.6671 | 1186024.6544 | 2673315.4692 | 1186015.2154 | 2673315.4066 | 1186007.2432 | 2673309.3421 | 1186007.0244 | 2673300.2859 | 1186001.8328
6 | 2673311.8486 | 1186031.6919 | 2673298.4081 | 1186022.8861
7 | 2673311.8486 | 1186031.6919 | 2673328.7214 | 1186039.0312
8 | 2673267.5235 | 1186001.2095 | 2673274.5512 | 1186004.4085 | 2673290.9076 | 1186017.9721 | 2673298.4081 | 1186022.8861
9 | 2673337.4382 | 1186042.8227 | 2673328.7214 | 1186039.0312
10 | 2673267.5235 | 1186001.2095 | 2673247.349 | 1185995.315 | 2673239.8221 | 1185995.1388
11 | 2673267.5235 | 1186001.2095 | 2673269.974 | 1186014.8698 | 2673269.7655 | 1186019.5848
12 | 2673330.805 | 1186058.5175 | 2673337.4382 | 1186042.8227
13 | 2673337.4382 | 1186042.8227 | 2673360.9197 | 1186050.9817 | 2673364.1835 | 1186051.5508
14 | 2673424.7078 | 1186144.6628 | 2673401.6391 | 1186142.7124 | 2673396.7868 | 1186143.8536
15 | 2673424.7078 | 1186144.6628 | 2673422.1243 | 1186138.7721 | 2673422.3296 | 1186128.1104
16 | 2673422.3296 | 1186128.1104 | 2673422.3498 | 1186127.0614
17 | 2673409.1869 | 1186107.8464 | 2673415.8805 | 1186109.6228 | 2673421.0557 | 1186113.2662 | 2673422.5445 | 1186116.9533 | 2673422.3498 | 1186127.0614
18 | 2673403.4989 | 1186106.3368 | 2673409.1869 | 1186107.8464
19 | 2673416.639 | 1186057.5539 | 2673437.1733 | 1186058.6301
20 | 2673416.639 | 1186057.5539 | 2673408.7894 | 1186057.1425
21 | 2673364.1835 | 1186051.5508 | 2673390.3375 | 1186056.1116 | 2673408.1296 | 1186057.1079 | 2673408.7894 | 1186057.1425
22 | 2673330.805 | 1186058.5175 | 2673326.7062 | 1186059.8237 | 2673325.2606 | 1186060.9828
23 | 2673330.805 | 1186058.5175 | 2673333.1776 | 1186061.704 | 2673337.0758 | 1186064.3199 | 2673343.6076 | 1186066.1749
24 | 2673363.7288 | 1186071.8893 | 2673357.598 | 1186070.1482
25 | 2673348.581 | 1186067.5874 | 2673357.598 | 1186070.1482
26 | 2673363.7288 | 1186071.8893 | 2673373.0781 | 1186074.5445 | 2673381.1643 | 1186077.4831
27 | 2673348.581 | 1186067.5874 | 2673343.6076 | 1186066.1749
28 | 2673381.1643 | 1186077.4831 | 2673383.753 | 1186078.4239
29 | 2673419.9009 | 1186096.6644 | 2673413.0347 | 1186094.6235 | 2673399.9763 | 1186087.8484 | 2673387.6732 | 1186079.8486 | 2673383.753 | 1186078.4239
30 | 2673419.9009 | 1186096.6644 | 2673417.3612 | 1186105.8721 | 2673410.4149 | 1186104.7641 | 2673399.7819 | 1186103.711 | 2673399.7619 | 1186105.345
31 | 2673419.9009 | 1186096.6644 | 2673435.4419 | 1186100.1236 | 2673437.6666 | 1186100.461
32 | 2673316.216 | 1186077.0166 | 2673320.6021 | 1186064.7185 | 2673325.2606 | 1186060.9828
33 | 2673399.7619 | 1186105.345 | 2673403.4989 | 1186106.3368
34 | 2673229.828 | 1185997.1807 | 2673237.4002 | 1185995.0821 | 2673239.8221 | 1185995.1388
35 | 2673269.7655 | 1186019.5848 | 2673269.4148 | 1186027.5149
36 | 2673229.828 | 1185997.1807 | 2673212.6691 | 1185957.3909
37 | 2673202.0799 | 1186002.6772 | 2673210.6984 | 1186002.4824 | 2673229.828 | 1185997.1807
38 | 2673169.8666 | 1185974.3563 | 2673168.7648 | 1185971.085 | 2673166.3152 | 1185949.2088 | 2673165.886 | 1185948.3967
39 | 2673150.2541 | 1185931.4677 | 2673150.8079 | 1185931.698 | 2673160.5493 | 1185938.2986 | 2673165.886 | 1185948.3967
40 | 2673165.886 | 1185948.3967 | 2673190.1496 | 1185954.1473
41 | 2673190.1496 | 1185954.1473 | 2673206.0314 | 1185956.4349
42 | 2673212.6691 | 1185957.3909 | 2673206.0314 | 1185956.4349
43 | 2673174.2626 | 1186010.8089 | 2673200.3267 | 1186011.2497 | 2673202.0799 | 1186002.6772
44 | 2673174.2626 | 1186010.8089 | 2673171.153 | 1186009.5948
45 | 2673174.2626 | 1186010.8089 | 2673176.3674 | 1186014.6814
46 | 2673171.153 | 1186009.5948 | 2673169.7358 | 1186009.0415 | 2673158.613 | 1186002.2013
47 | 2673209.2748 | 1186032.3863 | 2673196.9104 | 1186029.1408 | 2673193.3022 | 1186027.14 | 2673190.0715 | 1186019.8629 | 2673187.7161 | 1186017.1325 | 2673176.3674 | 1186014.6814
48 | 2673117.4274 | 1185976.039 | 2673125.79 | 1185983.6789 | 2673145.4394 | 1185996.3373 | 2673155.9575 | 1186000.5682 | 2673158.613 | 1186002.2013

## bus_geodata
| x | y | coords
0 | 2673344.131 | 1185976.5558
1 | 2673381.6531 | 1185988.2198
2 | 2673333.329 | 1185972.6929
3 | 2673388.2588 | 1185989.6239
4 | 2673324.0311 | 1185965.4129
5 | 2673300.2859 | 1186001.8328
6 | 2673311.8486 | 1186031.6919
7 | 2673298.4081 | 1186022.8861
8 | 2673328.7214 | 1186039.0312
9 | 2673267.5235 | 1186001.2095
10 | 2673337.4382 | 1186042.8227
11 | 2673396.7868 | 1186143.8536
12 | 2673424.7078 | 1186144.6628
13 | 2673422.3296 | 1186128.1104
14 | 2673422.3498 | 1186127.0614
15 | 2673409.1869 | 1186107.8464
16 | 2673437.1733 | 1186058.6301
17 | 2673416.639 | 1186057.5539
18 | 2673408.7894 | 1186057.1425
19 | 2673364.1835 | 1186051.5508
20 | 2673330.805 | 1186058.5175
21 | 2673357.598 | 1186070.1482
22 | 2673363.7288 | 1186071.8893
23 | 2673348.581 | 1186067.5874
24 | 2673381.1643 | 1186077.4831
25 | 2673343.6076 | 1186066.1749
26 | 2673383.753 | 1186078.4239
27 | 2673419.9009 | 1186096.6644
28 | 2673325.2606 | 1186060.9828
29 | 2673399.7619 | 1186105.345
30 | 2673437.6666 | 1186100.461
31 | 2673316.216 | 1186077.0166
32 | 2673239.8221 | 1185995.1388
33 | 2673269.7655 | 1186019.5848
34 | 2673229.828 | 1185997.1807
35 | 2673269.4148 | 1186027.5149
36 | 2673403.4989 | 1186106.3368
37 | 2673165.886 | 1185948.3967
38 | 2673169.8666 | 1185974.3563
39 | 2673150.2541 | 1185931.4677
40 | 2673190.1496 | 1185954.1473
41 | 2673206.0314 | 1185956.4349
42 | 2673202.0799 | 1186002.6772
43 | 2673174.2626 | 1186010.8089
44 | 2673212.6691 | 1185957.3909
45 | 2673171.153 | 1186009.5948
46 | 2673176.3674 | 1186014.6814
47 | 2673158.613 | 1186002.2013
48 | 2673209.2748 | 1186032.3863
49 | 2673117.4274 | 1185976.039
50 | 2673311.8486 | 1186031.6919

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99064 | -0.065541 | 0.010472 | 0.0026246
1 | 0.98922 | -0.07558 | 0.010472 | 0.0026246
2 | 0.99123 | -0.0614 | 0.012778 | 0.0032025
3 | 0.98908 | -0.076583 | 0.014561 | 0.0036495
4 | 0.99206 | -0.055543 | 0 | 0
5 | 0.99534 | -0.032457 | 0.0023795 | 0.00059635
6 | 0.99836 | -0.011407 | 0 | 0
7 | 1 | 0 | -0.2327 | -0.058396
8 | 0.99595 | -0.028278 | 0.0084108 | 0.002108
9 | 0.9952 | -0.033409 | 0 | 0
10 | 0.99482 | -0.03622 | 0 | 0
11 | 0.98976 | -0.071917 | 0.0031128 | 0.00078015
12 | 0.98988 | -0.071025 | 0 | 0
13 | 0.98996 | -0.070482 | 0.00057273 | 0.00014354
14 | 0.98996 | -0.070443 | 0.00062222 | 0.00015594
15 | 0.99013 | -0.069242 | 0.00066101 | 0.00016566
16 | 0.99332 | -0.046787 | 0.0028077 | 0.00070367
17 | 0.9934 | -0.046203 | 0.0024596 | 0.00061643
18 | 0.99346 | -0.045784 | 0.0025408 | 0.00063678
19 | 0.99396 | -0.042228 | 0.013315 | 0.003337
20 | 0.9933 | -0.046853 | 0 | 0
21 | 0.99187 | -0.056975 | 0.0070907 | 0.0017771
22 | 0.99168 | -0.058308 | 0.00096684 | 0.00024231
23 | 0.99224 | -0.054341 | 0.0043029 | 0.0010784
24 | 0.99116 | -0.061964 | 0.003811 | 0.00095513
25 | 0.99248 | -0.052663 | 0.005113 | 0.0012814
26 | 0.9911 | -0.062407 | 0.0052396 | 0.0013132
27 | 0.99048 | -0.066794 | 0 | 0
28 | 0.99309 | -0.04839 | 0.0096187 | 0.0024107
29 | 0.99021 | -0.068719 | 0.00082702 | 0.00020727
30 | 0.99037 | -0.067543 | 0.0040485 | 0.0010146
31 | 0.99267 | -0.05129 | 0.015054 | 0.0037728
32 | 0.99184 | -0.056939 | 0.0080081 | 0.002007
33 | 0.99503 | -0.034589 | 0.0019665 | 0.00049285
34 | 0.99075 | -0.064614 | 0.002485 | 0.00062279
35 | 0.99498 | -0.034935 | 0.0043235 | 0.0010836
36 | 0.99018 | -0.068944 | 0.00073802 | 0.00018496
37 | 0.98649 | -0.094718 | 0.0042187 | 0.0010573
38 | 0.9863 | -0.09608 | 0.0050337 | 0.0012616
39 | 0.98594 | -0.098601 | 0.015909 | 0.0039871
40 | 0.9874 | -0.088288 | 0 | 0
41 | 0.98798 | -0.084156 | 0.0087808 | 0.0022007
42 | 0.98943 | -0.073902 | 0 | 0
43 | 0.98783 | -0.085269 | 0 | 0
44 | 0.98831 | -0.081829 | 0.0050235 | 0.001259
45 | 0.98772 | -0.086044 | 0.0064936 | 0.0016275
46 | 0.98777 | -0.085691 | 0.0055909 | 0.0014012
47 | 0.98738 | -0.088461 | 0.009043 | 0.0022664
48 | 0.98755 | -0.087229 | 0.0037497 | 0.00093977
49 | 0.98687 | -0.092062 | 0.0071509 | 0.0017922
50 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.025071 | 0.0062877 | -0.025036 | -0.0062748 | 3.4842e-05 | 1.2895e-05 | 0.03766 | 0.03766 | 0.03766 | 0.99064 | -0.065541 | 0.98922 | -0.07558 | 13.9481
1 | -0.035543 | -0.0089123 | 0.035564 | 0.00892 | 2.0405e-05 | 7.7004e-06 | 0.05339 | 0.05339 | 0.05339 | 0.99064 | -0.065541 | 0.99123 | -0.0614 | 19.7741
2 | 0.014564 | 0.0036501 | -0.014561 | -0.0036495 | 2.0224e-06 | 6.9116e-07 | 0.021907 | 0.021907 | 0.021907 | 0.98922 | -0.07558 | 0.98908 | -0.076583 | 8.1137
3 | -0.048342 | -0.012123 | 0.048381 | 0.012137 | 3.9278e-05 | 1.4953e-05 | 0.072573 | 0.072573 | 0.072573 | 0.99123 | -0.0614 | 0.99206 | -0.055543 | 26.8787
4 | -0.048381 | -0.012137 | 0.048537 | 0.012197 | 0.00015543 | 5.917e-05 | 0.072573 | 0.072572 | 0.072573 | 0.99206 | -0.055543 | 0.99534 | -0.032457 | 26.8787
5 | -0.050916 | -0.012793 | 0.051066 | 0.01285 | 0.00014957 | 5.6988e-05 | 0.07613 | 0.076129 | 0.07613 | 0.99534 | -0.032457 | 0.99836 | -0.011407 | 28.1961
6 | -0.14288 | -0.035924 | 0.14311 | 0.036011 | 0.00022745 | 8.7059e-05 | 0.213 | 0.213 | 0.213 | 0.99836 | -0.011407 | 1 | 0 | 39.4444
7 | 0.091816 | 0.023074 | -0.091601 | -0.022991 | 0.00021509 | 8.2487e-05 | 0.13687 | 0.13687 | 0.13687 | 0.99836 | -0.011407 | 0.99595 | -0.028278 | 50.6927
8 | 0.088794 | 0.022385 | -0.08838 | -0.022226 | 0.00041355 | 0.00015856 | 0.13217 | 0.13217 | 0.13217 | 1 | 0 | 0.9952 | -0.033409 | 48.953
9 | 0.08319 | 0.020883 | -0.083099 | -0.020848 | 9.1652e-05 | 3.5127e-05 | 0.1243 | 0.1243 | 0.1243 | 0.99595 | -0.028278 | 0.99482 | -0.03622 | 46.0385
10 | 0.082089 | 0.02065 | -0.081821 | -0.020547 | 0.00026848 | 0.00010289 | 0.12277 | 0.12277 | 0.12277 | 0.9952 | -0.033409 | 0.99184 | -0.056939 | 45.4691
11 | 0.0062912 | 0.0015766 | -0.0062902 | -0.0015764 | 1.0269e-06 | 1.5334e-07 | 0.0094066 | 0.0094067 | 0.0094067 | 0.9952 | -0.033409 | 0.99503 | -0.034589 | 3.4839
12 | 0.061954 | 0.015547 | -0.061863 | -0.015512 | 9.1298e-05 | 3.4894e-05 | 0.092676 | 0.092676 | 0.092676 | 0.99482 | -0.03622 | 0.9933 | -0.046853 | 34.3244
13 | 0.021145 | 0.005301 | -0.021127 | -0.0052946 | 1.7585e-05 | 6.3981e-06 | 0.031628 | 0.031628 | 0.031628 | 0.99482 | -0.03622 | 0.99396 | -0.042228 | 11.7142
14 | -0.0031128 | -0.00078015 | 0.0031132 | 0.00077993 | 3.845e-07 | -2.1376e-07 | 0.0046799 | 0.0046798 | 0.0046799 | 0.98976 | -0.071917 | 0.98988 | -0.071025 | 1.7333
15 | -0.0031132 | -0.00077993 | 0.0031134 | 0.0007798 | 2.3363e-07 | -1.2993e-07 | 0.0046798 | 0.0046797 | 0.0046798 | 0.98988 | -0.071025 | 0.98996 | -0.070482 | 1.7332
16 | -0.0036862 | -0.00092334 | 0.0036862 | 0.00092334 | 2.0098e-08 | -5.7598e-09 | 0.0055406 | 0.0055405 | 0.0055406 | 0.98996 | -0.070482 | 0.98996 | -0.070443 | 2.0521
17 | -0.0043084 | -0.0010793 | 0.0043091 | 0.0010792 | 7.1544e-07 | -7.6417e-08 | 0.0064758 | 0.0064757 | 0.0064758 | 0.98996 | -0.070443 | 0.99013 | -0.069242 | 2.3984
18 | -0.0049701 | -0.0012449 | 0.0049703 | 0.0012449 | 2.0486e-07 | 3.0993e-09 | 0.0074691 | 0.0074691 | 0.0074691 | 0.99013 | -0.069242 | 0.99018 | -0.068944 | 2.7663
19 | -0.0028077 | -0.00070367 | 0.0028079 | 0.00070349 | 2.2698e-07 | -1.7889e-07 | 0.004206 | 0.0042059 | 0.004206 | 0.99332 | -0.046787 | 0.9934 | -0.046203 | 1.5578
20 | -0.0052675 | -0.0013199 | 0.0052678 | 0.0013199 | 3.0534e-07 | 1.5668e-08 | 0.0078901 | 0.0078901 | 0.0078901 | 0.9934 | -0.046203 | 0.99346 | -0.045784 | 2.9223
21 | -0.0078086 | -0.0019567 | 0.0078124 | 0.0019576 | 3.8435e-06 | 8.9491e-07 | 0.011696 | 0.011695 | 0.011696 | 0.99346 | -0.045784 | 0.99396 | -0.042228 | 4.3317
22 | 0.024684 | 0.0061875 | -0.024678 | -0.0061856 | 5.2515e-06 | 1.9402e-06 | 0.036978 | 0.036978 | 0.036978 | 0.9933 | -0.046853 | 0.99309 | -0.04839 | 13.6955
23 | 0.037179 | 0.0093247 | -0.037149 | -0.0093134 | 2.9923e-05 | 1.1309e-05 | 0.055698 | 0.055698 | 0.055698 | 0.9933 | -0.046853 | 0.99248 | -0.052663 | 20.629
24 | 0.020625 | 0.0051699 | -0.020621 | -0.0051685 | 3.8075e-06 | 1.3822e-06 | 0.030942 | 0.030942 | 0.030942 | 0.99187 | -0.056975 | 0.99168 | -0.058308 | 11.46
25 | -0.027715 | -0.006947 | 0.027726 | 0.0069507 | 1.0112e-05 | 3.7683e-06 | 0.041579 | 0.041579 | 0.041579 | 0.99187 | -0.056975 | 0.99224 | -0.054341 | 15.3998
26 | 0.019654 | 0.0049262 | -0.019644 | -0.0049226 | 9.9439e-06 | 3.5883e-06 | 0.029491 | 0.029491 | 0.029491 | 0.99168 | -0.058308 | 0.99116 | -0.061964 | 10.9227
27 | -0.032029 | -0.0080291 | 0.032036 | 0.0080319 | 7.443e-06 | 2.7959e-06 | 0.048032 | 0.048032 | 0.048032 | 0.99224 | -0.054341 | 0.99248 | -0.052663 | 17.7897
28 | 0.015833 | 0.0039674 | -0.015832 | -0.0039671 | 9.7111e-07 | 3.3801e-07 | 0.02377 | 0.02377 | 0.02377 | 0.99116 | -0.061964 | 0.9911 | -0.062407 | 8.8037
29 | 0.010593 | 0.0026539 | -0.010586 | -0.002652 | 6.4266e-06 | 1.9473e-06 | 0.015903 | 0.015903 | 0.015903 | 0.9911 | -0.062407 | 0.99048 | -0.066794 | 5.8902
30 | 0.0065373 | 0.0016374 | -0.0065356 | -0.0016371 | 1.7396e-06 | 2.9716e-07 | 0.0098208 | 0.0098209 | 0.0098209 | 0.99048 | -0.066794 | 0.99021 | -0.068719 | 3.6374
31 | 0.0040489 | 0.0010146 | -0.0040485 | -0.0010146 | 4.1954e-07 | -7.2492e-08 | 0.0060827 | 0.0060828 | 0.0060828 | 0.99048 | -0.066794 | 0.99037 | -0.067543 | 2.2529
32 | 0.01506 | 0.0037749 | -0.015054 | -0.0037728 | 6.046e-06 | 2.0793e-06 | 0.022565 | 0.022566 | 0.022566 | 0.99309 | -0.04839 | 0.99267 | -0.05129 | 8.3576
33 | 0.0057085 | 0.0014299 | -0.0057084 | -0.0014298 | 1.7753e-07 | 1.8548e-08 | 0.0085781 | 0.0085781 | 0.0085781 | 0.99021 | -0.068719 | 0.99018 | -0.068944 | 3.1771
34 | 0.073813 | 0.01854 | -0.073734 | -0.01851 | 7.8685e-05 | 3.0131e-05 | 0.11075 | 0.11075 | 0.11075 | 0.99184 | -0.056939 | 0.99075 | -0.064614 | 41.0194
35 | 0.0043237 | 0.0010835 | -0.0043235 | -0.0010836 | 2.0708e-07 | -2.3454e-08 | 0.0064659 | 0.0064659 | 0.0064659 | 0.99503 | -0.034589 | 0.99498 | -0.034935 | 2.3948
36 | 0.039116 | 0.0098218 | -0.039023 | -0.0097865 | 9.3345e-05 | 3.5345e-05 | 0.058756 | 0.058756 | 0.058756 | 0.99075 | -0.064614 | 0.98831 | -0.081829 | 21.7614
37 | 0.032133 | 0.008065 | -0.032091 | -0.0080495 | 4.1386e-05 | 1.5552e-05 | 0.048265 | 0.048265 | 0.048265 | 0.99075 | -0.064614 | 0.98943 | -0.073902 | 17.8759
38 | 0.0050347 | 0.0012616 | -0.0050337 | -0.0012616 | 9.4948e-07 | 2.8407e-08 | 0.0075942 | 0.0075943 | 0.0075943 | 0.98649 | -0.094718 | 0.9863 | -0.09608 | 2.8127
39 | 0.015917 | 0.0039901 | -0.015909 | -0.0039871 | 8.5573e-06 | 2.9877e-06 | 0.02401 | 0.02401 | 0.02401 | 0.98649 | -0.094718 | 0.98594 | -0.098601 | 8.8926
40 | -0.025171 | -0.006309 | 0.025193 | 0.0063173 | 2.243e-05 | 8.3083e-06 | 0.037968 | 0.037968 | 0.037968 | 0.98649 | -0.094718 | 0.9874 | -0.088288 | 14.0621
41 | -0.025193 | -0.0063173 | 0.025208 | 0.0063227 | 1.4433e-05 | 5.3459e-06 | 0.037968 | 0.037967 | 0.037968 | 0.9874 | -0.088288 | 0.98798 | -0.084156 | 14.0621
42 | -0.033988 | -0.0085234 | 0.033999 | 0.0085275 | 1.0967e-05 | 4.132e-06 | 0.051192 | 0.051192 | 0.051192 | 0.98798 | -0.084156 | 0.98831 | -0.081829 | 18.9601
43 | 0.032091 | 0.0080495 | -0.032041 | -0.0080305 | 5.0503e-05 | 1.8979e-05 | 0.048265 | 0.048265 | 0.048265 | 0.98943 | -0.073902 | 0.98783 | -0.085269 | 17.8759
44 | 0.022699 | 0.0056895 | -0.022696 | -0.0056886 | 2.4354e-06 | 8.9396e-07 | 0.034193 | 0.034193 | 0.034193 | 0.98783 | -0.085269 | 0.98772 | -0.086044 | 12.664
45 | 0.009342 | 0.0023409 | -0.0093414 | -0.0023408 | 5.4463e-07 | 1.5305e-07 | 0.014072 | 0.014072 | 0.014072 | 0.98783 | -0.085269 | 0.98777 | -0.085691 | 5.2119
46 | 0.016203 | 0.0040612 | -0.016197 | -0.0040593 | 5.4207e-06 | 1.8983e-06 | 0.02441 | 0.02441 | 0.02441 | 0.98772 | -0.086044 | 0.98738 | -0.088461 | 9.0408
47 | 0.0037505 | 0.00093957 | -0.0037497 | -0.00093977 | 7.985e-07 | -2.059e-07 | 0.0056498 | 0.00565 | 0.00565 | 0.98777 | -0.085691 | 0.98755 | -0.087229 | 2.0926
48 | 0.0071544 | 0.0017929 | -0.0071509 | -0.0017922 | 3.5658e-06 | 7.4309e-07 | 0.010782 | 0.010782 | 0.010782 | 0.98738 | -0.088461 | 0.98687 | -0.092062 | 3.9934

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23959 | 0.060123

## res_load
| p_mw | q_mvar
0 | 0.010472 | 0.0026246
1 | 0.010472 | 0.0026246
2 | 0.012778 | 0.0032025
3 | 0.014561 | 0.0036495
4 | 0.0023795 | 0.00059635
5 | 0.0068913 | 0.0017271
6 | 0.0084108 | 0.002108
7 | 0.0031128 | 0.00078015
8 | 0.00057273 | 0.00014354
9 | 0.00062222 | 0.00015594
10 | 0.00066101 | 0.00016566
11 | 0.0028077 | 0.00070367
12 | 0.0024596 | 0.00061643
13 | 0.0025408 | 0.00063678
14 | 0.013315 | 0.003337
15 | 0.0070907 | 0.0017771
16 | 0.00096684 | 0.00024231
17 | 0.0043029 | 0.0010784
18 | 0.003811 | 0.00095513
19 | 0.005113 | 0.0012814
20 | 0.0052396 | 0.0013132
21 | 0.0096187 | 0.0024107
22 | 0.00082702 | 0.00020727
23 | 0.0040485 | 0.0010146
24 | 0.015054 | 0.0037728
25 | 0.0080081 | 0.002007
26 | 0.0019665 | 0.00049285
27 | 0.002485 | 0.00062279
28 | 0.0043235 | 0.0010836
29 | 0.00073802 | 0.00018496
30 | 0.0042187 | 0.0010573
31 | 0.0050337 | 0.0012616
32 | 0.015909 | 0.0039871
33 | 0.0087808 | 0.0022007
34 | 0.0050235 | 0.001259
35 | 0.0064936 | 0.0016275
36 | 0.0055909 | 0.0014012
37 | 0.009043 | 0.0022664
38 | 0.0037497 | 0.00093977
39 | 0.0071509 | 0.0017922

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1