## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1402-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1402-3_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1402-3_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1402-3_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1402-3_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1402-3_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_1402-3_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1402-3_0_3_node_71 | 0.4 | n |  | TRUE
8 | bus_LV_1402-3_0_3_node_68 | 0.4 | n |  | TRUE
9 | bus_LV_1402-3_0_3_node_132 | 0.4 | n |  | TRUE
10 | bus_LV_1402-3_0_3_node_137 | 0.4 | n |  | TRUE
11 | bus_LV_1402-3_0_3_node_136 | 0.4 | n |  | TRUE
12 | bus_LV_1402-3_0_3_node_133 | 0.4 | n |  | TRUE
13 | bus_LV_1402-3_0_3_node_134 | 0.4 | n |  | TRUE
14 | bus_LV_1402-3_0_3_node_135 | 0.4 | n |  | TRUE
15 | bus_LV_1402-3_0_3_node_122 | 0.4 | n |  | TRUE
16 | bus_LV_1402-3_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_1402-3_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1402-3_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1402-3_0_3_node_70 | 0.4 | n |  | TRUE
20 | bus_LV_1402-3_0_3_node_138 | 0.4 | n |  | TRUE
21 | bus_LV_1402-3_0_3_node_139 | 0.4 | n |  | TRUE
22 | bus_LV_1402-3_0_3_node_140 | 0.4 | n |  | TRUE
23 | bus_LV_1402-3_0_3_node_141 | 0.4 | n |  | TRUE
24 | bus_LV_1402-3_0_3_node_142 | 0.4 | n |  | TRUE
25 | bus_LV_1402-3_0_3_node_147 | 0.4 | n |  | TRUE
26 | bus_LV_1402-3_0_3_node_148 | 0.4 | n |  | TRUE
27 | bus_LV_1402-3_0_3_node_143 | 0.4 | n |  | TRUE
28 | bus_LV_1402-3_0_3_node_121 | 0.4 | n |  | TRUE
29 | bus_LV_1402-3_0_3_node_144 | 0.4 | n |  | TRUE
30 | bus_LV_1402-3_0_3_node_145 | 0.4 | n |  | TRUE
31 | bus_LV_1402-3_0_3_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_1402-3_0_3_node_78 | 0.4 | n |  | TRUE
33 | bus_LV_1402-3_0_3_node_146 | 0.4 | n |  | TRUE
34 | bus_LV_1402-3_0_3_node_163 | 0.4 | n |  | TRUE
35 | bus_LV_1402-3_0_3_node_149 | 0.4 | n |  | TRUE
36 | bus_LV_1402-3_0_3_node_150 | 0.4 | n |  | TRUE
37 | bus_LV_1402-3_0_3_node_77 | 0.4 | n |  | TRUE
38 | bus_LV_1402-3_0_3_node_151 | 0.4 | n |  | TRUE
39 | bus_LV_1402-3_0_3_node_80 | 0.4 | n |  | TRUE
40 | bus_LV_1402-3_0_3_node_162 | 0.4 | n |  | TRUE
41 | bus_LV_1402-3_0_3_node_152 | 0.4 | n |  | TRUE
42 | bus_LV_1402-3_0_3_node_79 | 0.4 | n |  | TRUE
43 | bus_LV_1402-3_0_3_node_153 | 0.4 | n |  | TRUE
44 | bus_LV_1402-3_0_3_node_167 | 0.4 | n |  | TRUE
45 | bus_LV_1402-3_0_3_node_154 | 0.4 | n |  | TRUE
46 | bus_LV_1402-3_0_3_node_155 | 0.4 | n |  | TRUE
47 | bus_LV_1402-3_0_3_node_156 | 0.4 | n |  | TRUE
48 | bus_LV_1402-3_0_3_node_157 | 0.4 | n |  | TRUE
49 | bus_LV_1402-3_0_3_node_158 | 0.4 | n |  | TRUE
50 | bus_LV_1402-3_0_3_node_159 | 0.4 | n |  | TRUE
51 | bus_LV_1402-3_0_3_node_160 | 0.4 | n |  | TRUE
52 | bus_LV_1402-3_0_3_node_161 | 0.4 | n |  | TRUE
53 | bus_LV_1402-3_0_3_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_1402-3_0_3_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_1402-3_0_3_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_1402-3_0_3_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_1402-3_0_3_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_1402-3_0_3_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_1402-3_0_3_node_66 | 0.4 | n |  | TRUE
60 | bus_LV_1402-3_0_3_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_1402-3_0_3_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_1402-3_0_3_node_72 | 0.4 | n |  | TRUE
63 | bus_LV_1402-3_0_3_node_73 | 0.4 | n |  | TRUE
64 | bus_LV_1402-3_0_3_node_75 | 0.4 | n |  | TRUE
65 | bus_LV_1402-3_0_3_node_76 | 0.4 | n |  | TRUE
66 | bus_LV_1402-3_0_3_node_74 | 0.4 | n |  | TRUE
67 | bus_LV_1402-3_0_3_node_81 | 0.4 | n |  | TRUE
68 | bus_MV_0_node_167 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1402-3_0_3_load_0 | 0 | 0.0018415 | 0.00046152 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1402-3_0_3_load_3 | 2 | 0.00078597 | 0.00019698 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1402-3_0_3_load_4 | 3 | 0.00054328 | 0.00013616 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1402-3_0_3_load_5 | 4 | 0.0016364 | 0.00041012 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1402-3_0_3_load_7 | 5 | 0.0013201 | 0.00033084 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1402-3_0_3_load_137 | 10 | 0.00043618 | 0.00010932 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1402-3_0_3_load_136 | 11 | 0.00027418 | 6.8716e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1402-3_0_3_load_133 | 12 | 0.0013344 | 0.00033443 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1402-3_0_3_load_134 | 13 | 0.00050667 | 0.00012698 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1402-3_0_3_load_135 | 14 | 0.0026476 | 0.00066356 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1402-3_0_3_load_122 | 15 | 0.00087337 | 0.00021889 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1402-3_0_3_load_13 | 16 | 0.0017437 | 0.00043701 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1402-3_0_3_load_70 | 19 | 0.0034408 | 0.00086235 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1402-3_0_3_load_140 | 22 | 0.0013774 | 0.00034522 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1402-3_0_3_load_141 | 23 | 0.0010165 | 0.00025475 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1402-3_0_3_load_142 | 24 | 0.0012815 | 0.00032117 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1402-3_0_3_load_148 | 26 | 0.00064273 | 0.00016108 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1402-3_0_3_load_143 | 27 | 0.00045025 | 0.00011284 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1402-3_0_3_load_121 | 28 | 0.00028586 | 7.1644e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1402-3_0_3_load_144 | 29 | 0.00057963 | 0.00014527 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1402-3_0_3_load_146 | 33 | 0.00054205 | 0.00013585 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1402-3_0_3_load_163 | 34 | 0.00052967 | 0.00013275 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1402-3_0_3_load_149 | 35 | 0.0011599 | 0.00029071 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1402-3_0_3_load_150 | 36 | 0.00079743 | 0.00019986 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1402-3_0_3_load_162 | 40 | 0.0010735 | 0.00026904 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1402-3_0_3_load_152 | 41 | 0.0013047 | 0.000327 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1402-3_0_3_load_153 | 43 | 0.0015015 | 0.00037632 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1402-3_0_3_load_167 | 44 | 0.0022479 | 0.00056338 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1402-3_0_3_load_154 | 45 | 0.00087227 | 0.00021861 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1402-3_0_3_load_155 | 46 | 0.0039827 | 0.00099816 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1402-3_0_3_load_158 | 49 | 0.00066882 | 0.00016762 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1402-3_0_3_load_159 | 50 | 0.0097919 | 0.0024541 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1402-3_0_3_load_160 | 51 | 0.0027707 | 0.00069439 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1402-3_0_3_load_56 | 53 | 0.00095553 | 0.00023948 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1402-3_0_3_load_43 | 54 | 0.0011423 | 0.00028629 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1402-3_0_3_load_57 | 57 | 0.00063876 | 0.00016009 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1402-3_0_3_load_60 | 58 | 0.0007746 | 0.00019413 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1402-3_0_3_load_66 | 59 | 0.0044441 | 0.0011138 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1402-3_0_3_load_67 | 60 | 0.0020446 | 0.00051244 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1402-3_0_3_load_69 | 61 | 0.00094153 | 0.00023597 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1402-3_0_3_load_72 | 62 | 0.00064578 | 0.00016185 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1402-3_0_3_load_75 | 64 | 0.002274 | 0.00056992 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1402-3_0_3_load_76 | 65 | 0.00049484 | 0.00012402 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1402-3_0_3_load_74 | 66 | 0.001566 | 0.00039249 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1402-3_0_3_load_81 | 67 | 0.00090259 | 0.00022621 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1402-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.015985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1402-3_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.016996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1402-3_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0027325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1402-3_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.44646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1402-3_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.59409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1402-3_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.014686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1402-3_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.033091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1402-3_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.087744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1402-3_0_3_line_8 | NAYY 4x150 SE | 7 | 62 | 0.11883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1402-3_0_3_line_9 | NAYY 4x150 SE | 8 | 59 | 0.017592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1402-3_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.0040988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1402-3_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.061115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1402-3_0_3_line_12 | NAYY 4x150 SE | 10 | 20 | 0.12686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1402-3_0_3_line_13 | NAYY 4x150 SE | 11 | 14 | 0.00053896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1402-3_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.010416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1402-3_0_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.0045651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1402-3_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.053297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1402-3_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.026781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1402-3_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.3093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1402-3_0_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.040205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1402-3_0_3_line_20 | NAYY 4x150 SE | 19 | 61 | 0.021026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1402-3_0_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.16517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1402-3_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.43574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1402-3_0_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.012375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1402-3_0_3_line_24 | NAYY 4x150 SE | 21 | 24 | 0.033513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1402-3_0_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.10506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1402-3_0_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.0024961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1402-3_0_3_line_27 | NAYY 4x150 SE | 25 | 35 | 0.015301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1402-3_0_3_line_28 | NAYY 4x150 SE | 25 | 36 | 0.032538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1402-3_0_3_line_29 | NAYY 4x150 SE | 25 | 37 | 0.16772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_1402-3_0_3_line_30 | NAYY 4x150 SE | 26 | 32 | 0.10015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1402-3_0_3_line_31 | NAYY 4x150 SE | 27 | 28 | 0.042207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1402-3_0_3_line_32 | NAYY 4x150 SE | 27 | 29 | 0.0044699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1402-3_0_3_line_33 | NAYY 4x150 SE | 29 | 30 | 0.086222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1402-3_0_3_line_34 | NAYY 4x150 SE | 30 | 31 | 0.11071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1402-3_0_3_line_35 | NAYY 4x150 SE | 30 | 32 | 0.18204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1402-3_0_3_line_36 | NAYY 4x150 SE | 31 | 50 | 0.099219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1402-3_0_3_line_37 | NAYY 4x150 SE | 31 | 55 | 0.017004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1402-3_0_3_line_38 | NAYY 4x150 SE | 33 | 34 | 0.14454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1402-3_0_3_line_39 | NAYY 4x150 SE | 34 | 56 | 0.021303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1402-3_0_3_line_40 | NAYY 4x150 SE | 34 | 48 | 0.15405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1402-3_0_3_line_41 | NAYY 4x150 SE | 37 | 44 | 0.11993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_1402-3_0_3_line_42 | NAYY 4x150 SE | 38 | 39 | 0.46526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1402-3_0_3_line_43 | NAYY 4x150 SE | 38 | 40 | 0.050042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1402-3_0_3_line_44 | NAYY 4x150 SE | 39 | 64 | 0.069053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1402-3_0_3_line_45 | NAYY 4x150 SE | 40 | 52 | 0.019463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1402-3_0_3_line_46 | NAYY 4x150 SE | 41 | 42 | 0.15751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1402-3_0_3_line_47 | NAYY 4x150 SE | 41 | 43 | 0.020086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1402-3_0_3_line_48 | NAYY 4x150 SE | 42 | 67 | 0.034187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1402-3_0_3_line_49 | NAYY 4x150 SE | 42 | 66 | 0.019804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1402-3_0_3_line_50 | NAYY 4x150 SE | 43 | 44 | 0.028738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1402-3_0_3_line_51 | NAYY 4x150 SE | 45 | 46 | 0.036213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1402-3_0_3_line_52 | NAYY 4x150 SE | 45 | 47 | 0.015699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1402-3_0_3_line_53 | NAYY 4x150 SE | 46 | 48 | 0.013256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1402-3_0_3_line_54 | NAYY 4x150 SE | 47 | 49 | 0.02473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1402-3_0_3_line_55 | NAYY 4x150 SE | 47 | 50 | 0.057562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1402-3_0_3_line_56 | NAYY 4x150 SE | 51 | 52 | 0.012099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1402-3_0_3_line_57 | NAYY 4x150 SE | 52 | 53 | 0.52817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1402-3_0_3_line_58 | NAYY 4x150 SE | 53 | 57 | 0.00087569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1402-3_0_3_line_59 | NAYY 4x150 SE | 54 | 55 | 0.16773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1402-3_0_3_line_60 | NAYY 4x150 SE | 56 | 58 | 0.0091388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1402-3_0_3_line_61 | NAYY 4x150 SE | 59 | 60 | 0.0077655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1402-3_0_3_line_62 | NAYY 4x150 SE | 60 | 61 | 0.038466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1402-3_0_3_line_63 | NAYY 4x150 SE | 62 | 63 | 0.042212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1402-3_0_3_line_64 | NAYY 4x150 SE | 63 | 64 | 0.077499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1402-3_0_3_line_65 | NAYY 4x150 SE | 63 | 65 | 0.01126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1402-3_0_3_line_66 | NAYY 4x150 SE | 65 | 67 | 0.058016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1402-3_0_3_trafo_167 | 0.25 MVA 20/0.4 kV | 68 | 44 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33
0 | 2677529.8877 | 1185092.8781 | 2677535.4327 | 1185084.3559 | 2677541.1994 | 1185083.588
1 | 2677529.8877 | 1185092.8781 | 2677523.9618 | 1185091.3228 | 2677520.4996 | 1185085.7747 | 2677520.9866 | 1185082.9459 | 2677521.1794 | 1185081.499
2 | 2677521.5403 | 1185078.7905 | 2677521.1794 | 1185081.499
3 | 2677521.5403 | 1185078.7905 | 2677522.2378 | 1185073.5565 | 2677517.6404 | 1185063.7134 | 2677500.7922 | 1185020.8365 | 2677489.8524 | 1185012.1231 | 2677471.5033 | 1185006.1712 | 2677407.4792 | 1184970.0334 | 2677378.0655 | 1184949.041 | 2677362.6361 | 1184938.6355 | 2677329.654 | 1184892.4934 | 2677325.6343 | 1184886.9382 | 2677318.128 | 1184880.0706 | 2677317.9675 | 1184862.3468 | 2677314.5796 | 1184855.1543 | 2677316.5769 | 1184842.9395 | 2677314.8614 | 1184833.3227 | 2677296.598 | 1184804.7145 | 2677292.8346 | 1184794.671 | 2677289.0966 | 1184786.807 | 2677281.5373 | 1184781.662 | 2677273.9419 | 1184767.4889 | 2677272.8019 | 1184754.6777 | 2677281.4608 | 1184750.3654
4 | 2676862.4834 | 1184329.1808 | 2677281.4608 | 1184750.3654
5 | 2676851.9889 | 1184318.9067 | 2676862.4834 | 1184329.1808
6 | 2676827.0237 | 1184340.5329 | 2676840.6255 | 1184330.5457 | 2676851.9889 | 1184318.9067
7 | 2676851.9889 | 1184318.9067 | 2676883.1045 | 1184283.8182 | 2676913.5642 | 1184256.4371
8 | 2676827.0237 | 1184340.5329 | 2676814.1968 | 1184348.4287 | 2676800.4701 | 1184354.4675 | 2676785.1532 | 1184357.7177 | 2676767.6262 | 1184358.8938 | 2676712.1547 | 1184356.0793
9 | 2676913.5642 | 1184256.4371 | 2676922.9545 | 1184248.6641 | 2676927.0949 | 1184245.1944
10 | 2675950.13 | 1184880.9669 | 2675952.7417 | 1184877.8079
11 | 2675950.13 | 1184880.9669 | 2675942.5694 | 1184858.391 | 2675934.9529 | 1184845.6425 | 2675927.1838 | 1184838.9067 | 2675918.6145 | 1184830.2596
12 | 2676040.8293 | 1184787.5615 | 2675994.4065 | 1184825.2728 | 2675954.6417 | 1184875.5097 | 2675952.7417 | 1184877.8079
13 | 2675918.6145 | 1184830.2596 | 2675918.3283 | 1184829.803
14 | 2675915.904 | 1184825.9348 | 2675910.3729 | 1184817.1091
15 | 2675918.3283 | 1184829.803 | 2675915.904 | 1184825.9348
16 | 2675910.3729 | 1184817.1091 | 2675891.5674 | 1184787.1025 | 2675879.6115 | 1184773.8021
17 | 2677156.4213 | 1183908.0396 | 2677153.127 | 1183892.9326 | 2677149.7104 | 1183892.0548 | 2677145.0533 | 1183893.2511 | 2677145.1327 | 1183896.2335
18 | 2677001.9584 | 1184168.4752 | 2677004.4323 | 1184165.4719 | 2677048.957 | 1184102.929 | 2677050.4419 | 1184100.8468 | 2677053.6634 | 1184096.1077 | 2677058.1055 | 1184088.4713 | 2677065.5611 | 1184074.4588 | 2677069.4417 | 1184065.9592 | 2677073.2134 | 1184056.4354 | 2677076.7743 | 1184046.0861 | 2677080.4738 | 1184033.8708 | 2677088.7168 | 1184000.8016 | 2677093.4201 | 1183984.7414 | 2677096.6667 | 1183975.0885 | 2677100.4312 | 1183966.1316 | 2677103.8842 | 1183958.8383 | 2677106.8615 | 1183954.096 | 2677110.7397 | 1183948.7649 | 2677118.0094 | 1183940.3201 | 2677122.8659 | 1183935.4908 | 2677135.1003 | 1183924.4972 | 2677156.4213 | 1183908.0396
19 | 2676976.4047 | 1184199.5655 | 2677001.9584 | 1184168.4752
20 | 2676976.4047 | 1184199.5655 | 2676961.6423 | 1184214.538
21 | 2676040.8293 | 1184787.5615 | 2676054.3362 | 1184776.4485 | 2676117.6553 | 1184739.1079 | 2676180.0109 | 1184698.3537
22 | 2676040.8293 | 1184787.5615 | 2676046.4383 | 1184795.4929 | 2676052.8488 | 1184799.8102 | 2676060.2434 | 1184802.9725 | 2676097.5531 | 1184812.096 | 2676156.5281 | 1184841.4404 | 2676168.166 | 1184841.6551 | 2676194.9158 | 1184816.8026 | 2676200.7617 | 1184816.8881 | 2676202.4882 | 1184822.1798 | 2676187.1824 | 1184848.0784 | 2676178.9934 | 1184904.986 | 2676175.8575 | 1184910.883 | 2676164.1659 | 1184920.3067 | 2676164.7513 | 1184926.4956 | 2676170.3863 | 1184927.5567 | 2676193.143 | 1184920.753 | 2676225.0439 | 1184866.5931 | 2676240.3828 | 1184851.2902 | 2676256.4481 | 1184844.2905
23 | 2676180.0109 | 1184698.3537 | 2676190.687 | 1184692.0958
24 | 2676180.0109 | 1184698.3537 | 2676173.4827 | 1184690.088 | 2676163.6576 | 1184683.5593 | 2676157.0761 | 1184677.0718 | 2676156.4462 | 1184675.2347
25 | 2676279.6826 | 1184636.3735 | 2676242.052 | 1184661.9877 | 2676190.687 | 1184692.0958
26 | 2676156.4462 | 1184675.2347 | 2676155.6365 | 1184672.8736
27 | 2676279.6826 | 1184636.3735 | 2676290.6677 | 1184647.0248
28 | 2676279.6826 | 1184636.3735 | 2676251.6106 | 1184619.9209
29 | 2676279.6826 | 1184636.3735 | 2676313.6159 | 1184616.3935 | 2676325.2449 | 1184608.9483 | 2676339.8144 | 1184595.3925 | 2676353.802 | 1184586.7655 | 2676381.0813 | 1184573.8165 | 2676396.8044 | 1184570.9819 | 2676414.212 | 1184571.3263 | 2676428.4365 | 1184574.6652
30 | 2676212.7181 | 1184599.4996 | 2676208.598 | 1184614.3449 | 2676205.807 | 1184618.9233 | 2676154.2925 | 1184660.0596 | 2676152.9101 | 1184664.9227 | 2676155.6365 | 1184672.8736
31 | 2675926.4248 | 1184721.9955 | 2675965.2906 | 1184705.5377
32 | 2675965.2906 | 1184705.5377 | 2675969.4067 | 1184703.7947
33 | 2676039.2205 | 1184653.339 | 2675985.1367 | 1184694.3441 | 2675969.4067 | 1184703.7947
34 | 2676039.2205 | 1184653.339 | 2676027.0524 | 1184543.3192
35 | 2676039.2205 | 1184653.339 | 2676042.5998 | 1184651.7142 | 2676045.0644 | 1184650.5893 | 2676054.0798 | 1184646.3567 | 2676093.3593 | 1184627.8887 | 2676212.7181 | 1184599.4996
36 | 2676027.0524 | 1184543.3192 | 2676074.2066 | 1184456.0211
37 | 2676027.0524 | 1184543.3192 | 2676013.4911 | 1184540.6344 | 2676011.8914 | 1184543.3825
38 | 2675922.0056 | 1184413.4019 | 2675954.6584 | 1184310.7519 | 2675960.9669 | 1184287.6403 | 2675962.8647 | 1184274.9205
39 | 2675960.1369 | 1184254.3656 | 2675964.1456 | 1184266.3346 | 2675962.8647 | 1184274.9205
40 | 2675962.8647 | 1184274.9205 | 2676099.8412 | 1184345.403
41 | 2676428.4365 | 1184574.6652 | 2676434.707 | 1184576.7909 | 2676443.2797 | 1184580.9582 | 2676455.3973 | 1184581.9022 | 2676466.3266 | 1184579.6515 | 2676512.4483 | 1184567.6996 | 2676533.7081 | 1184558.1098 | 2676542.7918 | 1184555.3314
42 | 2676668.6082 | 1183993.2753 | 2676662.3825 | 1184000.1331 | 2676648.6661 | 1184015.4668 | 2676633.7648 | 1184027.9392 | 2676629.1308 | 1184038.086 | 2676611.0437 | 1184066.8719 | 2676606.0124 | 1184074.6567 | 2676600.4555 | 1184080.567 | 2676576.6461 | 1184098.9626 | 2676559.6662 | 1184112.8317 | 2676519.2203 | 1184158.876 | 2676525.8121 | 1184173.5355 | 2676531.5851 | 1184183.5596 | 2676542.3785 | 1184199.7738 | 2676550.6098 | 1184194.8538 | 2676579.7033 | 1184175.1248 | 2676587.531 | 1184170.7222 | 2676596.0457 | 1184166.3284 | 2676601.4678 | 1184164.3854 | 2676607.0585 | 1184162.9893 | 2676611.6996 | 1184162.4261 | 2676616.484 | 1184162.5874 | 2676623.2726 | 1184163.6303 | 2676635.1459 | 1184165.839 | 2676644.5162 | 1184167.9601 | 2676654.1359 | 1184172.0744 | 2676659.3656 | 1184176.2216 | 2676664.5096 | 1184182.291 | 2676672.2498 | 1184193.6745 | 2676674.9577 | 1184198.0229 | 2676677.7284 | 1184204.0175 | 2676682.4507 | 1184214.9955 | 2676687.6848 | 1184224.1568 | 2676690.6096 | 1184230.6426
43 | 2676668.6082 | 1183993.2753 | 2676676.0234 | 1183971.6239 | 2676686.8562 | 1183960.9117 | 2676696.483 | 1183953.8798
44 | 2676690.6096 | 1184230.6426 | 2676691.1136 | 1184234.2067 | 2676691.3623 | 1184236.2444 | 2676690.8009 | 1184237.7604 | 2676665.5795 | 1184275.2489 | 2676658.6638 | 1184282.3536 | 2676653.9367 | 1184287.0819
45 | 2676713.8553 | 1183945.6814 | 2676703.0858 | 1183949.0567 | 2676696.483 | 1183953.8798
46 | 2676717.0136 | 1184449.5331 | 2676662.6992 | 1184489.5509 | 2676610.1335 | 1184531.3703 | 2676600.3369 | 1184536.9595 | 2676589.3908 | 1184540.7755
47 | 2676570.2732 | 1184546.9257 | 2676582.31 | 1184543.244 | 2676589.3908 | 1184540.7755
48 | 2676717.0136 | 1184449.5331 | 2676704.577 | 1184431.7522 | 2676700.329 | 1184420.0088
49 | 2676717.0136 | 1184449.5331 | 2676732.8759 | 1184437.6757
50 | 2676542.7918 | 1184555.3314 | 2676570.2732 | 1184546.9257
51 | 2676092.8155 | 1184390.3473 | 2676096.9184 | 1184385.5898 | 2676100.8165 | 1184377.9903 | 2676103.0108 | 1184370.5138 | 2676104.6654 | 1184362.2521 | 2676104.7993 | 1184357.0814
52 | 2676080.3474 | 1184399.8657 | 2676092.4324 | 1184390.7915 | 2676092.8155 | 1184390.3473
53 | 2676099.8412 | 1184345.403 | 2676102.5193 | 1184347.9163 | 2676104.1046 | 1184351.1161 | 2676104.8153 | 1184356.4616 | 2676104.7993 | 1184357.0814
54 | 2676080.3474 | 1184399.8657 | 2676079.6319 | 1184384.6809 | 2676079.8788 | 1184377.2574 | 2676080.2925 | 1184375.1978
55 | 2676074.2066 | 1184456.0211 | 2676078.2017 | 1184448.0004 | 2676080.9741 | 1184437.6739 | 2676081.9734 | 1184426.3132 | 2676080.733 | 1184407.9754 | 2676080.3474 | 1184399.8657
56 | 2676713.8553 | 1183945.6814 | 2676724.0703 | 1183947.4466 | 2676725.803 | 1183947.4688
57 | 2676713.8553 | 1183945.6814 | 2676494.3456 | 1183465.2841
58 | 2676494.3456 | 1183465.2841 | 2676493.8352 | 1183464.5725
59 | 2676011.8914 | 1184543.3825 | 2676010.1355 | 1184546.4064 | 2676011.6464 | 1184564.4919 | 2676007.0281 | 1184574.1168 | 2675980.2893 | 1184595.6795 | 2675966.4533 | 1184606.833 | 2675957.1911 | 1184616.6881 | 2675935.8923 | 1184650.5272 | 2675927.289 | 1184654.1759 | 2675907.5257 | 1184657.8278 | 2675907.1998 | 1184657.8955
60 | 2675960.1369 | 1184254.3656 | 2675961.7842 | 1184245.3765
61 | 2676933.0469 | 1184240.2067 | 2676927.0949 | 1184245.1944
62 | 2676933.0469 | 1184240.2067 | 2676951.9628 | 1184224.3553 | 2676961.6423 | 1184214.538
63 | 2676670.0885 | 1184357.7558 | 2676695.5184 | 1184355.2352 | 2676712.1547 | 1184356.0793
64 | 2676670.0885 | 1184357.7558 | 2676660.9129 | 1184321.9504 | 2676649.3785 | 1184304.0255 | 2676647.802 | 1184299.5583 | 2676648.0637 | 1184295.8149 | 2676649.3399 | 1184292.129 | 2676652.145 | 1184288.8741 | 2676653.9367 | 1184287.0819
65 | 2676670.0885 | 1184357.7558 | 2676675.1926 | 1184367.7926
66 | 2676700.329 | 1184420.0088 | 2676696.8356 | 1184410.3515 | 2676675.1926 | 1184367.7926

## bus_geodata
| x | y | coords
0 | 2677541.1994 | 1185083.588
1 | 2677529.8877 | 1185092.8781
2 | 2677521.1794 | 1185081.499
3 | 2677521.5403 | 1185078.7905
4 | 2677281.4608 | 1184750.3654
5 | 2676862.4834 | 1184329.1808
6 | 2676851.9889 | 1184318.9067
7 | 2676827.0237 | 1184340.5329
8 | 2676913.5642 | 1184256.4371
9 | 2675950.13 | 1184880.9669
10 | 2675952.7417 | 1184877.8079
11 | 2675918.6145 | 1184830.2596
12 | 2675915.904 | 1184825.9348
13 | 2675910.3729 | 1184817.1091
14 | 2675918.3283 | 1184829.803
15 | 2675879.6115 | 1184773.8021
16 | 2677145.1327 | 1183896.2335
17 | 2677156.4213 | 1183908.0396
18 | 2677001.9584 | 1184168.4752
19 | 2676976.4047 | 1184199.5655
20 | 2676040.8293 | 1184787.5615
21 | 2676180.0109 | 1184698.3537
22 | 2676256.4481 | 1184844.2905
23 | 2676190.687 | 1184692.0958
24 | 2676156.4462 | 1184675.2347
25 | 2676279.6826 | 1184636.3735
26 | 2676155.6365 | 1184672.8736
27 | 2675965.2906 | 1184705.5377
28 | 2675926.4248 | 1184721.9955
29 | 2675969.4067 | 1184703.7947
30 | 2676039.2205 | 1184653.339
31 | 2676027.0524 | 1184543.3192
32 | 2676212.7181 | 1184599.4996
33 | 2675922.0056 | 1184413.4019
34 | 2675962.8647 | 1184274.9205
35 | 2676290.6677 | 1184647.0248
36 | 2676251.6106 | 1184619.9209
37 | 2676428.4365 | 1184574.6652
38 | 2676668.6082 | 1183993.2753
39 | 2676690.6096 | 1184230.6426
40 | 2676696.483 | 1183953.8798
41 | 2676589.3908 | 1184540.7755
42 | 2676717.0136 | 1184449.5331
43 | 2676570.2732 | 1184546.9257
44 | 2676542.7918 | 1184555.3314
45 | 2676092.8155 | 1184390.3473
46 | 2676104.7993 | 1184357.0814
47 | 2676080.3474 | 1184399.8657
48 | 2676099.8412 | 1184345.403
49 | 2676080.2925 | 1184375.1978
50 | 2676074.2066 | 1184456.0211
51 | 2676725.803 | 1183947.4688
52 | 2676713.8553 | 1183945.6814
53 | 2676494.3456 | 1183465.2841
54 | 2675907.1998 | 1184657.8955
55 | 2676011.8914 | 1184543.3825
56 | 2675960.1369 | 1184254.3656
57 | 2676493.8352 | 1183464.5725
58 | 2675961.7842 | 1184245.3765
59 | 2676927.0949 | 1184245.1944
60 | 2676933.0469 | 1184240.2067
61 | 2676961.6423 | 1184214.538
62 | 2676712.1547 | 1184356.0793
63 | 2676670.0885 | 1184357.7558
64 | 2676653.9367 | 1184287.0819
65 | 2676675.1926 | 1184367.7926
66 | 2676732.8759 | 1184437.6757
67 | 2676700.329 | 1184420.0088
68 | 2676542.7918 | 1184555.3314

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97484 | -0.17882 | 0.0018415 | 0.00046152
1 | 0.97488 | -0.17851 | 0 | 0
2 | 0.97492 | -0.17818 | 0.00078597 | 0.00019698
3 | 0.97494 | -0.1781 | 0.00054328 | 0.00013616
4 | 0.977 | -0.16316 | 0.0016364 | 0.00041012
5 | 0.98117 | -0.13297 | 0.0013201 | 0.00033084
6 | 0.98131 | -0.13203 | 0 | 0
7 | 0.98221 | -0.12555 | 0 | 0
8 | 0.97969 | -0.14356 | 0 | 0
9 | 0.98526 | -0.10341 | 0 | 0
10 | 0.98529 | -0.10317 | 0.00043618 | 0.00010932
11 | 0.98476 | -0.10696 | 0.00027418 | 6.8716e-05
12 | 0.98474 | -0.10712 | 0.0013344 | 0.00033443
13 | 0.98472 | -0.10727 | 0.00050667 | 0.00012698
14 | 0.98475 | -0.10699 | 0.0026476 | 0.00066356
15 | 0.98465 | -0.10775 | 0.00087337 | 0.00021889
16 | 0.97782 | -0.15706 | 0.0017437 | 0.00043701
17 | 0.97789 | -0.15658 | 0 | 0
18 | 0.97867 | -0.1509 | 0 | 0
19 | 0.97878 | -0.15015 | 0.0034408 | 0.00086235
20 | 0.98641 | -0.095239 | 0 | 0
21 | 0.98819 | -0.082515 | 0 | 0
22 | 0.98554 | -0.10149 | 0.0013774 | 0.00034522
23 | 0.98871 | -0.078824 | 0.0010165 | 0.00025475
24 | 0.98713 | -0.089944 | 0.0012815 | 0.00032117
25 | 0.9933 | -0.046557 | 0 | 0
26 | 0.98706 | -0.090465 | 0.00064273 | 0.00016108
27 | 0.97878 | -0.14919 | 0.00045025 | 0.00011284
28 | 0.97876 | -0.14931 | 0.00028586 | 7.1644e-05
29 | 0.97879 | -0.14915 | 0.00057963 | 0.00014527
30 | 0.97895 | -0.14796 | 0 | 0
31 | 0.97598 | -0.16922 | 0 | 0
32 | 0.98418 | -0.11077 | 0 | 0
33 | 0.97184 | -0.19915 | 0.00054205 | 0.00013585
34 | 0.97195 | -0.19831 | 0.00052967 | 0.00013275
35 | 0.99328 | -0.046737 | 0.0011599 | 0.00029071
36 | 0.99327 | -0.04682 | 0.00079743 | 0.00019986
37 | 0.99721 | -0.019345 | 0 | 0
38 | 0.98156 | -0.13057 | 0 | 0
39 | 0.98523 | -0.10407 | 0 | 0
40 | 0.98116 | -0.13341 | 0.0010735 | 0.00026904
41 | 0.99771 | -0.015907 | 0.0013047 | 0.000327
42 | 0.99083 | -0.0642 | 0 | 0
43 | 0.99863 | -0.0095319 | 0.0015015 | 0.00037632
44 | 1 | 0 | -0.066897 | -0.016654
45 | 0.97271 | -0.19277 | 0.00087227 | 0.00021861
46 | 0.9724 | -0.19501 | 0.0039827 | 0.00099816
47 | 0.97287 | -0.19165 | 0 | 0
48 | 0.97237 | -0.19527 | 0 | 0
49 | 0.97284 | -0.19183 | 0.00066882 | 0.00016762
50 | 0.97349 | -0.18716 | 0.0097919 | 0.0024541
51 | 0.98099 | -0.13465 | 0.0027707 | 0.00069439
52 | 0.98104 | -0.13431 | 0 | 0
53 | 0.97981 | -0.14318 | 0.00095553 | 0.00023948
54 | 0.97567 | -0.17145 | 0.0011423 | 0.00028629
55 | 0.97595 | -0.16942 | 0 | 0
56 | 0.97193 | -0.19849 | 0 | 0
57 | 0.97981 | -0.14319 | 0.00063876 | 0.00016009
58 | 0.97192 | -0.19856 | 0.0007746 | 0.00019413
59 | 0.97937 | -0.14588 | 0.0044441 | 0.0011138
60 | 0.97928 | -0.14654 | 0.0020446 | 0.00051244
61 | 0.97894 | -0.14901 | 0.00094153 | 0.00023597
62 | 0.98545 | -0.10239 | 0.00064578 | 0.00016185
63 | 0.98664 | -0.093915 | 0 | 0
64 | 0.98578 | -0.10014 | 0.002274 | 0.00056992
65 | 0.98709 | -0.090754 | 0.00049484 | 0.00012402
66 | 0.99079 | -0.064516 | 0.001566 | 0.00039249
67 | 0.98942 | -0.074222 | 0.00090259 | 0.00022621
68 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0018415 | -0.00046152 | 0.0018416 | 0.00046135 | 7.881e-08 | -1.6899e-07 | 0.0028109 | 0.0028108 | 0.0028109 | 0.97484 | -0.17882 | 0.97488 | -0.17851 | 1.0411
1 | -0.0018416 | -0.00046135 | 0.0018417 | 0.00046117 | 8.3792e-08 | -1.797e-07 | 0.0028108 | 0.0028108 | 0.0028108 | 0.97488 | -0.17851 | 0.97492 | -0.17818 | 1.041
2 | -0.0026276 | -0.00065816 | 0.0026277 | 0.00065813 | 2.7423e-08 | -2.3526e-08 | 0.0040104 | 0.0040104 | 0.0040104 | 0.97492 | -0.17818 | 0.97494 | -0.1781 | 1.4853
3 | -0.0031709 | -0.00079429 | 0.0031775 | 0.00079122 | 6.5222e-06 | -3.0705e-06 | 0.0048396 | 0.0048376 | 0.0048396 | 0.97494 | -0.1781 | 0.977 | -0.16316 | 1.7924
4 | -0.0048139 | -0.0012013 | 0.0048338 | 0.0012015 | 1.991e-05 | 1.8614e-07 | 0.0073298 | 0.0073272 | 0.0073298 | 0.977 | -0.16316 | 0.98117 | -0.13297 | 2.7148
5 | -0.0061538 | -0.0015324 | 0.0061546 | 0.0015325 | 7.976e-07 | 1.2125e-07 | 0.0093292 | 0.0093291 | 0.0093292 | 0.98117 | -0.13297 | 0.98131 | -0.13203 | 3.4553
6 | -0.018799 | -0.0046985 | 0.018816 | 0.0047045 | 1.6774e-05 | 6.0329e-06 | 0.028501 | 0.028501 | 0.028501 | 0.98131 | -0.13203 | 0.98221 | -0.12555 | 10.5561
7 | 0.012644 | 0.003166 | -0.012624 | -0.0031594 | 2.0126e-05 | 6.6341e-06 | 0.019172 | 0.019173 | 0.019173 | 0.98131 | -0.13203 | 0.97969 | -0.14356 | 7.101
8 | -0.018816 | -0.0047045 | 0.018876 | 0.0047262 | 6.023e-05 | 2.1657e-05 | 0.028501 | 0.028501 | 0.028501 | 0.98221 | -0.12555 | 0.98545 | -0.10239 | 10.556
9 | 0.012624 | 0.0031594 | -0.01262 | -0.003158 | 4.0352e-06 | 1.3306e-06 | 0.019173 | 0.019173 | 0.019173 | 0.97969 | -0.14356 | 0.97937 | -0.14588 | 7.101
10 | -0.0056392 | -0.0014121 | 0.0056394 | 0.0014121 | 1.855e-07 | 1.9145e-08 | 0.0085163 | 0.0085163 | 0.0085163 | 0.98526 | -0.10341 | 0.98529 | -0.10317 | 3.1542
11 | 0.0056392 | 0.0014121 | -0.0056364 | -0.0014118 | 2.766e-06 | 2.8591e-07 | 0.0085163 | 0.0085166 | 0.0085166 | 0.98526 | -0.10341 | 0.98476 | -0.10696 | 3.1543
12 | -0.0060755 | -0.0015214 | 0.0060822 | 0.0015223 | 6.6635e-06 | 9.4532e-07 | 0.009175 | 0.0091744 | 0.009175 | 0.98529 | -0.10317 | 0.98641 | -0.095239 | 3.3982
13 | 0.0053622 | 0.001343 | -0.0053622 | -0.001343 | 2.2077e-08 | 1.6346e-09 | 0.0081023 | 0.0081023 | 0.0081023 | 0.98476 | -0.10696 | 0.98475 | -0.10699 | 3.0008
14 | 0.0013801 | 0.0003451 | -0.0013801 | -0.00034522 | 2.8261e-08 | -1.2163e-07 | 0.0020852 | 0.0020853 | 0.0020853 | 0.98474 | -0.10712 | 0.98472 | -0.10727 | 0.77232
15 | -0.0027145 | -0.00067953 | 0.0027146 | 0.00067949 | 4.7922e-08 | -3.9646e-08 | 0.0041016 | 0.0041016 | 0.0041016 | 0.98474 | -0.10712 | 0.98475 | -0.10699 | 1.5191
16 | 0.00087343 | 0.00021823 | -0.00087337 | -0.00021889 | 5.7924e-08 | -6.5568e-07 | 0.0013196 | 0.0013199 | 0.0013199 | 0.98472 | -0.10727 | 0.98465 | -0.10775 | 0.48884
17 | -0.0017437 | -0.00043701 | 0.0017438 | 0.00043672 | 1.1766e-07 | -2.9071e-07 | 0.0026535 | 0.0026534 | 0.0026535 | 0.97782 | -0.15706 | 0.97789 | -0.15658 | 0.98278
18 | -0.0017438 | -0.00043672 | 0.0017452 | 0.00043336 | 1.3581e-06 | -3.3611e-06 | 0.0026534 | 0.002652 | 0.0026534 | 0.97789 | -0.15658 | 0.97867 | -0.1509 | 0.98274
19 | -0.0017452 | -0.00043336 | 0.0017454 | 0.00043292 | 1.7643e-07 | -4.374e-07 | 0.002652 | 0.0026518 | 0.002652 | 0.97867 | -0.1509 | 0.97878 | -0.15015 | 0.98222
20 | -0.0051862 | -0.0012953 | 0.005187 | 0.0012953 | 8.1528e-07 | 4.926e-08 | 0.0078828 | 0.0078827 | 0.0078828 | 0.97878 | -0.15015 | 0.97894 | -0.14901 | 2.9196
21 | -0.0074608 | -0.0018624 | 0.0074739 | 0.0018654 | 1.3049e-05 | 2.9065e-06 | 0.011252 | 0.011251 | 0.011252 | 0.98641 | -0.095239 | 0.98819 | -0.082515 | 4.1675
22 | 0.0013786 | 0.00034011 | -0.0013774 | -0.00034522 | 1.1749e-06 | -5.1054e-06 | 0.0020778 | 0.0020797 | 0.0020797 | 0.98641 | -0.095239 | 0.98554 | -0.10149 | 0.77027
23 | -0.029306 | -0.0073591 | 0.029321 | 0.0073647 | 1.5041e-05 | 5.6265e-06 | 0.044135 | 0.044135 | 0.044135 | 0.98819 | -0.082515 | 0.98871 | -0.078824 | 16.3462
24 | 0.021832 | 0.0054938 | -0.02181 | -0.0054855 | 2.2612e-05 | 8.2681e-06 | 0.032883 | 0.032883 | 0.032883 | 0.98819 | -0.082515 | 0.98713 | -0.089944 | 12.179
25 | -0.030338 | -0.0076195 | 0.030474 | 0.0076707 | 0.0001367 | 5.1223e-05 | 0.045664 | 0.045664 | 0.045664 | 0.98871 | -0.078824 | 0.9933 | -0.046557 | 16.9127
26 | 0.020528 | 0.0051643 | -0.020527 | -0.0051638 | 1.4921e-06 | 5.4199e-07 | 0.030952 | 0.030952 | 0.030952 | 0.98713 | -0.089944 | 0.98706 | -0.090465 | 11.4636
27 | 0.00116 | 0.00029052 | -0.0011599 | -0.00029071 | 2.8829e-08 | -1.8697e-07 | 0.0017376 | 0.0017377 | 0.0017377 | 0.9933 | -0.046557 | 0.99328 | -0.046737 | 0.64359
28 | 0.00079746 | 0.00019945 | -0.00079743 | -0.00019986 | 2.8973e-08 | -4.1002e-07 | 0.0011945 | 0.0011946 | 0.0011946 | 0.9933 | -0.046557 | 0.99327 | -0.04682 | 0.44246
29 | -0.032432 | -0.0081607 | 0.032555 | 0.0082038 | 0.00012357 | 4.3168e-05 | 0.048596 | 0.048594 | 0.048596 | 0.9933 | -0.046557 | 0.99721 | -0.019345 | 8.9993
30 | 0.019884 | 0.0050027 | -0.019828 | -0.0049824 | 5.6182e-05 | 2.0332e-05 | 0.029983 | 0.029983 | 0.029983 | 0.98706 | -0.090465 | 0.98418 | -0.11077 | 11.1049
31 | 0.00028587 | 7.1115e-05 | -0.00028586 | -7.1644e-05 | 4.9723e-09 | -5.2855e-07 | 0.00043441 | 0.0004346 | 0.0004346 | 0.97878 | -0.14919 | 0.97876 | -0.14931 | 0.16096
32 | -0.00073612 | -0.00018396 | 0.00073612 | 0.0001839 | 3.492e-09 | -5.4837e-08 | 0.0011189 | 0.0011189 | 0.0011189 | 0.97878 | -0.14919 | 0.97879 | -0.14915 | 0.41441
33 | -0.0013158 | -0.00032917 | 0.001316 | 0.00032817 | 2.1519e-07 | -1.0011e-06 | 0.0020001 | 0.0019997 | 0.0020001 | 0.97879 | -0.14915 | 0.97895 | -0.14796 | 0.74077
34 | 0.01841 | 0.0046172 | -0.018356 | -0.0045978 | 5.4102e-05 | 1.9421e-05 | 0.027984 | 0.027985 | 0.027985 | 0.97895 | -0.14796 | 0.97598 | -0.16922 | 10.3647
35 | -0.019726 | -0.0049454 | 0.019828 | 0.0049824 | 0.00010212 | 3.6977e-05 | 0.029984 | 0.029983 | 0.029984 | 0.97895 | -0.14796 | 0.98418 | -0.11077 | 11.1052
36 | 0.017213 | 0.0043137 | -0.01717 | -0.0042985 | 4.2641e-05 | 1.5164e-05 | 0.026243 | 0.026244 | 0.026244 | 0.97598 | -0.16922 | 0.97349 | -0.18716 | 9.7199
37 | 0.0011427 | 0.00028412 | -0.0011426 | -0.00028432 | 3.2176e-08 | -2.0011e-07 | 0.0017414 | 0.0017414 | 0.0017414 | 0.97598 | -0.16922 | 0.97595 | -0.16942 | 0.64498
38 | -0.00054205 | -0.00013585 | 0.00054211 | 0.00013408 | 6.2076e-08 | -1.7672e-06 | 0.00082995 | 0.0008293 | 0.00082995 | 0.97184 | -0.19915 | 0.97195 | -0.19831 | 0.30739
39 | 0.00077463 | 0.00019377 | -0.00077461 | -0.00019402 | 1.8693e-08 | -2.5683e-07 | 0.0011858 | 0.0011859 | 0.0011859 | 0.97195 | -0.19831 | 0.97193 | -0.19849 | 0.43922
40 | -0.0018464 | -0.0004606 | 0.0018472 | 0.00045898 | 7.6749e-07 | -1.6148e-06 | 0.002826 | 0.0028253 | 0.002826 | 0.97195 | -0.19831 | 0.97237 | -0.19527 | 1.0467
41 | -0.032555 | -0.0082038 | 0.032644 | 0.0082347 | 8.836e-05 | 3.0847e-05 | 0.048594 | 0.048593 | 0.048594 | 0.99721 | -0.019345 | 1 | 0 | 8.999
42 | -0.0054432 | -0.0013571 | 0.0054629 | 0.0013588 | 1.9751e-05 | 1.6937e-06 | 0.0082492 | 0.0082471 | 0.0082492 | 0.98156 | -0.13057 | 0.98523 | -0.10407 | 3.0553
43 | 0.0054432 | 0.0013571 | -0.005441 | -0.0013569 | 2.125e-06 | 1.8503e-07 | 0.0082492 | 0.0082494 | 0.0082494 | 0.98156 | -0.13057 | 0.98116 | -0.13341 | 3.0553
44 | -0.0054629 | -0.0013588 | 0.0054658 | 0.0013591 | 2.9306e-06 | 2.4729e-07 | 0.0082471 | 0.0082468 | 0.0082471 | 0.98523 | -0.10407 | 0.98578 | -0.10014 | 3.0545
45 | 0.0043675 | 0.0010879 | -0.004367 | -0.0010879 | 5.3246e-07 | -4.0983e-08 | 0.0066214 | 0.0066215 | 0.0066215 | 0.98116 | -0.13341 | 0.98104 | -0.13431 | 2.4524
46 | 0.030574 | 0.0076889 | -0.03037 | -0.0076124 | 0.00020445 | 7.6592e-05 | 0.045609 | 0.045609 | 0.045609 | 0.99771 | -0.015907 | 0.99083 | -0.0642 | 16.8924
47 | -0.031879 | -0.0080159 | 0.031907 | 0.0080266 | 2.8344e-05 | 1.0639e-05 | 0.047555 | 0.047555 | 0.047555 | 0.99771 | -0.015907 | 0.99863 | -0.0095319 | 17.6128
48 | 0.028804 | 0.0072201 | -0.028764 | -0.0072052 | 3.9918e-05 | 1.4913e-05 | 0.043258 | 0.043258 | 0.043258 | 0.99083 | -0.0642 | 0.98942 | -0.074222 | 16.0214
49 | 0.0015661 | 0.00039226 | -0.001566 | -0.00039249 | 6.8358e-08 | -2.2877e-07 | 0.0023519 | 0.002352 | 0.002352 | 0.99083 | -0.0642 | 0.99079 | -0.064516 | 0.8711
50 | -0.033409 | -0.0084029 | 0.033453 | 0.0084196 | 4.4459e-05 | 1.6723e-05 | 0.049792 | 0.049792 | 0.049792 | 0.99863 | -0.0095319 | 1 | 0 | 18.4414
51 | 0.0058317 | 0.0014572 | -0.0058299 | -0.001457 | 1.7978e-06 | 2.421e-07 | 0.0089196 | 0.0089197 | 0.0089197 | 0.97271 | -0.19277 | 0.9724 | -0.19501 | 3.3036
52 | -0.006704 | -0.0016759 | 0.006705 | 0.0016761 | 1.03e-06 | 2.0125e-07 | 0.010254 | 0.010254 | 0.010254 | 0.97271 | -0.19277 | 0.97287 | -0.19165 | 3.7978
53 | 0.0018472 | 0.00045884 | -0.0018472 | -0.00045898 | 6.6028e-08 | -1.3904e-07 | 0.0028252 | 0.0028253 | 0.0028253 | 0.9724 | -0.19501 | 0.97237 | -0.19527 | 1.0464
54 | 0.00066884 | 0.00016732 | -0.00066882 | -0.00016762 | 1.6148e-08 | -3.0085e-07 | 0.0010229 | 0.001023 | 0.001023 | 0.97287 | -0.19165 | 0.97284 | -0.19183 | 0.37889
55 | -0.0073739 | -0.0018434 | 0.0073784 | 0.0018444 | 4.5675e-06 | 1.0415e-06 | 0.011277 | 0.011277 | 0.011277 | 0.97287 | -0.19165 | 0.97349 | -0.18716 | 4.1766
56 | -0.0027707 | -0.00069439 | 0.0027708 | 0.00069429 | 1.3335e-07 | -1.0147e-07 | 0.0042027 | 0.0042026 | 0.0042027 | 0.98099 | -0.13465 | 0.98104 | -0.13431 | 1.5566
57 | 0.0015962 | 0.00039364 | -0.0015943 | -0.00039956 | 1.9302e-06 | -5.9183e-06 | 0.0024188 | 0.0024212 | 0.0024212 | 0.98104 | -0.13431 | 0.97981 | -0.14318 | 0.89674
58 | 0.00063877 | 0.00016008 | -0.00063876 | -0.00016009 | 5.1405e-10 | -1.0832e-08 | 0.00097007 | 0.00097008 | 0.00097008 | 0.97981 | -0.14318 | 0.97981 | -0.14319 | 0.35929
59 | -0.0011423 | -0.00028629 | 0.0011426 | 0.00028432 | 3.1753e-07 | -1.9732e-06 | 0.0017422 | 0.0017414 | 0.0017422 | 0.97567 | -0.17145 | 0.97595 | -0.16942 | 0.64525
60 | 0.00077461 | 0.00019402 | -0.0007746 | -0.00019413 | 8.02e-09 | -1.1017e-07 | 0.0011859 | 0.0011859 | 0.0011859 | 0.97193 | -0.19849 | 0.97192 | -0.19856 | 0.43923
61 | 0.008176 | 0.0020442 | -0.0081752 | -0.002044 | 7.4754e-07 | 1.8981e-07 | 0.012421 | 0.012421 | 0.012421 | 0.97937 | -0.14588 | 0.97928 | -0.14654 | 4.6002
62 | 0.0061306 | 0.0015316 | -0.0061285 | -0.0015313 | 2.0822e-06 | 3.1705e-07 | 0.0093137 | 0.0093139 | 0.0093139 | 0.97928 | -0.14654 | 0.97894 | -0.14901 | 3.4496
63 | -0.019522 | -0.004888 | 0.019545 | 0.0048963 | 2.2885e-05 | 8.2635e-06 | 0.029476 | 0.029476 | 0.029476 | 0.98545 | -0.10239 | 0.98664 | -0.093915 | 10.917
64 | 0.0077464 | 0.0019305 | -0.0077399 | -0.001929 | 6.5964e-06 | 1.5482e-06 | 0.011679 | 0.011679 | 0.011679 | 0.98664 | -0.093915 | 0.98578 | -0.10014 | 4.3257
65 | -0.027291 | -0.0068268 | 0.027303 | 0.0068313 | 1.19e-05 | 4.4332e-06 | 0.041155 | 0.041155 | 0.041155 | 0.98664 | -0.093915 | 0.98709 | -0.090754 | 15.2425
66 | -0.027798 | -0.0069553 | 0.027861 | 0.006979 | 6.3557e-05 | 2.3702e-05 | 0.041901 | 0.0419 | 0.041901 | 0.98709 | -0.090754 | 0.98942 | -0.074222 | 15.5187

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.069145 | 0.017218

## res_load
| p_mw | q_mvar
0 | 0.0018415 | 0.00046152
1 | 0.00078597 | 0.00019698
2 | 0.00054328 | 0.00013616
3 | 0.0016364 | 0.00041012
4 | 0.0013201 | 0.00033084
5 | 0.00043618 | 0.00010932
6 | 0.00027418 | 6.8716e-05
7 | 0.0013344 | 0.00033443
8 | 0.00050667 | 0.00012698
9 | 0.0026476 | 0.00066356
10 | 0.00087337 | 0.00021889
11 | 0.0017437 | 0.00043701
12 | 0.0034408 | 0.00086235
13 | 0.0013774 | 0.00034522
14 | 0.0010165 | 0.00025475
15 | 0.0012815 | 0.00032117
16 | 0.00064273 | 0.00016108
17 | 0.00045025 | 0.00011284
18 | 0.00028586 | 7.1644e-05
19 | 0.00057963 | 0.00014527
20 | 0.00054205 | 0.00013585
21 | 0.00052967 | 0.00013275
22 | 0.0011599 | 0.00029071
23 | 0.00079743 | 0.00019986
24 | 0.0010735 | 0.00026904
25 | 0.0013047 | 0.000327
26 | 0.0015015 | 0.00037632
27 | 0.0022479 | 0.00056338
28 | 0.00087227 | 0.00021861
29 | 0.0039827 | 0.00099816
30 | 0.00066882 | 0.00016762
31 | 0.0097919 | 0.0024541
32 | 0.0027707 | 0.00069439
33 | 0.00095553 | 0.00023948
34 | 0.0011423 | 0.00028629
35 | 0.00063876 | 0.00016009
36 | 0.0007746 | 0.00019413
37 | 0.0044441 | 0.0011138
38 | 0.0020446 | 0.00051244
39 | 0.00094153 | 0.00023597
40 | 0.00064578 | 0.00016185
41 | 0.002274 | 0.00056992
42 | 0.00049484 | 0.00012402
43 | 0.001566 | 0.00039249
44 | 0.00090259 | 0.00022621

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1