## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1403-10_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1403-10_0_3_node_34 | 0.4 | n |  | TRUE
2 | bus_LV_1403-10_0_3_node_35 | 0.4 | n |  | TRUE
3 | bus_LV_1403-10_0_3_node_36 | 0.4 | n |  | TRUE
4 | bus_LV_1403-10_0_3_node_1 | 0.4 | n |  | TRUE
5 | bus_LV_1403-10_0_3_node_2 | 0.4 | n |  | TRUE
6 | bus_LV_1403-10_0_3_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_1403-10_0_3_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_1403-10_0_3_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_1403-10_0_3_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_1403-10_0_3_node_31 | 0.4 | n |  | TRUE
11 | bus_LV_1403-10_0_3_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_1403-10_0_3_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_1403-10_0_3_node_4 | 0.4 | n |  | TRUE
14 | bus_LV_1403-10_0_3_node_5 | 0.4 | n |  | TRUE
15 | bus_LV_1403-10_0_3_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_1403-10_0_3_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_1403-10_0_3_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_1403-10_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1403-10_0_3_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_1403-10_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1403-10_0_3_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_1403-10_0_3_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_1403-10_0_3_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_1403-10_0_3_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_1403-10_0_3_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_1403-10_0_3_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_1403-10_0_3_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_1403-10_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_1403-10_0_3_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_1403-10_0_3_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_1403-10_0_3_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_1403-10_0_3_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_1403-10_0_3_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_1403-10_0_3_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_1403-10_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_1403-10_0_3_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_1403-10_0_3_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_1403-10_0_3_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_1403-10_0_3_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_1403-10_0_3_node_39 | 0.4 | n |  | TRUE
41 | bus_MV_138_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1403-10_0_3_load_0 | 0 | 0.0027659 | 0.00069321 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1403-10_0_3_load_34 | 1 | 0.0031656 | 0.00079337 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1403-10_0_3_load_35 | 2 | 0.0025764 | 0.00064571 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1403-10_0_3_load_36 | 3 | 0.0034682 | 0.00086921 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1403-10_0_3_load_3 | 6 | 0.0019995 | 0.00050111 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1403-10_0_3_load_21 | 8 | 0.013649 | 0.0034207 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1403-10_0_3_load_37 | 9 | 0.0028036 | 0.00070266 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1403-10_0_3_load_31 | 10 | 0.0036555 | 0.00091615 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1403-10_0_3_load_32 | 11 | 0.0086482 | 0.0021674 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1403-10_0_3_load_22 | 12 | 0.0024582 | 0.00061608 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1403-10_0_3_load_4 | 13 | 0.003126 | 0.00078346 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1403-10_0_3_load_5 | 14 | 0.0039117 | 0.00098036 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1403-10_0_3_load_6 | 15 | 0.0056467 | 0.0014152 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1403-10_0_3_load_7 | 16 | 0.0030204 | 0.00075697 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1403-10_0_3_load_8 | 17 | 0.0025295 | 0.00063396 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1403-10_0_3_load_14 | 18 | 0.0061791 | 0.0015486 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1403-10_0_3_load_19 | 19 | 0.0022145 | 0.000555 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1403-10_0_3_load_15 | 20 | 0.0035629 | 0.00089294 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1403-10_0_3_load_20 | 21 | 0.0030527 | 0.00076507 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1403-10_0_3_load_9 | 22 | 0.0018947 | 0.00047486 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1403-10_0_3_load_10 | 23 | 0.0018947 | 0.00047486 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1403-10_0_3_load_11 | 24 | 0.0033904 | 0.00084972 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1403-10_0_3_load_12 | 25 | 0.0039871 | 0.00099926 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1403-10_0_3_load_13 | 26 | 0.0037194 | 0.00093217 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1403-10_0_3_load_25 | 27 | 0.0057764 | 0.0014477 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1403-10_0_3_load_17 | 28 | 0.0039813 | 0.00099781 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1403-10_0_3_load_26 | 29 | 0.01076 | 0.0026966 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1403-10_0_3_load_18 | 30 | 0.0035593 | 0.00089205 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1403-10_0_3_load_41 | 32 | 0.0046399 | 0.0011629 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1403-10_0_3_load_29 | 34 | 0.0087609 | 0.0021957 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1403-10_0_3_load_23 | 35 | 0.0024583 | 0.00061612 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1403-10_0_3_load_27 | 36 | 0.010776 | 0.0027007 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1403-10_0_3_load_28 | 37 | 0.0055988 | 0.0014032 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1403-10_0_3_load_33 | 38 | 0.013796 | 0.0034575 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1403-10_0_3_load_38 | 39 | 0.0072271 | 0.0018113 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1403-10_0_3_load_39 | 40 | 0.0023019 | 0.0005769 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1403-10_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.12617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1403-10_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1403-10_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0049236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1403-10_0_3_line_3 | NAYY 4x150 SE | 2 | 9 | 0.008281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1403-10_0_3_line_4 | NAYY 4x150 SE | 3 | 39 | 0.0032465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1403-10_0_3_line_5 | NAYY 4x150 SE | 4 | 5 | 0.050782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1403-10_0_3_line_6 | NAYY 4x150 SE | 4 | 6 | 0.036784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1403-10_0_3_line_7 | NAYY 4x150 SE | 5 | 7 | 0.056205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1403-10_0_3_line_8 | NAYY 4x150 SE | 5 | 8 | 0.024322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1403-10_0_3_line_9 | NAYY 4x150 SE | 6 | 9 | 0.010443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1403-10_0_3_line_10 | NAYY 4x150 SE | 7 | 10 | 0.020582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1403-10_0_3_line_11 | NAYY 4x150 SE | 7 | 11 | 0.024959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1403-10_0_3_line_12 | NAYY 4x150 SE | 8 | 12 | 0.03057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1403-10_0_3_line_13 | NAYY 4x150 SE | 11 | 29 | 0.003846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1403-10_0_3_line_14 | NAYY 4x150 SE | 12 | 35 | 0.0082624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1403-10_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.018902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1403-10_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.010575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1403-10_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.0020094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1403-10_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.010825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1403-10_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.018213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1403-10_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.0059148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1403-10_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.0038544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1403-10_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.0091298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1403-10_0_3_line_23 | NAYY 4x150 SE | 20 | 31 | 0.015103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1403-10_0_3_line_24 | NAYY 4x150 SE | 21 | 34 | 0.020116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1403-10_0_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.00020267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_1403-10_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.019246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1403-10_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.0034694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_1403-10_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.013823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1403-10_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.021678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1403-10_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.00012834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1403-10_0_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.026595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1403-10_0_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.0284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1403-10_0_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.034386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1403-10_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.15249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1403-10_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.26343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1403-10_0_3_line_36 | NAYY 4x150 SE | 33 | 40 | 0.046298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1403-10_0_3_line_37 | NAYY 4x150 SE | 35 | 36 | 0.012874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1403-10_0_3_line_38 | NAYY 4x150 SE | 36 | 37 | 0.0052488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1403-10_0_3_line_39 | NAYY 4x150 SE | 37 | 38 | 0.010495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1403-10_0_3_trafo_9 | 0.25 MVA 20/0.4 kV | 41 | 22 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2655813.287 | 1187608.83 | 2655725.196 | 1187699.1524
1 | 2655813.287 | 1187608.83 | 2655820.0584 | 1187615.2048
2 | 2655813.287 | 1187608.83 | 2655809.702 | 1187605.455
3 | 2655820.0584 | 1187615.2048 | 2655826.0878 | 1187620.8811
4 | 2655807.3382 | 1187603.2296 | 2655809.702 | 1187605.455
5 | 2655860.4735 | 1187653.2529 | 2655876.2768 | 1187641.4158 | 2655903.9434 | 1187627.1214
6 | 2655860.4735 | 1187653.2529 | 2655833.6911 | 1187628.0391
7 | 2655903.9434 | 1187627.1214 | 2655909.8998 | 1187623.2303 | 2655945.1323 | 1187600.2018 | 2655950.5144 | 1187595.7273
8 | 2655903.9434 | 1187627.1214 | 2655886.3416 | 1187610.3367
9 | 2655826.0878 | 1187620.8811 | 2655833.6911 | 1187628.0391
10 | 2655950.5144 | 1187595.7273 | 2655965.7645 | 1187581.9043
11 | 2655950.5144 | 1187595.7273 | 2655932.04 | 1187578.9454
12 | 2655864.2183 | 1187589.2402 | 2655886.3416 | 1187610.3367
13 | 2655929.1931 | 1187576.3594 | 2655932.04 | 1187578.9454
14 | 2655858.2388 | 1187583.5382 | 2655864.2183 | 1187589.2402
15 | 2655928.0775 | 1187507.1354 | 2655913.7107 | 1187494.8517
16 | 2655928.0775 | 1187507.1354 | 2655936.1149 | 1187514.0074
17 | 2655912.1835 | 1187493.5459 | 2655913.7107 | 1187494.8517
18 | 2655936.1149 | 1187514.0074 | 2655944.3425 | 1187521.0421
19 | 2655912.1835 | 1187493.5459 | 2655898.3404 | 1187481.71
20 | 2655948.8381 | 1187524.8858 | 2655944.3425 | 1187521.0421
21 | 2655895.4109 | 1187479.2052 | 2655898.3404 | 1187481.71
22 | 2655955.7773 | 1187530.8189 | 2655948.8381 | 1187524.8858
23 | 2655883.9318 | 1187469.3905 | 2655895.4109 | 1187479.2052
24 | 2655971.3478 | 1187543.5507 | 2655961.981 | 1187536.1231 | 2655955.7773 | 1187530.8189
25 | 2655891.2727 | 1187540.8763 | 2655891.4162 | 1187541.0195
26 | 2655877.6452 | 1187527.2855 | 2655891.2727 | 1187540.8763
27 | 2655891.4162 | 1187541.0195 | 2655893.8727 | 1187543.4694
28 | 2655877.6452 | 1187527.2855 | 2655867.8576 | 1187517.5241
29 | 2655909.5073 | 1187558.4771 | 2655902.931 | 1187552.5033 | 2655893.8727 | 1187543.4694
30 | 2655867.7667 | 1187517.4335 | 2655867.8576 | 1187517.5241
31 | 2655929.1931 | 1187576.3594 | 2655909.5073 | 1187558.4771
32 | 2655867.7667 | 1187517.4335 | 2655856.7617 | 1187506.458 | 2655856.4105 | 1187501.5742 | 2655861.5843 | 1187495.524
33 | 2655883.9318 | 1187469.3905 | 2655861.5843 | 1187495.524
34 | 2655883.9318 | 1187469.3905 | 2655866.9666 | 1187317.8472
35 | 2655866.9666 | 1187317.8472 | 2655607.4196 | 1187272.7967
36 | 2655607.4196 | 1187272.7967 | 2655577.5472 | 1187308.1677
37 | 2655858.2388 | 1187583.5382 | 2655848.9215 | 1187574.6534
38 | 2655845.1229 | 1187571.0311 | 2655848.9215 | 1187574.6534
39 | 2655837.528 | 1187563.7887 | 2655845.1229 | 1187571.0311

## bus_geodata
| x | y | coords
0 | 2655725.196 | 1187699.1524
1 | 2655813.287 | 1187608.83
2 | 2655820.0584 | 1187615.2048
3 | 2655809.702 | 1187605.455
4 | 2655860.4735 | 1187653.2529
5 | 2655903.9434 | 1187627.1214
6 | 2655833.6911 | 1187628.0391
7 | 2655950.5144 | 1187595.7273
8 | 2655886.3416 | 1187610.3367
9 | 2655826.0878 | 1187620.8811
10 | 2655965.7645 | 1187581.9043
11 | 2655932.04 | 1187578.9454
12 | 2655864.2183 | 1187589.2402
13 | 2655928.0775 | 1187507.1354
14 | 2655913.7107 | 1187494.8517
15 | 2655936.1149 | 1187514.0074
16 | 2655912.1835 | 1187493.5459
17 | 2655944.3425 | 1187521.0421
18 | 2655898.3404 | 1187481.71
19 | 2655948.8381 | 1187524.8858
20 | 2655895.4109 | 1187479.2052
21 | 2655955.7773 | 1187530.8189
22 | 2655891.2727 | 1187540.8763
23 | 2655891.4162 | 1187541.0195
24 | 2655877.6452 | 1187527.2855
25 | 2655893.8727 | 1187543.4694
26 | 2655867.8576 | 1187517.5241
27 | 2655909.5073 | 1187558.4771
28 | 2655867.7667 | 1187517.4335
29 | 2655929.1931 | 1187576.3594
30 | 2655861.5843 | 1187495.524
31 | 2655883.9318 | 1187469.3905
32 | 2655866.9666 | 1187317.8472
33 | 2655607.4196 | 1187272.7967
34 | 2655971.3478 | 1187543.5507
35 | 2655858.2388 | 1187583.5382
36 | 2655848.9215 | 1187574.6534
37 | 2655845.1229 | 1187571.0311
38 | 2655837.528 | 1187563.7887
39 | 2655807.3382 | 1187603.2296
40 | 2655577.5472 | 1187308.1677
41 | 2655950.5144 | 1187595.7273

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97928 | -0.14542 | 0.0027659 | 0.00069321
1 | 0.97979 | -0.14178 | 0.0031656 | 0.00079337
2 | 0.98001 | -0.14017 | 0.0025764 | 0.00064571
3 | 0.97971 | -0.14233 | 0.0034682 | 0.00086921
4 | 0.98186 | -0.12697 | 0 | 0
5 | 0.98364 | -0.11436 | 0 | 0
6 | 0.98058 | -0.13613 | 0.0019995 | 0.00050111
7 | 0.98958 | -0.072426 | 0 | 0
8 | 0.98191 | -0.12662 | 0.013649 | 0.0034207
9 | 0.98025 | -0.13852 | 0.0028036 | 0.00070266
10 | 0.98948 | -0.073193 | 0.0036555 | 0.00091615
11 | 0.99236 | -0.053037 | 0.0086482 | 0.0021674
12 | 0.98035 | -0.13774 | 0.0024582 | 0.00061608
13 | 0.98972 | -0.072117 | 0.003126 | 0.00078346
14 | 0.99041 | -0.067241 | 0.0039117 | 0.00098036
15 | 0.98938 | -0.074511 | 0.0056467 | 0.0014152
16 | 0.99049 | -0.066643 | 0.0030204 | 0.00075697
17 | 0.98912 | -0.076339 | 0.0025295 | 0.00063396
18 | 0.99134 | -0.060669 | 0.0061791 | 0.0015486
19 | 0.989 | -0.077186 | 0.0022145 | 0.000555
20 | 0.99155 | -0.059164 | 0.0035629 | 0.00089294
21 | 0.98884 | -0.078287 | 0.0030527 | 0.00076507
22 | 1 | 0 | -0.17403 | -0.04369
23 | 0.99998 | -0.00010874 | 0.0018947 | 0.00047486
24 | 0.99824 | -0.01225 | 0.0033904 | 0.00084972
25 | 0.99972 | -0.0019378 | 0.0039871 | 0.00099926
26 | 0.99704 | -0.020604 | 0.0037194 | 0.00093217
27 | 0.99653 | -0.024008 | 0.0057764 | 0.0014477
28 | 0.99703 | -0.020677 | 0.0039813 | 0.00099781
29 | 0.99283 | -0.049722 | 0.01076 | 0.0026966
30 | 0.99489 | -0.035697 | 0.0035593 | 0.00089205
31 | 0.99246 | -0.052728 | 0 | 0
32 | 0.99094 | -0.063528 | 0.0046399 | 0.0011629
33 | 0.99007 | -0.069742 | 0 | 0
34 | 0.98859 | -0.080086 | 0.0087609 | 0.0021957
35 | 0.97996 | -0.14054 | 0.0024583 | 0.00061612
36 | 0.9794 | -0.14458 | 0.010776 | 0.0027007
37 | 0.97925 | -0.14564 | 0.0055988 | 0.0014032
38 | 0.97904 | -0.14714 | 0.013796 | 0.0034575
39 | 0.97968 | -0.14257 | 0.0072271 | 0.0018113
40 | 0.98991 | -0.070829 | 0.0023019 | 0.0005769
41 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0027659 | -0.00069321 | 0.0027673 | 0.00069216 | 1.3905e-06 | -1.0534e-06 | 0.0042029 | 0.0042023 | 0.0042029 | 0.97928 | -0.14542 | 0.97979 | -0.14178 | 1.5566
1 | -0.016629 | -0.0041663 | 0.016633 | 0.0041676 | 3.7012e-06 | 1.3064e-06 | 0.025255 | 0.025254 | 0.025255 | 0.97979 | -0.14178 | 0.98001 | -0.14017 | 9.3535
2 | 0.010696 | 0.0026808 | -0.010696 | -0.0026805 | 8.1076e-07 | 2.4983e-07 | 0.016245 | 0.016245 | 0.016245 | 0.97979 | -0.14178 | 0.97971 | -0.14233 | 6.0166
3 | -0.019209 | -0.0048133 | 0.019214 | 0.0048149 | 4.3957e-06 | 1.5863e-06 | 0.029166 | 0.029166 | 0.029166 | 0.98001 | -0.14017 | 0.98025 | -0.13852 | 10.8024
4 | 0.0072273 | 0.0018113 | -0.0072271 | -0.0018113 | 2.4411e-07 | 5.3007e-08 | 0.010977 | 0.010977 | 0.010977 | 0.97971 | -0.14233 | 0.97968 | -0.14257 | 4.0656
5 | -0.024055 | -0.0060326 | 0.024097 | 0.0060482 | 4.2115e-05 | 1.5555e-05 | 0.036456 | 0.036456 | 0.036456 | 0.98186 | -0.12697 | 0.98364 | -0.11436 | 13.5023
6 | 0.024055 | 0.0060326 | -0.024024 | -0.0060214 | 3.0506e-05 | 1.1268e-05 | 0.036456 | 0.036456 | 0.036456 | 0.98186 | -0.12697 | 0.98058 | -0.13613 | 13.5024
7 | -0.073005 | -0.018328 | 0.073433 | 0.018492 | 0.00042785 | 0.00016384 | 0.11045 | 0.11045 | 0.11045 | 0.98364 | -0.11436 | 0.98958 | -0.072426 | 40.9076
8 | 0.048908 | 0.01228 | -0.048825 | -0.012248 | 8.3096e-05 | 3.1652e-05 | 0.073995 | 0.073995 | 0.073995 | 0.98364 | -0.11436 | 0.98191 | -0.12662 | 27.4054
9 | 0.022025 | 0.0055203 | -0.022017 | -0.0055176 | 7.2789e-06 | 2.6679e-06 | 0.033422 | 0.033422 | 0.033422 | 0.98058 | -0.13613 | 0.98025 | -0.13852 | 12.3786
10 | 0.0036559 | 0.00091604 | -0.0036555 | -0.00091615 | 3.8812e-07 | -1.1512e-07 | 0.0054972 | 0.0054973 | 0.0054973 | 0.98958 | -0.072426 | 0.98948 | -0.073193 | 2.036
11 | -0.077089 | -0.019408 | 0.077298 | 0.019488 | 0.00020938 | 8.0208e-05 | 0.11595 | 0.11595 | 0.11595 | 0.98958 | -0.072426 | 0.99236 | -0.053037 | 42.9435
12 | 0.035176 | 0.0088272 | -0.035122 | -0.0088067 | 5.4214e-05 | 2.0465e-05 | 0.053311 | 0.053311 | 0.053311 | 0.98191 | -0.12662 | 0.98035 | -0.13774 | 19.7449
13 | -0.085946 | -0.021655 | 0.085986 | 0.021671 | 3.9885e-05 | 1.5291e-05 | 0.12892 | 0.12892 | 0.12892 | 0.99236 | -0.053037 | 0.99283 | -0.049722 | 47.7464
14 | 0.032664 | 0.0081906 | -0.032651 | -0.0081858 | 1.2674e-05 | 4.7704e-06 | 0.04958 | 0.04958 | 0.04958 | 0.98035 | -0.13774 | 0.97996 | -0.14054 | 18.363
15 | -0.025348 | -0.0063543 | 0.025365 | 0.0063606 | 1.7131e-05 | 6.3457e-06 | 0.03811 | 0.03811 | 0.03811 | 0.98972 | -0.072117 | 0.99041 | -0.067241 | 14.1148
16 | 0.022222 | 0.0055708 | -0.022214 | -0.0055681 | 7.3656e-06 | 2.6971e-06 | 0.03341 | 0.03341 | 0.03341 | 0.98972 | -0.072117 | 0.98938 | -0.074511 | 12.3741
17 | -0.029276 | -0.007341 | 0.029279 | 0.0073419 | 2.426e-06 | 9.0722e-07 | 0.043987 | 0.043987 | 0.043987 | 0.99041 | -0.067241 | 0.99049 | -0.066643 | 16.2915
18 | 0.016567 | 0.0041529 | -0.016563 | -0.0041514 | 4.194e-06 | 1.4741e-06 | 0.024918 | 0.024918 | 0.024918 | 0.98938 | -0.074511 | 0.98912 | -0.076339 | 9.2287
19 | -0.032299 | -0.0080989 | 0.032326 | 0.0081089 | 2.676e-05 | 1.0058e-05 | 0.048524 | 0.048524 | 0.048524 | 0.99049 | -0.066643 | 0.99134 | -0.060669 | 17.972
20 | 0.014034 | 0.0035175 | -0.014032 | -0.0035169 | 1.6451e-06 | 5.5682e-07 | 0.021112 | 0.021112 | 0.021112 | 0.98912 | -0.076339 | 0.989 | -0.077186 | 7.8193
21 | -0.038505 | -0.0096575 | 0.038513 | 0.0096606 | 8.0349e-06 | 3.0407e-06 | 0.057799 | 0.057799 | 0.057799 | 0.99134 | -0.060669 | 0.99155 | -0.059164 | 21.4072
22 | 0.011818 | 0.0029619 | -0.011816 | -0.0029613 | 1.8011e-06 | 5.7559e-07 | 0.01778 | 0.01778 | 0.01778 | 0.989 | -0.077186 | 0.98884 | -0.078287 | 6.5854
23 | -0.042076 | -0.010554 | 0.042113 | 0.010568 | 3.7578e-05 | 1.4258e-05 | 0.063146 | 0.063146 | 0.063146 | 0.99155 | -0.059164 | 0.99246 | -0.052728 | 23.3875
24 | 0.0087631 | 0.0021963 | -0.0087609 | -0.0021957 | 2.1828e-06 | 5.8155e-07 | 0.013187 | 0.013187 | 0.013187 | 0.98884 | -0.078287 | 0.98859 | -0.080086 | 4.884
25 | 0.1091 | 0.027557 | -0.1091 | -0.027556 | 1.6681e-06 | 6.3627e-07 | 0.16242 | 0.16242 | 0.16242 | 1 | 0 | 0.99998 | -0.00010874 | 30.0778
26 | 0.064125 | 0.016133 | -0.064016 | -0.016092 | 0.0001094 | 4.1824e-05 | 0.095441 | 0.095441 | 0.095441 | 1 | 0 | 0.99824 | -0.01225 | 35.3487
27 | 0.10721 | 0.027081 | -0.10718 | -0.027071 | 2.7572e-05 | 1.0514e-05 | 0.1596 | 0.1596 | 0.1596 | 0.99998 | -0.00010874 | 0.99972 | -0.0019378 | 29.5557
28 | 0.060625 | 0.015242 | -0.060555 | -0.015215 | 7.0471e-05 | 2.6924e-05 | 0.090388 | 0.090388 | 0.090388 | 0.99824 | -0.01225 | 0.99704 | -0.020604 | 33.4769
29 | 0.10319 | 0.026071 | -0.10287 | -0.025949 | 0.00031941 | 0.00012257 | 0.15367 | 0.15367 | 0.15367 | 0.99972 | -0.0019378 | 0.99653 | -0.024008 | 56.9134
30 | 0.056836 | 0.014283 | -0.056835 | -0.014283 | 5.7638e-07 | 2.2001e-07 | 0.084837 | 0.084837 | 0.084837 | 0.99704 | -0.020604 | 0.99703 | -0.020677 | 31.421
31 | 0.097095 | 0.024501 | -0.096746 | -0.024367 | 0.00034912 | 0.00013393 | 0.14504 | 0.14504 | 0.14504 | 0.99653 | -0.024008 | 0.99283 | -0.049722 | 53.7189
32 | 0.052854 | 0.013285 | -0.052743 | -0.013243 | 0.00011031 | 4.2055e-05 | 0.078895 | 0.078895 | 0.078895 | 0.99703 | -0.020677 | 0.99489 | -0.035697 | 29.2203
33 | 0.049184 | 0.012351 | -0.049068 | -0.012306 | 0.00011614 | 4.4224e-05 | 0.073571 | 0.073571 | 0.073571 | 0.99489 | -0.035697 | 0.99246 | -0.052728 | 27.2487
34 | 0.0069544 | 0.0017387 | -0.0069441 | -0.0017367 | 1.0343e-05 | 2.0105e-06 | 0.010425 | 0.010426 | 0.010426 | 0.99246 | -0.052728 | 0.99094 | -0.063528 | 3.8615
35 | 0.0023042 | 0.0005738 | -0.0023022 | -0.00057644 | 1.9671e-06 | -2.6341e-06 | 0.0034587 | 0.0034599 | 0.0034599 | 0.99094 | -0.063528 | 0.99007 | -0.069742 | 1.2814
36 | 0.0023022 | 0.00057644 | -0.0023019 | -0.0005769 | 3.4586e-07 | -4.6227e-07 | 0.0034599 | 0.0034601 | 0.0034601 | 0.99007 | -0.069742 | 0.98991 | -0.070829 | 1.2815
37 | 0.030193 | 0.0075697 | -0.030176 | -0.0075634 | 1.6887e-05 | 6.3327e-06 | 0.045847 | 0.045847 | 0.045847 | 0.97996 | -0.14054 | 0.9794 | -0.14458 | 16.9805
38 | 0.0194 | 0.0048627 | -0.019397 | -0.0048617 | 2.8455e-06 | 1.0284e-06 | 0.029475 | 0.029475 | 0.029475 | 0.9794 | -0.14458 | 0.97925 | -0.14564 | 10.9167
39 | 0.013798 | 0.0034585 | -0.013796 | -0.0034575 | 2.879e-06 | 9.7531e-07 | 0.020967 | 0.020968 | 0.020968 | 0.97925 | -0.14564 | 0.97904 | -0.14714 | 7.7658

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.17592 | 0.044165

## res_load
| p_mw | q_mvar
0 | 0.0027659 | 0.00069321
1 | 0.0031656 | 0.00079337
2 | 0.0025764 | 0.00064571
3 | 0.0034682 | 0.00086921
4 | 0.0019995 | 0.00050111
5 | 0.013649 | 0.0034207
6 | 0.0028036 | 0.00070266
7 | 0.0036555 | 0.00091615
8 | 0.0086482 | 0.0021674
9 | 0.0024582 | 0.00061608
10 | 0.003126 | 0.00078346
11 | 0.0039117 | 0.00098036
12 | 0.0056467 | 0.0014152
13 | 0.0030204 | 0.00075697
14 | 0.0025295 | 0.00063396
15 | 0.0061791 | 0.0015486
16 | 0.0022145 | 0.000555
17 | 0.0035629 | 0.00089294
18 | 0.0030527 | 0.00076507
19 | 0.0018947 | 0.00047486
20 | 0.0018947 | 0.00047486
21 | 0.0033904 | 0.00084972
22 | 0.0039871 | 0.00099926
23 | 0.0037194 | 0.00093217
24 | 0.0057764 | 0.0014477
25 | 0.0039813 | 0.00099781
26 | 0.01076 | 0.0026966
27 | 0.0035593 | 0.00089205
28 | 0.0046399 | 0.0011629
29 | 0.0087609 | 0.0021957
30 | 0.0024583 | 0.00061612
31 | 0.010776 | 0.0027007
32 | 0.0055988 | 0.0014032
33 | 0.013796 | 0.0034575
34 | 0.0072271 | 0.0018113
35 | 0.0023019 | 0.0005769

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1