## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1403-24_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1403-24_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1403-24_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1403-24_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1403-24_0_3_node_22 | 0.4 | n |  | TRUE
5 | bus_LV_1403-24_0_3_node_30 | 0.4 | n |  | TRUE
6 | bus_LV_1403-24_0_3_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_1403-24_0_3_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_1403-24_0_3_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_1403-24_0_3_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_1403-24_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_1403-24_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1403-24_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1403-24_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1403-24_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1403-24_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1403-24_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1403-24_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1403-24_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1403-24_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1403-24_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1403-24_0_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_1403-24_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_1403-24_0_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1403-24_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_1403-24_0_3_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_1403-24_0_3_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_1403-24_0_3_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_1403-24_0_3_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_1403-24_0_3_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_1403-24_0_3_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_1403-24_0_3_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_1403-24_0_3_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_1403-24_0_3_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_1403-24_0_3_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_1403-24_0_3_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_1403-24_0_3_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_1403-24_0_3_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_1403-24_0_3_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_1403-24_0_3_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_1403-24_0_3_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_1403-24_0_3_node_41 | 0.4 | n |  | TRUE
42 | bus_MV_138_0_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1403-24_0_3_load_0 | 0 | 0.0050825 | 0.0012738 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1403-24_0_3_load_1 | 1 | 0.0026165 | 0.00065576 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1403-24_0_3_load_3 | 2 | 0.0013079 | 0.0003278 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1403-24_0_3_load_23 | 6 | 0.0024791 | 0.00062133 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1403-24_0_3_load_16 | 7 | 0.0039457 | 0.00098889 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1403-24_0_3_load_32 | 8 | 0.0023407 | 0.00058665 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1403-24_0_3_load_28 | 9 | 0.0049261 | 0.0012346 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1403-24_0_3_load_5 | 10 | 0.0017041 | 0.00042708 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1403-24_0_3_load_6 | 11 | 0.002506 | 0.00062807 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1403-24_0_3_load_7 | 12 | 0.0066105 | 0.0016568 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1403-24_0_3_load_8 | 13 | 0.0028877 | 0.00072373 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1403-24_0_3_load_9 | 14 | 0.0066796 | 0.0016741 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1403-24_0_3_load_11 | 16 | 0.0094594 | 0.0023707 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1403-24_0_3_load_12 | 17 | 0.0025456 | 0.00063798 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1403-24_0_3_load_13 | 18 | 0.0035297 | 0.00088464 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1403-24_0_3_load_15 | 20 | 0.0087156 | 0.0021843 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1403-24_0_3_load_19 | 21 | 0.0041106 | 0.0010302 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1403-24_0_3_load_18 | 22 | 0.0086354 | 0.0021642 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1403-24_0_3_load_43 | 25 | 0.0058256 | 0.00146 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1403-24_0_3_load_24 | 26 | 0.0022965 | 0.00057555 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1403-24_0_3_load_25 | 27 | 0.010127 | 0.0025381 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1403-24_0_3_load_26 | 28 | 0.007872 | 0.0019729 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1403-24_0_3_load_27 | 29 | 0.0032266 | 0.00080867 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1403-24_0_3_load_29 | 30 | 0.0084914 | 0.0021281 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1403-24_0_3_load_31 | 31 | 0.0053807 | 0.0013485 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1403-24_0_3_load_33 | 32 | 0.002718 | 0.0006812 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1403-24_0_3_load_34 | 33 | 0.0059564 | 0.0014928 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1403-24_0_3_load_35 | 34 | 0.001163 | 0.00029148 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1403-24_0_3_load_36 | 35 | 0.0050526 | 0.0012663 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1403-24_0_3_load_37 | 36 | 0.0034969 | 0.00087641 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1403-24_0_3_load_38 | 37 | 0.00067509 | 0.00016919 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1403-24_0_3_load_39 | 38 | 0.00063096 | 0.00015813 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1403-24_0_3_load_42 | 39 | 0.0081103 | 0.0020326 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1403-24_0_3_load_40 | 40 | 0.0022442 | 0.00056246 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1403-24_0_3_load_41 | 41 | 0.0020704 | 0.0005189 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1403-24_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.032595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1403-24_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.019659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1403-24_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.021112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1403-24_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.025593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1403-24_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.01629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1403-24_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.011801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1403-24_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.016821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1403-24_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.054977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1403-24_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.022625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_1403-24_0_3_line_9 | NAYY 4x150 SE | 6 | 26 | 0.00090511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1403-24_0_3_line_10 | NAYY 4x150 SE | 7 | 19 | 0.011329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1403-24_0_3_line_11 | NAYY 4x150 SE | 8 | 32 | 0.059486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1403-24_0_3_line_12 | NAYY 4x150 SE | 9 | 30 | 0.011716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_1403-24_0_3_line_13 | NAYY 4x150 SE | 10 | 11 | 0.0036326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1403-24_0_3_line_14 | NAYY 4x150 SE | 10 | 12 | 0.012656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1403-24_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.0046553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1403-24_0_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.011149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1403-24_0_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.014941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1403-24_0_3_line_18 | NAYY 4x150 SE | 15 | 16 | 0.0050168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1403-24_0_3_line_19 | NAYY 4x150 SE | 15 | 17 | 0.015322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1403-24_0_3_line_20 | NAYY 4x150 SE | 16 | 18 | 0.006721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1403-24_0_3_line_21 | NAYY 4x150 SE | 18 | 19 | 0.014961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1403-24_0_3_line_22 | NAYY 4x150 SE | 19 | 20 | 0.030437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1403-24_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.012514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1403-24_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.0091881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1403-24_0_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.040346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1403-24_0_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.018762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1403-24_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.034022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1403-24_0_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.020459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1403-24_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.079788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1403-24_0_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.14811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1403-24_0_3_line_31 | NAYY 4x150 SE | 30 | 31 | 0.015126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1403-24_0_3_line_32 | NAYY 4x150 SE | 32 | 33 | 0.016245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1403-24_0_3_line_33 | NAYY 4x150 SE | 33 | 34 | 0.011213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1403-24_0_3_line_34 | NAYY 4x150 SE | 34 | 35 | 0.089606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1403-24_0_3_line_35 | NAYY 4x150 SE | 35 | 36 | 0.01899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1403-24_0_3_line_36 | NAYY 4x150 SE | 36 | 37 | 0.072933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1403-24_0_3_line_37 | NAYY 4x150 SE | 37 | 38 | 0.014875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1403-24_0_3_line_38 | NAYY 4x150 SE | 38 | 39 | 0.025014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1403-24_0_3_line_39 | NAYY 4x150 SE | 39 | 40 | 0.016752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1403-24_0_3_line_40 | NAYY 4x150 SE | 40 | 41 | 0.0061549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1403-24_0_3_trafo_29 | 0.25 MVA 20/0.4 kV | 42 | 30 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2656945.3641 | 1188038.3753 | 2656960.2689 | 1188036.2671 | 2656971.28 | 1188034.3374 | 2656977.4592 | 1188032.8188
1 | 2656977.4592 | 1188032.8188 | 2656996.5497 | 1188028.1272
2 | 2657017.0516 | 1188023.0887 | 2656996.5497 | 1188028.1272
3 | 2657017.0516 | 1188023.0887 | 2657025.5813 | 1187998.9563
4 | 2657017.0516 | 1188023.0887 | 2657012.714 | 1188038.7896
5 | 2657025.5813 | 1187998.9563 | 2657031.1944 | 1188003.1231 | 2657035.2956 | 1188005.6362
6 | 2657025.5813 | 1187998.9563 | 2657031.1161 | 1187983.0721
7 | 2657012.714 | 1188038.7896 | 2657010.7349 | 1188045.5413 | 2657008.9459 | 1188057.9757 | 2657010.8133 | 1188070.9675 | 2657012.9712 | 1188078.281 | 2657017.9387 | 1188092.0402
8 | 2657012.714 | 1188038.7896 | 2657034.4797 | 1188044.9661
9 | 2657035.2956 | 1188005.6362 | 2657036.0673 | 1188006.1091
10 | 2657034.8438 | 1187972.3739 | 2657031.1161 | 1187983.0721
11 | 2657017.9387 | 1188092.0402 | 2657021.1915 | 1188101.0499 | 2657026.1805 | 1188117.8735 | 2657032.2218 | 1188143.5455 | 2657034.0378 | 1188149.0992 | 2657034.0855 | 1188149.2335
12 | 2657034.4797 | 1188044.9661 | 2657039.631 | 1188046.4279 | 2657042.5759 | 1188048.8017 | 2657043.3688 | 1188051.2551 | 2657043.3688 | 1188051.2551
13 | 2656991.4495 | 1188006.3085 | 2656989.9979 | 1188009.6384
14 | 2656991.4495 | 1188006.3085 | 2656996.5073 | 1187994.7069
15 | 2656996.5073 | 1187994.7069 | 2656998.3677 | 1187990.4394
16 | 2656998.3677 | 1187990.4394 | 2657002.8234 | 1187980.219
17 | 2657008.7943 | 1187966.5227 | 2657002.8234 | 1187980.219
18 | 2657008.7943 | 1187966.5227 | 2657013.6892 | 1187967.6221
19 | 2657008.7943 | 1187966.5227 | 2656993.8643 | 1187963.0798
20 | 2657020.2469 | 1187969.0951 | 2657013.6892 | 1187967.6221
21 | 2657034.8438 | 1187972.3739 | 2657020.2469 | 1187969.0951
22 | 2657034.8438 | 1187972.3739 | 2657046.1323 | 1187944.1077
23 | 2657050.7733 | 1187932.4865 | 2657046.1323 | 1187944.1077
24 | 2657054.181 | 1187923.9537 | 2657050.7733 | 1187932.4865
25 | 2657069.1444 | 1187886.4854 | 2657054.181 | 1187923.9537
26 | 2657069.1444 | 1187886.4854 | 2657070.9019 | 1187882.1775 | 2657076.2217 | 1187869.1096
27 | 2657043.3804 | 1187874.6556 | 2657055.9105 | 1187869.4608 | 2657066.5692 | 1187867.728 | 2657076.2217 | 1187869.1096
28 | 2657054.0427 | 1188015.859 | 2657040.4093 | 1188008.7696 | 2657036.0673 | 1188006.1091
29 | 2657054.0427 | 1188015.859 | 2657132.1337 | 1187999.4886
30 | 2657132.1337 | 1187999.4886 | 2657241.1821 | 1188099.7079
31 | 2657043.3688 | 1188051.2551 | 2657043.152 | 1188053.1874 | 2657036.286 | 1188064.4395
32 | 2657039.622 | 1188164.4984 | 2657039.2159 | 1188163.6901 | 2657034.0855 | 1188149.2335
33 | 2657039.622 | 1188164.4984 | 2657044.6566 | 1188174.5174
34 | 2657044.6566 | 1188174.5174 | 2657077.5386 | 1188239.9537 | 2657080.729 | 1188244.5645 | 2657089.5615 | 1188250.7204
35 | 2657089.5615 | 1188250.7204 | 2657105.1408 | 1188261.5786
36 | 2657105.1408 | 1188261.5786 | 2657113.6399 | 1188267.5022 | 2657121.6483 | 1188274.8271 | 2657123.4221 | 1188284.8052 | 2657113.0122 | 1188319.7145 | 2657113.711 | 1188324.8241
37 | 2657126.8117 | 1188330.7149 | 2657117.52 | 1188328.5625 | 2657113.711 | 1188324.8241 | 2657113.711 | 1188324.8241
38 | 2657126.8117 | 1188330.7149 | 2657148.3535 | 1188335.705 | 2657151.2427 | 1188335.9758
39 | 2657167.922 | 1188337.5392 | 2657151.2427 | 1188335.9758
40 | 2657167.922 | 1188337.5392 | 2657174.05 | 1188338.1136

## bus_geodata
| x | y | coords
0 | 2656945.3641 | 1188038.3753
1 | 2656977.4592 | 1188032.8188
2 | 2656996.5497 | 1188028.1272
3 | 2657017.0516 | 1188023.0887
4 | 2657025.5813 | 1187998.9563
5 | 2657012.714 | 1188038.7896
6 | 2657035.2956 | 1188005.6362
7 | 2657031.1161 | 1187983.0721
8 | 2657017.9387 | 1188092.0402
9 | 2657034.4797 | 1188044.9661
10 | 2656991.4495 | 1188006.3085
11 | 2656989.9979 | 1188009.6384
12 | 2656996.5073 | 1187994.7069
13 | 2656998.3677 | 1187990.4394
14 | 2657002.8234 | 1187980.219
15 | 2657008.7943 | 1187966.5227
16 | 2657013.6892 | 1187967.6221
17 | 2656993.8643 | 1187963.0798
18 | 2657020.2469 | 1187969.0951
19 | 2657034.8438 | 1187972.3739
20 | 2657046.1323 | 1187944.1077
21 | 2657050.7733 | 1187932.4865
22 | 2657054.181 | 1187923.9537
23 | 2657069.1444 | 1187886.4854
24 | 2657076.2216 | 1187869.1096
25 | 2657043.3804 | 1187874.6556
26 | 2657036.0673 | 1188006.1091
27 | 2657054.0427 | 1188015.859
28 | 2657132.1337 | 1187999.4886
29 | 2657241.1821 | 1188099.7079
30 | 2657043.3688 | 1188051.2551
31 | 2657036.286 | 1188064.4395
32 | 2657034.0855 | 1188149.2335
33 | 2657039.622 | 1188164.4984
34 | 2657044.6566 | 1188174.5174
35 | 2657089.5615 | 1188250.7204
36 | 2657105.1408 | 1188261.5786
37 | 2657113.711 | 1188324.8241
38 | 2657126.8117 | 1188330.7149
39 | 2657151.2427 | 1188335.9758
40 | 2657167.922 | 1188337.5392
41 | 2657174.05 | 1188338.1136
42 | 2657045.4956 | 1188075.4445

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99344 | -0.045701 | 0.0050825 | 0.0012738
1 | 0.99368 | -0.044026 | 0.0026165 | 0.00065576
2 | 0.9939 | -0.042496 | 0.0013079 | 0.0003278
3 | 0.99417 | -0.040574 | 0 | 0
4 | 0.99073 | -0.064745 | 0 | 0
5 | 0.99657 | -0.023799 | 0 | 0
6 | 0.99029 | -0.067869 | 0.0024791 | 0.00062133
7 | 0.9891 | -0.076254 | 0.0039457 | 0.00098889
8 | 0.99384 | -0.042908 | 0.0023407 | 0.00058665
9 | 0.9988 | -0.0082913 | 0.0049261 | 0.0012346
10 | 0.98599 | -0.098236 | 0.0017041 | 0.00042708
11 | 0.98598 | -0.098329 | 0.002506 | 0.00062807
12 | 0.98607 | -0.097689 | 0.0066105 | 0.0016568
13 | 0.98614 | -0.097172 | 0.0028877 | 0.00072373
14 | 0.98637 | -0.095603 | 0.0066796 | 0.0016741
15 | 0.98681 | -0.092479 | 0 | 0
16 | 0.98697 | -0.0913 | 0.0094594 | 0.0023707
17 | 0.98675 | -0.092879 | 0.0025456 | 0.00063798
18 | 0.98729 | -0.089069 | 0.0035297 | 0.00088464
19 | 0.98806 | -0.08357 | 0 | 0
20 | 0.98686 | -0.092075 | 0.0087156 | 0.0021843
21 | 0.98653 | -0.094458 | 0.0041106 | 0.0010302
22 | 0.98634 | -0.095822 | 0.0086354 | 0.0021642
23 | 0.986 | -0.098237 | 0 | 0
24 | 0.98584 | -0.09936 | 0 | 0
25 | 0.98555 | -0.1014 | 0.0058256 | 0.00146
26 | 0.99026 | -0.068086 | 0.0022965 | 0.00057555
27 | 0.98963 | -0.072513 | 0.010127 | 0.0025381
28 | 0.98835 | -0.081564 | 0.007872 | 0.0019729
29 | 0.98766 | -0.08646 | 0.0032266 | 0.00080867
30 | 1 | 0 | -0.14938 | -0.037444
31 | 0.99988 | -0.00081248 | 0.0053807 | 0.0013485
32 | 0.99108 | -0.062284 | 0.002718 | 0.0006812
33 | 0.99039 | -0.067144 | 0.0059564 | 0.0014928
34 | 0.99001 | -0.069823 | 0.001163 | 0.00029148
35 | 0.98712 | -0.090229 | 0.0050526 | 0.0012663
36 | 0.98665 | -0.093584 | 0.0034969 | 0.00087641
37 | 0.9852 | -0.10387 | 0.00067509 | 0.00016919
38 | 0.98492 | -0.10587 | 0.00063096 | 0.00015813
39 | 0.98447 | -0.10907 | 0.0081103 | 0.0020326
40 | 0.98436 | -0.10982 | 0.0022442 | 0.00056246
41 | 0.98434 | -0.10995 | 0.0020704 | 0.0005189
42 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0050825 | -0.0012738 | 0.0050837 | 0.0012738 | 1.1787e-06 | 3.1214e-08 | 0.0076127 | 0.0076126 | 0.0076127 | 0.99344 | -0.045701 | 0.99368 | -0.044026 | 2.8195
1 | -0.0077002 | -0.0019296 | 0.0077018 | 0.00193 | 1.631e-06 | 3.7259e-07 | 0.011531 | 0.011531 | 0.011531 | 0.99368 | -0.044026 | 0.9939 | -0.042496 | 4.2706
2 | -0.0090097 | -0.0022578 | 0.0090121 | 0.0022584 | 2.3969e-06 | 6.4822e-07 | 0.013489 | 0.013489 | 0.013489 | 0.9939 | -0.042496 | 0.99417 | -0.040574 | 4.9959
3 | 0.093785 | 0.023582 | -0.09347 | -0.023461 | 0.0003148 | 0.00012074 | 0.1404 | 0.1404 | 0.1404 | 0.99417 | -0.040574 | 0.99073 | -0.064745 | 51.9994
4 | -0.1028 | -0.02584 | 0.10304 | 0.025932 | 0.00024072 | 9.2372e-05 | 0.15389 | 0.15389 | 0.15389 | 0.99417 | -0.040574 | 0.99657 | -0.023799 | 56.9952
5 | 0.026043 | 0.006529 | -0.026031 | -0.0065248 | 1.1266e-05 | 4.1813e-06 | 0.039115 | 0.039115 | 0.039115 | 0.99073 | -0.064745 | 0.99029 | -0.067869 | 14.4871
6 | 0.067427 | 0.016932 | -0.06732 | -0.016891 | 0.00010767 | 4.1197e-05 | 0.10128 | 0.10128 | 0.10128 | 0.99073 | -0.064745 | 0.9891 | -0.076254 | 37.5124
7 | 0.034767 | 0.0087499 | -0.034675 | -0.0087151 | 9.2496e-05 | 3.4861e-05 | 0.051925 | 0.051925 | 0.051925 | 0.99657 | -0.023799 | 0.99384 | -0.042908 | 19.2316
8 | -0.1378 | -0.034682 | 0.1381 | 0.034797 | 0.00029901 | 0.00011441 | 0.20581 | 0.20581 | 0.20581 | 0.99657 | -0.023799 | 0.9988 | -0.0082913 | 38.1134
9 | 0.023552 | 0.0059035 | -0.023551 | -0.0059033 | 7.0737e-07 | 2.6042e-07 | 0.03539 | 0.03539 | 0.03539 | 0.99029 | -0.067869 | 0.99026 | -0.068086 | 13.1074
10 | 0.063374 | 0.015902 | -0.06331 | -0.015877 | 6.4268e-05 | 2.4573e-05 | 0.095347 | 0.095347 | 0.095347 | 0.9891 | -0.076254 | 0.98806 | -0.08357 | 35.3139
11 | 0.032334 | 0.0081284 | -0.032247 | -0.0080957 | 8.7029e-05 | 3.2704e-05 | 0.048421 | 0.048421 | 0.048421 | 0.99384 | -0.042908 | 0.99108 | -0.062284 | 17.9337
12 | -0.14303 | -0.036031 | 0.1432 | 0.036095 | 0.00016607 | 6.3566e-05 | 0.21315 | 0.21315 | 0.21315 | 0.9988 | -0.0082913 | 1 | 0 | 39.4724
13 | 0.0025061 | 0.00062804 | -0.002506 | -0.00062807 | 3.2423e-08 | -3.386e-08 | 0.003782 | 0.003782 | 0.003782 | 0.98599 | -0.098236 | 0.98598 | -0.098329 | 1.4008
14 | -0.0042101 | -0.0010551 | 0.0042105 | 0.0010551 | 3.1882e-07 | -3.8813e-08 | 0.0063537 | 0.0063537 | 0.0063537 | 0.98599 | -0.098236 | 0.98607 | -0.097689 | 2.3532
15 | -0.010821 | -0.0027118 | 0.010822 | 0.0027121 | 7.7457e-07 | 2.3852e-07 | 0.016329 | 0.016329 | 0.016329 | 0.98607 | -0.097689 | 0.98614 | -0.097172 | 6.0478
16 | -0.013709 | -0.0034358 | 0.013712 | 0.0034368 | 2.9772e-06 | 1.0028e-06 | 0.020686 | 0.020686 | 0.020686 | 0.98614 | -0.097172 | 0.98637 | -0.095603 | 7.6617
17 | -0.020392 | -0.0051109 | 0.020401 | 0.0051141 | 8.8234e-06 | 3.2028e-06 | 0.030763 | 0.030763 | 0.030763 | 0.98637 | -0.095603 | 0.98681 | -0.092479 | 11.3938
18 | -0.022947 | -0.0057519 | 0.02295 | 0.0057533 | 3.7481e-06 | 1.3775e-06 | 0.034602 | 0.034602 | 0.034602 | 0.98681 | -0.092479 | 0.98697 | -0.0913 | 12.8155
19 | 0.0025457 | 0.00063784 | -0.0025456 | -0.00063798 | 1.4088e-07 | -1.4155e-07 | 0.0038387 | 0.0038387 | 0.0038387 | 0.98681 | -0.092479 | 0.98675 | -0.092879 | 1.4218
20 | -0.03241 | -0.008124 | 0.03242 | 0.0081278 | 1.0013e-05 | 3.7654e-06 | 0.048863 | 0.048863 | 0.048863 | 0.98697 | -0.0913 | 0.98729 | -0.089069 | 18.0975
21 | -0.035949 | -0.0090124 | 0.035977 | 0.0090228 | 2.7407e-05 | 1.035e-05 | 0.054183 | 0.054183 | 0.054183 | 0.98729 | -0.089069 | 0.98806 | -0.08357 | 20.0678
22 | 0.027333 | 0.0068545 | -0.027301 | -0.0068425 | 3.2183e-05 | 1.1989e-05 | 0.041164 | 0.041165 | 0.041165 | 0.98806 | -0.08357 | 0.98686 | -0.092075 | 15.2461
23 | 0.018585 | 0.0046582 | -0.018579 | -0.004656 | 6.1319e-06 | 2.1986e-06 | 0.028023 | 0.028023 | 0.028023 | 0.98686 | -0.092075 | 0.98653 | -0.094458 | 10.3789
24 | 0.014468 | 0.0036257 | -0.014466 | -0.0036248 | 2.7305e-06 | 9.3289e-07 | 0.021823 | 0.021823 | 0.021823 | 0.98653 | -0.094458 | 0.98634 | -0.095822 | 8.0826
25 | 0.0058301 | 0.0014606 | -0.0058281 | -0.0014603 | 1.9475e-06 | 2.3429e-07 | 0.0087952 | 0.0087954 | 0.0087954 | 0.98634 | -0.095822 | 0.986 | -0.098237 | 3.2576
26 | 0.0058281 | 0.0014603 | -0.0058272 | -0.0014602 | 9.0568e-07 | 1.0908e-07 | 0.0087954 | 0.0087955 | 0.0087955 | 0.986 | -0.098237 | 0.98584 | -0.09936 | 3.2576
27 | 0.0058272 | 0.0014602 | -0.0058256 | -0.00146 | 1.6424e-06 | 1.9802e-07 | 0.0087955 | 0.0087956 | 0.0087956 | 0.98584 | -0.09936 | 0.98555 | -0.1014 | 3.2576
28 | 0.021255 | 0.0053277 | -0.021242 | -0.005323 | 1.3023e-05 | 4.7458e-06 | 0.031939 | 0.031939 | 0.031939 | 0.99026 | -0.068086 | 0.98963 | -0.072513 | 11.8293
29 | 0.011115 | 0.0027848 | -0.011101 | -0.0027805 | 1.3905e-05 | 4.3243e-06 | 0.016712 | 0.016712 | 0.016712 | 0.98963 | -0.072513 | 0.98835 | -0.081564 | 6.1897
30 | 0.0032288 | 0.00080761 | -0.0032266 | -0.00080867 | 2.1837e-06 | -1.0569e-06 | 0.0048605 | 0.0048612 | 0.0048612 | 0.98835 | -0.081564 | 0.98766 | -0.08646 | 1.8005
31 | 0.0053813 | 0.0013486 | -0.0053807 | -0.0013485 | 6.0519e-07 | 3.4346e-08 | 0.0080074 | 0.0080074 | 0.0080074 | 1 | 0 | 0.99988 | -0.00081248 | 2.9657
32 | 0.029529 | 0.0074145 | -0.029509 | -0.0074071 | 1.9929e-05 | 7.4558e-06 | 0.04434 | 0.04434 | 0.04434 | 0.99108 | -0.062284 | 0.99039 | -0.067144 | 16.4223
33 | 0.023553 | 0.0059143 | -0.023544 | -0.005911 | 8.7637e-06 | 3.2264e-06 | 0.035391 | 0.035391 | 0.035391 | 0.99039 | -0.067144 | 0.99001 | -0.069823 | 13.1078
34 | 0.022381 | 0.0056196 | -0.022318 | -0.0055964 | 6.3288e-05 | 2.3193e-05 | 0.033643 | 0.033643 | 0.033643 | 0.99001 | -0.069823 | 0.98712 | -0.090229 | 12.4605
35 | 0.017265 | 0.0043301 | -0.017257 | -0.0043272 | 8.0271e-06 | 2.8447e-06 | 0.026027 | 0.026027 | 0.026027 | 0.98712 | -0.090229 | 0.98665 | -0.093584 | 9.6397
36 | 0.01376 | 0.0034508 | -0.013741 | -0.0034442 | 1.9601e-05 | 6.6089e-06 | 0.020753 | 0.020754 | 0.020754 | 0.98665 | -0.093584 | 0.9852 | -0.10387 | 7.6865
37 | 0.013065 | 0.003275 | -0.013062 | -0.0032738 | 3.6146e-06 | 1.2009e-06 | 0.019734 | 0.019734 | 0.019734 | 0.9852 | -0.10387 | 0.98492 | -0.10587 | 7.3089
38 | 0.012431 | 0.0031157 | -0.012425 | -0.0031139 | 5.5055e-06 | 1.7993e-06 | 0.018781 | 0.018781 | 0.018781 | 0.98492 | -0.10587 | 0.98447 | -0.10907 | 6.9559
39 | 0.0043152 | 0.0010813 | -0.0043147 | -0.0010813 | 4.4469e-07 | -4.1946e-08 | 0.0065223 | 0.0065223 | 0.0065223 | 0.98447 | -0.10907 | 0.98436 | -0.10982 | 2.4157
40 | 0.0020705 | 0.00051884 | -0.0020704 | -0.0005189 | 3.7623e-08 | -6.377e-08 | 0.0031298 | 0.0031299 | 0.0031299 | 0.98436 | -0.10982 | 0.98434 | -0.10995 | 1.1592

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.15787 | 0.039572

## res_load
| p_mw | q_mvar
0 | 0.0050825 | 0.0012738
1 | 0.0026165 | 0.00065576
2 | 0.0013079 | 0.0003278
3 | 0.0024791 | 0.00062133
4 | 0.0039457 | 0.00098889
5 | 0.0023407 | 0.00058665
6 | 0.0049261 | 0.0012346
7 | 0.0017041 | 0.00042708
8 | 0.002506 | 0.00062807
9 | 0.0066105 | 0.0016568
10 | 0.0028877 | 0.00072373
11 | 0.0066796 | 0.0016741
12 | 0.0094594 | 0.0023707
13 | 0.0025456 | 0.00063798
14 | 0.0035297 | 0.00088464
15 | 0.0087156 | 0.0021843
16 | 0.0041106 | 0.0010302
17 | 0.0086354 | 0.0021642
18 | 0.0058256 | 0.00146
19 | 0.0022965 | 0.00057555
20 | 0.010127 | 0.0025381
21 | 0.007872 | 0.0019729
22 | 0.0032266 | 0.00080867
23 | 0.0084914 | 0.0021281
24 | 0.0053807 | 0.0013485
25 | 0.002718 | 0.0006812
26 | 0.0059564 | 0.0014928
27 | 0.001163 | 0.00029148
28 | 0.0050526 | 0.0012663
29 | 0.0034969 | 0.00087641
30 | 0.00067509 | 0.00016919
31 | 0.00063096 | 0.00015813
32 | 0.0081103 | 0.0020326
33 | 0.0022442 | 0.00056246
34 | 0.0020704 | 0.0005189

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1