## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1403-27_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1403-27_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1403-27_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1403-27_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1403-27_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1403-27_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1403-27_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1403-27_0_4_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_1403-27_0_4_node_49 | 0.4 | n |  | TRUE
9 | bus_LV_1403-27_0_4_node_47 | 0.4 | n |  | TRUE
10 | bus_LV_1403-27_0_4_node_55 | 0.4 | n |  | TRUE
11 | bus_LV_1403-27_0_4_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_1403-27_0_4_node_50 | 0.4 | n |  | TRUE
13 | bus_LV_1403-27_0_4_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_1403-27_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_1403-27_0_4_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_1403-27_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1403-27_0_4_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_1403-27_0_4_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_1403-27_0_4_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_1403-27_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_1403-27_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_1403-27_0_4_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_1403-27_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_1403-27_0_4_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_1403-27_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1403-27_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_1403-27_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_1403-27_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_1403-27_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_1403-27_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_1403-27_0_4_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_1403-27_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_1403-27_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_1403-27_0_4_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_1403-27_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_1403-27_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_1403-27_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_1403-27_0_4_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_1403-27_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_1403-27_0_4_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_1403-27_0_4_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_1403-27_0_4_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_1403-27_0_4_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_1403-27_0_4_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_1403-27_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_1403-27_0_4_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_1403-27_0_4_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_1403-27_0_4_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_1403-27_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_1403-27_0_4_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_1403-27_0_4_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_1403-27_0_4_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_1403-27_0_4_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_1403-27_0_4_node_54 | 0.4 | n |  | TRUE
55 | bus_MV_138_0_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1403-27_0_4_load_0 | 0 | 0.0015461 | 0.0003875 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1403-27_0_4_load_1 | 1 | 0.0012214 | 0.00030612 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1403-27_0_4_load_2 | 2 | 0.00086785 | 0.0002175 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1403-27_0_4_load_4 | 4 | 0.0013855 | 0.00034725 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1403-27_0_4_load_23 | 7 | 0.00083916 | 0.00021031 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1403-27_0_4_load_47 | 9 | 0.0034783 | 0.00087174 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1403-27_0_4_load_55 | 10 | 0.0041858 | 0.0010491 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1403-27_0_4_load_24 | 11 | 0.0037408 | 0.00093752 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1403-27_0_4_load_50 | 12 | 0.002437 | 0.00061076 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1403-27_0_4_load_46 | 13 | 0.0010358 | 0.00025959 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1403-27_0_4_load_51 | 15 | 0.0078129 | 0.0019581 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1403-27_0_4_load_12 | 16 | 0.0050753 | 0.001272 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1403-27_0_4_load_7 | 18 | 0.0019085 | 0.00047833 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1403-27_0_4_load_10 | 20 | 0.0032763 | 0.00082111 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1403-27_0_4_load_11 | 21 | 0.0011313 | 0.00028353 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1403-27_0_4_load_20 | 22 | 0.0035169 | 0.00088142 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1403-27_0_4_load_19 | 23 | 0.0011107 | 0.00027836 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1403-27_0_4_load_21 | 24 | 0.0040235 | 0.0010084 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1403-27_0_4_load_18 | 25 | 0.0011896 | 0.00029814 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1403-27_0_4_load_14 | 26 | 0.0013045 | 0.00032694 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1403-27_0_4_load_15 | 27 | 0.001061 | 0.00026591 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1403-27_0_4_load_16 | 28 | 0.0011759 | 0.0002947 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1403-27_0_4_load_17 | 29 | 0.0012985 | 0.00032544 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1403-27_0_4_load_22 | 30 | 0.0012052 | 0.00030206 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1403-27_0_4_load_42 | 31 | 0.0010834 | 0.00027154 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1403-27_0_4_load_25 | 32 | 0.0016903 | 0.00042363 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1403-27_0_4_load_26 | 33 | 0.0031341 | 0.00078548 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1403-27_0_4_load_27 | 34 | 0.0022838 | 0.00057238 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1403-27_0_4_load_28 | 35 | 0.0053529 | 0.0013416 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1403-27_0_4_load_30 | 37 | 0.015798 | 0.0039593 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1403-27_0_4_load_32 | 38 | 0.021044 | 0.0052741 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1403-27_0_4_load_37 | 40 | 0.0031899 | 0.00079947 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1403-27_0_4_load_36 | 41 | 0.0037005 | 0.00092743 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1403-27_0_4_load_43 | 42 | 0.002042 | 0.00051178 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1403-27_0_4_load_33 | 43 | 0.024434 | 0.0061236 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1403-27_0_4_load_38 | 44 | 0.0016031 | 0.00040177 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1403-27_0_4_load_35 | 45 | 0.012699 | 0.0031827 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1403-27_0_4_load_44 | 46 | 0.00069424 | 0.00017399 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1403-27_0_4_load_45 | 47 | 0.002602 | 0.00065211 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1403-27_0_4_load_34 | 48 | 0.042606 | 0.010678 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1403-27_0_4_load_39 | 49 | 0.0048166 | 0.0012072 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1403-27_0_4_load_40 | 50 | 0.0041788 | 0.0010473 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1403-27_0_4_load_41 | 51 | 0.0035027 | 0.00087786 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1403-27_0_4_load_48 | 52 | 0.0012838 | 0.00032175 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1403-27_0_4_load_52 | 53 | 0.0059048 | 0.0014799 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1403-27_0_4_load_54 | 54 | 0.00225 | 0.0005639 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1403-27_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1403-27_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.012455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1403-27_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.020264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1403-27_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.034512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1403-27_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.056079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1403-27_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.095068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1403-27_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0049795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_1403-27_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.13247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1403-27_0_4_line_8 | NAYY 4x150 SE | 5 | 9 | 0.11318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1403-27_0_4_line_9 | NAYY 4x150 SE | 6 | 10 | 0.028359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1403-27_0_4_line_10 | NAYY 4x150 SE | 7 | 11 | 0.045963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_1403-27_0_4_line_11 | NAYY 4x150 SE | 8 | 12 | 0.05055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1403-27_0_4_line_12 | NAYY 4x150 SE | 9 | 13 | 0.019968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1403-27_0_4_line_13 | NAYY 4x150 SE | 10 | 17 | 0.001558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1403-27_0_4_line_14 | NAYY 4x150 SE | 11 | 32 | 0.015409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_1403-27_0_4_line_15 | NAYY 4x150 SE | 13 | 52 | 0.020383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1403-27_0_4_line_16 | NAYY 4x150 SE | 14 | 15 | 0.0083664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1403-27_0_4_line_17 | NAYY 4x150 SE | 14 | 16 | 0.033575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1403-27_0_4_line_18 | NAYY 4x150 SE | 15 | 17 | 0.014318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1403-27_0_4_line_19 | NAYY 4x150 SE | 16 | 19 | 0.020665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1403-27_0_4_line_20 | NAYY 4x150 SE | 17 | 53 | 0.024438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1403-27_0_4_line_21 | NAYY 4x150 SE | 18 | 19 | 0.014224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1403-27_0_4_line_22 | NAYY 4x150 SE | 19 | 20 | 0.019275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1403-27_0_4_line_23 | NAYY 4x150 SE | 19 | 21 | 0.028105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1403-27_0_4_line_24 | NAYY 4x150 SE | 20 | 22 | 0.010081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1403-27_0_4_line_25 | NAYY 4x150 SE | 21 | 23 | 0.0051736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1403-27_0_4_line_26 | NAYY 4x150 SE | 22 | 24 | 0.085923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1403-27_0_4_line_27 | NAYY 4x150 SE | 23 | 25 | 0.0020174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1403-27_0_4_line_28 | NAYY 4x150 SE | 24 | 31 | 0.0092369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1403-27_0_4_line_29 | NAYY 4x150 SE | 25 | 28 | 0.0050575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1403-27_0_4_line_30 | NAYY 4x150 SE | 26 | 27 | 0.0052242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1403-27_0_4_line_31 | NAYY 4x150 SE | 26 | 28 | 0.012726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1403-27_0_4_line_32 | NAYY 4x150 SE | 27 | 29 | 0.0019864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1403-27_0_4_line_33 | NAYY 4x150 SE | 29 | 30 | 0.0051851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1403-27_0_4_line_34 | NAYY 4x150 SE | 32 | 33 | 0.0057714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_1403-27_0_4_line_35 | NAYY 4x150 SE | 33 | 34 | 0.028227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_1403-27_0_4_line_36 | NAYY 4x150 SE | 34 | 35 | 0.011791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_1403-27_0_4_line_37 | NAYY 4x150 SE | 35 | 36 | 0.044627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_1403-27_0_4_line_38 | NAYY 4x150 SE | 36 | 37 | 0.023243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_1403-27_0_4_line_39 | NAYY 4x150 SE | 37 | 38 | 0.014432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_1403-27_0_4_line_40 | NAYY 4x150 SE | 38 | 43 | 0.0012637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_1403-27_0_4_line_41 | NAYY 4x150 SE | 39 | 40 | 0.025628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1403-27_0_4_line_42 | NAYY 4x150 SE | 39 | 41 | 0.01105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1403-27_0_4_line_43 | NAYY 4x150 SE | 39 | 42 | 0.28683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1403-27_0_4_line_44 | NAYY 4x150 SE | 40 | 44 | 0.0046055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1403-27_0_4_line_45 | NAYY 4x150 SE | 41 | 45 | 0.025407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1403-27_0_4_line_46 | NAYY 4x150 SE | 42 | 46 | 0.14969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1403-27_0_4_line_47 | NAYY 4x150 SE | 43 | 48 | 0.030943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1403-27_0_4_line_48 | NAYY 4x150 SE | 44 | 49 | 0.018785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1403-27_0_4_line_49 | NAYY 4x150 SE | 45 | 48 | 0.010931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1403-27_0_4_line_50 | NAYY 4x150 SE | 46 | 47 | 0.11054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1403-27_0_4_line_51 | NAYY 4x150 SE | 49 | 50 | 0.0091157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1403-27_0_4_line_52 | NAYY 4x150 SE | 50 | 51 | 0.0087394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1403-27_0_4_line_53 | NAYY 4x150 SE | 53 | 54 | 0.013958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1403-27_0_4_trafo_30 | 0.25 MVA 20/0.4 kV | 55 | 37 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2656843.764 | 1187134.3562 | 2656838.8847 | 1187116.4006
1 | 2656843.764 | 1187134.3562 | 2656846.7525 | 1187145.3538 | 2656847.1386 | 1187146.339
2 | 2656833.5709 | 1187096.8459 | 2656838.8847 | 1187116.4006
3 | 2656847.1386 | 1187146.339 | 2656852.0489 | 1187158.8672 | 2656860.5102 | 1187173.3334 | 2656862.8198 | 1187176.9568
4 | 2656833.5709 | 1187096.8459 | 2656836.3382 | 1187095.4825 | 2656838.5482 | 1187093.3467 | 2656840.0007 | 1187090.6368 | 2656840.5558 | 1187087.6181 | 2656840.1498 | 1187084.5681 | 2656838.8334 | 1187081.7874 | 2656836.7183 | 1187079.5438 | 2656834.0239 | 1187078.0508 | 2656831.0006 | 1187077.4551 | 2656832.7963 | 1187067.5221 | 2656833.6976 | 1187061.783 | 2656834.8061 | 1187056.7351 | 2656835.8146 | 1187053.3761 | 2656837.153 | 1187049.8201
5 | 2656778.7614 | 1187152.113 | 2656781.1781 | 1187149.8902 | 2656784.0768 | 1187146.7381 | 2656786.572 | 1187143.4822 | 2656789.3872 | 1187139.4844 | 2656791.2899 | 1187135.956 | 2656793.026 | 1187131.4921 | 2656800.176 | 1187111.2819 | 2656802.8829 | 1187105.0151 | 2656804.3593 | 1187102.1942 | 2656806.4567 | 1187099.0567 | 2656808.9965 | 1187095.9346 | 2656810.1593 | 1187094.8117 | 2656811.5204 | 1187093.6906 | 2656814.3685 | 1187091.8499 | 2656816.9359 | 1187090.6402 | 2656820.8179 | 1187089.1985 | 2656821.9708 | 1187092.3223 | 2656824.1056 | 1187094.8995 | 2656826.9734 | 1187096.6166 | 2656830.2554 | 1187097.2925 | 2656833.5709 | 1187096.8459
6 | 2656862.8198 | 1187176.9568 | 2656865.4964 | 1187181.1559
7 | 2656837.153 | 1187049.8201 | 2656840.1217 | 1187040.8988 | 2656846.6496 | 1187043.6512 | 2656845.5864 | 1187047.1542 | 2656851.5494 | 1187049.1229 | 2656853.1041 | 1187050.116 | 2656858.9907 | 1187046.4809 | 2656876.7835 | 1187062.5366 | 2656891.4389 | 1187075.5386 | 2656889.5113 | 1187076.8544 | 2656901.2269 | 1187086.8824 | 2656904.0284 | 1187084.3298 | 2656909.7436 | 1187088.2974 | 2656924.7724 | 1187102.9372 | 2656929.0141 | 1187102.9776
8 | 2656837.153 | 1187049.8201 | 2656844.6618 | 1187052.9264 | 2656848.3281 | 1187054.9179 | 2656849.7719 | 1187056.3324 | 2656850.7691 | 1187058.1873 | 2656851.3394 | 1187060.8053 | 2656851.4596 | 1187063.4079 | 2656848.8759 | 1187090.4431 | 2656848.0007 | 1187093.4253 | 2656846.2166 | 1187097.3106 | 2656844.7922 | 1187101.077 | 2656844.3618 | 1187107.0429 | 2656853.2805 | 1187140.035 | 2656855.3773 | 1187144.2017 | 2656859.2637 | 1187147.9184 | 2656861.5541 | 1187149.3576
9 | 2656778.7614 | 1187152.113 | 2656780.7156 | 1187160.0471 | 2656779.0179 | 1187167.702 | 2656783.1957 | 1187176.0907 | 2656784.231 | 1187178.8807
10 | 2656890.2022 | 1187219.9142 | 2656865.4964 | 1187181.1559
11 | 2656929.0141 | 1187102.9776 | 2656931.6345 | 1187112.2521 | 2656931.3938 | 1187124.7346 | 2656922.9522 | 1187149.9464 | 2656922.6155 | 1187151.7554
12 | 2656879.5214 | 1187157.9774 | 2656865.5512 | 1187151.8692 | 2656861.5541 | 1187149.3576
13 | 2656784.7729 | 1187180.3414 | 2656784.231 | 1187178.8807
14 | 2656898.4849 | 1187232.9081 | 2656890.2022 | 1187219.9142
15 | 2656896.7288 | 1187168.4411 | 2656892.3446 | 1187164.1193 | 2656885.8761 | 1187160.756 | 2656879.5214 | 1187157.9774
16 | 2656766.9544 | 1187194.3805 | 2656768.5838 | 1187193.1174 | 2656773.533 | 1187189.2117
17 | 2656766.9544 | 1187194.3805 | 2656769.5944 | 1187200.798 | 2656770.2993 | 1187204.5068 | 2656770.2719 | 1187207.397 | 2656769.9782 | 1187210.218 | 2656769.4142 | 1187212.5696 | 2656768.3118 | 1187214.5714 | 2656766.5411 | 1187216.2444 | 2656757.7033 | 1187220.9102
18 | 2656784.7729 | 1187180.3414 | 2656773.533 | 1187189.2117
19 | 2656738.6734 | 1187228.7987 | 2656746.3332 | 1187226.4143 | 2656751.2742 | 1187224.3044 | 2656757.7033 | 1187220.9102
20 | 2656784.7729 | 1187180.3414 | 2656789.1223 | 1187191.5556 | 2656790.1877 | 1187193.4557 | 2656792.3797 | 1187196.4337 | 2656797.2921 | 1187200.7419
21 | 2656738.6734 | 1187228.7987 | 2656729.9959 | 1187222.6353 | 2656727.2209 | 1187220.3734
22 | 2656738.6734 | 1187228.7987 | 2656755.1113 | 1187238.8648
23 | 2656738.6734 | 1187228.7987 | 2656723.6641 | 1187252.56
24 | 2656763.7087 | 1187244.1296 | 2656755.1113 | 1187238.8648
25 | 2656720.9011 | 1187256.934 | 2656723.6641 | 1187252.56
26 | 2656836.4918 | 1187289.0772 | 2656834.0046 | 1187285.912 | 2656825.8562 | 1187279.4867 | 2656784.2017 | 1187256.679 | 2656763.7087 | 1187244.1296
27 | 2656720.9011 | 1187256.934 | 2656719.8238 | 1187258.6397
28 | 2656842.1989 | 1187296.34 | 2656836.4918 | 1187289.0772
29 | 2656719.8238 | 1187258.6397 | 2656717.1228 | 1187262.9155
30 | 2656710.3267 | 1187273.6745 | 2656707.5367 | 1187278.0913
31 | 2656710.3267 | 1187273.6745 | 2656717.1228 | 1187262.9155
32 | 2656707.5367 | 1187278.0913 | 2656706.4759 | 1187279.7708
33 | 2656706.4759 | 1187279.7708 | 2656703.7068 | 1187284.1545
34 | 2656898.4849 | 1187232.9081 | 2656901.5871 | 1187237.7749
35 | 2656901.5871 | 1187237.7749 | 2656916.7596 | 1187261.5775
36 | 2656916.7596 | 1187261.5775 | 2656923.0974 | 1187271.5201
37 | 2656942.68 | 1187311.5026 | 2656934.8912 | 1187292.151 | 2656924.2214 | 1187273.2835 | 2656923.0974 | 1187271.5201
38 | 2656942.68 | 1187311.5026 | 2656938.336 | 1187313.4068 | 2656920.9918 | 1187319.8428
39 | 2656920.9918 | 1187319.8428 | 2656920.7797 | 1187319.9215 | 2656919.0152 | 1187321.7502 | 2656918.5985 | 1187324.6479 | 2656920.9803 | 1187333.0541
40 | 2656920.9803 | 1187333.0541 | 2656921.3248 | 1187334.2699
41 | 2656965.7131 | 1187389.332 | 2656972.9197 | 1187413.926
42 | 2656965.7131 | 1187389.332 | 2656959.088 | 1187390.4363 | 2656954.8147 | 1187389.7175 | 2656954.8147 | 1187389.7175
43 | 2656965.7131 | 1187389.332 | 2657235.5628 | 1187292.1071
44 | 2656972.9197 | 1187413.926 | 2656974.2147 | 1187418.3457
45 | 2656935.1388 | 1187373.6437 | 2656935.1388 | 1187373.6437 | 2656954.8147 | 1187389.7175
46 | 2657320.6497 | 1187168.9561 | 2657235.5628 | 1187292.1071
47 | 2656930.3645 | 1187363.8108 | 2656928.7559 | 1187360.4979 | 2656921.3248 | 1187334.2699
48 | 2656979.4971 | 1187436.3732 | 2656974.2147 | 1187418.3457
49 | 2656930.3645 | 1187363.8108 | 2656935.1388 | 1187373.6437
50 | 2657320.6497 | 1187168.9561 | 2657420.1292 | 1187217.1611
51 | 2656979.4971 | 1187436.3732 | 2656982.0605 | 1187445.1211
52 | 2656984.5179 | 1187453.5079 | 2656982.0605 | 1187445.1211
53 | 2656808.9524 | 1187207.5637 | 2656806.7274 | 1187207.2646 | 2656804.9753 | 1187206.9812 | 2656803.6313 | 1187206.3014 | 2656797.2921 | 1187200.7419

## bus_geodata
| x | y | coords
0 | 2656843.764 | 1187134.3562
1 | 2656838.8847 | 1187116.4006
2 | 2656847.1386 | 1187146.339
3 | 2656833.5709 | 1187096.8459
4 | 2656862.8198 | 1187176.9568
5 | 2656837.153 | 1187049.8201
6 | 2656778.7614 | 1187152.113
7 | 2656865.4964 | 1187181.1559
8 | 2656929.0141 | 1187102.9776
9 | 2656861.5541 | 1187149.3576
10 | 2656784.231 | 1187178.8807
11 | 2656890.2022 | 1187219.9142
12 | 2656922.6155 | 1187151.7554
13 | 2656879.5214 | 1187157.9774
14 | 2656766.9544 | 1187194.3805
15 | 2656773.533 | 1187189.2117
16 | 2656757.7033 | 1187220.9102
17 | 2656784.7729 | 1187180.3414
18 | 2656727.2209 | 1187220.3734
19 | 2656738.6734 | 1187228.7987
20 | 2656755.1113 | 1187238.8648
21 | 2656723.6641 | 1187252.56
22 | 2656763.7087 | 1187244.1296
23 | 2656720.9011 | 1187256.934
24 | 2656836.4918 | 1187289.0772
25 | 2656719.8238 | 1187258.6397
26 | 2656710.3267 | 1187273.6745
27 | 2656707.5367 | 1187278.0913
28 | 2656717.1228 | 1187262.9155
29 | 2656706.4759 | 1187279.7708
30 | 2656703.7068 | 1187284.1545
31 | 2656842.1989 | 1187296.34
32 | 2656898.4849 | 1187232.9081
33 | 2656901.5871 | 1187237.7749
34 | 2656916.7596 | 1187261.5775
35 | 2656923.0974 | 1187271.5201
36 | 2656942.68 | 1187311.5026
37 | 2656920.9918 | 1187319.8428
38 | 2656920.9803 | 1187333.0541
39 | 2656965.7131 | 1187389.332
40 | 2656972.9197 | 1187413.926
41 | 2656954.8147 | 1187389.7175
42 | 2657235.5628 | 1187292.1071
43 | 2656921.3248 | 1187334.2699
44 | 2656974.2147 | 1187418.3457
45 | 2656935.1388 | 1187373.6437
46 | 2657320.6497 | 1187168.9561
47 | 2657420.1292 | 1187217.1611
48 | 2656930.3645 | 1187363.8108
49 | 2656979.4971 | 1187436.3732
50 | 2656982.0605 | 1187445.1211
51 | 2656984.5179 | 1187453.5079
52 | 2656896.7288 | 1187168.4411
53 | 2656797.2921 | 1187200.7419
54 | 2656808.9524 | 1187207.5637
55 | 2656920.9918 | 1187319.8428

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98651 | -0.093587 | 0.0015461 | 0.0003875
1 | 0.98493 | -0.10468 | 0.0012214 | 0.00030612
2 | 0.9876 | -0.085983 | 0.00086785 | 0.0002175
3 | 0.98325 | -0.11655 | 0 | 0
4 | 0.99064 | -0.064694 | 0.0013855 | 0.00034725
5 | 0.98258 | -0.12134 | 0 | 0
6 | 0.97649 | -0.16453 | 0 | 0
7 | 0.99087 | -0.063128 | 0.00083916 | 0.00021031
8 | 0.98211 | -0.12469 | 0 | 0
9 | 0.98162 | -0.12814 | 0.0034783 | 0.00087174
10 | 0.97447 | -0.17897 | 0.0041858 | 0.0010491
11 | 0.99297 | -0.048512 | 0.0037408 | 0.00093752
12 | 0.98193 | -0.12597 | 0.002437 | 0.00061076
13 | 0.98156 | -0.12862 | 0.0010358 | 0.00025959
14 | 0.97326 | -0.18765 | 0 | 0
15 | 0.97361 | -0.18515 | 0.0078129 | 0.0019581
16 | 0.97186 | -0.1977 | 0.0050753 | 0.001272
17 | 0.97437 | -0.17969 | 0 | 0
18 | 0.97111 | -0.20308 | 0.0019085 | 0.00047833
19 | 0.97115 | -0.2028 | 0 | 0
20 | 0.97082 | -0.20523 | 0.0032763 | 0.00082111
21 | 0.97076 | -0.20562 | 0.0011313 | 0.00028353
22 | 0.97069 | -0.20615 | 0.0035169 | 0.00088142
23 | 0.9707 | -0.20607 | 0.0011107 | 0.00027836
24 | 0.97004 | -0.2108 | 0.0040235 | 0.0010084
25 | 0.97068 | -0.20623 | 0.0011896 | 0.00029814
26 | 0.97054 | -0.20721 | 0.0013045 | 0.00032694
27 | 0.97051 | -0.20741 | 0.001061 | 0.00026591
28 | 0.97063 | -0.20655 | 0.0011759 | 0.0002947
29 | 0.97051 | -0.20746 | 0.0012985 | 0.00032544
30 | 0.9705 | -0.20753 | 0.0012052 | 0.00030206
31 | 0.97003 | -0.21091 | 0.0010834 | 0.00027154
32 | 0.99372 | -0.043334 | 0.0016903 | 0.00042363
33 | 0.99401 | -0.041347 | 0.0031341 | 0.00078548
34 | 0.99547 | -0.0312 | 0.0022838 | 0.00057238
35 | 0.9961 | -0.026835 | 0.0053529 | 0.0013416
36 | 0.99867 | -0.009167 | 0 | 0
37 | 1 | 0 | -0.20892 | -0.05243
38 | 0.99869 | -0.0091713 | 0.021044 | 0.0052741
39 | 0.99303 | -0.048858 | 0 | 0
40 | 0.9924 | -0.053348 | 0.0031899 | 0.00079947
41 | 0.99339 | -0.046322 | 0.0037005 | 0.00092743
42 | 0.99083 | -0.064502 | 0.002042 | 0.00051178
43 | 0.99859 | -0.0098424 | 0.024434 | 0.0061236
44 | 0.9923 | -0.054006 | 0.0016031 | 0.00040177
45 | 0.99436 | -0.039547 | 0.012699 | 0.0031827
46 | 0.99012 | -0.069549 | 0.00069424 | 0.00017399
47 | 0.98971 | -0.072484 | 0.002602 | 0.00065211
48 | 0.99497 | -0.035237 | 0.042606 | 0.010678
49 | 0.99197 | -0.056387 | 0.0048166 | 0.0012072
50 | 0.99187 | -0.057097 | 0.0041788 | 0.0010473
51 | 0.99182 | -0.057408 | 0.0035027 | 0.00087786
52 | 0.98152 | -0.12889 | 0.0012838 | 0.00032175
53 | 0.97407 | -0.18179 | 0.0059048 | 0.0014799
54 | 0.97403 | -0.18212 | 0.00225 | 0.0005639
55 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.058708 | 0.014801 | -0.058617 | -0.014767 | 9.1111e-05 | 3.4805e-05 | 0.088584 | 0.088585 | 0.088585 | 0.98651 | -0.093587 | 0.98493 | -0.10468 | 32.8091
1 | -0.060254 | -0.015189 | 0.060319 | 0.015214 | 6.4239e-05 | 2.4548e-05 | 0.090917 | 0.090917 | 0.090917 | 0.98651 | -0.093587 | 0.9876 | -0.085983 | 33.6728
2 | 0.057396 | 0.014461 | -0.0573 | -0.014424 | 9.5135e-05 | 3.6333e-05 | 0.086739 | 0.086739 | 0.086739 | 0.98493 | -0.10468 | 0.98325 | -0.11655 | 32.1257
3 | -0.061186 | -0.015431 | 0.06137 | 0.015501 | 0.00018317 | 7.0005e-05 | 0.092224 | 0.092224 | 0.092224 | 0.9876 | -0.085983 | 0.99064 | -0.064694 | 34.1571
4 | 0.0082475 | 0.0020638 | -0.0082421 | -0.0020624 | 5.4507e-06 | 1.3856e-06 | 0.01248 | 0.012481 | 0.012481 | 0.98325 | -0.11655 | 0.98258 | -0.12134 | 4.6225
5 | 0.049053 | 0.01236 | -0.048726 | -0.012236 | 0.00032713 | 0.00012462 | 0.074259 | 0.074259 | 0.074259 | 0.98325 | -0.11655 | 0.97649 | -0.16453 | 27.5035
6 | -0.062755 | -0.015848 | 0.062769 | 0.015853 | 1.3817e-05 | 5.186e-06 | 0.094305 | 0.094305 | 0.094305 | 0.99064 | -0.064694 | 0.99087 | -0.063128 | 17.4639
7 | 0.0024385 | 0.00060905 | -0.0024374 | -0.00061029 | 1.1271e-06 | -1.2436e-06 | 0.0036922 | 0.0036928 | 0.0036928 | 0.98258 | -0.12134 | 0.98211 | -0.12469 | 1.3677
8 | 0.0058035 | 0.0014533 | -0.0057981 | -0.0014527 | 5.4553e-06 | 6.6598e-07 | 0.0087885 | 0.008789 | 0.008789 | 0.98258 | -0.12134 | 0.98162 | -0.12814 | 3.2552
9 | 0.048726 | 0.012236 | -0.048628 | -0.012199 | 9.7586e-05 | 3.7179e-05 | 0.074259 | 0.07426 | 0.07426 | 0.97649 | -0.16453 | 0.97447 | -0.17897 | 27.5035
10 | -0.063608 | -0.016064 | 0.063739 | 0.016113 | 0.00013097 | 4.9185e-05 | 0.095565 | 0.095565 | 0.095565 | 0.99087 | -0.063128 | 0.99297 | -0.048512 | 17.6973
11 | 0.0024374 | 0.00061029 | -0.002437 | -0.00061076 | 4.3017e-07 | -4.741e-07 | 0.0036928 | 0.003693 | 0.003693 | 0.98211 | -0.12469 | 0.98193 | -0.12597 | 1.3678
12 | 0.0023198 | 0.00058091 | -0.0023196 | -0.00058111 | 1.5407e-07 | -1.9315e-07 | 0.0035163 | 0.0035164 | 0.0035164 | 0.98162 | -0.12814 | 0.98156 | -0.12862 | 1.3024
13 | 0.044442 | 0.01115 | -0.044438 | -0.011148 | 4.4779e-06 | 1.7029e-06 | 0.067868 | 0.067868 | 0.067868 | 0.97447 | -0.17897 | 0.97437 | -0.17969 | 25.1363
14 | -0.06748 | -0.01705 | 0.067529 | 0.017069 | 4.9209e-05 | 1.8528e-05 | 0.10117 | 0.10117 | 0.10117 | 0.99297 | -0.048512 | 0.99372 | -0.043334 | 18.7353
15 | 0.0012838 | 0.00032151 | -0.0012838 | -0.00032175 | 4.8176e-08 | -2.3909e-07 | 0.0019462 | 0.0019463 | 0.0019463 | 0.98156 | -0.12862 | 0.98152 | -0.12889 | 0.72085
16 | -0.02843 | -0.0071315 | 0.02844 | 0.0071352 | 9.8649e-06 | 3.6902e-06 | 0.04347 | 0.04347 | 0.04347 | 0.97326 | -0.18765 | 0.97361 | -0.18515 | 16.0999
17 | 0.02843 | 0.0071315 | -0.028391 | -0.0071167 | 3.9588e-05 | 1.481e-05 | 0.04347 | 0.04347 | 0.04347 | 0.97326 | -0.18765 | 0.97186 | -0.1977 | 16.0999
18 | -0.036253 | -0.0090933 | 0.036281 | 0.0091037 | 2.7432e-05 | 1.0373e-05 | 0.05541 | 0.05541 | 0.05541 | 0.97361 | -0.18515 | 0.97437 | -0.17969 | 20.5224
19 | 0.023316 | 0.0058447 | -0.023299 | -0.0058386 | 1.6434e-05 | 6.0647e-06 | 0.035699 | 0.035699 | 0.035699 | 0.97186 | -0.1977 | 0.97115 | -0.2028 | 13.2219
20 | 0.0081573 | 0.0020443 | -0.0081549 | -0.0020437 | 2.3666e-06 | 6.0592e-07 | 0.012457 | 0.012458 | 0.012458 | 0.97437 | -0.17969 | 0.97407 | -0.18179 | 4.6139
21 | -0.0019085 | -0.00047833 | 0.0019086 | 0.00047818 | 7.5904e-08 | -1.4679e-07 | 0.0029244 | 0.0029244 | 0.0029244 | 0.97111 | -0.20308 | 0.97115 | -0.2028 | 1.0831
22 | 0.011909 | 0.0029842 | -0.011905 | -0.0029829 | 4.0044e-06 | 1.3017e-06 | 0.018246 | 0.018246 | 0.018246 | 0.97115 | -0.2028 | 0.97082 | -0.20523 | 6.7579
23 | 0.0094819 | 0.0023763 | -0.0094782 | -0.0023752 | 3.7017e-06 | 1.0761e-06 | 0.014528 | 0.014528 | 0.014528 | 0.97115 | -0.2028 | 0.97076 | -0.20562 | 5.3809
24 | 0.0086283 | 0.0021617 | -0.0086272 | -0.0021614 | 1.1002e-06 | 2.9852e-07 | 0.013225 | 0.013225 | 0.013225 | 0.97082 | -0.20523 | 0.97069 | -0.20615 | 4.8981
25 | 0.0083469 | 0.0020917 | -0.0083464 | -0.0020915 | 5.2847e-07 | 1.393e-07 | 0.012794 | 0.012794 | 0.012794 | 0.97076 | -0.20562 | 0.9707 | -0.20607 | 4.7387
26 | 0.0051103 | 0.00128 | -0.005107 | -0.0012798 | 3.2902e-06 | 2.0405e-07 | 0.0078335 | 0.0078339 | 0.0078339 | 0.97069 | -0.20615 | 0.97004 | -0.2108 | 2.9014
27 | 0.0072357 | 0.0018132 | -0.0072356 | -0.0018131 | 1.5487e-07 | 3.4629e-08 | 0.011092 | 0.011092 | 0.011092 | 0.9707 | -0.20607 | 0.97068 | -0.20623 | 4.1081
28 | 0.0010835 | 0.00027143 | -0.0010834 | -0.00027154 | 1.592e-08 | -1.079e-07 | 0.0016619 | 0.001662 | 0.001662 | 0.97004 | -0.2108 | 0.97003 | -0.21091 | 0.61555
29 | 0.006046 | 0.001515 | -0.0060457 | -0.001515 | 2.7109e-07 | 4.1751e-08 | 0.0092682 | 0.0092682 | 0.0092682 | 0.97068 | -0.20623 | 0.97063 | -0.20655 | 3.4327
30 | 0.0035649 | 0.00089331 | -0.0035648 | -0.00089334 | 9.7382e-08 | -2.7103e-08 | 0.0054656 | 0.0054656 | 0.0054656 | 0.97054 | -0.20721 | 0.97051 | -0.20741 | 2.0243
31 | -0.0048694 | -0.0012203 | 0.0048698 | 0.0012203 | 4.4258e-07 | 1.2949e-08 | 0.0074656 | 0.0074656 | 0.0074656 | 0.97054 | -0.20721 | 0.97063 | -0.20655 | 2.765
32 | 0.0025038 | 0.00062742 | -0.0025038 | -0.00062744 | 1.8266e-08 | -1.752e-08 | 0.0038388 | 0.0038388 | 0.0038388 | 0.97051 | -0.20741 | 0.97051 | -0.20746 | 1.4218
33 | 0.0012052 | 0.000302 | -0.0012052 | -0.00030206 | 1.1049e-08 | -5.9822e-08 | 0.0018479 | 0.0018479 | 0.0018479 | 0.97051 | -0.20746 | 0.9705 | -0.20753 | 0.68441
34 | -0.069219 | -0.017493 | 0.069239 | 0.0175 | 1.9365e-05 | 7.2983e-06 | 0.1037 | 0.1037 | 0.1037 | 0.99372 | -0.043334 | 0.99401 | -0.041347 | 19.204
35 | -0.072373 | -0.018285 | 0.072476 | 0.018325 | 0.00010347 | 3.9064e-05 | 0.10839 | 0.10839 | 0.10839 | 0.99401 | -0.041347 | 0.99547 | -0.0312 | 20.0728
36 | -0.07476 | -0.018897 | 0.074806 | 0.018914 | 4.5987e-05 | 1.738e-05 | 0.11181 | 0.11181 | 0.11181 | 0.99547 | -0.0312 | 0.9961 | -0.026835 | 20.705
37 | -0.080159 | -0.020256 | 0.080359 | 0.020332 | 0.00019984 | 7.5697e-05 | 0.1198 | 0.1198 | 0.1198 | 0.9961 | -0.026835 | 0.99867 | -0.009167 | 22.1857
38 | -0.080359 | -0.020332 | 0.080463 | 0.020371 | 0.00010408 | 3.9423e-05 | 0.1198 | 0.1198 | 0.1198 | 0.99867 | -0.009167 | 1 | 0 | 22.1857
39 | 0.12766 | 0.032059 | -0.1275 | -0.031997 | 0.00016252 | 6.2131e-05 | 0.18998 | 0.18998 | 0.18998 | 1 | 0 | 0.99869 | -0.0091713 | 35.1823
40 | 0.10645 | 0.026723 | -0.10644 | -0.026719 | 9.9213e-06 | 3.7828e-06 | 0.15863 | 0.15863 | 0.15863 | 0.99869 | -0.0091713 | 0.99859 | -0.0098424 | 29.3759
41 | 0.017308 | 0.0043393 | -0.017298 | -0.0043355 | 1.0758e-05 | 3.8062e-06 | 0.025936 | 0.025936 | 0.025936 | 0.99303 | -0.048858 | 0.9924 | -0.053348 | 9.606
42 | -0.022661 | -0.0056758 | 0.022669 | 0.0056788 | 7.95e-06 | 2.9147e-06 | 0.033956 | 0.033956 | 0.033956 | 0.99303 | -0.048858 | 0.99339 | -0.046322 | 12.5762
43 | 0.0053531 | 0.0013366 | -0.0053416 | -0.0013358 | 1.1513e-05 | 7.2547e-07 | 0.0080196 | 0.0080209 | 0.0080209 | 0.99303 | -0.048858 | 0.99083 | -0.064502 | 2.9707
44 | 0.014108 | 0.003536 | -0.014106 | -0.0035356 | 1.2859e-06 | 4.3509e-07 | 0.021153 | 0.021153 | 0.021153 | 0.9924 | -0.053348 | 0.9923 | -0.054006 | 7.8345
45 | -0.02637 | -0.0066062 | 0.026395 | 0.0066154 | 2.4734e-05 | 9.1839e-06 | 0.039499 | 0.039499 | 0.039499 | 0.99339 | -0.046322 | 0.99436 | -0.039547 | 14.6291
46 | 0.0032995 | 0.00082405 | -0.0032973 | -0.00082509 | 2.2928e-06 | -1.0447e-06 | 0.0049542 | 0.0049549 | 0.0049549 | 0.99083 | -0.064502 | 0.99012 | -0.069549 | 1.8351
47 | 0.082011 | 0.020595 | -0.081723 | -0.020485 | 0.00028843 | 0.00011053 | 0.12222 | 0.12222 | 0.12222 | 0.99859 | -0.0098424 | 0.99497 | -0.035237 | 45.267
48 | 0.012503 | 0.0031338 | -0.012499 | -0.0031325 | 4.1208e-06 | 1.3423e-06 | 0.018749 | 0.018749 | 0.018749 | 0.9923 | -0.054006 | 0.99197 | -0.056387 | 6.9442
49 | -0.039094 | -0.0097981 | 0.039117 | 0.0098069 | 2.3344e-05 | 8.8367e-06 | 0.058503 | 0.058503 | 0.058503 | 0.99436 | -0.039547 | 0.99497 | -0.035237 | 21.6676
50 | 0.002603 | 0.0006511 | -0.002602 | -0.00065211 | 1.0555e-06 | -1.0152e-06 | 0.0039115 | 0.003912 | 0.003912 | 0.99012 | -0.069549 | 0.98971 | -0.072484 | 1.4489
51 | 0.0076825 | 0.0019253 | -0.0076817 | -0.0019251 | 7.5543e-07 | 1.7288e-07 | 0.011524 | 0.011524 | 0.011524 | 0.99197 | -0.056387 | 0.99187 | -0.057097 | 4.2682
52 | 0.0035029 | 0.00087781 | -0.0035027 | -0.00087786 | 1.506e-07 | -5.487e-08 | 0.005255 | 0.0052551 | 0.0052551 | 0.99187 | -0.057097 | 0.99182 | -0.057408 | 1.9463
53 | 0.0022501 | 0.00056377 | -0.00225 | -0.0005639 | 1.029e-07 | -1.3416e-07 | 0.0034372 | 0.0034373 | 0.0034373 | 0.97407 | -0.18179 | 0.97403 | -0.18212 | 1.2731

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.22472 | 0.056389

## res_load
| p_mw | q_mvar
0 | 0.0015461 | 0.0003875
1 | 0.0012214 | 0.00030612
2 | 0.00086785 | 0.0002175
3 | 0.0013855 | 0.00034725
4 | 0.00083916 | 0.00021031
5 | 0.0034783 | 0.00087174
6 | 0.0041858 | 0.0010491
7 | 0.0037408 | 0.00093752
8 | 0.002437 | 0.00061076
9 | 0.0010358 | 0.00025959
10 | 0.0078129 | 0.0019581
11 | 0.0050753 | 0.001272
12 | 0.0019085 | 0.00047833
13 | 0.0032763 | 0.00082111
14 | 0.0011313 | 0.00028353
15 | 0.0035169 | 0.00088142
16 | 0.0011107 | 0.00027836
17 | 0.0040235 | 0.0010084
18 | 0.0011896 | 0.00029814
19 | 0.0013045 | 0.00032694
20 | 0.001061 | 0.00026591
21 | 0.0011759 | 0.0002947
22 | 0.0012985 | 0.00032544
23 | 0.0012052 | 0.00030206
24 | 0.0010834 | 0.00027154
25 | 0.0016903 | 0.00042363
26 | 0.0031341 | 0.00078548
27 | 0.0022838 | 0.00057238
28 | 0.0053529 | 0.0013416
29 | 0.015798 | 0.0039593
30 | 0.021044 | 0.0052741
31 | 0.0031899 | 0.00079947
32 | 0.0037005 | 0.00092743
33 | 0.002042 | 0.00051178
34 | 0.024434 | 0.0061236
35 | 0.0016031 | 0.00040177
36 | 0.012699 | 0.0031827
37 | 0.00069424 | 0.00017399
38 | 0.002602 | 0.00065211
39 | 0.042606 | 0.010678
40 | 0.0048166 | 0.0012072
41 | 0.0041788 | 0.0010473
42 | 0.0035027 | 0.00087786
43 | 0.0012838 | 0.00032175
44 | 0.0059048 | 0.0014799
45 | 0.00225 | 0.0005639

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1