## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1403-4_1_3_node_148 | 0.4 | n |  | TRUE
1 | bus_LV_1403-4_1_3_node_100 | 0.4 | n |  | TRUE
2 | bus_LV_1403-4_1_3_node_149 | 0.4 | n |  | TRUE
3 | bus_LV_1403-4_1_3_node_150 | 0.4 | n |  | TRUE
4 | bus_LV_1403-4_1_3_node_32 | 0.4 | n |  | TRUE
5 | bus_LV_1403-4_1_3_node_88 | 0.4 | n |  | TRUE
6 | bus_LV_1403-4_1_3_node_85 | 0.4 | n |  | TRUE
7 | bus_LV_1403-4_1_3_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_1403-4_1_3_node_92 | 0.4 | n |  | TRUE
9 | bus_LV_1403-4_1_3_node_89 | 0.4 | n |  | TRUE
10 | bus_LV_1403-4_1_3_node_84 | 0.4 | n |  | TRUE
11 | bus_LV_1403-4_1_3_node_86 | 0.4 | n |  | TRUE
12 | bus_LV_1403-4_1_3_node_87 | 0.4 | n |  | TRUE
13 | bus_LV_1403-4_1_3_node_101 | 0.4 | n |  | TRUE
14 | bus_LV_1403-4_1_3_node_90 | 0.4 | n |  | TRUE
15 | bus_LV_1403-4_1_3_node_91 | 0.4 | n |  | TRUE
16 | bus_LV_1403-4_1_3_node_93 | 0.4 | n |  | TRUE
17 | bus_LV_1403-4_1_3_node_98 | 0.4 | n |  | TRUE
18 | bus_LV_1403-4_1_3_node_94 | 0.4 | n |  | TRUE
19 | bus_LV_1403-4_1_3_node_95 | 0.4 | n |  | TRUE
20 | bus_LV_1403-4_1_3_node_97 | 0.4 | n |  | TRUE
21 | bus_LV_1403-4_1_3_node_96 | 0.4 | n |  | TRUE
22 | bus_LV_1403-4_1_3_node_99 | 0.4 | n |  | TRUE
23 | bus_LV_1403-4_1_3_node_103 | 0.4 | n |  | TRUE
24 | bus_LV_1403-4_1_3_node_102 | 0.4 | n |  | TRUE
25 | bus_LV_1403-4_1_3_node_104 | 0.4 | n |  | TRUE
26 | bus_LV_1403-4_1_3_node_108 | 0.4 | n |  | TRUE
27 | bus_LV_1403-4_1_3_node_112 | 0.4 | n |  | TRUE
28 | bus_LV_1403-4_1_3_node_105 | 0.4 | n |  | TRUE
29 | bus_LV_1403-4_1_3_node_106 | 0.4 | n |  | TRUE
30 | bus_LV_1403-4_1_3_node_107 | 0.4 | n |  | TRUE
31 | bus_LV_1403-4_1_3_node_111 | 0.4 | n |  | TRUE
32 | bus_LV_1403-4_1_3_node_109 | 0.4 | n |  | TRUE
33 | bus_LV_1403-4_1_3_node_110 | 0.4 | n |  | TRUE
34 | bus_LV_1403-4_1_3_node_113 | 0.4 | n |  | TRUE
35 | bus_MV_138_0_node_259 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1403-4_1_3_load_148 | 0 | 0.0035497 | 0.00088965 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1403-4_1_3_load_149 | 2 | 0.0043184 | 0.0010823 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1403-4_1_3_load_150 | 3 | 0.0079249 | 0.0019862 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1403-4_1_3_load_88 | 5 | 0.0095722 | 0.002399 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1403-4_1_3_load_85 | 6 | 0.0057077 | 0.0014305 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1403-4_1_3_load_92 | 8 | 0.0066375 | 0.0016635 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1403-4_1_3_load_89 | 9 | 0.00053343 | 0.00013369 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1403-4_1_3_load_84 | 10 | 0.0023299 | 0.00058393 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1403-4_1_3_load_86 | 11 | 0.0052306 | 0.0013109 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1403-4_1_3_load_87 | 12 | 0.0080891 | 0.0020273 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1403-4_1_3_load_101 | 13 | 0.0016572 | 0.00041534 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1403-4_1_3_load_90 | 14 | 0.00038214 | 9.5774e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1403-4_1_3_load_93 | 16 | 0.00087554 | 0.00021943 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1403-4_1_3_load_98 | 17 | 0.00091287 | 0.00022879 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1403-4_1_3_load_94 | 18 | 0.0027536 | 0.00069011 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1403-4_1_3_load_97 | 20 | 0.0078063 | 0.0019564 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1403-4_1_3_load_96 | 21 | 0.013982 | 0.0035043 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1403-4_1_3_load_99 | 22 | 0.0018397 | 0.00046106 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1403-4_1_3_load_102 | 24 | 0.0095116 | 0.0023838 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1403-4_1_3_load_112 | 27 | 0.0046872 | 0.0011747 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1403-4_1_3_load_105 | 28 | 0.00082139 | 0.00020586 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1403-4_1_3_load_106 | 29 | 0.00049172 | 0.00012324 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1403-4_1_3_load_107 | 30 | 0.00031205 | 7.8207e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1403-4_1_3_load_111 | 31 | 0.00055824 | 0.00013991 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1403-4_1_3_load_109 | 32 | 0.00019439 | 4.8719e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1403-4_1_3_load_110 | 33 | 0.000396 | 9.9248e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1403-4_1_3_load_113 | 34 | 0.0051677 | 0.0012951 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1403-4_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1403-4_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.00082639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1403-4_1_3_line_2 | NAYY 4x150 SE | 1 | 23 | 0.028833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1403-4_1_3_line_3 | NAYY 4x150 SE | 1 | 19 | 0.006931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1403-4_1_3_line_4 | NAYY 4x150 SE | 2 | 3 | 0.014373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1403-4_1_3_line_5 | NAYY 4x150 SE | 4 | 5 | 0.057538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1403-4_1_3_line_6 | NAYY 4x150 SE | 4 | 6 | 0.030694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1403-4_1_3_line_7 | NAYY 4x150 SE | 5 | 13 | 0.0058705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1403-4_1_3_line_8 | NAYY 4x150 SE | 6 | 10 | 0.012936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1403-4_1_3_line_9 | NAYY 4x150 SE | 7 | 8 | 0.016999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1403-4_1_3_line_10 | NAYY 4x150 SE | 7 | 9 | 0.0039269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1403-4_1_3_line_11 | NAYY 4x150 SE | 9 | 14 | 0.025462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1403-4_1_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.0015214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1403-4_1_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.012815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1403-4_1_3_line_14 | NAYY 4x150 SE | 13 | 24 | 0.017041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1403-4_1_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.024873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1403-4_1_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.021312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1403-4_1_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.01446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1403-4_1_3_line_18 | NAYY 4x150 SE | 17 | 22 | 0.016568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1403-4_1_3_line_19 | NAYY 4x150 SE | 17 | 21 | 0.028503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1403-4_1_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.041231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1403-4_1_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.012276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1403-4_1_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.021383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1403-4_1_3_line_23 | NAYY 4x150 SE | 23 | 25 | 0.067687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1403-4_1_3_line_24 | NAYY 4x150 SE | 23 | 24 | 0.0051363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1403-4_1_3_line_25 | NAYY 4x150 SE | 25 | 26 | 0.074043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1403-4_1_3_line_26 | NAYY 4x150 SE | 25 | 27 | 0.048087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1403-4_1_3_line_27 | NAYY 4x150 SE | 26 | 31 | 0.057293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1403-4_1_3_line_28 | NAYY 4x150 SE | 26 | 30 | 0.043289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1403-4_1_3_line_29 | NAYY 4x150 SE | 27 | 34 | 0.040998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1403-4_1_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.015356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1403-4_1_3_line_31 | NAYY 4x150 SE | 28 | 30 | 0.017534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1403-4_1_3_line_32 | NAYY 4x150 SE | 31 | 33 | 0.021611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1403-4_1_3_line_33 | NAYY 4x150 SE | 32 | 33 | 0.0088661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1403-4_1_3_trafo_100 | 0.25 MVA 20/0.4 kV | 35 | 1 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2656054.1547 | 1187945.4593 | 2656059.6083 | 1187961.5752
1 | 2656059.8732 | 1187962.358 | 2656059.6083 | 1187961.5752
2 | 2656054.1547 | 1187945.4593 | 2656026.4467 | 1187953.7047
3 | 2656054.1547 | 1187945.4593 | 2656060.7882 | 1187943.3868
4 | 2656064.4805 | 1187975.973 | 2656059.8732 | 1187962.358
5 | 2656042.7572 | 1187869.6878 | 2656031.7919 | 1187926.171
6 | 2656042.7572 | 1187869.6878 | 2656023.4495 | 1187866.3609 | 2656018.6514 | 1187869.5845 | 2656017.5775 | 1187874.7966
7 | 2656031.7919 | 1187926.171 | 2656030.6731 | 1187931.9339
8 | 2656014.9672 | 1187887.4664 | 2656017.5775 | 1187874.7966
9 | 2656116.4041 | 1187877.9262 | 2656112.4479 | 1187880.0347 | 2656108.3809 | 1187880.13 | 2656103.008 | 1187878.7456 | 2656100.6015 | 1187877.1281
10 | 2656116.4041 | 1187877.9262 | 2656118.7756 | 1187881.0561
11 | 2656118.7756 | 1187881.0561 | 2656122.8771 | 1187886.4694 | 2656136.994 | 1187898.6879
12 | 2656014.9672 | 1187887.4664 | 2656014.6602 | 1187888.9566
13 | 2656012.0743 | 1187901.5077 | 2656014.6602 | 1187888.9566
14 | 2656030.6731 | 1187931.9339 | 2656027.4255 | 1187948.6625
15 | 2656153.6383 | 1187917.1526 | 2656138.2388 | 1187899.7652 | 2656136.994 | 1187898.6879
16 | 2656153.6383 | 1187917.1526 | 2656133.3351 | 1187923.6315
17 | 2656120.1368 | 1187924.8987 | 2656122.7719 | 1187927.0023 | 2656133.3351 | 1187923.6315
18 | 2656120.1368 | 1187924.8987 | 2656125.6273 | 1187940.5302
19 | 2656120.1368 | 1187924.8987 | 2656092.9238 | 1187933.376
20 | 2656060.7882 | 1187943.3868 | 2656068.8992 | 1187902.9618
21 | 2656060.7882 | 1187943.3868 | 2656072.5086 | 1187939.7357
22 | 2656092.9238 | 1187933.376 | 2656072.5086 | 1187939.7357
23 | 2656026.4467 | 1187953.7047 | 2656013.2005 | 1188020.0738
24 | 2656026.4467 | 1187953.7047 | 2656027.4255 | 1187948.6625
25 | 2655997.9829 | 1188092.5279 | 2656013.2005 | 1188020.0738
26 | 2656013.2005 | 1188020.0738 | 2656006.0633 | 1188018.9175 | 2655990.3205 | 1188021.105 | 2655975.4984 | 1188022.7118 | 2655965.4456 | 1188022.54
27 | 2655997.9829 | 1188092.5279 | 2655985.2068 | 1188091.5524 | 2655967.1701 | 1188094.3187 | 2655957.2889 | 1188098.6511 | 2655949.1603 | 1188105.6458 | 2655945.9261 | 1188109.0819
28 | 2655997.9829 | 1188092.5279 | 2655989.9746 | 1188135.0694
29 | 2655965.4456 | 1188022.54 | 2655965.4456 | 1188022.54 | 2655960.0778 | 1188019.8106 | 2655957.3085 | 1188015.738 | 2655955.3246 | 1188010.8945 | 2655952.1285 | 1188000.2476 | 2655950.7162 | 1187996.2766 | 2655944.7412 | 1187988.9084
30 | 2655986.7308 | 1188152.3007 | 2655983.89 | 1188167.3917
31 | 2655986.7308 | 1188152.3007 | 2655989.9746 | 1188135.0694
32 | 2655931.1138 | 1188124.8188 | 2655945.9261 | 1188109.0819
33 | 2655925.037 | 1188131.2749 | 2655931.1138 | 1188124.8188

## bus_geodata
| x | y | coords
0 | 2656059.6083 | 1187961.5752
1 | 2656054.1547 | 1187945.4593
2 | 2656059.8732 | 1187962.358
3 | 2656064.4805 | 1187975.973
4 | 2656042.7572 | 1187869.6878
5 | 2656031.7919 | 1187926.171
6 | 2656017.5775 | 1187874.7966
7 | 2656116.4041 | 1187877.9262
8 | 2656100.6015 | 1187877.1281
9 | 2656118.7756 | 1187881.0561
10 | 2656014.9672 | 1187887.4664
11 | 2656014.6602 | 1187888.9566
12 | 2656012.0743 | 1187901.5077
13 | 2656030.6731 | 1187931.9339
14 | 2656136.994 | 1187898.6879
15 | 2656153.6383 | 1187917.1526
16 | 2656133.3351 | 1187923.6315
17 | 2656120.1368 | 1187924.8987
18 | 2656068.8992 | 1187902.9618
19 | 2656060.7882 | 1187943.3868
20 | 2656072.5086 | 1187939.7357
21 | 2656092.9238 | 1187933.376
22 | 2656125.6273 | 1187940.5302
23 | 2656026.4467 | 1187953.7047
24 | 2656027.4255 | 1187948.6625
25 | 2656013.2005 | 1188020.0738
26 | 2655997.9829 | 1188092.5279
27 | 2655965.4456 | 1188022.54
28 | 2655986.7308 | 1188152.3007
29 | 2655983.89 | 1188167.3917
30 | 2655989.9746 | 1188135.0694
31 | 2655945.9261 | 1188109.0819
32 | 2655925.037 | 1188131.2749
33 | 2655931.1138 | 1188124.8188
34 | 2655944.7412 | 1187988.9084
35 | 2656060.7882 | 1187943.3868

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99962 | -0.0026831 | 0.0035497 | 0.00088965
1 | 1 | 0 | -0.10737 | -0.026741
2 | 0.9996 | -0.0027842 | 0.0043184 | 0.0010823
3 | 0.99944 | -0.0039222 | 0.0079249 | 0.0019862
4 | 0.99461 | -0.037752 | 0 | 0
5 | 0.99637 | -0.025372 | 0.0095722 | 0.002399
6 | 0.99367 | -0.044373 | 0.0057077 | 0.0014305
7 | 0.99687 | -0.021926 | 0 | 0
8 | 0.99671 | -0.02306 | 0.0066375 | 0.0016635
9 | 0.99691 | -0.021664 | 0.00053343 | 0.00013369
10 | 0.99338 | -0.046421 | 0.0023299 | 0.00058393
11 | 0.99335 | -0.046626 | 0.0052306 | 0.0013109
12 | 0.9932 | -0.047674 | 0.0080891 | 0.0020273
13 | 0.99663 | -0.023546 | 0.0016572 | 0.00041534
14 | 0.99717 | -0.01983 | 0.00038214 | 9.5774e-05
15 | 0.99744 | -0.017944 | 0 | 0
16 | 0.99767 | -0.016328 | 0.00087554 | 0.00021943
17 | 0.99784 | -0.015105 | 0.00091287 | 0.00022879
18 | 0.99948 | -0.0036084 | 0.0027536 | 0.00069011
19 | 0.99965 | -0.0024735 | 0 | 0
20 | 0.99907 | -0.0065202 | 0.0078063 | 0.0019564
21 | 0.9983 | -0.011908 | 0.013982 | 0.0035043
22 | 0.9978 | -0.01541 | 0.0018397 | 0.00046106
23 | 0.99774 | -0.0158 | 0 | 0
24 | 0.99743 | -0.017969 | 0.0095116 | 0.0023838
25 | 0.99652 | -0.024404 | 0 | 0
26 | 0.99622 | -0.026483 | 0 | 0
27 | 0.99584 | -0.029173 | 0.0046872 | 0.0011747
28 | 0.99609 | -0.027425 | 0.00082139 | 0.00020586
29 | 0.99608 | -0.027501 | 0.00049172 | 0.00012324
30 | 0.99612 | -0.027193 | 0.00031205 | 7.8207e-05
31 | 0.99613 | -0.027148 | 0.00055824 | 0.00013991
32 | 0.99611 | -0.027294 | 0.00019439 | 4.8719e-05
33 | 0.99611 | -0.027277 | 0.000396 | 9.9248e-05
34 | 0.99554 | -0.031306 | 0.0051677 | 0.0012951
35 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.015794 | -0.0039585 | 0.0158 | 0.0039605 | 5.8686e-06 | 2.034e-06 | 0.023511 | 0.023511 | 0.023511 | 0.99962 | -0.0026831 | 1 | 0 | 8.7079
1 | 0.012245 | 0.0030688 | -0.012245 | -0.0030687 | 1.7132e-07 | 5.506e-08 | 0.018227 | 0.018227 | 0.018227 | 0.99962 | -0.0026831 | 0.9996 | -0.0027842 | 6.7508
2 | 0.05498 | 0.013806 | -0.054859 | -0.01376 | 0.00012045 | 4.5948e-05 | 0.08182 | 0.08182 | 0.08182 | 1 | 0 | 0.99774 | -0.0158 | 30.3038
3 | 0.035786 | 0.0089743 | -0.035774 | -0.0089697 | 1.2265e-05 | 4.6263e-06 | 0.053253 | 0.053253 | 0.053253 | 1 | 0 | 0.99965 | -0.0024735 | 19.7232
4 | 0.0079261 | 0.0019865 | -0.0079249 | -0.0019862 | 1.2486e-06 | 2.9185e-07 | 0.011799 | 0.011799 | 0.011799 | 0.9996 | -0.0027842 | 0.99944 | -0.0039222 | 4.37
5 | -0.021383 | -0.0053618 | 0.02142 | 0.0053751 | 3.6745e-05 | 1.3385e-05 | 0.031992 | 0.031991 | 0.031992 | 0.99461 | -0.037752 | 0.99637 | -0.025372 | 11.8487
6 | 0.021383 | 0.0053618 | -0.021363 | -0.0053546 | 1.9603e-05 | 7.1415e-06 | 0.031992 | 0.031992 | 0.031992 | 0.99461 | -0.037752 | 0.99367 | -0.044373 | 11.8488
7 | -0.030992 | -0.0077742 | 0.031 | 0.0077771 | 7.8483e-06 | 2.9421e-06 | 0.046287 | 0.046287 | 0.046287 | 0.99637 | -0.025372 | 0.99663 | -0.023546 | 17.1432
8 | 0.015656 | 0.0039241 | -0.015651 | -0.0039226 | 4.4368e-06 | 1.5389e-06 | 0.023444 | 0.023445 | 0.023445 | 0.99367 | -0.044373 | 0.99338 | -0.046421 | 8.6832
9 | 0.0066385 | 0.0016637 | -0.0066375 | -0.0016635 | 1.0416e-06 | 1.7902e-07 | 0.0099092 | 0.0099093 | 0.0099093 | 0.99687 | -0.021926 | 0.99671 | -0.02306 | 3.6701
10 | -0.0066385 | -0.0016637 | 0.0066388 | 0.0016637 | 2.4061e-07 | 4.1344e-08 | 0.0099092 | 0.0099092 | 0.0099092 | 0.99687 | -0.021926 | 0.99691 | -0.021664 | 3.6701
11 | -0.0071722 | -0.0017974 | 0.007174 | 0.0017978 | 1.8209e-06 | 3.6826e-07 | 0.010705 | 0.010705 | 0.010705 | 0.99691 | -0.021664 | 0.99717 | -0.01983 | 3.965
12 | 0.013321 | 0.0033387 | -0.013321 | -0.0033385 | 3.7802e-07 | 1.257e-07 | 0.019954 | 0.019954 | 0.019954 | 0.99338 | -0.046421 | 0.99335 | -0.046626 | 7.3905
13 | 0.0080903 | 0.0020276 | -0.0080891 | -0.0020273 | 1.1745e-06 | 2.8585e-07 | 0.012119 | 0.012119 | 0.012119 | 0.99335 | -0.046626 | 0.9932 | -0.047674 | 4.4886
14 | -0.032657 | -0.0081924 | 0.032682 | 0.0082019 | 2.5283e-05 | 9.5018e-06 | 0.048761 | 0.048761 | 0.048761 | 0.99663 | -0.023546 | 0.99743 | -0.017969 | 18.0596
15 | -0.0075562 | -0.0018936 | 0.0075581 | 0.001894 | 1.9732e-06 | 4.3438e-07 | 0.011276 | 0.011275 | 0.011276 | 0.99717 | -0.01983 | 0.99744 | -0.017944 | 4.1761
16 | -0.0075581 | -0.001894 | 0.0075598 | 0.0018944 | 1.6907e-06 | 3.7204e-07 | 0.011275 | 0.011275 | 0.011275 | 0.99744 | -0.017944 | 0.99767 | -0.016328 | 4.1761
17 | -0.0084354 | -0.0021138 | 0.0084368 | 0.0021142 | 1.4282e-06 | 3.6045e-07 | 0.012581 | 0.012581 | 0.012581 | 0.99767 | -0.016328 | 0.99784 | -0.015105 | 4.6597
18 | 0.0018397 | 0.00046087 | -0.0018397 | -0.00046106 | 7.781e-08 | -1.8648e-07 | 0.0027434 | 0.0027435 | 0.0027435 | 0.99784 | -0.015105 | 0.9978 | -0.01541 | 1.0161
19 | -0.011189 | -0.0028038 | 0.011194 | 0.0028054 | 4.9518e-06 | 1.532e-06 | 0.016686 | 0.016686 | 0.016686 | 0.99784 | -0.015105 | 0.9983 | -0.011908 | 6.1799
20 | -0.0027536 | -0.00069011 | 0.002754 | 0.00068973 | 4.3235e-07 | -3.7416e-07 | 0.0040995 | 0.0040993 | 0.0040995 | 0.99948 | -0.0036084 | 0.99965 | -0.0024735 | 1.5183
21 | 0.03302 | 0.0082799 | -0.033002 | -0.008273 | 1.8507e-05 | 6.9574e-06 | 0.049153 | 0.049153 | 0.049153 | 0.99965 | -0.0024735 | 0.99907 | -0.0065202 | 18.2049
22 | 0.025195 | 0.0063166 | -0.025176 | -0.0063096 | 1.879e-05 | 6.9472e-06 | 0.037527 | 0.037527 | 0.037527 | 0.99907 | -0.0065202 | 0.9983 | -0.011908 | 13.8988
23 | 0.012653 | 0.0031692 | -0.012638 | -0.0031643 | 1.5039e-05 | 4.9014e-06 | 0.01887 | 0.01887 | 0.01887 | 0.99774 | -0.0158 | 0.99652 | -0.024404 | 6.9889
24 | 0.042207 | 0.010591 | -0.042194 | -0.010586 | 1.2701e-05 | 4.818e-06 | 0.062951 | 0.062951 | 0.062951 | 0.99774 | -0.0158 | 0.99743 | -0.017969 | 23.3151
25 | 0.0027749 | 0.00069251 | -0.0027741 | -0.00069317 | 7.9293e-07 | -6.5938e-07 | 0.0041425 | 0.0041429 | 0.0041429 | 0.99652 | -0.024404 | 0.99622 | -0.026483 | 1.5344
26 | 0.0098629 | 0.0024718 | -0.0098564 | -0.0024699 | 6.5084e-06 | 1.8772e-06 | 0.014727 | 0.014728 | 0.014728 | 0.99652 | -0.024404 | 0.99584 | -0.029173 | 5.4547
27 | 0.0011488 | 0.00028678 | -0.0011487 | -0.00028748 | 1.0522e-07 | -7.0543e-07 | 0.0017155 | 0.0017157 | 0.0017157 | 0.99622 | -0.026483 | 0.99613 | -0.027148 | 0.63545
28 | 0.0016254 | 0.00040639 | -0.0016252 | -0.00040689 | 1.5918e-07 | -5.0236e-07 | 0.0024274 | 0.0024276 | 0.0024276 | 0.99622 | -0.026483 | 0.99612 | -0.027193 | 0.89911
29 | 0.0051692 | 0.0012952 | -0.0051677 | -0.0012951 | 1.5263e-06 | 5.3792e-08 | 0.0077239 | 0.0077241 | 0.0077241 | 0.99584 | -0.029173 | 0.99554 | -0.031306 | 2.8608
30 | 0.00049173 | 0.00012304 | -0.00049172 | -0.00012324 | 5.1701e-09 | -1.979e-07 | 0.0007345 | 0.00073457 | 0.00073457 | 0.99609 | -0.027425 | 0.99608 | -0.027501 | 0.27206
31 | -0.0013131 | -0.0003289 | 0.0013132 | 0.00032869 | 4.2096e-08 | -2.1205e-07 | 0.0019615 | 0.0019615 | 0.0019615 | 0.99609 | -0.027425 | 0.99612 | -0.027193 | 0.7265
32 | 0.00059041 | 0.00014757 | -0.0005904 | -0.00014785 | 1.0487e-08 | -2.773e-07 | 0.00088181 | 0.00088191 | 0.00088191 | 0.99613 | -0.027148 | 0.99611 | -0.027277 | 0.32663
33 | -0.00019439 | -4.8719e-05 | 0.00019439 | 4.8604e-05 | 4.6646e-10 | -1.1523e-07 | 0.00029039 | 0.00029035 | 0.00029039 | 0.99611 | -0.027294 | 0.99611 | -0.027277 | 0.10755

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.10737 | 0.026741

## res_load
| p_mw | q_mvar
0 | 0.0035497 | 0.00088965
1 | 0.0043184 | 0.0010823
2 | 0.0079249 | 0.0019862
3 | 0.0095722 | 0.002399
4 | 0.0057077 | 0.0014305
5 | 0.0066375 | 0.0016635
6 | 0.00053343 | 0.00013369
7 | 0.0023299 | 0.00058393
8 | 0.0052306 | 0.0013109
9 | 0.0080891 | 0.0020273
10 | 0.0016572 | 0.00041534
11 | 0.00038214 | 9.5774e-05
12 | 0.00087554 | 0.00021943
13 | 0.00091287 | 0.00022879
14 | 0.0027536 | 0.00069011
15 | 0.0078063 | 0.0019564
16 | 0.013982 | 0.0035043
17 | 0.0018397 | 0.00046106
18 | 0.0095116 | 0.0023838
19 | 0.0046872 | 0.0011747
20 | 0.00082139 | 0.00020586
21 | 0.00049172 | 0.00012324
22 | 0.00031205 | 7.8207e-05
23 | 0.00055824 | 0.00013991
24 | 0.00019439 | 4.8719e-05
25 | 0.000396 | 9.9248e-05
26 | 0.0051677 | 0.0012951

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1