## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1403-6_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1403-6_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1403-6_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1403-6_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1403-6_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1403-6_0_2_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_1403-6_0_2_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_1403-6_0_2_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_1403-6_0_2_node_40 | 0.4 | n |  | TRUE
9 | bus_LV_1403-6_0_2_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_1403-6_0_2_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_1403-6_0_2_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_1403-6_0_2_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1403-6_0_2_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1403-6_0_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1403-6_0_2_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1403-6_0_2_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1403-6_0_2_node_47 | 0.4 | n |  | TRUE
18 | bus_LV_1403-6_0_2_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1403-6_0_2_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1403-6_0_2_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1403-6_0_2_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1403-6_0_2_node_64 | 0.4 | n |  | TRUE
23 | bus_LV_1403-6_0_2_node_48 | 0.4 | n |  | TRUE
24 | bus_LV_1403-6_0_2_node_65 | 0.4 | n |  | TRUE
25 | bus_LV_1403-6_0_2_node_66 | 0.4 | n |  | TRUE
26 | bus_LV_1403-6_0_2_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_1403-6_0_2_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_1403-6_0_2_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_1403-6_0_2_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_1403-6_0_2_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_1403-6_0_2_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_1403-6_0_2_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1403-6_0_2_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_1403-6_0_2_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_1403-6_0_2_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_1403-6_0_2_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_1403-6_0_2_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_1403-6_0_2_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_1403-6_0_2_node_104 | 0.4 | n |  | TRUE
40 | bus_LV_1403-6_0_2_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_1403-6_0_2_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_1403-6_0_2_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_1403-6_0_2_node_105 | 0.4 | n |  | TRUE
44 | bus_LV_1403-6_0_2_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_1403-6_0_2_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_1403-6_0_2_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_1403-6_0_2_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_1403-6_0_2_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_1403-6_0_2_node_106 | 0.4 | n |  | TRUE
50 | bus_LV_1403-6_0_2_node_107 | 0.4 | n |  | TRUE
51 | bus_LV_1403-6_0_2_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_1403-6_0_2_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_1403-6_0_2_node_100 | 0.4 | n |  | TRUE
54 | bus_LV_1403-6_0_2_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_1403-6_0_2_node_50 | 0.4 | n |  | TRUE
56 | bus_MV_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1403-6_0_2_load_0 | 0 | 0.0017608 | 0.00044129 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1403-6_0_2_load_1 | 1 | 0.00015093 | 3.7828e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1403-6_0_2_load_2 | 2 | 0.002713 | 0.00067994 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1403-6_0_2_load_4 | 4 | 0.0013317 | 0.00033375 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1403-6_0_2_load_20 | 5 | 0.0011897 | 0.00029816 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1403-6_0_2_load_18 | 6 | 0.00032643 | 8.1811e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1403-6_0_2_load_14 | 7 | 0.0046632 | 0.0011687 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1403-6_0_2_load_40 | 8 | 0.00027113 | 6.7952e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1403-6_0_2_load_19 | 9 | 0.00048396 | 0.00012129 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1403-6_0_2_load_5 | 11 | 0.00040975 | 0.00010269 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1403-6_0_2_load_6 | 12 | 0.00041588 | 0.00010423 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1403-6_0_2_load_8 | 14 | 0.00021555 | 5.4022e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1403-6_0_2_load_47 | 17 | 0.00026994 | 6.7653e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1403-6_0_2_load_11 | 18 | 0.0045037 | 0.0011287 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1403-6_0_2_load_16 | 20 | 0.0021354 | 0.00053518 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1403-6_0_2_load_17 | 21 | 0.00069967 | 0.00017535 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1403-6_0_2_load_64 | 22 | 0.0015844 | 0.00039708 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1403-6_0_2_load_48 | 23 | 0.00074314 | 0.00018625 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1403-6_0_2_load_66 | 25 | 0.0040583 | 0.0010171 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1403-6_0_2_load_36 | 26 | 0.00045947 | 0.00011515 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1403-6_0_2_load_32 | 27 | 0.00018013 | 4.5145e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1403-6_0_2_load_39 | 28 | 0.00013354 | 3.3469e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1403-6_0_2_load_21 | 29 | 0.0025013 | 0.00062689 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1403-6_0_2_load_22 | 30 | 0.00087203 | 0.00021855 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1403-6_0_2_load_25 | 33 | 0.00058283 | 0.00014607 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1403-6_0_2_load_45 | 34 | 0.0019012 | 0.00047649 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1403-6_0_2_load_35 | 35 | 0.00058338 | 0.00014621 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1403-6_0_2_load_26 | 36 | 0.00031758 | 7.9592e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1403-6_0_2_load_104 | 39 | 0.00051696 | 0.00012956 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1403-6_0_2_load_34 | 42 | 0.00016298 | 4.0847e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1403-6_0_2_load_105 | 43 | 0.00041604 | 0.00010427 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1403-6_0_2_load_43 | 46 | 0.0010891 | 0.00027295 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1403-6_0_2_load_42 | 47 | 0.0014078 | 0.00035282 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1403-6_0_2_load_37 | 48 | 0.003303 | 0.00082782 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1403-6_0_2_load_107 | 50 | 0.00026617 | 6.6708e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1403-6_0_2_load_46 | 52 | 0.00034909 | 8.749e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1403-6_0_2_load_52 | 54 | 0.00026587 | 6.6634e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1403-6_0_2_load_50 | 55 | 0.00023169 | 5.8066e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1403-6_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.056099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1403-6_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.01117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1403-6_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.011854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1403-6_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.031402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1403-6_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.10857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1403-6_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.020231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1403-6_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.015319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1403-6_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.048735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1403-6_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.024634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1403-6_0_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.022346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1403-6_0_2_line_10 | NAYY 4x150 SE | 8 | 27 | 0.097479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1403-6_0_2_line_11 | NAYY 4x150 SE | 8 | 28 | 0.092664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1403-6_0_2_line_12 | NAYY 4x150 SE | 9 | 16 | 0.028318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1403-6_0_2_line_13 | NAYY 4x150 SE | 10 | 18 | 0.046148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1403-6_0_2_line_14 | NAYY 4x150 SE | 11 | 12 | 0.0088626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1403-6_0_2_line_15 | NAYY 4x150 SE | 11 | 13 | 0.07961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1403-6_0_2_line_16 | NAYY 4x150 SE | 12 | 14 | 0.019746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1403-6_0_2_line_17 | NAYY 4x150 SE | 13 | 15 | 0.076359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1403-6_0_2_line_18 | NAYY 4x150 SE | 13 | 16 | 0.035313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1403-6_0_2_line_19 | NAYY 4x150 SE | 15 | 17 | 0.054009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1403-6_0_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.019035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1403-6_0_2_line_21 | NAYY 4x150 SE | 19 | 20 | 0.082284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1403-6_0_2_line_22 | NAYY 4x150 SE | 19 | 21 | 0.0073894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1403-6_0_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.12269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1403-6_0_2_line_24 | NAYY 4x150 SE | 21 | 23 | 0.0066423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1403-6_0_2_line_25 | NAYY 4x150 SE | 22 | 24 | 0.11675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1403-6_0_2_line_26 | NAYY 4x150 SE | 23 | 26 | 0.0077342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1403-6_0_2_line_27 | NAYY 4x150 SE | 24 | 25 | 0.006682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1403-6_0_2_line_28 | NAYY 4x150 SE | 26 | 35 | 0.017205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1403-6_0_2_line_29 | NAYY 4x150 SE | 27 | 44 | 0.077126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1403-6_0_2_line_30 | NAYY 4x150 SE | 29 | 30 | 0.071008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1403-6_0_2_line_31 | NAYY 4x150 SE | 29 | 31 | 0.062739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1403-6_0_2_line_32 | NAYY 4x150 SE | 30 | 32 | 0.026027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1403-6_0_2_line_33 | NAYY 4x150 SE | 31 | 33 | 0.053173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1403-6_0_2_line_34 | NAYY 4x150 SE | 32 | 34 | 0.10662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1403-6_0_2_line_35 | NAYY 4x150 SE | 33 | 35 | 1.6615e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1403-6_0_2_line_36 | NAYY 4x150 SE | 36 | 37 | 0.050444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1403-6_0_2_line_37 | NAYY 4x150 SE | 36 | 38 | 0.031814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1403-6_0_2_line_38 | NAYY 4x150 SE | 36 | 39 | 0.09791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1403-6_0_2_line_39 | NAYY 4x150 SE | 37 | 40 | 0.047367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1403-6_0_2_line_40 | NAYY 4x150 SE | 38 | 41 | 0.032413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1403-6_0_2_line_41 | NAYY 4x150 SE | 39 | 42 | 0.008225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1403-6_0_2_line_42 | NAYY 4x150 SE | 40 | 48 | 0.044603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1403-6_0_2_line_43 | NAYY 4x150 SE | 41 | 47 | 0.020526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1403-6_0_2_line_44 | NAYY 4x150 SE | 42 | 43 | 0.093556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1403-6_0_2_line_45 | NAYY 4x150 SE | 42 | 44 | 0.070452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1403-6_0_2_line_46 | NAYY 4x150 SE | 43 | 49 | 0.011758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1403-6_0_2_line_47 | NAYY 4x150 SE | 45 | 46 | 0.017344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1403-6_0_2_line_48 | NAYY 4x150 SE | 45 | 47 | 0.0075168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1403-6_0_2_line_49 | NAYY 4x150 SE | 46 | 51 | 0.024807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1403-6_0_2_line_50 | NAYY 4x150 SE | 49 | 50 | 0.05382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1403-6_0_2_line_51 | NAYY 4x150 SE | 51 | 52 | 0.02693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1403-6_0_2_line_52 | NAYY 4x150 SE | 52 | 53 | 0.1013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1403-6_0_2_line_53 | NAYY 4x150 SE | 53 | 54 | 0.16521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1403-6_0_2_line_54 | NAYY 4x150 SE | 54 | 55 | 0.017534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1403-6_0_2_trafo_0 | 0.25 MVA 20/0.4 kV | 56 | 0 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2656024.6027 | 1186745.3679 | 2655970.5419 | 1186730.3827
1 | 2656024.6027 | 1186745.3679 | 2656035.3671 | 1186748.3517
2 | 2655960.0807 | 1186734.3219 | 2655964.4616 | 1186730.9276 | 2655966.5303 | 1186730.013 | 2655969.551 | 1186730.108 | 2655970.5419 | 1186730.3827
3 | 2656065.7422 | 1186756.2816 | 2656057.0483 | 1186754.3616 | 2656035.3671 | 1186748.3517
4 | 2655960.0807 | 1186734.3219 | 2655954.9535 | 1186722.8565 | 2655951.9415 | 1186717.7477 | 2655947.5756 | 1186712.1816 | 2655941.2801 | 1186705.7081 | 2655934.0534 | 1186700.0819 | 2655923.1128 | 1186693.4205 | 2655878.5858 | 1186666.5511
5 | 2655960.0807 | 1186734.3219 | 2655966.3058 | 1186752.4013 | 2655966.6977 | 1186753.4399
6 | 2656065.7422 | 1186756.2816 | 2656080.7011 | 1186759.5851
7 | 2655841.4103 | 1186636.738 | 2655841.4103 | 1186636.738 | 2655842.3113 | 1186639.9371 | 2655844.5684 | 1186643.3712 | 2655848.3651 | 1186646.9864 | 2655854.9616 | 1186652.2953 | 2655878.5858 | 1186666.5511
8 | 2655975.393 | 1186776.4879 | 2655966.6977 | 1186753.4399
9 | 2656102.5215 | 1186764.4039 | 2656080.7011 | 1186759.5851
10 | 2655841.4103 | 1186636.738 | 2655747.9398 | 1186664.4043
11 | 2655835.1122 | 1186551.6753 | 2655843.8901 | 1186554.0815 | 2655846.3113 | 1186558.74 | 2655847.1759 | 1186564.2067 | 2655841.4035 | 1186631.7352 | 2655841.4103 | 1186636.738
12 | 2655979.7464 | 1186804.2337 | 2655979.3562 | 1186791.2894 | 2655978.5996 | 1186786.5241 | 2655976.6182 | 1186779.7351 | 2655975.393 | 1186776.4879
13 | 2656102.5215 | 1186764.4039 | 2656103.4885 | 1186718.2664
14 | 2655896.1502 | 1186746.5551 | 2655890.0466 | 1186745.4079 | 2655887.4054 | 1186745.1677
15 | 2655945.265 | 1186796.1738 | 2655946.478 | 1186790.4819 | 2655946.5811 | 1186786.7919 | 2655945.5626 | 1186783.1026 | 2655937.683 | 1186766.5197 | 2655932.561 | 1186759.4013 | 2655929.5568 | 1186756.7273 | 2655923.8617 | 1186753.7725 | 2655917.3386 | 1186751.2547 | 2655905.2955 | 1186748.274 | 2655896.1502 | 1186746.5551
16 | 2655887.4054 | 1186745.1677 | 2655875.8818 | 1186744.1195 | 2655867.717 | 1186743.7074
17 | 2655945.265 | 1186796.1738 | 2655895.0671 | 1186783.0425 | 2655871.0072 | 1186777.5373
18 | 2655979.7464 | 1186804.2337 | 2655945.265 | 1186796.1738
19 | 2655871.0072 | 1186777.5373 | 2655871.6391 | 1186771.9623 | 2655870.0376 | 1186770.2352 | 2655843.1891 | 1186762.6697 | 2655835.3011 | 1186755.9479 | 2655831.4046 | 1186749.2073
20 | 2656103.8873 | 1186699.2356 | 2656103.4885 | 1186718.2664
21 | 2656103.8873 | 1186699.2356 | 2656115.9923 | 1186696.4252 | 2656125.4685 | 1186694.8575 | 2656137.3549 | 1186694.2018 | 2656148.4836 | 1186693.7947 | 2656167.7836 | 1186693.4643 | 2656185.9254 | 1186693.7678
22 | 2656103.8873 | 1186699.2356 | 2656103.9975 | 1186691.8471
23 | 2656185.9254 | 1186693.7678 | 2656277.0987 | 1186611.663
24 | 2656104.0966 | 1186685.2056 | 2656103.9975 | 1186691.8471
25 | 2656393.6934 | 1186610.6727 | 2656298.8117 | 1186609.68 | 2656282.4925 | 1186611.8836 | 2656277.0987 | 1186611.663
26 | 2656104.0966 | 1186685.2056 | 2656104.2119 | 1186677.4722
27 | 2656393.6934 | 1186610.6727 | 2656393.8351 | 1186603.9922
28 | 2656104.2119 | 1186677.4722 | 2656104.4685 | 1186660.269
29 | 2655731.3818 | 1186589.9432 | 2655737.8272 | 1186640.1979 | 2655738.9831 | 1186645.545 | 2655740.8272 | 1186651.5433 | 2655743.642 | 1186657.3616 | 2655747.9398 | 1186664.4043
30 | 2656107.1723 | 1186473.3527 | 2656106.1579 | 1186544.3534
31 | 2656105.2617 | 1186607.0857 | 2656106.1579 | 1186544.3534
32 | 2656107.5441 | 1186447.3286 | 2656107.1723 | 1186473.3527
33 | 2656105.2617 | 1186607.0857 | 2656104.4687 | 1186660.2524
34 | 2656107.5441 | 1186447.3286 | 2656014.8042 | 1186445.5045 | 2656000.6307 | 1186445.8834
35 | 2656104.4687 | 1186660.2524 | 2656104.4685 | 1186660.269
36 | 2655632.0514 | 1186753.2451 | 2655645.6633 | 1186753.2826 | 2655654.5086 | 1186753.8873 | 2655666.3528 | 1186755.2981 | 2655682.1277 | 1186758.1948
37 | 2655713.2031 | 1186765.0056 | 2655683.3161 | 1186758.413 | 2655682.1277 | 1186758.1948
38 | 2655682.1277 | 1186758.1948 | 2655706.5335 | 1186663.3755
39 | 2655590.2241 | 1186763.8073 | 2655599.6865 | 1186752.1886 | 2655632.0514 | 1186753.2451
40 | 2655713.2031 | 1186765.0056 | 2655711.4619 | 1186776.6626 | 2655710.1119 | 1186787.2671 | 2655708.9304 | 1186791.2472 | 2655706.182 | 1186796.3357
41 | 2655706.5335 | 1186663.3755 | 2655707.376 | 1186655.1938
42 | 2655590.2241 | 1186763.8073 | 2655597.7372 | 1186774.7721 | 2655601.8714 | 1186782.3147 | 2655604.5173 | 1186798.1147 | 2655604.3619 | 1186804.8028
43 | 2655706.182 | 1186796.3357 | 2655699.1903 | 1186795.7815 | 2655685.8217 | 1186797.7502
44 | 2655707.376 | 1186655.1938 | 2655615.5482 | 1186637.2936
45 | 2655731.3818 | 1186589.9432 | 2655727.9771 | 1186594.2139 | 2655726.7771 | 1186596.8931 | 2655725.3045 | 1186603.4387 | 2655724.2952 | 1186611.0446 | 2655722.8379 | 1186615.9561 | 2655720.6809 | 1186620.6275 | 2655715.0688 | 1186630.0584 | 2655711.3422 | 1186638.5841 | 2655709.2921 | 1186644.8908 | 2655707.691 | 1186652.1355 | 2655707.376 | 1186655.1938
46 | 2655615.5482 | 1186637.2936 | 2655615.314 | 1186625.5404
47 | 2655678.3851 | 1186798.8454 | 2655678.9164 | 1186816.1808
48 | 2655678.3851 | 1186798.8454 | 2655685.8217 | 1186797.7502
49 | 2655685.9679 | 1186839.2163 | 2655680.5617 | 1186830.639 | 2655679.6754 | 1186828.3072 | 2655679.2105 | 1186825.7793 | 2655678.9164 | 1186816.1808
50 | 2655615.314 | 1186625.5404 | 2655609.8873 | 1186628.1693 | 2655605.5608 | 1186629.0074 | 2655600.971 | 1186629.4317 | 2655595.3769 | 1186627.9012 | 2655589.5908 | 1186625.6908 | 2655585.9637 | 1186623.5114 | 2655583.0264 | 1186620.1823 | 2655580.486 | 1186617.6685 | 2655576.4508 | 1186615.8856 | 2655573.4199 | 1186615.246 | 2655570.5111 | 1186615.4192 | 2655566.4555 | 1186616.66
51 | 2655685.9679 | 1186839.2163 | 2655691.714 | 1186847.352 | 2655694.3397 | 1186852.168 | 2655698.3998 | 1186860.2769 | 2655699.302 | 1186862.5177
52 | 2655778.373 | 1186917.3083 | 2655772.1965 | 1186915.2608 | 2655752.6002 | 1186907.3518 | 2655722.5724 | 1186894.6431 | 2655717.2667 | 1186891.6699 | 2655713.9463 | 1186889.36 | 2655711.0055 | 1186886.431 | 2655708.3053 | 1186883.0596 | 2655705.7233 | 1186878.4663 | 2655699.302 | 1186862.5177
53 | 2655778.373 | 1186917.3083 | 2655830.9559 | 1187073.9303
54 | 2655830.9559 | 1187073.9303 | 2655846.0062 | 1187071.8138 | 2655848.3406 | 1187071.887

## bus_geodata
| x | y | coords
0 | 2656024.6027 | 1186745.3679
1 | 2655970.5419 | 1186730.3827
2 | 2656035.3671 | 1186748.3517
3 | 2655960.0807 | 1186734.3219
4 | 2656065.7422 | 1186756.2816
5 | 2655878.5858 | 1186666.5511
6 | 2655966.6977 | 1186753.4399
7 | 2656080.7011 | 1186759.5851
8 | 2655841.4103 | 1186636.738
9 | 2655975.393 | 1186776.4879
10 | 2656102.5215 | 1186764.4039
11 | 2655896.1502 | 1186746.5551
12 | 2655887.4054 | 1186745.1677
13 | 2655945.265 | 1186796.1738
14 | 2655867.717 | 1186743.7074
15 | 2655871.0072 | 1186777.5373
16 | 2655979.7464 | 1186804.2337
17 | 2655831.4046 | 1186749.2073
18 | 2656103.4885 | 1186718.2664
19 | 2656103.8873 | 1186699.2356
20 | 2656185.9254 | 1186693.7678
21 | 2656103.9975 | 1186691.8471
22 | 2656277.0987 | 1186611.663
23 | 2656104.0966 | 1186685.2056
24 | 2656393.6934 | 1186610.6727
25 | 2656393.8351 | 1186603.9922
26 | 2656104.2119 | 1186677.4722
27 | 2655747.9398 | 1186664.4043
28 | 2655835.1122 | 1186551.6753
29 | 2656106.1579 | 1186544.3534
30 | 2656107.1723 | 1186473.3527
31 | 2656105.2617 | 1186607.0857
32 | 2656107.5441 | 1186447.3286
33 | 2656104.4687 | 1186660.2524
34 | 2656000.6307 | 1186445.8834
35 | 2656104.4685 | 1186660.269
36 | 2655682.1277 | 1186758.1948
37 | 2655632.0514 | 1186753.2451
38 | 2655713.2031 | 1186765.0056
39 | 2655706.5335 | 1186663.3755
40 | 2655590.2241 | 1186763.8073
41 | 2655706.182 | 1186796.3357
42 | 2655707.376 | 1186655.1938
43 | 2655615.5482 | 1186637.2936
44 | 2655731.3818 | 1186589.9432
45 | 2655678.3851 | 1186798.8454
46 | 2655678.9164 | 1186816.1808
47 | 2655685.8217 | 1186797.7502
48 | 2655604.3619 | 1186804.8028
49 | 2655615.314 | 1186625.5404
50 | 2655566.4555 | 1186616.66
51 | 2655685.9679 | 1186839.2163
52 | 2655699.302 | 1186862.5177
53 | 2655778.373 | 1186917.3083
54 | 2655830.9559 | 1187073.9303
55 | 2655848.3406 | 1187071.887
56 | 2656024.6027 | 1186745.3679

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 1 | 0 | -0.042707 | -0.010496
1 | 0.99901 | -0.0070288 | 0.00015093 | 3.7828e-05
2 | 0.99953 | -0.0032806 | 0.002713 | 0.00067994
3 | 0.9988 | -0.0084975 | 0 | 0
4 | 0.99833 | -0.011666 | 0.0013317 | 0.00033375
5 | 0.99722 | -0.019622 | 0.0011897 | 0.00029816
6 | 0.99874 | -0.0089336 | 0.00032643 | 8.1811e-05
7 | 0.99778 | -0.015559 | 0.0046632 | 0.0011687
8 | 0.9966 | -0.02404 | 0.00027113 | 6.7952e-05
9 | 0.99867 | -0.0093836 | 0.00048396 | 0.00012129
10 | 0.99712 | -0.020199 | 0 | 0
11 | 0.99844 | -0.01107 | 0.00040975 | 0.00010269
12 | 0.99843 | -0.011127 | 0.00041588 | 0.00010423
13 | 0.99855 | -0.010235 | 0 | 0
14 | 0.99842 | -0.011169 | 0.00021555 | 5.4022e-05
15 | 0.99853 | -0.010449 | 0 | 0
16 | 0.99862 | -0.0097631 | 0 | 0
17 | 0.9985 | -0.010596 | 0.00026994 | 6.7653e-05
18 | 0.99575 | -0.029798 | 0.0045037 | 0.0011287
19 | 0.99531 | -0.032901 | 0 | 0
20 | 0.9944 | -0.039378 | 0.0021354 | 0.00053518
21 | 0.99523 | -0.033525 | 0.00069967 | 0.00017535
22 | 0.9934 | -0.046395 | 0.0015844 | 0.00039708
23 | 0.99515 | -0.034039 | 0.00074314 | 0.00018625
24 | 0.99272 | -0.051197 | 0 | 0
25 | 0.99268 | -0.051472 | 0.0040583 | 0.0010171
26 | 0.99508 | -0.034579 | 0.00045947 | 0.00011515
27 | 0.99541 | -0.032482 | 0.00018013 | 4.5145e-05
28 | 0.99658 | -0.024169 | 0.00013354 | 3.3469e-05
29 | 0.99404 | -0.041902 | 0.0025013 | 0.00062689
30 | 0.99376 | -0.043904 | 0.00087203 | 0.00021855
31 | 0.99451 | -0.038547 | 0 | 0
32 | 0.99369 | -0.044407 | 0 | 0
33 | 0.99492 | -0.035703 | 0.00058283 | 0.00014607
34 | 0.9934 | -0.046462 | 0.0019012 | 0.00047649
35 | 0.99492 | -0.035702 | 0.00058338 | 0.00014621
36 | 0.99258 | -0.052603 | 0.00031758 | 7.9592e-05
37 | 0.99234 | -0.054297 | 0 | 0
38 | 0.99243 | -0.053694 | 0 | 0
39 | 0.99356 | -0.045642 | 0.00051696 | 0.00012956
40 | 0.99211 | -0.055886 | 0 | 0
41 | 0.99227 | -0.054805 | 0 | 0
42 | 0.99365 | -0.045014 | 0.00016298 | 4.0847e-05
43 | 0.99356 | -0.045669 | 0.00041604 | 0.00010427
44 | 0.99449 | -0.039028 | 0 | 0
45 | 0.99215 | -0.055658 | 0 | 0
46 | 0.9921 | -0.056004 | 0.0010891 | 0.00027295
47 | 0.99217 | -0.055508 | 0.0014078 | 0.00035282
48 | 0.9919 | -0.057381 | 0.003303 | 0.00082782
49 | 0.99355 | -0.045702 | 0 | 0
50 | 0.99353 | -0.045848 | 0.00026617 | 6.6708e-05
51 | 0.99207 | -0.056225 | 0 | 0
52 | 0.99204 | -0.056464 | 0.00034909 | 8.749e-05
53 | 0.99197 | -0.056999 | 0 | 0
54 | 0.99185 | -0.057849 | 0.00026587 | 6.6634e-05
55 | 0.99184 | -0.05789 | 0.00023169 | 5.8066e-05
56 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.012445 | 0.0031056 | -0.012433 | -0.0031017 | 1.1998e-05 | 3.8793e-06 | 0.018513 | 0.018513 | 0.018513 | 1 | 0 | 0.99901 | -0.0070288 | 6.8568
1 | 0.029462 | 0.0073906 | -0.029449 | -0.0073856 | 1.3398e-05 | 5.0067e-06 | 0.043843 | 0.043843 | 0.043843 | 1 | 0 | 0.99953 | -0.0032806 | 16.2381
2 | 0.012282 | 0.0030638 | -0.012279 | -0.003063 | 2.4741e-06 | 7.9639e-07 | 0.018288 | 0.018288 | 0.018288 | 0.99901 | -0.0070288 | 0.9988 | -0.0084975 | 6.7735
3 | 0.026736 | 0.0067056 | -0.026705 | -0.0066941 | 3.1046e-05 | 1.1529e-05 | 0.039804 | 0.039804 | 0.039804 | 0.99953 | -0.0032806 | 0.99833 | -0.011666 | 14.7423
4 | 0.010157 | 0.0025357 | -0.010142 | -0.0025311 | 1.5506e-05 | 4.5452e-06 | 0.015129 | 0.015129 | 0.015129 | 0.9988 | -0.0084975 | 0.99722 | -0.019622 | 5.6034
5 | 0.002122 | 0.00052736 | -0.0021219 | -0.00052758 | 1.2605e-07 | -2.1628e-07 | 0.0031599 | 0.00316 | 0.00316 | 0.9988 | -0.0084975 | 0.99874 | -0.0089336 | 1.1704
6 | 0.025373 | 0.0063603 | -0.02536 | -0.0063553 | 1.3673e-05 | 5.0585e-06 | 0.037819 | 0.037819 | 0.037819 | 0.99833 | -0.011666 | 0.99778 | -0.015559 | 14.0072
7 | 0.0089519 | 0.002233 | -0.0089465 | -0.0022315 | 5.4232e-06 | 1.4504e-06 | 0.013354 | 0.013354 | 0.013354 | 0.99722 | -0.019622 | 0.9966 | -0.02404 | 4.946
8 | 0.0017955 | 0.00044577 | -0.0017954 | -0.00044605 | 1.0988e-07 | -2.8008e-07 | 0.0026736 | 0.0026737 | 0.0026737 | 0.99874 | -0.0089336 | 0.99867 | -0.0093836 | 0.99027
9 | 0.020696 | 0.0051866 | -0.020683 | -0.0051817 | 1.3284e-05 | 4.8175e-06 | 0.030865 | 0.030865 | 0.030865 | 0.99778 | -0.015559 | 0.99712 | -0.020199 | 11.4315
10 | 0.0085418 | 0.0021313 | -0.0085319 | -0.0021288 | 9.889e-06 | 2.5348e-06 | 0.01275 | 0.012751 | 0.012751 | 0.9966 | -0.02404 | 0.99541 | -0.032482 | 4.7225
11 | 0.00013355 | 3.2263e-05 | -0.00013354 | -3.3469e-05 | 2.2941e-09 | -1.2065e-06 | 0.00019898 | 0.0001994 | 0.0001994 | 0.9966 | -0.02404 | 0.99658 | -0.024169 | 0.07385
12 | 0.0013114 | 0.00032476 | -0.0013113 | -0.0003251 | 6.7378e-08 | -3.4459e-07 | 0.0019526 | 0.0019528 | 0.0019528 | 0.99867 | -0.0093836 | 0.99862 | -0.0097631 | 0.72324
13 | 0.020683 | 0.0051817 | -0.020656 | -0.0051718 | 2.7433e-05 | 9.95e-06 | 0.030865 | 0.030865 | 0.030865 | 0.99712 | -0.020199 | 0.99575 | -0.029798 | 11.4316
14 | 0.00063144 | 0.00015788 | -0.00063144 | -0.00015799 | 4.8965e-09 | -1.1402e-07 | 0.00094093 | 0.00094097 | 0.00094097 | 0.99844 | -0.01107 | 0.99843 | -0.011127 | 0.34851
15 | -0.0010412 | -0.00026057 | 0.0010413 | 0.00025958 | 1.1957e-07 | -9.953e-07 | 0.0015516 | 0.0015512 | 0.0015516 | 0.99844 | -0.01107 | 0.99855 | -0.010235 | 0.57467
16 | 0.00021555 | 5.3764e-05 | -0.00021555 | -5.4022e-05 | 1.2712e-09 | -2.5775e-07 | 0.00032116 | 0.00032125 | 0.00032125 | 0.99843 | -0.011127 | 0.99842 | -0.011169 | 0.11898
17 | 0.00026995 | 6.5953e-05 | -0.00026994 | -6.6948e-05 | 7.6945e-09 | -9.9589e-07 | 0.00040168 | 0.00040203 | 0.00040203 | 0.99855 | -0.010235 | 0.99853 | -0.010449 | 0.1489
18 | -0.0013113 | -0.00032553 | 0.0013113 | 0.0003251 | 8.4033e-08 | -4.2965e-07 | 0.0019529 | 0.0019528 | 0.0019529 | 0.99855 | -0.010235 | 0.99862 | -0.0097631 | 0.7233
19 | 0.00026994 | 6.6948e-05 | -0.00026994 | -6.7653e-05 | 5.4504e-09 | -7.0437e-07 | 0.00040203 | 0.00040227 | 0.00040227 | 0.99853 | -0.010449 | 0.9985 | -0.010596 | 0.14899
20 | 0.016152 | 0.0040431 | -0.016145 | -0.0040407 | 6.9189e-06 | 2.4136e-06 | 0.024135 | 0.024135 | 0.024135 | 0.99575 | -0.029798 | 0.99531 | -0.032901 | 8.939
21 | 0.0077933 | 0.001951 | -0.0077863 | -0.0019494 | 6.9694e-06 | 1.6121e-06 | 0.01165 | 0.011651 | 0.011651 | 0.99531 | -0.032901 | 0.9944 | -0.039378 | 4.3151
22 | 0.0083518 | 0.0020897 | -0.0083511 | -0.0020895 | 7.1872e-07 | 1.804e-07 | 0.012485 | 0.012485 | 0.012485 | 0.99531 | -0.032901 | 0.99523 | -0.033525 | 4.624
23 | 0.0056509 | 0.0014142 | -0.0056455 | -0.0014137 | 5.4739e-06 | 5.1529e-07 | 0.0084554 | 0.0084559 | 0.0084559 | 0.9944 | -0.039378 | 0.9934 | -0.046395 | 3.1318
24 | 0.0076514 | 0.0019141 | -0.0076508 | -0.001914 | 5.4233e-07 | 1.2228e-07 | 0.011439 | 0.011439 | 0.011439 | 0.99523 | -0.033525 | 0.99515 | -0.034039 | 4.2366
25 | 0.0040611 | 0.0010166 | -0.0040584 | -0.0010171 | 2.6958e-06 | -4.737e-07 | 0.0060827 | 0.0060832 | 0.0060832 | 0.9934 | -0.046395 | 0.99272 | -0.051197 | 2.2531
26 | 0.0069077 | 0.0017278 | -0.0069072 | -0.0017277 | 5.1476e-07 | 9.7505e-08 | 0.010328 | 0.010328 | 0.010328 | 0.99515 | -0.034039 | 0.99508 | -0.034579 | 3.8251
27 | 0.0040584 | 0.0010171 | -0.0040583 | -0.0010171 | 1.543e-07 | -2.7042e-08 | 0.0060832 | 0.0060833 | 0.0060833 | 0.99272 | -0.051197 | 0.99268 | -0.051472 | 2.2531
28 | 0.0064477 | 0.0016125 | -0.0064467 | -0.0016124 | 9.9782e-07 | 1.6031e-07 | 0.0096406 | 0.0096406 | 0.0096406 | 0.99508 | -0.034579 | 0.99492 | -0.035702 | 3.5706
29 | 0.0083518 | 0.0020836 | -0.0083443 | -0.0020817 | 7.4978e-06 | 1.8821e-06 | 0.012482 | 0.012482 | 0.012482 | 0.99541 | -0.032482 | 0.99449 | -0.039028 | 4.6229
30 | 0.0027747 | 0.00069295 | -0.0027739 | -0.00069358 | 7.6415e-07 | -6.2634e-07 | 0.0041526 | 0.004153 | 0.004153 | 0.99404 | -0.041902 | 0.99376 | -0.043904 | 1.5381
31 | -0.005276 | -0.0013198 | 0.0052784 | 0.00132 | 2.4413e-06 | 1.2528e-07 | 0.007897 | 0.0078967 | 0.007897 | 0.99404 | -0.041902 | 0.99451 | -0.038547 | 2.9248
32 | 0.0019019 | 0.00047503 | -0.0019017 | -0.00047531 | 1.3166e-07 | -2.8654e-07 | 0.0028472 | 0.0028473 | 0.0028473 | 0.99376 | -0.043904 | 0.99369 | -0.044407 | 1.0546
33 | -0.0052784 | -0.00132 | 0.0052805 | 0.0013201 | 2.0689e-06 | 1.0551e-07 | 0.0078967 | 0.0078964 | 0.0078967 | 0.99451 | -0.038547 | 0.99492 | -0.035703 | 2.9247
34 | 0.0019017 | 0.00047531 | -0.0019012 | -0.00047649 | 5.3951e-07 | -1.1733e-06 | 0.0028473 | 0.0028478 | 0.0028478 | 0.99369 | -0.044407 | 0.9934 | -0.046462 | 1.0548
35 | -0.0058633 | -0.0014661 | 0.0058633 | 0.0014661 | 7.9695e-10 | 8.9401e-11 | 0.0087681 | 0.0087681 | 0.0087681 | 0.99492 | -0.035703 | 0.99492 | -0.035702 | 3.2475
36 | 0.0033052 | 0.00082681 | -0.0033044 | -0.00082717 | 7.7269e-07 | -3.5467e-07 | 0.0049544 | 0.0049546 | 0.0049546 | 0.99258 | -0.052603 | 0.99234 | -0.054297 | 1.8351
37 | 0.0033451 | 0.00083283 | -0.0033446 | -0.00083305 | 4.9886e-07 | -2.1927e-07 | 0.0050129 | 0.005013 | 0.005013 | 0.99258 | -0.052603 | 0.99243 | -0.053694 | 1.8567
38 | -0.0069679 | -0.0017392 | 0.0069746 | 0.0017405 | 6.6631e-06 | 1.2959e-06 | 0.010443 | 0.010443 | 0.010443 | 0.99258 | -0.052603 | 0.99356 | -0.045642 | 3.8679
39 | 0.0033044 | 0.00082717 | -0.0033037 | -0.0008275 | 7.2561e-07 | -3.3271e-07 | 0.0049546 | 0.0049549 | 0.0049549 | 0.99234 | -0.054297 | 0.99211 | -0.055886 | 1.8351
40 | 0.0033446 | 0.00083305 | -0.0033441 | -0.00083327 | 5.0829e-07 | -2.2326e-07 | 0.005013 | 0.0050131 | 0.0050131 | 0.99243 | -0.053694 | 0.99227 | -0.054805 | 1.8567
41 | -0.0074915 | -0.0018701 | 0.0074922 | 0.0018702 | 6.4578e-07 | 1.4185e-07 | 0.011217 | 0.011217 | 0.011217 | 0.99356 | -0.045642 | 0.99365 | -0.045014 | 4.1545
42 | 0.0033037 | 0.0008275 | -0.003303 | -0.00082781 | 6.8333e-07 | -3.1303e-07 | 0.0049549 | 0.0049551 | 0.0049551 | 0.99211 | -0.055886 | 0.9919 | -0.057381 | 1.8352
43 | 0.0033441 | 0.00083327 | -0.0033438 | -0.00083341 | 3.219e-07 | -1.4131e-07 | 0.0050131 | 0.0050132 | 0.0050132 | 0.99227 | -0.054805 | 0.99217 | -0.055508 | 1.8568
44 | 0.00068228 | 0.00016894 | -0.00068222 | -0.00017013 | 6.0884e-08 | -1.1883e-06 | 0.001021 | 0.0010214 | 0.0010214 | 0.99365 | -0.045014 | 0.99356 | -0.045669 | 0.37831
45 | -0.0083374 | -0.00208 | 0.0083443 | 0.0020817 | 6.8494e-06 | 1.721e-06 | 0.012482 | 0.012482 | 0.012482 | 0.99365 | -0.045014 | 0.99449 | -0.039028 | 4.623
46 | 0.00026617 | 6.5861e-05 | -0.00026617 | -6.6013e-05 | 1.1644e-09 | -1.5183e-07 | 0.00039834 | 0.0003984 | 0.0003984 | 0.99356 | -0.045669 | 0.99355 | -0.045702 | 0.14755
47 | 0.001936 | 0.00048067 | -0.0019359 | -0.00048086 | 9.1142e-08 | -1.8891e-07 | 0.002902 | 0.002902 | 0.002902 | 0.99215 | -0.055658 | 0.9921 | -0.056004 | 1.0748
48 | -0.001936 | -0.00048067 | 0.001936 | 0.00048059 | 3.95e-08 | -8.1883e-08 | 0.002902 | 0.0029019 | 0.002902 | 0.99215 | -0.055658 | 0.99217 | -0.055508 | 1.0748
49 | 0.00084679 | 0.00020791 | -0.00084677 | -0.00020822 | 2.4912e-08 | -3.1074e-07 | 0.0012686 | 0.0012687 | 0.0012687 | 0.9921 | -0.056004 | 0.99207 | -0.056225 | 0.46988
50 | 0.00026617 | 6.6013e-05 | -0.00026617 | -6.6708e-05 | 5.3337e-09 | -6.9494e-07 | 0.0003984 | 0.00039864 | 0.00039864 | 0.99355 | -0.045702 | 0.99353 | -0.045848 | 0.14765
51 | 0.00084677 | 0.00020822 | -0.00084674 | -0.00020856 | 2.7049e-08 | -3.373e-07 | 0.0012687 | 0.0012688 | 0.0012688 | 0.99207 | -0.056225 | 0.99204 | -0.056464 | 0.46992
52 | 0.00049765 | 0.00012107 | -0.00049762 | -0.00012236 | 3.5124e-08 | -1.2944e-06 | 0.00074518 | 0.00074563 | 0.00074563 | 0.99204 | -0.056464 | 0.99197 | -0.056999 | 0.27616
53 | 0.00049762 | 0.00012236 | -0.00049756 | -0.00012447 | 5.7374e-08 | -2.1105e-06 | 0.00074563 | 0.00074638 | 0.00074638 | 0.99197 | -0.056999 | 0.99185 | -0.057849 | 0.27644
54 | 0.00023169 | 5.784e-05 | -0.00023169 | -5.8066e-05 | 1.3216e-09 | -2.2579e-07 | 0.00034751 | 0.00034759 | 0.00034759 | 0.99185 | -0.057849 | 0.99184 | -0.05789 | 0.12874

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.044468 | 0.010937

## res_load
| p_mw | q_mvar
0 | 0.0017608 | 0.00044129
1 | 0.00015093 | 3.7828e-05
2 | 0.002713 | 0.00067994
3 | 0.0013317 | 0.00033375
4 | 0.0011897 | 0.00029816
5 | 0.00032643 | 8.1811e-05
6 | 0.0046632 | 0.0011687
7 | 0.00027113 | 6.7952e-05
8 | 0.00048396 | 0.00012129
9 | 0.00040975 | 0.00010269
10 | 0.00041588 | 0.00010423
11 | 0.00021555 | 5.4022e-05
12 | 0.00026994 | 6.7653e-05
13 | 0.0045037 | 0.0011287
14 | 0.0021354 | 0.00053518
15 | 0.00069967 | 0.00017535
16 | 0.0015844 | 0.00039708
17 | 0.00074314 | 0.00018625
18 | 0.0040583 | 0.0010171
19 | 0.00045947 | 0.00011515
20 | 0.00018013 | 4.5145e-05
21 | 0.00013354 | 3.3469e-05
22 | 0.0025013 | 0.00062689
23 | 0.00087203 | 0.00021855
24 | 0.00058283 | 0.00014607
25 | 0.0019012 | 0.00047649
26 | 0.00058338 | 0.00014621
27 | 0.00031758 | 7.9592e-05
28 | 0.00051696 | 0.00012956
29 | 0.00016298 | 4.0847e-05
30 | 0.00041604 | 0.00010427
31 | 0.0010891 | 0.00027295
32 | 0.0014078 | 0.00035282
33 | 0.003303 | 0.00082782
34 | 0.00026617 | 6.6708e-05
35 | 0.00034909 | 8.749e-05
36 | 0.00026587 | 6.6634e-05
37 | 0.00023169 | 5.8066e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1