## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1404-19_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1404-19_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1404-19_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1404-19_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1404-19_0_3_node_50 | 0.4 | n |  | TRUE
5 | bus_LV_1404-19_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1404-19_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1404-19_0_3_node_49 | 0.4 | n |  | TRUE
8 | bus_LV_1404-19_0_3_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_1404-19_0_3_node_40 | 0.4 | n |  | TRUE
10 | bus_LV_1404-19_0_3_node_47 | 0.4 | n |  | TRUE
11 | bus_LV_1404-19_0_3_node_44 | 0.4 | n |  | TRUE
12 | bus_LV_1404-19_0_3_node_41 | 0.4 | n |  | TRUE
13 | bus_LV_1404-19_0_3_node_48 | 0.4 | n |  | TRUE
14 | bus_LV_1404-19_0_3_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_1404-19_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_1404-19_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_1404-19_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_1404-19_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1404-19_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_1404-19_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1404-19_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_1404-19_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_1404-19_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1404-19_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1404-19_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_1404-19_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1404-19_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1404-19_0_3_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_1404-19_0_3_node_46 | 0.4 | n |  | TRUE
30 | bus_LV_1404-19_0_3_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_1404-19_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_1404-19_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_1404-19_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_1404-19_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_1404-19_0_3_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_1404-19_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_1404-19_0_3_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_1404-19_0_3_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_1404-19_0_3_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_1404-19_0_3_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_1404-19_0_3_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_1404-19_0_3_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_1404-19_0_3_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_1404-19_0_3_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_1404-19_0_3_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_1404-19_0_3_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_1404-19_0_3_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_1404-19_0_3_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_1404-19_0_3_node_38 | 0.4 | n |  | TRUE
50 | bus_MV_140_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1404-19_0_3_load_0 | 0 | 0.0056784 | 0.0014231 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1404-19_0_3_load_1 | 1 | 0.010749 | 0.0026941 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1404-19_0_3_load_3 | 3 | 0.0032858 | 0.00082349 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1404-19_0_3_load_50 | 4 | 0.0023158 | 0.00058041 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1404-19_0_3_load_4 | 5 | 0.0072135 | 0.0018079 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1404-19_0_3_load_5 | 6 | 0.0062371 | 0.0015632 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1404-19_0_3_load_49 | 7 | 0.007921 | 0.0019852 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1404-19_0_3_load_45 | 8 | 0.008211 | 0.0020579 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1404-19_0_3_load_40 | 9 | 0.0033874 | 0.00084897 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1404-19_0_3_load_47 | 10 | 0.0022642 | 0.00056747 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1404-19_0_3_load_44 | 11 | 0.0054876 | 0.0013753 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1404-19_0_3_load_41 | 12 | 0.003088 | 0.00077392 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1404-19_0_3_load_48 | 13 | 0.0022659 | 0.00056788 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1404-19_0_3_load_6 | 14 | 0.0013285 | 0.00033296 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1404-19_0_3_load_7 | 15 | 0.0044256 | 0.0011092 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1404-19_0_3_load_8 | 16 | 0.0041866 | 0.0010493 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1404-19_0_3_load_9 | 17 | 0.0042713 | 0.0010705 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1404-19_0_3_load_10 | 18 | 0.0045265 | 0.0011345 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1404-19_0_3_load_11 | 19 | 0.0043334 | 0.0010861 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1404-19_0_3_load_13 | 21 | 0.0032055 | 0.00080337 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1404-19_0_3_load_18 | 22 | 0.0010068 | 0.00025233 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1404-19_0_3_load_16 | 23 | 0.0093231 | 0.0023366 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1404-19_0_3_load_17 | 24 | 0.0073301 | 0.0018371 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1404-19_0_3_load_15 | 25 | 0.006527 | 0.0016358 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1404-19_0_3_load_19 | 26 | 0.0024472 | 0.00061334 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1404-19_0_3_load_20 | 27 | 0.0075052 | 0.001881 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1404-19_0_3_load_46 | 29 | 0.0037679 | 0.00094433 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1404-19_0_3_load_42 | 30 | 0.0039584 | 0.00099207 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1404-19_0_3_load_21 | 31 | 0.0047117 | 0.0011809 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1404-19_0_3_load_22 | 32 | 0.0050694 | 0.0012705 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1404-19_0_3_load_26 | 36 | 0.0037463 | 0.00093891 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1404-19_0_3_load_39 | 37 | 0.0027913 | 0.00069956 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1404-19_0_3_load_37 | 39 | 0.0029576 | 0.00074124 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1404-19_0_3_load_31 | 40 | 0.010755 | 0.0026953 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1404-19_0_3_load_29 | 41 | 0.0121 | 0.0030327 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1404-19_0_3_load_27 | 42 | 0.011205 | 0.0028082 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1404-19_0_3_load_28 | 43 | 0.016927 | 0.0042422 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1404-19_0_3_load_32 | 44 | 0.0095773 | 0.0024003 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1404-19_0_3_load_33 | 45 | 0.0035506 | 0.00088986 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1404-19_0_3_load_34 | 46 | 0.0026453 | 0.00066297 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1404-19_0_3_load_35 | 47 | 0.0029062 | 0.00072836 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1404-19_0_3_load_36 | 48 | 0.0026362 | 0.0006607 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1404-19_0_3_load_38 | 49 | 0.0022669 | 0.00056813 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1404-19_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.010019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1404-19_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1404-19_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.024964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1404-19_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.045296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1404-19_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.0001137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1404-19_0_3_line_5 | NAYY 4x150 SE | 2 | 6 | 0.020997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1404-19_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 1.9044e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1404-19_0_3_line_7 | NAYY 4x150 SE | 5 | 9 | 0.026681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1404-19_0_3_line_8 | NAYY 4x150 SE | 6 | 10 | 0.030852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1404-19_0_3_line_9 | NAYY 4x150 SE | 7 | 8 | 0.037451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1404-19_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.0053548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1404-19_0_3_line_11 | NAYY 4x150 SE | 9 | 12 | 0.00075353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1404-19_0_3_line_12 | NAYY 4x150 SE | 10 | 13 | 0.0092979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1404-19_0_3_line_13 | NAYY 4x150 SE | 12 | 34 | 0.017565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1404-19_0_3_line_14 | NAYY 4x150 SE | 14 | 15 | 0.0045226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1404-19_0_3_line_15 | NAYY 4x150 SE | 15 | 16 | 0.013132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1404-19_0_3_line_16 | NAYY 4x150 SE | 16 | 17 | 0.003022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1404-19_0_3_line_17 | NAYY 4x150 SE | 17 | 18 | 0.013096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1404-19_0_3_line_18 | NAYY 4x150 SE | 18 | 19 | 0.0037618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1404-19_0_3_line_19 | NAYY 4x150 SE | 19 | 20 | 0.038007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1404-19_0_3_line_20 | NAYY 4x150 SE | 20 | 21 | 0.053617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1404-19_0_3_line_21 | NAYY 4x150 SE | 21 | 22 | 0.074402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1404-19_0_3_line_22 | NAYY 4x150 SE | 22 | 23 | 0.0038455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1404-19_0_3_line_23 | NAYY 4x150 SE | 23 | 24 | 0.050177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1404-19_0_3_line_24 | NAYY 4x150 SE | 24 | 25 | 0.06494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1404-19_0_3_line_25 | NAYY 4x150 SE | 25 | 26 | 0.047342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1404-19_0_3_line_26 | NAYY 4x150 SE | 26 | 27 | 0.029495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1404-19_0_3_line_27 | NAYY 4x150 SE | 27 | 28 | 0.021003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1404-19_0_3_line_28 | NAYY 4x150 SE | 28 | 29 | 0.026517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1404-19_0_3_line_29 | NAYY 4x150 SE | 28 | 30 | 0.024544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1404-19_0_3_line_30 | NAYY 4x150 SE | 29 | 35 | 0.0059535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1404-19_0_3_line_31 | NAYY 4x150 SE | 31 | 32 | 0.0067593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1404-19_0_3_line_32 | NAYY 4x150 SE | 31 | 33 | 0.018884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_1404-19_0_3_line_33 | NAYY 4x150 SE | 32 | 34 | 0.0037253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1404-19_0_3_line_34 | NAYY 4x150 SE | 33 | 35 | 0.03195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1404-19_0_3_line_35 | NAYY 4x150 SE | 33 | 36 | 0.043941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1404-19_0_3_line_36 | NAYY 4x150 SE | 34 | 37 | 0.02097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1404-19_0_3_line_37 | NAYY 4x150 SE | 36 | 38 | 0.039089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1404-19_0_3_line_38 | NAYY 4x150 SE | 37 | 39 | 0.024199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1404-19_0_3_line_39 | NAYY 4x150 SE | 38 | 40 | 0.022894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1404-19_0_3_line_40 | NAYY 4x150 SE | 38 | 41 | 0.028731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1404-19_0_3_line_41 | NAYY 4x150 SE | 39 | 47 | 0.00048311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1404-19_0_3_line_42 | NAYY 4x150 SE | 40 | 44 | 0.00046094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1404-19_0_3_line_43 | NAYY 4x150 SE | 41 | 43 | 0.024897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1404-19_0_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.030019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1404-19_0_3_line_45 | NAYY 4x150 SE | 45 | 46 | 0.0022708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1404-19_0_3_line_46 | NAYY 4x150 SE | 45 | 47 | 0.016281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1404-19_0_3_line_47 | NAYY 4x150 SE | 46 | 48 | 0.023465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1404-19_0_3_line_48 | NAYY 4x150 SE | 48 | 49 | 0.0086158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1404-19_0_3_trafo_21 | 0.25 MVA 20/0.4 kV | 50 | 31 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2664046.2934 | 1194427.326 | 2664039.2934 | 1194434.4945
1 | 2664068.3913 | 1194404.7375 | 2664064.4621 | 1194408.7199 | 2664046.2934 | 1194427.326
2 | 2664039.2934 | 1194434.4945 | 2664026.8691 | 1194447.2179 | 2664021.5238 | 1194452.013
3 | 2664039.2934 | 1194434.4945 | 2664070.6794 | 1194467.154
4 | 2664068.4644 | 1194404.6504 | 2664068.3913 | 1194404.7375
5 | 2664068.3913 | 1194404.7375 | 2664055.6803 | 1194388.0248
6 | 2664070.6794 | 1194467.154 | 2664070.6937 | 1194467.1414
7 | 2664084.5784 | 1194383.4938 | 2664081.1353 | 1194389.5762 | 2664068.4644 | 1194404.6504
8 | 2664055.6803 | 1194388.0248 | 2664043.5323 | 1194372.0523 | 2664034.0366 | 1194377.1649
9 | 2664070.6937 | 1194467.1414 | 2664098.7008 | 1194442.2788
10 | 2664098.7008 | 1194442.2788 | 2664102.7053 | 1194438.7239
11 | 2664084.9496 | 1194382.8381 | 2664084.5784 | 1194383.4938
12 | 2664025.85 | 1194381.5727 | 2664034.0366 | 1194377.1649
13 | 2664093.6025 | 1194367.5523 | 2664084.9496 | 1194382.8381
14 | 2664271.3 | 1194401.2639 | 2664272.2334 | 1194405.6891
15 | 2664272.2334 | 1194405.6891 | 2664274.7558 | 1194417.6468 | 2664275.1119 | 1194418.4859
16 | 2664275.1119 | 1194418.4859 | 2664276.2923 | 1194421.2679
17 | 2664281.4078 | 1194433.3236 | 2664276.2923 | 1194421.2679
18 | 2664281.4078 | 1194433.3236 | 2664281.9355 | 1194434.5671 | 2664283.1203 | 1194436.6668
19 | 2664295.6389 | 1194470.5687 | 2664297.2399 | 1194466.2501 | 2664297.5946 | 1194462.3182 | 2664283.1203 | 1194436.6668
20 | 2664295.6389 | 1194470.5687 | 2664255.1224 | 1194505.6861
21 | 2664255.1224 | 1194505.6861 | 2664181.1712 | 1194513.8653
22 | 2664181.1712 | 1194513.8653 | 2664180.2301 | 1194510.1367
23 | 2664175.0414 | 1194460.6741 | 2664174.0738 | 1194470.0858 | 2664174.7214 | 1194487.1472 | 2664177.5894 | 1194499.6742 | 2664180.2301 | 1194510.1367
24 | 2664231.8227 | 1194429.1603 | 2664175.0414 | 1194460.6741
25 | 2664198.0816 | 1194395.9555 | 2664224.6453 | 1194422.3782 | 2664231.8227 | 1194429.1603
26 | 2664198.0816 | 1194395.9555 | 2664177.1079 | 1194375.217
27 | 2664162.1731 | 1194360.4496 | 2664177.1079 | 1194375.217
28 | 2664162.1731 | 1194360.4496 | 2664157.8272 | 1194356.3896 | 2664152.1067 | 1194351.1696 | 2664146.0723 | 1194347.5028 | 2664140.4984 | 1194346.0319
29 | 2664162.1731 | 1194360.4496 | 2664159.9352 | 1194363.0494 | 2664156.1944 | 1194377.8846 | 2664155.1046 | 1194383.5958
30 | 2664134.742 | 1194344.5129 | 2664140.4984 | 1194346.0319
31 | 2664097.4494 | 1194357.799 | 2664094.9693 | 1194364.0869
32 | 2664103.0525 | 1194339.7818 | 2664099.0389 | 1194353.7692 | 2664097.4494 | 1194357.799
33 | 2664093.6025 | 1194367.5523 | 2664094.9693 | 1194364.0869
34 | 2664103.0525 | 1194339.7818 | 2664107.1067 | 1194340.4923 | 2664134.742 | 1194344.5129
35 | 2664103.0525 | 1194339.7818 | 2664104.0636 | 1194334.3227 | 2664105.0749 | 1194325.295 | 2664105.6143 | 1194320.4646 | 2664105.6439 | 1194307.7575 | 2664104.0745 | 1194296.1256
36 | 2664093.6025 | 1194367.5523 | 2664075.9481 | 1194356.2359
37 | 2664097.1654 | 1194257.6596 | 2664103.2435 | 1194289.9658 | 2664104.0745 | 1194296.1256
38 | 2664055.5754 | 1194343.1771 | 2664075.9481 | 1194356.2359
39 | 2664097.1654 | 1194257.6596 | 2664104.8543 | 1194255.5741 | 2664111.5748 | 1194257.0914 | 2664119.1144 | 1194259.8762
40 | 2664097.1654 | 1194257.6596 | 2664091.4079 | 1194233.8395 | 2664089.9969 | 1194229.8566
41 | 2664055.1687 | 1194342.9163 | 2664055.5754 | 1194343.1771
42 | 2664119.1144 | 1194259.8762 | 2664119.5467 | 1194260.0359
43 | 2664081.135 | 1194206.6003 | 2664085.2683 | 1194216.5081 | 2664089.9969 | 1194229.8566
44 | 2664066.9692 | 1194180.1599 | 2664079.51 | 1194202.7051 | 2664081.135 | 1194206.6003
45 | 2664041.4616 | 1194334.1302 | 2664041.4616 | 1194334.1302 | 2664039.5613 | 1194335.3731
46 | 2664041.4616 | 1194334.1302 | 2664055.1687 | 1194342.9163
47 | 2664019.9237 | 1194348.2175 | 2664039.5613 | 1194335.3731
48 | 2664012.7133 | 1194352.9336 | 2664019.9237 | 1194348.2175

## bus_geodata
| x | y | coords
0 | 2664046.2934 | 1194427.326
1 | 2664039.2934 | 1194434.4945
2 | 2664068.3913 | 1194404.7375
3 | 2664021.5238 | 1194452.013
4 | 2664070.6794 | 1194467.154
5 | 2664068.4644 | 1194404.6504
6 | 2664055.6803 | 1194388.0248
7 | 2664070.6937 | 1194467.1414
8 | 2664098.7008 | 1194442.2788
9 | 2664084.5784 | 1194383.4938
10 | 2664034.0366 | 1194377.1649
11 | 2664102.7053 | 1194438.7239
12 | 2664084.9496 | 1194382.8381
13 | 2664025.85 | 1194381.5727
14 | 2664271.3 | 1194401.2639
15 | 2664272.2334 | 1194405.6891
16 | 2664275.1119 | 1194418.4859
17 | 2664276.2923 | 1194421.2679
18 | 2664281.4078 | 1194433.3236
19 | 2664283.1203 | 1194436.6668
20 | 2664295.6389 | 1194470.5687
21 | 2664255.1224 | 1194505.6861
22 | 2664181.1712 | 1194513.8653
23 | 2664180.2301 | 1194510.1367
24 | 2664175.0414 | 1194460.6741
25 | 2664231.8227 | 1194429.1603
26 | 2664198.0816 | 1194395.9555
27 | 2664177.1079 | 1194375.217
28 | 2664162.1731 | 1194360.4496
29 | 2664140.4984 | 1194346.0319
30 | 2664155.1046 | 1194383.5958
31 | 2664097.4494 | 1194357.799
32 | 2664094.9693 | 1194364.0869
33 | 2664103.0525 | 1194339.7818
34 | 2664093.6025 | 1194367.5523
35 | 2664134.742 | 1194344.5129
36 | 2664104.0745 | 1194296.1256
37 | 2664075.9481 | 1194356.2359
38 | 2664097.1654 | 1194257.6596
39 | 2664055.5754 | 1194343.1771
40 | 2664119.1144 | 1194259.8762
41 | 2664089.9969 | 1194229.8566
42 | 2664066.9692 | 1194180.1599
43 | 2664081.135 | 1194206.6003
44 | 2664119.5467 | 1194260.0359
45 | 2664041.4616 | 1194334.1302
46 | 2664039.5613 | 1194335.3731
47 | 2664055.1687 | 1194342.9163
48 | 2664019.9237 | 1194348.2175
49 | 2664012.7133 | 1194352.9336
50 | 2664093.6025 | 1194367.5523

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99248 | -0.052616 | 0.0056784 | 0.0014231
1 | 0.99194 | -0.056474 | 0.010749 | 0.0026941
2 | 0.99447 | -0.038664 | 0 | 0
3 | 0.99182 | -0.057306 | 0.0032858 | 0.00082349
4 | 0.99038 | -0.067491 | 0.0023158 | 0.00058041
5 | 0.99448 | -0.038602 | 0.0072135 | 0.0018079
6 | 0.99414 | -0.040948 | 0.0062371 | 0.0015632
7 | 0.99038 | -0.067495 | 0.007921 | 0.0019852
8 | 0.98964 | -0.07272 | 0.008211 | 0.0020579
9 | 0.99684 | -0.022041 | 0.0033874 | 0.00084897
10 | 0.99394 | -0.04236 | 0.0022642 | 0.00056747
11 | 0.98959 | -0.07302 | 0.0054876 | 0.0013753
12 | 0.99691 | -0.021549 | 0.003088 | 0.00077392
13 | 0.99391 | -0.042573 | 0.0022659 | 0.00056788
14 | 0.97079 | -0.20563 | 0.0013285 | 0.00033296
15 | 0.9708 | -0.20557 | 0.0044256 | 0.0011092
16 | 0.97091 | -0.20477 | 0.0041866 | 0.0010493
17 | 0.97096 | -0.20445 | 0.0042713 | 0.0010705
18 | 0.97123 | -0.20248 | 0.0045265 | 0.0011345
19 | 0.97133 | -0.20174 | 0.0043334 | 0.0010861
20 | 0.97262 | -0.19247 | 0 | 0
21 | 0.97444 | -0.17944 | 0.0032055 | 0.00080337
22 | 0.9773 | -0.15894 | 0.0010068 | 0.00025233
23 | 0.97746 | -0.15784 | 0.0093231 | 0.0023366
24 | 0.98015 | -0.13869 | 0.0073301 | 0.0018371
25 | 0.98432 | -0.10916 | 0.006527 | 0.0016358
26 | 0.98781 | -0.08462 | 0.0024472 | 0.00061334
27 | 0.99009 | -0.068684 | 0.0075052 | 0.001881
28 | 0.99194 | -0.055781 | 0 | 0
29 | 0.99443 | -0.038497 | 0.0037679 | 0.00094433
30 | 0.9918 | -0.056766 | 0.0039584 | 0.00099207
31 | 1 | 0 | -0.22881 | -0.057483
32 | 0.9991 | -0.006277 | 0.0050694 | 0.0012705
33 | 0.99819 | -0.012511 | 0 | 0
34 | 0.99863 | -0.0095523 | 0 | 0
35 | 0.99502 | -0.034403 | 0 | 0
36 | 0.99412 | -0.040939 | 0.0037463 | 0.00093891
37 | 0.99804 | -0.013702 | 0.0027913 | 0.00069956
38 | 0.9907 | -0.064933 | 0 | 0
39 | 0.99745 | -0.017819 | 0.0029576 | 0.00074124
40 | 0.99003 | -0.06967 | 0.010755 | 0.0026953
41 | 0.98904 | -0.076709 | 0.0121 | 0.0030327
42 | 0.98754 | -0.087304 | 0.011205 | 0.0028082
43 | 0.98803 | -0.083863 | 0.016927 | 0.0042422
44 | 0.99003 | -0.069715 | 0.0095773 | 0.0024003
45 | 0.99718 | -0.019701 | 0.0035506 | 0.00088986
46 | 0.99716 | -0.019873 | 0.0026453 | 0.00066297
47 | 0.99744 | -0.017887 | 0.0029062 | 0.00072836
48 | 0.99699 | -0.021028 | 0.0026362 | 0.0006607
49 | 0.99697 | -0.021224 | 0.0022669 | 0.00056813
50 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.038038 | 0.0095407 | -0.038018 | -0.009533 | 2.0336e-05 | 7.6922e-06 | 0.057032 | 0.057032 | 0.057032 | 0.99248 | -0.052616 | 0.99194 | -0.056474 | 21.1231
1 | -0.043716 | -0.010964 | 0.043801 | 0.010996 | 8.4716e-05 | 3.2174e-05 | 0.065546 | 0.065546 | 0.065546 | 0.99248 | -0.052616 | 0.99447 | -0.038664 | 24.2763
2 | 0.0032862 | 0.00082332 | -0.0032858 | -0.00082349 | 3.7855e-07 | -1.7662e-07 | 0.0049295 | 0.0049296 | 0.0049296 | 0.99194 | -0.056474 | 0.99182 | -0.057306 | 1.8258
3 | 0.023982 | 0.0060156 | -0.023946 | -0.0060021 | 3.6586e-05 | 1.3488e-05 | 0.035978 | 0.035978 | 0.035978 | 0.99194 | -0.056474 | 0.99038 | -0.067491 | 13.3252
4 | -0.054573 | -0.013695 | 0.054573 | 0.013696 | 4.7314e-07 | 1.805e-07 | 0.081663 | 0.081663 | 0.081663 | 0.99447 | -0.038664 | 0.99448 | -0.038602 | 30.2456
5 | 0.010772 | 0.0026994 | -0.010768 | -0.0026984 | 3.4036e-06 | 1.0367e-06 | 0.016117 | 0.016117 | 0.016117 | 0.99447 | -0.038664 | 0.99414 | -0.040948 | 5.9694
6 | 0.02163 | 0.0054217 | -0.02163 | -0.0054217 | 1.255e-08 | 4.5804e-09 | 0.032498 | 0.032498 | 0.032498 | 0.99038 | -0.067491 | 0.99038 | -0.067495 | 12.0364
7 | -0.061787 | -0.015503 | 0.061929 | 0.015558 | 0.00014232 | 5.4392e-05 | 0.092457 | 0.092456 | 0.092457 | 0.99448 | -0.038602 | 0.99684 | -0.022041 | 34.2432
8 | 0.0045311 | 0.0011352 | -0.0045302 | -0.0011353 | 8.8546e-07 | -5.9384e-08 | 0.0067819 | 0.006782 | 0.006782 | 0.99414 | -0.040948 | 0.99394 | -0.04236 | 2.5118
9 | 0.013709 | 0.0034365 | -0.013699 | -0.0034332 | 9.9144e-06 | 3.3317e-06 | 0.020597 | 0.020597 | 0.020597 | 0.99038 | -0.067495 | 0.98964 | -0.07272 | 7.6287
10 | 0.0054878 | 0.0013753 | -0.0054876 | -0.0013753 | 2.275e-07 | 1.8701e-08 | 0.0082514 | 0.0082514 | 0.0082514 | 0.98964 | -0.07272 | 0.98959 | -0.07302 | 3.0561
11 | -0.065316 | -0.016407 | 0.065321 | 0.016409 | 4.4711e-06 | 1.7098e-06 | 0.097513 | 0.097513 | 0.097513 | 0.99684 | -0.022041 | 0.99691 | -0.021549 | 36.1159
12 | 0.0022659 | 0.00056778 | -0.0022659 | -0.00056788 | 6.6764e-08 | -9.4826e-08 | 0.0033922 | 0.0033923 | 0.0033923 | 0.99394 | -0.04236 | 0.99391 | -0.042573 | 1.2564
13 | -0.068409 | -0.017182 | 0.068523 | 0.017226 | 0.00011431 | 4.3734e-05 | 0.10212 | 0.10212 | 0.10212 | 0.99691 | -0.021549 | 0.99863 | -0.0095523 | 37.823
14 | -0.0013285 | -0.00033296 | 0.0013285 | 0.00033291 | 1.1702e-08 | -5.1417e-08 | 0.0020363 | 0.0020363 | 0.0020363 | 0.97079 | -0.20563 | 0.9708 | -0.20557 | 0.7542
15 | -0.0057542 | -0.0014421 | 0.0057548 | 0.0014422 | 6.3744e-07 | 8.2779e-08 | 0.0088198 | 0.0088197 | 0.0088198 | 0.9708 | -0.20557 | 0.97091 | -0.20477 | 3.2666
16 | -0.0099414 | -0.0024914 | 0.0099418 | 0.0024915 | 4.3776e-07 | 1.3099e-07 | 0.015236 | 0.015236 | 0.015236 | 0.97091 | -0.20477 | 0.97096 | -0.20445 | 5.643
17 | -0.014213 | -0.003562 | 0.014217 | 0.0035634 | 3.8772e-06 | 1.3292e-06 | 0.021782 | 0.021782 | 0.021782 | 0.97096 | -0.20445 | 0.97123 | -0.20248 | 8.0674
18 | -0.018743 | -0.0046978 | 0.018745 | 0.0046985 | 1.9358e-06 | 6.9798e-07 | 0.028717 | 0.028717 | 0.028717 | 0.97123 | -0.20248 | 0.97133 | -0.20174 | 10.6359
19 | -0.023079 | -0.0057846 | 0.023108 | 0.0057955 | 2.9645e-05 | 1.0931e-05 | 0.035355 | 0.035355 | 0.035355 | 0.97133 | -0.20174 | 0.97262 | -0.19247 | 13.0946
20 | -0.023108 | -0.0057955 | 0.02315 | 0.0058109 | 4.1821e-05 | 1.5418e-05 | 0.035355 | 0.035355 | 0.035355 | 0.97262 | -0.19247 | 0.97444 | -0.17944 | 13.0945
21 | -0.026356 | -0.0066143 | 0.026431 | 0.0066423 | 7.5214e-05 | 2.7999e-05 | 0.04025 | 0.04025 | 0.04025 | 0.97444 | -0.17944 | 0.9773 | -0.15894 | 14.9074
22 | -0.027438 | -0.0068946 | 0.027442 | 0.0068962 | 4.1892e-06 | 1.563e-06 | 0.041783 | 0.041783 | 0.041783 | 0.9773 | -0.15894 | 0.97746 | -0.15784 | 15.475
23 | -0.036765 | -0.0092328 | 0.036863 | 0.0092699 | 9.8102e-05 | 3.7101e-05 | 0.055975 | 0.055975 | 0.055975 | 0.97746 | -0.15784 | 0.98015 | -0.13869 | 20.7316
24 | -0.044193 | -0.011107 | 0.044376 | 0.011176 | 0.00018247 | 6.9358e-05 | 0.067103 | 0.067103 | 0.067103 | 0.98015 | -0.13869 | 0.98432 | -0.10916 | 24.8531
25 | -0.050903 | -0.012812 | 0.051078 | 0.012879 | 0.00017501 | 6.6709e-05 | 0.07697 | 0.07697 | 0.07697 | 0.98432 | -0.10916 | 0.98781 | -0.08462 | 28.5074
26 | -0.053525 | -0.013492 | 0.053645 | 0.013538 | 0.00011973 | 4.5673e-05 | 0.080656 | 0.080656 | 0.080656 | 0.98781 | -0.08462 | 0.99009 | -0.068684 | 29.8727
27 | -0.06115 | -0.015419 | 0.061261 | 0.015461 | 0.00011077 | 4.2334e-05 | 0.091936 | 0.091936 | 0.091936 | 0.99009 | -0.068684 | 0.99194 | -0.055781 | 34.0503
28 | -0.06522 | -0.016453 | 0.065378 | 0.016514 | 0.00015851 | 6.0622e-05 | 0.097874 | 0.097874 | 0.097874 | 0.99194 | -0.055781 | 0.99443 | -0.038497 | 36.2498
29 | 0.0039589 | 0.00099196 | -0.0039584 | -0.00099207 | 5.4017e-07 | -1.0903e-07 | 0.0059387 | 0.0059389 | 0.0059389 | 0.99194 | -0.055781 | 0.9918 | -0.056766 | 2.1996
30 | -0.069146 | -0.017458 | 0.069186 | 0.017473 | 3.9805e-05 | 1.5232e-05 | 0.10351 | 0.10351 | 0.10351 | 0.99443 | -0.038497 | 0.99502 | -0.034403 | 38.3379
31 | 0.093493 | 0.023503 | -0.093412 | -0.023471 | 8.1662e-05 | 3.132e-05 | 0.13914 | 0.13914 | 0.13914 | 1 | 0 | 0.9991 | -0.006277 | 51.5351
32 | 0.13452 | 0.03398 | -0.13428 | -0.03389 | 0.00023628 | 9.0382e-05 | 0.20026 | 0.20026 | 0.20026 | 1 | 0 | 0.99819 | -0.012511 | 37.0849
33 | 0.088342 | 0.022201 | -0.088302 | -0.022185 | 4.0255e-05 | 1.5434e-05 | 0.13159 | 0.13159 | 0.13159 | 0.9991 | -0.006277 | 0.99863 | -0.0095523 | 48.7387
34 | 0.0694 | 0.017555 | -0.069186 | -0.017473 | 0.00021362 | 8.1745e-05 | 0.10351 | 0.10351 | 0.10351 | 0.99819 | -0.012511 | 0.99502 | -0.034403 | 38.3379
35 | 0.064882 | 0.016335 | -0.064625 | -0.016237 | 0.00025664 | 9.8135e-05 | 0.096746 | 0.096746 | 0.096746 | 0.99819 | -0.012511 | 0.99412 | -0.040939 | 35.832
36 | 0.019779 | 0.0049592 | -0.019768 | -0.0049551 | 1.1366e-05 | 4.0975e-06 | 0.029473 | 0.029473 | 0.029473 | 0.99863 | -0.0095523 | 0.99804 | -0.013702 | 10.9158
37 | 0.060879 | 0.015298 | -0.060676 | -0.015221 | 0.0002026 | 7.7419e-05 | 0.091139 | 0.091139 | 0.091139 | 0.99412 | -0.040939 | 0.9907 | -0.064933 | 33.7552
38 | 0.016976 | 0.0042555 | -0.016967 | -0.0042521 | 9.6738e-06 | 3.4047e-06 | 0.025311 | 0.025311 | 0.025311 | 0.99804 | -0.013702 | 0.99745 | -0.017819 | 9.3745
39 | 0.020345 | 0.0051005 | -0.020332 | -0.0050957 | 1.3341e-05 | 4.8364e-06 | 0.030559 | 0.030559 | 0.030559 | 0.9907 | -0.064933 | 0.99003 | -0.06967 | 11.3181
40 | 0.040331 | 0.01012 | -0.040265 | -0.010095 | 6.5797e-05 | 2.4937e-05 | 0.06058 | 0.06058 | 0.06058 | 0.9907 | -0.064933 | 0.98904 | -0.076709 | 22.4372
41 | 0.014009 | 0.0035109 | -0.014009 | -0.0035108 | 1.3167e-07 | 4.4335e-08 | 0.020899 | 0.020899 | 0.020899 | 0.99745 | -0.017819 | 0.99744 | -0.017887 | 7.7403
42 | 0.0095774 | 0.0024003 | -0.0095773 | -0.0024003 | 5.9599e-08 | 1.6995e-08 | 0.014395 | 0.014395 | 0.014395 | 0.99003 | -0.06967 | 0.99003 | -0.069715 | 5.3314
43 | 0.028165 | 0.0070624 | -0.028137 | -0.007052 | 2.7897e-05 | 1.041e-05 | 0.042375 | 0.042375 | 0.042375 | 0.98904 | -0.076709 | 0.98803 | -0.083863 | 15.6945
44 | -0.011205 | -0.0028082 | 0.01121 | 0.0028098 | 5.3393e-06 | 1.6693e-06 | 0.016883 | 0.016883 | 0.016883 | 0.98754 | -0.087304 | 0.98803 | -0.083863 | 6.253
45 | 0.0075494 | 0.0018917 | -0.0075492 | -0.0018917 | 1.7982e-07 | 3.9539e-08 | 0.011265 | 0.011265 | 0.011265 | 0.99718 | -0.019701 | 0.99716 | -0.019873 | 4.1723
46 | -0.0111 | -0.0027816 | 0.011103 | 0.0027825 | 2.7872e-06 | 8.5956e-07 | 0.016563 | 0.016563 | 0.016563 | 0.99718 | -0.019701 | 0.99744 | -0.017887 | 6.1346
47 | 0.0049039 | 0.0012287 | -0.0049031 | -0.0012287 | 7.8411e-07 | -4.4685e-09 | 0.0073178 | 0.0073179 | 0.0073179 | 0.99716 | -0.019873 | 0.99699 | -0.021028 | 2.7103
48 | 0.0022669 | 0.00056804 | -0.0022669 | -0.00056813 | 6.1544e-08 | -8.8681e-08 | 0.0033834 | 0.0033834 | 0.0033834 | 0.99699 | -0.021028 | 0.99697 | -0.021224 | 1.2531

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23352 | 0.058664

## res_load
| p_mw | q_mvar
0 | 0.0056784 | 0.0014231
1 | 0.010749 | 0.0026941
2 | 0.0032858 | 0.00082349
3 | 0.0023158 | 0.00058041
4 | 0.0072135 | 0.0018079
5 | 0.0062371 | 0.0015632
6 | 0.007921 | 0.0019852
7 | 0.008211 | 0.0020579
8 | 0.0033874 | 0.00084897
9 | 0.0022642 | 0.00056747
10 | 0.0054876 | 0.0013753
11 | 0.003088 | 0.00077392
12 | 0.0022659 | 0.00056788
13 | 0.0013285 | 0.00033296
14 | 0.0044256 | 0.0011092
15 | 0.0041866 | 0.0010493
16 | 0.0042713 | 0.0010705
17 | 0.0045265 | 0.0011345
18 | 0.0043334 | 0.0010861
19 | 0.0032055 | 0.00080337
20 | 0.0010068 | 0.00025233
21 | 0.0093231 | 0.0023366
22 | 0.0073301 | 0.0018371
23 | 0.006527 | 0.0016358
24 | 0.0024472 | 0.00061334
25 | 0.0075052 | 0.001881
26 | 0.0037679 | 0.00094433
27 | 0.0039584 | 0.00099207
28 | 0.0047117 | 0.0011809
29 | 0.0050694 | 0.0012705
30 | 0.0037463 | 0.00093891
31 | 0.0027913 | 0.00069956
32 | 0.0029576 | 0.00074124
33 | 0.010755 | 0.0026953
34 | 0.0121 | 0.0030327
35 | 0.011205 | 0.0028082
36 | 0.016927 | 0.0042422
37 | 0.0095773 | 0.0024003
38 | 0.0035506 | 0.00088986
39 | 0.0026453 | 0.00066297
40 | 0.0029062 | 0.00072836
41 | 0.0026362 | 0.0006607
42 | 0.0022669 | 0.00056813

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1