## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1404-29_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1404-29_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1404-29_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1404-29_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1404-29_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1404-29_0_3_node_107 | 0.4 | n |  | TRUE
6 | bus_LV_1404-29_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1404-29_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1404-29_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1404-29_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1404-29_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1404-29_0_3_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_1404-29_0_3_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_1404-29_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1404-29_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1404-29_0_3_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_1404-29_0_3_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_1404-29_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1404-29_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1404-29_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1404-29_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1404-29_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1404-29_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_1404-29_0_3_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_1404-29_0_3_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_1404-29_0_3_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_1404-29_0_3_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_1404-29_0_3_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_1404-29_0_3_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_1404-29_0_3_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_1404-29_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_1404-29_0_3_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_1404-29_0_3_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_1404-29_0_3_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_1404-29_0_3_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_1404-29_0_3_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_1404-29_0_3_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_1404-29_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_1404-29_0_3_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_1404-29_0_3_node_69 | 0.4 | n |  | TRUE
40 | bus_LV_1404-29_0_3_node_71 | 0.4 | n |  | TRUE
41 | bus_LV_1404-29_0_3_node_68 | 0.4 | n |  | TRUE
42 | bus_LV_1404-29_0_3_node_72 | 0.4 | n |  | TRUE
43 | bus_LV_1404-29_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_1404-29_0_3_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_1404-29_0_3_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_1404-29_0_3_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_1404-29_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_1404-29_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_1404-29_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_1404-29_0_3_node_73 | 0.4 | n |  | TRUE
51 | bus_LV_1404-29_0_3_node_79 | 0.4 | n |  | TRUE
52 | bus_LV_1404-29_0_3_node_74 | 0.4 | n |  | TRUE
53 | bus_LV_1404-29_0_3_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_1404-29_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_1404-29_0_3_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_1404-29_0_3_node_80 | 0.4 | n |  | TRUE
57 | bus_LV_1404-29_0_3_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_1404-29_0_3_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_1404-29_0_3_node_75 | 0.4 | n |  | TRUE
60 | bus_LV_1404-29_0_3_node_76 | 0.4 | n |  | TRUE
61 | bus_LV_1404-29_0_3_node_77 | 0.4 | n |  | TRUE
62 | bus_LV_1404-29_0_3_node_78 | 0.4 | n |  | TRUE
63 | bus_LV_1404-29_0_3_node_82 | 0.4 | n |  | TRUE
64 | bus_MV_0_node_22 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1404-29_0_3_load_0 | 0 | 0.00041142 | 0.00010311 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1404-29_0_3_load_1 | 1 | 0.00026438 | 6.6259e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1404-29_0_3_load_3 | 3 | 0.0030337 | 0.00076033 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1404-29_0_3_load_4 | 4 | 0.00037856 | 9.4877e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1404-29_0_3_load_5 | 6 | 0.00078263 | 0.00019615 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1404-29_0_3_load_8 | 9 | 0.00070373 | 0.00017637 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1404-29_0_3_load_13 | 11 | 0.00069893 | 0.00017517 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1404-29_0_3_load_9 | 13 | 0.0021866 | 0.00054802 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1404-29_0_3_load_11 | 14 | 0.0027763 | 0.0006958 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1404-29_0_3_load_27 | 15 | 0.0009201 | 0.0002306 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1404-29_0_3_load_20 | 16 | 0.0019375 | 0.00048558 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1404-29_0_3_load_12 | 17 | 0.00056111 | 0.00014063 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1404-29_0_3_load_14 | 18 | 0.00061665 | 0.00015455 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1404-29_0_3_load_15 | 19 | 0.0003413 | 8.5537e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1404-29_0_3_load_16 | 20 | 0.0038379 | 0.00096188 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1404-29_0_3_load_17 | 21 | 0.00063818 | 0.00015994 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1404-29_0_3_load_18 | 22 | 0.00069176 | 0.00017337 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1404-29_0_3_load_23 | 24 | 0.0017409 | 0.00043631 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1404-29_0_3_load_28 | 26 | 0.00040161 | 0.00010065 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1404-29_0_3_load_30 | 28 | 0.00046046 | 0.0001154 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1404-29_0_3_load_29 | 29 | 0.0015421 | 0.00038649 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1404-29_0_3_load_34 | 31 | 0.00075089 | 0.00018819 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1404-29_0_3_load_38 | 32 | 0.00013847 | 3.4705e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1404-29_0_3_load_36 | 36 | 0.00032774 | 8.2139e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1404-29_0_3_load_33 | 38 | 7.9607e-05 | 1.9951e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1404-29_0_3_load_69 | 39 | 0.00027665 | 6.9334e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1404-29_0_3_load_68 | 41 | 0.00065768 | 0.00016483 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1404-29_0_3_load_72 | 42 | 0.00026463 | 6.6324e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1404-29_0_3_load_45 | 44 | 0.00013433 | 3.3667e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1404-29_0_3_load_44 | 45 | 0.0002426 | 6.0802e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1404-29_0_3_load_47 | 46 | 0.0014545 | 0.00036452 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1404-29_0_3_load_40 | 49 | 0.00017621 | 4.4162e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1404-29_0_3_load_79 | 51 | 0.00024973 | 6.2589e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1404-29_0_3_load_74 | 52 | 0.0001885 | 4.7243e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1404-29_0_3_load_42 | 53 | 0.00082111 | 0.00020579 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1404-29_0_3_load_46 | 54 | 0.00026324 | 6.5973e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1404-29_0_3_load_48 | 55 | 0.00027545 | 6.9034e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1404-29_0_3_load_80 | 56 | 0.00029753 | 7.4567e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1404-29_0_3_load_49 | 57 | 0.00050909 | 0.00012759 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1404-29_0_3_load_70 | 58 | 0.0001937 | 4.8546e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1404-29_0_3_load_76 | 60 | 0.00032045 | 8.0313e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1404-29_0_3_load_77 | 61 | 0.00032522 | 8.1508e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1404-29_0_3_load_78 | 62 | 0.00051179 | 0.00012827 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1404-29_0_3_load_82 | 63 | 0.00039977 | 0.00010019 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1404-29_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.16202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1404-29_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.069758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1404-29_0_3_line_2 | NAYY 4x150 SE | 2 | 5 | 0.19037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1404-29_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.0092986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1404-29_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.18234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1404-29_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0076132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1404-29_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.22313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1404-29_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.046298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1404-29_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.12873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1404-29_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.3616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1404-29_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.020361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1404-29_0_3_line_11 | NAYY 4x150 SE | 9 | 12 | 0.072556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1404-29_0_3_line_12 | NAYY 4x150 SE | 10 | 13 | 0.053093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1404-29_0_3_line_13 | NAYY 4x150 SE | 11 | 14 | 0.018768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1404-29_0_3_line_14 | NAYY 4x150 SE | 12 | 15 | 0.032704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1404-29_0_3_line_15 | NAYY 4x150 SE | 12 | 16 | 0.020965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1404-29_0_3_line_16 | NAYY 4x150 SE | 14 | 17 | 0.015085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1404-29_0_3_line_17 | NAYY 4x150 SE | 16 | 23 | 0.028635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1404-29_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.081484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1404-29_0_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.0096494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1404-29_0_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.016103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1404-29_0_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.0032227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1404-29_0_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.10427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1404-29_0_3_line_23 | NAYY 4x150 SE | 23 | 24 | 0.03728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1404-29_0_3_line_24 | NAYY 4x150 SE | 23 | 25 | 0.13316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1404-29_0_3_line_25 | NAYY 4x150 SE | 24 | 26 | 0.016168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1404-29_0_3_line_26 | NAYY 4x150 SE | 25 | 30 | 0.17858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1404-29_0_3_line_27 | NAYY 4x150 SE | 25 | 31 | 0.12686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1404-29_0_3_line_28 | NAYY 4x150 SE | 25 | 27 | 0.13128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1404-29_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.049496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1404-29_0_3_line_30 | NAYY 4x150 SE | 27 | 29 | 0.01641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1404-29_0_3_line_31 | NAYY 4x150 SE | 28 | 33 | 0.11562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1404-29_0_3_line_32 | NAYY 4x150 SE | 30 | 32 | 0.089396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1404-29_0_3_line_33 | NAYY 4x150 SE | 31 | 34 | 0.1414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1404-29_0_3_line_34 | NAYY 4x150 SE | 32 | 35 | 0.057636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1404-29_0_3_line_35 | NAYY 4x150 SE | 33 | 37 | 0.093773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1404-29_0_3_line_36 | NAYY 4x150 SE | 33 | 38 | 0.15668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1404-29_0_3_line_37 | NAYY 4x150 SE | 34 | 43 | 0.15111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1404-29_0_3_line_38 | NAYY 4x150 SE | 34 | 36 | 0.069327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1404-29_0_3_line_39 | NAYY 4x150 SE | 35 | 48 | 0.10546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1404-29_0_3_line_40 | NAYY 4x150 SE | 37 | 39 | 0.14397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1404-29_0_3_line_41 | NAYY 4x150 SE | 38 | 40 | 0.15879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1404-29_0_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.020327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1404-29_0_3_line_43 | NAYY 4x150 SE | 40 | 42 | 0.15137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1404-29_0_3_line_44 | NAYY 4x150 SE | 41 | 58 | 0.0058607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1404-29_0_3_line_45 | NAYY 4x150 SE | 42 | 59 | 0.011586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1404-29_0_3_line_46 | NAYY 4x150 SE | 43 | 44 | 0.018732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1404-29_0_3_line_47 | NAYY 4x150 SE | 43 | 45 | 0.061478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1404-29_0_3_line_48 | NAYY 4x150 SE | 44 | 46 | 0.012862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1404-29_0_3_line_49 | NAYY 4x150 SE | 45 | 47 | 0.10148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1404-29_0_3_line_50 | NAYY 4x150 SE | 46 | 54 | 0.026679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1404-29_0_3_line_51 | NAYY 4x150 SE | 47 | 53 | 0.0263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1404-29_0_3_line_52 | NAYY 4x150 SE | 48 | 51 | 0.02182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1404-29_0_3_line_53 | NAYY 4x150 SE | 49 | 50 | 0.021301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1404-29_0_3_line_54 | NAYY 4x150 SE | 50 | 52 | 0.019027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1404-29_0_3_line_55 | NAYY 4x150 SE | 52 | 62 | 0.013396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1404-29_0_3_line_56 | NAYY 4x150 SE | 54 | 55 | 0.12643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1404-29_0_3_line_57 | NAYY 4x150 SE | 54 | 56 | 0.27996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1404-29_0_3_line_58 | NAYY 4x150 SE | 55 | 57 | 0.031706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1404-29_0_3_line_59 | NAYY 4x150 SE | 56 | 63 | 0.024451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1404-29_0_3_line_60 | NAYY 4x150 SE | 59 | 60 | 0.041587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1404-29_0_3_line_61 | NAYY 4x150 SE | 59 | 61 | 0.014654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1404-29_0_3_line_62 | NAYY 4x150 SE | 61 | 62 | 0.0033282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1404-29_0_3_trafo_22 | 0.25 MVA 20/0.4 kV | 64 | 12 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2664171.33 | 1192707.2917 | 2664175.9742 | 1192715.1261 | 2664194.6147 | 1192746.1219 | 2664203.4748 | 1192758.6686 | 2664223.3003 | 1192783.6292 | 2664234.8092 | 1192792.9915 | 2664240.431 | 1192794.7528 | 2664245.2329 | 1192794.0817 | 2664249.4537 | 1192792.1481 | 2664251.3337 | 1192788.1549 | 2664253.5242 | 1192764.4757 | 2664255.0067 | 1192757.0317 | 2664256.6427 | 1192753.9362
1 | 2664313.3164 | 1192714.8667 | 2664281.5017 | 1192732.3462 | 2664269.5316 | 1192739.6664 | 2664263.1709 | 1192744.9456 | 2664258.2435 | 1192750.9073 | 2664256.6427 | 1192753.9362
2 | 2664272.6264 | 1192567.9552 | 2664258.669 | 1192574.3201 | 2664256.2909 | 1192583.5222 | 2664263.9419 | 1192585.172 | 2664264.33 | 1192590.2013 | 2664263.0958 | 1192594.3905 | 2664264.9629 | 1192600.8254 | 2664261.8734 | 1192611.6763 | 2664262.1192 | 1192615.7591 | 2664265.0724 | 1192621.1495 | 2664269.2428 | 1192626.0527 | 2664289.7026 | 1192629.5967 | 2664301.4607 | 1192642.0302 | 2664298.7638 | 1192663.158 | 2664299.1799 | 1192666.2865 | 2664299.469 | 1192668.4686 | 2664299.3805 | 1192678.8293 | 2664300.6802 | 1192684.8579 | 2664302.9331 | 1192690.8522 | 2664313.3164 | 1192714.8667
3 | 2664454.2284 | 1192584.3366 | 2664462.0939 | 1192579.3769 | 2664462.0939 | 1192579.3769
4 | 2664454.2284 | 1192584.3366 | 2664272.6264 | 1192567.9552
5 | 2664462.0939 | 1192579.3769 | 2664463.1661 | 1192571.8396
6 | 2664653.5293 | 1192468.599 | 2664591.2667 | 1192500.8234 | 2664503.4267 | 1192547.4479 | 2664467.1092 | 1192556.084 | 2664463.1661 | 1192571.8396
7 | 2664653.5293 | 1192468.599 | 2664644.0156 | 1192450.9749 | 2664631.1669 | 1192428.0339
8 | 2664653.5293 | 1192468.599 | 2664714.036 | 1192582.2263
9 | 2664459.1798 | 1192381.4635 | 2664463.0581 | 1192371.7329 | 2664544.8674 | 1192258.9487 | 2664550.2518 | 1192252.3807 | 2664555.8287 | 1192247.7493 | 2664590.1605 | 1192310.9564 | 2664597.3654 | 1192329.9341 | 2664615.9541 | 1192388.9358 | 2664625.7826 | 1192415.5463 | 2664631.1669 | 1192428.0339
10 | 2664631.1669 | 1192428.0339 | 2664650.37 | 1192421.2651
11 | 2664752.3271 | 1192643.7468 | 2664735.5707 | 1192619.9183 | 2664723.1245 | 1192599.294 | 2664714.036 | 1192582.2263
12 | 2664459.1798 | 1192381.4635 | 2664452.6562 | 1192386.952 | 2664449.0718 | 1192397.7086 | 2664449.1297 | 1192410.7279 | 2664454.8877 | 1192426.0655 | 2664457.4375 | 1192428.9202
13 | 2664668.1369 | 1192415.2555 | 2664666.0537 | 1192415.7368 | 2664650.37 | 1192421.2651
14 | 2664767.9683 | 1192624.1157 | 2664771.7607 | 1192632.9174 | 2664770.4983 | 1192636.1612 | 2664752.3271 | 1192643.7468
15 | 2664752.3271 | 1192643.7468 | 2664765.375 | 1192660.1565
16 | 2664668.1369 | 1192415.2555 | 2664682.8344 | 1192411.8596
17 | 2664782.845 | 1192682.8443 | 2664765.6308 | 1192660.4783 | 2664765.375 | 1192660.1565
18 | 2664682.8344 | 1192411.8596 | 2664757.0655 | 1192394.7084 | 2664760.4195 | 1192398.8081
19 | 2664766.5295 | 1192406.2766 | 2664760.4195 | 1192398.8081
20 | 2664766.5295 | 1192406.2766 | 2664769.1786 | 1192409.5147 | 2664780.2895 | 1192413.8304
21 | 2664783.2935 | 1192414.9973 | 2664780.2895 | 1192413.8304
22 | 2664783.2935 | 1192414.9973 | 2664790.7605 | 1192417.8976 | 2664838.6376 | 1192414.7475 | 2664884.3476 | 1192399.2212
23 | 2664782.845 | 1192682.8443 | 2664800.7796 | 1192671.7541 | 2664804.1079 | 1192667.0986 | 2664805.9955 | 1192662.4385 | 2664804.8258 | 1192657.1227
24 | 2664782.845 | 1192682.8443 | 2664797.959 | 1192702.0302 | 2664805.3374 | 1192714.7397 | 2664811.959 | 1192729.053 | 2664817.038 | 1192742.9161 | 2664822.901 | 1192766.0376 | 2664828.4059 | 1192788.4214 | 2664830.781 | 1192799.976 | 2664826.0105 | 1192800.5581
25 | 2664793.2931 | 1192645.7913 | 2664804.8258 | 1192657.1227
26 | 2664899.7361 | 1192959.4386 | 2664872.0556 | 1192899.9927 | 2664843.5594 | 1192830.6546 | 2664830.781 | 1192799.976 | 2664826.0105 | 1192800.5581
27 | 2664826.0105 | 1192800.5581 | 2664769.037 | 1192891.5278 | 2664759.7232 | 1192908.6859
28 | 2664826.0105 | 1192800.5581 | 2664830.781 | 1192799.976 | 2664828.4059 | 1192788.4214 | 2664841.4862 | 1192784.2272 | 2664862.794 | 1192775.5753 | 2664900.4721 | 1192758.7961 | 2664909.4828 | 1192756.6259 | 2664918.2528 | 1192756.2763 | 2664932.5732 | 1192760.0338 | 2664936.3863 | 1192760.5755
29 | 2664936.3863 | 1192760.5755 | 2664940.3864 | 1192760.0408 | 2664944.2373 | 1192757.8035 | 2664947.9601 | 1192754.0306 | 2664952.5295 | 1192747.3985 | 2664954.5786 | 1192741.9064 | 2664959.5749 | 1192728.9642 | 2664963.6791 | 1192724.4617 | 2664965.2534 | 1192723.5393
30 | 2664936.3863 | 1192760.5755 | 2664944.4212 | 1192774.884
31 | 2665060.5108 | 1192659.3086 | 2665045.3256 | 1192674.7748 | 2665012.2394 | 1192696.806 | 2664988.1712 | 1192712.5205 | 2664970.1999 | 1192720.6413 | 2664965.2534 | 1192723.5393
32 | 2664899.7361 | 1192959.4386 | 2664919.1355 | 1192989.6222 | 2664939.1264 | 1193018.6671 | 2664949.4771 | 1193033.706
33 | 2664692.2654 | 1193032.9579 | 2664759.7232 | 1192908.6859
34 | 2664979.9755 | 1193082.4588 | 2664971.2688 | 1193065.0986 | 2664949.8271 | 1193034.2145 | 2664949.4771 | 1193033.706
35 | 2665060.5108 | 1192659.3086 | 2665075.103 | 1192658.4223 | 2665088.5045 | 1192658.379 | 2665110.5614 | 1192660.8092 | 2665137.2325 | 1192663.034 | 2665153.4581 | 1192657.752
36 | 2665060.5108 | 1192659.3086 | 2665083.1857 | 1192740.8805 | 2665131.6249 | 1192792.3041 | 2665132.3609 | 1192793.4597
37 | 2664627.1151 | 1193169.3004 | 2664630.7747 | 1193161.4576 | 2664692.2654 | 1193032.9579
38 | 2664692.2654 | 1193032.9579 | 2664749.5881 | 1193071.9494
39 | 2665003.3517 | 1193185.0059 | 2664994.9373 | 1193130.9385 | 2664979.9755 | 1193082.4588
40 | 2665153.4581 | 1192657.752 | 2665164.0729 | 1192652.5089 | 2665181.7863 | 1192647.1097 | 2665187.7965 | 1192647.4976 | 2665192.7451 | 1192649.4749 | 2665235.86 | 1192697.7172 | 2665260.7848 | 1192725.8216
41 | 2665219.7917 | 1192925.5975 | 2665204.0629 | 1192908.4384 | 2665174.5384 | 1192859.6772 | 2665132.3609 | 1192793.4597
42 | 2665276.6292 | 1192734.8343 | 2665273.6707 | 1192735.9962 | 2665270.6766 | 1192735.8524 | 2665267.9386 | 1192733.888 | 2665260.7848 | 1192725.8216
43 | 2665219.7917 | 1192925.5975 | 2665218.826 | 1192928.8778 | 2665219.3468 | 1192932.8525 | 2665221.9177 | 1192941.0408 | 2665226.8667 | 1192961.1398 | 2665233.9447 | 1192987.2989 | 2665239.4862 | 1193004.0803 | 2665236.8854 | 1193017.5042 | 2665227.7631 | 1193029.2228 | 2665218.7031 | 1193035.2387 | 2665196.4816 | 1193048.0374 | 2665195.3261 | 1193052.7368
44 | 2665276.6292 | 1192734.8343 | 2665278.7387 | 1192734.0059 | 2665280.2455 | 1192730.7426
45 | 2665194.5168 | 1193063.9587 | 2665193.4827 | 1193060.2341 | 2665195.3261 | 1193052.7368
46 | 2664627.1151 | 1193169.3004 | 2664619.1971 | 1193186.2761
47 | 2664627.1151 | 1193169.3004 | 2664633.4595 | 1193178.2186 | 2664653.3066 | 1193195.9544 | 2664673.081 | 1193209.4069
48 | 2664619.1971 | 1193186.2761 | 2664613.7602 | 1193197.9326
49 | 2664744.3744 | 1193277.1084 | 2664734.2108 | 1193276.7204 | 2664714.4084 | 1193254.9047 | 2664694.6663 | 1193228.1979 | 2664675.2267 | 1193210.8666 | 2664673.081 | 1193209.4069
50 | 2664602.5881 | 1193222.1594 | 2664611.5796 | 1193202.6077 | 2664613.7602 | 1193197.9326
51 | 2664744.3744 | 1193277.1084 | 2664749.3343 | 1193277.2955 | 2664752.6788 | 1193270.4054 | 2664748.7275 | 1193257.3106
52 | 2665003.3517 | 1193185.0059 | 2665023.4566 | 1193193.4847
53 | 2665213.8307 | 1193110.2072 | 2665196.6009 | 1193122.7325
54 | 2665213.8307 | 1193110.2072 | 2665204.9423 | 1193093.3842
55 | 2665199.321 | 1193081.2872 | 2665200.1714 | 1193084.3544 | 2665204.9423 | 1193093.3842
56 | 2664602.5881 | 1193222.1594 | 2664600.5192 | 1193226.6579 | 2664597.495 | 1193243.4351 | 2664593.4708 | 1193265.2933 | 2664584.8065 | 1193296.1734 | 2664580.4145 | 1193334.4595 | 2664578.9418 | 1193345.9628
57 | 2664602.5881 | 1193222.1594 | 2664346.8926 | 1193108.1459
58 | 2664566.9099 | 1193374.4783 | 2664569.5929 | 1193371.7312 | 2664577.5177 | 1193357.0859 | 2664578.9418 | 1193345.9628
59 | 2664324.7516 | 1193109.6308 | 2664341.3927 | 1193104.5178 | 2664344.5036 | 1193105.1294 | 2664346.7094 | 1193107.6879 | 2664346.8926 | 1193108.1459
60 | 2665194.5168 | 1193063.9587 | 2665176.6397 | 1193069.8007 | 2665164.8106 | 1193067.6373 | 2665161.2404 | 1193057.4036
61 | 2665194.5168 | 1193063.9587 | 2665198.4318 | 1193078.08
62 | 2665199.321 | 1193081.2872 | 2665198.4318 | 1193078.08

## bus_geodata
| x | y | coords
0 | 2664171.33 | 1192707.2917
1 | 2664256.6427 | 1192753.9362
2 | 2664313.3164 | 1192714.8667
3 | 2664454.2284 | 1192584.3366
4 | 2664462.0939 | 1192579.3769
5 | 2664272.6264 | 1192567.9552
6 | 2664463.1661 | 1192571.8396
7 | 2664653.5293 | 1192468.599
8 | 2664631.1669 | 1192428.0339
9 | 2664714.036 | 1192582.2263
10 | 2664459.1798 | 1192381.4635
11 | 2664650.37 | 1192421.2651
12 | 2664752.3271 | 1192643.7468
13 | 2664457.4375 | 1192428.9202
14 | 2664668.1369 | 1192415.2555
15 | 2664767.9683 | 1192624.1157
16 | 2664765.375 | 1192660.1565
17 | 2664682.8344 | 1192411.8596
18 | 2664760.4195 | 1192398.8081
19 | 2664766.5295 | 1192406.2766
20 | 2664780.2895 | 1192413.8304
21 | 2664783.2935 | 1192414.9973
22 | 2664884.3476 | 1192399.2212
23 | 2664782.845 | 1192682.8443
24 | 2664804.8258 | 1192657.1227
25 | 2664826.0105 | 1192800.5581
26 | 2664793.2931 | 1192645.7913
27 | 2664936.3863 | 1192760.5755
28 | 2664965.2534 | 1192723.5393
29 | 2664944.4212 | 1192774.884
30 | 2664899.7361 | 1192959.4386
31 | 2664759.7232 | 1192908.6859
32 | 2664949.4771 | 1193033.706
33 | 2665060.5108 | 1192659.3086
34 | 2664692.2654 | 1193032.9579
35 | 2664979.9755 | 1193082.4588
36 | 2664749.5881 | 1193071.9494
37 | 2665153.4581 | 1192657.752
38 | 2665132.3609 | 1192793.4597
39 | 2665260.7848 | 1192725.8216
40 | 2665219.7917 | 1192925.5975
41 | 2665276.6292 | 1192734.8343
42 | 2665195.3261 | 1193052.7368
43 | 2664627.1151 | 1193169.3004
44 | 2664619.1971 | 1193186.2761
45 | 2664673.081 | 1193209.4069
46 | 2664613.7602 | 1193197.9326
47 | 2664744.3744 | 1193277.1084
48 | 2665003.3517 | 1193185.0059
49 | 2665196.6009 | 1193122.7325
50 | 2665213.8307 | 1193110.2072
51 | 2665023.4566 | 1193193.4847
52 | 2665204.9423 | 1193093.3842
53 | 2664748.7275 | 1193257.3106
54 | 2664602.5881 | 1193222.1594
55 | 2664578.9418 | 1193345.9628
56 | 2664346.8926 | 1193108.1459
57 | 2664566.9099 | 1193374.4783
58 | 2665280.2455 | 1192730.7426
59 | 2665194.5168 | 1193063.9587
60 | 2665161.2404 | 1193057.4036
61 | 2665198.4318 | 1193078.08
62 | 2665199.321 | 1193081.2872
63 | 2664324.7516 | 1193109.6308
64 | 2664752.3271 | 1192643.7468

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99278 | -0.051294 | 0.00041142 | 0.00010311
1 | 0.99287 | -0.050606 | 0.00026438 | 6.6259e-05
2 | 0.99294 | -0.050115 | 0 | 0
3 | 0.9933 | -0.047414 | 0.0030337 | 0.00076033
4 | 0.99335 | -0.04706 | 0.00037856 | 9.4877e-05
5 | 0.99313 | -0.048753 | 0 | 0
6 | 0.9934 | -0.046741 | 0.00078263 | 0.00019615
7 | 0.99495 | -0.035607 | 0 | 0
8 | 0.99413 | -0.041408 | 0 | 0
9 | 0.99813 | -0.013125 | 0.00070373 | 0.00017637
10 | 0.993 | -0.049484 | 0 | 0
11 | 0.99384 | -0.043503 | 0.00069893 | 0.00017517
12 | 1 | 0 | -0.034763 | -0.0084728
13 | 0.99283 | -0.050661 | 0.0021866 | 0.00054802
14 | 0.99358 | -0.045303 | 0.0027763 | 0.0006958
15 | 0.99996 | -0.00030085 | 0.0009201 | 0.0002306
16 | 0.99955 | -0.0031895 | 0.0019375 | 0.00048558
17 | 0.99344 | -0.046326 | 0.00056111 | 0.00014063
18 | 0.99272 | -0.051391 | 0.00061665 | 0.00015455
19 | 0.99264 | -0.051931 | 0.0003413 | 8.5537e-05
20 | 0.99252 | -0.052776 | 0.0038379 | 0.00096188
21 | 0.99252 | -0.052819 | 0.00063818 | 0.00015994
22 | 0.99241 | -0.053555 | 0.00069176 | 0.00017337
23 | 0.99902 | -0.006995 | 0 | 0
24 | 0.99891 | -0.0077951 | 0.0017409 | 0.00043631
25 | 0.99695 | -0.021862 | 0 | 0
26 | 0.9989 | -0.0078601 | 0.00040161 | 0.00010065
27 | 0.99601 | -0.028596 | 0 | 0
28 | 0.99577 | -0.030365 | 0.00046046 | 0.0001154
29 | 0.99597 | -0.028851 | 0.0015421 | 0.00038649
30 | 0.99685 | -0.022621 | 0 | 0
31 | 0.99595 | -0.028985 | 0.00075089 | 0.00018819
32 | 0.9968 | -0.02299 | 0.00013847 | 3.4705e-05
33 | 0.99527 | -0.033955 | 0 | 0
34 | 0.995 | -0.035852 | 0 | 0
35 | 0.99678 | -0.023143 | 0 | 0
36 | 0.99496 | -0.036083 | 0.00032774 | 8.2139e-05
37 | 0.99512 | -0.035041 | 0 | 0
38 | 0.99485 | -0.036981 | 7.9607e-05 | 1.9951e-05
39 | 0.99489 | -0.036692 | 0.00027665 | 6.9334e-05
40 | 0.99444 | -0.039898 | 0 | 0
41 | 0.99486 | -0.036866 | 0.00065768 | 0.00016483
42 | 0.99406 | -0.042658 | 0.00026463 | 6.6324e-05
43 | 0.99404 | -0.042673 | 0 | 0
44 | 0.99395 | -0.043313 | 0.00013433 | 3.3667e-05
45 | 0.99395 | -0.043343 | 0.0002426 | 6.0802e-05
46 | 0.9939 | -0.043735 | 0.0014545 | 0.00036452
47 | 0.99383 | -0.044193 | 0 | 0
48 | 0.99674 | -0.023415 | 0 | 0
49 | 0.99399 | -0.043169 | 0.00017621 | 4.4162e-05
50 | 0.99399 | -0.043131 | 0 | 0
51 | 0.99674 | -0.02347 | 0.00024973 | 6.2589e-05
52 | 0.994 | -0.043096 | 0.0001885 | 4.7243e-05
53 | 0.9938 | -0.044411 | 0.00082111 | 0.00020579
54 | 0.99383 | -0.044218 | 0.00026324 | 6.5973e-05
55 | 0.99369 | -0.045232 | 0.00027545 | 6.9034e-05
56 | 0.99355 | -0.046236 | 0.00029753 | 7.4567e-05
57 | 0.99366 | -0.045396 | 0.00050909 | 0.00012759
58 | 0.99486 | -0.036878 | 0.0001937 | 4.8546e-05
59 | 0.99403 | -0.042838 | 0 | 0
60 | 0.99401 | -0.042973 | 0.00032045 | 8.0313e-05
61 | 0.99401 | -0.043017 | 0.00032522 | 8.1508e-05
62 | 0.994 | -0.043046 | 0.00051179 | 0.00012827
63 | 0.99354 | -0.046335 | 0.00039977 | 0.00010019
64 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00041142 | -0.00010311 | 0.00041145 | 0.00010103 | 3.8397e-08 | -2.0804e-06 | 0.00061665 | 0.00061591 | 0.00061665 | 0.99278 | -0.051294 | 0.99287 | -0.050606 | 0.22839
1 | -0.00067583 | -0.00016729 | 0.00067587 | 0.0001664 | 4.4577e-08 | -8.8509e-07 | 0.0010121 | 0.0010118 | 0.0010121 | 0.99287 | -0.050606 | 0.99294 | -0.050115 | 0.37486
2 | -0.00067587 | -0.0001664 | 0.000676 | 0.00016399 | 1.2151e-07 | -2.4161e-06 | 0.0010118 | 0.001011 | 0.0010118 | 0.99294 | -0.050115 | 0.99313 | -0.048753 | 0.37475
3 | -0.0037099 | -0.000922 | 0.00371 | 0.00092195 | 1.7904e-07 | -5.1509e-08 | 0.0055548 | 0.0055548 | 0.0055548 | 0.9933 | -0.047414 | 0.99335 | -0.04706 | 2.0573
4 | 0.00067611 | 0.00016167 | -0.000676 | -0.00016399 | 1.162e-07 | -2.3151e-06 | 0.0010102 | 0.001011 | 0.001011 | 0.9933 | -0.047414 | 0.99313 | -0.048753 | 0.37443
5 | -0.0040886 | -0.0010168 | 0.0040888 | 0.0010168 | 1.7804e-07 | -3.0084e-08 | 0.0061218 | 0.0061218 | 0.0061218 | 0.99335 | -0.04706 | 0.9934 | -0.046741 | 2.2674
6 | -0.0048714 | -0.0012129 | 0.0048788 | 0.0012129 | 7.4066e-06 | -4.4544e-08 | 0.0072941 | 0.0072931 | 0.0072941 | 0.9934 | -0.046741 | 0.99495 | -0.035607 | 2.7015
7 | 0.012373 | 0.0030948 | -0.012363 | -0.0030916 | 9.8904e-06 | 3.2032e-06 | 0.018503 | 0.018503 | 0.018503 | 0.99495 | -0.035607 | 0.99413 | -0.041408 | 6.8529
8 | -0.017252 | -0.0043077 | 0.017305 | 0.0043266 | 5.3451e-05 | 1.8881e-05 | 0.025796 | 0.025795 | 0.025796 | 0.99495 | -0.035607 | 0.99813 | -0.013125 | 9.5539
9 | 0.0021894 | 0.00054372 | -0.002187 | -0.00054747 | 2.4219e-06 | -3.7516e-06 | 0.0032754 | 0.003277 | 0.003277 | 0.99413 | -0.041408 | 0.993 | -0.049484 | 1.2137
10 | 0.010174 | 0.0025479 | -0.010171 | -0.002547 | 2.9461e-06 | 8.6918e-07 | 0.015227 | 0.015228 | 0.015228 | 0.99413 | -0.041408 | 0.99384 | -0.043503 | 5.6398
11 | -0.018009 | -0.0045029 | 0.018042 | 0.0045145 | 3.2625e-05 | 1.1598e-05 | 0.026844 | 0.026844 | 0.026844 | 0.99813 | -0.013125 | 1 | 0 | 9.9423
12 | 0.002187 | 0.00054747 | -0.0021866 | -0.00054802 | 3.558e-07 | -5.4986e-07 | 0.003277 | 0.0032772 | 0.0032772 | 0.993 | -0.049484 | 0.99283 | -0.050661 | 1.2138
13 | 0.0094719 | 0.0023718 | -0.0094696 | -0.0023712 | 2.3551e-06 | 6.6269e-07 | 0.014181 | 0.014181 | 0.014181 | 0.99384 | -0.043503 | 0.99358 | -0.045303 | 5.2523
14 | 0.00092014 | 0.00023019 | -0.0009201 | -0.0002306 | 3.8253e-08 | -4.1432e-07 | 0.001369 | 0.0013692 | 0.0013692 | 1 | 0 | 0.99996 | -0.00030085 | 0.50711
15 | 0.015001 | 0.003728 | -0.014995 | -0.0037258 | 6.5122e-06 | 2.2298e-06 | 0.022311 | 0.022311 | 0.022311 | 1 | 0 | 0.99955 | -0.0031895 | 8.2635
16 | 0.0066933 | 0.0016754 | -0.0066923 | -0.0016752 | 9.4568e-07 | 1.6838e-07 | 0.010023 | 0.010023 | 0.010023 | 0.99358 | -0.045303 | 0.99344 | -0.046326 | 3.7124
17 | 0.013057 | 0.0032402 | -0.013051 | -0.003238 | 6.7436e-06 | 2.2186e-06 | 0.019427 | 0.019427 | 0.019427 | 0.99955 | -0.0031895 | 0.99902 | -0.006995 | 7.1952
18 | 0.0061312 | 0.0015346 | -0.0061269 | -0.001534 | 4.2878e-06 | 5.9488e-07 | 0.0091829 | 0.0091833 | 0.0091833 | 0.99344 | -0.046326 | 0.99272 | -0.051391 | 3.4012
19 | 0.0055103 | 0.0013794 | -0.0055099 | -0.0013794 | 4.1071e-07 | 3.3219e-08 | 0.0082589 | 0.008259 | 0.008259 | 0.99272 | -0.051391 | 0.99264 | -0.051931 | 3.0589
20 | 0.0051686 | 0.0012939 | -0.005168 | -0.0012938 | 6.0313e-07 | 2.3832e-08 | 0.0077474 | 0.0077474 | 0.0077474 | 0.99264 | -0.051931 | 0.99252 | -0.052776 | 2.8694
21 | 0.00133 | 0.00033196 | -0.00133 | -0.00033199 | 7.9919e-09 | -3.8576e-08 | 0.0019935 | 0.0019935 | 0.0019935 | 0.99252 | -0.052776 | 0.99252 | -0.052819 | 0.73834
22 | 0.00069183 | 0.00017205 | -0.00069176 | -0.00017337 | 6.9964e-08 | -1.3205e-06 | 0.0010367 | 0.0010372 | 0.0010372 | 0.99252 | -0.052819 | 0.99241 | -0.053555 | 0.38416
23 | 0.0021427 | 0.00053635 | -0.0021425 | -0.00053675 | 2.3694e-07 | -3.9695e-07 | 0.0031913 | 0.0031915 | 0.0031915 | 0.99902 | -0.006995 | 0.99891 | -0.0077951 | 1.182
24 | 0.010908 | 0.0027016 | -0.010886 | -0.0026949 | 2.1904e-05 | 6.6847e-06 | 0.016236 | 0.016236 | 0.016236 | 0.99902 | -0.006995 | 0.99695 | -0.021862 | 6.0135
25 | 0.00040161 | 0.00010044 | -0.00040161 | -0.00010065 | 3.6104e-09 | -2.1026e-07 | 0.00059818 | 0.00059826 | 0.00059826 | 0.99891 | -0.0077951 | 0.9989 | -0.0078601 | 0.22158
26 | 0.00038828 | 9.1417e-05 | -0.00038824 | -9.3731e-05 | 3.7216e-08 | -2.314e-06 | 0.00057752 | 0.0005783 | 0.0005783 | 0.99695 | -0.021862 | 0.99685 | -0.022621 | 0.21418
27 | 0.0054911 | 0.0013627 | -0.0054858 | -0.0013623 | 5.3117e-06 | 3.9042e-07 | 0.0081912 | 0.0081917 | 0.0081917 | 0.99695 | -0.021862 | 0.99595 | -0.028985 | 3.034
28 | 0.0050066 | 0.0012409 | -0.005002 | -0.0012408 | 4.5689e-06 | 4.7036e-08 | 0.0074678 | 0.0074684 | 0.0074684 | 0.99695 | -0.021862 | 0.99601 | -0.028596 | 2.7661
29 | 0.0034598 | 0.00085453 | -0.003459 | -0.00085485 | 8.2382e-07 | -3.2717e-07 | 0.0051645 | 0.0051647 | 0.0051647 | 0.99601 | -0.028596 | 0.99577 | -0.030365 | 1.9129
30 | 0.0015422 | 0.0003863 | -0.0015421 | -0.00038649 | 5.4354e-08 | -1.9266e-07 | 0.0023039 | 0.002304 | 0.002304 | 0.99601 | -0.028596 | 0.99597 | -0.028851 | 0.85332
31 | 0.0029986 | 0.00073945 | -0.0029971 | -0.0007404 | 1.4461e-06 | -9.4714e-07 | 0.0044767 | 0.0044772 | 0.0044772 | 0.99577 | -0.030365 | 0.99527 | -0.033955 | 1.6582
32 | 0.00038824 | 9.3731e-05 | -0.00038822 | -9.4889e-05 | 1.8668e-08 | -1.1582e-06 | 0.0005783 | 0.0005787 | 0.0005787 | 0.99685 | -0.022621 | 0.9968 | -0.02299 | 0.21433
33 | 0.0047349 | 0.0011741 | -0.0047305 | -0.0011742 | 4.4106e-06 | -1.4195e-07 | 0.0070699 | 0.0070705 | 0.0070705 | 0.99595 | -0.028985 | 0.995 | -0.035852 | 2.6187
34 | 0.00024975 | 6.0185e-05 | -0.00024974 | -6.0934e-05 | 4.9801e-09 | -7.4938e-07 | 0.00037199 | 0.00037225 | 0.00037225 | 0.9968 | -0.02299 | 0.99678 | -0.023143 | 0.13787
35 | 0.0011285 | 0.00027945 | -0.0011283 | -0.00028061 | 1.6637e-07 | -1.1545e-06 | 0.001686 | 0.0016864 | 0.0016864 | 0.99527 | -0.033955 | 0.99512 | -0.035041 | 0.62459
36 | 0.0018686 | 0.00046095 | -0.0018679 | -0.00046269 | 7.6189e-07 | -1.7422e-06 | 0.0027912 | 0.0027919 | 0.0027919 | 0.99527 | -0.033955 | 0.99485 | -0.036981 | 1.034
37 | 0.0044028 | 0.001093 | -0.0043987 | -0.0010934 | 4.0838e-06 | -3.901e-07 | 0.0065807 | 0.0065814 | 0.0065814 | 0.995 | -0.035852 | 0.99404 | -0.042673 | 2.4375
38 | 0.00032775 | 8.1243e-05 | -0.00032774 | -8.2139e-05 | 1.0386e-08 | -8.9642e-07 | 0.00048983 | 0.00049015 | 0.00049015 | 0.995 | -0.035852 | 0.99496 | -0.036083 | 0.18154
39 | 0.00024974 | 6.0934e-05 | -0.00024973 | -6.2305e-05 | 9.1302e-09 | -1.3711e-06 | 0.00037225 | 0.00037272 | 0.00037272 | 0.99678 | -0.023143 | 0.99674 | -0.023415 | 0.13805
40 | 0.0011283 | 0.00028061 | -0.001128 | -0.00028238 | 2.556e-07 | -1.7717e-06 | 0.0016864 | 0.0016871 | 0.0016871 | 0.99512 | -0.035041 | 0.99489 | -0.036692 | 0.62484
41 | 0.0017883 | 0.00044274 | -0.0017876 | -0.00044453 | 7.0806e-07 | -1.7886e-06 | 0.0026728 | 0.0026736 | 0.0026736 | 0.99485 | -0.036981 | 0.99444 | -0.039898 | 0.99021
42 | 0.0008514 | 0.00021304 | -0.00085138 | -0.0002133 | 2.0566e-08 | -2.5604e-07 | 0.0012733 | 0.0012734 | 0.0012734 | 0.99489 | -0.036692 | 0.99486 | -0.036866 | 0.47162
43 | 0.0017876 | 0.00044453 | -0.0017869 | -0.00044623 | 6.7531e-07 | -1.7033e-06 | 0.0026736 | 0.0026743 | 0.0026743 | 0.99444 | -0.039898 | 0.99406 | -0.042658 | 0.99046
44 | 0.0001937 | 4.847e-05 | -0.0001937 | -4.8546e-05 | 3.0692e-10 | -7.5982e-08 | 0.00028969 | 0.00028972 | 0.00028972 | 0.99486 | -0.036866 | 0.99486 | -0.036878 | 0.1073
45 | 0.0015223 | 0.0003799 | -0.0015222 | -0.00038004 | 3.7522e-08 | -1.3576e-07 | 0.0022781 | 0.0022782 | 0.0022782 | 0.99406 | -0.042658 | 0.99403 | -0.042838 | 0.84377
46 | 0.0033348 | 0.00082914 | -0.0033345 | -0.00082927 | 2.91e-07 | -1.3088e-07 | 0.0049896 | 0.0049897 | 0.0049897 | 0.99404 | -0.042673 | 0.99395 | -0.043313 | 1.848
47 | 0.0010639 | 0.00026422 | -0.0010638 | -0.00026498 | 9.7218e-08 | -7.595e-07 | 0.0015918 | 0.0015921 | 0.0015921 | 0.99404 | -0.042673 | 0.99395 | -0.043343 | 0.58965
48 | 0.0032001 | 0.00079561 | -0.0032 | -0.0007957 | 1.8404e-07 | -9.5914e-08 | 0.0047886 | 0.0047886 | 0.0047886 | 0.99395 | -0.043313 | 0.9939 | -0.043735 | 1.7736
49 | 0.00082123 | 0.00020418 | -0.00082114 | -0.00020546 | 9.5665e-08 | -1.2784e-06 | 0.0012289 | 0.0012293 | 0.0012293 | 0.99395 | -0.043343 | 0.99383 | -0.044193 | 0.45531
50 | 0.0017455 | 0.00043118 | -0.0017454 | -0.00043148 | 1.135e-07 | -3.0207e-07 | 0.0026111 | 0.0026112 | 0.0026112 | 0.9939 | -0.043735 | 0.99383 | -0.044218 | 0.96711
51 | 0.00082114 | 0.00020546 | -0.00082111 | -0.00020579 | 2.4804e-08 | -3.3125e-07 | 0.0012293 | 0.0012294 | 0.0012294 | 0.99383 | -0.044193 | 0.9938 | -0.044411 | 0.45535
52 | 0.00024973 | 6.2305e-05 | -0.00024973 | -6.2589e-05 | 1.892e-09 | -2.8367e-07 | 0.00037272 | 0.00037282 | 0.00037282 | 0.99674 | -0.023415 | 0.99674 | -0.02347 | 0.13808
53 | -0.00017621 | -4.4162e-05 | 0.00017621 | 4.3887e-05 | 9.2459e-10 | -2.7575e-07 | 0.00026379 | 0.00026369 | 0.00026379 | 0.99399 | -0.043169 | 0.99399 | -0.043131 | 0.0977
54 | -0.00017621 | -4.3887e-05 | 0.00017621 | 4.364e-05 | 8.2528e-10 | -2.4631e-07 | 0.00026369 | 0.00026361 | 0.00026369 | 0.99399 | -0.043131 | 0.994 | -0.043096 | 0.097664
55 | -0.00036471 | -9.0883e-05 | 0.00036471 | 9.071e-05 | 2.4897e-09 | -1.7268e-07 | 0.00054579 | 0.00054573 | 0.00054579 | 0.994 | -0.043096 | 0.994 | -0.043046 | 0.20214
56 | 0.00078466 | 0.00019462 | -0.00078455 | -0.00019622 | 1.0881e-07 | -1.5962e-06 | 0.0011741 | 0.0011747 | 0.0011747 | 0.99383 | -0.044218 | 0.99369 | -0.045232 | 0.43507
57 | 0.00069749 | 0.00017089 | -0.0006973 | -0.00017444 | 1.9026e-07 | -3.5535e-06 | 0.0010429 | 0.0010442 | 0.0010442 | 0.99383 | -0.044218 | 0.99355 | -0.046236 | 0.38675
58 | 0.0005091 | 0.00012718 | -0.00050909 | -0.00012759 | 1.1497e-08 | -4.0629e-07 | 0.00076222 | 0.00076237 | 0.00076237 | 0.99369 | -0.045232 | 0.99366 | -0.045396 | 0.28236
59 | 0.00039977 | 9.9876e-05 | -0.00039977 | -0.00010019 | 5.4684e-09 | -3.1454e-07 | 0.00059862 | 0.00059873 | 0.00059873 | 0.99355 | -0.046236 | 0.99354 | -0.046335 | 0.22175
60 | 0.00032046 | 7.9777e-05 | -0.00032045 | -8.0313e-05 | 5.9694e-09 | -5.3679e-07 | 0.00047952 | 0.00047971 | 0.00047971 | 0.99403 | -0.042838 | 0.99401 | -0.042973 | 0.17767
61 | 0.0012018 | 0.00030026 | -0.0012017 | -0.00030044 | 2.9583e-08 | -1.7858e-07 | 0.0017986 | 0.0017987 | 0.0017987 | 0.99403 | -0.042838 | 0.99401 | -0.043017 | 0.66619
62 | 0.00087651 | 0.00021893 | -0.0008765 | -0.00021898 | 3.5742e-09 | -4.1767e-08 | 0.0013119 | 0.0013119 | 0.0013119 | 0.99401 | -0.043017 | 0.994 | -0.043046 | 0.48588

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.034763 | 0.0084728

## res_load
| p_mw | q_mvar
0 | 0.00041142 | 0.00010311
1 | 0.00026438 | 6.6259e-05
2 | 0.0030337 | 0.00076033
3 | 0.00037856 | 9.4877e-05
4 | 0.00078263 | 0.00019615
5 | 0.00070373 | 0.00017637
6 | 0.00069893 | 0.00017517
7 | 0.0021866 | 0.00054802
8 | 0.0027763 | 0.0006958
9 | 0.0009201 | 0.0002306
10 | 0.0019375 | 0.00048558
11 | 0.00056111 | 0.00014063
12 | 0.00061665 | 0.00015455
13 | 0.0003413 | 8.5537e-05
14 | 0.0038379 | 0.00096188
15 | 0.00063818 | 0.00015994
16 | 0.00069176 | 0.00017337
17 | 0.0017409 | 0.00043631
18 | 0.00040161 | 0.00010065
19 | 0.00046046 | 0.0001154
20 | 0.0015421 | 0.00038649
21 | 0.00075089 | 0.00018819
22 | 0.00013847 | 3.4705e-05
23 | 0.00032774 | 8.2139e-05
24 | 7.9607e-05 | 1.9951e-05
25 | 0.00027665 | 6.9334e-05
26 | 0.00065768 | 0.00016483
27 | 0.00026463 | 6.6324e-05
28 | 0.00013433 | 3.3667e-05
29 | 0.0002426 | 6.0802e-05
30 | 0.0014545 | 0.00036452
31 | 0.00017621 | 4.4162e-05
32 | 0.00024973 | 6.2589e-05
33 | 0.0001885 | 4.7243e-05
34 | 0.00082111 | 0.00020579
35 | 0.00026324 | 6.5973e-05
36 | 0.00027545 | 6.9034e-05
37 | 0.00029753 | 7.4567e-05
38 | 0.00050909 | 0.00012759
39 | 0.0001937 | 4.8546e-05
40 | 0.00032045 | 8.0313e-05
41 | 0.00032522 | 8.1508e-05
42 | 0.00051179 | 0.00012827
43 | 0.00039977 | 0.00010019

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1