## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1404-34_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1404-34_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1404-34_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1404-34_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1404-34_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1404-34_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1404-34_0_3_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_1404-34_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1404-34_0_3_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_1404-34_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1404-34_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1404-34_0_3_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_1404-34_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1404-34_0_3_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_1404-34_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1404-34_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1404-34_0_3_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_1404-34_0_3_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_1404-34_0_3_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_1404-34_0_3_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_1404-34_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1404-34_0_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_1404-34_0_3_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_1404-34_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1404-34_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1404-34_0_3_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_1404-34_0_3_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_1404-34_0_3_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_1404-34_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_1404-34_0_3_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_1404-34_0_3_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_1404-34_0_3_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_1404-34_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_1404-34_0_3_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_1404-34_0_3_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_1404-34_0_3_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_1404-34_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_1404-34_0_3_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_1404-34_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_1404-34_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_1404-34_0_3_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_1404-34_0_3_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_1404-34_0_3_node_39 | 0.4 | n |  | TRUE
43 | bus_MV_140_0_node_34 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1404-34_0_3_load_0 | 0 | 0.0093927 | 0.002354 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1404-34_0_3_load_1 | 1 | 0.0064639 | 0.00162 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1404-34_0_3_load_2 | 2 | 0.0058191 | 0.0014584 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1404-34_0_3_load_4 | 4 | 0.0052896 | 0.0013257 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1404-34_0_3_load_6 | 5 | 0.0045441 | 0.0011389 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1404-34_0_3_load_13 | 6 | 0.0074177 | 0.0018591 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1404-34_0_3_load_5 | 7 | 0.0015784 | 0.00039559 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1404-34_0_3_load_14 | 8 | 0.0057536 | 0.001442 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1404-34_0_3_load_7 | 9 | 0.0044913 | 0.0011256 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1404-34_0_3_load_8 | 10 | 0.0051141 | 0.0012817 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1404-34_0_3_load_12 | 11 | 0.0041632 | 0.0010434 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1404-34_0_3_load_9 | 12 | 0.0038352 | 0.00096118 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1404-34_0_3_load_10 | 14 | 0.00431 | 0.0010802 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1404-34_0_3_load_11 | 15 | 0.0030609 | 0.00076714 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1404-34_0_3_load_22 | 16 | 0.0055188 | 0.0013831 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1404-34_0_3_load_20 | 17 | 0.00543 | 0.0013609 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1404-34_0_3_load_41 | 18 | 0.0069713 | 0.0017472 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1404-34_0_3_load_38 | 19 | 0.0056753 | 0.0014224 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1404-34_0_3_load_15 | 20 | 0.0014413 | 0.00036122 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1404-34_0_3_load_18 | 21 | 0.0040044 | 0.0010036 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1404-34_0_3_load_16 | 22 | 0.0035886 | 0.00089938 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1404-34_0_3_load_17 | 23 | 0.0023287 | 0.00058363 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1404-34_0_3_load_19 | 24 | 0.0011287 | 0.00028287 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1404-34_0_3_load_26 | 25 | 0.0027278 | 0.00068365 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1404-34_0_3_load_25 | 26 | 0.0041782 | 0.0010472 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1404-34_0_3_load_24 | 27 | 0.0046127 | 0.0011561 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1404-34_0_3_load_23 | 28 | 0.003963 | 0.00099323 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1404-34_0_3_load_21 | 29 | 0.0047304 | 0.0011856 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1404-34_0_3_load_28 | 31 | 0.0039158 | 0.0009814 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1404-34_0_3_load_30 | 32 | 0.0040936 | 0.001026 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1404-34_0_3_load_29 | 33 | 0.0032299 | 0.00080948 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1404-34_0_3_load_31 | 34 | 0.0025448 | 0.00063778 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1404-34_0_3_load_42 | 35 | 0.0047505 | 0.0011906 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1404-34_0_3_load_32 | 36 | 0.0023975 | 0.00060086 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1404-34_0_3_load_36 | 37 | 0.0074067 | 0.0018563 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1404-34_0_3_load_34 | 38 | 0.0049591 | 0.0012429 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1404-34_0_3_load_33 | 39 | 0.0035522 | 0.00089027 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1404-34_0_3_load_35 | 40 | 0.0048705 | 0.0012207 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1404-34_0_3_load_37 | 41 | 0.0040613 | 0.0010179 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1404-34_0_3_load_39 | 42 | 0.003732 | 0.00093533 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1404-34_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0090796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1404-34_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.019152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1404-34_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.015687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1404-34_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0040995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1404-34_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0073603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1404-34_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.025194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1404-34_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0082971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1404-34_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0089066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1404-34_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.020866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1404-34_0_3_line_9 | NAYY 4x150 SE | 8 | 20 | 0.0096208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1404-34_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.019989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1404-34_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.028967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1404-34_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.016242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_1404-34_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.02671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1404-34_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.0088008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_1404-34_0_3_line_15 | NAYY 4x150 SE | 13 | 18 | 0.0057254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1404-34_0_3_line_16 | NAYY 4x150 SE | 13 | 19 | 0.017261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1404-34_0_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.02084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_1404-34_0_3_line_18 | NAYY 4x150 SE | 15 | 16 | 0.0091241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_1404-34_0_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.02447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1404-34_0_3_line_20 | NAYY 4x150 SE | 17 | 29 | 0.0025734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1404-34_0_3_line_21 | NAYY 4x150 SE | 19 | 42 | 0.0027881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1404-34_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.026225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1404-34_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.0066697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1404-34_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.012062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1404-34_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.014223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1404-34_0_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.018789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1404-34_0_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.0048887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1404-34_0_3_line_28 | NAYY 4x150 SE | 26 | 30 | 0.018613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1404-34_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.0071425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1404-34_0_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.018623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1404-34_0_3_line_31 | NAYY 4x150 SE | 30 | 31 | 0.021233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1404-34_0_3_line_32 | NAYY 4x150 SE | 30 | 32 | 0.048761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1404-34_0_3_line_33 | NAYY 4x150 SE | 31 | 34 | 0.029671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1404-34_0_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.01536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1404-34_0_3_line_35 | NAYY 4x150 SE | 34 | 35 | 0.031507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1404-34_0_3_line_36 | NAYY 4x150 SE | 36 | 37 | 0.030297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1404-34_0_3_line_37 | NAYY 4x150 SE | 37 | 38 | 0.0033485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1404-34_0_3_line_38 | NAYY 4x150 SE | 38 | 39 | 0.017711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1404-34_0_3_line_39 | NAYY 4x150 SE | 39 | 40 | 0.013251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1404-34_0_3_line_40 | NAYY 4x150 SE | 40 | 41 | 0.0026537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1404-34_0_3_line_41 | NAYY 4x150 SE | 41 | 42 | 0.020951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1404-34_0_3_trafo_22 | 0.25 MVA 20/0.4 kV | 43 | 16 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2664152.7881 | 1194663.2841 | 2664147.4846 | 1194655.9145
1 | 2664152.7881 | 1194663.2841 | 2664163.9753 | 1194678.8295
2 | 2664138.3214 | 1194643.1816 | 2664147.4846 | 1194655.9145
3 | 2664163.9753 | 1194678.8295 | 2664166.3699 | 1194682.1569
4 | 2664138.3214 | 1194643.1816 | 2664132.8957 | 1194648.1552
5 | 2664166.3699 | 1194682.1569 | 2664181.0861 | 1194702.6061
6 | 2664126.7795 | 1194653.7618 | 2664132.8957 | 1194648.1552
7 | 2664181.0861 | 1194702.6061 | 2664186.2886 | 1194709.8353
8 | 2664126.7795 | 1194653.7618 | 2664111.398 | 1194667.8618
9 | 2664191.9083 | 1194717.6442 | 2664186.2886 | 1194709.8353
10 | 2664096.6634 | 1194681.3687 | 2664111.398 | 1194667.8618
11 | 2664096.6634 | 1194681.3687 | 2664076.0633 | 1194701.7338
12 | 2664096.6634 | 1194681.3687 | 2664105.8841 | 1194694.7396
13 | 2664057.0684 | 1194720.5121 | 2664076.0633 | 1194701.7338
14 | 2664105.8841 | 1194694.7396 | 2664110.8804 | 1194701.9847
15 | 2664057.0684 | 1194720.5121 | 2664052.9061 | 1194724.4434
16 | 2664057.0684 | 1194720.5121 | 2664066.9381 | 1194734.6724
17 | 2664122.7115 | 1194719.1411 | 2664110.8804 | 1194701.9847
18 | 2664122.7115 | 1194719.1411 | 2664127.8914 | 1194726.6523
19 | 2664141.7829 | 1194746.7964 | 2664127.8914 | 1194726.6523
20 | 2664141.7829 | 1194746.7964 | 2664143.2438 | 1194748.9149
21 | 2664066.9381 | 1194734.6724 | 2664068.5323 | 1194736.9598
22 | 2664191.9083 | 1194717.6442 | 2664209.3464 | 1194737.2316
23 | 2664209.3464 | 1194737.2316 | 2664205.0849 | 1194742.3624
24 | 2664199.382 | 1194752.9653 | 2664204.4133 | 1194743.1711 | 2664205.0849 | 1194742.3624
25 | 2664192.8832 | 1194765.6164 | 2664199.382 | 1194752.9653
26 | 2664184.2979 | 1194782.3291 | 2664192.8832 | 1194765.6164
27 | 2664182.0641 | 1194786.6776 | 2664184.2979 | 1194782.3291
28 | 2664174.1235 | 1194803.4926 | 2664176.7301 | 1194797.0612 | 2664182.0641 | 1194786.6776
29 | 2664153.8163 | 1194764.246 | 2664157.8711 | 1194770.1259
30 | 2664153.8163 | 1194764.246 | 2664143.2438 | 1194748.9149
31 | 2664174.1235 | 1194803.4926 | 2664170.8789 | 1194806.1927 | 2664156.6603 | 1194815.533
32 | 2664174.1235 | 1194803.4926 | 2664218.5931 | 1194823.4938
33 | 2664132.3902 | 1194832.5799 | 2664145.1014 | 1194823.1263 | 2664156.6603 | 1194815.533
34 | 2664233.6131 | 1194826.4277 | 2664233.0553 | 1194826.3938 | 2664225.6502 | 1194825.5361 | 2664218.5931 | 1194823.4938
35 | 2664124.9904 | 1194801.9539 | 2664132.3902 | 1194832.5799
36 | 2664101.6482 | 1194784.4724 | 2664093.0115 | 1194813.5125
37 | 2664099.7335 | 1194781.7252 | 2664101.6482 | 1194784.4724
38 | 2664089.6065 | 1194767.1957 | 2664099.7335 | 1194781.7252
39 | 2664089.6065 | 1194767.1957 | 2664082.0294 | 1194756.3246
40 | 2664082.0294 | 1194756.3246 | 2664080.512 | 1194754.1475
41 | 2664068.5323 | 1194736.9598 | 2664080.512 | 1194754.1475

## bus_geodata
| x | y | coords
0 | 2664152.7881 | 1194663.2841
1 | 2664147.4846 | 1194655.9145
2 | 2664163.9753 | 1194678.8295
3 | 2664138.3214 | 1194643.1816
4 | 2664166.3699 | 1194682.1569
5 | 2664132.8957 | 1194648.1552
6 | 2664181.0861 | 1194702.6061
7 | 2664126.7795 | 1194653.7618
8 | 2664186.2886 | 1194709.8353
9 | 2664111.398 | 1194667.8618
10 | 2664096.6634 | 1194681.3687
11 | 2664076.0633 | 1194701.7338
12 | 2664105.8841 | 1194694.7396
13 | 2664057.0684 | 1194720.5121
14 | 2664110.8804 | 1194701.9847
15 | 2664122.7115 | 1194719.1411
16 | 2664127.8914 | 1194726.6523
17 | 2664141.7829 | 1194746.7964
18 | 2664052.9061 | 1194724.4434
19 | 2664066.9381 | 1194734.6724
20 | 2664191.9083 | 1194717.6442
21 | 2664209.3464 | 1194737.2316
22 | 2664205.0849 | 1194742.3624
23 | 2664199.382 | 1194752.9653
24 | 2664192.8832 | 1194765.6164
25 | 2664184.2979 | 1194782.3291
26 | 2664182.0641 | 1194786.6776
27 | 2664157.8711 | 1194770.1259
28 | 2664153.8163 | 1194764.246
29 | 2664143.2438 | 1194748.9149
30 | 2664174.1235 | 1194803.4926
31 | 2664156.6603 | 1194815.533
32 | 2664218.5931 | 1194823.4938
33 | 2664233.6131 | 1194826.4277
34 | 2664132.3902 | 1194832.5799
35 | 2664124.9904 | 1194801.9539
36 | 2664093.0115 | 1194813.5125
37 | 2664101.6482 | 1194784.4724
38 | 2664099.7335 | 1194781.7252
39 | 2664089.6065 | 1194767.1957
40 | 2664082.0294 | 1194756.3246
41 | 2664080.512 | 1194754.1475
42 | 2664068.5323 | 1194736.9598
43 | 2664158.9877 | 1194771.745

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98444 | -0.10863 | 0.0093927 | 0.002354
1 | 0.98539 | -0.10194 | 0.0064639 | 0.00162
2 | 0.98271 | -0.12093 | 0.0058191 | 0.0014584
3 | 0.98717 | -0.089371 | 0 | 0
4 | 0.98237 | -0.12332 | 0.0052896 | 0.0013257
5 | 0.98801 | -0.083489 | 0.0045441 | 0.0011389
6 | 0.98049 | -0.13667 | 0.0074177 | 0.0018591
7 | 0.98901 | -0.076485 | 0.0015784 | 0.00039559
8 | 0.97992 | -0.14071 | 0.0057536 | 0.001442
9 | 0.99156 | -0.058599 | 0.0044913 | 0.0011256
10 | 0.99414 | -0.040645 | 0.0051141 | 0.0012817
11 | 0.99214 | -0.054656 | 0.0041632 | 0.0010434
12 | 0.99581 | -0.029048 | 0.0038352 | 0.00096118
13 | 0.99046 | -0.066494 | 0 | 0
14 | 0.99673 | -0.022611 | 0.00431 | 0.0010802
15 | 0.99899 | -0.0069666 | 0.0030609 | 0.00076714
16 | 1 | 0 | -0.17462 | -0.043861
17 | 0.99935 | -0.0045796 | 0.00543 | 0.0013609
18 | 0.99041 | -0.0669 | 0.0069713 | 0.0017472
19 | 0.98955 | -0.072938 | 0.0056753 | 0.0014224
20 | 0.97939 | -0.14451 | 0.0014413 | 0.00036122
21 | 0.97799 | -0.15449 | 0.0040044 | 0.0010036
22 | 0.97768 | -0.15675 | 0.0035886 | 0.00089938
23 | 0.97717 | -0.16039 | 0.0023287 | 0.00058363
24 | 0.97661 | -0.16435 | 0.0011287 | 0.00028287
25 | 0.97592 | -0.16936 | 0.0027278 | 0.00068365
26 | 0.97575 | -0.17052 | 0.0041782 | 0.0010472
27 | 0.99902 | -0.0068482 | 0.0046127 | 0.0011561
28 | 0.99907 | -0.0065187 | 0.003963 | 0.00099323
29 | 0.9993 | -0.0049219 | 0.0047304 | 0.0011856
30 | 0.97525 | -0.17414 | 0 | 0
31 | 0.9749 | -0.17664 | 0.0039158 | 0.0009814
32 | 0.97473 | -0.17789 | 0.0040936 | 0.001026
33 | 0.97465 | -0.17842 | 0.0032299 | 0.00080948
34 | 0.97458 | -0.17892 | 0.0025448 | 0.00063778
35 | 0.97437 | -0.18049 | 0.0047505 | 0.0011906
36 | 0.98764 | -0.086508 | 0.0023975 | 0.00060086
37 | 0.98774 | -0.085764 | 0.0074067 | 0.0018563
38 | 0.98779 | -0.085428 | 0.0049591 | 0.0012429
39 | 0.98817 | -0.082754 | 0.0035522 | 0.00089027
40 | 0.98852 | -0.080274 | 0.0048705 | 0.0012207
41 | 0.9886 | -0.079645 | 0.0040613 | 0.0010179
42 | 0.98943 | -0.073819 | 0.003732 | 0.00093533
43 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.072003 | -0.018095 | 0.07207 | 0.018121 | 6.7131e-05 | 2.5704e-05 | 0.10885 | 0.10885 | 0.10885 | 0.98444 | -0.10863 | 0.98539 | -0.10194 | 40.3156
1 | 0.06261 | 0.015741 | -0.062503 | -0.0157 | 0.00010708 | 4.094e-05 | 0.094655 | 0.094655 | 0.094655 | 0.98444 | -0.10863 | 0.98271 | -0.12093 | 35.0573
2 | -0.078534 | -0.019741 | 0.078672 | 0.019793 | 0.00013772 | 5.2769e-05 | 0.11861 | 0.11861 | 0.11861 | 0.98539 | -0.10194 | 0.98717 | -0.089371 | 43.9308
3 | 0.056684 | 0.014242 | -0.056665 | -0.014234 | 1.8851e-05 | 7.1983e-06 | 0.085844 | 0.085844 | 0.085844 | 0.98271 | -0.12093 | 0.98237 | -0.12332 | 31.7939
4 | -0.078672 | -0.019793 | 0.078736 | 0.019818 | 6.4617e-05 | 2.4759e-05 | 0.11861 | 0.11861 | 0.11861 | 0.98717 | -0.089371 | 0.98801 | -0.083489 | 43.9307
5 | 0.051376 | 0.012909 | -0.05128 | -0.012872 | 9.5234e-05 | 3.631e-05 | 0.077831 | 0.077831 | 0.077831 | 0.98237 | -0.12332 | 0.98049 | -0.13667 | 28.8265
6 | -0.08328 | -0.020957 | 0.083362 | 0.020988 | 8.1489e-05 | 3.1235e-05 | 0.12546 | 0.12546 | 0.12546 | 0.98801 | -0.083489 | 0.98901 | -0.076485 | 46.4655
7 | 0.043863 | 0.011013 | -0.043838 | -0.011004 | 2.4632e-05 | 9.3617e-06 | 0.066574 | 0.066574 | 0.066574 | 0.98049 | -0.13667 | 0.97992 | -0.14071 | 24.6571
8 | -0.08494 | -0.021384 | 0.085153 | 0.021465 | 0.00021277 | 8.1565e-05 | 0.12783 | 0.12783 | 0.12783 | 0.98901 | -0.076485 | 0.99156 | -0.058599 | 47.345
9 | 0.038084 | 0.009562 | -0.038064 | -0.0095544 | 2.0082e-05 | 7.6028e-06 | 0.057837 | 0.057837 | 0.057837 | 0.97992 | -0.14071 | 0.97939 | -0.14451 | 21.4212
10 | -0.089644 | -0.022591 | 0.08987 | 0.022678 | 0.00022588 | 8.6617e-05 | 0.13457 | 0.13457 | 0.13457 | 0.99156 | -0.058599 | 0.99414 | -0.040645 | 49.8412
11 | 0.048028 | 0.012067 | -0.047934 | -0.012031 | 9.3439e-05 | 3.5563e-05 | 0.071898 | 0.071898 | 0.071898 | 0.99414 | -0.040645 | 0.99214 | -0.054656 | 26.6289
12 | -0.14301 | -0.036026 | 0.14324 | 0.036115 | 0.00023234 | 8.894e-05 | 0.21412 | 0.21412 | 0.21412 | 0.99414 | -0.040645 | 0.99581 | -0.029048 | 39.6526
13 | 0.043771 | 0.010988 | -0.043699 | -0.01096 | 7.1843e-05 | 2.7288e-05 | 0.065654 | 0.065654 | 0.065654 | 0.99214 | -0.054656 | 0.99046 | -0.066494 | 24.3164
14 | -0.14708 | -0.037076 | 0.14721 | 0.037127 | 0.00013272 | 5.0818e-05 | 0.21985 | 0.21985 | 0.21985 | 0.99581 | -0.029048 | 0.99673 | -0.022611 | 40.7138
15 | 0.0069717 | 0.0017473 | -0.0069713 | -0.0017472 | 3.9193e-07 | 7.7058e-08 | 0.010474 | 0.010474 | 0.010474 | 0.99046 | -0.066494 | 0.99041 | -0.0669 | 3.8792
16 | 0.036728 | 0.0092132 | -0.036695 | -0.0092008 | 3.2795e-05 | 1.2392e-05 | 0.055181 | 0.055181 | 0.055181 | 0.99046 | -0.066494 | 0.98955 | -0.072938 | 20.4373
17 | -0.15152 | -0.038207 | 0.15186 | 0.038335 | 0.00033295 | 0.00012751 | 0.22629 | 0.22629 | 0.22629 | 0.99673 | -0.022611 | 0.99899 | -0.0069666 | 41.9054
18 | -0.15492 | -0.039102 | 0.15507 | 0.03916 | 0.0001517 | 5.8109e-05 | 0.23085 | 0.23085 | 0.23085 | 0.99899 | -0.0069666 | 1 | 0 | 42.7496
19 | 0.018751 | 0.0047007 | -0.018739 | -0.0046964 | 1.1887e-05 | 4.2512e-06 | 0.027902 | 0.027902 | 0.027902 | 1 | 0 | 0.99935 | -0.0045796 | 10.3341
20 | 0.013309 | 0.0033355 | -0.013308 | -0.0033353 | 6.3062e-07 | 2.0883e-07 | 0.019817 | 0.019817 | 0.019817 | 0.99935 | -0.0045796 | 0.9993 | -0.0049219 | 7.3396
21 | 0.03102 | 0.0077785 | -0.031016 | -0.0077771 | 3.7856e-06 | 1.4202e-06 | 0.046647 | 0.046647 | 0.046647 | 0.98955 | -0.072938 | 0.98943 | -0.073819 | 17.2765
22 | 0.036623 | 0.0091932 | -0.036572 | -0.009174 | 5.0675e-05 | 1.9161e-05 | 0.055647 | 0.055648 | 0.055648 | 0.97939 | -0.14451 | 0.97799 | -0.15449 | 20.6102
23 | 0.032568 | 0.0081704 | -0.032558 | -0.0081666 | 1.022e-05 | 3.8472e-06 | 0.049555 | 0.049555 | 0.049555 | 0.97799 | -0.15449 | 0.97768 | -0.15675 | 18.3537
24 | 0.028969 | 0.0072672 | -0.028954 | -0.0072617 | 1.4634e-05 | 5.4772e-06 | 0.044093 | 0.044093 | 0.044093 | 0.97768 | -0.15675 | 0.97717 | -0.16039 | 16.3308
25 | 0.026626 | 0.0066781 | -0.026611 | -0.0066726 | 1.4591e-05 | 5.4339e-06 | 0.040547 | 0.040547 | 0.040547 | 0.97717 | -0.16039 | 0.97661 | -0.16435 | 15.0175
26 | 0.025482 | 0.0063898 | -0.025465 | -0.0063832 | 1.7675e-05 | 6.5632e-06 | 0.038828 | 0.038828 | 0.038828 | 0.97661 | -0.16435 | 0.97592 | -0.16936 | 14.3806
27 | 0.022737 | 0.0056996 | -0.022733 | -0.0056982 | 3.6665e-06 | 1.3491e-06 | 0.034668 | 0.034668 | 0.034668 | 0.97592 | -0.16936 | 0.97575 | -0.17052 | 12.8402
28 | 0.018555 | 0.0046511 | -0.018546 | -0.0046477 | 9.2998e-06 | 3.3445e-06 | 0.028297 | 0.028297 | 0.028297 | 0.97575 | -0.17052 | 0.97525 | -0.17414 | 10.4803
29 | -0.0046127 | -0.0011561 | 0.0046129 | 0.001156 | 2.1038e-07 | -1.2608e-08 | 0.0068705 | 0.0068705 | 0.0068705 | 0.99902 | -0.0068482 | 0.99907 | -0.0065187 | 2.5446
30 | -0.008576 | -0.0021493 | 0.0085779 | 0.0021498 | 1.8959e-06 | 4.8529e-07 | 0.012773 | 0.012773 | 0.012773 | 0.99907 | -0.0065187 | 0.9993 | -0.0049219 | 4.7308
31 | 0.011218 | 0.0028115 | -0.011214 | -0.0028103 | 3.8819e-06 | 1.2282e-06 | 0.017117 | 0.017117 | 0.017117 | 0.97525 | -0.17414 | 0.9749 | -0.17664 | 6.3396
32 | 0.0073275 | 0.0018362 | -0.0073237 | -0.0018353 | 3.8032e-06 | 8.5467e-07 | 0.01118 | 0.01118 | 0.01118 | 0.97525 | -0.17414 | 0.97473 | -0.17789 | 4.1409
33 | 0.0072986 | 0.0018289 | -0.0072963 | -0.0018284 | 2.2977e-06 | 5.1388e-07 | 0.01114 | 0.01114 | 0.01114 | 0.9749 | -0.17664 | 0.97458 | -0.17892 | 4.126
34 | 0.0032301 | 0.00080938 | -0.0032299 | -0.00080948 | 2.3305e-07 | -1.0181e-07 | 0.004931 | 0.0049311 | 0.0049311 | 0.97473 | -0.17789 | 0.97465 | -0.17842 | 1.8263
35 | 0.0047516 | 0.0011906 | -0.0047505 | -0.0011906 | 1.0348e-06 | 5.4675e-09 | 0.0072547 | 0.0072548 | 0.0072548 | 0.97458 | -0.17892 | 0.97437 | -0.18049 | 2.687
36 | -0.0023975 | -0.00060086 | 0.0023977 | 0.00060057 | 2.4666e-07 | -2.9288e-07 | 0.0036121 | 0.003612 | 0.0036121 | 0.98764 | -0.086508 | 0.98774 | -0.085764 | 1.3378
37 | -0.0098044 | -0.0024569 | 0.0098049 | 0.002457 | 4.5584e-07 | 1.3246e-07 | 0.01477 | 0.01477 | 0.01477 | 0.98774 | -0.085764 | 0.98779 | -0.085428 | 5.4704
38 | -0.014764 | -0.0036999 | 0.014769 | 0.0037017 | 5.4665e-06 | 1.8757e-06 | 0.022241 | 0.02224 | 0.022241 | 0.98779 | -0.085428 | 0.98817 | -0.082754 | 8.2372
39 | -0.018322 | -0.004592 | 0.018328 | 0.0045943 | 6.294e-06 | 2.251e-06 | 0.02759 | 0.027589 | 0.02759 | 0.98817 | -0.082754 | 0.98852 | -0.080274 | 10.2183
40 | -0.023198 | -0.0058149 | 0.0232 | 0.0058157 | 2.0193e-06 | 7.4264e-07 | 0.034921 | 0.034921 | 0.034921 | 0.98852 | -0.080274 | 0.9886 | -0.079645 | 12.9337
41 | -0.027262 | -0.0068335 | 0.027284 | 0.0068417 | 2.2012e-05 | 8.1975e-06 | 0.041034 | 0.041034 | 0.041034 | 0.9886 | -0.079645 | 0.98943 | -0.073819 | 15.1978

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.18014 | 0.045244

## res_load
| p_mw | q_mvar
0 | 0.0093927 | 0.002354
1 | 0.0064639 | 0.00162
2 | 0.0058191 | 0.0014584
3 | 0.0052896 | 0.0013257
4 | 0.0045441 | 0.0011389
5 | 0.0074177 | 0.0018591
6 | 0.0015784 | 0.00039559
7 | 0.0057536 | 0.001442
8 | 0.0044913 | 0.0011256
9 | 0.0051141 | 0.0012817
10 | 0.0041632 | 0.0010434
11 | 0.0038352 | 0.00096118
12 | 0.00431 | 0.0010802
13 | 0.0030609 | 0.00076714
14 | 0.0055188 | 0.0013831
15 | 0.00543 | 0.0013609
16 | 0.0069713 | 0.0017472
17 | 0.0056753 | 0.0014224
18 | 0.0014413 | 0.00036122
19 | 0.0040044 | 0.0010036
20 | 0.0035886 | 0.00089938
21 | 0.0023287 | 0.00058363
22 | 0.0011287 | 0.00028287
23 | 0.0027278 | 0.00068365
24 | 0.0041782 | 0.0010472
25 | 0.0046127 | 0.0011561
26 | 0.003963 | 0.00099323
27 | 0.0047304 | 0.0011856
28 | 0.0039158 | 0.0009814
29 | 0.0040936 | 0.001026
30 | 0.0032299 | 0.00080948
31 | 0.0025448 | 0.00063778
32 | 0.0047505 | 0.0011906
33 | 0.0023975 | 0.00060086
34 | 0.0074067 | 0.0018563
35 | 0.0049591 | 0.0012429
36 | 0.0035522 | 0.00089027
37 | 0.0048705 | 0.0012207
38 | 0.0040613 | 0.0010179
39 | 0.003732 | 0.00093533

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1