## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1404-3_2_2_node_39 | 0.4 | n |  | TRUE
1 | bus_LV_1404-3_2_2_node_41 | 0.4 | n |  | TRUE
2 | bus_LV_1404-3_2_2_node_44 | 0.4 | n |  | TRUE
3 | bus_LV_1404-3_2_2_node_45 | 0.4 | n |  | TRUE
4 | bus_LV_1404-3_2_2_node_46 | 0.4 | n |  | TRUE
5 | bus_LV_1404-3_2_2_node_47 | 0.4 | n |  | TRUE
6 | bus_LV_1404-3_2_2_node_56 | 0.4 | n |  | TRUE
7 | bus_LV_1404-3_2_2_node_55 | 0.4 | n |  | TRUE
8 | bus_LV_1404-3_2_2_node_48 | 0.4 | n |  | TRUE
9 | bus_LV_1404-3_2_2_node_57 | 0.4 | n |  | TRUE
10 | bus_LV_1404-3_2_2_node_94 | 0.4 | n |  | TRUE
11 | bus_LV_1404-3_2_2_node_54 | 0.4 | n |  | TRUE
12 | bus_LV_1404-3_2_2_node_88 | 0.4 | n |  | TRUE
13 | bus_LV_1404-3_2_2_node_87 | 0.4 | n |  | TRUE
14 | bus_LV_1404-3_2_2_node_71 | 0.4 | n |  | TRUE
15 | bus_LV_1404-3_2_2_node_78 | 0.4 | n |  | TRUE
16 | bus_LV_1404-3_2_2_node_79 | 0.4 | n |  | TRUE
17 | bus_LV_1404-3_2_2_node_80 | 0.4 | n |  | TRUE
18 | bus_LV_1404-3_2_2_node_81 | 0.4 | n |  | TRUE
19 | bus_LV_1404-3_2_2_node_85 | 0.4 | n |  | TRUE
20 | bus_LV_1404-3_2_2_node_82 | 0.4 | n |  | TRUE
21 | bus_LV_1404-3_2_2_node_83 | 0.4 | n |  | TRUE
22 | bus_LV_1404-3_2_2_node_84 | 0.4 | n |  | TRUE
23 | bus_LV_1404-3_2_2_node_86 | 0.4 | n |  | TRUE
24 | bus_LV_1404-3_2_2_node_91 | 0.4 | n |  | TRUE
25 | bus_LV_1404-3_2_2_node_89 | 0.4 | n |  | TRUE
26 | bus_LV_1404-3_2_2_node_90 | 0.4 | n |  | TRUE
27 | bus_LV_1404-3_2_2_node_92 | 0.4 | n |  | TRUE
28 | bus_LV_1404-3_2_2_node_93 | 0.4 | n |  | TRUE
29 | bus_MV_0_node_91 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1404-3_2_2_load_39 | 0 | 0.00020881 | 5.2334e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1404-3_2_2_load_44 | 2 | 0.00025709 | 6.4432e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1404-3_2_2_load_45 | 3 | 0.00021602 | 5.414e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1404-3_2_2_load_47 | 5 | 0.00010085 | 2.5276e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1404-3_2_2_load_55 | 7 | 0.00028062 | 7.033e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1404-3_2_2_load_48 | 8 | 0.00020688 | 5.185e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1404-3_2_2_load_57 | 9 | 0.00020514 | 5.1414e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1404-3_2_2_load_94 | 10 | 0.00026305 | 6.5926e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1404-3_2_2_load_54 | 11 | 0.00019721 | 4.9425e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1404-3_2_2_load_88 | 12 | 0.00025271 | 6.3335e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1404-3_2_2_load_87 | 13 | 0.00024945 | 6.2517e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1404-3_2_2_load_71 | 14 | 0.00059498 | 0.00014912 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1404-3_2_2_load_78 | 15 | 0.00039011 | 9.777e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1404-3_2_2_load_79 | 16 | 0.00023035 | 5.773e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1404-3_2_2_load_80 | 17 | 0.00014042 | 3.5192e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1404-3_2_2_load_85 | 19 | 0.00010917 | 2.7361e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1404-3_2_2_load_82 | 20 | 0.00016883 | 4.2313e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1404-3_2_2_load_83 | 21 | 0.00021402 | 5.3638e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1404-3_2_2_load_84 | 22 | 0.00010481 | 2.6267e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1404-3_2_2_load_86 | 23 | 0.00023842 | 5.9753e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1404-3_2_2_load_91 | 24 | 0.01151 | 0.0028846 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1404-3_2_2_load_89 | 25 | 0.00067198 | 0.00016841 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1404-3_2_2_load_90 | 26 | 0.000433 | 0.00010852 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1404-3_2_2_load_92 | 27 | 0.0099477 | 0.0024931 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1404-3_2_2_load_93 | 28 | 0.0046535 | 0.0011663 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1404-3_2_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.057051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1404-3_2_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.076996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1404-3_2_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.02317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1404-3_2_2_line_3 | NAYY 4x150 SE | 1 | 4 | 0.042802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1404-3_2_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.01408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1404-3_2_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.11639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1404-3_2_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.019138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1404-3_2_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.11286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1404-3_2_2_line_8 | NAYY 4x150 SE | 5 | 9 | 0.050548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1404-3_2_2_line_9 | NAYY 4x150 SE | 6 | 12 | 0.055108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1404-3_2_2_line_10 | NAYY 4x150 SE | 6 | 13 | 0.0072487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1404-3_2_2_line_11 | NAYY 4x150 SE | 7 | 11 | 0.040267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1404-3_2_2_line_12 | NAYY 4x150 SE | 8 | 10 | 0.013175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1404-3_2_2_line_13 | NAYY 4x150 SE | 12 | 25 | 0.17388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1404-3_2_2_line_14 | NAYY 4x150 SE | 13 | 19 | 0.013002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1404-3_2_2_line_15 | NAYY 4x150 SE | 14 | 15 | 0.18829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1404-3_2_2_line_16 | NAYY 4x150 SE | 15 | 16 | 0.065005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1404-3_2_2_line_17 | NAYY 4x150 SE | 16 | 17 | 0.045834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1404-3_2_2_line_18 | NAYY 4x150 SE | 17 | 18 | 0.0076054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1404-3_2_2_line_19 | NAYY 4x150 SE | 18 | 19 | 0.030308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1404-3_2_2_line_20 | NAYY 4x150 SE | 18 | 20 | 0.057889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1404-3_2_2_line_21 | NAYY 4x150 SE | 20 | 21 | 0.022029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1404-3_2_2_line_22 | NAYY 4x150 SE | 21 | 22 | 0.042438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1404-3_2_2_line_23 | NAYY 4x150 SE | 22 | 23 | 0.011779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1404-3_2_2_line_24 | NAYY 4x150 SE | 23 | 24 | 0.078479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1404-3_2_2_line_25 | NAYY 4x150 SE | 24 | 27 | 0.14858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1404-3_2_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.03551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1404-3_2_2_line_27 | NAYY 4x150 SE | 27 | 28 | 0.065438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1404-3_2_2_trafo_91 | 0.25 MVA 20/0.4 kV | 29 | 24 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2664361.2758 | 1196115.7282 | 2664339.2735 | 1196134.8694 | 2664318.8759 | 1196153.8875
1 | 2664361.2758 | 1196115.7282 | 2664350.1473 | 1196113.4182 | 2664334.9588 | 1196113.8774 | 2664322.3177 | 1196113.3634 | 2664306.2816 | 1196111.1786 | 2664285.461 | 1196106.163 | 2664285.2839 | 1196106.1157
2 | 2664361.2758 | 1196115.7282 | 2664378.8169 | 1196104.0879 | 2664380.717 | 1196103.1526
3 | 2664350.643 | 1196074.434 | 2664358.339 | 1196109.7042 | 2664361.2758 | 1196115.7282
4 | 2664285.2839 | 1196106.1157 | 2664271.6797 | 1196102.4859
5 | 2664350.643 | 1196074.434 | 2664334.8456 | 1196021.7331 | 2664320.4995 | 1195987.77 | 2664308.9999 | 1195966.1003
6 | 2664350.643 | 1196074.434 | 2664345.5012 | 1196074.3786 | 2664340.1159 | 1196072.1639 | 2664334.2292 | 1196066.4939
7 | 2664182.0035 | 1196036.3765 | 2664188.3969 | 1196039.9264 | 2664197.6873 | 1196046.7078 | 2664221.2318 | 1196068.3954 | 2664245.7809 | 1196090.8611 | 2664254.6943 | 1196097.2606 | 2664264.2739 | 1196100.5098 | 2664271.6797 | 1196102.4859
8 | 2664271.6797 | 1196102.4859 | 2664247.5481 | 1196146.9019
9 | 2664308.9999 | 1195966.1003 | 2664299.8135 | 1195958.864 | 2664290.7502 | 1195957.8883 | 2664256.5005 | 1195959.7186
10 | 2664308.9999 | 1195966.1003 | 2664306.3871 | 1195959.3389
11 | 2664304.5936 | 1196042.8648 | 2664312.0817 | 1196042.9453 | 2664318.3192 | 1196046.6812 | 2664328.3378 | 1196060.8194 | 2664334.2292 | 1196066.4939
12 | 2664182.0035 | 1196036.3765 | 2664170.7964 | 1196030.154 | 2664170.5134 | 1196029.9373
13 | 2664256.5005 | 1195959.7186 | 2664245.3704 | 1195960.3133 | 2664221.0881 | 1195959.7634 | 2664176.3687 | 1195954.6139 | 2664169.9537 | 1195952.4994 | 2664162.1009 | 1195948.0459 | 2664144.1039 | 1195934.7229 | 2664128.922 | 1195922.4529 | 2664115.6933 | 1195909.9149 | 2664113.0981 | 1195906.0959 | 2664107.6465 | 1195895.8315 | 2664106.9223 | 1195894.785
14 | 2664303.0048 | 1195946.8384 | 2664304.3969 | 1195954.1883 | 2664306.3871 | 1195959.3389
15 | 2664344.3533 | 1195806.2112 | 2664337.0019 | 1195618.0613
16 | 2664344.3533 | 1195806.2112 | 2664343.3789 | 1195814.2363 | 2664325.6087 | 1195854.1909 | 2664320.4282 | 1195866.3244
17 | 2664320.4282 | 1195866.3244 | 2664309.6804 | 1195891.4972 | 2664305.2427 | 1195903.879 | 2664304.3719 | 1195909.1168
18 | 2664303.1248 | 1195916.6192 | 2664304.3719 | 1195909.1168
19 | 2664303.1248 | 1195916.6192 | 2664302.5107 | 1195931.2101 | 2664302.2341 | 1195942.7695 | 2664303.0048 | 1195946.8384
20 | 2664303.1248 | 1195916.6192 | 2664299.7468 | 1195919.0177 | 2664296.8378 | 1195919.5979 | 2664293.4926 | 1195918.9504 | 2664290.0178 | 1195916.1781 | 2664261.558 | 1195884.0416
21 | 2664261.558 | 1195884.0416 | 2664246.9534 | 1195867.5504
22 | 2664246.9534 | 1195867.5504 | 2664223.4079 | 1195840.963 | 2664218.5088 | 1195836.0706
23 | 2664218.5088 | 1195836.0706 | 2664210.1738 | 1195827.7471
24 | 2664210.1738 | 1195827.7471 | 2664164.3476 | 1195781.9836 | 2664154.1532 | 1195772.8088
25 | 2664154.1532 | 1195772.8088 | 2664023.9109 | 1195701.3058
26 | 2664081.061 | 1195871.3101 | 2664092.771 | 1195878.4175 | 2664099.7164 | 1195884.3731 | 2664106.9223 | 1195894.785
27 | 2664023.9109 | 1195701.3058 | 2664019.378 | 1195705.6637 | 2664009.078 | 1195707.7213 | 2663997.6687 | 1195711.6349 | 2663987.5243 | 1195713.3941 | 2663979.5764 | 1195714.2318 | 2663975.6652 | 1195715.9021 | 2663974.3877 | 1195718.5233 | 2663974.9659 | 1195722.8765 | 2663978.346 | 1195728.704

## bus_geodata
| x | y | coords
0 | 2664318.8759 | 1196153.8875
1 | 2664361.2758 | 1196115.7282
2 | 2664285.2839 | 1196106.1157
3 | 2664380.717 | 1196103.1526
4 | 2664350.643 | 1196074.434
5 | 2664271.6797 | 1196102.4859
6 | 2664308.9999 | 1195966.1003
7 | 2664334.2292 | 1196066.4939
8 | 2664182.0035 | 1196036.3765
9 | 2664247.5481 | 1196146.9019
10 | 2664170.5134 | 1196029.9373
11 | 2664304.5936 | 1196042.8648
12 | 2664256.5005 | 1195959.7186
13 | 2664306.3871 | 1195959.3389
14 | 2664337.002 | 1195618.0613
15 | 2664344.3533 | 1195806.2112
16 | 2664320.4282 | 1195866.3244
17 | 2664304.3719 | 1195909.1168
18 | 2664303.1248 | 1195916.6192
19 | 2664303.0048 | 1195946.8384
20 | 2664261.558 | 1195884.0416
21 | 2664246.9534 | 1195867.5504
22 | 2664218.5088 | 1195836.0706
23 | 2664210.1738 | 1195827.7471
24 | 2664154.1532 | 1195772.8088
25 | 2664106.9223 | 1195894.785
26 | 2664081.061 | 1195871.3101
27 | 2664023.9109 | 1195701.3058
28 | 2663978.346 | 1195728.704
29 | 2664154.1532 | 1195772.8088

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99768 | -0.016668 | 0.00020881 | 5.2334e-05
1 | 0.99769 | -0.016547 | 0 | 0
2 | 0.99758 | -0.017362 | 0.00025709 | 6.4432e-05
3 | 0.99769 | -0.016597 | 0.00021602 | 5.414e-05
4 | 0.99778 | -0.015906 | 0 | 0
5 | 0.99757 | -0.017474 | 0.00010085 | 2.5276e-05
6 | 0.99811 | -0.01359 | 0 | 0
7 | 0.99777 | -0.015998 | 0.00028062 | 7.033e-05
8 | 0.99749 | -0.018013 | 0.00020688 | 5.185e-05
9 | 0.99755 | -0.017579 | 0.00020514 | 5.1414e-05
10 | 0.99748 | -0.018048 | 0.00026305 | 6.5926e-05
11 | 0.99776 | -0.016079 | 0.00019721 | 4.9425e-05
12 | 0.998 | -0.014352 | 0.00025271 | 6.3335e-05
13 | 0.99814 | -0.013345 | 0.00024945 | 6.2517e-05
14 | 0.99802 | -0.01421 | 0.00059498 | 0.00014912
15 | 0.99818 | -0.01307 | 0.00039011 | 9.777e-05
16 | 0.99827 | -0.012414 | 0.00023035 | 5.773e-05
17 | 0.99835 | -0.011844 | 0.00014042 | 3.5192e-05
18 | 0.99836 | -0.011739 | 0 | 0
19 | 0.9982 | -0.012873 | 0.00010917 | 2.7361e-05
20 | 0.99878 | -0.0087684 | 0.00016883 | 4.2313e-05
21 | 0.99894 | -0.0076007 | 0.00021402 | 5.3638e-05
22 | 0.99927 | -0.0052601 | 0.00010481 | 2.6267e-05
23 | 0.99936 | -0.004598 | 0.00023842 | 5.9753e-05
24 | 1 | 0 | -0.021192 | -0.0050974
25 | 0.99772 | -0.016299 | 0.00067198 | 0.00016841
26 | 0.9977 | -0.016454 | 0.000433 | 0.00010852
27 | 0.9969 | -0.021739 | 0.0099477 | 0.0024931
28 | 0.99646 | -0.024801 | 0.0046535 | 0.0011663
29 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00020881 | -5.2334e-05 | 0.00020882 | 5.159e-05 | 3.4502e-09 | -7.4369e-07 | 0.00031144 | 0.00031118 | 0.00031144 | 0.99768 | -0.016668 | 0.99769 | -0.016547 | 0.11535
1 | 0.0010332 | 0.00025547 | -0.0010331 | -0.00025643 | 1.1393e-07 | -9.6155e-07 | 0.0015397 | 0.0015401 | 0.0015401 | 0.99769 | -0.016547 | 0.99758 | -0.017362 | 0.5704
2 | 0.00021602 | 5.3838e-05 | -0.00021602 | -5.414e-05 | 1.5003e-09 | -3.0199e-07 | 0.00032208 | 0.00032219 | 0.00032219 | 0.99769 | -0.016547 | 0.99769 | -0.016597 | 0.11933
3 | -0.001458 | -0.0003609 | 0.0014581 | 0.00036038 | 1.261e-07 | -5.1049e-07 | 0.002173 | 0.0021728 | 0.002173 | 0.99769 | -0.016547 | 0.99778 | -0.015906 | 0.80481
4 | 0.00077598 | 0.000192 | -0.00077597 | -0.00019218 | 1.1754e-08 | -1.793e-07 | 0.0011566 | 0.0011567 | 0.0011567 | 0.99758 | -0.017362 | 0.99757 | -0.017474 | 0.42839
5 | -0.001936 | -0.00047937 | 0.0019366 | 0.00047808 | 6.0446e-07 | -1.2883e-06 | 0.0028851 | 0.0028846 | 0.0028851 | 0.99778 | -0.015906 | 0.99811 | -0.01359 | 1.0686
6 | 0.00047784 | 0.00011898 | -0.00047783 | -0.00011923 | 6.0605e-09 | -2.4763e-07 | 0.00071234 | 0.00071242 | 0.00071242 | 0.99778 | -0.015906 | 0.99777 | -0.015998 | 0.26386
7 | 0.00046997 | 0.00011614 | -0.00046993 | -0.0001176 | 3.4577e-08 | -1.46e-06 | 0.00070045 | 0.00070097 | 0.00070097 | 0.99757 | -0.017474 | 0.99749 | -0.018013 | 0.25962
8 | 0.00020515 | 5.0755e-05 | -0.00020514 | -5.1414e-05 | 2.9513e-09 | -6.5879e-07 | 0.00030577 | 0.00030601 | 0.00030601 | 0.99757 | -0.017474 | 0.99755 | -0.017579 | 0.11334
9 | 0.0013581 | 0.00033699 | -0.001358 | -0.00033765 | 1.4083e-07 | -6.66e-07 | 0.0020236 | 0.0020238 | 0.0020238 | 0.99811 | -0.01359 | 0.998 | -0.014352 | 0.74957
10 | -0.0032947 | -0.00081506 | 0.0032948 | 0.00081501 | 1.0896e-07 | -5.2832e-08 | 0.0049082 | 0.0049081 | 0.0049082 | 0.99811 | -0.01359 | 0.99814 | -0.013345 | 1.8178
11 | 0.00019721 | 4.89e-05 | -0.00019721 | -4.9425e-05 | 2.1721e-09 | -5.2508e-07 | 0.00029392 | 0.00029411 | 0.00029411 | 0.99777 | -0.015998 | 0.99776 | -0.016079 | 0.10893
12 | 0.00026305 | 6.5755e-05 | -0.00026305 | -6.5926e-05 | 1.2657e-09 | -1.7149e-07 | 0.00039235 | 0.00039241 | 0.00039241 | 0.99749 | -0.018013 | 0.99748 | -0.018048 | 0.14534
13 | 0.0011053 | 0.00027432 | -0.001105 | -0.00027647 | 2.9448e-07 | -2.1582e-06 | 0.001647 | 0.0016478 | 0.0016478 | 0.998 | -0.014352 | 0.99772 | -0.016299 | 0.61031
14 | -0.0035443 | -0.00087753 | 0.0035445 | 0.00087745 | 2.2619e-07 | -8.2962e-08 | 0.00528 | 0.00528 | 0.00528 | 0.99814 | -0.013345 | 0.9982 | -0.012873 | 1.9556
15 | -0.00059498 | -0.00014912 | 0.00059507 | 0.00014669 | 9.2373e-08 | -2.4254e-06 | 0.0008871 | 0.00088624 | 0.0008871 | 0.99802 | -0.01421 | 0.99818 | -0.01307 | 0.32856
16 | -0.00098518 | -0.00024446 | 0.00098527 | 0.00024364 | 8.7372e-08 | -8.1619e-07 | 0.0014678 | 0.0014675 | 0.0014678 | 0.99818 | -0.01307 | 0.99827 | -0.012414 | 0.54362
17 | -0.0012156 | -0.00030138 | 0.0012157 | 0.00030081 | 9.3774e-08 | -5.6321e-07 | 0.0018108 | 0.0018106 | 0.0018108 | 0.99827 | -0.012414 | 0.99835 | -0.011844 | 0.67068
18 | -0.0013561 | -0.000336 | 0.0013561 | 0.00033591 | 1.9363e-08 | -9.2003e-08 | 0.0020199 | 0.0020199 | 0.0020199 | 0.99835 | -0.011844 | 0.99836 | -0.011739 | 0.74812
19 | 0.0036542 | 0.00090463 | -0.0036537 | -0.00090481 | 5.6022e-07 | -1.8078e-07 | 0.0054426 | 0.0054427 | 0.0054427 | 0.99836 | -0.011739 | 0.9982 | -0.012873 | 2.0158
20 | -0.0050104 | -0.0012405 | 0.0050124 | 0.0012406 | 2.0115e-06 | 1.6377e-08 | 0.0074625 | 0.0074622 | 0.0074625 | 0.99836 | -0.011739 | 0.99878 | -0.0087684 | 2.7639
21 | -0.0051812 | -0.0012829 | 0.005182 | 0.0012829 | 8.1788e-07 | 2.6232e-08 | 0.0077137 | 0.0077136 | 0.0077137 | 0.99878 | -0.0087684 | 0.99894 | -0.0076007 | 2.8569
22 | -0.0053961 | -0.0013365 | 0.0053978 | 0.0013366 | 1.7085e-06 | 1.0137e-07 | 0.0080324 | 0.0080322 | 0.0080324 | 0.99894 | -0.0076007 | 0.99927 | -0.0052601 | 2.975
23 | -0.0055026 | -0.0013629 | 0.0055031 | 0.0013629 | 4.9282e-07 | 3.5223e-08 | 0.0081883 | 0.0081882 | 0.0081883 | 0.99927 | -0.0052601 | 0.99936 | -0.004598 | 3.0327
24 | -0.0057415 | -0.0014227 | 0.0057451 | 0.001423 | 3.5741e-06 | 3.4572e-07 | 0.0085432 | 0.0085429 | 0.0085432 | 0.99936 | -0.004598 | 1 | 0 | 3.1642
25 | 0.014647 | 0.0036743 | -0.014603 | -0.0036593 | 4.4048e-05 | 1.4998e-05 | 0.021796 | 0.021797 | 0.021797 | 1 | 0 | 0.9969 | -0.021739 | 8.073
26 | 0.00043301 | 0.00010806 | -0.000433 | -0.00010852 | 9.2389e-09 | -4.6018e-07 | 0.00064564 | 0.0006458 | 0.0006458 | 0.99772 | -0.016299 | 0.9977 | -0.016454 | 0.23919
27 | 0.0046554 | 0.0011662 | -0.0046535 | -0.0011663 | 1.9717e-06 | -9.4458e-08 | 0.0069487 | 0.006949 | 0.006949 | 0.9969 | -0.021739 | 0.99646 | -0.024801 | 2.5737

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.032702 | 0.007982

## res_load
| p_mw | q_mvar
0 | 0.00020881 | 5.2334e-05
1 | 0.00025709 | 6.4432e-05
2 | 0.00021602 | 5.414e-05
3 | 0.00010085 | 2.5276e-05
4 | 0.00028062 | 7.033e-05
5 | 0.00020688 | 5.185e-05
6 | 0.00020514 | 5.1414e-05
7 | 0.00026305 | 6.5926e-05
8 | 0.00019721 | 4.9425e-05
9 | 0.00025271 | 6.3335e-05
10 | 0.00024945 | 6.2517e-05
11 | 0.00059498 | 0.00014912
12 | 0.00039011 | 9.777e-05
13 | 0.00023035 | 5.773e-05
14 | 0.00014042 | 3.5192e-05
15 | 0.00010917 | 2.7361e-05
16 | 0.00016883 | 4.2313e-05
17 | 0.00021402 | 5.3638e-05
18 | 0.00010481 | 2.6267e-05
19 | 0.00023842 | 5.9753e-05
20 | 0.01151 | 0.0028846
21 | 0.00067198 | 0.00016841
22 | 0.000433 | 0.00010852
23 | 0.0099477 | 0.0024931
24 | 0.0046535 | 0.0011663

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1