## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1404-47_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1404-47_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1404-47_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1404-47_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1404-47_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1404-47_0_4_node_37 | 0.4 | n |  | TRUE
6 | bus_LV_1404-47_0_4_node_54 | 0.4 | n |  | TRUE
7 | bus_LV_1404-47_0_4_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_1404-47_0_4_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_1404-47_0_4_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_1404-47_0_4_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_1404-47_0_4_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_1404-47_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1404-47_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1404-47_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1404-47_0_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_1404-47_0_4_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_1404-47_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1404-47_0_4_node_53 | 0.4 | n |  | TRUE
19 | bus_LV_1404-47_0_4_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_1404-47_0_4_node_50 | 0.4 | n |  | TRUE
21 | bus_LV_1404-47_0_4_node_51 | 0.4 | n |  | TRUE
22 | bus_LV_1404-47_0_4_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_1404-47_0_4_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_1404-47_0_4_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_1404-47_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1404-47_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1404-47_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_1404-47_0_4_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_1404-47_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_1404-47_0_4_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_1404-47_0_4_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_1404-47_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_1404-47_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_1404-47_0_4_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_1404-47_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_1404-47_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_1404-47_0_4_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_1404-47_0_4_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_1404-47_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_1404-47_0_4_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_1404-47_0_4_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_1404-47_0_4_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_1404-47_0_4_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_1404-47_0_4_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_1404-47_0_4_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_1404-47_0_4_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_1404-47_0_4_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_1404-47_0_4_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_1404-47_0_4_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_1404-47_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_1404-47_0_4_node_45 | 0.4 | n |  | TRUE
52 | bus_MV_140_0_node_125 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1404-47_0_4_load_0 | 0 | 0.013562 | 0.0033989 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1404-47_0_4_load_3 | 2 | 0.010036 | 0.0025152 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1404-47_0_4_load_4 | 3 | 0.0017929 | 0.00044935 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1404-47_0_4_load_5 | 4 | 0.0091436 | 0.0022916 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1404-47_0_4_load_54 | 6 | 0.0047644 | 0.0011941 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1404-47_0_4_load_36 | 7 | 0.00381 | 0.00095489 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1404-47_0_4_load_12 | 8 | 0.0012657 | 0.00031721 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1404-47_0_4_load_13 | 9 | 0.0025932 | 0.00064991 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1404-47_0_4_load_11 | 10 | 0.0012659 | 0.00031725 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1404-47_0_4_load_6 | 12 | 0.013638 | 0.0034181 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1404-47_0_4_load_7 | 13 | 0.0052851 | 0.0013246 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1404-47_0_4_load_15 | 15 | 0.0044969 | 0.001127 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1404-47_0_4_load_16 | 16 | 0.0084116 | 0.0021081 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1404-47_0_4_load_10 | 17 | 0.0025249 | 0.00063279 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1404-47_0_4_load_53 | 18 | 0.0044962 | 0.0011268 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1404-47_0_4_load_17 | 19 | 0.00072557 | 0.00018185 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1404-47_0_4_load_51 | 21 | 0.0037118 | 0.00093025 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1404-47_0_4_load_31 | 22 | 0.0039967 | 0.0010017 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1404-47_0_4_load_32 | 23 | 0.0037186 | 0.00093197 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1404-47_0_4_load_18 | 25 | 0.002221 | 0.00055664 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1404-47_0_4_load_19 | 26 | 0.0032544 | 0.00081562 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1404-47_0_4_load_25 | 29 | 0.0026357 | 0.00066056 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1404-47_0_4_load_30 | 30 | 0.0021428 | 0.00053703 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1404-47_0_4_load_27 | 31 | 0.0049463 | 0.0012397 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1404-47_0_4_load_23 | 32 | 0.0017886 | 0.00044827 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1404-47_0_4_load_22 | 33 | 0.005107 | 0.0012799 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1404-47_0_4_load_38 | 34 | 0.037057 | 0.0092873 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1404-47_0_4_load_28 | 35 | 0.0030504 | 0.00076451 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1404-47_0_4_load_29 | 36 | 0.0035508 | 0.00088992 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1404-47_0_4_load_35 | 37 | 0.0042244 | 0.0010587 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1404-47_0_4_load_34 | 39 | 0.0039553 | 0.0009913 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1404-47_0_4_load_41 | 40 | 0.0038066 | 0.00095401 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1404-47_0_4_load_42 | 41 | 0.0019422 | 0.00048676 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1404-47_0_4_load_47 | 42 | 0.0033051 | 0.00082834 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1404-47_0_4_load_48 | 43 | 0.0026012 | 0.00065193 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1404-47_0_4_load_49 | 44 | 0.0038568 | 0.00096661 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1404-47_0_4_load_55 | 45 | 0.0037456 | 0.00093873 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1404-47_0_4_load_52 | 46 | 0.0042728 | 0.0010709 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1404-47_0_4_load_40 | 47 | 0.022854 | 0.0057277 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1404-47_0_4_load_46 | 48 | 0.0046548 | 0.0011666 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1404-47_0_4_load_43 | 49 | 0.0043922 | 0.0011008 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1404-47_0_4_load_44 | 50 | 0.0029301 | 0.00073436 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1404-47_0_4_load_45 | 51 | 0.0073263 | 0.0018361 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1404-47_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.04332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1404-47_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.02772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1404-47_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.017484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1404-47_0_4_line_3 | NAYY 4x150 SE | 1 | 4 | 0.020567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1404-47_0_4_line_4 | NAYY 4x150 SE | 3 | 8 | 0.02369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1404-47_0_4_line_5 | NAYY 4x150 SE | 4 | 9 | 0.02026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1404-47_0_4_line_6 | NAYY 4x150 SE | 5 | 6 | 0.13883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_1404-47_0_4_line_7 | NAYY 4x150 SE | 5 | 7 | 0.035491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_1404-47_0_4_line_8 | NAYY 4x150 SE | 6 | 45 | 0.0013269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1404-47_0_4_line_9 | NAYY 4x150 SE | 6 | 18 | 0.014289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1404-47_0_4_line_10 | NAYY 4x150 SE | 7 | 39 | 0.00050116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_1404-47_0_4_line_11 | NAYY 4x150 SE | 8 | 10 | 0.00015743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1404-47_0_4_line_12 | NAYY 4x150 SE | 9 | 11 | 0.012383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1404-47_0_4_line_13 | NAYY 4x150 SE | 10 | 17 | 0.00014925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1404-47_0_4_line_14 | NAYY 4x150 SE | 11 | 18 | 0.028358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1404-47_0_4_line_15 | NAYY 4x150 SE | 11 | 16 | 0.0097204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1404-47_0_4_line_16 | NAYY 4x150 SE | 12 | 13 | 0.027873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1404-47_0_4_line_17 | NAYY 4x150 SE | 13 | 14 | 0.025412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1404-47_0_4_line_18 | NAYY 4x150 SE | 14 | 15 | 0.01576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1404-47_0_4_line_19 | NAYY 4x150 SE | 15 | 16 | 0.021968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1404-47_0_4_line_20 | NAYY 4x150 SE | 19 | 20 | 0.24114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1404-47_0_4_line_21 | NAYY 4x150 SE | 20 | 21 | 0.018897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1404-47_0_4_line_22 | NAYY 4x150 SE | 21 | 46 | 0.022686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1404-47_0_4_line_23 | NAYY 4x150 SE | 21 | 43 | 0.052134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1404-47_0_4_line_24 | NAYY 4x150 SE | 22 | 23 | 0.00062349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_1404-47_0_4_line_25 | NAYY 4x150 SE | 22 | 24 | 0.016898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_1404-47_0_4_line_26 | NAYY 4x150 SE | 23 | 39 | 0.024284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_1404-47_0_4_line_27 | NAYY 4x150 SE | 24 | 37 | 0.036152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1404-47_0_4_line_28 | NAYY 4x150 SE | 24 | 36 | 0.0005274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1404-47_0_4_line_29 | NAYY 4x150 SE | 25 | 26 | 0.02676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1404-47_0_4_line_30 | NAYY 4x150 SE | 26 | 27 | 0.013193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1404-47_0_4_line_31 | NAYY 4x150 SE | 27 | 28 | 0.004484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1404-47_0_4_line_32 | NAYY 4x150 SE | 27 | 29 | 0.015032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1404-47_0_4_line_33 | NAYY 4x150 SE | 28 | 30 | 0.018103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1404-47_0_4_line_34 | NAYY 4x150 SE | 28 | 31 | 0.029003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1404-47_0_4_line_35 | NAYY 4x150 SE | 29 | 32 | 0.01987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1404-47_0_4_line_36 | NAYY 4x150 SE | 30 | 34 | 0.016686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1404-47_0_4_line_37 | NAYY 4x150 SE | 31 | 35 | 0.0042152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1404-47_0_4_line_38 | NAYY 4x150 SE | 32 | 33 | 0.020864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1404-47_0_4_line_39 | NAYY 4x150 SE | 34 | 38 | 0.024946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1404-47_0_4_line_40 | NAYY 4x150 SE | 35 | 36 | 0.021647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1404-47_0_4_line_41 | NAYY 4x150 SE | 37 | 40 | 0.02699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1404-47_0_4_line_42 | NAYY 4x150 SE | 38 | 47 | 0.024915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1404-47_0_4_line_43 | NAYY 4x150 SE | 40 | 41 | 0.019021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1404-47_0_4_line_44 | NAYY 4x150 SE | 41 | 49 | 0.010227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1404-47_0_4_line_45 | NAYY 4x150 SE | 42 | 43 | 0.00087853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1404-47_0_4_line_46 | NAYY 4x150 SE | 42 | 44 | 0.022666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1404-47_0_4_line_47 | NAYY 4x150 SE | 44 | 45 | 0.030751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1404-47_0_4_line_48 | NAYY 4x150 SE | 47 | 48 | 0.025339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1404-47_0_4_line_49 | NAYY 4x150 SE | 49 | 50 | 0.0034971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1404-47_0_4_line_50 | NAYY 4x150 SE | 50 | 51 | 0.0093652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1404-47_0_4_trafo_37 | 0.25 MVA 20/0.4 kV | 52 | 5 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2663907.1225 | 1195035.2819 | 2663920.2043 | 1195007.6055 | 2663923.5389 | 1194995.7564 | 2663923.7002 | 1194995.392
1 | 2663907.1225 | 1195035.2819 | 2663881.9972 | 1195023.4178
2 | 2663907.1225 | 1195035.2819 | 2663922.931 | 1195042.7514
3 | 2663907.1225 | 1195035.2819 | 2663897.911 | 1195053.671
4 | 2663944.3504 | 1195052.8719 | 2663922.931 | 1195042.7514
5 | 2663887.9438 | 1195071.2976 | 2663895.2958 | 1195058.8917 | 2663897.911 | 1195053.671
6 | 2663844.2996 | 1195232.0487 | 2663912.3324 | 1195111.0266
7 | 2663844.2996 | 1195232.0487 | 2663846.8544 | 1195267.4481
8 | 2663912.3324 | 1195111.0266 | 2663913.5438 | 1195111.5679
9 | 2663912.3324 | 1195111.0266 | 2663902.7471 | 1195106.7437 | 2663899.685 | 1195104.5097 | 2663899.685 | 1195104.5097
10 | 2663846.8904 | 1195267.9479 | 2663846.8544 | 1195267.4481
11 | 2663944.4927 | 1195052.9392 | 2663944.3504 | 1195052.8719
12 | 2663882.5868 | 1195082.3586 | 2663883.6486 | 1195078.5455 | 2663887.9438 | 1195071.2976
13 | 2663944.6276 | 1195053.0029 | 2663944.4927 | 1195052.9392
14 | 2663882.5868 | 1195082.3586 | 2663884.591 | 1195083.0471 | 2663899.685 | 1195104.5097
15 | 2663882.5868 | 1195082.3586 | 2663872.8823 | 1195082.9155
16 | 2663831.5365 | 1195031.9196 | 2663833.4614 | 1195059.7257
17 | 2663835.2163 | 1195085.0769 | 2663833.4614 | 1195059.7257
18 | 2663835.2163 | 1195085.0769 | 2663850.9509 | 1195084.174
19 | 2663872.8823 | 1195082.9155 | 2663850.9509 | 1195084.174
20 | 2664004.9693 | 1195094.2845 | 2664149.8133 | 1195287.0801
21 | 2664004.9693 | 1195094.2845 | 2663987.9836 | 1195086.0041
22 | 2663967.5913 | 1195076.063 | 2663987.9836 | 1195086.0041
23 | 2663987.9836 | 1195086.0041 | 2663963.7502 | 1195132.1631
24 | 2663848.3339 | 1195292.8123 | 2663848.3007 | 1195292.1897
25 | 2663847.6392 | 1195309.6298 | 2663848.7554 | 1195300.7143 | 2663848.3339 | 1195292.8123
26 | 2663846.8904 | 1195267.9479 | 2663847.3396 | 1195274.1725 | 2663848.3007 | 1195292.1897
27 | 2663847.6392 | 1195309.6298 | 2663837.5703 | 1195309.2555 | 2663829.3855 | 1195307.9674 | 2663825.1172 | 1195305.2425 | 2663816.5264 | 1195295.8524
28 | 2663847.6392 | 1195309.6298 | 2663847.5062 | 1195310.1401
29 | 2663810.0307 | 1195401.8722 | 2663821.1945 | 1195377.5516
30 | 2663826.6983 | 1195365.5614 | 2663821.1945 | 1195377.5516
31 | 2663826.6983 | 1195365.5614 | 2663828.4795 | 1195361.4446
32 | 2663826.6983 | 1195365.5614 | 2663832.5068 | 1195368.1804 | 2663836.1151 | 1195372.766 | 2663836.9324 | 1195375.4708
33 | 2663828.4795 | 1195361.4446 | 2663811.7848 | 1195354.444
34 | 2663828.4795 | 1195361.4446 | 2663839.9978 | 1195334.8271
35 | 2663842.6793 | 1195394.4918 | 2663836.9324 | 1195375.4708
36 | 2663811.7848 | 1195354.444 | 2663798.2818 | 1195348.7818 | 2663796.2384 | 1195348.7238
37 | 2663839.9978 | 1195334.8271 | 2663841.6718 | 1195330.9585
38 | 2663848.7138 | 1195414.4643 | 2663842.6793 | 1195394.4918
39 | 2663771.3021 | 1195348.016 | 2663796.2384 | 1195348.7238
40 | 2663847.5062 | 1195310.1401 | 2663842.6975 | 1195328.5882 | 2663841.6718 | 1195330.9585
41 | 2663816.5264 | 1195295.8524 | 2663814.219 | 1195293.3304 | 2663806.4827 | 1195288.5673 | 2663793.9918 | 1195281.2291
42 | 2663771.3021 | 1195348.016 | 2663771.5777 | 1195346.4625 | 2663770.4773 | 1195338.9019 | 2663766.6438 | 1195331.8458 | 2663761.2706 | 1195326.3765
43 | 2663793.9918 | 1195281.2291 | 2663789.5214 | 1195278.6029 | 2663776.8107 | 1195273.1354
44 | 2663766.9448 | 1195270.5134 | 2663775.4746 | 1195272.5607 | 2663776.8107 | 1195273.1354
45 | 2663962.9504 | 1195131.7995 | 2663963.7502 | 1195132.1631
46 | 2663942.3163 | 1195122.42 | 2663962.9504 | 1195131.7995
47 | 2663913.5438 | 1195111.5679 | 2663942.3163 | 1195122.42
48 | 2663761.2706 | 1195326.3765 | 2663758.8951 | 1195323.9586 | 2663739.9402 | 1195312.8909
49 | 2663766.9448 | 1195270.5134 | 2663763.5442 | 1195269.6972
50 | 2663754.4376 | 1195267.5114 | 2663763.5442 | 1195269.6972

## bus_geodata
| x | y | coords
0 | 2663923.7002 | 1194995.392
1 | 2663907.1225 | 1195035.2819
2 | 2663881.9972 | 1195023.4178
3 | 2663922.931 | 1195042.7514
4 | 2663897.911 | 1195053.671
5 | 2663844.2996 | 1195232.0487
6 | 2663912.3324 | 1195111.0266
7 | 2663846.8544 | 1195267.4481
8 | 2663944.3504 | 1195052.8719
9 | 2663887.9438 | 1195071.2976
10 | 2663944.4927 | 1195052.9392
11 | 2663882.5868 | 1195082.3586
12 | 2663831.5365 | 1195031.9196
13 | 2663833.4614 | 1195059.7257
14 | 2663835.2163 | 1195085.0769
15 | 2663850.9509 | 1195084.174
16 | 2663872.8823 | 1195082.9155
17 | 2663944.6276 | 1195053.0029
18 | 2663899.685 | 1195104.5097
19 | 2664149.8133 | 1195287.0801
20 | 2664004.9693 | 1195094.2845
21 | 2663987.9836 | 1195086.0041
22 | 2663848.3339 | 1195292.8123
23 | 2663848.3007 | 1195292.1897
24 | 2663847.6392 | 1195309.6298
25 | 2663810.0307 | 1195401.8722
26 | 2663821.1945 | 1195377.5516
27 | 2663826.6983 | 1195365.5614
28 | 2663828.4795 | 1195361.4446
29 | 2663836.9324 | 1195375.4708
30 | 2663811.7848 | 1195354.444
31 | 2663839.9978 | 1195334.8271
32 | 2663842.6793 | 1195394.4918
33 | 2663848.7138 | 1195414.4643
34 | 2663796.2384 | 1195348.7238
35 | 2663841.6718 | 1195330.9585
36 | 2663847.5062 | 1195310.1401
37 | 2663816.5264 | 1195295.8524
38 | 2663771.3021 | 1195348.016
39 | 2663846.8904 | 1195267.9479
40 | 2663793.9918 | 1195281.2291
41 | 2663776.8107 | 1195273.1355
42 | 2663962.9504 | 1195131.7995
43 | 2663963.7502 | 1195132.1631
44 | 2663942.3163 | 1195122.42
45 | 2663913.5438 | 1195111.5679
46 | 2663967.5913 | 1195076.063
47 | 2663761.2706 | 1195326.3765
48 | 2663739.9402 | 1195312.8909
49 | 2663766.9448 | 1195270.5134
50 | 2663763.5442 | 1195269.6972
51 | 2663754.4376 | 1195267.5114
52 | 2663841.226 | 1195189.5021

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98103 | -0.13316 | 0.013562 | 0.0033989
1 | 0.98189 | -0.12708 | 0 | 0
2 | 0.98148 | -0.12996 | 0.010036 | 0.0025152
3 | 0.98171 | -0.12832 | 0.0017929 | 0.00044935
4 | 0.98279 | -0.1206 | 0.0091436 | 0.0022916
5 | 1 | 0 | -0.24314 | -0.061182
6 | 0.98939 | -0.073927 | 0.0047644 | 0.0011941
7 | 0.99658 | -0.023709 | 0.00381 | 0.00095489
8 | 0.98154 | -0.12956 | 0.0012657 | 0.00031721
9 | 0.98396 | -0.11232 | 0.0025932 | 0.00064991
10 | 0.98154 | -0.12956 | 0.0012659 | 0.00031725
11 | 0.98472 | -0.10693 | 0 | 0
12 | 0.98184 | -0.12741 | 0.013638 | 0.0034181
13 | 0.98239 | -0.12348 | 0.0052851 | 0.0013246
14 | 0.98309 | -0.11851 | 0 | 0
15 | 0.98352 | -0.11543 | 0.0044969 | 0.001127
16 | 0.98427 | -0.11012 | 0.0084116 | 0.0021081
17 | 0.98154 | -0.12957 | 0.0025249 | 0.00063279
18 | 0.98776 | -0.085388 | 0.0044962 | 0.0011268
19 | 0.98711 | -0.090158 | 0.00072557 | 0.00018185
20 | 0.98736 | -0.088337 | 0 | 0
21 | 0.98738 | -0.088193 | 0.0037118 | 0.00093025
22 | 0.99427 | -0.039785 | 0.0039967 | 0.0010017
23 | 0.99433 | -0.039401 | 0.0037186 | 0.00093197
24 | 0.99283 | -0.049858 | 0 | 0
25 | 0.98569 | -0.1001 | 0.002221 | 0.00055664
26 | 0.98577 | -0.099492 | 0.0032544 | 0.00081562
27 | 0.98588 | -0.09875 | 0 | 0
28 | 0.98597 | -0.098059 | 0 | 0
29 | 0.98567 | -0.10022 | 0.0026357 | 0.00066056
30 | 0.98422 | -0.11048 | 0.0021428 | 0.00053703
31 | 0.98941 | -0.073806 | 0.0049463 | 0.0012397
32 | 0.98547 | -0.10163 | 0.0017886 | 0.00044827
33 | 0.98532 | -0.10273 | 0.005107 | 0.0012799
34 | 0.98266 | -0.1216 | 0.037057 | 0.0092873
35 | 0.98994 | -0.070083 | 0.0030504 | 0.00076451
36 | 0.99276 | -0.050356 | 0.0035508 | 0.00088992
37 | 0.99155 | -0.058885 | 0.0042244 | 0.0010587
38 | 0.98166 | -0.1287 | 0 | 0
39 | 0.99653 | -0.024036 | 0.0039553 | 0.0009913
40 | 0.99076 | -0.06448 | 0.0038066 | 0.00095401
41 | 0.9903 | -0.06769 | 0.0019422 | 0.00048676
42 | 0.98805 | -0.083429 | 0.0033051 | 0.00082834
43 | 0.98804 | -0.083531 | 0.0026012 | 0.00065193
44 | 0.98853 | -0.080037 | 0.0038568 | 0.00096661
45 | 0.98935 | -0.074228 | 0.0037456 | 0.00093873
46 | 0.98724 | -0.089185 | 0.0042728 | 0.0010709
47 | 0.98066 | -0.13581 | 0.022854 | 0.0057277
48 | 0.98049 | -0.13703 | 0.0046548 | 0.0011666
49 | 0.99009 | -0.069215 | 0.0043922 | 0.0011008
50 | 0.99003 | -0.069581 | 0.0029301 | 0.00073436
51 | 0.98994 | -0.070279 | 0.0073263 | 0.0018361
52 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.013562 | -0.0033989 | 0.013573 | 0.0034028 | 1.1438e-05 | 3.8519e-06 | 0.020571 | 0.02057 | 0.020571 | 0.98103 | -0.13316 | 0.98189 | -0.12708 | 7.6187
1 | 0.01004 | 0.0025164 | -0.010036 | -0.0025152 | 4.0044e-06 | 1.1897e-06 | 0.015215 | 0.015215 | 0.015215 | 0.98189 | -0.12708 | 0.98148 | -0.12996 | 5.6353
2 | 0.0068514 | 0.0017169 | -0.0068502 | -0.0017166 | 1.1762e-06 | 2.3128e-07 | 0.010383 | 0.010383 | 0.010383 | 0.98189 | -0.12708 | 0.98171 | -0.12832 | 3.8456
3 | -0.030465 | -0.0076361 | 0.030492 | 0.0076464 | 2.7356e-05 | 1.0261e-05 | 0.046169 | 0.046169 | 0.046169 | 0.98189 | -0.12708 | 0.98279 | -0.1206 | 17.0995
4 | 0.0050573 | 0.0012673 | -0.0050564 | -0.0012673 | 8.6862e-07 | 3.4607e-08 | 0.0076655 | 0.0076656 | 0.0076656 | 0.98171 | -0.12832 | 0.98154 | -0.12956 | 2.8391
5 | -0.039636 | -0.009938 | 0.039681 | 0.0099552 | 4.5531e-05 | 1.7255e-05 | 0.060013 | 0.060013 | 0.060013 | 0.98279 | -0.1206 | 0.98396 | -0.11232 | 22.2269
6 | 0.10716 | 0.027066 | -0.10606 | -0.026646 | 0.0011023 | 0.00042037 | 0.15953 | 0.15953 | 0.15953 | 1 | 0 | 0.98939 | -0.073927 | 29.5421
7 | 0.13518 | 0.034115 | -0.13473 | -0.033944 | 0.0004484 | 0.00017153 | 0.20123 | 0.20123 | 0.20123 | 1 | 0 | 0.99658 | -0.023709 | 37.265
8 | 0.022248 | 0.0055748 | -0.022247 | -0.0055745 | 9.2696e-07 | 3.3949e-07 | 0.03346 | 0.03346 | 0.03346 | 0.98939 | -0.073927 | 0.98935 | -0.074228 | 12.3926
9 | 0.079043 | 0.019877 | -0.078917 | -0.019829 | 0.00012606 | 4.83e-05 | 0.1189 | 0.1189 | 0.1189 | 0.98939 | -0.073927 | 0.98776 | -0.085388 | 44.0377
10 | 0.13092 | 0.032989 | -0.13091 | -0.032986 | 5.9787e-06 | 2.2864e-06 | 0.19554 | 0.19554 | 0.19554 | 0.99658 | -0.023709 | 0.99653 | -0.024036 | 36.2115
11 | 0.0037907 | 0.00095004 | -0.0037907 | -0.00095004 | 3.2434e-09 | -7.4201e-10 | 0.0057468 | 0.0057468 | 0.0057468 | 0.98154 | -0.12956 | 0.98154 | -0.12956 | 2.1284
12 | -0.042274 | -0.010605 | 0.042306 | 0.010617 | 3.1585e-05 | 1.1991e-05 | 0.063934 | 0.063934 | 0.063934 | 0.98396 | -0.11232 | 0.98472 | -0.10693 | 23.6793
13 | 0.0025249 | 0.00063279 | -0.0025249 | -0.00063279 | 1.3638e-09 | -1.3617e-09 | 0.0038277 | 0.0038277 | 0.0038277 | 0.98154 | -0.12956 | 0.98154 | -0.12957 | 1.4177
14 | -0.074198 | -0.018617 | 0.07442 | 0.018702 | 0.00022248 | 8.5208e-05 | 0.11213 | 0.11213 | 0.11213 | 0.98472 | -0.10693 | 0.98776 | -0.085388 | 41.5292
15 | 0.031892 | 0.0079996 | -0.031878 | -0.0079943 | 1.4089e-05 | 5.2951e-06 | 0.048195 | 0.048195 | 0.048195 | 0.98472 | -0.10693 | 0.98427 | -0.11012 | 17.8499
16 | -0.013638 | -0.0034181 | 0.013646 | 0.0034206 | 7.4306e-06 | 2.5052e-06 | 0.02067 | 0.020669 | 0.02067 | 0.98184 | -0.12741 | 0.98239 | -0.12348 | 7.6554
17 | -0.018931 | -0.0047452 | 0.018944 | 0.0047499 | 1.3038e-05 | 4.6927e-06 | 0.028675 | 0.028675 | 0.028675 | 0.98239 | -0.12348 | 0.98309 | -0.11851 | 10.6203
18 | -0.018944 | -0.0047499 | 0.018952 | 0.0047528 | 8.0863e-06 | 2.9102e-06 | 0.028675 | 0.028675 | 0.028675 | 0.98309 | -0.11851 | 0.98352 | -0.11543 | 10.6202
19 | -0.023449 | -0.0058798 | 0.023466 | 0.0058862 | 1.7254e-05 | 6.3571e-06 | 0.035478 | 0.035478 | 0.035478 | 0.98352 | -0.11543 | 0.98427 | -0.11012 | 13.1401
20 | -0.00072557 | -0.00018185 | 0.00072575 | 0.00017883 | 1.7983e-07 | -3.0142e-06 | 0.0010938 | 0.0010927 | 0.0010938 | 0.98711 | -0.090158 | 0.98736 | -0.088337 | 0.4051
21 | -0.00072575 | -0.00017883 | 0.00072577 | 0.0001786 | 1.4077e-08 | -2.3627e-07 | 0.0010927 | 0.0010926 | 0.0010927 | 0.98736 | -0.088337 | 0.98738 | -0.088193 | 0.4047
22 | 0.0042734 | 0.0010708 | -0.0042728 | -0.0010709 | 5.8713e-07 | -6.4304e-08 | 0.0064401 | 0.0064402 | 0.0064402 | 0.98738 | -0.088193 | 0.98724 | -0.089185 | 2.3852
23 | -0.0087109 | -0.0021796 | 0.0087165 | 0.0021811 | 5.6051e-06 | 1.4886e-06 | 0.013126 | 0.013126 | 0.013126 | 0.98738 | -0.088193 | 0.98804 | -0.083531 | 4.8616
24 | -0.12296 | -0.030956 | 0.12297 | 0.030959 | 6.5911e-06 | 2.5189e-06 | 0.18407 | 0.18407 | 0.18407 | 0.99427 | -0.039785 | 0.99433 | -0.039401 | 34.0873
25 | 0.11896 | 0.029955 | -0.1188 | -0.029891 | 0.00016722 | 6.3876e-05 | 0.17809 | 0.17809 | 0.17809 | 0.99427 | -0.039785 | 0.99283 | -0.049858 | 32.9797
26 | -0.12669 | -0.031891 | 0.12696 | 0.031995 | 0.00027247 | 0.00010416 | 0.18964 | 0.18964 | 0.18964 | 0.99433 | -0.039401 | 0.99653 | -0.024036 | 35.1179
27 | 0.02468 | 0.0061919 | -0.024649 | -0.0061805 | 3.087e-05 | 1.1406e-05 | 0.036992 | 0.036992 | 0.036992 | 0.99283 | -0.049858 | 0.99155 | -0.058885 | 13.7008
28 | 0.094117 | 0.023699 | -0.09411 | -0.023697 | 6.5519e-06 | 2.5132e-06 | 0.1411 | 0.1411 | 0.1411 | 0.99283 | -0.049858 | 0.99276 | -0.050356 | 52.2586
29 | -0.002221 | -0.00055664 | 0.0022212 | 0.00055637 | 1.8771e-07 | -2.6893e-07 | 0.0033529 | 0.0033528 | 0.0033529 | 0.98569 | -0.1001 | 0.98577 | -0.099492 | 1.2418
30 | -0.0054756 | -0.001372 | 0.0054761 | 0.001372 | 5.6239e-07 | 4.8091e-08 | 0.0082652 | 0.0082651 | 0.0082652 | 0.98577 | -0.099492 | 0.98588 | -0.09875 | 3.0612
31 | -0.015011 | -0.0037616 | 0.015013 | 0.0037621 | 1.4363e-06 | 4.9525e-07 | 0.022657 | 0.022657 | 0.022657 | 0.98588 | -0.09875 | 0.98597 | -0.098059 | 8.3915
32 | 0.0095353 | 0.0023896 | -0.0095334 | -0.0023891 | 1.9429e-06 | 5.5562e-07 | 0.014392 | 0.014392 | 0.014392 | 0.98588 | -0.09875 | 0.98567 | -0.10022 | 5.3304
33 | 0.066978 | 0.016821 | -0.066863 | -0.016777 | 0.00011545 | 4.4174e-05 | 0.1011 | 0.1011 | 0.1011 | 0.98597 | -0.098059 | 0.98422 | -0.11048 | 37.4427
34 | -0.081991 | -0.020583 | 0.082268 | 0.02069 | 0.00027716 | 0.00010623 | 0.12375 | 0.12375 | 0.12375 | 0.98597 | -0.098059 | 0.98941 | -0.073806 | 45.8341
35 | 0.0068977 | 0.0017285 | -0.0068964 | -0.0017282 | 1.3445e-06 | 2.6388e-07 | 0.010413 | 0.010413 | 0.010413 | 0.98567 | -0.10022 | 0.98547 | -0.10163 | 3.8567
36 | 0.06472 | 0.01624 | -0.064621 | -0.016202 | 9.9705e-05 | 3.8136e-05 | 0.097856 | 0.097856 | 0.097856 | 0.98422 | -0.11048 | 0.98266 | -0.1216 | 36.2429
37 | -0.087215 | -0.021929 | 0.08726 | 0.021947 | 4.527e-05 | 1.7357e-05 | 0.13119 | 0.13119 | 0.13119 | 0.98941 | -0.073806 | 0.98994 | -0.070083 | 48.5892
38 | 0.0051078 | 0.00128 | -0.005107 | -0.0012799 | 7.7441e-07 | 3.2065e-08 | 0.0077124 | 0.0077125 | 0.0077125 | 0.98547 | -0.10163 | 0.98532 | -0.10273 | 2.8565
39 | 0.027564 | 0.0069146 | -0.027537 | -0.0069044 | 2.7122e-05 | 1.0116e-05 | 0.041741 | 0.041742 | 0.041742 | 0.98266 | -0.1216 | 0.98166 | -0.1287 | 15.4598
40 | -0.090311 | -0.022711 | 0.09056 | 0.022807 | 0.00024902 | 9.5498e-05 | 0.13578 | 0.13578 | 0.13578 | 0.98994 | -0.070083 | 0.99276 | -0.050356 | 50.2875
41 | 0.020425 | 0.0051218 | -0.020409 | -0.005116 | 1.5824e-05 | 5.7384e-06 | 0.030653 | 0.030653 | 0.030653 | 0.99155 | -0.058885 | 0.99076 | -0.06448 | 11.3529
42 | 0.027537 | 0.0069044 | -0.02751 | -0.0068943 | 2.7089e-05 | 1.0104e-05 | 0.041742 | 0.041742 | 0.041742 | 0.98166 | -0.1287 | 0.98066 | -0.13581 | 15.4599
43 | 0.016603 | 0.004162 | -0.016595 | -0.0041594 | 7.3803e-06 | 2.5937e-06 | 0.024936 | 0.024936 | 0.024936 | 0.99076 | -0.06448 | 0.9903 | -0.06769 | 9.2355
44 | 0.014653 | 0.0036727 | -0.01465 | -0.0036716 | 3.0935e-06 | 1.0583e-06 | 0.022017 | 0.022017 | 0.022017 | 0.9903 | -0.06769 | 0.99009 | -0.069215 | 8.1546
45 | 0.011318 | 0.0028331 | -0.011318 | -0.0028331 | 1.5925e-07 | 4.9997e-08 | 0.017044 | 0.017044 | 0.017044 | 0.98805 | -0.083429 | 0.98804 | -0.083531 | 6.3125
46 | -0.014623 | -0.0036615 | 0.01463 | 0.0036638 | 6.8587e-06 | 2.3475e-06 | 0.022021 | 0.022021 | 0.022021 | 0.98805 | -0.083429 | 0.98853 | -0.080037 | 8.156
47 | -0.018487 | -0.0046304 | 0.018502 | 0.0046357 | 1.4858e-05 | 5.3201e-06 | 0.027827 | 0.027827 | 0.027827 | 0.98853 | -0.080037 | 0.98935 | -0.074228 | 10.3062
48 | 0.0046556 | 0.0011666 | -0.0046548 | -0.0011666 | 7.8905e-07 | -1.6165e-08 | 0.0070641 | 0.0070643 | 0.0070643 | 0.98066 | -0.13581 | 0.98049 | -0.13703 | 2.6164
49 | 0.010258 | 0.0025708 | -0.010257 | -0.0025707 | 5.1863e-07 | 1.545e-07 | 0.015416 | 0.015416 | 0.015416 | 0.99009 | -0.069215 | 0.99003 | -0.069581 | 5.7098
50 | 0.007327 | 0.0018363 | -0.0073263 | -0.0018361 | 7.0871e-07 | 1.5217e-07 | 0.011012 | 0.011012 | 0.011012 | 0.99003 | -0.069581 | 0.98994 | -0.070279 | 4.0787

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.24314 | 0.061182

## res_load
| p_mw | q_mvar
0 | 0.013562 | 0.0033989
1 | 0.010036 | 0.0025152
2 | 0.0017929 | 0.00044935
3 | 0.0091436 | 0.0022916
4 | 0.0047644 | 0.0011941
5 | 0.00381 | 0.00095489
6 | 0.0012657 | 0.00031721
7 | 0.0025932 | 0.00064991
8 | 0.0012659 | 0.00031725
9 | 0.013638 | 0.0034181
10 | 0.0052851 | 0.0013246
11 | 0.0044969 | 0.001127
12 | 0.0084116 | 0.0021081
13 | 0.0025249 | 0.00063279
14 | 0.0044962 | 0.0011268
15 | 0.00072557 | 0.00018185
16 | 0.0037118 | 0.00093025
17 | 0.0039967 | 0.0010017
18 | 0.0037186 | 0.00093197
19 | 0.002221 | 0.00055664
20 | 0.0032544 | 0.00081562
21 | 0.0026357 | 0.00066056
22 | 0.0021428 | 0.00053703
23 | 0.0049463 | 0.0012397
24 | 0.0017886 | 0.00044827
25 | 0.005107 | 0.0012799
26 | 0.037057 | 0.0092873
27 | 0.0030504 | 0.00076451
28 | 0.0035508 | 0.00088992
29 | 0.0042244 | 0.0010587
30 | 0.0039553 | 0.0009913
31 | 0.0038066 | 0.00095401
32 | 0.0019422 | 0.00048676
33 | 0.0033051 | 0.00082834
34 | 0.0026012 | 0.00065193
35 | 0.0038568 | 0.00096661
36 | 0.0037456 | 0.00093873
37 | 0.0042728 | 0.0010709
38 | 0.022854 | 0.0057277
39 | 0.0046548 | 0.0011666
40 | 0.0043922 | 0.0011008
41 | 0.0029301 | 0.00073436
42 | 0.0073263 | 0.0018361

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1