## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1404-55_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1404-55_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1404-55_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1404-55_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1404-55_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1404-55_0_2_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_1404-55_0_2_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_1404-55_0_2_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_1404-55_0_2_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_1404-55_0_2_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1404-55_0_2_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1404-55_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1404-55_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1404-55_0_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1404-55_0_2_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_1404-55_0_2_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_1404-55_0_2_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_1404-55_0_2_node_35 | 0.4 | n |  | TRUE
18 | bus_LV_1404-55_0_2_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_1404-55_0_2_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_1404-55_0_2_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_1404-55_0_2_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_1404-55_0_2_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_1404-55_0_2_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1404-55_0_2_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1404-55_0_2_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_1404-55_0_2_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_1404-55_0_2_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_1404-55_0_2_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_1404-55_0_2_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_1404-55_0_2_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_1404-55_0_2_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_1404-55_0_2_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_1404-55_0_2_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_1404-55_0_2_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_1404-55_0_2_node_34 | 0.4 | n |  | TRUE
36 | bus_MV_140_0_node_77 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1404-55_0_2_load_0 | 0 | 0.0047199 | 0.0011829 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1404-55_0_2_load_1 | 1 | 0.013061 | 0.0032734 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1404-55_0_2_load_2 | 2 | 0.00093589 | 0.00023456 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1404-55_0_2_load_4 | 4 | 0.0010904 | 0.00027329 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1404-55_0_2_load_32 | 6 | 0.0013254 | 0.00033217 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1404-55_0_2_load_12 | 7 | 0.018181 | 0.0045567 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1404-55_0_2_load_10 | 8 | 0.0043982 | 0.0011023 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1404-55_0_2_load_5 | 9 | 0.0034385 | 0.00086177 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1404-55_0_2_load_6 | 10 | 0.0033621 | 0.00084261 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1404-55_0_2_load_7 | 11 | 0.0037532 | 0.00094065 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1404-55_0_2_load_9 | 13 | 0.0022647 | 0.00056758 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1404-55_0_2_load_13 | 14 | 0.010642 | 0.0026671 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1404-55_0_2_load_14 | 15 | 0.0030996 | 0.00077683 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1404-55_0_2_load_35 | 17 | 0.0024558 | 0.00061548 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1404-55_0_2_load_31 | 19 | 0.0073345 | 0.0018382 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1404-55_0_2_load_29 | 20 | 0.014909 | 0.0037365 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1404-55_0_2_load_20 | 21 | 0.001102 | 0.0002762 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1404-55_0_2_load_15 | 22 | 0.00097228 | 0.00024368 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1404-55_0_2_load_18 | 24 | 0.00088712 | 0.00022233 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1404-55_0_2_load_19 | 25 | 0.0010317 | 0.00025857 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1404-55_0_2_load_21 | 26 | 0.0012644 | 0.00031688 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1404-55_0_2_load_23 | 27 | 0.001567 | 0.00039272 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1404-55_0_2_load_22 | 28 | 0.0014952 | 0.00037474 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1404-55_0_2_load_24 | 29 | 0.00066578 | 0.00016686 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1404-55_0_2_load_25 | 30 | 0.00079243 | 0.0001986 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1404-55_0_2_load_26 | 31 | 0.0017231 | 0.00043185 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1404-55_0_2_load_33 | 34 | 0.0020726 | 0.00051945 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1404-55_0_2_load_34 | 35 | 0.0058474 | 0.0014655 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1404-55_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.030841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1404-55_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0032924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1404-55_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.035682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1404-55_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0057326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1404-55_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.028456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1404-55_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.023744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1404-55_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.040747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1404-55_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.027429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1404-55_0_2_line_8 | NAYY 4x150 SE | 7 | 18 | 0.023801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1404-55_0_2_line_9 | NAYY 4x150 SE | 8 | 12 | 0.015551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1404-55_0_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.012844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1404-55_0_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.0087148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1404-55_0_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.02073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1404-55_0_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.015664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1404-55_0_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.044148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1404-55_0_2_line_15 | NAYY 4x150 SE | 13 | 15 | 0.0027959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1404-55_0_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.0060063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1404-55_0_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.10271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1404-55_0_2_line_18 | NAYY 4x150 SE | 16 | 21 | 0.022499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1404-55_0_2_line_19 | NAYY 4x150 SE | 16 | 22 | 0.018717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1404-55_0_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.020211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1404-55_0_2_line_21 | NAYY 4x150 SE | 18 | 20 | 0.00037568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1404-55_0_2_line_22 | NAYY 4x150 SE | 21 | 27 | 0.026026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1404-55_0_2_line_23 | NAYY 4x150 SE | 22 | 23 | 0.0094029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1404-55_0_2_line_24 | NAYY 4x150 SE | 23 | 24 | 0.011479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1404-55_0_2_line_25 | NAYY 4x150 SE | 23 | 25 | 0.011226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1404-55_0_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.001793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1404-55_0_2_line_27 | NAYY 4x150 SE | 26 | 28 | 0.0069334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1404-55_0_2_line_28 | NAYY 4x150 SE | 27 | 29 | 0.027682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1404-55_0_2_line_29 | NAYY 4x150 SE | 29 | 30 | 0.0060968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1404-55_0_2_line_30 | NAYY 4x150 SE | 30 | 31 | 0.034397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1404-55_0_2_line_31 | NAYY 4x150 SE | 31 | 32 | 0.092754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1404-55_0_2_line_32 | NAYY 4x150 SE | 32 | 33 | 0.034278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1404-55_0_2_line_33 | NAYY 4x150 SE | 33 | 34 | 0.037131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1404-55_0_2_line_34 | NAYY 4x150 SE | 34 | 35 | 0.0067211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1404-55_0_2_trafo_6 | 0.25 MVA 20/0.4 kV | 36 | 10 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2663705.2574 | 1194362.8365 | 2663699.7165 | 1194370.1706 | 2663684.2528 | 1194385.3224
1 | 2663705.2574 | 1194362.8365 | 2663707.2421 | 1194360.2095
2 | 2663655.505 | 1194404.9315 | 2663659.9669 | 1194404.5677 | 2663665.6973 | 1194401.7381 | 2663674.4727 | 1194394.9052 | 2663684.2528 | 1194385.3224
3 | 2663710.6977 | 1194355.6354 | 2663707.2421 | 1194360.2095
4 | 2663650.4075 | 1194376.9387 | 2663655.505 | 1194404.9315
5 | 2663728.5053 | 1194341.6284 | 2663721.9727 | 1194343.3363 | 2663718.8474 | 1194344.8483 | 2663710.6977 | 1194355.6354
6 | 2663650.4075 | 1194376.9387 | 2663638.5613 | 1194380.1591 | 2663619.8067 | 1194375.8794 | 2663612.7854 | 1194369.8814
7 | 2663650.4075 | 1194376.9387 | 2663645.2082 | 1194350.0072
8 | 2663594.6887 | 1194354.4221 | 2663612.7854 | 1194369.8814
9 | 2663642.2605 | 1194334.7386 | 2663645.2082 | 1194350.0072
10 | 2663673.3087 | 1194322.3496 | 2663661.6039 | 1194327.6368
11 | 2663673.3087 | 1194322.3496 | 2663681.2509 | 1194318.7621
12 | 2663642.2605 | 1194334.7386 | 2663648.4915 | 1194333.5597 | 2663661.6039 | 1194327.6368
13 | 2663695.5259 | 1194312.314 | 2663681.2509 | 1194318.7621
14 | 2663642.2605 | 1194334.7386 | 2663634.3173 | 1194291.311
15 | 2663698.0739 | 1194311.1631 | 2663695.5259 | 1194312.314
16 | 2663633.2367 | 1194285.4027 | 2663634.3173 | 1194291.311
17 | 2663698.0739 | 1194311.1631 | 2663784.0407 | 1194254.957
18 | 2663633.2367 | 1194285.4027 | 2663629.0456 | 1194263.298
19 | 2663633.2367 | 1194285.4027 | 2663637.6077 | 1194284.9934 | 2663650.7402 | 1194279.2666
20 | 2663594.6887 | 1194354.4221 | 2663609.957 | 1194341.1322
21 | 2663594.3987 | 1194354.661 | 2663594.6887 | 1194354.4221
22 | 2663624.1974 | 1194237.7275 | 2663629.0456 | 1194263.298
23 | 2663659.3592 | 1194275.5081 | 2663650.7402 | 1194279.2666
24 | 2663659.3592 | 1194275.5081 | 2663669.907 | 1194270.9789
25 | 2663659.3592 | 1194275.5081 | 2663654.825 | 1194265.239
26 | 2663654.1007 | 1194263.5988 | 2663654.825 | 1194265.239
27 | 2663651.3002 | 1194257.2561 | 2663654.1007 | 1194263.5988
28 | 2663624.1974 | 1194237.7275 | 2663619.0407 | 1194210.5297
29 | 2663617.9049 | 1194204.5396 | 2663619.0407 | 1194210.5297
30 | 2663611.7129 | 1194170.7049 | 2663617.1018 | 1194200.3037 | 2663617.9049 | 1194204.5396
31 | 2663611.7129 | 1194170.7049 | 2663602.4856 | 1194078.4106
32 | 2663604.7469 | 1194044.2146 | 2663602.4856 | 1194078.4106
33 | 2663604.7469 | 1194044.2146 | 2663621.468 | 1194038.4334 | 2663640.6004 | 1194034.9938
34 | 2663647.2155 | 1194033.8045 | 2663640.6004 | 1194034.9938

## bus_geodata
| x | y | coords
0 | 2663705.2574 | 1194362.8365
1 | 2663684.2528 | 1194385.3224
2 | 2663707.2421 | 1194360.2095
3 | 2663655.505 | 1194404.9315
4 | 2663710.6977 | 1194355.6354
5 | 2663650.4075 | 1194376.9387
6 | 2663728.5053 | 1194341.6284
7 | 2663612.7854 | 1194369.8814
8 | 2663645.2082 | 1194350.0072
9 | 2663673.3087 | 1194322.3496
10 | 2663661.6039 | 1194327.6368
11 | 2663681.2509 | 1194318.7621
12 | 2663642.2605 | 1194334.7386
13 | 2663695.5259 | 1194312.314
14 | 2663634.3173 | 1194291.311
15 | 2663698.0739 | 1194311.1631
16 | 2663633.2367 | 1194285.4027
17 | 2663784.0407 | 1194254.957
18 | 2663594.6887 | 1194354.4221
19 | 2663609.957 | 1194341.1322
20 | 2663594.3987 | 1194354.661
21 | 2663629.0456 | 1194263.298
22 | 2663650.7402 | 1194279.2666
23 | 2663659.3592 | 1194275.5081
24 | 2663669.907 | 1194270.9789
25 | 2663654.825 | 1194265.239
26 | 2663654.1007 | 1194263.5988
27 | 2663624.1974 | 1194237.7275
28 | 2663651.3002 | 1194257.2561
29 | 2663619.0407 | 1194210.5297
30 | 2663617.9049 | 1194204.5396
31 | 2663611.7129 | 1194170.7049
32 | 2663602.4856 | 1194078.4106
33 | 2663604.7469 | 1194044.2146
34 | 2663640.6004 | 1194034.9938
35 | 2663647.2155 | 1194033.8045
36 | 2663642.2605 | 1194334.7386

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99093 | -0.063571 | 0.0047199 | 0.0011829
1 | 0.99129 | -0.061041 | 0.013061 | 0.0032734
2 | 0.99091 | -0.063684 | 0.00093589 | 0.00023456
3 | 0.99237 | -0.053387 | 0 | 0
4 | 0.99089 | -0.063824 | 0.0010904 | 0.00027329
5 | 0.99323 | -0.047295 | 0 | 0
6 | 0.99085 | -0.064145 | 0.0013254 | 0.00033217
7 | 0.99086 | -0.064002 | 0.018181 | 0.0045567
8 | 0.99566 | -0.030249 | 0.0043982 | 0.0011023
9 | 0.99973 | -0.0019265 | 0.0034385 | 0.00086177
10 | 1 | 0 | -0.1126 | -0.028113
11 | 0.99958 | -0.0029349 | 0.0037532 | 0.00094065
12 | 0.99714 | -0.019935 | 0 | 0
13 | 0.99941 | -0.0041603 | 0.0022647 | 0.00056758
14 | 0.99524 | -0.033299 | 0.010642 | 0.0026671
15 | 0.99938 | -0.0043158 | 0.0030996 | 0.00077683
16 | 0.99507 | -0.034477 | 0 | 0
17 | 0.99902 | -0.0068424 | 0.0024558 | 0.00061548
18 | 0.9901 | -0.069388 | 0 | 0
19 | 0.98989 | -0.070898 | 0.0073345 | 0.0018382
20 | 0.99009 | -0.069445 | 0.014909 | 0.0037365
21 | 0.99462 | -0.037607 | 0.001102 | 0.0002762
22 | 0.99492 | -0.035544 | 0.00097228 | 0.00024368
23 | 0.99485 | -0.035988 | 0 | 0
24 | 0.99484 | -0.03609 | 0.00088712 | 0.00022233
25 | 0.99479 | -0.036417 | 0.0010317 | 0.00025857
26 | 0.99479 | -0.036467 | 0.0012644 | 0.00031688
27 | 0.99415 | -0.040941 | 0.001567 | 0.00039272
28 | 0.99477 | -0.036571 | 0.0014952 | 0.00037474
29 | 0.99371 | -0.044052 | 0.00066578 | 0.00016686
30 | 0.99362 | -0.044696 | 0.00079243 | 0.0001986
31 | 0.99314 | -0.048057 | 0.0017231 | 0.00043185
32 | 0.99208 | -0.05551 | 0 | 0
33 | 0.99169 | -0.058266 | 0 | 0
34 | 0.99127 | -0.061252 | 0.0020726 | 0.00051945
35 | 0.99121 | -0.061651 | 0.0058474 | 0.0014655
36 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0080717 | -0.0020226 | 0.0080746 | 0.0020233 | 2.8273e-06 | 6.8996e-07 | 0.012121 | 0.012121 | 0.012121 | 0.99093 | -0.063571 | 0.99129 | -0.061041 | 4.4891
1 | 0.0033519 | 0.00083966 | -0.0033518 | -0.00083968 | 5.2046e-08 | -2.2396e-08 | 0.0050332 | 0.0050332 | 0.0050332 | 0.99093 | -0.063571 | 0.99091 | -0.063684 | 1.8641
2 | -0.021136 | -0.0052967 | 0.021158 | 0.0053049 | 2.2412e-05 | 8.1595e-06 | 0.031727 | 0.031727 | 0.031727 | 0.99129 | -0.061041 | 0.99237 | -0.053387 | 11.7506
3 | 0.0024159 | 0.00060513 | -0.0024159 | -0.00060518 | 4.7079e-08 | -5.5738e-08 | 0.0036278 | 0.0036278 | 0.0036278 | 0.99091 | -0.063684 | 0.99089 | -0.063824 | 1.3436
4 | -0.021158 | -0.0053049 | 0.021176 | 0.0053114 | 1.7873e-05 | 6.5063e-06 | 0.031727 | 0.031726 | 0.031727 | 0.99237 | -0.053387 | 0.99323 | -0.047295 | 11.7506
5 | 0.0013255 | 0.00033189 | -0.0013254 | -0.00033217 | 5.8695e-08 | -2.8326e-07 | 0.0019903 | 0.0019904 | 0.0019904 | 0.99089 | -0.063824 | 0.99085 | -0.064145 | 0.73719
6 | 0.040537 | 0.010173 | -0.040443 | -0.010138 | 9.3791e-05 | 3.5547e-05 | 0.060735 | 0.060735 | 0.060735 | 0.99323 | -0.047295 | 0.99086 | -0.064002 | 22.4945
7 | -0.061713 | -0.015485 | 0.061859 | 0.015541 | 0.00014632 | 5.5922e-05 | 0.092461 | 0.092461 | 0.092461 | 0.99323 | -0.047295 | 0.99566 | -0.030249 | 34.245
8 | 0.022262 | 0.0055812 | -0.022245 | -0.0055751 | 1.66e-05 | 6.0781e-06 | 0.033432 | 0.033432 | 0.033432 | 0.99086 | -0.064002 | 0.9901 | -0.069388 | 12.3822
9 | -0.066257 | -0.016643 | 0.066352 | 0.016679 | 9.5171e-05 | 3.6402e-05 | 0.099034 | 0.099034 | 0.099034 | 0.99566 | -0.030249 | 0.99714 | -0.019935 | 36.6794
10 | -0.015016 | -0.0037621 | 0.01502 | 0.0037635 | 4.0031e-06 | 1.3712e-06 | 0.022349 | 0.022349 | 0.022349 | 0.99973 | -0.0019265 | 1 | 0 | 8.2775
11 | 0.011577 | 0.0029003 | -0.011576 | -0.0028998 | 1.6147e-06 | 5.0678e-07 | 0.017231 | 0.017231 | 0.017231 | 0.99973 | -0.0019265 | 0.99958 | -0.0029349 | 6.382
12 | 0.096781 | 0.024349 | -0.096512 | -0.024246 | 0.00026839 | 0.00010296 | 0.14404 | 0.14404 | 0.14404 | 1 | 0 | 0.99714 | -0.019935 | 53.3498
13 | 0.0078224 | 0.0019592 | -0.007821 | -0.0019589 | 1.3253e-06 | 3.0443e-07 | 0.011644 | 0.011644 | 0.011644 | 0.99958 | -0.0029349 | 0.99941 | -0.0041603 | 4.3127
14 | 0.03016 | 0.0075667 | -0.030104 | -0.0075458 | 5.5811e-05 | 2.0891e-05 | 0.04501 | 0.04501 | 0.04501 | 0.99714 | -0.019935 | 0.99524 | -0.033299 | 16.6705
15 | 0.0055564 | 0.0013913 | -0.0055563 | -0.0013913 | 1.1939e-07 | 9.2841e-09 | 0.0082724 | 0.0082725 | 0.0082725 | 0.99941 | -0.0041603 | 0.99938 | -0.0043158 | 3.0639
16 | 0.019462 | 0.0048787 | -0.019459 | -0.0048776 | 3.1737e-06 | 1.1426e-06 | 0.029099 | 0.0291 | 0.0291 | 0.99524 | -0.033299 | 0.99507 | -0.034477 | 10.7776
17 | 0.0024567 | 0.00061447 | -0.0024558 | -0.00061548 | 8.5742e-07 | -1.0156e-06 | 0.0036574 | 0.0036578 | 0.0036578 | 0.99938 | -0.0043158 | 0.99902 | -0.0068424 | 1.3548
18 | 0.013807 | 0.0034616 | -0.013801 | -0.0034596 | 5.9852e-06 | 2.0099e-06 | 0.020648 | 0.020648 | 0.020648 | 0.99507 | -0.034477 | 0.99462 | -0.037607 | 7.6473
19 | 0.0056521 | 0.001416 | -0.0056512 | -0.0014159 | 8.3431e-07 | 7.7789e-08 | 0.0084519 | 0.0084519 | 0.0084519 | 0.99507 | -0.034477 | 0.99492 | -0.035544 | 3.1303
20 | 0.0073361 | 0.0018385 | -0.0073345 | -0.0018382 | 1.5331e-06 | 3.2976e-07 | 0.011025 | 0.011025 | 0.011025 | 0.9901 | -0.069388 | 0.98989 | -0.070898 | 4.0835
21 | 0.014909 | 0.0037365 | -0.014909 | -0.0037365 | 1.1769e-07 | 4.0435e-08 | 0.022407 | 0.022407 | 0.022407 | 0.9901 | -0.069388 | 0.99009 | -0.069445 | 8.2987
22 | 0.012699 | 0.0031834 | -0.012693 | -0.0031815 | 5.8622e-06 | 1.9171e-06 | 0.018999 | 0.018999 | 0.018999 | 0.99462 | -0.037607 | 0.99415 | -0.040941 | 7.0367
23 | 0.004679 | 0.0011722 | -0.0046787 | -0.0011722 | 2.8732e-07 | -1.1592e-08 | 0.0069978 | 0.0069978 | 0.0069978 | 0.99492 | -0.035544 | 0.99485 | -0.035988 | 2.5918
24 | 0.00088713 | 0.00022219 | -0.00088712 | -0.00022233 | 1.2611e-08 | -1.442e-07 | 0.0013268 | 0.0013269 | 0.0013269 | 0.99485 | -0.035988 | 0.99484 | -0.03609 | 0.49144
25 | 0.0037915 | 0.00095003 | -0.0037913 | -0.00095009 | 2.2528e-07 | -5.9106e-08 | 0.005671 | 0.005671 | 0.005671 | 0.99485 | -0.035988 | 0.99479 | -0.036417 | 2.1004
26 | 0.0027596 | 0.00069152 | -0.0027596 | -0.00069153 | 1.9064e-08 | -1.5946e-08 | 0.0041278 | 0.0041278 | 0.0041278 | 0.99479 | -0.036417 | 0.99479 | -0.036467 | 1.5288
27 | 0.0014952 | 0.00037466 | -0.0014952 | -0.00037474 | 2.1642e-08 | -8.169e-08 | 0.0022366 | 0.0022366 | 0.0022366 | 0.99479 | -0.036467 | 0.99477 | -0.036571 | 0.82837
28 | 0.011126 | 0.0027888 | -0.011122 | -0.0027873 | 4.7909e-06 | 1.4839e-06 | 0.016654 | 0.016654 | 0.016654 | 0.99415 | -0.040941 | 0.99371 | -0.044052 | 6.1681
29 | 0.010456 | 0.0026205 | -0.010455 | -0.0026202 | 9.326e-07 | 2.7972e-07 | 0.015657 | 0.015657 | 0.015657 | 0.99371 | -0.044052 | 0.99362 | -0.044696 | 5.7989
30 | 0.0096625 | 0.0024216 | -0.009658 | -0.0024203 | 4.4942e-06 | 1.2833e-06 | 0.01447 | 0.01447 | 0.01447 | 0.99362 | -0.044696 | 0.99314 | -0.048057 | 5.3594
31 | 0.0079348 | 0.0019884 | -0.0079267 | -0.0019865 | 8.1809e-06 | 1.9475e-06 | 0.011889 | 0.011889 | 0.011889 | 0.99314 | -0.048057 | 0.99208 | -0.05551 | 4.4034
32 | 0.0079267 | 0.0019865 | -0.0079236 | -0.0019858 | 3.0234e-06 | 7.2042e-07 | 0.011889 | 0.011889 | 0.011889 | 0.99208 | -0.05551 | 0.99169 | -0.058266 | 4.4034
33 | 0.0079236 | 0.0019858 | -0.0079204 | -0.001985 | 3.2752e-06 | 7.8082e-07 | 0.011889 | 0.011889 | 0.011889 | 0.99169 | -0.058266 | 0.99127 | -0.061252 | 4.4035
34 | 0.0058477 | 0.0014655 | -0.0058474 | -0.0014655 | 3.2317e-07 | 3.7658e-08 | 0.0087781 | 0.0087782 | 0.0087782 | 0.99127 | -0.061252 | 0.99121 | -0.061651 | 3.2512

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.11596 | 0.028955

## res_load
| p_mw | q_mvar
0 | 0.0047199 | 0.0011829
1 | 0.013061 | 0.0032734
2 | 0.00093589 | 0.00023456
3 | 0.0010904 | 0.00027329
4 | 0.0013254 | 0.00033217
5 | 0.018181 | 0.0045567
6 | 0.0043982 | 0.0011023
7 | 0.0034385 | 0.00086177
8 | 0.0033621 | 0.00084261
9 | 0.0037532 | 0.00094065
10 | 0.0022647 | 0.00056758
11 | 0.010642 | 0.0026671
12 | 0.0030996 | 0.00077683
13 | 0.0024558 | 0.00061548
14 | 0.0073345 | 0.0018382
15 | 0.014909 | 0.0037365
16 | 0.001102 | 0.0002762
17 | 0.00097228 | 0.00024368
18 | 0.00088712 | 0.00022233
19 | 0.0010317 | 0.00025857
20 | 0.0012644 | 0.00031688
21 | 0.001567 | 0.00039272
22 | 0.0014952 | 0.00037474
23 | 0.00066578 | 0.00016686
24 | 0.00079243 | 0.0001986
25 | 0.0017231 | 0.00043185
26 | 0.0020726 | 0.00051945
27 | 0.0058474 | 0.0014655

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1