## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1404-6_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1404-6_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1404-6_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1404-6_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1404-6_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1404-6_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1404-6_0_2_node_36 | 0.4 | n |  | TRUE
7 | bus_LV_1404-6_0_2_node_62 | 0.4 | n |  | TRUE
8 | bus_LV_1404-6_0_2_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_1404-6_0_2_node_61 | 0.4 | n |  | TRUE
10 | bus_LV_1404-6_0_2_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1404-6_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1404-6_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1404-6_0_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1404-6_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1404-6_0_2_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_1404-6_0_2_node_68 | 0.4 | n |  | TRUE
17 | bus_LV_1404-6_0_2_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_1404-6_0_2_node_70 | 0.4 | n |  | TRUE
19 | bus_LV_1404-6_0_2_node_66 | 0.4 | n |  | TRUE
20 | bus_LV_1404-6_0_2_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_1404-6_0_2_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_1404-6_0_2_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1404-6_0_2_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1404-6_0_2_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_1404-6_0_2_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1404-6_0_2_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_1404-6_0_2_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_1404-6_0_2_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_1404-6_0_2_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_1404-6_0_2_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_1404-6_0_2_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1404-6_0_2_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_1404-6_0_2_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_1404-6_0_2_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_1404-6_0_2_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_1404-6_0_2_node_73 | 0.4 | n |  | TRUE
37 | bus_LV_1404-6_0_2_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_1404-6_0_2_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_1404-6_0_2_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_1404-6_0_2_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_1404-6_0_2_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_1404-6_0_2_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_1404-6_0_2_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_1404-6_0_2_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_1404-6_0_2_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_1404-6_0_2_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_1404-6_0_2_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_1404-6_0_2_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_1404-6_0_2_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_1404-6_0_2_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_1404-6_0_2_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_1404-6_0_2_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_1404-6_0_2_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_1404-6_0_2_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_1404-6_0_2_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_1404-6_0_2_node_71 | 0.4 | n |  | TRUE
57 | bus_LV_1404-6_0_2_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_1404-6_0_2_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_1404-6_0_2_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_1404-6_0_2_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_1404-6_0_2_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_1404-6_0_2_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_1404-6_0_2_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_1404-6_0_2_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_1404-6_0_2_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_1404-6_0_2_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_1404-6_0_2_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_1404-6_0_2_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_1404-6_0_2_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_1404-6_0_2_node_74 | 0.4 | n |  | TRUE
71 | bus_LV_1404-6_0_2_node_75 | 0.4 | n |  | TRUE
72 | bus_MV_140_0_node_83 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1404-6_0_2_load_0 | 0 | 0.0040624 | 0.0010181 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1404-6_0_2_load_3 | 3 | 0.0019144 | 0.00047979 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1404-6_0_2_load_4 | 4 | 0.00055772 | 0.00013978 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1404-6_0_2_load_5 | 5 | 0.00066299 | 0.00016616 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1404-6_0_2_load_36 | 6 | 0.0026759 | 0.00067065 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1404-6_0_2_load_62 | 7 | 0.0004898 | 0.00012275 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1404-6_0_2_load_21 | 8 | 0.0037166 | 0.00093147 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1404-6_0_2_load_61 | 9 | 0.0046613 | 0.0011682 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1404-6_0_2_load_6 | 10 | 0.0094425 | 0.0023665 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1404-6_0_2_load_7 | 11 | 0.0096759 | 0.002425 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1404-6_0_2_load_8 | 12 | 0.0059601 | 0.0014937 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1404-6_0_2_load_9 | 13 | 0.0014378 | 0.00036035 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1404-6_0_2_load_10 | 14 | 0.0025967 | 0.0006508 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1404-6_0_2_load_23 | 15 | 0.0063866 | 0.0016006 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1404-6_0_2_load_68 | 16 | 0.0073363 | 0.0018387 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1404-6_0_2_load_70 | 18 | 0.00090951 | 0.00022794 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1404-6_0_2_load_66 | 19 | 0.00034562 | 8.6621e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1404-6_0_2_load_11 | 20 | 0.0016083 | 0.00040307 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1404-6_0_2_load_12 | 21 | 0.00029748 | 7.4555e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1404-6_0_2_load_14 | 23 | 0.0022653 | 0.00056774 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1404-6_0_2_load_15 | 24 | 0.0018527 | 0.00046434 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1404-6_0_2_load_16 | 25 | 0.0029372 | 0.00073613 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1404-6_0_2_load_34 | 26 | 0.001908 | 0.00047818 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1404-6_0_2_load_35 | 28 | 0.0015365 | 0.00038507 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1404-6_0_2_load_17 | 29 | 0.003051 | 0.00076465 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1404-6_0_2_load_22 | 31 | 0.0049318 | 0.001236 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1404-6_0_2_load_37 | 32 | 0.0014048 | 0.00035207 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1404-6_0_2_load_19 | 33 | 0.0012392 | 0.00031058 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1404-6_0_2_load_52 | 35 | 0.0012102 | 0.00030329 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1404-6_0_2_load_73 | 36 | 0.0097803 | 0.0024512 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1404-6_0_2_load_53 | 37 | 0.0029812 | 0.00074716 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1404-6_0_2_load_46 | 38 | 0.0026913 | 0.00067451 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1404-6_0_2_load_38 | 39 | 0.0046226 | 0.0011585 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1404-6_0_2_load_24 | 40 | 0.0024527 | 0.0006147 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1404-6_0_2_load_25 | 41 | 0.00061448 | 0.000154 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1404-6_0_2_load_31 | 44 | 0.0026609 | 0.00066688 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1404-6_0_2_load_51 | 45 | 0.0089305 | 0.0022382 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1404-6_0_2_load_50 | 46 | 0.0024944 | 0.00062515 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1404-6_0_2_load_32 | 47 | 0.0011028 | 0.0002764 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1404-6_0_2_load_55 | 50 | 0.0075034 | 0.0018805 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1404-6_0_2_load_59 | 52 | 0.0025774 | 0.00064596 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1404-6_0_2_load_54 | 54 | 0.0091866 | 0.0023024 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1404-6_0_2_load_56 | 55 | 0.0076171 | 0.001909 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1404-6_0_2_load_71 | 56 | 0.0018921 | 0.00047421 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1404-6_0_2_load_43 | 57 | 0.0043522 | 0.0010908 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1404-6_0_2_load_39 | 58 | 0.0029323 | 0.0007349 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1404-6_0_2_load_40 | 59 | 0.0033057 | 0.00082849 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1404-6_0_2_load_42 | 60 | 0.0094907 | 0.0023786 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1404-6_0_2_load_47 | 61 | 0.0018818 | 0.00047163 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1404-6_0_2_load_48 | 62 | 0.00093765 | 0.000235 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1404-6_0_2_load_49 | 63 | 0.0027661 | 0.00069325 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1404-6_0_2_load_60 | 64 | 0.00084886 | 0.00021275 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1404-6_0_2_load_63 | 65 | 0.0019454 | 0.00048757 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1404-6_0_2_load_64 | 66 | 0.00089052 | 0.00022318 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1404-6_0_2_load_65 | 67 | 0.0016477 | 0.00041296 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1404-6_0_2_load_67 | 68 | 0.0025953 | 0.00065043 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1404-6_0_2_load_69 | 69 | 0.0064501 | 0.0016165 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1404-6_0_2_load_75 | 71 | 0.00014381 | 3.6042e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1404-6_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.051976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1404-6_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0033611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1404-6_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.02467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1404-6_0_2_line_3 | NAYY 4x150 SE | 1 | 4 | 0.070259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1404-6_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.037401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1404-6_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.040032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1404-6_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.00018292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1404-6_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.012516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1404-6_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.010683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1404-6_0_2_line_9 | NAYY 4x150 SE | 8 | 30 | 0.012438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1404-6_0_2_line_10 | NAYY 4x150 SE | 9 | 65 | 0.012655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1404-6_0_2_line_11 | NAYY 4x150 SE | 9 | 64 | 0.012529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1404-6_0_2_line_12 | NAYY 4x150 SE | 10 | 11 | 0.014356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1404-6_0_2_line_13 | NAYY 4x150 SE | 10 | 12 | 0.022754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1404-6_0_2_line_14 | NAYY 4x150 SE | 11 | 13 | 0.026294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1404-6_0_2_line_15 | NAYY 4x150 SE | 12 | 14 | 0.013406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1404-6_0_2_line_16 | NAYY 4x150 SE | 13 | 15 | 0.0087223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1404-6_0_2_line_17 | NAYY 4x150 SE | 14 | 16 | 0.025516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1404-6_0_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.02736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1404-6_0_2_line_19 | NAYY 4x150 SE | 16 | 18 | 0.022372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1404-6_0_2_line_20 | NAYY 4x150 SE | 16 | 19 | 0.017229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1404-6_0_2_line_21 | NAYY 4x150 SE | 17 | 27 | 0.039977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1404-6_0_2_line_22 | NAYY 4x150 SE | 17 | 24 | 0.014047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1404-6_0_2_line_23 | NAYY 4x150 SE | 18 | 70 | 0.20814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1404-6_0_2_line_24 | NAYY 4x150 SE | 19 | 68 | 0.0027167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1404-6_0_2_line_25 | NAYY 4x150 SE | 20 | 21 | 0.018905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1404-6_0_2_line_26 | NAYY 4x150 SE | 20 | 22 | 0.023931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1404-6_0_2_line_27 | NAYY 4x150 SE | 21 | 23 | 0.0025601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1404-6_0_2_line_28 | NAYY 4x150 SE | 22 | 24 | 0.020913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1404-6_0_2_line_29 | NAYY 4x150 SE | 22 | 25 | 0.021514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1404-6_0_2_line_30 | NAYY 4x150 SE | 25 | 26 | 0.018828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1404-6_0_2_line_31 | NAYY 4x150 SE | 26 | 28 | 0.01265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1404-6_0_2_line_32 | NAYY 4x150 SE | 27 | 47 | 0.047154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1404-6_0_2_line_33 | NAYY 4x150 SE | 27 | 51 | 0.019699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1404-6_0_2_line_34 | NAYY 4x150 SE | 27 | 48 | 0.031586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1404-6_0_2_line_35 | NAYY 4x150 SE | 28 | 56 | 0.013508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1404-6_0_2_line_36 | NAYY 4x150 SE | 29 | 30 | 0.018398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1404-6_0_2_line_37 | NAYY 4x150 SE | 30 | 31 | 0.0099296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1404-6_0_2_line_38 | NAYY 4x150 SE | 31 | 32 | 0.022716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1404-6_0_2_line_39 | NAYY 4x150 SE | 32 | 39 | 0.0019384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1404-6_0_2_line_40 | NAYY 4x150 SE | 33 | 34 | 0.019442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1404-6_0_2_line_41 | NAYY 4x150 SE | 33 | 35 | 0.23551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1404-6_0_2_line_42 | NAYY 4x150 SE | 34 | 36 | 0.044179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1404-6_0_2_line_43 | NAYY 4x150 SE | 35 | 37 | 0.02405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1404-6_0_2_line_44 | NAYY 4x150 SE | 35 | 38 | 0.02059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1404-6_0_2_line_45 | NAYY 4x150 SE | 38 | 53 | 0.069648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1404-6_0_2_line_46 | NAYY 4x150 SE | 39 | 57 | 0.011721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1404-6_0_2_line_47 | NAYY 4x150 SE | 40 | 41 | 0.022792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1404-6_0_2_line_48 | NAYY 4x150 SE | 41 | 42 | 0.0051671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1404-6_0_2_line_49 | NAYY 4x150 SE | 42 | 43 | 0.034673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1404-6_0_2_line_50 | NAYY 4x150 SE | 42 | 44 | 0.021034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1404-6_0_2_line_51 | NAYY 4x150 SE | 43 | 45 | 0.040727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1404-6_0_2_line_52 | NAYY 4x150 SE | 43 | 46 | 0.030352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1404-6_0_2_line_53 | NAYY 4x150 SE | 44 | 47 | 0.023525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1404-6_0_2_line_54 | NAYY 4x150 SE | 48 | 49 | 0.047923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1404-6_0_2_line_55 | NAYY 4x150 SE | 48 | 50 | 0.029138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_1404-6_0_2_line_56 | NAYY 4x150 SE | 49 | 52 | 0.037249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1404-6_0_2_line_57 | NAYY 4x150 SE | 49 | 53 | 0.008174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1404-6_0_2_line_58 | NAYY 4x150 SE | 50 | 54 | 0.0048606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_1404-6_0_2_line_59 | NAYY 4x150 SE | 51 | 55 | 0.029224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1404-6_0_2_line_60 | NAYY 4x150 SE | 52 | 63 | 0.009554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1404-6_0_2_line_61 | NAYY 4x150 SE | 53 | 57 | 0.01783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1404-6_0_2_line_62 | NAYY 4x150 SE | 58 | 59 | 0.023727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1404-6_0_2_line_63 | NAYY 4x150 SE | 59 | 60 | 0.00842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1404-6_0_2_line_64 | NAYY 4x150 SE | 60 | 61 | 0.011254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1404-6_0_2_line_65 | NAYY 4x150 SE | 61 | 62 | 0.0089348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1404-6_0_2_line_66 | NAYY 4x150 SE | 62 | 63 | 0.011397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1404-6_0_2_line_67 | NAYY 4x150 SE | 65 | 66 | 0.025133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1404-6_0_2_line_68 | NAYY 4x150 SE | 66 | 67 | 0.02036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1404-6_0_2_line_69 | NAYY 4x150 SE | 68 | 69 | 0.031147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_1404-6_0_2_line_70 | NAYY 4x150 SE | 70 | 71 | 0.038317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1404-6_0_2_trafo_54 | 0.25 MVA 20/0.4 kV | 72 | 54 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2664858.0202 | 1195491.3588 | 2664822.217 | 1195453.6809
1 | 2664819.9017 | 1195451.2444 | 2664822.217 | 1195453.6809
2 | 2664858.0202 | 1195491.3588 | 2664877.8451 | 1195506.0416
3 | 2664858.0202 | 1195491.3588 | 2664844.3104 | 1195511.2886 | 2664840.1787 | 1195533.9683 | 2664840.9178 | 1195556.9727
4 | 2664819.9017 | 1195451.2444 | 2664795.7568 | 1195422.6813
5 | 2664910.2666 | 1195529.5044 | 2664904.1497 | 1195525.5236 | 2664877.8451 | 1195506.0416
6 | 2664840.9237 | 1195557.1555 | 2664840.9178 | 1195556.9727
7 | 2664910.2666 | 1195529.5044 | 2664920.7571 | 1195536.3316
8 | 2664841.2668 | 1195567.8333 | 2664840.9237 | 1195557.1555
9 | 2664931.182 | 1195543.1161 | 2664920.7571 | 1195536.3316
10 | 2664841.2668 | 1195567.8333 | 2664836.0813 | 1195568.9444 | 2664829.9692 | 1195573.0303
11 | 2664841.2668 | 1195567.8333 | 2664841.5396 | 1195580.3592
12 | 2665133.7848 | 1195581.3871 | 2665122.3401 | 1195590.0534
13 | 2665133.7848 | 1195581.3871 | 2665151.9247 | 1195567.651
14 | 2665122.3401 | 1195590.0534 | 2665105.7372 | 1195602.6257 | 2665101.7519 | 1195606.3699
15 | 2665162.6121 | 1195559.5581 | 2665151.9247 | 1195567.651
16 | 2665096.2364 | 1195613.089 | 2665096.299 | 1195612.9513 | 2665100.087 | 1195607.934 | 2665101.7519 | 1195606.3699
17 | 2665182.9542 | 1195544.1543 | 2665162.6121 | 1195559.5581
18 | 2665084.9177 | 1195637.9978 | 2665096.2364 | 1195613.089
19 | 2665182.9542 | 1195544.1543 | 2665200.8239 | 1195530.6299
20 | 2665182.9542 | 1195544.1543 | 2665186.2261 | 1195548.7482 | 2665191.3825 | 1195559.1264
21 | 2665053.1406 | 1195632.9159 | 2665051.2866 | 1195631.0502 | 2665054.4398 | 1195628.3496 | 2665058.081 | 1195627.0106 | 2665062.8934 | 1195627.2742 | 2665084.9177 | 1195637.9978
22 | 2665084.9177 | 1195637.9978 | 2665094.421 | 1195642.6817 | 2665097.3818 | 1195644.4559
23 | 2665200.8239 | 1195530.6299 | 2665317.8606 | 1195358.5163
24 | 2665191.3825 | 1195559.1264 | 2665192.5913 | 1195561.5593
25 | 2665134.8799 | 1195668.9942 | 2665136.6882 | 1195670.2691 | 2665150.577 | 1195679.5285
26 | 2665115.3209 | 1195655.2054 | 2665134.8799 | 1195668.9942
27 | 2665152.7071 | 1195680.9486 | 2665150.577 | 1195679.5285
28 | 2665115.3209 | 1195655.2054 | 2665097.3818 | 1195644.4559
29 | 2665115.3209 | 1195655.2054 | 2665121.1743 | 1195650.8221 | 2665127.0997 | 1195648.9299 | 2665134.9725 | 1195647.6221
30 | 2665134.9725 | 1195647.6221 | 2665153.5456 | 1195644.5368
31 | 2665166.0031 | 1195642.3562 | 2665164.4702 | 1195642.7221 | 2665153.5456 | 1195644.5368
32 | 2665053.1406 | 1195632.9159 | 2665063.213 | 1195644.8213 | 2665075.1243 | 1195664.1733 | 2665079.0594 | 1195672.0836
33 | 2665042.4516 | 1195648.9758 | 2665048.0427 | 1195637.1852 | 2665053.1406 | 1195632.9159
34 | 2665030.6536 | 1195610.7806 | 2665036.5126 | 1195615.6917 | 2665051.2866 | 1195631.0502 | 2665053.1406 | 1195632.9159
35 | 2665179.1419 | 1195639.2199 | 2665166.0031 | 1195642.3562
36 | 2664931.182 | 1195543.1161 | 2664941.9491 | 1195528.1974
37 | 2664931.182 | 1195543.1161 | 2664939.5045 | 1195548.5322
38 | 2664939.5045 | 1195548.5322 | 2664958.5435 | 1195560.9223
39 | 2664960.1681 | 1195561.9796 | 2664958.5435 | 1195560.9223
40 | 2665015.434 | 1195273.3946 | 2665014.8325 | 1195274.7556 | 2665014.2835 | 1195278.2961 | 2665015.2412 | 1195289.024 | 2665015.688 | 1195292.5968
41 | 2665053.3385 | 1195525.0768 | 2665015.688 | 1195292.5968
42 | 2665050.2486 | 1195255.0956 | 2665047.2602 | 1195253.1286 | 2665040.3893 | 1195251.553 | 2665030.4256 | 1195258.3154 | 2665020.8764 | 1195265.4936 | 2665016.2933 | 1195271.4473 | 2665015.434 | 1195273.3946
43 | 2665068.8635 | 1195540.7549 | 2665068.6667 | 1195537.1284 | 2665067.5944 | 1195534.1483 | 2665065.9534 | 1195531.6067 | 2665062.1921 | 1195529.2756 | 2665056.6673 | 1195526.5472 | 2665053.3385 | 1195525.0768
44 | 2665053.3385 | 1195525.0768 | 2665049.851 | 1195524.1828 | 2665046.8794 | 1195524.195 | 2665044.1976 | 1195524.8773 | 2665036.9902 | 1195526.9447 | 2665033.5785 | 1195528.1972 | 2665033.4896 | 1195528.2758
45 | 2664984.9361 | 1195578.098 | 2664989.2614 | 1195572.7085 | 2665005.941 | 1195557.1694 | 2665021.8468 | 1195539.9321 | 2665030.0549 | 1195531.3163 | 2665033.4896 | 1195528.2758
46 | 2664969.992 | 1195568.3727 | 2664960.1681 | 1195561.9796
47 | 2665099.715 | 1195717.3081 | 2665108.576 | 1195738.3067
48 | 2665097.7061 | 1195712.5475 | 2665099.715 | 1195717.3081
49 | 2665068.458 | 1195718.0548 | 2665089.6221 | 1195722.3764 | 2665093.1069 | 1195715.8105 | 2665097.7061 | 1195712.5475
50 | 2665097.7061 | 1195712.5475 | 2665089.0642 | 1195693.3704
51 | 2665068.458 | 1195718.0548 | 2665054.6602 | 1195715.2364 | 2665055.9787 | 1195688.5906
52 | 2665068.458 | 1195718.0548 | 2665069.5912 | 1195714.0314 | 2665079.721 | 1195712.952 | 2665081.2593 | 1195697.0414
53 | 2665079.0594 | 1195672.0836 | 2665083.4376 | 1195680.8847 | 2665089.0642 | 1195693.3704
54 | 2665030.6536 | 1195610.7806 | 2664991.4499 | 1195583.0606
55 | 2665030.6536 | 1195610.7806 | 2665046.1879 | 1195586.1289
56 | 2664991.4499 | 1195583.0606 | 2664984.2602 | 1195594.0223 | 2664977.5291 | 1195611.8708 | 2664975.7324 | 1195616.6059
57 | 2664984.9361 | 1195578.098 | 2664991.4499 | 1195583.0606
58 | 2665048.7792 | 1195582.0167 | 2665046.1879 | 1195586.1289
59 | 2665042.4516 | 1195648.9758 | 2665017.1918 | 1195634.2787
60 | 2664975.7324 | 1195616.6059 | 2664972.3431 | 1195625.5385
61 | 2664984.9361 | 1195578.098 | 2664969.992 | 1195568.3727
62 | 2664955.818 | 1195667.3603 | 2664953.2447 | 1195665.3941 | 2664945.5361 | 1195659.607 | 2664949.9644 | 1195649.7026
63 | 2664953.7225 | 1195642.185 | 2664952.2438 | 1195644.6044 | 2664949.9644 | 1195649.7026
64 | 2664959.5913 | 1195632.5828 | 2664953.7225 | 1195642.185
65 | 2664959.5913 | 1195632.5828 | 2664961.397 | 1195629.6283 | 2664963.9032 | 1195624.7637 | 2664963.9032 | 1195624.7637
66 | 2664963.9032 | 1195624.7637 | 2664971.2149 | 1195628.512 | 2664972.3431 | 1195625.5385
67 | 2664829.9692 | 1195573.0303 | 2664809.075 | 1195586.998
68 | 2664809.075 | 1195586.998 | 2664792.1489 | 1195598.313
69 | 2665206.4501 | 1195589.4527 | 2665192.5913 | 1195561.5593
70 | 2665289.0387 | 1195333.1757 | 2665317.8606 | 1195358.5163

## bus_geodata
| x | y | coords
0 | 2664822.217 | 1195453.6809
1 | 2664858.0202 | 1195491.3588
2 | 2664819.9017 | 1195451.2444
3 | 2664877.8451 | 1195506.0416
4 | 2664840.9178 | 1195556.9727
5 | 2664795.7568 | 1195422.6813
6 | 2664910.2666 | 1195529.5044
7 | 2664840.9237 | 1195557.1555
8 | 2664920.7571 | 1195536.3316
9 | 2664841.2668 | 1195567.8333
10 | 2665133.7848 | 1195581.3871
11 | 2665122.3401 | 1195590.0534
12 | 2665151.9247 | 1195567.651
13 | 2665101.7519 | 1195606.3699
14 | 2665162.6121 | 1195559.5581
15 | 2665096.2364 | 1195613.089
16 | 2665182.9542 | 1195544.1543
17 | 2665084.9177 | 1195637.9978
18 | 2665200.8239 | 1195530.6299
19 | 2665191.3825 | 1195559.1264
20 | 2665134.8799 | 1195668.9942
21 | 2665150.577 | 1195679.5285
22 | 2665115.3209 | 1195655.2054
23 | 2665152.7071 | 1195680.9486
24 | 2665097.3818 | 1195644.4559
25 | 2665134.9725 | 1195647.6221
26 | 2665153.5456 | 1195644.5368
27 | 2665053.1406 | 1195632.9159
28 | 2665166.0031 | 1195642.3562
29 | 2664941.9491 | 1195528.1974
30 | 2664931.182 | 1195543.1161
31 | 2664939.5045 | 1195548.5322
32 | 2664958.5435 | 1195560.9223
33 | 2665015.688 | 1195292.5968
34 | 2665015.434 | 1195273.3946
35 | 2665053.3385 | 1195525.0768
36 | 2665050.2486 | 1195255.0956
37 | 2665068.8635 | 1195540.7549
38 | 2665033.4896 | 1195528.2758
39 | 2664960.1681 | 1195561.9796
40 | 2665108.576 | 1195738.3067
41 | 2665099.715 | 1195717.3081
42 | 2665097.7061 | 1195712.5475
43 | 2665068.458 | 1195718.0548
44 | 2665089.0642 | 1195693.3704
45 | 2665055.9787 | 1195688.5906
46 | 2665081.2593 | 1195697.0414
47 | 2665079.0594 | 1195672.0836
48 | 2665030.6536 | 1195610.7806
49 | 2664991.4499 | 1195583.0606
50 | 2665046.1879 | 1195586.1289
51 | 2665042.4516 | 1195648.9758
52 | 2664975.7324 | 1195616.6059
53 | 2664984.9361 | 1195578.098
54 | 2665048.7792 | 1195582.0167
55 | 2665017.1918 | 1195634.2787
56 | 2665179.1419 | 1195639.2199
57 | 2664969.992 | 1195568.3727
58 | 2664955.818 | 1195667.3603
59 | 2664949.9644 | 1195649.7026
60 | 2664953.7225 | 1195642.185
61 | 2664959.5913 | 1195632.5828
62 | 2664963.9032 | 1195624.7637
63 | 2664972.3431 | 1195625.5385
64 | 2664841.5396 | 1195580.3592
65 | 2664829.9692 | 1195573.0303
66 | 2664809.075 | 1195586.998
67 | 2664792.1489 | 1195598.313
68 | 2665192.5913 | 1195561.5593
69 | 2665206.4501 | 1195589.4527
70 | 2665317.8606 | 1195358.5163
71 | 2665289.0387 | 1195333.1757
72 | 2665056.8508 | 1195569.2076

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98302 | -0.11923 | 0.0040624 | 0.0010181
1 | 0.98337 | -0.11669 | 0 | 0
2 | 0.98302 | -0.11925 | 0 | 0
3 | 0.98394 | -0.11267 | 0.0019144 | 0.00047979
4 | 0.98225 | -0.12472 | 0.00055772 | 0.00013978
5 | 0.98298 | -0.11951 | 0.00066299 | 0.00016616
6 | 0.98497 | -0.10537 | 0.0026759 | 0.00067065
7 | 0.98225 | -0.12474 | 0.0004898 | 0.00012275
8 | 0.98534 | -0.10275 | 0.0037166 | 0.00093147
9 | 0.98209 | -0.12584 | 0.0046613 | 0.0011682
10 | 0.98222 | -0.12476 | 0.0094425 | 0.0023665
11 | 0.98297 | -0.11945 | 0.0096759 | 0.002425
12 | 0.98135 | -0.13098 | 0.0059601 | 0.0014937
13 | 0.9847 | -0.10712 | 0.0014378 | 0.00036035
14 | 0.98095 | -0.13381 | 0.0025967 | 0.0006508
15 | 0.9853 | -0.1029 | 0.0063866 | 0.0016006
16 | 0.98029 | -0.13853 | 0.0073363 | 0.0018387
17 | 0.98741 | -0.087939 | 0 | 0
18 | 0.98026 | -0.13878 | 0.00090951 | 0.00022794
19 | 0.98006 | -0.14021 | 0.00034562 | 8.6621e-05
20 | 0.9866 | -0.09369 | 0.0016083 | 0.00040307
21 | 0.98653 | -0.094187 | 0.00029748 | 7.4555e-05
22 | 0.98675 | -0.092666 | 0 | 0
23 | 0.98652 | -0.094247 | 0.0022653 | 0.00056774
24 | 0.98712 | -0.089997 | 0.0018527 | 0.00046434
25 | 0.98649 | -0.094493 | 0.0029372 | 0.00073613
26 | 0.98634 | -0.095524 | 0.001908 | 0.00047818
27 | 0.99133 | -0.06037 | 0 | 0
28 | 0.98628 | -0.095969 | 0.0015365 | 0.00038507
29 | 0.98569 | -0.10025 | 0.003051 | 0.00076465
30 | 0.98577 | -0.099669 | 0 | 0
31 | 0.98616 | -0.0969 | 0.0049318 | 0.001236
32 | 0.98721 | -0.089427 | 0.0014048 | 0.00035207
33 | 0.98302 | -0.11918 | 0.0012392 | 0.00031058
34 | 0.98275 | -0.12115 | 0 | 0
35 | 0.98679 | -0.09244 | 0.0012102 | 0.00030329
36 | 0.98212 | -0.12562 | 0.0097803 | 0.0024512
37 | 0.98669 | -0.093176 | 0.0029812 | 0.00074716
38 | 0.98724 | -0.089225 | 0.0026913 | 0.00067451
39 | 0.98731 | -0.088762 | 0.0046226 | 0.0011585
40 | 0.98896 | -0.077091 | 0.0024527 | 0.0006147
41 | 0.98904 | -0.07652 | 0.00061448 | 0.000154
42 | 0.98907 | -0.076358 | 0 | 0
43 | 0.9885 | -0.080405 | 0 | 0
44 | 0.98951 | -0.073247 | 0.0026609 | 0.00066688
45 | 0.98797 | -0.084123 | 0.0089305 | 0.0022382
46 | 0.98839 | -0.081179 | 0.0024944 | 0.00062515
47 | 0.99009 | -0.069132 | 0.0011028 | 0.0002764
48 | 0.9956 | -0.030493 | 0 | 0
49 | 0.98976 | -0.07142 | 0 | 0
50 | 0.99935 | -0.0044992 | 0.0075034 | 0.0018805
51 | 0.99111 | -0.061894 | 0 | 0
52 | 0.98848 | -0.080502 | 0.0025774 | 0.00064596
53 | 0.98905 | -0.076455 | 0 | 0
54 | 1 | 0 | -0.18861 | -0.047396
55 | 0.99079 | -0.064157 | 0.0076171 | 0.001909
56 | 0.98624 | -0.096231 | 0.0018921 | 0.00047421
57 | 0.98795 | -0.08419 | 0.0043522 | 0.0010908
58 | 0.98722 | -0.089418 | 0.0029323 | 0.0007349
59 | 0.98732 | -0.088705 | 0.0033057 | 0.00082849
60 | 0.9874 | -0.088167 | 0.0094907 | 0.0023786
61 | 0.98765 | -0.086355 | 0.0018818 | 0.00047163
62 | 0.98788 | -0.084745 | 0.00093765 | 0.000235
63 | 0.98819 | -0.082583 | 0.0027661 | 0.00069325
64 | 0.98208 | -0.12595 | 0.00084886 | 0.00021275
65 | 0.98201 | -0.12643 | 0.0019454 | 0.00048757
66 | 0.98192 | -0.12709 | 0.00089052 | 0.00022318
67 | 0.98187 | -0.12744 | 0.0016477 | 0.00041296
68 | 0.98002 | -0.14047 | 0.0025953 | 0.00065043
69 | 0.97973 | -0.14256 | 0.0064501 | 0.0016165
70 | 0.98021 | -0.13912 | 0 | 0
71 | 0.98021 | -0.13918 | 0.00014381 | 3.6042e-05
72 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0047254 | -0.0011838 | 0.0047271 | 0.0011838 | 1.6593e-06 | -2.0975e-08 | 0.0071528 | 0.0071525 | 0.0071528 | 0.98302 | -0.11923 | 0.98337 | -0.11669 | 2.6492
1 | 0.00066301 | 0.00016565 | -0.00066301 | -0.0001657 | 2.1118e-09 | -4.1798e-08 | 0.0010034 | 0.0010035 | 0.0010035 | 0.98302 | -0.11923 | 0.98302 | -0.11925 | 0.37165
2 | -0.015783 | -0.0039547 | 0.015792 | 0.0039577 | 8.7801e-06 | 3.0638e-06 | 0.023882 | 0.023882 | 0.023882 | 0.98337 | -0.11669 | 0.98394 | -0.11267 | 8.8452
3 | 0.011056 | 0.0027709 | -0.011044 | -0.0027671 | 1.2271e-05 | 3.8291e-06 | 0.01673 | 0.01673 | 0.01673 | 0.98337 | -0.11669 | 0.98225 | -0.12472 | 6.1962
4 | 0.00066301 | 0.0001657 | -0.00066299 | -0.00016616 | 2.3503e-08 | -4.6509e-07 | 0.0010035 | 0.0010036 | 0.0010036 | 0.98302 | -0.11925 | 0.98298 | -0.11951 | 0.37171
5 | -0.017706 | -0.0044375 | 0.017724 | 0.0044439 | 1.7911e-05 | 6.3798e-06 | 0.026777 | 0.026777 | 0.026777 | 0.98394 | -0.11267 | 0.98497 | -0.10537 | 9.9175
6 | 0.010486 | 0.0026273 | -0.010486 | -0.0026273 | 2.8802e-08 | 8.762e-09 | 0.015885 | 0.015885 | 0.015885 | 0.98225 | -0.12472 | 0.98225 | -0.12474 | 5.8833
7 | -0.0204 | -0.0051146 | 0.020407 | 0.0051173 | 7.4186e-06 | 2.6939e-06 | 0.03082 | 0.03082 | 0.03082 | 0.98497 | -0.10537 | 0.98534 | -0.10275 | 11.4147
8 | 0.0099961 | 0.0025045 | -0.0099946 | -0.0025041 | 1.5287e-06 | 4.5275e-07 | 0.015143 | 0.015143 | 0.015143 | 0.98225 | -0.12474 | 0.98209 | -0.12584 | 5.6085
9 | -0.024124 | -0.0060487 | 0.024134 | 0.0060525 | 1.0302e-05 | 3.8037e-06 | 0.036432 | 0.036432 | 0.036432 | 0.98534 | -0.10275 | 0.98577 | -0.099669 | 13.4934
10 | 0.0044844 | 0.0011232 | -0.004484 | -0.0011233 | 3.6454e-07 | -1.9913e-08 | 0.0067943 | 0.0067943 | 0.0067943 | 0.98209 | -0.12584 | 0.98201 | -0.12643 | 2.5164
11 | 0.00084888 | 0.00021259 | -0.00084886 | -0.00021275 | 1.2932e-08 | -1.5356e-07 | 0.0012861 | 0.0012862 | 0.0012862 | 0.98209 | -0.12584 | 0.98208 | -0.12595 | 0.47636
12 | -0.035827 | -0.0089804 | 0.035853 | 0.0089904 | 2.6389e-05 | 9.9678e-06 | 0.054276 | 0.054276 | 0.054276 | 0.98222 | -0.12476 | 0.98297 | -0.11945 | 20.1022
13 | 0.026384 | 0.0066139 | -0.026361 | -0.0066055 | 2.2685e-05 | 8.4372e-06 | 0.039971 | 0.039971 | 0.039971 | 0.98222 | -0.12476 | 0.98135 | -0.13098 | 14.8042
14 | -0.045529 | -0.011415 | 0.045607 | 0.011445 | 7.7943e-05 | 2.9644e-05 | 0.068923 | 0.068923 | 0.068923 | 0.98297 | -0.11945 | 0.9847 | -0.10712 | 25.5272
15 | 0.020401 | 0.0051117 | -0.020393 | -0.0051088 | 8.0048e-06 | 2.9095e-06 | 0.030934 | 0.030934 | 0.030934 | 0.98135 | -0.13098 | 0.98095 | -0.13381 | 11.4571
16 | -0.047045 | -0.011805 | 0.047072 | 0.011816 | 2.7511e-05 | 1.047e-05 | 0.071096 | 0.071096 | 0.071096 | 0.9847 | -0.10712 | 0.9853 | -0.1029 | 26.3318
17 | 0.017797 | 0.004458 | -0.017785 | -0.0044539 | 1.1603e-05 | 4.1408e-06 | 0.026995 | 0.026995 | 0.026995 | 0.98095 | -0.13381 | 0.98029 | -0.13853 | 9.9982
18 | -0.053459 | -0.013417 | 0.05357 | 0.013459 | 0.0001113 | 4.2458e-05 | 0.080741 | 0.080741 | 0.080741 | 0.9853 | -0.1029 | 0.98741 | -0.087939 | 29.9041
19 | 0.0010534 | 0.00026061 | -0.0010533 | -0.00026088 | 3.5638e-08 | -2.6833e-07 | 0.0015977 | 0.0015978 | 0.0015978 | 0.98029 | -0.13853 | 0.98026 | -0.13878 | 0.59179
20 | 0.0093953 | 0.0023546 | -0.0093931 | -0.002354 | 2.1866e-06 | 6.2384e-07 | 0.014261 | 0.014262 | 0.014262 | 0.98029 | -0.13853 | 0.98006 | -0.14021 | 5.2821
21 | -0.06788 | -0.017045 | 0.068141 | 0.017145 | 0.0002611 | 9.9908e-05 | 0.10231 | 0.10231 | 0.10231 | 0.98741 | -0.087939 | 0.99133 | -0.06037 | 37.8912
22 | 0.01431 | 0.0035863 | -0.014306 | -0.0035849 | 4.0762e-06 | 1.3882e-06 | 0.021565 | 0.021565 | 0.021565 | 0.98741 | -0.087939 | 0.98712 | -0.089997 | 7.9871
23 | 0.00014382 | 3.2938e-05 | -0.00014381 | -3.5559e-05 | 6.1544e-09 | -2.6214e-06 | 0.00021724 | 0.00021814 | 0.00021814 | 0.98026 | -0.13878 | 0.98021 | -0.13912 | 0.080792
24 | 0.0090475 | 0.0022674 | -0.0090472 | -0.0022673 | 3.1988e-07 | 8.88e-08 | 0.013737 | 0.013737 | 0.013737 | 0.98006 | -0.14021 | 0.98002 | -0.14047 | 5.0877
25 | 0.002563 | 0.00064209 | -0.0025628 | -0.00064227 | 1.7626e-07 | -1.7361e-07 | 0.0038654 | 0.0038655 | 0.0038655 | 0.9866 | -0.09369 | 0.98653 | -0.094187 | 1.4317
26 | -0.0041712 | -0.0010452 | 0.0041718 | 0.0010451 | 5.91e-07 | -7.8338e-08 | 0.0062911 | 0.006291 | 0.0062911 | 0.9866 | -0.09369 | 0.98675 | -0.092666 | 2.33
27 | 0.0022653 | 0.00056771 | -0.0022653 | -0.00056774 | 1.865e-08 | -2.5514e-08 | 0.0034168 | 0.0034168 | 0.0034168 | 0.98653 | -0.094187 | 0.98652 | -0.094247 | 1.2655
28 | -0.012449 | -0.003119 | 0.012453 | 0.0031205 | 4.5988e-06 | 1.5015e-06 | 0.018772 | 0.018772 | 0.018772 | 0.98675 | -0.092666 | 0.98712 | -0.089997 | 6.9527
29 | 0.0082769 | 0.002074 | -0.0082748 | -0.0020734 | 2.0914e-06 | 5.2963e-07 | 0.012481 | 0.012482 | 0.012482 | 0.98675 | -0.092666 | 0.98649 | -0.094493 | 4.6228
30 | 0.0053376 | 0.0013373 | -0.0053368 | -0.0013372 | 7.6153e-07 | 5.2558e-08 | 0.008051 | 0.0080511 | 0.0080511 | 0.98649 | -0.094493 | 0.98634 | -0.095524 | 2.9819
31 | 0.0034289 | 0.00085906 | -0.0034287 | -0.00085914 | 2.1122e-07 | -8.0212e-08 | 0.0051728 | 0.0051728 | 0.0051728 | 0.98634 | -0.095524 | 0.98628 | -0.095969 | 1.9159
32 | 0.018306 | 0.0045916 | -0.018283 | -0.0045836 | 2.2217e-05 | 7.9379e-06 | 0.027479 | 0.027479 | 0.027479 | 0.99133 | -0.06037 | 0.99009 | -0.069132 | 10.1773
33 | 0.0076211 | 0.0019099 | -0.0076195 | -0.0019096 | 1.6085e-06 | 3.6475e-07 | 0.011439 | 0.01144 | 0.01144 | 0.99133 | -0.06037 | 0.99111 | -0.061894 | 4.2369
34 | -0.094068 | -0.023647 | 0.094461 | 0.023797 | 0.00039309 | 0.00015078 | 0.14122 | 0.14122 | 0.14122 | 0.99133 | -0.06037 | 0.9956 | -0.030493 | 52.3052
35 | 0.0018922 | 0.00047407 | -0.0018921 | -0.00047421 | 6.8693e-08 | -1.4596e-07 | 0.0028547 | 0.0028548 | 0.0028548 | 0.98628 | -0.095969 | 0.98624 | -0.096231 | 1.0573
36 | -0.003051 | -0.00076465 | 0.0030512 | 0.00076451 | 2.4354e-07 | -1.4086e-07 | 0.0046058 | 0.0046058 | 0.0046058 | 0.98569 | -0.10025 | 0.98577 | -0.099669 | 1.7059
37 | -0.027186 | -0.006817 | 0.027196 | 0.0068209 | 1.0435e-05 | 3.8868e-06 | 0.041038 | 0.041038 | 0.041038 | 0.98577 | -0.099669 | 0.98616 | -0.0969 | 15.1992
38 | -0.032128 | -0.008057 | 0.032161 | 0.0080695 | 3.3314e-05 | 1.2523e-05 | 0.048479 | 0.048479 | 0.048479 | 0.98616 | -0.0969 | 0.98721 | -0.089427 | 17.9554
39 | -0.033566 | -0.0084215 | 0.033569 | 0.0084227 | 3.0965e-06 | 1.1662e-06 | 0.050597 | 0.050597 | 0.050597 | 0.98721 | -0.089427 | 0.98731 | -0.088762 | 18.7395
40 | 0.009789 | 0.0024537 | -0.0097864 | -0.0024529 | 2.6638e-06 | 7.7813e-07 | 0.014818 | 0.014818 | 0.014818 | 0.98302 | -0.11918 | 0.98275 | -0.12115 | 5.4881
41 | -0.011028 | -0.0027643 | 0.011069 | 0.0027771 | 4.0952e-05 | 1.2754e-05 | 0.016694 | 0.016693 | 0.016694 | 0.98302 | -0.11918 | 0.98679 | -0.09244 | 6.1829
42 | 0.0097864 | 0.0024529 | -0.0097803 | -0.0024512 | 6.0532e-06 | 1.7687e-06 | 0.014818 | 0.014818 | 0.014818 | 0.98275 | -0.12115 | 0.98212 | -0.12562 | 5.4882
43 | 0.0029815 | 0.00074696 | -0.0029812 | -0.00074716 | 3.0334e-07 | -1.9054e-07 | 0.0044958 | 0.0044959 | 0.0044959 | 0.98679 | -0.09244 | 0.98669 | -0.093176 | 1.6652
44 | -0.015261 | -0.0038273 | 0.015268 | 0.0038297 | 6.8046e-06 | 2.354e-06 | 0.023013 | 0.023013 | 0.023013 | 0.98679 | -0.09244 | 0.98724 | -0.089225 | 8.5235
45 | -0.017959 | -0.0045042 | 0.017991 | 0.0045155 | 3.1846e-05 | 1.1356e-05 | 0.02707 | 0.027069 | 0.02707 | 0.98724 | -0.089225 | 0.98905 | -0.076455 | 10.0258
46 | -0.038192 | -0.0095812 | 0.038216 | 0.0095904 | 2.4235e-05 | 9.1712e-06 | 0.057564 | 0.057564 | 0.057564 | 0.98731 | -0.088762 | 0.98795 | -0.08419 | 21.3199
47 | -0.0024527 | -0.0006147 | 0.0024529 | 0.00061448 | 1.9368e-07 | -2.1798e-07 | 0.0036903 | 0.0036902 | 0.0036903 | 0.98896 | -0.077091 | 0.98904 | -0.07652 | 1.3668
48 | -0.0030673 | -0.00076848 | 0.0030674 | 0.00076844 | 6.8663e-08 | -3.9905e-08 | 0.0046147 | 0.0046147 | 0.0046147 | 0.98904 | -0.07652 | 0.98907 | -0.076358 | 1.7092
49 | 0.011436 | 0.0028663 | -0.01143 | -0.0028643 | 6.4049e-06 | 2.0187e-06 | 0.017205 | 0.017206 | 0.017206 | 0.98907 | -0.076358 | 0.9885 | -0.080405 | 6.3724
50 | -0.014504 | -0.0036348 | 0.01451 | 0.0036369 | 6.2492e-06 | 2.1335e-06 | 0.02182 | 0.02182 | 0.02182 | 0.98907 | -0.076358 | 0.98951 | -0.073247 | 8.0815
51 | 0.0089351 | 0.0022394 | -0.0089305 | -0.0022382 | 4.5977e-06 | 1.2465e-06 | 0.01345 | 0.013451 | 0.013451 | 0.9885 | -0.080405 | 0.98797 | -0.084123 | 4.9817
52 | 0.0024947 | 0.00062487 | -0.0024944 | -0.00062515 | 2.6708e-07 | -2.8632e-07 | 0.0037552 | 0.0037553 | 0.0037553 | 0.9885 | -0.080405 | 0.98839 | -0.081179 | 1.3909
53 | -0.017171 | -0.0043038 | 0.017181 | 0.0043072 | 9.7875e-06 | 3.462e-06 | 0.025821 | 0.025821 | 0.025821 | 0.98951 | -0.073247 | 0.99009 | -0.069132 | 9.5635
54 | 0.085073 | 0.021422 | -0.084589 | -0.021236 | 0.00048372 | 0.00018543 | 0.12718 | 0.12718 | 0.12718 | 0.9956 | -0.030493 | 0.98976 | -0.07142 | 47.1054
55 | -0.17953 | -0.045219 | 0.18019 | 0.04547 | 0.00065495 | 0.00025114 | 0.26841 | 0.26841 | 0.26841 | 0.9956 | -0.030493 | 0.99935 | -0.0044992 | 49.7052
56 | 0.023942 | 0.0060058 | -0.023912 | -0.0059947 | 3.0118e-05 | 1.1106e-05 | 0.035997 | 0.035997 | 0.035997 | 0.98976 | -0.07142 | 0.98848 | -0.080502 | 13.3321
57 | 0.060647 | 0.01523 | -0.060605 | -0.015214 | 4.2413e-05 | 1.6208e-05 | 0.091188 | 0.091188 | 0.091188 | 0.98976 | -0.07142 | 0.98905 | -0.076455 | 33.7733
58 | -0.18769 | -0.047351 | 0.18781 | 0.047396 | 0.00011854 | 4.5464e-05 | 0.27958 | 0.27958 | 0.27958 | 0.99935 | -0.0044992 | 1 | 0 | 51.7741
59 | 0.0076195 | 0.0019096 | -0.0076171 | -0.001909 | 2.3864e-06 | 5.4136e-07 | 0.01144 | 0.01144 | 0.01144 | 0.99111 | -0.061894 | 0.99079 | -0.064157 | 4.2369
60 | 0.021335 | 0.0053487 | -0.021328 | -0.0053465 | 6.1494e-06 | 2.2427e-06 | 0.032117 | 0.032117 | 0.032117 | 0.98848 | -0.080502 | 0.98819 | -0.082583 | 11.8951
61 | 0.042614 | 0.010699 | -0.042568 | -0.010681 | 4.5741e-05 | 1.7364e-05 | 0.064119 | 0.064119 | 0.064119 | 0.98905 | -0.076455 | 0.98795 | -0.08419 | 23.7477
62 | -0.0029323 | -0.0007349 | 0.0029326 | 0.00073471 | 2.8921e-07 | -1.9217e-07 | 0.0044198 | 0.0044196 | 0.0044198 | 0.98722 | -0.089418 | 0.98732 | -0.088705 | 1.6369
63 | -0.0062383 | -0.0015632 | 0.0062387 | 0.0015633 | 4.6442e-07 | 7.0934e-08 | 0.0094017 | 0.0094017 | 0.0094017 | 0.98732 | -0.088705 | 0.9874 | -0.088167 | 3.4821
64 | -0.015729 | -0.0039419 | 0.015733 | 0.0039432 | 3.9458e-06 | 1.3736e-06 | 0.023704 | 0.023704 | 0.023704 | 0.9874 | -0.088167 | 0.98765 | -0.086355 | 8.7793
65 | -0.017615 | -0.0044149 | 0.017619 | 0.0044163 | 3.9269e-06 | 1.396e-06 | 0.026539 | 0.026539 | 0.026539 | 0.98765 | -0.086355 | 0.98788 | -0.084745 | 9.8294
66 | -0.018557 | -0.0046512 | 0.018562 | 0.0046532 | 5.5562e-06 | 1.9911e-06 | 0.027952 | 0.027952 | 0.027952 | 0.98788 | -0.084745 | 0.98819 | -0.082583 | 10.3525
67 | 0.0025386 | 0.00063569 | -0.0025383 | -0.00063592 | 2.3204e-07 | -2.2869e-07 | 0.0038464 | 0.0038466 | 0.0038466 | 0.98201 | -0.12643 | 0.98192 | -0.12709 | 1.4247
68 | 0.0016478 | 0.00041274 | -0.0016477 | -0.00041296 | 7.9219e-08 | -2.2705e-07 | 0.0024971 | 0.0024971 | 0.0024971 | 0.98192 | -0.12709 | 0.98187 | -0.12744 | 0.92487
69 | 0.0064519 | 0.0016169 | -0.0064501 | -0.0016165 | 1.8652e-06 | 3.2504e-07 | 0.0097963 | 0.0097964 | 0.0097964 | 0.98002 | -0.14047 | 0.97973 | -0.14256 | 3.6283
70 | 0.00014381 | 3.5559e-05 | -0.00014381 | -3.6042e-05 | 1.1386e-09 | -4.8255e-07 | 0.00021814 | 0.00021831 | 0.00021831 | 0.98021 | -0.13912 | 0.98021 | -0.13918 | 0.080856

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.1978 | 0.049699

## res_load
| p_mw | q_mvar
0 | 0.0040624 | 0.0010181
1 | 0.0019144 | 0.00047979
2 | 0.00055772 | 0.00013978
3 | 0.00066299 | 0.00016616
4 | 0.0026759 | 0.00067065
5 | 0.0004898 | 0.00012275
6 | 0.0037166 | 0.00093147
7 | 0.0046613 | 0.0011682
8 | 0.0094425 | 0.0023665
9 | 0.0096759 | 0.002425
10 | 0.0059601 | 0.0014937
11 | 0.0014378 | 0.00036035
12 | 0.0025967 | 0.0006508
13 | 0.0063866 | 0.0016006
14 | 0.0073363 | 0.0018387
15 | 0.00090951 | 0.00022794
16 | 0.00034562 | 8.6621e-05
17 | 0.0016083 | 0.00040307
18 | 0.00029748 | 7.4555e-05
19 | 0.0022653 | 0.00056774
20 | 0.0018527 | 0.00046434
21 | 0.0029372 | 0.00073613
22 | 0.001908 | 0.00047818
23 | 0.0015365 | 0.00038507
24 | 0.003051 | 0.00076465
25 | 0.0049318 | 0.001236
26 | 0.0014048 | 0.00035207
27 | 0.0012392 | 0.00031058
28 | 0.0012102 | 0.00030329
29 | 0.0097803 | 0.0024512
30 | 0.0029812 | 0.00074716
31 | 0.0026913 | 0.00067451
32 | 0.0046226 | 0.0011585
33 | 0.0024527 | 0.0006147
34 | 0.00061448 | 0.000154
35 | 0.0026609 | 0.00066688
36 | 0.0089305 | 0.0022382
37 | 0.0024944 | 0.00062515
38 | 0.0011028 | 0.0002764
39 | 0.0075034 | 0.0018805
40 | 0.0025774 | 0.00064596
41 | 0.0091866 | 0.0023024
42 | 0.0076171 | 0.001909
43 | 0.0018921 | 0.00047421
44 | 0.0043522 | 0.0010908
45 | 0.0029323 | 0.0007349
46 | 0.0033057 | 0.00082849
47 | 0.0094907 | 0.0023786
48 | 0.0018818 | 0.00047163
49 | 0.00093765 | 0.000235
50 | 0.0027661 | 0.00069325
51 | 0.00084886 | 0.00021275
52 | 0.0019454 | 0.00048757
53 | 0.00089052 | 0.00022318
54 | 0.0016477 | 0.00041296
55 | 0.0025953 | 0.00065043
56 | 0.0064501 | 0.0016165
57 | 0.00014381 | 3.6042e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1