## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1405-13_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1405-13_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1405-13_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1405-13_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1405-13_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1405-13_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1405-13_0_3_node_35 | 0.4 | n |  | TRUE
7 | bus_LV_1405-13_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1405-13_0_3_node_43 | 0.4 | n |  | TRUE
9 | bus_LV_1405-13_0_3_node_36 | 0.4 | n |  | TRUE
10 | bus_LV_1405-13_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1405-13_0_3_node_40 | 0.4 | n |  | TRUE
12 | bus_LV_1405-13_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1405-13_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1405-13_0_3_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_1405-13_0_3_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_1405-13_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1405-13_0_3_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_1405-13_0_3_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_1405-13_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1405-13_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_1405-13_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_1405-13_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1405-13_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_1405-13_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1405-13_0_3_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_1405-13_0_3_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_1405-13_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_1405-13_0_3_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_1405-13_0_3_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_1405-13_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_1405-13_0_3_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_1405-13_0_3_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_1405-13_0_3_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_1405-13_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_1405-13_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_1405-13_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_1405-13_0_3_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_1405-13_0_3_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_1405-13_0_3_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_1405-13_0_3_node_46 | 0.4 | n |  | TRUE
41 | bus_MV_138_2_node_249 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1405-13_0_3_load_0 | 0 | 0.007458 | 0.0018692 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1405-13_0_3_load_1 | 1 | 0.0026088 | 0.00065383 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1405-13_0_3_load_3 | 3 | 0.0055459 | 0.0013899 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1405-13_0_3_load_4 | 4 | 0.0080936 | 0.0020284 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1405-13_0_3_load_5 | 5 | 0.0019062 | 0.00047774 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1405-13_0_3_load_35 | 6 | 0.0041311 | 0.0010354 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1405-13_0_3_load_6 | 7 | 0.0044845 | 0.0011239 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1405-13_0_3_load_43 | 8 | 0.0039003 | 0.00097751 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1405-13_0_3_load_36 | 9 | 0.0078243 | 0.001961 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1405-13_0_3_load_40 | 11 | 0.0029906 | 0.00074951 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1405-13_0_3_load_9 | 13 | 0.0074068 | 0.0018563 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1405-13_0_3_load_31 | 14 | 0.0022772 | 0.00057072 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1405-13_0_3_load_27 | 15 | 0.0048362 | 0.0012121 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1405-13_0_3_load_44 | 17 | 0.013957 | 0.003498 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1405-13_0_3_load_26 | 18 | 0.0088067 | 0.0022072 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1405-13_0_3_load_14 | 19 | 0.0024309 | 0.00060923 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1405-13_0_3_load_10 | 20 | 0.0087588 | 0.0021952 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1405-13_0_3_load_11 | 21 | 0.01027 | 0.0025738 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1405-13_0_3_load_18 | 23 | 0.01031 | 0.0025839 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1405-13_0_3_load_17 | 24 | 0.0048208 | 0.0012082 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1405-13_0_3_load_30 | 25 | 0.0030847 | 0.0007731 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1405-13_0_3_load_33 | 26 | 0.0037727 | 0.00094553 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1405-13_0_3_load_16 | 27 | 0.0067412 | 0.0016895 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1405-13_0_3_load_25 | 28 | 0.0049411 | 0.0012384 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1405-13_0_3_load_15 | 29 | 0.0049403 | 0.0012382 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1405-13_0_3_load_19 | 30 | 0.0015652 | 0.00039229 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1405-13_0_3_load_20 | 31 | 0.0019512 | 0.00048901 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1405-13_0_3_load_21 | 32 | 0.0045894 | 0.0011502 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1405-13_0_3_load_22 | 33 | 0.004875 | 0.0012218 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1405-13_0_3_load_24 | 34 | 0.0065079 | 0.001631 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1405-13_0_3_load_29 | 36 | 0.0071012 | 0.0017797 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1405-13_0_3_load_38 | 38 | 0.0043041 | 0.0010787 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1405-13_0_3_load_46 | 40 | 0.0026564 | 0.00066576 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1405-13_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.016804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1405-13_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.013724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1405-13_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.022779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1405-13_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.010707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1405-13_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.01036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1405-13_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0014934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1405-13_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0019875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1405-13_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.011001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1405-13_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.023673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1405-13_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.013113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1405-13_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.0095117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1405-13_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.018081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1405-13_0_3_line_12 | NAYY 4x150 SE | 10 | 13 | 0.0092591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1405-13_0_3_line_13 | NAYY 4x150 SE | 11 | 39 | 0.01894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1405-13_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.021077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1405-13_0_3_line_15 | NAYY 4x150 SE | 12 | 15 | 0.017736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1405-13_0_3_line_16 | NAYY 4x150 SE | 13 | 16 | 0.0096474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1405-13_0_3_line_17 | NAYY 4x150 SE | 14 | 17 | 0.013782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1405-13_0_3_line_18 | NAYY 4x150 SE | 15 | 18 | 0.011453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1405-13_0_3_line_19 | NAYY 4x150 SE | 16 | 19 | 0.021334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1405-13_0_3_line_20 | NAYY 4x150 SE | 16 | 20 | 0.025681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1405-13_0_3_line_21 | NAYY 4x150 SE | 17 | 37 | 0.039083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1405-13_0_3_line_22 | NAYY 4x150 SE | 18 | 35 | 0.060572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1405-13_0_3_line_23 | NAYY 4x150 SE | 19 | 25 | 0.0011743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1405-13_0_3_line_24 | NAYY 4x150 SE | 20 | 21 | 0.012322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1405-13_0_3_line_25 | NAYY 4x150 SE | 21 | 22 | 0.014508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1405-13_0_3_line_26 | NAYY 4x150 SE | 22 | 23 | 0.029133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1405-13_0_3_line_27 | NAYY 4x150 SE | 22 | 24 | 0.022895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1405-13_0_3_line_28 | NAYY 4x150 SE | 23 | 26 | 0.016032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1405-13_0_3_line_29 | NAYY 4x150 SE | 24 | 27 | 0.008131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1405-13_0_3_line_30 | NAYY 4x150 SE | 25 | 28 | 0.0028309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1405-13_0_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.0098224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1405-13_0_3_line_32 | NAYY 4x150 SE | 28 | 34 | 0.013081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1405-13_0_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.0050957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1405-13_0_3_line_34 | NAYY 4x150 SE | 30 | 32 | 0.02735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1405-13_0_3_line_35 | NAYY 4x150 SE | 31 | 33 | 0.017841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1405-13_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.010985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1405-13_0_3_line_37 | NAYY 4x150 SE | 35 | 36 | 0.043407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1405-13_0_3_line_38 | NAYY 4x150 SE | 37 | 40 | 0.037042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1405-13_0_3_line_39 | NAYY 4x150 SE | 38 | 39 | 0.020041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1405-13_0_3_trafo_12 | 0.25 MVA 20/0.4 kV | 41 | 16 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2655032.7661 | 1181903.1244 | 2655026.3833 | 1181918.6689
1 | 2655035.9739 | 1181890.1351 | 2655036.4518 | 1181893.8082 | 2655035.1129 | 1181897.409 | 2655032.7661 | 1181903.1244
2 | 2655017.7309 | 1181939.7409 | 2655026.3833 | 1181918.6689
3 | 2655035.9739 | 1181890.1351 | 2655045.7774 | 1181885.8292
4 | 2655035.9739 | 1181890.1351 | 2655028.4877 | 1181891.2448 | 2655025.6973 | 1181891.137
5 | 2655017.7309 | 1181939.7409 | 2655017.1636 | 1181941.1223
6 | 2655047.5971 | 1181885.0299 | 2655045.7774 | 1181885.8292
7 | 2655014.9363 | 1181889.2312 | 2655016.8841 | 1181890.0154 | 2655022.8236 | 1181891.026 | 2655025.6973 | 1181891.137
8 | 2655017.1636 | 1181941.1223 | 2655013.1018 | 1181951.0145 | 2655010.0488 | 1181963.63
9 | 2655059.9674 | 1181880.9724 | 2655054.866 | 1181881.8372 | 2655047.5971 | 1181885.0299
10 | 2655006.1129 | 1181885.6786 | 2655014.9363 | 1181889.2312
11 | 2655055.7073 | 1181863.4014 | 2655058.3025 | 1181874.3424 | 2655059.9674 | 1181880.9724
12 | 2655059.9674 | 1181880.9724 | 2655061.9936 | 1181890.0071
13 | 2654988.6604 | 1181878.339 | 2654992.8954 | 1181880.3568 | 2655006.1129 | 1181885.6786
14 | 2655055.7073 | 1181863.4014 | 2655051.3077 | 1181842.7891
15 | 2655055.7073 | 1181863.4014 | 2655068.3215 | 1181860.2043 | 2655071.713 | 1181856.9166
16 | 2655064.1048 | 1181899.4206 | 2655061.9936 | 1181890.0071
17 | 2655051.3077 | 1181842.7891 | 2655048.4309 | 1181829.3109
18 | 2655071.713 | 1181856.9166 | 2655072.3203 | 1181856.3278 | 2655077.2846 | 1181846.9541
19 | 2655064.1048 | 1181899.4206 | 2655070.4542 | 1181899.0343 | 2655084.859 | 1181903.1182
20 | 2655064.1048 | 1181899.4206 | 2655068.4173 | 1181924.7372
21 | 2655038.4522 | 1181791.5366 | 2655044.4988 | 1181812.4926 | 2655048.2322 | 1181828.3801 | 2655048.4309 | 1181829.3109
22 | 2655114.6193 | 1181805.5549 | 2655099.296 | 1181807.7153 | 2655096.0382 | 1181811.543 | 2655077.2846 | 1181846.9541
23 | 2655085.9888 | 1181903.4385 | 2655084.859 | 1181903.1182
24 | 2655070.4865 | 1181936.8841 | 2655068.4173 | 1181924.7372
25 | 2655072.9227 | 1181951.1858 | 2655070.4865 | 1181936.8841
26 | 2655072.9227 | 1181951.1858 | 2655075.3545 | 1181964.938 | 2655077.3276 | 1181977.0851 | 2655077.8177 | 1181979.9044
27 | 2655072.9227 | 1181951.1858 | 2655077.5719 | 1181950.4948 | 2655081.2547 | 1181951.0956 | 2655088.6362 | 1181954.721 | 2655093.3024 | 1181958.8628
28 | 2655080.5635 | 1181995.6999 | 2655077.8177 | 1181979.9044
29 | 2655098.8799 | 1181964.6873 | 2655097.6346 | 1181962.7081 | 2655093.3024 | 1181958.8628
30 | 2655088.7124 | 1181904.2107 | 2655085.9888 | 1181903.4385
31 | 2655098.8799 | 1181964.6873 | 2655104.1105 | 1181973.0012
32 | 2655088.7124 | 1181904.2107 | 2655101.2972 | 1181907.7786
33 | 2655134.1283 | 1181916.2661 | 2655129.1596 | 1181915.1352
34 | 2655160.8521 | 1181922.0174 | 2655157.728 | 1181921.6376 | 2655134.1283 | 1181916.2661
35 | 2655129.1596 | 1181915.1352 | 2655119.451 | 1181912.9254 | 2655111.8655 | 1181910.7748
36 | 2655111.8655 | 1181910.7748 | 2655101.2972 | 1181907.7786
37 | 2655114.6193 | 1181805.5549 | 2655120.692 | 1181809.5129 | 2655127.638 | 1181814.8463 | 2655147.2705 | 1181833.9603
38 | 2655038.4522 | 1181791.5366 | 2655022.2015 | 1181798.2245 | 2655015.9303 | 1181802.5694 | 2655007.4695 | 1181810.8519
39 | 2654988.6604 | 1181878.339 | 2654987.0263 | 1181898.3129

## bus_geodata
| x | y | coords
0 | 2655032.7661 | 1181903.1244
1 | 2655026.3833 | 1181918.6689
2 | 2655035.9739 | 1181890.1351
3 | 2655017.7309 | 1181939.7409
4 | 2655045.7774 | 1181885.8292
5 | 2655025.6973 | 1181891.137
6 | 2655017.1636 | 1181941.1223
7 | 2655047.5971 | 1181885.0299
8 | 2655014.9363 | 1181889.2312
9 | 2655010.0488 | 1181963.63
10 | 2655059.9674 | 1181880.9724
11 | 2655006.1129 | 1181885.6786
12 | 2655055.7073 | 1181863.4014
13 | 2655061.9936 | 1181890.0071
14 | 2655051.3077 | 1181842.7891
15 | 2655071.713 | 1181856.9166
16 | 2655064.1048 | 1181899.4206
17 | 2655048.4309 | 1181829.3109
18 | 2655077.2846 | 1181846.9541
19 | 2655084.859 | 1181903.1182
20 | 2655068.4173 | 1181924.7372
21 | 2655070.4865 | 1181936.8841
22 | 2655072.9227 | 1181951.1858
23 | 2655077.8177 | 1181979.9044
24 | 2655093.3024 | 1181958.8628
25 | 2655085.9888 | 1181903.4385
26 | 2655080.5635 | 1181995.6999
27 | 2655098.8799 | 1181964.6873
28 | 2655088.7124 | 1181904.2107
29 | 2655104.1105 | 1181973.0012
30 | 2655134.1283 | 1181916.2661
31 | 2655129.1596 | 1181915.1352
32 | 2655160.8521 | 1181922.0174
33 | 2655111.8655 | 1181910.7748
34 | 2655101.2972 | 1181907.7786
35 | 2655114.6193 | 1181805.5549
36 | 2655147.2705 | 1181833.9603
37 | 2655038.4522 | 1181791.5366
38 | 2654987.0263 | 1181898.3129
39 | 2654988.6604 | 1181878.339
40 | 2655007.4695 | 1181810.8519
41 | 2655059.9674 | 1181880.9724

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99508 | -0.03448 | 0.007458 | 0.0018692
1 | 0.99459 | -0.037889 | 0.0026088 | 0.00065383
2 | 0.99562 | -0.030668 | 0 | 0
3 | 0.99402 | -0.041914 | 0.0055459 | 0.0013899
4 | 0.99624 | -0.026285 | 0.0080936 | 0.0020284
5 | 0.99543 | -0.032036 | 0.0019062 | 0.00047774
6 | 0.994 | -0.042095 | 0.0041311 | 0.0010354
7 | 0.99638 | -0.02531 | 0.0044845 | 0.0011239
8 | 0.99525 | -0.033277 | 0.0039003 | 0.00097751
9 | 0.99373 | -0.043967 | 0.0078243 | 0.001961
10 | 0.99738 | -0.018295 | 0 | 0
11 | 0.99515 | -0.033976 | 0.0029906 | 0.00074951
12 | 0.99636 | -0.025497 | 0 | 0
13 | 0.99861 | -0.0096739 | 0.0074068 | 0.0018563
14 | 0.99579 | -0.029504 | 0.0022772 | 0.00057072
15 | 0.99583 | -0.0292 | 0.0048362 | 0.0012121
16 | 1 | 0 | -0.18129 | -0.045314
17 | 0.99546 | -0.031811 | 0.013957 | 0.003498
18 | 0.99557 | -0.031035 | 0.0088067 | 0.0022072
19 | 0.99909 | -0.0063835 | 0.0024309 | 0.00060923
20 | 0.99818 | -0.012743 | 0.0087588 | 0.0021952
21 | 0.99746 | -0.01779 | 0.01027 | 0.0025738
22 | 0.99682 | -0.022245 | 0 | 0
23 | 0.99624 | -0.026369 | 0.01031 | 0.0025839
24 | 0.99628 | -0.026043 | 0.0048208 | 0.0012082
25 | 0.99904 | -0.0067067 | 0.0030847 | 0.0007731
26 | 0.99615 | -0.026978 | 0.0037727 | 0.00094553
27 | 0.99615 | -0.026998 | 0.0067412 | 0.0016895
28 | 0.99894 | -0.0073985 | 0.0049411 | 0.0012384
29 | 0.99608 | -0.027486 | 0.0049403 | 0.0012382
30 | 0.99812 | -0.013141 | 0.0015652 | 0.00039229
31 | 0.99817 | -0.012827 | 0.0019512 | 0.00048901
32 | 0.99795 | -0.014399 | 0.0045894 | 0.0011502
33 | 0.99838 | -0.011378 | 0.004875 | 0.0012218
34 | 0.99858 | -0.00995 | 0.0065079 | 0.001631
35 | 0.99495 | -0.035374 | 0 | 0
36 | 0.99451 | -0.038484 | 0.0071012 | 0.0017797
37 | 0.99531 | -0.032859 | 0 | 0
38 | 0.99491 | -0.035668 | 0.0043041 | 0.0010787
39 | 0.99503 | -0.034798 | 0 | 0
40 | 0.99517 | -0.033851 | 0.0026564 | 0.00066576
41 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.020132 | 0.0050475 | -0.020122 | -0.0050441 | 9.5035e-06 | 3.437e-06 | 0.030105 | 0.030105 | 0.030105 | 0.99508 | -0.03448 | 0.99459 | -0.037889 | 11.1501
1 | -0.02759 | -0.0069167 | 0.027604 | 0.0069221 | 1.4578e-05 | 5.4284e-06 | 0.041258 | 0.041258 | 0.041258 | 0.99508 | -0.03448 | 0.99562 | -0.030668 | 15.2807
2 | 0.017513 | 0.0043903 | -0.017504 | -0.0043868 | 9.7589e-06 | 3.458e-06 | 0.026202 | 0.026202 | 0.026202 | 0.99459 | -0.037889 | 0.99402 | -0.041914 | 9.7046
3 | -0.040712 | -0.010207 | 0.040736 | 0.010216 | 2.4737e-05 | 9.3751e-06 | 0.060848 | 0.060847 | 0.060848 | 0.99562 | -0.030668 | 0.99624 | -0.026285 | 22.5361
4 | 0.013107 | 0.0032849 | -0.013105 | -0.0032841 | 2.481e-06 | 8.1951e-07 | 0.01959 | 0.01959 | 0.01959 | 0.99562 | -0.030668 | 0.99543 | -0.032036 | 7.2555
5 | 0.011958 | 0.0029969 | -0.011958 | -0.0029968 | 2.986e-07 | 9.5487e-08 | 0.0179 | 0.0179 | 0.0179 | 0.99402 | -0.041914 | 0.994 | -0.042095 | 6.6298
6 | -0.04883 | -0.012245 | 0.048837 | 0.012247 | 6.5975e-06 | 2.5116e-06 | 0.072936 | 0.072936 | 0.072936 | 0.99624 | -0.026285 | 0.99638 | -0.02531 | 27.0134
7 | 0.011199 | 0.0028064 | -0.011197 | -0.0028058 | 1.9236e-06 | 5.9688e-07 | 0.01674 | 0.01674 | 0.01674 | 0.99543 | -0.032036 | 0.99525 | -0.033277 | 6.2001
8 | 0.0078264 | 0.0019614 | -0.0078243 | -0.001961 | 2.0278e-06 | 4.7313e-07 | 0.011716 | 0.011716 | 0.011716 | 0.994 | -0.042095 | 0.99373 | -0.043967 | 4.3393
9 | -0.053321 | -0.013371 | 0.053373 | 0.013391 | 5.1891e-05 | 1.9787e-05 | 0.079633 | 0.079633 | 0.079633 | 0.99638 | -0.02531 | 0.99738 | -0.018295 | 29.4939
10 | 0.0072964 | 0.0018283 | -0.0072957 | -0.0018281 | 7.0632e-07 | 1.4807e-07 | 0.010909 | 0.010909 | 0.010909 | 0.99525 | -0.033277 | 0.99515 | -0.033976 | 4.0403
11 | 0.039713 | 0.0099601 | -0.039673 | -0.0099451 | 3.961e-05 | 1.4999e-05 | 0.059251 | 0.059251 | 0.059251 | 0.99738 | -0.018295 | 0.99636 | -0.025497 | 21.9449
12 | -0.093086 | -0.023351 | 0.093197 | 0.023394 | 0.00011144 | 4.2742e-05 | 0.13888 | 0.13888 | 0.13888 | 0.99738 | -0.018295 | 0.99861 | -0.0096739 | 51.4387
13 | 0.0043051 | 0.0010786 | -0.0043046 | -0.0010787 | 4.8973e-07 | -5.7683e-08 | 0.0064372 | 0.0064373 | 0.0064373 | 0.99515 | -0.033976 | 0.99503 | -0.034798 | 2.3842
14 | 0.018907 | 0.0047394 | -0.018897 | -0.0047356 | 1.0487e-05 | 3.759e-06 | 0.028238 | 0.028238 | 0.028238 | 0.99636 | -0.025497 | 0.99579 | -0.029504 | 10.4584
15 | 0.020766 | 0.0052057 | -0.020755 | -0.0052018 | 1.0645e-05 | 3.8635e-06 | 0.031014 | 0.031014 | 0.031014 | 0.99636 | -0.025497 | 0.99583 | -0.0292 | 11.4866
16 | -0.1006 | -0.02525 | 0.10074 | 0.025302 | 0.00013531 | 5.1915e-05 | 0.14992 | 0.14992 | 0.14992 | 0.99861 | -0.0096739 | 1 | 0 | 55.5264
17 | 0.01662 | 0.0041649 | -0.016614 | -0.0041631 | 5.3041e-06 | 1.8608e-06 | 0.024835 | 0.024835 | 0.024835 | 0.99579 | -0.029504 | 0.99546 | -0.031811 | 9.1981
18 | 0.015919 | 0.0039897 | -0.015915 | -0.0039883 | 4.0438e-06 | 1.4064e-06 | 0.023787 | 0.023787 | 0.023787 | 0.99583 | -0.0292 | 0.99557 | -0.031035 | 8.8101
19 | 0.029988 | 0.00752 | -0.029961 | -0.0075101 | 2.6508e-05 | 9.9158e-06 | 0.044624 | 0.044624 | 0.044624 | 1 | 0 | 0.99909 | -0.0063835 | 16.5273
20 | 0.049768 | 0.012492 | -0.04968 | -0.012458 | 8.79e-05 | 3.3471e-05 | 0.074062 | 0.074062 | 0.074062 | 1 | 0 | 0.99818 | -0.012743 | 27.4303
21 | 0.0026571 | 0.00066505 | -0.0026568 | -0.00066541 | 3.847e-07 | -3.6006e-07 | 0.0039716 | 0.0039718 | 0.0039718 | 0.99546 | -0.031811 | 0.99531 | -0.032859 | 1.471
22 | 0.0071085 | 0.0017812 | -0.0071042 | -0.0017803 | 4.2666e-06 | 8.5385e-07 | 0.010624 | 0.010625 | 0.010625 | 0.99557 | -0.031035 | 0.99495 | -0.035374 | 3.9351
23 | 0.02753 | 0.0069008 | -0.027529 | -0.0069004 | 1.232e-06 | 4.5845e-07 | 0.041003 | 0.041003 | 0.041003 | 0.99909 | -0.0063835 | 0.99904 | -0.0067067 | 15.1864
24 | 0.040921 | 0.010263 | -0.040892 | -0.010252 | 2.8615e-05 | 1.0845e-05 | 0.061005 | 0.061005 | 0.061005 | 0.99818 | -0.012743 | 0.99746 | -0.01779 | 22.5944
25 | 0.030623 | 0.0076785 | -0.030604 | -0.0076714 | 1.8894e-05 | 7.0776e-06 | 0.045684 | 0.045684 | 0.045684 | 0.99746 | -0.01779 | 0.99682 | -0.022245 | 16.9201
26 | 0.014091 | 0.003532 | -0.014083 | -0.0035293 | 8.0433e-06 | 2.714e-06 | 0.021034 | 0.021034 | 0.021034 | 0.99682 | -0.022245 | 0.99624 | -0.026369 | 7.7905
27 | 0.016513 | 0.0041394 | -0.016504 | -0.0041364 | 8.6808e-06 | 3.0405e-06 | 0.02465 | 0.02465 | 0.02465 | 0.99682 | -0.022245 | 0.99628 | -0.026043 | 9.1297
28 | 0.003773 | 0.00094545 | -0.0037727 | -0.00094553 | 3.1773e-07 | -8.6533e-08 | 0.0056355 | 0.0056356 | 0.0056356 | 0.99624 | -0.026369 | 0.99615 | -0.026978 | 2.0872
29 | 0.011683 | 0.0029281 | -0.011682 | -0.0029277 | 1.545e-06 | 4.8835e-07 | 0.01745 | 0.01745 | 0.01745 | 0.99628 | -0.026043 | 0.99615 | -0.026998 | 6.463
30 | 0.024444 | 0.0061273 | -0.024442 | -0.0061264 | 2.3417e-06 | 8.6358e-07 | 0.036409 | 0.036409 | 0.036409 | 0.99904 | -0.0067067 | 0.99894 | -0.0073985 | 13.4847
31 | 0.0049407 | 0.0012382 | -0.0049403 | -0.0012382 | 3.3384e-07 | 5.3866e-10 | 0.0073802 | 0.0073803 | 0.0073803 | 0.99615 | -0.026998 | 0.99608 | -0.027486 | 2.7334
32 | 0.019501 | 0.004888 | -0.019494 | -0.0048856 | 6.8876e-06 | 2.4779e-06 | 0.029049 | 0.029049 | 0.029049 | 0.99894 | -0.0073985 | 0.99858 | -0.00995 | 10.7588
33 | -0.0061555 | -0.0015425 | 0.0061558 | 0.0015425 | 2.6777e-07 | 3.6382e-08 | 0.0091766 | 0.0091766 | 0.0091766 | 0.99812 | -0.013141 | 0.99817 | -0.012827 | 3.3987
34 | 0.0045902 | 0.0011502 | -0.0045894 | -0.0011502 | 7.9921e-07 | -5.0019e-08 | 0.0068431 | 0.0068432 | 0.0068432 | 0.99812 | -0.013141 | 0.99795 | -0.014399 | 2.5345
35 | -0.0081069 | -0.0020315 | 0.0081085 | 0.0020319 | 1.626e-06 | 3.9213e-07 | 0.012085 | 0.012085 | 0.012085 | 0.99817 | -0.012827 | 0.99838 | -0.011378 | 4.476
36 | -0.012984 | -0.0032537 | 0.012986 | 0.0032545 | 2.5668e-06 | 8.4354e-07 | 0.019351 | 0.019351 | 0.019351 | 0.99838 | -0.011378 | 0.99858 | -0.00995 | 7.1671
37 | 0.0071042 | 0.0017803 | -0.0071012 | -0.0017797 | 3.0576e-06 | 6.1254e-07 | 0.010625 | 0.010625 | 0.010625 | 0.99495 | -0.035374 | 0.99451 | -0.038484 | 3.9352
38 | 0.0026568 | 0.00066541 | -0.0026564 | -0.00066576 | 3.6465e-07 | -3.4111e-07 | 0.0039718 | 0.003972 | 0.003972 | 0.99531 | -0.032859 | 0.99517 | -0.033851 | 1.4711
39 | -0.0043041 | -0.0010787 | 0.0043046 | 0.0010787 | 5.1821e-07 | -6.0968e-08 | 0.0064374 | 0.0064373 | 0.0064374 | 0.99491 | -0.035668 | 0.99503 | -0.034798 | 2.3842

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.18129 | 0.045314

## res_load
| p_mw | q_mvar
0 | 0.007458 | 0.0018692
1 | 0.0026088 | 0.00065383
2 | 0.0055459 | 0.0013899
3 | 0.0080936 | 0.0020284
4 | 0.0019062 | 0.00047774
5 | 0.0041311 | 0.0010354
6 | 0.0044845 | 0.0011239
7 | 0.0039003 | 0.00097751
8 | 0.0078243 | 0.001961
9 | 0.0029906 | 0.00074951
10 | 0.0074068 | 0.0018563
11 | 0.0022772 | 0.00057072
12 | 0.0048362 | 0.0012121
13 | 0.013957 | 0.003498
14 | 0.0088067 | 0.0022072
15 | 0.0024309 | 0.00060923
16 | 0.0087588 | 0.0021952
17 | 0.01027 | 0.0025738
18 | 0.01031 | 0.0025839
19 | 0.0048208 | 0.0012082
20 | 0.0030847 | 0.0007731
21 | 0.0037727 | 0.00094553
22 | 0.0067412 | 0.0016895
23 | 0.0049411 | 0.0012384
24 | 0.0049403 | 0.0012382
25 | 0.0015652 | 0.00039229
26 | 0.0019512 | 0.00048901
27 | 0.0045894 | 0.0011502
28 | 0.004875 | 0.0012218
29 | 0.0065079 | 0.001631
30 | 0.0071012 | 0.0017797
31 | 0.0043041 | 0.0010787
32 | 0.0026564 | 0.00066576

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1